Simulation of gas-turbine driven device
Kristīna Bērziņa1, Elena Ketnere2
1 Riga Technical University (Riga, Latvia), 2 Riga Technical University (Riga, Latvia) 
berzina@rtu.eef.lv, ketnere@rtu.eef.lv
Abstract- Power systems are combinations of electrical circuits and electromechanical devices. Engineers working in this discipline are improving the performance of the systems. This is one of the reasons, why the modeling of the power systems is required.
I. Introduction

The modern technologies development strengthens human dependence on power supply in all areas: both in the house, and on work, and while resting. Human’s direct dependence on uninterrupted power supply grows for transport systems and in the medicine.
General distribution of computers only raises requirements to power supply. Not only “quantity”, but also “quality” of the electric power becomes critical for banks, the telecommunication and industrial companies. Jump or failure of a voltage in our days can lead not only to a stop or spoilage of the machine, but also the information losses which restoration sometimes is incomparably more difficult than repair of the equipment.
The usual (traditional) way of reception of a power and heat consists of their separate generation (power station and boiler-house). Thus the significant part of primary fuel’s energy is not used. It is possible to reduce considerably the common consumption of fuel by cogeneration application. 
Cogeneration is a combined manufacture electric (or mechanical) and thermal energy from the same primary energy source.
Two most used forms of energy - mechanical and thermal. Mechanical energy is usually used for rotation of the electrical generator.
Produced mechanical energy also can be used to maintain the work of auxiliaries’ devices, such as compressors and pumps. The thermal energy can be used both for heating, and for cooling. The cold is made by absorb module which can function due to hot water, a steam or to hot gases.

II. The cogeneration device
At operation of traditional (steam) power stations, in connection with technological features of process of generation of energy, a plenty of produced heat is dumped in an atmosphere. The biggest part of this heat can be utilized and used for satisfaction of thermal needs, which raises efficiency from 30-50 % for power station up to 80-90 % in cogeneration systems. Comparison between cogeneration and separate manufacture of an electricity and heat is resulted in table 1 based on typical values of efficiency.

TABLE I

The results of comparison between cogeneration and separate manufacture of an electricity and heat.

[image: image25.wmf](

)

(

)

[

]

(

)

(

)

.

1

;

1

;

1

0

T

p

T

T

p

i

p

i

p

k

p

T

dt

d

T

dt

d

T

dt

d

w

m

w

x

m

x

w

w

x

m

d

m

d

m

-

=

-

=

-

+

-

+

×

-

=


Application gas plunger modular allows creating at the enterprise reliable independent system of power-heat-cold-supply. Besides, cost of energy is 3-4 times lower, than at purchase at the power companies.

[image: image2]
Requirements to power supply are formulated simply - reliability and constancy. And it becomes clear, that today an only way to have a first-class product – is to make your self. 

In case of cogeneration system’s usage the consumer is insured from faults in the centralized power supply. 

Consumer, most likely, will not have organizational, financial or technical difficulties at growth of power of the enterprise, because of new buses, transformer substations and heating pipes are not required. Besides, newly gained cogenerations are built in already existing system.

The distributed (independent) energy sources such as cogeneration systems reduce vulnerability of a power infrastructure. 

Cogeneration increases reliability of power supply. This is an essential advantage in conditions of the varying market. 

Cogeneration provides a huge benefit in power efficiency. About 67 % of primary fuel’s energy, using a traditional way of electric power generation, is thrown out in an environment. Also additional losses exist, that take place by transfer of the electric power. Utilized heat can be used in technological processes, for manufacture of a cold (triplegeneration), for heating and air-conditioning of rooms, for water heating, etc. Reconstruction of existing boiler-houses with application of cogeneration units allows receiving the same quality for smaller price.

There are a lot of programs which uses the heat cogeneration installations in the world, for example ТАТ (Thermally Activated Technologies). ТАТ consider, that: to 2020th 5% of total energy consumed in the USA will fall to utilized thermal energy. The American industry demands acceleration the development of ТАТ for receiving of competitive advantages in economy and power in the future.

ТАТ are critical for maintenance of ecological safety and reduction of air pollution. The USA industry demands acceleration of air’s drainage and ventilation technologies development to make personal healthier and preservation of the environment.

Recycling of heat reduces an ecological load of any power equipment approximately two times.

[image: image3]
III. The sinhronization  of cogeneration device 

Cogeneration system switching on parallel work is the complex, responsible operation demanding knowledge and strict observance of certain conditions.
Consequence of wrong inclusion of the generator in a network at the best can be обесточивание trunks of power station, and under known conditions - damage of the switching equipment and the generator. Therefore synchronization of generators is paid with the big attention, both at designing, and at operation. Therefore the big attention is given to generators’ synchronization, both at designing, and at operation. 

On independent cogeneration stations synchronization methods can be applied at generator’s switching-on parallel work:

Exact synchronization at which, before switching-on the generator on the electric system trunks, its voltage and frequency are established equal to a voltage and frequency of a network; at the moment when phases voltage both a network and the generator coincide the generator is switching-on in a network;

Self-synchronization at which before switching-on the generator on the electric system trunks its excitation winding is closed on digit resistance; the rotation frequency of the generator is established to approximately equal network’s frequency and without observance of a condition when phases voltage both a network and the generator concurrence, the generator is switching-on in a network with the subsequent excitation;

Synchronization through resistance at which the generator with voltage and the frequency approximately equal to network’s voltage and  frequency, is switching-on in a network without observance of a condition when phases voltage both a network and the generator concurrence.

These methods have the merits and demerits and consequently application of this or that from them depends on assignment of power station, generators’ power, requirements to stability of network’s voltage and frequency, etc.

For check of stability of any synchronization method it is necessary to determine first of all allowable angular speed of rotor sliding at  the connected machine, and at exact or rough synchronization with restriction of an angle of switch-on and a limiting angle of switch-on. For opinion about size of the currents proceeding in system during synchronization, it is necessary to find an angle on which the generator deviates at switch-on, and also to analyze influence of superfluous moment changes, rotation frequency and excitation on synchronization process.

For an estimation of synchronization stability the mathematical model is developed. The model includes the synchronous generator model with use of the full differential Park – Gore’s equations and the primary engines differential equations.
All equations are written down in relative unit’s system "system Xad" or “per unit system” there both the mutual induction reactance’s and magneto motive forces are equal among themselves. The gas engine mathematical model is similar of turbo generator mathematical model.
The synchronous generator’s mathematical model in axes d, q, 0 is: 
[image: image1]



(1)
Where Ψd, Ψq , – are components of full flux linkages in axes d, q, 0 ;

ud ,  uq,    – are components of  instantaneous values of phase voltages in axes d, q, 0;

id,   iq,     – are components of instantaneous values of phase currents in axes d, q, 0;

 rd , rq,       – are active resistances of phase windings (in case of stator symmetry  rd = rq  = r);

uf, if, rf, Ψf –  are components of voltage at excitation winding, current in it, full flux linkage with it and active resistance of this winding.
[image: image9.wmf]ï

ï

ï

ï

þ

ï

ï

ï

ï

ý

ü

+

=

Y

+

+

=

Y

+

+

=

Y

+

=

Y

+

+

=

Y

=

Y

.

;

;

;

;

;

0

0

0

Q

Q

q

aq

Q

D

D

f

ad

d

ad

D

D

ad

f

f

d

ad

f

Q

aq

q

q

q

D

ad

f

ad

d

d

d

i

x

i

x

i

x

i

x

i

x

i

x

i

x

i

x

i

x

i

x

i

x

i

x

i

x

i

x




(2)

If in system "gas engine - generator" there is a surplus or lack of energy the established mode is broken. Thus all change in time or only those parameters which define an overall performance of a gas engine. Thus the gas engine - generator shaft receives positive or negative acceleration, and the system passes to work in the unsteady (transitive) mode. If J - the resulted inertia moment of a gas engine and the synchronous generator the dynamic balance condition describing an unsteady operating mode of a gas engine, can be written down according to Dalamber’s principle:
[image: image10.wmf]em

dz

M

M

dt

d

J

+

=

w





(3)
In relative units this equation will look like: 




(4)[image: image11.wmf](

)

(

)

[

]

(

)

(

)

.

1

;

1

;

1

0

T

p

T

T

p

i

p

i

p

k

p

T

dt

d

T

dt

d

T

dt

d

w

m

w

x

m

x

w

w

x

m

d

m

d

m

-

=

-

=

-

+

-

+

×

-

=


In communication with existence of gas engines’ various types: not direct and direct action, with turbo – supercharding and without it, considering  a question of prevalence of those or other types of gas engines and comparing with their mathematical models, in work as initial model is accepted the direct action gas engine of with turbo – supercharding. The differential equations’ system describing behavior of a rotation frequency regulator of a gas engine, in Coshie form looks like:
[image: image12.wmf](

)

(

)

[

]

(

)

.

1

;

1

;

0

2

x

m

t

x

w

w

x

m

d

dm

t

t

m

-

=

-

+

-

+

+

¢

¢

-

=

=

p

i

p

p

K

p

T

d

d

i

k

T

T

d

dk

k

d

d




(5)

Where T"2 – a time constant of a sensitive element of a rotation frequency regulator;
Tk – a viscous friction time constant of a rotation frequency regulator;
Ti – a dash-pot time constant of a rotation frequency regulator;
µp – moving of regulating body of a rotation frequency regulator;
δ – constant-error response of a rotation frequency regulator;
δi –temporary (additional) constant-error response of a rotation frequency regulator;
ξ – a dash-pot moving of a rotation frequency regulator;
ω0 – a rotation frequency regulator setting;
ω – a rotation frequency of the synchronous generator with a drive from the internal combustion engine (gaze engine).
The turbo-supercharging turbine impact on dynamic properties of a gas engine, improving them, but only for the chosen operating mode. At change of optimum conditions setting accordingly elements characteristics of gas engine or turbo-compressor are broken and teamwork’s quality declines.
The turbine impact on gas engine work is taken into account by introduction of the equation


[image: image4.wmf](

)

T

p

T

T

T

dt

d

w

m

w

-

=

1





(6)

Where   TT      - a turbine time constant;
         
[image: image5.wmf]T

w

 - The turbo-supercharging turbine rotation speed.

Finally a gas engine mathematical model is:

[image: image13.wmf]em

diz

M

M

M

dt

d

T

+

=

w



(7)

It is necessary to have the voltage equilibrium equations of electric contours both on stator and rotor and the rotor’s movement equation in the differential form for the research of rotating electric machines transient processes, in particular synchronous generators. The kind of these equations depends on a choice of coordinate axes positive directions and a direction of a current in contours.
To show simulation of the generator model with a gas engine we shall lead carry out the analysis of a synchronization regime with an infinite power network.

Gas turbines have got regulation units that allow doing the following functions: control of the fuel flow, adaptation of the electrical signals for their use in the conventional electric network, voltage and frequency regulation.

On figures 3 – 5 are given results of the cogeneration system switching on in a network with breaking synchronization conditions. The beginning regime is same in all cases. It was analyzed thermal energy quantity (BTU), current, and voltage fluctuations per seconds.
In North America, the term "BTU" is used to describe the heat value (energy content) of fuels, and also to describe the power of heating and cooling systems, such as furnaces, stoves, barbecue grills, and air conditioners. When used as a unit of power, BTU 'per hour' (BTU/h) is understood, though this is often confusingly abbreviated to just "BTU".

The British thermal unit (BTU or Btu) is a unit of energy used in the power, steam generation, heating and air conditioning industries. In scientific contexts the BTU has largely been replaced by the SI unit of energy, the joule (J), 1kJ=1,055Btu.
Figure 3 show the three phase current at gas turbine terminals.

[image: image6]
Figure 4 show the three phase voltage at gas turbine terminals.

[image: image7]
Figure 5 show the three phase British thermal unit at gas turbine terminals.

[image: image8]
In this simulation case, a three phase fault is generated at the output terminal of the gas turbine at t=5 s. 
Simulation has been performed in order to study the response of the grid connected gas turbine to a variation in the power set-point, as well as the gas turbine response with a three phase fault produced at the output terminals.
IV. Conclusions
On the developed program’s basis there is possible with high degree of reliability to define synchronization conditions of generator with a drive from the internal combustion engine (diesel engine). To determine possible deviation limits on rotation frequency and mismatch corner of exact synchronization. Also the offered program allows estimating a size of stator currents and electromagnetic moment of synchronous generator.
With help of this model it’s possible to simulate experiments, which will do in real world enormous economical loses. By analyzing this kind of disturbances, engineers could find solutions for them and minimize the risks and consequences of them. Also it‘s possible to tune the parameters of control units and raise the effective of the power system. 
References

[1]
И.П. Копылов „Электрические машины,” M.: Высшая школа; Логос; 2002, 607с.

[2]
Горев А.А. Переходные процессы синхронной машины. М.: Госэнергоиздат; 1950, 551с.

[3]
K.H. Park “Two reactions theory of synchronous machines,” Generalized method analysis/ PtI, Trans. AIEE, 1929, 71pp.

[4]
Л.Н. Токарев „Математическое описание, расчет и моделирование физических процессов в судовых электростанциях,” Л.: Судостроение,1980.

[5]
Dirba J., Ketnere E., Ketners K. Synhronization (resynhronization) modes: modelling and simulation. Latvian Journal of physics and technical sciences, Riga, 1999
[6]
R. Šeļegovskis Metodiskie norādījumi praktiskajiem darbiem LLU TF Lauksaimniecības enerģētikas specialitātei studiju kursā, Siltumzinību pamati, Jelgava, 2006.
SUMMARY
The modern technologies development strengthens human dependence on power supply in all areas: both in the house, and on work, and while resting. Human’s direct dependence on uninterrupted power supply grows for transport systems and in the medicine.
General distribution of computers only raises requirements to power supply. Not only “quantity”, but also “quality” of the electric power becomes critical for banks, the telecommunication and industrial companies. Jump or failure of a voltage in our days can lead not only to a stop or spoilage of the machine, but also the information losses which restoration sometimes is incomparably more difficult than repair of the equipment.
Gas turbines can operate both stand-alone and grid connected. The second one deserves a much deeper study, to analyze the interaction between the gas turbine and the distribution network it is connected to. The connection of gas turbines to the current medium and low voltage distribution networks modifies the electrical parameters in the network operation, as distribution networks were designed for radial operation and supply from a power transformer located at the sending end.
At operation of traditional (steam) power stations, in connection with technological features of process of generation of energy, a plenty of produced heat is dumped in an atmosphere. The biggest part of this heat can be utilized and used for satisfaction of thermal needs, which raises efficiency from 30-50 % for power station up to 80-90 % in cogeneration systems. That’s why it’s necessary to analyze and use cogeneration and triplegeneration systems. 
The simulation results have showed that the simulated gas turbine works properly connected to a low voltage distribution grid.
KOPSAVILKUMS
Visu jomu (darbā, mājās, atpūtā) mūsdienu tehnoloģiskā attīstība palielina cilvēku darbības atkarību no elektroapgādes. Cilvēku dzīvības atkarība no nepārtrauktās elektroapgādes pieaug arī transportā (sākot no liftiem un beidzot ar drošības sistēmu nodrošinājumu ātrgaitas dzelzceļu maģistrālēs), medicīnā.
Datorizēto iekārtu pieaugums tikai palielina prasības pret elektroapgādes kvalitāti. Ne tikai elektroenerģijas „kvantitāte”, bet arī „kvalitāte ”sāk palikt izšķirošā banku iestādēs, telekomunikācijas un rūpniecības kompānijās. Elektroenerģijas lēciens vai pārtraukums pat un sekunžu daļām var izraisīt ne tikai datora bojājumu, bet arī informācijas zaudējumu, kuras atjaunošana dažreiz nesalīdzinādami sarežģītāk par iekārtu remontu.
Koģenerācijas iekārtas var strādāt, ka atsevišķi, tā arī ieslēgti kopējā sadales tīklu līnijā. Otrais iekārtu ieslēgšanas veids prasa rūpīgas pētīšanas un precīzas analīzes, jo nesaskaņoto koģenerācijas iekārtu ieslēgšana vidēja un zemā sprieguma sadales tīklā var izraisīt bojājumus, tāpēc, ka augstāk aprakstīta iekārta var mainīt un ietekmēt uz sadales tīklu parametriem. 
Esošo tradicionālo termoelektrostacijas ekspluatācijas laikā, ģenerācijas procesa tehnoloģisko īpašību dēļ lielais izstrādāta siltuma daudzums tiek izvadīts atmosfērā caur tvaika kondensatoriem un tt. Lielais šī siltuma daudzums var būt utilizēts vai izmantots. Tas varētu palielināt tādu staciju lietderīgo koeficientu no 30-50% līdz 80-90% koģenerāciju stacijās. Tāpēc nepieciešams analizēt un izmantot koģenerācijas un triģenerācijas sistēmas.
Simulācijas rezultāti parādīja, ka izpētīta koģenerācijas sistēma strādā korekti zemā sprieguma sistēmā.
РЕЗЮМЕ

Развитие современных технологий усиливает зависимость человеческой деятельности от энергоснабжения во всех областях: и в доме, и на работе, и на отдыхе. Непосредственная зависимость человеческой жизни от бесперебойного энергоснабжения растёт на транспорте (начиная с лифтов и заканчивая системами обеспечения безопасности на скоростных железнодорожных магистралях) и в медицине.
Повсеместное распространение компьютеров только повышает требования к энергоснабжению. Не только “количество”, но и “качество” электроэнергии становятся критичными для банков, телекоммуникационных или промышленных компаний. Скачок или сбой напряжения могут повлечь сегодня не просто остановку или порчу машины, но и потерю информации, восстановление которой иногда несравнимо сложнее ремонта оборудования.
Газопоршневые когенерационные установки могут работать как дискретно, так и включенными в общую сеть. Второй способ включения требует более тщательного исследования и анализа, так как несогласованное включение газопоршневых когенерационных установок в сеть среднего и низкого напряжения может существенно менять параметры рабочей сети.
При эксплуатации традиционных (паровых) электростанций, в связи с технологическими особенностями процесса генерации энергии, большое количество выработанного тепла сбрасывается в атмосферу через конденсаторы пара, градирни и т.п. Большая часть этого тепла может быть утилизирована и использована для удовлетворения тепловых потребностей, это повышает эффективность с 30-50% для электростанции до 80-90% в системах когенерации. Поэтому неободимо анализировать и использовать газопоршневые когенерационные и тригенерационные установки. Результаты симуляции показали, что исследуемая установка корректно работает в системе низкого напряжения.
1





Electricity and heat separated production





    Powerplant





    Boilerhouse





Fuel 100





Fuel 100





Electricity 36





Heat 80





Gas-turbine driven device





     Efficiency





         58%





     Efficiency





         90%





   Cogeneration


       System





Electricity 35





Heat 55





Fuel 100








4





2





3





5





4





Fig.1. A function chart power station (PS) with use of modules of CGS (Cogeneration system). 1. Natural gas; 2. Boiler of network water; 3. Peak boiler; 4. Network; 5. User.





    2











             


3








   1

















Tolerance 5%





Tolerance 5%





   Engine cooling





        Oiling








Salvage boiler





     Oil 


   cooler





   Cooler





  Air chiller





Gas 


fuel





Exhaust


flumes





Water





feeding 





   Generator





Engine





Fig.2. The cogeneration device structure. 1. Steam – 19.7%; 2. Electric power – 45.5%; 3. Hot water – 10.9%; 4. Warm water – 8.5%.








Fig.3. The results of current depend at time.





Fig.4. The results of voltage depend at time.





Fig.5. The results of British thermal unit depend at time.





� EMBED Equation.3  ���





� EMBED Equation.3  ���





� EMBED Equation.3  ���





� EMBED Equation.3  ���





� EMBED Equation.3  ���





� EMBED Equation.3  ���








PAGE  

[image: image14.wmf]ï

ï

ï

ï

ï

ï

ï

þ

ï

ï

ï

ï

ï

ï

ï

ý

ü

+

Y

=

+

Y

=

+

Y

=

+

Y

+

Y

=

+

Y

-

Y

=

+

Y

=

.

0

;

0

;

;

;

;

0

0

0

Q

Q

Q

D

D

D

f

f

f

f

q

d

q

q

d

q

d

d

r

i

d

d

r

i

d

d

r

i

d

d

u

r

i

d

d

u

r

i

d

d

u

r

i

d

d

u

t

t

t

w

t

w

t

t

[image: image15.jpg]1

A




[image: image16.jpg]


[image: image17.jpg]o

1.2000

1.0000

08000

0000

0.4000

02000

0000

my
Ly
s
ae
e
e
\oe
o
e
e
e
=
e
a0
e
o
oo




[image: image18.jpg]1,0500
1,0000
0.9500
0.9000
0,8500
0,8000
0,7500

el
665y
ey
Sy
B
=13
-
e
506
€997
24
6212
561
69}
£st')
ne
6960
220
sar'0
€120
01000




[image: image19.jpg]BTU)

1,2000
1,0000
0.8000
0.6000
0.4000
0,2000
0,0000

15l
10s't
=44
100t
43
10g'e
=43
100
1754
105z
=24
100z
152t
1os'h
152 1
100’
1520
1050
1520
01000




[image: image20.wmf]ï

ï

ï

ï

ï

ï

ï

þ

ï

ï

ï

ï

ï

ï

ï

ý

ü

+

Y

=

+

Y

=

+

Y

=

+

Y

+

Y

=

+

Y

-

Y

=

+

Y

=

.

0

;

0

;

;

;

;

0

0

0

Q

Q

Q

D

D

D

f

f

f

f

q

d

q

q

d

q

d

d

r

i

d

d

r

i

d

d

r

i

d

d

u

r

i

d

d

u

r

i

d

d

u

r

i

d

d

u

t

t

t

w

t

w

t

t

[image: image21.wmf]ï

ï

ï

ï

þ

ï

ï

ï

ï

ý

ü

+

=

Y

+

+

=

Y

+

+

=

Y

+

=

Y

+

+

=

Y

=

Y

.

;

;

;

;

;

0

0

0

Q

Q

q

aq

Q

D

D

f

ad

d

ad

D

D

ad

f

f

d

ad

f

Q

aq

q

q

q

D

ad

f

ad

d

d

d

i

x

i

x

i

x

i

x

i

x

i

x

i

x

i

x

i

x

i

x

i

x

i

x

i

x

i

x

[image: image22.wmf](

)

(

)

[

]

(

)

.

1

;

1

;

0

2

x

m

t

x

w

w

x

m

d

dm

t

t

m

-

=

-

+

-

+

+

¢

¢

-

=

=

p

i

p

p

K

p

T

d

d

i

k

T

T

d

dk

k

d

d

[image: image23.wmf]em

diz

M

M

M

dt

d

T

+

=

w

[image: image24.wmf]em

dz

M

M

dt

d

J

+

=

w

_1211633153.unknown

_1306141761.unknown

_1306142023.unknown

_1306142358.unknown

_1306141835.unknown

_1306141181.unknown

_1306140648.unknown

_1211630362.unknown

