[image: image1.png]SCIENTIFIC PROCEEDINGS OF RIGA TECHNICAL UNIVERSITY

THE 50TH INTERNATIONAL SCIENTIFIC CONFERENCE ,,POWER AND ELECTRICAL ENGINEERING,” OCTOBER 2009

Power Electronic Converters / Energoelektronikas Parveidotaji

Experimental Results from Physical Model of
Bidirectional Power Flow Regulator for Power
Substations of Electrical Transport

Aigars Vitols', Ivars Rankis®
'Riga Technical Umver51ty (Riga, Latv1a), Riga Technical University (Riga, Latvia)
aigars.vitols@rtu.lv, ivars.rankis@rtu.lv

Abstract - This article is about model of bidirectional power
flow regulator for power substations of electrical transport. The
paper presents an experimental model which is made in the
laboratory of Power and electrical engineering of Riga Technical
University. Also principal block scheme and principal schemes
of that model are presented in the form of computer modeling as
well as some main results of experiments are presented in the
form of diagrams.

I.  INTRODUCTION

After modernization of all tramcars in Riga a new vision
[9] of possibility to save electrical energy of electrical system
of electrical transport by returning recuperated energy
generated by tramcars in braking regime appeared. New
vision consisted of elaboration of new bidirectional power
flow regulator what will be able to regulate power flow from
DC line to AC line and otherwise. Therefore work of
elaboration has started and four principal schemes of
experimental model were developed in simulation program
PSIM v.6.0. The modeling resulted in the decision to develop
an experimental model of bidirectional power flow regulator
especially according to the principal scheme [1] of 10"
substation of electrical network of Riga (Fig.1).

Fig. 1. 10" substation of electrical network in city Riga.

II.  PRINCIPAL SCHEME OF 10TH SUBSTATION

Nowadays in Riga all power substations that are providing
electrical energy for trolleybuses and tramcars are equlpped
with electrical schemes [2] like that in Fig. 2.

Fig. 2. Simplified electrical scheme of power substation.

The principal scheme [4] of that kind does not provide
bidirectional energy flow from AC line to DC line and from
DC line to AC. As we can see — this scheme provides only
one way of power flow. In Fig. 2 we can see three phase six
winding transformer which should be left unchanged because
these transformers were installed lately. Under these
conditions the decision to bring forward the aim to develop
bidirectional power flow regulator according to Fig.3 was
made.

III.  BLOCK-SHEME OF BIDIRECTIONAL POWER FLOW
REGULATOR

=3

Fig. 3. Block-scheme of experimental bidirectional power flow regulator.

The block scheme of power flow regulator consists of three
sections. First section called section of transformation

121





[image: image2.png]SCIENTIFIC PROCEEDINGS OF RIGA TECHNICAL UNIVERSITY

THE 50TH INTERNATIONAL SCIENTIFIC CONFERENCE ,, POWER AND ELECTRICAL ENGINEERING,” OCTOBER 2009

consists of inverter and rectifier. The inverter and rectifier of
the first section consist of IXYS [5] modules of thyristors
MCC26-12108B — with the following electrical parameters:
VRRM=1200 V, IFRMS=2)(50 A, IFSM=520 A VGT =1,5 V, IGT
=100 mA, dv/dt = 100 V/us and with rated current 50 A. This
kind of the rated value was chosen for safety and as
bidirectional power flow regulator is at the first evolution
stage where many unknown technical problems can occur in
researching process.

xvii

xviz

xvi3

Xvig

xvis

xvie

Ximp
X1

Fig. 4. Principal — power scheme of bidirectional power flow regulator.

After the experiments at this first evolution stage the
suitable rated value of current and technical parameters of
thyristors will be known. Totally there are planed three
stages. The first stage is to make experimental model in
laboratory for experimental researching, the second stage is to
make experimental model in substation and the third stage is
to make a prototype for production. In Fig.4 every thyristor is
connected to drivers through optocouplers TO 125-12.5.

The second section called section of smoothing consists of
filter F1 buck — up pulse regulator, block B1 and RC filter
block F2. The third section called section of control consists
of control systems for rectifier and inverter and control
systems of pulse regulator and block B1. In this experimental
model the control of drivers was realized by analog [8]
microchips what was enough for that kind of experiments.

IV.  RECTIFIER REGIME

As we saw before there were two main regimes for
bidirectional power flow regulator. The first one is rectifier
regime [6] and the second one is recuperative regime. In this
article the rectifier and recuperative regimes are shown in
stationary processes. In Fig.5 there is the principal scheme of
bidirectional power flow controller simulated with simulation
program PSIM v.06. The rectifier regime was simulated
separately from the recuperative regime and in every
simulation process the values of the resistors which were
instead of load were changed. In this scheme three phases six
winding transformer unit was used directly from the database
of simulation program PSIM v.6.0 as well as smoothing
transformer. In simulation of the rectifier regime also part of

Power Electronic Converters / Energoelektronikas Parveidotai:

control system which is related to the rectifier regime was
simulated. After simulation of the rectifier regime there many
diagrams of currents and voltages of bidirectional power flow
regulator were obtained and one of them is shown in Fig.6.
These are the diagrams of current and voltage on the AC
input of bidirectional power flow regulator. Actually in Fig. 6
the current is shown according to the acceptance that input
voltage at the AC side is 800 V, therefore the value of current
is approximately 150 A. Also we can see that simulation is
made taking in account the looses of voltage. Fig.~
demonstrates the result of simulation for the experimental
model where all virtual parameters correspond to physica!
parameters of the model. It means that input of voltage is not
800 V but 182 V also losses of voltage were taken inio
account and it is possible to see that the form of current is not
rectangular.

—

|
Ol

=
!
i

Fig. 5. Principal scheme of simulation of rectifier regime.

U;=Uy - Hyky (1p
d —%do : .
4
A V]

1.00K

0.50K .
0.00K & 3
-0.50K

-1.00K o

iA[A]
200.00 Time 270438 il
= TF,_ et 7.279608-2 ‘
100.00 \ am 14876082 |
1
0.00 !
\ |
-100.00 \ / "—
-200.00 .
2695.00 2700.00 2705.00 2710.00 271500 272000 272500 e
Time (ms)

Fig. 6. Characteristics of current and voltage of bidirectional power flow
regulator’s simulation in rectifier regime in AC side

Fig. 8 presents the result of measurements of experimental
model and if we compare it with simulation results then we
can see that they are very similar to each other.

122





[image: image3.jpg]SCIENTIFIC PROCEEDINGS OF RIGA TECHNICAL UNIVERSITY

THE 50TH INTERNATIONAL SCIENTIFIC CONFERENCE ,,POWER AND ELECTRICAL ENGINEERING,” OCTOBER 2009

R

sl DOA

e m (01 wor wm T
Fig. 7. AC current and voltage in simulation program PSIM 6.0

et & i

A0

i : :
s &) il
Fig. 8. Experimental measurements of rectifier regime.

V.  INVERTER REGIME

Also during the experiments virtual model in simulation
program PSIM 6.0 for inverter regime of bidirectional power
flow regulator was created and the principal scheme of that
virtual model is shown in Fig. 9.

Fig. 9. Principal scheme of simulation of recuperation regime.

There are some parts of control block for inverter regime,
too. In this virtual scheme a DC voltage source is used. Also
simulations with DC current source were realized, because
the drives of tram car in recuperative regime have
characteristics more similar to current source than to voltage
source.

Power Electronic Converters / Energoelektronikas Parveidotaji

31X 3L,X
Uy =-U, 474 -1.017U —
d do COsS + e 2f B P . (2)
| - 0,134‘/%& =602A. 3)
a
100K up V]
i N\ P e\
D00
Rt N4 Ly N
e
20000 Ba V] sseorees
100,00 [ \ 1 s
By \ \
{ - {
~130.00
i \ | |
30000 \_—..—......""’] \—"""J
217093 218000 219000 220000 221000 2220060
Tirrws {ms)

Fig. 10. Characteristics of current and voltage of bidirectional power flow
regulator’s simulation in recuperation regime in AC side.

/3t=f(*). {i¢=f(t)

270.00 6.00
180.00 .1 400
90.00 200
000V 000 A
-270.00 : H H o -6.00
650.00 660.00 670.00 630,00 690.00 700.00

t[ms]

Fig. 11. AC current and voltage in simulation program PSIM 6.0

Fig.10 demonstrates the result of simulation with electrical
parameters similar to real substation and Fig. 11 shows the
result of simulation with electrical parameters of the
experimental model. In both cases the results are similar, that
means that experimental measurements must be the same. In
Fig. 11 we can see that really experimental measurement on
the experimental model is almost equal with simulations
results. That means that the simulation scheme very peciselly
describes the real experimental model and the processes in it.
Fig. 11 and Fig. 12 show that the forms of current and voltage
are very similar and theirs amplitudes too.

123





[image: image4.jpg]SCIENTIFIC PROCEEDINGS OF RIGA TECHNICAL UNIVERSITY

THE 50TH INTERNATIONAL SCIENTIFIC CONFERENCE ,,POWER AND ELECTRICAL ENGINEERING,” OCTOBER 2009

=t i=1)
20000 SV NS AR

150.00

100.00

50.00

1099

000V i ¢l 000A

5000

099

NN N7l
Vv mh4 AV

20000 Lot s i g i i ; fonsd 396
100 ms 4ms/Div

Fig. 12. Experimental measurements of recuperation regime.

VI. CHARACTERISTICS OF DC SIDE

Fig. 13 presents the characteristics of DC side in rectifier
and inverter regimes for real substation when S = 600 kVA
and input voltage of phase is 512 V. With these assumptions
we got the following linear characteristics theoretically
according to formulas (1), (2) and (3).

Recuproation shine Uil Bevtliec ongisne
B
(30
w0
z e
g ——
e oD, ey s
4 e 856
3 e a8
e o
0
519
%0 uiAl
o ko <400 R o o L i e an Lo s L

Fig.13. Characteristics of load in rectifier and recuperation regimes.

In Fig. 14 we can see characteristics of load of
experimental model in rectifier regime. Actually there are
three characteristics. Characteristic R was made when the
experimental model was operated without smoothing filter
and characteristic L was made when the experimental model
was operated with smoothing filter L. There we can see that
characteristic with filter L on DC side gives higher values of
voltage Ud.

Ud=f(1d)
72,00

70,00 \\ ....... R
L

68,00
=
566,00

64,00 \
62,00 =

60,00 T T T 1
0,00 5,00 10,00 15,00 20,00
Ia [A]

Fig. 14. Characteristics of load of experimental model in rectifier regime.

Power Electronic Converters / Energoelektronikas Parveidotaji

M is theoretical characteristic made by calculations
according to formula (1) where argument is Id. We also can
see that there are small oscillations of experimental
characteristic R along theoretical characteristic M.

Upc=f(Ipc)
120
100
80 —
Eg 60 =
P 40
20
0 . : .
0 5 10 15 20
Ipclal ;

Fig. 15. Characteristics of DC source when M3 was used as DC voltage
source.

In elaboration process of experimental model two physical
experiments were realized. Firstly physical experimental
model was explored when DC source was DC motor M!
according to Fig. 16 and secondly when DC source was
rectifier of laboratory according to Fig 18. In the first case
according to the experimental measurements we can see that
characteristic of load is the same like that in Fig. 15 and Fig
16. There is one imperfection in the second physical
experiment because the DC source in the recuperation regime
was taken form DC rectifier and its rated output voltage was
lower than the voltage of DC drive in the second physical
experiment. This imperfection leads us to Fig. 17 where we
can see that the maximum of experimental current was 4.3 A
If we compare these characteristics by maximum current in
physical experiment then we can see that in the first case 1t
reached 15 A and in the second case only 4.3 A. In the next
physical experiment we need to develop an additional DC
source what will have the same value of power S like our
bidirectional power flow regulator. Then it will be possible to
reach higher value of transmitted current and power than in
those two physical experiments.

110V
i
g2
S1
K1
3~380V 3~380V
] ) ]
s3 s2
M1 M1
Regulator M M)
M2

Fig. 16. Principal scheme when M1 was used as DC voltage source.

124

Ud[V]

In
bidire
regim
reguls
phase
After
thyris
exper

. Sourct

stead
reguls
meast
scope
were

Contr
micro
elabor
gener;

Fig. 18.

VI
Afte

WETE (




[image: image5.jpg]SCIENTIFIC PROCEEDINGS OF RIGA TECHNICAL UNIVERSITY

THE 50TH INTERNATIONAL SCIENTIFIC CONFERENCE ,,POWER AND ELECTRICAL ENGINEERING,”” OCTOBER 2009

Ud=f(Id)

(o))
(=]
J

U
<P

S
=3

Ud [V]
2
>

N
(==

—_—
(=]

Ia [A]

Fig. 17. Characteristics of DC source in recuperative regime (experimental)

VII.  DESCRIPTION OF EXPERIMENTAL MODEL IN

LABORATORY

In Fig. 18 we can see the experimental model of
bidirectional power flow regulator which is tested in rectifier
regime and recuperative regime. In the rectifier regime the
regulators are connected to AC source and through three
phase six winding transformer which is connected in star.
After the transformer there are a power circuit made of
thyristor modules, smoothing coil and load. In the
experiments rheostat was used. In recuperation regime DC
source — rectifier of laboratory is connected to inductance L in
stead of load. Then the energy flows from DC source through
regulator to AC source. All currents in all regimes were
measured by oscilloscope Fluke SW90W and by Velleman pc
scope. Also main impulses of control system in both regimes
were received and saved in computer for further analysis.
Control system of tyristors is made in this case by analog
micro schemes because of cheapness but in further
elaboration stage a digital microchip was used which will
generate all control signals for drivers of thyristors.

Filt.v;-r_I:._J

Transformer

Fig. 18. Photo of experimental model in laboratory.

VIIL.

After physical experiments and measurements many data
were obtained and most important data are presented in this

ANALYSIS OF ENERGETICAL PARAMETERS

Power Electronic Converters / Energoelektronikas Parveidotaji

manuscript. Fig.19 presents a diagram of power vectors. It
shows how much power was transmitted through the
experimental bidirectional power flow regulator in laboratory.
We can see in Fig.19 that maximal power S = 503 VA, P =
452 W and Q = 221 VAr were transmitted in the rectifier
regime and S = 160 VA, P = -46 W and Q = 156 VAr in the
recuperative regime. These results were got from the
experiment when DC source was the rectifier of laboratory.
That kind of data was not registered in the first experiment
when DC drive was used as a DC source.

5P,Q
100 Row=-46 [W] By=452 [W]
-100 A0 100 200 /300 400 500
—+— e e —— + P[W]
Quv=156 [VAr / @

TP SN Sre 503 [VA]
LS o = 160 [VATS_
\

6= 221 [VAr]

200

S [VA]

Fig. 19. Diagram of power vectors.

Fig. 20 shows cos ¢ of experimental model as function of
current of DC side in the rectifier regime. We can see that if
the current of load is within the range 4-12 A then cos ¢ is
growing and when the value of current reached 12 A then cos
¢ is stable approximately 0.90. Also we can see that cos ¢ is
very similar when smoothing inductance L without L is used.
The inductance of the used coil was 0.848 mH.

cos(@)=f(la)

0,00 T r T

5,00 10,00 15,00
Ia [A]

20,00

Fig. 20. Dependence of cos(g) of I in rectifier regime.

Fig. 21 presents the characteristic of cos ¢ of experimental
bidirectional power flow regulator model in the recuperation
regime. There we can see negative current of DC side what
confirms that electrical energy is recuperated to AC network.
Also we can see that better cos ¢ = 0.28 has been reached
during the experiments that is not enough; therefore another
experiment is necessary to transmit higher power from DC to

125




[image: image6.jpg]SCIENTIFIC PROCEEDINGS OF RIGA TECHNICAL UNIVERSITY

THE 50TH INTERNATIONAL SCIENTIFIC CONFERENCE ,,POWER AND ELECTRICAL ENGINEERING,” OCTOBER 2009

AC side and it will be done using more powerful DC source
than in this experiment.

cos(p)=f(la)

o1

Ut
H-0OK

0,0
T T (0]
-5 =4 =3 =2 =} =0,05

- /S
| 3 =U;1
8 r N-1-K
51 / Lt g
0o
0 5
P 09%
0,20
- 02
0%
P
=Y

Ta [A]

Fig. 21. Dependence of cos(¢) of Iy in recuperation regime.

THD ¢ =1d)
20,00 1

r— 1 00 _ L
% 5’ :‘.-.-"f"f ------- R
g 10,00 _
) —1L

500

0,00 ‘ 1 |

0,00 5,0 10,00 15,00 il
L [A]

Fig. 22. Dependence of THDy of Iyin rectifier regime.

n=00 5
PR
2= =17.03%.
L
0

THD ; =100- )

In Fig. 22 we can see total harmonic [3] distortion (Fund)
of current of AC network as a function of DC current of DC
grid. The characteristic shows that THD; has a growing
character from 12 % up to 18% what is acceptable percentage
for that kind of experimental model. There is formula (4)
which describes total harmonic distortion (Fund) in rectifier
regime and formula (5) which describes in the recuperative
regime. Fig. 22 shows THDy of two experimental variants
when smoothing filter L was used and when only rheostat as a
load was used. Both characteristics are very similar to each
other. It means that there is not big influence of reactance of
L to THD:x.

Power Electronic Converters / Energoelektronikas Parveidotaji

THD ¢ =81d)

THD 4]
%

Fig. 23. Dependence of THD of Iyin recuperation regime.

n=oo

2
2 1t
n=2

2
1

THD, =100- =14.89% . &)

Fig. 23, shows characteristic of THDf as a function of DC
current of the inverter regime. As we see THDy is within 10 —
20 percents.

IX.

Elaborated experimental bidirectional power flow regulator
confirmed a hypothesis that this kind of new solution can be
used for recuperation of electrical energy of tramcars and
trolleybuses in power substations of electrical transport.
Elaboration of that kind regulator can save electrical energy
in electrical transport of Riga.

CONCLUSIONS

REFERENCES

[1] Kjeld Thorborg, ,,Power Electronics - in Theory and Practice
Sweden, Studentlitteratur, 1993. — 129. p.

[2] W.M. Flanagan, “Handbook of transformer design and applications
Second edition, McGRAW-Hill, printed in USA, 1992, p 12.23.

[3] J.Briedis, I.Dumins, U.Lasis, U.Ratnieks, K.Tabaks “The fundaments
electrotechnics” Riga, Zvaigzne, 1985, pp. 245-265.

[4] Muhammad H. Rashid. ,,Power Electronics — Handbook” — Canacz.
Academic press, 2001. — 896 p.

[S] IXYS Corporation, “IXYS semiconductors, 2004/2005", German:
2004.-60.p.

[6] IRankis, L.Ribickis and A.Vitols ,, Comparision of Two Solutions =
Regeneration Circuits for Tramcars”, Electronics and electrica
engineering, Kaunas, 2006, Nr.5(69), 53-56.p.

[71 SW90W FlukeView ScopeMeter Sofiware users manual.
Corporation, 1996, 2003. p.25.

[8] Allan R. Hambley. ,Electrical engineering”, second edition. — New
Jersey, Prentice-Hall, Inc. 2002. — 343 p.

[9] A.Vitols. ,,Research of the bidirectional power flow regulator for pow =
substations in electrical transport’, disertation. —  Riga, RT.
publishing house, 2007. — 90 p.

Flukz

126

A
optim
analy;
energ
The |
consti
cell bs
of an
desigr
voltag
inside
storag
outpu
simuls
a full-
switch
voltag
low E!
are ve

Ke
energ)

Noxy
source
photo
play a
distrib
conne:
the fu
fuel c
storag
electrc




