co-firing of the renewable with fossil fuel for the clean and effective heat energy production
Atjaunojamo energoresursu un fosilā kurinĀmā līdzsadedzināšana tīrai un efektīvai siltuma  enerģijas ražošanai

I.Barmina, M.Gedrovics, V.Krishko, M.Zake 

Keywords: co-firing, emission reduction, gas (propane), greenhouse gases, swirling combustion, wood biomass

Introduction

The fossil fuel combustion for the heat production results in an intensive formation and release of air pollutants (NOx, CO2) into the Earth’s atmosphere with direct impact on the public health and the Earth’s climate, gradually increasing its temperature. By utilizing modern and efficient technologies of the heat energy production, biomass offers a source of sustainable energy that can gradually replace coal or other fossil fuels (natural gas, fuel oil, etc.). Biomass is considered as the renewable energy source with the highest potential to contribute to the energy needs of modern society world-wide [1,2].

Co-firing is the simultaneous combustion of different fuels in the same boiler. A combination of non-renewable and renewable energy resources, such as coal or natural gas with biomass can enable cleaner and more effective heat energy production. Biomass is a well-suited resource for co-firing with coal as an acid rain and greenhouse gas emission control strategy. For coal-burning plants co-firing of fossil fuel (coal) with biomass is the reduced emission of CO2, because biomass absorbs about the same amount of carbon dioxide during its growing cycle as is emitted from a boiler when it is burned [3-5]. Hence, since wood is considered to be “CO2 neutral”, co-firing wood fuels reduces CO2 emissions by an amount proportional to the co-firing rate. Therefore, biomass co-firing may be one of the most practical strategic options for complying with restrictions on generation of greenhouse gases. Moreover, the results show that co-firing of coal with biomass not only mitigate fossil CO2 emissions, but also reduce NOx and SO2 emissions from cyclone and PC boilers [5]. Direct biomass co-firing experience has shown that a number of technical problems can arise. These include grinding and feeding problems; enhanced slagging, fouling, corrosion and deposition problems. Converting the biomass into a gas, oil or charcoal can remove some or all of these problems. The bio gas produced during the wood fuel gasification can be directly injected into a natural gas channel to provide co-firing of natural gas or used for reburning to lower NOx emissions [4]. 

The alternative approach to the problem of co-firing the fossil fuels with renewable is associated with still increased interest in utilization of different types of the wood fuels for the clean and effective heat energy production. In fact, the dissimilar structure and different moisture content of wood fuels can result in unstable and less effective heat energy production. The previous investigations have shown that cleaner, more stable and effective wood fuel burnout can be obtained by co-firing with natural gas or propane [6-8], when co-firing of wood fuel with natural gas or propane can be used to initiate the wood fuel gasification, completing the burnout of the volatiles. At low rates of propane co-fire (20-30%) the dominant release of CO2 emissions (up to 80%) can be related to carbon-neutral emissions and not more than 20% refer to the greenhouse carbon emissions. In fact, the enhanced wood fuel gasification and burnout of the volatiles by co-firing with propane with a slight increase of the temperature downstream of the flame reaction zone can result in an increased rate of the formation of temperature-sensitive NOx emissions. The effective solution of this problem is imposition of an air swirl to the flame reaction zone that allows develop the low temperature staged combustion of the volatiles with reduced levels of NOx emissions. With the aim to provide clean and effective burnout of the volatiles with reduced levels of the greenhouse carbon and NOx emissions by co-firing the wood fuel with gas (propane), the main aim of recent study is to provide research of the effects of propane co-fire on the flame characteristics at different stages of the wood fuel burnout, providing control of combustion efficiency and the formation of the flame reaction zone.

Experimental

The experimental research of the swirl effects on the wood biomass (wood pellets) gasification and combustion of the volatiles by co-firing the wood fuel with propane is carried out using the pilot device that is composed of the wood fuel gasificator (1) and combustor with diagnostic sections (7) between the water-cooled sections (6) of the combustor (Fig.1).

[image: image17.emf]0

200

400

600

800

0 10 20 30

Radial distance,mm

Air excess,%

a.e.-1200s, prop=0 a.e.-1400s, prop=0

a.e.-1600s, prop=0 a.e.-1050s, co-firing

a.e.-1350s, co-firing a.e.-1550s, co-firing

d


Fig.1. Digital image (A) and schematic view (B) of the experimental set-up

1 – wood granules gasificator; 2 – steel grid; 3 – primary air; 4 – inlet port of propane flame flow; 5 – secondary air; 6 – water-cooled sections; 7 – diagnostic sections; 8 – ashpan; 9 – cooling water outlets; 10 – cooling water inlets

The discrete doses of the wood fuel (up to 320 g) are inserted into the gasificator up to the inlet port of the propane flame flow (4) that is used to initiate the wood fuel gasification and complete the burnout of the volatiles. A height of the wood fuel in the gasificator (L) at the initial stage of the flame formation is about 150mm. Both the primary and secondary airflows were supplied by a compressor and were injected by tangential inlets. The primary air at a rate 38 l/min is supplied below the wood fuel layer with the aim to initiate the wood fuel gasification, while the secondary air swirl at a flow rate up to 70 l/min is supplied above the inlet port of the propane flame flow (5), providing the gradual mixing of the swirling air flow with the flow of volatiles and gradual burnout of the volatiles. 

To provide the detailed research of the swirl effect on the flow field formation and flame structure, the complex measurements of the flame parameters include the local measurements of the axial and tangential flame velocity compound by using the Pitot tube. The local measurements of the flame temperature at different distances from the outlet of the gasifier were carried out by using the Pt/Pt-Rh (10 %) thermocouples, while the local measurements of the flame composition (O2, CO, CO2, NO, NOx and NO2) and combustion efficiency were performed using the gas analyzer Testo 350XL. The on-line calorimetric measurements of the cooling water flow were recorded by using data plate PC-20. The data registration was carried out with time interval of 1 sec. 

The experimental results and discussion

For given system configuration and the cold air flow conditions at the initial stage of the wood fuel gasification the air swirl can be characterized by relatively high swirl intensity, determining the variations of air swirl number (S ≈ 2/3vtg/vax) in a range of 0,8-1,3. The flow field structure in the primary mixing region indicates the formation of the well pronounced central recirculation zone (Fig.2). The maximum tangential velocity (vtg) occurs almost at the same radial distance from the axis as the peak of the axial velocity (vax)- close to the channel walls. The non-zero values of the axial flow velocity recorded near the axis of combustor are determined by the influence of primary air supply at the bottom part of the gasifier and can be increased by increasing the primary air supply, penetrating through the layer of the wood pellets and central recirculation zone. The formation of the flow field structure near the outlet of the secondary air is developing at high level of the turbulence, providing the variations of Reynolds number in a range of 3000-10000. The higher turbulence levels, determining mixing of the flame compounds at the initial stage of the flow field formation are fixed in the inner shear layer of the velocity gradients by decreasing the primary air supply into the bottom part of the gasifier below 50l/min. 

[image: image1.png]



Fig.2. The influence of the rates of primary and secondary air supply on the formation of the flame flow field at the initial stage of the flame formation (L = 30 mm above the secondary air inlet)

The formation of the central recirculation zone near the outlet of gasifier promotes the enhanced mixing of the flame compounds at the initial stage of the swirling flame flow formation. The additional heat injection into the upper part of the layer of wood pellets up to 30 % from the total heat energy produced during the burnout of the wood pellets promotes the primary reactions of the wood fuel gasification, followed by an ignition and burnout of the volatiles during the primary stage of the propane co-fire. The ignition and burnout of the volatiles for the given combustion conditions are followed by the formation of the flame reaction zone downstream of the flame channel flow, extending up to L/d = 5-6 with rapid increase of the axial flame velocity and flame temperature up to peak value-1400-1500K just after ignition of the volatiles (t = 100-120s) by limiting the reverse axial flow formation. As a consequence, the swirling flame flow formation is developing at reduced mixing rate of the flame compounds, determining the formation of low-temperature staged combustion downstream of combustor, when the temperature of the flame reaction zone is limited by 1400-1500K. The rate of the temperature rise for such conditions is highly influenced by the rate of the propane co-fire and can be increased by increasing a rate of the propane supply into the wood layer, promoting a linear increase of the rate of the additional heat supply in a wood fuel and flame temperature (Fig.3-a,b).

[image: image2.png]=
£V 3 H
; g
150 g
time.s
) 100 am Evl

0 05 1

propane supply rate, Vmin

30mm prop.083min
30mm prop 0 7Uin

30mm prop 0 78limin
a b




Fig.3. The effect of the rate of propane supply on the average heat supply into the wood fuel (a) and time-dependent variations of the flame temperature (b) at the initial stage of the flame formation

The time dependent variations of the flame temperature have shown that during the burnout of the wood fuel the axial flame temperature gradually decreases with correlating decrease of a height of the wood layer inside of the gasifier (Fig. 4-a, b), so gradually increasing a distance between the inlet port of a propane flame flow and upper part of the wood layer and promoting transition to the self-sustaining wood fuel burnout. At this stage of the wood fuel burnout the additional heat supply by the propane flame flow predominately is used to complete the burnout of volatiles, produced during the self-sustaining wood fuel combustion. The swirling flame flow field formation during the burnout of the volatiles with no propane co-fire indicates the formation of the intensive pulsations of the temperature and heat production rate, determined by the turbulent mixing of the flame compounds (Fig.4-c). As follows from Figure 4, stabilization of the flame temperature and heat production rates during the burnout of the volatiles can be achieved by co-firing the wood fuel with propane. The time dependent measurements of the heat production rate have shown that the peak value of the heat production rate during the burnout of the volatiles can be achieved at 1000-1400 s, when the intensive burnout of the volatiles promotes the radial expansion of the flame reaction zone (Fig.4-d) with correlating increase of the heat flow to the channel walls. During the end stage of the wood fuel burnout, when the axial flame temperature starts to decrease and flame reaction zone narrows in width, (Fig. 4-d) a correlating decrease of the heat production rate downstream of the flame channel flow has been observed (Fig 4-c). 

[image: image3.emf]400

600

800

1000

1200

1400

1600

0 800 1600 2400

time, s

Temperature, K

T, L=50mm, co-firing

T, L=50mm, prop.=0

a

       [image: image10.emf]0

1

2

3

4

5

0 10 20 30

Radial distance,mm

Velocity,m/s

vax,air-40/70 l/min vax, air-47/70l/min

vax,air-55/70l/min vax,air-40/90 l/min

vax, air-40/100l/min

a

     [image: image11.emf]-2

0

2

4

6

8

10

0 10 20 30

Radial distance,mm

Velocity,m/s

vtg,air-40/100l/min vtg, air-40/90l/min

vtg,air-40/70l/min vtg,air-47/70l/min

vtg, air-55/70l/min 

b

              [image: image4.emf]400

600

800

1000

1200

0 10 20 30

Radial distance, mm

Temperature, K

T-480s,co-firing T-680s, co-firing

T-880s, co-firing T-1070s, co-firing

T-1350s, co-firing T-1550s, co-firing

T-1750s, co-firing T-1950s, co-firing

d


Fig.4. The time dependent variations of the flame temperature (a), height of the wood pellets inside of the gasifier (b), heat production rate (c) and variations of the shape of the flame temperature profiles (d) at different stages of the swirling flame formation and wood fuel burnout, constant rate of propane co-fire (30%) and constant primary and secondary air supply rates (40/70 l/min) into the combustor.
It should be noticed that the time-dependent variations of the flame temperature and heat production rate at different stages of the wood fuel burnout (Fig.4) show the influence on the flame shape and formation of the flame composition and combustion efficiency profiles (Fig.5). The more pronounced variations of combustion efficiency profiles are detected along the airside part of the swirling flame flow (R > 10mm) by co-firing the wood pellets with propane, resulting in gradual increase of combustion efficiency and correlating decrease of the air excess, while slightly increases the volume fraction of CO2 and mass fraction of NOx (Fig.5, a-d) in this part of the flame. As one can see, the peak values of the volume fractions of CO2 and NOx and combustion efficiency are detected close to the flame axis and refers to the burnout stage of the wood fuel, when the heat production rate and flame temperature approaches to their peak value  (Fig.4). As follows from Fig.5-b, for given combustion condition a peak value of NOx close to the flame axis (R=0) slightly decreases by co-firing the wood fuel with propane. Such result is a consequence of the heat production under conditions, when a part of wood fuel with relative high nitrogen (0,326%) content is replaced by propane not containing nitrogen. It should be noticed that similar reduction of NOx has been observed for the conditions of joint utilisation of natural gas and biomass during the heat production in standard boiler/steam turbine [3].


[image: image5]
Fig.5. The effect of propane co-fire on the formation of the swirling flame composition profiles


[image: image6.wmf]2

4

6

8

10

12

14

16

0

1200

2400

time,s

Volume fraction CO

2

,%

CO2, prop=0

CO2,B=0,co-fire

a



 EMBED Excel.Chart.8 \s [image: image7.wmf]20

30

40

50

60

70

0

1200

2400

time,s

Efficiency,%

eff, prop=0

eff,B=0,co-fire

b



[image: image8.wmf]0

100

200

300

400

500

0

800

1600

2400

time,s

Air excess,%

a.e., prop=0

a.e.,B=0,co-fire

c



 EMBED Excel.Chart.8 \s [image: image9.wmf]20

40

60

80

100

0

800

1600

2400

time,s

NO

x

,ppm

NOx, prop=0

NOx,B=0,co-fire

d


Fig.6. The effect of propane co-fire on the time-dependent variations of the flame composition and combustion efficiency

The local measurements of the time-dependent variations of the flame composition close to the flame axis (R = 0) confirm that the propane co-fire shows the direct influence on the burnout of the volatiles by completing burnout of the volatiles with correlating increase of the volume fraction of carbon emissions and combustion efficiency, while decreasing the air excess in the flame reaction zone (Fig.6,a-d). A mean value of carbon emissions in the central part of the flame reaction zone during the self-sustaining burnout stage of the wood fuel can be increased from 12 % at no propane co-fire up to 14 % for the conditions of 30 % of propane co-fire. Combustion efficiency inside of combustion zone of volatiles for such conditions can by increased from 55 % up to 60 %. A slight decrease is detected in the rate of the formation of the NOx emissions by co-firing the wood fuel with propane, indicating that the joint utilization of swirl-induced low temperature staged combustion and co-firing of the wood fuel with propane and wood fuel can be used as the tools for NOx reduction. 

References

1. Bauen A., Woods J., Hailes R., BIOPOWERSWITCH! A Biomass blueprint to Meet 15 % of OECD Electricity Demand by 2020, WWF Climate Change Programme, 2004, P.74. 

2. Maniatis K. Progress in Biomass gasification: An Overview, Belgium, 2001, P.31 http://www.intrinergy.com/pdg/Biomass_Gasification_Overview.pdf
3. Brown M.J.,  Judd R.W. Emissions Reduction through Biomass and Gas Co-firing - the Bagit Project, 23rd World Gas Conference, Amsterdam 2006, P.1-5 http://www.stoner.com/PDF/WGC_paper_2006%20_2.pdf
4. Badger P., Segrest S.A., Stricker J.A., Green A.E.S., Biomass Co-firing with Coal at Lakeland Utilities, Final Report to The United States Department Of Energy underContract No.97RKW-219287 for September 1997 - July 1998, http://www.treepower.org/papers/energycrops.pdf
5. Final Report of the Governor’s Task Force on Co-Firing / Akers D., Borys S., DeMarco C., Durham F., Goldberg P., Hamer L., Herholdt J., McCreery L., Plasynski S., Tillman D. // The State of West VirginiaGovernor, Cecil H. Underwood, February 2000. http://www.iofwv.nrcce.wvu.edu/publications/reports/co-firin.pdf
6. Zake M., Barmina I. Formation of polluting emissions at wood biomass co-firing with propane // Latvian journal of physics and technical sciences. – Riga: Latvian Academy of Sciences, 2005, P.33-42

7. Barmina I., Desnickis A., Meijere A., Zake M., Development of biomass and gas co-firing technology to reduce greenhouse gaseous emissions // Advanced Combustion and Aerothermal Technologies: Environmental Protection and Pollution Reductions, Kijev-NATO, 2006, P.1-10

8. Zake M., Barmina I., Gedrovics M., Desnickis A., Effective technique of wood and gaseous fuel co-firing for clean energy production // LFTZ, Vol.2, 2007, P.1-18 

I.Barmina Dr.sc.ing. 

M.Zake, Dr.phys.

Institute of Physics, University of Latvia

Miera Street 32, LV-2169, Salaspils, Latvia

Phone: +371 29891137; +371 29736156

e-mail: mzfi@sal.lv; barmina@sal.lv 

M.Gedrovics Dr.sc.ing.

V.Krishko Bac.sc.ing.

Faculty of Power and electrical Engineering, Riga Technical University

Kronvalda boulevars 1, LV-1010, Riga, Latvia

Phone: +371 29443811, +371 29719715

e-mail: martins.gedrovics@rtu.lv; vera_krishko@inbox.lv
Inese Barmina, Mārtinš Gedrovičs, Vera Kriško, Maija Zaķe, Atjaunojamo energoresursu un fosilā kurināmā līdzsadedzināšana tīrai un efektīvai siltumenerģijas ražošanai
Koksnes granulu un propāna līdzsadedzināšanas eksperimentālais pētījums dažādās virpuļplūsmas veidošanās stadijās parādījis, ka:
· Propāna padeves palielināšana koksnes granulu un propāna līdzsadedzināšanas procesā tiek novērota liesmas temperatūras un saražotā siltuma daudzuma palielināšanās, intensificējot koksnes granulu gazifikāciju un gaistošo vielu sadedzināšanu.

· Koksnes granulu slāņa augstuma pakāpeniska samazināšanās gazifikātorā degšanas procesā veicina pakāpenisku pāreju uz patstāvīgu koksnes degšanas procesa veidošanos, bet propāna līdzsadedzināšana nodrošina pilnīgu gaistošo vielu sadedzināšanu, saražotā siltuma daudzuma un liesmas temperatūras un degšanas procesa efektivitātes palielināšanos, kā arī CO2 tilpuma koncentrācijas palielināšanos gaistošo savienojumu degšanas zonā. Izteiktāka degšanas procesa efektivitātes palielināšanās ir novērota liesmas virpuļplūsmas ārējā daļā, kur degšanas procesa efektivitātes palielināšanās ir saistīta ar vienlaicīgu gaisa pārpalikuma samazināšanos.
· Koksnes granulu un propāna līdzsadedzināšana izraisa nelielu NOx masas koncentrācijas samazināšanos liesmas reakcijas zonas centrā. Vēl jo vairāk, pakāpeniska gaistošo vielu sadedzināšana liesmas virpuļplūsmā pie relatīvi zemas degšanas zemas temperatūras (1400-1500K) nodrošina to, ka maksimālā NOx koncentrācija degšanas zonā nepārsniedz 80-100 ppm. Tādējādi koksnes granulu un propāna līdzsadedzināšana liesmas virpuļplūsmā var tikt izmantota kā viens no paņēmieniem NOx emisiju samazināšanai.                          

Inese Barmina, Martins Gedrovics, Vera Krishko, Maija Zake, Co-firing of the renewable with fossil fuel for the clean and effective heat energy production

The experimental research of propane co-fire of the wood fuel at different stages of the swirling flame flow formation has shown:
· At the primary stage of propane co-fire of the wood fuel increasing a rate of propane co-fire results in an increased rate of the flame temperature rise by enhancing the wood fuel gasification and burnout of the volatiles.
· Decreasing a height of the wood layer inside of gasifier promotes a gradual transition to the self-sustaining wood fuel burnout, while the propane co-fire provides complete burnout of the volatiles, increasing the rate of the heat production, flame temperature, combustion efficiency and volume fraction of CO2 in the flame reaction zone. The more pronounced increase of combustion efficiency is detected along the airside part of the swirling flame flow, where the enhanced burnout of the volatiles results in correlating decrease of the air excess.
· The less pronounced variations are detected for the mass fraction of NOx, when co-firing of the wood fuel with propane flame flow results in slight decrease of the mass fraction of NOx in the central part of the flame reaction zone. Moreover, because of low-temperature staged combustion of the volatiles downstream of swirling flame flow, the peak value of the mass fraction of NOx does not exceed 800-100ppm, indicating that the joint utilization of swirl-induced low temperature staged combustion and co-firing of the wood fuel with propane and wood fuel can be used as the tools for NOx reduction. 
И.Бармина, М.Гедрович, В.Крышко, М.Заке, Совместное сжигание возобновлямых и невозобновляемых топлив для производства чистой и эффективной теплоэнергии
Экспериментальные исследования совместного сжигания древесных гранул и пропана на разных стадиях формирования закрученного потока пламени показали, что:
· При увеличении подачи пропана в экспериментальную установку наблюдается увеличение температуры пламени, в результате чего, улучшается газификация древесных гранул и горение летучих веществ.
· Уменьшение слоя древесных гранул в газофикаторе способствует постепенному самостоятельному горению гранул, а горение пропана обеспечивает дальнейшее полное сгорание летучих веществ, увеличение количества произведённого тепла,  темпратуры пламени и эффективности процесса горения, а также увеличение объемной доли CO2 в зоне реакции пламени. Более выраженное увеличение эффективности процесса горения наблюдается вдоль воздушной зоны закрученного потока, где улучшенное горение летучих веществ соотносится с уменьшением избытка воздуха.
· Совместное сжигание древесных гранул и пропана приводит к небольшому снижению NOx выбросов. Кроме того, постепенное перемешивание летучих веществ с закрученним потоком воздуха приводит к формированию низкотемпературной зоны горения, с более низкой скоростью образования температурочувствительного NO и соответственно с более низким содержанием NOx, которое в зоне горения не привышает 80-100 ppm. Таким образом, совместное сжигание древесных гранул и пропана в закрученном потоке пламени можно использовать как способ уменьшения выбросов NOx.  
[image: image12.emf]y = -0,1042x + 170,03

R2 = 0,9867

0

30

60

90

120

150

180

0 800 1600

time,s

Wood layer height ,mm

b

[image: image13.emf]200

400

600

800

1000

1200

1400

0 800 1600 2400

time, s

Average heat production, J/s

Qsum.av., co-firing

Qsum.av., prop.=0

c

[image: image14.emf]0

5

10

15

20

0 10 20 30

Radial distance,mm

Volume fraction,%

CO2-1200s, prop=0 CO2-1400s, prop=0

CO2-1600s, prop=0 CO2-1050s, co-firing

CO2-1350s, co-firing CO2-1550s, co-firing

a

[image: image15.emf]10

40

70

100

130

0 10 20 30

Radial distance,mm

Mass fraction,ppm

NOx-1200s, prop=0 NOx-1400s,prop=0

NOx-1050s, co-firing NOx-1350s,co-firing

NOx-1550s, co-firing

b

[image: image16.emf]0

20

40

60

80

0 10 20 30

Radial distance,mm

Efficiency,%

eff-1200s, prop=0 eff-1400s, prop=0

eff-1400s, prop=0 eff-1050s, co-firing

eff-1350s, co-firing eff-1550s, co-firing

c

_1301231252.xls
Chart3

		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



b

eff, prop=0

eff,B=0,co-fire

time,s

Efficiency,%

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

74.6

0

74.2

53.1

74.2

50.9

88.2

85.6

88.1

85.1

90.5

85.1

90.3

90.8

90.3

90.6

90.9

92

90.7

91.8

90.9

91.8

90.8

92.2

90.9

92

90.8

92.2

90.8

92

90.9

92

90.8

92.1

90.9

91.9

91

92

91

91.9

91

92

91

91.8

91

91.8

90.9

91.8

90.9

91.7

91

91.7

90.9

91.6

90.9

91.6

90.9

91.7

90.9

91.6

90.9

91.6

90.9

91.6

90.9

91.6

90.8

91.6

90.8

91.6

90.9

91.6

90.9

91.5

90.9

91.5

90.9

91.6

90.9

91.5

90.8

91.5

90.8

91.4

90.9

91.4

90.9

91.4

90.9

91.3

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.3

90.9

91.3

91.5

91.3

91.6

91.3

91.6

91.3

91.6

91.9

91.7

91.9

90.3

91.7

89

91.7

88.3

91.7

83.1

90

83.4

89

83.4

88.6

74

88.6

73.6

84.1

65.2

84

64.2

74.7

64.2

73.1

61.3

64

60.2

62.8

60

62.8

58.8

57.8

58.8

57

59.4

55.1

58.2

54.4

59

54.4

57.6

53.3

57.6

52.7

58.3

52.1

57.1

51.7

57.9

51.7

56.6

51.2

57.5

51.3

56

51.1

56

51.2

57

51.2

55.6

51

57.1

50.8

55.3

50.5

55.3

50.2

57.1

50.3

55

49.7

57

49.7

54.2

49.7

54.2

49.1

56.3

49.3

53.4

48.9

56.1

48.9

52.7

49.3

52.7

49

55.5

49.3

51.6

48.8

55.1

48.8

51.3

48.8

55.2

48.5

51.9

48.3

51.9

48

55.3

48

52.8

47.7

55.5

47.4

53.6

47.2

53.6

46.9

55.3

46.9

53

46.7

53.6

46.3

50.8

46

50.8

45.5

52.3

45.6

49.4

44.8

52.5

44.8

50.3

45.2

50.3

44.2

53.5

45

52.2

44

53.5

44

52.6

45

52.6

44.3

52.7

45.5

52.2

44.7

52.7

44.7

52.7

46.3

53.5

45.6

53.6

47

53.6

46.4

54.4

46.4

54.2

47.1

54.6

46

54.3

46.6

54.3

44

54.6

45.9

54.2

41.9

54.2

41.9

54

45.6

54

42

54.1

47.5

53.8

44.3

53.9

44.3

53.8

49.4

53.8

46.9

53.7

50.3

53.6

48.2

53.5

48.2

53.5

50.5

53.6

48.3

53.6

50.3

53.6

48.1

53.8

48.1

53.7

50.4

53.8

48.1

53.7

50.8

53.7

48.5

53.8

51.2

53.7

51.4

53.6

49

53.4

51.8

53.4

49.2

52.8

51.4

52.6

49

52.1

49

52

51.4

52

48.8

52

51.8

51.8

49.4

51.8

49.4

51.7

52.8

51.7

51.1

52.1

54.6

52.1

53.8

52.5

53.8

52.5

56.5

52.4

56.3

52.5

57.2

52.5

57.3

52

57.3

52.2

56.9

51.7

56.9

51.9

56.2

51.9

56.1

51.5

55.5

51.6

55.4

51.3

55.4

51.3

55.2

51.3

55.2

51

55.2

51

55.1

51.1

55.1

51.1

54.7

51.1

54.5

51.8

54.4

51.8

54.1

52.1

54.1

52.1

54.5

52.2

54.2

52.2

54.4

52.3

54

52.5

54

52.5

54.4

52.7

54.2

52.8

55

52.8

54.8

53

55.6

53

55.4

53.2

55.4

53.5

56.1

53.5

56

53.5

56.6

53.9

56.6

53.5

56.6

53.7

57.1

53.7

57.2

53.2

57.2

53.2

57.3

53.1

57.3

53.1

57

53.3

57.1

53.5

56.6

53.5

57.4

53.6

57.4

53.7

57.1

53.3

58.6

53.3

57.2

53.3

58.4

53

58.4

53.2

53.4

53.3

54.2

53.4

47.7

53.4

48.3

53.3

44.4

53.3

45.1

53.2

45.1

53.3

43.4

53.3

44.3

53.3

43.1

53.6

43.3

53.5

43.3

53.7

41.7

53.7

40.3

53.4

38.8

53.6

36.8

53.3

36.8

53.4

38.6

53.3

37.6

53.3

41.9

53.3

41.7

53.6

41.7

53.5

44.3

53.8

44

53.7

44.1

53.7

43.4

54

43.1

54

42.4

54.4

42.4

54.4

42.9

54.4

42.6

54.7

43.7

54.7

43.4

54.5

43.4

54.5

44

54.5

43.3

54.1

44.1

54

43.5

53.9

43.5

53.7

46.9

53.8

46.6

53.6

50.2

53.6

50.1

54.3

50.1

54.2

50.8

55

50.8

55

50.5

55

50.5

55.2

50.8

55.2

50.9

55.3

50.9

55.3

51.3

55.3

51.3

55.5

51.9

55.6

51.9

55.6

51.9

55.7

51.7

55.7

51.7

55.2

50.7

55.4

50.8

54.8

50.8

55.1

49.6

54.4

49.7

54.4

48.1

54.6

48

54.1

48

54.2

46.7

54

46.6

54.2

46.4

54.2

46.4

54.3

46.4

54.5

47

54.3

47.2

54.5

47.9

54.5

47.7

54

47.6

54.1

47.4

53.9

47.4

54.1

47.7

54.1

47.8

54.1

48.8

54.4

48.9

54.1

48.9

54.3

48.4

54.3

48.7

54.1

47.9

54.1

48.2

54.2

48.2

54.2

48.1

54.2

48.4

54.3

48.5

54.3

48.8

54.3

48.8

54.3

48.7

54.2

48.9

54.1

48.7

54.1

48.8

54.2

48.6

54.1

48.4

54.3

48.4

54.1

48

54.1

48

54.2

48.6

54

48.6

54.2

48.6

54

49.6

54

49.7

54.4

50.2

54.1

50.4

54.6

50.4

54.2

50.8

55.1

50.8

54.9

50.3

54.9

50.1

55.8

50.1

55.7

49.1

56.2

49.3

56.1

49.1

56.1

49.5

56

49.1

56

49

55.8

49.4

55.9

48.6

55.9

49.1

55.8

48.2

55.8

48.8

55.9

48.8

55.8

47.7

55.8

48.2

56.4

47.5

56.3

47.9

57

47.9

56.9

47.5

56.9

48.2

57.2

48.2

57.2

49

57.4

49

57.5

49

57.4

49

57.5

49

57.5

49.2

57.1

49.2

57.1

48.2

56.7

48.2

56.7

47.1

56.7

47.1

56.7

47.1

56.7

47.3

56.8

47.3

56.7

47.9

56.7

47.9

56.4

48.5

56.3

48.4

56.1

48.4

56

48.6

56

48.5

56

48.6

55.9

48.5

55.9

48.5

55.8

48.5

56.1

48.4

56.1

48.2

56.1

48.1

56.5

48.1

56.4

47.8

56.6

47.5

56.6

47.5

56.6

47.2

56.8

47.2

56.7

47.6

56.7

47.4

56.7

47.7

56.7

47.2

56.7

47.2

56.6

47.3

57.3

46.6

57.2

46.9

57.2

47

57.7

48.3

57.7

48.9

57.6

48.9

57.5

49.2

57.5

49.7

57.5

48.4

57.5

48.8

57.5

48.8

57.5

47.4

57.5

47.4

57.4

46.8

57.4

46.5

57.3

46.5

57.2

46.8

57.4

46.6

57.3

47.2

57.3

47.3

57.6

47.3

57.5

47.7

57.8

47.8

57.8

47.7

57.8

47.5

57.8

47.4

57.8

47.1

57.7

47.1

57.6

47.5

57.6

47.2

57.8

47.8

57.8

47.4

58

47.4

58.1

47.9

58.1

47.6

58

48.1

58.1

48

57.8

48

57.9

48.6

57.7

48.5

57.7

48.8

57.7

48.8

57.7

48.8

57.7

48.9

57.7

49

57.7

48.9

57.7

49

57.5

48.6

57.6

48.7

57.5

48.7

57.5

48.1

57.5

48.1

57.5

47.8

57.5

47.8

57.6

47.8

57.6

48

57.6

48

57.7

48.3

57.6

48.4

57.7

48.4

57.5

48.8

57.8

49.1

57.8

49.4

57.6

49.6

58.1

49.6

57.9

49.4

58.1

49.6

57.9

49.2

57.9

49.3

58

49.3

58

48.9

58.3

48.8

58.3

48.6

58.3

48.5

58.5

48.6

58.6

48.7

58.4

48.7

58.6

48.8

58.6

49.1

58.1

49.1

58.2

49.5

57.9

49.5

57.9

49

57.9

49.3

57.7

48.6

57.6

48.9

57.6

48.9

57.6

48.6

57.7

48.7

57.8

48.3

57.8

48.4

57.8

48.4

57.9

48.2

57.8

48.3

57.8

48.3

57.8

48.3

57.8

48.3

57.8

48.3

57.9

48.3

57.9

48.2

57.9

48.1

58

48.2

58

48

58.3

48

58.3

48.7

58.3

48.6

58.5

49.6

58.5

49.6

58.6

49.6

58.6

50.3

58.7

50.4

58.7

50.8

58.7

51

58.7

51

58.7

51

58.7

51.1

58.5

50.8

58.5

50.7

58.7

50.6

58.4

50.6

58.9

50.5

58.7

50.5

58.7

50.4

59.1

50.4

59

50.4

59.3

50.4

59.3

50.2

59.3

50.1

59.5

49.8

59.4

49.9

59.4

49.9

59.3

49.7

59.3

49.8

59.5

49.5

59.5

49.5

59.6

49.5

59.7

49.2

59.5

48.9

59.6

48.5

59.6

47.9

59.4

47.9

59.4

47.8

59.3

47.4

59.2

48.2

59.2

47.8

59.2

48.8

59.1

48.3

59.1

48.3

59.2

48.9

59.2

48.1

59.1

48.6

59.1

47.9

58.9

47.9

58.8

48.9

58.8

48.2

58.7

49.5

58.7

49.1

58.9

49.1

58.9

50.6

59.1

50.5

59.2

51.5

59.2

51.1

59.1

51.1

59.2

51.2

58.9

50.8

59

51.3

59

51.5

58.9

52.5

58.9

52.8

58.9

52.8

59

53.2

59

53.3

59.1

53.1

59.1

53.2

59.2

53.2

59.1

52.8

59.1

53

59.1

52.7

59

52.9

59.1

52.9

59.1

52.6

59.2

52.8

59.1

52.1

59.1

52.1

59.2

52.1

59.2

51.6

59.2

51.7

59.2

51.7

59.2

51.7

59.2

51.7

59.3

51.9

59.4

52

59.5

52.2

59.5

52.4

59.4

52.5

59.5

52.6

59.2

52.6

59.3

52.6

59.3

52.6

59.2

52.5

59.3

52.6

59.3

52.6

59.4

52.7

59.4

52.8

59.3

52.8

59.3

52.8

59.4

52.8

59.3

52.5

59.4

52.3

59.4

51.8

59.4

51.6

59.5

51.6

59.5

51.6

59.6

51.4

59.6

52.1

59.6

52

59.6

52.6

59.7

52.6

59.7

52.6

59.6

52.8

59.6

52.9

59.5

52.7

59.4

52.8

59.3

52.8

59.3

52.5

59.3

52.6

59.3

52.2

59.2

52.1

59.3

52.1

59.2

52.1

59.3

52

59.3

52.2

59.3

52.1

59.4

52.1

59.3

52.2

59.4

52.1

59.2

52.2

59.2

52

59.3

52.1

59.1

51.7

59.2

51.7

59.2

52.4

59.2

52

59.4

53.2

59.4

53

59.5

53

59.5

53.9

59.5

54

59.5

54.3

59.4

54.6

59.5

54.6

59.4

54.3

59.8

54.6

59.8

54

59.7

54.3

59.9

54.3

59.9

53.6

59.9

53.9

59.9

53.5

59.9

53.7

59.9

53.7

59.8

53.5

59.9

53.7

59.8

53.4

59.8

53.6

59.9

53.3

59.9

53.5

60.1

53.5

60.2

53.2

60.2

53.4

60.2

53

60.3

53.1

60.2

53.1

60.2

52.7

60.2

52.7

60.2

52.7

60.2

52.8

60.2

52.8

60.3

52.8

60.1

52.8

60.2

52.5

60.2

52.4

59.9

52.4

60

52.3

59.8

52.3

59.9

52.5

59.9

52.8

59.9

52.9

59.9

53.2

59.9

53.2

59.8

53.1

59.8

53.1

59.8

52.7

59.8

52.6

59.9

52.6

59.9

52.3

59.9

52.2

60

52.3

60

52.1

60

52.1

60

52.3

60.1

52.2

60

52.2

60

52.3

60.2

52.3

60.1

52.4

60.2

52.4

60.1

52.3

60.1

52.1

60

52.1

59.9

52

60

51.9

59.9

52.2

59.9

52.1

59.9

52.5

59.8

52.3

59.9

52.3

59.8

52.4

59.8

52

60

52.4

59.9

52.2

60.1

52.2

59.9

52.9

59.9

52.5

60

53.1

59.9

52.5

60

52.5

60

53.3

60.2

52.5

60.2

53.7

60.2

53.2

60.2

53.2

60.1

54.6

60.1

54.4

60.2

55.3

60.2

55.2

60.2

55.5

60.3

55.6

60.2

55.6

60.2

55.8

60.2

56.1

60.2

55.9

60.2

56.3

60.2

56.3

60.2

55.5

60.2

55.8

60.3

54.9

60.4

55

60.5

55

60.5

54.5

60.5

54.6

60.6

54.2

60.6

54.1

60.5

54.1

60.4

53.9

60.4

53.7

60.3

53.9

60.3

53.6

60.4

54.2

60.3

53.6

60.4

53.6

60.4

53.9

60.4

53.5

60.3

54.2

60.3

53.9

60.2

53.9

60.3

54.8

60.3

54.6

60.3

55.1

60.4

55

60.3

55

60.5

55.3

60.3

55.3

60.4

55.3

60.4

55.4

60.2

55.4

60.2

55.4

60.1

55.5

60.1

55.4

60.1

55.5

60

55.5

60

55.3

60

55.4

60

55.3

60

55.3

59.9

55.3

59.9

55.5

59.8

55.5

59.8

55.6

59.8

56

59.8

55.7

59.8

56.1

59.9

56.1

59.9

55.1

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

54.4

59.9

54.5

60

54.5

59.9

54.6

60

54.8

60.1

54.6

60.1

55

60.1

55

60.2

54.4

60.2

55

60.4

54

60.4

54.5

60.4

53.2

60.4

53.5

60.2

53.5

60.2

52.5

60.2

52.5

60.1

52

60

51.8

60

51.8

60

52

60

51.9

60

52.4

60

52.4

59.9

52.4

59.9

52.9

59.9

53

59.8

53.1

59.8

53.4

59.8

53.4

59.8

53.3

59.8

53.5

59.7

53.3

59.7

53

59.8

53

59.8

52.8

59.8

52.4

59.9

53

59.9

53

59.8

54

59.9

54.3

59.8

54.3

59.8

54.4

59.8

54.5

59.9

53.9

60

53.7

60

53.7

60.1

53.1

60.1

52.8

60

52.9

60

52.4

59.9

52.4

59.9

53

59.9

52.4

59.8

53.4

59.8

53.1

59.8

53.1

59.7

54.4

59.8

54.2

59.7

54.8

59.7

54.4

59.9

54.7

60.1

54.5

60

54.5

60.4

55.4

60.4

55.5

59.9

56.2

60.1

56.2

59.5

56.1

59.6

56.1

59.6

55.8

59.3

55.9

59.4

55.8

59.3

55.8

59.4

56.2

59.3

56.4

59.4

56.8

59.4

56.7

59.3

56.7

59.4

56.5

59.2

56.5

59.3

56.1

59.3

56.1

59.2

56.1

59.2

56.1

59.3

56.1

59.3

56.4

59.3

56.4

59.4

56.5

59.4

56.4

59.4

56.4

59.4

56.3

59.4

56.4

59.4

56.7

59.6

56.8

59.7

56.8

60

56.8

60

56.7

59.7

56

59.9

55.9

59.3

55.9

59.3

55.9

58.8

55.9

58.9

56.4

58.9

56.3

58.9

56.3

59

56.6

59.2

56.7

59.3

56.6

59.3

56.8

59.2

56.3

59.2

56.6

59

56.6

59

56.1

59

56.5

59.1

55.7

59.2

55.9

59.1

55.9

59.3

54.9

59.3

55.1

59.1

54.6

59.4

54.9

59

54.9

59.3

54.7

59

55.2

59.1

54.8

59.1

55.1

59

55.1

59.1

54.3

58.9

54.4

58.9

54

58.9

54

58.8

54

58.7

53.9

58.7

53.9

58.5

54.1

58.5

53.9

58.7

54.1

58.6

54

58.9

54

59

54.2

59

54.1

59.2

54.1

59.3

53.8

59.3

53.8

59.3

53.8

59.2

53.3

58.9

53.6

58.9

53.1

59

53.1

58.7

53.6

59

53.4

58.8

54

58.8

54

59.3

54

59.2

54.6

59.6

54.6

59.7

54.5

59.7

54.6

59.7

54.3

59.9

54.4

59.8

54.5

59.8

54.5

59.8

54.6

59.6

54.5

59.6

54.5

59.6

54.5

59.7

54.3

59.7

54.3

59.6

54.4

59.7

54.5

59.4

54.5

59.5

54.6

59.4

54.7

59.5

54.7

59.5

54.9

59.2

54.9

59.4

54.8

59

55.1

59.1

54.6

59.1

54.8

58.9

53.8

58.9

53.8

58.9

53.8

59

53.2

59

53.2

59.1

53.2

59.1

53.1

59.4

53.1

59.4

53.3

59.4

53.4

59.7

53.7

59.8

53.8

59.8

53.8

59.9

53.7

59.8

53.7

59.8

53.4

59.8

53.5

59.8

53.5

59.9

53.8

59.8

53.9

59.9

53.9

59.9

54

59.8

53.6

59.9

53.6

59.9

53.6

60.1

53.4

60.1

53.3

60

53.1

60

52.8

60

52.8

60

53

60

52.8

60.1

53.3

60.2

53.1

60.1

53.1

60.2

53.3

60

52.9

60

53.1

59.9

52.8

59.9

52.8

59.8

53.7

59.9

53.5

59.8

54.6

59.8

54.5

59.9

54.5

60

54.9

60

55.2

59.9

55.6

59.9

55.8

59.8

55.5

59.6

55.6

59.8

55.5

59.7

54.8

59.7

54.9

59.9

54.6

59.7

54.6

59.7

54.6

59.7

54.5

59.7

54.6

59.8

54.8

59.8

54.9

59.8

54.9

59.8

54.9

59.8

54.9

59.8

54.7

59.8

54.6

59.8

54.6

59.6

54.6

59.7

54.6

59.5

54.8

59.5

55

59.8

55.3

59.7

55.3

60.1

55.3

60.1

55.1

60.1

55.1

60.3

54.7

60.2

54.8

60.2

54.8

60.1

54.8

60.1

54.5

60.4

54.4

60.4

54

60.6

54

60.5

54.1

60.5

53.4

60.3

54.1

60.3

53.4

60.4

53.4

60.3

54.7

60.7

54.5

60.6

56.2

60.6

56.2

60.8

56.2

60.6

56.9

60.7

56.8

60.5

56.8

60.5

56.6

60.7

56.3

60.6

56.2

60.9

56.2

60.8

56.1

60.8

56.2

61

56.4

61

56.4

61

56.4

60.9

56.6

60.9

56.7

60.9

56.7

60.7

56.6

60.9

56.6

61

56.4

61.2

56

61.4

56.1

61.4

55.8

61.3

55.8

61.4

56.2

61.1

56

61

56.5

61

56.4

60.9

56.9

60.6

57

60.7

57

60.5

57.4

60.5

57.5

60.8

57.5

60.7

57.4

60.9

57.4

60.7

57.1

60.7

57

61

57.2

60.8

57.4

61.3

57.4

61.1

57.8

61.6

58.1

61.6

57.9

61.6

58.2

61.9

58.2

62

57.6

61.9

57.7

61.9

57.1

61.9

57.3

61.6

56.9

61.5

57.2

61.3

57.2

61.2

57

61.2

57.3

61.4

56.9

61.3

57.2

61.7

57.2

61.8

56.9

61.8

56.8

61.8

56.1

62

55.9

61.7

55.9

61.7

55.6

61.3

55.4

61.2

55.9

61.2

55.6

61

55.6

60.8

56

61

55.9

60.8

56.6

60.8

56.6

61.2

56.6

61.1

57.2

61.7

57.2

61.7

57

61.7

57.1

61.9

56.8

61.8

56.9

61.7

56.9

61.7

56.7

61.7

56.5

61.9

56.3

62.1

55.7

62.3

55.7

62.7

55.9

62.7

55.2

62.3

56.6

62.5

56.1

61.7

56.1

62

57.8

61.6

57.7

61.9

58.8

61.9

59.2

61.6

59.2

61.5

59.4

61.2

59.8

61.1

58.6

61.1

58.6

61.2

57.2

61

57.2

61.3

57.2

61

56.8

61

56.8

61.2

57.2

61.1

57.1

61.5

57.1

61.4

57.7

61.4

57.4

61.6

57.7

61.2

57.7

61

57.7

60.8

58.1

61.2

58.8

61.2

59.2

61.2

60.1

61.7

60.1

61.6

58.7

61.6

59.2

61.5

56.6

61.5

56.8

61.4

55.6

61.4

55.6

61.7

55.8

61.8

55.7

61.8

55.9

61.9

56.1

62

56.2

61.6

56.2

61.8

56.4

61.8

56.7

61.5

56.7

61.6

56.8

61.4

56.8

61.4

56.4

61.2

56.3

61.2

56.2

61.2

56

61.1

56

61

56.2

60.9

55.7

60.8

56.2

60.8

56

60.9

56

60.9

56.7

61

56.9

60.9

57.4

60.9

57.6

61.1

57.4

61

57.4

61.1

57.4

60.9

57.1

60.9

57.1

61

57

60.9

57

61.3

57

61.4

57

61.4

57

61.8

57

61.9

57.1

62

57.1

62.3

57.3

62

57.5

62.4

57.6

62.4

57.8

62

57.8

62.3

57.5

61.9

57.6

62.1

57.3

62.1

57.7

61.9

57.7

62.1

57.8

62

58.5

62.3

58.1

62.3

58.5

62.1

58.5

62.3

57.2

62

57.5

62.2

56.4

62.2

56.6

62

55.9

62.1

55.9

61.9

55.9

61.8

55.7

61.8

55.7

61.7

55.5

61.7

55.8

61.9

55.8

61.9

55.8

61.9

56.2

61.9

56.1

61.9

56.3

61.9

56.3

61.8

55.8

61.9

55.8

61.9

55.5

61.9

55.6

61.7

55.6

61.7

55.7

61.6

55.8

61.6

56.1

61.6

56.3

61.7

56.4

61.8

56.4

61.8

56.4

61.9

56

61.9

55.8

61.8

55.4

62

54.8

61.7

54.8

61.8

55

61.8

54.4

61.6

55.5

61.7

55.2

61.7

55.2

61.8

56.2

61.7

55.7

61.7

56.3

61.7

55.9

61.6

55.9

61.7

56.8

61.7

55.9

61.9

56.8

61.9

55.5

61.9

57

62.1

56.4

62.1

56.4

62.3

59.4

62.3

59.4

62.1

61.5

62.3

61.8

62

61.8

62.2

61.6

62.2

62.2

62

60.9

62.1

61.6

62.1

61.6

62.1

59.9

62

60.9

62

58.9

62

59.9

62

59.9

62.1

57.8

62.1

58.2

62.4

56.4

62.4

56.2

62.3

56.2

62.5

55.1

62.3

55.5

62.5

56.1

62.5

57.2

62.3

57.5

62.5

58.4

62.4

58.4

62.5

56.7

62.5

57.3

62.3

55.3

62.3

55.8

62.2

55.8

62.2

54.4

62.2

55.1

62.3

54.1

62.2

54.8

62.2

54.8

62.1

53.7

62.2

54.3

62.1

52.9

62.1

53.3

62.1

53.3

62

52.4

62.1

52.5

62

52.2

62

52.2

62.2

51.9

62

52

62.2

51.9

62

51.8

62

51.9

62.1

51.8

62.1

52.1

62.2

52.1

62.2

51.4

62.2

52.2

62.2

51.3

62.1

52.2

62.2

52.2

62.2

50.6

62.4

51.3

62.3

49.2

62.3

49.4

62.3

49.4

62.3

48.2

62.3

48.3

62.3

47.9

62.3

48.2

62.4

48.1

62.4

48.5

62.4

48.5

62.4

47.8

62.4

48.1

62.4

47.1

62.5

47

62.5

47

62.7

46.8

62.7

46.4

62.5

47

62.8

46.8

62.6

46.8

62.9

47.6

62.5

47.6

62.5

48

62.7

48.3

62.4

48.3

62.6

48.6

62.6

48.6

62.9

48.4

62.9

47.8

62.7

47.8

62.8

47.7

62.4

47

62.2

48.1

62.2

47.3

62.1

49.1

61.9

48.7

62.3

48.7

62.1

50.4

62.1

50.2

62.4

51.1

62.4

51.1

62.5

51.1

62.5

51.3

62.5

51.5

62.4

51.6

62.4

51.5

62.2

51.5

62.1

51.1

62

50.9

62

50.9

62

50.4

62

50.4

62.1

50.7

61.9

51.1

62.1

52.1

62.1

53.5

61.8

52.6

62

53.5

61.5

53.5

61.5

49.8

61.5

50.4

61

47.7

60.7

48.4

60.6

48.4

60.3

47.5

60.3

48.2

60.7

47.6

60.9

48.2

61.6

48.2

62.1

47

62.2

47.5

62.8

46.3

62.8

46.8

62

46.8

62.3

46.9

61.2

47.5

61.5

47.9

61.5

48.2

60.6

48.2

60.8

47.8

60.1

48

60.1

47.7

60.1

47.9

59.6

48

59.7

48.2

59.6

48.2

59.8

48.3

59.8

48.8

59.9

48.7

60.2

48.9

59.8

48.9

60.1

47.7

60.1

47.6

59.5

46.4

59.8

46.1

59.3

46.1

59.5

46.4

59.1

46.4

59.4

47.4

59.4

47.8

59.1

47.8

59.3

48.1

58.9

48.1

59.1

48

59.1

47.8

58.9

48.2

59.3

48.3

59.1

48.3

59.2

49

59.2

49.2

58.7

49.5

58.5

49.7

58.2

49.7

58

49.5

58

49.7

58.3

49.4

58.5

49.5

58.9

49.5

59.5

48.8

59

49.3

59.6

48.9

59.6

49.9

58.3

49.9

58.9

49.6

57.9

50.3

58.1

48.9

58.1

49.5

57.7

48

57.8

48.7

57.9

48.7

58.3

47.5

58.3

48

58.3

46.9

58.6

47

58.2

47

58.3

46.3

58.3

46.2

58

46.3

58.1

46.2

58.4

46.2

58.7

46.5

59

46.6

59.4

46.3

59.4

46.5

58.8

46.5

59.1

46.1

58.6

46.3

58.8

46

58.9

45.7

58.5

45.7

58.6

44.8

58.2

44.1

58.3

43.2

58.3

42.6

58.1

43.2

58.4

42.6

58

42.6

58

43.9

58

43.7

57.3

44.3

57.1

44.5

57

44.5

56.6

44.4

56.6

44.8

57.3

44.1

56.6

44.3

57.5

44.3

56.7

43.9

57.7

44.4

57.5

45.3

57.5

46.2

58.8

46.2

59.3

46.3

59.6

47.1

60.2

44.4

60.2

45.4

59

42.2

59.5

43

58.3

43

58.6

40

58.6

40.7

57.9

38.4

58.3

38.1

58

38.1

58.7

36.9

58.7

36.1

58.3

37.2

59

36.2

57.5

36.2

58.1

39.8

56.4

39.9

56.6

43.6

56.6

44.5

55.6

44.5

55.7

44.3

55.5

44.8

55.6

41.7

55.6

41.8

55.9

39.9

55.9

39.8

55.5

39.8

55.4

39.5

55.4

39.5

55.4

39.7

55.3

39.9

55.8

39.9

55.8

40.2

55.8

40.7

55.8

40.1

55.8

40.3

55.4

40.3

55.2

38.7

55.1

38.5

55.1

38

54.6

37.6

55.6

37.6

55.1

38.5

56.3

37.9

56.1

39.2

56.1

38.3

56.9

38.3

57.1

39.5

57.4

38.5

57.3

40.1

57.3

39.3

56.8

41.4

56.6

41.4

56.6

41.4

56.5

43.2

56.5

43.7

57.9

43.8

58.1

44.2

59.4

44.2

59.6

42.1

59.6

42.6

59.5

40.7

59.6

40.8

58.9

40.8

58.9

39.4

58.3

38.7

58.6

38.6

58.6

37.6

57.7

37.6

58

39.6

56.9

38

57.1

40.8

57.1

39.2

56.1

43.8

56.3

43.2

55.8

43.2

56

47.1

56

47.3

55.6

47.9

55.6

48.6

55

48.6

54.5

46.8

54.5

47.6

54.5

45

53.9

45.9

55.5

45.9

55.4

43.2

57.4

43.8

57.4

42.1

57.4

42.7

57.5

42.7

57.7

42.1

56.8

42.7

57

41.9

57

42.1

56

42.1

56.1

40.9

55.4

41.1

55.5

40.3

55.5

40.6

55

40.2

55.1

40.6

54.6

40.6

54.4

39.9

54.4

40.5

54.3

39.2

53.9

39.5

55

39.5

54.9

36.9

54.9

37.2

56.8

34.6

56.7

34.7

57.6

34.7

57.5

33

57.4

32.8

57.2

32.7

57.2

32.6

56.9

32.6

56.8

33.9

56.5

34

56.6

34.1

56.6

34.1

56.3

32.7

56.6

32.4

55.9

32.4

56.4

30.7

56.4

30.1

54.6

30.1

55.3

30.1

52.5

30.1

53.3

30.1

53.3

29.9

50.1

30.1

50.8

30.3

47.8

30.3

48.3

31.2

45.8

30.9

46.2

30.3

46.2

30

44.7

30

44.9

30

44.3

29.5

44.5

30.7

44.5

30.2

44.4

30.2

44.5

32

44.4

31.6

44.5

33

44.5

32.7

44.4

32.7

44.3

33.4

44.2

33

44

33.9

44

33.3

44.2

34.6

44.1

33.7

44.7

33.6

44.7

35.8

45.2

35

45.2

37.9

45.2

37.5

45.2

37.5

45.2

39.7

45.2

39.3

45.2

40.1

45

39.8

45.4

39.8

45.2

40

45.6

39.7

45.3

39.8

45.3

39.7

45.7

39.7

45.3

39.6

46.1

39.7

45.9

39.5

45.9

39.6

46.8

39.2

46.6

39.1

47

39.1

47

38.9

47

38.9

47.2

39.2

47.2

39.3

47.3

39.3

47.2

39.4

47.2

39.3

47.1

39.3

47.1

39.2

47

39.2

47

39.4

47.1

39.4

46.9

39.4

46.9

39.5

47

39.5

46.8

38.9

47.3

39

47.2

38.3

47.2

38.4

48

38.6

48

38.6

48.2

38.7

48.1

38.8

48.1

38.9

48.2

38.4

48.1

38.7

48.4

38.7

48.3

38.2

48.3

38.5

48.3

37.6

48.1

37.9

48.1

37.9

48.1

36.9

48.3

37.3

48.3

36.3

48.3

36.9

48.3

36.9

48

35.2

47.9

35.7

47.5

33.4

47.5

33.8

48.4

33.8

48.2

32.1

49.6

32.4

49.5

31.5

49.5

31.8

50.2

31.1

50

31.5

50

31.4

49.9

30.5

49.9

30.8

50.1

29.9

50.2

29.9

50.1

29.9

50.4

29.1

50.4

29.2

49.5

29.5

49.6

29.8

48.6

29.8

48.6

30.7

48.3

31

48.2

30.8

48.2

31

48.5

31

48.5

30.1

48.8

30.4

48.7

29.4

48.7

29.8

49

29.2

48.9

29.6

49

29.6

48.9

28.6

48.9

29

49

27.7

49

28.1

49.2

28.1

49.1

26.9

49.1

27

49.2

25.9

49

25.9

49.1

25.9

48.8

26

49.4

26

49.2

26.8

49.2

26.7

50.1

26.7

49.8

27.4

50.4

27.2

50.2

28

50.2

27.8

50.5

27.8

50.3

28.9

50.5

28.8

50.1

29.8

50.1

29.9

50.3

30.7

50.1

30.8

50.7

30.8

50.6

30.8

50.6

30.8

51.2

30.3

51.1

30.4

51.3

30.4

51.1

30.3

51.1

30.6

51.1

30.4

50.9

30.4

51.2

30.4

50.9

30

51.5

30.1

51.2

29.4

51.2

29.6

51.8

29.6

51.5

29.1

51.9

29.3

51.7

29.1

51.7

29.4

52.1

28.9

52

29.4

52.4

29.3

52.3

27.5

52.3

28

52.5

25.7

52.4

26.1

52.4

26.1

52.3

24.4

52.3

24.8

52.4

23.9

52.2

24.5

52.4

24.5

52.2

23.4

52.6

24.1

52.4

23.2

52.4

24

52.8

24

52.6

23.1

53

23.6

53

22.6

53

23.2

53.2

22.4

53.2

23

53.2

23

53.2

22.5

53.2

23

53.1

22.6

53.1

23

53

23

53

22.2

53

22.6

52.9

22.1

52.9

22.6

52.6

22.6

52.7

22.3

52.6

22.7

52.6

21.9

52.6

22.3

52.5

22.3

52.4

21

52.5

21.3

52.4

20.6

52.4

20.8

52.8

20.8

52.7

20

53.2

20.4

53.1

20.2

53.1

20.6

53.5

20.3

53.4

20.8

53.9

20.8

53.9

20.2

53.9

20.8

54.2

19.7

54.2

20.2

54.2

20.2

54.1

19.4

54.1

19.8

54.2

20.1

54.2

20.5

54.6

20.5

54.6

20.9

54.7

21.3

54.8

20.4

54.8

20.7

54.5

20.7

54.5

19.3

54.1

19.8

54.2

19

54.2

19.3

53.8

18

53.9

18.3

53.8

18.3

53.8

16.4

53.8

16.7

53.7

16

53.7

16.2

53.5

16.2

53.4

16

53.4

16.1

53.5

16.1

53.5

16.2

53.7

16.2

53.7

16

53.8

16.3

53.8

16.1

53.8

16.3

53.8

16.3

53.8

16.5

53.7

16.7

53.8

16.3

53.8

16.8

53.7

16.8

53.8

16.6

53.6

17

53.7

16.7

53.7

16.8

53.6

16.4

53.8

16.7

53.5

16.7

53.7

16.3

53.7

16.7

53.2

15.4

53.2

15.8

52.7

15.8

52.7

15

52.6

15.5

52.6

15.3

52.5

15.7

52.6

15.7

52.5

14.6

52.9

15.1

52.9

14

52.9

14.9

53.3

14.9

53.2

14.7

53.2

15.2

53.3

14.8

53.3

15.2

53.2

14.6

53.3

15.7

53.1

15.7

53.2

14.6

53.2

15.8

53.3

14.2

53.3

14.5

53.1

14.5

53.1

13

53.1

13.3

52.9

13.5

52.9

14.5

52.9

14.5

52.9

14.7

52.8

16

52.8

14.9

52.8

16.1

52.7

16.1

52.8

14.3

52.8

15.6

52.9

13.9

52.9

14.8

52.9

13.3

52.9

13.8

52.7

13.8

52.7

12.9

52.7

13.6

52.7

13.4

52.8

13.9

52.9

13.9

53

13.5

53

14

52.8

13.4

52.8

13.4

52.7

13.4

52.8

13

53

12.7

53.1

12.8

53.1

12.5

53.1

12.5

53.2

13.8

52.9

14.2

53

14.8

53

14.8

52.5

15.8

52.7

14

52.2

15.6

52.4

13.3

52.4

14.7

52

11.9

52.2

13.5

52

13.5

52.1

10.7

52.1

12.7

51.7

9.9

51.8

11.3

51.4

11.3

51.5

8.2

51.5

9

51.4

9

51.6

7.4

51.4

7.4

51.6

7.4

51.2

8.3

51.4

9.3

51.4

10.3

51

10.3

51.2

9.4

50.6

8.8

50.9

6.4

50.9

4.8

50.4

6.9

50.7

5.9

50.3

5.9

50.6

10.4

50.6

10.5

50.2

10.5

50.4

12.5

49.8

12.5

50

11.3

50

11.5

49.7

11

50.8

12.1

50.7

12.1

51.2

11.6

48.6

12.5

49.3

10.5

49.3

11.4

48.1

11.4

49.7

10.4

48.7

12.5

47.6

11.2

47.6

17.1

43

13

41.1

13

44.5

20.1

43.3

10.7

43.3

15.6

48.9

4.1

48.6

7.2

50.3

7.2

50.2

1.6

50.2

4.2

50.5

1.2

50.4

2.4

50.4

2.4

50.5

0

50.3

0.9

50.6

0

50.6

0

50.6

0

50.7

0

50.5

0

50.7

0

50.7

0

50.5

0

51.7

0

51.3

0

53.6

0

53.6

0

50.9

1

51.1

0.6

44.7

0.6

43.2

1.6

43.2

0

42.8

0

42.2

0

47.4

0

47.1

0

47.1

1.4

48.9

6.9

48.8

6.4

49.1

6.4

49.2

7.6

49.1

7.4

49.3

7.4

49.3

6.6

49.2

6.6

49.3

6.6

49.1

6.3

49.3

5.6

49.3

5.6

49.2

4.8

49.3

5.4

49

5.4

49.3

5.4

49.3

5.4

48.9

5.4

49.2

5.4

48.7

5.4

49.1

5.4

49.1

5.4

48.5

5.3

48.9

5.3

48.1

5.8

48.4

5.9

47.5

5.9

47.8

5.5

47.8

5.9

47.1

5.9

48.7

5.2

48.1

5.4

49.6

5.4

49.6

5.2

46.6

5.2

46.1

5.2

42.5

4.1

41.3

3.7

41.3

3.7

43.1

3.9

42.7

4

46

4

45.8

4.8

45.8

5.3

46.8

5.3

46.8

5.1

46.8

5.1

46.9

5.1

46.9

3.9

46.9

3.4

46.9

3.4

46.9

3.9

47.1

3.9

47.1

3

46.4

3.5

46.7

3.5

46

3.5

47

3.1

46.5

3.5

48.1

3.5

48.1

2.9

45.8

2.9

47.2

2.9

43.6

3.7

44.8

4.1

44.8

4.1

42

3.7

43.6

4.1

42.3

4.1

43.4

4.1

43.4

2.8

41

3.1

41.1

2.5

38.6

2.5

37.4

2.5

37.4

2.2

38

1.3

36.9

1.3

40

1.5

39.5

2

41.8

2

41.6

2.2

41.6

2.2

42.4

2.2

42.5

2.7

42.1

2.6

42.8

2.6

42.8

3

42.1

2.9

42.6

3.3

41.5

3.1

42.3

3.6

42.3

3.6

41.5

2.8

42.2

2.8

41.2

1.7

42.1

3.9

42.1

3.9

40.8

3.1

41.6

7.6

40.1

7.3

40.7

7.3

39.8

8.7

39.7

7.5

40.1

7.5

39.4

7.6

39.9

7.6

39.9

7.6

40.5

8

40.5

8.1

39.7

8.1

40.3

6.9

39.1

7.4

39.4

7.4

39.4

6.2

38.5

4.9

38.9

4.9

38.5

5.3

38.9

5.2

38.9

4.8

38.6

5

38.9

5

38.6

5.1

38.7

5.1

38.7

5

38.7

5.3

38.8

4.5

38.6

4.8

38.7

4.8

38.6

5.1

38.8

4.7

38.8

4.7

38.8

5.1

39

5.1

38.8

3.9

39

3.4

39

3.5

38.8

3.5

39

3

38.9

3.1

39.1

3.1

39.1

4

38.9

5.3

39.1

5.3

39

5.3

39.1

5.3

39.1

5.2

39.1

5.5

39.2

4.2

39.1

4.5

39.3

2.3

39.2

2.7

39.4

2.7

39.3

3.2

39.2

3.2

39.3

3.2

39.1

3.7

39.2

4

39.2

4

39.2

4

39.3

4

39.4

3

39.5

3

39.5

3.1

39.3

1.9

39.2

3.6

39.1

3.5

39.2

3.5

39.2

7.7

39.4

9.4

39.5

9.4

39.7

9.1

39.7

9.1

39.7

9.1

39.7

8.6

39.7

8.6

39.8

8.7

39.8

8.8

39.8

8.8

39.8

8.2

39.8

8.3

39.7

8.3

39.6

8.3

39.6

6.8

39.7

5.7

39.7

5.7

39.7

5.8

39.8

5.4

39.8

5.6

39.8

5.6

39.8

6.4

39.9

6.4

39.9

6.9

40

7.1

40.1

7.1

40.1

7.5

40

6.7

40

6.7

40

7.1

40

7.1

39.9

6.7

40

6.2

40

6.2

40

6.4

40.1

6

40.1

5.9

40.2

5.9

40.2

6.3

40

6.2

40.1

5.7

39.9

5.5

40

5.5

40

6

40

5.4

40.1

5.8

39.8

5.1

39.8

5.1

39.8

6.4

39.7

6.1

39.8

7.7

39.9

7.7

39.9

7.7

39.8

7.8

39.8

7.8

39.8

6.5

39.6

6.8

39.6

6.8

39.6

6

39.6

6.3

39.6

6.5

39.6

6.5

39.6

5.2

39.3

6.1

39.4

6.1

39.4

4.9

39.2

4.9

39.2

2.7

39.4

2.9

39.4

2.9

39.4

1.9

39.6

2.4

39.7

1.5

39.6

2.1

39.6

2.1

39.6

0.6

39.5

1.4

39.5

0.4

39.4

0.4

39.3

0.4

39.4

0

39.5

0

39.4

0

39.9

0

39.9

0

39.9

0

39.9

0

39.9

0

39.7

0

39.7

0

39.7

0

39.8

0

39.8

0

39.8

0

39.8

0

39.7

0

39.6

0

39.6

0

39.6

0

39.5

0

40

0

39.9

0

40.5

0

40.5

0

40.4

0

40.4

0

40.5

0

40.4

0

40.4

0

40.4

0

40.5

0

40.5

0

40.6

0

40.7

0

40.7

0

40.6

0

40.5

0

40.4

0

40.4

0

40.4

1.4

40.4

1.3

40.4

0

40.4

0

40.4

0

40.4

0

40.2

0

40.2

0

40.1

0

40

0

40.1

0

40.1

0

40.1

0

40.1

0

40.1

0

40.1

0

40.2

0

40.2

0

40.2

0

40.3

0

40.2

0

40.2

0

40.2

0

40.2

0

40.3

0

40.3

0

40.3

0

40.3

0

40.2

0

40.3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Sheet1

		

																																		15.625





Sheet1

		105

		178

		278

		351

		437

		535

		581

		629

		717

		885

		952

		1025

		1062

		1115

		1208

		1245

		1325

		1380

		1429

		1462

		1496

		1527



b

L,mm

time,s

Wood layer height ,mm

148

147

145

132

127

115

112

110

90

84

80

76

60

54

45

33

25

22

20

15

12

12



Sheet2

		0		0		0		0		0

		0		0		0		0		0

		5		5		5		5		5

		5		5		5		5		5

		10		10		10		10		10

		10		10		10		10		10

		15		15		15		15		15

		15		15		15		15		15

		20		20		20		20		20

		20		20		20		20		20

		25		25		25		25		25

		25		25		25		25		25

		30		30		30		30		30



a

vax,air-40/70 l/min

vax, air-47/70l/min

vax,air-55/70l/min

vax,air-40/90 l/min

vax, air-40/100l/min

Radial distance,mm

Velocity,m/s

0.16

0

0.04

0.24

0.04

0

0.08

0.74

0.72

0.86

0.28

0

0.2

0.58

0.24

0

0.04

0.68

1.06

0.84

0

0.16

0.52

1.16

1.18

0

0.32

0.72

1.16

1.09

0.84

1.14

1.405

1.81

2.03

0.96

0.82

1.415

1.64

2.085

1.48

1.65

1.775

2.52

3.4

1.55

1.61

1.93

2.615

3.46

3.035

2.55

3.035

3.835

4.57

2.9

1.715

2.93

3.755

4.415

0.28

0.28

2.18

3.43

4.32



Sheet3

		0		0		0		0		0

		0		0		0		0		0

		5		5		5		5		5

		5		5		5		5		5

		10		10		10		10		10

		10		10		10		10		10

		15		15		15		15		15

		15		15		15		15		15

		20		20		20		20		20

		20		20		20		20		20

		25		25		25		25		25

		25		25		25		25		25

		30		30		30		30		30



b

vtg,air-40/100l/min

vtg, air-40/90l/min

vtg,air-40/70l/min

vtg,air-47/70l/min

vtg, air-55/70l/min

Radial distance,mm

Velocity,m/s

0

0

0.7238095238

1.1619047619

1.2285714286

0

0.0761904762

1.180952381

1.2666666667

1.3142857143

0.1142857143

0

0.2285714286

1.1619047619

1.2

0

0

0.9142857143

1.2

1.3047619048

1.1428571429

0.0380952381

0.0380952381

0.780952381

1.0476190476

0.9428571429

0

0.380952381

0.9904761905

1.180952381

1.8904761905

1.7047619048

0.6285714286

0

0

1.7761904762

1.2666666667

0.0380952381

0

0.0952380952

4.719047619

4.7571428571

3

2.2666666667

2.7904761905

4.5142857143

3.9047619048

2.9619047619

1.8333333333

2.2666666667

8.9571428571

7.3904761905

5.3857142857

5.0857142857

4.919047619

9.0142857143

7.4095238095

5.3714285714

5.0238095238

4.8380952381

1.8761904762

3.1666666667

1.9714285714

0.0761904762

2



		0		0		0		0		0		0

		5		5		5		5		5		0

		10		10		10		10		10		5

		15		15		15		15		15		5

		20		20		20		20		20		10

		25		25		25		25		25		10

		30		30		30		30		30		15

												15

												20

												20

												25

												25

												30



a

vax,prop.-0, t-650s

vax,prop.-0,t-850s

vax,prop.-0,t=1050s

vax,prop.-0,t=1250s

vax,prop.-0,t=1450s

vax,40/70,cold air, L=130mm

Radial distance,mm

Velocity,m/s

0

0

0

1.04

0.84

0.04

0

0

0

0.44

0.84

0.16

0

0

0.24

0.56

0

0.52

0.08

0

0.08

0.16

1.22

1.22

0.48

0

0.16

0.08

1.3

1.4

0.36

0.24

0.16

0.4

0.32

0.08

0.008

0.48

0

0

1.21

0.78

1.435

1.52

1.845



		0		0		0		0		0		0

		5		5		5		5		5		0

		10		10		10		10		10		5

		15		15		15		15		15		5

		20		20		20		20		20		10

		25		25		25		25		25		10

		30		30		30		30		30		15

												15

												20

												20

												25

												25

												30



b

vax,co-firing,t-550s

vax,co-firing,t-750s

vax,co-firing,t-950s

vax,co-firing,t-1350s

vax,co-firing,t-1550s

vax,40/70,cold air, L=130mm

Radial distance,mm

Velocity,m/s

0

0.4

0.28

1.1

1.06

0.04

0.08

0.48

0.4

0.74

0.52

0.16

0.08

0.28

0.32

0.52

0

0.48

0.24

0.58

0.16

0.32

0.64

0.82

1.32

0.74

0.36

0.08

1.68

1.49

1.41

1.09

0.86

1.68

1.65

0.08

0.36

0.36

0

0

1.21

0.78

1.435

1.52

1.845



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



a

CO2-1200s, prop=0

CO2-1400s, prop=0

CO2-1600s, prop=0

CO2-1050s, co-firing

CO2-1350s, co-firing

CO2-1550s, co-firing

Radial distance,mm

Volume fraction,%

15.2

15.9

8.725

16.35

17.45

17.65

12.3

13.125

10

14.425

14.5

16.4

8.1

9.5

5.75

9.775

10.025

12.25

4.625

5.05

3.85

7.3

7.3

7.75

3.8

3.3

2.9

6.4

6.375

6.6

4

3.3

3

6.675

6.15

6.025

3.9

3.3

3.1

5.975

6.3

6.125



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



b

CO-4,co-firing

CO-5,co-firing

CO-6, co-firing

CO-4, prop=0

CO-5, prop=0

CO-6, prop=0

Radial distance,mm

Mass fraction,ppm

268

1275.75

1254.5

33

63.75

419

100.25

460.5

390.5

19.5

31.25

135.5

28.5

116

60

16.75

18.25

301.5

38.5

42

44

43

18.5

2217

171.5

24

30.5

107.5

26

40.75

472.25

39.5

20

217.5

46.25

25

20.5

29

25.25

82.5

74.5

53



		0		0		0		0		0

		5		5		5		5		5

		10		10		10		10		10

		15		15		15		15		15

		20		20		20		20		20

		25		25		25		25		25

		30		30		30		30		30



b

NOx-1200s, prop=0

NOx-1400s,prop=0

NOx-1050s, co-firing

NOx-1350s,co-firing

NOx-1550s, co-firing

Radial distance,mm

Mass fraction,ppm

99

102.75

87.25

91.75

84.75

76

83.25

77

75

83.25

48.75

62

54.75

55.5

66.25

28

34

40

41.25

41

22

24.75

35.5

36

34.75

23.5

23

37.25

34

31.5

24.25

21.25

33.25

32.5

32



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



c

eff-1200s, prop=0

eff-1400s, prop=0

eff-1400s, prop=0

eff-1050s, co-firing

eff-1350s, co-firing

eff-1550s, co-firing

Radial distance,mm

Efficiency,%

59.375

60.75

60.75

60.1

62.45

63.8

51.75

54.2

54.2

55.725

55.525

61.55

35

40.2

40.2

39.4

40.3

49.55

2.5

3.475

3.475

36.95

37.575

34.1

21.725

13.8

13.8

47.225

51.225

51.9

51

42.75

42.75

66.425

63.45

65.825

55.7

50.775

50.775

66.35

67.4

67.925



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



d

a.e.-1200s, prop=0

a.e.-1400s, prop=0

a.e.-1600s, prop=0

a.e.-1050s, co-firing

a.e.-1350s, co-firing

a.e.-1550s, co-firing

Radial distance,mm

Air excess,%

35.65

29.65

135.65

26.2

17.95

16.7

67

56.475

105.225

42.525

41.75

25.5

153.95

116.9

256.05

110.8

104.75

68.425

345.875

310.4

434.5

182.925

182.925

166.3

441.9

516.55

606.05

222.45

223.875

213.75

411.45

525.125

584.2

209.075

233.7

241.2

425.875

522.2

563.7

244.7

228.9

236.975



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



T-1, co-firing

T-2, co-firing

T-3,co-firing

T-4, co-firing

T-5, co-firing

T-6, co-firing

T-7, co-firing

T-8,co-firing

Radial distance,mm

Relative temperature

1

1

1

1

1

1

1

1

1.0157893482

0.9918894296

1.0231464099

0.9904062326

0.9983473289

0.9990209249

0.9376398803

0.9915641668

1.0020750352

0.9543808191

0.9732977008

0.9410350584

0.9537252099

0.9894578656

0.8760100832

0.8725917057

0.7917571016

0.7849921116

0.8351039159

0.7889148581

0.7869840986

0.8673694756

0.7328433105

0.7087732666

0.6279962792

0.619136502

0.6590763522

0.6471452421

0.6199079864

0.6381065143

0.5629844276

0.6083052139

0.5421089036

0.4844565918

0.5348852618

0.5130105732

0.5211497231

0.5085725996

0.4818715104

0.5392674431

0.5198797911

0.4720574184

0.4937164565

0.4904618809

0.4962033232

0.4965504679

0.4669823545

0.5293349298



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



d

T-450s,co-firing

T-650s, co-firing

T-850s,co-firing

T-1050s, co-firing

T-1350s, co-firing

T-1550s, co-firing

T-1750s, co-firing

T-1950s,co-firing

Radial distance,mm

Temperature,K

1048.175

1125.075

1131.925

1123.125

1119.4

1097.975

1061.175

918.7

1064.725

1115.95

1158.125

1112.35

1117.55

1096.9

995

910.95

1050.35

1073.75

1101.7

1056.9

1067.6

1086.4

929.6

801.65

829.9

883.175

945.275

886.05

880.95

952.35

777.675

651.15

658.25

696.575

746.025

726.825

693.925

700.625

597.425

558.85

568.225

545.05

605.45

576.175

583.375

558.4

511.35

495.425

544.925

531.1

558.85

550.85

555.45

545.2

495.55

486.3



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



T-1, prop=0

T-2,prop=0

T-3, prop=0

T-4, prop=0

T-5, prop=0

T-6, prop=0

T-7, prop=0

T-8, prop=0

Radial distance,mm

Relative temperature

1

1

1

1

1

1

1

1

0.9917738145

0.9648602598

1.0181515179

0.9769191709

0.9785396913

1.0962289445

0.8829272662

0.9391101451

0.9512880778

0.9096501516

0.9660841366

0.900752435

0.9404745545

0.9997960016

0.8091484534

0.8658825034

0.8167196645

0.7944723507

0.8348797406

0.8109218483

0.8450826806

0.9266188728

0.6743699988

0.6873042255

0.6079773261

0.5596468323

0.6282992523

0.6261828925

0.6109660574

0.6875327855

0.5517437

0.5270408489

0.4998156597

0.4613971809

0.5127916404

0.5040391451

0.4916174248

0.5788890832

0.5023289144

0.5180591958

0.4728328494

0.4442477484

0.4771867399

0.4764806352

0.4606522835

0.5670863205

0.4907739162

0.5174199322



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



T-1, prop=0

T-2, prop=0

T-3, prop=0

T-4,prop=0

T-5,prop=0

T-6, prop=0

T-7,prop=0

T-8, prop=0

Radial distance,mm

Temperature,K

1084.95

1129.775

1110.1

1083.15

1091.55

857.85

837.3

782.15

1076.025

1090.075

1130.25

1058.15

1068.125

940.4

739.275

734.525

1032.1

1027.7

1072.45

975.65

1026.575

857.675

677.5

677.25

886.1

897.575

926.8

878.35

922.45

794.9

564.65

537.575

659.625

632.275

697.475

678.25

666.9

589.8

461.975

412.225

542.275

521.275

569.25

545.95

536.625

496.6

420.6

405.2

513

501.9

529.725

516.1

502.825

486.475

410.925

404.7



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400



a

a

a

T1,K-L=30mm,co-firing

T1,K-L=30mm;prop.=0

time,s

Temperature,K

610.7291371962

703.7689948723

607.0700332561

705.9125698322

613.1667291234

701.3858687852

622.6594966529

704.9600147059

607.0700332561

703.7689948723

602.4304894179

707.102937814

608.2900967093

705.9125698322

614.3849818772

707.102937814

617.7941630035

704.9600147059

615.3593233395

703.7689948723

609.5097980227

707.102937814

613.1667291234

709.4825873581

608.2900967093

705.9125698322

610.7291371962

710.6718689203

603.6519290027

705.9125698322

608.2900967093

703.7689948723

607.0700332561

702.5776128987

605.8496076629

704.9600147059

601.2086876931

702.5776128987

589.2158663473

702.5776128987

594.1150962908

704.9600147059

590.441217043

703.7689948723

598.7639978239

702.5776128987

613.1667291234

703.7689948723

614.3849818772

703.7689948723

603.6519290027

703.7689948723

613.1667291234

702.5776128987

615.3593233395

703.7689948723

616.5769242415

705.9125698322

609.5097980227

707.102937814

611.9481142297

705.9125698322

613.1667291234

710.6718689203

619.0110396257

601.2086876931

623.8749247155

596.3178593952

610.7291371962

628.4902486375

619.0110396257

639.1582901581

622.6594966529

653.4191495324

608.2900967093

510.7893308859

596.3178593952

693.2724048636

610.7291371962

702.5776128987

613.1667291234

703.7689948723

609.5097980227

702.5776128987

608.2900967093

704.9600147059

611.9481142297

703.7689948723

604.6288199299

704.9600147059

595.0942469709

705.9125698322

599.9865238285

707.102937814

622.6594966529

705.9125698322

621.4437064504

704.9600147059

619.0110396257

707.102937814

616.5769242415

708.292943656

623.8749247155

703.7689948723

629.7039384287

701.3858687852

619.0110396257

707.102937814

601.2086876931

709.4825873581

589.2158663473

710.6718689203

592.8908320148

707.102937814

598.7639978239

709.4825873581

598.7639978239

707.102937814

604.6288199299

703.7689948723

611.9481142297

704.9600147059

611.9481142297

702.5776128987

613.1667291234

664.9840056065

574.7293793329

616.5769242415

502.0410184134

611.9481142297

526.4915763021

644.9654016504

572.5151436367

669.7928454323

594.1150962908

687.2959394413

608.2900967093

701.3858687852

603.6519290027

703.7689948723

548.3286291882

661.6143701567

522.7581612556

643.9981291588

630.9172660799

662.8181373147

856.4802125217

684.9028182932

841.8094835527

707.102937814

801.3912790058

721.1219311953

777.3948883404

722.3076637865

769.4400127215

722.3076637865

760.2946822072

727.994139237

754.4207023752

722.3076637865

752.3038533395

724.6780425493

751.1273191017

723.4930342378

744.2962791232

723.4930342378

746.4175607512

723.4930342378

745.2392158138

719.9358364642

744.2962791232

721.1219311953

744.2962791232

718.7493795932

744.2962791232

717.5625605823

746.4175607512

722.3076637865

747.5955435486

716.3753794315

749.9504227239

719.9358364642

747.5955435486

724.6780425493

743.117282334

732.726495117

748.7731642062

733.9086787372

748.7731642062

738.3976737783

751.1273191017

748.7731642062

754.4207023752

751.1273191017

756.7713807277

757.9461766941

751.1273191017

765.9251853156

751.1273191017

768.2687657261

752.3038533395

779.731370809

753.4800254375

784.1666967177

754.4207023752

794.4179007336

755.5962226214

792.3233450298

753.4800254375

803.4807502654

754.4207023752

808.1198189085

754.4207023752

823.8493113921

755.5962226214

823.8493113921

755.5962226214

836.2926634001

763.8147244276

840.8905929511

761.4683917539

842.9577708788

761.4683917539

841.8094835527

761.4683917539

847.5472987842

757.9461766941

850.9856422443

761.4683917539

858.7671542527

768.2687657261

860.8241632921

764.7528519004

863.1083527599

764.7528519004

860.8241632921

770.610897577

864.2499042839

772.9515808684

872.0028506974

765.9251853156

877.6928634628

770.610897577

890.8588262493

768.2687657261

894.2558857615

772.9515808684

891.9915415599

779.731370809

895.3875146524

778.5633106446

896.5187814034

778.5633106446

875.4179447763

773.8874485883

880.8753160437

772.9515808684

882.0112181854

775.0569573122

888.8190260977

778.5633106446

886.5512053532

777.3948883404

896.5187814034

776.2261038962

901.943820821

778.5633106446

904.2017913604

775.0569573122

904.2017913604

772.9515808684

903.0729871607

779.731370809

903.0729871607

785.3330186105

916.3698011635

779.731370809

920.6410921854

785.3330186105

917.2694548939

785.3330186105

919.5175752281

782.066404718

916.3698011635

783.2333784627

914.1196528459

784.1666967177

906.4583133402

782.066404718

904.2017913604

788.8298114497

893.1238947307

791.1591959764

905.3302334202

792.3233450298

914.1196528459

793.2544035319

926.2532448734

794.4179007336

935.8849695556

801.3912790058

939.2385722803

799.0682681413

939.2385722803

800.2299546435

973.922831741

805.8010088667

1012.6305799657

809.2786807195

1036.1609107338

810.4371803906

1054.1295856008

821.7713127244

1075.0026620375

825.0032481006

1089.7675615265

827.3100350978

1093.8211485292

838.5923524554

1110.4073908997

842.9577708788

1138.2756460921

848.6937754108

1134.2798566166

850.9856422443

1144.3644006852

856.4802125217

1144.3644006852

860.8241632921

1162.7660496723

873.1415775303

1178.1533369321

876.5555851895

1185.1965760651

887.6852967954

1188.091866195

904.2017913604

1189.1252103184

926.2532448734

1202.320030903

945.7129624047

1209.305646336

971.9313989937

1236.2675667706

992.2329610721

1240.1276696702

994.4322649485

1257.9378428098

998.8265270226

1277.6398775406

1018.9655027738

1300.979501934

1036.1609107338

1307.7247723615

1053.0499599988

1322.1506912556

1072.8570997215

1336.6954383216

1103.1883256049

1340.4171023822

1134.2798566166

1349.9909451148

1155.6696194315

1355.6407137273

1182.0913288803

1354.6674848264

1203.3483774959

1356.6135804883

1218.320997261

1369.0342908336

1235.2508810823

1382.1662842215

1257.9378428098

1387.7463191758

1280.4430972236

1397.1469721251

1296.2080525987

1405.5587372445

1319.3900592243

1410.3256554178

1343.3515643926

1423.2458693951

1356.6135804883

1431.570315343

1358.5582275906

1434.2131215382

1366.1285103029

1439.8667171775

1383.1292283493

1470.914294709

1386.0158878936

1487.2113604541

1394.4646202534

1496.237242069

1408.4199745681

1490.7153204955

1428.7355866597

1490.7153204955

1433.4583237658

1486.2883965707

1431.570315343

1492.5574095796

1430.6257679218

1497.891276319

1418.5035767347

1503.3962497454

1426.0868993126

1498.8096772398

1424.1932415075

1497.891276319

1421.3500387506

1509.6194593004

1425.14025148

1514.0022311293

1426.843956838

1517.6481673246

1423.2458693951

1515.8259235067

1416.7941350808

1521.1064397968

1429.6808583607

1523.8329610795

1431.570315343

1528.1886158731

1430.6257679218

1519.2869482422

1426.0868993126

1519.2869482422

1428.7355866597

1518.5587460236

1426.843956838

1514.914258388

1428.7355866597

1515.8259235067

1435.1562928278

1509.6194593004

1436.0991019775

1507.7908418204

1433.4583237658

1507.7908418204

1435.1562928278

1506.8759898706

1445.3194672015

1503.3962497454

1447.1969011394

1500.6453926617

1441.7483519381

1500.6453926617

1447.1969011394

1502.4796595241

1457.310013294

1501.5627071628

1449.8228750722

1503.3962497454

1448.1350748984

1501.5627071628

1442.5006002456

1497.891276319

1447.1969011394

1497.891276319

1447.1969011394

1494.3980501041

1449.8228750722

1497.891276319

1458.9914253201

1488.8717828519

1458.9914253201

1488.1339621977

1465.3328373368

1482.5929196378

1471.8432701148

1469.0552574779

1473.5145132525

1456.375388506

1476.297311075

1452.6332679546

1470.914294709

1443.4405847042

1477.2241860693

1445.3194672015

1477.2241860693

1444.3802070228

1470.914294709

1444.3802070228

1458.9914253201

1444.3802070228

1453.5693413023

1455.440401578

1449.8228750722

1452.6332679546

1447.1969011394

1451.696832467

1443.4405847042

1458.0574523838

1433.4583237658

1446.2583652404

1434.2131215382

1447.1969011394

1436.0991019775

1448.1350748984

1437.0415489874

1445.3194672015

1428.7355866597

1448.1350748984

1429.6808583607

1449.8228750722

1425.14025148

1449.8228750722

1421.3500387506

1441.7483519381

1420.4015802186

1437.9836338573

1415.8439382772

1433.4583237658

1418.5035767347

1429.6808583607

1422.2981351428

1445.3194672015

1416.7941350808

1439.8667171775

1405.5587372445

1396.1893152397

1397.1469721251

1399.0611994763

1406.5128451589

1403.6494349959

1406.5128451589

1385.0540301854

1402.6942406618

1372.710267325

1397.1469721251

1374.6428913828

1397.1469721251

1377.5391114203

1400.9739782678

1379.2752789985

1405.5587372445

1393.5059493763

1401.9298244538

1387.7463191758

1393.5059493763

1381.2029779537

1393.5059493763

1380.239309546

1390.6277639056

1370.002160064

1386.0158878936

1371.7434120863

1390.6277639056

1376.574066881

1386.0158878936

1379.2752789985

1387.7463191758

1383.1292283493

1384.0918103373

1390.6277639056

1382.1662842215

1393.5059493763

1384.0918103373

1397.1469721251

1379.2752789985

1387.7463191758

1368.0660594632

1400.9739782678

1371.7434120863

1403.6494349959

1372.710267325

1402.6942406618

1373.6767604239

1392.5469163593

1373.6767604239

1395.2312962144

1378.5037938197

1399.0611994763

1381.2029779537

1393.5059493763

1379.2752789985

1405.5587372445

1378.5037938197

1412.039529664

1384.0918103373

1411.0875221609

1383.1292283493

1427.7899528188

1376.574066881

1433.4583237658

1368.0660594632

1429.6808583607

1368.0660594632

1432.5145006243

1368.0660594632

1440.8077156277

1362.2490663034

1441.7483519381

1357.5860851094

1455.440401578

1355.6407137273

1476.297311075

1356.6135804883

1482.5929196378

1360.5014261334

1484.441382384

1361.4724821949

1488.8717828519

1365.1591925128

1487.2113604541

1368.0660594632

1496.237242069

1364.1895125829

1496.9725132583

1363.2194705131

1505.0451995513

1361.4724821949

1495.3178271565

1368.0660594632

1500.6453926617

1362.2490663034

1502.4796595241

1369.0342908336

1510.5332248306

1370.002160064

1501.5627071628

1371.7434120863

1492.5574095796

1372.710267325

1487.2113604541

1379.2752789985

1485.3650705473

1379.2752789985

1487.2113604541

1387.7463191758

1487.2113604541

1367.097465953

1485.3650705473

1355.6407137273

1480.743008332

1345.3060617

1471.8432701148

1354.6674848264

1461.7911712896

1356.6135804883

1459.9250361165

1356.6135804883

1457.310013294

1352.9147602123

1466.2639855819

1356.6135804883

1462.7236956663

1351.9405173197

1465.3328373368

1354.6674848264

1464.587658

1351.9405173197

1457.310013294

1351.9405173197

1451.696832467

1364.1895125829

1447.1969011394

1366.1285103029

1432.5145006243

1387.7463191758

1435.1562928278

1379.2752789985

1426.0868993126

1369.0342908336

1431.570315343

1365.1591925128

1414.8933793338

1362.2490663034

1420.4015802186

1400.017769942

1417.7439697445

1404.6042671902

1425.14025148

1401.9298244538

1431.570315343

1416.7941350808

1448.1350748984

1426.843956838

1457.310013294

1432.5145006243

1453.5693413023

1432.5145006243

1455.440401578

1437.0415489874

1456.375388506

1433.4583237658

1442.5006002456

1442.5006002456

1437.9836338573

1441.7483519381

1437.9836338573

1441.7483519381

1434.2131215382

1454.5050525101

1432.5145006243

1449.8228750722

1433.4583237658

1455.440401578

1432.5145006243

1455.440401578

1430.6257679218

1450.7600348396

1438.9253565873

1446.2583652404

1431.570315343

1438.9253565873

1414.8933793338

1437.9836338573

1400.9739782678

1439.8667171775

1417.7439697445

1437.0415489874

1430.6257679218

1438.9253565873

1468.1251956524

1440.8077156277

1489.7937327436

1449.0728865176

1504.1292611817

1444.3802070228

1503.3962497454

1450.7600348396

1512.1770901923

1444.3802070228

1511.4466282208

1434.2131215382

1511.4466282208

1442.5006002456

1514.0022311293

1439.8667171775

1514.0022311293

1434.2131215382

1517.6481673246

1426.843956838

1507.7908418204

1432.5145006243

1488.8717828519

1425.14025148

1483.5173320808

1427.7899528188

1499.7277160207

1430.6257679218

1497.891276319

1442.5006002456

1487.2113604541

1444.3802070228

1482.5929196378

1448.1350748984

1486.2883965707

1443.4405847042

1495.3178271565

1455.440401578

1494.3980501041

1458.9914253201

1499.7277160207

1458.9914253201

1496.237242069

1446.2583652404

1494.3980501041

1434.2131215382

1496.237242069

1425.14025148

1508.7053316304

1419.4527595466

1500.6453926617

1422.2981351428

1504.1292611817

1425.14025148

1509.6194593004

1429.6808583607

1506.8759898706

1432.5145006243

1512.1770901923

1447.1969011394

1504.1292611817

1454.5050525101

1503.3962497454

1460.858284773

1493.4779109118

1459.9250361165

1495.3178271565

1461.7911712896

1499.7277160207

1457.310013294

1502.4796595241

1450.7600348396

1508.7053316304

1452.6332679546

1506.8759898706

1454.5050525101

1505.9607757809

1458.9914253201

1499.7277160207

1456.375388506

1496.237242069

1455.440401578

1496.237242069

1453.5693413023

1488.1339621977

1455.440401578

1487.2113604541

1449.8228750722

1493.4779109118

1449.0728865176

1488.8717828519

1446.2583652404

1488.1339621977

1438.9253565873

1493.4779109118

1432.5145006243

1496.237242069

1425.14025148

1496.237242069

1422.2981351428

1489.7937327436

1420.4015802186

1501.5627071628

1420.4015802186

1502.4796595241

1412.039529664

1492.5574095796

1409.3729960629

1482.5929196378

1415.8439382772

1481.6681450548

1417.7439697445

1480.743008332

1417.7439697445

1467.1947716871

1415.8439382772

1470.914294709

1419.4527595466

1469.0552574779

1421.3500387506

1467.1947716871

1425.14025148

1460.858284773

1431.570315343

1459.9250361165

1424.1932415075

1454.5050525101

1426.0868993126

1467.1947716871

1420.4015802186

1464.587658

1423.2458693951

1453.5693413023

1432.5145006243

1453.5693413023

1419.4527595466

1445.3194672015

1424.1932415075

1435.1562928278

1426.0868993126

1437.9836338573

1425.14025148

1440.8077156277

1436.0991019775

1441.7483519381

1446.2583652404

1447.1969011394

1451.696832467

1446.2583652404

1453.5693413023

1443.4405847042

1455.440401578

1442.5006002456

1456.375388506

1437.0415489874

1455.440401578

1436.0991019775

1458.9914253201

1432.5145006243

1460.858284773

1436.0991019775

1458.0574523838

1429.6808583607

1458.0574523838

1421.3500387506

1452.6332679546

1431.570315343

1456.375388506

1428.7355866597

1458.9914253201

1408.4199745681

1469.0552574779

1402.6942406618

1467.1947716871

1405.5587372445

1467.1947716871

1395.2312962144

1468.1251956524

1400.017769942

1448.1350748984

1396.1893152397

1459.9250361165

1399.0611994763

1458.0574523838

1400.017769942

1458.9914253201

1400.9739782678

1456.375388506

1407.4665909335

1463.6558579031

1404.6042671902

1459.9250361165

1414.8933793338

1464.587658

1412.9911750271

1456.375388506

1414.8933793338

1463.6558579031

1421.3500387506

1468.1251956524

1418.5035767347

1467.1947716871

1419.4527595466

1465.3328373368

1416.7941350808

1462.7236956663

1409.3729960629

1463.6558579031

1409.3729960629

1465.3328373368

1417.7439697445

1465.3328373368

1412.9911750271

1454.5050525101

1421.3500387506

1467.1947716871

1422.2981351428

1464.587658

1427.7899528188

1469.0552574779

1432.5145006243

1459.9250361165

1434.2131215382

1464.587658

1432.5145006243

1484.441382384

1421.3500387506

1482.5929196378

1420.4015802186

1486.2883965707

1429.6808583607

1489.7937327436

1426.843956838

1489.7937327436

1418.5035767347

1484.441382384

1418.5035767347

1485.3650705473

1419.4527595466

1488.1339621977

1422.2981351428

1488.1339621977

1426.843956838

1480.002638213

1422.2981351428

1482.5929196378

1418.5035767347

1480.743008332

1416.7941350808

1480.743008332

1415.8439382772

1474.4424746666

1411.0875221609

1474.4424746666

1413.9424582504

1472.7718833806

1412.039529664

1478.1506989238

1419.4527595466

1478.1506989238

1420.4015802186

1472.7718833806

1426.0868993126

1475.3700739407

1420.4015802186

1479.0768496383

1423.2458693951

1476.297311075

1430.6257679218

1471.8432701148

1431.570315343

1480.743008332

1431.570315343

1485.3650705473

1433.4583237658

1487.2113604541

1437.9836338573

1479.0768496383

1449.8228750722

1480.743008332

1447.1969011394

1477.2241860693

1447.1969011394

1480.002638213

1445.3194672015

1479.0768496383

1442.5006002456

1485.3650705473

1438.9253565873

1482.5929196378

1437.0415489874

1481.6681450548

1435.1562928278

1480.002638213

1433.4583237658

1479.0768496383

1436.0991019775

1477.2241860693

1437.9836338573

1476.297311075

1425.14025148

1469.9849571634

1422.2981351428

1474.4424746666

1422.2981351428

1469.0552574779

1423.2458693951

1473.5145132525

1421.3500387506

1475.3700739407

1413.9424582504

1478.1506989238

1417.7439697445

1475.3700739407

1408.4199745681

1478.1506989238

1415.8439382772

1484.441382384

1411.0875221609

1482.5929196378

1403.6494349959

1479.0768496383

1403.6494349959

1475.3700739407

1414.8933793338

1477.2241860693

1421.3500387506

1480.743008332

1421.3500387506

1482.5929196378

1411.0875221609

1483.5173320808

1408.4199745681

1488.1339621977

1418.5035767347

1482.5929196378

1412.9911750271

1481.6681450548

1418.5035767347

1483.5173320808

1426.0868993126

1481.6681450548

1422.2981351428

1484.441382384

1417.7439697445

1481.6681450548

1413.9424582504

1478.1506989238

1411.0875221609

1482.5929196378

1403.6494349959

1482.5929196378

1403.6494349959

1480.002638213

1401.9298244538

1485.3650705473

1413.9424582504

1480.002638213

1405.5587372445

1481.6681450548

1415.8439382772

1479.0768496383

1414.8933793338

1484.441382384

1415.8439382772

1483.5173320808

1418.5035767347

1482.5929196378

1413.9424582504

1483.5173320808

1415.8439382772

1482.5929196378

1417.7439697445

1485.3650705473

1415.8439382772

1488.1339621977

1427.7899528188

1482.5929196378

1433.4583237658

1484.441382384

1425.14025148

1484.441382384

1424.1932415075

1481.6681450548

1432.5145006243

1481.6681450548

1432.5145006243

1478.1506989238

1426.0868993126

1480.743008332

1438.9253565873

1480.743008332

1423.2458693951

1484.441382384

1424.1932415075

1482.5929196378

1432.5145006243

1485.3650705473

1425.14025148

1482.5929196378

1427.7899528188

1481.6681450548

1429.6808583607

1481.6681450548

1434.2131215382

1481.6681450548

1424.1932415075

1483.5173320808

1431.570315343

1485.3650705473

1422.2981351428

1480.002638213

1421.3500387506

1478.1506989238

1414.8933793338

1482.5929196378

1414.8933793338

1479.0768496383

1435.1562928278

1478.1506989238

1436.0991019775

1478.1506989238

1424.1932415075

1476.297311075

1420.4015802186

1477.2241860693

1433.4583237658

1480.002638213

1437.0415489874

1480.002638213

1431.570315343

1474.4424746666

1433.4583237658

1475.3700739407

1438.9253565873

1473.5145132525

1442.5006002456

1472.7718833806

1434.2131215382

1469.9849571634

1432.5145006243

1467.1947716871

1436.0991019775

1469.9849571634

1436.0991019775

1464.587658

1430.6257679218

1465.3328373368

1432.5145006243

1465.3328373368

1431.570315343

1467.1947716871

1438.9253565873

1465.3328373368

1437.0415489874

1462.7236956663

1426.843956838

1463.6558579031

1428.7355866597

1461.7911712896

1437.9836338573

1461.7911712896

1440.8077156277

1466.2639855819

1441.7483519381

1464.587658

1415.8439382772

1459.9250361165

1439.8667171775

1457.310013294

1451.696832467

1455.440401578

1454.5050525101

1449.0728865176

1443.4405847042

1446.2583652404

1444.3802070228

1449.0728865176

1440.8077156277

1449.8228750722

1442.5006002456

1446.2583652404

1442.5006002456

1453.5693413023

1437.0415489874

1450.7600348396

1437.0415489874

1452.6332679546

1439.8667171775

1451.696832467

1440.8077156277

1450.7600348396

1436.0991019775

1449.8228750722

1436.0991019775

1449.8228750722

1433.4583237658

1451.696832467

1438.9253565873

1448.1350748984

1437.0415489874

1450.7600348396

1433.4583237658

1449.8228750722

1421.3500387506

1448.1350748984

1423.2458693951

1448.1350748984

1425.14025148

1446.2583652404

1416.7941350808

1444.3802070228

1420.4015802186

1448.1350748984

1426.843956838

1449.8228750722

1443.4405847042

1445.3194672015

1440.8077156277

1448.1350748984

1441.7483519381

1446.2583652404

1437.0415489874

1447.1969011394

1444.3802070228

1448.1350748984

1433.4583237658

1449.0728865176

1426.843956838

1447.1969011394

1422.2981351428

1445.3194672015

1418.5035767347

1443.4405847042

1422.2981351428

1442.5006002456

1412.9911750271

1442.5006002456

1412.039529664

1437.9836338573

1414.8933793338

1439.8667171775

1416.7941350808

1440.8077156277

1416.7941350808

1441.7483519381

1422.2981351428

1446.2583652404

1415.8439382772

1440.8077156277

1418.5035767347

1443.4405847042

1400.017769942

1439.8667171775

1373.6767604239

1437.0415489874

1374.6428913828

1442.5006002456

1380.239309546

1439.8667171775

1370.7761947076

1437.9836338573

1380.239309546

1439.8667171775

1390.6277639056

1440.8077156277

1390.6277639056

1447.1969011394

1396.1893152397

1448.1350748984

1400.9739782678

1445.3194672015

1419.4527595466

1443.4405847042

1432.5145006243

1448.1350748984

1430.6257679218

1445.3194672015

1420.4015802186

1442.5006002456

1418.5035767347

1440.8077156277

1410.3256554178

1437.0415489874

1413.9424582504

1437.0415489874

1424.1932415075

1437.0415489874

1420.4015802186

1439.8667171775

1436.0991019775

1437.9836338573

1428.7355866597

1434.2131215382

1421.3500387506

1434.2131215382

1426.0868993126

1432.5145006243

1417.7439697445

1436.0991019775

1421.3500387506

1434.2131215382

1423.2458693951

1432.5145006243

1423.2458693951

1436.0991019775

1419.4527595466

1435.1562928278

1427.7899528188

1437.0415489874

1425.14025148

1437.9836338573

1429.6808583607

1436.0991019775

1439.8667171775

1435.1562928278

1450.7600348396

1437.0415489874

1450.7600348396

1441.7483519381

1456.375388506

1442.5006002456

1456.375388506

1445.3194672015

1446.2583652404

1438.9253565873

1446.2583652404

1440.8077156277

1451.696832467

1444.3802070228

1463.6558579031

1439.8667171775

1467.1947716871

1441.7483519381

1462.7236956663

1442.5006002456

1459.9250361165

1440.8077156277

1454.5050525101

1437.0415489874

1463.6558579031

1437.0415489874

1467.1947716871

1437.0415489874

1458.9914253201

1441.7483519381

1455.440401578

1434.2131215382

1453.5693413023

1435.1562928278

1456.375388506

1436.0991019775

1463.6558579031

1437.0415489874

1459.9250361165

1435.1562928278

1446.2583652404

1435.1562928278

1441.7483519381

1439.8667171775

1436.0991019775

1439.8667171775

1437.0415489874

1436.0991019775

1435.1562928278

1438.9253565873

1435.1562928278

1438.9253565873

1441.7483519381

1440.8077156277

1433.4583237658

1443.4405847042

1417.7439697445

1441.7483519381

1410.3256554178

1438.9253565873

1409.3729960629

1439.8667171775

1412.9911750271

1438.9253565873

1413.9424582504

1439.8667171775

1414.8933793338

1448.1350748984

1401.9298244538

1445.3194672015

1393.5059493763

1445.3194672015

1390.6277639056

1440.8077156277

1387.7463191758

1442.5006002456

1375.6086602019

1444.3802070228

1371.7434120863

1447.1969011394

1367.097465953

1445.3194672015

1364.1895125829

1446.2583652404

1356.6135804883

1444.3802070228

1361.4724821949

1448.1350748984

1355.6407137273

1444.3802070228

1350.9659122872

1444.3802070228

1346.0874550263

1446.2583652404

1345.3060617

1446.2583652404

1346.0874550263

1445.3194672015

1344.3289941162

1445.3194672015

1333.7535886573

1440.8077156277

1332.7722478228

1442.5006002456

1342.373772529

1444.3802070228

1339.4382240989

1449.8228750722

1349.0156158025

1449.8228750722

1349.0156158025

1447.1969011394

1334.734567352

1448.1350748984

1340.4171023822

1447.1969011394

1334.734567352

1447.1969011394

1316.4290885736

1449.8228750722

1312.6738469019

1445.3194672015

1303.9574207318

1444.3802070228

1304.9493360512

1444.3802070228

1317.4164409304

1444.3802070228

1312.6738469019

1449.8228750722

1306.7338710338

1449.8228750722

1300.979501934

1444.3802070228

1291.2289204471

1440.8077156277

1285.4417849296

1446.2583652404

1288.4366518745

1446.2583652404

1283.4433962669

1442.5006002456

1278.6413533533

1445.3194672015

1280.4430972236

1440.8077156277

1275.6358394955

1442.5006002456

1272.6270663787

1437.0415489874

1275.6358394955

1439.8667171775

1270.8202380642

1439.8667171775

1273.6303528909

1437.0415489874

1281.4435590446

1436.0991019775

1386.0158878936

1431.570315343

1310.6953035055

1433.4583237658

1264.7890029426

1435.1562928278

1252.0809736342

1431.570315343

1246.2119220725

1435.1562928278

1247.0221707056

1429.6808583607

1247.0221707056

1430.6257679218

1241.142617087

1429.6808583607

1250.0585388824

1431.570315343

1253.0916478002

1426.843956838

1251.0699373283

1426.843956838

1252.0809736342

1426.843956838

1251.0699373283

1426.843956838

1252.0809736342

1428.7355866597

1254.1019598263

1426.0868993126

1249.0467782967

1425.14025148

1252.0809736342

1422.2981351428

1255.1119097126

1421.3500387506

1248.0346555711

1422.2981351428

1250.0585388824

1423.2458693951

1251.0699373283

1426.0868993126

1244.185286498

1426.843956838

1241.142617087

1426.843956838

1239.1123601135

1425.14025148

1240.1276696702

1426.843956838

1236.2675667706

1428.7355866597

1232.1986511781

1428.7355866597

1229.3469626916

1430.6257679218

1225.2681968939

1431.570315343

1226.2884315532

1432.5145006243

1226.2884315532

1428.7355866597

1221.183636858

1433.4583237658

1222.2053200768

1431.570315343

1223.2266411557

1432.5145006243

1221.183636858

1430.6257679218

1231.1805169302

1430.6257679218

1233.2164232861

1427.7899528188

1225.2681968939

1426.0868993126

1227.3083040725

1426.0868993126

1226.2884315532

1430.6257679218

1223.2266411557

1430.6257679218

1219.3436944715

1429.6808583607

1218.320997261

1427.7899528188

1218.320997261

1426.843956838

1219.3436944715

1427.7899528188

1218.320997261

1429.6808583607

1216.2745164202

1426.843956838

1222.2053200768

1423.2458693951

1221.183636858

1423.2458693951

1221.183636858

1425.14025148

1221.183636858

1425.14025148

1222.2053200768

1422.2981351428

1219.3436944715

1426.843956838

1222.2053200768

1425.14025148

1231.1805169302

1421.3500387506

1231.1805169302

1423.2458693951

1241.142617087

1416.7941350808

1245.1987853552

1418.5035767347

1242.1572023639

1421.3500387506

1244.185286498

1419.4527595466

1246.2119220725

1417.7439697445

1250.0585388824

1419.4527595466

1248.0346555711

1419.4527595466

1252.0809736342

1419.4527595466

1256.9289069153

1419.4527595466

1260.962477654

1415.8439382772

1255.1119097126

1420.4015802186

1251.0699373283

1418.5035767347

1251.0699373283

1416.7941350808

1254.1019598263

1415.8439382772

1255.9196088808

1412.039529664

1252.0809736342

1412.039529664

1250.0585388824

1421.3500387506

1251.0699373283

1421.3500387506

1259.9546281792

1416.7941350808

1262.977090184

1420.4015802186

1264.7890029426

1417.7439697445

1268.8112749166

1420.4015802186

1268.8112749166

1426.0868993126

1277.6398775406

1418.5035767347

1291.2289204471

1420.4015802186

1311.6847562736

1422.2981351428

1324.1208330066

1422.2981351428

1332.7722478228

1418.5035767347

1336.6954383216

1409.3729960629

1341.3956185255

1412.039529664

1343.3515643926

1407.4665909335

1341.3956185255

1409.3729960629

1344.3289941162

1411.0875221609

1340.4171023822

1408.4199745681

1341.3956185255

1409.3729960629

1349.0156158025

1404.6042671902

1355.6407137273

1409.3729960629

1353.888640965

1408.4199745681

1349.0156158025

1408.4199745681

1352.9147602123

1410.3256554178

1348.0399243503

1409.3729960629

1358.5582275906

1413.9424582504

1430.6257679218

1415.8439382772

1439.8667171775

1416.7941350808

1443.4405847042

1417.7439697445

1441.7483519381

1420.4015802186

1427.7899528188

1419.4527595466

1419.4527595466

1421.3500387506

1412.039529664

1418.5035767347

1412.9911750271

1415.8439382772

1417.7439697445

1416.7941350808

1406.5128451589

1411.0875221609

1403.6494349959

1418.5035767347

1397.1469721251

1417.7439697445

1401.9298244538

1417.7439697445

1401.9298244538

1415.8439382772

1391.5875212024

1411.0875221609

1383.1292283493

1413.9424582504

1383.1292283493

1412.039529664

1386.7851133194

1412.9911750271

1378.5037938197

1412.9911750271

1365.1591925128

1410.3256554178

1353.888640965

1412.039529664

1343.3515643926

1413.9424582504

1328.0567708297

1415.8439382772

1329.0398499357

1413.9424582504

1322.1506912556

1413.9424582504

1317.4164409304

1416.7941350808

1312.6738469019

1414.8933793338

1305.7426075661

1412.9911750271

1299.986138055

1408.4199745681

1277.6398775406

1411.0875221609

1265.7951141459

1415.8439382772

1260.962477654

1412.039529664

1257.9378428098

1416.7941350808

1255.9196088808

1415.8439382772

1258.9464165644

1418.5035767347

1248.0346555711

1420.4015802186

1252.0809736342

1413.9424582504

1269.8159375604

1418.5035767347

1269.8159375604

1418.5035767347

1261.969964989

1416.7941350808

1251.0699373283

1416.7941350808

1263.7825295993

1416.7941350808

1276.638039588

1417.7439697445

1285.4417849296

1416.7941350808

1287.4387250327

1416.7941350808

1284.4427716682

1414.8933793338

1287.4387250327

1419.4527595466

1297.9983238772

1414.8933793338

1297.9983238772

1415.8439382772

1291.2289204471

1417.7439697445

1290.232007597

1412.039529664

1283.4433962669

1415.8439382772

1280.4430972236

1417.7439697445

1297.9983238772

1410.3256554178

1291.2289204471

1407.4665909335

1282.4436587257

1411.0875221609

1293.2216597274

1412.039529664

1296.2080525987

1410.3256554178

1288.4366518745

1403.6494349959

1294.2174861577

1403.6494349959

1303.9574207318

1398.1042668707

1299.986138055

1401.9298244538

1303.9574207318

1397.1469721251

1298.992412036

1393.5059493763

1300.979501934

1391.5875212024

1297.0038735784

1393.5059493763

1286.4404360511

1389.6676444689

1297.0038735784

1389.6676444689

1306.7338710338

1388.7071628923

1284.4427716682

1385.0540301854

1297.9983238772

1387.7463191758

1304.9493360512

1382.1662842215

1319.3900592243

1387.7463191758

1315.4413740769

1385.0540301854

1317.4164409304

1382.1662842215

1309.7054885974

1382.1662842215

1293.2216597274

1381.2029779537

1297.9983238772

1379.2752789985

1302.9651432724

1379.2752789985

1293.2216597274

1379.2752789985

1290.232007597

1382.1662842215

1295.2129504482

1385.0540301854

1306.7338710338

1383.1292283493

1285.4417849296

1383.1292283493

1297.0038735784

1385.0540301854

1288.4366518745

1386.0158878936

1302.9651432724

1385.0540301854

1312.6738469019

1381.2029779537

1320.3763251614

1379.2752789985

1320.3763251614

1377.5391114203

1344.3289941162

1381.2029779537

1344.3289941162

1386.0158878936

1327.0733295837

1384.0918103373

1331.7905448483

1383.1292283493

1324.1208330066

1376.574066881

1329.0398499357

1375.6086602019

1314.4532974403

1379.2752789985

1296.2080525987

1379.2752789985

1311.6847562736

1374.6428913828

1310.6953035055

1377.5391114203

1319.3900592243

1375.6086602019

1333.7535886573

1375.6086602019

1343.3515643926

1374.6428913828

1356.6135804883

1377.5391114203

1342.373772529

1374.6428913828

1345.3060617

1373.6767604239

1360.5014261334

1371.7434120863

1355.6407137273

1372.710267325

1345.3060617

1376.574066881

1342.373772529

1382.1662842215

1349.0156158025

1381.2029779537

1351.9405173197

1379.2752789985

1355.6407137273

1384.0918103373

1361.4724821949

1384.0918103373

1370.7761947076

1382.1662842215

1360.5014261334

1381.2029779537

1349.9909451148

1383.1292283493

1348.0399243503

1381.2029779537

1351.9405173197

1380.239309546

1356.6135804883

1383.1292283493

1361.4724821949

1376.574066881

1357.5860851094

1380.239309546

1346.0874550263

1377.5391114203

1336.6954383216

1377.5391114203

1353.888640965

1372.710267325

1344.3289941162

1373.6767604239

1349.0156158025

1373.6767604239

1360.5014261334

1379.2752789985

1351.9405173197

1372.710267325

1352.9147602123

1376.574066881

1365.1591925128

1377.5391114203

1351.9405173197

1380.239309546

1358.5582275906

1379.2752789985

1357.5860851094

1382.1662842215

1352.9147602123

1381.2029779537

1353.888640965

1382.1662842215

1345.3060617

1383.1292283493

1336.6954383216

1383.1292283493

1349.0156158025

1378.5037938197

1346.0874550263

1379.2752789985

1352.9147602123

1384.0918103373

1335.7151839067

1390.6277639056

1339.4382240989

1386.7851133194

1335.7151839067

1390.6277639056

1335.7151839067

1386.7851133194

1326.0895261979

1391.5875212024

1329.8260524798

1390.6277639056

1330.808479734

1393.5059493763

1329.0398499357

1394.4646202534

1327.0733295837

1386.7851133194

1332.7722478228

1389.6676444689

1326.0895261979

1389.6676444689

1315.4413740769

1394.4646202534

1310.6953035055

1390.6277639056

1313.4648586638

1387.7463191758

1312.6738469019

1388.7071628923

1312.6738469019

1389.6676444689

1304.9493360512

1385.0540301854

1301.9725036732

1390.6277639056

1297.0038735784

1391.5875212024

1297.0038735784

1389.6676444689

1294.2174861577

1384.0918103373

1299.986138055

1383.1292283493

1295.2129504482

1384.0918103373

1301.9725036732

1379.2752789985

1297.0038735784

1380.239309546

1298.992412036

1385.0540301854

1299.986138055

1384.0918103373

1302.9651432724

1383.1292283493

1310.6953035055

1381.2029779537

1307.7247723615

1378.5037938197

1302.9651432724

1377.5391114203

1312.6738469019

1375.6086602019

1319.3900592243

1373.6767604239

1318.4034311473

1376.574066881

1323.135943201

1380.239309546

1319.3900592243

1377.5391114203

1318.4034311473

1373.6767604239

1313.4648586638

1373.6767604239

1309.7054885974

1373.6767604239

1303.9574207318

1371.7434120863

1297.9983238772

1370.002160064

1308.7153115494

1372.710267325

1301.9725036732

1372.710267325

1308.7153115494

1376.574066881

1323.135943201

1378.5037938197

1334.734567352

1374.6428913828

1351.9405173197

1377.5391114203

1371.7434120863

1377.5391114203

1355.6407137273

1377.5391114203

1345.3060617

1375.6086602019

1361.4724821949

1378.5037938197

1365.1591925128

1376.574066881

1370.002160064

1375.6086602019

1370.7761947076

1375.6086602019

1384.0918103373

1377.5391114203

1398.1042668707

1379.2752789985

1409.3729960629

1378.5037938197

1409.3729960629

1376.574066881

1411.0875221609

1375.6086602019

1379.2752789985

1370.002160064

1362.2490663034

1373.6767604239

1334.734567352

1374.6428913828

1327.0733295837

1381.2029779537

1316.4290885736

1386.0158878936

1310.6953035055

1383.1292283493

1298.992412036

1388.7071628923

1298.992412036

1386.0158878936

1287.4387250327

1383.1292283493

1277.6398775406

1382.1662842215

1272.6270663787

1387.7463191758

1267.8062501329

1386.0158878936

1272.6270663787

1385.0540301854

1285.4417849296

1383.1292283493

1288.4366518745

1387.7463191758

1283.4433962669

1387.7463191758

1284.4427716682

1392.5469163593

1271.8241764282

1387.7463191758

1289.2347326071

1378.5037938197

1283.4433962669

1378.5037938197

1282.4436587257

1380.239309546

1286.4404360511

1379.2752789985

1286.4404360511

1384.0918103373

1296.2080525987

1385.0540301854

1278.6413533533

1386.0158878936

1276.638039588

1383.1292283493

1284.4427716682

1389.6676444689

1289.2347326071

1388.7071628923

1292.2254711572

1385.0540301854

1296.2080525987

1390.6277639056

1301.9725036732

1393.5059493763

1298.992412036

1387.7463191758

1302.9651432724

1392.5469163593

1309.7054885974

1393.5059493763

1300.979501934

1393.5059493763

1298.992412036

1394.4646202534

1301.9725036732

1390.6277639056

1304.9493360512

1390.6277639056

1304.9493360512

1389.6676444689

1306.7338710338

1389.6676444689

1310.6953035055

1386.7851133194

1317.4164409304

1393.5059493763

1315.4413740769

1387.7463191758

1305.7426075661

1390.6277639056

1303.9574207318

1386.7851133194

1309.7054885974

1390.6277639056

1309.7054885974

1392.5469163593

1327.0733295837

1389.6676444689

1333.7535886573

1387.7463191758

1352.9147602123

1394.4646202534

1361.4724821949

1393.5059493763

1368.0660594632

1396.1893152397

1352.9147602123

1395.2312962144

1377.5391114203

1396.1893152397

1367.097465953

1396.1893152397

1346.0874550263

1393.5059493763

1332.7722478228

1394.4646202534

1344.3289941162

1393.5059493763

1343.3515643926

1394.4646202534

1342.373772529

1387.7463191758

1319.3900592243

1389.6676444689

1300.979501934

1390.6277639056

1292.2254711572

1391.5875212024

1271.8241764282

1387.7463191758

1276.638039588

1388.7071628923

1268.8112749166

1386.7851133194

1271.8241764282

1386.7851133194

1273.6303528909

1384.0918103373

1273.6303528909

1383.1292283493

1270.8202380642

1375.6086602019

1272.6270663787

1381.2029779537

1267.8062501329

1383.1292283493

1264.7890029426

1383.1292283493

1261.969964989

1384.0918103373

1264.7890029426

1388.7071628923

1266.8008632094

1384.0918103373

1267.8062501329

1385.0540301854

1267.8062501329

1386.7851133194

1248.0346555711

1382.1662842215

1241.142617087

1381.2029779537

1243.1714255009

1379.2752789985

1246.2119220725

1381.2029779537

1245.1987853552

1384.0918103373

1240.1276696702

1382.1662842215

1244.185286498

1385.0540301854

1249.0467782967

1386.7851133194

1260.962477654

1390.6277639056

1263.7825295993

1396.1893152397

1266.8008632094

1395.2312962144

1261.969964989

1395.2312962144

1257.9378428098

1400.017769942

1253.0916478002

1400.9739782678

1249.0467782967

1394.4646202534

1248.0346555711

1390.6277639056

1250.0585388824

1396.1893152397

1250.0585388824

1394.4646202534

1260.962477654

1394.4646202534

1257.9378428098

1390.6277639056

1255.1119097126

1395.2312962144

1255.1119097126

1392.5469163593

1250.0585388824

1391.5875212024

1246.2119220725

1393.5059493763

1242.1572023639

1388.7071628923

1241.142617087

1386.7851133194

1243.1714255009

1387.7463191758

1245.1987853552

1392.5469163593

1243.1714255009

1390.6277639056

1260.962477654

1391.5875212024

1257.9378428098

1393.5059493763

1255.1119097126

1390.6277639056

1274.6332772631

1390.6277639056

1280.4430972236

1386.7851133194

1291.2289204471

1387.7463191758

1291.2289204471

1389.6676444689

1300.979501934

1389.6676444689

1300.979501934

1385.0540301854

1290.232007597

1391.5875212024

1295.2129504482

1388.7071628923

1306.7338710338

1390.6277639056

1313.4648586638

1389.6676444689

1319.3900592243

1386.7851133194

1325.1053606722

1384.0918103373

1307.7247723615

1386.0158878936

1311.6847562736

1388.7071628923

1309.7054885974

1386.0158878936

1308.7153115494

1386.7851133194

1328.0567708297

1395.2312962144

1297.9983238772

1394.4646202534

1298.992412036

1394.4646202534

1297.0038735784

1394.4646202534

1307.7247723615

1398.1042668707

1309.7054885974

1400.9739782678

1312.6738469019

1399.0611994763

1306.7338710338

1390.6277639056

1292.2254711572

1391.5875212024

1286.4404360511

1396.1893152397

1287.4387250327

1391.5875212024

1293.2216597274

1391.5875212024

1290.232007597

1385.0540301854

1289.2347326071

1386.7851133194

1282.4436587257

1385.0540301854

1280.4430972236

1385.0540301854

1270.8202380642

1381.2029779537

1265.7951141459

1381.2029779537

1267.8062501329

1383.1292283493

1272.6270663787

1380.239309546

1277.6398775406

1377.5391114203

1274.6332772631

1385.0540301854

1264.7890029426

1386.7851133194

1260.962477654

1376.574066881

1260.962477654

1381.2029779537

1278.6413533533

1378.5037938197

1274.6332772631

1380.239309546

1265.7951141459

1380.239309546

1265.7951141459

1374.6428913828

1273.6303528909

1381.2029779537

1271.8241764282

1380.239309546

1268.8112749166

1384.0918103373

1264.7890029426

1382.1662842215

1261.969964989

1380.239309546

1266.8008632094

1376.574066881

1269.8159375604

1373.6767604239

1264.7890029426

1365.1591925128

1273.6303528909

1373.6767604239

1279.6424670261

1378.5037938197

1276.638039588

1374.6428913828

1276.638039588

1372.710267325

1284.4427716682

1369.0342908336

1290.232007597

1369.0342908336

1279.6424670261

1374.6428913828

1287.4387250327

1368.0660594632

1287.4387250327

1368.0660594632

1283.4433962669

1371.7434120863

1290.232007597

1370.002160064

1290.232007597

1373.6767604239

1289.2347326071

1366.1285103029

1291.2289204471

1370.002160064

1285.4417849296

1367.097465953

1282.4436587257

1367.097465953

1285.4417849296

1373.6767604239

1283.4433962669

1371.7434120863

1278.6413533533

1373.6767604239

1284.4427716682

1370.002160064

1278.6413533533

1359.5300079319

1288.4366518745

1368.0660594632

1280.4430972236

1367.097465953

1286.4404360511

1364.1895125829

1283.4433962669

1358.5582275906

1286.4404360511

1359.5300079319

1295.2129504482

1359.5300079319

1300.979501934

1364.1895125829

1296.2080525987

1364.1895125829

1301.9725036732

1365.1591925128

1301.9725036732

1367.097465953

1306.7338710338

1368.0660594632

1308.7153115494

1365.1591925128

1307.7247723615

1363.2194705131

1305.7426075661

1361.4724821949

1303.9574207318

1356.6135804883

1309.7054885974

1357.5860851094

1307.7247723615

1357.5860851094

1301.9725036732

1359.5300079319

1307.7247723615

1362.2490663034

1323.135943201

1365.1591925128

1324.1208330066

1364.1895125829

1323.135943201

1362.2490663034

1315.4413740769

1365.1591925128

1312.6738469019

1368.0660594632

1310.6953035055

1363.2194705131

1304.9493360512

1358.5582275906

1304.9493360512

1362.2490663034

1307.7247723615

1356.6135804883

1320.3763251614

1354.6674848264

1320.3763251614

1363.2194705131

1322.1506912556

1360.5014261334

1317.4164409304

1359.5300079319

1320.3763251614

1351.9405173197

1316.4290885736

1359.5300079319

1325.1053606722

1359.5300079319

1316.4290885736

1360.5014261334

1318.4034311473

1356.6135804883

1329.8260524798

1357.5860851094

1332.7722478228

1355.6407137273

1333.7535886573

1353.888640965

1337.6753305965

1351.9405173197

1334.734567352

1351.9405173197

1344.3289941162

1355.6407137273

1348.0399243503

1349.9909451148

1352.9147602123

1350.9659122872

1348.0399243503

1347.0638707583

1351.9405173197

1346.0874550263

1345.3060617

1348.0399243503

1348.0399243503

1349.0156158025

1352.9147602123

1352.9147602123

1357.5860851094

1352.9147602123

1356.6135804883

1352.9147602123

1353.888640965

1350.9659122872

1354.6674848264

1351.9405173197

1353.888640965

1349.0156158025

1355.6407137273

1350.9659122872

1355.6407137273

1349.9909451148

1353.888640965

1357.5860851094

1355.6407137273

1350.9659122872

1354.6674848264

1353.888640965

1353.888640965

1348.0399243503

1356.6135804883

1354.6674848264

1359.5300079319

1359.5300079319

1361.4724821949

1359.5300079319

1359.5300079319

1358.5582275906

1357.5860851094

1362.2490663034

1361.4724821949

1355.6407137273

1361.4724821949

1357.5860851094

1360.5014261334

1357.5860851094

1355.6407137273

1361.4724821949

1358.5582275906

1361.4724821949

1362.2490663034

1366.1285103029

1357.5860851094

1362.2490663034

1349.0156158025

1362.2490663034

1337.6753305965

1364.1895125829

1334.734567352

1365.1591925128

1326.0895261979

1366.1285103029

1320.3763251614

1363.2194705131

1319.3900592243

1365.1591925128

1318.4034311473

1358.5582275906

1323.135943201

1361.4724821949

1328.0567708297

1360.5014261334

1331.7905448483

1363.2194705131

1332.7722478228

1363.2194705131

1339.4382240989

1366.1285103029

1322.1506912556

1365.1591925128

1317.4164409304

1368.0660594632

1310.6953035055

1364.1895125829

1319.3900592243

1370.7761947076

1306.7338710338

1363.2194705131

1304.9493360512

1370.7761947076

1306.7338710338

1374.6428913828

1304.9493360512

1370.7761947076

1306.7338710338

1364.1895125829

1305.7426075661

1367.097465953

1306.7338710338

1368.0660594632

1303.9574207318

1368.0660594632

1303.9574207318

1364.1895125829

1312.6738469019

1361.4724821949

1320.3763251614

1358.5582275906

1320.3763251614

1364.1895125829

1313.4648586638

1362.2490663034

1311.6847562736

1354.6674848264

1297.9983238772

1360.5014261334

1306.7338710338

1361.4724821949

1304.9493360512

1360.5014261334

1305.7426075661

1358.5582275906

1316.4290885736

1355.6407137273

1332.7722478228

1361.4724821949

1322.1506912556

1366.1285103029

1318.4034311473

1367.097465953

1325.1053606722

1372.710267325

1330.808479734

1369.0342908336

1328.0567708297

1370.002160064

1342.373772529

1371.7434120863

1326.0895261979

1365.1591925128

1339.4382240989

1366.1285103029

1334.734567352

1372.710267325

1330.808479734

1370.7761947076

1321.3622289586

1374.6428913828

1329.0398499357

1368.0660594632

1335.7151839067

1367.097465953

1330.808479734

1369.0342908336

1330.808479734

1370.002160064

1327.0733295837

1367.097465953

1330.808479734

1364.1895125829

1331.7905448483

1358.5582275906

1322.1506912556

1359.5300079319

1318.4034311473

1365.1591925128

1313.4648586638

1365.1591925128

1309.7054885974

1359.5300079319

1304.9493360512

1361.4724821949

1302.9651432724

1359.5300079319

1307.7247723615

1355.6407137273

1310.6953035055

1361.4724821949

1312.6738469019

1363.2194705131

1308.7153115494

1361.4724821949

1313.4648586638

1368.0660594632

1314.4532974403

1361.4724821949

1310.6953035055

1361.4724821949

1304.9493360512

1363.2194705131

1307.7247723615

1366.1285103029

1309.7054885974

1362.2490663034

1305.7426075661

1363.2194705131

1310.6953035055

1360.5014261334

1306.7338710338

1363.2194705131

1303.9574207318

1365.1591925128

1302.9651432724

1356.6135804883

1333.7535886573

1357.5860851094

1345.3060617

1363.2194705131

1342.373772529

1365.1591925128

1339.4382240989

1363.2194705131

1338.4589836758

1355.6407137273

1349.9909451148

1357.5860851094

1348.0399243503

1354.6674848264

1364.1895125829

1356.6135804883

1358.5582275906

1353.888640965

1374.6428913828

1355.6407137273

1356.6135804883

1355.6407137273

1347.0638707583

1352.9147602123

1350.9659122872

1349.9909451148

1346.0874550263

1350.9659122872

1352.9147602123

1363.2194705131

1349.0156158025

1360.5014261334

1348.0399243503

1360.5014261334

1345.3060617

1357.5860851094

1353.888640965

1355.6407137273

1351.9405173197

1358.5582275906

1349.0156158025

1354.6674848264

1345.3060617

1355.6407137273

1349.9909451148

1353.888640965

1348.0399243503

1359.5300079319

1350.9659122872

1356.6135804883

1355.6407137273

1360.5014261334

1349.9909451148

1358.5582275906

1357.5860851094

1360.5014261334

1349.0156158025

1360.5014261334

1337.6753305965

1360.5014261334

1339.4382240989

1362.2490663034

1329.8260524798

1359.5300079319

1326.0895261979

1359.5300079319

1329.8260524798

1356.6135804883

1313.4648586638

1358.5582275906

1316.4290885736

1360.5014261334

1325.1053606722

1364.1895125829

1319.3900592243

1365.1591925128

1322.1506912556

1363.2194705131

1324.1208330066

1360.5014261334

1320.3763251614

1358.5582275906

1316.4290885736

1353.888640965

1319.3900592243

1359.5300079319

1319.3900592243

1357.5860851094

1314.4532974403

1356.6135804883

1316.4290885736

1353.888640965

1315.4413740769

1350.9659122872

1319.3900592243

1351.9405173197

1310.6953035055

1350.9659122872

1320.3763251614

1349.0156158025

1311.6847562736

1349.0156158025

1298.992412036

1350.9659122872

1303.9574207318

1350.9659122872

1314.4532974403

1348.0399243503

1312.6738469019

1347.0638707583

1319.3900592243

1350.9659122872

1327.0733295837

1348.0399243503

1321.3622289586

1348.0399243503

1324.1208330066

1347.0638707583

1316.4290885736

1345.3060617

1303.9574207318

1341.3956185255

1296.2080525987

1341.3956185255

1296.2080525987

1340.4171023822

1288.4366518745

1339.4382240989

1277.6398775406

1335.7151839067

1272.6270663787

1346.0874550263

1261.969964989

1347.0638707583

1255.9196088808

1350.9659122872

1265.7951141459

1356.6135804883

1269.8159375604

1358.5582275906

1263.7825295993

1362.2490663034

1270.8202380642

1356.6135804883

1255.1119097126

1361.4724821949

1260.962477654

1358.5582275906

1247.0221707056

1361.4724821949

1251.0699373283

1369.0342908336

1258.9464165644

1363.2194705131

1253.0916478002

1357.5860851094

1256.9289069153

1360.5014261334

1256.9289069153

1358.5582275906

1251.0699373283

1356.6135804883

1256.9289069153

1355.6407137273

1253.0916478002

1357.5860851094

1260.962477654

1360.5014261334

1259.9546281792

1354.6674848264

1260.962477654

1354.6674848264

1255.9196088808

1358.5582275906

1248.0346555711

1369.0342908336

1252.0809736342

1364.1895125829

1248.0346555711

1368.0660594632

1254.1019598263

1364.1895125829

1270.8202380642

1367.097465953

1270.8202380642

1364.1895125829

1274.6332772631

1362.2490663034

1272.6270663787

1361.4724821949

1260.962477654

1365.1591925128

1251.0699373283

1361.4724821949

1248.0346555711

1363.2194705131

1249.0467782967

1363.2194705131

1248.0346555711

1361.4724821949

1249.0467782967

1358.5582275906

1252.0809736342

1357.5860851094

1242.1572023639

1354.6674848264

1243.1714255009

1352.9147602123

1234.2338332541

1349.0156158025

1238.096688417

1347.0638707583

1229.3469626916

1350.9659122872

1219.3436944715

1348.0399243503

1224.2476000948

1340.4171023822

1227.3083040725

1337.6753305965

1237.283890319

1333.7535886573

1226.2884315532

1328.0567708297

1224.2476000948

1323.135943201

1236.2675667706

1333.7535886573

1231.1805169302

1343.3515643926

1236.2675667706

1347.0638707583

1238.096688417

1343.3515643926

1248.0346555711

1347.0638707583

1251.0699373283

1342.373772529

1275.6358394955

1340.4171023822

1287.4387250327

1335.7151839067

1297.9983238772

1337.6753305965

1303.9574207318

1342.373772529

1286.4404360511

1346.0874550263

1279.6424670261

1341.3956185255

1267.8062501329

1341.3956185255

1256.9289069153

1341.3956185255

1267.8062501329

1339.4382240989

1283.4433962669

1344.3289941162

1273.6303528909

1342.373772529

1234.2338332541

1335.7151839067

1232.1986511781

1328.0567708297

1231.1805169302

1329.8260524798

1224.2476000948

1330.808479734

1253.0916478002

1332.7722478228

1258.9464165644

1332.7722478228

1216.2745164202

1331.7905448483

1182.0913288803

1324.1208330066

1189.1252103184

1326.0895261979

1199.232818285

1324.1208330066

1208.2794001545

1321.3622289586

1216.2745164202

1323.135943201

1185.1965760651

1324.1208330066

1122.8948512086

1317.4164409304

1127.9600684267

1319.3900592243

1122.8948512086

1321.3622289586

1143.5252967452

1314.4532974403

1143.5252967452

1314.4532974403

1114.6460776749

1308.7153115494

1120.7818814832

1310.6953035055

1072.8570997215

1309.7054885974

1025.5060514436

1308.7153115494

992.2329610721

1307.7247723615

975.0286762714

1311.6847562736

980.552466825

1315.4413740769

1029.6416558897

1324.1208330066

1090.6213828318

1325.1053606722

1138.2756460921

1331.7905448483

1155.6696194315

1327.0733295837

1152.5335179276

1329.8260524798

1140.376592773

1335.7151839067

1119.7248534106

1329.0398499357

1091.6883335375

1332.7722478228

1097.0176549676

1336.6954383216

1131.1215921512

1333.7535886573

1129.0142718081

1332.7722478228

1136.1732508515

1337.6753305965

1139.3263005025

1329.0398499357

1148.5564438419

1329.8260524798

1146.4611465433

1331.7905448483

1139.3263005025

1313.4648586638

1144.3644006852

1307.7247723615

1140.376592773

1315.4413740769

1116.7632482232

1316.4290885736

1114.6460776749

1325.1053606722

1145.4129546842

1317.4164409304

1186.2309341803

1311.6847562736

1197.1728658401

1315.4413740769

1195.3176701213

1313.4648586638

1190.158192302

1319.3900592243

1167.9733299577

1323.135943201

1153.5792472355

1321.3622289586

1136.1732508515

1328.0567708297

1131.1215921512

1321.3622289586

1134.2798566166

1315.4413740769

1126.9055029054

1322.1506912556

1140.376592773

1329.0398499357

1135.1215100214

1297.9983238772

1142.4760908944

1297.0038735784

1150.6502925809

1312.6738469019

1174.0024328674

1301.9725036732

1164.8500482061

1305.7426075661

1090.6213828318

1310.6953035055

1007.3786723891

1300.979501934

964.1757844012

1298.992412036

953.5106576531

1287.4387250327

935.8849695556

1280.4430972236

928.2714035449

1279.6424670261

909.6150105318

1279.6424670261

908.4879446036

1281.4435590446

910.7417143202

1279.6424670261

934.990125043

1271.8241764282

938.1210668453

1282.4436587257

925.1315386156

1304.9493360512

919.5175752281

1318.4034311473

933.8712434764

1329.8260524798

959.9581625117

1329.8260524798

963.2882985712

1331.7905448483

966.3934849842

1320.3763251614

969.7173198096

1304.9493360512

945.7129624047

1313.4648586638

930.5124259372

1300.979501934

924.0094702179

1291.2289204471

909.6150105318

1297.9983238772

903.0729871607

1293.2216597274

893.1238947307

1291.2289204471

909.6150105318

1297.9983238772

921.7642470028

1279.6424670261

932.7519997699

1270.8202380642

946.8280052885

1258.9464165644

957.7362611058

1251.0699373283

957.7362611058

1243.1714255009

950.1709611003

1228.327814452

937.0031992704

1244.185286498

922.8870396803

1236.2675667706

905.3302334202

1218.320997261

904.2017913604

1208.2794001545

905.3302334202

1219.3436944715

903.0729871607

1243.1714255009

907.5860311203

1239.1123601135

903.0729871607

1235.2508810823

898.5541489627

1219.3436944715

912.9940354772

1230.1620205425

934.990125043

1217.2979379106

933.8712434764

1249.0467782967

935.8849695556

1230.1620205425

955.5129111404

1232.1986511781

933.8712434764

1231.1805169302

927.1503491389

1233.2164232861

908.4879446036

1244.185286498

893.1238947307

1235.2508810823

883.1467581872

1228.327814452

870.8637617247

1247.0221707056

865.3910936681

1255.1119097126

865.3910936681

1240.1276696702

856.4802125217

1184.1618558101

842.9577708788

1164.8500482061

833.9915257853

1162.7660496723

830.7674995444

1180.0193533909

848.6937754108

1178.9828224364

859.9100819083

1172.9638015015

828.4628853865

1189.1252103184

776.2261038962

1195.3176701213

756.7713807277

1199.232818285

745.2392158138

1202.320030903

754.4207023752

1231.1805169302

775.0569573122

1236.2675667706

787.6645759765

1227.3083040725

791.1591959764

1185.1965760651

805.8010088667

1157.7585430679

818.3053742042

1153.5792472355

823.8493113921

1170.8854523499

836.2926634001

1164.8500482061

847.5472987842

1144.3644006852

861.966439096

1135.1215100214

867.6723860167

1130.0681130496

870.8637617247

1130.0681130496

874.2799422233

1132.1747091129

877.6928634628

1122.8948512086

884.2819360491

1126.9055029054

884.2819360491

1127.9600684267

897.6496860146

1141.4265229036

897.6496860146

1144.3644006852

900.8142923415

1132.1747091129

836.2926634001

1122.8948512086

797.9062194992

1135.1215100214

808.1198189085

1155.6696194315

818.3053742042

1139.3263005025

847.5472987842

1109.3468138562

846.4004600177

1094.8870128152

844.105696065

1094.8870128152

845.2532591113

1098.0824328339

854.1918222312

1097.0176549676

869.9522298057

1103.1883256049

878.8297795962

1112.5274585671

894.2558857615

1127.9600684267

899.6844017221

1142.4760908944

903.0729871607

1134.2798566166

903.0729871607

1127.9600684267

895.3875146524

1118.6674631982

873.1415775303

1110.4073908997

853.0470838761

1109.3468138562

850.9856422443

1102.1252860101

851.901983381

1088.699958969

840.8905929511

1080.3602303793

835.1422756626

1070.9248551186

829.6153735354

1066.6267774006

832.840413768

1062.5382366553

832.840413768

1053.0499599988

839.7416537732

1056.0719990919

835.1422756626

1058.2288601726

838.5923524554

1062.5382366553

850.9856422443

1065.5513526214

869.9522298057

1075.0026620375

886.5512053532

1062.5382366553

890.8588262493

1057.1506107022

896.5187814034

1057.1506107022

901.943820821

1056.0719990919

907.5860311203

1050.8896223751

903.0729871607

1033.9892743453

901.943820821

1017.0007959508

911.8680559686

1007.3786723891

921.7642470028

1001.8990629027

916.3698011635

1004.0919931169

922.8870396803

1002.9957090797

934.990125043

1004.0919931169

975.0286762714

1001.8990629027

997.7285047139

1017.0007959508

1001.8990629027

1001.8990629027

1009.5679812044

1014.816412238

1010.4432991338

1026.594875399

1004.0919931169

1040.2830290901

1013.7236771718

1045.6989019551

1022.2374067382

1063.6146754262

1037.0291596925

1067.70184004

1046.5646014489

1070.9248551186

1045.6989019551

1073.9300619494

1054.9930253417

1062.5382366553

1058.2288601726

1046.5646014489

1049.8089103534

1047.6463998903

1050.8896223751

1029.6416558897

1054.9930253417

1025.5060514436

1061.4614357445

1017.0007959508

1057.1506107022

1007.3786723891

1039.1987680975

1012.6305799657

1028.5538459261

1028.5538459261

1029.6416558897

1026.594875399

1013.7236771718

1014.816412238

1024.4168653484

1013.7236771718

1036.1609107338

1018.0924445973

1035.0752736095

1018.0924445973

1049.8089103534

1017.0007959508

1047.6463998903

1013.7236771718

1027.6833372144

1017.0007959508

1026.594875399

1017.0007959508

1031.8161893973

1017.0007959508

1027.6833372144

1028.5538459261

1014.816412238

1036.1609107338

1024.4168653484

1024.4168653484

1028.5538459261

1015.9087851643

1040.2830290901

1015.9087851643

1027.6833372144

1020.0564995685

1029.6416558897

1024.4168653484

1040.2830290901

1032.9029129413

1039.1987680975

1036.1609107338

1023.3273171133

1040.2830290901

1002.9957090797

1057.1506107022

996.6301202654

1059.3067475031

995.5313736769

1030.7291037135

1002.9957090797

1025.5060514436

1004.0919931169

1044.6164516619

1000.8020545857

1048.7278361918

1001.8990629027

1037.0291596925

997.7285047139

1032.9029129413

997.7285047139

1044.6164516619

1010.4432991338

1051.9699722569

1024.4168653484

1040.2830290901

1018.9655027738

1035.0752736095

1005.1879150142

1035.0752736095

988.0502929253

1035.0752736095

979.4484329941

1041.3669279429

983.6418349674

1059.3067475031

986.9487216457

1050.8896223751

991.3528339249

1054.9930253417

993.3327940803

1059.3067475031

1002.9957090797

1061.4614357445

1011.5371206197

1060.3842726938

1028.5538459261

1059.3067475031

1044.6164516619

1054.9930253417

1058.2288601726

1050.8896223751

1067.70184004

1048.7278361918

1068.7765405394

1043.5336392288

1063.6146754262

1044.6164516619

1042.4504646558

1041.3669279429

1039.1987680975

1038.1141449649

1046.5646014489

1033.9892743453

1049.8089103534

1067.70184004

1060.3842726938

1113.586949191

1069.850878899

1104.2510030598

1078.2182894623

1090.6213828318

1073.9300619494

1099.1468485603

1082.2867386862

1114.6460776749

1087.6319942716

1109.3468138562

1097.0176549676

1104.2510030598

1099.1468485603

1098.0824328339

1095.9525149613

1090.6213828318

1098.0824328339

1083.3565140831

1101.0618842753

1071.9984691984

1095.9525149613

1066.6267774006

1095.9525149613

1066.6267774006

1094.8870128152

1066.6267774006

1095.9525149613

1068.7765405394

1079.2894409907

1065.5513526214

1076.0748999856

1085.4949784571

1054.1295856008

1076.0748999856

1027.6833372144

1078.2182894623

1010.4432991338

1082.2867386862

1004.0919931169

1094.8870128152

1000.8020545857

1119.7248534106

1002.9957090797

1133.2274639347

999.9241871914

1157.7585430679

997.7285047139

1169.8457345644

988.0502929253

1171.9248079957

979.4484329941

1177.1161541257

971.9313989937

1185.1965760651

964.1757844012

1189.1252103184

954.4006929479

1184.1618558101

950.1709611003

1201.2913221702

950.1709611003

1203.3483774959

957.7362611058

1203.3483774959

978.3440370232

1186.2309341803

984.7444926667

1174.0024328674

981.656138516

1161.7235071955

990.2523490649

1160.8892124734

986.9487216457

1169.0136995952

995.5313736769

1171.9248079957

1002.9957090797

1150.6502925809

1021.1471342233

1151.6966737406

1018.9655027738

1137.2246295417

1013.7236771718

1120.7818814832

1022.2374067382

1121.8385474159

1012.6305799657

1117.6097108458

1001.8990629027

1120.7818814832

1009.5679812044

1129.0142718081

1023.3273171133

1138.2756460921

1007.3786723891

1142.4760908944

1005.1879150142

1147.5089762626

1021.1471342233

1141.4265229036

1035.0752736095

1131.1215921512

1035.0752736095

1131.1215921512

1025.5060514436

1121.8385474159

1024.4168653484

1121.8385474159

1018.9655027738

1120.7818814832

1030.7291037135

1122.8948512086

1033.9892743453

1115.704844019

1042.4504646558

1101.0618842753

1045.6989019551

1097.0176549676

1043.5336392288

1090.6213828318

1035.0752736095

1095.9525149613

1035.0752736095

1091.6883335375

1039.1987680975

1103.1883256049

1041.3669279429

1103.1883256049

1050.8896223751

1104.2510030598

1041.3669279429

1102.1252860101

1035.0752736095

1108.2858746727

1040.2830290901

1109.3468138562

1038.1141449649

1108.2858746727

1029.6416558897

1112.5274585671

1025.5060514436

1110.4073908997

1031.8161893973

1114.6460776749

1050.8896223751

1113.586949191

1065.5513526214

1109.3468138562

1087.6319942716

1103.1883256049

1102.1252860101

1105.3133183749

1120.7818814832

1109.3468138562

1127.9600684267

1110.4073908997

1116.7632482232

1108.2858746727

1072.8570997215

1109.3468138562

1051.9699722569

1111.4676058034

1038.1141449649

1114.6460776749

1025.5060514436

1112.5274585671

1025.5060514436

1115.704844019

1045.6989019551

1106.37527155

1021.1471342233

1104.2510030598

994.4322649485

1099.9981204007

1002.9957090797

1099.9981204007

1011.5371206197

1101.0618842753

1010.4432991338

1101.0618842753

1012.6305799657

1098.0824328339

1018.0924445973

1095.9525149613

1020.0564995685

1092.7549221033

1018.0924445973

1089.7675615265

1020.0564995685

1089.7675615265

1029.6416558897

1088.699958969

1041.3669279429

1089.7675615265

1029.6416558897

1088.699958969

1028.5538459261

1090.6213828318

1033.9892743453

1092.7549221033

1038.1141449649

1097.0176549676

1018.9655027738

1094.8870128152

1009.5679812044

1094.8870128152

973.922831741

1094.8870128152

953.5106576531

1094.8870128152

879.7390517622

1097.0176549676

915.2449080746

1099.1468485603

934.990125043

1106.37527155

900.8142923415

1105.3133183749

890.8588262493

1105.3133183749

885.4167517711

1106.37527155

832.840413768

1104.2510030598

821.7713127244

1107.4368625853

882.0112181854

1105.3133183749

921.7642470028

1106.37527155

857.6238644572

1102.1252860101

837.4426889977

1106.37527155

797.9062194992

1104.2510030598

863.1083527599

1108.2858746727

879.7390517622

1112.5274585671

734.8541648927

1110.4073908997

648.5906092963

1108.2858746727

604.6288199299

1116.7632482232

582.1016909134

1116.7632482232

571.2845056985

1114.6460776749

563.8930731316

1125.0063723745

705.9125698322

1133.2274639347

847.5472987842

1144.3644006852

904.2017913604

1144.3644006852

939.2385722803

1140.376592773

954.4006929479

1135.1215100214

965.2848157626

1136.1732508515

958.8473928787

1134.2798566166

958.8473928787

1127.9600684267

969.7173198096

1127.9600684267

970.8245404716

1126.0615897476

977.2392789125

1127.9600684267

971.9313989937

1127.9600684267

961.0685700048

1133.2274639347

952.3977876087

1129.0142718081

953.5106576531

1130.0681130496

950.1709611003

1136.1732508515

964.1757844012

1141.4265229036

972.8166250707

1141.4265229036

969.7173198096

1145.4129546842

976.1341586619

1146.4611465433

978.3440370232

1144.3644006852

973.922831741

1149.6035492814

977.2392789125

1148.5564438419

970.8245404716

1149.6035492814

978.3440370232

1149.6035492814

972.8166250707

1147.5089762626

1005.1879150142

1146.4611465433

1032.9029129413

1144.3644006852

1044.6164516619

1146.4611465433

1045.6989019551

1140.376592773

1049.8089103534

1142.4760908944

1037.0291596925

1148.5564438419

1012.6305799657

1148.5564438419

997.7285047139

1147.5089762626

998.8265270226

1144.3644006852

1004.0919931169

1146.4611465433

1021.1471342233

1145.4129546842

1018.9655027738

1146.4611465433

1012.6305799657

1148.5564438419

1011.5371206197

1147.5089762626

1010.4432991338

1143.5252967452

1018.0924445973

1146.4611465433

1006.2834747716

1144.3644006852

1017.0007959508

1143.5252967452

1025.5060514436

1148.5564438419

1033.9892743453

1142.4760908944

1021.1471342233

1147.5089762626

1011.5371206197

1145.4129546842

993.3327940803

1147.5089762626

997.7285047139

1152.5335179276

1004.0919931169

1154.6246144034

1013.7236771718

1148.5564438419

1005.1879150142

1149.6035492814

1006.2834747716

1154.6246144034

990.2523490649

1153.5792472355

976.1341586619

1153.5792472355

968.6097370077

1156.7142623196

964.1757844012

1152.5335179276

964.1757844012

1147.5089762626

966.3934849842

1145.4129546842

962.178615358

1146.4611465433

963.2882985712

1145.4129546842

969.7173198096

1143.5252967452

966.3934849842

1145.4129546842

972.8166250707

1147.5089762626

979.4484329941

1147.5089762626

972.8166250707

1147.5089762626

971.9313989937

1152.5335179276

972.8166250707

1150.6502925809

976.1341586619

1156.7142623196

997.7285047139

1160.8892124734

995.5313736769

1164.8500482061

989.1515020651

1166.9325981804

993.3327940803

1165.8915042632

1002.9957090797

1164.8500482061

1000.8020545857

1164.8500482061

1002.9957090797

1166.9325981804

996.6301202654

1164.8500482061

997.7285047139

1159.8460181448

1002.9957090797

1165.8915042632

1005.1879150142

1158.8024616763

996.6301202654

1159.8460181448

990.2523490649

1161.7235071955

995.5313736769

1162.7660496723

986.9487216457

1159.8460181448

991.3528339249

1161.7235071955

991.3528339249

1159.8460181448

981.656138516

1162.7660496723

993.3327940803

1158.8024616763

984.7444926667

1162.7660496723

982.5388151281

1156.7142623196

979.4484329941

1159.8460181448

977.2392789125

1160.8892124734

976.1341586619

1164.8500482061

979.4484329941

1163.8082300092

981.656138516

1169.8457345644

976.1341586619

1172.9638015015

988.0502929253

1176.0786091795

981.656138516

1188.091866195

973.922831741

1190.158192302

970.8245404716

1182.0913288803

958.8473928787

1182.0913288803

963.2882985712

1185.1965760651

956.6247671931

1182.0913288803

940.3557155755

1181.0555222056

957.7362611058

1184.1618558101

966.3934849842

1188.091866195

968.6097370077

1182.0913288803

982.5388151281

1186.2309341803

969.7173198096

1188.091866195

969.7173198096

1190.158192302

975.0286762714

1185.1965760651

979.4484329941

1182.0913288803

971.9313989937

1187.0581599317

970.8245404716

1189.1252103184

979.4484329941

1197.1728658401

972.8166250707

1197.1728658401

962.178615358

1208.2794001545

963.2882985712

1204.1707940295

962.178615358

1201.2913221702

970.8245404716

1205.1984887706

959.9581625117

1203.3483774959

966.3934849842

1201.2913221702

954.4006929479

1200.2622512976

968.6097370077

1201.2913221702

970.8245404716

1200.2622512976

971.9313989937

1207.2527918331

975.0286762714

1204.1707940295

977.2392789125

1201.2913221702

975.0286762714

1205.1984887706

978.3440370232

1209.305646336

976.1341586619

1210.3315303776

981.656138516

1207.2527918331

978.3440370232

1207.2527918331

971.9313989937

1209.305646336

972.8166250707

1214.2265870199

973.922831741

1210.3315303776

978.3440370232

1210.3315303776

982.5388151281

1202.320030903

980.552466825

1203.3483774959

981.656138516

1205.1984887706

979.4484329941

1204.1707940295

973.922831741

1202.320030903

979.4484329941

1192.2230698494

979.4484329941

1192.2230698494

982.5388151281

1198.2030231325

979.4484329941

1207.2527918331

981.656138516

1209.305646336

982.5388151281

1204.1707940295

982.5388151281

1203.3483774959

982.5388151281

1198.2030231325

975.0286762714

1197.1728658401

980.552466825

1195.3176701213

965.2848157626

1200.2622512976

972.8166250707

1195.3176701213

978.3440370232

1193.2549654133

985.8467882261

1189.1252103184

985.8467882261

1189.1252103184

990.2523490649

1185.1965760651

981.656138516

1194.2864988373

982.5388151281

1188.091866195

985.8467882261

1192.2230698494

981.656138516

1192.2230698494

971.9313989937

1190.158192302

970.8245404716

1190.158192302

964.1757844012

1192.2230698494

961.0685700048

1190.158192302

967.5017920659

1188.091866195

967.5017920659

1186.2309341803

968.6097370077

1184.1618558101

958.8473928787

1187.0581599317

958.8473928787

1184.1618558101

962.178615358

1191.1908121456

966.3934849842

1193.2549654133

959.9581625117

1196.1423464079

965.2848157626

1191.1908121456

968.6097370077

1187.0581599317

966.3934849842

1188.091866195

962.178615358

1193.2549654133

962.178615358

1191.1908121456

956.6247671931

1195.3176701213

958.8473928787

1197.1728658401

961.0685700048

1197.1728658401

959.9581625117

1200.2622512976

965.2848157626

1194.2864988373

969.7173198096

1190.158192302

964.1757844012

1187.0581599317

961.0685700048

1192.2230698494

964.1757844012

1197.1728658401

967.5017920659

1202.320030903

967.5017920659

1203.3483774959

969.7173198096

1204.1707940295

972.8166250707

1206.2258213718

965.2848157626

1206.2258213718

959.9581625117

1212.3822120412

961.0685700048

1215.25073279

963.2882985712

1212.3822120412

957.7362611058

1217.2979379106

952.3977876087

1223.2266411557

953.5106576531

1220.3660295422

957.7362611058

1227.3083040725

953.5106576531

1228.327814452

956.6247671931

1231.1805169302

955.5129111404

1236.2675667706

956.6247671931

1234.2338332541

952.3977876087

1238.096688417

949.0570046363

1238.096688417

950.1709611003

1236.2675667706

952.3977876087

1238.096688417

951.2845554245

1244.185286498

945.7129624047

1241.142617087

945.7129624047

1241.142617087

946.8280052885

1241.142617087

947.9426860323

1252.0809736342

943.7049726215

1255.9196088808

940.3557155755

1265.7951141459

939.2385722803

1262.977090184

940.3557155755

1271.8241764282

939.2385722803

1267.8062501329

938.1210668453

1278.6413533533

941.4724967307

1273.6303528909

937.0031992704

1270.8202380642

933.8712434764

1271.8241764282

932.7519997699

1263.7825295993

930.5124259372

1271.8241764282

932.7519997699

1266.8008632094

935.8849695556

1265.7951141459

935.8849695556

1272.6270663787

932.7519997699

1279.6424670261

934.990125043

1275.6358394955

932.7519997699

1269.8159375604

933.8712434764

1263.7825295993

922.8870396803

1268.8112749166

925.1315386156

1263.7825295993

928.2714035449

1266.8008632094

930.5124259372

1274.6332772631

934.990125043

1267.8062501329

933.8712434764

1267.8062501329

932.7519997699

1271.8241764282

930.5124259372

1271.8241764282

932.7519997699

1272.6270663787

928.2714035449

1270.8202380642

926.2532448734

1261.969964989

922.8870396803

1261.969964989

918.393696131

1263.7825295993

916.3698011635

1255.1119097126

915.2449080746

1259.9546281792

919.5175752281

1264.7890029426

921.7642470028

1272.6270663787

912.9940354772

1272.6270663787

919.5175752281

1281.4435590446

916.3698011635

1285.4417849296

914.1196528459

1282.4436587257

911.8680559686

1271.8241764282

907.5860311203

1261.969964989

906.4583133402

1254.1019598263

911.8680559686

1249.0467782967

911.8680559686

1238.096688417

911.8680559686

1235.2508810823

912.9940354772

1228.327814452

907.5860311203

1222.2053200768

908.4879446036

1227.3083040725

904.2017913604

1223.2266411557

901.943820821

1228.327814452

907.5860311203

1227.3083040725

899.6844017221

1230.1620205425

903.0729871607

1225.2681968939

899.6844017221

1225.2681968939

908.4879446036

1213.2020791099

906.4583133402

1208.2794001545

903.0729871607

1208.2794001545

903.0729871607

1211.3570522793

903.0729871607

1242.1572023639

904.2017913604

1256.9289069153

900.8142923415

1249.0467782967

898.5541489627

1250.0585388824

898.5541489627

1239.1123601135

894.2558857615

1242.1572023639

897.6496860146

1245.1987853552

890.8588262493

1239.1123601135

890.8588262493

1237.283890319

889.7257487988

1234.2338332541

888.8190260977

1236.2675667706

890.8588262493

1240.1276696702

889.7257487988

1230.1620205425

889.7257487988

1230.1620205425

889.7257487988

1238.096688417

888.8190260977

1233.2164232861

886.5512053532

1232.1986511781

885.4167517711

1224.2476000948

882.0112181854

1231.1805169302

878.8297795962

1230.1620205425

880.8753160437

1232.1986511781

878.8297795962

1218.320997261

883.1467581872

1217.2979379106

876.5555851895

1221.183636858

876.5555851895

1223.2266411557

875.4179447763

1213.2020791099

872.0028506974

1210.3315303776

872.0028506974

1219.3436944715

870.8637617247

1216.2745164202

869.9522298057

1212.3822120412

867.6723860167

1223.2266411557

868.8124889812

1213.2020791099

866.5319209123

1219.3436944715

863.1083527599

1210.3315303776

866.5319209123

1219.3436944715

861.966439096

1214.2265870199

860.8241632921

1214.2265870199

866.5319209123

1213.2020791099

864.2499042839

1218.320997261

864.2499042839

1223.2266411557

864.2499042839

1229.3469626916

860.8241632921

1227.3083040725

857.6238644572

1227.3083040725

861.966439096

1221.183636858

856.4802125217

1220.3660295422

859.9100819083

1217.2979379106

853.0470838761

1216.2745164202

848.6937754108

1223.2266411557

849.8398898975

1212.3822120412

849.8398898975

1207.2527918331

850.9856422443

1206.2258213718

846.4004600177

1217.2979379106

842.9577708788

1211.3570522793

846.4004600177

1212.3822120412

837.4426889977

1214.2265870199

838.5923524554

1205.1984887706

836.2926634001

1207.2527918331

835.1422756626

1193.2549654133

829.6153735354

1197.1728658401

828.4628853865

1196.1423464079

826.1568226691

1203.3483774959

821.7713127244

1192.2230698494

820.6163620242

1188.091866195

815.9929378247

1188.091866195

814.836176425

1193.2549654133

809.2786807195

1189.1252103184

805.8010088667

1188.091866195

802.5522412282

1190.158192302

800.2299546435

1181.0555222056

800.2299546435

1172.9638015015

796.7438087172

1166.9325981804

785.3330186105

1175.0407020934

783.2333784627

1160.8892124734

780.8990688334

1167.9733299577

773.8874485883

1158.8024616763

769.4400127215

1158.8024616763

764.7528519004

1154.6246144034

764.7528519004

1153.5792472355

764.7528519004

1153.5792472355

761.4683917539

1157.7585430679

759.1206105206

1161.7235071955

755.5962226214

1158.8024616763

752.3038533395

1164.8500482061

751.1273191017

1154.6246144034

741.9379234049

1146.4611465433

739.5781191271

1146.4611465433

738.3976737783

1147.5089762626

731.5439493568

1142.4760908944

730.3610414568

1144.3644006852

726.8101449173

1143.5252967452

723.4930342378

1134.2798566166

714.2375407675

1135.1215100214

709.4825873581

1138.2756460921

694.4666115283

1130.0681130496

683.9451642372

1132.1747091129

633.3428349626

1139.3263005025

602.4304894179

1135.1215100214

589.2158663473

1135.1215100214

567.5904190446

1137.2246295417

557.970540412

1137.2246295417

547.0908933081

1130.0681130496

541.1447200961

1131.1215921512

534.9419172396

1121.8385474159

533.7002702486

1117.6097108458

530.2217320896

1111.4676058034

526.4915763021

1114.6460776749

524.0029950776

1114.6460776749

521.7620334572

1107.4368625853

521.7620334572

1102.1252860101

524.0029950776

1105.3133183749

522.7581612556

1104.2510030598

522.7581612556

1109.3468138562

522.7581612556

1117.6097108458

524.0029950776

1107.4368625853

525.2474667598

1108.2858746727

525.2474667598

1103.1883256049

525.2474667598

1106.37527155

526.4915763021

1111.4676058034

524.0029950776

1111.4676058034

525.2474667598

1108.2858746727

524.0029950776

1110.4073908997

524.0029950776

1109.3468138562

521.7620334572

1104.2510030598

519.2706999695

1101.0618842753

516.7779179223

1097.0176549676

520.5165477833

1099.1468485603

521.7620334572

1088.699958969

518.0244900159

1092.7549221033

518.0244900159

1090.6213828318

518.0244900159

1088.699958969

515.5309836889

1093.8211485292

515.5309836889

1092.7549221033

515.5309836889

1093.8211485292

516.7779179223

1092.7549221033

516.7779179223

1092.7549221033

515.5309836889

1083.3565140831

516.7779179223

1083.3565140831

514.2836873155

1087.6319942716

514.2836873155

1078.2182894623

511.7880081491

1076.0748999856

511.7880081491

1076.0748999856

511.7880081491

1070.9248551186

511.7880081491

1070.9248551186

511.7880081491

1063.6146754262

510.7893308859

1059.3067475031

511.7880081491

1057.1506107022

514.2836873155

1054.9930253417

514.2836873155

1054.1295856008

516.7779179223

1049.8089103534

514.2836873155

1049.8089103534

515.5309836889

1044.6164516619

515.5309836889

1040.2830290901

515.5309836889

1038.1141449649

515.5309836889

1036.1609107338

516.7779179223

1030.7291037135

520.5165477833

1030.7291037135

519.2706999695

1025.5060514436

521.7620334572

1022.2374067382

524.0029950776

1020.0564995685

519.2706999695

1020.0564995685

520.5165477833

1018.0924445973

520.5165477833

1020.0564995685

519.2706999695

1011.5371206197

521.7620334572

1005.1879150142

522.7581612556

999.9241871914

519.2706999695

998.8265270226

521.7620334572

993.3327940803

518.0244900159

989.1515020651

521.7620334572

980.552466825

521.7620334572

976.1341586619

519.2706999695

981.656138516

527.7353237045

975.0286762714

524.0029950776

970.8245404716

525.2474667598

964.1757844012

531.4643930723

955.5129111404

530.2217320896

953.5106576531

537.4241248019

949.0570046363

538.6646853732

942.588915746

534.9419172396

938.1210668453

533.7002702486

931.6323939235

533.7002702486

925.1315386156

536.1832020907

918.393696131

536.1832020907

915.2449080746

533.7002702486

917.2694548939

537.4241248019

914.1196528459

536.1832020907

908.4879446036

537.4241248019

903.0729871607

537.4241248019

899.6844017221

537.4241248019

900.8142923415

536.1832020907

899.6844017221

536.1832020907

898.5541489627

536.1832020907

896.5187814034

532.4582611177

894.2558857615

531.4643930723

890.8588262493

530.2217320896

889.7257487988

528.978708967

888.8190260977

528.978708967

891.9915415599

530.2217320896

888.8190260977

531.4643930723

886.5512053532

526.4915763021

888.8190260977

528.978708967

888.8190260977

528.978708967

886.5512053532

526.4915763021

886.5512053532

528.978708967

885.4167517711

527.7353237045

880.8753160437

530.2217320896

877.6928634628

527.7353237045

875.4179447763

525.2474667598

874.2799422233

524.0029950776

873.1415775303

526.4915763021

870.8637617247

526.4915763021

869.9522298057

524.0029950776

864.2499042839

526.4915763021

866.5319209123

524.0029950776

865.3910936681

524.0029950776

865.3910936681

526.4915763021

864.2499042839

524.0029950776

864.2499042839

525.2474667598

864.2499042839

524.0029950776

865.3910936681

522.7581612556

866.5319209123

520.5165477833

867.6723860167

520.5165477833

868.8124889812

518.0244900159

867.6723860167

518.0244900159

864.2499042839

518.0244900159

864.2499042839

516.7779179223

861.966439096

516.7779179223

860.8241632921

516.7779179223

858.7671542527

518.0244900159

867.6723860167

518.0244900159

869.9522298057

518.0244900159

870.8637617247

518.0244900159

870.8637617247

515.5309836889

870.8637617247

515.5309836889

869.9522298057

515.5309836889

873.1415775303

516.7779179223

872.0028506974

514.2836873155

870.8637617247

513.0360288023

870.8637617247

511.7880081491

870.8637617247

513.0360288023



		38		38

		68		68

		98		98

		128		128

		158		158

		188		188

		218		218

		248		248

		278		278

		308		308

		338		338

		368		368

		398		398

		428		428

		458		458

		488		488

		518		518

		548		548

		578		578

		608		608

		638		638

		668		668

		698		698

		728		728

		758		758

		788		788

		818		818

		848		848

		878		878

		908		908

		938		938

		968		968

		998		998

		1028		1028

		1058		1058

		1088		1088

		1118		1118

		1148		1148

		1178		1178

		1208		1208

		1238		1238

		1268		1268

		1298		1298

		1328		1328

		1358		1358

		1388		1388

		1418		1418

		1448		1448

		1478		1478

		1508		1508

		1538		1538

		1568		1568

		1598		1598

		1628		1628

		1658		1658

		1688		1688

		1718		1718

		1748		1748

		1778		1778

		1808		1808

		1838		1838

		1868		1868

		1898		1898

		1928		1928

		1958		1958

		1988		1988

		2018		2018

		2048		2048

		2078		2078

		2108		2108

		2138		2138

		2168		2168

		2198		2198

		2228		2228

		2258		2258

		2288		2288

		2318		2318

		2348		2348

		2378		2378

		2408		2408



c

Qsum.av,co-firing

Qsum av,prop.=0

time,s

Average heat production rate, J/s

363.9872147429

541.8055158077

364.1368142409

517.3455732928

344.6353965588

469.555216848

510.4387408053

330.0933941591

598.2456817519

376.8405134734

506.3986086271

399.5003589911

603.399162133

529.6275593269

603.399162133

714.4693399974

858.2485693797

813.8291445301

805.7280495664

819.991028215

825.7029464633

663.9241989417

794.3211517614

647.4298030167

800.3870272578

696.974770362

843.3006920909

759.8286450703

805.6891641435

742.3827964696

792.5621213446

688.7379531136

815.7297663326

718.1484990465

786.833629454

696.7248402651

945.9822936134

631.5492231111

1008.0497111565

696.4450626905

979.7062424647

689.3283124558

1008.4778349605

751.0478450426

959.4142394545

671.793271131

959.8727203639

659.9660373552

975.8471825628

779.2551565194

901.0159575588

712.1719203156

871.8012521618

699.6809387379

1015.8085643512

750.6378880405

920.346552869

742.1438894974

954.4971748112

800.7646846715

999.0018666293

690.4066446586

1053.605212435

691.0669465266

1053.605212435

738.8960390015

1125.3740378931

820.2180348892

1114.8287100207

722.3849643639

1193.8384453526

785.0720261491

1242.1420832548

705.8591471554

1215.9925351291

772.1365606116

1214.6196629185

730.2138795808

1138.6443132963

769.547187275

1099.3117936605

721.2703356513

1053.1354284703

739.2857142471

1042.4941718058

676.0691261634

1090.9936922757

723.7878085308

995.6037559515

711.0778017952

1025.7753440544

644.2018290457

1095.7688301395

721.4719775106

1041.2914509316

695.0160725729

1143.3168061884

630.036568894

1148.9176988335

716.9928833107

1077.1485478194

724.054475509

1044.5065727629

611.575257124

1041.8581179299

670.8085164842

1009.2387840024

567.4495294621

923.0413496571

574.6995197455

887.9647572048

584.3817479654

782.4994530105

340.1818289335

825.2634610055

440.1853207512

726.1506817077

361.7580715957

692.3610852106

314.9723872365

741.8770000867

278.8016102288

768.7394433393

317.0707276765

747.4942666529

441.188606688

743.2540092795

355.8641574326

764.823130293

378.2825676722

672.232646381

329.4695476008

686.9234954065

388.5725254396

755.2068871378

375.5006172659

775.3267572023

375.193228515

736.1913102721

383.3355391805

662.7200238765

395.1962621893

626.9647823629

390.512421407

609.7611291744

301.8444190826

671.9822985078

387.1621982716

728.0580530141

396.1853311184

655.281850099

484.5130958984

659.502103582

436.2105097047

711.8017859037

394.6796835711

702.9214828273

409.8086748535

674.5134029171

418.5416869828



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



a

CO2, prop=0

CO2,B=0,co-fire

time,s

Volume fraction CO2,%

4.3

4.3

4.3

4.3

4

4.3

4

4.4

4

4.4

3.9

4.4

3.9

4.5

3.9

4.5

3.9

4.6

3.9

4.6

3.8

4.7

3.8

4.7

3.8

4.7

3.8

4.8

3.8

4.8

3.8

5

3.8

5

3.8

5

3.8

5.2

3.8

5.2

3.8

5.5

3.8

5.5

3.8

5.5

3.8

5.8

3.8

5.8

3.8

6.2

3.8

6.2

3.9

6.2

3.9

6.6

3.9

6.6

3.9

7.2

3.9

7.2

3.9

7.8

3.9

7.8

3.9

7.8

3.9

8.4

3.9

8.4

3.9

8.9

3.9

8.9

3.8

8.9

3.8

9.2

3.8

9.2

3.8

9.3

3.8

9.3

3.8

9.3

3.8

9.6

3.8

9.6

3.8

10.2

3.8

10.2

3.9

10.2

3.9

10.9

3.9

10.9

3.9

11.3

3.9

11.3

4

11.3

4

11.3

4.1

11.3

4.1

11.4

4.1

11.4

4.2

11.6

4.2

11.6

4.4

11.6

4.4

11.8

4.4

11.8

4.4

11.9

4.4

11.9

4.5

11.9

4.5

12

4.7

12

4.7

12

4.7

12

5

12

5

12

5.6

12

5.6

12

5.6

12

6.2

12

6.2

12

6.6

12

6.6

11.9

6.6

11.9

6.9

12

6.9

12

7.1

12

7.1

12

7.1

12

7.4

12.1

7.4

12.1

7.8

12.1

7.8

12.1

8.2

12.1

8.2

12

8.2

12

8.7

12

8.7

11.9

9.1

11.9

9.1

11.7

9.1

11.7

9.5

11.7

9.5

11.7

10.1

11.7

10.1

11.7

10.1

11.7

10.9

11.7

10.9

11.8

11.7

11.8

11.7

11.9

11.7

11.9

12.4

11.9

12.4

11.9

12.7

11.9

12.7

11.7

12.7

11.7

12.6

11.6

12.6

11.6

12.3

11.6

12.3

11.5

12.2

11.5

12.2

11.4

12.2

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12

11.4

12

11.6

11.9

11.6

11.9

11.6

11.9

11.6

12

11.7

12

11.7

12.1

11.7

12.1

11.7

12.1

11.7

12.2

11.8

12.2

11.8

12.4

11.8

12.4

11.8

12.7

11.8

12.7

11.8

12.7

11.8

12.9

11.8

12.9

11.8

13.1

11.8

13.1

11.7

13.1

11.7

13.2

11.7

13.2

11.6

13.2

11.6

13.2

11.6

13.2

11.6

13.1

11.6

13.1

11.6

13

11.6

13

11.7

13

11.7

12.9

11.6

12.9

11.6

12.5

11.6

12.5

11.5

12.5

11.5

11.1

11.5

11.1

11.5

9.7

11.5

9.7

11.5

9

11.5

9

11.4

9

11.4

8.7

11.4

8.7

11.4

8.6

11.4

8.6

11.4

8.6

11.4

8.3

11.4

8.3

11.4

8.1

11.4

8.1

11.3

8.1

11.3

8.4

11.3

8.4

11.3

9

11.3

9

11.4

9

11.4

9.4

11.4

9.4

11.4

9.4

11.4

9.4

11.5

9.4

11.5

9.4

11.6

9.4

11.6

9.5

11.6

9.5

11.7

9.7

11.7

9.7

11.6

9.7

11.6

9.8

11.6

9.8

11.5

9.9

11.5

9.9

11.5

9.9

11.5

10.6

11.5

10.6

11.5

11.4

11.5

11.4

11.7

11.4

11.7

11.5

11.9

11.5

11.9

11.5

11.9

11.5

12

11.5

12

11.5

12

11.5

12

11.6

12

11.6

12.1

11.8

12.1

11.8

12.1

11.8

12.1

11.8

12.1

11.8

11.9

11.5

11.9

11.5

11.8

11.5

11.8

11.2

11.6

11.2

11.6

10.9

11.6

10.9

11.5

10.9

11.5

10.6

11.4

10.6

11.4

10.5

11.4

10.5

11.4

10.5

11.4

10.6

11.4

10.6

11.4

10.8

11.4

10.8

11.3

10.8

11.3

10.8

11.2

10.8

11.2

10.8

11.2

10.8

11.2

11

11.2

11

11.2

11

11.2

10.9

11.2

10.9

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.7

11.1

10.7

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.7

11.2

10.7

11.3

10.7

11.3

10.9

11.3

10.9

11.4

11

11.4

11

11.6

11

11.6

11.1

11.8

11.1

11.8

11

11.8

11

12

11

12

10.8

12.2

10.8

12.2

10.7

12.2

10.7

12.1

10.6

12.1

10.6

12.1

10.6

12.1

10.4

12.1

10.4

12.1

10.3

12.1

10.3

12.1

10.3

12.1

10.1

12.1

10.1

12.3

9.9

12.3

9.9

12.5

9.9

12.5

9.9

12.5

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.5

9.9

12.5

9.7

12.4

9.7

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.6

12.4

9.6

12.4

9.7

12.4

9.7

12.3

9.7

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.4

9.8

12.4

9.8

12.4

9.8

12.5

9.8

12.5

9.7

12.6

9.7

12.6

9.7

12.6

9.7

12.6

9.7

12.6

9.8

12.6

9.8

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.8

9.9

12.8

9.9

12.8

9.9

13

10.2

13

10.2

12.9

10.2

12.9

10.3

12.9

10.3

12.9

10

12.9

10

12.9

10

12.9

9.8

12.9

9.8

12.9

9.6

12.9

9.6

12.9

9.6

12.9

9.7

12.9

9.7

12.9

9.8

12.9

9.8

13

9.8

13

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

10.1

13.1

10.1

13.2

10.1

13.2

10.1

13.2

10.1

13.2

10.3

13.2

10.3

13.1

10.3

13.1

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.3

13

10.3

12.9

10.3

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

13

10.3

13

10.3

13

10.3

13

10.3

13.1

10.3

13.1

10.4

13.1

10.4

13.3

10.4

13.3

10.4

13.3

10.4

13.3

10.3

13.3

10.3

13.4

10.3

13.4

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.4

10.2

13.4

10.2

13.4

10.2

13.3

10.2

13.3

10.2

13.2

10.2

13.2

10.1

13.2

10.1

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.2

9.9

13.2

9.8

13.2

9.8

13.2

9.8

13.2

9.8

13.1

9.8

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.2

9.8

13.2

9.8

13.3

9.8

13.3

9.9

13.3

9.9

13.4

10.1

13.4

10.1

13.4

10.1

13.4

10.2

13.4

10.2

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.5

10.2

13.5

10.2

13.7

10.2

13.7

10.2

13.7

10.2

13.8

10.2

13.8

10.2

13.9

10.2

13.9

10.2

13.9

10.2

13.9

10.1

13.9

10.1

13.9

10.1

13.9

10.1

13.9

10.1

14

10

14

10

14

10

14

9.9

14

9.9

14

9.9

14

9.9

13.9

9.9

13.9

9.9

13.9

9.9

13.9

10

13.9

10

13.9

10.2

13.9

10.2

13.9

10.2

13.9

10.3

13.9

10.3

13.8

10.4

13.8

10.4

13.7

10.4

13.7

10.6

13.7

10.6

13.7

10.9

13.7

10.9

13.8

10.9

13.8

11.2

13.8

11.2

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.7

11.5

13.7

11.6

13.7

11.6

13.6

11.9

13.6

11.9

13.7

11.9

13.7

12

13.7

12

13.7

11.9

13.7

11.9

13.7

11.9

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.7

13.8

11.7

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.6

11.5

13.6

11.5

13.7

11.5

13.7

11.4

13.7

11.4

13.7

11.3

13.7

11.3

13.8

11.3

13.8

11.3

13.8

11.3

13.8

11.4

13.8

11.4

13.8

11.6

13.8

11.6

13.8

11.6

13.8

11.6

13.8

11.6

13.7

11.6

13.7

11.6

13.7

11.6

13.7

11.5

13.7

11.5

13.7

11.4

13.7

11.4

13.7

11.4

13.7

11.4

13.8

11.4

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.9

11.5

13.9

11.6

13.9

11.6

13.9

11.6

13.9

11.6

14

11.6

14

11.8

14

11.8

14

12.1

14

12.1

14.1

12.1

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.2

14.3

12.2

14.3

12.1

14.3

12.1

14.3

12.1

14.3

11.9

14.4

11.9

14.4

11.8

14.4

11.8

14.4

11.8

14.4

11.7

14.4

11.7

14.4

11.7

14.4

11.7

14.4

11.6

14.4

11.6

14.5

11.6

14.5

11.5

14.5

11.5

14.5

11.4

14.5

11.4

14.5

11.4

14.5

11.3

14.5

11.3

14.4

11.3

14.4

11.3

14.4

11.3

14.4

11.3

14.3

11.3

14.3

11.2

14.3

11.2

14.3

11.2

14.3

11.2

14.2

11.2

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.1

14.2

11.1

14.2

11.1

14.2

11.1

14.2

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.2

14.3

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.3

14.4

11.3

14.4

11.3

14.4

11.4

14.4

11.4

14.5

11.4

14.5

11.4

14.6

11.4

14.6

11.6

14.6

11.6

14.6

11.8

14.6

11.8

14.6

11.8

14.6

12

14.7

12

14.7

12.3

14.7

12.3

14.7

12.3

14.7

12.7

14.7

12.7

14.7

13

14.7

13

14.7

13.1

14.7

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

12.8

14.6

12.8

14.7

12.6

14.7

12.6

14.7

12.6

14.7

12.4

14.7

12.4

14.7

12.3

14.7

12.3

14.7

12.3

14.7

12.2

14.7

12.2

14.7

12.3

14.7

12.3

14.7

12.5

14.7

12.5

14.7

12.5

14.7

12.6

14.7

12.6

14.6

12.8

14.6

12.8

14.6

12.8

14.6

13

14.6

13

14.6

13.2

14.6

13.2

14.6

13.2

14.6

13.3

14.5

13.3

14.5

13.3

14.5

13.3

14.4

13.3

14.4

13.3

14.4

13.3

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.1

14.3

13.1

14.4

13.1

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.6

14.4

12.6

14.4

12.6

14.4

12.6

14.5

12.6

14.5

12.5

14.5

12.5

14.5

12.5

14.5

12.4

14.5

12.4

14.5

12.1

14.5

12.1

14.5

11.8

14.5

11.8

14.4

11.8

14.4

11.5

14.4

11.5

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.6

14.4

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.9

14.3

11.9

14.3

11.9

14.3

12

14.3

12

14.3

11.8

14.3

11.8

14.3

11.8

14.3

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.8

14.3

11.8

14.3

12.1

14.3

12.1

14.3

12.1

14.3

12.4

14.3

12.4

14.3

12.6

14.3

12.6

14.4

12.7

14.4

12.7

14.4

12.7

14.4

12.9

14.4

12.9

14.2

13.1

14.2

13.1

14

13.1

14

13.1

14

13.1

13.9

13.2

13.9

13.2

13.9

13.2

13.9

13.3

13.8

13.3

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.7

13.4

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.4

13.7

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.7

13.3

13.7

13.3

13.5

13.3

13.5

13.3

13.4

13.3

13.4

13.4

13.4

13.4

13.3

13.4

13.3

13.5

13.4

13.5

13.4

13.4

13.4

13.4

13.3

13.3

13.3

13.3

13.3

13.3

13.3

13.1

13.3

13.1

13.3

12.9

13.3

12.9

13.3

12.9

13.3

12.6

13.3

12.6

13.2

12.4

13.2

12.4

13.1

12.4

13.1

12.4

13

12.4

13

12.3

13

12.3

13

12.3

13

12.1

12.9

12.1

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

13

12

13

12

13.1

12

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.3

13.2

12.3

13.2

12.4

13.2

12.4

13.4

12.4

13.4

12.6

13.6

12.6

13.6

12.6

13.6

12.6

13.6

12.5

13.6

12.5

13.5

12.5

13.5

12.5

13.5

12.5

13.4

12.5

13.4

12.5

13.4

12.5

13.4

12.4

13.4

12.4

13.4

12.4

13.4

12.4

13.3

12.4

13.3

12.5

13.2

12.5

13.2

12.5

13.2

12.5

13.1

12.5

13.1

12.4

13

12.4

13

12.3

13

12.3

12.9

12

12.9

12

12.9

12

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

13

11.9

13

11.9

13

11.9

13.1

12

13.1

12

13.1

12

13.1

12

13.1

12

13.1

11.9

13.1

11.9

13.1

11.9

13.1

12

13.1

12

13.1

12

13.1

12

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.8

13.1

11.8

13

11.8

13

11.9

13

11.9

13.1

12

13.1

12

13

12

13

12.1

13

12.1

13

12.1

13

12.1

12.9

12.1

12.9

12.3

13

12.3

13

12.6

13

12.6

13

12.6

13

12.8

13

12.8

13

12.9

13

12.9

13

12.8

13

12.8

13.1

12.8

13.1

12.6

13.1

12.6

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.4

13.1

12.4

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.4

13.1

12.4

13.1

12.4

13.1

12.4

13.2

12.4

13.2

12.5

13.2

12.5

13.3

12.6

13.3

12.6

13.4

12.6

13.4

12.5

13.4

12.5

13.5

12.4

13.5

12.4

13.5

12.4

13.5

12.4

13.5

12.4

13.6

12.3

13.6

12.3

13.6

12.3

13.6

12.4

13.7

12.4

13.7

12.5

13.7

12.5

13.7

12.5

13.7

12.9

13.9

12.9

13.9

13.4

13.9

13.4

13.9

13.4

13.9

13.7

14

13.7

14

13.7

14

13.7

14.1

13.6

14.1

13.6

14.2

13.6

14.2

13.5

14.2

13.5

14.3

13.6

14.3

13.6

14.3

13.6

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.6

14.4

13.6

14.4

13.6

14.4

13.6

14.4

13.6

14.4

13.7

14.2

13.7

14.2

13.9

14.2

13.9

14.2

14.1

14.2

14.1

14.2

14.1

14.2

14.2

14.2

14.2

14.3

14.2

14.3

14.2

14.4

14.2

14.4

14.1

14.4

14.1

14.5

14.2

14.5

14.2

14.7

14.2

14.7

14.3

14.9

14.3

14.9

14.2

14.9

14.2

15

14.2

15

14

14.9

14

14.9

13.8

14.9

13.8

14.8

13.6

14.8

13.6

14.7

13.6

14.7

13.6

14.7

13.6

14.8

13.4

14.8

13.4

14.9

13.4

14.9

13.3

14.9

13.3

14.9

13.1

14.9

13.1

14.8

13.1

14.8

13

14.6

13

14.6

13.2

14.6

13.2

14.6

13.2

14.6

13.3

14.7

13.3

14.7

13.5

14.7

13.5

14.8

13.5

14.8

13.7

15.1

13.7

15.1

13.7

15.1

13.7

15.2

13.6

15.2

13.6

15.1

13.6

15.1

13.5

15.1

13.5

15.2

13.5

15.2

13.5

15.3

13.5

15.3

13.5

15.3

13.5

15.1

14

15.1

14

14.8

14

14.8

14.5

14.6

14.5

14.6

14.9

14.6

14.9

14.5

14.9

14.5

15

14.4

15

14.4

14.6

14.4

14.6

14.4

14.1

14.4

14.1

14.6

14.1

14.6

14

14.6

14

14.7

14.1

14.7

14.1

14.8

14.1

14.8

14.3

14.8

14.3

14.9

14.4

14.9

14.4

14.8

14.4

14.8

14.5

15

14.5

15

14.7

15

14.7

15.2

14.7

15.2

14.2

15.2

14.2

15.2

13.3

15.2

13.3

15.2

12.9

15.2

12.9

15.3

12.9

15.3

12.9

15.3

12.9

15.3

13

15.3

13

15.1

13

15.1

13

15.1

13

15

13.1

15

13.1

14.9

13.1

14.9

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.7

12.9

14.7

13.1

14.7

13.1

14.7

13.1

14.7

13.3

14.8

13.3

14.8

13.4

14.8

13.4

14.8

13.4

14.8

13.4

14.9

13.4

14.9

13.3

14.9

13.3

14.9

13.3

14.9

13.3

15.1

13.3

15.1

13.3

15.1

13.3

15.3

13.3

15.3

13.3

15.4

13.3

15.4

13.4

15.2

13.4

15.2

13.4

15.2

13.4

15.1

13.4

15.1

13.3

14.9

13.3

14.9

13.2

14.9

13.2

14.8

13.2

14.8

13.3

14.8

13.3

14.8

13.1

14.8

13.1

14.7

13.1

14.7

12.7

14.6

12.7

14.6

12.4

14.6

12.4

14.5

12.2

14.5

12.2

14.4

12.2

14.4

12.1

14.4

12.1

14.4

12.1

14.4

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

11.9

14.5

11.9

14.5

11.8

14.5

11.8

14.5

11.8

14.5

11.9

14.5

11.9

14.5

11.9

14.5

11.9

14.5

12

14.5

12

14.5

12

14.5

11.8

14.5

11.8

14.5

11.7

14.5

11.7

14.4

11.7

14.4

11.8

14.4

11.8

14.3

12.1

14.3

12.1

14.3

12.1

14.3

12.4

14.3

12.4

14.3

12.6

14.3

12.6

14.2

12.6

14.2

12.9

14.2

12.9

14.2

13.1

14.2

13.1

14.2

13.6

14.2

13.6

14.2

13.6

14.2

14.6

14.2

14.6

14.1

15.4

14.1

15.4

14

15.4

14

15.4

14

15.4

14

14.9

14

14.9

14

14.9

14

14.2

13.9

14.2

13.9

13.5

13.9

13.5

13.9

13.5

13.9

12.8

13.9

12.8

13.9

12.2

13.9

12.2

13.9

12.2

13.9

11.9

13.8

11.9

13.8

12.1

13.8

12.1

13.8

12.1

13.8

12.1

13.7

12.1

13.7

11.6

13.7

11.6

13.6

11.1

13.6

11.1

13.6

11.1

13.6

10.8

13.6

10.8

13.7

10.5

13.7

10.5

13.7

10.5

13.7

10.3

13.7

10.3

13.7

10

13.7

10

13.7

10

13.7

9.8

13.7

9.8

13.7

9.7

13.7

9.7

13.8

9.6

13.8

9.6

13.8

9.6

13.8

9.6

13.8

9.6

13.9

9.6

13.9

9.6

14

9.6

14

9.4

14

9.4

14

9.3

14

9.3

14

9.3

14

9

14.1

9

14.1

8.6

14.1

8.6

14.1

8.6

14.1

8.4

14.1

8.4

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.2

14.1

8.2

14.1

8

14.1

8

14.1

8

14.1

8

14.1

8

14.1

8.1

14.1

8.1

14

8.1

14

8.2

13.8

8.2

13.8

8.3

13.8

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.6

8.3

13.6

8.3

13.5

8.3

13.5

8.4

13.5

8.4

13.4

8.7

13.4

8.7

13.6

8.7

13.6

9

13.6

9

13.7

9.2

13.7

9.2

13.7

9.2

13.7

9.3

13.7

9.3

13.7

9.3

13.7

9.3

13.6

9.3

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.3

13.5

9.3

13.5

9.4

13.5

9.4

13.4

9.3

13.4

9.3

13.2

9.3

13.2

8.6

13.2

8.6

13

8.1

13

8.1

12.9

8.1

12.9

8

12.9

8

13.1

7.9

13.1

7.9

13.4

7.9

13.4

7.7

13.4

7.7

13.4

7.6

13.4

7.6

13.1

7.6

13.1

7.6

12.7

7.6

12.7

7.6

12.7

7.6

12.4

7.6

12.4

7.6

12.3

7.6

12.3

7.5

12.3

7.5

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12

7.6

12

7.4

12

7.4

11.8

7.2

11.8

7.2

11.7

7.2

11.7

7.3

11.6

7.3

11.6

7.4

11.6

7.4

11.5

7.4

11.5

7.4

11.4

7.4

11.4

7.4

11.4

7.4

11.4

7.5

11.4

7.5

11.3

7.5

11.3

7.6

11.3

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.5

11.1

7.5

11.3

7.5

11.3

7.4

11.1

7.4

11.1

7.4

11.1

7.4

10.8

7.4

10.8

7.3

10.5

7.3

10.5

7.1

10.5

7.1

10.4

6.9

10.4

6.9

10.4

6.9

10.4

6.8

10.4

6.8

10.4

6.6

10.4

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.4

6.6

10.4

6.6

10.4

6.6

10.3

6.6

10.3

6.5

10.1

6.5

10.1

6.5

10.1

6.5

10.1

6.5

10.1

6.4

9.9

6.4

9.9

6.3

9.9

6.3

9.9

6.3

9.9

6.3

9.8

6.3

9.8

6.5

9.8

6.5

9.6

6.6

9.6

6.6

9.6

6.6

9.6

6.5

9.6

6.5

9.8

6.4

9.8

6.4

10

6.4

10

6.4

10.2

6.4

10.2

6.5

10.2

6.5

10.6

6.5

10.6

6.5

10.6

6.5

10.6

6.2

10.6

6.2

10.3

5.9

10.3

5.9

10.1

5.9

10.1

5.6

10.1

5.6

9.9

5.4

9.9

5.4

9.8

5.4

9.8

5.3

9.8

5.3

9.7

5.4

9.7

5.4

9.4

5.4

9.4

5.7

9

5.7

9

6.1

9

6.1

8.8

6.1

8.8

6.1

8.8

6.1

8.8

5.8

8.8

5.8

8.9

5.6

8.9

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.9

5.6

8.9

5.6

8.9

5.6

8.9

5.5

8.9

5.5

8.8

5.5

8.8

5.4

8.8

5.4

8.8

5.3

8.8

5.3

9

5.3

9

5.4

9.2

5.4

9.2

5.5

9.2

5.5

9.4

5.5

9.4

5.6

9.5

5.6

9.5

5.7

9.5

5.7

9.4

5.9

9.4

5.9

9.4

5.9

9.4

6.1

9.4

6.1

9.7

6.2

9.7

6.2

10

6.2

10

5.9

10

5.9

10

5.7

10

5.7

9.8

5.7

9.8

5.6

9.6

5.6

9.6

5.6

9.6

5.6

9.4

5.6

9.4

5.8

9.2

5.8

9.2

6.1

9.2

6.1

8.9

6.6

8.9

6.6

8.9

6.6

8.9

7

8.9

7

8.8

7.1

8.8

7.1

8.6

7.1

8.6

6.9

8.6

6.9

8.6

6.6

8.6

6.6

9

6.6

9

6.2

9.4

6.2

9.4

6.1

9.4

6.1

9.4

6.1

9.4

6

9.3

6

9.3

5.9

9.3

5.9

9.1

5.9

9.1

5.8

8.9

5.8

8.9

5.8

8.9

5.8

8.8

5.7

8.8

5.7

8.7

5.7

8.7

5.6

8.7

5.6

8.7

5.5

8.7

5.5

8.9

5.5

8.9

5.3

8.9

5.3

9.3

5.1

9.3

5.1

9.6

5.1

9.6

4.9

9.5

4.9

9.5

4.9

9.5

4.9

9.5

4.9

9.5

5

9.4

5

9.4

5

9.4

5

9.3

4.9

9.3

4.9

9.2

4.9

9.2

4.8

9.2

4.8

8.8

4.8

8.8

4.8

8.3

4.8

8.3

4.8

8.3

4.8

7.7

4.8

7.7

4.8

7.3

4.8

7.3

4.8

6.9

4.8

6.9

4.8

6.9

4.8

6.7

4.8

6.7

4.8

6.7

4.8

6.7

4.9

6.7

4.9

6.6

4.9

6.6

5

6.6

5

6.6

5.1

6.6

5.1

6.6

5.1

6.6

5.2

6.6

5.2

6.6

5.3

6.6

5.3

6.6

5.3

6.6

5.3

6.7

5.3

6.7

5.5

6.8

5.5

6.8

5.8

6.8

5.8

6.8

5.8

6.8

6

6.8

6

6.8

6.1

6.8

6.1

6.8

6.1

6.8

6.1

6.9

6.1

6.9

6.1

6.9

6.1

6.9

6.1

6.9

6.1

7

6.1

7

6.1

7

6.1

7.1

6.1

7.1

6.1

7.2

6.1

7.2

6

7.2

6

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.3

6.1

7.3

6

7.3

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.5

6

7.5

5.9

7.5

5.9

7.5

5.8

7.5

5.8

7.5

5.8

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.5

7.5

5.5

7.5

5.3

7.5

5.3

7.6

5.3

7.6

5.2

7.8

5.2

7.8

5.1

7.8

5.1

7.9

5.1

7.9

5.1

7.9

5.1

7.9

5

7.9

5

7.9

4.9

7.9

4.9

7.9

4.9

7.9

4.9

7.9

4.9

7.8

4.9

7.8

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.7

4.9

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.7

7.7

4.7

7.8

4.6

7.8

4.6

7.8

4.6

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.9

4.5

7.9

4.5

7.9

4.5

8.1

4.5

8.1

4.6

8.1

4.6

8.1

4.6

8.1

4.6

8.2

4.6

8.2

4.7

8.2

4.7

8.2

4.8

8.2

4.8

8.3

4.8

8.3

4.8

8.4

4.8

8.4

4.8

8.4

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.6

4.8

8.6

4.7

8.7

4.7

8.7

4.7

8.7

4.7

8.8

4.7

8.8

4.7

8.8

4.7

8.8

4.6

8.8

4.6

8.9

4.6

8.9

4.6

9

4.6

9

4.5

9

4.5

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.2

9.1

4.2

9.1

4.2

9.1

4.1

9.2

4.1

9.2

4.1

9.2

4.1

9.2

4.1

9.2

4

9.3

4

9.3

4

9.3

4

9.4

4

9.4

4

9.4

4

9.4

3.9

9.4

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.8

9.3

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.7

9.2

3.7

9.2

3.7

9.2

3.7

9.3

3.7

9.3

3.7

9.4

3.7

9.4

3.6

9.4

3.6

9.5

3.6

9.5

3.6

9.6

3.6

9.6

3.6

9.6

3.6

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.7

3.5

9.7

3.4

9.7

3.4

9.6

3.4

9.6

3.4

9.6

3.4

9.6

3.3

9.6

3.3

9.6

3.3

9.6

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.6

3.3

9.6

3.3

9.6

3.3

9.6

3.2

9.6

3.2

9.6

3.2

9.6

3.3

9.6

3.3

9.6

3.2

9.6

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.4

3.2

9.4

3.2

9.4

3.2

9.3

3.1

9.3

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.3

3.1

9.3

3

9.3

3

9.4

3

9.4

3

9.4

3

9.4

3

9.4

3

9.3

3

9.3

3

9.3

3

9.3

3

9.3

3

9.3

2.9

9.3

2.9

9.3

2.9

9.3

2.8

9.3

2.8

9.3

2.9

9.3

2.9

9.3

2.9

9.3

2.9

9.2

2.9

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.1

2.7

9.1

2.7

9.1

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.6

9.2

2.6

9.1

2.6

9.1

2.6

9.2

2.6

9.2

2.6

9.2

2.6

9.2

2.6

9.2

2.7

9.1

2.7

9.1

2.7

9.1

2.7

9

2.7

9

2.6

8.9

2.6

8.9

2.5

8.9

2.5

8.8

2.5

8.8

2.5

8.8

2.5

8.8

2.4

8.8

2.4

8.7

2.3

8.7

2.3

8.6

2.3

8.6

2.3

8.6

2.3

8.6

2.3

8.6

2.2

8.6

2.2

8.6

2.2

8.5

2.2

8.5

2.2

8.5

2.2

8.4

2.2

8.4

2.2

8.3

2.2

8.3

2.2

8.3

2.2

8.2

2.2

8.2

2.2

8.2

2.2

8.2

2.3

8.2

2.3

8.1

2.3

8.1

2.4

8

2.4

8

2.3

8

2.3

7.9

2.3

7.9

2.3

7.9

2.3

7.9

2.3

7.5

2.3

7.5

2.2

7.5

2.2

7.4

2.2

7.4

2.2

7.2

2.2

7.2

2.2

7.2

2.2

6.7

2.1

6.7

2.1

7.1

2.1

7.1

1.9

7.1

1.9

7.9

1.6

7.9

1.6

8.2

1.6

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.1

1.5

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8

1.4

8

1.4

8

1.4

8

1.4

8

1.4

7.5

1.5

7.5

1.5

6.7

1.5

6.7

1.5

6.7

1.5

6.7

1.5

6.7

1.5

7.4

1.5

7.4

1.5

7.4

1.6

7.6

1.7

7.6

1.7

7.7

1.7

7.7

1.8

7.6

1.8

7.6

1.8

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.5

1.7

7.5

1.7

7.5

1.7

7.4

1.7

7.4

1.7

7.4

1.7

7.4

1.7

7.4

1.6

7.3

1.6

7.3

1.6

7.2

1.6

7.2

1.6

7

1.6

7

1.6

7

1.6

6.9

1.6

6.9

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.5

1.6

6.5

1.6

6.1

1.6

6.1

1.6

6.1

1.6

6.3

1.6

6.3

1.6

6.7

1.6

6.7

1.6

6.7

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.7

1.5

6.7

1.5

6.6

1.5

6.6

1.5

6.5

1.5

6.5

1.5

6.5

1.5

6.2

1.5

6.2

1.5

5.8

1.5

5.8

1.5

5.8

1.5

5.6

1.5

5.6

1.5

5.4

1.5

5.4

1.5

5.4

1.5

5.3

1.5

5.3

1.5

5.1

1.5

5.1

1.5

5.1

1.5

5.1

1.4

5.1

1.4

5.4

1.4

5.4

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.6

1.5

5.6

1.5

5.5

1.5

5.5

1.5

5.5

1.5

5.4

1.5

5.4

1.5

5.3

1.5

5.3

1.5

5.3

1.5

5.2

1.5

5.2

1.6

5.1

1.6

5.1

1.6

5

1.6

5

1.6

5

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.8

1.6

4.8

1.6

4.8

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.5

1.4

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.6

4.5

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.5

1.6

4.5

1.6

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.4

1.5

4.4

1.5

4.4

1.5

4.4

1.5

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.3

4.4

1.3

4.4

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.2

4.5

1.2

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



b

eff, prop=0

eff,B=0,co-fire

time,s

Efficiency,%

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

74.6

0

74.2

53.1

74.2

50.9

88.2

85.6

88.1

85.1

90.5

85.1

90.3

90.8

90.3

90.6

90.9

92

90.7

91.8

90.9

91.8

90.8

92.2

90.9

92

90.8

92.2

90.8

92

90.9

92

90.8

92.1

90.9

91.9

91

92

91

91.9

91

92

91

91.8

91

91.8

90.9

91.8

90.9

91.7

91

91.7

90.9

91.6

90.9

91.6

90.9

91.7

90.9

91.6

90.9

91.6

90.9

91.6

90.9

91.6

90.8

91.6

90.8

91.6

90.9

91.6

90.9

91.5

90.9

91.5

90.9

91.6

90.9

91.5

90.8

91.5

90.8

91.4

90.9

91.4

90.9

91.4

90.9

91.3

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.3

90.9

91.3

91.5

91.3

91.6

91.3

91.6

91.3

91.6

91.9

91.7

91.9

90.3

91.7

89

91.7

88.3

91.7

83.1

90

83.4

89

83.4

88.6

74

88.6

73.6

84.1

65.2

84

64.2

74.7

64.2

73.1

61.3

64

60.2

62.8

60

62.8

58.8

57.8

58.8

57

59.4

55.1

58.2

54.4

59

54.4

57.6

53.3

57.6

52.7

58.3

52.1

57.1

51.7

57.9

51.7

56.6

51.2

57.5

51.3

56

51.1

56

51.2

57

51.2

55.6

51

57.1

50.8

55.3

50.5

55.3

50.2

57.1

50.3

55

49.7

57

49.7

54.2

49.7

54.2

49.1

56.3

49.3

53.4

48.9

56.1

48.9

52.7

49.3

52.7

49

55.5

49.3

51.6

48.8

55.1

48.8

51.3

48.8

55.2

48.5

51.9

48.3

51.9

48

55.3

48

52.8

47.7

55.5

47.4

53.6

47.2

53.6

46.9

55.3

46.9

53

46.7

53.6

46.3

50.8

46

50.8

45.5

52.3

45.6

49.4

44.8

52.5

44.8

50.3

45.2

50.3

44.2

53.5

45

52.2

44

53.5

44

52.6

45

52.6

44.3

52.7

45.5

52.2

44.7

52.7

44.7

52.7

46.3

53.5

45.6

53.6

47

53.6

46.4

54.4

46.4

54.2

47.1

54.6

46

54.3

46.6

54.3

44

54.6

45.9

54.2

41.9

54.2

41.9

54

45.6

54

42

54.1

47.5

53.8

44.3

53.9

44.3

53.8

49.4

53.8

46.9

53.7

50.3

53.6

48.2

53.5

48.2

53.5

50.5

53.6

48.3

53.6

50.3

53.6

48.1

53.8

48.1

53.7

50.4

53.8

48.1

53.7

50.8

53.7

48.5

53.8

51.2

53.7

51.4

53.6

49

53.4

51.8

53.4

49.2

52.8

51.4

52.6

49

52.1

49

52

51.4

52

48.8

52

51.8

51.8

49.4

51.8

49.4

51.7

52.8

51.7

51.1

52.1

54.6

52.1

53.8

52.5

53.8

52.5

56.5

52.4

56.3

52.5

57.2

52.5

57.3

52

57.3

52.2

56.9

51.7

56.9

51.9

56.2

51.9

56.1

51.5

55.5

51.6

55.4

51.3

55.4

51.3

55.2

51.3

55.2

51

55.2

51

55.1

51.1

55.1

51.1

54.7

51.1

54.5

51.8

54.4

51.8

54.1

52.1

54.1

52.1

54.5

52.2

54.2

52.2

54.4

52.3

54

52.5

54

52.5

54.4

52.7

54.2

52.8

55

52.8

54.8

53

55.6

53

55.4

53.2

55.4

53.5

56.1

53.5

56

53.5

56.6

53.9

56.6

53.5

56.6

53.7

57.1

53.7

57.2

53.2

57.2

53.2

57.3

53.1

57.3

53.1

57

53.3

57.1

53.5

56.6

53.5

57.4

53.6

57.4

53.7

57.1

53.3

58.6

53.3

57.2

53.3

58.4

53

58.4

53.2

53.4

53.3

54.2

53.4

47.7

53.4

48.3

53.3

44.4

53.3

45.1

53.2

45.1

53.3

43.4

53.3

44.3

53.3

43.1

53.6

43.3

53.5

43.3

53.7

41.7

53.7

40.3

53.4

38.8

53.6

36.8

53.3

36.8

53.4

38.6

53.3

37.6

53.3

41.9

53.3

41.7

53.6

41.7

53.5

44.3

53.8

44

53.7

44.1

53.7

43.4

54

43.1

54

42.4

54.4

42.4

54.4

42.9

54.4

42.6

54.7

43.7

54.7

43.4

54.5

43.4

54.5

44

54.5

43.3

54.1

44.1

54

43.5

53.9

43.5

53.7

46.9

53.8

46.6

53.6

50.2

53.6

50.1

54.3

50.1

54.2

50.8

55

50.8

55

50.5

55

50.5

55.2

50.8

55.2

50.9

55.3

50.9

55.3

51.3

55.3

51.3

55.5

51.9

55.6

51.9

55.6

51.9

55.7

51.7

55.7

51.7

55.2

50.7

55.4

50.8

54.8

50.8

55.1

49.6

54.4

49.7

54.4

48.1

54.6

48

54.1

48

54.2

46.7

54

46.6

54.2

46.4

54.2

46.4

54.3

46.4

54.5

47

54.3

47.2

54.5

47.9

54.5

47.7

54

47.6

54.1

47.4

53.9

47.4

54.1

47.7

54.1

47.8

54.1

48.8

54.4

48.9

54.1

48.9

54.3

48.4

54.3

48.7

54.1

47.9

54.1

48.2

54.2

48.2

54.2

48.1

54.2

48.4

54.3

48.5

54.3

48.8

54.3

48.8

54.3

48.7

54.2

48.9

54.1

48.7

54.1

48.8

54.2

48.6

54.1

48.4

54.3

48.4

54.1

48

54.1

48

54.2

48.6

54

48.6

54.2

48.6

54

49.6

54

49.7

54.4

50.2

54.1

50.4

54.6

50.4

54.2

50.8

55.1

50.8

54.9

50.3

54.9

50.1

55.8

50.1

55.7

49.1

56.2

49.3

56.1

49.1

56.1

49.5

56

49.1

56

49

55.8

49.4

55.9

48.6

55.9

49.1

55.8

48.2

55.8

48.8

55.9

48.8

55.8

47.7

55.8

48.2

56.4

47.5

56.3

47.9

57

47.9

56.9

47.5

56.9

48.2

57.2

48.2

57.2

49

57.4

49

57.5

49

57.4

49

57.5

49

57.5

49.2

57.1

49.2

57.1

48.2

56.7

48.2

56.7

47.1

56.7

47.1

56.7

47.1

56.7

47.3

56.8

47.3

56.7

47.9

56.7

47.9

56.4

48.5

56.3

48.4

56.1

48.4

56

48.6

56

48.5

56

48.6

55.9

48.5

55.9

48.5

55.8

48.5

56.1

48.4

56.1

48.2

56.1

48.1

56.5

48.1

56.4

47.8

56.6

47.5

56.6

47.5

56.6

47.2

56.8

47.2

56.7

47.6

56.7

47.4

56.7

47.7

56.7

47.2

56.7

47.2

56.6

47.3

57.3

46.6

57.2

46.9

57.2

47

57.7

48.3

57.7

48.9

57.6

48.9

57.5

49.2

57.5

49.7

57.5

48.4

57.5

48.8

57.5

48.8

57.5

47.4

57.5

47.4

57.4

46.8

57.4

46.5

57.3

46.5

57.2

46.8

57.4

46.6

57.3

47.2

57.3

47.3

57.6

47.3

57.5

47.7

57.8

47.8

57.8

47.7

57.8

47.5

57.8

47.4

57.8

47.1

57.7

47.1

57.6

47.5

57.6

47.2

57.8

47.8

57.8

47.4

58

47.4

58.1

47.9

58.1

47.6

58

48.1

58.1

48

57.8

48

57.9

48.6

57.7

48.5

57.7

48.8

57.7

48.8

57.7

48.8

57.7

48.9

57.7

49

57.7

48.9

57.7

49

57.5

48.6

57.6

48.7

57.5

48.7

57.5

48.1

57.5

48.1

57.5

47.8

57.5

47.8

57.6

47.8

57.6

48

57.6

48

57.7

48.3

57.6

48.4

57.7

48.4

57.5

48.8

57.8

49.1

57.8

49.4

57.6

49.6

58.1

49.6

57.9

49.4

58.1

49.6

57.9

49.2

57.9

49.3

58

49.3

58

48.9

58.3

48.8

58.3

48.6

58.3

48.5

58.5

48.6

58.6

48.7

58.4

48.7

58.6

48.8

58.6

49.1

58.1

49.1

58.2

49.5

57.9

49.5

57.9

49

57.9

49.3

57.7

48.6

57.6

48.9

57.6

48.9

57.6

48.6

57.7

48.7

57.8

48.3

57.8

48.4

57.8

48.4

57.9

48.2

57.8

48.3

57.8

48.3

57.8

48.3

57.8

48.3

57.8

48.3

57.9

48.3

57.9

48.2

57.9

48.1

58

48.2

58

48

58.3

48

58.3

48.7

58.3

48.6

58.5

49.6

58.5

49.6

58.6

49.6

58.6

50.3

58.7

50.4

58.7

50.8

58.7

51

58.7

51

58.7

51

58.7

51.1

58.5

50.8

58.5

50.7

58.7

50.6

58.4

50.6

58.9

50.5

58.7

50.5

58.7

50.4

59.1

50.4

59

50.4

59.3

50.4

59.3

50.2

59.3

50.1

59.5

49.8

59.4

49.9

59.4

49.9

59.3

49.7

59.3

49.8

59.5

49.5

59.5

49.5

59.6

49.5

59.7

49.2

59.5

48.9

59.6

48.5

59.6

47.9

59.4

47.9

59.4

47.8

59.3

47.4

59.2

48.2

59.2

47.8

59.2

48.8

59.1

48.3

59.1

48.3

59.2

48.9

59.2

48.1

59.1

48.6

59.1

47.9

58.9

47.9

58.8

48.9

58.8

48.2

58.7

49.5

58.7

49.1

58.9

49.1

58.9

50.6

59.1

50.5

59.2

51.5

59.2

51.1

59.1

51.1

59.2

51.2

58.9

50.8

59

51.3

59

51.5

58.9

52.5

58.9

52.8

58.9

52.8

59

53.2

59

53.3

59.1

53.1

59.1

53.2

59.2

53.2

59.1

52.8

59.1

53

59.1

52.7

59

52.9

59.1

52.9

59.1

52.6

59.2

52.8

59.1

52.1

59.1

52.1

59.2

52.1

59.2

51.6

59.2

51.7

59.2

51.7

59.2

51.7

59.2

51.7

59.3

51.9

59.4

52

59.5

52.2

59.5

52.4

59.4

52.5

59.5

52.6

59.2

52.6

59.3

52.6

59.3

52.6

59.2

52.5

59.3

52.6

59.3

52.6

59.4

52.7

59.4

52.8

59.3

52.8

59.3

52.8

59.4

52.8

59.3

52.5

59.4

52.3

59.4

51.8

59.4

51.6

59.5

51.6

59.5

51.6

59.6

51.4

59.6

52.1

59.6

52

59.6

52.6

59.7

52.6

59.7

52.6

59.6

52.8

59.6

52.9

59.5

52.7

59.4

52.8

59.3

52.8

59.3

52.5

59.3

52.6

59.3

52.2

59.2

52.1

59.3

52.1

59.2

52.1

59.3

52

59.3

52.2

59.3

52.1

59.4

52.1

59.3

52.2

59.4

52.1

59.2

52.2

59.2

52

59.3

52.1

59.1

51.7

59.2

51.7

59.2

52.4

59.2

52

59.4

53.2

59.4

53

59.5

53

59.5

53.9

59.5

54

59.5

54.3

59.4

54.6

59.5

54.6

59.4

54.3

59.8

54.6

59.8

54

59.7

54.3

59.9

54.3

59.9

53.6

59.9

53.9

59.9

53.5

59.9

53.7

59.9

53.7

59.8

53.5

59.9

53.7

59.8

53.4

59.8

53.6

59.9

53.3

59.9

53.5

60.1

53.5

60.2

53.2

60.2

53.4

60.2

53

60.3

53.1

60.2

53.1

60.2

52.7

60.2

52.7

60.2

52.7

60.2

52.8

60.2

52.8

60.3

52.8

60.1

52.8

60.2

52.5

60.2

52.4

59.9

52.4

60

52.3

59.8

52.3

59.9

52.5

59.9

52.8

59.9

52.9

59.9

53.2

59.9

53.2

59.8

53.1

59.8

53.1

59.8

52.7

59.8

52.6

59.9

52.6

59.9

52.3

59.9

52.2

60

52.3

60

52.1

60

52.1

60

52.3

60.1

52.2

60

52.2

60

52.3

60.2

52.3

60.1

52.4

60.2

52.4

60.1

52.3

60.1

52.1

60

52.1

59.9

52

60

51.9

59.9

52.2

59.9

52.1

59.9

52.5

59.8

52.3

59.9

52.3

59.8

52.4

59.8

52

60

52.4

59.9

52.2

60.1

52.2

59.9

52.9

59.9

52.5

60

53.1

59.9

52.5

60

52.5

60

53.3

60.2

52.5

60.2

53.7

60.2

53.2

60.2

53.2

60.1

54.6

60.1

54.4

60.2

55.3

60.2

55.2

60.2

55.5

60.3

55.6

60.2

55.6

60.2

55.8

60.2

56.1

60.2

55.9

60.2

56.3

60.2

56.3

60.2

55.5

60.2

55.8

60.3

54.9

60.4

55

60.5

55

60.5

54.5

60.5

54.6

60.6

54.2

60.6

54.1

60.5

54.1

60.4

53.9

60.4

53.7

60.3

53.9

60.3

53.6

60.4

54.2

60.3

53.6

60.4

53.6

60.4

53.9

60.4

53.5

60.3

54.2

60.3

53.9

60.2

53.9

60.3

54.8

60.3

54.6

60.3

55.1

60.4

55

60.3

55

60.5

55.3

60.3

55.3

60.4

55.3

60.4

55.4

60.2

55.4

60.2

55.4

60.1

55.5

60.1

55.4

60.1

55.5

60

55.5

60

55.3

60

55.4

60

55.3

60

55.3

59.9

55.3

59.9

55.5

59.8

55.5

59.8

55.6

59.8

56

59.8

55.7

59.8

56.1

59.9

56.1

59.9

55.1

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

54.4

59.9

54.5

60

54.5

59.9

54.6

60

54.8

60.1

54.6

60.1

55

60.1

55

60.2

54.4

60.2

55

60.4

54

60.4

54.5

60.4

53.2

60.4

53.5

60.2

53.5

60.2

52.5

60.2

52.5

60.1

52

60

51.8

60

51.8

60

52

60

51.9

60

52.4

60

52.4

59.9

52.4

59.9

52.9

59.9

53

59.8

53.1

59.8

53.4

59.8

53.4

59.8

53.3

59.8

53.5

59.7

53.3

59.7

53

59.8

53

59.8

52.8

59.8

52.4

59.9

53

59.9

53

59.8

54

59.9

54.3

59.8

54.3

59.8

54.4

59.8

54.5

59.9

53.9

60

53.7

60

53.7

60.1

53.1

60.1

52.8

60

52.9

60

52.4

59.9

52.4

59.9

53

59.9

52.4

59.8

53.4

59.8

53.1

59.8

53.1

59.7

54.4

59.8

54.2

59.7

54.8

59.7

54.4

59.9

54.7

60.1

54.5

60

54.5

60.4

55.4

60.4

55.5

59.9

56.2

60.1

56.2

59.5

56.1

59.6

56.1

59.6

55.8

59.3

55.9

59.4

55.8

59.3

55.8

59.4

56.2

59.3

56.4

59.4

56.8

59.4

56.7

59.3

56.7

59.4

56.5

59.2

56.5

59.3

56.1

59.3

56.1

59.2

56.1

59.2

56.1

59.3

56.1

59.3

56.4

59.3

56.4

59.4

56.5

59.4

56.4

59.4

56.4

59.4

56.3

59.4

56.4

59.4

56.7

59.6

56.8

59.7

56.8

60

56.8

60

56.7

59.7

56

59.9

55.9

59.3

55.9

59.3

55.9

58.8

55.9

58.9

56.4

58.9

56.3

58.9

56.3

59

56.6

59.2

56.7

59.3

56.6

59.3

56.8

59.2

56.3

59.2

56.6

59

56.6

59

56.1

59

56.5

59.1

55.7

59.2

55.9

59.1

55.9

59.3

54.9

59.3

55.1

59.1

54.6

59.4

54.9

59

54.9

59.3

54.7

59

55.2

59.1

54.8

59.1

55.1

59

55.1

59.1

54.3

58.9

54.4

58.9

54

58.9

54

58.8

54

58.7

53.9

58.7

53.9

58.5

54.1

58.5

53.9

58.7

54.1

58.6

54

58.9

54

59

54.2

59

54.1

59.2

54.1

59.3

53.8

59.3

53.8

59.3

53.8

59.2

53.3

58.9

53.6

58.9

53.1

59

53.1

58.7

53.6

59

53.4

58.8

54

58.8

54

59.3

54

59.2

54.6

59.6

54.6

59.7

54.5

59.7

54.6

59.7

54.3

59.9

54.4

59.8

54.5

59.8

54.5

59.8

54.6

59.6

54.5

59.6

54.5

59.6

54.5

59.7

54.3

59.7

54.3

59.6

54.4

59.7

54.5

59.4

54.5

59.5

54.6

59.4

54.7

59.5

54.7

59.5

54.9

59.2

54.9

59.4

54.8

59

55.1

59.1

54.6

59.1

54.8

58.9

53.8

58.9

53.8

58.9

53.8

59

53.2

59

53.2

59.1

53.2

59.1

53.1

59.4

53.1

59.4

53.3

59.4

53.4

59.7

53.7

59.8

53.8

59.8

53.8

59.9

53.7

59.8

53.7

59.8

53.4

59.8

53.5

59.8

53.5

59.9

53.8

59.8

53.9

59.9

53.9

59.9

54

59.8

53.6

59.9

53.6

59.9

53.6

60.1

53.4

60.1

53.3

60

53.1

60

52.8

60

52.8

60

53

60

52.8

60.1

53.3

60.2

53.1

60.1

53.1

60.2

53.3

60

52.9

60

53.1

59.9

52.8

59.9

52.8

59.8

53.7

59.9

53.5

59.8

54.6

59.8

54.5

59.9

54.5

60

54.9

60

55.2

59.9

55.6

59.9

55.8

59.8

55.5

59.6

55.6

59.8

55.5

59.7

54.8

59.7

54.9

59.9

54.6

59.7

54.6

59.7

54.6

59.7

54.5

59.7

54.6

59.8

54.8

59.8

54.9

59.8

54.9

59.8

54.9

59.8

54.9

59.8

54.7

59.8

54.6

59.8

54.6

59.6

54.6

59.7

54.6

59.5

54.8

59.5

55

59.8

55.3

59.7

55.3

60.1

55.3

60.1

55.1

60.1

55.1

60.3

54.7

60.2

54.8

60.2

54.8

60.1

54.8

60.1

54.5

60.4

54.4

60.4

54

60.6

54

60.5

54.1

60.5

53.4

60.3

54.1

60.3

53.4

60.4

53.4

60.3

54.7

60.7

54.5

60.6

56.2

60.6

56.2

60.8

56.2

60.6

56.9

60.7

56.8

60.5

56.8

60.5

56.6

60.7

56.3

60.6

56.2

60.9

56.2

60.8

56.1

60.8

56.2

61

56.4

61

56.4

61

56.4

60.9

56.6

60.9

56.7

60.9

56.7

60.7

56.6

60.9

56.6

61

56.4

61.2

56

61.4

56.1

61.4

55.8

61.3

55.8

61.4

56.2

61.1

56

61

56.5

61

56.4

60.9

56.9

60.6

57

60.7

57

60.5

57.4

60.5

57.5

60.8

57.5

60.7

57.4

60.9

57.4

60.7

57.1

60.7

57

61

57.2

60.8

57.4

61.3

57.4

61.1

57.8

61.6

58.1

61.6

57.9

61.6

58.2

61.9

58.2

62

57.6

61.9

57.7

61.9

57.1

61.9

57.3

61.6

56.9

61.5

57.2

61.3

57.2

61.2

57

61.2

57.3

61.4

56.9

61.3

57.2

61.7

57.2

61.8

56.9

61.8

56.8

61.8

56.1

62

55.9

61.7

55.9

61.7

55.6

61.3

55.4

61.2

55.9

61.2

55.6

61

55.6

60.8

56

61

55.9

60.8

56.6

60.8

56.6

61.2

56.6

61.1

57.2

61.7

57.2

61.7

57

61.7

57.1

61.9

56.8

61.8

56.9

61.7

56.9

61.7

56.7

61.7

56.5

61.9

56.3

62.1

55.7

62.3

55.7

62.7

55.9

62.7

55.2

62.3

56.6

62.5

56.1

61.7

56.1

62

57.8

61.6

57.7

61.9

58.8

61.9

59.2

61.6

59.2

61.5

59.4

61.2

59.8

61.1

58.6

61.1

58.6

61.2

57.2

61

57.2

61.3

57.2

61

56.8

61

56.8

61.2

57.2

61.1

57.1

61.5

57.1

61.4

57.7

61.4

57.4

61.6

57.7

61.2

57.7

61

57.7

60.8

58.1

61.2

58.8

61.2

59.2

61.2

60.1

61.7

60.1

61.6

58.7

61.6

59.2

61.5

56.6

61.5

56.8

61.4

55.6

61.4

55.6

61.7

55.8

61.8

55.7

61.8

55.9

61.9

56.1

62

56.2

61.6

56.2

61.8

56.4

61.8

56.7

61.5

56.7

61.6

56.8

61.4

56.8

61.4

56.4

61.2

56.3

61.2

56.2

61.2

56

61.1

56

61

56.2

60.9

55.7

60.8

56.2

60.8

56

60.9

56

60.9

56.7

61

56.9

60.9

57.4

60.9

57.6

61.1

57.4

61

57.4

61.1

57.4

60.9

57.1

60.9

57.1

61

57

60.9

57

61.3

57

61.4

57

61.4

57

61.8

57

61.9

57.1

62

57.1

62.3

57.3

62

57.5

62.4

57.6

62.4

57.8

62

57.8

62.3

57.5

61.9

57.6

62.1

57.3

62.1

57.7

61.9

57.7

62.1

57.8

62

58.5

62.3

58.1

62.3

58.5

62.1

58.5

62.3

57.2

62

57.5

62.2

56.4

62.2

56.6

62

55.9

62.1

55.9

61.9

55.9

61.8

55.7

61.8

55.7

61.7

55.5

61.7

55.8

61.9

55.8

61.9

55.8

61.9

56.2

61.9

56.1

61.9

56.3

61.9

56.3

61.8

55.8

61.9

55.8

61.9

55.5

61.9

55.6

61.7

55.6

61.7

55.7

61.6

55.8

61.6

56.1

61.6

56.3

61.7

56.4

61.8

56.4

61.8

56.4

61.9

56

61.9

55.8

61.8

55.4

62

54.8

61.7

54.8

61.8

55

61.8

54.4

61.6

55.5

61.7

55.2

61.7

55.2

61.8

56.2

61.7

55.7

61.7

56.3

61.7

55.9

61.6

55.9

61.7

56.8

61.7

55.9

61.9

56.8

61.9

55.5

61.9

57

62.1

56.4

62.1

56.4

62.3

59.4

62.3

59.4

62.1

61.5

62.3

61.8

62

61.8

62.2

61.6

62.2

62.2

62

60.9

62.1

61.6

62.1

61.6

62.1

59.9

62

60.9

62

58.9

62

59.9

62

59.9

62.1

57.8

62.1

58.2

62.4

56.4

62.4

56.2

62.3

56.2

62.5

55.1

62.3

55.5

62.5

56.1

62.5

57.2

62.3

57.5

62.5

58.4

62.4

58.4

62.5

56.7

62.5

57.3

62.3

55.3

62.3

55.8

62.2

55.8

62.2

54.4

62.2

55.1

62.3

54.1

62.2

54.8

62.2

54.8

62.1

53.7

62.2

54.3

62.1

52.9

62.1

53.3

62.1

53.3

62

52.4

62.1

52.5

62

52.2

62

52.2

62.2

51.9

62

52

62.2

51.9

62

51.8

62

51.9

62.1

51.8

62.1

52.1

62.2

52.1

62.2

51.4

62.2

52.2

62.2

51.3

62.1

52.2

62.2

52.2

62.2

50.6

62.4

51.3

62.3

49.2

62.3

49.4

62.3

49.4

62.3

48.2

62.3

48.3

62.3

47.9

62.3

48.2

62.4

48.1

62.4

48.5

62.4

48.5

62.4

47.8

62.4

48.1

62.4

47.1

62.5

47

62.5

47

62.7

46.8

62.7

46.4

62.5

47

62.8

46.8

62.6

46.8

62.9

47.6

62.5

47.6

62.5

48

62.7

48.3

62.4

48.3

62.6

48.6

62.6

48.6

62.9

48.4

62.9

47.8

62.7

47.8

62.8

47.7

62.4

47

62.2

48.1

62.2

47.3

62.1

49.1

61.9

48.7

62.3

48.7

62.1

50.4

62.1

50.2

62.4

51.1

62.4

51.1

62.5

51.1

62.5

51.3

62.5

51.5

62.4

51.6

62.4

51.5

62.2

51.5

62.1

51.1

62

50.9

62

50.9

62

50.4

62

50.4

62.1

50.7

61.9

51.1

62.1

52.1

62.1

53.5

61.8

52.6

62

53.5

61.5

53.5

61.5

49.8

61.5

50.4

61

47.7

60.7

48.4

60.6

48.4

60.3

47.5

60.3

48.2

60.7

47.6

60.9

48.2

61.6

48.2

62.1

47

62.2

47.5

62.8

46.3

62.8

46.8

62

46.8

62.3

46.9

61.2

47.5

61.5

47.9

61.5

48.2

60.6

48.2

60.8

47.8

60.1

48

60.1

47.7

60.1

47.9

59.6

48

59.7

48.2

59.6

48.2

59.8

48.3

59.8

48.8

59.9

48.7

60.2

48.9

59.8

48.9

60.1

47.7

60.1

47.6

59.5

46.4

59.8

46.1

59.3

46.1

59.5

46.4

59.1

46.4

59.4

47.4

59.4

47.8

59.1

47.8

59.3

48.1

58.9

48.1

59.1

48

59.1

47.8

58.9

48.2

59.3

48.3

59.1

48.3

59.2

49

59.2

49.2

58.7

49.5

58.5

49.7

58.2

49.7

58

49.5

58

49.7

58.3

49.4

58.5

49.5

58.9

49.5

59.5

48.8

59

49.3

59.6

48.9

59.6

49.9

58.3

49.9

58.9

49.6

57.9

50.3

58.1

48.9

58.1

49.5

57.7

48

57.8

48.7

57.9

48.7

58.3

47.5

58.3

48

58.3

46.9

58.6

47

58.2

47

58.3

46.3

58.3

46.2

58

46.3

58.1

46.2

58.4

46.2

58.7

46.5

59

46.6

59.4

46.3

59.4

46.5

58.8

46.5

59.1

46.1

58.6

46.3

58.8

46

58.9

45.7

58.5

45.7

58.6

44.8

58.2

44.1

58.3

43.2

58.3

42.6

58.1

43.2

58.4

42.6

58

42.6

58

43.9

58

43.7

57.3

44.3

57.1

44.5

57

44.5

56.6

44.4

56.6

44.8

57.3

44.1

56.6

44.3

57.5

44.3

56.7

43.9

57.7

44.4

57.5

45.3

57.5

46.2

58.8

46.2

59.3

46.3

59.6

47.1

60.2

44.4

60.2

45.4

59

42.2

59.5

43

58.3

43

58.6

40

58.6

40.7

57.9

38.4

58.3

38.1

58

38.1

58.7

36.9

58.7

36.1

58.3

37.2

59

36.2

57.5

36.2

58.1

39.8

56.4

39.9

56.6

43.6

56.6

44.5

55.6

44.5

55.7

44.3

55.5

44.8

55.6

41.7

55.6

41.8

55.9

39.9

55.9

39.8

55.5

39.8

55.4

39.5

55.4

39.5

55.4

39.7

55.3

39.9

55.8

39.9

55.8

40.2

55.8

40.7

55.8

40.1

55.8

40.3

55.4

40.3

55.2

38.7

55.1

38.5

55.1

38

54.6

37.6

55.6

37.6

55.1

38.5

56.3

37.9

56.1

39.2

56.1

38.3

56.9

38.3

57.1

39.5

57.4

38.5

57.3

40.1

57.3

39.3

56.8

41.4

56.6

41.4

56.6

41.4

56.5

43.2

56.5

43.7

57.9

43.8

58.1

44.2

59.4

44.2

59.6

42.1

59.6

42.6

59.5

40.7

59.6

40.8

58.9

40.8

58.9

39.4

58.3

38.7

58.6

38.6

58.6

37.6

57.7

37.6

58

39.6

56.9

38

57.1

40.8

57.1

39.2

56.1

43.8

56.3

43.2

55.8

43.2

56

47.1

56

47.3

55.6

47.9

55.6

48.6

55

48.6

54.5

46.8

54.5

47.6

54.5

45

53.9

45.9

55.5

45.9

55.4

43.2

57.4

43.8

57.4

42.1

57.4

42.7

57.5

42.7

57.7

42.1

56.8

42.7

57

41.9

57

42.1

56

42.1

56.1

40.9

55.4

41.1

55.5

40.3

55.5

40.6

55

40.2

55.1

40.6

54.6

40.6

54.4

39.9

54.4

40.5

54.3

39.2

53.9

39.5

55

39.5

54.9

36.9

54.9

37.2

56.8

34.6

56.7

34.7

57.6

34.7

57.5

33

57.4

32.8

57.2

32.7

57.2

32.6

56.9

32.6

56.8

33.9

56.5

34

56.6

34.1

56.6

34.1

56.3

32.7

56.6

32.4

55.9

32.4

56.4

30.7

56.4

30.1

54.6

30.1

55.3

30.1

52.5

30.1

53.3

30.1

53.3

29.9

50.1

30.1

50.8

30.3

47.8

30.3

48.3

31.2

45.8

30.9

46.2

30.3

46.2

30

44.7

30

44.9

30

44.3

29.5

44.5

30.7

44.5

30.2

44.4

30.2

44.5

32

44.4

31.6

44.5

33

44.5

32.7

44.4

32.7

44.3

33.4

44.2

33

44

33.9

44

33.3

44.2

34.6

44.1

33.7

44.7

33.6

44.7

35.8

45.2

35

45.2

37.9

45.2

37.5

45.2

37.5

45.2

39.7

45.2

39.3

45.2

40.1

45

39.8

45.4

39.8

45.2

40

45.6

39.7

45.3

39.8

45.3

39.7

45.7

39.7

45.3

39.6

46.1

39.7

45.9

39.5

45.9

39.6

46.8

39.2

46.6

39.1

47

39.1

47

38.9

47

38.9

47.2

39.2

47.2

39.3

47.3

39.3

47.2

39.4

47.2

39.3

47.1

39.3

47.1

39.2

47

39.2

47

39.4

47.1

39.4

46.9

39.4

46.9

39.5

47

39.5

46.8

38.9

47.3

39

47.2

38.3

47.2

38.4

48

38.6

48

38.6

48.2

38.7

48.1

38.8

48.1

38.9

48.2

38.4

48.1

38.7

48.4

38.7

48.3

38.2

48.3

38.5

48.3

37.6

48.1

37.9

48.1

37.9

48.1

36.9

48.3

37.3

48.3

36.3

48.3

36.9

48.3

36.9

48

35.2

47.9

35.7

47.5

33.4

47.5

33.8

48.4

33.8

48.2

32.1

49.6

32.4

49.5

31.5

49.5

31.8

50.2

31.1

50

31.5

50

31.4

49.9

30.5

49.9

30.8

50.1

29.9

50.2

29.9

50.1

29.9

50.4

29.1

50.4

29.2

49.5

29.5

49.6

29.8

48.6

29.8

48.6

30.7

48.3

31

48.2

30.8

48.2

31

48.5

31

48.5

30.1

48.8

30.4

48.7

29.4

48.7

29.8

49

29.2

48.9

29.6

49

29.6

48.9

28.6

48.9

29

49

27.7

49

28.1

49.2

28.1

49.1

26.9

49.1

27

49.2

25.9

49

25.9

49.1

25.9

48.8

26

49.4

26

49.2

26.8

49.2

26.7

50.1

26.7

49.8

27.4

50.4

27.2

50.2

28

50.2

27.8

50.5

27.8

50.3

28.9

50.5

28.8

50.1

29.8

50.1

29.9

50.3

30.7

50.1

30.8

50.7

30.8

50.6

30.8

50.6

30.8

51.2

30.3

51.1

30.4

51.3

30.4

51.1

30.3

51.1

30.6

51.1

30.4

50.9

30.4

51.2

30.4

50.9

30

51.5

30.1

51.2

29.4

51.2

29.6

51.8

29.6

51.5

29.1

51.9

29.3

51.7

29.1

51.7

29.4

52.1

28.9

52

29.4

52.4

29.3

52.3

27.5

52.3

28

52.5

25.7

52.4

26.1

52.4

26.1

52.3

24.4

52.3

24.8

52.4

23.9

52.2

24.5

52.4

24.5

52.2

23.4

52.6

24.1

52.4

23.2

52.4

24

52.8

24

52.6

23.1

53

23.6

53

22.6

53

23.2

53.2

22.4

53.2

23

53.2

23

53.2

22.5

53.2

23

53.1

22.6

53.1

23

53

23

53

22.2

53

22.6

52.9

22.1

52.9

22.6

52.6

22.6

52.7

22.3

52.6

22.7

52.6

21.9

52.6

22.3

52.5

22.3

52.4

21

52.5

21.3

52.4

20.6

52.4

20.8

52.8

20.8

52.7

20

53.2

20.4

53.1

20.2

53.1

20.6

53.5

20.3

53.4

20.8

53.9

20.8

53.9

20.2

53.9

20.8

54.2

19.7

54.2

20.2

54.2

20.2

54.1

19.4

54.1

19.8

54.2

20.1

54.2

20.5

54.6

20.5

54.6

20.9

54.7

21.3

54.8

20.4

54.8

20.7

54.5

20.7

54.5

19.3

54.1

19.8

54.2

19

54.2

19.3

53.8

18

53.9

18.3

53.8

18.3

53.8

16.4

53.8

16.7

53.7

16

53.7

16.2

53.5

16.2

53.4

16

53.4

16.1

53.5

16.1

53.5

16.2

53.7

16.2

53.7

16

53.8

16.3

53.8

16.1

53.8

16.3

53.8

16.3

53.8

16.5

53.7

16.7

53.8

16.3

53.8

16.8

53.7

16.8

53.8

16.6

53.6

17

53.7

16.7

53.7

16.8

53.6

16.4

53.8

16.7

53.5

16.7

53.7

16.3

53.7

16.7

53.2

15.4

53.2

15.8

52.7

15.8

52.7

15

52.6

15.5

52.6

15.3

52.5

15.7

52.6

15.7

52.5

14.6

52.9

15.1

52.9

14

52.9

14.9

53.3

14.9

53.2

14.7

53.2

15.2

53.3

14.8

53.3

15.2

53.2

14.6

53.3

15.7

53.1

15.7

53.2

14.6

53.2

15.8

53.3

14.2

53.3

14.5

53.1

14.5

53.1

13

53.1

13.3

52.9

13.5

52.9

14.5

52.9

14.5

52.9

14.7

52.8

16

52.8

14.9

52.8

16.1

52.7

16.1

52.8

14.3

52.8

15.6

52.9

13.9

52.9

14.8

52.9

13.3

52.9

13.8

52.7

13.8

52.7

12.9

52.7

13.6

52.7

13.4

52.8

13.9

52.9

13.9

53

13.5

53

14

52.8

13.4

52.8

13.4

52.7

13.4

52.8

13

53

12.7

53.1

12.8

53.1

12.5

53.1

12.5

53.2

13.8

52.9

14.2

53

14.8

53

14.8

52.5

15.8

52.7

14

52.2

15.6

52.4

13.3

52.4

14.7

52

11.9

52.2

13.5

52

13.5

52.1

10.7

52.1

12.7

51.7

9.9

51.8

11.3

51.4

11.3

51.5

8.2

51.5

9

51.4

9

51.6

7.4

51.4

7.4

51.6

7.4

51.2

8.3

51.4

9.3

51.4

10.3

51

10.3

51.2

9.4

50.6

8.8

50.9

6.4

50.9

4.8

50.4

6.9

50.7

5.9

50.3

5.9

50.6

10.4

50.6

10.5

50.2

10.5

50.4

12.5

49.8

12.5

50

11.3

50

11.5

49.7

11

50.8

12.1

50.7

12.1

51.2

11.6

48.6

12.5

49.3

10.5

49.3

11.4

48.1

11.4

49.7

10.4

48.7

12.5

47.6

11.2

47.6

17.1

43

13

41.1

13

44.5

20.1

43.3

10.7

43.3

15.6

48.9

4.1

48.6

7.2

50.3

7.2

50.2

1.6

50.2

4.2

50.5

1.2

50.4

2.4

50.4

2.4

50.5

0

50.3

0.9

50.6

0

50.6

0

50.6

0

50.7

0

50.5

0

50.7

0

50.7

0

50.5

0

51.7

0

51.3

0

53.6

0

53.6

0

50.9

1

51.1

0.6

44.7

0.6

43.2

1.6

43.2

0

42.8

0

42.2

0

47.4

0

47.1

0

47.1

1.4

48.9

6.9

48.8

6.4

49.1

6.4

49.2

7.6

49.1

7.4

49.3

7.4

49.3

6.6

49.2

6.6

49.3

6.6

49.1

6.3

49.3

5.6

49.3

5.6

49.2

4.8

49.3

5.4

49

5.4

49.3

5.4

49.3

5.4

48.9

5.4

49.2

5.4

48.7

5.4

49.1

5.4

49.1

5.4

48.5

5.3

48.9

5.3

48.1

5.8

48.4

5.9

47.5

5.9

47.8

5.5

47.8

5.9

47.1

5.9

48.7

5.2

48.1

5.4

49.6

5.4

49.6

5.2

46.6

5.2

46.1

5.2

42.5

4.1

41.3

3.7

41.3

3.7

43.1

3.9

42.7

4

46

4

45.8

4.8

45.8

5.3

46.8

5.3

46.8

5.1

46.8

5.1

46.9

5.1

46.9

3.9

46.9

3.4

46.9

3.4

46.9

3.9

47.1

3.9

47.1

3

46.4

3.5

46.7

3.5

46

3.5

47

3.1

46.5

3.5

48.1

3.5

48.1

2.9

45.8

2.9

47.2

2.9

43.6

3.7

44.8

4.1

44.8

4.1

42

3.7

43.6

4.1

42.3

4.1

43.4

4.1

43.4

2.8

41

3.1

41.1

2.5

38.6

2.5

37.4

2.5

37.4

2.2

38

1.3

36.9

1.3

40

1.5

39.5

2

41.8

2

41.6

2.2

41.6

2.2

42.4

2.2

42.5

2.7

42.1

2.6

42.8

2.6

42.8

3

42.1

2.9

42.6

3.3

41.5

3.1

42.3

3.6

42.3

3.6

41.5

2.8

42.2

2.8

41.2

1.7

42.1

3.9

42.1

3.9

40.8

3.1

41.6

7.6

40.1

7.3

40.7

7.3

39.8

8.7

39.7

7.5

40.1

7.5

39.4

7.6

39.9

7.6

39.9

7.6

40.5

8

40.5

8.1

39.7

8.1

40.3

6.9

39.1

7.4

39.4

7.4

39.4

6.2

38.5

4.9

38.9

4.9

38.5

5.3

38.9

5.2

38.9

4.8

38.6

5

38.9

5

38.6

5.1

38.7

5.1

38.7

5

38.7

5.3

38.8

4.5

38.6

4.8

38.7

4.8

38.6

5.1

38.8

4.7

38.8

4.7

38.8

5.1

39

5.1

38.8

3.9

39

3.4

39

3.5

38.8

3.5

39

3

38.9

3.1

39.1

3.1

39.1

4

38.9

5.3

39.1

5.3

39

5.3

39.1

5.3

39.1

5.2

39.1

5.5

39.2

4.2

39.1

4.5

39.3

2.3

39.2

2.7

39.4

2.7

39.3

3.2

39.2

3.2

39.3

3.2

39.1

3.7

39.2

4

39.2

4

39.2

4

39.3

4

39.4

3

39.5

3

39.5

3.1

39.3

1.9

39.2

3.6

39.1

3.5

39.2

3.5

39.2

7.7

39.4

9.4

39.5

9.4

39.7

9.1

39.7

9.1

39.7

9.1

39.7

8.6

39.7

8.6

39.8

8.7

39.8

8.8

39.8

8.8

39.8

8.2

39.8

8.3

39.7

8.3

39.6

8.3

39.6

6.8

39.7

5.7

39.7

5.7

39.7

5.8

39.8

5.4

39.8

5.6

39.8

5.6

39.8

6.4

39.9

6.4

39.9

6.9

40

7.1

40.1

7.1

40.1

7.5

40

6.7

40

6.7

40

7.1

40

7.1

39.9

6.7

40

6.2

40

6.2

40

6.4

40.1

6

40.1

5.9

40.2

5.9

40.2

6.3

40

6.2

40.1

5.7

39.9

5.5

40

5.5

40

6

40

5.4

40.1

5.8

39.8

5.1

39.8

5.1

39.8

6.4

39.7

6.1

39.8

7.7

39.9

7.7

39.9

7.7

39.8

7.8

39.8

7.8

39.8

6.5

39.6

6.8

39.6

6.8

39.6

6

39.6

6.3

39.6

6.5

39.6

6.5

39.6

5.2

39.3

6.1

39.4

6.1

39.4

4.9

39.2

4.9

39.2

2.7

39.4

2.9

39.4

2.9

39.4

1.9

39.6

2.4

39.7

1.5

39.6

2.1

39.6

2.1

39.6

0.6

39.5

1.4

39.5

0.4

39.4

0.4

39.3

0.4

39.4

0

39.5

0

39.4

0

39.9

0

39.9

0

39.9

0

39.9

0

39.9

0

39.7

0

39.7

0

39.7

0

39.8

0

39.8

0

39.8

0

39.8

0

39.7

0

39.6

0

39.6

0

39.6

0

39.5

0

40

0

39.9

0

40.5

0

40.5

0

40.4

0

40.4

0

40.5

0

40.4

0

40.4

0

40.4

0

40.5

0

40.5

0

40.6

0

40.7

0

40.7

0

40.6

0

40.5

0

40.4

0

40.4

0

40.4

1.4

40.4

1.3

40.4

0

40.4

0

40.4

0

40.4

0

40.2

0

40.2

0

40.1

0

40

0

40.1

0

40.1

0

40.1

0

40.1

0

40.1

0

40.1

0

40.2

0

40.2

0

40.2

0

40.3

0

40.2

0

40.2

0

40.2

0

40.2

0

40.3

0

40.3

0

40.3

0

40.3

0

40.2

0

40.3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



c

a.e., prop=0

a.e.,B=0,co-fire

time,s

Air excess,%

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

318.9

0

318.9

892.2

318.9

892.2

88.7

187.7

88.7

187.7

50.6

187.7

50.6

75.5

50.6

75.5

41.4

48.9

41.4

48.9

38.2

48.9

38.2

41.7

36.8

41.7

36.8

39.5

36.8

39.5

36

39.5

36

38.3

35.5

38.3

35.5

37.2

35.5

37.2

35

36.4

35

36.4

34.5

36.4

34.5

35.9

34.5

35.9

34

35.2

34

35.2

33.6

35.2

33.6

34.4

33.6

34.4

33.4

33.9

33.4

33.9

33.4

33.9

33.4

33.6

33.2

33.6

33.2

33.6

33.2

33.6

32.9

33.6

32.9

33.1

32.5

33.1

32.5

32.6

32.5

32.6

31.8

32.6

31.8

32.3

31.5

32.3

31.5

31.7

31.5

31.7

31.7

30.8

31.7

30.8

31.4

30.8

31.4

30.3

31.4

30.3

30.8

30.1

30.8

30.1

30.6

30.1

30.6

30

30.6

30

28.7

30

28.7

30

46

30

46

30.1

113.1

30.1

113.1

44.1

113.1

44.1

235.1

44.1

235.1

103

343.7

103

343.7

222.1

343.7

222.1

380

332.3

380

332.3

382.4

332.3

382.4

391.6

382.4

391.6

374.7

413.4

374.7

413.4

365.1

413.4

365.1

425

365.1

425

355.9

432.4

355.9

432.4

345.7

432.4

345.7

437.2

336

437.2

336

438.1

336

438.1

324.8

438.1

324.8

440

310.8

440

310.8

443

310.8

443

293.5

442

293.5

442

276.1

442

276.1

441

276.1

441

256.7

439

256.7

439

234.3

439

234.3

434.3

234.3

434.3

212.2

431.4

212.2

431.4

187.7

431.4

187.7

431.4

164.1

431.4

164.1

432.3

164.1

432.3

144.8

432.3

144.8

434.2

130.8

434.2

130.8

436.1

130.8

436.1

123.3

436.1

123.3

437.1

120.4

437.1

120.4

439

120.4

439

114.2

438

114.2

438

101.1

438

101.1

433.2

101.1

433.2

88.4

425.8

88.4

425.8

82.9

425.8

82.9

415

82.9

415

82.4

402.1

82.4

402.1

80.7

402.1

80.7

385.9

77.3

385.9

77.3

371.4

77.3

371.4

74.4

371.4

74.4

362.7

73

362.7

73

355

73

355

72.3

339.1

72.3

339.1

72.2

339.1

72.2

308.6

72.2

308.6

72

268.9

72

268.9

71.7

268.9

71.7

234.7

71.7

234.7

72.2

212.9

72.2

212.9

72.6

212.9

72.6

199.7

72.1

199.7

72.1

189.3

72.1

189.3

71.4

189.3

71.4

177.4

70.9

177.4

70.9

164.1

70.9

164.1

70.7

150.3

70.7

150.3

71.2

150.3

71.2

137.1

71.2

137.1

73.7

126.8

73.7

126.8

75.6

126.8

75.6

116.5

75.6

116.5

75.9

103.5

75.9

103.5

76.1

103.5

76.1

89.6

76.1

89.6

74.5

76

74.5

76

73.1

76

73.1

65.9

73.7

65.9

73.7

62.5

73.7

62.5

75.5

62.5

75.5

64

77.1

64

77.1

67

77.1

67

78.8

69.4

78.8

69.4

80

69.4

80

70.2

80

70.2

81

70.5

81

70.5

80.5

70.5

80.5

72

80.5

72

78

72.4

78

72.4

77

72.4

77

71.2

76.7

71.2

76.7

70.2

76.7

70.2

76

70.2

76

68.7

75.3

68.7

75.3

65.8

75.3

65.8

74.7

62.7

74.7

62.7

74.2

62.7

74.2

59.8

74.2

59.8

74.3

57.5

74.3

57.5

75.6

57.5

75.6

55.8

75.6

55.8

77.3

55.7

77.3

55.7

77.7

55.7

77.7

56.8

77

56.8

77

58.6

77

58.6

76.5

58.6

76.5

59.6

78.3

59.6

78.3

65.3

78.3

65.3

79.5

65.3

79.5

85.7

78.9

85.7

78.9

112.3

78.9

112.3

79.7

128.5

79.7

128.5

80.1

128.5

80.1

135.6

80.1

135.6

79.9

140.5

79.9

140.5

80.3

140.5

80.3

147.3

80.3

147.3

81.5

153.5

81.5

153.5

82.5

153.5

82.5

146.1

82.7

146.1

82.7

128.7

82.7

128.7

81.6

128.7

81.6

118.7

80.2

118.7

80.2

118.2

80.2

118.2

79

119.5

79

119.5

77.4

119.5

77.4

117.2

77.4

117.2

76.5

112.9

76.5

112.9

77.2

112.9

77.2

110.3

77.2

110.3

78.6

107

78.6

107

79.2

107

79.2

94.2

79

94.2

79

81.2

79

81.2

76.3

81.2

76.3

78.5

73.2

78.5

73.2

79.7

73.2

79.7

72.3

78.6

72.3

78.6

71.8

78.6

71.8

76.9

71.8

76.9

70.9

74.7

70.9

74.7

70.9

74.7

70.9

75.3

70.9

75.3

72.6

79.1

72.6

79.1

74.9

79.1

74.9

83.7

77.5

83.7

77.5

89.9

77.5

89.9

79.4

89.9

79.4

94.9

80

94.9

80

95.8

80

95.8

79.9

95.8

79.9

93.6

80.9

93.6

80.9

90.7

80.9

90.7

82.8

91.2

82.8

91.2

83.6

91.2

83.6

90.3

83.6

90.3

83.6

86.6

83.6

86.6

84.5

86.6

84.5

88.1

84.5

88.1

85.4

91.1

85.4

91.1

85.1

91.1

85.1

91.3

85

91.3

85

91

85

91

85

91

85

91.7

85.2

91.7

85.2

92.6

85.2

92.6

84.7

93.5

84.7

93.5

83.7

93.5

83.7

95

83.7

95

83.3

92.7

83.3

92.7

82.1

92.7

82.1

89

82.1

89

80.3

87.1

80.3

87.1

78.2

87.1

78.2

85.5

74.9

85.5

74.9

87.7

74.9

87.7

71.2

87.7

71.2

91.6

69.5

91.6

69.5

92.2

69.5

92.2

69.9

93.8

69.9

93.8

70.4

93.8

70.4

97.1

70.4

97.1

70.7

100.4

70.7

100.4

70.3

100.4

70.3

104.6

70.3

104.6

67.7

107.6

67.7

107.6

65.2

107.6

65.2

108.9

65.2

108.9

63.9

108.9

63.9

108.9

63.1

108.9

63.1

108.9

63.2

108.9

63.2

108.9

63.2

108.9

64.6

108.9

64.6

113.1

65.9

113.1

65.9

117.5

65.9

117.5

66

117.5

66

116.6

65.8

116.6

65.8

113.9

65.8

113.9

66.8

111.6

66.8

111.6

67.7

111.6

67.7

110.8

67.7

110.8

67.9

110.4

67.9

110.4

67.5

110.4

67.5

110.4

66.2

110.4

66.2

111.1

66.2

111.1

64.8

111.1

64.8

112.2

64

112.2

64

111.9

64

111.9

63.4

111.9

63.4

110.1

63.4

110.1

63.4

108.6

63.4

108.6

63.4

108.6

63.4

108.5

60.5

108.5

60.5

107

60.5

107

58.8

101.6

58.8

101.6

59.3

101.6

59.3

100.4

59.3

100.4

59.5

105.8

59.5

105.8

59.6

105.8

59.6

111.3

59.6

111.3

59.9

113.7

59.9

113.7

60.2

113.7

60.2

112.7

59.6

112.7

59.6

110.1

59.6

110.1

58.3

110.1

58.3

108.3

57.3

108.3

57.3

108.6

57.3

108.6

57.1

109.2

57.1

109.2

57.3

109.2

57.3

107.6

57.3

107.6

56.8

105

56.8

105

56

105

56

103.3

56

103.3

56.4

101.1

56.4

101.1

57.5

101.1

57.5

99

58.3

99

58.3

97.8

58.3

97.8

58.4

97.8

58.4

97.3

58.4

97.3

58.4

97.8

58.4

97.8

58.9

99.4

58.9

99.4

59.2

99.4

59.2

101.5

59.2

101.5

59.4

102.7

59.4

102.7

59

102.7

59

101.8

59

101.8

58.4

100.7

58.4

100.7

58.2

100.7

58.2

99.2

57.1

99.2

57.1

97.8

57.1

97.8

55.5

97.8

55.5

98.9

54.6

98.9

54.6

100.4

54.6

100.4

54

100.4

54

101.9

52.8

101.9

52.8

102.9

52.8

102.9

52.3

102.6

52.3

102.6

53.2

102.6

53.2

102.2

53.2

102.2

54.9

102.4

54.9

102.4

56

102.4

56

104.5

56

104.5

56.8

107.3

56.8

107.3

56.8

107.3

56.8

108.7

56.4

108.7

56.4

110.2

56.4

110.2

56.5

110.2

56.5

111.3

56.8

111.3

56.8

111.4

56.8

111.4

57

111.4

57

111.4

56.6

111.4

56.6

111.9

56.6

111.9

56

111.3

56

111.3

54.9

111.3

54.9

108.6

54.9

108.6

53.9

104.8

53.9

104.8

53.5

104.8

53.5

101.6

53.2

101.6

53.2

100

53.2

100

53.2

100

53.2

100

53.3

100

53.3

101

53.3

101

52.5

101.6

52.5

101.6

50.8

101.6

50.8

101.6

50.8

101.6

49.3

101.6

49.3

101.6

48.3

101.6

48.3

102.4

48.3

102.4

47.7

103.5

47.7

103.5

47.6

103.5

47.6

104.4

47.6

104.4

47.3

105.7

47.3

105.7

47

105.7

47

107.1

47.5

107.1

47.5

108.9

47.5

108.9

48.3

108.9

48.3

109.2

48.8

109.2

48.8

105.8

48.8

105.8

48.8

101.7

48.8

101.7

48.8

101.7

48.8

99.4

48.8

99.4

49.2

97.5

49.2

97.5

50.1

97.5

50.1

93.7

50.1

93.7

50.5

88.7

50.5

88.7

49.8

88.7

49.8

83.3

48.9

83.3

48.9

79.5

48.9

79.5

49.3

79.5

49.3

79.2

50.4

79.2

50.4

77

50.4

77

50.9

73.2

50.9

73.2

50.8

73.2

50.8

71.8

50.8

71.8

50.4

72.8

50.4

72.8

50.2

72.8

50.2

74.3

50.2

74.3

50.3

75.2

50.3

75.2

50

75.2

50

76.5

49.6

76.5

49.6

78.9

49.6

78.9

49.2

78.9

49.2

80.8

49.2

80.8

49.2

80.7

49.2

80.7

49.2

80.7

49.2

79.8

48.9

79.8

48.9

79.1

48.9

79.1

49.4

78.6

49.4

78.6

50.5

78.6

50.5

78.9

50.5

78.9

50.7

79.5

50.7

79.5

50.7

79.5

50.7

79.4

50.7

79.4

50.9

79.4

50.9

79.4

50.5

79.4

50.5

80.6

50.1

80.6

50.1

82.6

50.1

82.6

49.8

82.6

49.8

82.5

49.5

82.5

49.5

79.9

49.5

79.9

49.5

77.5

49.5

77.5

49.5

77.5

49.5

77

49.5

77

50.1

77.8

50.1

77.8

50.4

77.8

50.4

78.9

50.4

78.9

50.3

80.3

50.3

80.3

50

80.3

50

80

49.4

80

49.4

79.3

49.4

79.3

49

79.3

49

78.8

48.7

78.8

48.7

78.3

48.7

78.3

48.2

77.7

48.2

77.7

47.6

77.7

47.6

75.1

47.6

75.1

46.8

70.9

46.8

70.9

46.2

70.9

46.2

67.9

46.2

67.9

46.2

67

46.2

67

45.7

67

45.7

68.3

44.4

68.3

44.4

70.5

44.4

70.5

43.7

70.5

43.7

73

43.5

73

43.5

74.6

43.5

74.6

43.4

74.6

43.4

75.5

43.1

75.5

43.1

76.7

43.1

76.7

42.7

77.9

42.7

77.9

42.2

77.9

42.2

79.2

42.2

79.2

42.2

80.9

42.2

80.9

42.4

80.9

42.4

82.6

42.4

82.6

42.7

82.6

42.7

82.6

43

82.6

43

82.3

43.6

82.3

43.6

83.4

43.6

83.4

44.6

83.4

44.6

83.8

45.1

83.8

45.1

82.8

45.1

82.8

45

82.3

45

82.3

45.1

82.3

45.1

82.9

45.1

82.9

45.1

84.9

45.1

84.9

44.8

84.9

44.8

85.8

44.8

85.8

44.4

85.6

44.4

85.6

44.2

85.6

44.2

84.9

44

84.9

44

84.5

44

84.5

43.3

84.5

43.3

84.1

43.1

84.1

43.1

84.3

43.1

84.3

43.5

84.3

43.5

84.6

43.3

84.6

43.3

83.4

43.3

83.4

43.3

81.8

43.3

81.8

43

81.8

43

81.5

43

81.5

42.3

79.9

42.3

79.9

41.6

79.9

41.6

77

41.6

77

41.3

74.7

41.3

74.7

40.8

74.7

40.8

71.7

40.1

71.7

40.1

67.3

40.1

67.3

40.1

67.3

40.1

62.3

40.2

62.3

40.2

59

40.2

59

40.2

57.7

40.2

57.7

40.6

57.7

40.6

57.1

40.6

57.1

40.8

57.9

40.8

57.9

40.7

57.9

40.7

60.8

40.7

60.8

40.4

64.1

40.4

64.1

40

64.1

40

66

40

66

40

67.3

40

67.3

40.4

67.3

40.4

68.3

40.4

68.3

40.4

67.4

40.4

67.4

40.4

65.3

40.4

65.3

40.3

65.3

40.3

64

40.3

64

40.6

61.3

40.6

61.3

40.8

61.3

40.8

58

40.8

58

40.9

56.3

40.9

56.3

41.2

56.3

41.2

55.3

41.7

55.3

41.7

55.4

41.7

55.4

42.6

55.4

42.6

55.4

43.1

55.4

43.1

55.7

43.1

55.7

43.3

55.7

43.3

56.3

43.3

56.3

43.3

56.5

43.3

56.5

43.6

56.5

43.6

56.5

44.1

56.5

44.1

56.3

44.1

56.3

44.1

57.3

44.1

57.3

43.6

57.3

43.6

60.8

43.6

60.8

43.3

60.8

43.3

60.8

43.3

60.8

43.3

60.8

43.1

60.8

43.1

64

43.1

64

42.6

64

42.6

63.9

42.4

63.9

42.4

64.6

42.4

64.6

42.4

64.6

42.4

66.7

42.3

66.7

42.3

70.2

42.3

70.2

42.2

75.3

42.2

75.3

42.7

75.3

42.7

79

42.7

79

43.2

80.8

43.2

80.8

43.2

80.8

43.2

80.1

43.3

80.1

43.3

78.2

43.3

78.2

43.8

78.2

43.8

76.3

44.1

76.3

44.1

75.8

44.1

75.8

44.1

75.8

44.1

76.5

44.1

76.5

44.1

77.4

44.1

77.4

44

77.4

44

78.1

43.7

78.1

43.7

76.2

43.7

76.2

44.1

72.5

44.1

72.5

44.3

72.5

44.3

72.1

44.3

72.1

43.8

74.5

43.8

74.5

43.6

74.5

43.6

76.8

43.6

76.8

43.9

76.3

43.9

76.3

44.2

76.3

44.2

74.2

44.3

74.2

44.3

70.4

44.3

70.4

44.3

70.4

44.3

65.8

43.7

65.8

43.7

63.7

43.7

63.7

42.9

62.6

42.9

62.6

43.2

62.6

43.2

59.3

43.2

59.3

44.8

56.8

44.8

56.8

47

56.8

47

56.9

47

56.9

48.2

56.6

48.2

56.6

48.8

56.6

48.8

54.9

49.2

54.9

49.2

53.6

49.2

53.6

49.6

53.6

49.6

54.2

50.3

54.2

50.3

55.3

50.3

55.3

50.7

55.3

50.7

55.3

50.3

55.3

50.3

54.4

50.3

54.4

49.8

54

49.8

54

49.8

54

49.8

54.4

49.8

54.4

49.6

53.2

49.6

53.2

49.3

53.2

49.3

53.2

49.3

53.2

50.3

55.3

50.3

55.3

52.4

55.3

52.4

55.5

54.4

55.5

54.4

53.6

54.4

53.6

54.7

53.6

54.7

52.8

54

52.8

54

53.3

54

53.3

54.4

55.3

54.4

55.3

55

55.3

55

57.3

55

57.3

54.9

60.2

54.9

60.2

55.3

60.2

55.3

63.7

55.3

63.7

55.8

65.6

55.8

65.6

57

65.6

57

66.3

58.2

66.3

58.2

67.9

58.2

67.9

58.7

67.9

58.7

71

59.2

71

59.2

72.8

59.2

72.8

59.5

72.9

59.5

72.9

59.6

72.9

59.6

72.5

59.6

72.5

58.9

71.7

58.9

71.7

57.7

71.7

57.7

70.8

57.7

70.8

56.8

70.8

56.8

70.8

56.8

70.8

56.8

71

57.2

71

57.2

69.9

57.2

69.9

56.9

69.9

56.9

68

55.7

68

55.7

65.5

55.7

65.5

53.5

65.5

53.5

63.5

51.9

63.5

51.9

63.8

51.9

63.8

51.7

64.8

51.7

64.8

52.2

64.8

52.2

64.7

52.2

64.7

53.2

65.1

53.2

65.1

53.5

65.1

53.5

65.9

53.5

65.9

54

65.5

54

65.5

55.1

65.5

55.1

65.1

55.8

65.1

55.8

65.2

55.8

65.2

57.2

65.2

57.2

65.4

58.7

65.4

58.7

67.4

58.7

67.4

59.7

71.2

59.7

71.2

59.9

71.2

59.9

73.4

59.9

73.4

59.4

73.5

59.4

73.5

58.4

73.5

58.4

72.8

58.4

72.8

57.3

71.4

57.3

71.4

56.9

71.4

56.9

71.7

57.3

71.7

57.3

72.5

57.3

72.5

57.1

72.5

57.1

71.5

57.2

71.5

57.2

71.4

57.2

71.4

57.5

72.8

57.5

72.8

57.5

72.8

57.5

73.7

57.5

73.7

57.8

74.4

57.8

74.4

58

74.4

58

73.5

58

73.5

57.9

71.5

57.9

71.5

58.2

71.5

58.2

71

59

71

59

70.5

59

70.5

59.2

70.5

59.2

67

58.8

67

58.8

63

58.8

63

58.3

63

58.3

61.3

58.1

61.3

58.1

60.1

58.1

60.1

58.3

61.1

58.3

61.1

57.6

61.1

57.6

63.8

57.6

63.8

57.1

65

57.1

65

57.2

65

57.2

65.4

57.2

65.4

56.8

64.8

56.8

64.8

56.8

64.8

56.8

64.9

56.9

64.9

56.9

65.7

56.9

65.7

56.8

65.7

56.8

65.9

56.6

65.9

56.6

65.1

56.6

65.1

55.2

64

55.2

64

53.5

64

53.5

64.8

53.5

64.8

53

66.2

53

66.2

53

66.2

53

66.5

53

66.5

51.9

67.1

51.9

67.1

50.9

67.1

50.9

66.6

50.8

66.6

50.8

64.3

50.8

64.3

50.2

64.3

50.2

59.6

48.5

59.6

48.5

53.4

48.5

53.4

47.6

53.4

47.6

50.7

47.3

50.7

47.3

50.9

47.3

50.9

46.4

51.9

46.4

51.9

45.4

51.9

45.4

52.2

45.4

52.2

44.5

51.4

44.5

51.4

44.4

51.4

44.4

50.6

44.4

50.6

44.2

50.5

44.2

50.5

43.6

50.5

43.6

51.5

42.8

51.5

42.8

51.3

42.8

51.3

43.3

51.3

43.3

49.9

44.6

49.9

44.6

48.3

44.6

48.3

45

46.6

45

46.6

44.8

46.6

44.8

45.2

44.8

45.2

43.9

45.2

43.9

45.2

43.1

45.2

43.1

46.2

43.1

46.2

42

45.5

42

45.5

40.3

45.5

40.3

44.2

38.5

44.2

38.5

45

38.5

45

37.6

45

37.6

47.4

38.2

47.4

38.2

49.6

38.2

49.6

39.4

51.1

39.4

51.1

40.3

51.1

40.3

52

40.3

52

39.5

53.3

39.5

53.3

38.2

53.3

38.2

54.5

38.2

54.5

38

56.9

38

56.9

39.1

56.9

39.1

58

40.6

58

40.6

56.2

40.6

56.2

41.2

56.2

41.2

54.7

40.4

54.7

40.4

52.3

40.4

52.3

38.9

52.3

38.9

50.2

36.7

50.2

36.7

50.7

36.7

50.7

35.7

52

35.7

52

36.1

52

36.1

52.4

36.1

52.4

35.5

53

35.5

53

35

53

35

52.3

35

52.3

36.7

47.5

36.7

47.5

39.5

47.5

39.5

41.9

41

41.9

41

38.1

41

38.1

41.9

38.1

41.9

37.3

42.9

37.3

42.9

41.4

42.9

41.4

42.6

46.3

42.6

46.3

41.2

46.3

41.2

47.5

41.2

47.5

40.4

46.1

40.4

46.1

38.9

46.1

38.9

44.1

38.9

44.1

38.3

43.2

38.3

43.2

39

43.2

39

41.9

37.6

41.9

37.6

40.2

37.6

40.2

35.8

40.2

35.8

45.2

35.8

45.2

35.8

54.7

35.8

54.7

35.9

59.1

35.9

59.1

35

59.1

35

59.4

35

59.4

34.8

58.6

34.8

58.6

36.3

58.6

36.3

57.9

36.3

57.9

37.4

57.8

37.4

57.8

38.2

57.8

38.2

59.2

39.1

59.2

39.1

59.8

39.1

59.8

39.6

59.8

39.6

59

40.2

59

40.2

57.4

40.2

57.4

40.1

57.4

40.1

54.9

39.6

54.9

39.6

53.1

39.6

53.1

39.2

53.5

39.2

53.5

38.7

53.5

38.7

54.6

38.7

54.6

38.1

54.8

38.1

54.8

36.3

54.8

36.3

54.8

36.3

54.8

34.6

54.8

34.6

54.8

34.2

54.8

34.2

53.9

35.3

53.9

35.3

53.6

35.3

53.6

36.9

53.6

36.9

54.6

38.4

54.6

38.4

55.7

38.4

55.7

39.2

55.7

39.2

55.5

39.6

55.5

39.6

57.1

39.6

57.1

40.4

57.1

40.4

62.3

41.6

62.3

41.6

66.7

41.6

66.7

42.3

69.2

42.3

69.2

42.9

69.2

42.9

70.3

43

70.3

43

70.9

43

70.9

42.2

70.9

42.2

70.8

42.2

70.8

42.2

71

42.2

71

42.2

71

42.2

73

41.8

73

41.8

74.2

41.8

74.2

42.3

74.2

42.3

73.7

42.5

73.7

42.5

72.7

42.5

72.7

42.1

72.3

42.1

72.3

41.9

72.3

41.9

74

41.9

74

42.4

75.6

42.4

75.6

43.3

75.6

43.3

74.6

43.3

74.6

44.1

70.3

44.1

70.3

44.4

70.3

44.4

66.2

44.6

66.2

44.6

63.8

44.6

63.8

45

63.8

45

60.2

45.2

60.2

45.2

56.9

45.2

56.9

45.1

51.3

45.1

51.3

45.3

51.3

45.3

40.8

45.3

40.8

46

33.4

46

33.4

46.9

33.4

46.9

33.7

46.9

33.7

47.5

38.3

47.5

38.3

47.6

38.3

47.6

44.7

47.9

44.7

47.9

52.4

47.9

52.4

48

52.4

48

60.8

47.8

60.8

47.8

68.3

47.8

68.3

48

68.3

48

72.9

49

72.9

49

70.7

49

70.7

49.8

69.7

49.8

69.7

50.2

69.7

50.2

76.8

50.2

76.8

51

85.4

51

85.4

51.2

85.4

51.2

91.3

51.2

91.3

50.8

95.5

50.8

95.5

50.8

95.5

50.8

100.4

50.7

100.4

50.7

106.7

50.7

106.7

50.4

106.7

50.4

110.8

50.4

110.8

50.4

112.5

50.4

112.5

49.7

114.2

49.7

114.2

48.9

114.2

48.9

114.8

48.9

114.8

48.2

115.4

48.2

115.4

47.6

115.4

47.6

118.4

47.6

118.4

47.5

122.3

47.5

122.3

47.2

122.3

47.2

129.9

46.5

129.9

46.5

140

46.5

140

46.4

140

46.4

145.9

46.4

145.9

46.4

148

46.4

148

45.9

148.6

45.9

148.6

46

148.6

46

152

46

152

45.9

156.5

45.9

156.5

46

156.5

46

157.4

46

157.4

46.6

154.8

46.6

154.8

47.6

154.8

47.6

151.1

49.5

151.1

49.5

149

49.5

149

50.6

149

50.6

148

50.5

148

50.5

148.8

50.5

148.8

51.2

148.8

51.2

149.4

52.8

149.4

52.8

144.3

52.8

144.3

53.2

136

53.2

136

51.8

136

51.8

127.8

51.8

127.8

50.4

123.5

50.4

123.5

50

123.5

50

122.3

50

122.3

50.5

122

50.5

122

51.1

122

51.1

123.7

51.5

123.7

51.5

124

51.5

124

51.8

124

51.8

122.7

52.7

122.7

52.7

118.1

52.7

118.1

54.3

122.2

54.3

122.2

56.6

122.2

56.6

140

56.6

140

58.7

153.5

58.7

153.5

59.1

153.5

59.1

157.6

59.1

157.6

57.2

160.6

57.2

160.6

54.2

160.6

54.2

166.4

53.7

166.4

53.7

172.3

53.7

172.3

57.1

172.3

57.1

172

61.9

172

61.9

169.5

61.9

169.5

65.4

169.5

65.4

171.8

68.1

171.8

68.1

173.2

68.1

173.2

70.3

172.8

70.3

172.8

70.5

172.8

70.5

172.3

70.5

172.3

69.9

172.7

69.9

172.7

71.5

172.7

71.5

179.1

71.5

179.1

74.1

185.5

74.1

185.5

76.3

185.5

76.3

184.2

77.8

184.2

77.8

179.1

77.8

179.1

78.9

179.1

78.9

177.3

80.6

177.3

80.6

177.6

80.6

177.6

81.6

175.5

81.6

175.5

82.4

175.5

82.4

172

82.4

172

84.8

170.5

84.8

170.5

86.3

170.5

86.3

171.5

86.3

171.5

84.9

173.2

84.9

173.2

82.9

173.2

82.9

176.8

85.2

176.8

85.2

178.9

85.2

178.9

91.4

178.9

91.4

180.7

96.1

180.7

96.1

188.9

96.1

188.9

98.3

197.5

98.3

197.5

97.9

197.5

97.9

204.5

97.9

204.5

97.6

210.8

97.6

210.8

99.5

210.8

99.5

214.4

99.5

214.4

100.8

214.1

100.8

214.1

99.2

214.1

99.2

212.1

98

212.1

98

213.7

98

213.7

100.8

213.7

100.8

216.7

103.5

216.7

103.5

218.8

103.5

218.8

105

218.8

105

223.9

107.2

223.9

107.2

228.9

107.2

228.9

108.4

225.3

108.4

225.3

110.5

225.3

110.5

218.4

110.5

218.4

113.8

214.7

113.8

214.7

114.1

214.7

114.1

215.7

114.1

215.7

110.6

219.8

110.6

219.8

106.3

219.8

106.3

222.2

101.4

222.2

101.4

216.7

101.4

216.7

95

216.7

95

216.4

93.5

216.4

93.5

231.8

93.5

231.8

99.2

251.7

99.2

251.7

105

251.7

105

269.5

105

269.5

108.4

284.1

108.4

284.1

110

284.1

110

291.1

110

291.1

112.1

284.1

112.1

284.1

119.7

284.1

119.7

261.9

128.6

261.9

128.6

239.3

128.6

239.3

133.3

239.3

133.3

239.7

134

239.7

134

258.4

134

258.4

132.4

269.9

132.4

269.9

134

269.9

134

270.8

134

270.8

134

269.9

134

269.9

131.4

269.9

131.4

268.6

131.4

268.6

131.4

272.7

131.4

272.7

133.8

272.7

133.8

283.6

134.4

283.6

134.4

287.6

134.4

287.6

129.3

287.6

129.3

282.6

122.9

282.6

122.9

275.5

122.9

275.5

118.6

275.5

118.6

268.5

117

268.5

117

259.3

117

259.3

119.6

246.4

119.6

246.4

119.9

246.4

119.9

235.9

119.9

235.9

112.9

235.2

112.9

235.2

106.3

235.2

106.3

248

106.3

248

106.7

260.1

106.7

260.1

110.4

260.1

110.4

269

114

269

114

269.5

114

269.5

118.7

269.5

118.7

257.1

124.7

257.1

124.7

240.5

124.7

240.5

130.2

214.4

130.2

214.4

132.5

214.4

132.5

192.8

132.5

192.8

134.9

189.4

134.9

189.4

138.2

189.4

138.2

199.9

138.2

199.9

138.4

214.7

138.4

214.7

129.6

214.7

129.6

230.4

119.2

230.4

119.2

239.7

119.2

239.7

118.2

239.7

118.2

242.8

122.7

242.8

122.7

247.2

122.7

247.2

127.7

247.2

127.7

254.2

131.4

254.2

131.4

258.4

131.4

258.4

133.8

261

133.8

261

136.1

261

136.1

265

136.1

265

136.8

273.1

136.8

273.1

130.7

273.1

130.7

289.6

130.7

289.6

120.5

305.9

120.5

305.9

115.7

305.9

115.7

316.6

116.5

316.6

116.5

317.7

116.5

317.7

117.8

317.7

117.8

310.3

119.2

310.3

119.2

310.3

119.2

310.3

120.7

319.5

120.7

319.5

124.6

319.5

124.6

330.3

124.6

330.3

134.2

330.3

134.2

330.3

149.2

330.3

149.2

330.3

149.2

330.3

166.7

329.1

166.7

329.1

183.3

329.1

183.3

324.8

197.2

324.8

197.2

328.5

197.2

328.5

205.8

328.5

205.8

328.4

209.3

328.4

209.3

321.2

209.3

321.2

210.2

321.2

210.2

310.3

211.2

310.3

211.2

302.1

211.2

302.1

212.2

302.1

212.2

297.8

212.5

297.8

212.5

292.6

212.5

292.6

211.5

285.1

211.5

285.1

208

285.1

208

272.7

204.8

272.7

204.8

255.4

204.8

255.4

204.8

255.4

204.8

242.8

204.8

242.8

204.8

238.2

204.8

238.2

202.6

238.2

202.6

237

200.5

237

200.5

236.3

200.5

236.3

198.7

236.3

198.7

236.7

194.2

236.7

194.2

237.8

194.2

237.8

189.6

240.1

189.6

240.1

187.4

240.1

187.4

240.9

187.4

240.9

186.3

239.3

186.3

239.3

186

239.3

186

238.9

186

238.9

186.6

238.9

186.6

238.9

186.8

238.9

186.8

237.4

186.3

237.4

186.3

237

186.3

237

185.7

237

185.7

240.5

183

240.5

183

244.4

183

244.4

178.8

242.8

178.8

242.8

177.4

242.8

177.4

242

177.4

242

177.2

244.8

177.2

244.8

175.9

244.8

175.9

247.6

175.9

247.6

176.2

252.9

176.2

252.9

176.2

252.9

176.2

258.8

174.9

258.8

174.9

264.5

174.9

264.5

175.4

264.5

175.4

274

176.1

274

176.1

287.6

176.1

287.6

171.3

287.6

171.3

297.8

163.9

297.8

163.9

303.2

163.9

303.2

160.4

307.5

160.4

307.5

160.1

307.5

160.1

313.1

160.1

313.1

159.2

318.9

159.2

318.9

159.7

318.9

159.7

323.6

159.7

323.6

164.1

321.8

164.1

321.8

169.6

321.8

169.6

316.6

171.3

316.6

171.3

317.7

171.3

317.7

169.9

317.7

169.9

323.6

168.1

323.6

168.1

329.7

168.1

329.7

166.9

333.4

166.9

333.4

166.5

333.4

166.5

339.1

166.5

339.1

166

346.9

166

346.9

164.8

346.9

164.8

354.3

164.8

354.3

164.3

361.2

164.3

361.2

163.6

361.2

163.6

360.5

160.1

360.5

160.1

355.7

160.1

355.7

155.6

355.7

155.6

351.6

152.8

351.6

152.8

346.2

152.8

346.2

151.3

346.2

151.3

339

150.2

339

150.2

333.4

150.2

333.4

149.2

327.8

149.2

327.8

145.9

327.8

145.9

327.8

145.9

327.8

143

330.9

143

330.9

142.2

330.9

142.2

331.5

142

331.5

142

332.7

142

332.7

140.6

332.7

140.6

335.2

137.7

335.2

137.7

339.7

137.7

339.7

134.9

339.7

134.9

342.9

133

342.9

133

344.2

133

344.2

130.9

347.5

130.9

347.5

128.5

347.5

128.5

359.1

128.5

359.1

127.6

373.6

127.6

373.6

127.5

373.6

127.5

384.2

127.5

384.2

127.1

390.5

127.1

390.5

126.4

390.5

126.4

397.8

124.9

397.8

124.9

403.6

124.9

403.6

123

403.6

123

409.6

121.3

409.6

121.3

416.5

121.3

416.5

120.3

421.9

120.3

421.9

120.2

421.9

120.2

425.5

120.2

425.5

120.8

428.3

120.8

428.3

121.3

428.3

121.3

433.9

121.3

433.9

122

437.7

122

437.7

123.2

437.7

123.2

439.6

123.7

439.6

123.7

445.5

123.7

445.5

123.8

445.5

123.8

454.5

123.5

454.5

123.5

459.6

123.5

459.6

121.5

459.6

121.5

464.8

119.3

464.8

119.3

465.9

119.3

465.9

117.4

468

117.4

468

115

468

115

472.3

115

472.3

113.3

480

113.3

480

113.2

480

113.2

485.6

113.2

485.6

112.4

483.4

112.4

483.4

110.3

483.4

110.3

480

109.8

480

109.8

486.8

109.8

486.8

111.3

486.8

111.3

497.2

113.1

497.2

113.1

503.2

113.1

503.2

114.7

512.9

114.7

512.9

115.3

512.9

115.3

526.9

115.3

526.9

115.6

532.1

115.6

532.1

116.4

532.1

116.4

533.5

116.4

533.5

116

533.5

116

533.5

115

533.5

115

534.8

114.7

534.8

114.7

536.1

114.7

536.1

114.9

536.1

114.9

534.8

115.5

534.8

115.5

537.5

115.5

537.5

116

537.5

116

538.8

116.9

538.8

116.9

541.5

116.9

541.5

117.4

544.2

117.4

544.2

118.5

544.2

118.5

547

118.5

547

121

556.8

121

556.8

123.3

556.8

123.3

562.6

124.2

562.6

124.2

564

124.2

564

124

564

124

572.9

122

572.9

122

582

122

582

120.1

582

120.1

583.5

120.2

583.5

120.2

586.6

120.2

586.6

120.5

591.3

120.5

591.3

121

591.3

121

599.3

121

599.3

120.8

612.4

120.8

612.4

121.6

612.4

121.6

622.6

121.6

622.6

122.6

620.9

122.6

620.9

122.8

620.9

122.8

617.5

123.3

617.5

123.3

626.1

123.3

626.1

123.7

626.1

123.7

640.2

123.7

640.2

123.7

653.1

123.7

653.1

123.8

666.4

123.8

666.4

125

666.4

125

672.3

125

672.3

124.7

674.3

124.7

674.3

123.8

674.3

123.8

676.3

123.8

676.3

124.8

682.3

124.8

682.3

125

682.3

125

684.3

124.2

684.3

124.2

682.3

124.2

682.3

124.5

682.3

124.5

670.3

126.2

670.3

126.2

666.4

126.2

666.4

128.7

666.4

128.7

684.3

131.2

684.3

131.2

707.2

131.2

707.2

133

733.8

133

733.8

134.1

733.8

134.1

759.8

134.1

759.8

136.2

787.4

136.2

787.4

138.5

787.4

138.5

816.9

138.5

816.9

139.1

816.9

139.1

833.7

140.2

833.7

140.2

830.9

142.2

830.9

142.2

819.6

142.2

819.6

144.4

819.6

144.4

828.1

147.5

828.1

147.5

851.3

147.5

851.3

150.2

830.9

150.2

830.9

152.3

830.9

152.3

787.4

152.3

787.4

154.7

787.4

154.7

772.1

157.6

772.1

157.6

787.4

157.6

787.4

159.2

792.6

159.2

792.6

159.4

792.6

159.4

800.6

173.5

800.6

173.5

822.4

173.5

822.4

179.5

822.4

179.5

833.8

185.1

833.8

185.1

848.3

185.1

848.3

208.2

894.9

208.2

894.9

189.8

894.9

189.8

1011.1

189.8

1011.1

160.1

1163.1

160.1

1163.1

151.9

1163.1

151.9

1229.2

151.9

1229.2

151.4

1271

151.4

1271

152.1

1271

152.1

1309

153

1309

153

1342.4

153

1342.4

153.8

1342.4

153.8

1356.2

155.1

1356.2

155.1

1363.2

155.1

1363.2

156.7

1363.2

156.7

1356.2

158.9

1356.2

158.9

1356.2

158.9

1356.2

174.3

1322.2

174.3

1322.2

209.4

1322.2

209.4

1309.2

209.4

1309.2

208.8

1309.2

208.8

1309.2

179.7

1309.2

179.7

1309.2

179.7

1190

170.3

1089.2

170.3

1089.2

169

1089.2

169

1080

169.5

1080

169.5

1080

169.5

1098.6

170.5

1098.6

170.5

1098.6

171.5

1112.9

171.5

1127.5

171.5

1127.5

172.8

1142.5

172.8

1142.5

174.5

1142.5

174.5

1142.5

174.5

1142.5

177.1

1142.5

177.1

1142.5

180

1142.5

180

1142.5

180

1147.7

183.2

1147.7

183.2

1147.7

187.8

1147.7

187.8

1147.7

193

1147.7

193

1158

193

1158

197.1

1158

197.1

1168.5

200.7

1168.5

200.7

1168.5

200.7

1179.1

218.4

1179.1

218.4

1179.1

240.2

1195.4

240.2

1206.5

240.2

1206.5

228.2

1206.5

228.2

1206.5

208.5

1206.5

208.5

1200.9

208.5

1200.9

202.8

1200.9

202.8

1212.1

203.4

1212.1

203.4

1212.1

203.4

1229.4

203.4

1241.1

203.4

1241.1

203.4

1241.1

203.4

1241.1

203.4

1253

208.5

1253

208.5

1259

213.7

1259

213.7

1265.1

217

1265.1

217

1265.1

217

1277.4

231.1

1277.4

231.1

1277.4

253.9

1271.2

253.9

1265.1

253.9

1265.1

270.2

1277.5

270.2

1277.5

278.6

1277.5

278.6

1277.5

278.6

1296.4

292

1296.4

292

1309.3

306.4

1309.3

306.4

1309.3

306.4

1315.9

300.4

1329.1

300.4

1329.1

279.1

1329.1

279.1

1322.4

264.3

1322.4

264.3

1322.5

264.3

1322.5

260.8

1322.5

260.8

1315.8

263.4

1315.8

263.4

1315.8

263.4

1309.3

269.7

1309.3

269.7

1302.9

277.2

1302.9

277.2

1296.5

277.2

1296.5

283.5

1296.5

283.5

1296.5

290

1296.5

290

1265.2

290

1265.2

298.3

1265.2

298.3

1201.1

307.5

1201.1

307.5

1201.1

313.7

1179.2

313.7

1195.6

313.7

1195.6

317.8

1195.6

317.8

1195.6

318.4

1195.6

318.4

1195.6

318.4

1201.2

323.1

1201.2

323.1

1218

331.6

1218

331.6

1218

331.6

1241.3

337.3

1259.2

337.3

1259.2

339.2

1259.2

339.2

1259.2

339.2

1265.2

340.5

1265.3

340.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1277.6

343.8

1277.6

343.8

1277.6

344.4

1277.6

344.4

1283.8

344.4

1283.8

344.4

1283.8

344.4

1283.8

345.8

1302.9

345.8

1316

345.8

1316

347.1

1316

347.1

1322.6

347.8

1322.6

347.8

1322.6

347.8

1309.5

349.1

1290.2

349.1

1290.2

349.8

1290.2

349.8

1290.2

349.8

1290.2

349.8

1290.2

349.8

1309.5

350.4

1309.5

350.4

1343

351.1

1343

351.1

1343

351.1

1342.9

352.5

1342.9

352.5

1342.9

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.1

1343

353.1

1343

353.1

1342.9

355.2

1342.9

355.2

1303.1

355.9

1303.1

355.9

1303.1

355.9

1241.4

354.5

1206.8

354.5

1206.8

353.1

1206.8

353.1

1206.8

353.1

1206.9

353.1

1212.5

353.1

1212.5

352.4

1212.5

352.4

1212.5

352.4

1212.5

352.4

1223.9

352.4

1223.9

353.8

1223.9

353.8

1223.9

353.8

1247.4

353.8

1265.6

353.8

1265.6

353.8

1265.6

353.8

1271.6

353.8

1271.6

353.8

1271.6

353.8

1259.4

353.1

1259.4

353.1

1253.4

352.4

1253.4

352.4

1253.4

352.4

1253.4

353.1

1265.6

353.1

1265.6

353.8

1265.6

353.8

1265.6

354.5

1271.7

354.5

1284.1

354.5

1284.1

354.5

1284.1

354.5

1290.5

353.8

1290.5

353.8

1290.5

353.8

1284.2

355.2

1284.2

355.2

1290.5

356.6

1290.5

356.6

1290.5

356.6

1284.2

356.6

1284.2

356.6

1278

358.7

1278

358.7

1278

358.7

1259.5

359.4

1259.5

359.4

1235.6

358.7

1235.6

358.7

1235.6

359.3

1235.6

359.3

1235.6

359.3

1253.5

361.5

1253.5

361.5

1253.5

361.5

1265.6

361.5

1265.6

361.5

1271.8

362.2

1271.8

362.2

1290.6

365

1290.6

365

1290.6

365

1316.4

366.5

1316.4

366.5

1350.1

365

1350.1

365

1350.1

365

1364

363.6

1364

363.6

1378.2

364.3

1378.2

364.3

1378.2

364.3

1400

365

1400

365

1422.5

365.8

1422.5

365.8

1422.5

365

1437.9

365

1437.9

365

1461.5

361.4

1461.5

361.4

1461.5

361.4

1469.6

361.4

1469.6

361.4

1477.7

362.9

1477.7

362.9

1494.1

362.9

1494.1

362.9

1494.1

362.9

1494.1

363.6

1494.1

363.6

1494

364.3

1494

364.3

1511

364.3

1511

364.3

1511

364.3

1528.2

360.7

1528.2

360.7

1528.2

355.8

1537

355.8

1537

355.8

1528.2

355.8

1528.2

355.8

1528.2

356.5

1528.2

356.5

1528.2

356.5

1528.3

355.8

1528.3

355.8

1528.3

355.1

1545.9

355.1

1545.9

355.1

1573

355.8

1573

355.8

1537.1

356.5

1537.1

356.5

1537.1

356.5

1494.4

356.5

1494.4

356.5

1511.2

356.5

1511.2

356.5

1511.2

356.5

1502.8

357.9

1502.8

357.9

1494.4

358.6

1494.4

358.6

1494.4

357.9

1494.4

357.9

1494.4

357.9

1494.4

358.6

1494.4

358.6

1511.3

358.6

1511.3

358.6

1511.3

358.6

1528.6

358.6

1528.6

358.6

1555.1

360

1555.1

360

1555.1

360

1573.1

360

1573.1

360

1610.6

360

1610.6

360

1610.6

360

1680.4

360.7

1680.4

360.7

1745.1

1745.1

1745.1

1767.7

1767.7

1790.8

1790.8

1790.8

1826.6

1826.6

1863.7

1863.7

1889.3

1889.3

1889.3

1902.4

1902.4

1942.8

1942.8

1942.8

1984.6

1984.6

1998.7

1998.7

1998.7

1929

1929

1814.6

1814.6

1814.6

1779.4

1779.4

1791

1791

1814.7

1814.7

1814.7

1851.6

1851.6

1889.7

1889.7

1889.7

1902.9

1902.9

1916.1

1916.1

1916.1

1929.3

1929.3

1929.3

1929.3

1929.3

1929.3

1929.3

1943

1943

1943

1970.6

1970.6

1999

1999

1984.8



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



d

NOx, prop=0

NOx,B=0,co-fire

time,s

NOx,ppm

7

2

7

2

5

2

5

3

5

3

5

6

5

6

7

6

7

17

15

17

15

29

15

29

27

29

27

35

37

35

37

37

37

37

42

37

42

38

45

38

45

38

45

38

46

37

46

37

47

37

47

38

47

38

47

38

47

38

48

38

48

39

47

39

47

39

47

39

48

39

48

40

48

40

48

40

48

40

49

39

49

40

49

40

49

40

49

40

50

40

50

40

50

40

50

40

50

40

50

41

50

41

50

41

50

41

50

41

51

41

51

41

51

41

51

41

51

41

51

41

51

41

52

41

52

41

52

41

52

41

52

41

52

35

52

35

52

35

52

23

52

23

45

15

45

15

31

15

31

12

20

12

20

11

20

11

14

11

14

11

12

11

12

11

12

11

12

11

12

12

12

12

12

13

12

13

13

13

13

13

13

13

13

14

13

14

13

15

13

15

14

15

14

15

14

15

14

15

14

15

14

15

14

16

14

16

14

16

14

16

14

16

14

17

15

17

15

19

15

19

15

22

15

22

14

22

14

28

14

28

15

34

15

34

15

34

15

40

15

40

14

45

14

45

15

45

15

47

15

47

16

50

16

50

16

50

16

55

16

55

16

62

16

62

16

62

16

66

17

66

17

68

17

68

17

70

17

70

18

70

18

72

18

72

19

73

19

73

19

73

19

74

20

74

20

75

20

75

20

75

20

75

22

75

22

76

22

76

25

76

25

77

27

77

27

77

27

77

30

77

30

77

34

77

34

77

34

77

38

78

38

78

41

78

41

78

45

78

45

78

45

78

50

78

50

78

55

78

55

77

55

77

59

77

59

76

63

76

63

76

63

76

69

76

69

76

75

76

75

77

75

77

81

77

81

78

86

78

86

78

86

78

88

79

88

79

88

79

88

78

88

78

88

77

88

77

88

77

88

77

87

77

87

76

87

76

87

76

87

76

86

76

86

76

86

76

87

77

87

77

87

77

87

77

87

77

87

78

87

78

88

78

88

79

89

79

89

79

89

79

91

79

91

80

92

80

92

79

92

79

93

79

93

78

94

78

94

77

94

77

93

77

93

77

93

77

93

78

93

78

93

79

93

79

92

79

92

79

88

79

88

79

88

79

82

79

82

79

77

79

77

79

77

79

74

79

74

78

72

78

72

79

72

79

71

78

71

78

69

78

69

78

69

78

68

77

68

77

69

77

69

77

69

77

73

77

73

77

76

77

76

76

76

76

76

77

76

77

75

77

75

77

75

77

75

77

75

77

77

77

77

76

78

76

78

74

78

74

79

74

79

74

84

74

84

74

84

74

88

75

88

75

90

75

90

75

90

75

90

76

90

76

90

76

90

76

90

76

90

76

90

76

91

76

91

77

91

77

91

76

91

76

90

74

90

74

88

74

88

73

88

73

86

72

86

72

84

72

84

71

84

71

84

71

84

71

84

71

84

71

85

71

85

71

85

71

85

71

85

71

85

71

85

71

85

71

86

71

86

70

85

70

85

70

85

70

84

71

84

70

83

70

83

71

83

71

83

70

83

70

83

70

83

70

82

70

82

71

82

71

82

71

82

71

82

71

82

71

82

71

83

71

83

72

84

72

84

72

84

72

85

73

85

73

86

73

86

74

86

74

85

75

85

75

84

75

84

76

85

76

85

76

85

76

84

76

84

77

83

77

83

77

83

77

81

77

81

77

80

77

80

78

80

78

78

79

78

79

76

79

76

80

76

80

76

80

76

80

76

80

76

80

76

80

76

80

76

80

75

80

75

79

75

79

73

78

73

78

73

78

73

78

74

78

74

78

74

78

75

78

75

77

74

77

74

77

74

77

74

77

74

77

74

77

74

78

74

78

74

78

74

78

74

78

74

79

74

79

74

79

74

79

75

79

75

79

75

79

75

79

75

79

75

79

75

80

75

80

75

80

75

80

76

80

76

80

78

80

78

80

78

80

77

80

77

80

76

80

76

79

76

79

75

79

75

79

75

79

75

79

75

79

76

80

76

80

77

80

77

80

78

80

78

80

78

80

78

80

78

80

78

80

78

80

78

80

79

80

79

80

79

80

79

80

79

80

79

80

79

80

80

80

80

79

80

79

80

80

80

80

80

80

80

79

80

79

80

79

80

79

79

79

79

79

78

79

78

78

78

78

78

78

78

79

77

79

77

80

77

80

78

80

78

80

78

80

78

80

78

80

78

81

78

81

78

81

78

80

78

80

78

81

78

81

77

81

77

81

76

81

76

80

76

80

76

80

76

81

76

81

76

80

76

80

75

80

75

80

74

80

74

80

74

80

74

80

74

80

73

80

73

80

73

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

81

71

81

72

81

72

81

73

81

73

81

73

81

74

81

74

81

74

81

74

82

74

82

75

81

75

81

76

81

76

81

76

81

76

81

76

81

76

81

76

81

76

81

76

80

76

80

75

80

75

80

75

80

75

80

75

80

74

80

74

80

74

80

74

80

74

80

72

80

72

80

72

80

72

80

72

80

71

80

71

80

71

80

71

79

72

79

72

80

72

80

74

80

74

80

74

80

74

79

74

79

74

79

74

79

76

79

76

79

76

79

77

79

77

79

79

79

79

79

79

79

81

79

81

79

81

79

81

79

82

79

81

78

81

78

84

78

84

79

85

79

85

79

85

79

84

79

84

80

84

80

84

79

84

79

85

78

85

78

85

78

85

78

85

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

77

84

77

83

77

83

77

83

77

81

77

81

77

81

77

81

76

82

76

82

77

82

77

83

77

83

77

82

77

82

77

82

77

82

77

82

77

82

77

82

77

82

77

81

77

81

77

81

77

81

78

81

78

82

78

82

78

82

78

82

79

82

79

82

79

82

79

82

79

82

79

83

79

83

79

83

79

85

79

85

80

86

80

86

80

86

80

87

80

87

80

86

80

86

80

86

80

85

80

85

80

84

80

84

80

84

80

84

81

84

81

83

81

83

81

83

81

83

81

83

81

82

81

82

81

81

81

81

81

81

81

80

81

80

81

79

81

79

81

79

81

78

80

78

80

77

80

77

79

77

79

77

80

77

80

76

80

76

79

75

79

75

79

75

79

76

79

76

79

76

79

76

79

76

79

75

79

75

79

74

79

74

79

74

79

73

79

73

79

74

79

74

78

74

78

74

78

74

78

74

78

74

79

74

79

74

79

74

79

76

79

76

79

76

79

76

80

76

80

77

80

77

80

77

80

77

80

77

80

78

81

78

81

78

81

78

82

78

82

80

82

80

82

81

82

81

81

81

81

82

82

82

82

84

82

84

82

85

82

85

82

85

82

86

82

86

81

87

81

87

81

87

81

86

81

86

80

85

80

85

81

85

81

84

81

84

81

83

81

83

81

83

81

83

81

83

81

83

81

83

81

84

81

84

81

84

81

84

81

84

81

85

81

84

80

84

80

85

80

85

79

87

79

87

79

87

79

87

80

87

80

88

80

88

79

88

79

88

79

88

79

89

79

89

78

89

78

89

77

89

77

89

77

89

77

90

77

90

77

90

77

90

77

90

76

90

76

90

76

90

76

89

76

89

75

86

75

86

75

86

75

86

75

86

75

86

75

86

75

86

75

85

75

85

75

84

75

84

75

84

75

84

75

84

75

84

75

84

75

82

75

82

75

82

75

80

75

80

74

78

74

78

74

78

74

77

74

77

74

77

74

77

74

77

74

77

73

77

73

79

73

79

74

79

74

79

74

79

74

79

74

79

74

79

74

79

74

79

74

78

74

78

74

78

74

78

73

78

73

79

73

79

73

80

73

80

73

80

73

79

73

79

74

77

74

77

74

77

74

77

74

77

74

78

74

78

74

78

74

79

75

79

75

81

75

81

75

83

75

82

75

82

75

82

75

82

75

84

75

84

75

84

75

85

75

85

74

85

74

85

74

85

74

85

74

85

74

86

74

86

73

86

73

86

73

86

73

85

73

85

72

85

72

85

71

85

71

85

71

85

71

86

71

85

71

85

71

84

71

84

70

84

70

84

71

84

71

84

70

84

70

84

70

84

70

84

70

84

70

84

70

84

70

84

69

84

69

85

69

85

69

86

69

86

70

87

70

87

71

87

71

86

71

86

70

86

70

86

71

86

71

85

71

85

71

84

71

84

71

84

71

83

70

83

70

83

70

83

69

83

69

83

70

83

70

82

70

82

69

81

69

81

68

81

68

81

68

81

68

81

68

81

69

81

69

81

69

81

69

81

69

81

70

81

70

80

70

80

70

79

70

79

69

79

69

80

69

80

69

81

69

81

69

82

69

82

69

82

69

83

69

83

70

83

70

83

71

83

71

83

71

83

71

83

71

83

71

83

71

82

71

82

71

81

71

81

71

81

71

80

70

80

70

80

70

80

71

80

71

81

69

81

69

81

69

81

68

81

68

80

68

80

68

79

68

79

68

79

68

79

68

79

68

78

68

78

68

78

68

78

67

78

67

77

67

77

67

76

67

76

67

76

67

76

67

76

67

75

67

75

67

74

67

74

66

74

66

74

66

74

66

75

66

75

66

75

66

74

66

74

67

73

67

73

67

73

67

74

67

74

67

74

67

74

67

74

67

74

66

74

66

76

66

76

66

76

66

78

67

78

67

78

67

78

67

78

67

79

67

79

67

79

67

79

68

79

68

79

68

79

68

79

68

79

68

80

68

80

68

80

68

81

69

81

69

81

69

81

69

81

69

81

69

81

69

82

69

82

69

83

69

83

70

83

70

83

70

83

70

81

70

81

69

81

69

80

69

80

69

80

69

80

69

80

69

80

70

80

70

81

70

81

69

81

69

83

70

83

70

85

70

85

71

87

71

87

71

87

71

88

71

88

71

87

71

87

71

87

71

86

71

86

71

86

71

86

72

86

72

87

72

87

73

86

73

86

72

86

72

86

73

86

73

86

73

86

74

86

74

86

74

86

74

86

74

86

74

87

74

87

73

87

73

88

73

88

73

89

73

89

74

89

74

88

74

88

74

87

74

87

75

87

75

87

76

87

75

88

75

88

76

88

76

88

77

88

77

87

77

87

78

87

78

87

77

87

77

86

77

86

76

85

76

85

76

85

76

86

76

86

77

86

77

86

78

86

78

86

77

86

77

86

77

86

76

86

76

86

75

86

75

87

75

87

75

87

75

88

76

88

76

89

76

89

77

89

77

89

78

89

78

88

78

88

78

88

78

88

78

88

78

88

78

88

78

88

78

88

79

88

79

89

78

89

78

91

78

91

78

91

78

93

78

93

78

93

78

93

77

91

77

91

76

91

76

89

76

89

77

89

77

89

77

89

77

90

77

90

77

91

77

91

78

91

78

90

78

90

78

90

78

90

77

90

77

90

78

90

78

86

78

86

78

83

78

83

79

83

79

81

79

81

79

81

79

81

79

81

79

82

79

82

79

82

79

82

78

82

78

82

78

82

78

82

78

82

77

82

77

81

77

81

77

82

77

82

78

82

78

83

77

83

77

84

77

84

78

85

78

85

78

85

78

85

78

85

78

84

78

84

78

84

78

84

78

84

79

84

79

84

80

84

80

84

80

84

80

84

80

84

80

84

80

85

79

85

79

85

79

85

79

85

79

85

78

85

78

84

78

84

77

83

77

83

77

83

77

82

77

82

76

80

76

80

75

80

75

78

75

78

75

77

75

77

74

77

74

76

75

76

75

76

75

76

75

76

75

75

75

75

75

74

75

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

75

74

75

74

75

74

75

73

75

73

75

73

75

73

75

73

75

75

74

75

74

76

74

76

74

76

74

77

74

77

74

78

74

78

74

79

74

79

74

79

74

79

74

79

74

81

74

82

73

82

73

85

73

85

73

84

73

84

72

84

72

82

71

82

71

79

71

79

71

79

71

76

71

76

71

74

71

74

73

72

73

72

73

72

73

71

73

71

71

71

71

71

71

71

71

70

71

70

71

67

71

67

70

67

70

63

70

63

69

60

69

60

70

60

70

59

69

59

69

58

69

58

69

58

69

56

70

56

70

55

70

55

71

54

71

54

71

54

71

53

71

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

51

70

51

70

51

70

50

70

50

70

49

70

49

69

48

69

48

69

48

69

47

69

47

69

47

69

47

69

47

69

46

69

46

69

46

69

46

69

46

69

46

69

46

69

47

69

47

67

47

67

48

65

48

65

48

65

48

65

48

65

48

64

48

64

48

64

48

64

48

64

48

63

48

63

49

63

49

64

50

64

50

64

50

64

51

64

51

65

50

65

50

64

50

64

50

63

50

63

49

63

49

63

49

63

49

63

49

63

50

63

50

63

51

63

51

61

51

61

50

61

50

60

47

60

47

60

47

60

43

60

43

59

41

59

41

59

41

59

41

59

41

60

39

60

39

59

39

59

39

57

39

57

39

57

39

55

38

55

38

53

38

53

38

53

38

52

38

52

38

52

38

52

38

52

38

51

39

51

39

51

39

51

39

50

39

50

40

50

40

51

40

51

40

51

40

51

40

51

40

50

40

50

39

50

39

50

38

50

38

50

38

50

38

50

38

50

40

50

40

51

40

51

40

49

40

49

39

49

39

48

40

48

40

48

40

48

39

49

39

48

39

48

39

48

39

48

39

48

39

48

39

48

39

47

38

47

38

46

38

46

37

46

37

46

37

46

37

46

37

46

37

46

37

46

36

46

36

45

36

45

37

44

37

44

38

44

38

44

38

44

38

45

38

45

37

45

37

45

37

45

37

44

37

44

36

44

36

43

37

43

37

42

37

42

37

42

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

44

37

44

37

46

37

46

37

46

37

48

37

48

39

49

39

49

39

49

39

49

37

49

37

47

37

47

36

47

36

46

33

46

33

44

33

44

31

44

31

43

31

43

31

43

31

43

31

42

31

42

33

42

33

40

33

40

35

40

35

40

35

40

35

39

34

39

34

39

34

39

33

39

33

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

33

38

33

37

33

37

33

38

33

38

33

38

33

39

33

39

33

41

33

41

34

41

34

42

36

42

36

42

36

42

38

42

38

41

41

41

41

43

41

43

41

43

41

45

40

45

40

44

40

44

38

43

38

43

37

43

37

42

37

42

37

42

37

42

37

42

37

42

39

42

39

41

39

41

42

41

42

41

44

41

44

41

44

41

44

41

44

41

43

41

43

42

43

42

41

44

41

44

39

44

39

45

39

45

38

46

38

46

38

46

38

44

38

44

38

43

38

43

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

44

37

44

37

44

37

44

36

44

36

44

36

44

35

44

35

44

35

44

35

43

35

43

34

43

34

43

35

43

35

44

35

44

35

45

35

45

35

45

35

45

34

45

34

44

34

44

34

44

34

42

34

42

34

40

34

40

35

38

35

38

35

38

35

35

35

35

35

34

35

34

34

34

34

34

34

34

34

35

34

35

35

35

35

34

35

34

35

33

35

33

35

33

35

33

36

33

36

34

36

34

35

35

35

35

37

35

37

35

37

35

38

35

38

35

39

35

39

35

39

35

39

35

39

35

40

35

40

36

40

36

40

36

40

36

40

36

40

36

40

36

40

37

40

37

40

37

40

37

39

37

39

37

39

37

39

37

39

38

40

38

40

38

40

38

40

37

40

37

40

37

40

37

40

37

40

38

40

38

41

38

41

38

40

38

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

39

39

39

39

38

39

38

40

38

40

38

40

38

40

38

40

38

39

38

39

37

40

37

40

36

40

36

41

36

41

36

41

36

41

37

41

37

41

37

41

37

42

37

42

37

42

37

42

37

42

37

42

37

42

37

41

37

40

37

40

37

40

37

40

37

40

37

40

37

40

37

40

36

40

36

41

36

41

36

41

36

41

35

41

35

40

35

40

34

40

34

41

33

41

33

41

33

41

33

41

33

41

32

41

32

42

32

42

33

43

33

43

34

43

34

44

34

44

34

43

34

43

34

43

34

44

34

44

34

44

34

44

35

44

35

45

35

45

35

45

35

45

34

45

34

45

34

45

34

46

34

46

34

47

34

47

33

47

33

47

33

47

33

48

33

48

33

48

33

49

33

49

33

49

33

49

32

49

32

50

32

50

32

50

32

50

32

50

32

51

32

51

32

50

32

50

31

50

31

50

30

50

30

51

30

51

30

51

30

51

30

51

30

52

30

52

30

52

30

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

28

52

28

52

28

52

29

51

29

51

28

51

28

51

28

51

28

52

28

52

28

52

28

52

27

52

27

53

27

53

27

53

27

53

26

53

26

54

26

54

26

54

26

54

27

54

27

53

27

53

28

54

28

53

27

53

27

54

27

54

27

54

27

54

27

54

27

53

27

53

27

53

27

53

27

53

27

53

26

53

26

53

26

53

25

53

25

52

26

52

26

53

26

53

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

53

25

53

25

52

25

52

25

52

25

52

25

52

25

52

25

52

26

51

26

51

25

51

25

51

25

51

25

52

25

52

25

52

25

52

25

52

25

52

25

52

25

52

25

52

24

52

24

52

24

52

23

52

23

52

23

52

23

52

23

52

23

52

23

52

23

52

23

51

23

51

22

51

22

52

23

52

23

51

23

51

22

51

22

51

22

51

22

51

22

51

22

51

22

51

21

51

21

51

21

51

20

51

20

51

21

51

21

51

21

51

21

51

21

51

21

51

21

51

20

51

20

51

20

51

20

51

20

51

20

51

20

51

21

51

21

50

20

50

20

50

20

50

19

50

19

50

19

50

19

50

19

49

19

49

19

49

19

49

18

50

18

50

17

50

17

49

17

49

17

49

17

49

17

49

17

48

17

48

17

48

17

48

17

48

17

46

17

46

17

46

17

46

17

46

17

45

18

45

18

45

18

45

18

45

18

43

18

43

18

43

18

43

18

43

18

43

18

43

18

42

18

42

17

40

17

40

16

40

16

38

16

38

16

34

16

34

16

34

16

37

15

37

15

44

15

44

15

44

15

47

14

47

14

47

14

47

15

47

15

47

15

47

15

47

15

47

14

46

14

46

14

46

14

46

14

46

14

46

14

46

14

46

14

45

14

45

14

42

14

42

14

42

14

36

14

36

14

34

14

34

13

34

13

39

13

39

14

42

14

42

15

43

15

43

15

43

15

43

15

43

15

43

15

43

15

43

15

43

14

43

14

43

14

43

14

43

14

43

14

43

14

42

14

42

14

42

14

41

14

41

14

40

14

40

14

40

15

40

15

40

15

40

15

40

16

39

16

39

15

39

15

38

15

38

14

34

14

34

14

34

14

31

14

31

14

33

14

33

13

33

13

37

13

37

13

38

13

38

14

38

14

39

14

39

13

39

13

39

13

39

13

39

13

39

13

37

13

37

14

36

14

35

13

35

13

34

13

34

13

33

13

33

13

33

13

29

13

29

13

26

13

26

13

26

13

26

13

26

13

24

13

24

13

24

13

22

13

22

13

22

13

22

13

24

13

24

12

24

12

27

12

27

12

28

12

28

12

28

12

28

12

28

12

28

12

28

12

28

12

27

12

27

12

26

12

26

12

26

12

25

13

25

13

24

13

24

13

23

13

23

13

23

13

22

13

22

13

22

13

22

13

22

13

22

13

22

12

21

12

21

12

21

12

21

12

21

12

20

12

20

12

20

13

20

13

20

13

20

13

20

13

20

13

20

13

20

13

19

13

19

13

20

12

20

12

20

12

20

12

20

12

20

12

20

12

20

12

20

13

20

12

20

12

20

12

20

12

20

12

20

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

13

19

13

19

13

19

12

19

12

19

12

18

12

18

12

18

12

19

12

19

13

19

13

19

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

12

18

12

18

12

18

12

18

12

19

12

19

12

18

12

18

12

18

13

18

13

18

13

18

13

18

13

18

12

18

12

18

12

19

12

19

12

18

12

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

14

17

14

17

15

18

15

18

15

18

14

18

14

18

14

18

14

18

14

18

13

18

13

18

13

17

13

17

13

18

13

18

13

18

12

18

12

18

12

18

12

18

12

18

12

17

12

17

12

17

12

17

12

17

12

18

12

18

12

18

12

18

12

18

12

17

12

17

11

17

11

17

11

17

11

17

11

17

12

18

12

18

12

18

12

18

12

18

11

18

11

18

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

10

17

10

17

11

17

11

17

11

17

12

18

12

18

11

17

11

17

11

17

11

18

11

18

11

18

11

18

11

18

11

17

11

17

12

17

12

17

12

17

12

17

12

17

11

17

11

17

11

18

11

18

11

18

11

18

11

18

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

18

11

18

11

18

11

17

11

17

11

17

11

17

11

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

11

11

11

11

11

11

11

11

11

11

12

12

11

11

10

10

10

10

10

10

10

10

11

11

11

10

10

10

10

10

11

11

10

10

9

9

9

10

10

10

10

10



		0		0		0		0		0

		0		0		0		0		0

		5		5		5		5		5

		5		5		5		5		5

		10		10		10		10		10

		10		10		10		10		10

		15		15		15		15		15

		15		15		15		15		15

		20		20		20		20		20

		20		20		20		20		20

		25		25		25		25		25

		25		25		25		25		25

		30		30		30		30		30



vax,40/70,cold air, L=130mm

vax, 40/90,cold air

vax,40/100,cold air

vax,47/70,cold air

vax55/70,cold air

Radial distance,mm

Velocity,m/s

0.04

1.2

1.89

2.04

2.41

1.745

2.13

2.355

2.505

0

1.24

1.725

2.1

2.41

1.69

2.23

2.37

2.545

0.08

1.365

1.93

2.21

2.365

1.52

2.225

2.22

2.48

0

0.64

1.9

2.01

2.3

0

1.14

1.99

1.98

2.35

1.21

0.04

1.285

1.85

2.005

0.78

1.4

0.34

1.66

1.99

1.435

1.66

1.41

1.08

1.3

1.52

1.385

1.89

1.24

1.535

1.845

1.19

1.145

1.28

1.65



		0		0

		0		0

		5		5

		5		5

		10		10

		10		10

		15		15

		15		15

		20		20

		20		20

		25		25

		25		25

		30		30



vax,40/70,cold air, L=130mm

vtg,40/70,cold air

Radial distance,mm

Velocity,m/s

0.04

1.22

1.385

0

0.74

1.18

0.08

0.42

0.24

0

1.675

0

1.87

1.21

2.25

0.78

2.43

1.435

2.465

1.52

2.525

1.845

2.415



		1		1		1

		2		2		2

		3		3		3

		4		4		4

		5		5		5

		6		6		6

		7		7		7

		8		8		8

		9		9		9

		10		10		10

		11		11		11

		12		12		12

		13		13		13

		14		14		14

		15		15		15

		16		16		16

		17		17		17

		18		18		18

		19		19		19

		20		20		20

		21		21		21

		22		22		22

		23		23		23

		24		24		24

		25		25		25

		26		26		26

		27		27		27

		28		28		28

		29		29		29

		30		30		30

		31		31		31

		32		32		32

		33		33		33

		34		34		34

		35		35		35

		36		36		36

		37		37		37

		38		38		38

		39		39		39

		40		40		40

		41		41		41

		42		42		42

		43		43		43

		44		44		44

		45		45		45

		46		46		46

		47		47		47

		48		48		48

		49		49		49

		50		50		50

		51		51		51

		52		52		52

		53		53		53

		54		54		54

		55		55		55

		56		56		56

		57		57		57

		58		58		58

		59		59		59

		60		60		60

		61		61		61

		62		62		62

		63		63		63

		64		64		64

		65		65		65

		66		66		66

		67		67		67

		68		68		68

		69		69		69

		70		70		70

		71		71		71

		72		72		72

		73		73		73

		74		74		74

		75		75		75

		76		76		76

		77		77		77

		78		78		78

		79		79		79

		80		80		80

		81		81		81

		82		82		82

		83		83		83

		84		84		84

		85		85		85

		86		86		86

		87		87		87

		88		88		88

		89		89		89

		90		90		90

		91		91		91

		92		92		92

		93		93		93

		94		94		94

		95		95		95

		96		96		96

		97		97		97

		98		98		98

		99		99		99

		100		100		100

		101		101		101

		102		102		102

		103		103		103

		104		104		104

		105		105		105

		106		106		106

		107		107		107

		108		108		108

		109		109		109

		110		110		110

		111		111		111

		112		112		112

		113		113		113

		114		114		114

		115		115		115

		116		116		116

		117		117		117

		118		118		118

		119		119		119

		120		120		120

		121		121		121

		122		122		122

		123		123		123

		124		124		124

		125		125		125

		126		126		126

		127		127		127

		128		128		128

		129		129		129

		130		130		130

		131		131		131

		132		132		132

		133		133		133

		134		134		134

		135		135		135

		136		136		136

		137		137		137

		138		138		138

		139		139		139

		140		140		140

		141		141		141

		142		142		142

		143		143		143

		144		144		144

		145		145		145

		146		146		146

		147		147		147

		148		148		148

		149		149		149

		150		150		150

		151		151		151

		152		152		152

		153		153		153

		154		154		154

		155		155		155

		156		156		156

		157		157		157

		158		158		158

		159		159		159

		160		160		160

		161		161		161

		162		162		162

		163		163		163

		164		164		164

		165		165		165

		166		166		166

		167		167		167

		168		168		168

		169		169		169

		170		170		170

		171		171		171

		172		172		172

		173		173		173

		174		174		174

		175		175		175

		176		176		176

		177		177		177

		178		178		178

		179		179		179

		180		180		180

		181		181		181

		182		182		182

		183		183		183

		184		184		184

		185		185		185

		186		186		186

		187		187		187

		188		188		188

		189		189		189

		190		190		190

		191		191		191

		192		192		192

		193		193		193

		194		194		194

		195		195		195

		196		196		196

		197		197		197

		198		198		198

		199		199		199

		200		200		200

		201		201		201

		202		202		202

		203		203		203

		204		204		204

		205		205		205

		206		206		206

		207		207		207

		208		208		208

		209		209		209

		210		210		210

		211		211		211

		212		212		212

		213		213		213

		214		214		214

		215		215		215

		216		216		216

		217		217		217

		218		218		218

		219		219		219

		220		220		220

		221		221		221

		222		222		222

		223		223		223

		224		224		224

		225		225		225

		226		226		226

		227		227		227

		228		228		228

		229		229		229

		230		230		230

		231		231		231

		232		232		232

		233		233		233

		234		234		234

		235		235		235

		236		236		236

		237		237		237

		238		238		238

		239		239		239

		240		240		240

		241		241		241

		242		242		242

		243		243		243

		244		244		244

		245		245		245

		246		246		246

		247		247		247

		248		248		248

		249		249		249

		250		250		250

		251		251		251

		252		252		252

		253		253		253

		254		254		254

		255		255		255

		256		256		256

		257		257		257

		258		258		258

		259		259		259

		260		260		260

		261		261		261

		262		262		262

		263		263		263

		264		264		264

		265		265		265

		266		266		266

		267		267		267

		268		268		268

		269		269		269

		270		270		270

		271		271		271

		272		272		272

		273		273		273

		274		274		274

		275		275		275

		276		276		276

		277		277		277

		278		278		278

		279		279		279

		280		280		280

		281		281		281

		282		282		282

		283		283		283

		284		284		284

		285		285		285

		286		286		286

		287		287		287

		288		288		288

		289		289		289

		290		290		290

		291		291		291

		292		292		292

		293		293		293

		294		294		294

		295		295		295

		296		296		296

		297		297		297

		298		298		298

		299		299		299

		300		300		300

		301		301		301

		302		302		302

		303		303		303

		304		304		304

		305		305		305

		306		306		306

		307		307		307

		308		308		308

		309		309		309

		310		310		310

		311		311		311

		312		312		312

		313		313		313

		314		314		314

		315		315		315

		316		316		316

		317		317		317

		318		318		318

		319		319		319

		320		320		320

		321		321		321

		322		322		322

		323		323		323

		324		324		324

		325		325		325

		326		326		326

		327		327		327

		328		328		328

		329		329		329

		330		330		330

		331		331		331

		332		332		332

		333		333		333

		334		334		334

		335		335		335

		336		336		336

		337		337		337

		338		338		338

		339		339		339

		340		340		340

		341		341		341

		342		342		342

		343		343		343

		344		344		344

		345		345		345

		346		346		346

		347		347		347

		348		348		348

		349		349		349

		350		350		350

		351		351		351

		352		352		352

		353		353		353

		354		354		354

		355		355		355

		356		356		356

		357		357		357

		358		358		358

		359		359		359

		360		360		360

		361		361		361

		362		362		362

		363		363		363

		364		364		364

		365		365		365

		366		366		366

		367		367		367

		368		368		368

		369		369		369

		370		370		370

		371		371		371

		372		372		372

		373		373		373

		374		374		374

		375		375		375

		376		376		376

		377		377		377

		378		378		378

		379		379		379

		380		380		380

		381		381		381

		382		382		382

		383		383		383

		384		384		384

		385		385		385

		386		386		386

		387		387		387

		388		388		388

		389		389		389

		390		390		390

		391		391		391

		392		392		392

		393		393		393

		394		394		394

		395		395		395

		396		396		396

		397		397		397

		398		398		398

		399		399		399

		400		400		400

		401		401		401

		402		402		402

		403		403		403

		404		404		404

		405		405		405

		406		406		406

		407		407		407

		408		408		408

		409		409		409

		410		410		410

		411		411		411

		412		412		412

		413		413		413

		414		414		414

		415		415		415

		416		416		416

		417		417		417

		418		418		418

		419		419		419

		420		420		420

		421		421		421

		422		422		422

		423		423		423

		424		424		424

		425		425		425

		426		426		426

		427		427		427

		428		428		428

		429		429		429

		430		430		430

		431		431		431

		432		432		432

		433		433		433

		434		434		434

		435		435		435

		436		436		436

		437		437		437

		438		438		438

		439		439		439

		440		440		440

		441		441		441

		442		442		442

		443		443		443

		444		444		444

		445		445		445

		446		446		446

		447		447		447

		448		448		448

		449		449		449

		450		450		450

		451		451		451

		452		452		452

		453		453		453

		454		454		454

		455		455		455

		456		456		456

		457		457		457

		458		458		458

		459		459		459

		460		460		460

		461		461		461

		462		462		462

		463		463		463

		464		464		464

		465		465		465

		466		466		466

		467		467		467

		468		468		468

		469		469		469

		470		470		470

		471		471		471

		472		472		472

		473		473		473

		474		474		474

		475		475		475

		476		476		476

		477		477		477

		478		478		478

		479		479		479

		480		480		480

		481		481		481

		482		482		482

		483		483		483

		484		484		484

		485		485		485

		486		486		486

		487		487		487

		488		488		488

		489		489		489

		490		490		490

		491		491		491

		492		492		492

		493		493		493

		494		494		494

		495		495		495

		496		496		496

		497		497		497

		498		498		498

		499		499		499

		500		500		500

		501		501		501

		502		502		502

		503		503		503

		504		504		504

		505		505		505

		506		506		506

		507		507		507

		508		508		508

		509		509		509

		510		510		510

		511		511		511

		512		512		512

		513		513		513

		514		514		514

		515		515		515

		516		516		516

		517		517		517

		518		518		518

		519		519		519

		520		520		520

		521		521		521

		522		522		522

		523		523		523

		524		524		524

		525		525		525

		526		526		526

		527		527		527

		528		528		528

		529		529		529

		530		530		530

		531		531		531

		532		532		532

		533		533		533

		534		534		534

		535		535		535

		536		536		536

		537		537		537

		538		538		538

		539		539		539

		540		540		540

		541		541		541

		542		542		542

		543		543		543

		544		544		544

		545		545		545

		546		546		546

		547		547		547

		548		548		548

		549		549		549

		550		550		550

		551		551		551

		552		552		552

		553		553		553

		554		554		554

		555		555		555

		556		556		556

		557		557		557

		558		558		558

		559		559		559

		560		560		560

		561		561		561

		562		562		562

		563		563		563

		564		564		564

		565		565		565

		566		566		566

		567		567		567

		568		568		568

		569		569		569

		570		570		570

		571		571		571

		572		572		572

		573		573		573

		574		574		574

		575		575		575

		576		576		576

		577		577		577

		578		578		578

		579		579		579

		580		580		580

		581		581		581

		582		582		582

		583		583		583

		584		584		584

		585		585		585

		586		586		586

		587		587		587

		588		588		588

		589		589		589

		590		590		590

		591		591		591

		592		592		592

		593		593		593

		594		594		594

		595		595		595

		596		596		596

		597		597		597

		598		598		598

		599		599		599

		600		600		600

		601		601		601

		602		602		602

		603		603		603

		604		604		604

		605		605		605

		606		606		606

		607		607		607

		608		608		608

		609		609		609

		610		610		610

		611		611		611

		612		612		612

		613		613		613

		614		614		614

		615		615		615

		616		616		616

		617		617		617

		618		618		618

		619		619		619

		620		620		620

		621		621		621

		622		622		622

		623		623		623

		624		624		624

		625		625		625

		626		626		626

		627		627		627

		628		628		628

		629		629		629

		630		630		630

		631		631		631

		632		632		632

		633		633		633

		634		634		634

		635		635		635

		636		636		636

		637		637		637

		638		638		638

		639		639		639

		640		640		640

		641		641		641

		642		642		642

		643		643		643

		644		644		644

		645		645		645

		646		646		646

		647		647		647

		648		648		648

		649		649		649

		650		650		650

		651		651		651

		652		652		652

		653		653		653

		654		654		654

		655		655		655

		656		656		656

		657		657		657

		658		658		658

		659		659		659

		660		660		660

		661		661		661

		662		662		662

		663		663		663

		664		664		664

		665		665		665

		666		666		666

		667		667		667

		668		668		668

		669		669		669

		670		670		670

		671		671		671

		672		672		672

		673		673		673

		674		674		674

		675		675		675

		676		676		676

		677		677		677

		678		678		678

		679		679		679

		680		680		680

		681		681		681

		682		682		682

		683		683		683

		684		684		684

		685		685		685

		686		686		686

		687		687		687

		688		688		688

		689		689		689

		690		690		690

		691		691		691

		692		692		692

		693		693		693

		694		694		694

		695		695		695

		696		696		696

		697		697		697

		698		698		698

		699		699		699

		700		700		700

		701		701		701

		702		702		702

		703		703		703

		704		704		704

		705		705		705

		706		706		706

		707		707		707

		708		708		708

		709		709		709

		710		710		710

		711		711		711

		712		712		712

		713		713		713

		714		714		714

		715		715		715

		716		716		716

		717		717		717

		718		718		718

		719		719		719

		720		720		720

		721		721		721

		722		722		722

		723		723		723

		724		724		724

		725		725		725

		726		726		726

		727		727		727

		728		728		728

		729		729		729

		730		730		730

		731		731		731

		732		732		732

		733		733		733

		734		734		734

		735		735		735

		736		736		736

		737		737		737

		738		738		738

		739		739		739

		740		740		740

		741		741		741

		742		742		742

		743		743		743

		744		744		744

		745		745		745

		746		746		746

		747		747		747

		748		748		748

		749		749		749

		750		750		750

		751		751		751

		752		752		752

		753		753		753

		754		754		754

		755		755		755

		756		756		756

		757		757		757

		758		758		758

		759		759		759

		760		760		760

		761		761		761

		762		762		762

		763		763		763

		764		764		764

		765		765		765

		766		766		766

		767		767		767

		768		768		768

		769		769		769

		770		770		770

		771		771		771

		772		772		772

		773		773		773

		774		774		774

		775		775		775

		776		776		776

		777		777		777

		778		778		778

		779		779		779

		780		780		780

		781		781		781

		782		782		782

		783		783		783

		784		784		784

		785		785		785

		786		786		786

		787		787		787

		788		788		788

		789		789		789

		790		790		790

		791		791		791

		792		792		792

		793		793		793

		794		794		794

		795		795		795

		796		796		796

		797		797		797

		798		798		798

		799		799		799

		800		800		800

		801		801		801

		802		802		802

		803		803		803

		804		804		804

		805		805		805

		806		806		806

		807		807		807

		808		808		808

		809		809		809

		810		810		810

		811		811		811

		812		812		812

		813		813		813

		814		814		814

		815		815		815

		816		816		816

		817		817		817

		818		818		818

		819		819		819

		820		820		820

		821		821		821

		822		822		822

		823		823		823

		824		824		824

		825		825		825

		826		826		826

		827		827		827

		828		828		828

		829		829		829

		830		830		830

		831		831		831

		832		832		832

		833		833		833

		834		834		834

		835		835		835

		836		836		836

		837		837		837

		838		838		838

		839		839		839

		840		840		840

		841		841		841

		842		842		842

		843		843		843

		844		844		844

		845		845		845

		846		846		846

		847		847		847

		848		848		848

		849		849		849

		850		850		850

		851		851		851

		852		852		852

		853		853		853

		854		854		854

		855		855		855

		856		856		856

		857		857		857

		858		858		858

		859		859		859

		860		860		860

		861		861		861

		862		862		862

		863		863		863

		864		864		864

		865		865		865

		866		866		866

		867		867		867

		868		868		868

		869		869		869

		870		870		870

		871		871		871

		872		872		872

		873		873		873

		874		874		874

		875		875		875

		876		876		876

		877		877		877

		878		878		878

		879		879		879

		880		880		880

		881		881		881

		882		882		882

		883		883		883

		884		884		884

		885		885		885

		886		886		886

		887		887		887

		888		888		888

		889		889		889

		890		890		890

		891		891		891

		892		892		892

		893		893		893

		894		894		894

		895		895		895

		896		896		896

		897		897		897

		898		898		898

		899		899		899

		900		900		900

		901		901		901

		902		902		902

		903		903		903

		904		904		904

		905		905		905

		906		906		906

		907		907		907

		908		908		908

		909		909		909

		910		910		910

		911		911		911

		912		912		912

		913		913		913

		914		914		914

		915		915		915

		916		916		916

		917		917		917

		918		918		918

		919		919		919

		920		920		920

		921		921		921

		922		922		922

		923		923		923

		924		924		924

		925		925		925

		926		926		926

		927		927		927

		928		928		928

		929		929		929

		930		930		930

		931		931		931

		932		932		932

		933		933		933

		934		934		934

		935		935		935

		936		936		936

		937		937		937

		938		938		938

		939		939		939

		940		940		940

		941		941		941

		942		942		942

		943		943		943

		944		944		944

		945		945		945

		946		946		946

		947		947		947

		948		948		948

		949		949		949

		950		950		950

		951		951		951

		952		952		952

		953		953		953

		954		954		954

		955		955		955

		956		956		956

		957		957		957

		958		958		958

		959		959		959

		960		960		960

		961		961		961

		962		962		962

		963		963		963

		964		964		964

		965		965		965

		966		966		966

		967		967		967

		968		968		968

		969		969		969

		970		970		970

		971		971		971

		972		972		972

		973		973		973

		974		974		974

		975		975		975

		976		976		976

		977		977		977

		978		978		978

		979		979		979

		980		980		980

		981		981		981

		982		982		982

		983		983		983

		984		984		984

		985		985		985

		986		986		986

		987		987		987

		988		988		988

		989		989		989

		990		990		990

		991		991		991

		992		992		992

		993		993		993

		994		994		994

		995		995		995

		996		996		996

		997		997		997

		998		998		998

		999		999		999

		1000		1000		1000

		1001		1001		1001

		1002		1002		1002

		1003		1003		1003

		1004		1004		1004

		1005		1005		1005

		1006		1006		1006

		1007		1007		1007

		1008		1008		1008

		1009		1009		1009

		1010		1010		1010

		1011		1011		1011

		1012		1012		1012

		1013		1013		1013

		1014		1014		1014

		1015		1015		1015

		1016		1016		1016

		1017		1017		1017

		1018		1018		1018

		1019		1019		1019

		1020		1020		1020

		1021		1021		1021

		1022		1022		1022

		1023		1023		1023

		1024		1024		1024

		1025		1025		1025

		1026		1026		1026

		1027		1027		1027

		1028		1028		1028

		1029		1029		1029

		1030		1030		1030

		1031		1031		1031

		1032		1032		1032

		1033		1033		1033

		1034		1034		1034

		1035		1035		1035

		1036		1036		1036

		1037		1037		1037

		1038		1038		1038

		1039		1039		1039

		1040		1040		1040

		1041		1041		1041

		1042		1042		1042

		1043		1043		1043

		1044		1044		1044

		1045		1045		1045

		1046		1046		1046

		1047		1047		1047

		1048		1048		1048

		1049		1049		1049

		1050		1050		1050

		1051		1051		1051

		1052		1052		1052

		1053		1053		1053

		1054		1054		1054

		1055		1055		1055

		1056		1056		1056

		1057		1057		1057

		1058		1058		1058

		1059		1059		1059

		1060		1060		1060

		1061		1061		1061

		1062		1062		1062

		1063		1063		1063

		1064		1064		1064

		1065		1065		1065

		1066		1066		1066

		1067		1067		1067

		1068		1068		1068

		1069		1069		1069

		1070		1070		1070

		1071		1071		1071

		1072		1072		1072

		1073		1073		1073

		1074		1074		1074

		1075		1075		1075

		1076		1076		1076

		1077		1077		1077

		1078		1078		1078

		1079		1079		1079

		1080		1080		1080

		1081		1081		1081

		1082		1082		1082

		1083		1083		1083

		1084		1084		1084

		1085		1085		1085

		1086		1086		1086

		1087		1087		1087

		1088		1088		1088

		1089		1089		1089

		1090		1090		1090

		1091		1091		1091

		1092		1092		1092

		1093		1093		1093

		1094		1094		1094

		1095		1095		1095

		1096		1096		1096

		1097		1097		1097

		1098		1098		1098

		1099		1099		1099

		1100		1100		1100

		1101		1101		1101

		1102		1102		1102

		1103		1103		1103

		1104		1104		1104

		1105		1105		1105

		1106		1106		1106

		1107		1107		1107

		1108		1108		1108

		1109		1109		1109

		1110		1110		1110

		1111		1111		1111

		1112		1112		1112

		1113		1113		1113

		1114		1114		1114

		1115		1115		1115

		1116		1116		1116

		1117		1117		1117

		1118		1118		1118

		1119		1119		1119

		1120		1120		1120

		1121		1121		1121

		1122		1122		1122

		1123		1123		1123

		1124		1124		1124

		1125		1125		1125

		1126		1126		1126

		1127		1127		1127

		1128		1128		1128

		1129		1129		1129

		1130		1130		1130

		1131		1131		1131

		1132		1132		1132

		1133		1133		1133

		1134		1134		1134

		1135		1135		1135

		1136		1136		1136

		1137		1137		1137

		1138		1138		1138

		1139		1139		1139

		1140		1140		1140

		1141		1141		1141

		1142		1142		1142

		1143		1143		1143

		1144		1144		1144

		1145		1145		1145

		1146		1146		1146

		1147		1147		1147

		1148		1148		1148

		1149		1149		1149

		1150		1150		1150

		1151		1151		1151

		1152		1152		1152

		1153		1153		1153

		1154		1154		1154

		1155		1155		1155

		1156		1156		1156

		1157		1157		1157

		1158		1158		1158

		1159		1159		1159

		1160		1160		1160

		1161		1161		1161

		1162		1162		1162

		1163		1163		1163

		1164		1164		1164

		1165		1165		1165

		1166		1166		1166

		1167		1167		1167

		1168		1168		1168

		1169		1169		1169

		1170		1170		1170

		1171		1171		1171

		1172		1172		1172

		1173		1173		1173

		1174		1174		1174

		1175		1175		1175

		1176		1176		1176

		1177		1177		1177

		1178		1178		1178

		1179		1179		1179

		1180		1180		1180

		1181		1181		1181

		1182		1182		1182

		1183		1183		1183

		1184		1184		1184

		1185		1185		1185

		1186		1186		1186

		1187		1187		1187

		1188		1188		1188

		1189		1189		1189

		1190		1190		1190

		1191		1191		1191

		1192		1192		1192

		1193		1193		1193

		1194		1194		1194

		1195		1195		1195

		1196		1196		1196

		1197		1197		1197

		1198		1198		1198

		1199		1199		1199

		1200		1200		1200

		1201		1201		1201

		1202		1202		1202

		1203		1203		1203

		1204		1204		1204

		1205		1205		1205

		1206		1206		1206

		1207		1207		1207

		1208		1208		1208

		1209		1209		1209

		1210		1210		1210

		1211		1211		1211

		1212		1212		1212

		1213		1213		1213

		1214		1214		1214

		1215		1215		1215

		1216		1216		1216

		1217		1217		1217

		1218		1218		1218

		1219		1219		1219

		1220		1220		1220

		1221		1221		1221

		1222		1222		1222

		1223		1223		1223

		1224		1224		1224

		1225		1225		1225

		1226		1226		1226

		1227		1227		1227

		1228		1228		1228

		1229		1229		1229

		1230		1230		1230

		1231		1231		1231

		1232		1232		1232

		1233		1233		1233

		1234		1234		1234

		1235		1235		1235

		1236		1236		1236

		1237		1237		1237

		1238		1238		1238

		1239		1239		1239

		1240		1240		1240

		1241		1241		1241

		1242		1242		1242

		1243		1243		1243

		1244		1244		1244

		1245		1245		1245

		1246		1246		1246

		1247		1247		1247

		1248		1248		1248

		1249		1249		1249

		1250		1250		1250

		1251		1251		1251

		1252		1252		1252

		1253		1253		1253

		1254		1254		1254

		1255		1255		1255

		1256		1256		1256

		1257		1257		1257

		1258		1258		1258

		1259		1259		1259

		1260		1260		1260

		1261		1261		1261

		1262		1262		1262

		1263		1263		1263

		1264		1264		1264

		1265		1265		1265

		1266		1266		1266

		1267		1267		1267

		1268		1268		1268

		1269		1269		1269

		1270		1270		1270

		1271		1271		1271

		1272		1272		1272

		1273		1273		1273

		1274		1274		1274

		1275		1275		1275

		1276		1276		1276

		1277		1277		1277

		1278		1278		1278

		1279		1279		1279

		1280		1280		1280

		1281		1281		1281

		1282		1282		1282

		1283		1283		1283

		1284		1284		1284

		1285		1285		1285

		1286		1286		1286

		1287		1287		1287

		1288		1288		1288

		1289		1289		1289

		1290		1290		1290

		1291		1291		1291

		1292		1292		1292

		1293		1293		1293

		1294		1294		1294

		1295		1295		1295

		1296		1296		1296

		1297		1297		1297

		1298		1298		1298

		1299		1299		1299

		1300		1300		1300

		1301		1301		1301

		1302		1302		1302

		1303		1303		1303

		1304		1304		1304

		1305		1305		1305

		1306		1306		1306

		1307		1307		1307

		1308		1308		1308

		1309		1309		1309

		1310		1310		1310

		1311		1311		1311

		1312		1312		1312

		1313		1313		1313

		1314		1314		1314

		1315		1315		1315

		1316		1316		1316

		1317		1317		1317

		1318		1318		1318

		1319		1319		1319

		1320		1320		1320

		1321		1321		1321

		1322		1322		1322

		1323		1323		1323

		1324		1324		1324

		1325		1325		1325

		1326		1326		1326

		1327		1327		1327

		1328		1328		1328

		1329		1329		1329

		1330		1330		1330

		1331		1331		1331

		1332		1332		1332

		1333		1333		1333

		1334		1334		1334

		1335		1335		1335

		1336		1336		1336

		1337		1337		1337

		1338		1338		1338

		1339		1339		1339

		1340		1340		1340

		1341		1341		1341

		1342		1342		1342

		1343		1343		1343

		1344		1344		1344

		1345		1345		1345

		1346		1346		1346

		1347		1347		1347

		1348		1348		1348

		1349		1349		1349

		1350		1350		1350

		1351		1351		1351

		1352		1352		1352

		1353		1353		1353

		1354		1354		1354

		1355		1355		1355

		1356		1356		1356

		1357		1357		1357

		1358		1358		1358

		1359		1359		1359

		1360		1360		1360

		1361		1361		1361

		1362		1362		1362

		1363		1363		1363

		1364		1364		1364

		1365		1365		1365

		1366		1366		1366

		1367		1367		1367

		1368		1368		1368

		1369		1369		1369

		1370		1370		1370

		1371		1371		1371

		1372		1372		1372

		1373		1373		1373

		1374		1374		1374

		1375		1375		1375

		1376		1376		1376

		1377		1377		1377

		1378		1378		1378

		1379		1379		1379

		1380		1380		1380

		1381		1381		1381

		1382		1382		1382

		1383		1383		1383

		1384		1384		1384

		1385		1385		1385

		1386		1386		1386

		1387		1387		1387

		1388		1388		1388

		1389		1389		1389

		1390		1390		1390

		1391		1391		1391

		1392		1392		1392

		1393		1393		1393

		1394		1394		1394

		1395		1395		1395

		1396		1396		1396

		1397		1397		1397

		1398		1398		1398

		1399		1399		1399

		1400		1400		1400

		1401		1401		1401

		1402		1402		1402

		1403		1403		1403

		1404		1404		1404

		1405		1405		1405

		1406		1406		1406

		1407		1407		1407

		1408		1408		1408

		1409		1409		1409

		1410		1410		1410

		1411		1411		1411

		1412		1412		1412

		1413		1413		1413

		1414		1414		1414

		1415		1415		1415

		1416		1416		1416

		1417		1417		1417

		1418		1418		1418

		1419		1419		1419

		1420		1420		1420

		1421		1421		1421

		1422		1422		1422

		1423		1423		1423

		1424		1424		1424

		1425		1425		1425

		1426		1426		1426

		1427		1427		1427

		1428		1428		1428

		1429		1429		1429

		1430		1430		1430

		1431		1431		1431

		1432		1432		1432

		1433		1433		1433

		1434		1434		1434

		1435		1435		1435

		1436		1436		1436

		1437		1437		1437

		1438		1438		1438

		1439		1439		1439

		1440		1440		1440

		1441		1441		1441

		1442		1442		1442

		1443		1443		1443

		1444		1444		1444

		1445		1445		1445

		1446		1446		1446

		1447		1447		1447

		1448		1448		1448

		1449		1449		1449

		1450		1450		1450

		1451		1451		1451

		1452		1452		1452

		1453		1453		1453

		1454		1454		1454

		1455		1455		1455

		1456		1456		1456

		1457		1457		1457

		1458		1458		1458

		1459		1459		1459

		1460		1460		1460

		1461		1461		1461

		1462		1462		1462

		1463		1463		1463

		1464		1464		1464

		1465		1465		1465

		1466		1466		1466

		1467		1467		1467

		1468		1468		1468

		1469		1469		1469

		1470		1470		1470

		1471		1471		1471

		1472		1472		1472

		1473		1473		1473

		1474		1474		1474

		1475		1475		1475

		1476		1476		1476

		1477		1477		1477

		1478		1478		1478

		1479		1479		1479

		1480		1480		1480

		1481		1481		1481

		1482		1482		1482

		1483		1483		1483

		1484		1484		1484

		1485		1485		1485

		1486		1486		1486

		1487		1487		1487

		1488		1488		1488

		1489		1489		1489

		1490		1490		1490

		1491		1491		1491

		1492		1492		1492

		1493		1493		1493

		1494		1494		1494

		1495		1495		1495

		1496		1496		1496

		1497		1497		1497

		1498		1498		1498

		1499		1499		1499

		1500		1500		1500

		1501		1501		1501

		1502		1502		1502

		1503		1503		1503

		1504		1504		1504

		1505		1505		1505

		1506		1506		1506

		1507		1507		1507

		1508		1508		1508

		1509		1509		1509

		1510		1510		1510

		1511		1511		1511

		1512		1512		1512

		1513		1513		1513

		1514		1514		1514

		1515		1515		1515

		1516		1516		1516

		1517		1517		1517

		1518		1518		1518

		1519		1519		1519

		1520		1520		1520

		1521		1521		1521

		1522		1522		1522

		1523		1523		1523

		1524		1524		1524

		1525		1525		1525

		1526		1526		1526

		1527		1527		1527

		1528		1528		1528

		1529		1529		1529

		1530		1530		1530

		1531		1531		1531

		1532		1532		1532

		1533		1533		1533

		1534		1534		1534

		1535		1535		1535

		1536		1536		1536

		1537		1537		1537

		1538		1538		1538

		1539		1539		1539

		1540		1540		1540

		1541		1541		1541

		1542		1542		1542

		1543		1543		1543

		1544		1544		1544

		1545		1545		1545

		1546		1546		1546

		1547		1547		1547

		1548		1548		1548

		1549		1549		1549

		1550		1550		1550

		1551		1551		1551

		1552		1552		1552

		1553		1553		1553

		1554		1554		1554

		1555		1555		1555

		1556		1556		1556

		1557		1557		1557

		1558		1558		1558

		1559		1559		1559

		1560		1560		1560

		1561		1561		1561

		1562		1562		1562

		1563		1563		1563

		1564		1564		1564

		1565		1565		1565

		1566		1566		1566

		1567		1567		1567

		1568		1568		1568

		1569		1569		1569

		1570		1570		1570

		1571		1571		1571

		1572		1572		1572

		1573		1573		1573

		1574		1574		1574

		1575		1575		1575

		1576		1576		1576

		1577		1577		1577

		1578		1578		1578

		1579		1579		1579

		1580		1580		1580

		1581		1581		1581

		1582		1582		1582

		1583		1583		1583

		1584		1584		1584

		1585		1585		1585

		1586		1586		1586

		1587		1587		1587

		1588		1588		1588

		1589		1589		1589

		1590		1590		1590

		1591		1591		1591

		1592		1592		1592

		1593		1593		1593

		1594		1594		1594

		1595		1595		1595

		1596		1596		1596

		1597		1597		1597

		1598		1598		1598

		1599		1599		1599

		1600		1600		1600

		1601		1601		1601

		1602		1602		1602

		1603		1603		1603

		1604		1604		1604

		1605		1605		1605

		1606		1606		1606

		1607		1607		1607

		1608		1608		1608

		1609		1609		1609

		1610		1610		1610

		1611		1611		1611

		1612		1612		1612

		1613		1613		1613

		1614		1614		1614

		1615		1615		1615

		1616		1616		1616

		1617		1617		1617

		1618		1618		1618

		1619		1619		1619

		1620		1620		1620

		1621		1621		1621

		1622		1622		1622

		1623		1623		1623

		1624		1624		1624

		1625		1625		1625

		1626		1626		1626

		1627		1627		1627

		1628		1628		1628

		1629		1629		1629

		1630		1630		1630

		1631		1631		1631

		1632		1632		1632

		1633		1633		1633

		1634		1634		1634

		1635		1635		1635

		1636		1636		1636

		1637		1637		1637

		1638		1638		1638

		1639		1639		1639

		1640		1640		1640

		1641		1641		1641

		1642		1642		1642

		1643		1643		1643

		1644		1644		1644

		1645		1645		1645

		1646		1646		1646

		1647		1647		1647

		1648		1648		1648

		1649		1649		1649

		1650		1650		1650

		1651		1651		1651

		1652		1652		1652

		1653		1653		1653

		1654		1654		1654

		1655		1655		1655

		1656		1656		1656

		1657		1657		1657

		1658		1658		1658

		1659		1659		1659

		1660		1660		1660

		1661		1661		1661

		1662		1662		1662

		1663		1663		1663

		1664		1664		1664

		1665		1665		1665

		1666		1666		1666

		1667		1667		1667

		1668		1668		1668

		1669		1669		1669

		1670		1670		1670

		1671		1671		1671

		1672		1672		1672

		1673		1673		1673

		1674		1674		1674

		1675		1675		1675

		1676		1676		1676

		1677		1677		1677

		1678		1678		1678

		1679		1679		1679

		1680		1680		1680

		1681		1681		1681

		1682		1682		1682

		1683		1683		1683

		1684		1684		1684

		1685		1685		1685

		1686		1686		1686

		1687		1687		1687

		1688		1688		1688

		1689		1689		1689

		1690		1690		1690

		1691		1691		1691

		1692		1692		1692

		1693		1693		1693

		1694		1694		1694

		1695		1695		1695

		1696		1696		1696

		1697		1697		1697

		1698		1698		1698

		1699		1699		1699

		1700		1700		1700

		1701		1701		1701

		1702		1702		1702

		1703		1703		1703

		1704		1704		1704

		1705		1705		1705

		1706		1706		1706

		1707		1707		1707

		1708		1708		1708

		1709		1709		1709

		1710		1710		1710

		1711		1711		1711

		1712		1712		1712

		1713		1713		1713

		1714		1714		1714

		1715		1715		1715

		1716		1716		1716

		1717		1717		1717

		1718		1718		1718

		1719		1719		1719

		1720		1720		1720

		1721		1721		1721

		1722		1722		1722

		1723		1723		1723

		1724		1724		1724

		1725		1725		1725

		1726		1726		1726

		1727		1727		1727

		1728		1728		1728

		1729		1729		1729

		1730		1730		1730

		1731		1731		1731

		1732		1732		1732

		1733		1733		1733

		1734		1734		1734

		1735		1735		1735

		1736		1736		1736

		1737		1737		1737

		1738		1738		1738

		1739		1739		1739

		1740		1740		1740

		1741		1741		1741

		1742		1742		1742

		1743		1743		1743

		1744		1744		1744

		1745		1745		1745

		1746		1746		1746

		1747		1747		1747

		1748		1748		1748

		1749		1749		1749

		1750		1750		1750

		1751		1751		1751

		1752		1752		1752

		1753		1753		1753

		1754		1754		1754

		1755		1755		1755

		1756		1756		1756

		1757		1757		1757

		1758		1758		1758

		1759		1759		1759

		1760		1760		1760

		1761		1761		1761

		1762		1762		1762

		1763		1763		1763

		1764		1764		1764

		1765		1765		1765

		1766		1766		1766

		1767		1767		1767

		1768		1768		1768

		1769		1769		1769

		1770		1770		1770

		1771		1771		1771

		1772		1772		1772

		1773		1773		1773

		1774		1774		1774

		1775		1775		1775

		1776		1776		1776

		1777		1777		1777

		1778		1778		1778

		1779		1779		1779

		1780		1780		1780

		1781		1781		1781

		1782		1782		1782

		1783		1783		1783

		1784		1784		1784

		1785		1785		1785

		1786		1786		1786

		1787		1787		1787

		1788		1788		1788

		1789		1789		1789

		1790		1790		1790

		1791		1791		1791

		1792		1792		1792

		1793		1793		1793

		1794		1794		1794

		1795		1795		1795

		1796		1796		1796

		1797		1797		1797

		1798		1798		1798

		1799		1799		1799

		1800		1800		1800

		1801		1801		1801

		1802		1802		1802

		1803		1803		1803

		1804		1804		1804

		1805		1805		1805

		1806		1806		1806

		1807		1807		1807

		1808		1808		1808

		1809		1809		1809

		1810		1810		1810

		1811		1811		1811

		1812		1812		1812

		1813		1813		1813

		1814		1814		1814

		1815		1815		1815

		1816		1816		1816

		1817		1817		1817

		1818		1818		1818

		1819		1819		1819

		1820		1820		1820

		1821		1821		1821

		1822		1822		1822

		1823		1823		1823

		1824		1824		1824

		1825		1825		1825

		1826		1826		1826

		1827		1827		1827

		1828		1828		1828

		1829		1829		1829

		1830		1830		1830

		1831		1831		1831

		1832		1832		1832

		1833		1833		1833

		1834		1834		1834

		1835		1835		1835

		1836		1836		1836

		1837		1837		1837

		1838		1838		1838

		1839		1839		1839

		1840		1840		1840

		1841		1841		1841

		1842		1842		1842

		1843		1843		1843

		1844		1844		1844

		1845		1845		1845

		1846		1846		1846

		1847		1847		1847

		1848		1848		1848

		1849		1849		1849

		1850		1850		1850

		1851		1851		1851

		1852		1852		1852

		1853		1853		1853

		1854		1854		1854

		1855		1855		1855

		1856		1856		1856

		1857		1857		1857

		1858		1858		1858

		1859		1859		1859

		1860		1860		1860

		1861		1861		1861

		1862		1862		1862

		1863		1863		1863

		1864		1864		1864

		1865		1865		1865

		1866		1866		1866

		1867		1867		1867

		1868		1868		1868

		1869		1869		1869

		1870		1870		1870

		1871		1871		1871

		1872		1872		1872

		1873		1873		1873

		1874		1874		1874

		1875		1875		1875

		1876		1876		1876

		1877		1877		1877

		1878		1878		1878

		1879		1879		1879

		1880		1880		1880

		1881		1881		1881

		1882		1882		1882

		1883		1883		1883

		1884		1884		1884

		1885		1885		1885

		1886		1886		1886

		1887		1887		1887

		1888		1888		1888

		1889		1889		1889

		1890		1890		1890

		1891		1891		1891

		1892		1892		1892

		1893		1893		1893

		1894		1894		1894

		1895		1895		1895

		1896		1896		1896

		1897		1897		1897

		1898		1898		1898

		1899		1899		1899

		1900		1900		1900

		1901		1901		1901

		1902		1902		1902

		1903		1903		1903

		1904		1904		1904

		1905		1905		1905

		1906		1906		1906

		1907		1907		1907

		1908		1908		1908

		1909		1909		1909

		1910		1910		1910

		1911		1911		1911

		1912		1912		1912

		1913		1913		1913

		1914		1914		1914

		1915		1915		1915

		1916		1916		1916

		1917		1917		1917

		1918		1918		1918

		1919		1919		1919

		1920		1920		1920

		1921		1921		1921

		1922		1922		1922

		1923		1923		1923

		1924		1924		1924

		1925		1925		1925

		1926		1926		1926

		1927		1927		1927

		1928		1928		1928

		1929		1929		1929

		1930		1930		1930

		1931		1931		1931

		1932		1932		1932

		1933		1933		1933

		1934		1934		1934

		1935		1935		1935

		1936		1936		1936

		1937		1937		1937

		1938		1938		1938

		1939		1939		1939

		1940		1940		1940

		1941		1941		1941

		1942		1942		1942

		1943		1943		1943

		1944		1944		1944

		1945		1945		1945

		1946		1946		1946

		1947		1947		1947

		1948		1948		1948

		1949		1949		1949

		1950		1950		1950

		1951		1951		1951

		1952		1952		1952

		1953		1953		1953

		1954		1954		1954

		1955		1955		1955

		1956		1956		1956

		1957		1957		1957

		1958		1958		1958

		1959		1959		1959

		1960		1960		1960

		1961		1961		1961

		1962		1962		1962

		1963		1963		1963

		1964		1964		1964

		1965		1965		1965

		1966		1966		1966

		1967		1967		1967

		1968		1968		1968

		1969		1969		1969

		1970		1970		1970

		1971		1971		1971

		1972		1972		1972

		1973		1973		1973

		1974		1974		1974

		1975		1975		1975

		1976		1976		1976

		1977		1977		1977

		1978		1978		1978

		1979		1979		1979

		1980		1980		1980

		1981		1981		1981

		1982		1982		1982

		1983		1983		1983

		1984		1984		1984

		1985		1985		1985

		1986		1986		1986

		1987		1987		1987

		1988		1988		1988

		1989		1989		1989

		1990		1990		1990

		1991		1991		1991

		1992		1992		1992

		1993		1993		1993

		1994		1994		1994

		1995		1995		1995

		1996		1996		1996

		1997		1997		1997

		1998		1998		1998

		1999		1999		1999

		2000		2000		2000

		2001		2001		2001

		2002		2002		2002

		2003		2003		2003

		2004		2004		2004

		2005		2005		2005

		2006		2006		2006

		2007		2007		2007

		2008		2008		2008

		2009		2009		2009

		2010		2010		2010

		2011		2011		2011

		2012		2012		2012

		2013		2013		2013

		2014		2014		2014

		2015		2015		2015

		2016		2016		2016

		2017		2017		2017

		2018		2018		2018

		2019		2019		2019

		2020		2020		2020

		2021		2021		2021

		2022		2022		2022

		2023		2023		2023

		2024		2024		2024

		2025		2025		2025

		2026		2026		2026

		2027		2027		2027

		2028		2028		2028

		2029		2029		2029

		2030		2030		2030

		2031		2031		2031

		2032		2032		2032

		2033		2033		2033

		2034		2034		2034

		2035		2035		2035

		2036		2036		2036

		2037		2037		2037

		2038		2038		2038

		2039		2039		2039

		2040		2040		2040

		2041		2041		2041

		2042		2042		2042

		2043		2043		2043

		2044		2044		2044

		2045		2045		2045

		2046		2046		2046

		2047		2047		2047

		2048		2048		2048

		2049		2049		2049

		2050		2050		2050

		2051		2051		2051

		2052		2052		2052

		2053		2053		2053

		2054		2054		2054

		2055		2055		2055

		2056		2056		2056

		2057		2057		2057

		2058		2058		2058

		2059		2059		2059

		2060		2060		2060

		2061		2061		2061

		2062		2062		2062

		2063		2063		2063

		2064		2064		2064

		2065		2065		2065

		2066		2066		2066

		2067		2067		2067

		2068		2068		2068

		2069		2069		2069

		2070		2070		2070

		2071		2071		2071

		2072		2072		2072

		2073		2073		2073

		2074		2074		2074

		2075		2075		2075

		2076		2076		2076

		2077		2077		2077

		2078		2078		2078

		2079		2079		2079

		2080		2080		2080

		2081		2081		2081

		2082		2082		2082

		2083		2083		2083

		2084		2084		2084

		2085		2085		2085

		2086		2086		2086

		2087		2087		2087

		2088		2088		2088

		2089		2089		2089

		2090		2090		2090

		2091		2091		2091

		2092		2092		2092

		2093		2093		2093

		2094		2094		2094

		2095		2095		2095

		2096		2096		2096

		2097		2097		2097

		2098		2098		2098

		2099		2099		2099

		2100		2100		2100

		2101		2101		2101

		2102		2102		2102

		2103		2103		2103

		2104		2104		2104

		2105		2105		2105

		2106		2106		2106

		2107		2107		2107

		2108		2108		2108

		2109		2109		2109

		2110		2110		2110

		2111		2111		2111

		2112		2112		2112

		2113		2113		2113

		2114		2114		2114

		2115		2115		2115

		2116		2116		2116

		2117		2117		2117

		2118		2118		2118

		2119		2119		2119

		2120		2120		2120

		2121		2121		2121

		2122		2122		2122

		2123		2123		2123

		2124		2124		2124

		2125		2125		2125

		2126		2126		2126

		2127		2127		2127

		2128		2128		2128

		2129		2129		2129

		2130		2130		2130

		2131		2131		2131

		2132		2132		2132

		2133		2133		2133

		2134		2134		2134

		2135		2135		2135

		2136		2136		2136

		2137		2137		2137

		2138		2138		2138

		2139		2139		2139

		2140		2140		2140

		2141		2141		2141

		2142		2142		2142

		2143		2143		2143

		2144		2144		2144

		2145		2145		2145

		2146		2146		2146

		2147		2147		2147

		2148		2148		2148

		2149		2149		2149

		2150		2150		2150

		2151		2151		2151

		2152		2152		2152

		2153		2153		2153

		2154		2154		2154

		2155		2155		2155

		2156		2156		2156

		2157		2157		2157

		2158		2158		2158

		2159		2159		2159

		2160		2160		2160

		2161		2161		2161

		2162		2162		2162

		2163		2163		2163

		2164		2164		2164

		2165		2165		2165

		2166		2166		2166

		2167		2167		2167

		2168		2168		2168

		2169		2169		2169

		2170		2170		2170

		2171		2171		2171

		2172		2172		2172

		2173		2173		2173

		2174		2174		2174

		2175		2175		2175

		2176		2176		2176

		2177		2177		2177

		2178		2178		2178

		2179		2179		2179

		2180		2180		2180

		2181		2181		2181

		2182		2182		2182

		2183		2183		2183

		2184		2184		2184

		2185		2185		2185

		2186		2186		2186

		2187		2187		2187

		2188		2188		2188

		2189		2189		2189

		2190		2190		2190

		2191		2191		2191

		2192		2192		2192

		2193		2193		2193

		2194		2194		2194

		2195		2195		2195

		2196		2196		2196

		2197		2197		2197

		2198		2198		2198

		2199		2199		2199

		2200		2200		2200

		2201		2201		2201

		2202		2202		2202

		2203		2203		2203

		2204		2204		2204

		2205		2205		2205

		2206		2206		2206

		2207		2207		2207

		2208		2208		2208

		2209		2209		2209

		2210		2210		2210

		2211		2211		2211

		2212		2212		2212

		2213		2213		2213

		2214		2214		2214

		2215		2215		2215

		2216		2216		2216

		2217		2217		2217

		2218		2218		2218

		2219		2219		2219

		2220		2220		2220

		2221		2221		2221

		2222		2222		2222

		2223		2223		2223

		2224		2224		2224

		2225		2225		2225

		2226		2226		2226

		2227		2227		2227

		2228		2228		2228

		2229		2229		2229

		2230		2230		2230

		2231		2231		2231

		2232		2232		2232

		2233		2233		2233

		2234		2234		2234

		2235		2235		2235

		2236		2236		2236

		2237		2237		2237

		2238		2238		2238

		2239		2239		2239

		2240		2240		2240

		2241		2241		2241

		2242		2242		2242

		2243		2243		2243

		2244		2244		2244

		2245		2245		2245

		2246		2246		2246

		2247		2247		2247

		2248		2248		2248

		2249		2249		2249

		2250		2250		2250

		2251		2251		2251

		2252		2252		2252

		2253		2253		2253

		2254		2254		2254

		2255		2255		2255

		2256		2256		2256

		2257		2257		2257

		2258		2258		2258

		2259		2259		2259

		2260		2260		2260

		2261		2261		2261

		2262		2262		2262

		2263		2263		2263

		2264		2264		2264

		2265		2265		2265

		2266		2266		2266

		2267		2267		2267

		2268		2268		2268

		2269		2269		2269

		2270		2270		2270

		2271		2271		2271

		2272		2272		2272

		2273		2273		2273

		2274		2274		2274

		2275		2275		2275

		2276		2276		2276

		2277		2277		2277

		2278		2278		2278

		2279		2279		2279

		2280		2280		2280

		2281		2281		2281

		2282		2282		2282

		2283		2283		2283

		2284		2284		2284

		2285		2285		2285

		2286		2286		2286

		2287		2287		2287

		2288		2288		2288

		2289		2289		2289

		2290		2290		2290

		2291		2291		2291

		2292		2292		2292

		2293		2293		2293

		2294		2294		2294

		2295		2295		2295

		2296		2296		2296

		2297		2297		2297

		2298		2298		2298

		2299		2299		2299

		2300		2300		2300

		2301		2301		2301

		2302		2302		2302

		2303		2303		2303

		2304		2304		2304

		2305		2305		2305

		2306		2306		2306

		2307		2307		2307

		2308		2308		2308

		2309		2309		2309

		2310		2310		2310

		2311		2311		2311

		2312		2312		2312

		2313		2313		2313

		2314		2314		2314

		2315		2315		2315

		2316		2316		2316

		2317		2317		2317

		2318		2318		2318

		2319		2319		2319

		2320		2320		2320

		2321		2321		2321

		2322		2322		2322

		2323		2323		2323

		2324		2324		2324

		2325		2325		2325

		2326		2326		2326

		2327		2327		2327

		2328		2328		2328

		2329		2329		2329

		2330		2330		2330

		2331		2331		2331

		2332		2332		2332

		2333		2333		2333

		2334		2334		2334

		2335		2335		2335

		2336		2336		2336

		2337		2337		2337

		2338		2338		2338

		2339		2339		2339

		2340		2340		2340

		2341		2341		2341

		2342		2342		2342

		2343		2343		2343

		2344		2344		2344

		2345		2345		2345

		2346		2346		2346

		2347		2347		2347

		2348		2348		2348

		2349		2349		2349

		2350		2350		2350

		2351		2351		2351

		2352		2352		2352

		2353		2353		2353

		2354		2354		2354

		2355		2355		2355

		2356		2356		2356

		2357		2357		2357

		2358		2358		2358

		2359		2359		2359

		2360		2360		2360

		2361		2361		2361

		2362		2362		2362

		2363		2363		2363

		2364		2364		2364

		2365		2365		2365

		2366		2366		2366

		2367		2367		2367

		2368		2368		2368

		2369		2369		2369

		2370		2370		2370

		2371		2371		2371

		2372		2372		2372

		2373		2373		2373

		2374		2374		2374

		2375		2375		2375

		2376		2376		2376

		2377		2377		2377

		2378		2378		2378

		2379		2379		2379

		2380		2380		2380

		2381		2381		2381

		2382		2382		2382

		2383		2383		2383

		2384		2384		2384

		2385		2385		2385

		2386		2386		2386

		2387		2387		2387

		2388		2388		2388

		2389		2389		2389

		2390		2390		2390

		2391		2391		2391

		2392		2392		2392

		2393		2393		2393

		2394		2394		2394

		2395		2395		2395

		2396		2396		2396

		2397		2397		2397

		2398		2398		2398

		2399		2399		2399

		2400		2400		2400



v

b

T1-1,K-L=30mm,prop.0,83l/min

T1-3,K-L=30mm,prop.0,7l/min

T1-4,K-L=30mm,prop.0,78l/min

time,s

Temperature,K

530.2217320896

803.4807502654

767.0971565908

538.6646853732

806.9605949575

765.9251853156

541.1447200961

796.7438087172

765.9251853156

536.1832020907

792.3233450298

763.8147244276

539.9048838046

797.9062194992

761.4683917539

528.978708967

789.994684783

761.4683917539

519.2706999695

794.4179007336

762.6417391607

518.0244900159

806.9605949575

763.8147244276

519.2706999695

805.8010088667

764.7528519004

521.7620334572

799.0682681413

768.2687657261

524.0029950776

795.5810357954

767.0971565908

526.4915763021

788.8298114497

767.0971565908

525.2474667598

786.4989783635

765.9251853156

527.7353237045

796.7438087172

765.9251853156

522.7581612556

791.1591959764

765.9251853156

526.4915763021

793.2544035319

765.9251853156

527.7353237045

791.1591959764

762.6417391607

537.4241248019

788.8298114497

765.9251853156

541.1447200961

785.3330186105

770.610897577

539.9048838046

795.5810357954

765.9251853156

539.9048838046

794.4179007336

764.7528519004

536.1832020907

800.2299546435

763.8147244276

530.2217320896

796.7438087172

765.9251853156

511.7880081491

800.2299546435

765.9251853156

504.5423469622

800.2299546435

763.8147244276

516.7779179223

795.5810357954

765.9251853156

520.5165477833

786.4989783635

767.0971565908

514.2836873155

799.0682681413

759.1206105206

514.2836873155

794.4179007336

760.2946822072

507.0422269513

788.8298114497

756.7713807277

514.2836873155

786.4989783635

753.4800254375

519.2706999695

788.8298114497

755.5962226214

524.0029950776

794.4179007336

757.9461766941

531.4643930723

797.9062194992

767.0971565908

526.4915763021

801.3912790058

762.6417391607

524.0029950776

795.5810357954

763.8147244276

522.7581612556

796.7438087172

756.7713807277

518.0244900159

792.3233450298

763.8147244276

521.7620334572

795.5810357954

760.2946822072

525.2474667598

794.4179007336

765.9251853156

530.2217320896

786.4989783635

757.9461766941

524.0029950776

786.4989783635

760.2946822072

515.5309836889

787.6645759765

762.6417391607

519.2706999695

786.4989783635

754.4207023752

527.7353237045

786.4989783635

759.1206105206

515.5309836889

793.2544035319

764.7528519004

513.0360288023

794.4179007336

762.6417391607

513.0360288023

794.4179007336

761.4683917539

505.7924680267

792.3233450298

760.2946822072

515.5309836889

795.5810357954

761.4683917539

507.0422269513

792.3233450298

762.6417391607

513.0360288023

792.3233450298

765.9251853156

518.0244900159

795.5810357954

768.2687657261

516.7779179223

792.3233450298

767.0971565908

522.7581612556

785.3330186105

763.8147244276

531.4643930723

785.3330186105

765.9251853156

526.4915763021

786.4989783635

763.8147244276

527.7353237045

785.3330186105

764.7528519004

528.978708967

788.8298114497

761.4683917539

532.4582611177

780.8990688334

763.8147244276

527.7353237045

789.994684783

759.1206105206

526.4915763021

788.8298114497

754.4207023752

554.2647204255

775.0569573122

737.2168662897

544.6143351281

764.7528519004

732.726495117

519.2706999695

733.9086787372

767.0971565908

570.0535056204

702.5776128987

773.8874485883

672.1950925058

797.9062194992

747.5955435486

703.7689948723

788.8298114497

726.8101449173

696.6152709323

769.4400127215

697.8084636054

688.4919568056

753.4800254375

664.9840056065

660.4102408588

760.2946822072

687.2959394413

632.1302315912

740.758202336

696.6152709323

610.7291371962

715.1878361408

701.3858687852

604.6288199299

690.8829051143

704.9600147059

595.0942469709

662.8181373147

707.102937814

597.5411096795

664.9840056065

715.1878361408

601.2086876931

668.5911786857

714.2375407675

610.7291371962

672.1950925058

711.8607883426

616.5769242415

664.9840056065

714.2375407675

628.4902486375

666.1867587728

722.3076637865

636.7361978183

666.1867587728

736.0356966612

659.205749421

664.9840056065

749.9504227239

666.1867587728

662.8181373147

752.3038533395

676.7553711638

666.1867587728

770.610897577

680.35189733

664.0215423328

787.6645759765

684.9028182932

656.7956801258

825.0032481006

687.2959394413

656.7956801258

842.9577708788

688.4919568056

651.0056036941

851.901983381

699.0012941386

647.3825688876

856.4802125217

708.292943656

643.9981291588

853.0470838761

713.049345625

644.9654016504

849.8398898975

732.726495117

642.7887126185

841.8094835527

747.5955435486

640.3687931181

837.4426889977

754.4207023752

656.7956801258

829.6153735354

763.8147244276

673.3956728327

819.4610491842

772.9515808684

689.6876120299

803.4807502654

783.2333784627

695.4217161194

791.1591959764

789.994684783

702.5776128987

788.8298114497

784.1666967177

702.5776128987

792.3233450298

794.4179007336

703.7689948723

788.8298114497

802.5522412282

707.102937814

785.3330186105

799.0682681413

703.7689948723

785.3330186105

799.0682681413

707.102937814

784.1666967177

804.641060636

708.292943656

784.1666967177

809.2786807195

709.4825873581

782.066404718

796.7438087172

713.049345625

784.1666967177

803.4807502654

716.3753794315

783.2333784627

814.836176425

715.1878361408

788.8298114497

817.1493370844

715.1878361408

785.3330186105

831.6889396108

714.2375407675

788.8298114497

829.6153735354

718.7493795932

793.2544035319

832.840413768

718.7493795932

792.3233450298

841.8094835527

717.5625605823

787.6645759765

853.0470838761

726.8101449173

787.6645759765

865.3910936681

734.8541648927

793.2544035319

866.5319209123

736.0356966612

787.6645759765

863.1083527599

741.9379234049

793.2544035319

876.5555851895

743.117282334

801.3912790058

885.4167517711

744.2962791232

802.5522412282

876.5555851895

745.2392158138

801.3912790058

877.6928634628

745.2392158138

804.641060636

883.1467581872

751.1273191017

794.4179007336

891.9915415599

752.3038533395

796.7438087172

891.9915415599

755.5962226214

791.1591959764

891.9915415599

755.5962226214

789.994684783

893.1238947307

754.4207023752

791.1591959764

903.0729871607

754.4207023752

787.6645759765

891.9915415599

756.7713807277

785.3330186105

905.3302334202

761.4683917539

783.2333784627

906.4583133402

762.6417391607

791.1591959764

904.2017913604

765.9251853156

789.994684783

926.2532448734

767.0971565908

795.5810357954

917.2694548939

768.2687657261

803.4807502654

929.392095811

769.4400127215

803.4807502654

933.8712434764

775.0569573122

804.641060636

930.5124259372

783.2333784627

808.1198189085

963.2882985712

778.5633106446

818.3053742042

977.2392789125

779.731370809

823.8493113921

996.6301202654

773.8874485883

828.4628853865

1012.6305799657

777.3948883404

832.840413768

1012.6305799657

778.5633106446

840.8905929511

1023.3273171133

788.8298114497

829.6153735354

1035.0752736095

783.2333784627

838.5923524554

1053.0499599988

786.4989783635

836.2926634001

1066.6267774006

787.6645759765

844.105696065

1080.3602303793

789.994684783

849.8398898975

1092.7549221033

800.2299546435

854.1918222312

1112.5274585671

792.3233450298

863.1083527599

1114.6460776749

797.9062194992

869.9522298057

1131.1215921512

800.2299546435

875.4179447763

1141.4265229036

800.2299546435

883.1467581872

1151.6966737406

801.3912790058

882.0112181854

1164.8500482061

805.8010088667

893.1238947307

1184.1618558101

808.1198189085

890.8588262493

1190.158192302

806.9605949575

898.5541489627

1196.1423464079

811.5953179218

899.6844017221

1201.2913221702

817.1493370844

893.1238947307

1209.305646336

823.8493113921

893.1238947307

1215.25073279

827.3100350978

897.6496860146

1225.2681968939

831.6889396108

896.5187814034

1240.1276696702

838.5923524554

894.2558857615

1249.0467782967

841.8094835527

888.8190260977

1261.969964989

839.7416537732

888.8190260977

1263.7825295993

838.5923524554

893.1238947307

1270.8202380642

842.9577708788

895.3875146524

1269.8159375604

839.7416537732

897.6496860146

1252.0809736342

841.8094835527

900.8142923415

1243.1714255009

847.5472987842

899.6844017221

1273.6303528909

842.9577708788

897.6496860146

1310.6953035055

845.2532591113

901.943820821

1306.7338710338

840.8905929511

903.0729871607

1324.1208330066

846.4004600177

910.7417143202

1329.0398499357

846.4004600177

915.2449080746

1335.7151839067

845.2532591113

922.8870396803

1342.373772529

848.6937754108

928.2714035449

1351.9405173197

847.5472987842

930.5124259372

1348.0399243503

848.6937754108

933.8712434764

1363.2194705131

850.9856422443

942.588915746

1344.3289941162

857.6238644572

956.6247671931

1370.7761947076

857.6238644572

971.9313989937

1381.2029779537

863.1083527599

984.7444926667

1382.1662842215

865.3910936681

992.2329610721

1388.7071628923

866.5319209123

1007.3786723891

1397.1469721251

874.2799422233

1017.0007959508

1412.9911750271

873.1415775303

1046.5646014489

1414.8933793338

875.4179447763

1054.1295856008

1411.0875221609

874.2799422233

1059.3067475031

1400.9739782678

879.7390517622

1062.5382366553

1397.1469721251

886.5512053532

1068.7765405394

1395.2312962144

886.5512053532

1076.0748999856

1395.2312962144

888.8190260977

1084.4259273401

1395.2312962144

887.6852967954

1092.7549221033

1394.4646202534

888.8190260977

1097.0176549676

1398.1042668707

886.5512053532

1099.1468485603

1408.4199745681

891.9915415599

1105.3133183749

1409.3729960629

895.3875146524

1106.37527155

1419.4527595466

898.5541489627

1109.3468138562

1421.3500387506

895.3875146524

1107.4368625853

1421.3500387506

891.9915415599

1120.7818814832

1418.5035767347

899.6844017221

1144.3644006852

1426.843956838

912.9940354772

1165.8915042632

1428.7355866597

919.5175752281

1190.158192302

1433.4583237658

924.0094702179

1219.3436944715

1434.2131215382

931.6323939235

1223.2266411557

1430.6257679218

927.1503491389

1231.1805169302

1436.0991019775

930.5124259372

1230.1620205425

1444.3802070228

934.990125043

1231.1805169302

1447.1969011394

933.8712434764

1246.2119220725

1453.5693413023

954.4006929479

1257.9378428098

1453.5693413023

963.2882985712

1259.9546281792

1462.7236956663

958.8473928787

1258.9464165644

1472.7718833806

967.5017920659

1262.977090184

1472.7718833806

978.3440370232

1246.2119220725

1476.297311075

976.1341586619

1237.283890319

1480.743008332

975.0286762714

1233.2164232861

1473.5145132525

979.4484329941

1243.1714255009

1486.2883965707

985.8467882261

1252.0809736342

1481.6681450548

991.3528339249

1259.9546281792

1487.2113604541

994.4322649485

1271.8241764282

1489.7937327436

998.8265270226

1274.6332772631

1497.891276319

1010.4432991338

1286.4404360511

1501.5627071628

1045.6989019551

1289.2347326071

1500.6453926617

1054.1295856008

1299.986138055

1493.4779109118

1044.6164516619

1302.9651432724

1497.891276319

1026.594875399

1298.992412036

1497.891276319

1018.9655027738

1300.979501934

1497.891276319

1015.9087851643

1299.986138055

1509.6194593004

1015.9087851643

1300.979501934

1503.3962497454

1020.0564995685

1309.7054885974

1505.9607757809

1032.9029129413

1321.3622289586

1510.5332248306

1033.9892743453

1327.0733295837

1500.6453926617

1021.1471342233

1328.0567708297

1504.1292611817

1038.1141449649

1332.7722478228

1506.8759898706

1056.0719990919

1338.4589836758

1505.0451995513

1070.9248551186

1346.0874550263

1503.3962497454

1075.0026620375

1348.0399243503

1504.1292611817

1078.2182894623

1354.6674848264

1500.6453926617

1087.6319942716

1353.888640965

1498.8096772398

1091.6883335375

1353.888640965

1491.6365461075

1095.9525149613

1346.0874550263

1493.4779109118

1099.9981204007

1378.5037938197

1498.8096772398

1115.704844019

1385.0540301854

1488.8717828519

1121.8385474159

1372.710267325

1488.8717828519

1135.1215100214

1375.6086602019

1479.0768496383

1125.0063723745

1377.5391114203

1469.9849571634

1119.7248534106

1372.710267325

1474.4424746666

1117.6097108458

1374.6428913828

1472.7718833806

1120.7818814832

1374.6428913828

1474.4424746666

1117.6097108458

1376.574066881

1471.8432701148

1117.6097108458

1373.6767604239

1467.1947716871

1121.8385474159

1376.574066881

1467.1947716871

1145.4129546842

1373.6767604239

1463.6558579031

1154.6246144034

1373.6767604239

1463.6558579031

1153.5792472355

1375.6086602019

1471.8432701148

1155.6696194315

1374.6428913828

1470.914294709

1160.8892124734

1380.239309546

1465.3328373368

1166.9325981804

1393.5059493763

1467.1947716871

1177.1161541257

1393.5059493763

1463.6558579031

1185.1965760651

1392.5469163593

1475.3700739407

1185.1965760651

1394.4646202534

1469.9849571634

1183.1267734151

1406.5128451589

1477.2241860693

1184.1618558101

1401.9298244538

1469.9849571634

1182.0913288803

1403.6494349959

1472.7718833806

1184.1618558101

1397.1469721251

1469.0552574779

1186.2309341803

1400.017769942

1458.9914253201

1192.2230698494

1400.9739782678

1463.6558579031

1196.1423464079

1402.6942406618

1468.1251956524

1206.2258213718

1400.9739782678

1463.6558579031

1214.2265870199

1405.5587372445

1466.2639855819

1213.2020791099

1417.7439697445

1467.1947716871

1207.2527918331

1414.8933793338

1467.1947716871

1196.1423464079

1412.039529664

1463.6558579031

1202.320030903

1402.6942406618

1458.9914253201

1199.232818285

1409.3729960629

1455.440401578

1197.1728658401

1413.9424582504

1456.375388506

1198.2030231325

1410.3256554178

1458.0574523838

1196.1423464079

1410.3256554178

1454.5050525101

1196.1423464079

1410.3256554178

1455.440401578

1188.091866195

1402.6942406618

1457.310013294

1182.0913288803

1405.5587372445

1460.858284773

1181.0555222056

1407.4665909335

1470.914294709

1181.0555222056

1417.7439697445

1476.297311075

1187.0581599317

1416.7941350808

1473.5145132525

1199.232818285

1409.3729960629

1479.0768496383

1207.2527918331

1385.0540301854

1480.002638213

1216.2745164202

1385.0540301854

1480.743008332

1221.183636858

1358.5582275906

1485.3650705473

1222.2053200768

1358.5582275906

1480.743008332

1223.2266411557

1345.3060617

1479.0768496383

1223.2266411557

1336.6954383216

1478.1506989238

1226.2884315532

1341.3956185255

1469.9849571634

1228.327814452

1351.9405173197

1476.297311075

1235.2508810823

1360.5014261334

1479.0768496383

1241.142617087

1352.9147602123

1485.3650705473

1239.1123601135

1350.9659122872

1483.5173320808

1235.2508810823

1348.0399243503

1482.5929196378

1240.1276696702

1339.4382240989

1487.2113604541

1240.1276696702

1331.7905448483

1488.8717828519

1233.2164232861

1333.7535886573

1490.7153204955

1236.2675667706

1326.0895261979

1500.6453926617

1245.1987853552

1331.7905448483

1504.1292611817

1250.0585388824

1338.4589836758

1505.9607757809

1253.0916478002

1339.4382240989

1508.7053316304

1253.0916478002

1349.9909451148

1507.7908418204

1259.9546281792

1376.574066881

1512.1770901923

1273.6303528909

1381.2029779537

1512.1770901923

1273.6303528909

1385.0540301854

1510.5332248306

1273.6303528909

1365.1591925128

1512.1770901923

1266.8008632094

1353.888640965

1518.5587460236

1257.9378428098

1340.4171023822

1513.0898417308

1254.1019598263

1330.808479734

1510.5332248306

1259.9546281792

1328.0567708297

1514.0022311293

1280.4430972236

1322.1506912556

1520.1968750894

1285.4417849296

1329.0398499357

1516.7372264856

1289.2347326071

1324.1208330066

1522.0156423643

1310.6953035055

1317.4164409304

1518.5587460236

1318.4034311473

1314.4532974403

1515.8259235067

1317.4164409304

1316.4290885736

1520.1968750894

1326.0895261979

1303.9574207318

1516.7372264856

1324.1208330066

1301.9725036732

1517.6481673246

1330.808479734

1316.4290885736

1514.914258388

1335.7151839067

1313.4648586638

1511.4466282208

1334.734567352

1306.7338710338

1516.7372264856

1327.0733295837

1304.9493360512

1509.6194593004

1341.3956185255

1305.7426075661

1506.8759898706

1334.734567352

1301.9725036732

1507.7908418204

1324.1208330066

1303.9574207318

1504.1292611817

1332.7722478228

1309.7054885974

1503.3962497454

1332.7722478228

1306.7338710338

1500.6453926617

1319.3900592243

1314.4532974403

1501.5627071628

1323.135943201

1315.4413740769

1503.3962497454

1324.1208330066

1325.1053606722

1505.9607757809

1322.1506912556

1335.7151839067

1502.4796595241

1314.4532974403

1326.0895261979

1505.0451995513

1307.7247723615

1327.0733295837

1505.0451995513

1314.4532974403

1343.3515643926

1503.3962497454

1315.4413740769

1336.6954383216

1498.8096772398

1320.3763251614

1335.7151839067

1505.9607757809

1308.7153115494

1360.5014261334

1505.9607757809

1311.6847562736

1365.1591925128

1507.7908418204

1323.135943201

1351.9405173197

1505.0451995513

1321.3622289586

1342.373772529

1510.5332248306

1320.3763251614

1333.7535886573

1514.0022311293

1327.0733295837

1338.4589836758

1509.6194593004

1328.0567708297

1345.3060617

1510.5332248306

1327.0733295837

1342.373772529

1511.4466282208

1329.8260524798

1332.7722478228

1507.7908418204

1330.808479734

1355.6407137273

1505.0451995513

1331.7905448483

1346.0874550263

1497.891276319

1341.3956185255

1349.0156158025

1488.8717828519

1339.4382240989

1360.5014261334

1488.1339621977

1333.7535886573

1363.2194705131

1490.7153204955

1338.4589836758

1353.888640965

1490.7153204955

1338.4589836758

1356.6135804883

1501.5627071628

1336.6954383216

1370.002160064

1496.237242069

1339.4382240989

1369.0342908336

1496.237242069

1338.4589836758

1377.5391114203

1494.3980501041

1339.4382240989

1367.097465953

1493.4779109118

1342.373772529

1375.6086602019

1503.3962497454

1359.5300079319

1377.5391114203

1498.8096772398

1359.5300079319

1373.6767604239

1496.237242069

1367.097465953

1374.6428913828

1495.3178271565

1364.1895125829

1365.1591925128

1495.3178271565

1363.2194705131

1365.1591925128

1498.8096772398

1370.002160064

1365.1591925128

1500.6453926617

1393.5059493763

1367.097465953

1505.9607757809

1405.5587372445

1367.097465953

1506.8759898706

1410.3256554178

1365.1591925128

1499.7277160207

1414.8933793338

1368.0660594632

1505.0451995513

1422.2981351428

1372.710267325

1501.5627071628

1415.8439382772

1374.6428913828

1505.9607757809

1408.4199745681

1382.1662842215

1505.0451995513

1412.9911750271

1388.7071628923

1500.6453926617

1411.0875221609

1383.1292283493

1498.8096772398

1412.039529664

1392.5469163593

1501.5627071628

1410.3256554178

1404.6042671902

1501.5627071628

1421.3500387506

1410.3256554178

1498.8096772398

1423.2458693951

1413.9424582504

1494.3980501041

1437.0415489874

1420.4015802186

1478.1506989238

1441.7483519381

1415.8439382772

1469.0552574779

1442.5006002456

1421.3500387506

1467.1947716871

1458.0574523838

1424.1932415075

1465.3328373368

1456.375388506

1421.3500387506

1464.587658

1464.587658

1425.14025148

1472.7718833806

1451.696832467

1416.7941350808

1464.587658

1445.3194672015

1412.039529664

1465.3328373368

1442.5006002456

1415.8439382772

1467.1947716871

1444.3802070228

1410.3256554178

1462.7236956663

1449.8228750722

1408.4199745681

1464.587658

1444.3802070228

1402.6942406618

1464.587658

1441.7483519381

1400.017769942

1458.0574523838

1442.5006002456

1398.1042668707

1457.310013294

1448.1350748984

1400.017769942

1462.7236956663

1435.1562928278

1402.6942406618

1461.7911712896

1425.14025148

1400.017769942

1460.858284773

1425.14025148

1404.6042671902

1456.375388506

1433.4583237658

1406.5128451589

1453.5693413023

1427.7899528188

1402.6942406618

1452.6332679546

1446.2583652404

1402.6942406618

1446.2583652404

1458.0574523838

1401.9298244538

1449.0728865176

1464.587658

1409.3729960629

1447.1969011394

1468.1251956524

1409.3729960629

1451.696832467

1469.9849571634

1415.8439382772

1449.8228750722

1468.1251956524

1415.8439382772

1450.7600348396

1471.8432701148

1415.8439382772

1447.1969011394

1471.8432701148

1406.5128451589

1455.440401578

1475.3700739407

1414.8933793338

1462.7236956663

1465.3328373368

1415.8439382772

1461.7911712896

1474.4424746666

1413.9424582504

1452.6332679546

1470.914294709

1415.8439382772

1457.310013294

1476.297311075

1421.3500387506

1454.5050525101

1480.743008332

1422.2981351428

1458.0574523838

1483.5173320808

1419.4527595466

1448.1350748984

1474.4424746666

1424.1932415075

1448.1350748984

1481.6681450548

1426.0868993126

1448.1350748984

1479.0768496383

1426.0868993126

1436.0991019775

1488.1339621977

1428.7355866597

1440.8077156277

1489.7937327436

1429.6808583607

1442.5006002456

1485.3650705473

1425.14025148

1439.8667171775

1488.8717828519

1421.3500387506

1437.0415489874

1488.8717828519

1424.1932415075

1436.0991019775

1491.6365461075

1414.8933793338

1442.5006002456

1488.1339621977

1412.039529664

1437.0415489874

1485.3650705473

1411.0875221609

1443.4405847042

1488.1339621977

1410.3256554178

1445.3194672015

1490.7153204955

1420.4015802186

1439.8667171775

1491.6365461075

1417.7439697445

1442.5006002456

1492.5574095796

1413.9424582504

1448.1350748984

1490.7153204955

1418.5035767347

1443.4405847042

1488.1339621977

1419.4527595466

1446.2583652404

1487.2113604541

1421.3500387506

1449.0728865176

1488.8717828519

1423.2458693951

1449.0728865176

1481.6681450548

1422.2981351428

1441.7483519381

1483.5173320808

1420.4015802186

1438.9253565873

1483.5173320808

1425.14025148

1437.0415489874

1481.6681450548

1419.4527595466

1438.9253565873

1476.297311075

1416.7941350808

1439.8667171775

1471.8432701148

1422.2981351428

1441.7483519381

1469.9849571634

1425.14025148

1441.7483519381

1478.1506989238

1422.2981351428

1434.2131215382

1476.297311075

1425.14025148

1437.0415489874

1474.4424746666

1422.2981351428

1437.0415489874

1476.297311075

1420.4015802186

1441.7483519381

1469.9849571634

1413.9424582504

1447.1969011394

1470.914294709

1412.039529664

1451.696832467

1468.1251956524

1408.4199745681

1450.7600348396

1469.9849571634

1406.5128451589

1451.696832467

1471.8432701148

1400.9739782678

1447.1969011394

1467.1947716871

1397.1469721251

1457.310013294

1467.1947716871

1400.017769942

1460.858284773

1463.6558579031

1400.017769942

1470.914294709

1457.310013294

1403.6494349959

1468.1251956524

1449.0728865176

1399.0611994763

1472.7718833806

1446.2583652404

1402.6942406618

1471.8432701148

1443.4405847042

1436.0991019775

1468.1251956524

1436.0991019775

1448.1350748984

1470.914294709

1435.1562928278

1449.0728865176

1468.1251956524

1434.2131215382

1457.310013294

1467.1947716871

1438.9253565873

1459.9250361165

1465.3328373368

1437.9836338573

1457.310013294

1464.587658

1439.8667171775

1455.440401578

1462.7236956663

1447.1969011394

1457.310013294

1465.3328373368

1451.696832467

1457.310013294

1464.587658

1477.2241860693

1455.440401578

1468.1251956524

1476.297311075

1457.310013294

1467.1947716871

1474.4424746666

1452.6332679546

1470.914294709

1473.5145132525

1449.8228750722

1471.8432701148

1469.0552574779

1446.2583652404

1472.7718833806

1469.9849571634

1449.0728865176

1474.4424746666

1469.9849571634

1448.1350748984

1472.7718833806

1469.0552574779

1453.5693413023

1470.914294709

1469.0552574779

1455.440401578

1469.9849571634

1468.1251956524

1453.5693413023

1470.914294709

1469.0552574779

1457.310013294

1472.7718833806

1469.9849571634

1458.9914253201

1468.1251956524

1464.587658

1456.375388506

1467.1947716871

1467.1947716871

1458.9914253201

1464.587658

1467.1947716871

1456.375388506

1467.1947716871

1468.1251956524

1457.310013294

1465.3328373368

1467.1947716871

1459.9250361165

1466.2639855819

1463.6558579031

1454.5050525101

1464.587658

1468.1251956524

1457.310013294

1464.587658

1464.587658

1457.310013294

1464.587658

1465.3328373368

1458.0574523838

1467.1947716871

1467.1947716871

1457.310013294

1467.1947716871

1467.1947716871

1458.9914253201

1460.858284773

1465.3328373368

1460.858284773

1458.0574523838

1463.6558579031

1462.7236956663

1453.5693413023

1461.7911712896

1464.587658

1452.6332679546

1457.310013294

1464.587658

1454.5050525101

1457.310013294

1460.858284773

1457.310013294

1455.440401578

1454.5050525101

1463.6558579031

1449.8228750722

1450.7600348396

1462.7236956663

1441.7483519381

1451.696832467

1461.7911712896

1439.8667171775

1448.1350748984

1460.858284773

1435.1562928278

1447.1969011394

1462.7236956663

1433.4583237658

1447.1969011394

1458.9914253201

1437.9836338573

1445.3194672015

1456.375388506

1438.9253565873

1446.2583652404

1453.5693413023

1448.1350748984

1447.1969011394

1445.3194672015

1442.5006002456

1449.0728865176

1437.0415489874

1443.4405847042

1445.3194672015

1437.9836338573

1450.7600348396

1448.1350748984

1429.6808583607

1451.696832467

1449.0728865176

1420.4015802186

1450.7600348396

1445.3194672015

1424.1932415075

1441.7483519381

1447.1969011394

1426.0868993126

1439.8667171775

1445.3194672015

1422.2981351428

1438.9253565873

1445.3194672015

1423.2458693951

1432.5145006243

1439.8667171775

1422.2981351428

1426.0868993126

1442.5006002456

1428.7355866597

1426.0868993126

1438.9253565873

1431.570315343

1434.2131215382

1437.0415489874

1436.0991019775

1437.9836338573

1432.5145006243

1431.570315343

1424.1932415075

1437.0415489874

1435.1562928278

1435.1562928278

1437.0415489874

1432.5145006243

1435.1562928278

1437.0415489874

1430.6257679218

1437.9836338573

1431.570315343

1426.0868993126

1439.8667171775

1434.2131215382

1427.7899528188

1445.3194672015

1434.2131215382

1427.7899528188

1446.2583652404

1439.8667171775

1426.843956838

1451.696832467

1441.7483519381

1428.7355866597

1449.8228750722

1443.4405847042

1429.6808583607

1449.0728865176

1443.4405847042

1434.2131215382

1446.2583652404

1439.8667171775

1428.7355866597

1449.8228750722

1443.4405847042

1426.843956838

1448.1350748984

1444.3802070228

1421.3500387506

1445.3194672015

1444.3802070228

1418.5035767347

1445.3194672015

1444.3802070228

1420.4015802186

1454.5050525101

1447.1969011394

1426.0868993126

1460.858284773

1450.7600348396

1422.2981351428

1458.9914253201

1453.5693413023

1412.9911750271

1460.858284773

1452.6332679546

1415.8439382772

1461.7911712896

1452.6332679546

1420.4015802186

1462.7236956663

1449.0728865176

1419.4527595466

1460.858284773

1454.5050525101

1418.5035767347

1461.7911712896

1453.5693413023

1416.7941350808

1459.9250361165

1454.5050525101

1421.3500387506

1458.9914253201

1453.5693413023

1421.3500387506

1459.9250361165

1454.5050525101

1420.4015802186

1460.858284773

1452.6332679546

1419.4527595466

1461.7911712896

1454.5050525101

1421.3500387506

1466.2639855819

1452.6332679546

1422.2981351428

1467.1947716871

1454.5050525101

1421.3500387506

1467.1947716871

1451.696832467

1419.4527595466

1457.310013294

1450.7600348396

1416.7941350808

1454.5050525101

1451.696832467

1408.4199745681

1452.6332679546

1454.5050525101

1408.4199745681

1450.7600348396

1452.6332679546

1408.4199745681

1450.7600348396

1454.5050525101

1408.4199745681

1451.696832467

1455.440401578

1411.0875221609

1452.6332679546

1457.310013294

1412.039529664

1456.375388506

1452.6332679546

1416.7941350808

1460.858284773

1458.0574523838

1414.8933793338

1461.7911712896

1453.5693413023

1414.8933793338

1463.6558579031

1457.310013294

1413.9424582504

1466.2639855819

1452.6332679546

1415.8439382772

1469.9849571634

1451.696832467

1419.4527595466

1468.1251956524

1449.8228750722

1418.5035767347

1471.8432701148

1445.3194672015

1419.4527595466

1475.3700739407

1447.1969011394

1419.4527595466

1471.8432701148

1444.3802070228

1418.5035767347

1469.0552574779

1446.2583652404

1422.2981351428

1464.587658

1442.5006002456

1424.1932415075

1465.3328373368

1448.1350748984

1426.0868993126

1461.7911712896

1446.2583652404

1423.2458693951

1461.7911712896

1442.5006002456

1421.3500387506

1461.7911712896

1443.4405847042

1414.8933793338

1460.858284773

1440.8077156277

1413.9424582504

1453.5693413023

1442.5006002456

1412.9911750271

1444.3802070228

1443.4405847042

1412.9911750271

1447.1969011394

1435.1562928278

1412.039529664

1448.1350748984

1437.0415489874

1406.5128451589

1450.7600348396

1433.4583237658

1407.4665909335

1449.0728865176

1437.0415489874

1409.3729960629

1450.7600348396

1440.8077156277

1409.3729960629

1449.0728865176

1431.570315343

1410.3256554178

1455.440401578

1435.1562928278

1412.9911750271

1450.7600348396

1433.4583237658

1412.9911750271

1450.7600348396

1431.570315343

1413.9424582504

1449.0728865176

1433.4583237658

1418.5035767347

1445.3194672015

1427.7899528188

1415.8439382772

1443.4405847042

1432.5145006243

1410.3256554178

1442.5006002456

1436.0991019775

1411.0875221609

1429.6808583607

1437.9836338573

1410.3256554178

1433.4583237658

1434.2131215382

1411.0875221609

1433.4583237658

1439.8667171775

1411.0875221609

1424.1932415075

1439.8667171775

1415.8439382772

1425.14025148

1435.1562928278

1410.3256554178

1426.0868993126

1438.9253565873

1410.3256554178

1426.843956838

1442.5006002456

1409.3729960629

1426.0868993126

1437.9836338573

1410.3256554178

1426.843956838

1427.7899528188

1406.5128451589

1429.6808583607

1426.843956838

1407.4665909335

1435.1562928278

1433.4583237658

1412.9911750271

1438.9253565873

1431.570315343

1412.039529664

1450.7600348396

1430.6257679218

1412.039529664

1452.6332679546

1430.6257679218

1418.5035767347

1458.0574523838

1425.14025148

1417.7439697445

1459.9250361165

1429.6808583607

1416.7941350808

1461.7911712896

1432.5145006243

1412.9911750271

1459.9250361165

1431.570315343

1415.8439382772

1461.7911712896

1434.2131215382

1417.7439697445

1458.9914253201

1432.5145006243

1415.8439382772

1458.9914253201

1437.0415489874

1412.039529664

1458.0574523838

1441.7483519381

1415.8439382772

1455.440401578

1438.9253565873

1411.0875221609

1456.375388506

1435.1562928278

1416.7941350808

1449.8228750722

1427.7899528188

1413.9424582504

1449.8228750722

1429.6808583607

1415.8439382772

1452.6332679546

1426.0868993126

1417.7439697445

1453.5693413023

1425.14025148

1419.4527595466

1455.440401578

1427.7899528188

1420.4015802186

1449.8228750722

1424.1932415075

1418.5035767347

1449.8228750722

1425.14025148

1417.7439697445

1445.3194672015

1428.7355866597

1420.4015802186

1452.6332679546

1428.7355866597

1416.7941350808

1440.8077156277

1431.570315343

1418.5035767347

1437.9836338573

1429.6808583607

1419.4527595466

1439.8667171775

1429.6808583607

1417.7439697445

1441.7483519381

1426.0868993126

1423.2458693951

1445.3194672015

1432.5145006243

1421.3500387506

1446.2583652404

1433.4583237658

1424.1932415075

1445.3194672015

1437.0415489874

1425.14025148

1450.7600348396

1446.2583652404

1421.3500387506

1446.2583652404

1441.7483519381

1413.9424582504

1444.3802070228

1441.7483519381

1418.5035767347

1448.1350748984

1440.8077156277

1417.7439697445

1444.3802070228

1437.0415489874

1412.039529664

1444.3802070228

1438.9253565873

1410.3256554178

1440.8077156277

1438.9253565873

1416.7941350808

1440.8077156277

1439.8667171775

1414.8933793338

1442.5006002456

1439.8667171775

1408.4199745681

1437.9836338573

1432.5145006243

1406.5128451589

1444.3802070228

1435.1562928278

1409.3729960629

1446.2583652404

1436.0991019775

1402.6942406618

1442.5006002456

1437.0415489874

1404.6042671902

1441.7483519381

1438.9253565873

1406.5128451589

1440.8077156277

1437.9836338573

1405.5587372445

1442.5006002456

1438.9253565873

1410.3256554178

1442.5006002456

1434.2131215382

1421.3500387506

1438.9253565873

1435.1562928278

1421.3500387506

1441.7483519381

1432.5145006243

1421.3500387506

1444.3802070228

1434.2131215382

1418.5035767347

1443.4405847042

1436.0991019775

1419.4527595466

1444.3802070228

1428.7355866597

1412.9911750271

1439.8667171775

1433.4583237658

1412.039529664

1441.7483519381

1423.2458693951

1412.9911750271

1445.3194672015

1427.7899528188

1410.3256554178

1446.2583652404

1426.843956838

1405.5587372445

1448.1350748984

1423.2458693951

1415.8439382772

1448.1350748984

1426.843956838

1416.7941350808

1446.2583652404

1424.1932415075

1411.0875221609

1447.1969011394

1429.6808583607

1407.4665909335

1451.696832467

1430.6257679218

1413.9424582504

1451.696832467

1427.7899528188

1409.3729960629

1455.440401578

1427.7899528188

1412.9911750271

1457.310013294

1427.7899528188

1405.5587372445

1456.375388506

1423.2458693951

1408.4199745681

1452.6332679546

1425.14025148

1407.4665909335

1455.440401578

1418.5035767347

1403.6494349959

1457.310013294

1420.4015802186

1400.9739782678

1458.0574523838

1425.14025148

1408.4199745681

1458.0574523838

1424.1932415075

1405.5587372445

1456.375388506

1419.4527595466

1403.6494349959

1456.375388506

1412.9911750271

1405.5587372445

1458.0574523838

1411.0875221609

1405.5587372445

1461.7911712896

1410.3256554178

1405.5587372445

1458.9914253201

1420.4015802186

1401.9298244538

1453.5693413023

1417.7439697445

1404.6042671902

1456.375388506

1425.14025148

1401.9298244538

1458.9914253201

1423.2458693951

1401.9298244538

1458.0574523838

1418.5035767347

1397.1469721251

1458.9914253201

1419.4527595466

1397.1469721251

1454.5050525101

1418.5035767347

1400.9739782678

1458.9914253201

1422.2981351428

1394.4646202534

1461.7911712896

1419.4527595466

1391.5875212024

1463.6558579031

1420.4015802186

1389.6676444689

1457.310013294

1421.3500387506

1396.1893152397

1461.7911712896

1414.8933793338

1397.1469721251

1458.9914253201

1414.8933793338

1399.0611994763

1458.9914253201

1413.9424582504

1395.2312962144

1460.858284773

1412.039529664

1401.9298244538

1459.9250361165

1415.8439382772

1400.017769942

1461.7911712896

1412.9911750271

1397.1469721251

1465.3328373368

1417.7439697445

1400.017769942

1462.7236956663

1414.8933793338

1394.4646202534

1462.7236956663

1418.5035767347

1398.1042668707

1463.6558579031

1416.7941350808

1396.1893152397

1460.858284773

1415.8439382772

1389.6676444689

1458.0574523838

1417.7439697445

1388.7071628923

1458.9914253201

1420.4015802186

1394.4646202534

1458.9914253201

1418.5035767347

1391.5875212024

1457.310013294

1426.843956838

1381.2029779537

1458.9914253201

1424.1932415075

1386.7851133194

1454.5050525101

1420.4015802186

1386.0158878936

1453.5693413023

1424.1932415075

1383.1292283493

1453.5693413023

1419.4527595466

1378.5037938197

1456.375388506

1420.4015802186

1375.6086602019

1453.5693413023

1418.5035767347

1383.1292283493

1452.6332679546

1423.2458693951

1385.0540301854

1446.2583652404

1421.3500387506

1378.5037938197

1443.4405847042

1424.1932415075

1384.0918103373

1442.5006002456

1426.0868993126

1383.1292283493

1441.7483519381

1424.1932415075

1384.0918103373

1448.1350748984

1419.4527595466

1379.2752789985

1447.1969011394

1423.2458693951

1385.0540301854

1447.1969011394

1421.3500387506

1383.1292283493

1453.5693413023

1417.7439697445

1384.0918103373

1449.0728865176

1421.3500387506

1386.0158878936

1449.0728865176

1417.7439697445

1386.0158878936

1451.696832467

1419.4527595466

1373.6767604239

1449.8228750722

1416.7941350808

1384.0918103373

1451.696832467

1417.7439697445

1379.2752789985

1452.6332679546

1418.5035767347

1383.1292283493

1448.1350748984

1421.3500387506

1382.1662842215

1449.0728865176

1426.0868993126

1375.6086602019

1448.1350748984

1427.7899528188

1387.7463191758

1452.6332679546

1424.1932415075

1386.0158878936

1454.5050525101

1426.843956838

1389.6676444689

1450.7600348396

1435.1562928278

1398.1042668707

1452.6332679546

1432.5145006243

1388.7071628923

1451.696832467

1429.6808583607

1386.0158878936

1449.8228750722

1429.6808583607

1392.5469163593

1448.1350748984

1429.6808583607

1390.6277639056

1450.7600348396

1428.7355866597

1391.5875212024

1450.7600348396

1428.7355866597

1397.1469721251

1455.440401578

1426.0868993126

1399.0611994763

1449.8228750722

1432.5145006243

1398.1042668707

1449.0728865176

1430.6257679218

1399.0611994763

1451.696832467

1429.6808583607

1396.1893152397

1448.1350748984

1427.7899528188

1390.6277639056

1447.1969011394

1438.9253565873

1389.6676444689

1446.2583652404

1441.7483519381

1392.5469163593

1449.0728865176

1435.1562928278

1388.7071628923

1451.696832467

1435.1562928278

1385.0540301854

1450.7600348396

1437.0415489874

1386.7851133194

1453.5693413023

1433.4583237658

1392.5469163593

1449.8228750722

1436.0991019775

1386.7851133194

1447.1969011394

1426.843956838

1384.0918103373

1446.2583652404

1431.570315343

1383.1292283493

1449.8228750722

1427.7899528188

1386.7851133194

1453.5693413023

1431.570315343

1386.7851133194

1457.310013294

1429.6808583607

1390.6277639056

1454.5050525101

1427.7899528188

1393.5059493763

1459.9250361165

1433.4583237658

1385.0540301854

1453.5693413023

1434.2131215382

1386.7851133194

1458.0574523838

1432.5145006243

1388.7071628923

1457.310013294

1430.6257679218

1385.0540301854

1455.440401578

1437.0415489874

1384.0918103373

1458.0574523838

1436.0991019775

1386.0158878936

1452.6332679546

1442.5006002456

1388.7071628923

1451.696832467

1439.8667171775

1389.6676444689

1454.5050525101

1435.1562928278

1389.6676444689

1450.7600348396

1428.7355866597

1392.5469163593

1453.5693413023

1430.6257679218

1390.6277639056

1454.5050525101

1429.6808583607

1389.6676444689

1454.5050525101

1432.5145006243

1389.6676444689

1454.5050525101

1436.0991019775

1385.0540301854

1452.6332679546

1438.9253565873

1391.5875212024

1449.0728865176

1437.9836338573

1391.5875212024

1454.5050525101

1439.8667171775

1387.7463191758

1454.5050525101

1435.1562928278

1388.7071628923

1452.6332679546

1432.5145006243

1386.0158878936

1456.375388506

1432.5145006243

1386.0158878936

1455.440401578

1431.570315343

1387.7463191758

1455.440401578

1432.5145006243

1390.6277639056

1454.5050525101

1431.570315343

1390.6277639056

1452.6332679546

1430.6257679218

1390.6277639056

1448.1350748984

1429.6808583607

1384.0918103373

1449.8228750722

1429.6808583607

1386.7851133194

1453.5693413023

1429.6808583607

1386.7851133194

1448.1350748984

1433.4583237658

1381.2029779537

1445.3194672015

1428.7355866597

1382.1662842215

1442.5006002456

1427.7899528188

1386.0158878936

1445.3194672015

1429.6808583607

1378.5037938197

1445.3194672015

1427.7899528188

1376.574066881

1437.9836338573

1426.0868993126

1377.5391114203

1440.8077156277

1424.1932415075

1373.6767604239

1443.4405847042

1422.2981351428

1374.6428913828

1440.8077156277

1421.3500387506

1376.574066881

1445.3194672015

1425.14025148

1376.574066881

1444.3802070228

1424.1932415075

1378.5037938197

1440.8077156277

1421.3500387506

1376.574066881

1443.4405847042

1421.3500387506

1368.0660594632

1430.6257679218

1421.3500387506

1364.1895125829

1434.2131215382

1426.0868993126

1368.0660594632

1433.4583237658

1429.6808583607

1369.0342908336

1432.5145006243

1428.7355866597

1366.1285103029

1428.7355866597

1423.2458693951

1367.097465953

1427.7899528188

1424.1932415075

1369.0342908336

1431.570315343

1431.570315343

1365.1591925128

1435.1562928278

1428.7355866597

1370.7761947076

1436.0991019775

1435.1562928278

1370.7761947076

1438.9253565873

1438.9253565873

1375.6086602019

1433.4583237658

1438.9253565873

1381.2029779537

1434.2131215382

1437.0415489874

1384.0918103373

1434.2131215382

1439.8667171775

1386.0158878936

1433.4583237658

1439.8667171775

1384.0918103373

1433.4583237658

1436.0991019775

1382.1662842215

1433.4583237658

1437.9836338573

1380.239309546

1434.2131215382

1434.2131215382

1381.2029779537

1434.2131215382

1435.1562928278

1375.6086602019

1430.6257679218

1434.2131215382

1371.7434120863

1433.4583237658

1432.5145006243

1374.6428913828

1428.7355866597

1435.1562928278

1377.5391114203

1432.5145006243

1439.8667171775

1376.574066881

1435.1562928278

1443.4405847042

1374.6428913828

1435.1562928278

1438.9253565873

1379.2752789985

1434.2131215382

1436.0991019775

1384.0918103373

1436.0991019775

1435.1562928278

1383.1292283493

1435.1562928278

1429.6808583607

1384.0918103373

1435.1562928278

1433.4583237658

1382.1662842215

1438.9253565873

1426.0868993126

1382.1662842215

1440.8077156277

1425.14025148

1383.1292283493

1440.8077156277

1423.2458693951

1385.0540301854

1442.5006002456

1425.14025148

1385.0540301854

1437.9836338573

1420.4015802186

1382.1662842215

1437.9836338573

1427.7899528188

1386.0158878936

1442.5006002456

1423.2458693951

1393.5059493763

1445.3194672015

1423.2458693951

1390.6277639056

1449.0728865176

1424.1932415075

1387.7463191758

1448.1350748984

1420.4015802186

1386.7851133194

1451.696832467

1422.2981351428

1386.0158878936

1451.696832467

1420.4015802186

1386.0158878936

1449.8228750722

1423.2458693951

1389.6676444689

1453.5693413023

1420.4015802186

1389.6676444689

1450.7600348396

1416.7941350808

1388.7071628923

1449.0728865176

1413.9424582504

1388.7071628923

1447.1969011394

1413.9424582504

1387.7463191758

1449.0728865176

1412.039529664

1385.0540301854

1449.0728865176

1410.3256554178

1381.2029779537

1448.1350748984

1409.3729960629

1377.5391114203

1449.0728865176

1412.039529664

1379.2752789985

1448.1350748984

1407.4665909335

1375.6086602019

1448.1350748984

1412.039529664

1372.710267325

1449.0728865176

1402.6942406618

1376.574066881

1451.696832467

1401.9298244538

1374.6428913828

1450.7600348396

1408.4199745681

1379.2752789985

1452.6332679546

1408.4199745681

1379.2752789985

1452.6332679546

1412.039529664

1376.574066881

1451.696832467

1415.8439382772

1377.5391114203

1449.8228750722

1419.4527595466

1373.6767604239

1449.0728865176

1423.2458693951

1371.7434120863

1448.1350748984

1417.7439697445

1372.710267325

1449.8228750722

1418.5035767347

1372.710267325

1448.1350748984

1417.7439697445

1376.574066881

1443.4405847042

1421.3500387506

1381.2029779537

1448.1350748984

1422.2981351428

1379.2752789985

1449.0728865176

1414.8933793338

1374.6428913828

1441.7483519381

1415.8439382772

1377.5391114203

1438.9253565873

1414.8933793338

1375.6086602019

1441.7483519381

1412.9911750271

1378.5037938197

1440.8077156277

1408.4199745681

1377.5391114203

1442.5006002456

1406.5128451589

1376.574066881

1437.0415489874

1398.1042668707

1374.6428913828

1440.8077156277

1398.1042668707

1376.574066881

1442.5006002456

1400.017769942

1378.5037938197

1440.8077156277

1398.1042668707

1377.5391114203

1439.8667171775

1400.9739782678

1378.5037938197

1431.570315343

1403.6494349959

1373.6767604239

1426.0868993126

1402.6942406618

1376.574066881

1422.2981351428

1407.4665909335

1375.6086602019

1423.2458693951

1403.6494349959

1378.5037938197

1427.7899528188

1402.6942406618

1376.574066881

1424.1932415075

1415.8439382772

1373.6767604239

1428.7355866597

1416.7941350808

1374.6428913828

1426.843956838

1412.9911750271

1378.5037938197

1435.1562928278

1415.8439382772

1377.5391114203

1437.0415489874

1413.9424582504

1379.2752789985

1438.9253565873

1420.4015802186

1376.574066881

1440.8077156277

1412.9911750271

1379.2752789985

1442.5006002456

1415.8439382772

1377.5391114203

1441.7483519381

1411.0875221609

1376.574066881

1441.7483519381

1406.5128451589

1378.5037938197

1439.8667171775

1409.3729960629

1381.2029779537

1446.2583652404

1409.3729960629

1381.2029779537

1441.7483519381

1413.9424582504

1386.0158878936

1444.3802070228

1412.039529664

1381.2029779537

1445.3194672015

1404.6042671902

1376.574066881

1443.4405847042

1403.6494349959

1380.239309546

1439.8667171775

1402.6942406618

1382.1662842215

1430.6257679218

1405.5587372445

1376.574066881

1429.6808583607

1405.5587372445

1373.6767604239

1426.0868993126

1402.6942406618

1376.574066881

1422.2981351428

1410.3256554178

1374.6428913828

1417.7439697445

1410.3256554178

1370.7761947076

1409.3729960629

1413.9424582504

1372.710267325

1412.039529664

1415.8439382772

1372.710267325

1412.9911750271

1408.4199745681

1372.710267325

1411.0875221609

1411.0875221609

1370.7761947076

1409.3729960629

1412.9911750271

1373.6767604239

1409.3729960629

1417.7439697445

1365.1591925128

1419.4527595466

1415.8439382772

1370.002160064

1417.7439697445

1417.7439697445

1373.6767604239

1412.039529664

1423.2458693951

1373.6767604239

1414.8933793338

1418.5035767347

1371.7434120863

1417.7439697445

1414.8933793338

1375.6086602019

1419.4527595466

1418.5035767347

1376.574066881

1418.5035767347

1419.4527595466

1371.7434120863

1423.2458693951

1421.3500387506

1369.0342908336

1423.2458693951

1421.3500387506

1367.097465953

1421.3500387506

1421.3500387506

1370.7761947076

1422.2981351428

1418.5035767347

1376.574066881

1425.14025148

1416.7941350808

1380.239309546

1426.0868993126

1415.8439382772

1377.5391114203

1424.1932415075

1414.8933793338

1379.2752789985

1421.3500387506

1412.9911750271

1379.2752789985

1418.5035767347

1410.3256554178

1377.5391114203

1426.0868993126

1412.9911750271

1375.6086602019

1424.1932415075

1415.8439382772

1377.5391114203

1423.2458693951

1417.7439697445

1378.5037938197

1421.3500387506

1412.9911750271

1379.2752789985

1422.2981351428

1413.9424582504

1379.2752789985

1417.7439697445

1414.8933793338

1376.574066881

1424.1932415075

1416.7941350808

1375.6086602019

1427.7899528188

1420.4015802186

1370.7761947076

1424.1932415075

1421.3500387506

1370.002160064

1430.6257679218

1420.4015802186

1372.710267325

1431.570315343

1419.4527595466

1371.7434120863

1430.6257679218

1417.7439697445

1370.002160064

1432.5145006243

1415.8439382772

1370.7761947076

1431.570315343

1415.8439382772

1370.002160064

1432.5145006243

1415.8439382772

1368.0660594632

1427.7899528188

1421.3500387506

1364.1895125829

1429.6808583607

1416.7941350808

1366.1285103029

1429.6808583607

1411.0875221609

1369.0342908336

1432.5145006243

1412.9911750271

1367.097465953

1431.570315343

1412.9911750271

1368.0660594632

1435.1562928278

1411.0875221609

1370.002160064

1438.9253565873

1415.8439382772

1362.2490663034

1436.0991019775

1418.5035767347

1357.5860851094

1424.1932415075

1415.8439382772

1370.7761947076

1431.570315343

1413.9424582504

1372.710267325

1422.2981351428

1408.4199745681

1370.002160064

1416.7941350808

1404.6042671902

1366.1285103029

1422.2981351428

1400.9739782678

1367.097465953

1426.843956838

1400.9739782678

1369.0342908336

1431.570315343

1400.017769942

1370.002160064

1424.1932415075

1405.5587372445

1368.0660594632

1426.0868993126

1400.9739782678

1367.097465953

1426.843956838

1394.4646202534

1368.0660594632

1428.7355866597

1391.5875212024

1370.002160064

1428.7355866597

1394.4646202534

1370.002160064

1426.843956838

1393.5059493763

1374.6428913828

1424.1932415075

1403.6494349959

1375.6086602019

1427.7899528188

1408.4199745681

1373.6767604239

1431.570315343

1405.5587372445

1373.6767604239

1434.2131215382

1405.5587372445

1370.002160064

1431.570315343

1405.5587372445

1369.0342908336

1433.4583237658

1405.5587372445

1377.5391114203

1427.7899528188

1409.3729960629

1373.6767604239

1430.6257679218

1403.6494349959

1375.6086602019

1427.7899528188

1404.6042671902

1370.7761947076

1423.2458693951

1405.5587372445

1372.710267325

1425.14025148

1408.4199745681

1366.1285103029

1427.7899528188

1407.4665909335

1370.7761947076

1427.7899528188

1404.6042671902

1369.0342908336

1436.0991019775

1404.6042671902

1369.0342908336

1434.2131215382

1404.6042671902

1370.002160064

1429.6808583607

1404.6042671902

1369.0342908336

1430.6257679218

1404.6042671902

1370.7761947076

1432.5145006243

1408.4199745681

1370.7761947076

1432.5145006243

1406.5128451589

1370.7761947076

1429.6808583607

1409.3729960629

1375.6086602019

1413.9424582504

1407.4665909335

1372.710267325

1411.0875221609

1408.4199745681

1373.6767604239

1404.6042671902

1408.4199745681

1373.6767604239

1404.6042671902

1411.0875221609

1376.574066881

1405.5587372445

1412.9911750271

1374.6428913828

1407.4665909335

1414.8933793338

1374.6428913828

1407.4665909335

1415.8439382772

1369.0342908336

1409.3729960629

1412.9911750271

1372.710267325

1417.7439697445

1413.9424582504

1370.002160064

1416.7941350808

1412.039529664

1370.7761947076

1419.4527595466

1413.9424582504

1377.5391114203

1419.4527595466

1413.9424582504

1375.6086602019

1415.8439382772

1411.0875221609

1377.5391114203

1415.8439382772

1414.8933793338

1371.7434120863

1416.7941350808

1415.8439382772

1376.574066881

1419.4527595466

1415.8439382772

1375.6086602019

1417.7439697445

1415.8439382772

1375.6086602019

1418.5035767347

1412.9911750271

1368.0660594632

1409.3729960629

1416.7941350808

1367.097465953

1408.4199745681

1410.3256554178

1368.0660594632

1406.5128451589

1410.3256554178

1366.1285103029

1412.9911750271

1417.7439697445

1366.1285103029

1417.7439697445

1412.9911750271

1370.7761947076

1408.4199745681

1408.4199745681

1368.0660594632

1410.3256554178

1412.039529664

1370.002160064

1412.9911750271

1405.5587372445

1374.6428913828

1416.7941350808

1400.9739782678

1371.7434120863

1414.8933793338

1403.6494349959

1369.0342908336

1417.7439697445

1407.4665909335

1367.097465953

1413.9424582504

1409.3729960629

1367.097465953

1413.9424582504

1412.9911750271

1367.097465953

1421.3500387506

1402.6942406618

1366.1285103029

1416.7941350808

1410.3256554178

1365.1591925128

1419.4527595466

1404.6042671902

1359.5300079319

1418.5035767347

1417.7439697445

1362.2490663034

1419.4527595466

1412.9911750271

1361.4724821949

1418.5035767347

1420.4015802186

1369.0342908336

1426.0868993126

1416.7941350808

1367.097465953

1425.14025148

1420.4015802186

1369.0342908336

1431.570315343

1421.3500387506

1365.1591925128

1426.843956838

1415.8439382772

1362.2490663034

1434.2131215382

1417.7439697445

1361.4724821949

1440.8077156277

1416.7941350808

1365.1591925128

1434.2131215382

1414.8933793338

1358.5582275906

1434.2131215382

1411.0875221609

1361.4724821949

1437.0415489874

1410.3256554178

1365.1591925128

1433.4583237658

1411.0875221609

1367.097465953

1437.9836338573

1410.3256554178

1371.7434120863

1435.1562928278

1406.5128451589

1373.6767604239

1433.4583237658

1412.039529664

1369.0342908336

1436.0991019775

1410.3256554178

1371.7434120863

1430.6257679218

1412.9911750271

1370.002160064

1432.5145006243

1414.8933793338

1365.1591925128

1433.4583237658

1414.8933793338

1370.7761947076

1428.7355866597

1416.7941350808

1365.1591925128

1426.843956838

1413.9424582504

1370.002160064

1428.7355866597

1418.5035767347

1365.1591925128

1429.6808583607

1422.2981351428

1373.6767604239

1426.843956838

1421.3500387506

1363.2194705131

1423.2458693951

1426.843956838

1364.1895125829

1418.5035767347

1424.1932415075

1364.1895125829

1421.3500387506

1420.4015802186

1361.4724821949

1418.5035767347

1419.4527595466

1364.1895125829

1417.7439697445

1413.9424582504

1368.0660594632

1416.7941350808

1413.9424582504

1367.097465953

1417.7439697445

1417.7439697445

1366.1285103029

1419.4527595466

1412.9911750271

1367.097465953

1429.6808583607

1412.9911750271

1370.002160064

1430.6257679218

1412.9911750271

1370.7761947076

1437.9836338573

1408.4199745681

1365.1591925128

1432.5145006243

1412.9911750271

1375.6086602019

1432.5145006243

1411.0875221609

1369.0342908336

1429.6808583607

1415.8439382772

1370.7761947076

1434.2131215382

1408.4199745681

1368.0660594632

1433.4583237658

1411.0875221609

1369.0342908336

1437.0415489874

1413.9424582504

1365.1591925128

1437.0415489874

1412.039529664

1371.7434120863

1437.0415489874

1407.4665909335

1370.7761947076

1433.4583237658

1409.3729960629

1374.6428913828

1432.5145006243

1406.5128451589

1376.574066881

1436.0991019775

1402.6942406618

1363.2194705131

1431.570315343

1406.5128451589

1370.7761947076

1430.6257679218

1406.5128451589

1374.6428913828

1420.4015802186

1401.9298244538

1372.710267325

1429.6808583607

1408.4199745681

1374.6428913828

1427.7899528188

1408.4199745681

1369.0342908336

1421.3500387506

1411.0875221609

1370.7761947076

1423.2458693951

1411.0875221609

1370.7761947076

1417.7439697445

1404.6042671902

1368.0660594632

1419.4527595466

1409.3729960629

1376.574066881

1420.4015802186

1406.5128451589

1372.710267325

1414.8933793338

1414.8933793338

1368.0660594632

1412.9911750271

1411.0875221609

1370.7761947076

1412.9911750271

1401.9298244538

1362.2490663034

1409.3729960629

1400.017769942

1370.7761947076

1408.4199745681

1406.5128451589

1363.2194705131

1409.3729960629

1403.6494349959

1366.1285103029

1409.3729960629

1398.1042668707

1366.1285103029

1409.3729960629

1396.1893152397

1367.097465953

1408.4199745681

1398.1042668707

1368.0660594632

1409.3729960629

1395.2312962144

1366.1285103029

1412.9911750271

1395.2312962144

1367.097465953

1412.9911750271

1396.1893152397

1369.0342908336

1413.9424582504

1400.017769942

1370.002160064

1408.4199745681

1402.6942406618

1371.7434120863

1409.3729960629

1395.2312962144

1382.1662842215

1412.9911750271

1398.1042668707

1383.1292283493

1410.3256554178

1393.5059493763

1382.1662842215

1412.9911750271

1393.5059493763

1386.7851133194

1413.9424582504

1399.0611994763

1386.7851133194

1416.7941350808

1399.0611994763

1386.7851133194

1417.7439697445

1394.4646202534

1387.7463191758

1419.4527595466

1408.4199745681

1380.239309546

1411.0875221609

1397.1469721251

1378.5037938197

1408.4199745681

1400.017769942

1379.2752789985

1412.9911750271

1393.5059493763

1379.2752789985

1413.9424582504

1390.6277639056

1377.5391114203

1418.5035767347

1396.1893152397

1370.002160064

1417.7439697445

1398.1042668707

1371.7434120863

1417.7439697445

1390.6277639056

1376.574066881

1422.2981351428

1390.6277639056

1377.5391114203

1424.1932415075

1393.5059493763

1374.6428913828

1424.1932415075

1389.6676444689

1372.710267325

1420.4015802186

1386.7851133194

1370.002160064

1414.8933793338

1387.7463191758

1365.1591925128

1416.7941350808

1392.5469163593

1369.0342908336

1419.4527595466

1393.5059493763

1365.1591925128

1418.5035767347

1392.5469163593

1362.2490663034

1415.8439382772

1390.6277639056

1355.6407137273

1412.9911750271

1385.0540301854

1352.9147602123

1416.7941350808

1391.5875212024

1359.5300079319

1412.9911750271

1390.6277639056

1361.4724821949

1410.3256554178

1391.5875212024

1355.6407137273

1407.4665909335

1399.0611994763

1358.5582275906

1407.4665909335

1393.5059493763

1355.6407137273

1410.3256554178

1395.2312962144

1353.888640965

1408.4199745681

1390.6277639056

1360.5014261334

1407.4665909335

1385.0540301854

1350.9659122872

1408.4199745681

1377.5391114203

1353.888640965

1402.6942406618

1385.0540301854

1355.6407137273

1403.6494349959

1382.1662842215

1352.9147602123

1401.9298244538

1382.1662842215

1346.0874550263

1400.9739782678

1384.0918103373

1348.0399243503

1400.9739782678

1382.1662842215

1346.0874550263

1397.1469721251

1383.1292283493

1349.0156158025

1401.9298244538

1380.239309546

1347.0638707583

1400.017769942

1374.6428913828

1346.0874550263

1403.6494349959

1373.6767604239

1351.9405173197

1399.0611994763

1367.097465953

1344.3289941162

1398.1042668707

1364.1895125829

1346.0874550263

1405.5587372445

1369.0342908336

1349.0156158025

1402.6942406618

1368.0660594632

1353.888640965

1400.9739782678

1372.710267325

1357.5860851094

1406.5128451589

1373.6767604239

1352.9147602123

1402.6942406618

1371.7434120863

1348.0399243503

1402.6942406618

1376.574066881

1345.3060617

1400.9739782678

1377.5391114203

1344.3289941162

1404.6042671902

1370.002160064

1355.6407137273

1406.5128451589

1373.6767604239

1356.6135804883

1402.6942406618

1383.1292283493

1352.9147602123

1403.6494349959

1386.7851133194

1359.5300079319

1400.017769942

1386.7851133194

1366.1285103029

1400.017769942

1380.239309546

1355.6407137273

1400.9739782678

1386.7851133194

1360.5014261334

1399.0611994763

1386.0158878936

1370.002160064

1394.4646202534

1384.0918103373

1362.2490663034

1402.6942406618

1386.0158878936

1363.2194705131

1402.6942406618

1387.7463191758

1361.4724821949

1404.6042671902

1379.2752789985

1352.9147602123

1403.6494349959

1375.6086602019

1353.888640965

1402.6942406618

1380.239309546

1353.888640965

1395.2312962144

1376.574066881

1349.0156158025

1400.017769942

1383.1292283493

1349.0156158025

1400.017769942

1377.5391114203

1348.0399243503

1400.9739782678

1365.1591925128

1352.9147602123

1402.6942406618

1369.0342908336

1355.6407137273

1410.3256554178

1365.1591925128

1349.9909451148

1405.5587372445

1360.5014261334

1349.0156158025

1404.6042671902

1348.0399243503

1349.9909451148

1402.6942406618

1345.3060617

1345.3060617

1401.9298244538

1352.9147602123

1348.0399243503

1400.9739782678

1353.888640965

1347.0638707583

1400.017769942

1353.888640965

1346.0874550263

1400.9739782678

1347.0638707583

1347.0638707583

1402.6942406618

1347.0638707583

1343.3515643926

1406.5128451589

1342.373772529

1344.3289941162

1412.9911750271

1342.373772529

1336.6954383216

1411.0875221609

1346.0874550263

1332.7722478228

1412.039529664

1345.3060617

1335.7151839067

1406.5128451589

1344.3289941162

1335.7151839067

1403.6494349959

1339.4382240989

1337.6753305965

1401.9298244538

1341.3956185255

1332.7722478228

1402.6942406618

1340.4171023822

1344.3289941162

1402.6942406618

1349.9909451148

1338.4589836758

1407.4665909335

1336.6954383216

1332.7722478228

1402.6942406618

1329.0398499357

1333.7535886573

1405.5587372445

1338.4589836758

1336.6954383216

1406.5128451589

1332.7722478228

1340.4171023822

1410.3256554178

1322.1506912556

1340.4171023822

1406.5128451589

1325.1053606722

1335.7151839067

1403.6494349959

1346.0874550263

1345.3060617

1404.6042671902

1336.6954383216

1338.4589836758

1400.017769942

1335.7151839067

1348.0399243503

1400.9739782678

1330.808479734

1344.3289941162

1405.5587372445

1334.734567352

1334.734567352

1409.3729960629

1332.7722478228

1334.734567352

1403.6494349959

1327.0733295837

1337.6753305965

1401.9298244538

1331.7905448483

1346.0874550263

1405.5587372445

1337.6753305965

1341.3956185255

1407.4665909335

1332.7722478228

1341.3956185255

1403.6494349959

1329.8260524798

1341.3956185255

1400.017769942

1334.734567352

1345.3060617

1400.9739782678

1334.734567352

1337.6753305965

1405.5587372445

1336.6954383216

1342.373772529

1402.6942406618

1335.7151839067

1338.4589836758

1397.1469721251

1334.734567352

1331.7905448483

1400.9739782678

1326.0895261979

1333.7535886573

1403.6494349959

1328.0567708297

1337.6753305965

1403.6494349959

1316.4290885736

1334.734567352

1404.6042671902

1320.3763251614

1339.4382240989

1403.6494349959

1315.4413740769

1338.4589836758

1404.6042671902

1316.4290885736

1342.373772529

1407.4665909335

1315.4413740769

1339.4382240989

1410.3256554178

1307.7247723615

1340.4171023822

1418.5035767347

1311.6847562736

1339.4382240989

1415.8439382772

1303.9574207318

1335.7151839067

1413.9424582504

1312.6738469019

1345.3060617

1412.039529664

1306.7338710338

1349.9909451148

1408.4199745681

1304.9493360512

1350.9659122872

1408.4199745681

1307.7247723615

1351.9405173197

1417.7439697445

1307.7247723615

1336.6954383216

1407.4665909335

1322.1506912556

1339.4382240989

1412.039529664

1320.3763251614

1344.3289941162

1408.4199745681

1315.4413740769

1339.4382240989

1415.8439382772

1314.4532974403

1345.3060617

1409.3729960629

1309.7054885974

1339.4382240989

1412.039529664

1318.4034311473

1339.4382240989

1413.9424582504

1316.4290885736

1347.0638707583

1412.9911750271

1308.7153115494

1351.9405173197

1411.0875221609

1309.7054885974

1339.4382240989

1408.4199745681

1306.7338710338

1343.3515643926

1408.4199745681

1308.7153115494

1342.373772529

1404.6042671902

1306.7338710338

1342.373772529

1408.4199745681

1305.7426075661

1339.4382240989

1409.3729960629

1301.9725036732

1351.9405173197

1407.4665909335

1301.9725036732

1341.3956185255

1406.5128451589

1296.2080525987

1344.3289941162

1404.6042671902

1296.2080525987

1339.4382240989

1403.6494349959

1294.2174861577

1348.0399243503

1403.6494349959

1290.232007597

1346.0874550263

1403.6494349959

1293.2216597274

1349.9909451148

1406.5128451589

1295.2129504482

1349.0156158025

1404.6042671902

1290.232007597

1344.3289941162

1400.9739782678

1286.4404360511

1349.9909451148

1397.1469721251

1288.4366518745

1350.9659122872

1393.5059493763

1290.232007597

1352.9147602123

1396.1893152397

1286.4404360511

1360.5014261334

1398.1042668707

1276.638039588

1361.4724821949

1392.5469163593

1273.6303528909

1355.6407137273

1387.7463191758

1273.6303528909

1356.6135804883

1382.1662842215

1270.8202380642

1349.9909451148

1386.7851133194

1275.6358394955

1345.3060617

1378.5037938197

1276.638039588

1336.6954383216

1374.6428913828

1277.6398775406

1328.0567708297

1378.5037938197

1279.6424670261

1325.1053606722

1384.0918103373

1277.6398775406

1318.4034311473

1381.2029779537

1276.638039588

1326.0895261979

1374.6428913828

1280.4430972236

1321.3622289586

1377.5391114203

1275.6358394955

1322.1506912556

1370.7761947076

1278.6413533533

1326.0895261979

1375.6086602019

1276.638039588

1323.135943201

1374.6428913828

1278.6413533533

1322.1506912556

1380.239309546

1276.638039588

1320.3763251614

1377.5391114203

1277.6398775406

1320.3763251614

1390.6277639056

1276.638039588

1320.3763251614

1389.6676444689

1275.6358394955

1332.7722478228

1391.5875212024

1283.4433962669

1333.7535886573

1394.4646202534

1289.2347326071

1331.7905448483

1388.7071628923

1287.4387250327

1338.4589836758

1381.2029779537

1288.4366518745

1339.4382240989

1370.7761947076

1284.4427716682

1336.6954383216

1377.5391114203

1320.3763251614

1335.7151839067

1376.574066881

1353.888640965

1331.7905448483

1380.239309546

1362.2490663034

1334.734567352

1392.5469163593

1361.4724821949

1338.4589836758

1397.1469721251

1364.1895125829

1340.4171023822

1397.1469721251

1363.2194705131

1325.1053606722

1397.1469721251

1359.5300079319

1325.1053606722

1397.1469721251

1358.5582275906

1325.1053606722

1396.1893152397

1365.1591925128

1313.4648586638

1391.5875212024

1369.0342908336

1310.6953035055

1396.1893152397

1371.7434120863

1322.1506912556

1395.2312962144

1370.002160064

1317.4164409304

1396.1893152397

1374.6428913828

1316.4290885736

1386.0158878936

1371.7434120863

1320.3763251614

1388.7071628923

1368.0660594632

1323.135943201

1387.7463191758

1358.5582275906

1318.4034311473

1391.5875212024

1361.4724821949

1317.4164409304

1381.2029779537

1362.2490663034

1316.4290885736

1382.1662842215

1362.2490663034

1309.7054885974

1383.1292283493

1366.1285103029

1303.9574207318

1387.7463191758

1381.2029779537

1309.7054885974

1385.0540301854

1377.5391114203

1306.7338710338

1389.6676444689

1370.7761947076

1306.7338710338

1386.0158878936

1378.5037938197

1311.6847562736

1383.1292283493

1375.6086602019

1311.6847562736

1385.0540301854

1370.7761947076

1309.7054885974

1388.7071628923

1377.5391114203

1303.9574207318

1394.4646202534

1378.5037938197

1307.7247723615

1386.7851133194

1375.6086602019

1313.4648586638

1392.5469163593

1373.6767604239

1307.7247723615

1386.7851133194

1366.1285103029

1312.6738469019

1389.6676444689

1349.9909451148

1323.135943201

1395.2312962144

1348.0399243503

1323.135943201

1397.1469721251

1335.7151839067

1327.0733295837

1392.5469163593

1335.7151839067

1312.6738469019

1385.0540301854

1341.3956185255

1304.9493360512

1385.0540301854

1341.3956185255

1304.9493360512

1378.5037938197

1360.5014261334

1306.7338710338

1377.5391114203

1368.0660594632

1300.979501934

1373.6767604239

1366.1285103029

1301.9725036732

1364.1895125829

1366.1285103029

1294.2174861577

1368.0660594632

1367.097465953

1295.2129504482

1370.002160064

1371.7434120863

1301.9725036732

1364.1895125829

1376.574066881

1289.2347326071

1357.5860851094

1378.5037938197

1296.2080525987

1346.0874550263

1371.7434120863

1292.2254711572

1357.5860851094

1359.5300079319

1288.4366518745

1354.6674848264

1356.6135804883

1290.232007597

1349.0156158025

1360.5014261334

1286.4404360511

1346.0874550263

1366.1285103029

1290.232007597

1345.3060617

1373.6767604239

1289.2347326071

1349.9909451148

1370.7761947076

1294.2174861577

1343.3515643926

1371.7434120863

1287.4387250327

1340.4171023822

1364.1895125829

1286.4404360511

1342.373772529

1367.097465953

1286.4404360511

1344.3289941162

1378.5037938197

1281.4435590446

1349.9909451148

1377.5391114203

1277.6398775406

1354.6674848264

1377.5391114203

1273.6303528909

1363.2194705131

1384.0918103373

1276.638039588

1360.5014261334

1374.6428913828

1281.4435590446

1358.5582275906

1376.574066881

1284.4427716682

1357.5860851094

1385.0540301854

1296.2080525987

1357.5860851094

1372.710267325

1301.9725036732

1362.2490663034

1372.710267325

1305.7426075661

1356.6135804883

1371.7434120863

1312.6738469019

1355.6407137273

1367.097465953

1305.7426075661

1352.9147602123

1363.2194705131

1301.9725036732

1350.9659122872

1358.5582275906

1295.2129504482

1349.9909451148

1361.4724821949

1299.986138055

1352.9147602123

1365.1591925128

1297.0038735784

1352.9147602123

1354.6674848264

1297.9983238772

1352.9147602123

1360.5014261334

1300.979501934

1349.0156158025

1362.2490663034

1302.9651432724

1343.3515643926

1360.5014261334

1307.7247723615

1343.3515643926

1370.002160064

1305.7426075661

1342.373772529

1370.002160064

1311.6847562736

1343.3515643926

1369.0342908336

1311.6847562736

1343.3515643926

1362.2490663034

1310.6953035055

1340.4171023822

1370.002160064

1315.4413740769

1348.0399243503

1376.574066881

1311.6847562736

1347.0638707583

1373.6767604239

1315.4413740769

1346.0874550263

1381.2029779537

1308.7153115494

1338.4589836758

1374.6428913828

1313.4648586638

1350.9659122872

1381.2029779537

1307.7247723615

1349.0156158025

1371.7434120863

1301.9725036732

1358.5582275906

1377.5391114203

1302.9651432724

1355.6407137273

1375.6086602019

1302.9651432724

1356.6135804883

1376.574066881

1307.7247723615

1362.2490663034

1377.5391114203

1304.9493360512

1356.6135804883

1370.7761947076

1305.7426075661

1358.5582275906

1370.002160064

1311.6847562736

1356.6135804883

1373.6767604239

1312.6738469019

1351.9405173197

1371.7434120863

1311.6847562736

1346.0874550263

1374.6428913828

1311.6847562736

1347.0638707583

1377.5391114203

1310.6953035055

1355.6407137273

1383.1292283493

1310.6953035055

1356.6135804883

1372.710267325

1311.6847562736

1356.6135804883

1381.2029779537

1311.6847562736

1359.5300079319

1383.1292283493

1319.3900592243

1360.5014261334

1382.1662842215

1312.6738469019

1361.4724821949

1378.5037938197

1314.4532974403

1357.5860851094

1374.6428913828

1321.3622289586

1363.2194705131

1375.6086602019

1322.1506912556

1361.4724821949

1377.5391114203

1326.0895261979

1357.5860851094

1381.2029779537

1315.4413740769

1360.5014261334

1381.2029779537

1316.4290885736

1360.5014261334

1380.239309546

1324.1208330066

1359.5300079319

1384.0918103373

1329.8260524798

1356.6135804883

1380.239309546

1337.6753305965

1358.5582275906

1381.2029779537

1330.808479734

1361.4724821949

1381.2029779537

1328.0567708297

1361.4724821949

1386.0158878936

1332.7722478228

1362.2490663034

1382.1662842215

1331.7905448483

1358.5582275906

1382.1662842215

1322.1506912556

1361.4724821949

1378.5037938197

1324.1208330066

1359.5300079319

1383.1292283493

1325.1053606722

1363.2194705131

1383.1292283493

1327.0733295837

1366.1285103029

1386.7851133194

1337.6753305965

1371.7434120863

1383.1292283493

1330.808479734

1372.710267325

1383.1292283493

1331.7905448483

1371.7434120863

1381.2029779537

1322.1506912556

1370.002160064

1380.239309546

1315.4413740769

1365.1591925128

1382.1662842215

1318.4034311473

1369.0342908336

1384.0918103373

1319.3900592243

1362.2490663034

1383.1292283493

1322.1506912556

1369.0342908336

1375.6086602019

1325.1053606722

1372.710267325

1376.574066881

1323.135943201

1373.6767604239

1379.2752789985

1319.3900592243

1371.7434120863

1372.710267325

1313.4648586638

1374.6428913828

1376.574066881

1314.4532974403

1368.0660594632

1371.7434120863

1309.7054885974

1368.0660594632

1373.6767604239

1321.3622289586

1368.0660594632

1375.6086602019

1316.4290885736

1364.1895125829

1374.6428913828

1316.4290885736

1363.2194705131

1365.1591925128

1312.6738469019

1358.5582275906

1369.0342908336

1313.4648586638

1361.4724821949

1368.0660594632

1315.4413740769

1365.1591925128

1366.1285103029

1309.7054885974

1369.0342908336

1370.002160064

1319.3900592243

1368.0660594632

1367.097465953

1320.3763251614

1365.1591925128

1368.0660594632

1320.3763251614

1370.002160064

1368.0660594632

1317.4164409304

1370.002160064

1366.1285103029

1316.4290885736

1362.2490663034

1367.097465953

1313.4648586638

1370.002160064

1367.097465953

1313.4648586638

1369.0342908336

1365.1591925128

1315.4413740769

1370.7761947076

1362.2490663034

1311.6847562736

1364.1895125829

1361.4724821949

1318.4034311473

1370.002160064

1364.1895125829

1316.4290885736

1366.1285103029

1364.1895125829

1326.0895261979

1363.2194705131

1366.1285103029

1329.0398499357

1370.002160064

1367.097465953

1325.1053606722

1368.0660594632

1370.7761947076

1314.4532974403

1363.2194705131

1365.1591925128

1313.4648586638

1364.1895125829

1366.1285103029

1314.4532974403

1360.5014261334

1363.2194705131

1311.6847562736

1357.5860851094

1370.002160064

1309.7054885974

1359.5300079319

1370.002160064

1307.7247723615

1360.5014261334

1366.1285103029

1306.7338710338

1359.5300079319

1362.2490663034

1306.7338710338

1364.1895125829

1363.2194705131

1307.7247723615

1367.097465953

1365.1591925128

1306.7338710338

1370.002160064

1367.097465953

1303.9574207318

1379.2752789985

1372.710267325

1310.6953035055

1370.002160064

1370.002160064

1307.7247723615

1371.7434120863

1358.5582275906

1311.6847562736

1372.710267325

1367.097465953

1313.4648586638

1377.5391114203

1370.002160064

1311.6847562736

1375.6086602019

1374.6428913828

1307.7247723615

1373.6767604239

1370.7761947076

1308.7153115494

1370.002160064

1369.0342908336

1310.6953035055

1362.2490663034

1360.5014261334

1308.7153115494

1360.5014261334

1366.1285103029

1310.6953035055

1365.1591925128

1365.1591925128

1316.4290885736

1360.5014261334

1370.002160064

1318.4034311473

1354.6674848264

1360.5014261334

1318.4034311473

1361.4724821949

1364.1895125829

1313.4648586638

1354.6674848264

1362.2490663034

1310.6953035055

1353.888640965

1366.1285103029

1311.6847562736

1351.9405173197

1372.710267325

1314.4532974403

1354.6674848264

1365.1591925128

1312.6738469019

1355.6407137273

1367.097465953

1309.7054885974

1357.5860851094

1364.1895125829

1308.7153115494

1357.5860851094

1368.0660594632

1306.7338710338

1352.9147602123

1376.574066881

1305.7426075661

1359.5300079319

1372.710267325

1309.7054885974

1359.5300079319

1369.0342908336

1307.7247723615

1365.1591925128

1371.7434120863

1306.7338710338

1367.097465953

1371.7434120863

1310.6953035055

1363.2194705131

1367.097465953

1316.4290885736

1360.5014261334

1358.5582275906

1315.4413740769

1352.9147602123

1367.097465953

1318.4034311473

1350.9659122872

1359.5300079319

1317.4164409304

1348.0399243503

1356.6135804883

1322.1506912556

1350.9659122872

1363.2194705131

1321.3622289586

1355.6407137273

1368.0660594632

1322.1506912556

1349.9909451148

1370.002160064

1317.4164409304

1356.6135804883

1366.1285103029

1321.3622289586

1354.6674848264

1370.7761947076

1322.1506912556

1350.9659122872

1373.6767604239

1319.3900592243

1366.1285103029

1372.710267325

1320.3763251614

1364.1895125829

1370.002160064

1325.1053606722

1361.4724821949

1370.7761947076

1315.4413740769

1359.5300079319

1355.6407137273

1325.1053606722

1358.5582275906

1351.9405173197

1316.4290885736

1356.6135804883

1357.5860851094

1311.6847562736

1355.6407137273

1351.9405173197

1313.4648586638

1350.9659122872

1361.4724821949

1317.4164409304

1362.2490663034

1354.6674848264

1310.6953035055

1362.2490663034

1356.6135804883

1308.7153115494

1360.5014261334

1358.5582275906

1308.7153115494

1357.5860851094

1361.4724821949

1304.9493360512

1356.6135804883

1358.5582275906

1311.6847562736

1358.5582275906

1352.9147602123

1303.9574207318

1352.9147602123

1366.1285103029

1298.992412036

1352.9147602123

1356.6135804883

1299.986138055

1352.9147602123

1360.5014261334

1299.986138055

1355.6407137273

1359.5300079319

1301.9725036732

1358.5582275906

1359.5300079319

1306.7338710338

1360.5014261334

1361.4724821949

1304.9493360512

1370.002160064

1366.1285103029

1309.7054885974

1366.1285103029

1368.0660594632

1309.7054885974

1366.1285103029

1366.1285103029

1301.9725036732

1368.0660594632

1360.5014261334

1297.0038735784

1371.7434120863

1365.1591925128

1297.9983238772

1367.097465953

1369.0342908336

1305.7426075661

1370.002160064

1366.1285103029

1308.7153115494

1366.1285103029

1362.2490663034

1304.9493360512

1370.002160064

1364.1895125829

1296.2080525987

1365.1591925128

1370.7761947076

1295.2129504482

1372.710267325

1371.7434120863

1296.2080525987

1374.6428913828

1370.002160064

1290.232007597

1372.710267325

1367.097465953

1294.2174861577

1362.2490663034

1366.1285103029

1297.9983238772

1350.9659122872

1359.5300079319

1296.2080525987

1351.9405173197

1356.6135804883

1300.979501934

1365.1591925128

1354.6674848264

1298.992412036

1360.5014261334

1359.5300079319

1302.9651432724

1355.6407137273

1351.9405173197

1304.9493360512

1348.0399243503

1348.0399243503

1308.7153115494

1350.9659122872

1349.9909451148

1309.7054885974

1355.6407137273

1351.9405173197

1307.7247723615

1351.9405173197

1356.6135804883

1306.7338710338

1359.5300079319

1349.0156158025

1301.9725036732

1341.3956185255

1349.0156158025

1297.9983238772

1351.9405173197

1357.5860851094

1300.979501934

1354.6674848264

1351.9405173197

1298.992412036

1357.5860851094

1354.6674848264

1301.9725036732

1355.6407137273

1351.9405173197

1302.9651432724

1354.6674848264

1353.888640965

1296.2080525987

1363.2194705131

1351.9405173197

1295.2129504482

1370.7761947076

1353.888640965

1294.2174861577

1371.7434120863

1354.6674848264

1294.2174861577

1383.1292283493

1348.0399243503

1299.986138055

1383.1292283493

1349.0156158025

1300.979501934

1378.5037938197

1352.9147602123

1295.2129504482

1378.5037938197

1357.5860851094

1293.2216597274

1386.0158878936

1356.6135804883

1296.2080525987

1387.7463191758

1358.5582275906

1297.0038735784

1383.1292283493

1359.5300079319

1298.992412036

1383.1292283493

1356.6135804883

1291.2289204471

1385.0540301854

1361.4724821949

1289.2347326071

1380.239309546

1360.5014261334

1283.4433962669

1377.5391114203

1351.9405173197

1283.4433962669

1377.5391114203

1358.5582275906

1283.4433962669

1380.239309546

1347.0638707583

1282.4436587257

1378.5037938197

1337.6753305965

1282.4436587257

1381.2029779537

1341.3956185255

1281.4435590446

1387.7463191758

1336.6954383216

1276.638039588

1382.1662842215

1338.4589836758

1283.4433962669

1384.0918103373

1344.3289941162

1279.6424670261

1383.1292283493

1351.9405173197

1277.6398775406

1380.239309546

1358.5582275906

1279.6424670261

1387.7463191758

1359.5300079319

1283.4433962669

1374.6428913828

1359.5300079319

1279.6424670261

1374.6428913828

1359.5300079319

1282.4436587257

1371.7434120863

1367.097465953

1286.4404360511

1361.4724821949

1362.2490663034

1286.4404360511

1357.5860851094

1367.097465953

1289.2347326071

1363.2194705131

1368.0660594632

1284.4427716682

1356.6135804883

1365.1591925128

1282.4436587257

1360.5014261334

1357.5860851094

1281.4435590446

1363.2194705131

1345.3060617

1283.4433962669

1358.5582275906

1345.3060617

1289.2347326071

1359.5300079319

1349.0156158025

1286.4404360511

1362.2490663034

1339.4382240989

1284.4427716682

1355.6407137273

1345.3060617

1286.4404360511

1367.097465953

1345.3060617

1284.4427716682

1366.1285103029

1346.0874550263

1284.4427716682

1360.5014261334

1333.7535886573

1285.4417849296

1355.6407137273

1338.4589836758

1287.4387250327

1360.5014261334

1339.4382240989

1289.2347326071

1354.6674848264

1330.808479734

1287.4387250327

1357.5860851094

1333.7535886573

1286.4404360511

1352.9147602123

1342.373772529

1291.2289204471

1355.6407137273

1346.0874550263

1303.9574207318

1347.0638707583

1344.3289941162

1300.979501934

1344.3289941162

1336.6954383216

1305.7426075661

1349.9909451148

1340.4171023822

1300.979501934

1347.0638707583

1337.6753305965

1293.2216597274

1352.9147602123

1329.8260524798

1289.2347326071

1349.9909451148

1337.6753305965

1288.4366518745

1345.3060617

1344.3289941162

1285.4417849296

1345.3060617

1342.373772529

1282.4436587257

1355.6407137273

1344.3289941162

1291.2289204471

1356.6135804883

1346.0874550263

1296.2080525987

1352.9147602123

1340.4171023822

1288.4366518745

1349.0156158025

1341.3956185255

1299.986138055

1351.9405173197

1337.6753305965

1305.7426075661

1355.6407137273

1332.7722478228

1305.7426075661

1362.2490663034

1335.7151839067

1296.2080525987

1354.6674848264

1327.0733295837

1296.2080525987

1354.6674848264

1319.3900592243

1302.9651432724

1348.0399243503

1318.4034311473

1304.9493360512

1352.9147602123

1326.0895261979

1303.9574207318

1339.4382240989

1325.1053606722

1297.9983238772

1349.0156158025

1329.8260524798

1299.986138055

1349.0156158025

1348.0399243503

1303.9574207318

1349.0156158025

1352.9147602123

1312.6738469019

1353.888640965

1350.9659122872

1306.7338710338

1356.6135804883

1357.5860851094

1312.6738469019

1361.4724821949

1357.5860851094

1313.4648586638

1364.1895125829

1348.0399243503

1312.6738469019

1356.6135804883

1335.7151839067

1309.7054885974

1366.1285103029

1342.373772529

1307.7247723615

1361.4724821949

1335.7151839067

1310.6953035055

1361.4724821949

1330.808479734

1310.6953035055

1367.097465953

1322.1506912556

1303.9574207318

1358.5582275906

1334.734567352

1306.7338710338

1360.5014261334

1329.0398499357

1301.9725036732

1367.097465953

1324.1208330066

1299.986138055

1356.6135804883

1323.135943201

1301.9725036732

1350.9659122872

1320.3763251614

1305.7426075661

1354.6674848264

1329.0398499357

1319.3900592243

1354.6674848264

1334.734567352

1325.1053606722

1344.3289941162

1330.808479734

1330.808479734

1341.3956185255

1317.4164409304

1329.8260524798

1343.3515643926

1321.3622289586

1329.0398499357

1354.6674848264

1321.3622289586

1330.808479734

1340.4171023822

1329.8260524798

1327.0733295837

1348.0399243503

1329.0398499357

1328.0567708297

1353.888640965

1332.7722478228

1329.8260524798

1357.5860851094

1343.3515643926

1329.8260524798

1343.3515643926

1348.0399243503

1330.808479734

1346.0874550263

1350.9659122872

1325.1053606722

1348.0399243503

1349.9909451148

1325.1053606722

1346.0874550263

1342.373772529

1326.0895261979

1346.0874550263

1338.4589836758

1322.1506912556

1343.3515643926

1335.7151839067

1311.6847562736

1345.3060617

1335.7151839067

1314.4532974403

1341.3956185255

1327.0733295837

1309.7054885974

1335.7151839067

1319.3900592243

1306.7338710338

1332.7722478228

1318.4034311473

1307.7247723615

1339.4382240989

1325.1053606722

1316.4290885736

1342.373772529

1318.4034311473

1318.4034311473

1341.3956185255

1318.4034311473

1316.4290885736

1344.3289941162

1317.4164409304

1311.6847562736

1343.3515643926

1324.1208330066

1315.4413740769

1339.4382240989

1328.0567708297

1316.4290885736

1332.7722478228

1344.3289941162

1319.3900592243

1337.6753305965

1350.9659122872

1308.7153115494

1349.0156158025

1358.5582275906

1303.9574207318

1365.1591925128

1362.2490663034

1305.7426075661

1366.1285103029

1354.6674848264

1299.986138055

1370.7761947076

1342.373772529

1293.2216597274

1376.574066881

1353.888640965

1300.979501934

1377.5391114203

1343.3515643926

1300.979501934

1376.574066881

1339.4382240989

1303.9574207318

1363.2194705131

1338.4589836758

1301.9725036732

1367.097465953

1336.6954383216

1295.2129504482

1362.2490663034

1344.3289941162

1291.2289204471

1358.5582275906

1343.3515643926

1301.9725036732

1364.1895125829

1346.0874550263

1302.9651432724

1355.6407137273

1344.3289941162

1306.7338710338

1354.6674848264

1339.4382240989

1315.4413740769

1348.0399243503

1337.6753305965

1307.7247723615

1346.0874550263

1335.7151839067

1304.9493360512

1348.0399243503

1330.808479734

1309.7054885974

1348.0399243503

1324.1208330066

1314.4532974403

1359.5300079319

1326.0895261979

1307.7247723615

1360.5014261334

1317.4164409304

1310.6953035055

1358.5582275906

1306.7338710338

1306.7338710338

1353.888640965

1299.986138055

1295.2129504482

1354.6674848264

1290.232007597

1298.992412036

1353.888640965

1288.4366518745

1297.9983238772

1355.6407137273

1289.2347326071

1293.2216597274

1353.888640965

1280.4430972236

1291.2289204471

1350.9659122872

1266.8008632094

1296.2080525987

1350.9659122872

1286.4404360511

1296.2080525987

1348.0399243503

1276.638039588

1294.2174861577

1343.3515643926

1258.9464165644

1288.4366518745

1342.373772529

1262.977090184

1291.2289204471

1330.808479734

1294.2174861577

1298.992412036

1342.373772529

1307.7247723615

1295.2129504482

1345.3060617

1312.6738469019

1300.979501934

1341.3956185255

1313.4648586638

1302.9651432724

1344.3289941162

1318.4034311473

1302.9651432724

1346.0874550263

1309.7054885974

1303.9574207318

1339.4382240989

1308.7153115494

1303.9574207318

1345.3060617

1292.2254711572

1303.9574207318

1345.3060617

1295.2129504482

1304.9493360512

1346.0874550263

1285.4417849296

1297.9983238772

1344.3289941162

1285.4417849296

1293.2216597274

1338.4589836758

1290.232007597

1295.2129504482

1341.3956185255

1292.2254711572

1293.2216597274

1338.4589836758

1303.9574207318

1298.992412036

1331.7905448483

1303.9574207318

1288.4366518745

1337.6753305965

1311.6847562736

1277.6398775406

1345.3060617

1307.7247723615

1280.4430972236

1342.373772529

1309.7054885974

1269.8159375604

1331.7905448483

1312.6738469019

1262.977090184

1330.808479734

1316.4290885736

1271.8241764282

1329.8260524798

1328.0567708297

1268.8112749166

1336.6954383216

1331.7905448483

1263.7825295993

1343.3515643926

1334.734567352

1274.6332772631

1336.6954383216

1339.4382240989

1301.9725036732

1339.4382240989

1328.0567708297

1299.986138055

1342.373772529

1327.0733295837

1294.2174861577

1337.6753305965

1317.4164409304

1291.2289204471

1334.734567352

1319.3900592243

1297.0038735784

1332.7722478228

1322.1506912556

1305.7426075661

1336.6954383216

1333.7535886573

1298.992412036

1337.6753305965

1331.7905448483

1298.992412036

1329.8260524798

1328.0567708297

1300.979501934

1328.0567708297

1330.808479734

1307.7247723615

1331.7905448483

1338.4589836758

1297.9983238772

1327.0733295837

1342.373772529

1297.0038735784

1327.0733295837

1338.4589836758

1291.2289204471

1329.8260524798

1339.4382240989

1279.6424670261

1327.0733295837

1332.7722478228

1278.6413533533

1328.0567708297

1333.7535886573

1279.6424670261

1333.7535886573

1336.6954383216

1274.6332772631

1339.4382240989

1338.4589836758

1276.638039588

1343.3515643926

1337.6753305965

1274.6332772631

1344.3289941162

1335.7151839067

1277.6398775406

1346.0874550263

1332.7722478228

1270.8202380642

1351.9405173197

1328.0567708297

1276.638039588

1351.9405173197

1337.6753305965

1255.9196088808

1348.0399243503

1341.3956185255

1249.0467782967

1342.373772529

1333.7535886573

1248.0346555711

1339.4382240989

1337.6753305965

1248.0346555711

1342.373772529

1341.3956185255

1234.2338332541

1335.7151839067

1347.0638707583

1232.1986511781

1330.808479734

1349.9909451148

1226.2884315532

1328.0567708297

1340.4171023822

1232.1986511781

1330.808479734

1325.1053606722

1215.25073279

1332.7722478228

1316.4290885736

1223.2266411557

1330.808479734

1321.3622289586

1216.2745164202

1325.1053606722

1323.135943201

1220.3660295422

1317.4164409304

1328.0567708297

1226.2884315532

1301.9725036732

1322.1506912556

1233.2164232861

1301.9725036732

1320.3763251614

1234.2338332541

1308.7153115494

1322.1506912556

1240.1276696702

1313.4648586638

1324.1208330066

1238.096688417

1321.3622289586

1315.4413740769

1257.9378428098

1318.4034311473

1301.9725036732

1260.962477654

1311.6847562736

1294.2174861577

1249.0467782967

1300.979501934

1293.2216597274

1251.0699373283

1292.2254711572

1310.6953035055

1265.7951141459

1276.638039588

1310.6953035055

1224.2476000948

1263.7825295993

1323.135943201

1185.1965760651

1253.0916478002

1311.6847562736

1165.8915042632

1245.1987853552

1294.2174861577

1160.8892124734

1242.1572023639

1283.4433962669

1153.5792472355

1233.2164232861

1282.4436587257

1156.7142623196

1237.283890319

1297.0038735784

1153.5792472355

1234.2338332541

1269.8159375604

1150.6502925809

1246.2119220725

1249.0467782967

1158.8024616763

1246.2119220725

1255.1119097126

1155.6696194315

1251.0699373283

1256.9289069153

1154.6246144034

1283.4433962669

1259.9546281792

1166.9325981804

1305.7426075661

1255.1119097126

1172.9638015015

1301.9725036732

1243.1714255009

1192.2230698494

1291.2289204471

1246.2119220725

1156.7142623196

1299.986138055

1247.0221707056

1120.7818814832

1306.7338710338

1254.1019598263

1123.9507928615

1306.7338710338

1257.9378428098

1126.9055029054

1313.4648586638

1272.6270663787

1117.6097108458

1308.7153115494

1272.6270663787

1121.8385474159

1301.9725036732

1286.4404360511

1126.0615897476

1306.7338710338

1262.977090184

1129.0142718081

1313.4648586638

1256.9289069153

1122.8948512086

1288.4366518745

1251.0699373283

1115.704844019

1284.4427716682

1241.142617087

1129.0142718081

1268.8112749166

1248.0346555711

1134.2798566166

1259.9546281792

1257.9378428098

1134.2798566166

1263.7825295993

1255.1119097126

1143.5252967452

1274.6332772631

1246.2119220725

1148.5564438419

1262.977090184

1258.9464165644

1147.5089762626

1186.2309341803

1269.8159375604

1135.1215100214

1117.6097108458

1267.8062501329

1122.8948512086

1101.0618842753

1262.977090184

1126.0615897476

1121.8385474159

1251.0699373283

1098.0824328339

1129.0142718081

1255.9196088808

1075.0026620375

1191.1908121456

1244.185286498

1058.2288601726

1216.2745164202

1205.1984887706

1063.6146754262

1207.2527918331

1178.9828224364

1072.8570997215

1169.8457345644

1169.8457345644

1082.2867386862

1171.9248079957

1162.7660496723

1091.6883335375

1197.1728658401

1159.8460181448

1089.7675615265

1211.3570522793

1192.2230698494

1085.4949784571

1240.1276696702

1183.1267734151

1080.3602303793

1162.7660496723

1192.2230698494

1086.5636674343

1131.1215921512

1191.1908121456

1087.6319942716

1132.1747091129

1182.0913288803

1103.1883256049

1147.5089762626

1169.8457345644

1111.4676058034

1169.8457345644

1158.8024616763

1114.6460776749

1184.1618558101

1148.5564438419

1108.2858746727

1169.0136995952

1144.3644006852

1079.2894409907

1190.158192302

1137.2246295417

1094.8870128152

1178.1533369321

1136.1732508515

1127.9600684267

1171.9248079957

1132.1747091129

1120.7818814832

1161.7235071955

1146.4611465433

1103.1883256049

1150.6502925809

1153.5792472355

1109.3468138562

1183.1267734151

1156.7142623196

1142.4760908944

1203.3483774959

1158.8024616763

1150.6502925809

1207.2527918331

1158.8024616763

1143.5252967452

1210.3315303776

1162.7660496723

1115.704844019

1213.2020791099

1172.9638015015

1094.8870128152

1208.2794001545

1145.4129546842

1078.2182894623

1214.2265870199

1104.2510030598

1073.9300619494

1214.2265870199

1115.704844019

1070.9248551186

1214.2265870199

1120.7818814832

1075.0026620375

1217.2979379106

1102.1252860101

1080.3602303793

1225.2681968939

1067.70184004

1082.2867386862

1228.327814452

1056.0719990919

1082.2867386862

1249.0467782967

1050.8896223751

1094.8870128152

1249.0467782967

1051.9699722569

1101.0618842753

1247.0221707056

1067.70184004

1110.4073908997

1246.2119220725

1067.70184004

1114.6460776749

1235.2508810823

1072.8570997215

1116.7632482232

1215.25073279

1078.2182894623

1119.7248534106

1207.2527918331

1103.1883256049

1118.6674631982

1197.1728658401

1113.586949191

1118.6674631982

1167.9733299577

1125.0063723745

1102.1252860101

1142.4760908944

1123.9507928615

1105.3133183749

1127.9600684267

1120.7818814832

1107.4368625853

1121.8385474159

1126.0615897476

1104.2510030598

1126.0615897476

1139.3263005025

1098.0824328339

1132.1747091129

1129.0142718081

1093.8211485292

1123.9507928615

1105.3133183749

1075.0026620375

1129.0142718081

1086.5636674343

1069.850878899

1155.6696194315

1082.2867386862

1067.70184004

1185.1965760651

1081.430657628

1083.3565140831

1160.8892124734

1085.4949784571

1131.1215921512

1154.6246144034

1085.4949784571

1174.0024328674

1155.6696194315

1088.699958969

1158.8024616763

1146.4611465433

1093.8211485292

1138.2756460921

1131.1215921512

1099.9981204007

1111.4676058034

1090.6213828318

1107.4368625853

1098.0824328339

1085.4949784571

1104.2510030598

1097.0176549676

1094.8870128152

1109.3468138562

1094.8870128152

1089.7675615265

1156.7142623196

1093.8211485292

1107.4368625853

1164.8500482061

1125.0063723745

1151.6966737406

1148.5564438419

1130.0681130496

1158.8024616763

1145.4129546842

1119.7248534106

1165.8915042632

1150.6502925809

1120.7818814832

1163.8082300092

1157.7585430679

1117.6097108458

1151.6966737406

1169.8457345644

1132.1747091129

1144.3644006852

1183.1267734151

1139.3263005025

1138.2756460921

1205.1984887706

1146.4611465433

1137.2246295417

1223.2266411557

1175.0407020934

1142.4760908944

1257.9378428098

1133.2274639347

1162.7660496723

1250.0585388824

1107.4368625853

1170.8854523499

1250.0585388824

1087.6319942716

1178.9828224364

1242.1572023639

1069.850878899

1165.8915042632

1228.327814452

1090.6213828318

1160.8892124734

1219.3436944715

1126.0615897476

1163.8082300092

1213.2020791099

1146.4611465433

1169.8457345644

1200.2622512976

1107.4368625853

1178.9828224364

1189.1252103184

1090.6213828318

1188.091866195

1178.1533369321

1082.2867386862

1190.158192302

1181.0555222056

1059.3067475031

1185.1965760651

1170.8854523499

1057.1506107022

1171.9248079957

1158.8024616763

1059.3067475031

1162.7660496723

1162.7660496723

1076.0748999856

1158.8024616763

1157.7585430679

1122.8948512086

1155.6696194315

1159.8460181448

1143.5252967452

1161.7235071955

1174.0024328674

1184.1618558101

1160.8892124734

1197.1728658401

1226.2884315532

1151.6966737406

1202.320030903

1256.9289069153

1138.2756460921

1202.320030903

1279.6424670261

1131.1215921512

1199.232818285

1297.0038735784

1127.9600684267

1181.0555222056

1300.979501934

1125.0063723745

1160.8892124734

1300.979501934

1117.6097108458

1154.6246144034

1304.9493360512

1115.704844019

1151.6966737406

1308.7153115494

1113.586949191

1144.3644006852

1309.7054885974

1117.6097108458

1130.0681130496

1301.9725036732

1113.586949191

1118.6674631982

1310.6953035055

1118.6674631982

1119.7248534106

1318.4034311473

1112.5274585671

1118.6674631982

1293.2216597274

1108.2858746727

1114.6460776749

1280.4430972236

1112.5274585671

1110.4073908997

1249.0467782967

1103.1883256049

1104.2510030598

1225.2681968939

1107.4368625853

1108.2858746727

1213.2020791099

1103.1883256049

1106.37527155

1209.305646336

1108.2858746727

1107.4368625853

1209.305646336

1107.4368625853

1097.0176549676

1192.2230698494

1109.3468138562

1086.5636674343

1177.1161541257

1104.2510030598

1081.430657628

1147.5089762626

1101.0618842753

1087.6319942716

1138.2756460921

1095.9525149613

1092.7549221033

1133.2274639347

1090.6213828318

1092.7549221033

1122.8948512086

1082.2867386862

1088.699958969

1125.0063723745

1083.3565140831

1083.3565140831

1118.6674631982

1089.7675615265

1085.4949784571

1107.4368625853

1099.9981204007

1091.6883335375

1101.0618842753

1104.2510030598

1103.1883256049

1101.0618842753

1099.1468485603

1114.6460776749

1094.8870128152

1093.8211485292

1115.704844019

1101.0618842753

1092.7549221033

1127.9600684267

1102.1252860101

1090.6213828318

1144.3644006852

1109.3468138562

1090.6213828318

1159.8460181448

1112.5274585671

1086.5636674343

1176.0786091795

1109.3468138562

1081.430657628

1178.9828224364

1117.6097108458

1072.8570997215

1190.158192302

1121.8385474159

1066.6267774006

1195.3176701213

1126.9055029054

1063.6146754262

1204.1707940295

1133.2274639347

1070.9248551186

1212.3822120412

1137.2246295417

1075.0026620375

1223.2266411557

1144.3644006852

1093.8211485292

1232.1986511781

1140.376592773

1092.7549221033

1236.2675667706

1154.6246144034

1117.6097108458

1242.1572023639

1156.7142623196

1143.5252967452

1249.0467782967

1161.7235071955

1148.5564438419

1245.1987853552

1163.8082300092

1156.7142623196

1241.142617087

1160.8892124734

1162.7660496723

1236.2675667706

1171.9248079957

1163.8082300092

1232.1986511781

1172.9638015015

1167.9733299577

1234.2338332541

1175.0407020934

1171.9248079957

1236.2675667706

1171.9248079957

1175.0407020934

1229.3469626916

1175.0407020934

1174.0024328674

1236.2675667706

1178.1533369321

1176.0786091795

1231.1805169302

1176.0786091795

1178.9828224364

1234.2338332541

1175.0407020934

1183.1267734151

1228.327814452

1175.0407020934

1182.0913288803

1220.3660295422

1174.0024328674

1185.1965760651

1212.3822120412

1174.0024328674

1189.1252103184

1207.2527918331

1172.9638015015

1191.1908121456

1200.2622512976

1181.0555222056

1225.2681968939

1207.2527918331

1184.1618558101

1248.0346555711

1203.3483774959

1185.1965760651

1255.1119097126

1208.2794001545

1187.0581599317

1213.2020791099

1209.305646336

1183.1267734151

1202.320030903

1208.2794001545

1185.1965760651

1201.2913221702

1204.1707940295

1192.2230698494

1193.2549654133

1205.1984887706

1195.3176701213

1187.0581599317

1199.232818285

1192.2230698494

1181.0555222056

1202.320030903

1200.2622512976

1185.1965760651

1203.3483774959

1194.2864988373

1183.1267734151

1204.1707940295

1188.091866195

1175.0407020934

1211.3570522793

1187.0581599317

1172.9638015015

1210.3315303776

1186.2309341803

1166.9325981804

1221.183636858

1188.091866195

1160.8892124734

1220.3660295422

1192.2230698494

1154.6246144034

1222.2053200768

1182.0913288803

1153.5792472355

1221.183636858

1188.091866195

1149.6035492814

1224.2476000948

1194.2864988373

1141.4265229036

1232.1986511781

1206.2258213718

1143.5252967452

1233.2164232861

1217.2979379106

1163.8082300092

1236.2675667706

1206.2258213718

1177.1161541257

1250.0585388824

1205.1984887706

1190.158192302

1255.9196088808

1209.305646336

1201.2913221702

1255.9196088808

1218.320997261

1206.2258213718

1250.0585388824

1211.3570522793

1203.3483774959

1245.1987853552

1221.183636858

1200.2622512976

1245.1987853552

1218.320997261

1199.232818285

1245.1987853552

1219.3436944715

1190.158192302

1244.185286498

1221.183636858

1185.1965760651

1244.185286498

1216.2745164202

1190.158192302

1238.096688417

1227.3083040725

1184.1618558101

1233.2164232861

1222.2053200768

1172.9638015015

1229.3469626916

1208.2794001545

1159.8460181448

1231.1805169302

1209.305646336

1157.7585430679

1234.2338332541

1206.2258213718

1149.6035492814

1233.2164232861

1204.1707940295

1132.1747091129

1243.1714255009

1201.2913221702

1119.7248534106

1237.283890319

1200.2622512976

1111.4676058034

1229.3469626916

1191.1908121456

1119.7248534106

1231.1805169302

1190.158192302

1127.9600684267

1233.2164232861

1189.1252103184

1140.376592773

1231.1805169302

1201.2913221702

1155.6696194315

1223.2266411557

1199.232818285

1166.9325981804

1211.3570522793

1197.1728658401

1164.8500482061

1197.1728658401

1205.1984887706

1161.7235071955

1192.2230698494

1213.2020791099

1166.9325981804

1191.1908121456

1219.3436944715

1169.0136995952

1209.305646336

1230.1620205425

1164.8500482061

1228.327814452

1217.2979379106

1161.7235071955

1235.2508810823

1205.1984887706

1156.7142623196

1238.096688417

1208.2794001545

1149.6035492814

1243.1714255009

1202.320030903

1143.5252967452

1245.1987853552

1195.3176701213

1140.376592773

1244.185286498

1194.2864988373

1137.2246295417

1245.1987853552

1184.1618558101

1133.2274639347

1243.1714255009

1192.2230698494

1133.2274639347

1245.1987853552

1198.2030231325

1123.9507928615

1242.1572023639

1196.1423464079

1119.7248534106

1244.185286498

1204.1707940295

1121.8385474159

1250.0585388824

1213.2020791099

1125.0063723745

1252.0809736342

1218.320997261

1135.1215100214

1254.1019598263

1224.2476000948

1139.3263005025

1255.1119097126

1234.2338332541

1145.4129546842

1257.9378428098

1240.1276696702

1152.5335179276

1257.9378428098

1236.2675667706

1153.5792472355

1257.9378428098

1233.2164232861

1156.7142623196

1255.1119097126

1241.142617087

1159.8460181448

1257.9378428098

1243.1714255009

1159.8460181448

1257.9378428098

1245.1987853552

1159.8460181448

1257.9378428098

1248.0346555711

1163.8082300092

1259.9546281792

1251.0699373283

1166.9325981804

1259.9546281792

1248.0346555711

1166.9325981804

1262.977090184

1243.1714255009

1169.0136995952

1263.7825295993

1241.142617087

1174.0024328674

1265.7951141459

1247.0221707056

1176.0786091795

1270.8202380642

1250.0585388824

1178.9828224364

1272.6270663787

1241.142617087

1181.0555222056

1272.6270663787

1241.142617087

1184.1618558101

1269.8159375604

1236.2675667706

1187.0581599317

1267.8062501329

1228.327814452

1187.0581599317

1261.969964989

1224.2476000948

1189.1252103184

1258.9464165644

1219.3436944715

1192.2230698494

1258.9464165644

1223.2266411557

1199.232818285

1257.9378428098

1223.2266411557

1204.1707940295

1256.9289069153

1221.183636858

1210.3315303776

1254.1019598263

1223.2266411557

1213.2020791099

1252.0809736342

1229.3469626916

1215.25073279

1254.1019598263

1236.2675667706

1217.2979379106

1255.9196088808

1235.2508810823

1222.2053200768

1255.1119097126

1231.1805169302

1225.2681968939

1256.9289069153

1238.096688417

1227.3083040725

1254.1019598263

1239.1123601135

1227.3083040725

1256.9289069153

1233.2164232861

1234.2338332541

1255.1119097126

1232.1986511781

1235.2508810823

1254.1019598263

1223.2266411557

1235.2508810823

1259.9546281792

1217.2979379106

1231.1805169302

1260.962477654

1219.3436944715

1229.3469626916

1264.7890029426

1218.320997261

1227.3083040725

1263.7825295993

1213.2020791099

1230.1620205425

1262.977090184

1220.3660295422

1230.1620205425

1261.969964989

1215.25073279

1226.2884315532

1259.9546281792

1223.2266411557

1225.2681968939

1258.9464165644

1220.3660295422

1231.1805169302

1257.9378428098

1218.320997261

1223.2266411557

1255.1119097126

1224.2476000948

1216.2745164202

1254.1019598263

1234.2338332541

1209.305646336

1255.9196088808

1233.2164232861

1201.2913221702

1255.1119097126

1228.327814452

1201.2913221702

1258.9464165644

1228.327814452

1209.305646336

1256.9289069153

1237.283890319

1207.2527918331

1258.9464165644

1244.185286498

1214.2265870199

1255.9196088808

1236.2675667706

1223.2266411557

1253.0916478002

1231.1805169302

1227.3083040725

1256.9289069153

1244.185286498

1228.327814452

1259.9546281792

1251.0699373283

1222.2053200768

1261.969964989

1252.0809736342

1217.2979379106

1256.9289069153

1249.0467782967

1215.25073279

1256.9289069153

1252.0809736342

1224.2476000948

1252.0809736342

1243.1714255009

1228.327814452

1245.1987853552

1249.0467782967

1224.2476000948

1253.0916478002

1251.0699373283

1218.320997261

1257.9378428098

1253.0916478002

1217.2979379106

1257.9378428098

1249.0467782967

1212.3822120412

1257.9378428098

1243.1714255009

1209.305646336

1248.0346555711

1231.1805169302

1204.1707940295

1242.1572023639

1216.2745164202

1201.2913221702

1243.1714255009

1216.2745164202

1201.2913221702

1239.1123601135

1221.183636858

1200.2622512976

1236.2675667706

1214.2265870199

1204.1707940295

1236.2675667706

1216.2745164202

1203.3483774959

1235.2508810823

1217.2979379106

1203.3483774959

1239.1123601135

1227.3083040725

1202.320030903

1239.1123601135

1220.3660295422

1201.2913221702

1238.096688417

1207.2527918331

1203.3483774959

1218.320997261

1205.1984887706

1202.320030903

1209.305646336

1204.1707940295

1202.320030903

1211.3570522793

1204.1707940295

1203.3483774959

1216.2745164202

1210.3315303776

1199.232818285

1215.25073279

1207.2527918331

1198.2030231325

1216.2745164202

1207.2527918331

1198.2030231325

1219.3436944715

1205.1984887706

1198.2030231325

1223.2266411557

1217.2979379106

1202.320030903

1231.1805169302

1217.2979379106

1200.2622512976

1233.2164232861

1224.2476000948

1201.2913221702

1225.2681968939

1229.3469626916

1203.3483774959

1220.3660295422

1237.283890319

1205.1984887706

1213.2020791099

1231.1805169302

1208.2794001545

1206.2258213718

1226.2884315532

1208.2794001545

1203.3483774959

1230.1620205425

1212.3822120412

1200.2622512976

1232.1986511781

1211.3570522793

1201.2913221702

1243.1714255009

1217.2979379106

1213.2020791099

1239.1123601135

1219.3436944715

1209.305646336

1240.1276696702

1225.2681968939

1210.3315303776

1246.2119220725

1231.1805169302

1217.2979379106

1239.1123601135

1234.2338332541

1218.320997261

1235.2508810823

1231.1805169302

1222.2053200768

1223.2266411557

1237.283890319

1223.2266411557

1231.1805169302

1238.096688417

1222.2053200768

1235.2508810823

1238.096688417

1223.2266411557

1232.1986511781

1239.1123601135

1222.2053200768

1230.1620205425

1239.1123601135

1224.2476000948

1237.283890319

1243.1714255009

1220.3660295422

1236.2675667706

1244.185286498

1220.3660295422

1223.2266411557

1245.1987853552

1221.183636858

1223.2266411557

1245.1987853552

1220.3660295422

1219.3436944715

1244.185286498

1220.3660295422

1218.320997261

1245.1987853552

1223.2266411557

1216.2745164202

1244.185286498

1222.2053200768

1215.25073279

1241.142617087

1222.2053200768

1212.3822120412

1245.1987853552

1220.3660295422

1232.1986511781

1244.185286498

1223.2266411557

1229.3469626916

1245.1987853552

1224.2476000948

1218.320997261

1240.1276696702

1227.3083040725

1221.183636858

1241.142617087

1225.2681968939

1228.327814452

1241.142617087

1225.2681968939

1216.2745164202

1239.1123601135

1225.2681968939

1209.305646336

1240.1276696702

1225.2681968939

1212.3822120412

1239.1123601135

1229.3469626916

1210.3315303776

1240.1276696702

1232.1986511781

1205.1984887706

1243.1714255009

1231.1805169302

1205.1984887706

1248.0346555711

1231.1805169302

1203.3483774959

1250.0585388824

1234.2338332541

1208.2794001545

1251.0699373283

1232.1986511781

1216.2745164202

1251.0699373283

1233.2164232861

1212.3822120412

1255.1119097126

1233.2164232861

1213.2020791099

1257.9378428098

1229.3469626916

1217.2979379106

1257.9378428098

1227.3083040725

1213.2020791099

1255.9196088808

1228.327814452

1235.2508810823

1256.9289069153

1229.3469626916

1232.1986511781

1254.1019598263

1231.1805169302

1258.9464165644

1254.1019598263

1230.1620205425

1261.969964989

1250.0585388824

1231.1805169302

1257.9378428098

1239.1123601135

1229.3469626916

1260.962477654

1237.283890319

1231.1805169302

1259.9546281792

1235.2508810823

1231.1805169302

1259.9546281792

1232.1986511781

1228.327814452

1263.7825295993

1232.1986511781

1231.1805169302

1267.8062501329

1232.1986511781

1227.3083040725

1263.7825295993

1231.1805169302

1227.3083040725

1258.9464165644

1235.2508810823

1224.2476000948

1254.1019598263

1233.2164232861

1227.3083040725

1262.977090184

1237.283890319

1225.2681968939

1255.1119097126

1236.2675667706

1224.2476000948

1253.0916478002

1237.283890319

1221.183636858

1258.9464165644

1239.1123601135

1223.2266411557

1264.7890029426

1241.142617087

1225.2681968939

1255.1119097126

1243.1714255009

1224.2476000948

1255.9196088808

1255.1119097126

1223.2266411557

1255.1119097126

1258.9464165644

1223.2266411557

1248.0346555711

1258.9464165644

1223.2266411557

1249.0467782967

1261.969964989

1222.2053200768

1255.9196088808

1258.9464165644

1224.2476000948

1255.9196088808

1257.9378428098

1219.3436944715

1252.0809736342

1256.9289069153

1219.3436944715

1243.1714255009

1252.0809736342

1219.3436944715

1246.2119220725

1253.0916478002

1218.320997261

1245.1987853552

1247.0221707056

1216.2745164202

1241.142617087

1243.1714255009

1215.25073279

1241.142617087

1245.1987853552

1217.2979379106

1242.1572023639

1242.1572023639

1217.2979379106

1245.1987853552

1239.1123601135

1219.3436944715

1250.0585388824

1232.1986511781

1215.25073279

1255.1119097126

1228.327814452

1217.2979379106

1259.9546281792

1221.183636858

1219.3436944715

1262.977090184

1212.3822120412

1216.2745164202

1257.9378428098

1215.25073279

1214.2265870199

1254.1019598263

1211.3570522793

1214.2265870199

1252.0809736342

1208.2794001545

1212.3822120412

1259.9546281792

1209.305646336

1209.305646336

1259.9546281792

1208.2794001545

1208.2794001545

1252.0809736342

1206.2258213718

1210.3315303776

1248.0346555711

1205.1984887706

1212.3822120412

1245.1987853552

1204.1707940295

1208.2794001545

1256.9289069153

1201.2913221702

1210.3315303776

1258.9464165644

1204.1707940295

1207.2527918331

1250.0585388824

1202.320030903

1202.320030903

1243.1714255009

1205.1984887706

1203.3483774959

1256.9289069153

1207.2527918331

1204.1707940295

1252.0809736342

1209.305646336

1205.1984887706

1254.1019598263

1209.305646336

1208.2794001545

1253.0916478002

1218.320997261

1207.2527918331

1263.7825295993

1215.25073279

1209.305646336

1261.969964989

1213.2020791099

1206.2258213718

1269.8159375604

1213.2020791099

1202.320030903

1262.977090184

1209.305646336

1200.2622512976

1261.969964989

1210.3315303776

1205.1984887706

1274.6332772631

1212.3822120412

1200.2622512976

1280.4430972236

1210.3315303776

1198.2030231325

1275.6358394955

1210.3315303776

1196.1423464079

1281.4435590446

1215.25073279

1196.1423464079

1289.2347326071

1239.1123601135

1201.2913221702

1295.2129504482

1245.1987853552

1199.232818285

1297.9983238772

1239.1123601135

1199.232818285

1313.4648586638

1217.2979379106

1196.1423464079

1309.7054885974

1206.2258213718

1196.1423464079

1318.4034311473

1204.1707940295

1197.1728658401

1326.0895261979

1196.1423464079

1199.232818285

1329.0398499357

1198.2030231325

1198.2030231325

1312.6738469019

1200.2622512976

1194.2864988373

1317.4164409304

1205.1984887706

1192.2230698494

1316.4290885736

1212.3822120412

1184.1618558101

1311.6847562736

1214.2265870199

1182.0913288803

1304.9493360512

1212.3822120412

1175.0407020934

1302.9651432724

1208.2794001545

1180.0193533909

1299.986138055

1210.3315303776

1180.0193533909

1298.992412036

1203.3483774959

1178.1533369321

1293.2216597274

1198.2030231325

1176.0786091795

1290.232007597

1199.232818285

1169.0136995952

1291.2289204471

1197.1728658401

1166.9325981804

1293.2216597274

1201.2913221702

1162.7660496723

1287.4387250327

1193.2549654133

1155.6696194315

1287.4387250327

1194.2864988373

1154.6246144034

1294.2174861577

1199.232818285

1153.5792472355

1288.4366518745

1209.305646336

1151.6966737406

1291.2289204471

1210.3315303776

1149.6035492814

1289.2347326071

1205.1984887706

1153.5792472355

1290.232007597

1205.1984887706

1158.8024616763

1285.4417849296

1199.232818285

1149.6035492814

1279.6424670261

1201.2913221702

1148.5564438419

1288.4366518745

1194.2864988373

1143.5252967452

1297.0038735784

1200.2622512976

1145.4129546842

1291.2289204471

1194.2864988373

1142.4760908944

1291.2289204471

1194.2864988373

1143.5252967452

1281.4435590446

1198.2030231325

1144.3644006852

1285.4417849296

1208.2794001545

1144.3644006852

1282.4436587257

1214.2265870199

1143.5252967452

1276.638039588

1221.183636858

1149.6035492814

1275.6358394955

1221.183636858

1143.5252967452

1276.638039588

1223.2266411557

1140.376592773

1266.8008632094

1223.2266411557

1141.4265229036

1261.969964989

1224.2476000948

1142.4760908944

1257.9378428098

1224.2476000948

1143.5252967452

1253.0916478002

1228.327814452

1142.4760908944

1257.9378428098

1231.1805169302

1142.4760908944

1262.977090184

1233.2164232861

1141.4265229036

1256.9289069153

1239.1123601135

1139.3263005025

1251.0699373283

1242.1572023639

1137.2246295417

1260.962477654

1246.2119220725

1131.1215921512

1269.8159375604

1245.1987853552

1126.9055029054

1272.6270663787

1245.1987853552

1127.9600684267

1271.8241764282

1252.0809736342

1123.9507928615

1273.6303528909

1251.0699373283

1122.8948512086

1275.6358394955

1255.9196088808

1117.6097108458

1268.8112749166

1256.9289069153

1119.7248534106

1271.8241764282

1255.1119097126

1116.7632482232

1269.8159375604

1252.0809736342

1113.586949191

1270.8202380642

1249.0467782967

1112.5274585671

1261.969964989

1249.0467782967

1103.1883256049

1253.0916478002

1253.0916478002

1103.1883256049

1240.1276696702

1244.185286498

1094.8870128152

1238.096688417

1251.0699373283

1091.6883335375

1218.320997261

1259.9546281792

1087.6319942716

1217.2979379106

1256.9289069153

1080.3602303793

1222.2053200768

1252.0809736342

1064.4755657023

1230.1620205425

1251.0699373283

1058.2288601726

1223.2266411557

1254.1019598263

1059.3067475031

1221.183636858

1256.9289069153

1064.4755657023

1210.3315303776

1253.0916478002

1064.4755657023

1199.232818285

1254.1019598263

1059.3067475031

1191.1908121456

1251.0699373283

1054.9930253417

1191.1908121456

1254.1019598263

1054.1295856008

1202.320030903

1245.1987853552

1047.6463998903

1204.1707940295

1238.096688417

1047.6463998903

1195.3176701213

1239.1123601135

1038.1141449649

1182.0913288803

1232.1986511781

1033.9892743453

1171.9248079957

1233.2164232861

1025.5060514436

1178.9828224364

1238.096688417

1018.0924445973

1187.0581599317

1233.2164232861

1012.6305799657

1186.2309341803

1231.1805169302

1004.0919931169

1181.0555222056

1233.2164232861

997.7285047139

1194.2864988373

1230.1620205425

986.9487216457

1177.1161541257

1230.1620205425

975.0286762714

1169.8457345644

1226.2884315532

962.178615358

1161.7235071955

1222.2053200768

950.1709611003

1166.9325981804

1224.2476000948

944.820667357

1159.8460181448

1224.2476000948

937.0031992704

1145.4129546842

1226.2884315532

925.1315386156

1147.5089762626

1225.2681968939

918.393696131

1133.2274639347

1221.183636858

911.8680559686

1143.5252967452

1223.2266411557

907.5860311203

1139.3263005025

1223.2266411557

899.6844017221

1136.1732508515

1220.3660295422

891.9915415599

1137.2246295417

1221.183636858

880.8753160437

1138.2756460921

1219.3436944715

866.5319209123

1139.3263005025

1219.3436944715

856.4802125217

1139.3263005025

1214.2265870199

846.4004600177

1135.1215100214

1211.3570522793

836.2926634001

1130.0681130496

1215.25073279

819.4610491842

1125.0063723745

1214.2265870199

804.641060636

1116.7632482232

1213.2020791099

789.994684783

1108.2858746727

1214.2265870199

779.731370809

1106.37527155

1213.2020791099

768.2687657261

1099.9981204007

1212.3822120412

762.6417391607

1091.6883335375

1208.2794001545

756.7713807277

1093.8211485292

1210.3315303776

744.2962791232

1086.5636674343

1209.305646336

734.8541648927

1092.7549221033

1208.2794001545

730.3610414568

1083.3565140831

1208.2794001545

722.3076637865

1070.9248551186

1211.3570522793

714.2375407675

1067.70184004

1210.3315303776

711.8607883426

1062.5382366553

1207.2527918331

702.5776128987

1057.1506107022

1202.320030903

693.2724048636

1057.1506107022

1201.2913221702

683.9451642372

1051.9699722569

1201.2913221702

669.7928454323

1044.6164516619

1201.2913221702

660.4102408588

1040.2830290901

1196.1423464079

647.3825688876

1031.8161893973

1198.2030231325

637.9474250582

1036.1609107338

1198.2030231325

629.7039384287

1030.7291037135

1194.2864988373

620.227554108

1025.5060514436

1193.2549654133

610.7291371962

1029.6416558897

1192.2230698494

610.7291371962

1025.5060514436

1191.1908121456

610.7291371962

1022.2374067382

1189.1252103184

613.1667291234

1020.0564995685

1183.1267734151

611.9481142297

1023.3273171133

1184.1618558101

611.9481142297

1031.8161893973

1185.1965760651

614.3849818772

1029.6416558897

1188.091866195

616.5769242415

1031.8161893973

1181.0555222056

619.0110396257

1033.9892743453

1181.0555222056

620.227554108

1033.9892743453

1178.1533369321

621.4437064504

1030.7291037135

1177.1161541257

620.227554108

1030.7291037135

1176.0786091795

621.4437064504

1027.6833372144

1176.0786091795

629.7039384287

1022.2374067382

1174.0024328674

630.9172660799

1013.7236771718

1172.9638015015

626.0617826357

1012.6305799657

1170.8854523499

623.8749247155

1006.2834747716

1174.0024328674

621.4437064504

1002.9957090797

1169.8457345644

621.4437064504

1004.0919931169

1174.0024328674

619.0110396257

999.9241871914

1176.0786091795

615.3593233395

995.5313736769

1178.1533369321

611.9481142297

989.1515020651

1174.0024328674

609.5097980227

985.8467882261

1171.9248079957

605.8496076629

984.7444926667

1158.8024616763

605.8496076629

981.656138516

1152.5335179276

603.6519290027

976.1341586619

1144.3644006852

604.6288199299

970.8245404716

1140.376592773

604.6288199299

968.6097370077

1133.2274639347

607.0700332561

961.0685700048

1126.0615897476

604.6288199299

952.3977876087

1126.0615897476

603.6519290027

953.5106576531

1123.9507928615

603.6519290027

953.5106576531

1120.7818814832

599.9865238285

951.2845554245

1119.7248534106

598.7639978239

949.0570046363

1118.6674631982

598.7639978239

945.7129624047

1117.6097108458

599.9865238285

944.820667357

1120.7818814832

596.3178593952

940.3557155755

1114.6460776749

597.5411096795

934.990125043

1110.4073908997

599.9865238285

932.7519997699

1104.2510030598

597.5411096795

928.2714035449

1105.3133183749

597.5411096795

928.2714035449

1101.0618842753

597.5411096795

926.2532448734

1097.0176549676

594.1150962908

922.8870396803

1093.8211485292

595.0942469709

917.2694548939

1091.6883335375

596.3178593952

915.2449080746

1092.7549221033

596.3178593952

907.5860311203

1091.6883335375

596.3178593952

905.3302334202

1087.6319942716

595.0942469709

903.0729871607

1082.2867386862

594.1150962908

894.2558857615

1101.0618842753

594.1150962908

891.9915415599

1116.7632482232

594.1150962908

890.8588262493

1117.6097108458

597.5411096795

887.6852967954

1119.7248534106

598.7639978239

885.4167517711

1105.3133183749

597.5411096795

884.2819360491

1090.6213828318

598.7639978239

885.4167517711

1090.6213828318

598.7639978239

884.2819360491

1086.5636674343

598.7639978239

875.4179447763

1091.6883335375

597.5411096795

874.2799422233

1088.699958969

598.7639978239

875.4179447763

1086.5636674343

601.2086876931

867.6723860167

1085.4949784571

601.2086876931

864.2499042839

1079.2894409907

604.6288199299

866.5319209123

1073.9300619494

603.6519290027

866.5319209123

1068.7765405394

603.6519290027

861.966439096

1061.4614357445

604.6288199299

860.8241632921

1053.0499599988

605.8496076629

863.1083527599

1048.7278361918

604.6288199299

863.1083527599

1040.2830290901

605.8496076629

863.1083527599

1037.0291596925

607.0700332561

865.3910936681

1035.0752736095

608.2900967093

863.1083527599

1031.8161893973

610.7291371962

859.9100819083

1027.6833372144

611.9481142297

857.6238644572

1022.2374067382

613.1667291234

856.4802125217

1018.9655027738

615.3593233395

856.4802125217

1023.3273171133

617.7941630035

855.3361984464

1015.9087851643

621.4437064504

855.3361984464

1001.8990629027

620.227554108

857.6238644572

993.3327940803

621.4437064504

857.6238644572

984.7444926667

621.4437064504

855.3361984464

975.0286762714

620.227554108

853.0470838761

970.8245404716

620.227554108

855.3361984464

969.7173198096

621.4437064504

851.901983381

963.2882985712

620.227554108

853.0470838761

958.8473928787

615.3593233395

854.1918222312

953.5106576531

615.3593233395

854.1918222312

945.7129624047

616.5769242415

851.901983381

933.8712434764

613.1667291234

850.9856422443

926.2532448734

615.3593233395

850.9856422443

917.2694548939

615.3593233395

856.4802125217

912.9940354772

610.7291371962

855.3361984464

910.7417143202

611.9481142297

851.901983381

905.3302334202

610.7291371962

851.901983381

898.5541489627

608.2900967093

850.9856422443

895.3875146524

602.4304894179

848.6937754108

888.8190260977

601.2086876931

850.9856422443

882.0112181854

598.7639978239

850.9856422443

875.4179447763

598.7639978239

855.3361984464

868.8124889812

597.5411096795

855.3361984464

863.1083527599

597.5411096795

854.1918222312

853.0470838761

596.3178593952

850.9856422443

842.9577708788

596.3178593952

851.901983381

835.1422756626

595.0942469709

851.901983381

828.4628853865

599.9865238285

851.901983381

819.4610491842

601.2086876931

850.9856422443

808.1198189085

597.5411096795

847.5472987842

800.2299546435

589.2158663473

847.5472987842

793.2544035319

590.441217043

849.8398898975

785.3330186105

603.6519290027

846.4004600177

775.0569573122

620.227554108

850.9856422443

770.610897577

636.7361978183

850.9856422443

764.7528519004

654.6253792416

848.6937754108

760.2946822072

677.9545753591

846.4004600177

757.9461766941

697.8084636054

848.6937754108

751.1273191017

710.6718689203

850.9856422443

745.2392158138

723.4930342378

847.5472987842

740.758202336

730.3610414568

847.5472987842

734.8541648927

726.8101449173

848.6937754108

726.8101449173

719.9358364642

849.8398898975

717.5625605823

722.3076637865

851.901983381

705.9125698322

722.3076637865

850.9856422443

695.4217161194

724.6780425493

848.6937754108

692.0778360589

722.3076637865

848.6937754108

683.9451642372

725.6257884577

850.9856422443

681.5500151057

726.8101449173

849.8398898975

679.1534174145

723.4930342378

849.8398898975

676.7553711638

722.3076637865

848.6937754108

674.5958910197

715.1878361408

848.6937754108

669.7928454323

723.4930342378

849.8398898975

667.3891497992

722.3076637865

840.8905929511

664.0215423328

724.6780425493

842.9577708788

661.6143701567

722.3076637865

842.9577708788

661.6143701567

719.9358364642

842.9577708788

661.6143701567

719.9358364642

845.2532591113

659.205749421

717.5625605823

844.105696065

658.0008958434

707.102937814

844.105696065

656.7956801258

709.4825873581

844.105696065

656.7956801258

725.6257884577

845.2532591113

652.2125576832

729.1777714169

842.9577708788

652.2125576832

737.2168662897

840.8905929511

651.0056036941

733.9086787372

844.105696065

648.5906092963

731.5439493568

842.9577708788

643.9981291588

726.8101449173

842.9577708788

641.5789339383

719.9358364642

841.8094835527

640.3687931181

705.9125698322

845.2532591113

640.3687931181

669.7928454323



		0.49

		0.53

		0.57

		0.64

		0.7

		0.83

		0.83

		0



a

Qsum.,J/s

propane supply rate  ,l/min

Average heat supply rate,J/s

273.816254514

251.5184884202

236.9683048215

314.8522075557

309.1143831881

410.6090688327

0



		1		1		1

		2		2		2

		3		3		3

		4		4		4

		5		5		5

		6		6		6

		7		7		7

		8		8		8

		9		9		9

		10		10		10

		11		11		11

		12		12		12

		13		13		13

		14		14		14

		15		15		15

		16		16		16

		17		17		17

		18		18		18

		19		19		19

		20		20		20

		21		21		21

		22		22		22

		23		23		23

		24		24		24

		25		25		25

		26		26		26

		27		27		27

		28		28		28

		29		29		29

		30		30		30

		31		31		31

		32		32		32

		33		33		33

		34		34		34

		35		35		35

		36		36		36

		37		37		37

		38		38		38

		39		39		39

		40		40		40

		41		41		41

		42		42		42

		43		43		43

		44		44		44

		45		45		45

		46		46		46

		47		47		47

		48		48		48

		49		49		49

		50		50		50

		51		51		51

		52		52		52

		53		53		53

		54		54		54

		55		55		55

		56		56		56

		57		57		57

		58		58		58

		59		59		59

		60		60		60

		61		61		61

		62		62		62

		63		63		63

		64		64		64

		65		65		65

		66		66		66

		67		67		67

		68		68		68

		69		69		69

		70		70		70

		71		71		71

		72		72		72

		73		73		73

		74		74		74

		75		75		75

		76		76		76

		77		77		77

		78		78		78

		79		79		79

		80		80		80

		81		81		81

		82		82		82

		83		83		83

		84		84		84

		85		85		85

		86		86		86

		87		87		87

		88		88		88

		89		89		89

		90		90		90

		91		91		91

		92		92		92

		93		93		93

		94		94		94

		95		95		95

		96		96		96

		97		97		97

		98		98		98

		99		99		99

		100		100		100

		101		101		101

		102		102		102

		103		103		103

		104		104		104

		105		105		105

		106		106		106

		107		107		107

		108		108		108

		109		109		109

		110		110		110

		111		111		111

		112		112		112

		113		113		113

		114		114		114

		115		115		115

		116		116		116

		117		117		117

		118		118		118

		119		119		119

		120		120		120

		121		121		121

		122		122		122

		123		123		123

		124		124		124

		125		125		125

		126		126		126

		127		127		127

		128		128		128

		129		129		129

		130		130		130

		131		131		131

		132		132		132

		133		133		133

		134		134		134

		135		135		135

		136		136		136

		137		137		137

		138		138		138

		139		139		139

		140		140		140

		141		141		141

		142		142		142

		143		143		143

		144		144		144

		145		145		145

		146		146		146

		147		147		147

		148		148		148

		149		149		149

		150		150		150

		151		151		151

		152		152		152

		153		153		153

		154		154		154

		155		155		155

		156		156		156

		157		157		157

		158		158		158

		159		159		159

		160		160		160

		161		161		161

		162		162		162

		163		163		163

		164		164		164

		165		165		165

		166		166		166

		167		167		167

		168		168		168

		169		169		169

		170		170		170

		171		171		171

		172		172		172

		173		173		173

		174		174		174

		175		175		175

		176		176		176

		177		177		177

		178		178		178

		179		179		179

		180		180		180

		181		181		181

		182		182		182

		183		183		183

		184		184		184

		185		185		185

		186		186		186

		187		187		187

		188		188		188

		189		189		189

		190		190		190

		191		191		191

		192		192		192

		193		193		193

		194		194		194

		195		195		195

		196		196		196

		197		197		197

		198		198		198

		199		199		199

		200		200		200

		201		201		201

		202		202		202

		203		203		203

		204		204		204

		205		205		205

		206		206		206

		207		207		207

		208		208		208

		209		209		209

		210		210		210

		211		211		211

		212		212		212

		213		213		213

		214		214		214

		215		215		215

		216		216		216

		217		217		217

		218		218		218

		219		219		219

		220		220		220

		221		221		221

		222		222		222

		223		223		223

		224		224		224

		225		225		225

		226		226		226

		227		227		227

		228		228		228

		229		229		229

		230		230		230

		231		231		231

		232		232		232

		233		233		233

		234		234		234

		235		235		235

		236		236		236

		237		237		237

		238		238		238

		239		239		239

		240		240		240

		241		241		241

		242		242		242

		243		243		243

		244		244		244

		245		245		245

		246		246		246

		247		247		247

		248		248		248

		249		249		249

		250		250		250

		251		251		251

		252		252		252

		253		253		253

		254		254		254

		255		255		255

		256		256		256

		257		257		257

		258		258		258

		259		259		259

		260		260		260

		261		261		261

		262		262		262

		263		263		263

		264		264		264

		265		265		265

		266		266		266

		267		267		267

		268		268		268

		269		269		269

		270		270		270

		271		271		271

		272		272		272

		273		273		273

		274		274		274

		275		275		275

		276		276		276

		277		277		277

		278		278		278

		279		279		279

		280		280		280

		281		281		281

		282		282		282

		283		283		283

		284		284		284

		285		285		285

		286		286		286

		287		287		287

		288		288		288

		289		289		289

		290		290		290

		291		291		291

		292		292		292

		293		293		293

		294		294		294

		295		295		295

		296		296		296

		297		297		297

		298		298		298

		299		299		299

		300		300		300

		301		301		301

		302		302		302

		303		303		303

		304		304		304

		305		305		305

		306		306		306

		307		307		307

		308		308		308

		309		309		309

		310		310		310

		311		311		311

		312		312		312

		313		313		313

		314		314		314

		315		315		315

		316		316		316

		317		317		317

		318		318		318

		319		319		319

		320		320		320

		321		321		321

		322		322		322

		323		323		323

		324		324		324

		325		325		325

		326		326		326

		327		327		327

		328		328		328

		329		329		329

		330		330		330

		331		331		331

		332		332		332

		333		333		333

		334		334		334

		335		335		335

		336		336		336

		337		337		337

		338		338		338

		339		339		339

		340		340		340

		341		341		341

		342		342		342

		343		343		343

		344		344		344

		345		345		345

		346		346		346

		347		347		347

		348		348		348

		349		349		349

		350		350		350

		351		351		351

		352		352		352

		353		353		353

		354		354		354

		355		355		355

		356		356		356

		357		357		357

		358		358		358

		359		359		359

		360		360		360

		361		361		361

		362		362		362

		363		363		363

		364		364		364

		365		365		365

		366		366		366

		367		367		367

		368		368		368

		369		369		369

		370		370		370

		371		371		371

		372		372		372

		373		373		373

		374		374		374

		375		375		375

		376		376		376

		377		377		377

		378		378		378

		379		379		379

		380		380		380

		381		381		381

		382		382		382

		383		383		383

		384		384		384

		385		385		385

		386		386		386

		387		387		387

		388		388		388

		389		389		389

		390		390		390

		391		391		391

		392		392		392

		393		393		393

		394		394		394

		395		395		395

		396		396		396

		397		397		397

		398		398		398

		399		399		399

		400		400		400

		401		401		401

		402		402		402

		403		403		403

		404		404		404

		405		405		405

		406		406		406

		407		407		407

		408		408		408

		409		409		409

		410		410		410

		411		411		411

		412		412		412

		413		413		413

		414		414		414

		415		415		415

		416		416		416

		417		417		417

		418		418		418

		419		419		419

		420		420		420

		421		421		421

		422		422		422

		423		423		423

		424		424		424

		425		425		425

		426		426		426

		427		427		427

		428		428		428

		429		429		429

		430		430		430

		431		431		431

		432		432		432

		433		433		433

		434		434		434

		435		435		435

		436		436		436

		437		437		437

		438		438		438

		439		439		439

		440		440		440

		441		441		441

		442		442		442

		443		443		443

		444		444		444

		445		445		445

		446		446		446

		447		447		447

		448		448		448

		449		449		449

		450		450		450

		451		451		451

		452		452		452

		453		453		453

		454		454		454

		455		455		455

		456		456		456

		457		457		457

		458		458		458

		459		459		459

		460		460		460

		461		461		461

		462		462		462

		463		463		463

		464		464		464

		465		465		465

		466		466		466

		467		467		467

		468		468		468

		469		469		469

		470		470		470

		471		471		471

		472		472		472

		473		473		473

		474		474		474

		475		475		475

		476		476		476

		477		477		477

		478		478		478

		479		479		479

		480		480		480

		481		481		481

		482		482		482

		483		483		483

		484		484		484

		485		485		485

		486		486		486

		487		487		487

		488		488		488

		489		489		489

		490		490		490

		491		491		491

		492		492		492

		493		493		493

		494		494		494

		495		495		495

		496		496		496

		497		497		497

		498		498		498

		499		499		499

		500		500		500

		501		501		501

		502		502		502

		503		503		503

		504		504		504

		505		505		505

		506		506		506

		507		507		507

		508		508		508

		509		509		509

		510		510		510

		511		511		511

		512		512		512

		513		513		513

		514		514		514

		515		515		515

		516		516		516

		517		517		517

		518		518		518

		519		519		519

		520		520		520

		521		521		521

		522		522		522

		523		523		523

		524		524		524

		525		525		525

		526		526		526

		527		527		527

		528		528		528

		529		529		529

		530		530		530

		531		531		531

		532		532		532

		533		533		533

		534		534		534

		535		535		535

		536		536		536

		537		537		537

		538		538		538

		539		539		539

		540		540		540

		541		541		541

		542		542		542

		543		543		543

		544		544		544

		545		545		545

		546		546		546

		547		547		547

		548		548		548

		549		549		549

		550		550		550

		551		551		551

		552		552		552

		553		553		553

		554		554		554

		555		555		555

		556		556		556

		557		557		557

		558		558		558

		559		559		559

		560		560		560

		561		561		561

		562		562		562

		563		563		563

		564		564		564

		565		565		565

		566		566		566

		567		567		567

		568		568		568

		569		569		569

		570		570		570

		571		571		571

		572		572		572

		573		573		573

		574		574		574

		575		575		575

		576		576		576

		577		577		577

		578		578		578

		579		579		579

		580		580		580

		581		581		581

		582		582		582

		583		583		583

		584		584		584

		585		585		585

		586		586		586

		587		587		587

		588		588		588

		589		589		589

		590		590		590

		591		591		591

		592		592		592

		593		593		593

		594		594		594

		595		595		595

		596		596		596

		597		597		597

		598		598		598

		599		599		599

		600		600		600

		601		601		601

		602		602		602

		603		603		603

		604		604		604

		605		605		605

		606		606		606

		607		607		607

		608		608		608

		609		609		609

		610		610		610

		611		611		611

		612		612		612

		613		613		613

		614		614		614

		615		615		615

		616		616		616

		617		617		617

		618		618		618

		619		619		619

		620		620		620

		621		621		621

		622		622		622

		623		623		623

		624		624		624

		625		625		625

		626		626		626

		627		627		627

		628		628		628

		629		629		629

		630		630		630

		631		631		631

		632		632		632

		633		633		633

		634		634		634

		635		635		635

		636		636		636

		637		637		637

		638		638		638

		639		639		639

		640		640		640

		641		641		641

		642		642		642

		643		643		643

		644		644		644

		645		645		645

		646		646		646

		647		647		647

		648		648		648

		649		649		649

		650		650		650

		651		651		651

		652		652		652

		653		653		653

		654		654		654

		655		655		655

		656		656		656

		657		657		657

		658		658		658

		659		659		659

		660		660		660

		661		661		661

		662		662		662

		663		663		663

		664		664		664

		665		665		665

		666		666		666

		667		667		667

		668		668		668

		669		669		669

		670		670		670

		671		671		671

		672		672		672

		673		673		673

		674		674		674

		675		675		675

		676		676		676

		677		677		677

		678		678		678

		679		679		679

		680		680		680

		681		681		681

		682		682		682

		683		683		683

		684		684		684

		685		685		685

		686		686		686

		687		687		687

		688		688		688

		689		689		689

		690		690		690

		691		691		691

		692		692		692

		693		693		693

		694		694		694

		695		695		695

		696		696		696

		697		697		697

		698		698		698

		699		699		699

		700		700		700

		701		701		701

		702		702		702

		703		703		703

		704		704		704

		705		705		705

		706		706		706

		707		707		707

		708		708		708

		709		709		709

		710		710		710

		711		711		711

		712		712		712

		713		713		713

		714		714		714

		715		715		715

		716		716		716

		717		717		717

		718		718		718

		719		719		719

		720		720		720

		721		721		721

		722		722		722

		723		723		723

		724		724		724

		725		725		725

		726		726		726

		727		727		727

		728		728		728

		729		729		729

		730		730		730

		731		731		731

		732		732		732

		733		733		733

		734		734		734

		735		735		735

		736		736		736

		737		737		737

		738		738		738

		739		739		739

		740		740		740

		741		741		741

		742		742		742

		743		743		743

		744		744		744

		745		745		745

		746		746		746

		747		747		747

		748		748		748

		749		749		749

		750		750		750

		751		751		751

		752		752		752

		753		753		753

		754		754		754

		755		755		755

		756		756		756

		757		757		757

		758		758		758

		759		759		759

		760		760		760

		761		761		761

		762		762		762

		763		763		763

		764		764		764

		765		765		765

		766		766		766

		767		767		767

		768		768		768

		769		769		769

		770		770		770

		771		771		771

		772		772		772

		773		773		773

		774		774		774

		775		775		775

		776		776		776

		777		777		777

		778		778		778

		779		779		779

		780		780		780

		781		781		781

		782		782		782

		783		783		783

		784		784		784

		785		785		785

		786		786		786

		787		787		787

		788		788		788

		789		789		789

		790		790		790

		791		791		791

		792		792		792

		793		793		793

		794		794		794

		795		795		795

		796		796		796

		797		797		797

		798		798		798

		799		799		799

		800		800		800

		801		801		801

		802		802		802

		803		803		803

		804		804		804

		805		805		805

		806		806		806

		807		807		807

		808		808		808

		809		809		809

		810		810		810

		811		811		811

		812		812		812

		813		813		813

		814		814		814

		815		815		815

		816		816		816

		817		817		817

		818		818		818

		819		819		819

		820		820		820

		821		821		821

		822		822		822

		823		823		823

		824		824		824

		825		825		825

		826		826		826

		827		827		827

		828		828		828

		829		829		829

		830		830		830

		831		831		831

		832		832		832

		833		833		833

		834		834		834

		835		835		835

		836		836		836

		837		837		837

		838		838		838

		839		839		839

		840		840		840

		841		841		841

		842		842		842

		843		843		843

		844		844		844

		845		845		845

		846		846		846

		847		847		847

		848		848		848

		849		849		849

		850		850		850

		851		851		851

		852		852		852

		853		853		853

		854		854		854

		855		855		855

		856		856		856

		857		857		857

		858		858		858

		859		859		859

		860		860		860

		861		861		861

		862		862		862

		863		863		863

		864		864		864

		865		865		865

		866		866		866

		867		867		867

		868		868		868

		869		869		869

		870		870		870

		871		871		871

		872		872		872

		873		873		873

		874		874		874

		875		875		875

		876		876		876

		877		877		877

		878		878		878

		879		879		879

		880		880		880

		881		881		881

		882		882		882

		883		883		883

		884		884		884

		885		885		885

		886		886		886

		887		887		887

		888		888		888

		889		889		889

		890		890		890

		891		891		891

		892		892		892

		893		893		893

		894		894		894

		895		895		895

		896		896		896

		897		897		897

		898		898		898

		899		899		899

		900		900		900

		901		901		901

		902		902		902

		903		903		903

		904		904		904

		905		905		905

		906		906		906

		907		907		907

		908		908		908

		909		909		909

		910		910		910

		911		911		911

		912		912		912

		913		913		913

		914		914		914

		915		915		915

		916		916		916

		917		917		917

		918		918		918

		919		919		919

		920		920		920

		921		921		921

		922		922		922

		923		923		923

		924		924		924

		925		925		925

		926		926		926

		927		927		927

		928		928		928

		929		929		929

		930		930		930

		931		931		931

		932		932		932

		933		933		933

		934		934		934

		935		935		935

		936		936		936

		937		937		937

		938		938		938

		939		939		939

		940		940		940

		941		941		941

		942		942		942

		943		943		943

		944		944		944

		945		945		945

		946		946		946

		947		947		947

		948		948		948

		949		949		949

		950		950		950

		951		951		951

		952		952		952

		953		953		953

		954		954		954

		955		955		955

		956		956		956

		957		957		957

		958		958		958

		959		959		959

		960		960		960

		961		961		961

		962		962		962

		963		963		963

		964		964		964

		965		965		965

		966		966		966

		967		967		967

		968		968		968

		969		969		969

		970		970		970

		971		971		971

		972		972		972

		973		973		973

		974		974		974

		975		975		975

		976		976		976

		977		977		977

		978		978		978

		979		979		979

		980		980		980

		981		981		981

		982		982		982

		983		983		983

		984		984		984

		985		985		985

		986		986		986

		987		987		987

		988		988		988

		989		989		989

		990		990		990

		991		991		991

		992		992		992

		993		993		993

		994		994		994

		995		995		995

		996		996		996

		997		997		997

		998		998		998

		999		999		999

		1000		1000		1000

		1001		1001		1001

		1002		1002		1002

		1003		1003		1003

		1004		1004		1004

		1005		1005		1005

		1006		1006		1006

		1007		1007		1007

		1008		1008		1008

		1009		1009		1009

		1010		1010		1010

		1011		1011		1011

		1012		1012		1012

		1013		1013		1013

		1014		1014		1014

		1015		1015		1015

		1016		1016		1016

		1017		1017		1017

		1018		1018		1018

		1019		1019		1019

		1020		1020		1020

		1021		1021		1021

		1022		1022		1022

		1023		1023		1023

		1024		1024		1024

		1025		1025		1025

		1026		1026		1026

		1027		1027		1027

		1028		1028		1028

		1029		1029		1029

		1030		1030		1030

		1031		1031		1031

		1032		1032		1032

		1033		1033		1033

		1034		1034		1034

		1035		1035		1035

		1036		1036		1036

		1037		1037		1037

		1038		1038		1038

		1039		1039		1039

		1040		1040		1040

		1041		1041		1041

		1042		1042		1042

		1043		1043		1043

		1044		1044		1044

		1045		1045		1045

		1046		1046		1046

		1047		1047		1047

		1048		1048		1048

		1049		1049		1049

		1050		1050		1050

		1051		1051		1051

		1052		1052		1052

		1053		1053		1053

		1054		1054		1054

		1055		1055		1055

		1056		1056		1056

		1057		1057		1057

		1058		1058		1058

		1059		1059		1059

		1060		1060		1060

		1061		1061		1061

		1062		1062		1062

		1063		1063		1063

		1064		1064		1064

		1065		1065		1065

		1066		1066		1066

		1067		1067		1067

		1068		1068		1068

		1069		1069		1069

		1070		1070		1070

		1071		1071		1071

		1072		1072		1072

		1073		1073		1073

		1074		1074		1074

		1075		1075		1075

		1076		1076		1076

		1077		1077		1077

		1078		1078		1078

		1079		1079		1079

		1080		1080		1080

		1081		1081		1081

		1082		1082		1082

		1083		1083		1083

		1084		1084		1084

		1085		1085		1085

		1086		1086		1086

		1087		1087		1087

		1088		1088		1088

		1089		1089		1089

		1090		1090		1090

		1091		1091		1091

		1092		1092		1092

		1093		1093		1093

		1094		1094		1094

		1095		1095		1095

		1096		1096		1096

		1097		1097		1097

		1098		1098		1098

		1099		1099		1099

		1100		1100		1100

		1101		1101		1101

		1102		1102		1102

		1103		1103		1103

		1104		1104		1104

		1105		1105		1105

		1106		1106		1106

		1107		1107		1107

		1108		1108		1108

		1109		1109		1109

		1110		1110		1110

		1111		1111		1111

		1112		1112		1112

		1113		1113		1113

		1114		1114		1114

		1115		1115		1115

		1116		1116		1116

		1117		1117		1117

		1118		1118		1118

		1119		1119		1119

		1120		1120		1120

		1121		1121		1121

		1122		1122		1122

		1123		1123		1123

		1124		1124		1124

		1125		1125		1125

		1126		1126		1126

		1127		1127		1127

		1128		1128		1128

		1129		1129		1129

		1130		1130		1130

		1131		1131		1131

		1132		1132		1132

		1133		1133		1133

		1134		1134		1134

		1135		1135		1135

		1136		1136		1136

		1137		1137		1137

		1138		1138		1138

		1139		1139		1139

		1140		1140		1140

		1141		1141		1141

		1142		1142		1142

		1143		1143		1143

		1144		1144		1144

		1145		1145		1145

		1146		1146		1146

		1147		1147		1147

		1148		1148		1148

		1149		1149		1149

		1150		1150		1150

		1151		1151		1151

		1152		1152		1152

		1153		1153		1153

		1154		1154		1154

		1155		1155		1155

		1156		1156		1156

		1157		1157		1157

		1158		1158		1158

		1159		1159		1159

		1160		1160		1160

		1161		1161		1161

		1162		1162		1162

		1163		1163		1163

		1164		1164		1164

		1165		1165		1165

		1166		1166		1166

		1167		1167		1167

		1168		1168		1168

		1169		1169		1169

		1170		1170		1170

		1171		1171		1171

		1172		1172		1172

		1173		1173		1173

		1174		1174		1174

		1175		1175		1175

		1176		1176		1176

		1177		1177		1177

		1178		1178		1178

		1179		1179		1179

		1180		1180		1180

		1181		1181		1181

		1182		1182		1182

		1183		1183		1183

		1184		1184		1184

		1185		1185		1185

		1186		1186		1186

		1187		1187		1187

		1188		1188		1188

		1189		1189		1189

		1190		1190		1190

		1191		1191		1191

		1192		1192		1192

		1193		1193		1193

		1194		1194		1194

		1195		1195		1195

		1196		1196		1196

		1197		1197		1197

		1198		1198		1198

		1199		1199		1199

		1200		1200		1200

		1201		1201		1201

		1202		1202		1202

		1203		1203		1203

		1204		1204		1204

		1205		1205		1205

		1206		1206		1206

		1207		1207		1207

		1208		1208		1208

		1209		1209		1209

		1210		1210		1210

		1211		1211		1211

		1212		1212		1212

		1213		1213		1213

		1214		1214		1214

		1215		1215		1215

		1216		1216		1216

		1217		1217		1217

		1218		1218		1218

		1219		1219		1219

		1220		1220		1220

		1221		1221		1221

		1222		1222		1222

		1223		1223		1223

		1224		1224		1224

		1225		1225		1225

		1226		1226		1226

		1227		1227		1227

		1228		1228		1228

		1229		1229		1229

		1230		1230		1230

		1231		1231		1231

		1232		1232		1232

		1233		1233		1233

		1234		1234		1234

		1235		1235		1235

		1236		1236		1236

		1237		1237		1237

		1238		1238		1238

		1239		1239		1239

		1240		1240		1240

		1241		1241		1241

		1242		1242		1242

		1243		1243		1243

		1244		1244		1244

		1245		1245		1245

		1246		1246		1246

		1247		1247		1247

		1248		1248		1248

		1249		1249		1249

		1250		1250		1250

		1251		1251		1251

		1252		1252		1252

		1253		1253		1253

		1254		1254		1254

		1255		1255		1255

		1256		1256		1256

		1257		1257		1257

		1258		1258		1258

		1259		1259		1259

		1260		1260		1260

		1261		1261		1261

		1262		1262		1262

		1263		1263		1263

		1264		1264		1264

		1265		1265		1265

		1266		1266		1266

		1267		1267		1267

		1268		1268		1268

		1269		1269		1269

		1270		1270		1270

		1271		1271		1271

		1272		1272		1272

		1273		1273		1273

		1274		1274		1274

		1275		1275		1275

		1276		1276		1276

		1277		1277		1277

		1278		1278		1278

		1279		1279		1279

		1280		1280		1280

		1281		1281		1281

		1282		1282		1282

		1283		1283		1283

		1284		1284		1284

		1285		1285		1285

		1286		1286		1286

		1287		1287		1287

		1288		1288		1288

		1289		1289		1289

		1290		1290		1290

		1291		1291		1291

		1292		1292		1292

		1293		1293		1293

		1294		1294		1294

		1295		1295		1295

		1296		1296		1296

		1297		1297		1297

		1298		1298		1298

		1299		1299		1299

		1300		1300		1300

		1301		1301		1301

		1302		1302		1302

		1303		1303		1303

		1304		1304		1304

		1305		1305		1305

		1306		1306		1306

		1307		1307		1307

		1308		1308		1308

		1309		1309		1309

		1310		1310		1310

		1311		1311		1311

		1312		1312		1312

		1313		1313		1313

		1314		1314		1314

		1315		1315		1315

		1316		1316		1316

		1317		1317		1317

		1318		1318		1318

		1319		1319		1319

		1320		1320		1320

		1321		1321		1321

		1322		1322		1322

		1323		1323		1323

		1324		1324		1324

		1325		1325		1325

		1326		1326		1326

		1327		1327		1327

		1328		1328		1328

		1329		1329		1329

		1330		1330		1330

		1331		1331		1331

		1332		1332		1332

		1333		1333		1333

		1334		1334		1334

		1335		1335		1335

		1336		1336		1336

		1337		1337		1337

		1338		1338		1338

		1339		1339		1339

		1340		1340		1340

		1341		1341		1341

		1342		1342		1342

		1343		1343		1343

		1344		1344		1344

		1345		1345		1345

		1346		1346		1346

		1347		1347		1347

		1348		1348		1348

		1349		1349		1349

		1350		1350		1350

		1351		1351		1351

		1352		1352		1352

		1353		1353		1353

		1354		1354		1354

		1355		1355		1355

		1356		1356		1356

		1357		1357		1357

		1358		1358		1358

		1359		1359		1359

		1360		1360		1360

		1361		1361		1361

		1362		1362		1362

		1363		1363		1363

		1364		1364		1364

		1365		1365		1365

		1366		1366		1366

		1367		1367		1367

		1368		1368		1368

		1369		1369		1369

		1370		1370		1370

		1371		1371		1371

		1372		1372		1372

		1373		1373		1373

		1374		1374		1374

		1375		1375		1375

		1376		1376		1376

		1377		1377		1377

		1378		1378		1378

		1379		1379		1379

		1380		1380		1380

		1381		1381		1381

		1382		1382		1382

		1383		1383		1383

		1384		1384		1384

		1385		1385		1385

		1386		1386		1386

		1387		1387		1387

		1388		1388		1388

		1389		1389		1389

		1390		1390		1390

		1391		1391		1391

		1392		1392		1392

		1393		1393		1393

		1394		1394		1394

		1395		1395		1395

		1396		1396		1396

		1397		1397		1397

		1398		1398		1398

		1399		1399		1399

		1400		1400		1400

		1401		1401		1401

		1402		1402		1402

		1403		1403		1403

		1404		1404		1404

		1405		1405		1405

		1406		1406		1406

		1407		1407		1407

		1408		1408		1408

		1409		1409		1409

		1410		1410		1410

		1411		1411		1411

		1412		1412		1412

		1413		1413		1413

		1414		1414		1414

		1415		1415		1415

		1416		1416		1416

		1417		1417		1417

		1418		1418		1418

		1419		1419		1419

		1420		1420		1420

		1421		1421		1421

		1422		1422		1422

		1423		1423		1423

		1424		1424		1424

		1425		1425		1425

		1426		1426		1426

		1427		1427		1427

		1428		1428		1428

		1429		1429		1429

		1430		1430		1430

		1431		1431		1431

		1432		1432		1432

		1433		1433		1433

		1434		1434		1434

		1435		1435		1435

		1436		1436		1436

		1437		1437		1437

		1438		1438		1438

		1439		1439		1439

		1440		1440		1440

		1441		1441		1441

		1442		1442		1442

		1443		1443		1443

		1444		1444		1444

		1445		1445		1445

		1446		1446		1446

		1447		1447		1447

		1448		1448		1448

		1449		1449		1449

		1450		1450		1450

		1451		1451		1451

		1452		1452		1452

		1453		1453		1453

		1454		1454		1454

		1455		1455		1455

		1456		1456		1456

		1457		1457		1457

		1458		1458		1458

		1459		1459		1459

		1460		1460		1460

		1461		1461		1461

		1462		1462		1462

		1463		1463		1463

		1464		1464		1464

		1465		1465		1465

		1466		1466		1466

		1467		1467		1467

		1468		1468		1468

		1469		1469		1469

		1470		1470		1470

		1471		1471		1471

		1472		1472		1472

		1473		1473		1473

		1474		1474		1474

		1475		1475		1475

		1476		1476		1476

		1477		1477		1477

		1478		1478		1478

		1479		1479		1479

		1480		1480		1480

		1481		1481		1481

		1482		1482		1482

		1483		1483		1483

		1484		1484		1484

		1485		1485		1485

		1486		1486		1486

		1487		1487		1487

		1488		1488		1488

		1489		1489		1489

		1490		1490		1490

		1491		1491		1491

		1492		1492		1492

		1493		1493		1493

		1494		1494		1494

		1495		1495		1495

		1496		1496		1496

		1497		1497		1497

		1498		1498		1498

		1499		1499		1499

		1500		1500		1500

		1501		1501		1501

		1502		1502		1502

		1503		1503		1503

		1504		1504		1504

		1505		1505		1505

		1506		1506		1506

		1507		1507		1507

		1508		1508		1508

		1509		1509		1509

		1510		1510		1510

		1511		1511		1511

		1512		1512		1512

		1513		1513		1513

		1514		1514		1514

		1515		1515		1515

		1516		1516		1516

		1517		1517		1517

		1518		1518		1518

		1519		1519		1519

		1520		1520		1520

		1521		1521		1521

		1522		1522		1522

		1523		1523		1523

		1524		1524		1524

		1525		1525		1525

		1526		1526		1526

		1527		1527		1527

		1528		1528		1528

		1529		1529		1529

		1530		1530		1530

		1531		1531		1531

		1532		1532		1532

		1533		1533		1533

		1534		1534		1534

		1535		1535		1535

		1536		1536		1536

		1537		1537		1537

		1538		1538		1538

		1539		1539		1539

		1540		1540		1540

		1541		1541		1541

		1542		1542		1542

		1543		1543		1543

		1544		1544		1544

		1545		1545		1545

		1546		1546		1546

		1547		1547		1547

		1548		1548		1548

		1549		1549		1549

		1550		1550		1550

		1551		1551		1551

		1552		1552		1552

		1553		1553		1553

		1554		1554		1554

		1555		1555		1555

		1556		1556		1556

		1557		1557		1557

		1558		1558		1558

		1559		1559		1559

		1560		1560		1560

		1561		1561		1561

		1562		1562		1562

		1563		1563		1563

		1564		1564		1564

		1565		1565		1565

		1566		1566		1566

		1567		1567		1567

		1568		1568		1568

		1569		1569		1569

		1570		1570		1570

		1571		1571		1571

		1572		1572		1572

		1573		1573		1573

		1574		1574		1574

		1575		1575		1575

		1576		1576		1576

		1577		1577		1577

		1578		1578		1578

		1579		1579		1579

		1580		1580		1580

		1581		1581		1581

		1582		1582		1582

		1583		1583		1583

		1584		1584		1584

		1585		1585		1585

		1586		1586		1586

		1587		1587		1587

		1588		1588		1588

		1589		1589		1589

		1590		1590		1590

		1591		1591		1591

		1592		1592		1592

		1593		1593		1593

		1594		1594		1594

		1595		1595		1595

		1596		1596		1596

		1597		1597		1597

		1598		1598		1598

		1599		1599		1599

		1600		1600		1600

		1601		1601		1601

		1602		1602		1602

		1603		1603		1603

		1604		1604		1604

		1605		1605		1605

		1606		1606		1606

		1607		1607		1607

		1608		1608		1608

		1609		1609		1609

		1610		1610		1610

		1611		1611		1611

		1612		1612		1612

		1613		1613		1613

		1614		1614		1614

		1615		1615		1615

		1616		1616		1616

		1617		1617		1617

		1618		1618		1618

		1619		1619		1619

		1620		1620		1620

		1621		1621		1621

		1622		1622		1622

		1623		1623		1623

		1624		1624		1624

		1625		1625		1625

		1626		1626		1626

		1627		1627		1627

		1628		1628		1628

		1629		1629		1629

		1630		1630		1630

		1631		1631		1631

		1632		1632		1632

		1633		1633		1633

		1634		1634		1634

		1635		1635		1635

		1636		1636		1636

		1637		1637		1637

		1638		1638		1638

		1639		1639		1639

		1640		1640		1640

		1641		1641		1641

		1642		1642		1642

		1643		1643		1643

		1644		1644		1644

		1645		1645		1645

		1646		1646		1646

		1647		1647		1647

		1648		1648		1648

		1649		1649		1649

		1650		1650		1650

		1651		1651		1651

		1652		1652		1652

		1653		1653		1653

		1654		1654		1654

		1655		1655		1655

		1656		1656		1656

		1657		1657		1657

		1658		1658		1658

		1659		1659		1659

		1660		1660		1660

		1661		1661		1661

		1662		1662		1662

		1663		1663		1663

		1664		1664		1664

		1665		1665		1665

		1666		1666		1666

		1667		1667		1667

		1668		1668		1668

		1669		1669		1669

		1670		1670		1670

		1671		1671		1671

		1672		1672		1672

		1673		1673		1673

		1674		1674		1674

		1675		1675		1675

		1676		1676		1676

		1677		1677		1677

		1678		1678		1678

		1679		1679		1679

		1680		1680		1680

		1681		1681		1681

		1682		1682		1682

		1683		1683		1683

		1684		1684		1684

		1685		1685		1685

		1686		1686		1686

		1687		1687		1687

		1688		1688		1688

		1689		1689		1689

		1690		1690		1690

		1691		1691		1691

		1692		1692		1692

		1693		1693		1693

		1694		1694		1694

		1695		1695		1695

		1696		1696		1696

		1697		1697		1697

		1698		1698		1698

		1699		1699		1699

		1700		1700		1700

		1701		1701		1701

		1702		1702		1702

		1703		1703		1703

		1704		1704		1704

		1705		1705		1705

		1706		1706		1706

		1707		1707		1707

		1708		1708		1708

		1709		1709		1709

		1710		1710		1710

		1711		1711		1711

		1712		1712		1712

		1713		1713		1713

		1714		1714		1714

		1715		1715		1715

		1716		1716		1716

		1717		1717		1717

		1718		1718		1718

		1719		1719		1719

		1720		1720		1720

		1721		1721		1721

		1722		1722		1722

		1723		1723		1723

		1724		1724		1724

		1725		1725		1725

		1726		1726		1726

		1727		1727		1727

		1728		1728		1728

		1729		1729		1729

		1730		1730		1730

		1731		1731		1731

		1732		1732		1732

		1733		1733		1733

		1734		1734		1734

		1735		1735		1735

		1736		1736		1736

		1737		1737		1737

		1738		1738		1738

		1739		1739		1739

		1740		1740		1740

		1741		1741		1741

		1742		1742		1742

		1743		1743		1743

		1744		1744		1744

		1745		1745		1745

		1746		1746		1746

		1747		1747		1747

		1748		1748		1748

		1749		1749		1749

		1750		1750		1750

		1751		1751		1751

		1752		1752		1752

		1753		1753		1753

		1754		1754		1754

		1755		1755		1755

		1756		1756		1756

		1757		1757		1757

		1758		1758		1758

		1759		1759		1759

		1760		1760		1760

		1761		1761		1761

		1762		1762		1762

		1763		1763		1763

		1764		1764		1764

		1765		1765		1765

		1766		1766		1766

		1767		1767		1767

		1768		1768		1768

		1769		1769		1769

		1770		1770		1770

		1771		1771		1771

		1772		1772		1772

		1773		1773		1773

		1774		1774		1774

		1775		1775		1775

		1776		1776		1776

		1777		1777		1777

		1778		1778		1778

		1779		1779		1779

		1780		1780		1780

		1781		1781		1781

		1782		1782		1782

		1783		1783		1783

		1784		1784		1784

		1785		1785		1785

		1786		1786		1786

		1787		1787		1787

		1788		1788		1788

		1789		1789		1789

		1790		1790		1790

		1791		1791		1791

		1792		1792		1792

		1793		1793		1793

		1794		1794		1794

		1795		1795		1795

		1796		1796		1796

		1797		1797		1797

		1798		1798		1798

		1799		1799		1799

		1800		1800		1800

		1801		1801		1801

		1802		1802		1802

		1803		1803		1803

		1804		1804		1804

		1805		1805		1805

		1806		1806		1806

		1807		1807		1807

		1808		1808		1808

		1809		1809		1809

		1810		1810		1810

		1811		1811		1811

		1812		1812		1812

		1813		1813		1813

		1814		1814		1814

		1815		1815		1815

		1816		1816		1816

		1817		1817		1817

		1818		1818		1818

		1819		1819		1819

		1820		1820		1820

		1821		1821		1821

		1822		1822		1822

		1823		1823		1823

		1824		1824		1824

		1825		1825		1825

		1826		1826		1826

		1827		1827		1827

		1828		1828		1828

		1829		1829		1829

		1830		1830		1830

		1831		1831		1831

		1832		1832		1832

		1833		1833		1833

		1834		1834		1834

		1835		1835		1835

		1836		1836		1836

		1837		1837		1837

		1838		1838		1838

		1839		1839		1839

		1840		1840		1840

		1841		1841		1841

		1842		1842		1842

		1843		1843		1843

		1844		1844		1844

		1845		1845		1845

		1846		1846		1846

		1847		1847		1847

		1848		1848		1848

		1849		1849		1849

		1850		1850		1850

		1851		1851		1851

		1852		1852		1852

		1853		1853		1853

		1854		1854		1854

		1855		1855		1855

		1856		1856		1856

		1857		1857		1857

		1858		1858		1858

		1859		1859		1859

		1860		1860		1860

		1861		1861		1861

		1862		1862		1862

		1863		1863		1863

		1864		1864		1864

		1865		1865		1865

		1866		1866		1866

		1867		1867		1867

		1868		1868		1868

		1869		1869		1869

		1870		1870		1870

		1871		1871		1871

		1872		1872		1872

		1873		1873		1873

		1874		1874		1874

		1875		1875		1875

		1876		1876		1876

		1877		1877		1877

		1878		1878		1878

		1879		1879		1879

		1880		1880		1880

		1881		1881		1881

		1882		1882		1882

		1883		1883		1883

		1884		1884		1884

		1885		1885		1885

		1886		1886		1886

		1887		1887		1887

		1888		1888		1888

		1889		1889		1889

		1890		1890		1890

		1891		1891		1891

		1892		1892		1892

		1893		1893		1893

		1894		1894		1894

		1895		1895		1895

		1896		1896		1896

		1897		1897		1897

		1898		1898		1898

		1899		1899		1899

		1900		1900		1900

		1901		1901		1901

		1902		1902		1902

		1903		1903		1903

		1904		1904		1904

		1905		1905		1905

		1906		1906		1906

		1907		1907		1907

		1908		1908		1908

		1909		1909		1909

		1910		1910		1910

		1911		1911		1911

		1912		1912		1912

		1913		1913		1913

		1914		1914		1914

		1915		1915		1915

		1916		1916		1916

		1917		1917		1917

		1918		1918		1918

		1919		1919		1919

		1920		1920		1920

		1921		1921		1921

		1922		1922		1922

		1923		1923		1923

		1924		1924		1924

		1925		1925		1925

		1926		1926		1926

		1927		1927		1927

		1928		1928		1928

		1929		1929		1929

		1930		1930		1930

		1931		1931		1931

		1932		1932		1932

		1933		1933		1933

		1934		1934		1934

		1935		1935		1935

		1936		1936		1936

		1937		1937		1937

		1938		1938		1938

		1939		1939		1939

		1940		1940		1940

		1941		1941		1941

		1942		1942		1942

		1943		1943		1943

		1944		1944		1944

		1945		1945		1945

		1946		1946		1946

		1947		1947		1947

		1948		1948		1948

		1949		1949		1949

		1950		1950		1950

		1951		1951		1951

		1952		1952		1952

		1953		1953		1953

		1954		1954		1954

		1955		1955		1955

		1956		1956		1956

		1957		1957		1957

		1958		1958		1958

		1959		1959		1959

		1960		1960		1960

		1961		1961		1961

		1962		1962		1962

		1963		1963		1963

		1964		1964		1964

		1965		1965		1965

		1966		1966		1966

		1967		1967		1967

		1968		1968		1968

		1969		1969		1969

		1970		1970		1970

		1971		1971		1971

		1972		1972		1972

		1973		1973		1973

		1974		1974		1974

		1975		1975		1975

		1976		1976		1976

		1977		1977		1977

		1978		1978		1978

		1979		1979		1979

		1980		1980		1980

		1981		1981		1981

		1982		1982		1982

		1983		1983		1983

		1984		1984		1984

		1985		1985		1985

		1986		1986		1986

		1987		1987		1987

		1988		1988		1988

		1989		1989		1989

		1990		1990		1990

		1991		1991		1991

		1992		1992		1992

		1993		1993		1993

		1994		1994		1994

		1995		1995		1995

		1996		1996		1996

		1997		1997		1997

		1998		1998		1998

		1999		1999		1999

		2000		2000		2000

		2001		2001		2001

		2002		2002		2002

		2003		2003		2003

		2004		2004		2004

		2005		2005		2005

		2006		2006		2006

		2007		2007		2007

		2008		2008		2008

		2009		2009		2009

		2010		2010		2010

		2011		2011		2011

		2012		2012		2012

		2013		2013		2013

		2014		2014		2014

		2015		2015		2015

		2016		2016		2016

		2017		2017		2017

		2018		2018		2018

		2019		2019		2019

		2020		2020		2020

		2021		2021		2021

		2022		2022		2022

		2023		2023		2023

		2024		2024		2024

		2025		2025		2025

		2026		2026		2026

		2027		2027		2027

		2028		2028		2028

		2029		2029		2029

		2030		2030		2030

		2031		2031		2031

		2032		2032		2032

		2033		2033		2033

		2034		2034		2034

		2035		2035		2035

		2036		2036		2036

		2037		2037		2037

		2038		2038		2038

		2039		2039		2039

		2040		2040		2040

		2041		2041		2041

		2042		2042		2042

		2043		2043		2043

		2044		2044		2044

		2045		2045		2045

		2046		2046		2046

		2047		2047		2047

		2048		2048		2048

		2049		2049		2049

		2050		2050		2050

		2051		2051		2051

		2052		2052		2052

		2053		2053		2053

		2054		2054		2054

		2055		2055		2055

		2056		2056		2056

		2057		2057		2057

		2058		2058		2058

		2059		2059		2059

		2060		2060		2060

		2061		2061		2061

		2062		2062		2062

		2063		2063		2063

		2064		2064		2064

		2065		2065		2065

		2066		2066		2066

		2067		2067		2067

		2068		2068		2068

		2069		2069		2069

		2070		2070		2070

		2071		2071		2071

		2072		2072		2072

		2073		2073		2073

		2074		2074		2074

		2075		2075		2075

		2076		2076		2076

		2077		2077		2077

		2078		2078		2078

		2079		2079		2079

		2080		2080		2080

		2081		2081		2081

		2082		2082		2082

		2083		2083		2083

		2084		2084		2084

		2085		2085		2085

		2086		2086		2086

		2087		2087		2087

		2088		2088		2088

		2089		2089		2089

		2090		2090		2090

		2091		2091		2091

		2092		2092		2092

		2093		2093		2093

		2094		2094		2094

		2095		2095		2095

		2096		2096		2096

		2097		2097		2097

		2098		2098		2098

		2099		2099		2099

		2100		2100		2100

		2101		2101		2101

		2102		2102		2102

		2103		2103		2103

		2104		2104		2104

		2105		2105		2105

		2106		2106		2106

		2107		2107		2107

		2108		2108		2108

		2109		2109		2109

		2110		2110		2110

		2111		2111		2111

		2112		2112		2112

		2113		2113		2113

		2114		2114		2114

		2115		2115		2115

		2116		2116		2116

		2117		2117		2117

		2118		2118		2118

		2119		2119		2119

		2120		2120		2120

		2121		2121		2121

		2122		2122		2122

		2123		2123		2123

		2124		2124		2124

		2125		2125		2125

		2126		2126		2126

		2127		2127		2127

		2128		2128		2128

		2129		2129		2129

		2130		2130		2130

		2131		2131		2131

		2132		2132		2132

		2133		2133		2133

		2134		2134		2134

		2135		2135		2135

		2136		2136		2136

		2137		2137		2137

		2138		2138		2138

		2139		2139		2139

		2140		2140		2140

		2141		2141		2141

		2142		2142		2142

		2143		2143		2143

		2144		2144		2144

		2145		2145		2145

		2146		2146		2146

		2147		2147		2147

		2148		2148		2148

		2149		2149		2149

		2150		2150		2150

		2151		2151		2151

		2152		2152		2152

		2153		2153		2153

		2154		2154		2154

		2155		2155		2155

		2156		2156		2156

		2157		2157		2157

		2158		2158		2158

		2159		2159		2159

		2160		2160		2160

		2161		2161		2161

		2162		2162		2162

		2163		2163		2163

		2164		2164		2164

		2165		2165		2165

		2166		2166		2166

		2167		2167		2167

		2168		2168		2168

		2169		2169		2169

		2170		2170		2170

		2171		2171		2171

		2172		2172		2172

		2173		2173		2173

		2174		2174		2174

		2175		2175		2175

		2176		2176		2176

		2177		2177		2177

		2178		2178		2178

		2179		2179		2179

		2180		2180		2180

		2181		2181		2181

		2182		2182		2182

		2183		2183		2183

		2184		2184		2184

		2185		2185		2185

		2186		2186		2186

		2187		2187		2187

		2188		2188		2188

		2189		2189		2189

		2190		2190		2190

		2191		2191		2191

		2192		2192		2192

		2193		2193		2193

		2194		2194		2194

		2195		2195		2195

		2196		2196		2196

		2197		2197		2197

		2198		2198		2198

		2199		2199		2199

		2200		2200		2200

		2201		2201		2201

		2202		2202		2202

		2203		2203		2203

		2204		2204		2204

		2205		2205		2205

		2206		2206		2206

		2207		2207		2207

		2208		2208		2208

		2209		2209		2209

		2210		2210		2210

		2211		2211		2211

		2212		2212		2212

		2213		2213		2213

		2214		2214		2214

		2215		2215		2215

		2216		2216		2216

		2217		2217		2217

		2218		2218		2218

		2219		2219		2219

		2220		2220		2220

		2221		2221		2221

		2222		2222		2222

		2223		2223		2223

		2224		2224		2224

		2225		2225		2225

		2226		2226		2226

		2227		2227		2227

		2228		2228		2228

		2229		2229		2229

		2230		2230		2230

		2231		2231		2231

		2232		2232		2232

		2233		2233		2233

		2234		2234		2234

		2235		2235		2235

		2236		2236		2236

		2237		2237		2237

		2238		2238		2238

		2239		2239		2239

		2240		2240		2240

		2241		2241		2241

		2242		2242		2242

		2243		2243		2243

		2244		2244		2244

		2245		2245		2245

		2246		2246		2246

		2247		2247		2247

		2248		2248		2248

		2249		2249		2249

		2250		2250		2250

		2251		2251		2251

		2252		2252		2252

		2253		2253		2253

		2254		2254		2254

		2255		2255		2255

		2256		2256		2256

		2257		2257		2257

		2258		2258		2258

		2259		2259		2259

		2260		2260		2260

		2261		2261		2261

		2262		2262		2262

		2263		2263		2263

		2264		2264		2264

		2265		2265		2265

		2266		2266		2266

		2267		2267		2267

		2268		2268		2268

		2269		2269		2269

		2270		2270		2270

		2271		2271		2271

		2272		2272		2272

		2273		2273		2273

		2274		2274		2274

		2275		2275		2275

		2276		2276		2276

		2277		2277		2277

		2278		2278		2278

		2279		2279		2279

		2280		2280		2280

		2281		2281		2281

		2282		2282		2282

		2283		2283		2283

		2284		2284		2284

		2285		2285		2285

		2286		2286		2286

		2287		2287		2287

		2288		2288		2288

		2289		2289		2289

		2290		2290		2290

		2291		2291		2291

		2292		2292		2292

		2293		2293		2293

		2294		2294		2294

		2295		2295		2295

		2296		2296		2296

		2297		2297		2297

		2298		2298		2298

		2299		2299		2299

		2300		2300		2300

		2301		2301		2301

		2302		2302		2302

		2303		2303		2303

		2304		2304		2304

		2305		2305		2305

		2306		2306		2306

		2307		2307		2307

		2308		2308		2308

		2309		2309		2309

		2310		2310		2310

		2311		2311		2311

		2312		2312		2312

		2313		2313		2313

		2314		2314		2314

		2315		2315		2315

		2316		2316		2316

		2317		2317		2317

		2318		2318		2318

		2319		2319		2319

		2320		2320		2320

		2321		2321		2321

		2322		2322		2322

		2323		2323		2323

		2324		2324		2324

		2325		2325		2325

		2326		2326		2326

		2327		2327		2327

		2328		2328		2328

		2329		2329		2329

		2330		2330		2330

		2331		2331		2331

		2332		2332		2332

		2333		2333		2333

		2334		2334		2334

		2335		2335		2335

		2336		2336		2336

		2337		2337		2337

		2338		2338		2338

		2339		2339		2339

		2340		2340		2340

		2341		2341		2341

		2342		2342		2342

		2343		2343		2343

		2344		2344		2344

		2345		2345		2345

		2346		2346		2346

		2347		2347		2347

		2348		2348		2348

		2349		2349		2349

		2350		2350		2350

		2351		2351		2351

		2352		2352		2352

		2353		2353		2353

		2354		2354		2354

		2355		2355		2355

		2356		2356		2356

		2357		2357		2357

		2358		2358		2358

		2359		2359		2359

		2360		2360		2360

		2361		2361		2361

		2362		2362		2362

		2363		2363		2363

		2364		2364		2364

		2365		2365		2365

		2366		2366		2366

		2367		2367		2367

		2368		2368		2368

		2369		2369		2369

		2370		2370		2370

		2371		2371		2371

		2372		2372		2372

		2373		2373		2373

		2374		2374		2374

		2375		2375		2375

		2376		2376		2376

		2377		2377		2377

		2378		2378		2378

		2379		2379		2379

		2380		2380		2380

		2381		2381		2381

		2382		2382		2382

		2383		2383		2383

		2384		2384		2384

		2385		2385		2385

		2386		2386		2386

		2387		2387		2387

		2388		2388		2388

		2389		2389		2389

		2390		2390		2390

		2391		2391		2391

		2392		2392		2392

		2393		2393		2393

		2394		2394		2394

		2395		2395		2395

		2396		2396		2396

		2397		2397		2397

		2398		2398		2398

		2399		2399		2399

		2400		2400		2400



v

b

v

b

T1-3,K-L=30mm,prop.0,7l/min

T1-4,K-L=30mm,prop.0,78l/min

T1-1,K-L=30mm,prop.0,83l/min

time,s

Temperature,K

803.4807502654

767.0971565908

530.2217320896

806.9605949575

765.9251853156

538.6646853732

796.7438087172

765.9251853156

541.1447200961

792.3233450298

763.8147244276

536.1832020907

797.9062194992

761.4683917539

539.9048838046

789.994684783

761.4683917539

528.978708967

794.4179007336

762.6417391607

519.2706999695

806.9605949575

763.8147244276

518.0244900159

805.8010088667

764.7528519004

519.2706999695

799.0682681413

768.2687657261

521.7620334572

795.5810357954

767.0971565908

524.0029950776

788.8298114497

767.0971565908

526.4915763021

786.4989783635

765.9251853156

525.2474667598

796.7438087172

765.9251853156

527.7353237045

791.1591959764

765.9251853156

522.7581612556

793.2544035319

765.9251853156

526.4915763021

791.1591959764

762.6417391607

527.7353237045

788.8298114497

765.9251853156

537.4241248019

785.3330186105

770.610897577

541.1447200961

795.5810357954

765.9251853156

539.9048838046

794.4179007336

764.7528519004

539.9048838046

800.2299546435

763.8147244276

536.1832020907

796.7438087172

765.9251853156

530.2217320896

800.2299546435

765.9251853156

511.7880081491

800.2299546435

763.8147244276

504.5423469622

795.5810357954

765.9251853156

516.7779179223

786.4989783635

767.0971565908

520.5165477833

799.0682681413

759.1206105206

514.2836873155

794.4179007336

760.2946822072

514.2836873155

788.8298114497

756.7713807277

507.0422269513

786.4989783635

753.4800254375

514.2836873155

788.8298114497

755.5962226214

519.2706999695

794.4179007336

757.9461766941

524.0029950776

797.9062194992

767.0971565908

531.4643930723

801.3912790058

762.6417391607

526.4915763021

795.5810357954

763.8147244276

524.0029950776

796.7438087172

756.7713807277

522.7581612556

792.3233450298

763.8147244276

518.0244900159

795.5810357954

760.2946822072

521.7620334572

794.4179007336

765.9251853156

525.2474667598

786.4989783635

757.9461766941

530.2217320896

786.4989783635

760.2946822072

524.0029950776

787.6645759765

762.6417391607

515.5309836889

786.4989783635

754.4207023752

519.2706999695

786.4989783635

759.1206105206

527.7353237045

793.2544035319

764.7528519004

515.5309836889

794.4179007336

762.6417391607

513.0360288023

794.4179007336

761.4683917539

513.0360288023

792.3233450298

760.2946822072

505.7924680267

795.5810357954

761.4683917539

515.5309836889

792.3233450298

762.6417391607

507.0422269513

792.3233450298

765.9251853156

513.0360288023

795.5810357954

768.2687657261

518.0244900159

792.3233450298

767.0971565908

516.7779179223

785.3330186105

763.8147244276

522.7581612556

785.3330186105

765.9251853156

531.4643930723

786.4989783635

763.8147244276

526.4915763021

785.3330186105

764.7528519004

527.7353237045

788.8298114497

761.4683917539

528.978708967

780.8990688334

763.8147244276

532.4582611177

789.994684783

759.1206105206

527.7353237045

788.8298114497

754.4207023752

526.4915763021

775.0569573122

737.2168662897

554.2647204255

764.7528519004

732.726495117

544.6143351281

733.9086787372

767.0971565908

519.2706999695

702.5776128987

773.8874485883

570.0535056204

797.9062194992

747.5955435486

672.1950925058

788.8298114497

726.8101449173

703.7689948723

769.4400127215

697.8084636054

696.6152709323

753.4800254375

664.9840056065

688.4919568056

760.2946822072

687.2959394413

660.4102408588

740.758202336

696.6152709323

632.1302315912

715.1878361408

701.3858687852

610.7291371962

690.8829051143

704.9600147059

604.6288199299

662.8181373147

707.102937814

595.0942469709

664.9840056065

715.1878361408

597.5411096795

668.5911786857

714.2375407675

601.2086876931

672.1950925058

711.8607883426

610.7291371962

664.9840056065

714.2375407675

616.5769242415

666.1867587728

722.3076637865

628.4902486375

666.1867587728

736.0356966612

636.7361978183

664.9840056065

749.9504227239

659.205749421

662.8181373147

752.3038533395

666.1867587728

666.1867587728

770.610897577

676.7553711638

664.0215423328

787.6645759765

680.35189733

656.7956801258

825.0032481006

684.9028182932

656.7956801258

842.9577708788

687.2959394413

651.0056036941

851.901983381

688.4919568056

647.3825688876

856.4802125217

699.0012941386

643.9981291588

853.0470838761

708.292943656

644.9654016504

849.8398898975

713.049345625

642.7887126185

841.8094835527

732.726495117

640.3687931181

837.4426889977

747.5955435486

656.7956801258

829.6153735354

754.4207023752

673.3956728327

819.4610491842

763.8147244276

689.6876120299

803.4807502654

772.9515808684

695.4217161194

791.1591959764

783.2333784627

702.5776128987

788.8298114497

789.994684783

702.5776128987

792.3233450298

784.1666967177

703.7689948723

788.8298114497

794.4179007336

707.102937814

785.3330186105

802.5522412282

703.7689948723

785.3330186105

799.0682681413

707.102937814

784.1666967177

799.0682681413

708.292943656

784.1666967177

804.641060636

709.4825873581

782.066404718

809.2786807195

713.049345625

784.1666967177

796.7438087172

716.3753794315

783.2333784627

803.4807502654

715.1878361408

788.8298114497

814.836176425

715.1878361408

785.3330186105

817.1493370844

714.2375407675

788.8298114497

831.6889396108

718.7493795932

793.2544035319

829.6153735354

718.7493795932

792.3233450298

832.840413768

717.5625605823

787.6645759765

841.8094835527

726.8101449173

787.6645759765

853.0470838761

734.8541648927

793.2544035319

865.3910936681

736.0356966612

787.6645759765

866.5319209123

741.9379234049

793.2544035319

863.1083527599

743.117282334

801.3912790058

876.5555851895

744.2962791232

802.5522412282

885.4167517711

745.2392158138

801.3912790058

876.5555851895

745.2392158138

804.641060636

877.6928634628

751.1273191017

794.4179007336

883.1467581872

752.3038533395

796.7438087172

891.9915415599

755.5962226214

791.1591959764

891.9915415599

755.5962226214

789.994684783

891.9915415599

754.4207023752

791.1591959764

893.1238947307

754.4207023752

787.6645759765

903.0729871607

756.7713807277

785.3330186105

891.9915415599

761.4683917539

783.2333784627

905.3302334202

762.6417391607

791.1591959764

906.4583133402

765.9251853156

789.994684783

904.2017913604

767.0971565908

795.5810357954

926.2532448734

768.2687657261

803.4807502654

917.2694548939

769.4400127215

803.4807502654

929.392095811

775.0569573122

804.641060636

933.8712434764

783.2333784627

808.1198189085

930.5124259372

778.5633106446

818.3053742042

963.2882985712

779.731370809

823.8493113921

977.2392789125

773.8874485883

828.4628853865

996.6301202654

777.3948883404

832.840413768

1012.6305799657

778.5633106446

840.8905929511

1012.6305799657

788.8298114497

829.6153735354

1023.3273171133

783.2333784627

838.5923524554

1035.0752736095

786.4989783635

836.2926634001

1053.0499599988

787.6645759765

844.105696065

1066.6267774006

789.994684783

849.8398898975

1080.3602303793

800.2299546435

854.1918222312

1092.7549221033

792.3233450298

863.1083527599

1112.5274585671

797.9062194992

869.9522298057

1114.6460776749

800.2299546435

875.4179447763

1131.1215921512

800.2299546435

883.1467581872

1141.4265229036

801.3912790058

882.0112181854

1151.6966737406

805.8010088667

893.1238947307

1164.8500482061

808.1198189085

890.8588262493

1184.1618558101

806.9605949575

898.5541489627

1190.158192302

811.5953179218

899.6844017221

1196.1423464079

817.1493370844

893.1238947307

1201.2913221702

823.8493113921

893.1238947307

1209.305646336

827.3100350978

897.6496860146

1215.25073279

831.6889396108

896.5187814034

1225.2681968939

838.5923524554

894.2558857615

1240.1276696702

841.8094835527

888.8190260977

1249.0467782967

839.7416537732

888.8190260977

1261.969964989

838.5923524554

893.1238947307

1263.7825295993

842.9577708788

895.3875146524

1270.8202380642

839.7416537732

897.6496860146

1269.8159375604

841.8094835527

900.8142923415

1252.0809736342

847.5472987842

899.6844017221

1243.1714255009

842.9577708788

897.6496860146

1273.6303528909

845.2532591113

901.943820821

1310.6953035055

840.8905929511

903.0729871607

1306.7338710338

846.4004600177

910.7417143202

1324.1208330066

846.4004600177

915.2449080746

1329.0398499357

845.2532591113

922.8870396803

1335.7151839067

848.6937754108

928.2714035449

1342.373772529

847.5472987842

930.5124259372

1351.9405173197

848.6937754108

933.8712434764

1348.0399243503

850.9856422443

942.588915746

1363.2194705131

857.6238644572

956.6247671931

1344.3289941162

857.6238644572

971.9313989937

1370.7761947076

863.1083527599

984.7444926667

1381.2029779537

865.3910936681

992.2329610721

1382.1662842215

866.5319209123

1007.3786723891

1388.7071628923

874.2799422233

1017.0007959508

1397.1469721251

873.1415775303

1046.5646014489

1412.9911750271

875.4179447763

1054.1295856008

1414.8933793338

874.2799422233

1059.3067475031

1411.0875221609

879.7390517622

1062.5382366553

1400.9739782678

886.5512053532

1068.7765405394

1397.1469721251

886.5512053532

1076.0748999856

1395.2312962144

888.8190260977

1084.4259273401

1395.2312962144

887.6852967954

1092.7549221033

1395.2312962144

888.8190260977

1097.0176549676

1394.4646202534

886.5512053532

1099.1468485603

1398.1042668707

891.9915415599

1105.3133183749

1408.4199745681

895.3875146524

1106.37527155

1409.3729960629

898.5541489627

1109.3468138562

1419.4527595466

895.3875146524

1107.4368625853

1421.3500387506

891.9915415599

1120.7818814832

1421.3500387506

899.6844017221

1144.3644006852

1418.5035767347

912.9940354772

1165.8915042632

1426.843956838

919.5175752281

1190.158192302

1428.7355866597

924.0094702179

1219.3436944715

1433.4583237658

931.6323939235

1223.2266411557

1434.2131215382

927.1503491389

1231.1805169302

1430.6257679218

930.5124259372

1230.1620205425

1436.0991019775

934.990125043

1231.1805169302

1444.3802070228

933.8712434764

1246.2119220725

1447.1969011394

954.4006929479

1257.9378428098

1453.5693413023

963.2882985712

1259.9546281792

1453.5693413023

958.8473928787

1258.9464165644

1462.7236956663

967.5017920659

1262.977090184

1472.7718833806

978.3440370232

1246.2119220725

1472.7718833806

976.1341586619

1237.283890319

1476.297311075

975.0286762714

1233.2164232861

1480.743008332

979.4484329941

1243.1714255009

1473.5145132525

985.8467882261

1252.0809736342

1486.2883965707

991.3528339249

1259.9546281792

1481.6681450548

994.4322649485

1271.8241764282

1487.2113604541

998.8265270226

1274.6332772631

1489.7937327436

1010.4432991338

1286.4404360511

1497.891276319

1045.6989019551

1289.2347326071

1501.5627071628

1054.1295856008

1299.986138055

1500.6453926617

1044.6164516619

1302.9651432724

1493.4779109118

1026.594875399

1298.992412036

1497.891276319

1018.9655027738

1300.979501934

1497.891276319

1015.9087851643

1299.986138055

1497.891276319

1015.9087851643

1300.979501934

1509.6194593004

1020.0564995685

1309.7054885974

1503.3962497454

1032.9029129413

1321.3622289586

1505.9607757809

1033.9892743453

1327.0733295837

1510.5332248306

1021.1471342233

1328.0567708297

1500.6453926617

1038.1141449649

1332.7722478228

1504.1292611817

1056.0719990919

1338.4589836758

1506.8759898706

1070.9248551186

1346.0874550263

1505.0451995513

1075.0026620375

1348.0399243503

1503.3962497454

1078.2182894623

1354.6674848264

1504.1292611817

1087.6319942716

1353.888640965

1500.6453926617

1091.6883335375

1353.888640965

1498.8096772398

1095.9525149613

1346.0874550263

1491.6365461075

1099.9981204007

1378.5037938197

1493.4779109118

1115.704844019

1385.0540301854

1498.8096772398

1121.8385474159

1372.710267325

1488.8717828519

1135.1215100214

1375.6086602019

1488.8717828519

1125.0063723745

1377.5391114203

1479.0768496383

1119.7248534106

1372.710267325

1469.9849571634

1117.6097108458

1374.6428913828

1474.4424746666

1120.7818814832

1374.6428913828

1472.7718833806

1117.6097108458

1376.574066881

1474.4424746666

1117.6097108458

1373.6767604239

1471.8432701148

1121.8385474159

1376.574066881

1467.1947716871

1145.4129546842

1373.6767604239

1467.1947716871

1154.6246144034

1373.6767604239

1463.6558579031

1153.5792472355

1375.6086602019

1463.6558579031

1155.6696194315

1374.6428913828

1471.8432701148

1160.8892124734

1380.239309546

1470.914294709

1166.9325981804

1393.5059493763

1465.3328373368

1177.1161541257

1393.5059493763

1467.1947716871

1185.1965760651

1392.5469163593

1463.6558579031

1185.1965760651

1394.4646202534

1475.3700739407

1183.1267734151

1406.5128451589

1469.9849571634

1184.1618558101

1401.9298244538

1477.2241860693

1182.0913288803

1403.6494349959

1469.9849571634

1184.1618558101

1397.1469721251

1472.7718833806

1186.2309341803

1400.017769942

1469.0552574779

1192.2230698494

1400.9739782678

1458.9914253201

1196.1423464079

1402.6942406618

1463.6558579031

1206.2258213718

1400.9739782678

1468.1251956524

1214.2265870199

1405.5587372445

1463.6558579031

1213.2020791099

1417.7439697445

1466.2639855819

1207.2527918331

1414.8933793338

1467.1947716871

1196.1423464079

1412.039529664

1467.1947716871

1202.320030903

1402.6942406618

1463.6558579031

1199.232818285

1409.3729960629

1458.9914253201

1197.1728658401

1413.9424582504

1455.440401578

1198.2030231325

1410.3256554178

1456.375388506

1196.1423464079

1410.3256554178

1458.0574523838

1196.1423464079

1410.3256554178

1454.5050525101

1188.091866195

1402.6942406618

1455.440401578

1182.0913288803

1405.5587372445

1457.310013294

1181.0555222056

1407.4665909335

1460.858284773

1181.0555222056

1417.7439697445

1470.914294709

1187.0581599317

1416.7941350808

1476.297311075

1199.232818285

1409.3729960629

1473.5145132525

1207.2527918331

1385.0540301854

1479.0768496383

1216.2745164202

1385.0540301854

1480.002638213

1221.183636858

1358.5582275906

1480.743008332

1222.2053200768

1358.5582275906

1485.3650705473

1223.2266411557

1345.3060617

1480.743008332

1223.2266411557

1336.6954383216

1479.0768496383

1226.2884315532

1341.3956185255

1478.1506989238

1228.327814452

1351.9405173197

1469.9849571634

1235.2508810823

1360.5014261334

1476.297311075

1241.142617087

1352.9147602123

1479.0768496383

1239.1123601135

1350.9659122872

1485.3650705473

1235.2508810823

1348.0399243503

1483.5173320808

1240.1276696702

1339.4382240989

1482.5929196378

1240.1276696702

1331.7905448483

1487.2113604541

1233.2164232861

1333.7535886573

1488.8717828519

1236.2675667706

1326.0895261979

1490.7153204955

1245.1987853552

1331.7905448483

1500.6453926617

1250.0585388824

1338.4589836758

1504.1292611817

1253.0916478002

1339.4382240989

1505.9607757809

1253.0916478002

1349.9909451148

1508.7053316304

1259.9546281792

1376.574066881

1507.7908418204

1273.6303528909

1381.2029779537

1512.1770901923

1273.6303528909

1385.0540301854

1512.1770901923

1273.6303528909

1365.1591925128

1510.5332248306

1266.8008632094

1353.888640965

1512.1770901923

1257.9378428098

1340.4171023822

1518.5587460236

1254.1019598263

1330.808479734

1513.0898417308

1259.9546281792

1328.0567708297

1510.5332248306

1280.4430972236

1322.1506912556

1514.0022311293

1285.4417849296

1329.0398499357

1520.1968750894

1289.2347326071

1324.1208330066

1516.7372264856

1310.6953035055

1317.4164409304

1522.0156423643

1318.4034311473

1314.4532974403

1518.5587460236

1317.4164409304

1316.4290885736

1515.8259235067

1326.0895261979

1303.9574207318

1520.1968750894

1324.1208330066

1301.9725036732

1516.7372264856

1330.808479734

1316.4290885736

1517.6481673246

1335.7151839067

1313.4648586638

1514.914258388

1334.734567352

1306.7338710338

1511.4466282208

1327.0733295837

1304.9493360512

1516.7372264856

1341.3956185255

1305.7426075661

1509.6194593004

1334.734567352

1301.9725036732

1506.8759898706

1324.1208330066

1303.9574207318

1507.7908418204

1332.7722478228

1309.7054885974

1504.1292611817

1332.7722478228

1306.7338710338

1503.3962497454

1319.3900592243

1314.4532974403

1500.6453926617

1323.135943201

1315.4413740769

1501.5627071628

1324.1208330066

1325.1053606722

1503.3962497454

1322.1506912556

1335.7151839067

1505.9607757809

1314.4532974403

1326.0895261979

1502.4796595241

1307.7247723615

1327.0733295837

1505.0451995513

1314.4532974403

1343.3515643926

1505.0451995513

1315.4413740769

1336.6954383216

1503.3962497454

1320.3763251614

1335.7151839067

1498.8096772398

1308.7153115494

1360.5014261334

1505.9607757809

1311.6847562736

1365.1591925128

1505.9607757809

1323.135943201

1351.9405173197

1507.7908418204

1321.3622289586

1342.373772529

1505.0451995513

1320.3763251614

1333.7535886573

1510.5332248306

1327.0733295837

1338.4589836758

1514.0022311293

1328.0567708297

1345.3060617

1509.6194593004

1327.0733295837

1342.373772529

1510.5332248306

1329.8260524798

1332.7722478228

1511.4466282208

1330.808479734

1355.6407137273

1507.7908418204

1331.7905448483

1346.0874550263

1505.0451995513

1341.3956185255

1349.0156158025

1497.891276319

1339.4382240989

1360.5014261334

1488.8717828519

1333.7535886573

1363.2194705131

1488.1339621977

1338.4589836758

1353.888640965

1490.7153204955

1338.4589836758

1356.6135804883

1490.7153204955

1336.6954383216

1370.002160064

1501.5627071628

1339.4382240989

1369.0342908336

1496.237242069

1338.4589836758

1377.5391114203

1496.237242069

1339.4382240989

1367.097465953

1494.3980501041

1342.373772529

1375.6086602019

1493.4779109118

1359.5300079319

1377.5391114203

1503.3962497454

1359.5300079319

1373.6767604239

1498.8096772398

1367.097465953

1374.6428913828

1496.237242069

1364.1895125829

1365.1591925128

1495.3178271565

1363.2194705131

1365.1591925128

1495.3178271565

1370.002160064

1365.1591925128

1498.8096772398

1393.5059493763

1367.097465953

1500.6453926617

1405.5587372445

1367.097465953

1505.9607757809

1410.3256554178

1365.1591925128

1506.8759898706

1414.8933793338

1368.0660594632

1499.7277160207

1422.2981351428

1372.710267325

1505.0451995513

1415.8439382772

1374.6428913828

1501.5627071628

1408.4199745681

1382.1662842215

1505.9607757809

1412.9911750271

1388.7071628923

1505.0451995513

1411.0875221609

1383.1292283493

1500.6453926617

1412.039529664

1392.5469163593

1498.8096772398

1410.3256554178

1404.6042671902

1501.5627071628

1421.3500387506

1410.3256554178

1501.5627071628

1423.2458693951

1413.9424582504

1498.8096772398

1437.0415489874

1420.4015802186

1494.3980501041

1441.7483519381

1415.8439382772

1478.1506989238

1442.5006002456

1421.3500387506

1469.0552574779

1458.0574523838

1424.1932415075

1467.1947716871

1456.375388506

1421.3500387506

1465.3328373368

1464.587658

1425.14025148

1464.587658

1451.696832467

1416.7941350808

1472.7718833806

1445.3194672015

1412.039529664

1464.587658

1442.5006002456

1415.8439382772

1465.3328373368

1444.3802070228

1410.3256554178

1467.1947716871

1449.8228750722

1408.4199745681

1462.7236956663

1444.3802070228

1402.6942406618

1464.587658

1441.7483519381

1400.017769942

1464.587658

1442.5006002456

1398.1042668707

1458.0574523838

1448.1350748984

1400.017769942

1457.310013294

1435.1562928278

1402.6942406618

1462.7236956663

1425.14025148

1400.017769942

1461.7911712896

1425.14025148

1404.6042671902

1460.858284773

1433.4583237658

1406.5128451589

1456.375388506

1427.7899528188

1402.6942406618

1453.5693413023

1446.2583652404

1402.6942406618

1452.6332679546

1458.0574523838

1401.9298244538

1446.2583652404

1464.587658

1409.3729960629

1449.0728865176

1468.1251956524

1409.3729960629

1447.1969011394

1469.9849571634

1415.8439382772

1451.696832467

1468.1251956524

1415.8439382772

1449.8228750722

1471.8432701148

1415.8439382772

1450.7600348396

1471.8432701148

1406.5128451589

1447.1969011394

1475.3700739407

1414.8933793338

1455.440401578

1465.3328373368

1415.8439382772

1462.7236956663

1474.4424746666

1413.9424582504

1461.7911712896

1470.914294709

1415.8439382772

1452.6332679546

1476.297311075

1421.3500387506

1457.310013294

1480.743008332

1422.2981351428

1454.5050525101

1483.5173320808

1419.4527595466

1458.0574523838

1474.4424746666

1424.1932415075

1448.1350748984

1481.6681450548

1426.0868993126

1448.1350748984

1479.0768496383

1426.0868993126

1448.1350748984

1488.1339621977

1428.7355866597

1436.0991019775

1489.7937327436

1429.6808583607

1440.8077156277

1485.3650705473

1425.14025148

1442.5006002456

1488.8717828519

1421.3500387506

1439.8667171775

1488.8717828519

1424.1932415075

1437.0415489874

1491.6365461075

1414.8933793338

1436.0991019775

1488.1339621977

1412.039529664

1442.5006002456

1485.3650705473

1411.0875221609

1437.0415489874

1488.1339621977

1410.3256554178

1443.4405847042

1490.7153204955

1420.4015802186

1445.3194672015

1491.6365461075

1417.7439697445

1439.8667171775

1492.5574095796

1413.9424582504

1442.5006002456

1490.7153204955

1418.5035767347

1448.1350748984

1488.1339621977

1419.4527595466

1443.4405847042

1487.2113604541

1421.3500387506

1446.2583652404

1488.8717828519

1423.2458693951

1449.0728865176

1481.6681450548

1422.2981351428

1449.0728865176

1483.5173320808

1420.4015802186

1441.7483519381

1483.5173320808

1425.14025148

1438.9253565873

1481.6681450548

1419.4527595466

1437.0415489874

1476.297311075

1416.7941350808

1438.9253565873

1471.8432701148

1422.2981351428

1439.8667171775

1469.9849571634

1425.14025148

1441.7483519381

1478.1506989238

1422.2981351428

1441.7483519381

1476.297311075

1425.14025148

1434.2131215382

1474.4424746666

1422.2981351428

1437.0415489874

1476.297311075

1420.4015802186

1437.0415489874

1469.9849571634

1413.9424582504

1441.7483519381

1470.914294709

1412.039529664

1447.1969011394

1468.1251956524

1408.4199745681

1451.696832467

1469.9849571634

1406.5128451589

1450.7600348396

1471.8432701148

1400.9739782678

1451.696832467

1467.1947716871

1397.1469721251

1447.1969011394

1467.1947716871

1400.017769942

1457.310013294

1463.6558579031

1400.017769942

1460.858284773

1457.310013294

1403.6494349959

1470.914294709

1449.0728865176

1399.0611994763

1468.1251956524

1446.2583652404

1402.6942406618

1472.7718833806

1443.4405847042

1436.0991019775

1471.8432701148

1436.0991019775

1448.1350748984

1468.1251956524

1435.1562928278

1449.0728865176

1470.914294709

1434.2131215382

1457.310013294

1468.1251956524

1438.9253565873

1459.9250361165

1467.1947716871

1437.9836338573

1457.310013294

1465.3328373368

1439.8667171775

1455.440401578

1464.587658

1447.1969011394

1457.310013294

1462.7236956663

1451.696832467

1457.310013294

1465.3328373368

1477.2241860693

1455.440401578

1464.587658

1476.297311075

1457.310013294

1468.1251956524

1474.4424746666

1452.6332679546

1467.1947716871

1473.5145132525

1449.8228750722

1470.914294709

1469.0552574779

1446.2583652404

1471.8432701148

1469.9849571634

1449.0728865176

1472.7718833806

1469.9849571634

1448.1350748984

1474.4424746666

1469.0552574779

1453.5693413023

1472.7718833806

1469.0552574779

1455.440401578

1470.914294709

1468.1251956524

1453.5693413023

1469.9849571634

1469.0552574779

1457.310013294

1470.914294709

1469.9849571634

1458.9914253201

1472.7718833806

1464.587658

1456.375388506

1468.1251956524

1467.1947716871

1458.9914253201

1467.1947716871

1467.1947716871

1456.375388506

1464.587658

1468.1251956524

1457.310013294

1467.1947716871

1467.1947716871

1459.9250361165

1465.3328373368

1463.6558579031

1454.5050525101

1466.2639855819

1468.1251956524

1457.310013294

1464.587658

1464.587658

1457.310013294

1464.587658

1465.3328373368

1458.0574523838

1464.587658

1467.1947716871

1457.310013294

1467.1947716871

1467.1947716871

1458.9914253201

1467.1947716871

1465.3328373368

1460.858284773

1460.858284773

1463.6558579031

1462.7236956663

1458.0574523838

1461.7911712896

1464.587658

1453.5693413023

1457.310013294

1464.587658

1452.6332679546

1457.310013294

1460.858284773

1454.5050525101

1455.440401578

1454.5050525101

1457.310013294

1449.8228750722

1450.7600348396

1463.6558579031

1441.7483519381

1451.696832467

1462.7236956663

1439.8667171775

1448.1350748984

1461.7911712896

1435.1562928278

1447.1969011394

1460.858284773

1433.4583237658

1447.1969011394

1462.7236956663

1437.9836338573

1445.3194672015

1458.9914253201

1438.9253565873

1446.2583652404

1456.375388506

1448.1350748984

1447.1969011394

1453.5693413023

1442.5006002456

1449.0728865176

1445.3194672015

1443.4405847042

1445.3194672015

1437.0415489874

1450.7600348396

1448.1350748984

1437.9836338573

1451.696832467

1449.0728865176

1429.6808583607

1450.7600348396

1445.3194672015

1420.4015802186

1441.7483519381

1447.1969011394

1424.1932415075

1439.8667171775

1445.3194672015

1426.0868993126

1438.9253565873

1445.3194672015

1422.2981351428

1432.5145006243

1439.8667171775

1423.2458693951

1426.0868993126

1442.5006002456

1422.2981351428

1426.0868993126

1438.9253565873

1428.7355866597

1434.2131215382

1437.0415489874

1431.570315343

1437.9836338573

1432.5145006243

1436.0991019775

1424.1932415075

1437.0415489874

1431.570315343

1435.1562928278

1437.0415489874

1435.1562928278

1435.1562928278

1437.0415489874

1432.5145006243

1437.9836338573

1431.570315343

1430.6257679218

1439.8667171775

1434.2131215382

1426.0868993126

1445.3194672015

1434.2131215382

1427.7899528188

1446.2583652404

1439.8667171775

1427.7899528188

1451.696832467

1441.7483519381

1426.843956838

1449.8228750722

1443.4405847042

1428.7355866597

1449.0728865176

1443.4405847042

1429.6808583607

1446.2583652404

1439.8667171775

1434.2131215382

1449.8228750722

1443.4405847042

1428.7355866597

1448.1350748984

1444.3802070228

1426.843956838

1445.3194672015

1444.3802070228

1421.3500387506

1445.3194672015

1444.3802070228

1418.5035767347

1454.5050525101

1447.1969011394

1420.4015802186

1460.858284773

1450.7600348396

1426.0868993126

1458.9914253201

1453.5693413023

1422.2981351428

1460.858284773

1452.6332679546

1412.9911750271

1461.7911712896

1452.6332679546

1415.8439382772

1462.7236956663

1449.0728865176

1420.4015802186

1460.858284773

1454.5050525101

1419.4527595466

1461.7911712896

1453.5693413023

1418.5035767347

1459.9250361165

1454.5050525101

1416.7941350808

1458.9914253201

1453.5693413023

1421.3500387506

1459.9250361165

1454.5050525101

1421.3500387506

1460.858284773

1452.6332679546

1420.4015802186

1461.7911712896

1454.5050525101

1419.4527595466

1466.2639855819

1452.6332679546

1421.3500387506

1467.1947716871

1454.5050525101

1422.2981351428

1467.1947716871

1451.696832467

1421.3500387506

1457.310013294

1450.7600348396

1419.4527595466

1454.5050525101

1451.696832467

1416.7941350808

1452.6332679546

1454.5050525101

1408.4199745681

1450.7600348396

1452.6332679546

1408.4199745681

1450.7600348396

1454.5050525101

1408.4199745681

1451.696832467

1455.440401578

1408.4199745681

1452.6332679546

1457.310013294

1411.0875221609

1456.375388506

1452.6332679546

1412.039529664

1460.858284773

1458.0574523838

1416.7941350808

1461.7911712896

1453.5693413023

1414.8933793338

1463.6558579031

1457.310013294

1414.8933793338

1466.2639855819

1452.6332679546

1413.9424582504

1469.9849571634

1451.696832467

1415.8439382772

1468.1251956524

1449.8228750722

1419.4527595466

1471.8432701148

1445.3194672015

1418.5035767347

1475.3700739407

1447.1969011394

1419.4527595466

1471.8432701148

1444.3802070228

1419.4527595466

1469.0552574779

1446.2583652404

1418.5035767347

1464.587658

1442.5006002456

1422.2981351428

1465.3328373368

1448.1350748984

1424.1932415075

1461.7911712896

1446.2583652404

1426.0868993126

1461.7911712896

1442.5006002456

1423.2458693951

1461.7911712896

1443.4405847042

1421.3500387506

1460.858284773

1440.8077156277

1414.8933793338

1453.5693413023

1442.5006002456

1413.9424582504

1444.3802070228

1443.4405847042

1412.9911750271

1447.1969011394

1435.1562928278

1412.9911750271

1448.1350748984

1437.0415489874

1412.039529664

1450.7600348396

1433.4583237658

1406.5128451589

1449.0728865176

1437.0415489874

1407.4665909335

1450.7600348396

1440.8077156277

1409.3729960629

1449.0728865176

1431.570315343

1409.3729960629

1455.440401578

1435.1562928278

1410.3256554178

1450.7600348396

1433.4583237658

1412.9911750271

1450.7600348396

1431.570315343

1412.9911750271

1449.0728865176

1433.4583237658

1413.9424582504

1445.3194672015

1427.7899528188

1418.5035767347

1443.4405847042

1432.5145006243

1415.8439382772

1442.5006002456

1436.0991019775

1410.3256554178

1429.6808583607

1437.9836338573

1411.0875221609

1433.4583237658

1434.2131215382

1410.3256554178

1433.4583237658

1439.8667171775

1411.0875221609

1424.1932415075

1439.8667171775

1411.0875221609

1425.14025148

1435.1562928278

1415.8439382772

1426.0868993126

1438.9253565873

1410.3256554178

1426.843956838

1442.5006002456

1410.3256554178

1426.0868993126

1437.9836338573

1409.3729960629

1426.843956838

1427.7899528188

1410.3256554178

1429.6808583607

1426.843956838

1406.5128451589

1435.1562928278

1433.4583237658

1407.4665909335

1438.9253565873

1431.570315343

1412.9911750271

1450.7600348396

1430.6257679218

1412.039529664

1452.6332679546

1430.6257679218

1412.039529664

1458.0574523838

1425.14025148

1418.5035767347

1459.9250361165

1429.6808583607

1417.7439697445

1461.7911712896

1432.5145006243

1416.7941350808

1459.9250361165

1431.570315343

1412.9911750271

1461.7911712896

1434.2131215382

1415.8439382772

1458.9914253201

1432.5145006243

1417.7439697445

1458.9914253201

1437.0415489874

1415.8439382772

1458.0574523838

1441.7483519381

1412.039529664

1455.440401578

1438.9253565873

1415.8439382772

1456.375388506

1435.1562928278

1411.0875221609

1449.8228750722

1427.7899528188

1416.7941350808

1449.8228750722

1429.6808583607

1413.9424582504

1452.6332679546

1426.0868993126

1415.8439382772

1453.5693413023

1425.14025148

1417.7439697445

1455.440401578

1427.7899528188

1419.4527595466

1449.8228750722

1424.1932415075

1420.4015802186

1449.8228750722

1425.14025148

1418.5035767347

1445.3194672015

1428.7355866597

1417.7439697445

1452.6332679546

1428.7355866597

1420.4015802186

1440.8077156277

1431.570315343

1416.7941350808

1437.9836338573

1429.6808583607

1418.5035767347

1439.8667171775

1429.6808583607

1419.4527595466

1441.7483519381

1426.0868993126

1417.7439697445

1445.3194672015

1432.5145006243

1423.2458693951

1446.2583652404

1433.4583237658

1421.3500387506

1445.3194672015

1437.0415489874

1424.1932415075

1450.7600348396

1446.2583652404

1425.14025148

1446.2583652404

1441.7483519381

1421.3500387506

1444.3802070228

1441.7483519381

1413.9424582504

1448.1350748984

1440.8077156277

1418.5035767347

1444.3802070228

1437.0415489874

1417.7439697445

1444.3802070228

1438.9253565873

1412.039529664

1440.8077156277

1438.9253565873

1410.3256554178

1440.8077156277

1439.8667171775

1416.7941350808

1442.5006002456

1439.8667171775

1414.8933793338

1437.9836338573

1432.5145006243

1408.4199745681

1444.3802070228

1435.1562928278

1406.5128451589

1446.2583652404

1436.0991019775

1409.3729960629

1442.5006002456

1437.0415489874

1402.6942406618

1441.7483519381

1438.9253565873

1404.6042671902

1440.8077156277

1437.9836338573

1406.5128451589

1442.5006002456

1438.9253565873

1405.5587372445

1442.5006002456

1434.2131215382

1410.3256554178

1438.9253565873

1435.1562928278

1421.3500387506

1441.7483519381

1432.5145006243

1421.3500387506

1444.3802070228

1434.2131215382

1421.3500387506

1443.4405847042

1436.0991019775

1418.5035767347

1444.3802070228

1428.7355866597

1419.4527595466

1439.8667171775

1433.4583237658

1412.9911750271

1441.7483519381

1423.2458693951

1412.039529664

1445.3194672015

1427.7899528188

1412.9911750271

1446.2583652404

1426.843956838

1410.3256554178

1448.1350748984

1423.2458693951

1405.5587372445

1448.1350748984

1426.843956838

1415.8439382772

1446.2583652404

1424.1932415075

1416.7941350808

1447.1969011394

1429.6808583607

1411.0875221609

1451.696832467

1430.6257679218

1407.4665909335

1451.696832467

1427.7899528188

1413.9424582504

1455.440401578

1427.7899528188

1409.3729960629

1457.310013294

1427.7899528188

1412.9911750271

1456.375388506

1423.2458693951

1405.5587372445

1452.6332679546

1425.14025148

1408.4199745681

1455.440401578

1418.5035767347

1407.4665909335

1457.310013294

1420.4015802186

1403.6494349959

1458.0574523838

1425.14025148

1400.9739782678

1458.0574523838

1424.1932415075

1408.4199745681

1456.375388506

1419.4527595466

1405.5587372445

1456.375388506

1412.9911750271

1403.6494349959

1458.0574523838

1411.0875221609

1405.5587372445

1461.7911712896

1410.3256554178

1405.5587372445

1458.9914253201

1420.4015802186

1405.5587372445

1453.5693413023

1417.7439697445

1401.9298244538

1456.375388506

1425.14025148

1404.6042671902

1458.9914253201

1423.2458693951

1401.9298244538

1458.0574523838

1418.5035767347

1401.9298244538

1458.9914253201

1419.4527595466

1397.1469721251

1454.5050525101

1418.5035767347

1397.1469721251

1458.9914253201

1422.2981351428

1400.9739782678

1461.7911712896

1419.4527595466

1394.4646202534

1463.6558579031

1420.4015802186

1391.5875212024

1457.310013294

1421.3500387506

1389.6676444689

1461.7911712896

1414.8933793338

1396.1893152397

1458.9914253201

1414.8933793338

1397.1469721251

1458.9914253201

1413.9424582504

1399.0611994763

1460.858284773

1412.039529664

1395.2312962144

1459.9250361165

1415.8439382772

1401.9298244538

1461.7911712896

1412.9911750271

1400.017769942

1465.3328373368

1417.7439697445

1397.1469721251

1462.7236956663

1414.8933793338

1400.017769942

1462.7236956663

1418.5035767347

1394.4646202534

1463.6558579031

1416.7941350808

1398.1042668707

1460.858284773

1415.8439382772

1396.1893152397

1458.0574523838

1417.7439697445

1389.6676444689

1458.9914253201

1420.4015802186

1388.7071628923

1458.9914253201

1418.5035767347

1394.4646202534

1457.310013294

1426.843956838

1391.5875212024

1458.9914253201

1424.1932415075

1381.2029779537

1454.5050525101

1420.4015802186

1386.7851133194

1453.5693413023

1424.1932415075

1386.0158878936

1453.5693413023

1419.4527595466

1383.1292283493

1456.375388506

1420.4015802186

1378.5037938197

1453.5693413023

1418.5035767347

1375.6086602019

1452.6332679546

1423.2458693951

1383.1292283493

1446.2583652404

1421.3500387506

1385.0540301854

1443.4405847042

1424.1932415075

1378.5037938197

1442.5006002456

1426.0868993126

1384.0918103373

1441.7483519381

1424.1932415075

1383.1292283493

1448.1350748984

1419.4527595466

1384.0918103373

1447.1969011394

1423.2458693951

1379.2752789985

1447.1969011394

1421.3500387506

1385.0540301854

1453.5693413023

1417.7439697445

1383.1292283493

1449.0728865176

1421.3500387506

1384.0918103373

1449.0728865176

1417.7439697445

1386.0158878936

1451.696832467

1419.4527595466

1386.0158878936

1449.8228750722

1416.7941350808

1373.6767604239

1451.696832467

1417.7439697445

1384.0918103373

1452.6332679546

1418.5035767347

1379.2752789985

1448.1350748984

1421.3500387506

1383.1292283493

1449.0728865176

1426.0868993126

1382.1662842215

1448.1350748984

1427.7899528188

1375.6086602019

1452.6332679546

1424.1932415075

1387.7463191758

1454.5050525101

1426.843956838

1386.0158878936

1450.7600348396

1435.1562928278

1389.6676444689

1452.6332679546

1432.5145006243

1398.1042668707

1451.696832467

1429.6808583607

1388.7071628923

1449.8228750722

1429.6808583607

1386.0158878936

1448.1350748984

1429.6808583607

1392.5469163593

1450.7600348396

1428.7355866597

1390.6277639056

1450.7600348396

1428.7355866597

1391.5875212024

1455.440401578

1426.0868993126

1397.1469721251

1449.8228750722

1432.5145006243

1399.0611994763

1449.0728865176

1430.6257679218

1398.1042668707

1451.696832467

1429.6808583607

1399.0611994763

1448.1350748984

1427.7899528188

1396.1893152397

1447.1969011394

1438.9253565873

1390.6277639056

1446.2583652404

1441.7483519381

1389.6676444689

1449.0728865176

1435.1562928278

1392.5469163593

1451.696832467

1435.1562928278

1388.7071628923

1450.7600348396

1437.0415489874

1385.0540301854

1453.5693413023

1433.4583237658

1386.7851133194

1449.8228750722

1436.0991019775

1392.5469163593

1447.1969011394

1426.843956838

1386.7851133194

1446.2583652404

1431.570315343

1384.0918103373

1449.8228750722

1427.7899528188

1383.1292283493

1453.5693413023

1431.570315343

1386.7851133194

1457.310013294

1429.6808583607

1386.7851133194

1454.5050525101

1427.7899528188

1390.6277639056

1459.9250361165

1433.4583237658

1393.5059493763

1453.5693413023

1434.2131215382

1385.0540301854

1458.0574523838

1432.5145006243

1386.7851133194

1457.310013294

1430.6257679218

1388.7071628923

1455.440401578

1437.0415489874

1385.0540301854

1458.0574523838

1436.0991019775

1384.0918103373

1452.6332679546

1442.5006002456

1386.0158878936

1451.696832467

1439.8667171775

1388.7071628923

1454.5050525101

1435.1562928278

1389.6676444689

1450.7600348396

1428.7355866597

1389.6676444689

1453.5693413023

1430.6257679218

1392.5469163593

1454.5050525101

1429.6808583607

1390.6277639056

1454.5050525101

1432.5145006243

1389.6676444689

1454.5050525101

1436.0991019775

1389.6676444689

1452.6332679546

1438.9253565873

1385.0540301854

1449.0728865176

1437.9836338573

1391.5875212024

1454.5050525101

1439.8667171775

1391.5875212024

1454.5050525101

1435.1562928278

1387.7463191758

1452.6332679546

1432.5145006243

1388.7071628923

1456.375388506

1432.5145006243

1386.0158878936

1455.440401578

1431.570315343

1386.0158878936

1455.440401578

1432.5145006243

1387.7463191758

1454.5050525101

1431.570315343

1390.6277639056

1452.6332679546

1430.6257679218

1390.6277639056

1448.1350748984

1429.6808583607

1390.6277639056

1449.8228750722

1429.6808583607

1384.0918103373

1453.5693413023

1429.6808583607

1386.7851133194

1448.1350748984

1433.4583237658

1386.7851133194

1445.3194672015

1428.7355866597

1381.2029779537

1442.5006002456

1427.7899528188

1382.1662842215

1445.3194672015

1429.6808583607

1386.0158878936

1445.3194672015

1427.7899528188

1378.5037938197

1437.9836338573

1426.0868993126

1376.574066881

1440.8077156277

1424.1932415075

1377.5391114203

1443.4405847042

1422.2981351428

1373.6767604239

1440.8077156277

1421.3500387506

1374.6428913828

1445.3194672015

1425.14025148

1376.574066881

1444.3802070228

1424.1932415075

1376.574066881

1440.8077156277

1421.3500387506

1378.5037938197

1443.4405847042

1421.3500387506

1376.574066881

1430.6257679218

1421.3500387506

1368.0660594632

1434.2131215382

1426.0868993126

1364.1895125829

1433.4583237658

1429.6808583607

1368.0660594632

1432.5145006243

1428.7355866597

1369.0342908336

1428.7355866597

1423.2458693951

1366.1285103029

1427.7899528188

1424.1932415075

1367.097465953

1431.570315343

1431.570315343

1369.0342908336

1435.1562928278

1428.7355866597

1365.1591925128

1436.0991019775

1435.1562928278

1370.7761947076

1438.9253565873

1438.9253565873

1370.7761947076

1433.4583237658

1438.9253565873

1375.6086602019

1434.2131215382

1437.0415489874

1381.2029779537

1434.2131215382

1439.8667171775

1384.0918103373

1433.4583237658

1439.8667171775

1386.0158878936

1433.4583237658

1436.0991019775

1384.0918103373

1433.4583237658

1437.9836338573

1382.1662842215

1434.2131215382

1434.2131215382

1380.239309546

1434.2131215382

1435.1562928278

1381.2029779537

1430.6257679218

1434.2131215382

1375.6086602019

1433.4583237658

1432.5145006243

1371.7434120863

1428.7355866597

1435.1562928278

1374.6428913828

1432.5145006243

1439.8667171775

1377.5391114203

1435.1562928278

1443.4405847042

1376.574066881

1435.1562928278

1438.9253565873

1374.6428913828

1434.2131215382

1436.0991019775

1379.2752789985

1436.0991019775

1435.1562928278

1384.0918103373

1435.1562928278

1429.6808583607

1383.1292283493

1435.1562928278

1433.4583237658

1384.0918103373

1438.9253565873

1426.0868993126

1382.1662842215

1440.8077156277

1425.14025148

1382.1662842215

1440.8077156277

1423.2458693951

1383.1292283493

1442.5006002456

1425.14025148

1385.0540301854

1437.9836338573

1420.4015802186

1385.0540301854

1437.9836338573

1427.7899528188

1382.1662842215

1442.5006002456

1423.2458693951

1386.0158878936

1445.3194672015

1423.2458693951

1393.5059493763

1449.0728865176

1424.1932415075

1390.6277639056

1448.1350748984

1420.4015802186

1387.7463191758

1451.696832467

1422.2981351428

1386.7851133194

1451.696832467

1420.4015802186

1386.0158878936

1449.8228750722

1423.2458693951

1386.0158878936

1453.5693413023

1420.4015802186

1389.6676444689

1450.7600348396

1416.7941350808

1389.6676444689

1449.0728865176

1413.9424582504

1388.7071628923

1447.1969011394

1413.9424582504

1388.7071628923

1449.0728865176

1412.039529664

1387.7463191758

1449.0728865176

1410.3256554178

1385.0540301854

1448.1350748984

1409.3729960629

1381.2029779537

1449.0728865176

1412.039529664

1377.5391114203

1448.1350748984

1407.4665909335

1379.2752789985

1448.1350748984

1412.039529664

1375.6086602019

1449.0728865176

1402.6942406618

1372.710267325

1451.696832467

1401.9298244538

1376.574066881

1450.7600348396

1408.4199745681

1374.6428913828

1452.6332679546

1408.4199745681

1379.2752789985

1452.6332679546

1412.039529664

1379.2752789985

1451.696832467

1415.8439382772

1376.574066881

1449.8228750722

1419.4527595466

1377.5391114203

1449.0728865176

1423.2458693951

1373.6767604239

1448.1350748984

1417.7439697445

1371.7434120863

1449.8228750722

1418.5035767347

1372.710267325

1448.1350748984

1417.7439697445

1372.710267325

1443.4405847042

1421.3500387506

1376.574066881

1448.1350748984

1422.2981351428

1381.2029779537

1449.0728865176

1414.8933793338

1379.2752789985

1441.7483519381

1415.8439382772

1374.6428913828

1438.9253565873

1414.8933793338

1377.5391114203

1441.7483519381

1412.9911750271

1375.6086602019

1440.8077156277

1408.4199745681

1378.5037938197

1442.5006002456

1406.5128451589

1377.5391114203

1437.0415489874

1398.1042668707

1376.574066881

1440.8077156277

1398.1042668707

1374.6428913828

1442.5006002456

1400.017769942

1376.574066881

1440.8077156277

1398.1042668707

1378.5037938197

1439.8667171775

1400.9739782678

1377.5391114203

1431.570315343

1403.6494349959

1378.5037938197

1426.0868993126

1402.6942406618

1373.6767604239

1422.2981351428

1407.4665909335

1376.574066881

1423.2458693951

1403.6494349959

1375.6086602019

1427.7899528188

1402.6942406618

1378.5037938197

1424.1932415075

1415.8439382772

1376.574066881

1428.7355866597

1416.7941350808

1373.6767604239

1426.843956838

1412.9911750271

1374.6428913828

1435.1562928278

1415.8439382772

1378.5037938197

1437.0415489874

1413.9424582504

1377.5391114203

1438.9253565873

1420.4015802186

1379.2752789985

1440.8077156277

1412.9911750271

1376.574066881

1442.5006002456

1415.8439382772

1379.2752789985

1441.7483519381

1411.0875221609

1377.5391114203

1441.7483519381

1406.5128451589

1376.574066881

1439.8667171775

1409.3729960629

1378.5037938197

1446.2583652404

1409.3729960629

1381.2029779537

1441.7483519381

1413.9424582504

1381.2029779537

1444.3802070228

1412.039529664

1386.0158878936

1445.3194672015

1404.6042671902

1381.2029779537

1443.4405847042

1403.6494349959

1376.574066881

1439.8667171775

1402.6942406618

1380.239309546

1430.6257679218

1405.5587372445

1382.1662842215

1429.6808583607

1405.5587372445

1376.574066881

1426.0868993126

1402.6942406618

1373.6767604239

1422.2981351428

1410.3256554178

1376.574066881

1417.7439697445

1410.3256554178

1374.6428913828

1409.3729960629

1413.9424582504

1370.7761947076

1412.039529664

1415.8439382772

1372.710267325

1412.9911750271

1408.4199745681

1372.710267325

1411.0875221609

1411.0875221609

1372.710267325

1409.3729960629

1412.9911750271

1370.7761947076

1409.3729960629

1417.7439697445

1373.6767604239

1419.4527595466

1415.8439382772

1365.1591925128

1417.7439697445

1417.7439697445

1370.002160064

1412.039529664

1423.2458693951

1373.6767604239

1414.8933793338

1418.5035767347

1373.6767604239

1417.7439697445

1414.8933793338

1371.7434120863

1419.4527595466

1418.5035767347

1375.6086602019

1418.5035767347

1419.4527595466

1376.574066881

1423.2458693951

1421.3500387506

1371.7434120863

1423.2458693951

1421.3500387506

1369.0342908336

1421.3500387506

1421.3500387506

1367.097465953

1422.2981351428

1418.5035767347

1370.7761947076

1425.14025148

1416.7941350808

1376.574066881

1426.0868993126

1415.8439382772

1380.239309546

1424.1932415075

1414.8933793338

1377.5391114203

1421.3500387506

1412.9911750271

1379.2752789985

1418.5035767347

1410.3256554178

1379.2752789985

1426.0868993126

1412.9911750271

1377.5391114203

1424.1932415075

1415.8439382772

1375.6086602019

1423.2458693951

1417.7439697445

1377.5391114203

1421.3500387506

1412.9911750271

1378.5037938197

1422.2981351428

1413.9424582504

1379.2752789985

1417.7439697445

1414.8933793338

1379.2752789985

1424.1932415075

1416.7941350808

1376.574066881

1427.7899528188

1420.4015802186

1375.6086602019

1424.1932415075

1421.3500387506

1370.7761947076

1430.6257679218

1420.4015802186

1370.002160064

1431.570315343

1419.4527595466

1372.710267325

1430.6257679218

1417.7439697445

1371.7434120863

1432.5145006243

1415.8439382772

1370.002160064

1431.570315343

1415.8439382772

1370.7761947076

1432.5145006243

1415.8439382772

1370.002160064

1427.7899528188

1421.3500387506

1368.0660594632

1429.6808583607

1416.7941350808

1364.1895125829

1429.6808583607

1411.0875221609

1366.1285103029

1432.5145006243

1412.9911750271

1369.0342908336

1431.570315343

1412.9911750271

1367.097465953

1435.1562928278

1411.0875221609

1368.0660594632

1438.9253565873

1415.8439382772

1370.002160064

1436.0991019775

1418.5035767347

1362.2490663034

1424.1932415075

1415.8439382772

1357.5860851094

1431.570315343

1413.9424582504

1370.7761947076

1422.2981351428

1408.4199745681

1372.710267325

1416.7941350808

1404.6042671902

1370.002160064

1422.2981351428

1400.9739782678

1366.1285103029

1426.843956838

1400.9739782678

1367.097465953

1431.570315343

1400.017769942

1369.0342908336

1424.1932415075

1405.5587372445

1370.002160064

1426.0868993126

1400.9739782678

1368.0660594632

1426.843956838

1394.4646202534

1367.097465953

1428.7355866597

1391.5875212024

1368.0660594632

1428.7355866597

1394.4646202534

1370.002160064

1426.843956838

1393.5059493763

1370.002160064

1424.1932415075

1403.6494349959

1374.6428913828

1427.7899528188

1408.4199745681

1375.6086602019

1431.570315343

1405.5587372445

1373.6767604239

1434.2131215382

1405.5587372445

1373.6767604239

1431.570315343

1405.5587372445

1370.002160064

1433.4583237658

1405.5587372445

1369.0342908336

1427.7899528188

1409.3729960629

1377.5391114203

1430.6257679218

1403.6494349959

1373.6767604239

1427.7899528188

1404.6042671902

1375.6086602019

1423.2458693951

1405.5587372445

1370.7761947076

1425.14025148

1408.4199745681

1372.710267325

1427.7899528188

1407.4665909335

1366.1285103029

1427.7899528188

1404.6042671902

1370.7761947076

1436.0991019775

1404.6042671902

1369.0342908336

1434.2131215382

1404.6042671902

1369.0342908336

1429.6808583607

1404.6042671902

1370.002160064

1430.6257679218

1404.6042671902

1369.0342908336

1432.5145006243

1408.4199745681

1370.7761947076

1432.5145006243

1406.5128451589

1370.7761947076

1429.6808583607

1409.3729960629

1370.7761947076

1413.9424582504

1407.4665909335

1375.6086602019

1411.0875221609

1408.4199745681

1372.710267325

1404.6042671902

1408.4199745681

1373.6767604239

1404.6042671902

1411.0875221609

1373.6767604239

1405.5587372445

1412.9911750271

1376.574066881

1407.4665909335

1414.8933793338

1374.6428913828

1407.4665909335

1415.8439382772

1374.6428913828

1409.3729960629

1412.9911750271

1369.0342908336

1417.7439697445

1413.9424582504

1372.710267325

1416.7941350808

1412.039529664

1370.002160064

1419.4527595466

1413.9424582504

1370.7761947076

1419.4527595466

1413.9424582504

1377.5391114203

1415.8439382772

1411.0875221609

1375.6086602019

1415.8439382772

1414.8933793338

1377.5391114203

1416.7941350808

1415.8439382772

1371.7434120863

1419.4527595466

1415.8439382772

1376.574066881

1417.7439697445

1415.8439382772

1375.6086602019

1418.5035767347

1412.9911750271

1375.6086602019

1409.3729960629

1416.7941350808

1368.0660594632

1408.4199745681

1410.3256554178

1367.097465953

1406.5128451589

1410.3256554178

1368.0660594632

1412.9911750271

1417.7439697445

1366.1285103029

1417.7439697445

1412.9911750271

1366.1285103029

1408.4199745681

1408.4199745681

1370.7761947076

1410.3256554178

1412.039529664

1368.0660594632

1412.9911750271

1405.5587372445

1370.002160064

1416.7941350808

1400.9739782678

1374.6428913828

1414.8933793338

1403.6494349959

1371.7434120863

1417.7439697445

1407.4665909335

1369.0342908336

1413.9424582504

1409.3729960629

1367.097465953

1413.9424582504

1412.9911750271

1367.097465953

1421.3500387506

1402.6942406618

1367.097465953

1416.7941350808

1410.3256554178

1366.1285103029

1419.4527595466

1404.6042671902

1365.1591925128

1418.5035767347

1417.7439697445

1359.5300079319

1419.4527595466

1412.9911750271

1362.2490663034

1418.5035767347

1420.4015802186

1361.4724821949

1426.0868993126

1416.7941350808

1369.0342908336

1425.14025148

1420.4015802186

1367.097465953

1431.570315343

1421.3500387506

1369.0342908336

1426.843956838

1415.8439382772

1365.1591925128

1434.2131215382

1417.7439697445

1362.2490663034

1440.8077156277

1416.7941350808

1361.4724821949

1434.2131215382

1414.8933793338

1365.1591925128

1434.2131215382

1411.0875221609

1358.5582275906

1437.0415489874

1410.3256554178

1361.4724821949

1433.4583237658

1411.0875221609

1365.1591925128

1437.9836338573

1410.3256554178

1367.097465953

1435.1562928278

1406.5128451589

1371.7434120863

1433.4583237658

1412.039529664

1373.6767604239

1436.0991019775

1410.3256554178

1369.0342908336

1430.6257679218

1412.9911750271

1371.7434120863

1432.5145006243

1414.8933793338

1370.002160064

1433.4583237658

1414.8933793338

1365.1591925128

1428.7355866597

1416.7941350808

1370.7761947076

1426.843956838

1413.9424582504

1365.1591925128

1428.7355866597

1418.5035767347

1370.002160064

1429.6808583607

1422.2981351428

1365.1591925128

1426.843956838

1421.3500387506

1373.6767604239

1423.2458693951

1426.843956838

1363.2194705131

1418.5035767347

1424.1932415075

1364.1895125829

1421.3500387506

1420.4015802186

1364.1895125829

1418.5035767347

1419.4527595466

1361.4724821949

1417.7439697445

1413.9424582504

1364.1895125829

1416.7941350808

1413.9424582504

1368.0660594632

1417.7439697445

1417.7439697445

1367.097465953

1419.4527595466

1412.9911750271

1366.1285103029

1429.6808583607

1412.9911750271

1367.097465953

1430.6257679218

1412.9911750271

1370.002160064

1437.9836338573

1408.4199745681

1370.7761947076

1432.5145006243

1412.9911750271

1365.1591925128

1432.5145006243

1411.0875221609

1375.6086602019

1429.6808583607

1415.8439382772

1369.0342908336

1434.2131215382

1408.4199745681

1370.7761947076

1433.4583237658

1411.0875221609

1368.0660594632

1437.0415489874

1413.9424582504

1369.0342908336

1437.0415489874

1412.039529664

1365.1591925128

1437.0415489874

1407.4665909335

1371.7434120863

1433.4583237658

1409.3729960629

1370.7761947076

1432.5145006243

1406.5128451589

1374.6428913828

1436.0991019775

1402.6942406618

1376.574066881

1431.570315343

1406.5128451589

1363.2194705131

1430.6257679218

1406.5128451589

1370.7761947076

1420.4015802186

1401.9298244538

1374.6428913828

1429.6808583607

1408.4199745681

1372.710267325

1427.7899528188

1408.4199745681

1374.6428913828

1421.3500387506

1411.0875221609

1369.0342908336

1423.2458693951

1411.0875221609

1370.7761947076

1417.7439697445

1404.6042671902

1370.7761947076

1419.4527595466

1409.3729960629

1368.0660594632

1420.4015802186

1406.5128451589

1376.574066881

1414.8933793338

1414.8933793338

1372.710267325

1412.9911750271

1411.0875221609

1368.0660594632

1412.9911750271

1401.9298244538

1370.7761947076

1409.3729960629

1400.017769942

1362.2490663034

1408.4199745681

1406.5128451589

1370.7761947076

1409.3729960629

1403.6494349959

1363.2194705131

1409.3729960629

1398.1042668707

1366.1285103029

1409.3729960629

1396.1893152397

1366.1285103029

1408.4199745681

1398.1042668707

1367.097465953

1409.3729960629

1395.2312962144

1368.0660594632

1412.9911750271

1395.2312962144

1366.1285103029

1412.9911750271

1396.1893152397

1367.097465953

1413.9424582504

1400.017769942

1369.0342908336

1408.4199745681

1402.6942406618

1370.002160064

1409.3729960629

1395.2312962144

1371.7434120863

1412.9911750271

1398.1042668707

1382.1662842215

1410.3256554178

1393.5059493763

1383.1292283493

1412.9911750271

1393.5059493763

1382.1662842215

1413.9424582504

1399.0611994763

1386.7851133194

1416.7941350808

1399.0611994763

1386.7851133194

1417.7439697445

1394.4646202534

1386.7851133194

1419.4527595466

1408.4199745681

1387.7463191758

1411.0875221609

1397.1469721251

1380.239309546

1408.4199745681

1400.017769942

1378.5037938197

1412.9911750271

1393.5059493763

1379.2752789985

1413.9424582504

1390.6277639056

1379.2752789985

1418.5035767347

1396.1893152397

1377.5391114203

1417.7439697445

1398.1042668707

1370.002160064

1417.7439697445

1390.6277639056

1371.7434120863

1422.2981351428

1390.6277639056

1376.574066881

1424.1932415075

1393.5059493763

1377.5391114203

1424.1932415075

1389.6676444689

1374.6428913828

1420.4015802186

1386.7851133194

1372.710267325

1414.8933793338

1387.7463191758

1370.002160064

1416.7941350808

1392.5469163593

1365.1591925128

1419.4527595466

1393.5059493763

1369.0342908336

1418.5035767347

1392.5469163593

1365.1591925128

1415.8439382772

1390.6277639056

1362.2490663034

1412.9911750271

1385.0540301854

1355.6407137273

1416.7941350808

1391.5875212024

1352.9147602123

1412.9911750271

1390.6277639056

1359.5300079319

1410.3256554178

1391.5875212024

1361.4724821949

1407.4665909335

1399.0611994763

1355.6407137273

1407.4665909335

1393.5059493763

1358.5582275906

1410.3256554178

1395.2312962144

1355.6407137273

1408.4199745681

1390.6277639056

1353.888640965

1407.4665909335

1385.0540301854

1360.5014261334

1408.4199745681

1377.5391114203

1350.9659122872

1402.6942406618

1385.0540301854

1353.888640965

1403.6494349959

1382.1662842215

1355.6407137273

1401.9298244538

1382.1662842215

1352.9147602123

1400.9739782678

1384.0918103373

1346.0874550263

1400.9739782678

1382.1662842215

1348.0399243503

1397.1469721251

1383.1292283493

1346.0874550263

1401.9298244538

1380.239309546

1349.0156158025

1400.017769942

1374.6428913828

1347.0638707583

1403.6494349959

1373.6767604239

1346.0874550263

1399.0611994763

1367.097465953

1351.9405173197

1398.1042668707

1364.1895125829

1344.3289941162

1405.5587372445

1369.0342908336

1346.0874550263

1402.6942406618

1368.0660594632

1349.0156158025

1400.9739782678

1372.710267325

1353.888640965

1406.5128451589

1373.6767604239

1357.5860851094

1402.6942406618

1371.7434120863

1352.9147602123

1402.6942406618

1376.574066881

1348.0399243503

1400.9739782678

1377.5391114203

1345.3060617

1404.6042671902

1370.002160064

1344.3289941162

1406.5128451589

1373.6767604239

1355.6407137273

1402.6942406618

1383.1292283493

1356.6135804883

1403.6494349959

1386.7851133194

1352.9147602123

1400.017769942

1386.7851133194

1359.5300079319

1400.017769942

1380.239309546

1366.1285103029

1400.9739782678

1386.7851133194

1355.6407137273

1399.0611994763

1386.0158878936

1360.5014261334

1394.4646202534

1384.0918103373

1370.002160064

1402.6942406618

1386.0158878936

1362.2490663034

1402.6942406618

1387.7463191758

1363.2194705131

1404.6042671902

1379.2752789985

1361.4724821949

1403.6494349959

1375.6086602019

1352.9147602123

1402.6942406618

1380.239309546

1353.888640965

1395.2312962144

1376.574066881

1353.888640965

1400.017769942

1383.1292283493

1349.0156158025

1400.017769942

1377.5391114203

1349.0156158025

1400.9739782678

1365.1591925128

1348.0399243503

1402.6942406618

1369.0342908336

1352.9147602123

1410.3256554178

1365.1591925128

1355.6407137273

1405.5587372445

1360.5014261334

1349.9909451148

1404.6042671902

1348.0399243503

1349.0156158025

1402.6942406618

1345.3060617

1349.9909451148

1401.9298244538

1352.9147602123

1345.3060617

1400.9739782678

1353.888640965

1348.0399243503

1400.017769942

1353.888640965

1347.0638707583

1400.9739782678

1347.0638707583

1346.0874550263

1402.6942406618

1347.0638707583

1347.0638707583

1406.5128451589

1342.373772529

1343.3515643926

1412.9911750271

1342.373772529

1344.3289941162

1411.0875221609

1346.0874550263

1336.6954383216

1412.039529664

1345.3060617

1332.7722478228

1406.5128451589

1344.3289941162

1335.7151839067

1403.6494349959

1339.4382240989

1335.7151839067

1401.9298244538

1341.3956185255

1337.6753305965

1402.6942406618

1340.4171023822

1332.7722478228

1402.6942406618

1349.9909451148

1344.3289941162

1407.4665909335

1336.6954383216

1338.4589836758

1402.6942406618

1329.0398499357

1332.7722478228

1405.5587372445

1338.4589836758

1333.7535886573

1406.5128451589

1332.7722478228

1336.6954383216

1410.3256554178

1322.1506912556

1340.4171023822

1406.5128451589

1325.1053606722

1340.4171023822

1403.6494349959

1346.0874550263

1335.7151839067

1404.6042671902

1336.6954383216

1345.3060617

1400.017769942

1335.7151839067

1338.4589836758

1400.9739782678

1330.808479734

1348.0399243503

1405.5587372445

1334.734567352

1344.3289941162

1409.3729960629

1332.7722478228

1334.734567352

1403.6494349959

1327.0733295837

1334.734567352

1401.9298244538

1331.7905448483

1337.6753305965

1405.5587372445

1337.6753305965

1346.0874550263

1407.4665909335

1332.7722478228

1341.3956185255

1403.6494349959

1329.8260524798

1341.3956185255

1400.017769942

1334.734567352

1341.3956185255

1400.9739782678

1334.734567352

1345.3060617

1405.5587372445

1336.6954383216

1337.6753305965

1402.6942406618

1335.7151839067

1342.373772529

1397.1469721251

1334.734567352

1338.4589836758

1400.9739782678

1326.0895261979

1331.7905448483

1403.6494349959

1328.0567708297

1333.7535886573

1403.6494349959

1316.4290885736

1337.6753305965

1404.6042671902

1320.3763251614

1334.734567352

1403.6494349959

1315.4413740769

1339.4382240989

1404.6042671902

1316.4290885736

1338.4589836758

1407.4665909335

1315.4413740769

1342.373772529

1410.3256554178

1307.7247723615

1339.4382240989

1418.5035767347

1311.6847562736

1340.4171023822

1415.8439382772

1303.9574207318

1339.4382240989

1413.9424582504

1312.6738469019

1335.7151839067

1412.039529664

1306.7338710338

1345.3060617

1408.4199745681

1304.9493360512

1349.9909451148

1408.4199745681

1307.7247723615

1350.9659122872

1417.7439697445

1307.7247723615

1351.9405173197

1407.4665909335

1322.1506912556

1336.6954383216

1412.039529664

1320.3763251614

1339.4382240989

1408.4199745681

1315.4413740769

1344.3289941162

1415.8439382772

1314.4532974403

1339.4382240989

1409.3729960629

1309.7054885974

1345.3060617

1412.039529664

1318.4034311473

1339.4382240989

1413.9424582504

1316.4290885736

1339.4382240989

1412.9911750271

1308.7153115494

1347.0638707583

1411.0875221609

1309.7054885974

1351.9405173197

1408.4199745681

1306.7338710338

1339.4382240989

1408.4199745681

1308.7153115494

1343.3515643926

1404.6042671902

1306.7338710338

1342.373772529

1408.4199745681

1305.7426075661

1342.373772529

1409.3729960629

1301.9725036732

1339.4382240989

1407.4665909335

1301.9725036732

1351.9405173197

1406.5128451589

1296.2080525987

1341.3956185255

1404.6042671902

1296.2080525987

1344.3289941162

1403.6494349959

1294.2174861577

1339.4382240989

1403.6494349959

1290.232007597

1348.0399243503

1403.6494349959

1293.2216597274

1346.0874550263

1406.5128451589

1295.2129504482

1349.9909451148

1404.6042671902

1290.232007597

1349.0156158025

1400.9739782678

1286.4404360511

1344.3289941162

1397.1469721251

1288.4366518745

1349.9909451148

1393.5059493763

1290.232007597

1350.9659122872

1396.1893152397

1286.4404360511

1352.9147602123

1398.1042668707

1276.638039588

1360.5014261334

1392.5469163593

1273.6303528909

1361.4724821949

1387.7463191758

1273.6303528909

1355.6407137273

1382.1662842215

1270.8202380642

1356.6135804883

1386.7851133194

1275.6358394955

1349.9909451148

1378.5037938197

1276.638039588

1345.3060617

1374.6428913828

1277.6398775406

1336.6954383216

1378.5037938197

1279.6424670261

1328.0567708297

1384.0918103373

1277.6398775406

1325.1053606722

1381.2029779537

1276.638039588

1318.4034311473

1374.6428913828

1280.4430972236

1326.0895261979

1377.5391114203

1275.6358394955

1321.3622289586

1370.7761947076

1278.6413533533

1322.1506912556

1375.6086602019

1276.638039588

1326.0895261979

1374.6428913828

1278.6413533533

1323.135943201

1380.239309546

1276.638039588

1322.1506912556

1377.5391114203

1277.6398775406

1320.3763251614

1390.6277639056

1276.638039588

1320.3763251614

1389.6676444689

1275.6358394955

1320.3763251614

1391.5875212024

1283.4433962669

1332.7722478228

1394.4646202534

1289.2347326071

1333.7535886573

1388.7071628923

1287.4387250327

1331.7905448483

1381.2029779537

1288.4366518745

1338.4589836758

1370.7761947076

1284.4427716682

1339.4382240989

1377.5391114203

1320.3763251614

1336.6954383216

1376.574066881

1353.888640965

1335.7151839067

1380.239309546

1362.2490663034

1331.7905448483

1392.5469163593

1361.4724821949

1334.734567352

1397.1469721251

1364.1895125829

1338.4589836758

1397.1469721251

1363.2194705131

1340.4171023822

1397.1469721251

1359.5300079319

1325.1053606722

1397.1469721251

1358.5582275906

1325.1053606722

1396.1893152397

1365.1591925128

1325.1053606722

1391.5875212024

1369.0342908336

1313.4648586638

1396.1893152397

1371.7434120863

1310.6953035055

1395.2312962144

1370.002160064

1322.1506912556

1396.1893152397

1374.6428913828

1317.4164409304

1386.0158878936

1371.7434120863

1316.4290885736

1388.7071628923

1368.0660594632

1320.3763251614

1387.7463191758

1358.5582275906

1323.135943201

1391.5875212024

1361.4724821949

1318.4034311473

1381.2029779537

1362.2490663034

1317.4164409304

1382.1662842215

1362.2490663034

1316.4290885736

1383.1292283493

1366.1285103029

1309.7054885974

1387.7463191758

1381.2029779537

1303.9574207318

1385.0540301854

1377.5391114203

1309.7054885974

1389.6676444689

1370.7761947076

1306.7338710338

1386.0158878936

1378.5037938197

1306.7338710338

1383.1292283493

1375.6086602019

1311.6847562736

1385.0540301854

1370.7761947076

1311.6847562736

1388.7071628923

1377.5391114203

1309.7054885974

1394.4646202534

1378.5037938197

1303.9574207318

1386.7851133194

1375.6086602019

1307.7247723615

1392.5469163593

1373.6767604239

1313.4648586638

1386.7851133194

1366.1285103029

1307.7247723615

1389.6676444689

1349.9909451148

1312.6738469019

1395.2312962144

1348.0399243503

1323.135943201

1397.1469721251

1335.7151839067

1323.135943201

1392.5469163593

1335.7151839067

1327.0733295837

1385.0540301854

1341.3956185255

1312.6738469019

1385.0540301854

1341.3956185255

1304.9493360512

1378.5037938197

1360.5014261334

1304.9493360512

1377.5391114203

1368.0660594632

1306.7338710338

1373.6767604239

1366.1285103029

1300.979501934

1364.1895125829

1366.1285103029

1301.9725036732

1368.0660594632

1367.097465953

1294.2174861577

1370.002160064

1371.7434120863

1295.2129504482

1364.1895125829

1376.574066881

1301.9725036732

1357.5860851094

1378.5037938197

1289.2347326071

1346.0874550263

1371.7434120863

1296.2080525987

1357.5860851094

1359.5300079319

1292.2254711572

1354.6674848264

1356.6135804883

1288.4366518745

1349.0156158025

1360.5014261334

1290.232007597

1346.0874550263

1366.1285103029

1286.4404360511

1345.3060617

1373.6767604239

1290.232007597

1349.9909451148

1370.7761947076

1289.2347326071

1343.3515643926

1371.7434120863

1294.2174861577

1340.4171023822

1364.1895125829

1287.4387250327

1342.373772529

1367.097465953

1286.4404360511

1344.3289941162

1378.5037938197

1286.4404360511

1349.9909451148

1377.5391114203

1281.4435590446

1354.6674848264

1377.5391114203

1277.6398775406

1363.2194705131

1384.0918103373

1273.6303528909

1360.5014261334

1374.6428913828

1276.638039588

1358.5582275906

1376.574066881

1281.4435590446

1357.5860851094

1385.0540301854

1284.4427716682

1357.5860851094

1372.710267325

1296.2080525987

1362.2490663034

1372.710267325

1301.9725036732

1356.6135804883

1371.7434120863

1305.7426075661

1355.6407137273

1367.097465953

1312.6738469019

1352.9147602123

1363.2194705131

1305.7426075661

1350.9659122872

1358.5582275906

1301.9725036732

1349.9909451148

1361.4724821949

1295.2129504482

1352.9147602123

1365.1591925128

1299.986138055

1352.9147602123

1354.6674848264

1297.0038735784

1352.9147602123

1360.5014261334

1297.9983238772

1349.0156158025

1362.2490663034

1300.979501934

1343.3515643926

1360.5014261334

1302.9651432724

1343.3515643926

1370.002160064

1307.7247723615

1342.373772529

1370.002160064

1305.7426075661

1343.3515643926

1369.0342908336

1311.6847562736

1343.3515643926

1362.2490663034

1311.6847562736

1340.4171023822

1370.002160064

1310.6953035055

1348.0399243503

1376.574066881

1315.4413740769

1347.0638707583

1373.6767604239

1311.6847562736

1346.0874550263

1381.2029779537

1315.4413740769

1338.4589836758

1374.6428913828

1308.7153115494

1350.9659122872

1381.2029779537

1313.4648586638

1349.0156158025

1371.7434120863

1307.7247723615

1358.5582275906

1377.5391114203

1301.9725036732

1355.6407137273

1375.6086602019

1302.9651432724

1356.6135804883

1376.574066881

1302.9651432724

1362.2490663034

1377.5391114203

1307.7247723615

1356.6135804883

1370.7761947076

1304.9493360512

1358.5582275906

1370.002160064

1305.7426075661

1356.6135804883

1373.6767604239

1311.6847562736

1351.9405173197

1371.7434120863

1312.6738469019

1346.0874550263

1374.6428913828

1311.6847562736

1347.0638707583

1377.5391114203

1311.6847562736

1355.6407137273

1383.1292283493

1310.6953035055

1356.6135804883

1372.710267325

1310.6953035055

1356.6135804883

1381.2029779537

1311.6847562736

1359.5300079319

1383.1292283493

1311.6847562736

1360.5014261334

1382.1662842215

1319.3900592243

1361.4724821949

1378.5037938197

1312.6738469019

1357.5860851094

1374.6428913828

1314.4532974403

1363.2194705131

1375.6086602019

1321.3622289586

1361.4724821949

1377.5391114203

1322.1506912556

1357.5860851094

1381.2029779537

1326.0895261979

1360.5014261334

1381.2029779537

1315.4413740769

1360.5014261334

1380.239309546

1316.4290885736

1359.5300079319

1384.0918103373

1324.1208330066

1356.6135804883

1380.239309546

1329.8260524798

1358.5582275906

1381.2029779537

1337.6753305965

1361.4724821949

1381.2029779537

1330.808479734

1361.4724821949

1386.0158878936

1328.0567708297

1362.2490663034

1382.1662842215

1332.7722478228

1358.5582275906

1382.1662842215

1331.7905448483

1361.4724821949

1378.5037938197

1322.1506912556

1359.5300079319

1383.1292283493

1324.1208330066

1363.2194705131

1383.1292283493

1325.1053606722

1366.1285103029

1386.7851133194

1327.0733295837

1371.7434120863

1383.1292283493

1337.6753305965

1372.710267325

1383.1292283493

1330.808479734

1371.7434120863

1381.2029779537

1331.7905448483

1370.002160064

1380.239309546

1322.1506912556

1365.1591925128

1382.1662842215

1315.4413740769

1369.0342908336

1384.0918103373

1318.4034311473

1362.2490663034

1383.1292283493

1319.3900592243

1369.0342908336

1375.6086602019

1322.1506912556

1372.710267325

1376.574066881

1325.1053606722

1373.6767604239

1379.2752789985

1323.135943201

1371.7434120863

1372.710267325

1319.3900592243

1374.6428913828

1376.574066881

1313.4648586638

1368.0660594632

1371.7434120863

1314.4532974403

1368.0660594632

1373.6767604239

1309.7054885974

1368.0660594632

1375.6086602019

1321.3622289586

1364.1895125829

1374.6428913828

1316.4290885736

1363.2194705131

1365.1591925128

1316.4290885736

1358.5582275906

1369.0342908336

1312.6738469019

1361.4724821949

1368.0660594632

1313.4648586638

1365.1591925128

1366.1285103029

1315.4413740769

1369.0342908336

1370.002160064

1309.7054885974

1368.0660594632

1367.097465953

1319.3900592243

1365.1591925128

1368.0660594632

1320.3763251614

1370.002160064

1368.0660594632

1320.3763251614

1370.002160064

1366.1285103029

1317.4164409304

1362.2490663034

1367.097465953

1316.4290885736

1370.002160064

1367.097465953

1313.4648586638

1369.0342908336

1365.1591925128

1313.4648586638

1370.7761947076

1362.2490663034

1315.4413740769

1364.1895125829

1361.4724821949

1311.6847562736

1370.002160064

1364.1895125829

1318.4034311473

1366.1285103029

1364.1895125829

1316.4290885736

1363.2194705131

1366.1285103029

1326.0895261979

1370.002160064

1367.097465953

1329.0398499357

1368.0660594632

1370.7761947076

1325.1053606722

1363.2194705131

1365.1591925128

1314.4532974403

1364.1895125829

1366.1285103029

1313.4648586638

1360.5014261334

1363.2194705131

1314.4532974403

1357.5860851094

1370.002160064

1311.6847562736

1359.5300079319

1370.002160064

1309.7054885974

1360.5014261334

1366.1285103029

1307.7247723615

1359.5300079319

1362.2490663034

1306.7338710338

1364.1895125829

1363.2194705131

1306.7338710338

1367.097465953

1365.1591925128

1307.7247723615

1370.002160064

1367.097465953

1306.7338710338

1379.2752789985

1372.710267325

1303.9574207318

1370.002160064

1370.002160064

1310.6953035055

1371.7434120863

1358.5582275906

1307.7247723615

1372.710267325

1367.097465953

1311.6847562736

1377.5391114203

1370.002160064

1313.4648586638

1375.6086602019

1374.6428913828

1311.6847562736

1373.6767604239

1370.7761947076

1307.7247723615

1370.002160064

1369.0342908336

1308.7153115494

1362.2490663034

1360.5014261334

1310.6953035055

1360.5014261334

1366.1285103029

1308.7153115494

1365.1591925128

1365.1591925128

1310.6953035055

1360.5014261334

1370.002160064

1316.4290885736

1354.6674848264

1360.5014261334

1318.4034311473

1361.4724821949

1364.1895125829

1318.4034311473

1354.6674848264

1362.2490663034

1313.4648586638

1353.888640965

1366.1285103029

1310.6953035055

1351.9405173197

1372.710267325

1311.6847562736

1354.6674848264

1365.1591925128

1314.4532974403

1355.6407137273

1367.097465953

1312.6738469019

1357.5860851094

1364.1895125829

1309.7054885974

1357.5860851094

1368.0660594632

1308.7153115494

1352.9147602123

1376.574066881

1306.7338710338

1359.5300079319

1372.710267325

1305.7426075661

1359.5300079319

1369.0342908336

1309.7054885974

1365.1591925128

1371.7434120863

1307.7247723615

1367.097465953

1371.7434120863

1306.7338710338

1363.2194705131

1367.097465953

1310.6953035055

1360.5014261334

1358.5582275906

1316.4290885736

1352.9147602123

1367.097465953

1315.4413740769

1350.9659122872

1359.5300079319

1318.4034311473

1348.0399243503

1356.6135804883

1317.4164409304

1350.9659122872

1363.2194705131

1322.1506912556

1355.6407137273

1368.0660594632

1321.3622289586

1349.9909451148

1370.002160064

1322.1506912556

1356.6135804883

1366.1285103029

1317.4164409304

1354.6674848264

1370.7761947076

1321.3622289586

1350.9659122872

1373.6767604239

1322.1506912556

1366.1285103029

1372.710267325

1319.3900592243

1364.1895125829

1370.002160064

1320.3763251614

1361.4724821949

1370.7761947076

1325.1053606722

1359.5300079319

1355.6407137273

1315.4413740769

1358.5582275906

1351.9405173197

1325.1053606722

1356.6135804883

1357.5860851094

1316.4290885736

1355.6407137273

1351.9405173197

1311.6847562736

1350.9659122872

1361.4724821949

1313.4648586638

1362.2490663034

1354.6674848264

1317.4164409304

1362.2490663034

1356.6135804883

1310.6953035055

1360.5014261334

1358.5582275906

1308.7153115494

1357.5860851094

1361.4724821949

1308.7153115494

1356.6135804883

1358.5582275906

1304.9493360512

1358.5582275906

1352.9147602123

1311.6847562736

1352.9147602123

1366.1285103029

1303.9574207318

1352.9147602123

1356.6135804883

1298.992412036

1352.9147602123

1360.5014261334

1299.986138055

1355.6407137273

1359.5300079319

1299.986138055

1358.5582275906

1359.5300079319

1301.9725036732

1360.5014261334

1361.4724821949

1306.7338710338

1370.002160064

1366.1285103029

1304.9493360512

1366.1285103029

1368.0660594632

1309.7054885974

1366.1285103029

1366.1285103029

1309.7054885974

1368.0660594632

1360.5014261334

1301.9725036732

1371.7434120863

1365.1591925128

1297.0038735784

1367.097465953

1369.0342908336

1297.9983238772

1370.002160064

1366.1285103029

1305.7426075661

1366.1285103029

1362.2490663034

1308.7153115494

1370.002160064

1364.1895125829

1304.9493360512

1365.1591925128

1370.7761947076

1296.2080525987

1372.710267325

1371.7434120863

1295.2129504482

1374.6428913828

1370.002160064

1296.2080525987

1372.710267325

1367.097465953

1290.232007597

1362.2490663034

1366.1285103029

1294.2174861577

1350.9659122872

1359.5300079319

1297.9983238772

1351.9405173197

1356.6135804883

1296.2080525987

1365.1591925128

1354.6674848264

1300.979501934

1360.5014261334

1359.5300079319

1298.992412036

1355.6407137273

1351.9405173197

1302.9651432724

1348.0399243503

1348.0399243503

1304.9493360512

1350.9659122872

1349.9909451148

1308.7153115494

1355.6407137273

1351.9405173197

1309.7054885974

1351.9405173197

1356.6135804883

1307.7247723615

1359.5300079319

1349.0156158025

1306.7338710338

1341.3956185255

1349.0156158025

1301.9725036732

1351.9405173197

1357.5860851094

1297.9983238772

1354.6674848264

1351.9405173197

1300.979501934

1357.5860851094

1354.6674848264

1298.992412036

1355.6407137273

1351.9405173197

1301.9725036732

1354.6674848264

1353.888640965

1302.9651432724

1363.2194705131

1351.9405173197

1296.2080525987

1370.7761947076

1353.888640965

1295.2129504482

1371.7434120863

1354.6674848264

1294.2174861577

1383.1292283493

1348.0399243503

1294.2174861577

1383.1292283493

1349.0156158025

1299.986138055

1378.5037938197

1352.9147602123

1300.979501934

1378.5037938197

1357.5860851094

1295.2129504482

1386.0158878936

1356.6135804883

1293.2216597274

1387.7463191758

1358.5582275906

1296.2080525987

1383.1292283493

1359.5300079319

1297.0038735784

1383.1292283493

1356.6135804883

1298.992412036

1385.0540301854

1361.4724821949

1291.2289204471

1380.239309546

1360.5014261334

1289.2347326071

1377.5391114203

1351.9405173197

1283.4433962669

1377.5391114203

1358.5582275906

1283.4433962669

1380.239309546

1347.0638707583

1283.4433962669

1378.5037938197

1337.6753305965

1282.4436587257

1381.2029779537

1341.3956185255

1282.4436587257

1387.7463191758

1336.6954383216

1281.4435590446

1382.1662842215

1338.4589836758

1276.638039588

1384.0918103373

1344.3289941162

1283.4433962669

1383.1292283493

1351.9405173197

1279.6424670261

1380.239309546

1358.5582275906

1277.6398775406

1387.7463191758

1359.5300079319

1279.6424670261

1374.6428913828

1359.5300079319

1283.4433962669

1374.6428913828

1359.5300079319

1279.6424670261

1371.7434120863

1367.097465953

1282.4436587257

1361.4724821949

1362.2490663034

1286.4404360511

1357.5860851094

1367.097465953

1286.4404360511

1363.2194705131

1368.0660594632

1289.2347326071

1356.6135804883

1365.1591925128

1284.4427716682

1360.5014261334

1357.5860851094

1282.4436587257

1363.2194705131

1345.3060617

1281.4435590446

1358.5582275906

1345.3060617

1283.4433962669

1359.5300079319

1349.0156158025

1289.2347326071

1362.2490663034

1339.4382240989

1286.4404360511

1355.6407137273

1345.3060617

1284.4427716682

1367.097465953

1345.3060617

1286.4404360511

1366.1285103029

1346.0874550263

1284.4427716682

1360.5014261334

1333.7535886573

1284.4427716682

1355.6407137273

1338.4589836758

1285.4417849296

1360.5014261334

1339.4382240989

1287.4387250327

1354.6674848264

1330.808479734

1289.2347326071

1357.5860851094

1333.7535886573

1287.4387250327

1352.9147602123

1342.373772529

1286.4404360511

1355.6407137273

1346.0874550263

1291.2289204471

1347.0638707583

1344.3289941162

1303.9574207318

1344.3289941162

1336.6954383216

1300.979501934

1349.9909451148

1340.4171023822

1305.7426075661

1347.0638707583

1337.6753305965

1300.979501934

1352.9147602123

1329.8260524798

1293.2216597274

1349.9909451148

1337.6753305965

1289.2347326071

1345.3060617

1344.3289941162

1288.4366518745

1345.3060617

1342.373772529

1285.4417849296

1355.6407137273

1344.3289941162

1282.4436587257

1356.6135804883

1346.0874550263

1291.2289204471

1352.9147602123

1340.4171023822

1296.2080525987

1349.0156158025

1341.3956185255

1288.4366518745

1351.9405173197

1337.6753305965

1299.986138055

1355.6407137273

1332.7722478228

1305.7426075661

1362.2490663034

1335.7151839067

1305.7426075661

1354.6674848264

1327.0733295837

1296.2080525987

1354.6674848264

1319.3900592243

1296.2080525987

1348.0399243503

1318.4034311473

1302.9651432724

1352.9147602123

1326.0895261979

1304.9493360512

1339.4382240989

1325.1053606722

1303.9574207318

1349.0156158025

1329.8260524798

1297.9983238772

1349.0156158025

1348.0399243503

1299.986138055

1349.0156158025

1352.9147602123

1303.9574207318

1353.888640965

1350.9659122872

1312.6738469019

1356.6135804883

1357.5860851094

1306.7338710338

1361.4724821949

1357.5860851094

1312.6738469019

1364.1895125829

1348.0399243503

1313.4648586638

1356.6135804883

1335.7151839067

1312.6738469019

1366.1285103029

1342.373772529

1309.7054885974

1361.4724821949

1335.7151839067

1307.7247723615

1361.4724821949

1330.808479734

1310.6953035055

1367.097465953

1322.1506912556

1310.6953035055

1358.5582275906

1334.734567352

1303.9574207318

1360.5014261334

1329.0398499357

1306.7338710338

1367.097465953

1324.1208330066

1301.9725036732

1356.6135804883

1323.135943201

1299.986138055

1350.9659122872

1320.3763251614

1301.9725036732

1354.6674848264

1329.0398499357

1305.7426075661

1354.6674848264

1334.734567352

1319.3900592243

1344.3289941162

1330.808479734

1325.1053606722

1341.3956185255

1317.4164409304

1330.808479734

1343.3515643926

1321.3622289586

1329.8260524798

1354.6674848264

1321.3622289586

1329.0398499357

1340.4171023822

1329.8260524798

1330.808479734

1348.0399243503

1329.0398499357

1327.0733295837

1353.888640965

1332.7722478228

1328.0567708297

1357.5860851094

1343.3515643926

1329.8260524798

1343.3515643926

1348.0399243503

1329.8260524798

1346.0874550263

1350.9659122872

1330.808479734

1348.0399243503

1349.9909451148

1325.1053606722

1346.0874550263

1342.373772529

1325.1053606722

1346.0874550263

1338.4589836758

1326.0895261979

1343.3515643926

1335.7151839067

1322.1506912556

1345.3060617

1335.7151839067

1311.6847562736

1341.3956185255

1327.0733295837

1314.4532974403

1335.7151839067

1319.3900592243

1309.7054885974

1332.7722478228

1318.4034311473

1306.7338710338

1339.4382240989

1325.1053606722

1307.7247723615

1342.373772529

1318.4034311473

1316.4290885736

1341.3956185255

1318.4034311473

1318.4034311473

1344.3289941162

1317.4164409304

1316.4290885736

1343.3515643926

1324.1208330066

1311.6847562736

1339.4382240989

1328.0567708297

1315.4413740769

1332.7722478228

1344.3289941162

1316.4290885736

1337.6753305965

1350.9659122872

1319.3900592243

1349.0156158025

1358.5582275906

1308.7153115494

1365.1591925128

1362.2490663034

1303.9574207318

1366.1285103029

1354.6674848264

1305.7426075661

1370.7761947076

1342.373772529

1299.986138055

1376.574066881

1353.888640965

1293.2216597274

1377.5391114203

1343.3515643926

1300.979501934

1376.574066881

1339.4382240989

1300.979501934

1363.2194705131

1338.4589836758

1303.9574207318

1367.097465953

1336.6954383216

1301.9725036732

1362.2490663034

1344.3289941162

1295.2129504482

1358.5582275906

1343.3515643926

1291.2289204471

1364.1895125829

1346.0874550263

1301.9725036732

1355.6407137273

1344.3289941162

1302.9651432724

1354.6674848264

1339.4382240989

1306.7338710338

1348.0399243503

1337.6753305965

1315.4413740769

1346.0874550263

1335.7151839067

1307.7247723615

1348.0399243503

1330.808479734

1304.9493360512

1348.0399243503

1324.1208330066

1309.7054885974

1359.5300079319

1326.0895261979

1314.4532974403

1360.5014261334

1317.4164409304

1307.7247723615

1358.5582275906

1306.7338710338

1310.6953035055

1353.888640965

1299.986138055

1306.7338710338

1354.6674848264

1290.232007597

1295.2129504482

1353.888640965

1288.4366518745

1298.992412036

1355.6407137273

1289.2347326071

1297.9983238772

1353.888640965

1280.4430972236

1293.2216597274

1350.9659122872

1266.8008632094

1291.2289204471

1350.9659122872

1286.4404360511

1296.2080525987

1348.0399243503

1276.638039588

1296.2080525987

1343.3515643926

1258.9464165644

1294.2174861577

1342.373772529

1262.977090184

1288.4366518745

1330.808479734

1294.2174861577

1291.2289204471

1342.373772529

1307.7247723615

1298.992412036

1345.3060617

1312.6738469019

1295.2129504482

1341.3956185255

1313.4648586638

1300.979501934

1344.3289941162

1318.4034311473

1302.9651432724

1346.0874550263

1309.7054885974

1302.9651432724

1339.4382240989

1308.7153115494

1303.9574207318

1345.3060617

1292.2254711572

1303.9574207318

1345.3060617

1295.2129504482

1303.9574207318

1346.0874550263

1285.4417849296

1304.9493360512

1344.3289941162

1285.4417849296

1297.9983238772

1338.4589836758

1290.232007597

1293.2216597274

1341.3956185255

1292.2254711572

1295.2129504482

1338.4589836758

1303.9574207318

1293.2216597274

1331.7905448483

1303.9574207318

1298.992412036

1337.6753305965

1311.6847562736

1288.4366518745

1345.3060617

1307.7247723615

1277.6398775406

1342.373772529

1309.7054885974

1280.4430972236

1331.7905448483

1312.6738469019

1269.8159375604

1330.808479734

1316.4290885736

1262.977090184

1329.8260524798

1328.0567708297

1271.8241764282

1336.6954383216

1331.7905448483

1268.8112749166

1343.3515643926

1334.734567352

1263.7825295993

1336.6954383216

1339.4382240989

1274.6332772631

1339.4382240989

1328.0567708297

1301.9725036732

1342.373772529

1327.0733295837

1299.986138055

1337.6753305965

1317.4164409304

1294.2174861577

1334.734567352

1319.3900592243

1291.2289204471

1332.7722478228

1322.1506912556

1297.0038735784

1336.6954383216

1333.7535886573

1305.7426075661

1337.6753305965

1331.7905448483

1298.992412036

1329.8260524798

1328.0567708297

1298.992412036

1328.0567708297

1330.808479734

1300.979501934

1331.7905448483

1338.4589836758

1307.7247723615

1327.0733295837

1342.373772529

1297.9983238772

1327.0733295837

1338.4589836758

1297.0038735784

1329.8260524798

1339.4382240989

1291.2289204471

1327.0733295837

1332.7722478228

1279.6424670261

1328.0567708297

1333.7535886573

1278.6413533533

1333.7535886573

1336.6954383216

1279.6424670261

1339.4382240989

1338.4589836758

1274.6332772631

1343.3515643926

1337.6753305965

1276.638039588

1344.3289941162

1335.7151839067

1274.6332772631

1346.0874550263

1332.7722478228

1277.6398775406

1351.9405173197

1328.0567708297

1270.8202380642

1351.9405173197

1337.6753305965

1276.638039588

1348.0399243503

1341.3956185255

1255.9196088808

1342.373772529

1333.7535886573

1249.0467782967

1339.4382240989

1337.6753305965

1248.0346555711

1342.373772529

1341.3956185255

1248.0346555711

1335.7151839067

1347.0638707583

1234.2338332541

1330.808479734

1349.9909451148

1232.1986511781

1328.0567708297

1340.4171023822

1226.2884315532

1330.808479734

1325.1053606722

1232.1986511781

1332.7722478228

1316.4290885736

1215.25073279

1330.808479734

1321.3622289586

1223.2266411557

1325.1053606722

1323.135943201

1216.2745164202

1317.4164409304

1328.0567708297

1220.3660295422

1301.9725036732

1322.1506912556

1226.2884315532

1301.9725036732

1320.3763251614

1233.2164232861

1308.7153115494

1322.1506912556

1234.2338332541

1313.4648586638

1324.1208330066

1240.1276696702

1321.3622289586

1315.4413740769

1238.096688417

1318.4034311473

1301.9725036732

1257.9378428098

1311.6847562736

1294.2174861577

1260.962477654

1300.979501934

1293.2216597274

1249.0467782967

1292.2254711572

1310.6953035055

1251.0699373283

1276.638039588

1310.6953035055

1265.7951141459

1263.7825295993

1323.135943201

1224.2476000948

1253.0916478002

1311.6847562736

1185.1965760651

1245.1987853552

1294.2174861577

1165.8915042632

1242.1572023639

1283.4433962669

1160.8892124734

1233.2164232861

1282.4436587257

1153.5792472355

1237.283890319

1297.0038735784

1156.7142623196

1234.2338332541

1269.8159375604

1153.5792472355

1246.2119220725

1249.0467782967

1150.6502925809

1246.2119220725

1255.1119097126

1158.8024616763

1251.0699373283

1256.9289069153

1155.6696194315

1283.4433962669

1259.9546281792

1154.6246144034

1305.7426075661

1255.1119097126

1166.9325981804

1301.9725036732

1243.1714255009

1172.9638015015

1291.2289204471

1246.2119220725

1192.2230698494

1299.986138055

1247.0221707056

1156.7142623196

1306.7338710338

1254.1019598263

1120.7818814832

1306.7338710338

1257.9378428098

1123.9507928615

1313.4648586638

1272.6270663787

1126.9055029054

1308.7153115494

1272.6270663787

1117.6097108458

1301.9725036732

1286.4404360511

1121.8385474159

1306.7338710338

1262.977090184

1126.0615897476

1313.4648586638

1256.9289069153

1129.0142718081

1288.4366518745

1251.0699373283

1122.8948512086

1284.4427716682

1241.142617087

1115.704844019

1268.8112749166

1248.0346555711

1129.0142718081

1259.9546281792

1257.9378428098

1134.2798566166

1263.7825295993

1255.1119097126

1134.2798566166

1274.6332772631

1246.2119220725

1143.5252967452

1262.977090184

1258.9464165644

1148.5564438419

1186.2309341803

1269.8159375604

1147.5089762626

1117.6097108458

1267.8062501329

1135.1215100214

1101.0618842753

1262.977090184

1122.8948512086

1121.8385474159

1251.0699373283

1126.0615897476

1129.0142718081

1255.9196088808

1098.0824328339

1191.1908121456

1244.185286498

1075.0026620375

1216.2745164202

1205.1984887706

1058.2288601726

1207.2527918331

1178.9828224364

1063.6146754262

1169.8457345644

1169.8457345644

1072.8570997215

1171.9248079957

1162.7660496723

1082.2867386862

1197.1728658401

1159.8460181448

1091.6883335375

1211.3570522793

1192.2230698494

1089.7675615265

1240.1276696702

1183.1267734151

1085.4949784571

1162.7660496723

1192.2230698494

1080.3602303793

1131.1215921512

1191.1908121456

1086.5636674343

1132.1747091129

1182.0913288803

1087.6319942716

1147.5089762626

1169.8457345644

1103.1883256049

1169.8457345644

1158.8024616763

1111.4676058034

1184.1618558101

1148.5564438419

1114.6460776749

1169.0136995952

1144.3644006852

1108.2858746727

1190.158192302

1137.2246295417

1079.2894409907

1178.1533369321

1136.1732508515

1094.8870128152

1171.9248079957

1132.1747091129

1127.9600684267

1161.7235071955

1146.4611465433

1120.7818814832

1150.6502925809

1153.5792472355

1103.1883256049

1183.1267734151

1156.7142623196

1109.3468138562

1203.3483774959

1158.8024616763

1142.4760908944

1207.2527918331

1158.8024616763

1150.6502925809

1210.3315303776

1162.7660496723

1143.5252967452

1213.2020791099

1172.9638015015

1115.704844019

1208.2794001545

1145.4129546842

1094.8870128152

1214.2265870199

1104.2510030598

1078.2182894623

1214.2265870199

1115.704844019

1073.9300619494

1214.2265870199

1120.7818814832

1070.9248551186

1217.2979379106

1102.1252860101

1075.0026620375

1225.2681968939

1067.70184004

1080.3602303793

1228.327814452

1056.0719990919

1082.2867386862

1249.0467782967

1050.8896223751

1082.2867386862

1249.0467782967

1051.9699722569

1094.8870128152

1247.0221707056

1067.70184004

1101.0618842753

1246.2119220725

1067.70184004

1110.4073908997

1235.2508810823

1072.8570997215

1114.6460776749

1215.25073279

1078.2182894623

1116.7632482232

1207.2527918331

1103.1883256049

1119.7248534106

1197.1728658401

1113.586949191

1118.6674631982

1167.9733299577

1125.0063723745

1118.6674631982

1142.4760908944

1123.9507928615

1102.1252860101

1127.9600684267

1120.7818814832

1105.3133183749

1121.8385474159

1126.0615897476

1107.4368625853

1126.0615897476

1139.3263005025

1104.2510030598

1132.1747091129

1129.0142718081

1098.0824328339

1123.9507928615

1105.3133183749

1093.8211485292

1129.0142718081

1086.5636674343

1075.0026620375

1155.6696194315

1082.2867386862

1069.850878899

1185.1965760651

1081.430657628

1067.70184004

1160.8892124734

1085.4949784571

1083.3565140831

1154.6246144034

1085.4949784571

1131.1215921512

1155.6696194315

1088.699958969

1174.0024328674

1146.4611465433

1093.8211485292

1158.8024616763

1131.1215921512

1099.9981204007

1138.2756460921

1090.6213828318

1107.4368625853

1111.4676058034

1085.4949784571

1104.2510030598

1098.0824328339

1094.8870128152

1109.3468138562

1097.0176549676

1089.7675615265

1156.7142623196

1094.8870128152

1107.4368625853

1164.8500482061

1093.8211485292

1151.6966737406

1148.5564438419

1125.0063723745

1158.8024616763

1145.4129546842

1130.0681130496

1165.8915042632

1150.6502925809

1119.7248534106

1163.8082300092

1157.7585430679

1120.7818814832

1151.6966737406

1169.8457345644

1117.6097108458

1144.3644006852

1183.1267734151

1132.1747091129

1138.2756460921

1205.1984887706

1139.3263005025

1137.2246295417

1223.2266411557

1146.4611465433

1142.4760908944

1257.9378428098

1175.0407020934

1162.7660496723

1250.0585388824

1133.2274639347

1170.8854523499

1250.0585388824

1107.4368625853

1178.9828224364

1242.1572023639

1087.6319942716

1165.8915042632

1228.327814452

1069.850878899

1160.8892124734

1219.3436944715

1090.6213828318

1163.8082300092

1213.2020791099

1126.0615897476

1169.8457345644

1200.2622512976

1146.4611465433

1178.9828224364

1189.1252103184

1107.4368625853

1188.091866195

1178.1533369321

1090.6213828318

1190.158192302

1181.0555222056

1082.2867386862

1185.1965760651

1170.8854523499

1059.3067475031

1171.9248079957

1158.8024616763

1057.1506107022

1162.7660496723

1162.7660496723

1059.3067475031

1158.8024616763

1157.7585430679

1076.0748999856

1155.6696194315

1159.8460181448

1122.8948512086

1161.7235071955

1174.0024328674

1143.5252967452

1160.8892124734

1197.1728658401

1184.1618558101

1151.6966737406

1202.320030903

1226.2884315532

1138.2756460921

1202.320030903

1256.9289069153

1131.1215921512

1199.232818285

1279.6424670261

1127.9600684267

1181.0555222056

1297.0038735784

1125.0063723745

1160.8892124734

1300.979501934

1117.6097108458

1154.6246144034

1300.979501934

1115.704844019

1151.6966737406

1304.9493360512

1113.586949191

1144.3644006852

1308.7153115494

1117.6097108458

1130.0681130496

1309.7054885974

1113.586949191

1118.6674631982

1301.9725036732

1118.6674631982

1119.7248534106

1310.6953035055

1112.5274585671

1118.6674631982

1318.4034311473

1108.2858746727

1114.6460776749

1293.2216597274

1112.5274585671

1110.4073908997

1280.4430972236

1103.1883256049

1104.2510030598

1249.0467782967

1107.4368625853

1108.2858746727

1225.2681968939

1103.1883256049

1106.37527155

1213.2020791099

1108.2858746727

1107.4368625853

1209.305646336

1107.4368625853

1097.0176549676

1209.305646336

1109.3468138562

1086.5636674343

1192.2230698494

1104.2510030598

1081.430657628

1177.1161541257

1101.0618842753

1087.6319942716

1147.5089762626

1095.9525149613

1092.7549221033

1138.2756460921

1090.6213828318

1092.7549221033

1133.2274639347

1082.2867386862

1088.699958969

1122.8948512086

1083.3565140831

1083.3565140831

1125.0063723745

1089.7675615265

1085.4949784571

1118.6674631982

1099.9981204007

1091.6883335375

1107.4368625853

1104.2510030598

1103.1883256049

1101.0618842753

1099.1468485603

1114.6460776749

1101.0618842753

1093.8211485292

1115.704844019

1094.8870128152

1092.7549221033

1127.9600684267

1101.0618842753

1090.6213828318

1144.3644006852

1102.1252860101

1090.6213828318

1159.8460181448

1109.3468138562

1086.5636674343

1176.0786091795

1112.5274585671

1081.430657628

1178.9828224364

1109.3468138562

1072.8570997215

1190.158192302

1117.6097108458

1066.6267774006

1195.3176701213

1121.8385474159

1063.6146754262

1204.1707940295

1126.9055029054

1070.9248551186

1212.3822120412

1133.2274639347

1075.0026620375

1223.2266411557

1137.2246295417

1093.8211485292

1232.1986511781

1144.3644006852

1092.7549221033

1236.2675667706

1140.376592773

1117.6097108458

1242.1572023639

1154.6246144034

1143.5252967452

1249.0467782967

1156.7142623196

1148.5564438419

1245.1987853552

1161.7235071955

1156.7142623196

1241.142617087

1163.8082300092

1162.7660496723

1236.2675667706

1160.8892124734

1163.8082300092

1232.1986511781

1171.9248079957

1167.9733299577

1234.2338332541

1172.9638015015

1171.9248079957

1236.2675667706

1175.0407020934

1175.0407020934

1229.3469626916

1171.9248079957

1174.0024328674

1236.2675667706

1175.0407020934

1176.0786091795

1231.1805169302

1178.1533369321

1178.9828224364

1234.2338332541

1176.0786091795

1183.1267734151

1228.327814452

1175.0407020934

1182.0913288803

1220.3660295422

1175.0407020934

1185.1965760651

1212.3822120412

1174.0024328674

1189.1252103184

1207.2527918331

1174.0024328674

1191.1908121456

1200.2622512976

1172.9638015015

1225.2681968939

1207.2527918331

1181.0555222056

1248.0346555711

1203.3483774959

1184.1618558101

1255.1119097126

1208.2794001545

1185.1965760651

1213.2020791099

1209.305646336

1187.0581599317

1202.320030903

1208.2794001545

1183.1267734151

1201.2913221702

1204.1707940295

1185.1965760651

1193.2549654133

1205.1984887706

1192.2230698494

1187.0581599317

1199.232818285

1195.3176701213

1181.0555222056

1202.320030903

1192.2230698494

1185.1965760651

1203.3483774959

1200.2622512976

1183.1267734151

1204.1707940295

1194.2864988373

1175.0407020934

1211.3570522793

1188.091866195

1172.9638015015

1210.3315303776

1187.0581599317

1166.9325981804

1221.183636858

1186.2309341803

1160.8892124734

1220.3660295422

1188.091866195

1154.6246144034

1222.2053200768

1192.2230698494

1153.5792472355

1221.183636858

1182.0913288803

1149.6035492814

1224.2476000948

1188.091866195

1141.4265229036

1232.1986511781

1194.2864988373

1143.5252967452

1233.2164232861

1206.2258213718

1163.8082300092

1236.2675667706

1217.2979379106

1177.1161541257

1250.0585388824

1206.2258213718

1190.158192302

1255.9196088808

1205.1984887706

1201.2913221702

1255.9196088808

1209.305646336

1206.2258213718

1250.0585388824

1218.320997261

1203.3483774959

1245.1987853552

1211.3570522793

1200.2622512976

1245.1987853552

1221.183636858

1199.232818285

1245.1987853552

1218.320997261

1190.158192302

1244.185286498

1219.3436944715

1185.1965760651

1244.185286498

1221.183636858

1190.158192302

1238.096688417

1216.2745164202

1184.1618558101

1233.2164232861

1227.3083040725

1172.9638015015

1229.3469626916

1222.2053200768

1159.8460181448

1231.1805169302

1208.2794001545

1157.7585430679

1234.2338332541

1209.305646336

1149.6035492814

1233.2164232861

1206.2258213718

1132.1747091129

1243.1714255009

1204.1707940295

1119.7248534106

1237.283890319

1201.2913221702

1111.4676058034

1229.3469626916

1200.2622512976

1119.7248534106

1231.1805169302

1191.1908121456

1127.9600684267

1233.2164232861

1190.158192302

1140.376592773

1231.1805169302

1189.1252103184

1155.6696194315

1223.2266411557

1201.2913221702

1166.9325981804

1211.3570522793

1199.232818285

1164.8500482061

1197.1728658401

1197.1728658401

1161.7235071955

1192.2230698494

1205.1984887706

1166.9325981804

1191.1908121456

1213.2020791099

1169.0136995952

1209.305646336

1219.3436944715

1164.8500482061

1228.327814452

1230.1620205425

1161.7235071955

1235.2508810823

1217.2979379106

1156.7142623196

1238.096688417

1205.1984887706

1149.6035492814

1243.1714255009

1208.2794001545

1143.5252967452

1245.1987853552

1202.320030903

1140.376592773

1244.185286498

1195.3176701213

1137.2246295417

1245.1987853552

1194.2864988373

1133.2274639347

1243.1714255009

1184.1618558101

1133.2274639347

1245.1987853552

1192.2230698494

1123.9507928615

1242.1572023639

1198.2030231325

1119.7248534106

1244.185286498

1196.1423464079

1121.8385474159

1250.0585388824

1204.1707940295

1125.0063723745

1252.0809736342

1213.2020791099

1135.1215100214

1254.1019598263

1218.320997261

1139.3263005025

1255.1119097126

1224.2476000948

1145.4129546842

1257.9378428098

1234.2338332541

1152.5335179276

1257.9378428098

1240.1276696702

1153.5792472355

1257.9378428098

1236.2675667706

1156.7142623196

1255.1119097126

1233.2164232861

1159.8460181448

1257.9378428098

1241.142617087

1159.8460181448

1257.9378428098

1243.1714255009

1159.8460181448

1257.9378428098

1245.1987853552

1163.8082300092

1259.9546281792

1248.0346555711

1166.9325981804

1259.9546281792

1251.0699373283

1166.9325981804

1262.977090184

1248.0346555711

1169.0136995952

1263.7825295993

1243.1714255009

1174.0024328674

1265.7951141459

1241.142617087

1176.0786091795

1270.8202380642

1247.0221707056

1178.9828224364

1272.6270663787

1250.0585388824

1181.0555222056

1272.6270663787

1241.142617087

1184.1618558101

1269.8159375604

1241.142617087

1187.0581599317

1267.8062501329

1236.2675667706

1187.0581599317

1261.969964989

1228.327814452

1189.1252103184

1258.9464165644

1224.2476000948

1192.2230698494

1258.9464165644

1219.3436944715

1199.232818285

1257.9378428098

1223.2266411557

1204.1707940295

1256.9289069153

1223.2266411557

1210.3315303776

1254.1019598263

1221.183636858

1213.2020791099

1252.0809736342

1223.2266411557

1215.25073279

1254.1019598263

1229.3469626916

1217.2979379106

1255.9196088808

1236.2675667706

1222.2053200768

1255.1119097126

1235.2508810823

1225.2681968939

1256.9289069153

1231.1805169302

1227.3083040725

1254.1019598263

1238.096688417

1227.3083040725

1256.9289069153

1239.1123601135

1234.2338332541

1255.1119097126

1233.2164232861

1235.2508810823

1254.1019598263

1232.1986511781

1235.2508810823

1259.9546281792

1223.2266411557

1231.1805169302

1260.962477654

1217.2979379106

1229.3469626916

1264.7890029426

1219.3436944715

1227.3083040725

1263.7825295993

1218.320997261

1230.1620205425

1262.977090184

1213.2020791099

1230.1620205425

1261.969964989

1220.3660295422

1226.2884315532

1259.9546281792

1215.25073279

1225.2681968939

1258.9464165644

1223.2266411557

1231.1805169302

1257.9378428098

1220.3660295422

1223.2266411557

1255.1119097126

1218.320997261

1216.2745164202

1254.1019598263

1224.2476000948

1209.305646336

1255.9196088808

1234.2338332541

1201.2913221702

1255.1119097126

1233.2164232861

1201.2913221702

1258.9464165644

1228.327814452

1209.305646336

1256.9289069153

1228.327814452

1207.2527918331

1258.9464165644

1237.283890319

1214.2265870199

1255.9196088808

1244.185286498

1223.2266411557

1253.0916478002

1236.2675667706

1227.3083040725

1256.9289069153

1231.1805169302

1228.327814452

1259.9546281792

1244.185286498

1222.2053200768

1261.969964989

1251.0699373283

1217.2979379106

1256.9289069153

1252.0809736342

1215.25073279

1256.9289069153

1249.0467782967

1224.2476000948

1252.0809736342

1252.0809736342

1228.327814452

1245.1987853552

1243.1714255009

1224.2476000948

1253.0916478002

1249.0467782967

1218.320997261

1257.9378428098

1251.0699373283

1217.2979379106

1257.9378428098

1253.0916478002

1212.3822120412

1257.9378428098

1249.0467782967

1209.305646336

1248.0346555711

1243.1714255009

1204.1707940295

1242.1572023639

1231.1805169302

1201.2913221702

1243.1714255009

1216.2745164202

1201.2913221702

1239.1123601135

1216.2745164202

1200.2622512976

1236.2675667706

1221.183636858

1204.1707940295

1236.2675667706

1214.2265870199

1203.3483774959

1235.2508810823

1216.2745164202

1203.3483774959

1239.1123601135

1217.2979379106

1202.320030903

1239.1123601135

1227.3083040725

1201.2913221702

1238.096688417

1220.3660295422

1203.3483774959

1218.320997261

1207.2527918331

1202.320030903

1209.305646336

1205.1984887706

1202.320030903

1211.3570522793

1204.1707940295

1203.3483774959

1216.2745164202

1204.1707940295

1199.232818285

1215.25073279

1210.3315303776

1198.2030231325

1216.2745164202

1207.2527918331

1198.2030231325

1219.3436944715

1207.2527918331

1198.2030231325

1223.2266411557

1205.1984887706

1202.320030903

1231.1805169302

1217.2979379106

1200.2622512976

1233.2164232861

1217.2979379106

1201.2913221702

1225.2681968939

1224.2476000948

1203.3483774959

1220.3660295422

1229.3469626916

1205.1984887706

1213.2020791099

1237.283890319

1208.2794001545

1206.2258213718

1231.1805169302

1208.2794001545

1203.3483774959

1226.2884315532

1212.3822120412

1200.2622512976

1230.1620205425

1211.3570522793

1201.2913221702

1232.1986511781

1217.2979379106

1213.2020791099

1243.1714255009

1219.3436944715

1209.305646336

1239.1123601135

1225.2681968939

1210.3315303776

1240.1276696702

1231.1805169302

1217.2979379106

1246.2119220725

1234.2338332541

1218.320997261

1239.1123601135

1231.1805169302

1222.2053200768

1235.2508810823

1237.283890319

1223.2266411557

1223.2266411557

1238.096688417

1222.2053200768

1231.1805169302

1238.096688417

1223.2266411557

1235.2508810823

1239.1123601135

1222.2053200768

1232.1986511781

1239.1123601135

1224.2476000948

1230.1620205425

1243.1714255009

1220.3660295422

1237.283890319

1244.185286498

1220.3660295422

1236.2675667706

1245.1987853552

1221.183636858

1223.2266411557

1245.1987853552

1220.3660295422

1223.2266411557

1244.185286498

1220.3660295422

1219.3436944715

1245.1987853552

1223.2266411557

1218.320997261

1244.185286498

1222.2053200768

1216.2745164202

1241.142617087

1222.2053200768

1215.25073279

1245.1987853552

1220.3660295422

1212.3822120412

1244.185286498

1223.2266411557

1232.1986511781

1245.1987853552

1224.2476000948

1229.3469626916

1240.1276696702

1227.3083040725

1218.320997261

1241.142617087

1225.2681968939

1221.183636858

1241.142617087

1225.2681968939

1228.327814452

1239.1123601135

1225.2681968939

1216.2745164202

1240.1276696702

1225.2681968939

1209.305646336

1239.1123601135

1229.3469626916

1212.3822120412

1240.1276696702

1232.1986511781

1210.3315303776

1243.1714255009

1231.1805169302

1205.1984887706

1248.0346555711

1231.1805169302

1205.1984887706

1250.0585388824

1234.2338332541

1203.3483774959

1251.0699373283

1232.1986511781

1208.2794001545

1251.0699373283

1233.2164232861

1216.2745164202

1255.1119097126

1233.2164232861

1212.3822120412

1257.9378428098

1229.3469626916

1213.2020791099

1257.9378428098

1227.3083040725

1217.2979379106

1255.9196088808

1228.327814452

1213.2020791099

1256.9289069153

1229.3469626916

1235.2508810823

1254.1019598263

1231.1805169302

1232.1986511781

1254.1019598263

1230.1620205425

1258.9464165644

1250.0585388824

1231.1805169302

1261.969964989

1239.1123601135

1229.3469626916

1257.9378428098

1237.283890319

1231.1805169302

1260.962477654

1235.2508810823

1231.1805169302

1259.9546281792

1232.1986511781

1228.327814452

1259.9546281792

1232.1986511781

1231.1805169302

1263.7825295993

1232.1986511781

1227.3083040725

1267.8062501329

1231.1805169302

1227.3083040725

1263.7825295993

1235.2508810823

1224.2476000948

1258.9464165644

1233.2164232861

1227.3083040725

1254.1019598263

1237.283890319

1225.2681968939

1262.977090184

1236.2675667706

1224.2476000948

1255.1119097126

1237.283890319

1221.183636858

1253.0916478002

1239.1123601135

1223.2266411557

1258.9464165644

1241.142617087

1225.2681968939

1264.7890029426

1243.1714255009

1224.2476000948

1255.1119097126

1255.1119097126

1223.2266411557

1255.9196088808

1258.9464165644

1223.2266411557

1255.1119097126

1258.9464165644

1223.2266411557

1248.0346555711

1261.969964989

1222.2053200768

1249.0467782967

1258.9464165644

1224.2476000948

1255.9196088808

1257.9378428098

1219.3436944715

1255.9196088808

1256.9289069153

1219.3436944715

1252.0809736342

1252.0809736342

1219.3436944715

1243.1714255009

1253.0916478002

1218.320997261

1246.2119220725

1247.0221707056

1216.2745164202

1245.1987853552

1243.1714255009

1215.25073279

1241.142617087

1245.1987853552

1217.2979379106

1241.142617087

1242.1572023639

1217.2979379106

1242.1572023639

1239.1123601135

1219.3436944715

1245.1987853552

1232.1986511781

1215.25073279

1250.0585388824

1228.327814452

1217.2979379106

1255.1119097126

1221.183636858

1219.3436944715

1259.9546281792

1212.3822120412

1216.2745164202

1262.977090184

1215.25073279

1214.2265870199

1257.9378428098

1211.3570522793

1214.2265870199

1254.1019598263

1208.2794001545

1212.3822120412

1252.0809736342

1209.305646336

1209.305646336

1259.9546281792

1208.2794001545

1208.2794001545

1259.9546281792

1206.2258213718

1210.3315303776

1252.0809736342

1205.1984887706

1212.3822120412

1248.0346555711

1204.1707940295

1208.2794001545

1245.1987853552

1201.2913221702

1210.3315303776

1256.9289069153

1204.1707940295

1207.2527918331

1258.9464165644

1202.320030903

1202.320030903

1250.0585388824

1205.1984887706

1203.3483774959

1243.1714255009

1207.2527918331

1204.1707940295

1256.9289069153

1209.305646336

1205.1984887706

1252.0809736342

1209.305646336

1208.2794001545

1254.1019598263

1218.320997261

1207.2527918331

1253.0916478002

1215.25073279

1209.305646336

1263.7825295993

1213.2020791099

1206.2258213718

1261.969964989

1213.2020791099

1202.320030903

1269.8159375604

1209.305646336

1200.2622512976

1262.977090184

1210.3315303776

1205.1984887706

1261.969964989

1212.3822120412

1200.2622512976

1274.6332772631

1210.3315303776

1198.2030231325

1280.4430972236

1210.3315303776

1196.1423464079

1275.6358394955

1215.25073279

1196.1423464079

1281.4435590446

1239.1123601135

1201.2913221702

1289.2347326071

1245.1987853552

1199.232818285

1295.2129504482

1239.1123601135

1199.232818285

1297.9983238772

1217.2979379106

1196.1423464079

1313.4648586638

1206.2258213718

1196.1423464079

1309.7054885974

1204.1707940295

1197.1728658401

1318.4034311473

1196.1423464079

1199.232818285

1326.0895261979

1198.2030231325

1198.2030231325

1329.0398499357

1200.2622512976

1194.2864988373

1312.6738469019

1205.1984887706

1192.2230698494

1317.4164409304

1212.3822120412

1184.1618558101

1316.4290885736

1214.2265870199

1182.0913288803

1311.6847562736

1212.3822120412

1175.0407020934

1304.9493360512

1208.2794001545

1180.0193533909

1302.9651432724

1210.3315303776

1180.0193533909

1299.986138055

1203.3483774959

1178.1533369321

1298.992412036

1198.2030231325

1176.0786091795

1293.2216597274

1199.232818285

1169.0136995952

1290.232007597

1197.1728658401

1166.9325981804

1291.2289204471

1201.2913221702

1162.7660496723

1293.2216597274

1193.2549654133

1155.6696194315

1287.4387250327

1194.2864988373

1154.6246144034

1287.4387250327

1199.232818285

1153.5792472355

1294.2174861577

1209.305646336

1151.6966737406

1288.4366518745

1210.3315303776

1149.6035492814

1291.2289204471

1205.1984887706

1153.5792472355

1289.2347326071

1205.1984887706

1158.8024616763

1290.232007597

1199.232818285

1149.6035492814

1285.4417849296

1201.2913221702

1148.5564438419

1279.6424670261

1194.2864988373

1143.5252967452

1288.4366518745

1200.2622512976

1145.4129546842

1297.0038735784

1194.2864988373

1142.4760908944

1291.2289204471

1194.2864988373

1143.5252967452

1291.2289204471

1198.2030231325

1144.3644006852

1281.4435590446

1208.2794001545

1144.3644006852

1285.4417849296

1214.2265870199

1143.5252967452

1282.4436587257

1221.183636858

1149.6035492814

1276.638039588

1221.183636858

1143.5252967452

1275.6358394955

1223.2266411557

1140.376592773

1276.638039588

1223.2266411557

1141.4265229036

1266.8008632094

1224.2476000948

1142.4760908944

1261.969964989

1224.2476000948

1143.5252967452

1257.9378428098

1228.327814452

1142.4760908944

1253.0916478002

1231.1805169302

1142.4760908944

1257.9378428098

1233.2164232861

1141.4265229036

1262.977090184

1239.1123601135

1139.3263005025

1256.9289069153

1242.1572023639

1137.2246295417

1251.0699373283

1246.2119220725

1131.1215921512

1260.962477654

1245.1987853552

1126.9055029054

1269.8159375604

1245.1987853552

1127.9600684267

1272.6270663787

1252.0809736342

1123.9507928615

1271.8241764282

1251.0699373283

1122.8948512086

1273.6303528909

1255.9196088808

1117.6097108458

1275.6358394955

1256.9289069153

1119.7248534106

1268.8112749166

1255.1119097126

1116.7632482232

1271.8241764282

1252.0809736342

1113.586949191

1269.8159375604

1249.0467782967

1112.5274585671

1270.8202380642

1249.0467782967

1103.1883256049

1261.969964989

1253.0916478002

1103.1883256049

1253.0916478002

1244.185286498

1094.8870128152

1240.1276696702

1251.0699373283

1091.6883335375

1238.096688417

1259.9546281792

1087.6319942716

1218.320997261

1256.9289069153

1080.3602303793

1217.2979379106

1252.0809736342

1064.4755657023

1222.2053200768

1251.0699373283

1058.2288601726

1230.1620205425

1254.1019598263

1059.3067475031

1223.2266411557

1256.9289069153

1064.4755657023

1221.183636858

1253.0916478002

1064.4755657023

1210.3315303776

1254.1019598263

1059.3067475031

1199.232818285

1251.0699373283

1054.9930253417

1191.1908121456

1254.1019598263

1054.1295856008

1191.1908121456

1245.1987853552

1047.6463998903

1202.320030903

1238.096688417

1047.6463998903

1204.1707940295

1239.1123601135

1038.1141449649

1195.3176701213

1232.1986511781

1033.9892743453

1182.0913288803

1233.2164232861

1025.5060514436

1171.9248079957

1238.096688417

1018.0924445973

1178.9828224364

1233.2164232861

1012.6305799657

1187.0581599317

1231.1805169302

1004.0919931169

1186.2309341803

1233.2164232861

997.7285047139

1181.0555222056

1230.1620205425

986.9487216457

1194.2864988373

1230.1620205425

975.0286762714

1177.1161541257

1226.2884315532

962.178615358

1169.8457345644

1222.2053200768

950.1709611003

1161.7235071955

1224.2476000948

944.820667357

1166.9325981804

1224.2476000948

937.0031992704

1159.8460181448

1226.2884315532

925.1315386156

1145.4129546842

1225.2681968939

918.393696131

1147.5089762626

1221.183636858

911.8680559686

1133.2274639347

1223.2266411557

907.5860311203

1143.5252967452

1223.2266411557

899.6844017221

1139.3263005025

1220.3660295422

891.9915415599

1136.1732508515

1221.183636858

880.8753160437

1137.2246295417

1219.3436944715

866.5319209123

1138.2756460921

1219.3436944715

856.4802125217

1139.3263005025

1214.2265870199

846.4004600177

1139.3263005025

1211.3570522793

836.2926634001

1135.1215100214

1215.25073279

819.4610491842

1130.0681130496

1214.2265870199

804.641060636

1125.0063723745

1213.2020791099

789.994684783

1116.7632482232

1214.2265870199

779.731370809

1108.2858746727

1213.2020791099

768.2687657261

1106.37527155

1212.3822120412

762.6417391607

1099.9981204007

1208.2794001545

756.7713807277

1091.6883335375

1210.3315303776

744.2962791232

1093.8211485292

1209.305646336

734.8541648927

1086.5636674343

1208.2794001545

730.3610414568

1092.7549221033

1208.2794001545

722.3076637865

1083.3565140831

1211.3570522793

714.2375407675

1070.9248551186

1210.3315303776

711.8607883426

1067.70184004

1207.2527918331

702.5776128987

1062.5382366553

1202.320030903

693.2724048636

1057.1506107022

1201.2913221702

683.9451642372

1057.1506107022

1201.2913221702

669.7928454323

1051.9699722569

1201.2913221702

660.4102408588

1044.6164516619

1196.1423464079

647.3825688876

1040.2830290901

1198.2030231325

637.9474250582

1031.8161893973

1198.2030231325

629.7039384287

1036.1609107338

1194.2864988373

620.227554108

1030.7291037135

1193.2549654133

610.7291371962

1025.5060514436

1192.2230698494

610.7291371962

1029.6416558897

1191.1908121456

610.7291371962

1025.5060514436

1189.1252103184

613.1667291234

1022.2374067382

1183.1267734151

611.9481142297

1020.0564995685

1184.1618558101

611.9481142297

1023.3273171133

1185.1965760651

614.3849818772

1031.8161893973

1188.091866195

616.5769242415

1029.6416558897

1181.0555222056

619.0110396257

1031.8161893973

1181.0555222056

620.227554108

1033.9892743453

1178.1533369321

621.4437064504

1033.9892743453

1177.1161541257

620.227554108

1030.7291037135

1176.0786091795

621.4437064504

1030.7291037135

1176.0786091795

629.7039384287

1027.6833372144

1174.0024328674

630.9172660799

1022.2374067382

1172.9638015015

626.0617826357

1013.7236771718

1170.8854523499

623.8749247155

1012.6305799657

1174.0024328674

621.4437064504

1006.2834747716

1169.8457345644

621.4437064504

1002.9957090797

1174.0024328674

619.0110396257

1004.0919931169

1176.0786091795

615.3593233395

999.9241871914

1178.1533369321

611.9481142297

995.5313736769

1174.0024328674

609.5097980227

989.1515020651

1171.9248079957

605.8496076629

985.8467882261

1158.8024616763

605.8496076629

984.7444926667

1152.5335179276

603.6519290027

981.656138516

1144.3644006852

604.6288199299

976.1341586619

1140.376592773

604.6288199299

970.8245404716

1133.2274639347

607.0700332561

968.6097370077

1126.0615897476

604.6288199299

961.0685700048

1126.0615897476

603.6519290027

952.3977876087

1123.9507928615

603.6519290027

953.5106576531

1120.7818814832

599.9865238285

953.5106576531

1119.7248534106

598.7639978239

951.2845554245

1118.6674631982

598.7639978239

949.0570046363

1117.6097108458

599.9865238285

945.7129624047

1120.7818814832

596.3178593952

944.820667357

1114.6460776749

597.5411096795

940.3557155755

1110.4073908997

599.9865238285

934.990125043

1104.2510030598

597.5411096795

932.7519997699

1105.3133183749

597.5411096795

928.2714035449

1101.0618842753

597.5411096795

928.2714035449

1097.0176549676

594.1150962908

926.2532448734

1093.8211485292

595.0942469709

922.8870396803

1091.6883335375

596.3178593952

917.2694548939

1092.7549221033

596.3178593952

915.2449080746

1091.6883335375

596.3178593952

907.5860311203

1087.6319942716

595.0942469709

905.3302334202

1082.2867386862

594.1150962908

903.0729871607

1101.0618842753

594.1150962908

894.2558857615

1116.7632482232

594.1150962908

891.9915415599

1117.6097108458

597.5411096795

890.8588262493

1119.7248534106

598.7639978239

887.6852967954

1105.3133183749

597.5411096795

885.4167517711

1090.6213828318

598.7639978239

884.2819360491

1090.6213828318

598.7639978239

885.4167517711

1086.5636674343

598.7639978239

884.2819360491

1091.6883335375

597.5411096795

875.4179447763

1088.699958969

598.7639978239

874.2799422233

1086.5636674343

601.2086876931

875.4179447763

1085.4949784571

601.2086876931

867.6723860167

1079.2894409907

604.6288199299

864.2499042839

1073.9300619494

603.6519290027

866.5319209123

1068.7765405394

603.6519290027

866.5319209123

1061.4614357445

604.6288199299

861.966439096

1053.0499599988

605.8496076629

860.8241632921

1048.7278361918

604.6288199299

863.1083527599

1040.2830290901

605.8496076629

863.1083527599

1037.0291596925

607.0700332561

863.1083527599

1035.0752736095

608.2900967093

865.3910936681

1031.8161893973

610.7291371962

863.1083527599

1027.6833372144

611.9481142297

859.9100819083

1022.2374067382

613.1667291234

857.6238644572

1018.9655027738

615.3593233395

856.4802125217

1023.3273171133

617.7941630035

856.4802125217

1015.9087851643

621.4437064504

855.3361984464

1001.8990629027

620.227554108

855.3361984464

993.3327940803

621.4437064504

857.6238644572

984.7444926667

621.4437064504

857.6238644572

975.0286762714

620.227554108

855.3361984464

970.8245404716

620.227554108

853.0470838761

969.7173198096

621.4437064504

855.3361984464

963.2882985712

620.227554108

851.901983381

958.8473928787

615.3593233395

853.0470838761

953.5106576531

615.3593233395

854.1918222312

945.7129624047

616.5769242415

854.1918222312

933.8712434764

613.1667291234

851.901983381

926.2532448734

615.3593233395

850.9856422443

917.2694548939

615.3593233395

850.9856422443

912.9940354772

610.7291371962

856.4802125217

910.7417143202

611.9481142297

855.3361984464

905.3302334202

610.7291371962

851.901983381

898.5541489627

608.2900967093

851.901983381

895.3875146524

602.4304894179

850.9856422443

888.8190260977

601.2086876931

848.6937754108

882.0112181854

598.7639978239

850.9856422443

875.4179447763

598.7639978239

850.9856422443

868.8124889812

597.5411096795

855.3361984464

863.1083527599

597.5411096795

855.3361984464

853.0470838761

596.3178593952

854.1918222312

842.9577708788

596.3178593952

850.9856422443

835.1422756626

595.0942469709

851.901983381

828.4628853865

599.9865238285

851.901983381

819.4610491842

601.2086876931

851.901983381

808.1198189085

597.5411096795

850.9856422443

800.2299546435

589.2158663473

847.5472987842

793.2544035319

590.441217043

847.5472987842

785.3330186105

603.6519290027

849.8398898975

775.0569573122

620.227554108

846.4004600177

770.610897577

636.7361978183

850.9856422443

764.7528519004

654.6253792416

850.9856422443

760.2946822072

677.9545753591

848.6937754108

757.9461766941

697.8084636054

846.4004600177

751.1273191017

710.6718689203

848.6937754108

745.2392158138

723.4930342378

850.9856422443

740.758202336

730.3610414568

847.5472987842

734.8541648927

726.8101449173

847.5472987842

726.8101449173

719.9358364642

848.6937754108

717.5625605823

722.3076637865

849.8398898975

705.9125698322

722.3076637865

851.901983381

695.4217161194

724.6780425493

850.9856422443

692.0778360589

722.3076637865

848.6937754108

683.9451642372

725.6257884577

848.6937754108

681.5500151057

726.8101449173

850.9856422443

679.1534174145

723.4930342378

849.8398898975

676.7553711638

722.3076637865

849.8398898975

674.5958910197

715.1878361408

848.6937754108

669.7928454323

723.4930342378

848.6937754108

667.3891497992

722.3076637865

849.8398898975

664.0215423328

724.6780425493

840.8905929511

661.6143701567

722.3076637865

842.9577708788

661.6143701567

719.9358364642

842.9577708788

661.6143701567

719.9358364642

842.9577708788

659.205749421

717.5625605823

845.2532591113

658.0008958434

707.102937814

844.105696065

656.7956801258

709.4825873581

844.105696065

656.7956801258

725.6257884577

844.105696065

652.2125576832

729.1777714169

845.2532591113

652.2125576832

737.2168662897

842.9577708788

651.0056036941

733.9086787372

840.8905929511

648.5906092963

731.5439493568

844.105696065

643.9981291588

726.8101449173

842.9577708788

641.5789339383

719.9358364642

842.9577708788

640.3687931181

705.9125698322

841.8094835527

640.3687931181

669.7928454323

845.2532591113



		





		





-0,5


0


0,5


1


1,5


2


0 10 20 30


Radial distance,mm


Velocity,m/s


7-vtg,B=0,co-firing


7-vtg,B=0,prop.=0





_1301231287.xls
Chart4

		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



c

a.e., prop=0

a.e.,B=0,co-fire

time,s

Air excess,%

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

318.9

0

318.9

892.2

318.9

892.2

88.7

187.7

88.7

187.7

50.6

187.7

50.6

75.5

50.6

75.5

41.4

48.9

41.4

48.9

38.2

48.9

38.2

41.7

36.8

41.7

36.8

39.5

36.8

39.5

36

39.5

36

38.3

35.5

38.3

35.5

37.2

35.5

37.2

35

36.4

35

36.4

34.5

36.4

34.5

35.9

34.5

35.9

34

35.2

34

35.2

33.6

35.2

33.6

34.4

33.6

34.4

33.4

33.9

33.4

33.9

33.4

33.9

33.4

33.6

33.2

33.6

33.2

33.6

33.2

33.6

32.9

33.6

32.9

33.1

32.5

33.1

32.5

32.6

32.5

32.6

31.8

32.6

31.8

32.3

31.5

32.3

31.5

31.7

31.5

31.7

31.7

30.8

31.7

30.8

31.4

30.8

31.4

30.3

31.4

30.3

30.8

30.1

30.8

30.1

30.6

30.1

30.6

30

30.6

30

28.7

30

28.7

30

46

30

46

30.1

113.1

30.1

113.1

44.1

113.1

44.1

235.1

44.1

235.1

103

343.7

103

343.7

222.1

343.7

222.1

380

332.3

380

332.3

382.4

332.3

382.4

391.6

382.4

391.6

374.7

413.4

374.7

413.4

365.1

413.4

365.1

425

365.1

425

355.9

432.4

355.9

432.4

345.7

432.4

345.7

437.2

336

437.2

336

438.1

336

438.1

324.8

438.1

324.8

440

310.8

440

310.8

443

310.8

443

293.5

442

293.5

442

276.1

442

276.1

441

276.1

441

256.7

439

256.7

439

234.3

439

234.3

434.3

234.3

434.3

212.2

431.4

212.2

431.4

187.7

431.4

187.7

431.4

164.1

431.4

164.1

432.3

164.1

432.3

144.8

432.3

144.8

434.2

130.8

434.2

130.8

436.1

130.8

436.1

123.3

436.1

123.3

437.1

120.4

437.1

120.4

439

120.4

439

114.2

438

114.2

438

101.1

438

101.1

433.2

101.1

433.2

88.4

425.8

88.4

425.8

82.9

425.8

82.9

415

82.9

415

82.4

402.1

82.4

402.1

80.7

402.1

80.7

385.9

77.3

385.9

77.3

371.4

77.3

371.4

74.4

371.4

74.4

362.7

73

362.7

73

355

73

355

72.3

339.1

72.3

339.1

72.2

339.1

72.2

308.6

72.2

308.6

72

268.9

72

268.9

71.7

268.9

71.7

234.7

71.7

234.7

72.2

212.9

72.2

212.9

72.6

212.9

72.6

199.7

72.1

199.7

72.1

189.3

72.1

189.3

71.4

189.3

71.4

177.4

70.9

177.4

70.9

164.1

70.9

164.1

70.7

150.3

70.7

150.3

71.2

150.3

71.2

137.1

71.2

137.1

73.7

126.8

73.7

126.8

75.6

126.8

75.6

116.5

75.6

116.5

75.9

103.5

75.9

103.5

76.1

103.5

76.1

89.6

76.1

89.6

74.5

76

74.5

76

73.1

76

73.1

65.9

73.7

65.9

73.7

62.5

73.7

62.5

75.5

62.5

75.5

64

77.1

64

77.1

67

77.1

67

78.8

69.4

78.8

69.4

80

69.4

80

70.2

80

70.2

81

70.5

81

70.5

80.5

70.5

80.5

72

80.5

72

78

72.4

78

72.4

77

72.4

77

71.2

76.7

71.2

76.7

70.2

76.7

70.2

76

70.2

76

68.7

75.3

68.7

75.3

65.8

75.3

65.8

74.7

62.7

74.7

62.7

74.2

62.7

74.2

59.8

74.2

59.8

74.3

57.5

74.3

57.5

75.6

57.5

75.6

55.8

75.6

55.8

77.3

55.7

77.3

55.7

77.7

55.7

77.7

56.8

77

56.8

77

58.6

77

58.6

76.5

58.6

76.5

59.6

78.3

59.6

78.3

65.3

78.3

65.3

79.5

65.3

79.5

85.7

78.9

85.7

78.9

112.3

78.9

112.3

79.7

128.5

79.7

128.5

80.1

128.5

80.1

135.6

80.1

135.6

79.9

140.5

79.9

140.5

80.3

140.5

80.3

147.3

80.3

147.3

81.5

153.5

81.5

153.5

82.5

153.5

82.5

146.1

82.7

146.1

82.7

128.7

82.7

128.7

81.6

128.7

81.6

118.7

80.2

118.7

80.2

118.2

80.2

118.2

79

119.5

79

119.5

77.4

119.5

77.4

117.2

77.4

117.2

76.5

112.9

76.5

112.9

77.2

112.9

77.2

110.3

77.2

110.3

78.6

107

78.6

107

79.2

107

79.2

94.2

79

94.2

79

81.2

79

81.2

76.3

81.2

76.3

78.5

73.2

78.5

73.2

79.7

73.2

79.7

72.3

78.6

72.3

78.6

71.8

78.6

71.8

76.9

71.8

76.9

70.9

74.7

70.9

74.7

70.9

74.7

70.9

75.3

70.9

75.3

72.6

79.1

72.6

79.1

74.9

79.1

74.9

83.7

77.5

83.7

77.5

89.9

77.5

89.9

79.4

89.9

79.4

94.9

80

94.9

80

95.8

80

95.8

79.9

95.8

79.9

93.6

80.9

93.6

80.9

90.7

80.9

90.7

82.8

91.2

82.8

91.2

83.6

91.2

83.6

90.3

83.6

90.3

83.6

86.6

83.6

86.6

84.5

86.6

84.5

88.1

84.5

88.1

85.4

91.1

85.4

91.1

85.1

91.1

85.1

91.3

85

91.3

85

91

85

91

85

91

85

91.7

85.2

91.7

85.2

92.6

85.2

92.6

84.7

93.5

84.7

93.5

83.7

93.5

83.7

95

83.7

95

83.3

92.7

83.3

92.7

82.1

92.7

82.1

89

82.1

89

80.3

87.1

80.3

87.1

78.2

87.1

78.2

85.5

74.9

85.5

74.9

87.7

74.9

87.7

71.2

87.7

71.2

91.6

69.5

91.6

69.5

92.2

69.5

92.2

69.9

93.8

69.9

93.8

70.4

93.8

70.4

97.1

70.4

97.1

70.7

100.4

70.7

100.4

70.3

100.4

70.3

104.6

70.3

104.6

67.7

107.6

67.7

107.6

65.2

107.6

65.2

108.9

65.2

108.9

63.9

108.9

63.9

108.9

63.1

108.9

63.1

108.9

63.2

108.9

63.2

108.9

63.2

108.9

64.6

108.9

64.6

113.1

65.9

113.1

65.9

117.5

65.9

117.5

66

117.5

66

116.6

65.8

116.6

65.8

113.9

65.8

113.9

66.8

111.6

66.8

111.6

67.7

111.6

67.7

110.8

67.7

110.8

67.9

110.4

67.9

110.4

67.5

110.4

67.5

110.4

66.2

110.4

66.2

111.1

66.2

111.1

64.8

111.1

64.8

112.2

64

112.2

64

111.9

64

111.9

63.4

111.9

63.4

110.1

63.4

110.1

63.4

108.6

63.4

108.6

63.4

108.6

63.4

108.5

60.5

108.5

60.5

107

60.5

107

58.8

101.6

58.8

101.6

59.3

101.6

59.3

100.4

59.3

100.4

59.5

105.8

59.5

105.8

59.6

105.8

59.6

111.3

59.6

111.3

59.9

113.7

59.9

113.7

60.2

113.7

60.2

112.7

59.6

112.7

59.6

110.1

59.6

110.1

58.3

110.1

58.3

108.3

57.3

108.3

57.3

108.6

57.3

108.6

57.1

109.2

57.1

109.2

57.3

109.2

57.3

107.6

57.3

107.6

56.8

105

56.8

105

56

105

56

103.3

56

103.3

56.4

101.1

56.4

101.1

57.5

101.1

57.5

99

58.3

99

58.3

97.8

58.3

97.8

58.4

97.8

58.4

97.3

58.4

97.3

58.4

97.8

58.4

97.8

58.9

99.4

58.9

99.4

59.2

99.4

59.2

101.5

59.2

101.5

59.4

102.7

59.4

102.7

59

102.7

59

101.8

59

101.8

58.4

100.7

58.4

100.7

58.2

100.7

58.2

99.2

57.1

99.2

57.1

97.8

57.1

97.8

55.5

97.8

55.5

98.9

54.6

98.9

54.6

100.4

54.6

100.4

54

100.4

54

101.9

52.8

101.9

52.8

102.9

52.8

102.9

52.3

102.6

52.3

102.6

53.2

102.6

53.2

102.2

53.2

102.2

54.9

102.4

54.9

102.4

56

102.4

56

104.5

56

104.5

56.8

107.3

56.8

107.3

56.8

107.3

56.8

108.7

56.4

108.7

56.4

110.2

56.4

110.2

56.5

110.2

56.5

111.3

56.8

111.3

56.8

111.4

56.8

111.4

57

111.4

57

111.4

56.6

111.4

56.6

111.9

56.6

111.9

56

111.3

56

111.3

54.9

111.3

54.9

108.6

54.9

108.6

53.9

104.8

53.9

104.8

53.5

104.8

53.5

101.6

53.2

101.6

53.2

100

53.2

100

53.2

100

53.2

100

53.3

100

53.3

101

53.3

101

52.5

101.6

52.5

101.6

50.8

101.6

50.8

101.6

50.8

101.6

49.3

101.6

49.3

101.6

48.3

101.6

48.3

102.4

48.3

102.4

47.7

103.5

47.7

103.5

47.6

103.5

47.6

104.4

47.6

104.4

47.3

105.7

47.3

105.7

47

105.7

47

107.1

47.5

107.1

47.5

108.9

47.5

108.9

48.3

108.9

48.3

109.2

48.8

109.2

48.8

105.8

48.8

105.8

48.8

101.7

48.8

101.7

48.8

101.7

48.8

99.4

48.8

99.4

49.2

97.5

49.2

97.5

50.1

97.5

50.1

93.7

50.1

93.7

50.5

88.7

50.5

88.7

49.8

88.7

49.8

83.3

48.9

83.3

48.9

79.5

48.9

79.5

49.3

79.5

49.3

79.2

50.4

79.2

50.4

77

50.4

77

50.9

73.2

50.9

73.2

50.8

73.2

50.8

71.8

50.8

71.8

50.4

72.8

50.4

72.8

50.2

72.8

50.2

74.3

50.2

74.3

50.3

75.2

50.3

75.2

50

75.2

50

76.5

49.6

76.5

49.6

78.9

49.6

78.9

49.2

78.9

49.2

80.8

49.2

80.8

49.2

80.7

49.2

80.7

49.2

80.7

49.2

79.8

48.9

79.8

48.9

79.1

48.9

79.1

49.4

78.6

49.4

78.6

50.5

78.6

50.5

78.9

50.5

78.9

50.7

79.5

50.7

79.5

50.7

79.5

50.7

79.4

50.7

79.4

50.9

79.4

50.9

79.4

50.5

79.4

50.5

80.6

50.1

80.6

50.1

82.6

50.1

82.6

49.8

82.6

49.8

82.5

49.5

82.5

49.5

79.9

49.5

79.9

49.5

77.5

49.5

77.5

49.5

77.5

49.5

77

49.5

77

50.1

77.8

50.1

77.8

50.4

77.8

50.4

78.9

50.4

78.9

50.3

80.3

50.3

80.3

50

80.3

50

80

49.4

80

49.4

79.3

49.4

79.3

49

79.3

49

78.8

48.7

78.8

48.7

78.3

48.7

78.3

48.2

77.7

48.2

77.7

47.6

77.7

47.6

75.1

47.6

75.1

46.8

70.9

46.8

70.9

46.2

70.9

46.2

67.9

46.2

67.9

46.2

67

46.2

67

45.7

67

45.7

68.3

44.4

68.3

44.4

70.5

44.4

70.5

43.7

70.5

43.7

73

43.5

73

43.5

74.6

43.5

74.6

43.4

74.6

43.4

75.5

43.1

75.5

43.1

76.7

43.1

76.7

42.7

77.9

42.7

77.9

42.2

77.9

42.2

79.2

42.2

79.2

42.2

80.9

42.2

80.9

42.4

80.9

42.4

82.6

42.4

82.6

42.7

82.6

42.7

82.6

43

82.6

43

82.3

43.6

82.3

43.6

83.4

43.6

83.4

44.6

83.4

44.6

83.8

45.1

83.8

45.1

82.8

45.1

82.8

45

82.3

45

82.3

45.1

82.3

45.1

82.9

45.1

82.9

45.1

84.9

45.1

84.9

44.8

84.9

44.8

85.8

44.8

85.8

44.4

85.6

44.4

85.6

44.2

85.6

44.2

84.9

44

84.9

44

84.5

44

84.5

43.3

84.5

43.3

84.1

43.1

84.1

43.1

84.3

43.1

84.3

43.5

84.3

43.5

84.6

43.3

84.6

43.3

83.4

43.3

83.4

43.3

81.8

43.3

81.8

43

81.8

43

81.5

43

81.5

42.3

79.9

42.3

79.9

41.6

79.9

41.6

77

41.6

77

41.3

74.7

41.3

74.7

40.8

74.7

40.8

71.7

40.1

71.7

40.1

67.3

40.1

67.3

40.1

67.3

40.1

62.3

40.2

62.3

40.2

59

40.2

59

40.2

57.7

40.2

57.7

40.6

57.7

40.6

57.1

40.6

57.1

40.8

57.9

40.8

57.9

40.7

57.9

40.7

60.8

40.7

60.8

40.4

64.1

40.4

64.1

40

64.1

40

66

40

66

40

67.3

40

67.3

40.4

67.3

40.4

68.3

40.4

68.3

40.4

67.4

40.4

67.4

40.4

65.3

40.4

65.3

40.3

65.3

40.3

64

40.3

64

40.6

61.3

40.6

61.3

40.8

61.3

40.8

58

40.8

58

40.9

56.3

40.9

56.3

41.2

56.3

41.2

55.3

41.7

55.3

41.7

55.4

41.7

55.4

42.6

55.4

42.6

55.4

43.1

55.4

43.1

55.7

43.1

55.7

43.3

55.7

43.3

56.3

43.3

56.3

43.3

56.5

43.3

56.5

43.6

56.5

43.6

56.5

44.1

56.5

44.1

56.3

44.1

56.3

44.1

57.3

44.1

57.3

43.6

57.3

43.6

60.8

43.6

60.8

43.3

60.8

43.3

60.8

43.3

60.8

43.3

60.8

43.1

60.8

43.1

64

43.1

64

42.6

64

42.6

63.9

42.4

63.9

42.4

64.6

42.4

64.6

42.4

64.6

42.4

66.7

42.3

66.7

42.3

70.2

42.3

70.2

42.2

75.3

42.2

75.3

42.7

75.3

42.7

79

42.7

79

43.2

80.8

43.2

80.8

43.2

80.8

43.2

80.1

43.3

80.1

43.3

78.2

43.3

78.2

43.8

78.2

43.8

76.3

44.1

76.3

44.1

75.8

44.1

75.8

44.1

75.8

44.1

76.5

44.1

76.5

44.1

77.4

44.1

77.4

44

77.4

44

78.1

43.7

78.1

43.7

76.2

43.7

76.2

44.1

72.5

44.1

72.5

44.3

72.5

44.3

72.1

44.3

72.1

43.8

74.5

43.8

74.5

43.6

74.5

43.6

76.8

43.6

76.8

43.9

76.3

43.9

76.3

44.2

76.3

44.2

74.2

44.3

74.2

44.3

70.4

44.3

70.4

44.3

70.4

44.3

65.8

43.7

65.8

43.7

63.7

43.7

63.7

42.9

62.6

42.9

62.6

43.2

62.6

43.2

59.3

43.2

59.3

44.8

56.8

44.8

56.8

47

56.8

47

56.9

47

56.9

48.2

56.6

48.2

56.6

48.8

56.6

48.8

54.9

49.2

54.9

49.2

53.6

49.2

53.6

49.6

53.6

49.6

54.2

50.3

54.2

50.3

55.3

50.3

55.3

50.7

55.3

50.7

55.3

50.3

55.3

50.3

54.4

50.3

54.4

49.8

54

49.8

54

49.8

54

49.8

54.4

49.8

54.4

49.6

53.2

49.6

53.2

49.3

53.2

49.3

53.2

49.3

53.2

50.3

55.3

50.3

55.3

52.4

55.3

52.4

55.5

54.4

55.5

54.4

53.6

54.4

53.6

54.7

53.6

54.7

52.8

54

52.8

54

53.3

54

53.3

54.4

55.3

54.4

55.3

55

55.3

55

57.3

55

57.3

54.9

60.2

54.9

60.2

55.3

60.2

55.3

63.7

55.3

63.7

55.8

65.6

55.8

65.6

57

65.6

57

66.3

58.2

66.3

58.2

67.9

58.2

67.9

58.7

67.9

58.7

71

59.2

71

59.2

72.8

59.2

72.8

59.5

72.9

59.5

72.9

59.6

72.9

59.6

72.5

59.6

72.5

58.9

71.7

58.9

71.7

57.7

71.7

57.7

70.8

57.7

70.8

56.8

70.8

56.8

70.8

56.8

70.8

56.8

71

57.2

71

57.2

69.9

57.2

69.9

56.9

69.9

56.9

68

55.7

68

55.7

65.5

55.7

65.5

53.5

65.5

53.5

63.5

51.9

63.5

51.9

63.8

51.9

63.8

51.7

64.8

51.7

64.8

52.2

64.8

52.2

64.7

52.2

64.7

53.2

65.1

53.2

65.1

53.5

65.1

53.5

65.9

53.5

65.9

54

65.5

54

65.5

55.1

65.5

55.1

65.1

55.8

65.1

55.8

65.2

55.8

65.2

57.2

65.2

57.2

65.4

58.7

65.4

58.7

67.4

58.7

67.4

59.7

71.2

59.7

71.2

59.9

71.2

59.9

73.4

59.9

73.4

59.4

73.5

59.4

73.5

58.4

73.5

58.4

72.8

58.4

72.8

57.3

71.4

57.3

71.4

56.9

71.4

56.9

71.7

57.3

71.7

57.3

72.5

57.3

72.5

57.1

72.5

57.1

71.5

57.2

71.5

57.2

71.4

57.2

71.4

57.5

72.8

57.5

72.8

57.5

72.8

57.5

73.7

57.5

73.7

57.8

74.4

57.8

74.4

58

74.4

58

73.5

58

73.5

57.9

71.5

57.9

71.5

58.2

71.5

58.2

71

59

71

59

70.5

59

70.5

59.2

70.5

59.2

67

58.8

67

58.8

63

58.8

63

58.3

63

58.3

61.3

58.1

61.3

58.1

60.1

58.1

60.1

58.3

61.1

58.3

61.1

57.6

61.1

57.6

63.8

57.6

63.8

57.1

65

57.1

65

57.2

65

57.2

65.4

57.2

65.4

56.8

64.8

56.8

64.8

56.8

64.8

56.8

64.9

56.9

64.9

56.9

65.7

56.9

65.7

56.8

65.7

56.8

65.9

56.6

65.9

56.6

65.1

56.6

65.1

55.2

64

55.2

64

53.5

64

53.5

64.8

53.5

64.8

53

66.2

53

66.2

53

66.2

53

66.5

53

66.5

51.9

67.1

51.9

67.1

50.9

67.1

50.9

66.6

50.8

66.6

50.8

64.3

50.8

64.3

50.2

64.3

50.2

59.6

48.5

59.6

48.5

53.4

48.5

53.4

47.6

53.4

47.6

50.7

47.3

50.7

47.3

50.9

47.3

50.9

46.4

51.9

46.4

51.9

45.4

51.9

45.4

52.2

45.4

52.2

44.5

51.4

44.5

51.4

44.4

51.4

44.4

50.6

44.4

50.6

44.2

50.5

44.2

50.5

43.6

50.5

43.6

51.5

42.8

51.5

42.8

51.3

42.8

51.3

43.3

51.3

43.3

49.9

44.6

49.9

44.6

48.3

44.6

48.3

45

46.6

45

46.6

44.8

46.6

44.8

45.2

44.8

45.2

43.9

45.2

43.9

45.2

43.1

45.2

43.1

46.2

43.1

46.2

42

45.5

42

45.5

40.3

45.5

40.3

44.2

38.5

44.2

38.5

45

38.5

45

37.6

45

37.6

47.4

38.2

47.4

38.2

49.6

38.2

49.6

39.4

51.1

39.4

51.1

40.3

51.1

40.3

52

40.3

52

39.5

53.3

39.5

53.3

38.2

53.3

38.2

54.5

38.2

54.5

38

56.9

38

56.9

39.1

56.9

39.1

58

40.6

58

40.6

56.2

40.6

56.2

41.2

56.2

41.2

54.7

40.4

54.7

40.4

52.3

40.4

52.3

38.9

52.3

38.9

50.2

36.7

50.2

36.7

50.7

36.7

50.7

35.7

52

35.7

52

36.1

52

36.1

52.4

36.1

52.4

35.5

53

35.5

53

35

53

35

52.3

35

52.3

36.7

47.5

36.7

47.5

39.5

47.5

39.5

41.9

41

41.9

41

38.1

41

38.1

41.9

38.1

41.9

37.3

42.9

37.3

42.9

41.4

42.9

41.4

42.6

46.3

42.6

46.3

41.2

46.3

41.2

47.5

41.2

47.5

40.4

46.1

40.4

46.1

38.9

46.1

38.9

44.1

38.9

44.1

38.3

43.2

38.3

43.2

39

43.2

39

41.9

37.6

41.9

37.6

40.2

37.6

40.2

35.8

40.2

35.8

45.2

35.8

45.2

35.8

54.7

35.8

54.7

35.9

59.1

35.9

59.1

35

59.1

35

59.4

35

59.4

34.8

58.6

34.8

58.6

36.3

58.6

36.3

57.9

36.3

57.9

37.4

57.8

37.4

57.8

38.2

57.8

38.2

59.2

39.1

59.2

39.1

59.8

39.1

59.8

39.6

59.8

39.6

59

40.2

59

40.2

57.4

40.2

57.4

40.1

57.4

40.1

54.9

39.6

54.9

39.6

53.1

39.6

53.1

39.2

53.5

39.2

53.5

38.7

53.5

38.7

54.6

38.7

54.6

38.1

54.8

38.1

54.8

36.3

54.8

36.3

54.8

36.3

54.8

34.6

54.8

34.6

54.8

34.2

54.8

34.2

53.9

35.3

53.9

35.3

53.6

35.3

53.6

36.9

53.6

36.9

54.6

38.4

54.6

38.4

55.7

38.4

55.7

39.2

55.7

39.2

55.5

39.6

55.5

39.6

57.1

39.6

57.1

40.4

57.1

40.4

62.3

41.6

62.3

41.6

66.7

41.6

66.7

42.3

69.2

42.3

69.2

42.9

69.2

42.9

70.3

43

70.3

43

70.9

43

70.9

42.2

70.9

42.2

70.8

42.2

70.8

42.2

71

42.2

71

42.2

71

42.2

73

41.8

73

41.8

74.2

41.8

74.2

42.3

74.2

42.3

73.7

42.5

73.7

42.5

72.7

42.5

72.7

42.1

72.3

42.1

72.3

41.9

72.3

41.9

74

41.9

74

42.4

75.6

42.4

75.6

43.3

75.6

43.3

74.6

43.3

74.6

44.1

70.3

44.1

70.3

44.4

70.3

44.4

66.2

44.6

66.2

44.6

63.8

44.6

63.8

45

63.8

45

60.2

45.2

60.2

45.2

56.9

45.2

56.9

45.1

51.3

45.1

51.3

45.3

51.3

45.3

40.8

45.3

40.8

46

33.4

46

33.4

46.9

33.4

46.9

33.7

46.9

33.7

47.5

38.3

47.5

38.3

47.6

38.3

47.6

44.7

47.9

44.7

47.9

52.4

47.9

52.4

48

52.4

48

60.8

47.8

60.8

47.8

68.3

47.8

68.3

48

68.3

48

72.9

49

72.9

49

70.7

49

70.7

49.8

69.7

49.8

69.7

50.2

69.7

50.2

76.8

50.2

76.8

51

85.4

51

85.4

51.2

85.4

51.2

91.3

51.2

91.3

50.8

95.5

50.8

95.5

50.8

95.5

50.8

100.4

50.7

100.4

50.7

106.7

50.7

106.7

50.4

106.7

50.4

110.8

50.4

110.8

50.4

112.5

50.4

112.5

49.7

114.2

49.7

114.2

48.9

114.2

48.9

114.8

48.9

114.8

48.2

115.4

48.2

115.4

47.6

115.4

47.6

118.4

47.6

118.4

47.5

122.3

47.5

122.3

47.2

122.3

47.2

129.9

46.5

129.9

46.5

140

46.5

140

46.4

140

46.4

145.9

46.4

145.9

46.4

148

46.4

148

45.9

148.6

45.9

148.6

46

148.6

46

152

46

152

45.9

156.5

45.9

156.5

46

156.5

46

157.4

46

157.4

46.6

154.8

46.6

154.8

47.6

154.8

47.6

151.1

49.5

151.1

49.5

149

49.5

149

50.6

149

50.6

148

50.5

148

50.5

148.8

50.5

148.8

51.2

148.8

51.2

149.4

52.8

149.4

52.8

144.3

52.8

144.3

53.2

136

53.2

136

51.8

136

51.8

127.8

51.8

127.8

50.4

123.5

50.4

123.5

50

123.5

50

122.3

50

122.3

50.5

122

50.5

122

51.1

122

51.1

123.7

51.5

123.7

51.5

124

51.5

124

51.8

124

51.8

122.7

52.7

122.7

52.7

118.1

52.7

118.1

54.3

122.2

54.3

122.2

56.6

122.2

56.6

140

56.6

140

58.7

153.5

58.7

153.5

59.1

153.5

59.1

157.6

59.1

157.6

57.2

160.6

57.2

160.6

54.2

160.6

54.2

166.4

53.7

166.4

53.7

172.3

53.7

172.3

57.1

172.3

57.1

172

61.9

172

61.9

169.5

61.9

169.5

65.4

169.5

65.4

171.8

68.1

171.8

68.1

173.2

68.1

173.2

70.3

172.8

70.3

172.8

70.5

172.8

70.5

172.3

70.5

172.3

69.9

172.7

69.9

172.7

71.5

172.7

71.5

179.1

71.5

179.1

74.1

185.5

74.1

185.5

76.3

185.5

76.3

184.2

77.8

184.2

77.8

179.1

77.8

179.1

78.9

179.1

78.9

177.3

80.6

177.3

80.6

177.6

80.6

177.6

81.6

175.5

81.6

175.5

82.4

175.5

82.4

172

82.4

172

84.8

170.5

84.8

170.5

86.3

170.5

86.3

171.5

86.3

171.5

84.9

173.2

84.9

173.2

82.9

173.2

82.9

176.8

85.2

176.8

85.2

178.9

85.2

178.9

91.4

178.9

91.4

180.7

96.1

180.7

96.1

188.9

96.1

188.9

98.3

197.5

98.3

197.5

97.9

197.5

97.9

204.5

97.9

204.5

97.6

210.8

97.6

210.8

99.5

210.8

99.5

214.4

99.5

214.4

100.8

214.1

100.8

214.1

99.2

214.1

99.2

212.1

98

212.1

98

213.7

98

213.7

100.8

213.7

100.8

216.7

103.5

216.7

103.5

218.8

103.5

218.8

105

218.8

105

223.9

107.2

223.9

107.2

228.9

107.2

228.9

108.4

225.3

108.4

225.3

110.5

225.3

110.5

218.4

110.5

218.4

113.8

214.7

113.8

214.7

114.1

214.7

114.1

215.7

114.1

215.7

110.6

219.8

110.6

219.8

106.3

219.8

106.3

222.2

101.4

222.2

101.4

216.7

101.4

216.7

95

216.7

95

216.4

93.5

216.4

93.5

231.8

93.5

231.8

99.2

251.7

99.2

251.7

105

251.7

105

269.5

105

269.5

108.4

284.1

108.4

284.1

110

284.1

110

291.1

110

291.1

112.1

284.1

112.1

284.1

119.7

284.1

119.7

261.9

128.6

261.9

128.6

239.3

128.6

239.3

133.3

239.3

133.3

239.7

134

239.7

134

258.4

134

258.4

132.4

269.9

132.4

269.9

134

269.9

134

270.8

134

270.8

134

269.9

134

269.9

131.4

269.9

131.4

268.6

131.4

268.6

131.4

272.7

131.4

272.7

133.8

272.7

133.8

283.6

134.4

283.6

134.4

287.6

134.4

287.6

129.3

287.6

129.3

282.6

122.9

282.6

122.9

275.5

122.9

275.5

118.6

275.5

118.6

268.5

117

268.5

117

259.3

117

259.3

119.6

246.4

119.6

246.4

119.9

246.4

119.9

235.9

119.9

235.9

112.9

235.2

112.9

235.2

106.3

235.2

106.3

248

106.3

248

106.7

260.1

106.7

260.1

110.4

260.1

110.4

269

114

269

114

269.5

114

269.5

118.7

269.5

118.7

257.1

124.7

257.1

124.7

240.5

124.7

240.5

130.2

214.4

130.2

214.4

132.5

214.4

132.5

192.8

132.5

192.8

134.9

189.4

134.9

189.4

138.2

189.4

138.2

199.9

138.2

199.9

138.4

214.7

138.4

214.7

129.6

214.7

129.6

230.4

119.2

230.4

119.2

239.7

119.2

239.7

118.2

239.7

118.2

242.8

122.7

242.8

122.7

247.2

122.7

247.2

127.7

247.2

127.7

254.2

131.4

254.2

131.4

258.4

131.4

258.4

133.8

261

133.8

261

136.1

261

136.1

265

136.1

265

136.8

273.1

136.8

273.1

130.7

273.1

130.7

289.6

130.7

289.6

120.5

305.9

120.5

305.9

115.7

305.9

115.7

316.6

116.5

316.6

116.5

317.7

116.5

317.7

117.8

317.7

117.8

310.3

119.2

310.3

119.2

310.3

119.2

310.3

120.7

319.5

120.7

319.5

124.6

319.5

124.6

330.3

124.6

330.3

134.2

330.3

134.2

330.3

149.2

330.3

149.2

330.3

149.2

330.3

166.7

329.1

166.7

329.1

183.3

329.1

183.3

324.8

197.2

324.8

197.2

328.5

197.2

328.5

205.8

328.5

205.8

328.4

209.3

328.4

209.3

321.2

209.3

321.2

210.2

321.2

210.2

310.3

211.2

310.3

211.2

302.1

211.2

302.1

212.2

302.1

212.2

297.8

212.5

297.8

212.5

292.6

212.5

292.6

211.5

285.1

211.5

285.1

208

285.1

208

272.7

204.8

272.7

204.8

255.4

204.8

255.4

204.8

255.4

204.8

242.8

204.8

242.8

204.8

238.2

204.8

238.2

202.6

238.2

202.6

237

200.5

237

200.5

236.3

200.5

236.3

198.7

236.3

198.7

236.7

194.2

236.7

194.2

237.8

194.2

237.8

189.6

240.1

189.6

240.1

187.4

240.1

187.4

240.9

187.4

240.9

186.3

239.3

186.3

239.3

186

239.3

186

238.9

186

238.9

186.6

238.9

186.6

238.9

186.8

238.9

186.8

237.4

186.3

237.4

186.3

237

186.3

237

185.7

237

185.7

240.5

183

240.5

183

244.4

183

244.4

178.8

242.8

178.8

242.8

177.4

242.8

177.4

242

177.4

242

177.2

244.8

177.2

244.8

175.9

244.8

175.9

247.6

175.9

247.6

176.2

252.9

176.2

252.9

176.2

252.9

176.2

258.8

174.9

258.8

174.9

264.5

174.9

264.5

175.4

264.5

175.4

274

176.1

274

176.1

287.6

176.1

287.6

171.3

287.6

171.3

297.8

163.9

297.8

163.9

303.2

163.9

303.2

160.4

307.5

160.4

307.5

160.1

307.5

160.1

313.1

160.1

313.1

159.2

318.9

159.2

318.9

159.7

318.9

159.7

323.6

159.7

323.6

164.1

321.8

164.1

321.8

169.6

321.8

169.6

316.6

171.3

316.6

171.3

317.7

171.3

317.7

169.9

317.7

169.9

323.6

168.1

323.6

168.1

329.7

168.1

329.7

166.9

333.4

166.9

333.4

166.5

333.4

166.5

339.1

166.5

339.1

166

346.9

166

346.9

164.8

346.9

164.8

354.3

164.8

354.3

164.3

361.2

164.3

361.2

163.6

361.2

163.6

360.5

160.1

360.5

160.1

355.7

160.1

355.7

155.6

355.7

155.6

351.6

152.8

351.6

152.8

346.2

152.8

346.2

151.3

346.2

151.3

339

150.2

339

150.2

333.4

150.2

333.4

149.2

327.8

149.2

327.8

145.9

327.8

145.9

327.8

145.9

327.8

143

330.9

143

330.9

142.2

330.9

142.2

331.5

142

331.5

142

332.7

142

332.7

140.6

332.7

140.6

335.2

137.7

335.2

137.7

339.7

137.7

339.7

134.9

339.7

134.9

342.9

133

342.9

133

344.2

133

344.2

130.9

347.5

130.9

347.5

128.5

347.5

128.5

359.1

128.5

359.1

127.6

373.6

127.6

373.6

127.5

373.6

127.5

384.2

127.5

384.2

127.1

390.5

127.1

390.5

126.4

390.5

126.4

397.8

124.9

397.8

124.9

403.6

124.9

403.6

123

403.6

123

409.6

121.3

409.6

121.3

416.5

121.3

416.5

120.3

421.9

120.3

421.9

120.2

421.9

120.2

425.5

120.2

425.5

120.8

428.3

120.8

428.3

121.3

428.3

121.3

433.9

121.3

433.9

122

437.7

122

437.7

123.2

437.7

123.2

439.6

123.7

439.6

123.7

445.5

123.7

445.5

123.8

445.5

123.8

454.5

123.5

454.5

123.5

459.6

123.5

459.6

121.5

459.6

121.5

464.8

119.3

464.8

119.3

465.9

119.3

465.9

117.4

468

117.4

468

115

468

115

472.3

115

472.3

113.3

480

113.3

480

113.2

480

113.2

485.6

113.2

485.6

112.4

483.4

112.4

483.4

110.3

483.4

110.3

480

109.8

480

109.8

486.8

109.8

486.8

111.3

486.8

111.3

497.2

113.1

497.2

113.1

503.2

113.1

503.2

114.7

512.9

114.7

512.9

115.3

512.9

115.3

526.9

115.3

526.9

115.6

532.1

115.6

532.1

116.4

532.1

116.4

533.5

116.4

533.5

116

533.5

116

533.5

115

533.5

115

534.8

114.7

534.8

114.7

536.1

114.7

536.1

114.9

536.1

114.9

534.8

115.5

534.8

115.5

537.5

115.5

537.5

116

537.5

116

538.8

116.9

538.8

116.9

541.5

116.9

541.5

117.4

544.2

117.4

544.2

118.5

544.2

118.5

547

118.5

547

121

556.8

121

556.8

123.3

556.8

123.3

562.6

124.2

562.6

124.2

564

124.2

564

124

564

124

572.9

122

572.9

122

582

122

582

120.1

582

120.1

583.5

120.2

583.5

120.2

586.6

120.2

586.6

120.5

591.3

120.5

591.3

121

591.3

121

599.3

121

599.3

120.8

612.4

120.8

612.4

121.6

612.4

121.6

622.6

121.6

622.6

122.6

620.9

122.6

620.9

122.8

620.9

122.8

617.5

123.3

617.5

123.3

626.1

123.3

626.1

123.7

626.1

123.7

640.2

123.7

640.2

123.7

653.1

123.7

653.1

123.8

666.4

123.8

666.4

125

666.4

125

672.3

125

672.3

124.7

674.3

124.7

674.3

123.8

674.3

123.8

676.3

123.8

676.3

124.8

682.3

124.8

682.3

125

682.3

125

684.3

124.2

684.3

124.2

682.3

124.2

682.3

124.5

682.3

124.5

670.3

126.2

670.3

126.2

666.4

126.2

666.4

128.7

666.4

128.7

684.3

131.2

684.3

131.2

707.2

131.2

707.2

133

733.8

133

733.8

134.1

733.8

134.1

759.8

134.1

759.8

136.2

787.4

136.2

787.4

138.5

787.4

138.5

816.9

138.5

816.9

139.1

816.9

139.1

833.7

140.2

833.7

140.2

830.9

142.2

830.9

142.2

819.6

142.2

819.6

144.4

819.6

144.4

828.1

147.5

828.1

147.5

851.3

147.5

851.3

150.2

830.9

150.2

830.9

152.3

830.9

152.3

787.4

152.3

787.4

154.7

787.4

154.7

772.1

157.6

772.1

157.6

787.4

157.6

787.4

159.2

792.6

159.2

792.6

159.4

792.6

159.4

800.6

173.5

800.6

173.5

822.4

173.5

822.4

179.5

822.4

179.5

833.8

185.1

833.8

185.1

848.3

185.1

848.3

208.2

894.9

208.2

894.9

189.8

894.9

189.8

1011.1

189.8

1011.1

160.1

1163.1

160.1

1163.1

151.9

1163.1

151.9

1229.2

151.9

1229.2

151.4

1271

151.4

1271

152.1

1271

152.1

1309

153

1309

153

1342.4

153

1342.4

153.8

1342.4

153.8

1356.2

155.1

1356.2

155.1

1363.2

155.1

1363.2

156.7

1363.2

156.7

1356.2

158.9

1356.2

158.9

1356.2

158.9

1356.2

174.3

1322.2

174.3

1322.2

209.4

1322.2

209.4

1309.2

209.4

1309.2

208.8

1309.2

208.8

1309.2

179.7

1309.2

179.7

1309.2

179.7

1190

170.3

1089.2

170.3

1089.2

169

1089.2

169

1080

169.5

1080

169.5

1080

169.5

1098.6

170.5

1098.6

170.5

1098.6

171.5

1112.9

171.5

1127.5

171.5

1127.5

172.8

1142.5

172.8

1142.5

174.5

1142.5

174.5

1142.5

174.5

1142.5

177.1

1142.5

177.1

1142.5

180

1142.5

180

1142.5

180

1147.7

183.2

1147.7

183.2

1147.7

187.8

1147.7

187.8

1147.7

193

1147.7

193

1158

193

1158

197.1

1158

197.1

1168.5

200.7

1168.5

200.7

1168.5

200.7

1179.1

218.4

1179.1

218.4

1179.1

240.2

1195.4

240.2

1206.5

240.2

1206.5

228.2

1206.5

228.2

1206.5

208.5

1206.5

208.5

1200.9

208.5

1200.9

202.8

1200.9

202.8

1212.1

203.4

1212.1

203.4

1212.1

203.4

1229.4

203.4

1241.1

203.4

1241.1

203.4

1241.1

203.4

1241.1

203.4

1253

208.5

1253

208.5

1259

213.7

1259

213.7

1265.1

217

1265.1

217

1265.1

217

1277.4

231.1

1277.4

231.1

1277.4

253.9

1271.2

253.9

1265.1

253.9

1265.1

270.2

1277.5

270.2

1277.5

278.6

1277.5

278.6

1277.5

278.6

1296.4

292

1296.4

292

1309.3

306.4

1309.3

306.4

1309.3

306.4

1315.9

300.4

1329.1

300.4

1329.1

279.1

1329.1

279.1

1322.4

264.3

1322.4

264.3

1322.5

264.3

1322.5

260.8

1322.5

260.8

1315.8

263.4

1315.8

263.4

1315.8

263.4

1309.3

269.7

1309.3

269.7

1302.9

277.2

1302.9

277.2

1296.5

277.2

1296.5

283.5

1296.5

283.5

1296.5

290

1296.5

290

1265.2

290

1265.2

298.3

1265.2

298.3

1201.1

307.5

1201.1

307.5

1201.1

313.7

1179.2

313.7

1195.6

313.7

1195.6

317.8

1195.6

317.8

1195.6

318.4

1195.6

318.4

1195.6

318.4

1201.2

323.1

1201.2

323.1

1218

331.6

1218

331.6

1218

331.6

1241.3

337.3

1259.2

337.3

1259.2

339.2

1259.2

339.2

1259.2

339.2

1265.2

340.5

1265.3

340.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1277.6

343.8

1277.6

343.8

1277.6

344.4

1277.6

344.4

1283.8

344.4

1283.8

344.4

1283.8

344.4

1283.8

345.8

1302.9

345.8

1316

345.8

1316

347.1

1316

347.1

1322.6

347.8

1322.6

347.8

1322.6

347.8

1309.5

349.1

1290.2

349.1

1290.2

349.8

1290.2

349.8

1290.2

349.8

1290.2

349.8

1290.2

349.8

1309.5

350.4

1309.5

350.4

1343

351.1

1343

351.1

1343

351.1

1342.9

352.5

1342.9

352.5

1342.9

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.1

1343

353.1

1343

353.1

1342.9

355.2

1342.9

355.2

1303.1

355.9

1303.1

355.9

1303.1

355.9

1241.4

354.5

1206.8

354.5

1206.8

353.1

1206.8

353.1

1206.8

353.1

1206.9

353.1

1212.5

353.1

1212.5

352.4

1212.5

352.4

1212.5

352.4

1212.5

352.4

1223.9

352.4

1223.9

353.8

1223.9

353.8

1223.9

353.8

1247.4

353.8

1265.6

353.8

1265.6

353.8

1265.6

353.8

1271.6

353.8

1271.6

353.8

1271.6

353.8

1259.4

353.1

1259.4

353.1

1253.4

352.4

1253.4

352.4

1253.4

352.4

1253.4

353.1

1265.6

353.1

1265.6

353.8

1265.6

353.8

1265.6

354.5

1271.7

354.5

1284.1

354.5

1284.1

354.5

1284.1

354.5

1290.5

353.8

1290.5

353.8

1290.5

353.8

1284.2

355.2

1284.2

355.2

1290.5

356.6

1290.5

356.6

1290.5

356.6

1284.2

356.6

1284.2

356.6

1278

358.7

1278

358.7

1278

358.7

1259.5

359.4

1259.5

359.4

1235.6

358.7

1235.6

358.7

1235.6

359.3

1235.6

359.3

1235.6

359.3

1253.5

361.5

1253.5

361.5

1253.5

361.5

1265.6

361.5

1265.6

361.5

1271.8

362.2

1271.8

362.2

1290.6

365

1290.6

365

1290.6

365

1316.4

366.5

1316.4

366.5

1350.1

365

1350.1

365

1350.1

365

1364

363.6

1364

363.6

1378.2

364.3

1378.2

364.3

1378.2

364.3

1400

365

1400

365

1422.5

365.8

1422.5

365.8

1422.5

365

1437.9

365

1437.9

365

1461.5

361.4

1461.5

361.4

1461.5

361.4

1469.6

361.4

1469.6

361.4

1477.7

362.9

1477.7

362.9

1494.1

362.9

1494.1

362.9

1494.1

362.9

1494.1

363.6

1494.1

363.6

1494

364.3

1494

364.3

1511

364.3

1511

364.3

1511

364.3

1528.2

360.7

1528.2

360.7

1528.2

355.8

1537

355.8

1537

355.8

1528.2

355.8

1528.2

355.8

1528.2

356.5

1528.2

356.5

1528.2

356.5

1528.3

355.8

1528.3

355.8

1528.3

355.1

1545.9

355.1

1545.9

355.1

1573

355.8

1573

355.8

1537.1

356.5

1537.1

356.5

1537.1

356.5

1494.4

356.5

1494.4

356.5

1511.2

356.5

1511.2

356.5

1511.2

356.5

1502.8

357.9

1502.8

357.9

1494.4

358.6

1494.4

358.6

1494.4

357.9

1494.4

357.9

1494.4

357.9

1494.4

358.6

1494.4

358.6

1511.3

358.6

1511.3

358.6

1511.3

358.6

1528.6

358.6

1528.6

358.6

1555.1

360

1555.1

360

1555.1

360

1573.1

360

1573.1

360

1610.6

360

1610.6

360

1610.6

360

1680.4

360.7

1680.4

360.7

1745.1

1745.1

1745.1

1767.7

1767.7

1790.8

1790.8

1790.8

1826.6

1826.6

1863.7

1863.7

1889.3

1889.3

1889.3

1902.4

1902.4

1942.8

1942.8

1942.8

1984.6

1984.6

1998.7

1998.7

1998.7

1929

1929

1814.6

1814.6

1814.6

1779.4

1779.4

1791

1791

1814.7

1814.7

1814.7

1851.6

1851.6

1889.7

1889.7

1889.7

1902.9

1902.9

1916.1

1916.1

1916.1

1929.3

1929.3

1929.3

1929.3

1929.3

1929.3

1929.3

1943

1943

1943

1970.6

1970.6

1999

1999

1984.8



Sheet1

		

																																		15.625





Sheet1

		105

		178

		278

		351

		437

		535

		581

		629

		717

		885

		952

		1025

		1062

		1115

		1208

		1245

		1325

		1380

		1429

		1462

		1496

		1527



b

L,mm

time,s

Wood layer height ,mm

148

147

145

132

127

115

112

110

90

84

80

76

60

54

45

33

25

22

20

15

12

12



Sheet2

		0		0		0		0		0

		0		0		0		0		0

		5		5		5		5		5

		5		5		5		5		5

		10		10		10		10		10

		10		10		10		10		10

		15		15		15		15		15

		15		15		15		15		15

		20		20		20		20		20

		20		20		20		20		20

		25		25		25		25		25

		25		25		25		25		25

		30		30		30		30		30



a

vax,air-40/70 l/min

vax, air-47/70l/min

vax,air-55/70l/min

vax,air-40/90 l/min

vax, air-40/100l/min

Radial distance,mm

Velocity,m/s

0.16

0

0.04

0.24

0.04

0

0.08

0.74

0.72

0.86

0.28

0

0.2

0.58

0.24

0

0.04

0.68

1.06

0.84

0

0.16

0.52

1.16

1.18

0

0.32

0.72

1.16

1.09

0.84

1.14

1.405

1.81

2.03

0.96

0.82

1.415

1.64

2.085

1.48

1.65

1.775

2.52

3.4

1.55

1.61

1.93

2.615

3.46

3.035

2.55

3.035

3.835

4.57

2.9

1.715

2.93

3.755

4.415

0.28

0.28

2.18

3.43

4.32



Sheet3

		0		0		0		0		0

		0		0		0		0		0

		5		5		5		5		5

		5		5		5		5		5

		10		10		10		10		10

		10		10		10		10		10

		15		15		15		15		15

		15		15		15		15		15

		20		20		20		20		20

		20		20		20		20		20

		25		25		25		25		25

		25		25		25		25		25

		30		30		30		30		30



b

vtg,air-40/100l/min

vtg, air-40/90l/min

vtg,air-40/70l/min

vtg,air-47/70l/min

vtg, air-55/70l/min

Radial distance,mm

Velocity,m/s

0

0

0.7238095238

1.1619047619

1.2285714286

0

0.0761904762

1.180952381

1.2666666667

1.3142857143

0.1142857143

0

0.2285714286

1.1619047619

1.2

0

0

0.9142857143

1.2

1.3047619048

1.1428571429

0.0380952381

0.0380952381

0.780952381

1.0476190476

0.9428571429

0

0.380952381

0.9904761905

1.180952381

1.8904761905

1.7047619048

0.6285714286

0

0

1.7761904762

1.2666666667

0.0380952381

0

0.0952380952

4.719047619

4.7571428571

3

2.2666666667

2.7904761905

4.5142857143

3.9047619048

2.9619047619

1.8333333333

2.2666666667

8.9571428571

7.3904761905

5.3857142857

5.0857142857

4.919047619

9.0142857143

7.4095238095

5.3714285714

5.0238095238

4.8380952381

1.8761904762

3.1666666667

1.9714285714

0.0761904762

2



		0		0		0		0		0		0

		5		5		5		5		5		0

		10		10		10		10		10		5

		15		15		15		15		15		5

		20		20		20		20		20		10

		25		25		25		25		25		10

		30		30		30		30		30		15

												15

												20

												20

												25

												25

												30



a

vax,prop.-0, t-650s

vax,prop.-0,t-850s

vax,prop.-0,t=1050s

vax,prop.-0,t=1250s

vax,prop.-0,t=1450s

vax,40/70,cold air, L=130mm

Radial distance,mm

Velocity,m/s

0

0

0

1.04

0.84

0.04

0

0

0

0.44

0.84

0.16

0

0

0.24

0.56

0

0.52

0.08

0

0.08

0.16

1.22

1.22

0.48

0

0.16

0.08

1.3

1.4

0.36

0.24

0.16

0.4

0.32

0.08

0.008

0.48

0

0

1.21

0.78

1.435

1.52

1.845



		0		0		0		0		0		0

		5		5		5		5		5		0

		10		10		10		10		10		5

		15		15		15		15		15		5

		20		20		20		20		20		10

		25		25		25		25		25		10

		30		30		30		30		30		15

												15

												20

												20

												25

												25

												30



b

vax,co-firing,t-550s

vax,co-firing,t-750s

vax,co-firing,t-950s

vax,co-firing,t-1350s

vax,co-firing,t-1550s

vax,40/70,cold air, L=130mm

Radial distance,mm

Velocity,m/s

0

0.4

0.28

1.1

1.06

0.04

0.08

0.48

0.4

0.74

0.52

0.16

0.08

0.28

0.32

0.52

0

0.48

0.24

0.58

0.16

0.32

0.64

0.82

1.32

0.74

0.36

0.08

1.68

1.49

1.41

1.09

0.86

1.68

1.65

0.08

0.36

0.36

0

0

1.21

0.78

1.435

1.52

1.845



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



a

CO2-1200s, prop=0

CO2-1400s, prop=0

CO2-1600s, prop=0

CO2-1050s, co-firing

CO2-1350s, co-firing

CO2-1550s, co-firing

Radial distance,mm

Volume fraction,%

15.2

15.9

8.725

16.35

17.45

17.65

12.3

13.125

10

14.425

14.5

16.4

8.1

9.5

5.75

9.775

10.025

12.25

4.625

5.05

3.85

7.3

7.3

7.75

3.8

3.3

2.9

6.4

6.375

6.6

4

3.3

3

6.675

6.15

6.025

3.9

3.3

3.1

5.975

6.3

6.125



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



b

CO-4,co-firing

CO-5,co-firing

CO-6, co-firing

CO-4, prop=0

CO-5, prop=0

CO-6, prop=0

Radial distance,mm

Mass fraction,ppm

268

1275.75

1254.5

33

63.75

419

100.25

460.5

390.5

19.5

31.25

135.5

28.5

116

60

16.75

18.25

301.5

38.5

42

44

43

18.5

2217

171.5

24

30.5

107.5

26

40.75

472.25

39.5

20

217.5

46.25

25

20.5

29

25.25

82.5

74.5

53



		0		0		0		0		0

		5		5		5		5		5

		10		10		10		10		10

		15		15		15		15		15

		20		20		20		20		20

		25		25		25		25		25

		30		30		30		30		30



b

NOx-1200s, prop=0

NOx-1400s,prop=0

NOx-1050s, co-firing

NOx-1350s,co-firing

NOx-1550s, co-firing

Radial distance,mm

Mass fraction,ppm

99

102.75

87.25

91.75

84.75

76

83.25

77

75

83.25

48.75

62

54.75

55.5

66.25

28

34

40

41.25

41

22

24.75

35.5

36

34.75

23.5

23

37.25

34

31.5

24.25

21.25

33.25

32.5

32



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



c

eff-1200s, prop=0

eff-1400s, prop=0

eff-1400s, prop=0

eff-1050s, co-firing

eff-1350s, co-firing

eff-1550s, co-firing

Radial distance,mm

Efficiency,%

59.375

60.75

60.75

60.1

62.45

63.8

51.75

54.2

54.2

55.725

55.525

61.55

35

40.2

40.2

39.4

40.3

49.55

2.5

3.475

3.475

36.95

37.575

34.1

21.725

13.8

13.8

47.225

51.225

51.9

51

42.75

42.75

66.425

63.45

65.825

55.7

50.775

50.775

66.35

67.4

67.925



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



d

a.e.-1200s, prop=0

a.e.-1400s, prop=0

a.e.-1600s, prop=0

a.e.-1050s, co-firing

a.e.-1350s, co-firing

a.e.-1550s, co-firing

Radial distance,mm

Air excess,%

35.65

29.65

135.65

26.2

17.95

16.7

67

56.475

105.225

42.525

41.75

25.5

153.95

116.9

256.05

110.8

104.75

68.425

345.875

310.4

434.5

182.925

182.925

166.3

441.9

516.55

606.05

222.45

223.875

213.75

411.45

525.125

584.2

209.075

233.7

241.2

425.875

522.2

563.7

244.7

228.9

236.975



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



T-1, co-firing

T-2, co-firing

T-3,co-firing

T-4, co-firing

T-5, co-firing

T-6, co-firing

T-7, co-firing

T-8,co-firing

Radial distance,mm

Relative temperature

1

1

1

1

1

1

1

1

1.0157893482

0.9918894296

1.0231464099

0.9904062326

0.9983473289

0.9990209249

0.9376398803

0.9915641668

1.0020750352

0.9543808191

0.9732977008

0.9410350584

0.9537252099

0.9894578656

0.8760100832

0.8725917057

0.7917571016

0.7849921116

0.8351039159

0.7889148581

0.7869840986

0.8673694756

0.7328433105

0.7087732666

0.6279962792

0.619136502

0.6590763522

0.6471452421

0.6199079864

0.6381065143

0.5629844276

0.6083052139

0.5421089036

0.4844565918

0.5348852618

0.5130105732

0.5211497231

0.5085725996

0.4818715104

0.5392674431

0.5198797911

0.4720574184

0.4937164565

0.4904618809

0.4962033232

0.4965504679

0.4669823545

0.5293349298



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



d

T-450s,co-firing

T-650s, co-firing

T-850s,co-firing

T-1050s, co-firing

T-1350s, co-firing

T-1550s, co-firing

T-1750s, co-firing

T-1950s,co-firing

Radial distance,mm

Temperature,K

1048.175

1125.075

1131.925

1123.125

1119.4

1097.975

1061.175

918.7

1064.725

1115.95

1158.125

1112.35

1117.55

1096.9

995

910.95

1050.35

1073.75

1101.7

1056.9

1067.6

1086.4

929.6

801.65

829.9

883.175

945.275

886.05

880.95

952.35

777.675

651.15

658.25

696.575

746.025

726.825

693.925

700.625

597.425

558.85

568.225

545.05

605.45

576.175

583.375

558.4

511.35

495.425

544.925

531.1

558.85

550.85

555.45

545.2

495.55

486.3



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



T-1, prop=0

T-2,prop=0

T-3, prop=0

T-4, prop=0

T-5, prop=0

T-6, prop=0

T-7, prop=0

T-8, prop=0

Radial distance,mm

Relative temperature

1

1

1

1

1

1

1

1

0.9917738145

0.9648602598

1.0181515179

0.9769191709

0.9785396913

1.0962289445

0.8829272662

0.9391101451

0.9512880778

0.9096501516

0.9660841366

0.900752435

0.9404745545

0.9997960016

0.8091484534

0.8658825034

0.8167196645

0.7944723507

0.8348797406

0.8109218483

0.8450826806

0.9266188728

0.6743699988

0.6873042255

0.6079773261

0.5596468323

0.6282992523

0.6261828925

0.6109660574

0.6875327855

0.5517437

0.5270408489

0.4998156597

0.4613971809

0.5127916404

0.5040391451

0.4916174248

0.5788890832

0.5023289144

0.5180591958

0.4728328494

0.4442477484

0.4771867399

0.4764806352

0.4606522835

0.5670863205

0.4907739162

0.5174199322



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



T-1, prop=0

T-2, prop=0

T-3, prop=0

T-4,prop=0

T-5,prop=0

T-6, prop=0

T-7,prop=0

T-8, prop=0

Radial distance,mm

Temperature,K

1084.95

1129.775

1110.1

1083.15

1091.55

857.85

837.3

782.15

1076.025

1090.075

1130.25

1058.15

1068.125

940.4

739.275

734.525

1032.1

1027.7

1072.45

975.65

1026.575

857.675

677.5

677.25

886.1

897.575

926.8

878.35

922.45

794.9

564.65

537.575

659.625

632.275

697.475

678.25

666.9

589.8

461.975

412.225

542.275

521.275

569.25

545.95

536.625

496.6

420.6

405.2

513

501.9

529.725

516.1

502.825

486.475

410.925

404.7



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400



a

a

a

T1,K-L=30mm,co-firing

T1,K-L=30mm;prop.=0

time,s

Temperature,K

610.7291371962

703.7689948723

607.0700332561

705.9125698322

613.1667291234

701.3858687852

622.6594966529

704.9600147059

607.0700332561

703.7689948723

602.4304894179

707.102937814

608.2900967093

705.9125698322

614.3849818772

707.102937814

617.7941630035

704.9600147059

615.3593233395

703.7689948723

609.5097980227

707.102937814

613.1667291234

709.4825873581

608.2900967093

705.9125698322

610.7291371962

710.6718689203

603.6519290027

705.9125698322

608.2900967093

703.7689948723

607.0700332561

702.5776128987

605.8496076629

704.9600147059

601.2086876931

702.5776128987

589.2158663473

702.5776128987

594.1150962908

704.9600147059

590.441217043

703.7689948723

598.7639978239

702.5776128987

613.1667291234

703.7689948723

614.3849818772

703.7689948723

603.6519290027

703.7689948723

613.1667291234

702.5776128987

615.3593233395

703.7689948723

616.5769242415

705.9125698322

609.5097980227

707.102937814

611.9481142297

705.9125698322

613.1667291234

710.6718689203

619.0110396257

601.2086876931

623.8749247155

596.3178593952

610.7291371962

628.4902486375

619.0110396257

639.1582901581

622.6594966529

653.4191495324

608.2900967093

510.7893308859

596.3178593952

693.2724048636

610.7291371962

702.5776128987

613.1667291234

703.7689948723

609.5097980227

702.5776128987

608.2900967093

704.9600147059

611.9481142297

703.7689948723

604.6288199299

704.9600147059

595.0942469709

705.9125698322

599.9865238285

707.102937814

622.6594966529

705.9125698322

621.4437064504

704.9600147059

619.0110396257

707.102937814

616.5769242415

708.292943656

623.8749247155

703.7689948723

629.7039384287

701.3858687852

619.0110396257

707.102937814

601.2086876931

709.4825873581

589.2158663473

710.6718689203

592.8908320148

707.102937814

598.7639978239

709.4825873581

598.7639978239

707.102937814

604.6288199299

703.7689948723

611.9481142297

704.9600147059

611.9481142297

702.5776128987

613.1667291234

664.9840056065

574.7293793329

616.5769242415

502.0410184134

611.9481142297

526.4915763021

644.9654016504

572.5151436367

669.7928454323

594.1150962908

687.2959394413

608.2900967093

701.3858687852

603.6519290027

703.7689948723

548.3286291882

661.6143701567

522.7581612556

643.9981291588

630.9172660799

662.8181373147

856.4802125217

684.9028182932

841.8094835527

707.102937814

801.3912790058

721.1219311953

777.3948883404

722.3076637865

769.4400127215

722.3076637865

760.2946822072

727.994139237

754.4207023752

722.3076637865

752.3038533395

724.6780425493

751.1273191017

723.4930342378

744.2962791232

723.4930342378

746.4175607512

723.4930342378

745.2392158138

719.9358364642

744.2962791232

721.1219311953

744.2962791232

718.7493795932

744.2962791232

717.5625605823

746.4175607512

722.3076637865

747.5955435486

716.3753794315

749.9504227239

719.9358364642

747.5955435486

724.6780425493

743.117282334

732.726495117

748.7731642062

733.9086787372

748.7731642062

738.3976737783

751.1273191017

748.7731642062

754.4207023752

751.1273191017

756.7713807277

757.9461766941

751.1273191017

765.9251853156

751.1273191017

768.2687657261

752.3038533395

779.731370809

753.4800254375

784.1666967177

754.4207023752

794.4179007336

755.5962226214

792.3233450298

753.4800254375

803.4807502654

754.4207023752

808.1198189085

754.4207023752

823.8493113921

755.5962226214

823.8493113921

755.5962226214

836.2926634001

763.8147244276

840.8905929511

761.4683917539

842.9577708788

761.4683917539

841.8094835527

761.4683917539

847.5472987842

757.9461766941

850.9856422443

761.4683917539

858.7671542527

768.2687657261

860.8241632921

764.7528519004

863.1083527599

764.7528519004

860.8241632921

770.610897577

864.2499042839

772.9515808684

872.0028506974

765.9251853156

877.6928634628

770.610897577

890.8588262493

768.2687657261

894.2558857615

772.9515808684

891.9915415599

779.731370809

895.3875146524

778.5633106446

896.5187814034

778.5633106446

875.4179447763

773.8874485883

880.8753160437

772.9515808684

882.0112181854

775.0569573122

888.8190260977

778.5633106446

886.5512053532

777.3948883404

896.5187814034

776.2261038962

901.943820821

778.5633106446

904.2017913604

775.0569573122

904.2017913604

772.9515808684

903.0729871607

779.731370809

903.0729871607

785.3330186105

916.3698011635

779.731370809

920.6410921854

785.3330186105

917.2694548939

785.3330186105

919.5175752281

782.066404718

916.3698011635

783.2333784627

914.1196528459

784.1666967177

906.4583133402

782.066404718

904.2017913604

788.8298114497

893.1238947307

791.1591959764

905.3302334202

792.3233450298

914.1196528459

793.2544035319

926.2532448734

794.4179007336

935.8849695556

801.3912790058

939.2385722803

799.0682681413

939.2385722803

800.2299546435

973.922831741

805.8010088667

1012.6305799657

809.2786807195

1036.1609107338

810.4371803906

1054.1295856008

821.7713127244

1075.0026620375

825.0032481006

1089.7675615265

827.3100350978

1093.8211485292

838.5923524554

1110.4073908997

842.9577708788

1138.2756460921

848.6937754108

1134.2798566166

850.9856422443

1144.3644006852

856.4802125217

1144.3644006852

860.8241632921

1162.7660496723

873.1415775303

1178.1533369321

876.5555851895

1185.1965760651

887.6852967954

1188.091866195

904.2017913604

1189.1252103184

926.2532448734

1202.320030903

945.7129624047

1209.305646336

971.9313989937

1236.2675667706

992.2329610721

1240.1276696702

994.4322649485

1257.9378428098

998.8265270226

1277.6398775406

1018.9655027738

1300.979501934

1036.1609107338

1307.7247723615

1053.0499599988

1322.1506912556

1072.8570997215

1336.6954383216

1103.1883256049

1340.4171023822

1134.2798566166

1349.9909451148

1155.6696194315

1355.6407137273

1182.0913288803

1354.6674848264

1203.3483774959

1356.6135804883

1218.320997261

1369.0342908336

1235.2508810823

1382.1662842215

1257.9378428098

1387.7463191758

1280.4430972236

1397.1469721251

1296.2080525987

1405.5587372445

1319.3900592243

1410.3256554178

1343.3515643926

1423.2458693951

1356.6135804883

1431.570315343

1358.5582275906

1434.2131215382

1366.1285103029

1439.8667171775

1383.1292283493

1470.914294709

1386.0158878936

1487.2113604541

1394.4646202534

1496.237242069

1408.4199745681

1490.7153204955

1428.7355866597

1490.7153204955

1433.4583237658

1486.2883965707

1431.570315343

1492.5574095796

1430.6257679218

1497.891276319

1418.5035767347

1503.3962497454

1426.0868993126

1498.8096772398

1424.1932415075

1497.891276319

1421.3500387506

1509.6194593004

1425.14025148

1514.0022311293

1426.843956838

1517.6481673246

1423.2458693951

1515.8259235067

1416.7941350808

1521.1064397968

1429.6808583607

1523.8329610795

1431.570315343

1528.1886158731

1430.6257679218

1519.2869482422

1426.0868993126

1519.2869482422

1428.7355866597

1518.5587460236

1426.843956838

1514.914258388

1428.7355866597

1515.8259235067

1435.1562928278

1509.6194593004

1436.0991019775

1507.7908418204

1433.4583237658

1507.7908418204

1435.1562928278

1506.8759898706

1445.3194672015

1503.3962497454

1447.1969011394

1500.6453926617

1441.7483519381

1500.6453926617

1447.1969011394

1502.4796595241

1457.310013294

1501.5627071628

1449.8228750722

1503.3962497454

1448.1350748984

1501.5627071628

1442.5006002456

1497.891276319

1447.1969011394

1497.891276319

1447.1969011394

1494.3980501041

1449.8228750722

1497.891276319

1458.9914253201

1488.8717828519

1458.9914253201

1488.1339621977

1465.3328373368

1482.5929196378

1471.8432701148

1469.0552574779

1473.5145132525

1456.375388506

1476.297311075

1452.6332679546

1470.914294709

1443.4405847042

1477.2241860693

1445.3194672015

1477.2241860693

1444.3802070228

1470.914294709

1444.3802070228

1458.9914253201

1444.3802070228

1453.5693413023

1455.440401578

1449.8228750722

1452.6332679546

1447.1969011394

1451.696832467

1443.4405847042

1458.0574523838

1433.4583237658

1446.2583652404

1434.2131215382

1447.1969011394

1436.0991019775

1448.1350748984

1437.0415489874

1445.3194672015

1428.7355866597

1448.1350748984

1429.6808583607

1449.8228750722

1425.14025148

1449.8228750722

1421.3500387506

1441.7483519381

1420.4015802186

1437.9836338573

1415.8439382772

1433.4583237658

1418.5035767347

1429.6808583607

1422.2981351428

1445.3194672015

1416.7941350808

1439.8667171775

1405.5587372445

1396.1893152397

1397.1469721251

1399.0611994763

1406.5128451589

1403.6494349959

1406.5128451589

1385.0540301854

1402.6942406618

1372.710267325

1397.1469721251

1374.6428913828

1397.1469721251

1377.5391114203

1400.9739782678

1379.2752789985

1405.5587372445

1393.5059493763

1401.9298244538

1387.7463191758

1393.5059493763

1381.2029779537

1393.5059493763

1380.239309546

1390.6277639056

1370.002160064

1386.0158878936

1371.7434120863

1390.6277639056

1376.574066881

1386.0158878936

1379.2752789985

1387.7463191758

1383.1292283493

1384.0918103373

1390.6277639056

1382.1662842215

1393.5059493763

1384.0918103373

1397.1469721251

1379.2752789985

1387.7463191758

1368.0660594632

1400.9739782678

1371.7434120863

1403.6494349959

1372.710267325

1402.6942406618

1373.6767604239

1392.5469163593

1373.6767604239

1395.2312962144

1378.5037938197

1399.0611994763

1381.2029779537

1393.5059493763

1379.2752789985

1405.5587372445

1378.5037938197

1412.039529664

1384.0918103373

1411.0875221609

1383.1292283493

1427.7899528188

1376.574066881

1433.4583237658

1368.0660594632

1429.6808583607

1368.0660594632

1432.5145006243

1368.0660594632

1440.8077156277

1362.2490663034

1441.7483519381

1357.5860851094

1455.440401578

1355.6407137273

1476.297311075

1356.6135804883

1482.5929196378

1360.5014261334

1484.441382384

1361.4724821949

1488.8717828519

1365.1591925128

1487.2113604541

1368.0660594632

1496.237242069

1364.1895125829

1496.9725132583

1363.2194705131

1505.0451995513

1361.4724821949

1495.3178271565

1368.0660594632

1500.6453926617

1362.2490663034

1502.4796595241

1369.0342908336

1510.5332248306

1370.002160064

1501.5627071628

1371.7434120863

1492.5574095796

1372.710267325

1487.2113604541

1379.2752789985

1485.3650705473

1379.2752789985

1487.2113604541

1387.7463191758

1487.2113604541

1367.097465953

1485.3650705473

1355.6407137273

1480.743008332

1345.3060617

1471.8432701148

1354.6674848264

1461.7911712896

1356.6135804883

1459.9250361165

1356.6135804883

1457.310013294

1352.9147602123

1466.2639855819

1356.6135804883

1462.7236956663

1351.9405173197

1465.3328373368

1354.6674848264

1464.587658

1351.9405173197

1457.310013294

1351.9405173197

1451.696832467

1364.1895125829

1447.1969011394

1366.1285103029

1432.5145006243

1387.7463191758

1435.1562928278

1379.2752789985

1426.0868993126

1369.0342908336

1431.570315343

1365.1591925128

1414.8933793338

1362.2490663034

1420.4015802186

1400.017769942

1417.7439697445

1404.6042671902

1425.14025148

1401.9298244538

1431.570315343

1416.7941350808

1448.1350748984

1426.843956838

1457.310013294

1432.5145006243

1453.5693413023

1432.5145006243

1455.440401578

1437.0415489874

1456.375388506

1433.4583237658

1442.5006002456

1442.5006002456

1437.9836338573

1441.7483519381

1437.9836338573

1441.7483519381

1434.2131215382

1454.5050525101

1432.5145006243

1449.8228750722

1433.4583237658

1455.440401578

1432.5145006243

1455.440401578

1430.6257679218

1450.7600348396

1438.9253565873

1446.2583652404

1431.570315343

1438.9253565873

1414.8933793338

1437.9836338573

1400.9739782678

1439.8667171775

1417.7439697445

1437.0415489874

1430.6257679218

1438.9253565873

1468.1251956524

1440.8077156277

1489.7937327436

1449.0728865176

1504.1292611817

1444.3802070228

1503.3962497454

1450.7600348396

1512.1770901923

1444.3802070228

1511.4466282208

1434.2131215382

1511.4466282208

1442.5006002456

1514.0022311293

1439.8667171775

1514.0022311293

1434.2131215382

1517.6481673246

1426.843956838

1507.7908418204

1432.5145006243

1488.8717828519

1425.14025148

1483.5173320808

1427.7899528188

1499.7277160207

1430.6257679218

1497.891276319

1442.5006002456

1487.2113604541

1444.3802070228

1482.5929196378

1448.1350748984

1486.2883965707

1443.4405847042

1495.3178271565

1455.440401578

1494.3980501041

1458.9914253201

1499.7277160207

1458.9914253201

1496.237242069

1446.2583652404

1494.3980501041

1434.2131215382

1496.237242069

1425.14025148

1508.7053316304

1419.4527595466

1500.6453926617

1422.2981351428

1504.1292611817

1425.14025148

1509.6194593004

1429.6808583607

1506.8759898706

1432.5145006243

1512.1770901923

1447.1969011394

1504.1292611817

1454.5050525101

1503.3962497454

1460.858284773

1493.4779109118

1459.9250361165

1495.3178271565

1461.7911712896

1499.7277160207

1457.310013294

1502.4796595241

1450.7600348396

1508.7053316304

1452.6332679546

1506.8759898706

1454.5050525101

1505.9607757809

1458.9914253201

1499.7277160207

1456.375388506

1496.237242069

1455.440401578

1496.237242069

1453.5693413023

1488.1339621977

1455.440401578

1487.2113604541

1449.8228750722

1493.4779109118

1449.0728865176

1488.8717828519

1446.2583652404

1488.1339621977

1438.9253565873

1493.4779109118

1432.5145006243

1496.237242069

1425.14025148

1496.237242069

1422.2981351428

1489.7937327436

1420.4015802186

1501.5627071628

1420.4015802186

1502.4796595241

1412.039529664

1492.5574095796

1409.3729960629

1482.5929196378

1415.8439382772

1481.6681450548

1417.7439697445

1480.743008332

1417.7439697445

1467.1947716871

1415.8439382772

1470.914294709

1419.4527595466

1469.0552574779

1421.3500387506

1467.1947716871

1425.14025148

1460.858284773

1431.570315343

1459.9250361165

1424.1932415075

1454.5050525101

1426.0868993126

1467.1947716871

1420.4015802186

1464.587658

1423.2458693951

1453.5693413023

1432.5145006243

1453.5693413023

1419.4527595466

1445.3194672015

1424.1932415075

1435.1562928278

1426.0868993126

1437.9836338573

1425.14025148

1440.8077156277

1436.0991019775

1441.7483519381

1446.2583652404

1447.1969011394

1451.696832467

1446.2583652404

1453.5693413023

1443.4405847042

1455.440401578

1442.5006002456

1456.375388506

1437.0415489874

1455.440401578

1436.0991019775

1458.9914253201

1432.5145006243

1460.858284773

1436.0991019775

1458.0574523838

1429.6808583607

1458.0574523838

1421.3500387506

1452.6332679546

1431.570315343

1456.375388506

1428.7355866597

1458.9914253201

1408.4199745681

1469.0552574779

1402.6942406618

1467.1947716871

1405.5587372445

1467.1947716871

1395.2312962144

1468.1251956524

1400.017769942

1448.1350748984

1396.1893152397

1459.9250361165

1399.0611994763

1458.0574523838

1400.017769942

1458.9914253201

1400.9739782678

1456.375388506

1407.4665909335

1463.6558579031

1404.6042671902

1459.9250361165

1414.8933793338

1464.587658

1412.9911750271

1456.375388506

1414.8933793338

1463.6558579031

1421.3500387506

1468.1251956524

1418.5035767347

1467.1947716871

1419.4527595466

1465.3328373368

1416.7941350808

1462.7236956663

1409.3729960629

1463.6558579031

1409.3729960629

1465.3328373368

1417.7439697445

1465.3328373368

1412.9911750271

1454.5050525101

1421.3500387506

1467.1947716871

1422.2981351428

1464.587658

1427.7899528188

1469.0552574779

1432.5145006243

1459.9250361165

1434.2131215382

1464.587658

1432.5145006243

1484.441382384

1421.3500387506

1482.5929196378

1420.4015802186

1486.2883965707

1429.6808583607

1489.7937327436

1426.843956838

1489.7937327436

1418.5035767347

1484.441382384

1418.5035767347

1485.3650705473

1419.4527595466

1488.1339621977

1422.2981351428

1488.1339621977

1426.843956838

1480.002638213

1422.2981351428

1482.5929196378

1418.5035767347

1480.743008332

1416.7941350808

1480.743008332

1415.8439382772

1474.4424746666

1411.0875221609

1474.4424746666

1413.9424582504

1472.7718833806

1412.039529664

1478.1506989238

1419.4527595466

1478.1506989238

1420.4015802186

1472.7718833806

1426.0868993126

1475.3700739407

1420.4015802186

1479.0768496383

1423.2458693951

1476.297311075

1430.6257679218

1471.8432701148

1431.570315343

1480.743008332

1431.570315343

1485.3650705473

1433.4583237658

1487.2113604541

1437.9836338573

1479.0768496383

1449.8228750722

1480.743008332

1447.1969011394

1477.2241860693

1447.1969011394

1480.002638213

1445.3194672015

1479.0768496383

1442.5006002456

1485.3650705473

1438.9253565873

1482.5929196378

1437.0415489874

1481.6681450548

1435.1562928278

1480.002638213

1433.4583237658

1479.0768496383

1436.0991019775

1477.2241860693

1437.9836338573

1476.297311075

1425.14025148

1469.9849571634

1422.2981351428

1474.4424746666

1422.2981351428

1469.0552574779

1423.2458693951

1473.5145132525

1421.3500387506

1475.3700739407

1413.9424582504

1478.1506989238

1417.7439697445

1475.3700739407

1408.4199745681

1478.1506989238

1415.8439382772

1484.441382384

1411.0875221609

1482.5929196378

1403.6494349959

1479.0768496383

1403.6494349959

1475.3700739407

1414.8933793338

1477.2241860693

1421.3500387506

1480.743008332

1421.3500387506

1482.5929196378

1411.0875221609

1483.5173320808

1408.4199745681

1488.1339621977

1418.5035767347

1482.5929196378

1412.9911750271

1481.6681450548

1418.5035767347

1483.5173320808

1426.0868993126

1481.6681450548

1422.2981351428

1484.441382384

1417.7439697445

1481.6681450548

1413.9424582504

1478.1506989238

1411.0875221609

1482.5929196378

1403.6494349959

1482.5929196378

1403.6494349959

1480.002638213

1401.9298244538

1485.3650705473

1413.9424582504

1480.002638213

1405.5587372445

1481.6681450548

1415.8439382772

1479.0768496383

1414.8933793338

1484.441382384

1415.8439382772

1483.5173320808

1418.5035767347

1482.5929196378

1413.9424582504

1483.5173320808

1415.8439382772

1482.5929196378

1417.7439697445

1485.3650705473

1415.8439382772

1488.1339621977

1427.7899528188

1482.5929196378

1433.4583237658

1484.441382384

1425.14025148

1484.441382384

1424.1932415075

1481.6681450548

1432.5145006243

1481.6681450548

1432.5145006243

1478.1506989238

1426.0868993126

1480.743008332

1438.9253565873

1480.743008332

1423.2458693951

1484.441382384

1424.1932415075

1482.5929196378

1432.5145006243

1485.3650705473

1425.14025148

1482.5929196378

1427.7899528188

1481.6681450548

1429.6808583607

1481.6681450548

1434.2131215382

1481.6681450548

1424.1932415075

1483.5173320808

1431.570315343

1485.3650705473

1422.2981351428

1480.002638213

1421.3500387506

1478.1506989238

1414.8933793338

1482.5929196378

1414.8933793338

1479.0768496383

1435.1562928278

1478.1506989238

1436.0991019775

1478.1506989238

1424.1932415075

1476.297311075

1420.4015802186

1477.2241860693

1433.4583237658

1480.002638213

1437.0415489874

1480.002638213

1431.570315343

1474.4424746666

1433.4583237658

1475.3700739407

1438.9253565873

1473.5145132525

1442.5006002456

1472.7718833806

1434.2131215382

1469.9849571634

1432.5145006243

1467.1947716871

1436.0991019775

1469.9849571634

1436.0991019775

1464.587658

1430.6257679218

1465.3328373368

1432.5145006243

1465.3328373368

1431.570315343

1467.1947716871

1438.9253565873

1465.3328373368

1437.0415489874

1462.7236956663

1426.843956838

1463.6558579031

1428.7355866597

1461.7911712896

1437.9836338573

1461.7911712896

1440.8077156277

1466.2639855819

1441.7483519381

1464.587658

1415.8439382772

1459.9250361165

1439.8667171775

1457.310013294

1451.696832467

1455.440401578

1454.5050525101

1449.0728865176

1443.4405847042

1446.2583652404

1444.3802070228

1449.0728865176

1440.8077156277

1449.8228750722

1442.5006002456

1446.2583652404

1442.5006002456

1453.5693413023

1437.0415489874

1450.7600348396

1437.0415489874

1452.6332679546

1439.8667171775

1451.696832467

1440.8077156277

1450.7600348396

1436.0991019775

1449.8228750722

1436.0991019775

1449.8228750722

1433.4583237658

1451.696832467

1438.9253565873

1448.1350748984

1437.0415489874

1450.7600348396

1433.4583237658

1449.8228750722

1421.3500387506

1448.1350748984

1423.2458693951

1448.1350748984

1425.14025148

1446.2583652404

1416.7941350808

1444.3802070228

1420.4015802186

1448.1350748984

1426.843956838

1449.8228750722

1443.4405847042

1445.3194672015

1440.8077156277

1448.1350748984

1441.7483519381

1446.2583652404

1437.0415489874

1447.1969011394

1444.3802070228

1448.1350748984

1433.4583237658

1449.0728865176

1426.843956838

1447.1969011394

1422.2981351428

1445.3194672015

1418.5035767347

1443.4405847042

1422.2981351428

1442.5006002456

1412.9911750271

1442.5006002456

1412.039529664

1437.9836338573

1414.8933793338

1439.8667171775

1416.7941350808

1440.8077156277

1416.7941350808

1441.7483519381

1422.2981351428

1446.2583652404

1415.8439382772

1440.8077156277

1418.5035767347

1443.4405847042

1400.017769942

1439.8667171775

1373.6767604239

1437.0415489874

1374.6428913828

1442.5006002456

1380.239309546

1439.8667171775

1370.7761947076

1437.9836338573

1380.239309546

1439.8667171775

1390.6277639056

1440.8077156277

1390.6277639056

1447.1969011394

1396.1893152397

1448.1350748984

1400.9739782678

1445.3194672015

1419.4527595466

1443.4405847042

1432.5145006243

1448.1350748984

1430.6257679218

1445.3194672015

1420.4015802186

1442.5006002456

1418.5035767347

1440.8077156277

1410.3256554178

1437.0415489874

1413.9424582504

1437.0415489874

1424.1932415075

1437.0415489874

1420.4015802186

1439.8667171775

1436.0991019775

1437.9836338573

1428.7355866597

1434.2131215382

1421.3500387506

1434.2131215382

1426.0868993126

1432.5145006243

1417.7439697445

1436.0991019775

1421.3500387506

1434.2131215382

1423.2458693951

1432.5145006243

1423.2458693951

1436.0991019775

1419.4527595466

1435.1562928278

1427.7899528188

1437.0415489874

1425.14025148

1437.9836338573

1429.6808583607

1436.0991019775

1439.8667171775

1435.1562928278

1450.7600348396

1437.0415489874

1450.7600348396

1441.7483519381

1456.375388506

1442.5006002456

1456.375388506

1445.3194672015

1446.2583652404

1438.9253565873

1446.2583652404

1440.8077156277

1451.696832467

1444.3802070228

1463.6558579031

1439.8667171775

1467.1947716871

1441.7483519381

1462.7236956663

1442.5006002456

1459.9250361165

1440.8077156277

1454.5050525101

1437.0415489874

1463.6558579031

1437.0415489874

1467.1947716871

1437.0415489874

1458.9914253201

1441.7483519381

1455.440401578

1434.2131215382

1453.5693413023

1435.1562928278

1456.375388506

1436.0991019775

1463.6558579031

1437.0415489874

1459.9250361165

1435.1562928278

1446.2583652404

1435.1562928278

1441.7483519381

1439.8667171775

1436.0991019775

1439.8667171775

1437.0415489874

1436.0991019775

1435.1562928278

1438.9253565873

1435.1562928278

1438.9253565873

1441.7483519381

1440.8077156277

1433.4583237658

1443.4405847042

1417.7439697445

1441.7483519381

1410.3256554178

1438.9253565873

1409.3729960629

1439.8667171775

1412.9911750271

1438.9253565873

1413.9424582504

1439.8667171775

1414.8933793338

1448.1350748984

1401.9298244538

1445.3194672015

1393.5059493763

1445.3194672015

1390.6277639056

1440.8077156277

1387.7463191758

1442.5006002456

1375.6086602019

1444.3802070228

1371.7434120863

1447.1969011394

1367.097465953

1445.3194672015

1364.1895125829

1446.2583652404

1356.6135804883

1444.3802070228

1361.4724821949

1448.1350748984

1355.6407137273

1444.3802070228

1350.9659122872

1444.3802070228

1346.0874550263

1446.2583652404

1345.3060617

1446.2583652404

1346.0874550263

1445.3194672015

1344.3289941162

1445.3194672015

1333.7535886573

1440.8077156277

1332.7722478228

1442.5006002456

1342.373772529

1444.3802070228

1339.4382240989

1449.8228750722

1349.0156158025

1449.8228750722

1349.0156158025

1447.1969011394

1334.734567352

1448.1350748984

1340.4171023822

1447.1969011394

1334.734567352

1447.1969011394

1316.4290885736

1449.8228750722

1312.6738469019

1445.3194672015

1303.9574207318

1444.3802070228

1304.9493360512

1444.3802070228

1317.4164409304

1444.3802070228

1312.6738469019

1449.8228750722

1306.7338710338

1449.8228750722

1300.979501934

1444.3802070228

1291.2289204471

1440.8077156277

1285.4417849296

1446.2583652404

1288.4366518745

1446.2583652404

1283.4433962669

1442.5006002456

1278.6413533533

1445.3194672015

1280.4430972236

1440.8077156277

1275.6358394955

1442.5006002456

1272.6270663787

1437.0415489874

1275.6358394955

1439.8667171775

1270.8202380642

1439.8667171775

1273.6303528909

1437.0415489874

1281.4435590446

1436.0991019775

1386.0158878936

1431.570315343

1310.6953035055

1433.4583237658

1264.7890029426

1435.1562928278

1252.0809736342

1431.570315343

1246.2119220725

1435.1562928278

1247.0221707056

1429.6808583607

1247.0221707056

1430.6257679218

1241.142617087

1429.6808583607

1250.0585388824

1431.570315343

1253.0916478002

1426.843956838

1251.0699373283

1426.843956838

1252.0809736342

1426.843956838

1251.0699373283

1426.843956838

1252.0809736342

1428.7355866597

1254.1019598263

1426.0868993126

1249.0467782967

1425.14025148

1252.0809736342

1422.2981351428

1255.1119097126

1421.3500387506

1248.0346555711

1422.2981351428

1250.0585388824

1423.2458693951

1251.0699373283

1426.0868993126

1244.185286498

1426.843956838

1241.142617087

1426.843956838

1239.1123601135

1425.14025148

1240.1276696702

1426.843956838

1236.2675667706

1428.7355866597

1232.1986511781

1428.7355866597

1229.3469626916

1430.6257679218

1225.2681968939

1431.570315343

1226.2884315532

1432.5145006243

1226.2884315532

1428.7355866597

1221.183636858

1433.4583237658

1222.2053200768

1431.570315343

1223.2266411557

1432.5145006243

1221.183636858

1430.6257679218

1231.1805169302

1430.6257679218

1233.2164232861

1427.7899528188

1225.2681968939

1426.0868993126

1227.3083040725

1426.0868993126

1226.2884315532

1430.6257679218

1223.2266411557

1430.6257679218

1219.3436944715

1429.6808583607

1218.320997261

1427.7899528188

1218.320997261

1426.843956838

1219.3436944715

1427.7899528188

1218.320997261

1429.6808583607

1216.2745164202

1426.843956838

1222.2053200768

1423.2458693951

1221.183636858

1423.2458693951

1221.183636858

1425.14025148

1221.183636858

1425.14025148

1222.2053200768

1422.2981351428

1219.3436944715

1426.843956838

1222.2053200768

1425.14025148

1231.1805169302

1421.3500387506

1231.1805169302

1423.2458693951

1241.142617087

1416.7941350808

1245.1987853552

1418.5035767347

1242.1572023639

1421.3500387506

1244.185286498

1419.4527595466

1246.2119220725

1417.7439697445

1250.0585388824

1419.4527595466

1248.0346555711

1419.4527595466

1252.0809736342

1419.4527595466

1256.9289069153

1419.4527595466

1260.962477654

1415.8439382772

1255.1119097126

1420.4015802186

1251.0699373283

1418.5035767347

1251.0699373283

1416.7941350808

1254.1019598263

1415.8439382772

1255.9196088808

1412.039529664

1252.0809736342

1412.039529664

1250.0585388824

1421.3500387506

1251.0699373283

1421.3500387506

1259.9546281792

1416.7941350808

1262.977090184

1420.4015802186

1264.7890029426

1417.7439697445

1268.8112749166

1420.4015802186

1268.8112749166

1426.0868993126

1277.6398775406

1418.5035767347

1291.2289204471

1420.4015802186

1311.6847562736

1422.2981351428

1324.1208330066

1422.2981351428

1332.7722478228

1418.5035767347

1336.6954383216

1409.3729960629

1341.3956185255

1412.039529664

1343.3515643926

1407.4665909335

1341.3956185255

1409.3729960629

1344.3289941162

1411.0875221609

1340.4171023822

1408.4199745681

1341.3956185255

1409.3729960629

1349.0156158025

1404.6042671902

1355.6407137273

1409.3729960629

1353.888640965

1408.4199745681

1349.0156158025

1408.4199745681

1352.9147602123

1410.3256554178

1348.0399243503

1409.3729960629

1358.5582275906

1413.9424582504

1430.6257679218

1415.8439382772

1439.8667171775

1416.7941350808

1443.4405847042

1417.7439697445

1441.7483519381

1420.4015802186

1427.7899528188

1419.4527595466

1419.4527595466

1421.3500387506

1412.039529664

1418.5035767347

1412.9911750271

1415.8439382772

1417.7439697445

1416.7941350808

1406.5128451589

1411.0875221609

1403.6494349959

1418.5035767347

1397.1469721251

1417.7439697445

1401.9298244538

1417.7439697445

1401.9298244538

1415.8439382772

1391.5875212024

1411.0875221609

1383.1292283493

1413.9424582504

1383.1292283493

1412.039529664

1386.7851133194

1412.9911750271

1378.5037938197

1412.9911750271

1365.1591925128

1410.3256554178

1353.888640965

1412.039529664

1343.3515643926

1413.9424582504

1328.0567708297

1415.8439382772

1329.0398499357

1413.9424582504

1322.1506912556

1413.9424582504

1317.4164409304

1416.7941350808

1312.6738469019

1414.8933793338

1305.7426075661

1412.9911750271

1299.986138055

1408.4199745681

1277.6398775406

1411.0875221609

1265.7951141459

1415.8439382772

1260.962477654

1412.039529664

1257.9378428098

1416.7941350808

1255.9196088808

1415.8439382772

1258.9464165644

1418.5035767347

1248.0346555711

1420.4015802186

1252.0809736342

1413.9424582504

1269.8159375604

1418.5035767347

1269.8159375604

1418.5035767347

1261.969964989

1416.7941350808

1251.0699373283

1416.7941350808

1263.7825295993

1416.7941350808

1276.638039588

1417.7439697445

1285.4417849296

1416.7941350808

1287.4387250327

1416.7941350808

1284.4427716682

1414.8933793338

1287.4387250327

1419.4527595466

1297.9983238772

1414.8933793338

1297.9983238772

1415.8439382772

1291.2289204471

1417.7439697445

1290.232007597

1412.039529664

1283.4433962669

1415.8439382772

1280.4430972236

1417.7439697445

1297.9983238772

1410.3256554178

1291.2289204471

1407.4665909335

1282.4436587257

1411.0875221609

1293.2216597274

1412.039529664

1296.2080525987

1410.3256554178

1288.4366518745

1403.6494349959

1294.2174861577

1403.6494349959

1303.9574207318

1398.1042668707

1299.986138055

1401.9298244538

1303.9574207318

1397.1469721251

1298.992412036

1393.5059493763

1300.979501934

1391.5875212024

1297.0038735784

1393.5059493763

1286.4404360511

1389.6676444689

1297.0038735784

1389.6676444689

1306.7338710338

1388.7071628923

1284.4427716682

1385.0540301854

1297.9983238772

1387.7463191758

1304.9493360512

1382.1662842215

1319.3900592243

1387.7463191758

1315.4413740769

1385.0540301854

1317.4164409304

1382.1662842215

1309.7054885974

1382.1662842215

1293.2216597274

1381.2029779537

1297.9983238772

1379.2752789985

1302.9651432724

1379.2752789985

1293.2216597274

1379.2752789985

1290.232007597

1382.1662842215

1295.2129504482

1385.0540301854

1306.7338710338

1383.1292283493

1285.4417849296

1383.1292283493

1297.0038735784

1385.0540301854

1288.4366518745

1386.0158878936

1302.9651432724

1385.0540301854

1312.6738469019

1381.2029779537

1320.3763251614

1379.2752789985

1320.3763251614

1377.5391114203

1344.3289941162

1381.2029779537

1344.3289941162

1386.0158878936

1327.0733295837

1384.0918103373

1331.7905448483

1383.1292283493

1324.1208330066

1376.574066881

1329.0398499357

1375.6086602019

1314.4532974403

1379.2752789985

1296.2080525987

1379.2752789985

1311.6847562736

1374.6428913828

1310.6953035055

1377.5391114203

1319.3900592243

1375.6086602019

1333.7535886573

1375.6086602019

1343.3515643926

1374.6428913828

1356.6135804883

1377.5391114203

1342.373772529

1374.6428913828

1345.3060617

1373.6767604239

1360.5014261334

1371.7434120863

1355.6407137273

1372.710267325

1345.3060617

1376.574066881

1342.373772529

1382.1662842215

1349.0156158025

1381.2029779537

1351.9405173197

1379.2752789985

1355.6407137273

1384.0918103373

1361.4724821949

1384.0918103373

1370.7761947076

1382.1662842215

1360.5014261334

1381.2029779537

1349.9909451148

1383.1292283493

1348.0399243503

1381.2029779537

1351.9405173197

1380.239309546

1356.6135804883

1383.1292283493

1361.4724821949

1376.574066881

1357.5860851094

1380.239309546

1346.0874550263

1377.5391114203

1336.6954383216

1377.5391114203

1353.888640965

1372.710267325

1344.3289941162

1373.6767604239

1349.0156158025

1373.6767604239

1360.5014261334

1379.2752789985

1351.9405173197

1372.710267325

1352.9147602123

1376.574066881

1365.1591925128

1377.5391114203

1351.9405173197

1380.239309546

1358.5582275906

1379.2752789985

1357.5860851094

1382.1662842215

1352.9147602123

1381.2029779537

1353.888640965

1382.1662842215

1345.3060617

1383.1292283493

1336.6954383216

1383.1292283493

1349.0156158025

1378.5037938197

1346.0874550263

1379.2752789985

1352.9147602123

1384.0918103373

1335.7151839067

1390.6277639056

1339.4382240989

1386.7851133194

1335.7151839067

1390.6277639056

1335.7151839067

1386.7851133194

1326.0895261979

1391.5875212024

1329.8260524798

1390.6277639056

1330.808479734

1393.5059493763

1329.0398499357

1394.4646202534

1327.0733295837

1386.7851133194

1332.7722478228

1389.6676444689

1326.0895261979

1389.6676444689

1315.4413740769

1394.4646202534

1310.6953035055

1390.6277639056

1313.4648586638

1387.7463191758

1312.6738469019

1388.7071628923

1312.6738469019

1389.6676444689

1304.9493360512

1385.0540301854

1301.9725036732

1390.6277639056

1297.0038735784

1391.5875212024

1297.0038735784

1389.6676444689

1294.2174861577

1384.0918103373

1299.986138055

1383.1292283493

1295.2129504482

1384.0918103373

1301.9725036732

1379.2752789985

1297.0038735784

1380.239309546

1298.992412036

1385.0540301854

1299.986138055

1384.0918103373

1302.9651432724

1383.1292283493

1310.6953035055

1381.2029779537

1307.7247723615

1378.5037938197

1302.9651432724

1377.5391114203

1312.6738469019

1375.6086602019

1319.3900592243

1373.6767604239

1318.4034311473

1376.574066881

1323.135943201

1380.239309546

1319.3900592243

1377.5391114203

1318.4034311473

1373.6767604239

1313.4648586638

1373.6767604239

1309.7054885974

1373.6767604239

1303.9574207318

1371.7434120863

1297.9983238772

1370.002160064

1308.7153115494

1372.710267325

1301.9725036732

1372.710267325

1308.7153115494

1376.574066881

1323.135943201

1378.5037938197

1334.734567352

1374.6428913828

1351.9405173197

1377.5391114203

1371.7434120863

1377.5391114203

1355.6407137273

1377.5391114203

1345.3060617

1375.6086602019

1361.4724821949

1378.5037938197

1365.1591925128

1376.574066881

1370.002160064

1375.6086602019

1370.7761947076

1375.6086602019

1384.0918103373

1377.5391114203

1398.1042668707

1379.2752789985

1409.3729960629

1378.5037938197

1409.3729960629

1376.574066881

1411.0875221609

1375.6086602019

1379.2752789985

1370.002160064

1362.2490663034

1373.6767604239

1334.734567352

1374.6428913828

1327.0733295837

1381.2029779537

1316.4290885736

1386.0158878936

1310.6953035055

1383.1292283493

1298.992412036

1388.7071628923

1298.992412036

1386.0158878936

1287.4387250327

1383.1292283493

1277.6398775406

1382.1662842215

1272.6270663787

1387.7463191758

1267.8062501329

1386.0158878936

1272.6270663787

1385.0540301854

1285.4417849296

1383.1292283493

1288.4366518745

1387.7463191758

1283.4433962669

1387.7463191758

1284.4427716682

1392.5469163593

1271.8241764282

1387.7463191758

1289.2347326071

1378.5037938197

1283.4433962669

1378.5037938197

1282.4436587257

1380.239309546

1286.4404360511

1379.2752789985

1286.4404360511

1384.0918103373

1296.2080525987

1385.0540301854

1278.6413533533

1386.0158878936

1276.638039588

1383.1292283493

1284.4427716682

1389.6676444689

1289.2347326071

1388.7071628923

1292.2254711572

1385.0540301854

1296.2080525987

1390.6277639056

1301.9725036732

1393.5059493763

1298.992412036

1387.7463191758

1302.9651432724

1392.5469163593

1309.7054885974

1393.5059493763

1300.979501934

1393.5059493763

1298.992412036

1394.4646202534

1301.9725036732

1390.6277639056

1304.9493360512

1390.6277639056

1304.9493360512

1389.6676444689

1306.7338710338

1389.6676444689

1310.6953035055

1386.7851133194

1317.4164409304

1393.5059493763

1315.4413740769

1387.7463191758

1305.7426075661

1390.6277639056

1303.9574207318

1386.7851133194

1309.7054885974

1390.6277639056

1309.7054885974

1392.5469163593

1327.0733295837

1389.6676444689

1333.7535886573

1387.7463191758

1352.9147602123

1394.4646202534

1361.4724821949

1393.5059493763

1368.0660594632

1396.1893152397

1352.9147602123

1395.2312962144

1377.5391114203

1396.1893152397

1367.097465953

1396.1893152397

1346.0874550263

1393.5059493763

1332.7722478228

1394.4646202534

1344.3289941162

1393.5059493763

1343.3515643926

1394.4646202534

1342.373772529

1387.7463191758

1319.3900592243

1389.6676444689

1300.979501934

1390.6277639056

1292.2254711572

1391.5875212024

1271.8241764282

1387.7463191758

1276.638039588

1388.7071628923

1268.8112749166

1386.7851133194

1271.8241764282

1386.7851133194

1273.6303528909

1384.0918103373

1273.6303528909

1383.1292283493

1270.8202380642

1375.6086602019

1272.6270663787

1381.2029779537

1267.8062501329

1383.1292283493

1264.7890029426

1383.1292283493

1261.969964989

1384.0918103373

1264.7890029426

1388.7071628923

1266.8008632094

1384.0918103373

1267.8062501329

1385.0540301854

1267.8062501329

1386.7851133194

1248.0346555711

1382.1662842215

1241.142617087

1381.2029779537

1243.1714255009

1379.2752789985

1246.2119220725

1381.2029779537

1245.1987853552

1384.0918103373

1240.1276696702

1382.1662842215

1244.185286498

1385.0540301854

1249.0467782967

1386.7851133194

1260.962477654

1390.6277639056

1263.7825295993

1396.1893152397

1266.8008632094

1395.2312962144

1261.969964989

1395.2312962144

1257.9378428098

1400.017769942

1253.0916478002

1400.9739782678

1249.0467782967

1394.4646202534

1248.0346555711

1390.6277639056

1250.0585388824

1396.1893152397

1250.0585388824

1394.4646202534

1260.962477654

1394.4646202534

1257.9378428098

1390.6277639056

1255.1119097126

1395.2312962144

1255.1119097126

1392.5469163593

1250.0585388824

1391.5875212024

1246.2119220725

1393.5059493763

1242.1572023639

1388.7071628923

1241.142617087

1386.7851133194

1243.1714255009

1387.7463191758

1245.1987853552

1392.5469163593

1243.1714255009

1390.6277639056

1260.962477654

1391.5875212024

1257.9378428098

1393.5059493763

1255.1119097126

1390.6277639056

1274.6332772631

1390.6277639056

1280.4430972236

1386.7851133194

1291.2289204471

1387.7463191758

1291.2289204471

1389.6676444689

1300.979501934

1389.6676444689

1300.979501934

1385.0540301854

1290.232007597

1391.5875212024

1295.2129504482

1388.7071628923

1306.7338710338

1390.6277639056

1313.4648586638

1389.6676444689

1319.3900592243

1386.7851133194

1325.1053606722

1384.0918103373

1307.7247723615

1386.0158878936

1311.6847562736

1388.7071628923

1309.7054885974

1386.0158878936

1308.7153115494

1386.7851133194

1328.0567708297

1395.2312962144

1297.9983238772

1394.4646202534

1298.992412036

1394.4646202534

1297.0038735784

1394.4646202534

1307.7247723615

1398.1042668707

1309.7054885974

1400.9739782678

1312.6738469019

1399.0611994763

1306.7338710338

1390.6277639056

1292.2254711572

1391.5875212024

1286.4404360511

1396.1893152397

1287.4387250327

1391.5875212024

1293.2216597274

1391.5875212024

1290.232007597

1385.0540301854

1289.2347326071

1386.7851133194

1282.4436587257

1385.0540301854

1280.4430972236

1385.0540301854

1270.8202380642

1381.2029779537

1265.7951141459

1381.2029779537

1267.8062501329

1383.1292283493

1272.6270663787

1380.239309546

1277.6398775406

1377.5391114203

1274.6332772631

1385.0540301854

1264.7890029426

1386.7851133194

1260.962477654

1376.574066881

1260.962477654

1381.2029779537

1278.6413533533

1378.5037938197

1274.6332772631

1380.239309546

1265.7951141459

1380.239309546

1265.7951141459

1374.6428913828

1273.6303528909

1381.2029779537

1271.8241764282

1380.239309546

1268.8112749166

1384.0918103373

1264.7890029426

1382.1662842215

1261.969964989

1380.239309546

1266.8008632094

1376.574066881

1269.8159375604

1373.6767604239

1264.7890029426

1365.1591925128

1273.6303528909

1373.6767604239

1279.6424670261

1378.5037938197

1276.638039588

1374.6428913828

1276.638039588

1372.710267325

1284.4427716682

1369.0342908336

1290.232007597

1369.0342908336

1279.6424670261

1374.6428913828

1287.4387250327

1368.0660594632

1287.4387250327

1368.0660594632

1283.4433962669

1371.7434120863

1290.232007597

1370.002160064

1290.232007597

1373.6767604239

1289.2347326071

1366.1285103029

1291.2289204471

1370.002160064

1285.4417849296

1367.097465953

1282.4436587257

1367.097465953

1285.4417849296

1373.6767604239

1283.4433962669

1371.7434120863

1278.6413533533

1373.6767604239

1284.4427716682

1370.002160064

1278.6413533533

1359.5300079319

1288.4366518745

1368.0660594632

1280.4430972236

1367.097465953

1286.4404360511

1364.1895125829

1283.4433962669

1358.5582275906

1286.4404360511

1359.5300079319

1295.2129504482

1359.5300079319

1300.979501934

1364.1895125829

1296.2080525987

1364.1895125829

1301.9725036732

1365.1591925128

1301.9725036732

1367.097465953

1306.7338710338

1368.0660594632

1308.7153115494

1365.1591925128

1307.7247723615

1363.2194705131

1305.7426075661

1361.4724821949

1303.9574207318

1356.6135804883

1309.7054885974

1357.5860851094

1307.7247723615

1357.5860851094

1301.9725036732

1359.5300079319

1307.7247723615

1362.2490663034

1323.135943201

1365.1591925128

1324.1208330066

1364.1895125829

1323.135943201

1362.2490663034

1315.4413740769

1365.1591925128

1312.6738469019

1368.0660594632

1310.6953035055

1363.2194705131

1304.9493360512

1358.5582275906

1304.9493360512

1362.2490663034

1307.7247723615

1356.6135804883

1320.3763251614

1354.6674848264

1320.3763251614

1363.2194705131

1322.1506912556

1360.5014261334

1317.4164409304

1359.5300079319

1320.3763251614

1351.9405173197

1316.4290885736

1359.5300079319

1325.1053606722

1359.5300079319

1316.4290885736

1360.5014261334

1318.4034311473

1356.6135804883

1329.8260524798

1357.5860851094

1332.7722478228

1355.6407137273

1333.7535886573

1353.888640965

1337.6753305965

1351.9405173197

1334.734567352

1351.9405173197

1344.3289941162

1355.6407137273

1348.0399243503

1349.9909451148

1352.9147602123

1350.9659122872

1348.0399243503

1347.0638707583

1351.9405173197

1346.0874550263

1345.3060617

1348.0399243503

1348.0399243503

1349.0156158025

1352.9147602123

1352.9147602123

1357.5860851094

1352.9147602123

1356.6135804883

1352.9147602123

1353.888640965

1350.9659122872

1354.6674848264

1351.9405173197

1353.888640965

1349.0156158025

1355.6407137273

1350.9659122872

1355.6407137273

1349.9909451148

1353.888640965

1357.5860851094

1355.6407137273

1350.9659122872

1354.6674848264

1353.888640965

1353.888640965

1348.0399243503

1356.6135804883

1354.6674848264

1359.5300079319

1359.5300079319

1361.4724821949

1359.5300079319

1359.5300079319

1358.5582275906

1357.5860851094

1362.2490663034

1361.4724821949

1355.6407137273

1361.4724821949

1357.5860851094

1360.5014261334

1357.5860851094

1355.6407137273

1361.4724821949

1358.5582275906

1361.4724821949

1362.2490663034

1366.1285103029

1357.5860851094

1362.2490663034

1349.0156158025

1362.2490663034

1337.6753305965

1364.1895125829

1334.734567352

1365.1591925128

1326.0895261979

1366.1285103029

1320.3763251614

1363.2194705131

1319.3900592243

1365.1591925128

1318.4034311473

1358.5582275906

1323.135943201

1361.4724821949

1328.0567708297

1360.5014261334

1331.7905448483

1363.2194705131

1332.7722478228

1363.2194705131

1339.4382240989

1366.1285103029

1322.1506912556

1365.1591925128

1317.4164409304

1368.0660594632

1310.6953035055

1364.1895125829

1319.3900592243

1370.7761947076

1306.7338710338

1363.2194705131

1304.9493360512

1370.7761947076

1306.7338710338

1374.6428913828

1304.9493360512

1370.7761947076

1306.7338710338

1364.1895125829

1305.7426075661

1367.097465953

1306.7338710338

1368.0660594632

1303.9574207318

1368.0660594632

1303.9574207318

1364.1895125829

1312.6738469019

1361.4724821949

1320.3763251614

1358.5582275906

1320.3763251614

1364.1895125829

1313.4648586638

1362.2490663034

1311.6847562736

1354.6674848264

1297.9983238772

1360.5014261334

1306.7338710338

1361.4724821949

1304.9493360512

1360.5014261334

1305.7426075661

1358.5582275906

1316.4290885736

1355.6407137273

1332.7722478228

1361.4724821949

1322.1506912556

1366.1285103029

1318.4034311473

1367.097465953

1325.1053606722

1372.710267325

1330.808479734

1369.0342908336

1328.0567708297

1370.002160064

1342.373772529

1371.7434120863

1326.0895261979

1365.1591925128

1339.4382240989

1366.1285103029

1334.734567352

1372.710267325

1330.808479734

1370.7761947076

1321.3622289586

1374.6428913828

1329.0398499357

1368.0660594632

1335.7151839067

1367.097465953

1330.808479734

1369.0342908336

1330.808479734

1370.002160064

1327.0733295837

1367.097465953

1330.808479734

1364.1895125829

1331.7905448483

1358.5582275906

1322.1506912556

1359.5300079319

1318.4034311473

1365.1591925128

1313.4648586638

1365.1591925128

1309.7054885974

1359.5300079319

1304.9493360512

1361.4724821949

1302.9651432724

1359.5300079319

1307.7247723615

1355.6407137273

1310.6953035055

1361.4724821949

1312.6738469019

1363.2194705131

1308.7153115494

1361.4724821949

1313.4648586638

1368.0660594632

1314.4532974403

1361.4724821949

1310.6953035055

1361.4724821949

1304.9493360512

1363.2194705131

1307.7247723615

1366.1285103029

1309.7054885974

1362.2490663034

1305.7426075661

1363.2194705131

1310.6953035055

1360.5014261334

1306.7338710338

1363.2194705131

1303.9574207318

1365.1591925128

1302.9651432724

1356.6135804883

1333.7535886573

1357.5860851094

1345.3060617

1363.2194705131

1342.373772529

1365.1591925128

1339.4382240989

1363.2194705131

1338.4589836758

1355.6407137273

1349.9909451148

1357.5860851094

1348.0399243503

1354.6674848264

1364.1895125829

1356.6135804883

1358.5582275906

1353.888640965

1374.6428913828

1355.6407137273

1356.6135804883

1355.6407137273

1347.0638707583

1352.9147602123

1350.9659122872

1349.9909451148

1346.0874550263

1350.9659122872

1352.9147602123

1363.2194705131

1349.0156158025

1360.5014261334

1348.0399243503

1360.5014261334

1345.3060617

1357.5860851094

1353.888640965

1355.6407137273

1351.9405173197

1358.5582275906

1349.0156158025

1354.6674848264

1345.3060617

1355.6407137273

1349.9909451148

1353.888640965

1348.0399243503

1359.5300079319

1350.9659122872

1356.6135804883

1355.6407137273

1360.5014261334

1349.9909451148

1358.5582275906

1357.5860851094

1360.5014261334

1349.0156158025

1360.5014261334

1337.6753305965

1360.5014261334

1339.4382240989

1362.2490663034

1329.8260524798

1359.5300079319

1326.0895261979

1359.5300079319

1329.8260524798

1356.6135804883

1313.4648586638

1358.5582275906

1316.4290885736

1360.5014261334

1325.1053606722

1364.1895125829

1319.3900592243

1365.1591925128

1322.1506912556

1363.2194705131

1324.1208330066

1360.5014261334

1320.3763251614

1358.5582275906

1316.4290885736

1353.888640965

1319.3900592243

1359.5300079319

1319.3900592243

1357.5860851094

1314.4532974403

1356.6135804883

1316.4290885736

1353.888640965

1315.4413740769

1350.9659122872

1319.3900592243

1351.9405173197

1310.6953035055

1350.9659122872

1320.3763251614

1349.0156158025

1311.6847562736

1349.0156158025

1298.992412036

1350.9659122872

1303.9574207318

1350.9659122872

1314.4532974403

1348.0399243503

1312.6738469019

1347.0638707583

1319.3900592243

1350.9659122872

1327.0733295837

1348.0399243503

1321.3622289586

1348.0399243503

1324.1208330066

1347.0638707583

1316.4290885736

1345.3060617

1303.9574207318

1341.3956185255

1296.2080525987

1341.3956185255

1296.2080525987

1340.4171023822

1288.4366518745

1339.4382240989

1277.6398775406

1335.7151839067

1272.6270663787

1346.0874550263

1261.969964989

1347.0638707583

1255.9196088808

1350.9659122872

1265.7951141459

1356.6135804883

1269.8159375604

1358.5582275906

1263.7825295993

1362.2490663034

1270.8202380642

1356.6135804883

1255.1119097126

1361.4724821949

1260.962477654

1358.5582275906

1247.0221707056

1361.4724821949

1251.0699373283

1369.0342908336

1258.9464165644

1363.2194705131

1253.0916478002

1357.5860851094

1256.9289069153

1360.5014261334

1256.9289069153

1358.5582275906

1251.0699373283

1356.6135804883

1256.9289069153

1355.6407137273

1253.0916478002

1357.5860851094

1260.962477654

1360.5014261334

1259.9546281792

1354.6674848264

1260.962477654

1354.6674848264

1255.9196088808

1358.5582275906

1248.0346555711

1369.0342908336

1252.0809736342

1364.1895125829

1248.0346555711

1368.0660594632

1254.1019598263

1364.1895125829

1270.8202380642

1367.097465953

1270.8202380642

1364.1895125829

1274.6332772631

1362.2490663034

1272.6270663787

1361.4724821949

1260.962477654

1365.1591925128

1251.0699373283

1361.4724821949

1248.0346555711

1363.2194705131

1249.0467782967

1363.2194705131

1248.0346555711

1361.4724821949

1249.0467782967

1358.5582275906

1252.0809736342

1357.5860851094

1242.1572023639

1354.6674848264

1243.1714255009

1352.9147602123

1234.2338332541

1349.0156158025

1238.096688417

1347.0638707583

1229.3469626916

1350.9659122872

1219.3436944715

1348.0399243503

1224.2476000948

1340.4171023822

1227.3083040725

1337.6753305965

1237.283890319

1333.7535886573

1226.2884315532

1328.0567708297

1224.2476000948

1323.135943201

1236.2675667706

1333.7535886573

1231.1805169302

1343.3515643926

1236.2675667706

1347.0638707583

1238.096688417

1343.3515643926

1248.0346555711

1347.0638707583

1251.0699373283

1342.373772529

1275.6358394955

1340.4171023822

1287.4387250327

1335.7151839067

1297.9983238772

1337.6753305965

1303.9574207318

1342.373772529

1286.4404360511

1346.0874550263

1279.6424670261

1341.3956185255

1267.8062501329

1341.3956185255

1256.9289069153

1341.3956185255

1267.8062501329

1339.4382240989

1283.4433962669

1344.3289941162

1273.6303528909

1342.373772529

1234.2338332541

1335.7151839067

1232.1986511781

1328.0567708297

1231.1805169302

1329.8260524798

1224.2476000948

1330.808479734

1253.0916478002

1332.7722478228

1258.9464165644

1332.7722478228

1216.2745164202

1331.7905448483

1182.0913288803

1324.1208330066

1189.1252103184

1326.0895261979

1199.232818285

1324.1208330066

1208.2794001545

1321.3622289586

1216.2745164202

1323.135943201

1185.1965760651

1324.1208330066

1122.8948512086

1317.4164409304

1127.9600684267

1319.3900592243

1122.8948512086

1321.3622289586

1143.5252967452

1314.4532974403

1143.5252967452

1314.4532974403

1114.6460776749

1308.7153115494

1120.7818814832

1310.6953035055

1072.8570997215

1309.7054885974

1025.5060514436

1308.7153115494

992.2329610721

1307.7247723615

975.0286762714

1311.6847562736

980.552466825

1315.4413740769

1029.6416558897

1324.1208330066

1090.6213828318

1325.1053606722

1138.2756460921

1331.7905448483

1155.6696194315

1327.0733295837

1152.5335179276

1329.8260524798

1140.376592773

1335.7151839067

1119.7248534106

1329.0398499357

1091.6883335375

1332.7722478228

1097.0176549676

1336.6954383216

1131.1215921512

1333.7535886573

1129.0142718081

1332.7722478228

1136.1732508515

1337.6753305965

1139.3263005025

1329.0398499357

1148.5564438419

1329.8260524798

1146.4611465433

1331.7905448483

1139.3263005025

1313.4648586638

1144.3644006852

1307.7247723615

1140.376592773

1315.4413740769

1116.7632482232

1316.4290885736

1114.6460776749

1325.1053606722

1145.4129546842

1317.4164409304

1186.2309341803

1311.6847562736

1197.1728658401

1315.4413740769

1195.3176701213

1313.4648586638

1190.158192302

1319.3900592243

1167.9733299577

1323.135943201

1153.5792472355

1321.3622289586

1136.1732508515

1328.0567708297

1131.1215921512

1321.3622289586

1134.2798566166

1315.4413740769

1126.9055029054

1322.1506912556

1140.376592773

1329.0398499357

1135.1215100214

1297.9983238772

1142.4760908944

1297.0038735784

1150.6502925809

1312.6738469019

1174.0024328674

1301.9725036732

1164.8500482061

1305.7426075661

1090.6213828318

1310.6953035055

1007.3786723891

1300.979501934

964.1757844012

1298.992412036

953.5106576531

1287.4387250327

935.8849695556

1280.4430972236

928.2714035449

1279.6424670261

909.6150105318

1279.6424670261

908.4879446036

1281.4435590446

910.7417143202

1279.6424670261

934.990125043

1271.8241764282

938.1210668453

1282.4436587257

925.1315386156

1304.9493360512

919.5175752281

1318.4034311473

933.8712434764

1329.8260524798

959.9581625117

1329.8260524798

963.2882985712

1331.7905448483

966.3934849842

1320.3763251614

969.7173198096

1304.9493360512

945.7129624047

1313.4648586638

930.5124259372

1300.979501934

924.0094702179

1291.2289204471

909.6150105318

1297.9983238772

903.0729871607

1293.2216597274

893.1238947307

1291.2289204471

909.6150105318

1297.9983238772

921.7642470028

1279.6424670261

932.7519997699

1270.8202380642

946.8280052885

1258.9464165644

957.7362611058

1251.0699373283

957.7362611058

1243.1714255009

950.1709611003

1228.327814452

937.0031992704

1244.185286498

922.8870396803

1236.2675667706

905.3302334202

1218.320997261

904.2017913604

1208.2794001545

905.3302334202

1219.3436944715

903.0729871607

1243.1714255009

907.5860311203

1239.1123601135

903.0729871607

1235.2508810823

898.5541489627

1219.3436944715

912.9940354772

1230.1620205425

934.990125043

1217.2979379106

933.8712434764

1249.0467782967

935.8849695556

1230.1620205425

955.5129111404

1232.1986511781

933.8712434764

1231.1805169302

927.1503491389

1233.2164232861

908.4879446036

1244.185286498

893.1238947307

1235.2508810823

883.1467581872

1228.327814452

870.8637617247

1247.0221707056

865.3910936681

1255.1119097126

865.3910936681

1240.1276696702

856.4802125217

1184.1618558101

842.9577708788

1164.8500482061

833.9915257853

1162.7660496723

830.7674995444

1180.0193533909

848.6937754108

1178.9828224364

859.9100819083

1172.9638015015

828.4628853865

1189.1252103184

776.2261038962

1195.3176701213

756.7713807277

1199.232818285

745.2392158138

1202.320030903

754.4207023752

1231.1805169302

775.0569573122

1236.2675667706

787.6645759765

1227.3083040725

791.1591959764

1185.1965760651

805.8010088667

1157.7585430679

818.3053742042

1153.5792472355

823.8493113921

1170.8854523499

836.2926634001

1164.8500482061

847.5472987842

1144.3644006852

861.966439096

1135.1215100214

867.6723860167

1130.0681130496

870.8637617247

1130.0681130496

874.2799422233

1132.1747091129

877.6928634628

1122.8948512086

884.2819360491

1126.9055029054

884.2819360491

1127.9600684267

897.6496860146

1141.4265229036

897.6496860146

1144.3644006852

900.8142923415

1132.1747091129

836.2926634001

1122.8948512086

797.9062194992

1135.1215100214

808.1198189085

1155.6696194315

818.3053742042

1139.3263005025

847.5472987842

1109.3468138562

846.4004600177

1094.8870128152

844.105696065

1094.8870128152

845.2532591113

1098.0824328339

854.1918222312

1097.0176549676

869.9522298057

1103.1883256049

878.8297795962

1112.5274585671

894.2558857615

1127.9600684267

899.6844017221

1142.4760908944

903.0729871607

1134.2798566166

903.0729871607

1127.9600684267

895.3875146524

1118.6674631982

873.1415775303

1110.4073908997

853.0470838761

1109.3468138562

850.9856422443

1102.1252860101

851.901983381

1088.699958969

840.8905929511

1080.3602303793

835.1422756626

1070.9248551186

829.6153735354

1066.6267774006

832.840413768

1062.5382366553

832.840413768

1053.0499599988

839.7416537732

1056.0719990919

835.1422756626

1058.2288601726

838.5923524554

1062.5382366553

850.9856422443

1065.5513526214

869.9522298057

1075.0026620375

886.5512053532

1062.5382366553

890.8588262493

1057.1506107022

896.5187814034

1057.1506107022

901.943820821

1056.0719990919

907.5860311203

1050.8896223751

903.0729871607

1033.9892743453

901.943820821

1017.0007959508

911.8680559686

1007.3786723891

921.7642470028

1001.8990629027

916.3698011635

1004.0919931169

922.8870396803

1002.9957090797

934.990125043

1004.0919931169

975.0286762714

1001.8990629027

997.7285047139

1017.0007959508

1001.8990629027

1001.8990629027

1009.5679812044

1014.816412238

1010.4432991338

1026.594875399

1004.0919931169

1040.2830290901

1013.7236771718

1045.6989019551

1022.2374067382

1063.6146754262

1037.0291596925

1067.70184004

1046.5646014489

1070.9248551186

1045.6989019551

1073.9300619494

1054.9930253417

1062.5382366553

1058.2288601726

1046.5646014489

1049.8089103534

1047.6463998903

1050.8896223751

1029.6416558897

1054.9930253417

1025.5060514436

1061.4614357445

1017.0007959508

1057.1506107022

1007.3786723891

1039.1987680975

1012.6305799657

1028.5538459261

1028.5538459261

1029.6416558897

1026.594875399

1013.7236771718

1014.816412238

1024.4168653484

1013.7236771718

1036.1609107338

1018.0924445973

1035.0752736095

1018.0924445973

1049.8089103534

1017.0007959508

1047.6463998903

1013.7236771718

1027.6833372144

1017.0007959508

1026.594875399

1017.0007959508

1031.8161893973

1017.0007959508

1027.6833372144

1028.5538459261

1014.816412238

1036.1609107338

1024.4168653484

1024.4168653484

1028.5538459261

1015.9087851643

1040.2830290901

1015.9087851643

1027.6833372144

1020.0564995685

1029.6416558897

1024.4168653484

1040.2830290901

1032.9029129413

1039.1987680975

1036.1609107338

1023.3273171133

1040.2830290901

1002.9957090797

1057.1506107022

996.6301202654

1059.3067475031

995.5313736769

1030.7291037135

1002.9957090797

1025.5060514436

1004.0919931169

1044.6164516619

1000.8020545857

1048.7278361918

1001.8990629027

1037.0291596925

997.7285047139

1032.9029129413

997.7285047139

1044.6164516619

1010.4432991338

1051.9699722569

1024.4168653484

1040.2830290901

1018.9655027738

1035.0752736095

1005.1879150142

1035.0752736095

988.0502929253

1035.0752736095

979.4484329941

1041.3669279429

983.6418349674

1059.3067475031

986.9487216457

1050.8896223751

991.3528339249

1054.9930253417

993.3327940803

1059.3067475031

1002.9957090797

1061.4614357445

1011.5371206197

1060.3842726938

1028.5538459261

1059.3067475031

1044.6164516619

1054.9930253417

1058.2288601726

1050.8896223751

1067.70184004

1048.7278361918

1068.7765405394

1043.5336392288

1063.6146754262

1044.6164516619

1042.4504646558

1041.3669279429

1039.1987680975

1038.1141449649

1046.5646014489

1033.9892743453

1049.8089103534

1067.70184004

1060.3842726938

1113.586949191

1069.850878899

1104.2510030598

1078.2182894623

1090.6213828318

1073.9300619494

1099.1468485603

1082.2867386862

1114.6460776749

1087.6319942716

1109.3468138562

1097.0176549676

1104.2510030598

1099.1468485603

1098.0824328339

1095.9525149613

1090.6213828318

1098.0824328339

1083.3565140831

1101.0618842753

1071.9984691984

1095.9525149613

1066.6267774006

1095.9525149613

1066.6267774006

1094.8870128152

1066.6267774006

1095.9525149613

1068.7765405394

1079.2894409907

1065.5513526214

1076.0748999856

1085.4949784571

1054.1295856008

1076.0748999856

1027.6833372144

1078.2182894623

1010.4432991338

1082.2867386862

1004.0919931169

1094.8870128152

1000.8020545857

1119.7248534106

1002.9957090797

1133.2274639347

999.9241871914

1157.7585430679

997.7285047139

1169.8457345644

988.0502929253

1171.9248079957

979.4484329941

1177.1161541257

971.9313989937

1185.1965760651

964.1757844012

1189.1252103184

954.4006929479

1184.1618558101

950.1709611003

1201.2913221702

950.1709611003

1203.3483774959

957.7362611058

1203.3483774959

978.3440370232

1186.2309341803

984.7444926667

1174.0024328674

981.656138516

1161.7235071955

990.2523490649

1160.8892124734

986.9487216457

1169.0136995952

995.5313736769

1171.9248079957

1002.9957090797

1150.6502925809

1021.1471342233

1151.6966737406

1018.9655027738

1137.2246295417

1013.7236771718

1120.7818814832

1022.2374067382

1121.8385474159

1012.6305799657

1117.6097108458

1001.8990629027

1120.7818814832

1009.5679812044

1129.0142718081

1023.3273171133

1138.2756460921

1007.3786723891

1142.4760908944

1005.1879150142

1147.5089762626

1021.1471342233

1141.4265229036

1035.0752736095

1131.1215921512

1035.0752736095

1131.1215921512

1025.5060514436

1121.8385474159

1024.4168653484

1121.8385474159

1018.9655027738

1120.7818814832

1030.7291037135

1122.8948512086

1033.9892743453

1115.704844019

1042.4504646558

1101.0618842753

1045.6989019551

1097.0176549676

1043.5336392288

1090.6213828318

1035.0752736095

1095.9525149613

1035.0752736095

1091.6883335375

1039.1987680975

1103.1883256049

1041.3669279429

1103.1883256049

1050.8896223751

1104.2510030598

1041.3669279429

1102.1252860101

1035.0752736095

1108.2858746727

1040.2830290901

1109.3468138562

1038.1141449649

1108.2858746727

1029.6416558897

1112.5274585671

1025.5060514436

1110.4073908997

1031.8161893973

1114.6460776749

1050.8896223751

1113.586949191

1065.5513526214

1109.3468138562

1087.6319942716

1103.1883256049

1102.1252860101

1105.3133183749

1120.7818814832

1109.3468138562

1127.9600684267

1110.4073908997

1116.7632482232

1108.2858746727

1072.8570997215

1109.3468138562

1051.9699722569

1111.4676058034

1038.1141449649

1114.6460776749

1025.5060514436

1112.5274585671

1025.5060514436

1115.704844019

1045.6989019551

1106.37527155

1021.1471342233

1104.2510030598

994.4322649485

1099.9981204007

1002.9957090797

1099.9981204007

1011.5371206197

1101.0618842753

1010.4432991338

1101.0618842753

1012.6305799657

1098.0824328339

1018.0924445973

1095.9525149613

1020.0564995685

1092.7549221033

1018.0924445973

1089.7675615265

1020.0564995685

1089.7675615265

1029.6416558897

1088.699958969

1041.3669279429

1089.7675615265

1029.6416558897

1088.699958969

1028.5538459261

1090.6213828318

1033.9892743453

1092.7549221033

1038.1141449649

1097.0176549676

1018.9655027738

1094.8870128152

1009.5679812044

1094.8870128152

973.922831741

1094.8870128152

953.5106576531

1094.8870128152

879.7390517622

1097.0176549676

915.2449080746

1099.1468485603

934.990125043

1106.37527155

900.8142923415

1105.3133183749

890.8588262493

1105.3133183749

885.4167517711

1106.37527155

832.840413768

1104.2510030598

821.7713127244

1107.4368625853

882.0112181854

1105.3133183749

921.7642470028

1106.37527155

857.6238644572

1102.1252860101

837.4426889977

1106.37527155

797.9062194992

1104.2510030598

863.1083527599

1108.2858746727

879.7390517622

1112.5274585671

734.8541648927

1110.4073908997

648.5906092963

1108.2858746727

604.6288199299

1116.7632482232

582.1016909134

1116.7632482232

571.2845056985

1114.6460776749

563.8930731316

1125.0063723745

705.9125698322

1133.2274639347

847.5472987842

1144.3644006852

904.2017913604

1144.3644006852

939.2385722803

1140.376592773

954.4006929479

1135.1215100214

965.2848157626

1136.1732508515

958.8473928787

1134.2798566166

958.8473928787

1127.9600684267

969.7173198096

1127.9600684267

970.8245404716

1126.0615897476

977.2392789125

1127.9600684267

971.9313989937

1127.9600684267

961.0685700048

1133.2274639347

952.3977876087

1129.0142718081

953.5106576531

1130.0681130496

950.1709611003

1136.1732508515

964.1757844012

1141.4265229036

972.8166250707

1141.4265229036

969.7173198096

1145.4129546842

976.1341586619

1146.4611465433

978.3440370232

1144.3644006852

973.922831741

1149.6035492814

977.2392789125

1148.5564438419

970.8245404716

1149.6035492814

978.3440370232

1149.6035492814

972.8166250707

1147.5089762626

1005.1879150142

1146.4611465433

1032.9029129413

1144.3644006852

1044.6164516619

1146.4611465433

1045.6989019551

1140.376592773

1049.8089103534

1142.4760908944

1037.0291596925

1148.5564438419

1012.6305799657

1148.5564438419

997.7285047139

1147.5089762626

998.8265270226

1144.3644006852

1004.0919931169

1146.4611465433

1021.1471342233

1145.4129546842

1018.9655027738

1146.4611465433

1012.6305799657

1148.5564438419

1011.5371206197

1147.5089762626

1010.4432991338

1143.5252967452

1018.0924445973

1146.4611465433

1006.2834747716

1144.3644006852

1017.0007959508

1143.5252967452

1025.5060514436

1148.5564438419

1033.9892743453

1142.4760908944

1021.1471342233

1147.5089762626

1011.5371206197

1145.4129546842

993.3327940803

1147.5089762626

997.7285047139

1152.5335179276

1004.0919931169

1154.6246144034

1013.7236771718

1148.5564438419

1005.1879150142

1149.6035492814

1006.2834747716

1154.6246144034

990.2523490649

1153.5792472355

976.1341586619

1153.5792472355

968.6097370077

1156.7142623196

964.1757844012

1152.5335179276

964.1757844012

1147.5089762626

966.3934849842

1145.4129546842

962.178615358

1146.4611465433

963.2882985712

1145.4129546842

969.7173198096

1143.5252967452

966.3934849842

1145.4129546842

972.8166250707

1147.5089762626

979.4484329941

1147.5089762626

972.8166250707

1147.5089762626

971.9313989937

1152.5335179276

972.8166250707

1150.6502925809

976.1341586619

1156.7142623196

997.7285047139

1160.8892124734

995.5313736769

1164.8500482061

989.1515020651

1166.9325981804

993.3327940803

1165.8915042632

1002.9957090797

1164.8500482061

1000.8020545857

1164.8500482061

1002.9957090797

1166.9325981804

996.6301202654

1164.8500482061

997.7285047139

1159.8460181448

1002.9957090797

1165.8915042632

1005.1879150142

1158.8024616763

996.6301202654

1159.8460181448

990.2523490649

1161.7235071955

995.5313736769

1162.7660496723

986.9487216457

1159.8460181448

991.3528339249

1161.7235071955

991.3528339249

1159.8460181448

981.656138516

1162.7660496723

993.3327940803

1158.8024616763

984.7444926667

1162.7660496723

982.5388151281

1156.7142623196

979.4484329941

1159.8460181448

977.2392789125

1160.8892124734

976.1341586619

1164.8500482061

979.4484329941

1163.8082300092

981.656138516

1169.8457345644

976.1341586619

1172.9638015015

988.0502929253

1176.0786091795

981.656138516

1188.091866195

973.922831741

1190.158192302

970.8245404716

1182.0913288803

958.8473928787

1182.0913288803

963.2882985712

1185.1965760651

956.6247671931

1182.0913288803

940.3557155755

1181.0555222056

957.7362611058

1184.1618558101

966.3934849842

1188.091866195

968.6097370077

1182.0913288803

982.5388151281

1186.2309341803

969.7173198096

1188.091866195

969.7173198096

1190.158192302

975.0286762714

1185.1965760651

979.4484329941

1182.0913288803

971.9313989937

1187.0581599317

970.8245404716

1189.1252103184

979.4484329941

1197.1728658401

972.8166250707

1197.1728658401

962.178615358

1208.2794001545

963.2882985712

1204.1707940295

962.178615358

1201.2913221702

970.8245404716

1205.1984887706

959.9581625117

1203.3483774959

966.3934849842

1201.2913221702

954.4006929479

1200.2622512976

968.6097370077

1201.2913221702

970.8245404716

1200.2622512976

971.9313989937

1207.2527918331

975.0286762714

1204.1707940295

977.2392789125

1201.2913221702

975.0286762714

1205.1984887706

978.3440370232

1209.305646336

976.1341586619

1210.3315303776

981.656138516

1207.2527918331

978.3440370232

1207.2527918331

971.9313989937

1209.305646336

972.8166250707

1214.2265870199

973.922831741

1210.3315303776

978.3440370232

1210.3315303776

982.5388151281

1202.320030903

980.552466825

1203.3483774959

981.656138516

1205.1984887706

979.4484329941

1204.1707940295

973.922831741

1202.320030903

979.4484329941

1192.2230698494

979.4484329941

1192.2230698494

982.5388151281

1198.2030231325

979.4484329941

1207.2527918331

981.656138516

1209.305646336

982.5388151281

1204.1707940295

982.5388151281

1203.3483774959

982.5388151281

1198.2030231325

975.0286762714

1197.1728658401

980.552466825

1195.3176701213

965.2848157626

1200.2622512976

972.8166250707

1195.3176701213

978.3440370232

1193.2549654133

985.8467882261

1189.1252103184

985.8467882261

1189.1252103184

990.2523490649

1185.1965760651

981.656138516

1194.2864988373

982.5388151281

1188.091866195

985.8467882261

1192.2230698494

981.656138516

1192.2230698494

971.9313989937

1190.158192302

970.8245404716

1190.158192302

964.1757844012

1192.2230698494

961.0685700048

1190.158192302

967.5017920659

1188.091866195

967.5017920659

1186.2309341803

968.6097370077

1184.1618558101

958.8473928787

1187.0581599317

958.8473928787

1184.1618558101

962.178615358

1191.1908121456

966.3934849842

1193.2549654133

959.9581625117

1196.1423464079

965.2848157626

1191.1908121456

968.6097370077

1187.0581599317

966.3934849842

1188.091866195

962.178615358

1193.2549654133

962.178615358

1191.1908121456

956.6247671931

1195.3176701213

958.8473928787

1197.1728658401

961.0685700048

1197.1728658401

959.9581625117

1200.2622512976

965.2848157626

1194.2864988373

969.7173198096

1190.158192302

964.1757844012

1187.0581599317

961.0685700048

1192.2230698494

964.1757844012

1197.1728658401

967.5017920659

1202.320030903

967.5017920659

1203.3483774959

969.7173198096

1204.1707940295

972.8166250707

1206.2258213718

965.2848157626

1206.2258213718

959.9581625117

1212.3822120412

961.0685700048

1215.25073279

963.2882985712

1212.3822120412

957.7362611058

1217.2979379106

952.3977876087

1223.2266411557

953.5106576531

1220.3660295422

957.7362611058

1227.3083040725

953.5106576531

1228.327814452

956.6247671931

1231.1805169302

955.5129111404

1236.2675667706

956.6247671931

1234.2338332541

952.3977876087

1238.096688417

949.0570046363

1238.096688417

950.1709611003

1236.2675667706

952.3977876087

1238.096688417

951.2845554245

1244.185286498

945.7129624047

1241.142617087

945.7129624047

1241.142617087

946.8280052885

1241.142617087

947.9426860323

1252.0809736342

943.7049726215

1255.9196088808

940.3557155755

1265.7951141459

939.2385722803

1262.977090184

940.3557155755

1271.8241764282

939.2385722803

1267.8062501329

938.1210668453

1278.6413533533

941.4724967307

1273.6303528909

937.0031992704

1270.8202380642

933.8712434764

1271.8241764282

932.7519997699

1263.7825295993

930.5124259372

1271.8241764282

932.7519997699

1266.8008632094

935.8849695556

1265.7951141459

935.8849695556

1272.6270663787

932.7519997699

1279.6424670261

934.990125043

1275.6358394955

932.7519997699

1269.8159375604

933.8712434764

1263.7825295993

922.8870396803

1268.8112749166

925.1315386156

1263.7825295993

928.2714035449

1266.8008632094

930.5124259372

1274.6332772631

934.990125043

1267.8062501329

933.8712434764

1267.8062501329

932.7519997699

1271.8241764282

930.5124259372

1271.8241764282

932.7519997699

1272.6270663787

928.2714035449

1270.8202380642

926.2532448734

1261.969964989

922.8870396803

1261.969964989

918.393696131

1263.7825295993

916.3698011635

1255.1119097126

915.2449080746

1259.9546281792

919.5175752281

1264.7890029426

921.7642470028

1272.6270663787

912.9940354772

1272.6270663787

919.5175752281

1281.4435590446

916.3698011635

1285.4417849296

914.1196528459

1282.4436587257

911.8680559686

1271.8241764282

907.5860311203

1261.969964989

906.4583133402

1254.1019598263

911.8680559686

1249.0467782967

911.8680559686

1238.096688417

911.8680559686

1235.2508810823

912.9940354772

1228.327814452

907.5860311203

1222.2053200768

908.4879446036

1227.3083040725

904.2017913604

1223.2266411557

901.943820821

1228.327814452

907.5860311203

1227.3083040725

899.6844017221

1230.1620205425

903.0729871607

1225.2681968939

899.6844017221

1225.2681968939

908.4879446036

1213.2020791099

906.4583133402

1208.2794001545

903.0729871607

1208.2794001545

903.0729871607

1211.3570522793

903.0729871607

1242.1572023639

904.2017913604

1256.9289069153

900.8142923415

1249.0467782967

898.5541489627

1250.0585388824

898.5541489627

1239.1123601135

894.2558857615

1242.1572023639

897.6496860146

1245.1987853552

890.8588262493

1239.1123601135

890.8588262493

1237.283890319

889.7257487988

1234.2338332541

888.8190260977

1236.2675667706

890.8588262493

1240.1276696702

889.7257487988

1230.1620205425

889.7257487988

1230.1620205425

889.7257487988

1238.096688417

888.8190260977

1233.2164232861

886.5512053532

1232.1986511781

885.4167517711

1224.2476000948

882.0112181854

1231.1805169302

878.8297795962

1230.1620205425

880.8753160437

1232.1986511781

878.8297795962

1218.320997261

883.1467581872

1217.2979379106

876.5555851895

1221.183636858

876.5555851895

1223.2266411557

875.4179447763

1213.2020791099

872.0028506974

1210.3315303776

872.0028506974

1219.3436944715

870.8637617247

1216.2745164202

869.9522298057

1212.3822120412

867.6723860167

1223.2266411557

868.8124889812

1213.2020791099

866.5319209123

1219.3436944715

863.1083527599

1210.3315303776

866.5319209123

1219.3436944715

861.966439096

1214.2265870199

860.8241632921

1214.2265870199

866.5319209123

1213.2020791099

864.2499042839

1218.320997261

864.2499042839

1223.2266411557

864.2499042839

1229.3469626916

860.8241632921

1227.3083040725

857.6238644572

1227.3083040725

861.966439096

1221.183636858

856.4802125217

1220.3660295422

859.9100819083

1217.2979379106

853.0470838761

1216.2745164202

848.6937754108

1223.2266411557

849.8398898975

1212.3822120412

849.8398898975

1207.2527918331

850.9856422443

1206.2258213718

846.4004600177

1217.2979379106

842.9577708788

1211.3570522793

846.4004600177

1212.3822120412

837.4426889977

1214.2265870199

838.5923524554

1205.1984887706

836.2926634001

1207.2527918331

835.1422756626

1193.2549654133

829.6153735354

1197.1728658401

828.4628853865

1196.1423464079

826.1568226691

1203.3483774959

821.7713127244

1192.2230698494

820.6163620242

1188.091866195

815.9929378247

1188.091866195

814.836176425

1193.2549654133

809.2786807195

1189.1252103184

805.8010088667

1188.091866195

802.5522412282

1190.158192302

800.2299546435

1181.0555222056

800.2299546435

1172.9638015015

796.7438087172

1166.9325981804

785.3330186105

1175.0407020934

783.2333784627

1160.8892124734

780.8990688334

1167.9733299577

773.8874485883

1158.8024616763

769.4400127215

1158.8024616763

764.7528519004

1154.6246144034

764.7528519004

1153.5792472355

764.7528519004

1153.5792472355

761.4683917539

1157.7585430679

759.1206105206

1161.7235071955

755.5962226214

1158.8024616763

752.3038533395

1164.8500482061

751.1273191017

1154.6246144034

741.9379234049

1146.4611465433

739.5781191271

1146.4611465433

738.3976737783

1147.5089762626

731.5439493568

1142.4760908944

730.3610414568

1144.3644006852

726.8101449173

1143.5252967452

723.4930342378

1134.2798566166

714.2375407675

1135.1215100214

709.4825873581

1138.2756460921

694.4666115283

1130.0681130496

683.9451642372

1132.1747091129

633.3428349626

1139.3263005025

602.4304894179

1135.1215100214

589.2158663473

1135.1215100214

567.5904190446

1137.2246295417

557.970540412

1137.2246295417

547.0908933081

1130.0681130496

541.1447200961

1131.1215921512

534.9419172396

1121.8385474159

533.7002702486

1117.6097108458

530.2217320896

1111.4676058034

526.4915763021

1114.6460776749

524.0029950776

1114.6460776749

521.7620334572

1107.4368625853

521.7620334572

1102.1252860101

524.0029950776

1105.3133183749

522.7581612556

1104.2510030598

522.7581612556

1109.3468138562

522.7581612556

1117.6097108458

524.0029950776

1107.4368625853

525.2474667598

1108.2858746727

525.2474667598

1103.1883256049

525.2474667598

1106.37527155

526.4915763021

1111.4676058034

524.0029950776

1111.4676058034

525.2474667598

1108.2858746727

524.0029950776

1110.4073908997

524.0029950776

1109.3468138562

521.7620334572

1104.2510030598

519.2706999695

1101.0618842753

516.7779179223

1097.0176549676

520.5165477833

1099.1468485603

521.7620334572

1088.699958969

518.0244900159

1092.7549221033

518.0244900159

1090.6213828318

518.0244900159

1088.699958969

515.5309836889

1093.8211485292

515.5309836889

1092.7549221033

515.5309836889

1093.8211485292

516.7779179223

1092.7549221033

516.7779179223

1092.7549221033

515.5309836889

1083.3565140831

516.7779179223

1083.3565140831

514.2836873155

1087.6319942716

514.2836873155

1078.2182894623

511.7880081491

1076.0748999856

511.7880081491

1076.0748999856

511.7880081491

1070.9248551186

511.7880081491

1070.9248551186

511.7880081491

1063.6146754262

510.7893308859

1059.3067475031

511.7880081491

1057.1506107022

514.2836873155

1054.9930253417

514.2836873155

1054.1295856008

516.7779179223

1049.8089103534

514.2836873155

1049.8089103534

515.5309836889

1044.6164516619

515.5309836889

1040.2830290901

515.5309836889

1038.1141449649

515.5309836889

1036.1609107338

516.7779179223

1030.7291037135

520.5165477833

1030.7291037135

519.2706999695

1025.5060514436

521.7620334572

1022.2374067382

524.0029950776

1020.0564995685

519.2706999695

1020.0564995685

520.5165477833

1018.0924445973

520.5165477833

1020.0564995685

519.2706999695

1011.5371206197

521.7620334572

1005.1879150142

522.7581612556

999.9241871914

519.2706999695

998.8265270226

521.7620334572

993.3327940803

518.0244900159

989.1515020651

521.7620334572

980.552466825

521.7620334572

976.1341586619

519.2706999695

981.656138516

527.7353237045

975.0286762714

524.0029950776

970.8245404716

525.2474667598

964.1757844012

531.4643930723

955.5129111404

530.2217320896

953.5106576531

537.4241248019

949.0570046363

538.6646853732

942.588915746

534.9419172396

938.1210668453

533.7002702486

931.6323939235

533.7002702486

925.1315386156

536.1832020907

918.393696131

536.1832020907

915.2449080746

533.7002702486

917.2694548939

537.4241248019

914.1196528459

536.1832020907

908.4879446036

537.4241248019

903.0729871607

537.4241248019

899.6844017221

537.4241248019

900.8142923415

536.1832020907

899.6844017221

536.1832020907

898.5541489627

536.1832020907

896.5187814034

532.4582611177

894.2558857615

531.4643930723

890.8588262493

530.2217320896

889.7257487988

528.978708967

888.8190260977

528.978708967

891.9915415599

530.2217320896

888.8190260977

531.4643930723

886.5512053532

526.4915763021

888.8190260977

528.978708967

888.8190260977

528.978708967

886.5512053532

526.4915763021

886.5512053532

528.978708967

885.4167517711

527.7353237045

880.8753160437

530.2217320896

877.6928634628

527.7353237045

875.4179447763

525.2474667598

874.2799422233

524.0029950776

873.1415775303

526.4915763021

870.8637617247

526.4915763021

869.9522298057

524.0029950776

864.2499042839

526.4915763021

866.5319209123

524.0029950776

865.3910936681

524.0029950776

865.3910936681

526.4915763021

864.2499042839

524.0029950776

864.2499042839

525.2474667598

864.2499042839

524.0029950776

865.3910936681

522.7581612556

866.5319209123

520.5165477833

867.6723860167

520.5165477833

868.8124889812

518.0244900159

867.6723860167

518.0244900159

864.2499042839

518.0244900159

864.2499042839

516.7779179223

861.966439096

516.7779179223

860.8241632921

516.7779179223

858.7671542527

518.0244900159

867.6723860167

518.0244900159

869.9522298057

518.0244900159

870.8637617247

518.0244900159

870.8637617247

515.5309836889

870.8637617247

515.5309836889

869.9522298057

515.5309836889

873.1415775303

516.7779179223

872.0028506974

514.2836873155

870.8637617247

513.0360288023

870.8637617247

511.7880081491

870.8637617247

513.0360288023



		38		38

		68		68

		98		98

		128		128

		158		158

		188		188

		218		218

		248		248

		278		278

		308		308

		338		338

		368		368

		398		398

		428		428

		458		458

		488		488

		518		518

		548		548

		578		578

		608		608

		638		638

		668		668

		698		698

		728		728

		758		758

		788		788

		818		818

		848		848

		878		878

		908		908

		938		938

		968		968

		998		998

		1028		1028

		1058		1058

		1088		1088

		1118		1118

		1148		1148

		1178		1178

		1208		1208

		1238		1238

		1268		1268

		1298		1298

		1328		1328

		1358		1358

		1388		1388

		1418		1418

		1448		1448

		1478		1478

		1508		1508

		1538		1538

		1568		1568

		1598		1598

		1628		1628

		1658		1658

		1688		1688

		1718		1718

		1748		1748

		1778		1778

		1808		1808

		1838		1838

		1868		1868

		1898		1898

		1928		1928

		1958		1958

		1988		1988

		2018		2018

		2048		2048

		2078		2078

		2108		2108

		2138		2138

		2168		2168

		2198		2198

		2228		2228

		2258		2258

		2288		2288

		2318		2318

		2348		2348

		2378		2378

		2408		2408



c

Qsum.av,co-firing

Qsum av,prop.=0

time,s

Average heat production rate, J/s

363.9872147429

541.8055158077

364.1368142409

517.3455732928

344.6353965588

469.555216848

510.4387408053

330.0933941591

598.2456817519

376.8405134734

506.3986086271

399.5003589911

603.399162133

529.6275593269

603.399162133

714.4693399974

858.2485693797

813.8291445301

805.7280495664

819.991028215

825.7029464633

663.9241989417

794.3211517614

647.4298030167

800.3870272578

696.974770362

843.3006920909

759.8286450703

805.6891641435

742.3827964696

792.5621213446

688.7379531136

815.7297663326

718.1484990465

786.833629454

696.7248402651

945.9822936134

631.5492231111

1008.0497111565

696.4450626905

979.7062424647

689.3283124558

1008.4778349605

751.0478450426

959.4142394545

671.793271131

959.8727203639

659.9660373552

975.8471825628

779.2551565194

901.0159575588

712.1719203156

871.8012521618

699.6809387379

1015.8085643512

750.6378880405

920.346552869

742.1438894974

954.4971748112

800.7646846715

999.0018666293

690.4066446586

1053.605212435

691.0669465266

1053.605212435

738.8960390015

1125.3740378931

820.2180348892

1114.8287100207

722.3849643639

1193.8384453526

785.0720261491

1242.1420832548

705.8591471554

1215.9925351291

772.1365606116

1214.6196629185

730.2138795808

1138.6443132963

769.547187275

1099.3117936605

721.2703356513

1053.1354284703

739.2857142471

1042.4941718058

676.0691261634

1090.9936922757

723.7878085308

995.6037559515

711.0778017952

1025.7753440544

644.2018290457

1095.7688301395

721.4719775106

1041.2914509316

695.0160725729

1143.3168061884

630.036568894

1148.9176988335

716.9928833107

1077.1485478194

724.054475509

1044.5065727629

611.575257124

1041.8581179299

670.8085164842

1009.2387840024

567.4495294621

923.0413496571

574.6995197455

887.9647572048

584.3817479654

782.4994530105

340.1818289335

825.2634610055

440.1853207512

726.1506817077

361.7580715957

692.3610852106

314.9723872365

741.8770000867

278.8016102288

768.7394433393

317.0707276765

747.4942666529

441.188606688

743.2540092795

355.8641574326

764.823130293

378.2825676722

672.232646381

329.4695476008

686.9234954065

388.5725254396

755.2068871378

375.5006172659

775.3267572023

375.193228515

736.1913102721

383.3355391805

662.7200238765

395.1962621893

626.9647823629

390.512421407

609.7611291744

301.8444190826

671.9822985078

387.1621982716

728.0580530141

396.1853311184

655.281850099

484.5130958984

659.502103582

436.2105097047

711.8017859037

394.6796835711

702.9214828273

409.8086748535

674.5134029171

418.5416869828



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



a

CO2, prop=0

CO2,B=0,co-fire

time,s

Volume fraction CO2,%

4.3

4.3

4.3

4.3

4

4.3

4

4.4

4

4.4

3.9

4.4

3.9

4.5

3.9

4.5

3.9

4.6

3.9

4.6

3.8

4.7

3.8

4.7

3.8

4.7

3.8

4.8

3.8

4.8

3.8

5

3.8

5

3.8

5

3.8

5.2

3.8

5.2

3.8

5.5

3.8

5.5

3.8

5.5

3.8

5.8

3.8

5.8

3.8

6.2

3.8

6.2

3.9

6.2

3.9

6.6

3.9

6.6

3.9

7.2

3.9

7.2

3.9

7.8

3.9

7.8

3.9

7.8

3.9

8.4

3.9

8.4

3.9

8.9

3.9

8.9

3.8

8.9

3.8

9.2

3.8

9.2

3.8

9.3

3.8

9.3

3.8

9.3

3.8

9.6

3.8

9.6

3.8

10.2

3.8

10.2

3.9

10.2

3.9

10.9

3.9

10.9

3.9

11.3

3.9

11.3

4

11.3

4

11.3

4.1

11.3

4.1

11.4

4.1

11.4

4.2

11.6

4.2

11.6

4.4

11.6

4.4

11.8

4.4

11.8

4.4

11.9

4.4

11.9

4.5

11.9

4.5

12

4.7

12

4.7

12

4.7

12

5

12

5

12

5.6

12

5.6

12

5.6

12

6.2

12

6.2

12

6.6

12

6.6

11.9

6.6

11.9

6.9

12

6.9

12

7.1

12

7.1

12

7.1

12

7.4

12.1

7.4

12.1

7.8

12.1

7.8

12.1

8.2

12.1

8.2

12

8.2

12

8.7

12

8.7

11.9

9.1

11.9

9.1

11.7

9.1

11.7

9.5

11.7

9.5

11.7

10.1

11.7

10.1

11.7

10.1

11.7

10.9

11.7

10.9

11.8

11.7

11.8

11.7

11.9

11.7

11.9

12.4

11.9

12.4

11.9

12.7

11.9

12.7

11.7

12.7

11.7

12.6

11.6

12.6

11.6

12.3

11.6

12.3

11.5

12.2

11.5

12.2

11.4

12.2

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12

11.4

12

11.6

11.9

11.6

11.9

11.6

11.9

11.6

12

11.7

12

11.7

12.1

11.7

12.1

11.7

12.1

11.7

12.2

11.8

12.2

11.8

12.4

11.8

12.4

11.8

12.7

11.8

12.7

11.8

12.7

11.8

12.9

11.8

12.9

11.8

13.1

11.8

13.1

11.7

13.1

11.7

13.2

11.7

13.2

11.6

13.2

11.6

13.2

11.6

13.2

11.6

13.1

11.6

13.1

11.6

13

11.6

13

11.7

13

11.7

12.9

11.6

12.9

11.6

12.5

11.6

12.5

11.5

12.5

11.5

11.1

11.5

11.1

11.5

9.7

11.5

9.7

11.5

9

11.5

9

11.4

9

11.4

8.7

11.4

8.7

11.4

8.6

11.4

8.6

11.4

8.6

11.4

8.3

11.4

8.3

11.4

8.1

11.4

8.1

11.3

8.1

11.3

8.4

11.3

8.4

11.3

9

11.3

9

11.4

9

11.4

9.4

11.4

9.4

11.4

9.4

11.4

9.4

11.5

9.4

11.5

9.4

11.6

9.4

11.6

9.5

11.6

9.5

11.7

9.7

11.7

9.7

11.6

9.7

11.6

9.8

11.6

9.8

11.5

9.9

11.5

9.9

11.5

9.9

11.5

10.6

11.5

10.6

11.5

11.4

11.5

11.4

11.7

11.4

11.7

11.5

11.9

11.5

11.9

11.5

11.9

11.5

12

11.5

12

11.5

12

11.5

12

11.6

12

11.6

12.1

11.8

12.1

11.8

12.1

11.8

12.1

11.8

12.1

11.8

11.9

11.5

11.9

11.5

11.8

11.5

11.8

11.2

11.6

11.2

11.6

10.9

11.6

10.9

11.5

10.9

11.5

10.6

11.4

10.6

11.4

10.5

11.4

10.5

11.4

10.5

11.4

10.6

11.4

10.6

11.4

10.8

11.4

10.8

11.3

10.8

11.3

10.8

11.2

10.8

11.2

10.8

11.2

10.8

11.2

11

11.2

11

11.2

11

11.2

10.9

11.2

10.9

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.7

11.1

10.7

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.7

11.2

10.7

11.3

10.7

11.3

10.9

11.3

10.9

11.4

11

11.4

11

11.6

11

11.6

11.1

11.8

11.1

11.8

11

11.8

11

12

11

12

10.8

12.2

10.8

12.2

10.7

12.2

10.7

12.1

10.6

12.1

10.6

12.1

10.6

12.1

10.4

12.1

10.4

12.1

10.3

12.1

10.3

12.1

10.3

12.1

10.1

12.1

10.1

12.3

9.9

12.3

9.9

12.5

9.9

12.5

9.9

12.5

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.5

9.9

12.5

9.7

12.4

9.7

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.6

12.4

9.6

12.4

9.7

12.4

9.7

12.3

9.7

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.4

9.8

12.4

9.8

12.4

9.8

12.5

9.8

12.5

9.7

12.6

9.7

12.6

9.7

12.6

9.7

12.6

9.7

12.6

9.8

12.6

9.8

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.8

9.9

12.8

9.9

12.8

9.9

13

10.2

13

10.2

12.9

10.2

12.9

10.3

12.9

10.3

12.9

10

12.9

10

12.9

10

12.9

9.8

12.9

9.8

12.9

9.6

12.9

9.6

12.9

9.6

12.9

9.7

12.9

9.7

12.9

9.8

12.9

9.8

13

9.8

13

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

10.1

13.1

10.1

13.2

10.1

13.2

10.1

13.2

10.1

13.2

10.3

13.2

10.3

13.1

10.3

13.1

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.3

13

10.3

12.9

10.3

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

13

10.3

13

10.3

13

10.3

13

10.3

13.1

10.3

13.1

10.4

13.1

10.4

13.3

10.4

13.3

10.4

13.3

10.4

13.3

10.3

13.3

10.3

13.4

10.3

13.4

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.4

10.2

13.4

10.2

13.4

10.2

13.3

10.2

13.3

10.2

13.2

10.2

13.2

10.1

13.2

10.1

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.2

9.9

13.2

9.8

13.2

9.8

13.2

9.8

13.2

9.8

13.1

9.8

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.2

9.8

13.2

9.8

13.3

9.8

13.3

9.9

13.3

9.9

13.4

10.1

13.4

10.1

13.4

10.1

13.4

10.2

13.4

10.2

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.5

10.2

13.5

10.2

13.7

10.2

13.7

10.2

13.7

10.2

13.8

10.2

13.8

10.2

13.9

10.2

13.9

10.2

13.9

10.2

13.9

10.1

13.9

10.1

13.9

10.1

13.9

10.1

13.9

10.1

14

10

14

10

14

10

14

9.9

14

9.9

14

9.9

14

9.9

13.9

9.9

13.9

9.9

13.9

9.9

13.9

10

13.9

10

13.9

10.2

13.9

10.2

13.9

10.2

13.9

10.3

13.9

10.3

13.8

10.4

13.8

10.4

13.7

10.4

13.7

10.6

13.7

10.6

13.7

10.9

13.7

10.9

13.8

10.9

13.8

11.2

13.8

11.2

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.7

11.5

13.7

11.6

13.7

11.6

13.6

11.9

13.6

11.9

13.7

11.9

13.7

12

13.7

12

13.7

11.9

13.7

11.9

13.7

11.9

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.7

13.8

11.7

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.6

11.5

13.6

11.5

13.7

11.5

13.7

11.4

13.7

11.4

13.7

11.3

13.7

11.3

13.8

11.3

13.8

11.3

13.8

11.3

13.8

11.4

13.8

11.4

13.8

11.6

13.8

11.6

13.8

11.6

13.8

11.6

13.8

11.6

13.7

11.6

13.7

11.6

13.7

11.6

13.7

11.5

13.7

11.5

13.7

11.4

13.7

11.4

13.7

11.4

13.7

11.4

13.8

11.4

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.9

11.5

13.9

11.6

13.9

11.6

13.9

11.6

13.9

11.6

14

11.6

14

11.8

14

11.8

14

12.1

14

12.1

14.1

12.1

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.2

14.3

12.2

14.3

12.1

14.3

12.1

14.3

12.1

14.3

11.9

14.4

11.9

14.4

11.8

14.4

11.8

14.4

11.8

14.4

11.7

14.4

11.7

14.4

11.7

14.4

11.7

14.4

11.6

14.4

11.6

14.5

11.6

14.5

11.5

14.5

11.5

14.5

11.4

14.5

11.4

14.5

11.4

14.5

11.3

14.5

11.3

14.4

11.3

14.4

11.3

14.4

11.3

14.4

11.3

14.3

11.3

14.3

11.2

14.3

11.2

14.3

11.2

14.3

11.2

14.2

11.2

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.1

14.2

11.1

14.2

11.1

14.2

11.1

14.2

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.2

14.3

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.3

14.4

11.3

14.4

11.3

14.4

11.4

14.4

11.4

14.5

11.4

14.5

11.4

14.6

11.4

14.6

11.6

14.6

11.6

14.6

11.8

14.6

11.8

14.6

11.8

14.6

12

14.7

12

14.7

12.3

14.7

12.3

14.7

12.3

14.7

12.7

14.7

12.7

14.7

13

14.7

13

14.7

13.1

14.7

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

12.8

14.6

12.8

14.7

12.6

14.7

12.6

14.7

12.6

14.7

12.4

14.7

12.4

14.7

12.3

14.7

12.3

14.7

12.3

14.7

12.2

14.7

12.2

14.7

12.3

14.7

12.3

14.7

12.5

14.7

12.5

14.7

12.5

14.7

12.6

14.7

12.6

14.6

12.8

14.6

12.8

14.6

12.8

14.6

13

14.6

13

14.6

13.2

14.6

13.2

14.6

13.2

14.6

13.3

14.5

13.3

14.5

13.3

14.5

13.3

14.4

13.3

14.4

13.3

14.4

13.3

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.1

14.3

13.1

14.4

13.1

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.6

14.4

12.6

14.4

12.6

14.4

12.6

14.5

12.6

14.5

12.5

14.5

12.5

14.5

12.5

14.5

12.4

14.5

12.4

14.5

12.1

14.5

12.1

14.5

11.8

14.5

11.8

14.4

11.8

14.4

11.5

14.4

11.5

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.6

14.4

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.9

14.3

11.9

14.3

11.9

14.3

12

14.3

12

14.3

11.8

14.3

11.8

14.3

11.8

14.3

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.8

14.3

11.8

14.3

12.1

14.3

12.1

14.3

12.1

14.3

12.4

14.3

12.4

14.3

12.6

14.3

12.6

14.4

12.7

14.4

12.7

14.4

12.7

14.4

12.9

14.4

12.9

14.2

13.1

14.2

13.1

14

13.1

14

13.1

14

13.1

13.9

13.2

13.9

13.2

13.9

13.2

13.9

13.3

13.8

13.3

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.7

13.4

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.4

13.7

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.7

13.3

13.7

13.3

13.5

13.3

13.5

13.3

13.4

13.3

13.4

13.4

13.4

13.4

13.3

13.4

13.3

13.5

13.4

13.5

13.4

13.4

13.4

13.4

13.3

13.3

13.3

13.3

13.3

13.3

13.3

13.1

13.3

13.1

13.3

12.9

13.3

12.9

13.3

12.9

13.3

12.6

13.3

12.6

13.2

12.4

13.2

12.4

13.1

12.4

13.1

12.4

13

12.4

13

12.3

13

12.3

13

12.3

13

12.1

12.9

12.1

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

13

12

13

12

13.1

12

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.3

13.2

12.3

13.2

12.4

13.2

12.4

13.4

12.4

13.4

12.6

13.6

12.6

13.6

12.6

13.6

12.6

13.6

12.5

13.6

12.5

13.5

12.5

13.5

12.5

13.5

12.5

13.4

12.5

13.4

12.5

13.4

12.5

13.4

12.4

13.4

12.4

13.4

12.4

13.4

12.4

13.3

12.4

13.3

12.5

13.2

12.5

13.2

12.5

13.2

12.5

13.1

12.5

13.1

12.4

13

12.4

13

12.3

13

12.3

12.9

12

12.9

12

12.9

12

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

13

11.9

13

11.9

13

11.9

13.1

12

13.1

12

13.1

12

13.1

12

13.1

12

13.1

11.9

13.1

11.9

13.1

11.9

13.1

12

13.1

12

13.1

12

13.1

12

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.8

13.1

11.8

13

11.8

13

11.9

13

11.9

13.1

12

13.1

12

13

12

13

12.1

13

12.1

13

12.1

13

12.1

12.9

12.1

12.9

12.3

13

12.3

13

12.6

13

12.6

13

12.6

13

12.8

13

12.8

13

12.9

13

12.9

13

12.8

13

12.8

13.1

12.8

13.1

12.6

13.1

12.6

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.4

13.1

12.4

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.4

13.1

12.4

13.1

12.4

13.1

12.4

13.2

12.4

13.2

12.5

13.2

12.5

13.3

12.6

13.3

12.6

13.4

12.6

13.4

12.5

13.4

12.5

13.5

12.4

13.5

12.4

13.5

12.4

13.5

12.4

13.5

12.4

13.6

12.3

13.6

12.3

13.6

12.3

13.6

12.4

13.7

12.4

13.7

12.5

13.7

12.5

13.7

12.5

13.7

12.9

13.9

12.9

13.9

13.4

13.9

13.4

13.9

13.4

13.9

13.7

14

13.7

14

13.7

14

13.7

14.1

13.6

14.1

13.6

14.2

13.6

14.2

13.5

14.2

13.5

14.3

13.6

14.3

13.6

14.3

13.6

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.6

14.4

13.6

14.4

13.6

14.4

13.6

14.4

13.6

14.4

13.7

14.2

13.7

14.2

13.9

14.2

13.9

14.2

14.1

14.2

14.1

14.2

14.1

14.2

14.2

14.2

14.2

14.3

14.2

14.3

14.2

14.4

14.2

14.4

14.1

14.4

14.1

14.5

14.2

14.5

14.2

14.7

14.2

14.7

14.3

14.9

14.3

14.9

14.2

14.9

14.2

15

14.2

15

14

14.9

14

14.9

13.8

14.9

13.8

14.8

13.6

14.8

13.6

14.7

13.6

14.7

13.6

14.7

13.6

14.8

13.4

14.8

13.4

14.9

13.4

14.9

13.3

14.9

13.3

14.9

13.1

14.9

13.1

14.8

13.1

14.8

13

14.6

13

14.6

13.2

14.6

13.2

14.6

13.2

14.6

13.3

14.7

13.3

14.7

13.5

14.7

13.5

14.8

13.5

14.8

13.7

15.1

13.7

15.1

13.7

15.1

13.7

15.2

13.6

15.2

13.6

15.1

13.6

15.1

13.5

15.1

13.5

15.2

13.5

15.2

13.5

15.3

13.5

15.3

13.5

15.3

13.5

15.1

14

15.1

14

14.8

14

14.8

14.5

14.6

14.5

14.6

14.9

14.6

14.9

14.5

14.9

14.5

15

14.4

15

14.4

14.6

14.4

14.6

14.4

14.1

14.4

14.1

14.6

14.1

14.6

14

14.6

14

14.7

14.1

14.7

14.1

14.8

14.1

14.8

14.3

14.8

14.3

14.9

14.4

14.9

14.4

14.8

14.4

14.8

14.5

15

14.5

15

14.7

15

14.7

15.2

14.7

15.2

14.2

15.2

14.2

15.2

13.3

15.2

13.3

15.2

12.9

15.2

12.9

15.3

12.9

15.3

12.9

15.3

12.9

15.3

13

15.3

13

15.1

13

15.1

13

15.1

13

15

13.1

15

13.1

14.9

13.1

14.9

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.7

12.9

14.7

13.1

14.7

13.1

14.7

13.1

14.7

13.3

14.8

13.3

14.8

13.4

14.8

13.4

14.8

13.4

14.8

13.4

14.9

13.4

14.9

13.3

14.9

13.3

14.9

13.3

14.9

13.3

15.1

13.3

15.1

13.3

15.1

13.3

15.3

13.3

15.3

13.3

15.4

13.3

15.4

13.4

15.2

13.4

15.2

13.4

15.2

13.4

15.1

13.4

15.1

13.3

14.9

13.3

14.9

13.2

14.9

13.2

14.8

13.2

14.8

13.3

14.8

13.3

14.8

13.1

14.8

13.1

14.7

13.1

14.7

12.7

14.6

12.7

14.6

12.4

14.6

12.4

14.5

12.2

14.5

12.2

14.4

12.2

14.4

12.1

14.4

12.1

14.4

12.1

14.4

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

11.9

14.5

11.9

14.5

11.8

14.5

11.8

14.5

11.8

14.5

11.9

14.5

11.9

14.5

11.9

14.5

11.9

14.5

12

14.5

12

14.5

12

14.5

11.8

14.5

11.8

14.5

11.7

14.5

11.7

14.4

11.7

14.4

11.8

14.4

11.8

14.3

12.1

14.3

12.1

14.3

12.1

14.3

12.4

14.3

12.4

14.3

12.6

14.3

12.6

14.2

12.6

14.2

12.9

14.2

12.9

14.2

13.1

14.2

13.1

14.2

13.6

14.2

13.6

14.2

13.6

14.2

14.6

14.2

14.6

14.1

15.4

14.1

15.4

14

15.4

14

15.4

14

15.4

14

14.9

14

14.9

14

14.9

14

14.2

13.9

14.2

13.9

13.5

13.9

13.5

13.9

13.5

13.9

12.8

13.9

12.8

13.9

12.2

13.9

12.2

13.9

12.2

13.9

11.9

13.8

11.9

13.8

12.1

13.8

12.1

13.8

12.1

13.8

12.1

13.7

12.1

13.7

11.6

13.7

11.6

13.6

11.1

13.6

11.1

13.6

11.1

13.6

10.8

13.6

10.8

13.7

10.5

13.7

10.5

13.7

10.5

13.7

10.3

13.7

10.3

13.7

10

13.7

10

13.7

10

13.7

9.8

13.7

9.8

13.7

9.7

13.7

9.7

13.8

9.6

13.8

9.6

13.8

9.6

13.8

9.6

13.8

9.6

13.9

9.6

13.9

9.6

14

9.6

14

9.4

14

9.4

14

9.3

14

9.3

14

9.3

14

9

14.1

9

14.1

8.6

14.1

8.6

14.1

8.6

14.1

8.4

14.1

8.4

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.2

14.1

8.2

14.1

8

14.1

8

14.1

8

14.1

8

14.1

8

14.1

8.1

14.1

8.1

14

8.1

14

8.2

13.8

8.2

13.8

8.3

13.8

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.6

8.3

13.6

8.3

13.5

8.3

13.5

8.4

13.5

8.4

13.4

8.7

13.4

8.7

13.6

8.7

13.6

9

13.6

9

13.7

9.2

13.7

9.2

13.7

9.2

13.7

9.3

13.7

9.3

13.7

9.3

13.7

9.3

13.6

9.3

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.3

13.5

9.3

13.5

9.4

13.5

9.4

13.4

9.3

13.4

9.3

13.2

9.3

13.2

8.6

13.2

8.6

13

8.1

13

8.1

12.9

8.1

12.9

8

12.9

8

13.1

7.9

13.1

7.9

13.4

7.9

13.4

7.7

13.4

7.7

13.4

7.6

13.4

7.6

13.1

7.6

13.1

7.6

12.7

7.6

12.7

7.6

12.7

7.6

12.4

7.6

12.4

7.6

12.3

7.6

12.3

7.5

12.3

7.5

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12

7.6

12

7.4

12

7.4

11.8

7.2

11.8

7.2

11.7

7.2

11.7

7.3

11.6

7.3

11.6

7.4

11.6

7.4

11.5

7.4

11.5

7.4

11.4

7.4

11.4

7.4

11.4

7.4

11.4

7.5

11.4

7.5

11.3

7.5

11.3

7.6

11.3

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.5

11.1

7.5

11.3

7.5

11.3

7.4

11.1

7.4

11.1

7.4

11.1

7.4

10.8

7.4

10.8

7.3

10.5

7.3

10.5

7.1

10.5

7.1

10.4

6.9

10.4

6.9

10.4

6.9

10.4

6.8

10.4

6.8

10.4

6.6

10.4

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.4

6.6

10.4

6.6

10.4

6.6

10.3

6.6

10.3

6.5

10.1

6.5

10.1

6.5

10.1

6.5

10.1

6.5

10.1

6.4

9.9

6.4

9.9

6.3

9.9

6.3

9.9

6.3

9.9

6.3

9.8

6.3

9.8

6.5

9.8

6.5

9.6

6.6

9.6

6.6

9.6

6.6

9.6

6.5

9.6

6.5

9.8

6.4

9.8

6.4

10

6.4

10

6.4

10.2

6.4

10.2

6.5

10.2

6.5

10.6

6.5

10.6

6.5

10.6

6.5

10.6

6.2

10.6

6.2

10.3

5.9

10.3

5.9

10.1

5.9

10.1

5.6

10.1

5.6

9.9

5.4

9.9

5.4

9.8

5.4

9.8

5.3

9.8

5.3

9.7

5.4

9.7

5.4

9.4

5.4

9.4

5.7

9

5.7

9

6.1

9

6.1

8.8

6.1

8.8

6.1

8.8

6.1

8.8

5.8

8.8

5.8

8.9

5.6

8.9

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.9

5.6

8.9

5.6

8.9

5.6

8.9

5.5

8.9

5.5

8.8

5.5

8.8

5.4

8.8

5.4

8.8

5.3

8.8

5.3

9

5.3

9

5.4

9.2

5.4

9.2

5.5

9.2

5.5

9.4

5.5

9.4

5.6

9.5

5.6

9.5

5.7

9.5

5.7

9.4

5.9

9.4

5.9

9.4

5.9

9.4

6.1

9.4

6.1

9.7

6.2

9.7

6.2

10

6.2

10

5.9

10

5.9

10

5.7

10

5.7

9.8

5.7

9.8

5.6

9.6

5.6

9.6

5.6

9.6

5.6

9.4

5.6

9.4

5.8

9.2

5.8

9.2

6.1

9.2

6.1

8.9

6.6

8.9

6.6

8.9

6.6

8.9

7

8.9

7

8.8

7.1

8.8

7.1

8.6

7.1

8.6

6.9

8.6

6.9

8.6

6.6

8.6

6.6

9

6.6

9

6.2

9.4

6.2

9.4

6.1

9.4

6.1

9.4

6.1

9.4

6

9.3

6

9.3

5.9

9.3

5.9

9.1

5.9

9.1

5.8

8.9

5.8

8.9

5.8

8.9

5.8

8.8

5.7

8.8

5.7

8.7

5.7

8.7

5.6

8.7

5.6

8.7

5.5

8.7

5.5

8.9

5.5

8.9

5.3

8.9

5.3

9.3

5.1

9.3

5.1

9.6

5.1

9.6

4.9

9.5

4.9

9.5

4.9

9.5

4.9

9.5

4.9

9.5

5

9.4

5

9.4

5

9.4

5

9.3

4.9

9.3

4.9

9.2

4.9

9.2

4.8

9.2

4.8

8.8

4.8

8.8

4.8

8.3

4.8

8.3

4.8

8.3

4.8

7.7

4.8

7.7

4.8

7.3

4.8

7.3

4.8

6.9

4.8

6.9

4.8

6.9

4.8

6.7

4.8

6.7

4.8

6.7

4.8

6.7

4.9

6.7

4.9

6.6

4.9

6.6

5

6.6

5

6.6

5.1

6.6

5.1

6.6

5.1

6.6

5.2

6.6

5.2

6.6

5.3

6.6

5.3

6.6

5.3

6.6

5.3

6.7

5.3

6.7

5.5

6.8

5.5

6.8

5.8

6.8

5.8

6.8

5.8

6.8

6

6.8

6

6.8

6.1

6.8

6.1

6.8

6.1

6.8

6.1

6.9

6.1

6.9

6.1

6.9

6.1

6.9

6.1

6.9

6.1

7

6.1

7

6.1

7

6.1

7.1

6.1

7.1

6.1

7.2

6.1

7.2

6

7.2

6

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.3

6.1

7.3

6

7.3

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.5

6

7.5

5.9

7.5

5.9

7.5

5.8

7.5

5.8

7.5

5.8

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.5

7.5

5.5

7.5

5.3

7.5

5.3

7.6

5.3

7.6

5.2

7.8

5.2

7.8

5.1

7.8

5.1

7.9

5.1

7.9

5.1

7.9

5.1

7.9

5

7.9

5

7.9

4.9

7.9

4.9

7.9

4.9

7.9

4.9

7.9

4.9

7.8

4.9

7.8

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.7

4.9

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.7

7.7

4.7

7.8

4.6

7.8

4.6

7.8

4.6

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.9

4.5

7.9

4.5

7.9

4.5

8.1

4.5

8.1

4.6

8.1

4.6

8.1

4.6

8.1

4.6

8.2

4.6

8.2

4.7

8.2

4.7

8.2

4.8

8.2

4.8

8.3

4.8

8.3

4.8

8.4

4.8

8.4

4.8

8.4

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.6

4.8

8.6

4.7

8.7

4.7

8.7

4.7

8.7

4.7

8.8

4.7

8.8

4.7

8.8

4.7

8.8

4.6

8.8

4.6

8.9

4.6

8.9

4.6

9

4.6

9

4.5

9

4.5

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.2

9.1

4.2

9.1

4.2

9.1

4.1

9.2

4.1

9.2

4.1

9.2

4.1

9.2

4.1

9.2

4

9.3

4

9.3

4

9.3

4

9.4

4

9.4

4

9.4

4

9.4

3.9

9.4

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.8

9.3

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.7

9.2

3.7

9.2

3.7

9.2

3.7

9.3

3.7

9.3

3.7

9.4

3.7

9.4

3.6

9.4

3.6

9.5

3.6

9.5

3.6

9.6

3.6

9.6

3.6

9.6

3.6

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.7

3.5

9.7

3.4

9.7

3.4

9.6

3.4

9.6

3.4

9.6

3.4

9.6

3.3

9.6

3.3

9.6

3.3

9.6

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.6

3.3

9.6

3.3

9.6

3.3

9.6

3.2

9.6

3.2

9.6

3.2

9.6

3.3

9.6

3.3

9.6

3.2

9.6

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.4

3.2

9.4

3.2

9.4

3.2

9.3

3.1

9.3

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.3

3.1

9.3

3

9.3

3

9.4

3

9.4

3

9.4

3

9.4

3

9.4

3

9.3

3

9.3

3

9.3

3

9.3

3

9.3

3

9.3

2.9

9.3

2.9

9.3

2.9

9.3

2.8

9.3

2.8

9.3

2.9

9.3

2.9

9.3

2.9

9.3

2.9

9.2

2.9

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.1

2.7

9.1

2.7

9.1

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.6

9.2

2.6

9.1

2.6

9.1

2.6

9.2

2.6

9.2

2.6

9.2

2.6

9.2

2.6

9.2

2.7

9.1

2.7

9.1

2.7

9.1

2.7

9

2.7

9

2.6

8.9

2.6

8.9

2.5

8.9

2.5

8.8

2.5

8.8

2.5

8.8

2.5

8.8

2.4

8.8

2.4

8.7

2.3

8.7

2.3

8.6

2.3

8.6

2.3

8.6

2.3

8.6

2.3

8.6

2.2

8.6

2.2

8.6

2.2

8.5

2.2

8.5

2.2

8.5

2.2

8.4

2.2

8.4

2.2

8.3

2.2

8.3

2.2

8.3

2.2

8.2

2.2

8.2

2.2

8.2

2.2

8.2

2.3

8.2

2.3

8.1

2.3

8.1

2.4

8

2.4

8

2.3

8

2.3

7.9

2.3

7.9

2.3

7.9

2.3

7.9

2.3

7.5

2.3

7.5

2.2

7.5

2.2

7.4

2.2

7.4

2.2

7.2

2.2

7.2

2.2

7.2

2.2

6.7

2.1

6.7

2.1

7.1

2.1

7.1

1.9

7.1

1.9

7.9

1.6

7.9

1.6

8.2

1.6

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.1

1.5

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8

1.4

8

1.4

8

1.4

8

1.4

8

1.4

7.5

1.5

7.5

1.5

6.7

1.5

6.7

1.5

6.7

1.5

6.7

1.5

6.7

1.5

7.4

1.5

7.4

1.5

7.4

1.6

7.6

1.7

7.6

1.7

7.7

1.7

7.7

1.8

7.6

1.8

7.6

1.8

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.5

1.7

7.5

1.7

7.5

1.7

7.4

1.7

7.4

1.7

7.4

1.7

7.4

1.7

7.4

1.6

7.3

1.6

7.3

1.6

7.2

1.6

7.2

1.6

7

1.6

7

1.6

7

1.6

6.9

1.6

6.9

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.5

1.6

6.5

1.6

6.1

1.6

6.1

1.6

6.1

1.6

6.3

1.6

6.3

1.6

6.7

1.6

6.7

1.6

6.7

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.7

1.5

6.7

1.5

6.6

1.5

6.6

1.5

6.5

1.5

6.5

1.5

6.5

1.5

6.2

1.5

6.2

1.5

5.8

1.5

5.8

1.5

5.8

1.5

5.6

1.5

5.6

1.5

5.4

1.5

5.4

1.5

5.4

1.5

5.3

1.5

5.3

1.5

5.1

1.5

5.1

1.5

5.1

1.5

5.1

1.4

5.1

1.4

5.4

1.4

5.4

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.6

1.5

5.6

1.5

5.5

1.5

5.5

1.5

5.5

1.5

5.4

1.5

5.4

1.5

5.3

1.5

5.3

1.5

5.3

1.5

5.2

1.5

5.2

1.6

5.1

1.6

5.1

1.6

5

1.6

5

1.6

5

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.8

1.6

4.8

1.6

4.8

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.5

1.4

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.6

4.5

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.5

1.6

4.5

1.6

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.4

1.5

4.4

1.5

4.4

1.5

4.4

1.5

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.3

4.4

1.3

4.4

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.2

4.5

1.2

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



b

eff, prop=0

eff,B=0,co-fire

time,s

Efficiency,%

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

74.6

0

74.2

53.1

74.2

50.9

88.2

85.6

88.1

85.1

90.5

85.1

90.3

90.8

90.3

90.6

90.9

92

90.7

91.8

90.9

91.8

90.8

92.2

90.9

92

90.8

92.2

90.8

92

90.9

92

90.8

92.1

90.9

91.9

91

92

91

91.9

91

92

91

91.8

91

91.8

90.9

91.8

90.9

91.7

91

91.7

90.9

91.6

90.9

91.6

90.9

91.7

90.9

91.6

90.9

91.6

90.9

91.6

90.9

91.6

90.8

91.6

90.8

91.6

90.9

91.6

90.9

91.5

90.9

91.5

90.9

91.6

90.9

91.5

90.8

91.5

90.8

91.4

90.9

91.4

90.9

91.4

90.9

91.3

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.3

90.9

91.3

91.5

91.3

91.6

91.3

91.6

91.3

91.6

91.9

91.7

91.9

90.3

91.7

89

91.7

88.3

91.7

83.1

90

83.4

89

83.4

88.6

74

88.6

73.6

84.1

65.2

84

64.2

74.7

64.2

73.1

61.3

64

60.2

62.8

60

62.8

58.8

57.8

58.8

57

59.4

55.1

58.2

54.4

59

54.4

57.6

53.3

57.6

52.7

58.3

52.1

57.1

51.7

57.9

51.7

56.6

51.2

57.5

51.3

56

51.1

56

51.2

57

51.2

55.6

51

57.1

50.8

55.3

50.5

55.3

50.2

57.1

50.3

55

49.7

57

49.7

54.2

49.7

54.2

49.1

56.3

49.3

53.4

48.9

56.1

48.9

52.7

49.3

52.7

49

55.5

49.3

51.6

48.8

55.1

48.8

51.3

48.8

55.2

48.5

51.9

48.3

51.9

48

55.3

48

52.8

47.7

55.5

47.4

53.6

47.2

53.6

46.9

55.3

46.9

53

46.7

53.6

46.3

50.8

46

50.8

45.5

52.3

45.6

49.4

44.8

52.5

44.8

50.3

45.2

50.3

44.2

53.5

45

52.2

44

53.5

44

52.6

45

52.6

44.3

52.7

45.5

52.2

44.7

52.7

44.7

52.7

46.3

53.5

45.6

53.6

47

53.6

46.4

54.4

46.4

54.2

47.1

54.6

46

54.3

46.6

54.3

44

54.6

45.9

54.2

41.9

54.2

41.9

54

45.6

54

42

54.1

47.5

53.8

44.3

53.9

44.3

53.8

49.4

53.8

46.9

53.7

50.3

53.6

48.2

53.5

48.2

53.5

50.5

53.6

48.3

53.6

50.3

53.6

48.1

53.8

48.1

53.7

50.4

53.8

48.1

53.7

50.8

53.7

48.5

53.8

51.2

53.7

51.4

53.6

49

53.4

51.8

53.4

49.2

52.8

51.4

52.6

49

52.1

49

52

51.4

52

48.8

52

51.8

51.8

49.4

51.8

49.4

51.7

52.8

51.7

51.1

52.1

54.6

52.1

53.8

52.5

53.8

52.5

56.5

52.4

56.3

52.5

57.2

52.5

57.3

52

57.3

52.2

56.9

51.7

56.9

51.9

56.2

51.9

56.1

51.5

55.5

51.6

55.4

51.3

55.4

51.3

55.2

51.3

55.2

51

55.2

51

55.1

51.1

55.1

51.1

54.7

51.1

54.5

51.8

54.4

51.8

54.1

52.1

54.1

52.1

54.5

52.2

54.2

52.2

54.4

52.3

54

52.5

54

52.5

54.4

52.7

54.2

52.8

55

52.8

54.8

53

55.6

53

55.4

53.2

55.4

53.5

56.1

53.5

56

53.5

56.6

53.9

56.6

53.5

56.6

53.7

57.1

53.7

57.2

53.2

57.2

53.2

57.3

53.1

57.3

53.1

57

53.3

57.1

53.5

56.6

53.5

57.4

53.6

57.4

53.7

57.1

53.3

58.6

53.3

57.2

53.3

58.4

53

58.4

53.2

53.4

53.3

54.2

53.4

47.7

53.4

48.3

53.3

44.4

53.3

45.1

53.2

45.1

53.3

43.4

53.3

44.3

53.3

43.1

53.6

43.3

53.5

43.3

53.7

41.7

53.7

40.3

53.4

38.8

53.6

36.8

53.3

36.8

53.4

38.6

53.3

37.6

53.3

41.9

53.3

41.7

53.6

41.7

53.5

44.3

53.8

44

53.7

44.1

53.7

43.4

54

43.1

54

42.4

54.4

42.4

54.4

42.9

54.4

42.6

54.7

43.7

54.7

43.4

54.5

43.4

54.5

44

54.5

43.3

54.1

44.1

54

43.5

53.9

43.5

53.7

46.9

53.8

46.6

53.6

50.2

53.6

50.1

54.3

50.1

54.2

50.8

55

50.8

55

50.5

55

50.5

55.2

50.8

55.2

50.9

55.3

50.9

55.3

51.3

55.3

51.3

55.5

51.9

55.6

51.9

55.6

51.9

55.7

51.7

55.7

51.7

55.2

50.7

55.4

50.8

54.8

50.8

55.1

49.6

54.4

49.7

54.4

48.1

54.6

48

54.1

48

54.2

46.7

54

46.6

54.2

46.4

54.2

46.4

54.3

46.4

54.5

47

54.3

47.2

54.5

47.9

54.5

47.7

54

47.6

54.1

47.4

53.9

47.4

54.1

47.7

54.1

47.8

54.1

48.8

54.4

48.9

54.1

48.9

54.3

48.4

54.3

48.7

54.1

47.9

54.1

48.2

54.2

48.2

54.2

48.1

54.2

48.4

54.3

48.5

54.3

48.8

54.3

48.8

54.3

48.7

54.2

48.9

54.1

48.7

54.1

48.8

54.2

48.6

54.1

48.4

54.3

48.4

54.1

48

54.1

48

54.2

48.6

54

48.6

54.2

48.6

54

49.6

54

49.7

54.4

50.2

54.1

50.4

54.6

50.4

54.2

50.8

55.1

50.8

54.9

50.3

54.9

50.1

55.8

50.1

55.7

49.1

56.2

49.3

56.1

49.1

56.1

49.5

56

49.1

56

49

55.8

49.4

55.9

48.6

55.9

49.1

55.8

48.2

55.8

48.8

55.9

48.8

55.8

47.7

55.8

48.2

56.4

47.5

56.3

47.9

57

47.9

56.9

47.5

56.9

48.2

57.2

48.2

57.2

49

57.4

49

57.5

49

57.4

49

57.5

49

57.5

49.2

57.1

49.2

57.1

48.2

56.7

48.2

56.7

47.1

56.7

47.1

56.7

47.1

56.7

47.3

56.8

47.3

56.7

47.9

56.7

47.9

56.4

48.5

56.3

48.4

56.1

48.4

56

48.6

56

48.5

56

48.6

55.9

48.5

55.9

48.5

55.8

48.5

56.1

48.4

56.1

48.2

56.1

48.1

56.5

48.1

56.4

47.8

56.6

47.5

56.6

47.5

56.6

47.2

56.8

47.2

56.7

47.6

56.7

47.4

56.7

47.7

56.7

47.2

56.7

47.2

56.6

47.3

57.3

46.6

57.2

46.9

57.2

47

57.7

48.3

57.7

48.9

57.6

48.9

57.5

49.2

57.5

49.7

57.5

48.4

57.5

48.8

57.5

48.8

57.5

47.4

57.5

47.4

57.4

46.8

57.4

46.5

57.3

46.5

57.2

46.8

57.4

46.6

57.3

47.2

57.3

47.3

57.6

47.3

57.5

47.7

57.8

47.8

57.8

47.7

57.8

47.5

57.8

47.4

57.8

47.1

57.7

47.1

57.6

47.5

57.6

47.2

57.8

47.8

57.8

47.4

58

47.4

58.1

47.9

58.1

47.6

58

48.1

58.1

48

57.8

48

57.9

48.6

57.7

48.5

57.7

48.8

57.7

48.8

57.7

48.8

57.7

48.9

57.7

49

57.7

48.9

57.7

49

57.5

48.6

57.6

48.7

57.5

48.7

57.5

48.1

57.5

48.1

57.5

47.8

57.5

47.8

57.6

47.8

57.6

48

57.6

48

57.7

48.3

57.6

48.4

57.7

48.4

57.5

48.8

57.8

49.1

57.8

49.4

57.6

49.6

58.1

49.6

57.9

49.4

58.1

49.6

57.9

49.2

57.9

49.3

58

49.3

58

48.9

58.3

48.8

58.3

48.6

58.3

48.5

58.5

48.6

58.6

48.7

58.4

48.7

58.6

48.8

58.6

49.1

58.1

49.1

58.2

49.5

57.9

49.5

57.9

49

57.9

49.3

57.7

48.6

57.6

48.9

57.6

48.9

57.6

48.6

57.7

48.7

57.8

48.3

57.8

48.4

57.8

48.4

57.9

48.2

57.8

48.3

57.8

48.3

57.8

48.3

57.8

48.3

57.8

48.3

57.9

48.3

57.9

48.2

57.9

48.1

58

48.2

58

48

58.3

48

58.3

48.7

58.3

48.6

58.5

49.6

58.5

49.6

58.6

49.6

58.6

50.3

58.7

50.4

58.7

50.8

58.7

51

58.7

51

58.7

51

58.7

51.1

58.5

50.8

58.5

50.7

58.7

50.6

58.4

50.6

58.9

50.5

58.7

50.5

58.7

50.4

59.1

50.4

59

50.4

59.3

50.4

59.3

50.2

59.3

50.1

59.5

49.8

59.4

49.9

59.4

49.9

59.3

49.7

59.3

49.8

59.5

49.5

59.5

49.5

59.6

49.5

59.7

49.2

59.5

48.9

59.6

48.5

59.6

47.9

59.4

47.9

59.4

47.8

59.3

47.4

59.2

48.2

59.2

47.8

59.2

48.8

59.1

48.3

59.1

48.3

59.2

48.9

59.2

48.1

59.1

48.6

59.1

47.9

58.9

47.9

58.8

48.9

58.8

48.2

58.7

49.5

58.7

49.1

58.9

49.1

58.9

50.6

59.1

50.5

59.2

51.5

59.2

51.1

59.1

51.1

59.2

51.2

58.9

50.8

59

51.3

59

51.5

58.9

52.5

58.9

52.8

58.9

52.8

59

53.2

59

53.3

59.1

53.1

59.1

53.2

59.2

53.2

59.1

52.8

59.1

53

59.1

52.7

59

52.9

59.1

52.9

59.1

52.6

59.2

52.8

59.1

52.1

59.1

52.1

59.2

52.1

59.2

51.6

59.2

51.7

59.2

51.7

59.2

51.7

59.2

51.7

59.3

51.9

59.4

52

59.5

52.2

59.5

52.4

59.4

52.5

59.5

52.6

59.2

52.6

59.3

52.6

59.3

52.6

59.2

52.5

59.3

52.6

59.3

52.6

59.4

52.7

59.4

52.8

59.3

52.8

59.3

52.8

59.4

52.8

59.3

52.5

59.4

52.3

59.4

51.8

59.4

51.6

59.5

51.6

59.5

51.6

59.6

51.4

59.6

52.1

59.6

52

59.6

52.6

59.7

52.6

59.7

52.6

59.6

52.8

59.6

52.9

59.5

52.7

59.4

52.8

59.3

52.8

59.3

52.5

59.3

52.6

59.3

52.2

59.2

52.1

59.3

52.1

59.2

52.1

59.3

52

59.3

52.2

59.3

52.1

59.4

52.1

59.3

52.2

59.4

52.1

59.2

52.2

59.2

52

59.3

52.1

59.1

51.7

59.2

51.7

59.2

52.4

59.2

52

59.4

53.2

59.4

53

59.5

53

59.5

53.9

59.5

54

59.5

54.3

59.4

54.6

59.5

54.6

59.4

54.3

59.8

54.6

59.8

54

59.7

54.3

59.9

54.3

59.9

53.6

59.9

53.9

59.9

53.5

59.9

53.7

59.9

53.7

59.8

53.5

59.9

53.7

59.8

53.4

59.8

53.6

59.9

53.3

59.9

53.5

60.1

53.5

60.2

53.2

60.2

53.4

60.2

53

60.3

53.1

60.2

53.1

60.2

52.7

60.2

52.7

60.2

52.7

60.2

52.8

60.2

52.8

60.3

52.8

60.1

52.8

60.2

52.5

60.2

52.4

59.9

52.4

60

52.3

59.8

52.3

59.9

52.5

59.9

52.8

59.9

52.9

59.9

53.2

59.9

53.2

59.8

53.1

59.8

53.1

59.8

52.7

59.8

52.6

59.9

52.6

59.9

52.3

59.9

52.2

60

52.3

60

52.1

60

52.1

60

52.3

60.1

52.2

60

52.2

60

52.3

60.2

52.3

60.1

52.4

60.2

52.4

60.1

52.3

60.1

52.1

60

52.1

59.9

52

60

51.9

59.9

52.2

59.9

52.1

59.9

52.5

59.8

52.3

59.9

52.3

59.8

52.4

59.8

52

60

52.4

59.9

52.2

60.1

52.2

59.9

52.9

59.9

52.5

60

53.1

59.9

52.5

60

52.5

60

53.3

60.2

52.5

60.2

53.7

60.2

53.2

60.2

53.2

60.1

54.6

60.1

54.4

60.2

55.3

60.2

55.2

60.2

55.5

60.3

55.6

60.2

55.6

60.2

55.8

60.2

56.1

60.2

55.9

60.2

56.3

60.2

56.3

60.2

55.5

60.2

55.8

60.3

54.9

60.4

55

60.5

55

60.5

54.5

60.5

54.6

60.6

54.2

60.6

54.1

60.5

54.1

60.4

53.9

60.4

53.7

60.3

53.9

60.3

53.6

60.4

54.2

60.3

53.6

60.4

53.6

60.4

53.9

60.4

53.5

60.3

54.2

60.3

53.9

60.2

53.9

60.3

54.8

60.3

54.6

60.3

55.1

60.4

55

60.3

55

60.5

55.3

60.3

55.3

60.4

55.3

60.4

55.4

60.2

55.4

60.2

55.4

60.1

55.5

60.1

55.4

60.1

55.5

60

55.5

60

55.3

60

55.4

60

55.3

60

55.3

59.9

55.3

59.9

55.5

59.8

55.5

59.8

55.6

59.8

56

59.8

55.7

59.8

56.1

59.9

56.1

59.9

55.1

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

54.4

59.9

54.5

60

54.5

59.9

54.6

60

54.8

60.1

54.6

60.1

55

60.1

55

60.2

54.4

60.2

55

60.4

54

60.4

54.5

60.4

53.2

60.4

53.5

60.2

53.5

60.2

52.5

60.2

52.5

60.1

52

60

51.8

60

51.8

60

52

60

51.9

60

52.4

60

52.4

59.9

52.4

59.9

52.9

59.9

53

59.8

53.1

59.8

53.4

59.8

53.4

59.8

53.3

59.8

53.5

59.7

53.3

59.7

53

59.8

53

59.8

52.8

59.8

52.4

59.9

53

59.9

53

59.8

54

59.9

54.3

59.8

54.3

59.8

54.4

59.8

54.5

59.9

53.9

60

53.7

60

53.7

60.1

53.1

60.1

52.8

60

52.9

60

52.4

59.9

52.4

59.9

53

59.9

52.4

59.8

53.4

59.8

53.1

59.8

53.1

59.7

54.4

59.8

54.2

59.7

54.8

59.7

54.4

59.9

54.7

60.1

54.5

60

54.5

60.4

55.4

60.4

55.5

59.9

56.2

60.1

56.2

59.5

56.1

59.6

56.1

59.6

55.8

59.3

55.9

59.4

55.8

59.3

55.8

59.4

56.2

59.3

56.4

59.4

56.8

59.4

56.7

59.3

56.7

59.4

56.5

59.2

56.5

59.3

56.1

59.3

56.1

59.2

56.1

59.2

56.1

59.3

56.1

59.3

56.4

59.3

56.4

59.4

56.5

59.4

56.4

59.4

56.4

59.4

56.3

59.4

56.4

59.4

56.7

59.6

56.8

59.7

56.8

60

56.8

60

56.7

59.7

56

59.9

55.9

59.3

55.9

59.3

55.9

58.8

55.9

58.9

56.4

58.9

56.3

58.9

56.3

59

56.6

59.2

56.7

59.3

56.6

59.3

56.8

59.2

56.3

59.2

56.6

59

56.6

59

56.1

59

56.5

59.1

55.7

59.2

55.9

59.1

55.9

59.3

54.9

59.3

55.1

59.1

54.6

59.4

54.9

59

54.9

59.3

54.7

59

55.2

59.1

54.8

59.1

55.1

59

55.1

59.1

54.3

58.9

54.4

58.9

54

58.9

54

58.8

54

58.7

53.9

58.7

53.9

58.5

54.1

58.5

53.9

58.7

54.1

58.6

54

58.9

54

59

54.2

59

54.1

59.2

54.1

59.3

53.8

59.3

53.8

59.3

53.8

59.2

53.3

58.9

53.6

58.9

53.1

59

53.1

58.7

53.6

59

53.4

58.8

54

58.8

54

59.3

54

59.2

54.6

59.6

54.6

59.7

54.5

59.7

54.6

59.7

54.3

59.9

54.4

59.8

54.5

59.8

54.5

59.8

54.6

59.6

54.5

59.6

54.5

59.6

54.5

59.7

54.3

59.7

54.3

59.6

54.4

59.7

54.5

59.4

54.5

59.5

54.6

59.4

54.7

59.5

54.7

59.5

54.9

59.2

54.9

59.4

54.8

59

55.1

59.1

54.6

59.1

54.8

58.9

53.8

58.9

53.8

58.9

53.8

59

53.2

59

53.2

59.1

53.2

59.1

53.1

59.4

53.1

59.4

53.3

59.4

53.4

59.7

53.7

59.8

53.8

59.8

53.8

59.9

53.7

59.8

53.7

59.8

53.4

59.8

53.5

59.8

53.5

59.9

53.8

59.8

53.9

59.9

53.9

59.9

54

59.8

53.6

59.9

53.6

59.9

53.6

60.1

53.4

60.1

53.3

60

53.1

60

52.8

60

52.8

60

53

60

52.8

60.1

53.3

60.2

53.1

60.1

53.1

60.2

53.3

60

52.9

60

53.1

59.9

52.8

59.9

52.8

59.8

53.7

59.9

53.5

59.8

54.6

59.8

54.5

59.9

54.5

60

54.9

60

55.2

59.9

55.6

59.9

55.8

59.8

55.5

59.6

55.6

59.8

55.5

59.7

54.8

59.7

54.9

59.9

54.6

59.7

54.6

59.7

54.6

59.7

54.5

59.7

54.6

59.8

54.8

59.8

54.9

59.8

54.9

59.8

54.9

59.8

54.9

59.8

54.7

59.8

54.6

59.8

54.6

59.6

54.6

59.7

54.6

59.5

54.8

59.5

55

59.8

55.3

59.7

55.3

60.1

55.3

60.1

55.1

60.1

55.1

60.3

54.7

60.2

54.8

60.2

54.8

60.1

54.8

60.1

54.5

60.4

54.4

60.4

54

60.6

54

60.5

54.1

60.5

53.4

60.3

54.1

60.3

53.4

60.4

53.4

60.3

54.7

60.7

54.5

60.6

56.2

60.6

56.2

60.8

56.2

60.6

56.9

60.7

56.8

60.5

56.8

60.5

56.6

60.7

56.3

60.6

56.2

60.9

56.2

60.8

56.1

60.8

56.2

61

56.4

61

56.4

61

56.4

60.9

56.6

60.9

56.7

60.9

56.7

60.7

56.6

60.9

56.6

61

56.4

61.2

56

61.4

56.1

61.4

55.8

61.3

55.8

61.4

56.2

61.1

56

61

56.5

61

56.4

60.9

56.9

60.6

57

60.7

57

60.5

57.4

60.5

57.5

60.8

57.5

60.7

57.4

60.9

57.4

60.7

57.1

60.7

57

61

57.2

60.8

57.4

61.3

57.4

61.1

57.8

61.6

58.1

61.6

57.9

61.6

58.2

61.9

58.2

62

57.6

61.9

57.7

61.9

57.1

61.9

57.3

61.6

56.9

61.5

57.2

61.3

57.2

61.2

57

61.2

57.3

61.4

56.9

61.3

57.2

61.7

57.2

61.8

56.9

61.8

56.8

61.8

56.1

62

55.9

61.7

55.9

61.7

55.6

61.3

55.4

61.2

55.9

61.2

55.6

61

55.6

60.8

56

61

55.9

60.8

56.6

60.8

56.6

61.2

56.6

61.1

57.2

61.7

57.2

61.7

57

61.7

57.1

61.9

56.8

61.8

56.9

61.7

56.9

61.7

56.7

61.7

56.5

61.9

56.3

62.1

55.7

62.3

55.7

62.7

55.9

62.7

55.2

62.3

56.6

62.5

56.1

61.7

56.1

62

57.8

61.6

57.7

61.9

58.8

61.9

59.2

61.6

59.2

61.5

59.4

61.2

59.8

61.1

58.6

61.1

58.6

61.2

57.2

61

57.2

61.3

57.2

61

56.8

61

56.8

61.2

57.2

61.1

57.1

61.5

57.1

61.4

57.7

61.4

57.4

61.6

57.7

61.2

57.7

61

57.7

60.8

58.1

61.2

58.8

61.2

59.2

61.2

60.1

61.7

60.1

61.6

58.7

61.6

59.2

61.5

56.6

61.5

56.8

61.4

55.6

61.4

55.6

61.7

55.8

61.8

55.7

61.8

55.9

61.9

56.1

62

56.2

61.6

56.2

61.8

56.4

61.8

56.7

61.5

56.7

61.6

56.8

61.4

56.8

61.4

56.4

61.2

56.3

61.2

56.2

61.2

56

61.1

56

61

56.2

60.9

55.7

60.8

56.2

60.8

56

60.9

56

60.9

56.7

61

56.9

60.9

57.4

60.9

57.6

61.1

57.4

61

57.4

61.1

57.4

60.9

57.1

60.9

57.1

61

57

60.9

57

61.3

57

61.4

57

61.4

57

61.8

57

61.9

57.1

62

57.1

62.3

57.3

62

57.5

62.4

57.6

62.4

57.8

62

57.8

62.3

57.5

61.9

57.6

62.1

57.3

62.1

57.7

61.9

57.7

62.1

57.8

62

58.5

62.3

58.1

62.3

58.5

62.1

58.5

62.3

57.2

62

57.5

62.2

56.4

62.2

56.6

62

55.9

62.1

55.9

61.9

55.9

61.8

55.7

61.8

55.7

61.7

55.5

61.7

55.8

61.9

55.8

61.9

55.8

61.9

56.2

61.9

56.1

61.9

56.3

61.9

56.3

61.8

55.8

61.9

55.8

61.9

55.5

61.9

55.6

61.7

55.6

61.7

55.7

61.6

55.8

61.6

56.1

61.6

56.3

61.7

56.4

61.8

56.4

61.8

56.4

61.9

56

61.9

55.8

61.8

55.4

62

54.8

61.7

54.8

61.8

55

61.8

54.4

61.6

55.5

61.7

55.2

61.7

55.2

61.8

56.2

61.7

55.7

61.7

56.3

61.7

55.9

61.6

55.9

61.7

56.8

61.7

55.9

61.9

56.8

61.9

55.5

61.9

57

62.1

56.4

62.1

56.4

62.3

59.4

62.3

59.4

62.1

61.5

62.3

61.8

62

61.8

62.2

61.6

62.2

62.2

62

60.9

62.1

61.6

62.1

61.6

62.1

59.9

62

60.9

62

58.9

62

59.9

62

59.9

62.1

57.8

62.1

58.2

62.4

56.4

62.4

56.2

62.3

56.2

62.5

55.1

62.3

55.5

62.5

56.1

62.5

57.2

62.3

57.5

62.5

58.4

62.4

58.4

62.5

56.7

62.5

57.3

62.3

55.3

62.3

55.8

62.2

55.8

62.2

54.4

62.2

55.1

62.3

54.1

62.2

54.8

62.2

54.8

62.1

53.7

62.2

54.3

62.1

52.9

62.1

53.3

62.1

53.3

62

52.4

62.1

52.5

62

52.2

62

52.2

62.2

51.9

62

52

62.2

51.9

62

51.8

62

51.9

62.1

51.8

62.1

52.1

62.2

52.1

62.2

51.4

62.2

52.2

62.2

51.3

62.1

52.2

62.2

52.2

62.2

50.6

62.4

51.3

62.3

49.2

62.3

49.4

62.3

49.4

62.3

48.2

62.3

48.3

62.3

47.9

62.3

48.2

62.4

48.1

62.4

48.5

62.4

48.5

62.4

47.8

62.4

48.1

62.4

47.1

62.5

47

62.5

47

62.7

46.8

62.7

46.4

62.5

47

62.8

46.8

62.6

46.8

62.9

47.6

62.5

47.6

62.5

48

62.7

48.3

62.4

48.3

62.6

48.6

62.6

48.6

62.9

48.4

62.9

47.8

62.7

47.8

62.8

47.7

62.4

47

62.2

48.1

62.2

47.3

62.1

49.1

61.9

48.7

62.3

48.7

62.1

50.4

62.1

50.2

62.4

51.1

62.4

51.1

62.5

51.1

62.5

51.3

62.5

51.5

62.4

51.6

62.4

51.5

62.2

51.5

62.1

51.1

62

50.9

62

50.9

62

50.4

62

50.4

62.1

50.7

61.9

51.1

62.1

52.1

62.1

53.5

61.8

52.6

62

53.5

61.5

53.5

61.5

49.8

61.5

50.4

61

47.7

60.7

48.4

60.6

48.4

60.3

47.5

60.3

48.2

60.7

47.6

60.9

48.2

61.6

48.2

62.1

47

62.2

47.5

62.8

46.3

62.8

46.8

62

46.8

62.3

46.9

61.2

47.5

61.5

47.9

61.5

48.2

60.6

48.2

60.8

47.8

60.1

48

60.1

47.7

60.1

47.9

59.6

48

59.7

48.2

59.6

48.2

59.8

48.3

59.8

48.8

59.9

48.7

60.2

48.9

59.8

48.9

60.1

47.7

60.1

47.6

59.5

46.4

59.8

46.1

59.3

46.1

59.5

46.4

59.1

46.4

59.4

47.4

59.4

47.8

59.1

47.8

59.3

48.1

58.9

48.1

59.1

48

59.1

47.8

58.9

48.2

59.3

48.3

59.1

48.3

59.2

49

59.2

49.2

58.7

49.5

58.5

49.7

58.2

49.7

58

49.5

58

49.7

58.3

49.4

58.5

49.5

58.9

49.5

59.5

48.8

59

49.3

59.6

48.9

59.6

49.9

58.3

49.9

58.9

49.6

57.9

50.3

58.1

48.9

58.1

49.5

57.7

48

57.8

48.7

57.9

48.7

58.3

47.5

58.3

48

58.3

46.9

58.6

47

58.2

47

58.3

46.3

58.3

46.2

58

46.3

58.1

46.2

58.4

46.2

58.7

46.5

59

46.6

59.4

46.3

59.4

46.5

58.8

46.5

59.1

46.1

58.6

46.3

58.8

46

58.9

45.7

58.5

45.7

58.6

44.8

58.2

44.1

58.3

43.2

58.3

42.6

58.1

43.2

58.4

42.6

58

42.6

58

43.9

58

43.7

57.3

44.3

57.1

44.5

57

44.5

56.6

44.4

56.6

44.8

57.3

44.1

56.6

44.3

57.5

44.3

56.7

43.9

57.7

44.4

57.5

45.3

57.5

46.2

58.8

46.2

59.3

46.3

59.6

47.1

60.2

44.4

60.2

45.4

59

42.2

59.5

43

58.3

43

58.6

40

58.6

40.7

57.9

38.4

58.3

38.1

58

38.1

58.7

36.9

58.7

36.1

58.3

37.2

59

36.2

57.5

36.2

58.1

39.8

56.4

39.9

56.6

43.6

56.6

44.5

55.6

44.5

55.7

44.3

55.5

44.8

55.6

41.7

55.6

41.8

55.9

39.9

55.9

39.8

55.5

39.8

55.4

39.5

55.4

39.5

55.4

39.7

55.3

39.9

55.8

39.9

55.8

40.2

55.8

40.7

55.8

40.1

55.8

40.3

55.4

40.3

55.2

38.7

55.1

38.5

55.1

38

54.6

37.6

55.6

37.6

55.1

38.5

56.3

37.9

56.1

39.2

56.1

38.3

56.9

38.3

57.1

39.5

57.4

38.5

57.3

40.1

57.3

39.3

56.8

41.4

56.6

41.4

56.6

41.4

56.5

43.2

56.5

43.7

57.9

43.8

58.1

44.2

59.4

44.2

59.6

42.1

59.6

42.6

59.5

40.7

59.6

40.8

58.9

40.8

58.9

39.4

58.3

38.7

58.6

38.6

58.6

37.6

57.7

37.6

58

39.6

56.9

38

57.1

40.8

57.1

39.2

56.1

43.8

56.3

43.2

55.8

43.2

56

47.1

56

47.3

55.6

47.9

55.6

48.6

55

48.6

54.5

46.8

54.5

47.6

54.5

45

53.9

45.9

55.5

45.9

55.4

43.2

57.4

43.8

57.4

42.1

57.4

42.7

57.5

42.7

57.7

42.1

56.8

42.7

57

41.9

57

42.1

56

42.1

56.1

40.9

55.4

41.1

55.5

40.3

55.5

40.6

55

40.2

55.1

40.6

54.6

40.6

54.4

39.9

54.4

40.5

54.3

39.2

53.9

39.5

55

39.5

54.9

36.9

54.9

37.2

56.8

34.6

56.7

34.7

57.6

34.7

57.5

33

57.4

32.8

57.2

32.7

57.2

32.6

56.9

32.6

56.8

33.9

56.5

34

56.6

34.1

56.6

34.1

56.3

32.7

56.6

32.4

55.9

32.4

56.4

30.7

56.4

30.1

54.6

30.1

55.3

30.1

52.5

30.1

53.3

30.1

53.3

29.9

50.1

30.1

50.8

30.3

47.8

30.3

48.3

31.2

45.8

30.9

46.2

30.3

46.2

30

44.7

30

44.9

30

44.3

29.5

44.5

30.7

44.5

30.2

44.4

30.2

44.5

32

44.4

31.6

44.5

33

44.5

32.7

44.4

32.7

44.3

33.4

44.2

33

44

33.9

44

33.3

44.2

34.6

44.1

33.7

44.7

33.6

44.7

35.8

45.2

35

45.2

37.9

45.2

37.5

45.2

37.5

45.2

39.7

45.2

39.3

45.2

40.1

45

39.8

45.4

39.8

45.2

40

45.6

39.7

45.3

39.8

45.3

39.7

45.7

39.7

45.3

39.6

46.1

39.7

45.9

39.5

45.9

39.6

46.8

39.2

46.6

39.1

47

39.1

47

38.9

47

38.9

47.2

39.2

47.2

39.3

47.3

39.3

47.2

39.4

47.2

39.3

47.1

39.3

47.1

39.2

47

39.2

47

39.4

47.1

39.4

46.9

39.4

46.9

39.5

47

39.5

46.8

38.9

47.3

39

47.2

38.3

47.2

38.4

48

38.6

48

38.6

48.2

38.7

48.1

38.8

48.1

38.9

48.2

38.4

48.1

38.7

48.4

38.7

48.3

38.2

48.3

38.5

48.3

37.6

48.1

37.9

48.1

37.9

48.1

36.9

48.3

37.3

48.3

36.3

48.3

36.9

48.3

36.9

48

35.2

47.9

35.7

47.5

33.4

47.5

33.8

48.4

33.8

48.2

32.1

49.6

32.4

49.5

31.5

49.5

31.8

50.2

31.1

50

31.5

50

31.4

49.9

30.5

49.9

30.8

50.1

29.9

50.2

29.9

50.1

29.9

50.4

29.1

50.4

29.2

49.5

29.5

49.6

29.8

48.6

29.8

48.6

30.7

48.3

31

48.2

30.8

48.2

31

48.5

31

48.5

30.1

48.8

30.4

48.7

29.4

48.7

29.8

49

29.2

48.9

29.6

49

29.6

48.9

28.6

48.9

29

49

27.7

49

28.1

49.2

28.1

49.1

26.9

49.1

27

49.2

25.9

49

25.9

49.1

25.9

48.8

26

49.4

26

49.2

26.8

49.2

26.7

50.1

26.7

49.8

27.4

50.4

27.2

50.2

28

50.2

27.8

50.5

27.8

50.3

28.9

50.5

28.8

50.1

29.8

50.1

29.9

50.3

30.7

50.1

30.8

50.7

30.8

50.6

30.8

50.6

30.8

51.2

30.3

51.1

30.4

51.3

30.4

51.1

30.3

51.1

30.6

51.1

30.4

50.9

30.4

51.2

30.4

50.9

30

51.5

30.1

51.2

29.4

51.2

29.6

51.8

29.6

51.5

29.1

51.9

29.3

51.7

29.1

51.7

29.4

52.1

28.9

52

29.4

52.4

29.3

52.3

27.5

52.3

28

52.5

25.7

52.4

26.1

52.4

26.1

52.3

24.4

52.3

24.8

52.4

23.9

52.2

24.5

52.4

24.5

52.2

23.4

52.6

24.1

52.4

23.2

52.4

24

52.8

24

52.6

23.1

53

23.6

53

22.6

53

23.2

53.2

22.4

53.2

23

53.2

23

53.2

22.5

53.2

23

53.1

22.6

53.1

23

53

23

53

22.2

53

22.6

52.9

22.1

52.9

22.6

52.6

22.6

52.7

22.3

52.6

22.7

52.6

21.9

52.6

22.3

52.5

22.3

52.4

21

52.5

21.3

52.4

20.6

52.4

20.8

52.8

20.8

52.7

20

53.2

20.4

53.1

20.2

53.1

20.6

53.5

20.3

53.4

20.8

53.9

20.8

53.9

20.2

53.9

20.8

54.2

19.7

54.2

20.2

54.2

20.2

54.1

19.4

54.1

19.8

54.2

20.1

54.2

20.5

54.6

20.5

54.6

20.9

54.7

21.3

54.8

20.4

54.8

20.7

54.5

20.7

54.5

19.3

54.1

19.8

54.2

19

54.2

19.3

53.8

18

53.9

18.3

53.8

18.3

53.8

16.4

53.8

16.7

53.7

16

53.7

16.2

53.5

16.2

53.4

16

53.4

16.1

53.5

16.1

53.5

16.2

53.7

16.2

53.7

16

53.8

16.3

53.8

16.1

53.8

16.3

53.8

16.3

53.8

16.5

53.7

16.7

53.8

16.3

53.8

16.8

53.7

16.8

53.8

16.6

53.6

17

53.7

16.7

53.7

16.8

53.6

16.4

53.8

16.7

53.5

16.7

53.7

16.3

53.7

16.7

53.2

15.4

53.2

15.8

52.7

15.8

52.7

15

52.6

15.5

52.6

15.3

52.5

15.7

52.6

15.7

52.5

14.6

52.9

15.1

52.9

14

52.9

14.9

53.3

14.9

53.2

14.7

53.2

15.2

53.3

14.8

53.3

15.2

53.2

14.6

53.3

15.7

53.1

15.7

53.2

14.6

53.2

15.8

53.3

14.2

53.3

14.5

53.1

14.5

53.1

13

53.1

13.3

52.9

13.5

52.9

14.5

52.9

14.5

52.9

14.7

52.8

16

52.8

14.9

52.8

16.1

52.7

16.1

52.8

14.3

52.8

15.6

52.9

13.9

52.9

14.8

52.9

13.3

52.9

13.8

52.7

13.8

52.7

12.9

52.7

13.6

52.7

13.4

52.8

13.9

52.9

13.9

53

13.5

53

14

52.8

13.4

52.8

13.4

52.7

13.4

52.8

13

53

12.7

53.1

12.8

53.1

12.5

53.1

12.5

53.2

13.8

52.9

14.2

53

14.8

53

14.8

52.5

15.8

52.7

14

52.2

15.6

52.4

13.3

52.4

14.7

52

11.9

52.2

13.5

52

13.5

52.1

10.7

52.1

12.7

51.7

9.9

51.8

11.3

51.4

11.3

51.5

8.2

51.5

9

51.4

9

51.6

7.4

51.4

7.4

51.6

7.4

51.2

8.3

51.4

9.3

51.4

10.3

51

10.3

51.2

9.4

50.6

8.8

50.9

6.4

50.9

4.8

50.4

6.9

50.7

5.9

50.3

5.9

50.6

10.4

50.6

10.5

50.2

10.5

50.4

12.5

49.8

12.5

50

11.3

50

11.5

49.7

11

50.8

12.1

50.7

12.1

51.2

11.6

48.6

12.5

49.3

10.5

49.3

11.4

48.1

11.4

49.7

10.4

48.7

12.5

47.6

11.2

47.6

17.1

43

13

41.1

13

44.5

20.1

43.3

10.7

43.3

15.6

48.9

4.1

48.6

7.2

50.3

7.2

50.2

1.6

50.2

4.2

50.5

1.2

50.4

2.4

50.4

2.4

50.5

0

50.3

0.9

50.6

0

50.6

0

50.6

0

50.7

0

50.5

0

50.7

0

50.7

0

50.5

0

51.7

0

51.3

0

53.6

0

53.6

0

50.9

1

51.1

0.6

44.7

0.6

43.2

1.6

43.2

0

42.8

0

42.2

0

47.4

0

47.1

0

47.1

1.4

48.9

6.9

48.8

6.4

49.1

6.4

49.2

7.6

49.1

7.4

49.3

7.4

49.3

6.6

49.2

6.6

49.3

6.6

49.1

6.3

49.3

5.6

49.3

5.6

49.2

4.8

49.3

5.4

49

5.4

49.3

5.4

49.3

5.4

48.9

5.4

49.2

5.4

48.7

5.4

49.1

5.4

49.1

5.4

48.5

5.3

48.9

5.3

48.1

5.8

48.4

5.9

47.5

5.9

47.8

5.5

47.8

5.9

47.1

5.9

48.7

5.2

48.1

5.4

49.6

5.4

49.6

5.2

46.6

5.2

46.1

5.2

42.5

4.1

41.3

3.7

41.3

3.7

43.1

3.9

42.7

4

46

4

45.8

4.8

45.8

5.3

46.8

5.3

46.8

5.1

46.8

5.1

46.9

5.1

46.9

3.9

46.9

3.4

46.9

3.4

46.9

3.9

47.1

3.9

47.1

3

46.4

3.5

46.7

3.5

46

3.5

47

3.1

46.5

3.5

48.1

3.5

48.1

2.9

45.8

2.9

47.2

2.9

43.6

3.7

44.8

4.1

44.8

4.1

42

3.7

43.6

4.1

42.3

4.1

43.4

4.1

43.4

2.8

41

3.1

41.1

2.5

38.6

2.5

37.4

2.5

37.4

2.2

38

1.3

36.9

1.3

40

1.5

39.5

2

41.8

2

41.6

2.2

41.6

2.2

42.4

2.2

42.5

2.7

42.1

2.6

42.8

2.6

42.8

3

42.1

2.9

42.6

3.3

41.5

3.1

42.3

3.6

42.3

3.6

41.5

2.8

42.2

2.8

41.2

1.7

42.1

3.9

42.1

3.9

40.8

3.1

41.6

7.6

40.1

7.3

40.7

7.3

39.8

8.7

39.7

7.5

40.1

7.5

39.4

7.6

39.9

7.6

39.9

7.6

40.5

8

40.5

8.1

39.7

8.1

40.3

6.9

39.1

7.4

39.4

7.4

39.4

6.2

38.5

4.9

38.9

4.9

38.5

5.3

38.9

5.2

38.9

4.8

38.6

5

38.9

5

38.6

5.1

38.7

5.1

38.7

5

38.7

5.3

38.8

4.5

38.6

4.8

38.7

4.8

38.6

5.1

38.8

4.7

38.8

4.7

38.8

5.1

39

5.1

38.8

3.9

39

3.4

39

3.5

38.8

3.5

39

3

38.9

3.1

39.1

3.1

39.1

4

38.9

5.3

39.1

5.3

39

5.3

39.1

5.3

39.1

5.2

39.1

5.5

39.2

4.2

39.1

4.5

39.3

2.3

39.2

2.7

39.4

2.7

39.3

3.2

39.2

3.2

39.3

3.2

39.1

3.7

39.2

4

39.2

4

39.2

4

39.3

4

39.4

3

39.5

3

39.5

3.1

39.3

1.9

39.2

3.6

39.1

3.5

39.2

3.5

39.2

7.7

39.4

9.4

39.5

9.4

39.7

9.1

39.7

9.1

39.7

9.1

39.7

8.6

39.7

8.6

39.8

8.7

39.8

8.8

39.8

8.8

39.8

8.2

39.8

8.3

39.7

8.3

39.6

8.3

39.6

6.8

39.7

5.7

39.7

5.7

39.7

5.8

39.8

5.4

39.8

5.6

39.8

5.6

39.8

6.4

39.9

6.4

39.9

6.9

40

7.1

40.1

7.1

40.1

7.5

40

6.7

40

6.7

40

7.1

40

7.1

39.9

6.7

40

6.2

40

6.2

40

6.4

40.1

6

40.1

5.9

40.2

5.9

40.2

6.3

40

6.2

40.1

5.7

39.9

5.5

40

5.5

40

6

40

5.4

40.1

5.8

39.8

5.1

39.8

5.1

39.8

6.4

39.7

6.1

39.8

7.7

39.9

7.7

39.9

7.7

39.8

7.8

39.8

7.8

39.8

6.5

39.6

6.8

39.6

6.8

39.6

6

39.6

6.3

39.6

6.5

39.6

6.5

39.6

5.2

39.3

6.1

39.4

6.1

39.4

4.9

39.2

4.9

39.2

2.7

39.4

2.9

39.4

2.9

39.4

1.9

39.6

2.4

39.7

1.5

39.6

2.1

39.6

2.1

39.6

0.6

39.5

1.4

39.5

0.4

39.4

0.4

39.3

0.4

39.4

0

39.5

0

39.4

0

39.9

0

39.9

0

39.9

0

39.9

0

39.9

0

39.7

0

39.7

0

39.7

0

39.8

0

39.8

0

39.8

0

39.8

0

39.7

0

39.6

0

39.6

0

39.6

0

39.5

0

40

0

39.9

0

40.5

0

40.5

0

40.4

0

40.4

0

40.5

0

40.4

0

40.4

0

40.4

0

40.5

0

40.5

0

40.6

0

40.7

0

40.7

0

40.6

0

40.5

0

40.4

0

40.4

0

40.4

1.4

40.4

1.3

40.4

0

40.4

0

40.4

0

40.4

0

40.2

0

40.2

0

40.1

0

40

0

40.1

0

40.1

0

40.1

0

40.1

0

40.1

0

40.1

0

40.2

0

40.2

0

40.2

0

40.3

0

40.2

0

40.2

0

40.2

0

40.2

0

40.3

0

40.3

0

40.3

0

40.3

0

40.2

0

40.3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



c

a.e., prop=0

a.e.,B=0,co-fire

time,s

Air excess,%

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

318.9

0

318.9

892.2

318.9

892.2

88.7

187.7

88.7

187.7

50.6

187.7

50.6

75.5

50.6

75.5

41.4

48.9

41.4

48.9

38.2

48.9

38.2

41.7

36.8

41.7

36.8

39.5

36.8

39.5

36

39.5

36

38.3

35.5

38.3

35.5

37.2

35.5

37.2

35

36.4

35

36.4

34.5

36.4

34.5

35.9

34.5

35.9

34

35.2

34

35.2

33.6

35.2

33.6

34.4

33.6

34.4

33.4

33.9

33.4

33.9

33.4

33.9

33.4

33.6

33.2

33.6

33.2

33.6

33.2

33.6

32.9

33.6

32.9

33.1

32.5

33.1

32.5

32.6

32.5

32.6

31.8

32.6

31.8

32.3

31.5

32.3

31.5

31.7

31.5

31.7

31.7

30.8

31.7

30.8

31.4

30.8

31.4

30.3

31.4

30.3

30.8

30.1

30.8

30.1

30.6

30.1

30.6

30

30.6

30

28.7

30

28.7

30

46

30

46

30.1

113.1

30.1

113.1

44.1

113.1

44.1

235.1

44.1

235.1

103

343.7

103

343.7

222.1

343.7

222.1

380

332.3

380

332.3

382.4

332.3

382.4

391.6

382.4

391.6

374.7

413.4

374.7

413.4

365.1

413.4

365.1

425

365.1

425

355.9

432.4

355.9

432.4

345.7

432.4

345.7

437.2

336

437.2

336

438.1

336

438.1

324.8

438.1

324.8

440

310.8

440

310.8

443

310.8

443

293.5

442

293.5

442

276.1

442

276.1

441

276.1

441

256.7

439

256.7

439

234.3

439

234.3

434.3

234.3

434.3

212.2

431.4

212.2

431.4

187.7

431.4

187.7

431.4

164.1

431.4

164.1

432.3

164.1

432.3

144.8

432.3

144.8

434.2

130.8

434.2

130.8

436.1

130.8

436.1

123.3

436.1

123.3

437.1

120.4

437.1

120.4

439

120.4

439

114.2

438

114.2

438

101.1

438

101.1

433.2

101.1

433.2

88.4

425.8

88.4

425.8

82.9

425.8

82.9

415

82.9

415

82.4

402.1

82.4

402.1

80.7

402.1

80.7

385.9

77.3

385.9

77.3

371.4

77.3

371.4

74.4

371.4

74.4

362.7

73

362.7

73

355

73

355

72.3

339.1

72.3

339.1

72.2

339.1

72.2

308.6

72.2

308.6

72

268.9

72

268.9

71.7

268.9

71.7

234.7

71.7

234.7

72.2

212.9

72.2

212.9

72.6

212.9

72.6

199.7

72.1

199.7

72.1

189.3

72.1

189.3

71.4

189.3

71.4

177.4

70.9

177.4

70.9

164.1

70.9

164.1

70.7

150.3

70.7

150.3

71.2

150.3

71.2

137.1

71.2

137.1

73.7

126.8

73.7

126.8

75.6

126.8

75.6

116.5

75.6

116.5

75.9

103.5

75.9

103.5

76.1

103.5

76.1

89.6

76.1

89.6

74.5

76

74.5

76

73.1

76

73.1

65.9

73.7

65.9

73.7

62.5

73.7

62.5

75.5

62.5

75.5

64

77.1

64

77.1

67

77.1

67

78.8

69.4

78.8

69.4

80

69.4

80

70.2

80

70.2

81

70.5

81

70.5

80.5

70.5

80.5

72

80.5

72

78

72.4

78

72.4

77

72.4

77

71.2

76.7

71.2

76.7

70.2

76.7

70.2

76

70.2

76

68.7

75.3

68.7

75.3

65.8

75.3

65.8

74.7

62.7

74.7

62.7

74.2

62.7

74.2

59.8

74.2

59.8

74.3

57.5

74.3

57.5

75.6

57.5

75.6

55.8

75.6

55.8

77.3

55.7

77.3

55.7

77.7

55.7

77.7

56.8

77

56.8

77

58.6

77

58.6

76.5

58.6

76.5

59.6

78.3

59.6

78.3

65.3

78.3

65.3

79.5

65.3

79.5

85.7

78.9

85.7

78.9

112.3

78.9

112.3

79.7

128.5

79.7

128.5

80.1

128.5

80.1

135.6

80.1

135.6

79.9

140.5

79.9

140.5

80.3

140.5

80.3

147.3

80.3

147.3

81.5

153.5

81.5

153.5

82.5

153.5

82.5

146.1

82.7

146.1

82.7

128.7

82.7

128.7

81.6

128.7

81.6

118.7

80.2

118.7

80.2

118.2

80.2

118.2

79

119.5

79

119.5

77.4

119.5

77.4

117.2

77.4

117.2

76.5

112.9

76.5

112.9

77.2

112.9

77.2

110.3

77.2

110.3

78.6

107

78.6

107

79.2

107

79.2

94.2

79

94.2

79

81.2

79

81.2

76.3

81.2

76.3

78.5

73.2

78.5

73.2

79.7

73.2

79.7

72.3

78.6

72.3

78.6

71.8

78.6

71.8

76.9

71.8

76.9

70.9

74.7

70.9

74.7

70.9

74.7

70.9

75.3

70.9

75.3

72.6

79.1

72.6

79.1

74.9

79.1

74.9

83.7

77.5

83.7

77.5

89.9

77.5

89.9

79.4

89.9

79.4

94.9

80

94.9

80

95.8

80

95.8

79.9

95.8

79.9

93.6

80.9

93.6

80.9

90.7

80.9

90.7

82.8

91.2

82.8

91.2

83.6

91.2

83.6

90.3

83.6

90.3

83.6

86.6

83.6

86.6

84.5

86.6

84.5

88.1

84.5

88.1

85.4

91.1

85.4

91.1

85.1

91.1

85.1

91.3

85

91.3

85

91

85

91

85

91

85

91.7

85.2

91.7

85.2

92.6

85.2

92.6

84.7

93.5

84.7

93.5

83.7

93.5

83.7

95

83.7

95

83.3

92.7

83.3

92.7

82.1

92.7

82.1

89

82.1

89

80.3

87.1

80.3

87.1

78.2

87.1

78.2

85.5

74.9

85.5

74.9

87.7

74.9

87.7

71.2

87.7

71.2

91.6

69.5

91.6

69.5

92.2

69.5

92.2

69.9

93.8

69.9

93.8

70.4

93.8

70.4

97.1

70.4

97.1

70.7

100.4

70.7

100.4

70.3

100.4

70.3

104.6

70.3

104.6

67.7

107.6

67.7

107.6

65.2

107.6

65.2

108.9

65.2

108.9

63.9

108.9

63.9

108.9

63.1

108.9

63.1

108.9

63.2

108.9

63.2

108.9

63.2

108.9

64.6

108.9

64.6

113.1

65.9

113.1

65.9

117.5

65.9

117.5

66

117.5

66

116.6

65.8

116.6

65.8

113.9

65.8

113.9

66.8

111.6

66.8

111.6

67.7

111.6

67.7

110.8

67.7

110.8

67.9

110.4

67.9

110.4

67.5

110.4

67.5

110.4

66.2

110.4

66.2

111.1

66.2

111.1

64.8

111.1

64.8

112.2

64

112.2

64

111.9

64

111.9

63.4

111.9

63.4

110.1

63.4

110.1

63.4

108.6

63.4

108.6

63.4

108.6

63.4

108.5

60.5

108.5

60.5

107

60.5

107

58.8

101.6

58.8

101.6

59.3

101.6

59.3

100.4

59.3

100.4

59.5

105.8

59.5

105.8

59.6

105.8

59.6

111.3

59.6

111.3

59.9

113.7

59.9

113.7

60.2

113.7

60.2

112.7

59.6

112.7

59.6

110.1

59.6

110.1

58.3

110.1

58.3

108.3

57.3

108.3

57.3

108.6

57.3

108.6

57.1

109.2

57.1

109.2

57.3

109.2

57.3

107.6

57.3

107.6

56.8

105

56.8

105

56

105

56

103.3

56

103.3

56.4

101.1

56.4

101.1

57.5

101.1

57.5

99

58.3

99

58.3

97.8

58.3

97.8

58.4

97.8

58.4

97.3

58.4

97.3

58.4

97.8

58.4

97.8

58.9

99.4

58.9

99.4

59.2

99.4

59.2

101.5

59.2

101.5

59.4

102.7

59.4

102.7

59

102.7

59

101.8

59

101.8

58.4

100.7

58.4

100.7

58.2

100.7

58.2

99.2

57.1

99.2

57.1

97.8

57.1

97.8

55.5

97.8

55.5

98.9

54.6

98.9

54.6

100.4

54.6

100.4

54

100.4

54

101.9

52.8

101.9

52.8

102.9

52.8

102.9

52.3

102.6

52.3

102.6

53.2

102.6

53.2

102.2

53.2

102.2

54.9

102.4

54.9

102.4

56

102.4

56

104.5

56

104.5

56.8

107.3

56.8

107.3

56.8

107.3

56.8

108.7

56.4

108.7

56.4

110.2

56.4

110.2

56.5

110.2

56.5

111.3

56.8

111.3

56.8

111.4

56.8

111.4

57

111.4

57

111.4

56.6

111.4

56.6

111.9

56.6

111.9

56

111.3

56

111.3

54.9

111.3

54.9

108.6

54.9

108.6

53.9

104.8

53.9

104.8

53.5

104.8

53.5

101.6

53.2

101.6

53.2

100

53.2

100

53.2

100

53.2

100

53.3

100

53.3

101

53.3

101

52.5

101.6

52.5

101.6

50.8

101.6

50.8

101.6

50.8

101.6

49.3

101.6

49.3

101.6

48.3

101.6

48.3

102.4

48.3

102.4

47.7

103.5

47.7

103.5

47.6

103.5

47.6

104.4

47.6

104.4

47.3

105.7

47.3

105.7

47

105.7

47

107.1

47.5

107.1

47.5

108.9

47.5

108.9

48.3

108.9

48.3

109.2

48.8

109.2

48.8

105.8

48.8

105.8

48.8

101.7

48.8

101.7

48.8

101.7

48.8

99.4

48.8

99.4

49.2

97.5

49.2

97.5

50.1

97.5

50.1

93.7

50.1

93.7

50.5

88.7

50.5

88.7

49.8

88.7

49.8

83.3

48.9

83.3

48.9

79.5

48.9

79.5

49.3

79.5

49.3

79.2

50.4

79.2

50.4

77

50.4

77

50.9

73.2

50.9

73.2

50.8

73.2

50.8

71.8

50.8

71.8

50.4

72.8

50.4

72.8

50.2

72.8

50.2

74.3

50.2

74.3

50.3

75.2

50.3

75.2

50

75.2

50

76.5

49.6

76.5

49.6

78.9

49.6

78.9

49.2

78.9

49.2

80.8

49.2

80.8

49.2

80.7

49.2

80.7

49.2

80.7

49.2

79.8

48.9

79.8

48.9

79.1

48.9

79.1

49.4

78.6

49.4

78.6

50.5

78.6

50.5

78.9

50.5

78.9

50.7

79.5

50.7

79.5

50.7

79.5

50.7

79.4

50.7

79.4

50.9

79.4

50.9

79.4

50.5

79.4

50.5

80.6

50.1

80.6

50.1

82.6

50.1

82.6

49.8

82.6

49.8

82.5

49.5

82.5

49.5

79.9

49.5

79.9

49.5

77.5

49.5

77.5

49.5

77.5

49.5

77

49.5

77

50.1

77.8

50.1

77.8

50.4

77.8

50.4

78.9

50.4

78.9

50.3

80.3

50.3

80.3

50

80.3

50

80

49.4

80

49.4

79.3

49.4

79.3

49

79.3

49

78.8

48.7

78.8

48.7

78.3

48.7

78.3

48.2

77.7

48.2

77.7

47.6

77.7

47.6

75.1

47.6

75.1

46.8

70.9

46.8

70.9

46.2

70.9

46.2

67.9

46.2

67.9

46.2

67

46.2

67

45.7

67

45.7

68.3

44.4

68.3

44.4

70.5

44.4

70.5

43.7

70.5

43.7

73

43.5

73

43.5

74.6

43.5

74.6

43.4

74.6

43.4

75.5

43.1

75.5

43.1

76.7

43.1

76.7

42.7

77.9

42.7

77.9

42.2

77.9

42.2

79.2

42.2

79.2

42.2

80.9

42.2

80.9

42.4

80.9

42.4

82.6

42.4

82.6

42.7

82.6

42.7

82.6

43

82.6

43

82.3

43.6

82.3

43.6

83.4

43.6

83.4

44.6

83.4

44.6

83.8

45.1

83.8

45.1

82.8

45.1

82.8

45

82.3

45

82.3

45.1

82.3

45.1

82.9

45.1

82.9

45.1

84.9

45.1

84.9

44.8

84.9

44.8

85.8

44.8

85.8

44.4

85.6

44.4

85.6

44.2

85.6

44.2

84.9

44

84.9

44

84.5

44

84.5

43.3

84.5

43.3

84.1

43.1

84.1

43.1

84.3

43.1

84.3

43.5

84.3

43.5

84.6

43.3

84.6

43.3

83.4

43.3

83.4

43.3

81.8

43.3

81.8

43

81.8

43

81.5

43

81.5

42.3

79.9

42.3

79.9

41.6

79.9

41.6

77

41.6

77

41.3

74.7

41.3

74.7

40.8

74.7

40.8

71.7

40.1

71.7

40.1

67.3

40.1

67.3

40.1

67.3

40.1

62.3

40.2

62.3

40.2

59

40.2

59

40.2

57.7

40.2

57.7

40.6

57.7

40.6

57.1

40.6

57.1

40.8

57.9

40.8

57.9

40.7

57.9

40.7

60.8

40.7

60.8

40.4

64.1

40.4

64.1

40

64.1

40

66

40

66

40

67.3

40

67.3

40.4

67.3

40.4

68.3

40.4

68.3

40.4

67.4

40.4

67.4

40.4

65.3

40.4

65.3

40.3

65.3

40.3

64

40.3

64

40.6

61.3

40.6

61.3

40.8

61.3

40.8

58

40.8

58

40.9

56.3

40.9

56.3

41.2

56.3

41.2

55.3

41.7

55.3

41.7

55.4

41.7

55.4

42.6

55.4

42.6

55.4

43.1

55.4

43.1

55.7

43.1

55.7

43.3

55.7

43.3

56.3

43.3

56.3

43.3

56.5

43.3

56.5

43.6

56.5

43.6

56.5

44.1

56.5

44.1

56.3

44.1

56.3

44.1

57.3

44.1

57.3

43.6

57.3

43.6

60.8

43.6

60.8

43.3

60.8

43.3

60.8

43.3

60.8

43.3

60.8

43.1

60.8

43.1

64

43.1

64

42.6

64

42.6

63.9

42.4

63.9

42.4

64.6

42.4

64.6

42.4

64.6

42.4

66.7

42.3

66.7

42.3

70.2

42.3

70.2

42.2

75.3

42.2

75.3

42.7

75.3

42.7

79

42.7

79

43.2

80.8

43.2

80.8

43.2

80.8

43.2

80.1

43.3

80.1

43.3

78.2

43.3

78.2

43.8

78.2

43.8

76.3

44.1

76.3

44.1

75.8

44.1

75.8

44.1

75.8

44.1

76.5

44.1

76.5

44.1

77.4

44.1

77.4

44

77.4

44

78.1

43.7

78.1

43.7

76.2

43.7

76.2

44.1

72.5

44.1

72.5

44.3

72.5

44.3

72.1

44.3

72.1

43.8

74.5

43.8

74.5

43.6

74.5

43.6

76.8

43.6

76.8

43.9

76.3

43.9

76.3

44.2

76.3

44.2

74.2

44.3

74.2

44.3

70.4

44.3

70.4

44.3

70.4

44.3

65.8

43.7

65.8

43.7

63.7

43.7

63.7

42.9

62.6

42.9

62.6

43.2

62.6

43.2

59.3

43.2

59.3

44.8

56.8

44.8

56.8

47

56.8

47

56.9

47

56.9

48.2

56.6

48.2

56.6

48.8

56.6

48.8

54.9

49.2

54.9

49.2

53.6

49.2

53.6

49.6

53.6

49.6

54.2

50.3

54.2

50.3

55.3

50.3

55.3

50.7

55.3

50.7

55.3

50.3

55.3

50.3

54.4

50.3

54.4

49.8

54

49.8

54

49.8

54

49.8

54.4

49.8

54.4

49.6

53.2

49.6

53.2

49.3

53.2

49.3

53.2

49.3

53.2

50.3

55.3

50.3

55.3

52.4

55.3

52.4

55.5

54.4

55.5

54.4

53.6

54.4

53.6

54.7

53.6

54.7

52.8

54

52.8

54

53.3

54

53.3

54.4

55.3

54.4

55.3

55

55.3

55

57.3

55

57.3

54.9

60.2

54.9

60.2

55.3

60.2

55.3

63.7

55.3

63.7

55.8

65.6

55.8

65.6

57

65.6

57

66.3

58.2

66.3

58.2

67.9

58.2

67.9

58.7

67.9

58.7

71

59.2

71

59.2

72.8

59.2

72.8

59.5

72.9

59.5

72.9

59.6

72.9

59.6

72.5

59.6

72.5

58.9

71.7

58.9

71.7

57.7

71.7

57.7

70.8

57.7

70.8

56.8

70.8

56.8

70.8

56.8

70.8

56.8

71

57.2

71

57.2

69.9

57.2

69.9

56.9

69.9

56.9

68

55.7

68

55.7

65.5

55.7

65.5

53.5

65.5

53.5

63.5

51.9

63.5

51.9

63.8

51.9

63.8

51.7

64.8

51.7

64.8

52.2

64.8

52.2

64.7

52.2

64.7

53.2

65.1

53.2

65.1

53.5

65.1

53.5

65.9

53.5

65.9

54

65.5

54

65.5

55.1

65.5

55.1

65.1

55.8

65.1

55.8

65.2

55.8

65.2

57.2

65.2

57.2

65.4

58.7

65.4

58.7

67.4

58.7

67.4

59.7

71.2

59.7

71.2

59.9

71.2

59.9

73.4

59.9

73.4

59.4

73.5

59.4

73.5

58.4

73.5

58.4

72.8

58.4

72.8

57.3

71.4

57.3

71.4

56.9

71.4

56.9

71.7

57.3

71.7

57.3

72.5

57.3

72.5

57.1

72.5

57.1

71.5

57.2

71.5

57.2

71.4

57.2

71.4

57.5

72.8

57.5

72.8

57.5

72.8

57.5

73.7

57.5

73.7

57.8

74.4

57.8

74.4

58

74.4

58

73.5

58

73.5

57.9

71.5

57.9

71.5

58.2

71.5

58.2

71

59

71

59

70.5

59

70.5

59.2

70.5

59.2

67

58.8

67

58.8

63

58.8

63

58.3

63

58.3

61.3

58.1

61.3

58.1

60.1

58.1

60.1

58.3

61.1

58.3

61.1

57.6

61.1

57.6

63.8

57.6

63.8

57.1

65

57.1

65

57.2

65

57.2

65.4

57.2

65.4

56.8

64.8

56.8

64.8

56.8

64.8

56.8

64.9

56.9

64.9

56.9

65.7

56.9

65.7

56.8

65.7

56.8

65.9

56.6

65.9

56.6

65.1

56.6

65.1

55.2

64

55.2

64

53.5

64

53.5

64.8

53.5

64.8

53

66.2

53

66.2

53

66.2

53

66.5

53

66.5

51.9

67.1

51.9

67.1

50.9

67.1

50.9

66.6

50.8

66.6

50.8

64.3

50.8

64.3

50.2

64.3

50.2

59.6

48.5

59.6

48.5

53.4

48.5

53.4

47.6

53.4

47.6

50.7

47.3

50.7

47.3

50.9

47.3

50.9

46.4

51.9

46.4

51.9

45.4

51.9

45.4

52.2

45.4

52.2

44.5

51.4

44.5

51.4

44.4

51.4

44.4

50.6

44.4

50.6

44.2

50.5

44.2

50.5

43.6

50.5

43.6

51.5

42.8

51.5

42.8

51.3

42.8

51.3

43.3

51.3

43.3

49.9

44.6

49.9

44.6

48.3

44.6

48.3

45

46.6

45

46.6

44.8

46.6

44.8

45.2

44.8

45.2

43.9

45.2

43.9

45.2

43.1

45.2

43.1

46.2

43.1

46.2

42

45.5

42

45.5

40.3

45.5

40.3

44.2

38.5

44.2

38.5

45

38.5

45

37.6

45

37.6

47.4

38.2

47.4

38.2

49.6

38.2

49.6

39.4

51.1

39.4

51.1

40.3

51.1

40.3

52

40.3

52

39.5

53.3

39.5

53.3

38.2

53.3

38.2

54.5

38.2

54.5

38

56.9

38

56.9

39.1

56.9

39.1

58

40.6

58

40.6

56.2

40.6

56.2

41.2

56.2

41.2

54.7

40.4

54.7

40.4

52.3

40.4

52.3

38.9

52.3

38.9

50.2

36.7

50.2

36.7

50.7

36.7

50.7

35.7

52

35.7

52

36.1

52

36.1

52.4

36.1

52.4

35.5

53

35.5

53

35

53

35

52.3

35

52.3

36.7

47.5

36.7

47.5

39.5

47.5

39.5

41.9

41

41.9

41

38.1

41

38.1

41.9

38.1

41.9

37.3

42.9

37.3

42.9

41.4

42.9

41.4

42.6

46.3

42.6

46.3

41.2

46.3

41.2

47.5

41.2

47.5

40.4

46.1

40.4

46.1

38.9

46.1

38.9

44.1

38.9

44.1

38.3

43.2

38.3

43.2

39

43.2

39

41.9

37.6

41.9

37.6

40.2

37.6

40.2

35.8

40.2

35.8

45.2

35.8

45.2

35.8

54.7

35.8

54.7

35.9

59.1

35.9

59.1

35

59.1

35

59.4

35

59.4

34.8

58.6

34.8

58.6

36.3

58.6

36.3

57.9

36.3

57.9

37.4

57.8

37.4

57.8

38.2

57.8

38.2

59.2

39.1

59.2

39.1

59.8

39.1

59.8

39.6

59.8

39.6

59

40.2

59

40.2

57.4

40.2

57.4

40.1

57.4

40.1

54.9

39.6

54.9

39.6

53.1

39.6

53.1

39.2

53.5

39.2

53.5

38.7

53.5

38.7

54.6

38.7

54.6

38.1

54.8

38.1

54.8

36.3

54.8

36.3

54.8

36.3

54.8

34.6

54.8

34.6

54.8

34.2

54.8

34.2

53.9

35.3

53.9

35.3

53.6

35.3

53.6

36.9

53.6

36.9

54.6

38.4

54.6

38.4

55.7

38.4

55.7

39.2

55.7

39.2

55.5

39.6

55.5

39.6

57.1

39.6

57.1

40.4

57.1

40.4

62.3

41.6

62.3

41.6

66.7

41.6

66.7

42.3

69.2

42.3

69.2

42.9

69.2

42.9

70.3

43

70.3

43

70.9

43

70.9

42.2

70.9

42.2

70.8

42.2

70.8

42.2

71

42.2

71

42.2

71

42.2

73

41.8

73

41.8

74.2

41.8

74.2

42.3

74.2

42.3

73.7

42.5

73.7

42.5

72.7

42.5

72.7

42.1

72.3

42.1

72.3

41.9

72.3

41.9

74

41.9

74

42.4

75.6

42.4

75.6

43.3

75.6

43.3

74.6

43.3

74.6

44.1

70.3

44.1

70.3

44.4

70.3

44.4

66.2

44.6

66.2

44.6

63.8

44.6

63.8

45

63.8

45

60.2

45.2

60.2

45.2

56.9

45.2

56.9

45.1

51.3

45.1

51.3

45.3

51.3

45.3

40.8

45.3

40.8

46

33.4

46

33.4

46.9

33.4

46.9

33.7

46.9

33.7

47.5

38.3

47.5

38.3

47.6

38.3

47.6

44.7

47.9

44.7

47.9

52.4

47.9

52.4

48

52.4

48

60.8

47.8

60.8

47.8

68.3

47.8

68.3

48

68.3

48

72.9

49

72.9

49

70.7

49

70.7

49.8

69.7

49.8

69.7

50.2

69.7

50.2

76.8

50.2

76.8

51

85.4

51

85.4

51.2

85.4

51.2

91.3

51.2

91.3

50.8

95.5

50.8

95.5

50.8

95.5

50.8

100.4

50.7

100.4

50.7

106.7

50.7

106.7

50.4

106.7

50.4

110.8

50.4

110.8

50.4

112.5

50.4

112.5

49.7

114.2

49.7

114.2

48.9

114.2

48.9

114.8

48.9

114.8

48.2

115.4

48.2

115.4

47.6

115.4

47.6

118.4

47.6

118.4

47.5

122.3

47.5

122.3

47.2

122.3

47.2

129.9

46.5

129.9

46.5

140

46.5

140

46.4

140

46.4

145.9

46.4

145.9

46.4

148

46.4

148

45.9

148.6

45.9

148.6

46

148.6

46

152

46

152

45.9

156.5

45.9

156.5

46

156.5

46

157.4

46

157.4

46.6

154.8

46.6

154.8

47.6

154.8

47.6

151.1

49.5

151.1

49.5

149

49.5

149

50.6

149

50.6

148

50.5

148

50.5

148.8

50.5

148.8

51.2

148.8

51.2

149.4

52.8

149.4

52.8

144.3

52.8

144.3

53.2

136

53.2

136

51.8

136

51.8

127.8

51.8

127.8

50.4

123.5

50.4

123.5

50

123.5

50

122.3

50

122.3

50.5

122

50.5

122

51.1

122

51.1

123.7

51.5

123.7

51.5

124

51.5

124

51.8

124

51.8

122.7

52.7

122.7

52.7

118.1

52.7

118.1

54.3

122.2

54.3

122.2

56.6

122.2

56.6

140

56.6

140

58.7

153.5

58.7

153.5

59.1

153.5

59.1

157.6

59.1

157.6

57.2

160.6

57.2

160.6

54.2

160.6

54.2

166.4

53.7

166.4

53.7

172.3

53.7

172.3

57.1

172.3

57.1

172

61.9

172

61.9

169.5

61.9

169.5

65.4

169.5

65.4

171.8

68.1

171.8

68.1

173.2

68.1

173.2

70.3

172.8

70.3

172.8

70.5

172.8

70.5

172.3

70.5

172.3

69.9

172.7

69.9

172.7

71.5

172.7

71.5

179.1

71.5

179.1

74.1

185.5

74.1

185.5

76.3

185.5

76.3

184.2

77.8

184.2

77.8

179.1

77.8

179.1

78.9

179.1

78.9

177.3

80.6

177.3

80.6

177.6

80.6

177.6

81.6

175.5

81.6

175.5

82.4

175.5

82.4

172

82.4

172

84.8

170.5

84.8

170.5

86.3

170.5

86.3

171.5

86.3

171.5

84.9

173.2

84.9

173.2

82.9

173.2

82.9

176.8

85.2

176.8

85.2

178.9

85.2

178.9

91.4

178.9

91.4

180.7

96.1

180.7

96.1

188.9

96.1

188.9

98.3

197.5

98.3

197.5

97.9

197.5

97.9

204.5

97.9

204.5

97.6

210.8

97.6

210.8

99.5

210.8

99.5

214.4

99.5

214.4

100.8

214.1

100.8

214.1

99.2

214.1

99.2

212.1

98

212.1

98

213.7

98

213.7

100.8

213.7

100.8

216.7

103.5

216.7

103.5

218.8

103.5

218.8

105

218.8

105

223.9

107.2

223.9

107.2

228.9

107.2

228.9

108.4

225.3

108.4

225.3

110.5

225.3

110.5

218.4

110.5

218.4

113.8

214.7

113.8

214.7

114.1

214.7

114.1

215.7

114.1

215.7

110.6

219.8

110.6

219.8

106.3

219.8

106.3

222.2

101.4

222.2

101.4

216.7

101.4

216.7

95

216.7

95

216.4

93.5

216.4

93.5

231.8

93.5

231.8

99.2

251.7

99.2

251.7

105

251.7

105

269.5

105

269.5

108.4

284.1

108.4

284.1

110

284.1

110

291.1

110

291.1

112.1

284.1

112.1

284.1

119.7

284.1

119.7

261.9

128.6

261.9

128.6

239.3

128.6

239.3

133.3

239.3

133.3

239.7

134

239.7

134

258.4

134

258.4

132.4

269.9

132.4

269.9

134

269.9

134

270.8

134

270.8

134

269.9

134

269.9

131.4

269.9

131.4

268.6

131.4

268.6

131.4

272.7

131.4

272.7

133.8

272.7

133.8

283.6

134.4

283.6

134.4

287.6

134.4

287.6

129.3

287.6

129.3

282.6

122.9

282.6

122.9

275.5

122.9

275.5

118.6

275.5

118.6

268.5

117

268.5

117

259.3

117

259.3

119.6

246.4

119.6

246.4

119.9

246.4

119.9

235.9

119.9

235.9

112.9

235.2

112.9

235.2

106.3

235.2

106.3

248

106.3

248

106.7

260.1

106.7

260.1

110.4

260.1

110.4

269

114

269

114

269.5

114

269.5

118.7

269.5

118.7

257.1

124.7

257.1

124.7

240.5

124.7

240.5

130.2

214.4

130.2

214.4

132.5

214.4

132.5

192.8

132.5

192.8

134.9

189.4

134.9

189.4

138.2

189.4

138.2

199.9

138.2

199.9

138.4

214.7

138.4

214.7

129.6

214.7

129.6

230.4

119.2

230.4

119.2

239.7

119.2

239.7

118.2

239.7

118.2

242.8

122.7

242.8

122.7

247.2

122.7

247.2

127.7

247.2

127.7

254.2

131.4

254.2

131.4

258.4

131.4

258.4

133.8

261

133.8

261

136.1

261

136.1

265

136.1

265

136.8

273.1

136.8

273.1

130.7

273.1

130.7

289.6

130.7

289.6

120.5

305.9

120.5

305.9

115.7

305.9

115.7

316.6

116.5

316.6

116.5

317.7

116.5

317.7

117.8

317.7

117.8

310.3

119.2

310.3

119.2

310.3

119.2

310.3

120.7

319.5

120.7

319.5

124.6

319.5

124.6

330.3

124.6

330.3

134.2

330.3

134.2

330.3

149.2

330.3

149.2

330.3

149.2

330.3

166.7

329.1

166.7

329.1

183.3

329.1

183.3

324.8

197.2

324.8

197.2

328.5

197.2

328.5

205.8

328.5

205.8

328.4

209.3

328.4

209.3

321.2

209.3

321.2

210.2

321.2

210.2

310.3

211.2

310.3

211.2

302.1

211.2

302.1

212.2

302.1

212.2

297.8

212.5

297.8

212.5

292.6

212.5

292.6

211.5

285.1

211.5

285.1

208

285.1

208

272.7

204.8

272.7

204.8

255.4

204.8

255.4

204.8

255.4

204.8

242.8

204.8

242.8

204.8

238.2

204.8

238.2

202.6

238.2

202.6

237

200.5

237

200.5

236.3

200.5

236.3

198.7

236.3

198.7

236.7

194.2

236.7

194.2

237.8

194.2

237.8

189.6

240.1

189.6

240.1

187.4

240.1

187.4

240.9

187.4

240.9

186.3

239.3

186.3

239.3

186

239.3

186

238.9

186

238.9

186.6

238.9

186.6

238.9

186.8

238.9

186.8

237.4

186.3

237.4

186.3

237

186.3

237

185.7

237

185.7

240.5

183

240.5

183

244.4

183

244.4

178.8

242.8

178.8

242.8

177.4

242.8

177.4

242

177.4

242

177.2

244.8

177.2

244.8

175.9

244.8

175.9

247.6

175.9

247.6

176.2

252.9

176.2

252.9

176.2

252.9

176.2

258.8

174.9

258.8

174.9

264.5

174.9

264.5

175.4

264.5

175.4

274

176.1

274

176.1

287.6

176.1

287.6

171.3

287.6

171.3

297.8

163.9

297.8

163.9

303.2

163.9

303.2

160.4

307.5

160.4

307.5

160.1

307.5

160.1

313.1

160.1

313.1

159.2

318.9

159.2

318.9

159.7

318.9

159.7

323.6

159.7

323.6

164.1

321.8

164.1

321.8

169.6

321.8

169.6

316.6

171.3

316.6

171.3

317.7

171.3

317.7

169.9

317.7

169.9

323.6

168.1

323.6

168.1

329.7

168.1

329.7

166.9

333.4

166.9

333.4

166.5

333.4

166.5

339.1

166.5

339.1

166

346.9

166

346.9

164.8

346.9

164.8

354.3

164.8

354.3

164.3

361.2

164.3

361.2

163.6

361.2

163.6

360.5

160.1

360.5

160.1

355.7

160.1

355.7

155.6

355.7

155.6

351.6

152.8

351.6

152.8

346.2

152.8

346.2

151.3

346.2

151.3

339

150.2

339

150.2

333.4

150.2

333.4

149.2

327.8

149.2

327.8

145.9

327.8

145.9

327.8

145.9

327.8

143

330.9

143

330.9

142.2

330.9

142.2

331.5

142

331.5

142

332.7

142

332.7

140.6

332.7

140.6

335.2

137.7

335.2

137.7

339.7

137.7

339.7

134.9

339.7

134.9

342.9

133

342.9

133

344.2

133

344.2

130.9

347.5

130.9

347.5

128.5

347.5

128.5

359.1

128.5

359.1

127.6

373.6

127.6

373.6

127.5

373.6

127.5

384.2

127.5

384.2

127.1

390.5

127.1

390.5

126.4

390.5

126.4

397.8

124.9

397.8

124.9

403.6

124.9

403.6

123

403.6

123

409.6

121.3

409.6

121.3

416.5

121.3

416.5

120.3

421.9

120.3

421.9

120.2

421.9

120.2

425.5

120.2

425.5

120.8

428.3

120.8

428.3

121.3

428.3

121.3

433.9

121.3

433.9

122

437.7

122

437.7

123.2

437.7

123.2

439.6

123.7

439.6

123.7

445.5

123.7

445.5

123.8

445.5

123.8

454.5

123.5

454.5

123.5

459.6

123.5

459.6

121.5

459.6

121.5

464.8

119.3

464.8

119.3

465.9

119.3

465.9

117.4

468

117.4

468

115

468

115

472.3

115

472.3

113.3

480

113.3

480

113.2

480

113.2

485.6

113.2

485.6

112.4

483.4

112.4

483.4

110.3

483.4

110.3

480

109.8

480

109.8

486.8

109.8

486.8

111.3

486.8

111.3

497.2

113.1

497.2

113.1

503.2

113.1

503.2

114.7

512.9

114.7

512.9

115.3

512.9

115.3

526.9

115.3

526.9

115.6

532.1

115.6

532.1

116.4

532.1

116.4

533.5

116.4

533.5

116

533.5

116

533.5

115

533.5

115

534.8

114.7

534.8

114.7

536.1

114.7

536.1

114.9

536.1

114.9

534.8

115.5

534.8

115.5

537.5

115.5

537.5

116

537.5

116

538.8

116.9

538.8

116.9

541.5

116.9

541.5

117.4

544.2

117.4

544.2

118.5

544.2

118.5

547

118.5

547

121

556.8

121

556.8

123.3

556.8

123.3

562.6

124.2

562.6

124.2

564

124.2

564

124

564

124

572.9

122

572.9

122

582

122

582

120.1

582

120.1

583.5

120.2

583.5

120.2

586.6

120.2

586.6

120.5

591.3

120.5

591.3

121

591.3

121

599.3

121

599.3

120.8

612.4

120.8

612.4

121.6

612.4

121.6

622.6

121.6

622.6

122.6

620.9

122.6

620.9

122.8

620.9

122.8

617.5

123.3

617.5

123.3

626.1

123.3

626.1

123.7

626.1

123.7

640.2

123.7

640.2

123.7

653.1

123.7

653.1

123.8

666.4

123.8

666.4

125

666.4

125

672.3

125

672.3

124.7

674.3

124.7

674.3

123.8

674.3

123.8

676.3

123.8

676.3

124.8

682.3

124.8

682.3

125

682.3

125

684.3

124.2

684.3

124.2

682.3

124.2

682.3

124.5

682.3

124.5

670.3

126.2

670.3

126.2

666.4

126.2

666.4

128.7

666.4

128.7

684.3

131.2

684.3

131.2

707.2

131.2

707.2

133

733.8

133

733.8

134.1

733.8

134.1

759.8

134.1

759.8

136.2

787.4

136.2

787.4

138.5

787.4

138.5

816.9

138.5

816.9

139.1

816.9

139.1

833.7

140.2

833.7

140.2

830.9

142.2

830.9

142.2

819.6

142.2

819.6

144.4

819.6

144.4

828.1

147.5

828.1

147.5

851.3

147.5

851.3

150.2

830.9

150.2

830.9

152.3

830.9

152.3

787.4

152.3

787.4

154.7

787.4

154.7

772.1

157.6

772.1

157.6

787.4

157.6

787.4

159.2

792.6

159.2

792.6

159.4

792.6

159.4

800.6

173.5

800.6

173.5

822.4

173.5

822.4

179.5

822.4

179.5

833.8

185.1

833.8

185.1

848.3

185.1

848.3

208.2

894.9

208.2

894.9

189.8

894.9

189.8

1011.1

189.8

1011.1

160.1

1163.1

160.1

1163.1

151.9

1163.1

151.9

1229.2

151.9

1229.2

151.4

1271

151.4

1271

152.1

1271

152.1

1309

153

1309

153

1342.4

153

1342.4

153.8

1342.4

153.8

1356.2

155.1

1356.2

155.1

1363.2

155.1

1363.2

156.7

1363.2

156.7

1356.2

158.9

1356.2

158.9

1356.2

158.9

1356.2

174.3

1322.2

174.3

1322.2

209.4

1322.2

209.4

1309.2

209.4

1309.2

208.8

1309.2

208.8

1309.2

179.7

1309.2

179.7

1309.2

179.7

1190

170.3

1089.2

170.3

1089.2

169

1089.2

169

1080

169.5

1080

169.5

1080

169.5

1098.6

170.5

1098.6

170.5

1098.6

171.5

1112.9

171.5

1127.5

171.5

1127.5

172.8

1142.5

172.8

1142.5

174.5

1142.5

174.5

1142.5

174.5

1142.5

177.1

1142.5

177.1

1142.5

180

1142.5

180

1142.5

180

1147.7

183.2

1147.7

183.2

1147.7

187.8

1147.7

187.8

1147.7

193

1147.7

193

1158

193

1158

197.1

1158

197.1

1168.5

200.7

1168.5

200.7

1168.5

200.7

1179.1

218.4

1179.1

218.4

1179.1

240.2

1195.4

240.2

1206.5

240.2

1206.5

228.2

1206.5

228.2

1206.5

208.5

1206.5

208.5

1200.9

208.5

1200.9

202.8

1200.9

202.8

1212.1

203.4

1212.1

203.4

1212.1

203.4

1229.4

203.4

1241.1

203.4

1241.1

203.4

1241.1

203.4

1241.1

203.4

1253

208.5

1253

208.5

1259

213.7

1259

213.7

1265.1

217

1265.1

217

1265.1

217

1277.4

231.1

1277.4

231.1

1277.4

253.9

1271.2

253.9

1265.1

253.9

1265.1

270.2

1277.5

270.2

1277.5

278.6

1277.5

278.6

1277.5

278.6

1296.4

292

1296.4

292

1309.3

306.4

1309.3

306.4

1309.3

306.4

1315.9

300.4

1329.1

300.4

1329.1

279.1

1329.1

279.1

1322.4

264.3

1322.4

264.3

1322.5

264.3

1322.5

260.8

1322.5

260.8

1315.8

263.4

1315.8

263.4

1315.8

263.4

1309.3

269.7

1309.3

269.7

1302.9

277.2

1302.9

277.2

1296.5

277.2

1296.5

283.5

1296.5

283.5

1296.5

290

1296.5

290

1265.2

290

1265.2

298.3

1265.2

298.3

1201.1

307.5

1201.1

307.5

1201.1

313.7

1179.2

313.7

1195.6

313.7

1195.6

317.8

1195.6

317.8

1195.6

318.4

1195.6

318.4

1195.6

318.4

1201.2

323.1

1201.2

323.1

1218

331.6

1218

331.6

1218

331.6

1241.3

337.3

1259.2

337.3

1259.2

339.2

1259.2

339.2

1259.2

339.2

1265.2

340.5

1265.3

340.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1277.6

343.8

1277.6

343.8

1277.6

344.4

1277.6

344.4

1283.8

344.4

1283.8

344.4

1283.8

344.4

1283.8

345.8

1302.9

345.8

1316

345.8

1316

347.1

1316

347.1

1322.6

347.8

1322.6

347.8

1322.6

347.8

1309.5

349.1

1290.2

349.1

1290.2

349.8

1290.2

349.8

1290.2

349.8

1290.2

349.8

1290.2

349.8

1309.5

350.4

1309.5

350.4

1343

351.1

1343

351.1

1343

351.1

1342.9

352.5

1342.9

352.5

1342.9

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.1

1343

353.1

1343

353.1

1342.9

355.2

1342.9

355.2

1303.1

355.9

1303.1

355.9

1303.1

355.9

1241.4

354.5

1206.8

354.5

1206.8

353.1

1206.8

353.1

1206.8

353.1

1206.9

353.1

1212.5

353.1

1212.5

352.4

1212.5

352.4

1212.5

352.4

1212.5

352.4

1223.9

352.4

1223.9

353.8

1223.9

353.8

1223.9

353.8

1247.4

353.8

1265.6

353.8

1265.6

353.8

1265.6

353.8

1271.6

353.8

1271.6

353.8

1271.6

353.8

1259.4

353.1

1259.4

353.1

1253.4

352.4

1253.4

352.4

1253.4

352.4

1253.4

353.1

1265.6

353.1

1265.6

353.8

1265.6

353.8

1265.6

354.5

1271.7

354.5

1284.1

354.5

1284.1

354.5

1284.1

354.5

1290.5

353.8

1290.5

353.8

1290.5

353.8

1284.2

355.2

1284.2

355.2

1290.5

356.6

1290.5

356.6

1290.5

356.6

1284.2

356.6

1284.2

356.6

1278

358.7

1278

358.7

1278

358.7

1259.5

359.4

1259.5

359.4

1235.6

358.7

1235.6

358.7

1235.6

359.3

1235.6

359.3

1235.6

359.3

1253.5

361.5

1253.5

361.5

1253.5

361.5

1265.6

361.5

1265.6

361.5

1271.8

362.2

1271.8

362.2

1290.6

365

1290.6

365

1290.6

365

1316.4

366.5

1316.4

366.5

1350.1

365

1350.1

365

1350.1

365

1364

363.6

1364

363.6

1378.2

364.3

1378.2

364.3

1378.2

364.3

1400

365

1400

365

1422.5

365.8

1422.5

365.8

1422.5

365

1437.9

365

1437.9

365

1461.5

361.4

1461.5

361.4

1461.5

361.4

1469.6

361.4

1469.6

361.4

1477.7

362.9

1477.7

362.9

1494.1

362.9

1494.1

362.9

1494.1

362.9

1494.1

363.6

1494.1

363.6

1494

364.3

1494

364.3

1511

364.3

1511

364.3

1511

364.3

1528.2

360.7

1528.2

360.7

1528.2

355.8

1537

355.8

1537

355.8

1528.2

355.8

1528.2

355.8

1528.2

356.5

1528.2

356.5

1528.2

356.5

1528.3

355.8

1528.3

355.8

1528.3

355.1

1545.9

355.1

1545.9

355.1

1573

355.8

1573

355.8

1537.1

356.5

1537.1

356.5

1537.1

356.5

1494.4

356.5

1494.4

356.5

1511.2

356.5

1511.2

356.5

1511.2

356.5

1502.8

357.9

1502.8

357.9

1494.4

358.6

1494.4

358.6

1494.4

357.9

1494.4

357.9

1494.4

357.9

1494.4

358.6

1494.4

358.6

1511.3

358.6

1511.3

358.6

1511.3

358.6

1528.6

358.6

1528.6

358.6

1555.1

360

1555.1

360

1555.1

360

1573.1

360

1573.1

360

1610.6

360

1610.6

360

1610.6

360

1680.4

360.7

1680.4

360.7

1745.1

1745.1

1745.1

1767.7

1767.7

1790.8

1790.8

1790.8

1826.6

1826.6

1863.7

1863.7

1889.3

1889.3

1889.3

1902.4

1902.4

1942.8

1942.8

1942.8

1984.6

1984.6

1998.7

1998.7

1998.7

1929

1929

1814.6

1814.6

1814.6

1779.4

1779.4

1791

1791

1814.7

1814.7

1814.7

1851.6

1851.6

1889.7

1889.7

1889.7

1902.9

1902.9

1916.1

1916.1

1916.1

1929.3

1929.3

1929.3

1929.3

1929.3

1929.3

1929.3

1943

1943

1943

1970.6

1970.6

1999

1999

1984.8



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



d

NOx, prop=0

NOx,B=0,co-fire

time,s

NOx,ppm

7

2

7

2

5

2

5

3

5

3

5

6

5

6

7

6

7

17

15

17

15

29

15

29

27

29

27

35

37

35

37

37

37

37

42

37

42

38

45

38

45

38

45

38

46

37

46

37

47

37

47

38

47

38

47

38

47

38

48

38

48

39

47

39

47

39

47

39

48

39

48

40

48

40

48

40

48

40

49

39

49

40

49

40

49

40

49

40

50

40

50

40

50

40

50

40

50

40

50

41

50

41

50

41

50

41

50

41

51

41

51

41

51

41

51

41

51

41

51

41

51

41

52

41

52

41

52

41

52

41

52

41

52

35

52

35

52

35

52

23

52

23

45

15

45

15

31

15

31

12

20

12

20

11

20

11

14

11

14

11

12

11

12

11

12

11

12

11

12

12

12

12

12

13

12

13

13

13

13

13

13

13

13

14

13

14

13

15

13

15

14

15

14

15

14

15

14

15

14

15

14

15

14

16

14

16

14

16

14

16

14

16

14

17

15

17

15

19

15

19

15

22

15

22

14

22

14

28

14

28

15

34

15

34

15

34

15

40

15

40

14

45

14

45

15

45

15

47

15

47

16

50

16

50

16

50

16

55

16

55

16

62

16

62

16

62

16

66

17

66

17

68

17

68

17

70

17

70

18

70

18

72

18

72

19

73

19

73

19

73

19

74

20

74

20

75

20

75

20

75

20

75

22

75

22

76

22

76

25

76

25

77

27

77

27

77

27

77

30

77

30

77

34

77

34

77

34

77

38

78

38

78

41

78

41

78

45

78

45

78

45

78

50

78

50

78

55

78

55

77

55

77

59

77

59

76

63

76

63

76

63

76

69

76

69

76

75

76

75

77

75

77

81

77

81

78

86

78

86

78

86

78

88

79

88

79

88

79

88

78

88

78

88

77

88

77

88

77

88

77

87

77

87

76

87

76

87

76

87

76

86

76

86

76

86

76

87

77

87

77

87

77

87

77

87

77

87

78

87

78

88

78

88

79

89

79

89

79

89

79

91

79

91

80

92

80

92

79

92

79

93

79

93

78

94

78

94

77

94

77

93

77

93

77

93

77

93

78

93

78

93

79

93

79

92

79

92

79

88

79

88

79

88

79

82

79

82

79

77

79

77

79

77

79

74

79

74

78

72

78

72

79

72

79

71

78

71

78

69

78

69

78

69

78

68

77

68

77

69

77

69

77

69

77

73

77

73

77

76

77

76

76

76

76

76

77

76

77

75

77

75

77

75

77

75

77

75

77

77

77

77

76

78

76

78

74

78

74

79

74

79

74

84

74

84

74

84

74

88

75

88

75

90

75

90

75

90

75

90

76

90

76

90

76

90

76

90

76

90

76

90

76

91

76

91

77

91

77

91

76

91

76

90

74

90

74

88

74

88

73

88

73

86

72

86

72

84

72

84

71

84

71

84

71

84

71

84

71

84

71

85

71

85

71

85

71

85

71

85

71

85

71

85

71

85

71

86

71

86

70

85

70

85

70

85

70

84

71

84

70

83

70

83

71

83

71

83

70

83

70

83

70

83

70

82

70

82

71

82

71

82

71

82

71

82

71

82

71

82

71

83

71

83

72

84

72

84

72

84

72

85

73

85

73

86

73

86

74

86

74

85

75

85

75

84

75

84

76

85

76

85

76

85

76

84

76

84

77

83

77

83

77

83

77

81

77

81

77

80

77

80

78

80

78

78

79

78

79

76

79

76

80

76

80

76

80

76

80

76

80

76

80

76

80

76

80

76

80

75

80

75

79

75

79

73

78

73

78

73

78

73

78

74

78

74

78

74

78

75

78

75

77

74

77

74

77

74

77

74

77

74

77

74

77

74

78

74

78

74

78

74

78

74

78

74

79

74

79

74

79

74

79

75

79

75

79

75

79

75

79

75

79

75

79

75

80

75

80

75

80

75

80

76

80

76

80

78

80

78

80

78

80

77

80

77

80

76

80

76

79

76

79

75

79

75

79

75

79

75

79

75

79

76

80

76

80

77

80

77

80

78

80

78

80

78

80

78

80

78

80

78

80

78

80

78

80

79

80

79

80

79

80

79

80

79

80

79

80

79

80

80

80

80

79

80

79

80

80

80

80

80

80

80

79

80

79

80

79

80

79

79

79

79

79

78

79

78

78

78

78

78

78

78

79

77

79

77

80

77

80

78

80

78

80

78

80

78

80

78

80

78

81

78

81

78

81

78

80

78

80

78

81

78

81

77

81

77

81

76

81

76

80

76

80

76

80

76

81

76

81

76

80

76

80

75

80

75

80

74

80

74

80

74

80

74

80

74

80

73

80

73

80

73

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

81

71

81

72

81

72

81

73

81

73

81

73

81

74

81

74

81

74

81

74

82

74

82

75

81

75

81

76

81

76

81

76

81

76

81

76

81

76

81

76

81

76

81

76

80

76

80

75

80

75

80

75

80

75

80

75

80

74

80

74

80

74

80

74

80

74

80

72

80

72

80

72

80

72

80

72

80

71

80

71

80

71

80

71

79

72

79

72

80

72

80

74

80

74

80

74

80

74

79

74

79

74

79

74

79

76

79

76

79

76

79

77

79

77

79

79

79

79

79

79

79

81

79

81

79

81

79

81

79

82

79

81

78

81

78

84

78

84

79

85

79

85

79

85

79

84

79

84

80

84

80

84

79

84

79

85

78

85

78

85

78

85

78

85

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

77

84

77

83

77

83

77

83

77

81

77

81

77

81

77

81

76

82

76

82

77

82

77

83

77

83

77

82

77

82

77

82

77

82

77

82

77

82

77

82

77

82

77

81

77

81

77

81

77

81

78

81

78

82

78

82

78

82

78

82

79

82

79

82

79

82

79

82

79

82

79

83

79

83

79

83

79

85

79

85

80

86

80

86

80

86

80

87

80

87

80

86

80

86

80

86

80

85

80

85

80

84

80

84

80

84

80

84

81

84

81

83

81

83

81

83

81

83

81

83

81

82

81

82

81

81

81

81

81

81

81

80

81

80

81

79

81

79

81

79

81

78

80

78

80

77

80

77

79

77

79

77

80

77

80

76

80

76

79

75

79

75

79

75

79

76

79

76

79

76

79

76

79

76

79

75

79

75

79

74

79

74

79

74

79

73

79

73

79

74

79

74

78

74

78

74

78

74

78

74

78

74

79

74

79

74

79

74

79

76

79

76

79

76

79

76

80

76

80

77

80

77

80

77

80

77

80

77

80

78

81

78

81

78

81

78

82

78

82

80

82

80

82

81

82

81

81

81

81

82

82

82

82

84

82

84

82

85

82

85

82

85

82

86

82

86

81

87

81

87

81

87

81

86

81

86

80

85

80

85

81

85

81

84

81

84

81

83

81

83

81

83

81

83

81

83

81

83

81

83

81

84

81

84

81

84

81

84

81

84

81

85

81

84

80

84

80

85

80

85

79

87

79

87

79

87

79

87

80

87

80

88

80

88

79

88

79

88

79

88

79

89

79

89

78

89

78

89

77

89

77

89

77

89

77

90

77

90

77

90

77

90

77

90

76

90

76

90

76

90

76

89

76

89

75

86

75

86

75

86

75

86

75

86

75

86

75

86

75

86

75

85

75

85

75

84

75

84

75

84

75

84

75

84

75

84

75

84

75

82

75

82

75

82

75

80

75

80

74

78

74

78

74

78

74

77

74

77

74

77

74

77

74

77

74

77

73

77

73

79

73

79

74

79

74

79

74

79

74

79

74

79

74

79

74

79

74

79

74

78

74

78

74

78

74

78

73

78

73

79

73

79

73

80

73

80

73

80

73

79

73

79

74

77

74

77

74

77

74

77

74

77

74

78

74

78

74

78

74

79

75

79

75

81

75

81

75

83

75

82

75

82

75

82

75

82

75

84

75

84

75

84

75

85

75

85

74

85

74

85

74

85

74

85

74

85

74

86

74

86

73

86

73

86

73

86

73

85

73

85

72

85

72

85

71

85

71

85

71

85

71

86

71

85

71

85

71

84

71

84

70

84

70

84

71

84

71

84

70

84

70

84

70

84

70

84

70

84

70

84

70

84

70

84

69

84

69

85

69

85

69

86

69

86

70

87

70

87

71

87

71

86

71

86

70

86

70

86

71

86

71

85

71

85

71

84

71

84

71

84

71

83

70

83

70

83

70

83

69

83

69

83

70

83

70

82

70

82

69

81

69

81

68

81

68

81

68

81

68

81

68

81

69

81

69

81

69

81

69

81

69

81

70

81

70

80

70

80

70

79

70

79

69

79

69

80

69

80

69

81

69

81

69

82

69

82

69

82

69

83

69

83

70

83

70

83

71

83

71

83

71

83

71

83

71

83

71

83

71

82

71

82

71

81

71

81

71

81

71

80

70

80

70

80

70

80

71

80

71

81

69

81

69

81

69

81

68

81

68

80

68

80

68

79

68

79

68

79

68

79

68

79

68

78

68

78

68

78

68

78

67

78

67

77

67

77

67

76

67

76

67

76

67

76

67

76

67

75

67

75

67

74

67

74

66

74

66

74

66

74

66

75

66

75

66

75

66

74

66

74

67

73

67

73

67

73

67

74

67

74

67

74

67

74

67

74

67

74

66

74

66

76

66

76

66

76

66

78

67

78

67

78

67

78

67

78

67

79

67

79

67

79

67

79

68

79

68

79

68

79

68

79

68

79

68

80

68

80

68

80

68

81

69

81

69

81

69

81

69

81

69

81

69

81

69

82

69

82

69

83

69

83

70

83

70

83

70

83

70

81

70

81

69

81

69

80

69

80

69

80

69

80

69

80

69

80

70

80

70

81

70

81

69

81

69

83

70

83

70

85

70

85

71

87

71

87

71

87

71

88

71

88

71

87

71

87

71

87

71

86

71

86

71

86

71

86

72

86

72

87

72

87

73

86

73

86

72

86

72

86

73

86

73

86

73

86

74

86

74

86

74

86

74

86

74

86

74

87

74

87

73

87

73

88

73

88

73

89

73

89

74

89

74

88

74

88

74

87

74

87

75

87

75

87

76

87

75

88

75

88

76

88

76

88

77

88

77

87

77

87

78

87

78

87

77

87

77

86

77

86

76

85

76

85

76

85

76

86

76

86

77

86

77

86

78

86

78

86

77

86

77

86

77

86

76

86

76

86

75

86

75

87

75

87

75

87

75

88

76

88

76

89

76

89

77

89

77

89

78

89

78

88

78

88

78

88

78

88

78

88

78

88

78

88

78

88

78

88

79

88

79

89

78

89

78

91

78

91

78

91

78

93

78

93

78

93

78

93

77

91

77

91

76

91

76

89

76

89

77

89

77

89

77

89

77

90

77

90

77

91

77

91

78

91

78

90

78

90

78

90

78

90

77

90

77

90

78

90

78

86

78

86

78

83

78

83

79

83

79

81

79

81

79

81

79

81

79

81

79

82

79

82

79

82

79

82

78

82

78

82

78

82

78

82

78

82

77

82

77

81

77

81

77

82

77

82

78

82

78

83

77

83

77

84

77

84

78

85

78

85

78

85

78

85

78

85

78

84

78

84

78

84

78

84

78

84

79

84

79

84

80

84

80

84

80

84

80

84

80

84

80

84

80

85

79

85

79

85

79

85

79

85

79

85

78

85

78

84

78

84

77

83

77

83

77

83

77

82

77

82

76

80

76

80

75

80

75

78

75

78

75

77

75

77

74

77

74

76

75

76

75

76

75

76

75

76

75

75

75

75

75

74

75

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

75

74

75

74

75

74

75

73

75

73

75

73

75

73

75

73

75

75

74

75

74

76

74

76

74

76

74

77

74

77

74

78

74

78

74

79

74

79

74

79

74

79

74

79

74

81

74

82

73

82

73

85

73

85

73

84

73

84

72

84

72

82

71

82

71

79

71

79

71

79

71

76

71

76

71

74

71

74

73

72

73

72

73

72

73

71

73

71

71

71

71

71

71

71

71

70

71

70

71

67

71

67

70

67

70

63

70

63

69

60

69

60

70

60

70

59

69

59

69

58

69

58

69

58

69

56

70

56

70

55

70

55

71

54

71

54

71

54

71

53

71

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

51

70

51

70

51

70

50

70

50

70

49

70

49

69

48

69

48

69

48

69

47

69

47

69

47

69

47

69

47

69

46

69

46

69

46

69

46

69

46

69

46

69

46

69

47

69

47

67

47

67

48

65

48

65

48

65

48

65

48

65

48

64

48

64

48

64

48

64

48

64

48

63

48

63

49

63

49

64

50

64

50

64

50

64

51

64

51

65

50

65

50

64

50

64

50

63

50

63

49

63

49

63

49

63

49

63

49

63

50

63

50

63

51

63

51

61

51

61

50

61

50

60

47

60

47

60

47

60

43

60

43

59

41

59

41

59

41

59

41

59

41

60

39

60

39

59

39

59

39

57

39

57

39

57

39

55

38

55

38

53

38

53

38

53

38

52

38

52

38

52

38

52

38

52

38

51

39

51

39

51

39

51

39

50

39

50

40

50

40

51

40

51

40

51

40

51

40

51

40

50

40

50

39

50

39

50

38

50

38

50

38

50

38

50

38

50

40

50

40

51

40

51

40

49

40

49

39

49

39

48

40

48

40

48

40

48

39

49

39

48

39

48

39

48

39

48

39

48

39

48

39

48

39

47

38

47

38

46

38

46

37

46

37

46

37

46

37

46

37

46

37

46

37

46

36

46

36

45

36

45

37

44

37

44

38

44

38

44

38

44

38

45

38

45

37

45

37

45

37

45

37

44

37

44

36

44

36

43

37

43

37

42

37

42

37

42

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

44

37

44

37

46

37

46

37

46

37

48

37

48

39

49

39

49

39

49

39

49

37

49

37

47

37

47

36

47

36

46

33

46

33

44

33

44

31

44

31

43

31

43

31

43

31

43

31

42

31

42

33

42

33

40

33

40

35

40

35

40

35

40

35

39

34

39

34

39

34

39

33

39

33

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

33

38

33

37

33

37

33

38

33

38

33

38

33

39

33

39

33

41

33

41

34

41

34

42

36

42

36

42

36

42

38

42

38

41

41

41

41

43

41

43

41

43

41

45

40

45

40

44

40

44

38

43

38

43

37

43

37

42

37

42

37

42

37

42

37

42

37

42

39

42

39

41

39

41

42

41

42

41

44

41

44

41

44

41

44

41

44

41

43

41

43

42

43

42

41

44

41

44

39

44

39

45

39

45

38

46

38

46

38

46

38

44

38

44

38

43

38

43

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

44

37

44

37

44

37

44

36

44

36

44

36

44

35

44

35

44

35

44

35

43

35

43

34

43

34

43

35

43

35

44

35

44

35

45

35

45

35

45

35

45

34

45

34

44

34

44

34

44

34

42

34

42

34

40

34

40

35

38

35

38

35

38

35

35

35

35

35

34

35

34

34

34

34

34

34

34

34

35

34

35

35

35

35

34

35

34

35

33

35

33

35

33

35

33

36

33

36

34

36

34

35

35

35

35

37

35

37

35

37

35

38

35

38

35

39

35

39

35

39

35

39

35

39

35

40

35

40

36

40

36

40

36

40

36

40

36

40

36

40

36

40

37

40

37

40

37

40

37

39

37

39

37

39

37

39

37

39

38

40

38

40

38

40

38

40

37

40

37

40

37

40

37

40

37

40

38

40

38

41

38

41

38

40

38

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

39

39

39

39

38

39

38

40

38

40

38

40

38

40

38

40

38

39

38

39

37

40

37

40

36

40

36

41

36

41

36

41

36

41

37

41

37

41

37

41

37

42

37

42

37

42

37

42

37

42

37

42

37

42

37

41

37

40

37

40

37

40

37

40

37

40

37

40

37

40

37

40

36

40

36

41

36

41

36

41

36

41

35

41

35

40

35

40

34

40

34

41

33

41

33

41

33

41

33

41

33

41

32

41

32

42

32

42

33

43

33

43

34

43

34

44

34

44

34

43

34

43

34

43

34

44

34

44

34

44

34

44

35

44

35

45

35

45

35

45

35

45

34

45

34

45

34

45

34

46

34

46

34

47

34

47

33

47

33

47

33

47

33

48

33

48

33

48

33

49

33

49

33

49

33

49

32

49

32

50

32

50

32

50

32

50

32

50

32

51

32

51

32

50

32

50

31

50

31

50

30

50

30

51

30

51

30

51

30

51

30

51

30

52

30

52

30

52

30

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

28

52

28

52

28

52

29

51

29

51

28

51

28

51

28

51

28

52

28

52

28

52

28

52

27

52

27

53

27

53

27

53

27

53

26

53

26

54

26

54

26

54

26

54

27

54

27

53

27

53

28

54

28

53

27

53

27

54

27

54

27

54

27

54

27

54

27

53

27

53

27

53

27

53

27

53

27

53

26

53

26

53

26

53

25

53

25

52

26

52

26

53

26

53

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

53

25

53

25

52

25

52

25

52

25

52

25

52

25

52

25

52

26

51

26

51

25

51

25

51

25

51

25

52

25

52

25

52

25

52

25

52

25

52

25

52

25

52

25

52

24

52

24

52

24

52

23

52

23

52

23

52

23

52

23

52

23

52

23

52

23

52

23

51

23

51

22

51

22

52

23

52

23

51

23

51

22

51

22

51

22

51

22

51

22

51

22

51

22

51

21

51

21

51

21

51

20

51

20

51

21

51

21

51

21

51

21

51

21

51

21

51

21

51

20

51

20

51

20

51

20

51

20

51

20

51

20

51

21

51

21

50

20

50

20

50

20

50

19

50

19

50

19

50

19

50

19

49

19

49

19

49

19

49

18

50

18

50

17

50

17

49

17

49

17

49

17

49

17

49

17

48

17

48

17

48

17

48

17

48

17

46

17

46

17

46

17

46

17

46

17

45

18

45

18

45

18

45

18

45

18

43

18

43

18

43

18

43

18

43

18

43

18

43

18

42

18

42

17

40

17

40

16

40

16

38

16

38

16

34

16

34

16

34

16

37

15

37

15

44

15

44

15

44

15

47

14

47

14

47

14

47

15

47

15

47

15

47

15

47

15

47

14

46

14

46

14

46

14

46

14

46

14

46

14

46

14

46

14

45

14

45

14

42

14

42

14

42

14

36

14

36

14

34

14

34

13

34

13

39

13

39

14

42

14

42

15

43

15

43

15

43

15

43

15

43

15

43

15

43

15

43

15

43

14

43

14

43

14

43

14

43

14

43

14

43

14

42

14

42

14

42

14

41

14

41

14

40

14

40

14

40

15

40

15

40

15

40

15

40

16

39

16

39

15

39

15

38

15

38

14

34

14

34

14

34

14

31

14

31

14

33

14

33

13

33

13

37

13

37

13

38

13

38

14

38

14

39

14

39

13

39

13

39

13

39

13

39

13

39

13

37

13

37

14

36

14

35

13

35

13

34

13

34

13

33

13

33

13

33

13

29

13

29

13

26

13

26

13

26

13

26

13

26

13

24

13

24

13

24

13

22

13

22

13

22

13

22

13

24

13

24

12

24

12

27

12

27

12

28

12

28

12

28

12

28

12

28

12

28

12

28

12

28

12

27

12

27

12

26

12

26

12

26

12

25

13

25

13

24

13

24

13

23

13

23

13

23

13

22

13

22

13

22

13

22

13

22

13

22

13

22

12

21

12

21

12

21

12

21

12

21

12

20

12

20

12

20

13

20

13

20

13

20

13

20

13

20

13

20

13

20

13

19

13

19

13

20

12

20

12

20

12

20

12

20

12

20

12

20

12

20

12

20

13

20

12

20

12

20

12

20

12

20

12

20

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

13

19

13

19

13

19

12

19

12

19

12

18

12

18

12

18

12

19

12

19

13

19

13

19

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

12

18

12

18

12

18

12

18

12

19

12

19

12

18

12

18

12

18

13

18

13

18

13

18

13

18

13

18

12

18

12

18

12

19

12

19

12

18

12

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

14

17

14

17

15

18

15

18

15

18

14

18

14

18

14

18

14

18

14

18

13

18

13

18

13

17

13

17

13

18

13

18

13

18

12

18

12

18

12

18

12

18

12

18

12

17

12

17

12

17

12

17

12

17

12

18

12

18

12

18

12

18

12

18

12

17

12

17

11

17

11

17

11

17

11

17

11

17

12

18

12

18

12

18

12

18

12

18

11

18

11

18

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

10

17

10

17

11

17

11

17

11

17

12

18

12

18

11

17

11

17

11

17

11

18

11

18

11

18

11

18

11

18

11

17

11

17

12

17

12

17

12

17

12

17

12

17

11

17

11

17

11

18

11

18

11

18

11

18

11

18

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

18

11

18

11

18

11

17

11

17

11

17

11

17

11

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

11

11

11

11

11

11

11

11

11

11

12

12

11

11

10

10

10

10

10

10

10

10

11

11

11

10

10

10

10

10

11

11

10

10

9

9

9

10

10

10

10

10



		0		0		0		0		0

		0		0		0		0		0

		5		5		5		5		5

		5		5		5		5		5

		10		10		10		10		10

		10		10		10		10		10

		15		15		15		15		15

		15		15		15		15		15

		20		20		20		20		20

		20		20		20		20		20

		25		25		25		25		25

		25		25		25		25		25

		30		30		30		30		30



vax,40/70,cold air, L=130mm

vax, 40/90,cold air

vax,40/100,cold air

vax,47/70,cold air

vax55/70,cold air

Radial distance,mm

Velocity,m/s

0.04

1.2

1.89

2.04

2.41

1.745

2.13

2.355

2.505

0

1.24

1.725

2.1

2.41

1.69

2.23

2.37

2.545

0.08

1.365

1.93

2.21

2.365

1.52

2.225

2.22

2.48

0

0.64

1.9

2.01

2.3

0

1.14

1.99

1.98

2.35

1.21

0.04

1.285

1.85

2.005

0.78

1.4

0.34

1.66

1.99

1.435

1.66

1.41

1.08

1.3

1.52

1.385

1.89

1.24

1.535

1.845

1.19

1.145

1.28

1.65



		0		0

		0		0

		5		5

		5		5

		10		10

		10		10

		15		15

		15		15

		20		20

		20		20

		25		25

		25		25

		30		30



vax,40/70,cold air, L=130mm

vtg,40/70,cold air

Radial distance,mm

Velocity,m/s

0.04

1.22

1.385

0

0.74

1.18

0.08

0.42

0.24

0

1.675

0

1.87

1.21

2.25

0.78

2.43

1.435

2.465

1.52

2.525

1.845

2.415



		1		1		1

		2		2		2

		3		3		3

		4		4		4

		5		5		5

		6		6		6

		7		7		7

		8		8		8

		9		9		9

		10		10		10

		11		11		11

		12		12		12

		13		13		13

		14		14		14

		15		15		15

		16		16		16

		17		17		17

		18		18		18

		19		19		19

		20		20		20

		21		21		21

		22		22		22

		23		23		23

		24		24		24

		25		25		25

		26		26		26

		27		27		27

		28		28		28

		29		29		29

		30		30		30

		31		31		31

		32		32		32

		33		33		33

		34		34		34

		35		35		35

		36		36		36

		37		37		37

		38		38		38

		39		39		39

		40		40		40

		41		41		41

		42		42		42

		43		43		43

		44		44		44

		45		45		45

		46		46		46

		47		47		47

		48		48		48

		49		49		49

		50		50		50

		51		51		51

		52		52		52

		53		53		53

		54		54		54

		55		55		55

		56		56		56

		57		57		57

		58		58		58

		59		59		59

		60		60		60

		61		61		61

		62		62		62

		63		63		63

		64		64		64

		65		65		65

		66		66		66

		67		67		67

		68		68		68

		69		69		69

		70		70		70

		71		71		71

		72		72		72

		73		73		73

		74		74		74

		75		75		75

		76		76		76

		77		77		77

		78		78		78

		79		79		79

		80		80		80

		81		81		81

		82		82		82

		83		83		83

		84		84		84

		85		85		85

		86		86		86

		87		87		87

		88		88		88

		89		89		89

		90		90		90

		91		91		91

		92		92		92

		93		93		93

		94		94		94

		95		95		95

		96		96		96

		97		97		97

		98		98		98

		99		99		99

		100		100		100

		101		101		101

		102		102		102

		103		103		103

		104		104		104

		105		105		105

		106		106		106

		107		107		107

		108		108		108

		109		109		109

		110		110		110

		111		111		111

		112		112		112

		113		113		113

		114		114		114

		115		115		115

		116		116		116

		117		117		117

		118		118		118

		119		119		119

		120		120		120

		121		121		121

		122		122		122

		123		123		123

		124		124		124

		125		125		125

		126		126		126

		127		127		127

		128		128		128

		129		129		129

		130		130		130

		131		131		131

		132		132		132

		133		133		133

		134		134		134

		135		135		135

		136		136		136

		137		137		137

		138		138		138

		139		139		139

		140		140		140

		141		141		141

		142		142		142

		143		143		143

		144		144		144

		145		145		145

		146		146		146

		147		147		147

		148		148		148

		149		149		149

		150		150		150

		151		151		151

		152		152		152

		153		153		153

		154		154		154

		155		155		155

		156		156		156

		157		157		157

		158		158		158

		159		159		159

		160		160		160

		161		161		161

		162		162		162

		163		163		163

		164		164		164

		165		165		165

		166		166		166

		167		167		167

		168		168		168

		169		169		169

		170		170		170

		171		171		171

		172		172		172

		173		173		173

		174		174		174

		175		175		175

		176		176		176

		177		177		177

		178		178		178

		179		179		179

		180		180		180

		181		181		181

		182		182		182

		183		183		183

		184		184		184

		185		185		185

		186		186		186

		187		187		187

		188		188		188

		189		189		189

		190		190		190

		191		191		191

		192		192		192

		193		193		193

		194		194		194

		195		195		195

		196		196		196

		197		197		197

		198		198		198

		199		199		199

		200		200		200

		201		201		201

		202		202		202

		203		203		203

		204		204		204

		205		205		205

		206		206		206

		207		207		207

		208		208		208

		209		209		209

		210		210		210

		211		211		211

		212		212		212

		213		213		213

		214		214		214

		215		215		215

		216		216		216

		217		217		217

		218		218		218

		219		219		219

		220		220		220

		221		221		221

		222		222		222

		223		223		223

		224		224		224

		225		225		225

		226		226		226

		227		227		227

		228		228		228

		229		229		229

		230		230		230

		231		231		231

		232		232		232

		233		233		233

		234		234		234

		235		235		235

		236		236		236

		237		237		237

		238		238		238

		239		239		239

		240		240		240

		241		241		241

		242		242		242

		243		243		243

		244		244		244

		245		245		245

		246		246		246

		247		247		247

		248		248		248

		249		249		249

		250		250		250

		251		251		251

		252		252		252

		253		253		253

		254		254		254

		255		255		255

		256		256		256

		257		257		257

		258		258		258

		259		259		259

		260		260		260

		261		261		261

		262		262		262

		263		263		263

		264		264		264

		265		265		265

		266		266		266

		267		267		267

		268		268		268

		269		269		269

		270		270		270

		271		271		271

		272		272		272

		273		273		273

		274		274		274

		275		275		275

		276		276		276

		277		277		277

		278		278		278

		279		279		279

		280		280		280

		281		281		281

		282		282		282

		283		283		283

		284		284		284

		285		285		285

		286		286		286

		287		287		287

		288		288		288

		289		289		289

		290		290		290

		291		291		291

		292		292		292

		293		293		293

		294		294		294

		295		295		295

		296		296		296

		297		297		297

		298		298		298

		299		299		299

		300		300		300

		301		301		301

		302		302		302

		303		303		303

		304		304		304

		305		305		305

		306		306		306

		307		307		307

		308		308		308

		309		309		309

		310		310		310

		311		311		311

		312		312		312

		313		313		313

		314		314		314

		315		315		315

		316		316		316

		317		317		317

		318		318		318

		319		319		319

		320		320		320

		321		321		321

		322		322		322

		323		323		323

		324		324		324

		325		325		325

		326		326		326

		327		327		327

		328		328		328

		329		329		329

		330		330		330

		331		331		331

		332		332		332

		333		333		333

		334		334		334

		335		335		335

		336		336		336

		337		337		337

		338		338		338

		339		339		339

		340		340		340

		341		341		341

		342		342		342

		343		343		343

		344		344		344

		345		345		345

		346		346		346

		347		347		347

		348		348		348

		349		349		349

		350		350		350

		351		351		351

		352		352		352

		353		353		353

		354		354		354

		355		355		355

		356		356		356

		357		357		357

		358		358		358

		359		359		359

		360		360		360

		361		361		361

		362		362		362

		363		363		363

		364		364		364

		365		365		365

		366		366		366

		367		367		367

		368		368		368

		369		369		369

		370		370		370

		371		371		371

		372		372		372

		373		373		373

		374		374		374

		375		375		375

		376		376		376

		377		377		377

		378		378		378

		379		379		379

		380		380		380

		381		381		381

		382		382		382

		383		383		383

		384		384		384

		385		385		385

		386		386		386

		387		387		387

		388		388		388

		389		389		389

		390		390		390

		391		391		391

		392		392		392

		393		393		393

		394		394		394

		395		395		395

		396		396		396

		397		397		397

		398		398		398

		399		399		399

		400		400		400

		401		401		401

		402		402		402

		403		403		403

		404		404		404

		405		405		405

		406		406		406

		407		407		407

		408		408		408

		409		409		409

		410		410		410

		411		411		411

		412		412		412

		413		413		413

		414		414		414

		415		415		415

		416		416		416

		417		417		417

		418		418		418

		419		419		419

		420		420		420

		421		421		421

		422		422		422

		423		423		423

		424		424		424

		425		425		425

		426		426		426

		427		427		427

		428		428		428

		429		429		429

		430		430		430

		431		431		431

		432		432		432

		433		433		433

		434		434		434

		435		435		435

		436		436		436

		437		437		437

		438		438		438

		439		439		439

		440		440		440

		441		441		441

		442		442		442

		443		443		443

		444		444		444

		445		445		445

		446		446		446

		447		447		447

		448		448		448

		449		449		449

		450		450		450

		451		451		451

		452		452		452

		453		453		453

		454		454		454

		455		455		455

		456		456		456

		457		457		457

		458		458		458

		459		459		459

		460		460		460

		461		461		461

		462		462		462

		463		463		463

		464		464		464

		465		465		465

		466		466		466

		467		467		467

		468		468		468

		469		469		469

		470		470		470

		471		471		471

		472		472		472

		473		473		473

		474		474		474

		475		475		475

		476		476		476

		477		477		477

		478		478		478

		479		479		479

		480		480		480

		481		481		481

		482		482		482

		483		483		483

		484		484		484

		485		485		485

		486		486		486

		487		487		487

		488		488		488

		489		489		489

		490		490		490

		491		491		491

		492		492		492

		493		493		493

		494		494		494

		495		495		495

		496		496		496

		497		497		497

		498		498		498

		499		499		499

		500		500		500

		501		501		501

		502		502		502

		503		503		503

		504		504		504

		505		505		505

		506		506		506

		507		507		507

		508		508		508

		509		509		509

		510		510		510

		511		511		511

		512		512		512

		513		513		513

		514		514		514

		515		515		515

		516		516		516

		517		517		517

		518		518		518

		519		519		519

		520		520		520

		521		521		521

		522		522		522

		523		523		523

		524		524		524

		525		525		525

		526		526		526

		527		527		527

		528		528		528

		529		529		529

		530		530		530

		531		531		531

		532		532		532

		533		533		533

		534		534		534

		535		535		535

		536		536		536

		537		537		537

		538		538		538

		539		539		539

		540		540		540

		541		541		541

		542		542		542

		543		543		543

		544		544		544

		545		545		545

		546		546		546

		547		547		547

		548		548		548

		549		549		549

		550		550		550

		551		551		551

		552		552		552

		553		553		553

		554		554		554

		555		555		555

		556		556		556

		557		557		557

		558		558		558

		559		559		559

		560		560		560

		561		561		561

		562		562		562

		563		563		563

		564		564		564

		565		565		565

		566		566		566

		567		567		567

		568		568		568

		569		569		569

		570		570		570

		571		571		571

		572		572		572

		573		573		573

		574		574		574

		575		575		575

		576		576		576

		577		577		577

		578		578		578

		579		579		579

		580		580		580

		581		581		581

		582		582		582

		583		583		583

		584		584		584

		585		585		585

		586		586		586

		587		587		587

		588		588		588

		589		589		589

		590		590		590

		591		591		591

		592		592		592

		593		593		593

		594		594		594

		595		595		595

		596		596		596

		597		597		597

		598		598		598

		599		599		599

		600		600		600

		601		601		601

		602		602		602

		603		603		603

		604		604		604

		605		605		605

		606		606		606

		607		607		607

		608		608		608

		609		609		609

		610		610		610

		611		611		611

		612		612		612

		613		613		613

		614		614		614

		615		615		615

		616		616		616

		617		617		617

		618		618		618

		619		619		619

		620		620		620

		621		621		621

		622		622		622

		623		623		623

		624		624		624

		625		625		625

		626		626		626

		627		627		627

		628		628		628

		629		629		629

		630		630		630

		631		631		631

		632		632		632

		633		633		633

		634		634		634

		635		635		635

		636		636		636

		637		637		637

		638		638		638

		639		639		639

		640		640		640

		641		641		641

		642		642		642

		643		643		643

		644		644		644

		645		645		645

		646		646		646

		647		647		647

		648		648		648

		649		649		649

		650		650		650

		651		651		651

		652		652		652

		653		653		653

		654		654		654

		655		655		655

		656		656		656

		657		657		657

		658		658		658

		659		659		659

		660		660		660

		661		661		661

		662		662		662

		663		663		663

		664		664		664

		665		665		665

		666		666		666

		667		667		667

		668		668		668

		669		669		669

		670		670		670

		671		671		671

		672		672		672

		673		673		673

		674		674		674

		675		675		675

		676		676		676

		677		677		677

		678		678		678

		679		679		679

		680		680		680

		681		681		681

		682		682		682

		683		683		683

		684		684		684

		685		685		685

		686		686		686

		687		687		687

		688		688		688

		689		689		689

		690		690		690

		691		691		691

		692		692		692

		693		693		693

		694		694		694

		695		695		695

		696		696		696

		697		697		697

		698		698		698

		699		699		699

		700		700		700

		701		701		701

		702		702		702

		703		703		703

		704		704		704

		705		705		705

		706		706		706

		707		707		707

		708		708		708

		709		709		709

		710		710		710

		711		711		711

		712		712		712

		713		713		713

		714		714		714

		715		715		715

		716		716		716

		717		717		717

		718		718		718

		719		719		719

		720		720		720

		721		721		721

		722		722		722

		723		723		723

		724		724		724

		725		725		725

		726		726		726

		727		727		727

		728		728		728

		729		729		729

		730		730		730

		731		731		731

		732		732		732

		733		733		733

		734		734		734

		735		735		735

		736		736		736

		737		737		737

		738		738		738

		739		739		739

		740		740		740

		741		741		741

		742		742		742

		743		743		743

		744		744		744

		745		745		745

		746		746		746

		747		747		747

		748		748		748

		749		749		749

		750		750		750

		751		751		751

		752		752		752

		753		753		753

		754		754		754

		755		755		755

		756		756		756

		757		757		757

		758		758		758

		759		759		759

		760		760		760

		761		761		761

		762		762		762

		763		763		763

		764		764		764

		765		765		765

		766		766		766

		767		767		767

		768		768		768

		769		769		769

		770		770		770

		771		771		771

		772		772		772

		773		773		773

		774		774		774

		775		775		775

		776		776		776

		777		777		777

		778		778		778

		779		779		779

		780		780		780

		781		781		781

		782		782		782

		783		783		783

		784		784		784

		785		785		785

		786		786		786

		787		787		787

		788		788		788

		789		789		789

		790		790		790

		791		791		791

		792		792		792

		793		793		793

		794		794		794

		795		795		795

		796		796		796

		797		797		797

		798		798		798

		799		799		799

		800		800		800

		801		801		801

		802		802		802

		803		803		803

		804		804		804

		805		805		805

		806		806		806

		807		807		807

		808		808		808

		809		809		809

		810		810		810

		811		811		811

		812		812		812

		813		813		813

		814		814		814

		815		815		815

		816		816		816

		817		817		817

		818		818		818

		819		819		819

		820		820		820

		821		821		821

		822		822		822

		823		823		823

		824		824		824

		825		825		825

		826		826		826

		827		827		827

		828		828		828

		829		829		829

		830		830		830

		831		831		831

		832		832		832

		833		833		833

		834		834		834

		835		835		835

		836		836		836

		837		837		837

		838		838		838

		839		839		839

		840		840		840

		841		841		841

		842		842		842

		843		843		843

		844		844		844

		845		845		845

		846		846		846

		847		847		847

		848		848		848

		849		849		849

		850		850		850

		851		851		851

		852		852		852

		853		853		853

		854		854		854

		855		855		855

		856		856		856

		857		857		857

		858		858		858

		859		859		859

		860		860		860

		861		861		861

		862		862		862

		863		863		863

		864		864		864

		865		865		865

		866		866		866

		867		867		867

		868		868		868

		869		869		869

		870		870		870

		871		871		871

		872		872		872

		873		873		873

		874		874		874

		875		875		875

		876		876		876

		877		877		877

		878		878		878

		879		879		879

		880		880		880

		881		881		881

		882		882		882

		883		883		883

		884		884		884

		885		885		885

		886		886		886

		887		887		887

		888		888		888

		889		889		889

		890		890		890

		891		891		891

		892		892		892

		893		893		893

		894		894		894

		895		895		895

		896		896		896

		897		897		897

		898		898		898

		899		899		899

		900		900		900

		901		901		901

		902		902		902

		903		903		903

		904		904		904

		905		905		905

		906		906		906

		907		907		907

		908		908		908

		909		909		909

		910		910		910

		911		911		911

		912		912		912

		913		913		913

		914		914		914

		915		915		915

		916		916		916

		917		917		917

		918		918		918

		919		919		919

		920		920		920

		921		921		921

		922		922		922

		923		923		923

		924		924		924

		925		925		925

		926		926		926

		927		927		927

		928		928		928

		929		929		929

		930		930		930

		931		931		931

		932		932		932

		933		933		933

		934		934		934

		935		935		935

		936		936		936

		937		937		937

		938		938		938

		939		939		939

		940		940		940

		941		941		941

		942		942		942

		943		943		943

		944		944		944

		945		945		945

		946		946		946

		947		947		947

		948		948		948

		949		949		949

		950		950		950

		951		951		951

		952		952		952

		953		953		953

		954		954		954

		955		955		955

		956		956		956

		957		957		957

		958		958		958

		959		959		959

		960		960		960

		961		961		961

		962		962		962

		963		963		963

		964		964		964

		965		965		965

		966		966		966

		967		967		967

		968		968		968

		969		969		969

		970		970		970

		971		971		971

		972		972		972

		973		973		973

		974		974		974

		975		975		975

		976		976		976

		977		977		977

		978		978		978

		979		979		979

		980		980		980

		981		981		981

		982		982		982

		983		983		983

		984		984		984

		985		985		985

		986		986		986

		987		987		987

		988		988		988

		989		989		989

		990		990		990

		991		991		991

		992		992		992

		993		993		993

		994		994		994

		995		995		995

		996		996		996

		997		997		997

		998		998		998

		999		999		999

		1000		1000		1000

		1001		1001		1001

		1002		1002		1002

		1003		1003		1003

		1004		1004		1004

		1005		1005		1005

		1006		1006		1006

		1007		1007		1007

		1008		1008		1008

		1009		1009		1009

		1010		1010		1010

		1011		1011		1011

		1012		1012		1012

		1013		1013		1013

		1014		1014		1014

		1015		1015		1015

		1016		1016		1016

		1017		1017		1017

		1018		1018		1018

		1019		1019		1019

		1020		1020		1020

		1021		1021		1021

		1022		1022		1022

		1023		1023		1023

		1024		1024		1024

		1025		1025		1025

		1026		1026		1026

		1027		1027		1027

		1028		1028		1028

		1029		1029		1029

		1030		1030		1030

		1031		1031		1031

		1032		1032		1032

		1033		1033		1033

		1034		1034		1034

		1035		1035		1035

		1036		1036		1036

		1037		1037		1037

		1038		1038		1038

		1039		1039		1039

		1040		1040		1040

		1041		1041		1041

		1042		1042		1042

		1043		1043		1043

		1044		1044		1044

		1045		1045		1045

		1046		1046		1046

		1047		1047		1047

		1048		1048		1048

		1049		1049		1049

		1050		1050		1050

		1051		1051		1051

		1052		1052		1052

		1053		1053		1053

		1054		1054		1054

		1055		1055		1055

		1056		1056		1056

		1057		1057		1057

		1058		1058		1058

		1059		1059		1059

		1060		1060		1060

		1061		1061		1061

		1062		1062		1062

		1063		1063		1063

		1064		1064		1064

		1065		1065		1065

		1066		1066		1066

		1067		1067		1067

		1068		1068		1068

		1069		1069		1069

		1070		1070		1070

		1071		1071		1071

		1072		1072		1072

		1073		1073		1073

		1074		1074		1074

		1075		1075		1075

		1076		1076		1076

		1077		1077		1077

		1078		1078		1078

		1079		1079		1079

		1080		1080		1080

		1081		1081		1081

		1082		1082		1082

		1083		1083		1083

		1084		1084		1084

		1085		1085		1085

		1086		1086		1086

		1087		1087		1087

		1088		1088		1088

		1089		1089		1089

		1090		1090		1090

		1091		1091		1091

		1092		1092		1092

		1093		1093		1093

		1094		1094		1094

		1095		1095		1095

		1096		1096		1096

		1097		1097		1097

		1098		1098		1098

		1099		1099		1099

		1100		1100		1100

		1101		1101		1101

		1102		1102		1102

		1103		1103		1103

		1104		1104		1104

		1105		1105		1105

		1106		1106		1106

		1107		1107		1107

		1108		1108		1108

		1109		1109		1109

		1110		1110		1110

		1111		1111		1111

		1112		1112		1112

		1113		1113		1113

		1114		1114		1114

		1115		1115		1115

		1116		1116		1116

		1117		1117		1117

		1118		1118		1118

		1119		1119		1119

		1120		1120		1120

		1121		1121		1121

		1122		1122		1122

		1123		1123		1123

		1124		1124		1124

		1125		1125		1125

		1126		1126		1126

		1127		1127		1127

		1128		1128		1128

		1129		1129		1129

		1130		1130		1130

		1131		1131		1131

		1132		1132		1132

		1133		1133		1133

		1134		1134		1134

		1135		1135		1135

		1136		1136		1136

		1137		1137		1137

		1138		1138		1138

		1139		1139		1139

		1140		1140		1140

		1141		1141		1141

		1142		1142		1142

		1143		1143		1143

		1144		1144		1144

		1145		1145		1145

		1146		1146		1146

		1147		1147		1147

		1148		1148		1148

		1149		1149		1149

		1150		1150		1150

		1151		1151		1151

		1152		1152		1152

		1153		1153		1153

		1154		1154		1154

		1155		1155		1155

		1156		1156		1156

		1157		1157		1157

		1158		1158		1158

		1159		1159		1159

		1160		1160		1160

		1161		1161		1161

		1162		1162		1162

		1163		1163		1163

		1164		1164		1164

		1165		1165		1165

		1166		1166		1166

		1167		1167		1167

		1168		1168		1168

		1169		1169		1169

		1170		1170		1170

		1171		1171		1171

		1172		1172		1172

		1173		1173		1173

		1174		1174		1174

		1175		1175		1175

		1176		1176		1176

		1177		1177		1177

		1178		1178		1178

		1179		1179		1179

		1180		1180		1180

		1181		1181		1181

		1182		1182		1182

		1183		1183		1183

		1184		1184		1184

		1185		1185		1185

		1186		1186		1186

		1187		1187		1187

		1188		1188		1188

		1189		1189		1189

		1190		1190		1190

		1191		1191		1191

		1192		1192		1192

		1193		1193		1193

		1194		1194		1194

		1195		1195		1195

		1196		1196		1196

		1197		1197		1197

		1198		1198		1198

		1199		1199		1199

		1200		1200		1200

		1201		1201		1201

		1202		1202		1202

		1203		1203		1203

		1204		1204		1204

		1205		1205		1205

		1206		1206		1206

		1207		1207		1207

		1208		1208		1208

		1209		1209		1209

		1210		1210		1210

		1211		1211		1211

		1212		1212		1212

		1213		1213		1213

		1214		1214		1214

		1215		1215		1215

		1216		1216		1216

		1217		1217		1217

		1218		1218		1218

		1219		1219		1219

		1220		1220		1220

		1221		1221		1221

		1222		1222		1222

		1223		1223		1223

		1224		1224		1224

		1225		1225		1225

		1226		1226		1226

		1227		1227		1227

		1228		1228		1228

		1229		1229		1229

		1230		1230		1230

		1231		1231		1231

		1232		1232		1232

		1233		1233		1233

		1234		1234		1234

		1235		1235		1235

		1236		1236		1236

		1237		1237		1237

		1238		1238		1238

		1239		1239		1239

		1240		1240		1240

		1241		1241		1241

		1242		1242		1242

		1243		1243		1243

		1244		1244		1244

		1245		1245		1245

		1246		1246		1246

		1247		1247		1247

		1248		1248		1248

		1249		1249		1249

		1250		1250		1250

		1251		1251		1251

		1252		1252		1252

		1253		1253		1253

		1254		1254		1254

		1255		1255		1255

		1256		1256		1256

		1257		1257		1257

		1258		1258		1258

		1259		1259		1259

		1260		1260		1260

		1261		1261		1261

		1262		1262		1262

		1263		1263		1263

		1264		1264		1264

		1265		1265		1265

		1266		1266		1266

		1267		1267		1267

		1268		1268		1268

		1269		1269		1269

		1270		1270		1270

		1271		1271		1271

		1272		1272		1272

		1273		1273		1273

		1274		1274		1274

		1275		1275		1275

		1276		1276		1276

		1277		1277		1277

		1278		1278		1278

		1279		1279		1279

		1280		1280		1280

		1281		1281		1281

		1282		1282		1282

		1283		1283		1283

		1284		1284		1284

		1285		1285		1285

		1286		1286		1286

		1287		1287		1287

		1288		1288		1288

		1289		1289		1289

		1290		1290		1290

		1291		1291		1291

		1292		1292		1292

		1293		1293		1293

		1294		1294		1294

		1295		1295		1295

		1296		1296		1296

		1297		1297		1297

		1298		1298		1298

		1299		1299		1299

		1300		1300		1300

		1301		1301		1301

		1302		1302		1302

		1303		1303		1303

		1304		1304		1304

		1305		1305		1305

		1306		1306		1306

		1307		1307		1307

		1308		1308		1308

		1309		1309		1309

		1310		1310		1310

		1311		1311		1311

		1312		1312		1312

		1313		1313		1313

		1314		1314		1314

		1315		1315		1315

		1316		1316		1316

		1317		1317		1317

		1318		1318		1318

		1319		1319		1319

		1320		1320		1320

		1321		1321		1321

		1322		1322		1322

		1323		1323		1323

		1324		1324		1324

		1325		1325		1325

		1326		1326		1326

		1327		1327		1327

		1328		1328		1328

		1329		1329		1329

		1330		1330		1330

		1331		1331		1331

		1332		1332		1332

		1333		1333		1333

		1334		1334		1334

		1335		1335		1335

		1336		1336		1336

		1337		1337		1337

		1338		1338		1338

		1339		1339		1339

		1340		1340		1340

		1341		1341		1341

		1342		1342		1342

		1343		1343		1343

		1344		1344		1344

		1345		1345		1345

		1346		1346		1346

		1347		1347		1347

		1348		1348		1348

		1349		1349		1349

		1350		1350		1350

		1351		1351		1351

		1352		1352		1352

		1353		1353		1353

		1354		1354		1354

		1355		1355		1355

		1356		1356		1356

		1357		1357		1357

		1358		1358		1358

		1359		1359		1359

		1360		1360		1360

		1361		1361		1361

		1362		1362		1362

		1363		1363		1363

		1364		1364		1364

		1365		1365		1365

		1366		1366		1366

		1367		1367		1367

		1368		1368		1368

		1369		1369		1369

		1370		1370		1370

		1371		1371		1371

		1372		1372		1372

		1373		1373		1373

		1374		1374		1374

		1375		1375		1375

		1376		1376		1376

		1377		1377		1377

		1378		1378		1378

		1379		1379		1379

		1380		1380		1380

		1381		1381		1381

		1382		1382		1382

		1383		1383		1383

		1384		1384		1384

		1385		1385		1385

		1386		1386		1386

		1387		1387		1387

		1388		1388		1388

		1389		1389		1389

		1390		1390		1390

		1391		1391		1391

		1392		1392		1392

		1393		1393		1393

		1394		1394		1394

		1395		1395		1395

		1396		1396		1396

		1397		1397		1397

		1398		1398		1398

		1399		1399		1399

		1400		1400		1400

		1401		1401		1401

		1402		1402		1402

		1403		1403		1403

		1404		1404		1404

		1405		1405		1405

		1406		1406		1406

		1407		1407		1407

		1408		1408		1408

		1409		1409		1409

		1410		1410		1410

		1411		1411		1411

		1412		1412		1412

		1413		1413		1413

		1414		1414		1414

		1415		1415		1415

		1416		1416		1416

		1417		1417		1417

		1418		1418		1418

		1419		1419		1419

		1420		1420		1420

		1421		1421		1421

		1422		1422		1422

		1423		1423		1423

		1424		1424		1424

		1425		1425		1425

		1426		1426		1426

		1427		1427		1427

		1428		1428		1428

		1429		1429		1429

		1430		1430		1430

		1431		1431		1431

		1432		1432		1432

		1433		1433		1433

		1434		1434		1434

		1435		1435		1435

		1436		1436		1436

		1437		1437		1437

		1438		1438		1438

		1439		1439		1439

		1440		1440		1440

		1441		1441		1441

		1442		1442		1442

		1443		1443		1443

		1444		1444		1444

		1445		1445		1445

		1446		1446		1446

		1447		1447		1447

		1448		1448		1448

		1449		1449		1449

		1450		1450		1450

		1451		1451		1451

		1452		1452		1452

		1453		1453		1453

		1454		1454		1454

		1455		1455		1455

		1456		1456		1456

		1457		1457		1457

		1458		1458		1458

		1459		1459		1459

		1460		1460		1460

		1461		1461		1461

		1462		1462		1462

		1463		1463		1463

		1464		1464		1464

		1465		1465		1465

		1466		1466		1466

		1467		1467		1467

		1468		1468		1468

		1469		1469		1469

		1470		1470		1470

		1471		1471		1471

		1472		1472		1472

		1473		1473		1473

		1474		1474		1474

		1475		1475		1475

		1476		1476		1476

		1477		1477		1477

		1478		1478		1478

		1479		1479		1479

		1480		1480		1480

		1481		1481		1481

		1482		1482		1482

		1483		1483		1483

		1484		1484		1484

		1485		1485		1485

		1486		1486		1486

		1487		1487		1487

		1488		1488		1488

		1489		1489		1489

		1490		1490		1490

		1491		1491		1491

		1492		1492		1492

		1493		1493		1493

		1494		1494		1494

		1495		1495		1495

		1496		1496		1496

		1497		1497		1497

		1498		1498		1498

		1499		1499		1499

		1500		1500		1500

		1501		1501		1501

		1502		1502		1502

		1503		1503		1503

		1504		1504		1504

		1505		1505		1505

		1506		1506		1506

		1507		1507		1507

		1508		1508		1508

		1509		1509		1509

		1510		1510		1510

		1511		1511		1511

		1512		1512		1512

		1513		1513		1513

		1514		1514		1514

		1515		1515		1515

		1516		1516		1516

		1517		1517		1517

		1518		1518		1518

		1519		1519		1519

		1520		1520		1520

		1521		1521		1521

		1522		1522		1522

		1523		1523		1523

		1524		1524		1524

		1525		1525		1525

		1526		1526		1526

		1527		1527		1527

		1528		1528		1528

		1529		1529		1529

		1530		1530		1530

		1531		1531		1531

		1532		1532		1532

		1533		1533		1533

		1534		1534		1534

		1535		1535		1535

		1536		1536		1536

		1537		1537		1537

		1538		1538		1538

		1539		1539		1539

		1540		1540		1540

		1541		1541		1541

		1542		1542		1542

		1543		1543		1543

		1544		1544		1544

		1545		1545		1545

		1546		1546		1546

		1547		1547		1547

		1548		1548		1548

		1549		1549		1549

		1550		1550		1550

		1551		1551		1551

		1552		1552		1552

		1553		1553		1553

		1554		1554		1554

		1555		1555		1555

		1556		1556		1556

		1557		1557		1557

		1558		1558		1558

		1559		1559		1559

		1560		1560		1560

		1561		1561		1561

		1562		1562		1562

		1563		1563		1563

		1564		1564		1564

		1565		1565		1565

		1566		1566		1566

		1567		1567		1567

		1568		1568		1568

		1569		1569		1569

		1570		1570		1570

		1571		1571		1571

		1572		1572		1572

		1573		1573		1573

		1574		1574		1574

		1575		1575		1575

		1576		1576		1576

		1577		1577		1577

		1578		1578		1578

		1579		1579		1579

		1580		1580		1580

		1581		1581		1581

		1582		1582		1582

		1583		1583		1583

		1584		1584		1584

		1585		1585		1585

		1586		1586		1586

		1587		1587		1587

		1588		1588		1588

		1589		1589		1589

		1590		1590		1590

		1591		1591		1591

		1592		1592		1592

		1593		1593		1593

		1594		1594		1594

		1595		1595		1595

		1596		1596		1596

		1597		1597		1597

		1598		1598		1598

		1599		1599		1599

		1600		1600		1600

		1601		1601		1601

		1602		1602		1602

		1603		1603		1603

		1604		1604		1604

		1605		1605		1605

		1606		1606		1606

		1607		1607		1607

		1608		1608		1608

		1609		1609		1609

		1610		1610		1610

		1611		1611		1611

		1612		1612		1612

		1613		1613		1613

		1614		1614		1614

		1615		1615		1615

		1616		1616		1616

		1617		1617		1617

		1618		1618		1618

		1619		1619		1619

		1620		1620		1620

		1621		1621		1621

		1622		1622		1622

		1623		1623		1623

		1624		1624		1624

		1625		1625		1625

		1626		1626		1626

		1627		1627		1627

		1628		1628		1628

		1629		1629		1629

		1630		1630		1630

		1631		1631		1631

		1632		1632		1632

		1633		1633		1633

		1634		1634		1634

		1635		1635		1635

		1636		1636		1636

		1637		1637		1637

		1638		1638		1638

		1639		1639		1639

		1640		1640		1640

		1641		1641		1641

		1642		1642		1642

		1643		1643		1643

		1644		1644		1644

		1645		1645		1645

		1646		1646		1646

		1647		1647		1647

		1648		1648		1648

		1649		1649		1649

		1650		1650		1650

		1651		1651		1651

		1652		1652		1652

		1653		1653		1653

		1654		1654		1654

		1655		1655		1655

		1656		1656		1656

		1657		1657		1657

		1658		1658		1658

		1659		1659		1659

		1660		1660		1660

		1661		1661		1661

		1662		1662		1662

		1663		1663		1663

		1664		1664		1664

		1665		1665		1665

		1666		1666		1666

		1667		1667		1667

		1668		1668		1668

		1669		1669		1669

		1670		1670		1670

		1671		1671		1671

		1672		1672		1672

		1673		1673		1673

		1674		1674		1674

		1675		1675		1675

		1676		1676		1676

		1677		1677		1677

		1678		1678		1678

		1679		1679		1679

		1680		1680		1680

		1681		1681		1681

		1682		1682		1682

		1683		1683		1683

		1684		1684		1684

		1685		1685		1685

		1686		1686		1686

		1687		1687		1687

		1688		1688		1688

		1689		1689		1689

		1690		1690		1690

		1691		1691		1691

		1692		1692		1692

		1693		1693		1693

		1694		1694		1694

		1695		1695		1695

		1696		1696		1696

		1697		1697		1697

		1698		1698		1698

		1699		1699		1699

		1700		1700		1700

		1701		1701		1701

		1702		1702		1702

		1703		1703		1703

		1704		1704		1704

		1705		1705		1705

		1706		1706		1706

		1707		1707		1707

		1708		1708		1708

		1709		1709		1709

		1710		1710		1710

		1711		1711		1711

		1712		1712		1712

		1713		1713		1713

		1714		1714		1714

		1715		1715		1715

		1716		1716		1716

		1717		1717		1717

		1718		1718		1718

		1719		1719		1719

		1720		1720		1720

		1721		1721		1721

		1722		1722		1722

		1723		1723		1723

		1724		1724		1724

		1725		1725		1725

		1726		1726		1726

		1727		1727		1727

		1728		1728		1728

		1729		1729		1729

		1730		1730		1730

		1731		1731		1731

		1732		1732		1732

		1733		1733		1733

		1734		1734		1734

		1735		1735		1735

		1736		1736		1736

		1737		1737		1737

		1738		1738		1738

		1739		1739		1739

		1740		1740		1740

		1741		1741		1741

		1742		1742		1742

		1743		1743		1743

		1744		1744		1744

		1745		1745		1745

		1746		1746		1746

		1747		1747		1747

		1748		1748		1748

		1749		1749		1749

		1750		1750		1750

		1751		1751		1751

		1752		1752		1752

		1753		1753		1753

		1754		1754		1754

		1755		1755		1755

		1756		1756		1756

		1757		1757		1757

		1758		1758		1758

		1759		1759		1759

		1760		1760		1760

		1761		1761		1761

		1762		1762		1762

		1763		1763		1763

		1764		1764		1764

		1765		1765		1765

		1766		1766		1766

		1767		1767		1767

		1768		1768		1768

		1769		1769		1769

		1770		1770		1770

		1771		1771		1771

		1772		1772		1772

		1773		1773		1773

		1774		1774		1774

		1775		1775		1775

		1776		1776		1776

		1777		1777		1777

		1778		1778		1778

		1779		1779		1779

		1780		1780		1780

		1781		1781		1781

		1782		1782		1782

		1783		1783		1783

		1784		1784		1784

		1785		1785		1785

		1786		1786		1786

		1787		1787		1787

		1788		1788		1788

		1789		1789		1789

		1790		1790		1790

		1791		1791		1791

		1792		1792		1792

		1793		1793		1793

		1794		1794		1794

		1795		1795		1795

		1796		1796		1796

		1797		1797		1797

		1798		1798		1798

		1799		1799		1799

		1800		1800		1800

		1801		1801		1801

		1802		1802		1802

		1803		1803		1803

		1804		1804		1804

		1805		1805		1805

		1806		1806		1806

		1807		1807		1807

		1808		1808		1808

		1809		1809		1809

		1810		1810		1810

		1811		1811		1811

		1812		1812		1812

		1813		1813		1813

		1814		1814		1814

		1815		1815		1815

		1816		1816		1816

		1817		1817		1817

		1818		1818		1818

		1819		1819		1819

		1820		1820		1820

		1821		1821		1821

		1822		1822		1822

		1823		1823		1823

		1824		1824		1824

		1825		1825		1825

		1826		1826		1826

		1827		1827		1827

		1828		1828		1828

		1829		1829		1829

		1830		1830		1830

		1831		1831		1831

		1832		1832		1832

		1833		1833		1833

		1834		1834		1834

		1835		1835		1835

		1836		1836		1836

		1837		1837		1837

		1838		1838		1838

		1839		1839		1839

		1840		1840		1840

		1841		1841		1841

		1842		1842		1842

		1843		1843		1843

		1844		1844		1844

		1845		1845		1845

		1846		1846		1846

		1847		1847		1847

		1848		1848		1848

		1849		1849		1849

		1850		1850		1850

		1851		1851		1851

		1852		1852		1852

		1853		1853		1853

		1854		1854		1854

		1855		1855		1855

		1856		1856		1856

		1857		1857		1857

		1858		1858		1858

		1859		1859		1859

		1860		1860		1860

		1861		1861		1861

		1862		1862		1862

		1863		1863		1863

		1864		1864		1864

		1865		1865		1865

		1866		1866		1866

		1867		1867		1867

		1868		1868		1868

		1869		1869		1869

		1870		1870		1870

		1871		1871		1871

		1872		1872		1872

		1873		1873		1873

		1874		1874		1874

		1875		1875		1875

		1876		1876		1876

		1877		1877		1877

		1878		1878		1878

		1879		1879		1879

		1880		1880		1880

		1881		1881		1881

		1882		1882		1882

		1883		1883		1883

		1884		1884		1884

		1885		1885		1885

		1886		1886		1886

		1887		1887		1887

		1888		1888		1888

		1889		1889		1889

		1890		1890		1890

		1891		1891		1891

		1892		1892		1892

		1893		1893		1893

		1894		1894		1894

		1895		1895		1895

		1896		1896		1896

		1897		1897		1897

		1898		1898		1898

		1899		1899		1899

		1900		1900		1900

		1901		1901		1901

		1902		1902		1902

		1903		1903		1903

		1904		1904		1904

		1905		1905		1905

		1906		1906		1906

		1907		1907		1907

		1908		1908		1908

		1909		1909		1909

		1910		1910		1910

		1911		1911		1911

		1912		1912		1912

		1913		1913		1913

		1914		1914		1914

		1915		1915		1915

		1916		1916		1916

		1917		1917		1917

		1918		1918		1918

		1919		1919		1919

		1920		1920		1920

		1921		1921		1921

		1922		1922		1922

		1923		1923		1923

		1924		1924		1924

		1925		1925		1925

		1926		1926		1926

		1927		1927		1927

		1928		1928		1928

		1929		1929		1929

		1930		1930		1930

		1931		1931		1931

		1932		1932		1932

		1933		1933		1933

		1934		1934		1934

		1935		1935		1935

		1936		1936		1936

		1937		1937		1937

		1938		1938		1938

		1939		1939		1939

		1940		1940		1940

		1941		1941		1941

		1942		1942		1942

		1943		1943		1943

		1944		1944		1944

		1945		1945		1945

		1946		1946		1946

		1947		1947		1947

		1948		1948		1948

		1949		1949		1949

		1950		1950		1950

		1951		1951		1951

		1952		1952		1952

		1953		1953		1953

		1954		1954		1954

		1955		1955		1955

		1956		1956		1956

		1957		1957		1957

		1958		1958		1958

		1959		1959		1959

		1960		1960		1960

		1961		1961		1961

		1962		1962		1962

		1963		1963		1963

		1964		1964		1964

		1965		1965		1965

		1966		1966		1966

		1967		1967		1967

		1968		1968		1968

		1969		1969		1969

		1970		1970		1970

		1971		1971		1971

		1972		1972		1972

		1973		1973		1973

		1974		1974		1974

		1975		1975		1975

		1976		1976		1976

		1977		1977		1977

		1978		1978		1978

		1979		1979		1979

		1980		1980		1980

		1981		1981		1981

		1982		1982		1982

		1983		1983		1983

		1984		1984		1984

		1985		1985		1985

		1986		1986		1986

		1987		1987		1987

		1988		1988		1988

		1989		1989		1989

		1990		1990		1990

		1991		1991		1991

		1992		1992		1992

		1993		1993		1993

		1994		1994		1994

		1995		1995		1995

		1996		1996		1996

		1997		1997		1997

		1998		1998		1998

		1999		1999		1999

		2000		2000		2000

		2001		2001		2001

		2002		2002		2002

		2003		2003		2003

		2004		2004		2004

		2005		2005		2005

		2006		2006		2006

		2007		2007		2007

		2008		2008		2008

		2009		2009		2009

		2010		2010		2010

		2011		2011		2011

		2012		2012		2012

		2013		2013		2013

		2014		2014		2014

		2015		2015		2015

		2016		2016		2016

		2017		2017		2017

		2018		2018		2018

		2019		2019		2019

		2020		2020		2020

		2021		2021		2021

		2022		2022		2022

		2023		2023		2023

		2024		2024		2024

		2025		2025		2025

		2026		2026		2026

		2027		2027		2027

		2028		2028		2028

		2029		2029		2029

		2030		2030		2030

		2031		2031		2031

		2032		2032		2032

		2033		2033		2033

		2034		2034		2034

		2035		2035		2035

		2036		2036		2036

		2037		2037		2037

		2038		2038		2038

		2039		2039		2039

		2040		2040		2040

		2041		2041		2041

		2042		2042		2042

		2043		2043		2043

		2044		2044		2044

		2045		2045		2045

		2046		2046		2046

		2047		2047		2047

		2048		2048		2048

		2049		2049		2049

		2050		2050		2050

		2051		2051		2051

		2052		2052		2052

		2053		2053		2053

		2054		2054		2054

		2055		2055		2055

		2056		2056		2056

		2057		2057		2057

		2058		2058		2058

		2059		2059		2059

		2060		2060		2060

		2061		2061		2061

		2062		2062		2062

		2063		2063		2063

		2064		2064		2064

		2065		2065		2065

		2066		2066		2066

		2067		2067		2067

		2068		2068		2068

		2069		2069		2069

		2070		2070		2070

		2071		2071		2071

		2072		2072		2072

		2073		2073		2073

		2074		2074		2074

		2075		2075		2075

		2076		2076		2076

		2077		2077		2077

		2078		2078		2078

		2079		2079		2079

		2080		2080		2080

		2081		2081		2081

		2082		2082		2082

		2083		2083		2083

		2084		2084		2084

		2085		2085		2085

		2086		2086		2086

		2087		2087		2087

		2088		2088		2088

		2089		2089		2089

		2090		2090		2090

		2091		2091		2091

		2092		2092		2092

		2093		2093		2093

		2094		2094		2094

		2095		2095		2095

		2096		2096		2096

		2097		2097		2097

		2098		2098		2098

		2099		2099		2099

		2100		2100		2100

		2101		2101		2101

		2102		2102		2102

		2103		2103		2103

		2104		2104		2104

		2105		2105		2105

		2106		2106		2106

		2107		2107		2107

		2108		2108		2108

		2109		2109		2109

		2110		2110		2110

		2111		2111		2111

		2112		2112		2112

		2113		2113		2113

		2114		2114		2114

		2115		2115		2115

		2116		2116		2116

		2117		2117		2117

		2118		2118		2118

		2119		2119		2119

		2120		2120		2120

		2121		2121		2121

		2122		2122		2122

		2123		2123		2123

		2124		2124		2124

		2125		2125		2125

		2126		2126		2126

		2127		2127		2127

		2128		2128		2128

		2129		2129		2129

		2130		2130		2130

		2131		2131		2131

		2132		2132		2132

		2133		2133		2133

		2134		2134		2134

		2135		2135		2135

		2136		2136		2136

		2137		2137		2137

		2138		2138		2138

		2139		2139		2139

		2140		2140		2140

		2141		2141		2141

		2142		2142		2142

		2143		2143		2143

		2144		2144		2144

		2145		2145		2145

		2146		2146		2146

		2147		2147		2147

		2148		2148		2148

		2149		2149		2149

		2150		2150		2150

		2151		2151		2151

		2152		2152		2152

		2153		2153		2153

		2154		2154		2154

		2155		2155		2155

		2156		2156		2156

		2157		2157		2157

		2158		2158		2158

		2159		2159		2159

		2160		2160		2160

		2161		2161		2161

		2162		2162		2162

		2163		2163		2163

		2164		2164		2164

		2165		2165		2165

		2166		2166		2166

		2167		2167		2167

		2168		2168		2168

		2169		2169		2169

		2170		2170		2170

		2171		2171		2171

		2172		2172		2172

		2173		2173		2173

		2174		2174		2174

		2175		2175		2175

		2176		2176		2176

		2177		2177		2177

		2178		2178		2178

		2179		2179		2179

		2180		2180		2180

		2181		2181		2181

		2182		2182		2182

		2183		2183		2183

		2184		2184		2184

		2185		2185		2185

		2186		2186		2186

		2187		2187		2187

		2188		2188		2188

		2189		2189		2189

		2190		2190		2190

		2191		2191		2191

		2192		2192		2192

		2193		2193		2193

		2194		2194		2194

		2195		2195		2195

		2196		2196		2196

		2197		2197		2197

		2198		2198		2198

		2199		2199		2199

		2200		2200		2200

		2201		2201		2201

		2202		2202		2202

		2203		2203		2203

		2204		2204		2204

		2205		2205		2205

		2206		2206		2206

		2207		2207		2207

		2208		2208		2208

		2209		2209		2209

		2210		2210		2210

		2211		2211		2211

		2212		2212		2212

		2213		2213		2213

		2214		2214		2214

		2215		2215		2215

		2216		2216		2216

		2217		2217		2217

		2218		2218		2218

		2219		2219		2219

		2220		2220		2220

		2221		2221		2221

		2222		2222		2222

		2223		2223		2223

		2224		2224		2224

		2225		2225		2225

		2226		2226		2226

		2227		2227		2227

		2228		2228		2228

		2229		2229		2229

		2230		2230		2230

		2231		2231		2231

		2232		2232		2232

		2233		2233		2233

		2234		2234		2234

		2235		2235		2235

		2236		2236		2236

		2237		2237		2237

		2238		2238		2238

		2239		2239		2239

		2240		2240		2240

		2241		2241		2241

		2242		2242		2242

		2243		2243		2243

		2244		2244		2244

		2245		2245		2245

		2246		2246		2246

		2247		2247		2247

		2248		2248		2248

		2249		2249		2249

		2250		2250		2250

		2251		2251		2251

		2252		2252		2252

		2253		2253		2253

		2254		2254		2254

		2255		2255		2255

		2256		2256		2256

		2257		2257		2257

		2258		2258		2258

		2259		2259		2259

		2260		2260		2260

		2261		2261		2261

		2262		2262		2262

		2263		2263		2263

		2264		2264		2264

		2265		2265		2265

		2266		2266		2266

		2267		2267		2267

		2268		2268		2268

		2269		2269		2269

		2270		2270		2270

		2271		2271		2271

		2272		2272		2272

		2273		2273		2273

		2274		2274		2274

		2275		2275		2275

		2276		2276		2276

		2277		2277		2277

		2278		2278		2278

		2279		2279		2279

		2280		2280		2280

		2281		2281		2281

		2282		2282		2282

		2283		2283		2283

		2284		2284		2284

		2285		2285		2285

		2286		2286		2286

		2287		2287		2287

		2288		2288		2288

		2289		2289		2289

		2290		2290		2290

		2291		2291		2291

		2292		2292		2292

		2293		2293		2293

		2294		2294		2294

		2295		2295		2295

		2296		2296		2296

		2297		2297		2297

		2298		2298		2298

		2299		2299		2299

		2300		2300		2300

		2301		2301		2301

		2302		2302		2302

		2303		2303		2303

		2304		2304		2304

		2305		2305		2305

		2306		2306		2306

		2307		2307		2307

		2308		2308		2308

		2309		2309		2309

		2310		2310		2310

		2311		2311		2311

		2312		2312		2312

		2313		2313		2313

		2314		2314		2314

		2315		2315		2315

		2316		2316		2316

		2317		2317		2317

		2318		2318		2318

		2319		2319		2319

		2320		2320		2320

		2321		2321		2321

		2322		2322		2322

		2323		2323		2323

		2324		2324		2324

		2325		2325		2325

		2326		2326		2326

		2327		2327		2327

		2328		2328		2328

		2329		2329		2329

		2330		2330		2330

		2331		2331		2331

		2332		2332		2332

		2333		2333		2333

		2334		2334		2334

		2335		2335		2335

		2336		2336		2336

		2337		2337		2337

		2338		2338		2338

		2339		2339		2339

		2340		2340		2340

		2341		2341		2341

		2342		2342		2342

		2343		2343		2343

		2344		2344		2344

		2345		2345		2345

		2346		2346		2346

		2347		2347		2347

		2348		2348		2348

		2349		2349		2349

		2350		2350		2350

		2351		2351		2351

		2352		2352		2352

		2353		2353		2353

		2354		2354		2354

		2355		2355		2355

		2356		2356		2356

		2357		2357		2357

		2358		2358		2358

		2359		2359		2359

		2360		2360		2360

		2361		2361		2361

		2362		2362		2362

		2363		2363		2363

		2364		2364		2364

		2365		2365		2365

		2366		2366		2366

		2367		2367		2367

		2368		2368		2368

		2369		2369		2369

		2370		2370		2370

		2371		2371		2371

		2372		2372		2372

		2373		2373		2373

		2374		2374		2374

		2375		2375		2375

		2376		2376		2376

		2377		2377		2377

		2378		2378		2378

		2379		2379		2379

		2380		2380		2380

		2381		2381		2381

		2382		2382		2382

		2383		2383		2383

		2384		2384		2384

		2385		2385		2385

		2386		2386		2386

		2387		2387		2387

		2388		2388		2388

		2389		2389		2389

		2390		2390		2390

		2391		2391		2391

		2392		2392		2392

		2393		2393		2393

		2394		2394		2394

		2395		2395		2395

		2396		2396		2396

		2397		2397		2397

		2398		2398		2398

		2399		2399		2399

		2400		2400		2400



v

b

T1-1,K-L=30mm,prop.0,83l/min

T1-3,K-L=30mm,prop.0,7l/min

T1-4,K-L=30mm,prop.0,78l/min

time,s

Temperature,K

530.2217320896

803.4807502654

767.0971565908

538.6646853732

806.9605949575

765.9251853156

541.1447200961

796.7438087172

765.9251853156

536.1832020907

792.3233450298

763.8147244276

539.9048838046

797.9062194992

761.4683917539

528.978708967

789.994684783

761.4683917539

519.2706999695

794.4179007336

762.6417391607

518.0244900159

806.9605949575

763.8147244276

519.2706999695

805.8010088667

764.7528519004

521.7620334572

799.0682681413

768.2687657261

524.0029950776

795.5810357954

767.0971565908

526.4915763021

788.8298114497

767.0971565908

525.2474667598

786.4989783635

765.9251853156

527.7353237045

796.7438087172

765.9251853156

522.7581612556

791.1591959764

765.9251853156

526.4915763021

793.2544035319

765.9251853156

527.7353237045

791.1591959764

762.6417391607

537.4241248019

788.8298114497

765.9251853156

541.1447200961

785.3330186105

770.610897577

539.9048838046

795.5810357954

765.9251853156

539.9048838046

794.4179007336

764.7528519004

536.1832020907

800.2299546435

763.8147244276

530.2217320896

796.7438087172

765.9251853156

511.7880081491

800.2299546435

765.9251853156

504.5423469622

800.2299546435

763.8147244276

516.7779179223

795.5810357954

765.9251853156

520.5165477833

786.4989783635

767.0971565908

514.2836873155

799.0682681413

759.1206105206

514.2836873155

794.4179007336

760.2946822072

507.0422269513

788.8298114497

756.7713807277

514.2836873155

786.4989783635

753.4800254375

519.2706999695

788.8298114497

755.5962226214

524.0029950776

794.4179007336

757.9461766941

531.4643930723

797.9062194992

767.0971565908

526.4915763021

801.3912790058

762.6417391607

524.0029950776

795.5810357954

763.8147244276

522.7581612556

796.7438087172

756.7713807277

518.0244900159

792.3233450298

763.8147244276

521.7620334572

795.5810357954

760.2946822072

525.2474667598

794.4179007336

765.9251853156

530.2217320896

786.4989783635

757.9461766941

524.0029950776

786.4989783635

760.2946822072

515.5309836889

787.6645759765

762.6417391607

519.2706999695

786.4989783635

754.4207023752

527.7353237045

786.4989783635

759.1206105206

515.5309836889

793.2544035319

764.7528519004

513.0360288023

794.4179007336

762.6417391607

513.0360288023

794.4179007336

761.4683917539

505.7924680267

792.3233450298

760.2946822072

515.5309836889

795.5810357954

761.4683917539

507.0422269513

792.3233450298

762.6417391607

513.0360288023

792.3233450298

765.9251853156

518.0244900159

795.5810357954

768.2687657261

516.7779179223

792.3233450298

767.0971565908

522.7581612556

785.3330186105

763.8147244276

531.4643930723

785.3330186105

765.9251853156

526.4915763021

786.4989783635

763.8147244276

527.7353237045

785.3330186105

764.7528519004

528.978708967

788.8298114497

761.4683917539

532.4582611177

780.8990688334

763.8147244276

527.7353237045

789.994684783

759.1206105206

526.4915763021

788.8298114497

754.4207023752

554.2647204255

775.0569573122

737.2168662897

544.6143351281

764.7528519004

732.726495117

519.2706999695

733.9086787372

767.0971565908

570.0535056204

702.5776128987

773.8874485883

672.1950925058

797.9062194992

747.5955435486

703.7689948723

788.8298114497

726.8101449173

696.6152709323

769.4400127215

697.8084636054

688.4919568056

753.4800254375

664.9840056065

660.4102408588

760.2946822072

687.2959394413

632.1302315912

740.758202336

696.6152709323

610.7291371962

715.1878361408

701.3858687852

604.6288199299

690.8829051143

704.9600147059

595.0942469709

662.8181373147

707.102937814

597.5411096795

664.9840056065

715.1878361408

601.2086876931

668.5911786857

714.2375407675

610.7291371962

672.1950925058

711.8607883426

616.5769242415

664.9840056065

714.2375407675

628.4902486375

666.1867587728

722.3076637865

636.7361978183

666.1867587728

736.0356966612

659.205749421

664.9840056065

749.9504227239

666.1867587728

662.8181373147

752.3038533395

676.7553711638

666.1867587728

770.610897577

680.35189733

664.0215423328

787.6645759765

684.9028182932

656.7956801258

825.0032481006

687.2959394413

656.7956801258

842.9577708788

688.4919568056

651.0056036941

851.901983381

699.0012941386

647.3825688876

856.4802125217

708.292943656

643.9981291588

853.0470838761

713.049345625

644.9654016504

849.8398898975

732.726495117

642.7887126185

841.8094835527

747.5955435486

640.3687931181

837.4426889977

754.4207023752

656.7956801258

829.6153735354

763.8147244276

673.3956728327

819.4610491842

772.9515808684

689.6876120299

803.4807502654

783.2333784627

695.4217161194

791.1591959764

789.994684783

702.5776128987

788.8298114497

784.1666967177

702.5776128987

792.3233450298

794.4179007336

703.7689948723

788.8298114497

802.5522412282

707.102937814

785.3330186105

799.0682681413

703.7689948723

785.3330186105

799.0682681413

707.102937814

784.1666967177

804.641060636

708.292943656

784.1666967177

809.2786807195

709.4825873581

782.066404718

796.7438087172

713.049345625

784.1666967177

803.4807502654

716.3753794315

783.2333784627

814.836176425

715.1878361408

788.8298114497

817.1493370844

715.1878361408

785.3330186105

831.6889396108

714.2375407675

788.8298114497

829.6153735354

718.7493795932

793.2544035319

832.840413768

718.7493795932

792.3233450298

841.8094835527

717.5625605823

787.6645759765

853.0470838761

726.8101449173

787.6645759765

865.3910936681

734.8541648927

793.2544035319

866.5319209123

736.0356966612

787.6645759765

863.1083527599

741.9379234049

793.2544035319

876.5555851895

743.117282334

801.3912790058

885.4167517711

744.2962791232

802.5522412282

876.5555851895

745.2392158138

801.3912790058

877.6928634628

745.2392158138

804.641060636

883.1467581872

751.1273191017

794.4179007336

891.9915415599

752.3038533395

796.7438087172

891.9915415599

755.5962226214

791.1591959764

891.9915415599

755.5962226214

789.994684783

893.1238947307

754.4207023752

791.1591959764

903.0729871607

754.4207023752

787.6645759765

891.9915415599

756.7713807277

785.3330186105

905.3302334202

761.4683917539

783.2333784627

906.4583133402

762.6417391607

791.1591959764

904.2017913604

765.9251853156

789.994684783

926.2532448734

767.0971565908

795.5810357954

917.2694548939

768.2687657261

803.4807502654

929.392095811

769.4400127215

803.4807502654

933.8712434764

775.0569573122

804.641060636

930.5124259372

783.2333784627

808.1198189085

963.2882985712

778.5633106446

818.3053742042

977.2392789125

779.731370809

823.8493113921

996.6301202654

773.8874485883

828.4628853865

1012.6305799657

777.3948883404

832.840413768

1012.6305799657

778.5633106446

840.8905929511

1023.3273171133

788.8298114497

829.6153735354

1035.0752736095

783.2333784627

838.5923524554

1053.0499599988

786.4989783635

836.2926634001

1066.6267774006

787.6645759765

844.105696065

1080.3602303793

789.994684783

849.8398898975

1092.7549221033

800.2299546435

854.1918222312

1112.5274585671

792.3233450298

863.1083527599

1114.6460776749

797.9062194992

869.9522298057

1131.1215921512

800.2299546435

875.4179447763

1141.4265229036

800.2299546435

883.1467581872

1151.6966737406

801.3912790058

882.0112181854

1164.8500482061

805.8010088667

893.1238947307

1184.1618558101

808.1198189085

890.8588262493

1190.158192302

806.9605949575

898.5541489627

1196.1423464079

811.5953179218

899.6844017221

1201.2913221702

817.1493370844

893.1238947307

1209.305646336

823.8493113921

893.1238947307

1215.25073279

827.3100350978

897.6496860146

1225.2681968939

831.6889396108

896.5187814034

1240.1276696702

838.5923524554

894.2558857615

1249.0467782967

841.8094835527

888.8190260977

1261.969964989

839.7416537732

888.8190260977

1263.7825295993

838.5923524554

893.1238947307

1270.8202380642

842.9577708788

895.3875146524

1269.8159375604

839.7416537732

897.6496860146

1252.0809736342

841.8094835527

900.8142923415

1243.1714255009

847.5472987842

899.6844017221

1273.6303528909

842.9577708788

897.6496860146

1310.6953035055

845.2532591113

901.943820821

1306.7338710338

840.8905929511

903.0729871607

1324.1208330066

846.4004600177

910.7417143202

1329.0398499357

846.4004600177

915.2449080746

1335.7151839067

845.2532591113

922.8870396803

1342.373772529

848.6937754108

928.2714035449

1351.9405173197

847.5472987842

930.5124259372

1348.0399243503

848.6937754108

933.8712434764

1363.2194705131

850.9856422443

942.588915746

1344.3289941162

857.6238644572

956.6247671931

1370.7761947076

857.6238644572

971.9313989937

1381.2029779537

863.1083527599

984.7444926667

1382.1662842215

865.3910936681

992.2329610721

1388.7071628923

866.5319209123

1007.3786723891

1397.1469721251

874.2799422233

1017.0007959508

1412.9911750271

873.1415775303

1046.5646014489

1414.8933793338

875.4179447763

1054.1295856008

1411.0875221609

874.2799422233

1059.3067475031

1400.9739782678

879.7390517622

1062.5382366553

1397.1469721251

886.5512053532

1068.7765405394

1395.2312962144

886.5512053532

1076.0748999856

1395.2312962144

888.8190260977

1084.4259273401

1395.2312962144

887.6852967954

1092.7549221033

1394.4646202534

888.8190260977

1097.0176549676

1398.1042668707

886.5512053532

1099.1468485603

1408.4199745681

891.9915415599

1105.3133183749

1409.3729960629

895.3875146524

1106.37527155

1419.4527595466

898.5541489627

1109.3468138562

1421.3500387506

895.3875146524

1107.4368625853

1421.3500387506

891.9915415599

1120.7818814832

1418.5035767347

899.6844017221

1144.3644006852

1426.843956838

912.9940354772

1165.8915042632

1428.7355866597

919.5175752281

1190.158192302

1433.4583237658

924.0094702179

1219.3436944715

1434.2131215382

931.6323939235

1223.2266411557

1430.6257679218

927.1503491389

1231.1805169302

1436.0991019775

930.5124259372

1230.1620205425

1444.3802070228

934.990125043

1231.1805169302

1447.1969011394

933.8712434764

1246.2119220725

1453.5693413023

954.4006929479

1257.9378428098

1453.5693413023

963.2882985712

1259.9546281792

1462.7236956663

958.8473928787

1258.9464165644

1472.7718833806

967.5017920659

1262.977090184

1472.7718833806

978.3440370232

1246.2119220725

1476.297311075

976.1341586619

1237.283890319

1480.743008332

975.0286762714

1233.2164232861

1473.5145132525

979.4484329941

1243.1714255009

1486.2883965707

985.8467882261

1252.0809736342

1481.6681450548

991.3528339249

1259.9546281792

1487.2113604541

994.4322649485

1271.8241764282

1489.7937327436

998.8265270226

1274.6332772631

1497.891276319

1010.4432991338

1286.4404360511

1501.5627071628

1045.6989019551

1289.2347326071

1500.6453926617

1054.1295856008

1299.986138055

1493.4779109118

1044.6164516619

1302.9651432724

1497.891276319

1026.594875399

1298.992412036

1497.891276319

1018.9655027738

1300.979501934

1497.891276319

1015.9087851643

1299.986138055

1509.6194593004

1015.9087851643

1300.979501934

1503.3962497454

1020.0564995685

1309.7054885974

1505.9607757809

1032.9029129413

1321.3622289586

1510.5332248306

1033.9892743453

1327.0733295837

1500.6453926617

1021.1471342233

1328.0567708297

1504.1292611817

1038.1141449649

1332.7722478228

1506.8759898706

1056.0719990919

1338.4589836758

1505.0451995513

1070.9248551186

1346.0874550263

1503.3962497454

1075.0026620375

1348.0399243503

1504.1292611817

1078.2182894623

1354.6674848264

1500.6453926617

1087.6319942716

1353.888640965

1498.8096772398

1091.6883335375

1353.888640965

1491.6365461075

1095.9525149613

1346.0874550263

1493.4779109118

1099.9981204007

1378.5037938197

1498.8096772398

1115.704844019

1385.0540301854

1488.8717828519

1121.8385474159

1372.710267325

1488.8717828519

1135.1215100214

1375.6086602019

1479.0768496383

1125.0063723745

1377.5391114203

1469.9849571634

1119.7248534106

1372.710267325

1474.4424746666

1117.6097108458

1374.6428913828

1472.7718833806

1120.7818814832

1374.6428913828

1474.4424746666

1117.6097108458

1376.574066881

1471.8432701148

1117.6097108458

1373.6767604239

1467.1947716871

1121.8385474159

1376.574066881

1467.1947716871

1145.4129546842

1373.6767604239

1463.6558579031

1154.6246144034

1373.6767604239

1463.6558579031

1153.5792472355

1375.6086602019

1471.8432701148

1155.6696194315

1374.6428913828

1470.914294709

1160.8892124734

1380.239309546

1465.3328373368

1166.9325981804

1393.5059493763

1467.1947716871

1177.1161541257

1393.5059493763

1463.6558579031

1185.1965760651

1392.5469163593

1475.3700739407

1185.1965760651

1394.4646202534

1469.9849571634

1183.1267734151

1406.5128451589

1477.2241860693

1184.1618558101

1401.9298244538

1469.9849571634

1182.0913288803

1403.6494349959

1472.7718833806

1184.1618558101

1397.1469721251

1469.0552574779

1186.2309341803

1400.017769942

1458.9914253201

1192.2230698494

1400.9739782678

1463.6558579031

1196.1423464079

1402.6942406618

1468.1251956524

1206.2258213718

1400.9739782678

1463.6558579031

1214.2265870199

1405.5587372445

1466.2639855819

1213.2020791099

1417.7439697445

1467.1947716871

1207.2527918331

1414.8933793338

1467.1947716871

1196.1423464079

1412.039529664

1463.6558579031

1202.320030903

1402.6942406618

1458.9914253201

1199.232818285

1409.3729960629

1455.440401578

1197.1728658401

1413.9424582504

1456.375388506

1198.2030231325

1410.3256554178

1458.0574523838

1196.1423464079

1410.3256554178

1454.5050525101

1196.1423464079

1410.3256554178

1455.440401578

1188.091866195

1402.6942406618

1457.310013294

1182.0913288803

1405.5587372445

1460.858284773

1181.0555222056

1407.4665909335

1470.914294709

1181.0555222056

1417.7439697445

1476.297311075

1187.0581599317

1416.7941350808

1473.5145132525

1199.232818285

1409.3729960629

1479.0768496383

1207.2527918331

1385.0540301854

1480.002638213

1216.2745164202

1385.0540301854

1480.743008332

1221.183636858

1358.5582275906

1485.3650705473

1222.2053200768

1358.5582275906

1480.743008332

1223.2266411557

1345.3060617

1479.0768496383

1223.2266411557

1336.6954383216

1478.1506989238

1226.2884315532

1341.3956185255

1469.9849571634

1228.327814452

1351.9405173197

1476.297311075

1235.2508810823

1360.5014261334

1479.0768496383

1241.142617087

1352.9147602123

1485.3650705473

1239.1123601135

1350.9659122872

1483.5173320808

1235.2508810823

1348.0399243503

1482.5929196378

1240.1276696702

1339.4382240989

1487.2113604541

1240.1276696702

1331.7905448483

1488.8717828519

1233.2164232861

1333.7535886573

1490.7153204955

1236.2675667706

1326.0895261979

1500.6453926617

1245.1987853552

1331.7905448483

1504.1292611817

1250.0585388824

1338.4589836758

1505.9607757809

1253.0916478002

1339.4382240989

1508.7053316304

1253.0916478002

1349.9909451148

1507.7908418204

1259.9546281792

1376.574066881

1512.1770901923

1273.6303528909

1381.2029779537

1512.1770901923

1273.6303528909

1385.0540301854

1510.5332248306

1273.6303528909

1365.1591925128

1512.1770901923

1266.8008632094

1353.888640965

1518.5587460236

1257.9378428098

1340.4171023822

1513.0898417308

1254.1019598263

1330.808479734

1510.5332248306

1259.9546281792

1328.0567708297

1514.0022311293

1280.4430972236

1322.1506912556

1520.1968750894

1285.4417849296

1329.0398499357

1516.7372264856

1289.2347326071

1324.1208330066

1522.0156423643

1310.6953035055

1317.4164409304

1518.5587460236

1318.4034311473

1314.4532974403

1515.8259235067

1317.4164409304

1316.4290885736

1520.1968750894

1326.0895261979

1303.9574207318

1516.7372264856

1324.1208330066

1301.9725036732

1517.6481673246

1330.808479734

1316.4290885736

1514.914258388

1335.7151839067

1313.4648586638

1511.4466282208

1334.734567352

1306.7338710338

1516.7372264856

1327.0733295837

1304.9493360512

1509.6194593004

1341.3956185255

1305.7426075661

1506.8759898706

1334.734567352

1301.9725036732

1507.7908418204

1324.1208330066

1303.9574207318

1504.1292611817

1332.7722478228

1309.7054885974

1503.3962497454

1332.7722478228

1306.7338710338

1500.6453926617

1319.3900592243

1314.4532974403

1501.5627071628

1323.135943201

1315.4413740769

1503.3962497454

1324.1208330066

1325.1053606722

1505.9607757809

1322.1506912556

1335.7151839067

1502.4796595241

1314.4532974403

1326.0895261979

1505.0451995513

1307.7247723615

1327.0733295837

1505.0451995513

1314.4532974403

1343.3515643926

1503.3962497454

1315.4413740769

1336.6954383216

1498.8096772398

1320.3763251614

1335.7151839067

1505.9607757809

1308.7153115494

1360.5014261334

1505.9607757809

1311.6847562736

1365.1591925128

1507.7908418204

1323.135943201

1351.9405173197

1505.0451995513

1321.3622289586

1342.373772529

1510.5332248306

1320.3763251614

1333.7535886573

1514.0022311293

1327.0733295837

1338.4589836758

1509.6194593004

1328.0567708297

1345.3060617

1510.5332248306

1327.0733295837

1342.373772529

1511.4466282208

1329.8260524798

1332.7722478228

1507.7908418204

1330.808479734

1355.6407137273

1505.0451995513

1331.7905448483

1346.0874550263

1497.891276319

1341.3956185255

1349.0156158025

1488.8717828519

1339.4382240989

1360.5014261334

1488.1339621977

1333.7535886573

1363.2194705131

1490.7153204955

1338.4589836758

1353.888640965

1490.7153204955

1338.4589836758

1356.6135804883

1501.5627071628

1336.6954383216

1370.002160064

1496.237242069

1339.4382240989

1369.0342908336

1496.237242069

1338.4589836758

1377.5391114203

1494.3980501041

1339.4382240989

1367.097465953

1493.4779109118

1342.373772529

1375.6086602019

1503.3962497454

1359.5300079319

1377.5391114203

1498.8096772398

1359.5300079319

1373.6767604239

1496.237242069

1367.097465953

1374.6428913828

1495.3178271565

1364.1895125829

1365.1591925128

1495.3178271565

1363.2194705131

1365.1591925128

1498.8096772398

1370.002160064

1365.1591925128

1500.6453926617

1393.5059493763

1367.097465953

1505.9607757809

1405.5587372445

1367.097465953

1506.8759898706

1410.3256554178

1365.1591925128

1499.7277160207

1414.8933793338

1368.0660594632

1505.0451995513

1422.2981351428

1372.710267325

1501.5627071628

1415.8439382772

1374.6428913828

1505.9607757809

1408.4199745681

1382.1662842215

1505.0451995513

1412.9911750271

1388.7071628923

1500.6453926617

1411.0875221609

1383.1292283493

1498.8096772398

1412.039529664

1392.5469163593

1501.5627071628

1410.3256554178

1404.6042671902

1501.5627071628

1421.3500387506

1410.3256554178

1498.8096772398

1423.2458693951

1413.9424582504

1494.3980501041

1437.0415489874

1420.4015802186

1478.1506989238

1441.7483519381

1415.8439382772

1469.0552574779

1442.5006002456

1421.3500387506

1467.1947716871

1458.0574523838

1424.1932415075

1465.3328373368

1456.375388506

1421.3500387506

1464.587658

1464.587658

1425.14025148

1472.7718833806

1451.696832467

1416.7941350808

1464.587658

1445.3194672015

1412.039529664

1465.3328373368

1442.5006002456

1415.8439382772

1467.1947716871

1444.3802070228

1410.3256554178

1462.7236956663

1449.8228750722

1408.4199745681

1464.587658

1444.3802070228

1402.6942406618

1464.587658

1441.7483519381

1400.017769942

1458.0574523838

1442.5006002456

1398.1042668707

1457.310013294

1448.1350748984

1400.017769942

1462.7236956663

1435.1562928278

1402.6942406618

1461.7911712896

1425.14025148

1400.017769942

1460.858284773

1425.14025148

1404.6042671902

1456.375388506

1433.4583237658

1406.5128451589

1453.5693413023

1427.7899528188

1402.6942406618

1452.6332679546

1446.2583652404

1402.6942406618

1446.2583652404

1458.0574523838

1401.9298244538

1449.0728865176

1464.587658

1409.3729960629

1447.1969011394

1468.1251956524

1409.3729960629

1451.696832467

1469.9849571634

1415.8439382772

1449.8228750722

1468.1251956524

1415.8439382772

1450.7600348396

1471.8432701148

1415.8439382772

1447.1969011394

1471.8432701148

1406.5128451589

1455.440401578

1475.3700739407

1414.8933793338

1462.7236956663

1465.3328373368

1415.8439382772

1461.7911712896

1474.4424746666

1413.9424582504

1452.6332679546

1470.914294709

1415.8439382772

1457.310013294

1476.297311075

1421.3500387506

1454.5050525101

1480.743008332

1422.2981351428

1458.0574523838

1483.5173320808

1419.4527595466

1448.1350748984

1474.4424746666

1424.1932415075

1448.1350748984

1481.6681450548

1426.0868993126

1448.1350748984

1479.0768496383

1426.0868993126

1436.0991019775

1488.1339621977

1428.7355866597

1440.8077156277

1489.7937327436

1429.6808583607

1442.5006002456

1485.3650705473

1425.14025148

1439.8667171775

1488.8717828519

1421.3500387506

1437.0415489874

1488.8717828519

1424.1932415075

1436.0991019775

1491.6365461075

1414.8933793338

1442.5006002456

1488.1339621977

1412.039529664

1437.0415489874

1485.3650705473

1411.0875221609

1443.4405847042

1488.1339621977

1410.3256554178

1445.3194672015

1490.7153204955

1420.4015802186

1439.8667171775

1491.6365461075

1417.7439697445

1442.5006002456

1492.5574095796

1413.9424582504

1448.1350748984

1490.7153204955

1418.5035767347

1443.4405847042

1488.1339621977

1419.4527595466

1446.2583652404

1487.2113604541

1421.3500387506

1449.0728865176

1488.8717828519

1423.2458693951

1449.0728865176

1481.6681450548

1422.2981351428

1441.7483519381

1483.5173320808

1420.4015802186

1438.9253565873

1483.5173320808

1425.14025148

1437.0415489874

1481.6681450548

1419.4527595466

1438.9253565873

1476.297311075

1416.7941350808

1439.8667171775

1471.8432701148

1422.2981351428

1441.7483519381

1469.9849571634

1425.14025148

1441.7483519381

1478.1506989238

1422.2981351428

1434.2131215382

1476.297311075

1425.14025148

1437.0415489874

1474.4424746666

1422.2981351428

1437.0415489874

1476.297311075

1420.4015802186

1441.7483519381

1469.9849571634

1413.9424582504

1447.1969011394

1470.914294709

1412.039529664

1451.696832467

1468.1251956524

1408.4199745681

1450.7600348396

1469.9849571634

1406.5128451589

1451.696832467

1471.8432701148

1400.9739782678

1447.1969011394

1467.1947716871

1397.1469721251

1457.310013294

1467.1947716871

1400.017769942

1460.858284773

1463.6558579031

1400.017769942

1470.914294709

1457.310013294

1403.6494349959

1468.1251956524

1449.0728865176

1399.0611994763

1472.7718833806

1446.2583652404

1402.6942406618

1471.8432701148

1443.4405847042

1436.0991019775

1468.1251956524

1436.0991019775

1448.1350748984

1470.914294709

1435.1562928278

1449.0728865176

1468.1251956524

1434.2131215382

1457.310013294

1467.1947716871

1438.9253565873

1459.9250361165

1465.3328373368

1437.9836338573

1457.310013294

1464.587658

1439.8667171775

1455.440401578

1462.7236956663

1447.1969011394

1457.310013294

1465.3328373368

1451.696832467

1457.310013294

1464.587658

1477.2241860693

1455.440401578

1468.1251956524

1476.297311075

1457.310013294

1467.1947716871

1474.4424746666

1452.6332679546

1470.914294709

1473.5145132525

1449.8228750722

1471.8432701148

1469.0552574779

1446.2583652404

1472.7718833806

1469.9849571634

1449.0728865176

1474.4424746666

1469.9849571634

1448.1350748984

1472.7718833806

1469.0552574779

1453.5693413023

1470.914294709

1469.0552574779

1455.440401578

1469.9849571634

1468.1251956524

1453.5693413023

1470.914294709

1469.0552574779

1457.310013294

1472.7718833806

1469.9849571634

1458.9914253201

1468.1251956524

1464.587658

1456.375388506

1467.1947716871

1467.1947716871

1458.9914253201

1464.587658

1467.1947716871

1456.375388506

1467.1947716871

1468.1251956524

1457.310013294

1465.3328373368

1467.1947716871

1459.9250361165

1466.2639855819

1463.6558579031

1454.5050525101

1464.587658

1468.1251956524

1457.310013294

1464.587658

1464.587658

1457.310013294

1464.587658

1465.3328373368

1458.0574523838

1467.1947716871

1467.1947716871

1457.310013294

1467.1947716871

1467.1947716871

1458.9914253201

1460.858284773

1465.3328373368

1460.858284773

1458.0574523838

1463.6558579031

1462.7236956663

1453.5693413023

1461.7911712896

1464.587658

1452.6332679546

1457.310013294

1464.587658

1454.5050525101

1457.310013294

1460.858284773

1457.310013294

1455.440401578

1454.5050525101

1463.6558579031

1449.8228750722

1450.7600348396

1462.7236956663

1441.7483519381

1451.696832467

1461.7911712896

1439.8667171775

1448.1350748984

1460.858284773

1435.1562928278

1447.1969011394

1462.7236956663

1433.4583237658

1447.1969011394

1458.9914253201

1437.9836338573

1445.3194672015

1456.375388506

1438.9253565873

1446.2583652404

1453.5693413023

1448.1350748984

1447.1969011394

1445.3194672015

1442.5006002456

1449.0728865176

1437.0415489874

1443.4405847042

1445.3194672015

1437.9836338573

1450.7600348396

1448.1350748984

1429.6808583607

1451.696832467

1449.0728865176

1420.4015802186

1450.7600348396

1445.3194672015

1424.1932415075

1441.7483519381

1447.1969011394

1426.0868993126

1439.8667171775

1445.3194672015

1422.2981351428

1438.9253565873

1445.3194672015

1423.2458693951

1432.5145006243

1439.8667171775

1422.2981351428

1426.0868993126

1442.5006002456

1428.7355866597

1426.0868993126

1438.9253565873

1431.570315343

1434.2131215382

1437.0415489874

1436.0991019775

1437.9836338573

1432.5145006243

1431.570315343

1424.1932415075

1437.0415489874

1435.1562928278

1435.1562928278

1437.0415489874

1432.5145006243

1435.1562928278

1437.0415489874

1430.6257679218

1437.9836338573

1431.570315343

1426.0868993126

1439.8667171775

1434.2131215382

1427.7899528188

1445.3194672015

1434.2131215382

1427.7899528188

1446.2583652404

1439.8667171775

1426.843956838

1451.696832467

1441.7483519381

1428.7355866597

1449.8228750722

1443.4405847042

1429.6808583607

1449.0728865176

1443.4405847042

1434.2131215382

1446.2583652404

1439.8667171775

1428.7355866597

1449.8228750722

1443.4405847042

1426.843956838

1448.1350748984

1444.3802070228

1421.3500387506

1445.3194672015

1444.3802070228

1418.5035767347

1445.3194672015

1444.3802070228

1420.4015802186

1454.5050525101

1447.1969011394

1426.0868993126

1460.858284773

1450.7600348396

1422.2981351428

1458.9914253201

1453.5693413023

1412.9911750271

1460.858284773

1452.6332679546

1415.8439382772

1461.7911712896

1452.6332679546

1420.4015802186

1462.7236956663

1449.0728865176

1419.4527595466

1460.858284773

1454.5050525101

1418.5035767347

1461.7911712896

1453.5693413023

1416.7941350808

1459.9250361165

1454.5050525101

1421.3500387506

1458.9914253201

1453.5693413023

1421.3500387506

1459.9250361165

1454.5050525101

1420.4015802186

1460.858284773

1452.6332679546

1419.4527595466

1461.7911712896

1454.5050525101

1421.3500387506

1466.2639855819

1452.6332679546

1422.2981351428

1467.1947716871

1454.5050525101

1421.3500387506

1467.1947716871

1451.696832467

1419.4527595466

1457.310013294

1450.7600348396

1416.7941350808

1454.5050525101

1451.696832467

1408.4199745681

1452.6332679546

1454.5050525101

1408.4199745681

1450.7600348396

1452.6332679546

1408.4199745681

1450.7600348396

1454.5050525101

1408.4199745681

1451.696832467

1455.440401578

1411.0875221609

1452.6332679546

1457.310013294

1412.039529664

1456.375388506

1452.6332679546

1416.7941350808

1460.858284773

1458.0574523838

1414.8933793338

1461.7911712896

1453.5693413023

1414.8933793338

1463.6558579031

1457.310013294

1413.9424582504

1466.2639855819

1452.6332679546

1415.8439382772

1469.9849571634

1451.696832467

1419.4527595466

1468.1251956524

1449.8228750722

1418.5035767347

1471.8432701148

1445.3194672015

1419.4527595466

1475.3700739407

1447.1969011394

1419.4527595466

1471.8432701148

1444.3802070228

1418.5035767347

1469.0552574779

1446.2583652404

1422.2981351428

1464.587658

1442.5006002456

1424.1932415075

1465.3328373368

1448.1350748984

1426.0868993126

1461.7911712896

1446.2583652404

1423.2458693951

1461.7911712896

1442.5006002456

1421.3500387506

1461.7911712896

1443.4405847042

1414.8933793338

1460.858284773

1440.8077156277

1413.9424582504

1453.5693413023

1442.5006002456

1412.9911750271

1444.3802070228

1443.4405847042

1412.9911750271

1447.1969011394

1435.1562928278

1412.039529664

1448.1350748984

1437.0415489874

1406.5128451589

1450.7600348396

1433.4583237658

1407.4665909335

1449.0728865176

1437.0415489874

1409.3729960629

1450.7600348396

1440.8077156277

1409.3729960629

1449.0728865176

1431.570315343

1410.3256554178

1455.440401578

1435.1562928278

1412.9911750271

1450.7600348396

1433.4583237658

1412.9911750271

1450.7600348396

1431.570315343

1413.9424582504

1449.0728865176

1433.4583237658

1418.5035767347

1445.3194672015

1427.7899528188

1415.8439382772

1443.4405847042

1432.5145006243

1410.3256554178

1442.5006002456

1436.0991019775

1411.0875221609

1429.6808583607

1437.9836338573

1410.3256554178

1433.4583237658

1434.2131215382

1411.0875221609

1433.4583237658

1439.8667171775

1411.0875221609

1424.1932415075

1439.8667171775

1415.8439382772

1425.14025148

1435.1562928278

1410.3256554178

1426.0868993126

1438.9253565873

1410.3256554178

1426.843956838

1442.5006002456

1409.3729960629

1426.0868993126

1437.9836338573

1410.3256554178

1426.843956838

1427.7899528188

1406.5128451589

1429.6808583607

1426.843956838

1407.4665909335

1435.1562928278

1433.4583237658

1412.9911750271

1438.9253565873

1431.570315343

1412.039529664

1450.7600348396

1430.6257679218

1412.039529664

1452.6332679546

1430.6257679218

1418.5035767347

1458.0574523838

1425.14025148

1417.7439697445

1459.9250361165

1429.6808583607

1416.7941350808

1461.7911712896

1432.5145006243

1412.9911750271

1459.9250361165

1431.570315343

1415.8439382772

1461.7911712896

1434.2131215382

1417.7439697445

1458.9914253201

1432.5145006243

1415.8439382772

1458.9914253201

1437.0415489874

1412.039529664

1458.0574523838

1441.7483519381

1415.8439382772

1455.440401578

1438.9253565873

1411.0875221609

1456.375388506

1435.1562928278

1416.7941350808

1449.8228750722

1427.7899528188

1413.9424582504

1449.8228750722

1429.6808583607

1415.8439382772

1452.6332679546

1426.0868993126

1417.7439697445

1453.5693413023

1425.14025148

1419.4527595466

1455.440401578

1427.7899528188

1420.4015802186

1449.8228750722

1424.1932415075

1418.5035767347

1449.8228750722

1425.14025148

1417.7439697445

1445.3194672015

1428.7355866597

1420.4015802186

1452.6332679546

1428.7355866597

1416.7941350808

1440.8077156277

1431.570315343

1418.5035767347

1437.9836338573

1429.6808583607

1419.4527595466

1439.8667171775

1429.6808583607

1417.7439697445

1441.7483519381

1426.0868993126

1423.2458693951

1445.3194672015

1432.5145006243

1421.3500387506

1446.2583652404

1433.4583237658

1424.1932415075

1445.3194672015

1437.0415489874

1425.14025148

1450.7600348396

1446.2583652404

1421.3500387506

1446.2583652404

1441.7483519381

1413.9424582504

1444.3802070228

1441.7483519381

1418.5035767347

1448.1350748984

1440.8077156277

1417.7439697445

1444.3802070228

1437.0415489874

1412.039529664

1444.3802070228

1438.9253565873

1410.3256554178

1440.8077156277

1438.9253565873

1416.7941350808

1440.8077156277

1439.8667171775

1414.8933793338

1442.5006002456

1439.8667171775

1408.4199745681

1437.9836338573

1432.5145006243

1406.5128451589

1444.3802070228

1435.1562928278

1409.3729960629

1446.2583652404

1436.0991019775

1402.6942406618

1442.5006002456

1437.0415489874

1404.6042671902

1441.7483519381

1438.9253565873

1406.5128451589

1440.8077156277

1437.9836338573

1405.5587372445

1442.5006002456

1438.9253565873

1410.3256554178

1442.5006002456

1434.2131215382

1421.3500387506

1438.9253565873

1435.1562928278

1421.3500387506

1441.7483519381

1432.5145006243

1421.3500387506

1444.3802070228

1434.2131215382

1418.5035767347

1443.4405847042

1436.0991019775

1419.4527595466

1444.3802070228

1428.7355866597

1412.9911750271

1439.8667171775

1433.4583237658

1412.039529664

1441.7483519381

1423.2458693951

1412.9911750271

1445.3194672015

1427.7899528188

1410.3256554178

1446.2583652404

1426.843956838

1405.5587372445

1448.1350748984

1423.2458693951

1415.8439382772

1448.1350748984

1426.843956838

1416.7941350808

1446.2583652404

1424.1932415075

1411.0875221609

1447.1969011394

1429.6808583607

1407.4665909335

1451.696832467

1430.6257679218

1413.9424582504

1451.696832467

1427.7899528188

1409.3729960629

1455.440401578

1427.7899528188

1412.9911750271

1457.310013294

1427.7899528188

1405.5587372445

1456.375388506

1423.2458693951

1408.4199745681

1452.6332679546

1425.14025148

1407.4665909335

1455.440401578

1418.5035767347

1403.6494349959

1457.310013294

1420.4015802186

1400.9739782678

1458.0574523838

1425.14025148

1408.4199745681

1458.0574523838

1424.1932415075

1405.5587372445

1456.375388506

1419.4527595466

1403.6494349959

1456.375388506

1412.9911750271

1405.5587372445

1458.0574523838

1411.0875221609

1405.5587372445

1461.7911712896

1410.3256554178

1405.5587372445

1458.9914253201

1420.4015802186

1401.9298244538

1453.5693413023

1417.7439697445

1404.6042671902

1456.375388506

1425.14025148

1401.9298244538

1458.9914253201

1423.2458693951

1401.9298244538

1458.0574523838

1418.5035767347

1397.1469721251

1458.9914253201

1419.4527595466

1397.1469721251

1454.5050525101

1418.5035767347

1400.9739782678

1458.9914253201

1422.2981351428

1394.4646202534

1461.7911712896

1419.4527595466

1391.5875212024

1463.6558579031

1420.4015802186

1389.6676444689

1457.310013294

1421.3500387506

1396.1893152397

1461.7911712896

1414.8933793338

1397.1469721251

1458.9914253201

1414.8933793338

1399.0611994763

1458.9914253201

1413.9424582504

1395.2312962144

1460.858284773

1412.039529664

1401.9298244538

1459.9250361165

1415.8439382772

1400.017769942

1461.7911712896

1412.9911750271

1397.1469721251

1465.3328373368

1417.7439697445

1400.017769942

1462.7236956663

1414.8933793338

1394.4646202534

1462.7236956663

1418.5035767347

1398.1042668707

1463.6558579031

1416.7941350808

1396.1893152397

1460.858284773

1415.8439382772

1389.6676444689

1458.0574523838

1417.7439697445

1388.7071628923

1458.9914253201

1420.4015802186

1394.4646202534

1458.9914253201

1418.5035767347

1391.5875212024

1457.310013294

1426.843956838

1381.2029779537

1458.9914253201

1424.1932415075

1386.7851133194

1454.5050525101

1420.4015802186

1386.0158878936

1453.5693413023

1424.1932415075

1383.1292283493

1453.5693413023

1419.4527595466

1378.5037938197

1456.375388506

1420.4015802186

1375.6086602019

1453.5693413023

1418.5035767347

1383.1292283493

1452.6332679546

1423.2458693951

1385.0540301854

1446.2583652404

1421.3500387506

1378.5037938197

1443.4405847042

1424.1932415075

1384.0918103373

1442.5006002456

1426.0868993126

1383.1292283493

1441.7483519381

1424.1932415075

1384.0918103373

1448.1350748984

1419.4527595466

1379.2752789985

1447.1969011394

1423.2458693951

1385.0540301854

1447.1969011394

1421.3500387506

1383.1292283493

1453.5693413023

1417.7439697445

1384.0918103373

1449.0728865176

1421.3500387506

1386.0158878936

1449.0728865176

1417.7439697445

1386.0158878936

1451.696832467

1419.4527595466

1373.6767604239

1449.8228750722

1416.7941350808

1384.0918103373

1451.696832467

1417.7439697445

1379.2752789985

1452.6332679546

1418.5035767347

1383.1292283493

1448.1350748984

1421.3500387506

1382.1662842215

1449.0728865176

1426.0868993126

1375.6086602019

1448.1350748984

1427.7899528188

1387.7463191758

1452.6332679546

1424.1932415075

1386.0158878936

1454.5050525101

1426.843956838

1389.6676444689

1450.7600348396

1435.1562928278

1398.1042668707

1452.6332679546

1432.5145006243

1388.7071628923

1451.696832467

1429.6808583607

1386.0158878936

1449.8228750722

1429.6808583607

1392.5469163593

1448.1350748984

1429.6808583607

1390.6277639056

1450.7600348396

1428.7355866597

1391.5875212024

1450.7600348396

1428.7355866597

1397.1469721251

1455.440401578

1426.0868993126

1399.0611994763

1449.8228750722

1432.5145006243

1398.1042668707

1449.0728865176

1430.6257679218

1399.0611994763

1451.696832467

1429.6808583607

1396.1893152397

1448.1350748984

1427.7899528188

1390.6277639056

1447.1969011394

1438.9253565873

1389.6676444689

1446.2583652404

1441.7483519381

1392.5469163593

1449.0728865176

1435.1562928278

1388.7071628923

1451.696832467

1435.1562928278

1385.0540301854

1450.7600348396

1437.0415489874

1386.7851133194

1453.5693413023

1433.4583237658

1392.5469163593

1449.8228750722

1436.0991019775

1386.7851133194

1447.1969011394

1426.843956838

1384.0918103373

1446.2583652404

1431.570315343

1383.1292283493

1449.8228750722

1427.7899528188

1386.7851133194

1453.5693413023

1431.570315343

1386.7851133194

1457.310013294

1429.6808583607

1390.6277639056

1454.5050525101

1427.7899528188

1393.5059493763

1459.9250361165

1433.4583237658

1385.0540301854

1453.5693413023

1434.2131215382

1386.7851133194

1458.0574523838

1432.5145006243

1388.7071628923

1457.310013294

1430.6257679218

1385.0540301854

1455.440401578

1437.0415489874

1384.0918103373

1458.0574523838

1436.0991019775

1386.0158878936

1452.6332679546

1442.5006002456

1388.7071628923

1451.696832467

1439.8667171775

1389.6676444689

1454.5050525101

1435.1562928278

1389.6676444689

1450.7600348396

1428.7355866597

1392.5469163593

1453.5693413023

1430.6257679218

1390.6277639056

1454.5050525101

1429.6808583607

1389.6676444689

1454.5050525101

1432.5145006243

1389.6676444689

1454.5050525101

1436.0991019775

1385.0540301854

1452.6332679546

1438.9253565873

1391.5875212024

1449.0728865176

1437.9836338573

1391.5875212024

1454.5050525101

1439.8667171775

1387.7463191758

1454.5050525101

1435.1562928278

1388.7071628923

1452.6332679546

1432.5145006243

1386.0158878936

1456.375388506

1432.5145006243

1386.0158878936

1455.440401578

1431.570315343

1387.7463191758

1455.440401578

1432.5145006243

1390.6277639056

1454.5050525101

1431.570315343

1390.6277639056

1452.6332679546

1430.6257679218

1390.6277639056

1448.1350748984

1429.6808583607

1384.0918103373

1449.8228750722

1429.6808583607

1386.7851133194

1453.5693413023

1429.6808583607

1386.7851133194

1448.1350748984

1433.4583237658

1381.2029779537

1445.3194672015

1428.7355866597

1382.1662842215

1442.5006002456

1427.7899528188

1386.0158878936

1445.3194672015

1429.6808583607

1378.5037938197

1445.3194672015

1427.7899528188

1376.574066881

1437.9836338573

1426.0868993126

1377.5391114203

1440.8077156277

1424.1932415075

1373.6767604239

1443.4405847042

1422.2981351428

1374.6428913828

1440.8077156277

1421.3500387506

1376.574066881

1445.3194672015

1425.14025148

1376.574066881

1444.3802070228

1424.1932415075

1378.5037938197

1440.8077156277

1421.3500387506

1376.574066881

1443.4405847042

1421.3500387506

1368.0660594632

1430.6257679218

1421.3500387506

1364.1895125829

1434.2131215382

1426.0868993126

1368.0660594632

1433.4583237658

1429.6808583607

1369.0342908336

1432.5145006243

1428.7355866597

1366.1285103029

1428.7355866597

1423.2458693951

1367.097465953

1427.7899528188

1424.1932415075

1369.0342908336

1431.570315343

1431.570315343

1365.1591925128

1435.1562928278

1428.7355866597

1370.7761947076

1436.0991019775

1435.1562928278

1370.7761947076

1438.9253565873

1438.9253565873

1375.6086602019

1433.4583237658

1438.9253565873

1381.2029779537

1434.2131215382

1437.0415489874

1384.0918103373

1434.2131215382

1439.8667171775

1386.0158878936

1433.4583237658

1439.8667171775

1384.0918103373

1433.4583237658

1436.0991019775

1382.1662842215

1433.4583237658

1437.9836338573

1380.239309546

1434.2131215382

1434.2131215382

1381.2029779537

1434.2131215382

1435.1562928278

1375.6086602019

1430.6257679218

1434.2131215382

1371.7434120863

1433.4583237658

1432.5145006243

1374.6428913828

1428.7355866597

1435.1562928278

1377.5391114203

1432.5145006243

1439.8667171775

1376.574066881

1435.1562928278

1443.4405847042

1374.6428913828

1435.1562928278

1438.9253565873

1379.2752789985

1434.2131215382

1436.0991019775

1384.0918103373

1436.0991019775

1435.1562928278

1383.1292283493

1435.1562928278

1429.6808583607

1384.0918103373

1435.1562928278

1433.4583237658

1382.1662842215

1438.9253565873

1426.0868993126

1382.1662842215

1440.8077156277

1425.14025148

1383.1292283493

1440.8077156277

1423.2458693951

1385.0540301854

1442.5006002456

1425.14025148

1385.0540301854

1437.9836338573

1420.4015802186

1382.1662842215

1437.9836338573

1427.7899528188

1386.0158878936

1442.5006002456

1423.2458693951

1393.5059493763

1445.3194672015

1423.2458693951

1390.6277639056

1449.0728865176

1424.1932415075

1387.7463191758

1448.1350748984

1420.4015802186

1386.7851133194

1451.696832467

1422.2981351428

1386.0158878936

1451.696832467

1420.4015802186

1386.0158878936

1449.8228750722

1423.2458693951

1389.6676444689

1453.5693413023

1420.4015802186

1389.6676444689

1450.7600348396

1416.7941350808

1388.7071628923

1449.0728865176

1413.9424582504

1388.7071628923

1447.1969011394

1413.9424582504

1387.7463191758

1449.0728865176

1412.039529664

1385.0540301854

1449.0728865176

1410.3256554178

1381.2029779537

1448.1350748984

1409.3729960629

1377.5391114203

1449.0728865176

1412.039529664

1379.2752789985

1448.1350748984

1407.4665909335

1375.6086602019

1448.1350748984

1412.039529664

1372.710267325

1449.0728865176

1402.6942406618

1376.574066881

1451.696832467

1401.9298244538

1374.6428913828

1450.7600348396

1408.4199745681

1379.2752789985

1452.6332679546

1408.4199745681

1379.2752789985

1452.6332679546

1412.039529664

1376.574066881

1451.696832467

1415.8439382772

1377.5391114203

1449.8228750722

1419.4527595466

1373.6767604239

1449.0728865176

1423.2458693951

1371.7434120863

1448.1350748984

1417.7439697445

1372.710267325

1449.8228750722

1418.5035767347

1372.710267325

1448.1350748984

1417.7439697445

1376.574066881

1443.4405847042

1421.3500387506

1381.2029779537

1448.1350748984

1422.2981351428

1379.2752789985

1449.0728865176

1414.8933793338

1374.6428913828

1441.7483519381

1415.8439382772

1377.5391114203

1438.9253565873

1414.8933793338

1375.6086602019

1441.7483519381

1412.9911750271

1378.5037938197

1440.8077156277

1408.4199745681

1377.5391114203

1442.5006002456

1406.5128451589

1376.574066881

1437.0415489874

1398.1042668707

1374.6428913828

1440.8077156277

1398.1042668707

1376.574066881

1442.5006002456

1400.017769942

1378.5037938197

1440.8077156277

1398.1042668707

1377.5391114203

1439.8667171775

1400.9739782678

1378.5037938197

1431.570315343

1403.6494349959

1373.6767604239

1426.0868993126

1402.6942406618

1376.574066881

1422.2981351428

1407.4665909335

1375.6086602019

1423.2458693951

1403.6494349959

1378.5037938197

1427.7899528188

1402.6942406618

1376.574066881

1424.1932415075

1415.8439382772

1373.6767604239

1428.7355866597

1416.7941350808

1374.6428913828

1426.843956838

1412.9911750271

1378.5037938197

1435.1562928278

1415.8439382772

1377.5391114203

1437.0415489874

1413.9424582504

1379.2752789985

1438.9253565873

1420.4015802186

1376.574066881

1440.8077156277

1412.9911750271

1379.2752789985

1442.5006002456

1415.8439382772

1377.5391114203

1441.7483519381

1411.0875221609

1376.574066881

1441.7483519381

1406.5128451589

1378.5037938197

1439.8667171775

1409.3729960629

1381.2029779537

1446.2583652404

1409.3729960629

1381.2029779537

1441.7483519381

1413.9424582504

1386.0158878936

1444.3802070228

1412.039529664

1381.2029779537

1445.3194672015

1404.6042671902

1376.574066881

1443.4405847042

1403.6494349959

1380.239309546

1439.8667171775

1402.6942406618

1382.1662842215

1430.6257679218

1405.5587372445

1376.574066881

1429.6808583607

1405.5587372445

1373.6767604239

1426.0868993126

1402.6942406618

1376.574066881

1422.2981351428

1410.3256554178

1374.6428913828

1417.7439697445

1410.3256554178

1370.7761947076

1409.3729960629

1413.9424582504

1372.710267325

1412.039529664

1415.8439382772

1372.710267325

1412.9911750271

1408.4199745681

1372.710267325

1411.0875221609

1411.0875221609

1370.7761947076

1409.3729960629

1412.9911750271

1373.6767604239

1409.3729960629

1417.7439697445

1365.1591925128

1419.4527595466

1415.8439382772

1370.002160064

1417.7439697445

1417.7439697445

1373.6767604239

1412.039529664

1423.2458693951

1373.6767604239

1414.8933793338

1418.5035767347

1371.7434120863

1417.7439697445

1414.8933793338

1375.6086602019

1419.4527595466

1418.5035767347

1376.574066881

1418.5035767347

1419.4527595466

1371.7434120863

1423.2458693951

1421.3500387506

1369.0342908336

1423.2458693951

1421.3500387506

1367.097465953

1421.3500387506

1421.3500387506

1370.7761947076

1422.2981351428

1418.5035767347

1376.574066881

1425.14025148

1416.7941350808

1380.239309546

1426.0868993126

1415.8439382772

1377.5391114203

1424.1932415075

1414.8933793338

1379.2752789985

1421.3500387506

1412.9911750271

1379.2752789985

1418.5035767347

1410.3256554178

1377.5391114203

1426.0868993126

1412.9911750271

1375.6086602019

1424.1932415075

1415.8439382772

1377.5391114203

1423.2458693951

1417.7439697445

1378.5037938197

1421.3500387506

1412.9911750271

1379.2752789985

1422.2981351428

1413.9424582504

1379.2752789985

1417.7439697445

1414.8933793338

1376.574066881

1424.1932415075

1416.7941350808

1375.6086602019

1427.7899528188

1420.4015802186

1370.7761947076

1424.1932415075

1421.3500387506

1370.002160064

1430.6257679218

1420.4015802186

1372.710267325

1431.570315343

1419.4527595466

1371.7434120863

1430.6257679218

1417.7439697445

1370.002160064

1432.5145006243

1415.8439382772

1370.7761947076

1431.570315343

1415.8439382772

1370.002160064

1432.5145006243

1415.8439382772

1368.0660594632

1427.7899528188

1421.3500387506

1364.1895125829

1429.6808583607

1416.7941350808

1366.1285103029

1429.6808583607

1411.0875221609

1369.0342908336

1432.5145006243

1412.9911750271

1367.097465953

1431.570315343

1412.9911750271

1368.0660594632

1435.1562928278

1411.0875221609

1370.002160064

1438.9253565873

1415.8439382772

1362.2490663034

1436.0991019775

1418.5035767347

1357.5860851094

1424.1932415075

1415.8439382772

1370.7761947076

1431.570315343

1413.9424582504

1372.710267325

1422.2981351428

1408.4199745681

1370.002160064

1416.7941350808

1404.6042671902

1366.1285103029

1422.2981351428

1400.9739782678

1367.097465953

1426.843956838

1400.9739782678

1369.0342908336

1431.570315343

1400.017769942

1370.002160064

1424.1932415075

1405.5587372445

1368.0660594632

1426.0868993126

1400.9739782678

1367.097465953

1426.843956838

1394.4646202534

1368.0660594632

1428.7355866597

1391.5875212024

1370.002160064

1428.7355866597

1394.4646202534

1370.002160064

1426.843956838

1393.5059493763

1374.6428913828

1424.1932415075

1403.6494349959

1375.6086602019

1427.7899528188

1408.4199745681

1373.6767604239

1431.570315343

1405.5587372445

1373.6767604239

1434.2131215382

1405.5587372445

1370.002160064

1431.570315343

1405.5587372445

1369.0342908336

1433.4583237658

1405.5587372445

1377.5391114203

1427.7899528188

1409.3729960629

1373.6767604239

1430.6257679218

1403.6494349959

1375.6086602019

1427.7899528188

1404.6042671902

1370.7761947076

1423.2458693951

1405.5587372445

1372.710267325

1425.14025148

1408.4199745681

1366.1285103029

1427.7899528188

1407.4665909335

1370.7761947076

1427.7899528188

1404.6042671902

1369.0342908336

1436.0991019775

1404.6042671902

1369.0342908336

1434.2131215382

1404.6042671902

1370.002160064

1429.6808583607

1404.6042671902

1369.0342908336

1430.6257679218

1404.6042671902

1370.7761947076

1432.5145006243

1408.4199745681

1370.7761947076

1432.5145006243

1406.5128451589

1370.7761947076

1429.6808583607

1409.3729960629

1375.6086602019

1413.9424582504

1407.4665909335

1372.710267325

1411.0875221609

1408.4199745681

1373.6767604239

1404.6042671902

1408.4199745681

1373.6767604239

1404.6042671902

1411.0875221609

1376.574066881

1405.5587372445

1412.9911750271

1374.6428913828

1407.4665909335

1414.8933793338

1374.6428913828

1407.4665909335

1415.8439382772

1369.0342908336

1409.3729960629

1412.9911750271

1372.710267325

1417.7439697445

1413.9424582504

1370.002160064

1416.7941350808

1412.039529664

1370.7761947076

1419.4527595466

1413.9424582504

1377.5391114203

1419.4527595466

1413.9424582504

1375.6086602019

1415.8439382772

1411.0875221609

1377.5391114203

1415.8439382772

1414.8933793338

1371.7434120863

1416.7941350808

1415.8439382772

1376.574066881

1419.4527595466

1415.8439382772

1375.6086602019

1417.7439697445

1415.8439382772

1375.6086602019

1418.5035767347

1412.9911750271

1368.0660594632

1409.3729960629

1416.7941350808

1367.097465953

1408.4199745681

1410.3256554178

1368.0660594632

1406.5128451589

1410.3256554178

1366.1285103029

1412.9911750271

1417.7439697445

1366.1285103029

1417.7439697445

1412.9911750271

1370.7761947076

1408.4199745681

1408.4199745681

1368.0660594632

1410.3256554178

1412.039529664

1370.002160064

1412.9911750271

1405.5587372445

1374.6428913828

1416.7941350808

1400.9739782678

1371.7434120863

1414.8933793338

1403.6494349959

1369.0342908336

1417.7439697445

1407.4665909335

1367.097465953

1413.9424582504

1409.3729960629

1367.097465953

1413.9424582504

1412.9911750271

1367.097465953

1421.3500387506

1402.6942406618

1366.1285103029

1416.7941350808

1410.3256554178

1365.1591925128

1419.4527595466

1404.6042671902

1359.5300079319

1418.5035767347

1417.7439697445

1362.2490663034

1419.4527595466

1412.9911750271

1361.4724821949

1418.5035767347

1420.4015802186

1369.0342908336

1426.0868993126

1416.7941350808

1367.097465953

1425.14025148

1420.4015802186

1369.0342908336

1431.570315343

1421.3500387506

1365.1591925128

1426.843956838

1415.8439382772

1362.2490663034

1434.2131215382

1417.7439697445

1361.4724821949

1440.8077156277

1416.7941350808

1365.1591925128

1434.2131215382

1414.8933793338

1358.5582275906

1434.2131215382

1411.0875221609

1361.4724821949

1437.0415489874

1410.3256554178

1365.1591925128

1433.4583237658

1411.0875221609

1367.097465953

1437.9836338573

1410.3256554178

1371.7434120863

1435.1562928278

1406.5128451589

1373.6767604239

1433.4583237658

1412.039529664

1369.0342908336

1436.0991019775

1410.3256554178

1371.7434120863

1430.6257679218

1412.9911750271

1370.002160064

1432.5145006243

1414.8933793338

1365.1591925128

1433.4583237658

1414.8933793338

1370.7761947076

1428.7355866597

1416.7941350808

1365.1591925128

1426.843956838

1413.9424582504

1370.002160064

1428.7355866597

1418.5035767347

1365.1591925128

1429.6808583607

1422.2981351428

1373.6767604239

1426.843956838

1421.3500387506

1363.2194705131

1423.2458693951

1426.843956838

1364.1895125829

1418.5035767347

1424.1932415075

1364.1895125829

1421.3500387506

1420.4015802186

1361.4724821949

1418.5035767347

1419.4527595466

1364.1895125829

1417.7439697445

1413.9424582504

1368.0660594632

1416.7941350808

1413.9424582504

1367.097465953

1417.7439697445

1417.7439697445

1366.1285103029

1419.4527595466

1412.9911750271

1367.097465953

1429.6808583607

1412.9911750271

1370.002160064

1430.6257679218

1412.9911750271

1370.7761947076

1437.9836338573

1408.4199745681

1365.1591925128

1432.5145006243

1412.9911750271

1375.6086602019

1432.5145006243

1411.0875221609

1369.0342908336

1429.6808583607

1415.8439382772

1370.7761947076

1434.2131215382

1408.4199745681

1368.0660594632

1433.4583237658

1411.0875221609

1369.0342908336

1437.0415489874

1413.9424582504

1365.1591925128

1437.0415489874

1412.039529664

1371.7434120863

1437.0415489874

1407.4665909335

1370.7761947076

1433.4583237658

1409.3729960629

1374.6428913828

1432.5145006243

1406.5128451589

1376.574066881

1436.0991019775

1402.6942406618

1363.2194705131

1431.570315343

1406.5128451589

1370.7761947076

1430.6257679218

1406.5128451589

1374.6428913828

1420.4015802186

1401.9298244538

1372.710267325

1429.6808583607

1408.4199745681

1374.6428913828

1427.7899528188

1408.4199745681

1369.0342908336

1421.3500387506

1411.0875221609

1370.7761947076

1423.2458693951

1411.0875221609

1370.7761947076

1417.7439697445

1404.6042671902

1368.0660594632

1419.4527595466

1409.3729960629

1376.574066881

1420.4015802186

1406.5128451589

1372.710267325

1414.8933793338

1414.8933793338

1368.0660594632

1412.9911750271

1411.0875221609

1370.7761947076

1412.9911750271

1401.9298244538

1362.2490663034

1409.3729960629

1400.017769942

1370.7761947076

1408.4199745681

1406.5128451589

1363.2194705131

1409.3729960629

1403.6494349959

1366.1285103029

1409.3729960629

1398.1042668707

1366.1285103029

1409.3729960629

1396.1893152397

1367.097465953

1408.4199745681

1398.1042668707

1368.0660594632

1409.3729960629

1395.2312962144

1366.1285103029

1412.9911750271

1395.2312962144

1367.097465953

1412.9911750271

1396.1893152397

1369.0342908336

1413.9424582504

1400.017769942

1370.002160064

1408.4199745681

1402.6942406618

1371.7434120863

1409.3729960629

1395.2312962144

1382.1662842215

1412.9911750271

1398.1042668707

1383.1292283493

1410.3256554178

1393.5059493763

1382.1662842215

1412.9911750271

1393.5059493763

1386.7851133194

1413.9424582504

1399.0611994763

1386.7851133194

1416.7941350808

1399.0611994763

1386.7851133194

1417.7439697445

1394.4646202534

1387.7463191758

1419.4527595466

1408.4199745681

1380.239309546

1411.0875221609

1397.1469721251

1378.5037938197

1408.4199745681

1400.017769942

1379.2752789985

1412.9911750271

1393.5059493763

1379.2752789985

1413.9424582504

1390.6277639056

1377.5391114203

1418.5035767347

1396.1893152397

1370.002160064

1417.7439697445

1398.1042668707

1371.7434120863

1417.7439697445

1390.6277639056

1376.574066881

1422.2981351428

1390.6277639056

1377.5391114203

1424.1932415075

1393.5059493763

1374.6428913828

1424.1932415075

1389.6676444689

1372.710267325

1420.4015802186

1386.7851133194

1370.002160064

1414.8933793338

1387.7463191758

1365.1591925128

1416.7941350808

1392.5469163593

1369.0342908336

1419.4527595466

1393.5059493763

1365.1591925128

1418.5035767347

1392.5469163593

1362.2490663034

1415.8439382772

1390.6277639056

1355.6407137273

1412.9911750271

1385.0540301854

1352.9147602123

1416.7941350808

1391.5875212024

1359.5300079319

1412.9911750271

1390.6277639056

1361.4724821949

1410.3256554178

1391.5875212024

1355.6407137273

1407.4665909335

1399.0611994763

1358.5582275906

1407.4665909335

1393.5059493763

1355.6407137273

1410.3256554178

1395.2312962144

1353.888640965

1408.4199745681

1390.6277639056

1360.5014261334

1407.4665909335

1385.0540301854

1350.9659122872

1408.4199745681

1377.5391114203

1353.888640965

1402.6942406618

1385.0540301854

1355.6407137273

1403.6494349959

1382.1662842215

1352.9147602123

1401.9298244538

1382.1662842215

1346.0874550263

1400.9739782678

1384.0918103373

1348.0399243503

1400.9739782678

1382.1662842215

1346.0874550263

1397.1469721251

1383.1292283493

1349.0156158025

1401.9298244538

1380.239309546

1347.0638707583

1400.017769942

1374.6428913828

1346.0874550263

1403.6494349959

1373.6767604239

1351.9405173197

1399.0611994763

1367.097465953

1344.3289941162

1398.1042668707

1364.1895125829

1346.0874550263

1405.5587372445

1369.0342908336

1349.0156158025

1402.6942406618

1368.0660594632

1353.888640965

1400.9739782678

1372.710267325

1357.5860851094

1406.5128451589

1373.6767604239

1352.9147602123

1402.6942406618

1371.7434120863

1348.0399243503

1402.6942406618

1376.574066881

1345.3060617

1400.9739782678

1377.5391114203

1344.3289941162

1404.6042671902

1370.002160064

1355.6407137273

1406.5128451589

1373.6767604239

1356.6135804883

1402.6942406618

1383.1292283493

1352.9147602123

1403.6494349959

1386.7851133194

1359.5300079319

1400.017769942

1386.7851133194

1366.1285103029

1400.017769942

1380.239309546

1355.6407137273

1400.9739782678

1386.7851133194

1360.5014261334

1399.0611994763

1386.0158878936

1370.002160064

1394.4646202534

1384.0918103373

1362.2490663034

1402.6942406618

1386.0158878936

1363.2194705131

1402.6942406618

1387.7463191758

1361.4724821949

1404.6042671902

1379.2752789985

1352.9147602123

1403.6494349959

1375.6086602019

1353.888640965

1402.6942406618

1380.239309546

1353.888640965

1395.2312962144

1376.574066881

1349.0156158025

1400.017769942

1383.1292283493

1349.0156158025

1400.017769942

1377.5391114203

1348.0399243503

1400.9739782678

1365.1591925128

1352.9147602123

1402.6942406618

1369.0342908336

1355.6407137273

1410.3256554178

1365.1591925128

1349.9909451148

1405.5587372445

1360.5014261334

1349.0156158025

1404.6042671902

1348.0399243503

1349.9909451148

1402.6942406618

1345.3060617

1345.3060617

1401.9298244538

1352.9147602123

1348.0399243503

1400.9739782678

1353.888640965

1347.0638707583

1400.017769942

1353.888640965

1346.0874550263

1400.9739782678

1347.0638707583

1347.0638707583

1402.6942406618

1347.0638707583

1343.3515643926

1406.5128451589

1342.373772529

1344.3289941162

1412.9911750271

1342.373772529

1336.6954383216

1411.0875221609

1346.0874550263

1332.7722478228

1412.039529664

1345.3060617

1335.7151839067

1406.5128451589

1344.3289941162

1335.7151839067

1403.6494349959

1339.4382240989

1337.6753305965

1401.9298244538

1341.3956185255

1332.7722478228

1402.6942406618

1340.4171023822

1344.3289941162

1402.6942406618

1349.9909451148

1338.4589836758

1407.4665909335

1336.6954383216

1332.7722478228

1402.6942406618

1329.0398499357

1333.7535886573

1405.5587372445

1338.4589836758

1336.6954383216

1406.5128451589

1332.7722478228

1340.4171023822

1410.3256554178

1322.1506912556

1340.4171023822

1406.5128451589

1325.1053606722

1335.7151839067

1403.6494349959

1346.0874550263

1345.3060617

1404.6042671902

1336.6954383216

1338.4589836758

1400.017769942

1335.7151839067

1348.0399243503

1400.9739782678

1330.808479734

1344.3289941162

1405.5587372445

1334.734567352

1334.734567352

1409.3729960629

1332.7722478228

1334.734567352

1403.6494349959

1327.0733295837

1337.6753305965

1401.9298244538

1331.7905448483

1346.0874550263

1405.5587372445

1337.6753305965

1341.3956185255

1407.4665909335

1332.7722478228

1341.3956185255

1403.6494349959

1329.8260524798

1341.3956185255

1400.017769942

1334.734567352

1345.3060617

1400.9739782678

1334.734567352

1337.6753305965

1405.5587372445

1336.6954383216

1342.373772529

1402.6942406618

1335.7151839067

1338.4589836758

1397.1469721251

1334.734567352

1331.7905448483

1400.9739782678

1326.0895261979

1333.7535886573

1403.6494349959

1328.0567708297

1337.6753305965

1403.6494349959

1316.4290885736

1334.734567352

1404.6042671902

1320.3763251614

1339.4382240989

1403.6494349959

1315.4413740769

1338.4589836758

1404.6042671902

1316.4290885736

1342.373772529

1407.4665909335

1315.4413740769

1339.4382240989

1410.3256554178

1307.7247723615

1340.4171023822

1418.5035767347

1311.6847562736

1339.4382240989

1415.8439382772

1303.9574207318

1335.7151839067

1413.9424582504

1312.6738469019

1345.3060617

1412.039529664

1306.7338710338

1349.9909451148

1408.4199745681

1304.9493360512

1350.9659122872

1408.4199745681

1307.7247723615

1351.9405173197

1417.7439697445

1307.7247723615

1336.6954383216

1407.4665909335

1322.1506912556

1339.4382240989

1412.039529664

1320.3763251614

1344.3289941162

1408.4199745681

1315.4413740769

1339.4382240989

1415.8439382772

1314.4532974403

1345.3060617

1409.3729960629

1309.7054885974

1339.4382240989

1412.039529664

1318.4034311473

1339.4382240989

1413.9424582504

1316.4290885736

1347.0638707583

1412.9911750271

1308.7153115494

1351.9405173197

1411.0875221609

1309.7054885974

1339.4382240989

1408.4199745681

1306.7338710338

1343.3515643926

1408.4199745681

1308.7153115494

1342.373772529

1404.6042671902

1306.7338710338

1342.373772529

1408.4199745681

1305.7426075661

1339.4382240989

1409.3729960629

1301.9725036732

1351.9405173197

1407.4665909335

1301.9725036732

1341.3956185255

1406.5128451589

1296.2080525987

1344.3289941162

1404.6042671902

1296.2080525987

1339.4382240989

1403.6494349959

1294.2174861577

1348.0399243503

1403.6494349959

1290.232007597

1346.0874550263

1403.6494349959

1293.2216597274

1349.9909451148

1406.5128451589

1295.2129504482

1349.0156158025

1404.6042671902

1290.232007597

1344.3289941162

1400.9739782678

1286.4404360511

1349.9909451148

1397.1469721251

1288.4366518745

1350.9659122872

1393.5059493763

1290.232007597

1352.9147602123

1396.1893152397

1286.4404360511

1360.5014261334

1398.1042668707

1276.638039588

1361.4724821949

1392.5469163593

1273.6303528909

1355.6407137273

1387.7463191758

1273.6303528909

1356.6135804883

1382.1662842215

1270.8202380642

1349.9909451148

1386.7851133194

1275.6358394955

1345.3060617

1378.5037938197

1276.638039588

1336.6954383216

1374.6428913828

1277.6398775406

1328.0567708297

1378.5037938197

1279.6424670261

1325.1053606722

1384.0918103373

1277.6398775406

1318.4034311473

1381.2029779537

1276.638039588

1326.0895261979

1374.6428913828

1280.4430972236

1321.3622289586

1377.5391114203

1275.6358394955

1322.1506912556

1370.7761947076

1278.6413533533

1326.0895261979

1375.6086602019

1276.638039588

1323.135943201

1374.6428913828

1278.6413533533

1322.1506912556

1380.239309546

1276.638039588

1320.3763251614

1377.5391114203

1277.6398775406

1320.3763251614

1390.6277639056

1276.638039588

1320.3763251614

1389.6676444689

1275.6358394955

1332.7722478228

1391.5875212024

1283.4433962669

1333.7535886573

1394.4646202534

1289.2347326071

1331.7905448483

1388.7071628923

1287.4387250327

1338.4589836758

1381.2029779537

1288.4366518745

1339.4382240989

1370.7761947076

1284.4427716682

1336.6954383216

1377.5391114203

1320.3763251614

1335.7151839067

1376.574066881

1353.888640965

1331.7905448483

1380.239309546

1362.2490663034

1334.734567352

1392.5469163593

1361.4724821949

1338.4589836758

1397.1469721251

1364.1895125829

1340.4171023822

1397.1469721251

1363.2194705131

1325.1053606722

1397.1469721251

1359.5300079319

1325.1053606722

1397.1469721251

1358.5582275906

1325.1053606722

1396.1893152397

1365.1591925128

1313.4648586638

1391.5875212024

1369.0342908336

1310.6953035055

1396.1893152397

1371.7434120863

1322.1506912556

1395.2312962144

1370.002160064

1317.4164409304

1396.1893152397

1374.6428913828

1316.4290885736

1386.0158878936

1371.7434120863

1320.3763251614

1388.7071628923

1368.0660594632

1323.135943201

1387.7463191758

1358.5582275906

1318.4034311473

1391.5875212024

1361.4724821949

1317.4164409304

1381.2029779537

1362.2490663034

1316.4290885736

1382.1662842215

1362.2490663034

1309.7054885974

1383.1292283493

1366.1285103029

1303.9574207318

1387.7463191758

1381.2029779537

1309.7054885974

1385.0540301854

1377.5391114203

1306.7338710338

1389.6676444689

1370.7761947076

1306.7338710338

1386.0158878936

1378.5037938197

1311.6847562736

1383.1292283493

1375.6086602019

1311.6847562736

1385.0540301854

1370.7761947076

1309.7054885974

1388.7071628923

1377.5391114203

1303.9574207318

1394.4646202534

1378.5037938197

1307.7247723615

1386.7851133194

1375.6086602019

1313.4648586638

1392.5469163593

1373.6767604239

1307.7247723615

1386.7851133194

1366.1285103029

1312.6738469019

1389.6676444689

1349.9909451148

1323.135943201

1395.2312962144

1348.0399243503

1323.135943201

1397.1469721251

1335.7151839067

1327.0733295837

1392.5469163593

1335.7151839067

1312.6738469019

1385.0540301854

1341.3956185255

1304.9493360512

1385.0540301854

1341.3956185255

1304.9493360512

1378.5037938197

1360.5014261334

1306.7338710338

1377.5391114203

1368.0660594632

1300.979501934

1373.6767604239

1366.1285103029

1301.9725036732

1364.1895125829

1366.1285103029

1294.2174861577

1368.0660594632

1367.097465953

1295.2129504482

1370.002160064

1371.7434120863

1301.9725036732

1364.1895125829

1376.574066881

1289.2347326071

1357.5860851094

1378.5037938197

1296.2080525987

1346.0874550263

1371.7434120863

1292.2254711572

1357.5860851094

1359.5300079319

1288.4366518745

1354.6674848264

1356.6135804883

1290.232007597

1349.0156158025

1360.5014261334

1286.4404360511

1346.0874550263

1366.1285103029

1290.232007597

1345.3060617

1373.6767604239

1289.2347326071

1349.9909451148

1370.7761947076

1294.2174861577

1343.3515643926

1371.7434120863

1287.4387250327

1340.4171023822

1364.1895125829

1286.4404360511

1342.373772529

1367.097465953

1286.4404360511

1344.3289941162

1378.5037938197

1281.4435590446

1349.9909451148

1377.5391114203

1277.6398775406

1354.6674848264

1377.5391114203

1273.6303528909

1363.2194705131

1384.0918103373

1276.638039588

1360.5014261334

1374.6428913828

1281.4435590446

1358.5582275906

1376.574066881

1284.4427716682

1357.5860851094

1385.0540301854

1296.2080525987

1357.5860851094

1372.710267325

1301.9725036732

1362.2490663034

1372.710267325

1305.7426075661

1356.6135804883

1371.7434120863

1312.6738469019

1355.6407137273

1367.097465953

1305.7426075661

1352.9147602123

1363.2194705131

1301.9725036732

1350.9659122872

1358.5582275906

1295.2129504482

1349.9909451148

1361.4724821949

1299.986138055

1352.9147602123

1365.1591925128

1297.0038735784

1352.9147602123

1354.6674848264

1297.9983238772

1352.9147602123

1360.5014261334

1300.979501934

1349.0156158025

1362.2490663034

1302.9651432724

1343.3515643926

1360.5014261334

1307.7247723615

1343.3515643926

1370.002160064

1305.7426075661

1342.373772529

1370.002160064

1311.6847562736

1343.3515643926

1369.0342908336

1311.6847562736

1343.3515643926

1362.2490663034

1310.6953035055

1340.4171023822

1370.002160064

1315.4413740769

1348.0399243503

1376.574066881

1311.6847562736

1347.0638707583

1373.6767604239

1315.4413740769

1346.0874550263

1381.2029779537

1308.7153115494

1338.4589836758

1374.6428913828

1313.4648586638

1350.9659122872

1381.2029779537

1307.7247723615

1349.0156158025

1371.7434120863

1301.9725036732

1358.5582275906

1377.5391114203

1302.9651432724

1355.6407137273

1375.6086602019

1302.9651432724

1356.6135804883

1376.574066881

1307.7247723615

1362.2490663034

1377.5391114203

1304.9493360512

1356.6135804883

1370.7761947076

1305.7426075661

1358.5582275906

1370.002160064

1311.6847562736

1356.6135804883

1373.6767604239

1312.6738469019

1351.9405173197

1371.7434120863

1311.6847562736

1346.0874550263

1374.6428913828

1311.6847562736

1347.0638707583

1377.5391114203

1310.6953035055

1355.6407137273

1383.1292283493

1310.6953035055

1356.6135804883

1372.710267325

1311.6847562736

1356.6135804883

1381.2029779537

1311.6847562736

1359.5300079319

1383.1292283493

1319.3900592243

1360.5014261334

1382.1662842215

1312.6738469019

1361.4724821949

1378.5037938197

1314.4532974403

1357.5860851094

1374.6428913828

1321.3622289586

1363.2194705131

1375.6086602019

1322.1506912556

1361.4724821949

1377.5391114203

1326.0895261979

1357.5860851094

1381.2029779537

1315.4413740769

1360.5014261334

1381.2029779537

1316.4290885736

1360.5014261334

1380.239309546

1324.1208330066

1359.5300079319

1384.0918103373

1329.8260524798

1356.6135804883

1380.239309546

1337.6753305965

1358.5582275906

1381.2029779537

1330.808479734

1361.4724821949

1381.2029779537

1328.0567708297

1361.4724821949

1386.0158878936

1332.7722478228

1362.2490663034

1382.1662842215

1331.7905448483

1358.5582275906

1382.1662842215

1322.1506912556

1361.4724821949

1378.5037938197

1324.1208330066

1359.5300079319

1383.1292283493

1325.1053606722

1363.2194705131

1383.1292283493

1327.0733295837

1366.1285103029

1386.7851133194

1337.6753305965

1371.7434120863

1383.1292283493

1330.808479734

1372.710267325

1383.1292283493

1331.7905448483

1371.7434120863

1381.2029779537

1322.1506912556

1370.002160064

1380.239309546

1315.4413740769

1365.1591925128

1382.1662842215

1318.4034311473

1369.0342908336

1384.0918103373

1319.3900592243

1362.2490663034

1383.1292283493

1322.1506912556

1369.0342908336

1375.6086602019

1325.1053606722

1372.710267325

1376.574066881

1323.135943201

1373.6767604239

1379.2752789985

1319.3900592243

1371.7434120863

1372.710267325

1313.4648586638

1374.6428913828

1376.574066881

1314.4532974403

1368.0660594632

1371.7434120863

1309.7054885974

1368.0660594632

1373.6767604239

1321.3622289586

1368.0660594632

1375.6086602019

1316.4290885736

1364.1895125829

1374.6428913828

1316.4290885736

1363.2194705131

1365.1591925128

1312.6738469019

1358.5582275906

1369.0342908336

1313.4648586638

1361.4724821949

1368.0660594632

1315.4413740769

1365.1591925128

1366.1285103029

1309.7054885974

1369.0342908336

1370.002160064

1319.3900592243

1368.0660594632

1367.097465953

1320.3763251614

1365.1591925128

1368.0660594632

1320.3763251614

1370.002160064

1368.0660594632

1317.4164409304

1370.002160064

1366.1285103029

1316.4290885736

1362.2490663034

1367.097465953

1313.4648586638

1370.002160064

1367.097465953

1313.4648586638

1369.0342908336

1365.1591925128

1315.4413740769

1370.7761947076

1362.2490663034

1311.6847562736

1364.1895125829

1361.4724821949

1318.4034311473

1370.002160064

1364.1895125829

1316.4290885736

1366.1285103029

1364.1895125829

1326.0895261979

1363.2194705131

1366.1285103029

1329.0398499357

1370.002160064

1367.097465953

1325.1053606722

1368.0660594632

1370.7761947076

1314.4532974403

1363.2194705131

1365.1591925128

1313.4648586638

1364.1895125829

1366.1285103029

1314.4532974403

1360.5014261334

1363.2194705131

1311.6847562736

1357.5860851094

1370.002160064

1309.7054885974

1359.5300079319

1370.002160064

1307.7247723615

1360.5014261334

1366.1285103029

1306.7338710338

1359.5300079319

1362.2490663034

1306.7338710338

1364.1895125829

1363.2194705131

1307.7247723615

1367.097465953

1365.1591925128

1306.7338710338

1370.002160064

1367.097465953

1303.9574207318

1379.2752789985

1372.710267325

1310.6953035055

1370.002160064

1370.002160064

1307.7247723615

1371.7434120863

1358.5582275906

1311.6847562736

1372.710267325

1367.097465953

1313.4648586638

1377.5391114203

1370.002160064

1311.6847562736

1375.6086602019

1374.6428913828

1307.7247723615

1373.6767604239

1370.7761947076

1308.7153115494

1370.002160064

1369.0342908336

1310.6953035055

1362.2490663034

1360.5014261334

1308.7153115494

1360.5014261334

1366.1285103029

1310.6953035055

1365.1591925128

1365.1591925128

1316.4290885736

1360.5014261334

1370.002160064

1318.4034311473

1354.6674848264

1360.5014261334

1318.4034311473

1361.4724821949

1364.1895125829

1313.4648586638

1354.6674848264

1362.2490663034

1310.6953035055

1353.888640965

1366.1285103029

1311.6847562736

1351.9405173197

1372.710267325

1314.4532974403

1354.6674848264

1365.1591925128

1312.6738469019

1355.6407137273

1367.097465953

1309.7054885974

1357.5860851094

1364.1895125829

1308.7153115494

1357.5860851094

1368.0660594632

1306.7338710338

1352.9147602123

1376.574066881

1305.7426075661

1359.5300079319

1372.710267325

1309.7054885974

1359.5300079319

1369.0342908336

1307.7247723615

1365.1591925128

1371.7434120863

1306.7338710338

1367.097465953

1371.7434120863

1310.6953035055

1363.2194705131

1367.097465953

1316.4290885736

1360.5014261334

1358.5582275906

1315.4413740769

1352.9147602123

1367.097465953

1318.4034311473

1350.9659122872

1359.5300079319

1317.4164409304

1348.0399243503

1356.6135804883

1322.1506912556

1350.9659122872

1363.2194705131

1321.3622289586

1355.6407137273

1368.0660594632

1322.1506912556

1349.9909451148

1370.002160064

1317.4164409304

1356.6135804883

1366.1285103029

1321.3622289586

1354.6674848264

1370.7761947076

1322.1506912556

1350.9659122872

1373.6767604239

1319.3900592243

1366.1285103029

1372.710267325

1320.3763251614

1364.1895125829

1370.002160064

1325.1053606722

1361.4724821949

1370.7761947076

1315.4413740769

1359.5300079319

1355.6407137273

1325.1053606722

1358.5582275906

1351.9405173197

1316.4290885736

1356.6135804883

1357.5860851094

1311.6847562736

1355.6407137273

1351.9405173197

1313.4648586638

1350.9659122872

1361.4724821949

1317.4164409304

1362.2490663034

1354.6674848264

1310.6953035055

1362.2490663034

1356.6135804883

1308.7153115494

1360.5014261334

1358.5582275906

1308.7153115494

1357.5860851094

1361.4724821949

1304.9493360512

1356.6135804883

1358.5582275906

1311.6847562736

1358.5582275906

1352.9147602123

1303.9574207318

1352.9147602123

1366.1285103029

1298.992412036

1352.9147602123

1356.6135804883

1299.986138055

1352.9147602123

1360.5014261334

1299.986138055

1355.6407137273

1359.5300079319

1301.9725036732

1358.5582275906

1359.5300079319

1306.7338710338

1360.5014261334

1361.4724821949

1304.9493360512

1370.002160064

1366.1285103029

1309.7054885974

1366.1285103029

1368.0660594632

1309.7054885974

1366.1285103029

1366.1285103029

1301.9725036732

1368.0660594632

1360.5014261334

1297.0038735784

1371.7434120863

1365.1591925128

1297.9983238772

1367.097465953

1369.0342908336

1305.7426075661

1370.002160064

1366.1285103029

1308.7153115494

1366.1285103029

1362.2490663034

1304.9493360512

1370.002160064

1364.1895125829

1296.2080525987

1365.1591925128

1370.7761947076

1295.2129504482

1372.710267325

1371.7434120863

1296.2080525987

1374.6428913828

1370.002160064

1290.232007597

1372.710267325

1367.097465953

1294.2174861577

1362.2490663034

1366.1285103029

1297.9983238772

1350.9659122872

1359.5300079319

1296.2080525987

1351.9405173197

1356.6135804883

1300.979501934

1365.1591925128

1354.6674848264

1298.992412036

1360.5014261334

1359.5300079319

1302.9651432724

1355.6407137273

1351.9405173197

1304.9493360512

1348.0399243503

1348.0399243503

1308.7153115494

1350.9659122872

1349.9909451148

1309.7054885974

1355.6407137273

1351.9405173197

1307.7247723615

1351.9405173197

1356.6135804883

1306.7338710338

1359.5300079319

1349.0156158025

1301.9725036732

1341.3956185255

1349.0156158025

1297.9983238772

1351.9405173197

1357.5860851094

1300.979501934

1354.6674848264

1351.9405173197

1298.992412036

1357.5860851094

1354.6674848264

1301.9725036732

1355.6407137273

1351.9405173197

1302.9651432724

1354.6674848264

1353.888640965

1296.2080525987

1363.2194705131

1351.9405173197

1295.2129504482

1370.7761947076

1353.888640965

1294.2174861577

1371.7434120863

1354.6674848264

1294.2174861577

1383.1292283493

1348.0399243503

1299.986138055

1383.1292283493

1349.0156158025

1300.979501934

1378.5037938197

1352.9147602123

1295.2129504482

1378.5037938197

1357.5860851094

1293.2216597274

1386.0158878936

1356.6135804883

1296.2080525987

1387.7463191758

1358.5582275906

1297.0038735784

1383.1292283493

1359.5300079319

1298.992412036

1383.1292283493

1356.6135804883

1291.2289204471

1385.0540301854

1361.4724821949

1289.2347326071

1380.239309546

1360.5014261334

1283.4433962669

1377.5391114203

1351.9405173197

1283.4433962669

1377.5391114203

1358.5582275906

1283.4433962669

1380.239309546

1347.0638707583

1282.4436587257

1378.5037938197

1337.6753305965

1282.4436587257

1381.2029779537

1341.3956185255

1281.4435590446

1387.7463191758

1336.6954383216

1276.638039588

1382.1662842215

1338.4589836758

1283.4433962669

1384.0918103373

1344.3289941162

1279.6424670261

1383.1292283493

1351.9405173197

1277.6398775406

1380.239309546

1358.5582275906

1279.6424670261

1387.7463191758

1359.5300079319

1283.4433962669

1374.6428913828

1359.5300079319

1279.6424670261

1374.6428913828

1359.5300079319

1282.4436587257

1371.7434120863

1367.097465953

1286.4404360511

1361.4724821949

1362.2490663034

1286.4404360511

1357.5860851094

1367.097465953

1289.2347326071

1363.2194705131

1368.0660594632

1284.4427716682

1356.6135804883

1365.1591925128

1282.4436587257

1360.5014261334

1357.5860851094

1281.4435590446

1363.2194705131

1345.3060617

1283.4433962669

1358.5582275906

1345.3060617

1289.2347326071

1359.5300079319

1349.0156158025

1286.4404360511

1362.2490663034

1339.4382240989

1284.4427716682

1355.6407137273

1345.3060617

1286.4404360511

1367.097465953

1345.3060617

1284.4427716682

1366.1285103029

1346.0874550263

1284.4427716682

1360.5014261334

1333.7535886573

1285.4417849296

1355.6407137273

1338.4589836758

1287.4387250327

1360.5014261334

1339.4382240989

1289.2347326071

1354.6674848264

1330.808479734

1287.4387250327

1357.5860851094

1333.7535886573

1286.4404360511

1352.9147602123

1342.373772529

1291.2289204471

1355.6407137273

1346.0874550263

1303.9574207318

1347.0638707583

1344.3289941162

1300.979501934

1344.3289941162

1336.6954383216

1305.7426075661

1349.9909451148

1340.4171023822

1300.979501934

1347.0638707583

1337.6753305965

1293.2216597274

1352.9147602123

1329.8260524798

1289.2347326071

1349.9909451148

1337.6753305965

1288.4366518745

1345.3060617

1344.3289941162

1285.4417849296

1345.3060617

1342.373772529

1282.4436587257

1355.6407137273

1344.3289941162

1291.2289204471

1356.6135804883

1346.0874550263

1296.2080525987

1352.9147602123

1340.4171023822

1288.4366518745

1349.0156158025

1341.3956185255

1299.986138055

1351.9405173197

1337.6753305965

1305.7426075661

1355.6407137273

1332.7722478228

1305.7426075661

1362.2490663034

1335.7151839067

1296.2080525987

1354.6674848264

1327.0733295837

1296.2080525987

1354.6674848264

1319.3900592243

1302.9651432724

1348.0399243503

1318.4034311473

1304.9493360512

1352.9147602123

1326.0895261979

1303.9574207318

1339.4382240989

1325.1053606722

1297.9983238772

1349.0156158025

1329.8260524798

1299.986138055

1349.0156158025

1348.0399243503

1303.9574207318

1349.0156158025

1352.9147602123

1312.6738469019

1353.888640965

1350.9659122872

1306.7338710338

1356.6135804883

1357.5860851094

1312.6738469019

1361.4724821949

1357.5860851094

1313.4648586638

1364.1895125829

1348.0399243503

1312.6738469019

1356.6135804883

1335.7151839067

1309.7054885974

1366.1285103029

1342.373772529

1307.7247723615

1361.4724821949

1335.7151839067

1310.6953035055

1361.4724821949

1330.808479734

1310.6953035055

1367.097465953

1322.1506912556

1303.9574207318

1358.5582275906

1334.734567352

1306.7338710338

1360.5014261334

1329.0398499357

1301.9725036732

1367.097465953

1324.1208330066

1299.986138055

1356.6135804883

1323.135943201

1301.9725036732

1350.9659122872

1320.3763251614

1305.7426075661

1354.6674848264

1329.0398499357

1319.3900592243

1354.6674848264

1334.734567352

1325.1053606722

1344.3289941162

1330.808479734

1330.808479734

1341.3956185255

1317.4164409304

1329.8260524798

1343.3515643926

1321.3622289586

1329.0398499357

1354.6674848264

1321.3622289586

1330.808479734

1340.4171023822

1329.8260524798

1327.0733295837

1348.0399243503

1329.0398499357

1328.0567708297

1353.888640965

1332.7722478228

1329.8260524798

1357.5860851094

1343.3515643926

1329.8260524798

1343.3515643926

1348.0399243503

1330.808479734

1346.0874550263

1350.9659122872

1325.1053606722

1348.0399243503

1349.9909451148

1325.1053606722

1346.0874550263

1342.373772529

1326.0895261979

1346.0874550263

1338.4589836758

1322.1506912556

1343.3515643926

1335.7151839067

1311.6847562736

1345.3060617

1335.7151839067

1314.4532974403

1341.3956185255

1327.0733295837

1309.7054885974

1335.7151839067

1319.3900592243

1306.7338710338

1332.7722478228

1318.4034311473

1307.7247723615

1339.4382240989

1325.1053606722

1316.4290885736

1342.373772529

1318.4034311473

1318.4034311473

1341.3956185255

1318.4034311473

1316.4290885736

1344.3289941162

1317.4164409304

1311.6847562736

1343.3515643926

1324.1208330066

1315.4413740769

1339.4382240989

1328.0567708297

1316.4290885736

1332.7722478228

1344.3289941162

1319.3900592243

1337.6753305965

1350.9659122872

1308.7153115494

1349.0156158025

1358.5582275906

1303.9574207318

1365.1591925128

1362.2490663034

1305.7426075661

1366.1285103029

1354.6674848264

1299.986138055

1370.7761947076

1342.373772529

1293.2216597274

1376.574066881

1353.888640965

1300.979501934

1377.5391114203

1343.3515643926

1300.979501934

1376.574066881

1339.4382240989

1303.9574207318

1363.2194705131

1338.4589836758

1301.9725036732

1367.097465953

1336.6954383216

1295.2129504482

1362.2490663034

1344.3289941162

1291.2289204471

1358.5582275906

1343.3515643926

1301.9725036732

1364.1895125829

1346.0874550263

1302.9651432724

1355.6407137273

1344.3289941162

1306.7338710338

1354.6674848264

1339.4382240989

1315.4413740769

1348.0399243503

1337.6753305965

1307.7247723615

1346.0874550263

1335.7151839067

1304.9493360512

1348.0399243503

1330.808479734

1309.7054885974

1348.0399243503

1324.1208330066

1314.4532974403

1359.5300079319

1326.0895261979

1307.7247723615

1360.5014261334

1317.4164409304

1310.6953035055

1358.5582275906

1306.7338710338

1306.7338710338

1353.888640965

1299.986138055

1295.2129504482

1354.6674848264

1290.232007597

1298.992412036

1353.888640965

1288.4366518745

1297.9983238772

1355.6407137273

1289.2347326071

1293.2216597274

1353.888640965

1280.4430972236

1291.2289204471

1350.9659122872

1266.8008632094

1296.2080525987

1350.9659122872

1286.4404360511

1296.2080525987

1348.0399243503

1276.638039588

1294.2174861577

1343.3515643926

1258.9464165644

1288.4366518745

1342.373772529

1262.977090184

1291.2289204471

1330.808479734

1294.2174861577

1298.992412036

1342.373772529

1307.7247723615

1295.2129504482

1345.3060617

1312.6738469019

1300.979501934

1341.3956185255

1313.4648586638

1302.9651432724

1344.3289941162

1318.4034311473

1302.9651432724

1346.0874550263

1309.7054885974

1303.9574207318

1339.4382240989

1308.7153115494

1303.9574207318

1345.3060617

1292.2254711572

1303.9574207318

1345.3060617

1295.2129504482

1304.9493360512

1346.0874550263

1285.4417849296

1297.9983238772

1344.3289941162

1285.4417849296

1293.2216597274

1338.4589836758

1290.232007597

1295.2129504482

1341.3956185255

1292.2254711572

1293.2216597274

1338.4589836758

1303.9574207318

1298.992412036

1331.7905448483

1303.9574207318

1288.4366518745

1337.6753305965

1311.6847562736

1277.6398775406

1345.3060617

1307.7247723615

1280.4430972236

1342.373772529

1309.7054885974

1269.8159375604

1331.7905448483

1312.6738469019

1262.977090184

1330.808479734

1316.4290885736

1271.8241764282

1329.8260524798

1328.0567708297

1268.8112749166

1336.6954383216

1331.7905448483

1263.7825295993

1343.3515643926

1334.734567352

1274.6332772631

1336.6954383216

1339.4382240989

1301.9725036732

1339.4382240989

1328.0567708297

1299.986138055

1342.373772529

1327.0733295837

1294.2174861577

1337.6753305965

1317.4164409304

1291.2289204471

1334.734567352

1319.3900592243

1297.0038735784

1332.7722478228

1322.1506912556

1305.7426075661

1336.6954383216

1333.7535886573

1298.992412036

1337.6753305965

1331.7905448483

1298.992412036

1329.8260524798

1328.0567708297

1300.979501934

1328.0567708297

1330.808479734

1307.7247723615

1331.7905448483

1338.4589836758

1297.9983238772

1327.0733295837

1342.373772529

1297.0038735784

1327.0733295837

1338.4589836758

1291.2289204471

1329.8260524798

1339.4382240989

1279.6424670261

1327.0733295837

1332.7722478228

1278.6413533533

1328.0567708297

1333.7535886573

1279.6424670261

1333.7535886573

1336.6954383216

1274.6332772631

1339.4382240989

1338.4589836758

1276.638039588

1343.3515643926

1337.6753305965

1274.6332772631

1344.3289941162

1335.7151839067

1277.6398775406

1346.0874550263

1332.7722478228

1270.8202380642

1351.9405173197

1328.0567708297

1276.638039588

1351.9405173197

1337.6753305965

1255.9196088808

1348.0399243503

1341.3956185255

1249.0467782967

1342.373772529

1333.7535886573

1248.0346555711

1339.4382240989

1337.6753305965

1248.0346555711

1342.373772529

1341.3956185255

1234.2338332541

1335.7151839067

1347.0638707583

1232.1986511781

1330.808479734

1349.9909451148

1226.2884315532

1328.0567708297

1340.4171023822

1232.1986511781

1330.808479734

1325.1053606722

1215.25073279

1332.7722478228

1316.4290885736

1223.2266411557

1330.808479734

1321.3622289586

1216.2745164202

1325.1053606722

1323.135943201

1220.3660295422

1317.4164409304

1328.0567708297

1226.2884315532

1301.9725036732

1322.1506912556

1233.2164232861

1301.9725036732

1320.3763251614

1234.2338332541

1308.7153115494

1322.1506912556

1240.1276696702

1313.4648586638

1324.1208330066

1238.096688417

1321.3622289586

1315.4413740769

1257.9378428098

1318.4034311473

1301.9725036732

1260.962477654

1311.6847562736

1294.2174861577

1249.0467782967

1300.979501934

1293.2216597274

1251.0699373283

1292.2254711572

1310.6953035055

1265.7951141459

1276.638039588

1310.6953035055

1224.2476000948

1263.7825295993

1323.135943201

1185.1965760651

1253.0916478002

1311.6847562736

1165.8915042632

1245.1987853552

1294.2174861577

1160.8892124734

1242.1572023639

1283.4433962669

1153.5792472355

1233.2164232861

1282.4436587257

1156.7142623196

1237.283890319

1297.0038735784

1153.5792472355

1234.2338332541

1269.8159375604

1150.6502925809

1246.2119220725

1249.0467782967

1158.8024616763

1246.2119220725

1255.1119097126

1155.6696194315

1251.0699373283

1256.9289069153

1154.6246144034

1283.4433962669

1259.9546281792

1166.9325981804

1305.7426075661

1255.1119097126

1172.9638015015

1301.9725036732

1243.1714255009

1192.2230698494

1291.2289204471

1246.2119220725

1156.7142623196

1299.986138055

1247.0221707056

1120.7818814832

1306.7338710338

1254.1019598263

1123.9507928615

1306.7338710338

1257.9378428098

1126.9055029054

1313.4648586638

1272.6270663787

1117.6097108458

1308.7153115494

1272.6270663787

1121.8385474159

1301.9725036732

1286.4404360511

1126.0615897476

1306.7338710338

1262.977090184

1129.0142718081

1313.4648586638

1256.9289069153

1122.8948512086

1288.4366518745

1251.0699373283

1115.704844019

1284.4427716682

1241.142617087

1129.0142718081

1268.8112749166

1248.0346555711

1134.2798566166

1259.9546281792

1257.9378428098

1134.2798566166

1263.7825295993

1255.1119097126

1143.5252967452

1274.6332772631

1246.2119220725

1148.5564438419

1262.977090184

1258.9464165644

1147.5089762626

1186.2309341803

1269.8159375604

1135.1215100214

1117.6097108458

1267.8062501329

1122.8948512086

1101.0618842753

1262.977090184

1126.0615897476

1121.8385474159

1251.0699373283

1098.0824328339

1129.0142718081

1255.9196088808

1075.0026620375

1191.1908121456

1244.185286498

1058.2288601726

1216.2745164202

1205.1984887706

1063.6146754262

1207.2527918331

1178.9828224364

1072.8570997215

1169.8457345644

1169.8457345644

1082.2867386862

1171.9248079957

1162.7660496723

1091.6883335375

1197.1728658401

1159.8460181448

1089.7675615265

1211.3570522793

1192.2230698494

1085.4949784571

1240.1276696702

1183.1267734151

1080.3602303793

1162.7660496723

1192.2230698494

1086.5636674343

1131.1215921512

1191.1908121456

1087.6319942716

1132.1747091129

1182.0913288803

1103.1883256049

1147.5089762626

1169.8457345644

1111.4676058034

1169.8457345644

1158.8024616763

1114.6460776749

1184.1618558101

1148.5564438419

1108.2858746727

1169.0136995952

1144.3644006852

1079.2894409907

1190.158192302

1137.2246295417

1094.8870128152

1178.1533369321

1136.1732508515

1127.9600684267

1171.9248079957

1132.1747091129

1120.7818814832

1161.7235071955

1146.4611465433

1103.1883256049

1150.6502925809

1153.5792472355

1109.3468138562

1183.1267734151

1156.7142623196

1142.4760908944

1203.3483774959

1158.8024616763

1150.6502925809

1207.2527918331

1158.8024616763

1143.5252967452

1210.3315303776

1162.7660496723

1115.704844019

1213.2020791099

1172.9638015015

1094.8870128152

1208.2794001545

1145.4129546842

1078.2182894623

1214.2265870199

1104.2510030598

1073.9300619494

1214.2265870199

1115.704844019

1070.9248551186

1214.2265870199

1120.7818814832

1075.0026620375

1217.2979379106

1102.1252860101

1080.3602303793

1225.2681968939

1067.70184004

1082.2867386862

1228.327814452

1056.0719990919

1082.2867386862

1249.0467782967

1050.8896223751

1094.8870128152

1249.0467782967

1051.9699722569

1101.0618842753

1247.0221707056

1067.70184004

1110.4073908997

1246.2119220725

1067.70184004

1114.6460776749

1235.2508810823

1072.8570997215

1116.7632482232

1215.25073279

1078.2182894623

1119.7248534106

1207.2527918331

1103.1883256049

1118.6674631982

1197.1728658401

1113.586949191

1118.6674631982

1167.9733299577

1125.0063723745

1102.1252860101

1142.4760908944

1123.9507928615

1105.3133183749

1127.9600684267

1120.7818814832

1107.4368625853

1121.8385474159

1126.0615897476

1104.2510030598

1126.0615897476

1139.3263005025

1098.0824328339

1132.1747091129

1129.0142718081

1093.8211485292

1123.9507928615

1105.3133183749

1075.0026620375

1129.0142718081

1086.5636674343

1069.850878899

1155.6696194315

1082.2867386862

1067.70184004

1185.1965760651

1081.430657628

1083.3565140831

1160.8892124734

1085.4949784571

1131.1215921512

1154.6246144034

1085.4949784571

1174.0024328674

1155.6696194315

1088.699958969

1158.8024616763

1146.4611465433

1093.8211485292

1138.2756460921

1131.1215921512

1099.9981204007

1111.4676058034

1090.6213828318

1107.4368625853

1098.0824328339

1085.4949784571

1104.2510030598

1097.0176549676

1094.8870128152

1109.3468138562

1094.8870128152

1089.7675615265

1156.7142623196

1093.8211485292

1107.4368625853

1164.8500482061

1125.0063723745

1151.6966737406

1148.5564438419

1130.0681130496

1158.8024616763

1145.4129546842

1119.7248534106

1165.8915042632

1150.6502925809

1120.7818814832

1163.8082300092

1157.7585430679

1117.6097108458

1151.6966737406

1169.8457345644

1132.1747091129

1144.3644006852

1183.1267734151

1139.3263005025

1138.2756460921

1205.1984887706

1146.4611465433

1137.2246295417

1223.2266411557

1175.0407020934

1142.4760908944

1257.9378428098

1133.2274639347

1162.7660496723

1250.0585388824

1107.4368625853

1170.8854523499

1250.0585388824

1087.6319942716

1178.9828224364

1242.1572023639

1069.850878899

1165.8915042632

1228.327814452

1090.6213828318

1160.8892124734

1219.3436944715

1126.0615897476

1163.8082300092

1213.2020791099

1146.4611465433

1169.8457345644

1200.2622512976

1107.4368625853

1178.9828224364

1189.1252103184

1090.6213828318

1188.091866195

1178.1533369321

1082.2867386862

1190.158192302

1181.0555222056

1059.3067475031

1185.1965760651

1170.8854523499

1057.1506107022

1171.9248079957

1158.8024616763

1059.3067475031

1162.7660496723

1162.7660496723

1076.0748999856

1158.8024616763

1157.7585430679

1122.8948512086

1155.6696194315

1159.8460181448

1143.5252967452

1161.7235071955

1174.0024328674

1184.1618558101

1160.8892124734

1197.1728658401

1226.2884315532

1151.6966737406

1202.320030903

1256.9289069153

1138.2756460921

1202.320030903

1279.6424670261

1131.1215921512

1199.232818285

1297.0038735784

1127.9600684267

1181.0555222056

1300.979501934

1125.0063723745

1160.8892124734

1300.979501934

1117.6097108458

1154.6246144034

1304.9493360512

1115.704844019

1151.6966737406

1308.7153115494

1113.586949191

1144.3644006852

1309.7054885974

1117.6097108458

1130.0681130496

1301.9725036732

1113.586949191

1118.6674631982

1310.6953035055

1118.6674631982

1119.7248534106

1318.4034311473

1112.5274585671

1118.6674631982

1293.2216597274

1108.2858746727

1114.6460776749

1280.4430972236

1112.5274585671

1110.4073908997

1249.0467782967

1103.1883256049

1104.2510030598

1225.2681968939

1107.4368625853

1108.2858746727

1213.2020791099

1103.1883256049

1106.37527155

1209.305646336

1108.2858746727

1107.4368625853

1209.305646336

1107.4368625853

1097.0176549676

1192.2230698494

1109.3468138562

1086.5636674343

1177.1161541257

1104.2510030598

1081.430657628

1147.5089762626

1101.0618842753

1087.6319942716

1138.2756460921

1095.9525149613

1092.7549221033

1133.2274639347

1090.6213828318

1092.7549221033

1122.8948512086

1082.2867386862

1088.699958969

1125.0063723745

1083.3565140831

1083.3565140831

1118.6674631982

1089.7675615265

1085.4949784571

1107.4368625853

1099.9981204007

1091.6883335375

1101.0618842753

1104.2510030598

1103.1883256049

1101.0618842753

1099.1468485603

1114.6460776749

1094.8870128152

1093.8211485292

1115.704844019

1101.0618842753

1092.7549221033

1127.9600684267

1102.1252860101

1090.6213828318

1144.3644006852

1109.3468138562

1090.6213828318

1159.8460181448

1112.5274585671

1086.5636674343

1176.0786091795

1109.3468138562

1081.430657628

1178.9828224364

1117.6097108458

1072.8570997215

1190.158192302

1121.8385474159

1066.6267774006

1195.3176701213

1126.9055029054

1063.6146754262

1204.1707940295

1133.2274639347

1070.9248551186

1212.3822120412

1137.2246295417

1075.0026620375

1223.2266411557

1144.3644006852

1093.8211485292

1232.1986511781

1140.376592773

1092.7549221033

1236.2675667706

1154.6246144034

1117.6097108458

1242.1572023639

1156.7142623196

1143.5252967452

1249.0467782967

1161.7235071955

1148.5564438419

1245.1987853552

1163.8082300092

1156.7142623196

1241.142617087

1160.8892124734

1162.7660496723

1236.2675667706

1171.9248079957

1163.8082300092

1232.1986511781

1172.9638015015

1167.9733299577

1234.2338332541

1175.0407020934

1171.9248079957

1236.2675667706

1171.9248079957

1175.0407020934

1229.3469626916

1175.0407020934

1174.0024328674

1236.2675667706

1178.1533369321

1176.0786091795

1231.1805169302

1176.0786091795

1178.9828224364

1234.2338332541

1175.0407020934

1183.1267734151

1228.327814452

1175.0407020934

1182.0913288803

1220.3660295422

1174.0024328674

1185.1965760651

1212.3822120412

1174.0024328674

1189.1252103184

1207.2527918331

1172.9638015015

1191.1908121456

1200.2622512976

1181.0555222056

1225.2681968939

1207.2527918331

1184.1618558101

1248.0346555711

1203.3483774959

1185.1965760651

1255.1119097126

1208.2794001545

1187.0581599317

1213.2020791099

1209.305646336

1183.1267734151

1202.320030903

1208.2794001545

1185.1965760651

1201.2913221702

1204.1707940295

1192.2230698494

1193.2549654133

1205.1984887706

1195.3176701213

1187.0581599317

1199.232818285

1192.2230698494

1181.0555222056

1202.320030903

1200.2622512976

1185.1965760651

1203.3483774959

1194.2864988373

1183.1267734151

1204.1707940295

1188.091866195

1175.0407020934

1211.3570522793

1187.0581599317

1172.9638015015

1210.3315303776

1186.2309341803

1166.9325981804

1221.183636858

1188.091866195

1160.8892124734

1220.3660295422

1192.2230698494

1154.6246144034

1222.2053200768

1182.0913288803

1153.5792472355

1221.183636858

1188.091866195

1149.6035492814

1224.2476000948

1194.2864988373

1141.4265229036

1232.1986511781

1206.2258213718

1143.5252967452

1233.2164232861

1217.2979379106

1163.8082300092

1236.2675667706

1206.2258213718

1177.1161541257

1250.0585388824

1205.1984887706

1190.158192302

1255.9196088808

1209.305646336

1201.2913221702

1255.9196088808

1218.320997261

1206.2258213718

1250.0585388824

1211.3570522793

1203.3483774959

1245.1987853552

1221.183636858

1200.2622512976

1245.1987853552

1218.320997261

1199.232818285

1245.1987853552

1219.3436944715

1190.158192302

1244.185286498

1221.183636858

1185.1965760651

1244.185286498

1216.2745164202

1190.158192302

1238.096688417

1227.3083040725

1184.1618558101

1233.2164232861

1222.2053200768

1172.9638015015

1229.3469626916

1208.2794001545

1159.8460181448

1231.1805169302

1209.305646336

1157.7585430679

1234.2338332541

1206.2258213718

1149.6035492814

1233.2164232861

1204.1707940295

1132.1747091129

1243.1714255009

1201.2913221702

1119.7248534106

1237.283890319

1200.2622512976

1111.4676058034

1229.3469626916

1191.1908121456

1119.7248534106

1231.1805169302

1190.158192302

1127.9600684267

1233.2164232861

1189.1252103184

1140.376592773

1231.1805169302

1201.2913221702

1155.6696194315

1223.2266411557

1199.232818285

1166.9325981804

1211.3570522793

1197.1728658401

1164.8500482061

1197.1728658401

1205.1984887706

1161.7235071955

1192.2230698494

1213.2020791099

1166.9325981804

1191.1908121456

1219.3436944715

1169.0136995952

1209.305646336

1230.1620205425

1164.8500482061

1228.327814452

1217.2979379106

1161.7235071955

1235.2508810823

1205.1984887706

1156.7142623196

1238.096688417

1208.2794001545

1149.6035492814

1243.1714255009

1202.320030903

1143.5252967452

1245.1987853552

1195.3176701213

1140.376592773

1244.185286498

1194.2864988373

1137.2246295417

1245.1987853552

1184.1618558101

1133.2274639347

1243.1714255009

1192.2230698494

1133.2274639347

1245.1987853552

1198.2030231325

1123.9507928615

1242.1572023639

1196.1423464079

1119.7248534106

1244.185286498

1204.1707940295

1121.8385474159

1250.0585388824

1213.2020791099

1125.0063723745

1252.0809736342

1218.320997261

1135.1215100214

1254.1019598263

1224.2476000948

1139.3263005025

1255.1119097126

1234.2338332541

1145.4129546842

1257.9378428098

1240.1276696702

1152.5335179276

1257.9378428098

1236.2675667706

1153.5792472355

1257.9378428098

1233.2164232861

1156.7142623196

1255.1119097126

1241.142617087

1159.8460181448

1257.9378428098

1243.1714255009

1159.8460181448

1257.9378428098

1245.1987853552

1159.8460181448

1257.9378428098

1248.0346555711

1163.8082300092

1259.9546281792

1251.0699373283

1166.9325981804

1259.9546281792

1248.0346555711

1166.9325981804

1262.977090184

1243.1714255009

1169.0136995952

1263.7825295993

1241.142617087

1174.0024328674

1265.7951141459

1247.0221707056

1176.0786091795

1270.8202380642

1250.0585388824

1178.9828224364

1272.6270663787

1241.142617087

1181.0555222056

1272.6270663787

1241.142617087

1184.1618558101

1269.8159375604

1236.2675667706

1187.0581599317

1267.8062501329

1228.327814452

1187.0581599317

1261.969964989

1224.2476000948

1189.1252103184

1258.9464165644

1219.3436944715

1192.2230698494

1258.9464165644

1223.2266411557

1199.232818285

1257.9378428098

1223.2266411557

1204.1707940295

1256.9289069153

1221.183636858

1210.3315303776

1254.1019598263

1223.2266411557

1213.2020791099

1252.0809736342

1229.3469626916

1215.25073279

1254.1019598263

1236.2675667706

1217.2979379106

1255.9196088808

1235.2508810823

1222.2053200768

1255.1119097126

1231.1805169302

1225.2681968939

1256.9289069153

1238.096688417

1227.3083040725

1254.1019598263

1239.1123601135

1227.3083040725

1256.9289069153

1233.2164232861

1234.2338332541

1255.1119097126

1232.1986511781

1235.2508810823

1254.1019598263

1223.2266411557

1235.2508810823

1259.9546281792

1217.2979379106

1231.1805169302

1260.962477654

1219.3436944715

1229.3469626916

1264.7890029426

1218.320997261

1227.3083040725

1263.7825295993

1213.2020791099

1230.1620205425

1262.977090184

1220.3660295422

1230.1620205425

1261.969964989

1215.25073279

1226.2884315532

1259.9546281792

1223.2266411557

1225.2681968939

1258.9464165644

1220.3660295422

1231.1805169302

1257.9378428098

1218.320997261

1223.2266411557

1255.1119097126

1224.2476000948

1216.2745164202

1254.1019598263

1234.2338332541

1209.305646336

1255.9196088808

1233.2164232861

1201.2913221702

1255.1119097126

1228.327814452

1201.2913221702

1258.9464165644

1228.327814452

1209.305646336

1256.9289069153

1237.283890319

1207.2527918331

1258.9464165644

1244.185286498

1214.2265870199

1255.9196088808

1236.2675667706

1223.2266411557

1253.0916478002

1231.1805169302

1227.3083040725

1256.9289069153

1244.185286498

1228.327814452

1259.9546281792

1251.0699373283

1222.2053200768

1261.969964989

1252.0809736342

1217.2979379106

1256.9289069153

1249.0467782967

1215.25073279

1256.9289069153

1252.0809736342

1224.2476000948

1252.0809736342

1243.1714255009

1228.327814452

1245.1987853552

1249.0467782967

1224.2476000948

1253.0916478002

1251.0699373283

1218.320997261

1257.9378428098

1253.0916478002

1217.2979379106

1257.9378428098

1249.0467782967

1212.3822120412

1257.9378428098

1243.1714255009

1209.305646336

1248.0346555711

1231.1805169302

1204.1707940295

1242.1572023639

1216.2745164202

1201.2913221702

1243.1714255009

1216.2745164202

1201.2913221702

1239.1123601135

1221.183636858

1200.2622512976

1236.2675667706

1214.2265870199

1204.1707940295

1236.2675667706

1216.2745164202

1203.3483774959

1235.2508810823

1217.2979379106

1203.3483774959

1239.1123601135

1227.3083040725

1202.320030903

1239.1123601135

1220.3660295422

1201.2913221702

1238.096688417

1207.2527918331

1203.3483774959

1218.320997261

1205.1984887706

1202.320030903

1209.305646336

1204.1707940295

1202.320030903

1211.3570522793

1204.1707940295

1203.3483774959

1216.2745164202

1210.3315303776

1199.232818285

1215.25073279

1207.2527918331

1198.2030231325

1216.2745164202

1207.2527918331

1198.2030231325

1219.3436944715

1205.1984887706

1198.2030231325

1223.2266411557

1217.2979379106

1202.320030903

1231.1805169302

1217.2979379106

1200.2622512976

1233.2164232861

1224.2476000948

1201.2913221702

1225.2681968939

1229.3469626916

1203.3483774959

1220.3660295422

1237.283890319

1205.1984887706

1213.2020791099

1231.1805169302

1208.2794001545

1206.2258213718

1226.2884315532

1208.2794001545

1203.3483774959

1230.1620205425

1212.3822120412

1200.2622512976

1232.1986511781

1211.3570522793

1201.2913221702

1243.1714255009

1217.2979379106

1213.2020791099

1239.1123601135

1219.3436944715

1209.305646336

1240.1276696702

1225.2681968939

1210.3315303776

1246.2119220725

1231.1805169302

1217.2979379106

1239.1123601135

1234.2338332541

1218.320997261

1235.2508810823

1231.1805169302

1222.2053200768

1223.2266411557

1237.283890319

1223.2266411557

1231.1805169302

1238.096688417

1222.2053200768

1235.2508810823

1238.096688417

1223.2266411557

1232.1986511781

1239.1123601135

1222.2053200768

1230.1620205425

1239.1123601135

1224.2476000948

1237.283890319

1243.1714255009

1220.3660295422

1236.2675667706

1244.185286498

1220.3660295422

1223.2266411557

1245.1987853552

1221.183636858

1223.2266411557

1245.1987853552

1220.3660295422

1219.3436944715

1244.185286498

1220.3660295422

1218.320997261

1245.1987853552

1223.2266411557

1216.2745164202

1244.185286498

1222.2053200768

1215.25073279

1241.142617087

1222.2053200768

1212.3822120412

1245.1987853552

1220.3660295422

1232.1986511781

1244.185286498

1223.2266411557

1229.3469626916

1245.1987853552

1224.2476000948

1218.320997261

1240.1276696702

1227.3083040725

1221.183636858

1241.142617087

1225.2681968939

1228.327814452

1241.142617087

1225.2681968939

1216.2745164202

1239.1123601135

1225.2681968939

1209.305646336

1240.1276696702

1225.2681968939

1212.3822120412

1239.1123601135

1229.3469626916

1210.3315303776

1240.1276696702

1232.1986511781

1205.1984887706

1243.1714255009

1231.1805169302

1205.1984887706

1248.0346555711

1231.1805169302

1203.3483774959

1250.0585388824

1234.2338332541

1208.2794001545

1251.0699373283

1232.1986511781

1216.2745164202

1251.0699373283

1233.2164232861

1212.3822120412

1255.1119097126

1233.2164232861

1213.2020791099

1257.9378428098

1229.3469626916

1217.2979379106

1257.9378428098

1227.3083040725

1213.2020791099

1255.9196088808

1228.327814452

1235.2508810823

1256.9289069153

1229.3469626916

1232.1986511781

1254.1019598263

1231.1805169302

1258.9464165644

1254.1019598263

1230.1620205425

1261.969964989

1250.0585388824

1231.1805169302

1257.9378428098

1239.1123601135

1229.3469626916

1260.962477654

1237.283890319

1231.1805169302

1259.9546281792

1235.2508810823

1231.1805169302

1259.9546281792

1232.1986511781

1228.327814452

1263.7825295993

1232.1986511781

1231.1805169302

1267.8062501329

1232.1986511781

1227.3083040725

1263.7825295993

1231.1805169302

1227.3083040725

1258.9464165644

1235.2508810823

1224.2476000948

1254.1019598263

1233.2164232861

1227.3083040725

1262.977090184

1237.283890319

1225.2681968939

1255.1119097126

1236.2675667706

1224.2476000948

1253.0916478002

1237.283890319

1221.183636858

1258.9464165644

1239.1123601135

1223.2266411557

1264.7890029426

1241.142617087

1225.2681968939

1255.1119097126

1243.1714255009

1224.2476000948

1255.9196088808

1255.1119097126

1223.2266411557

1255.1119097126

1258.9464165644

1223.2266411557

1248.0346555711

1258.9464165644

1223.2266411557

1249.0467782967

1261.969964989

1222.2053200768

1255.9196088808

1258.9464165644

1224.2476000948

1255.9196088808

1257.9378428098

1219.3436944715

1252.0809736342

1256.9289069153

1219.3436944715

1243.1714255009

1252.0809736342

1219.3436944715

1246.2119220725

1253.0916478002

1218.320997261

1245.1987853552

1247.0221707056

1216.2745164202

1241.142617087

1243.1714255009

1215.25073279

1241.142617087

1245.1987853552

1217.2979379106

1242.1572023639

1242.1572023639

1217.2979379106

1245.1987853552

1239.1123601135

1219.3436944715

1250.0585388824

1232.1986511781

1215.25073279

1255.1119097126

1228.327814452

1217.2979379106

1259.9546281792

1221.183636858

1219.3436944715

1262.977090184

1212.3822120412

1216.2745164202

1257.9378428098

1215.25073279

1214.2265870199

1254.1019598263

1211.3570522793

1214.2265870199

1252.0809736342

1208.2794001545

1212.3822120412

1259.9546281792

1209.305646336

1209.305646336

1259.9546281792

1208.2794001545

1208.2794001545

1252.0809736342

1206.2258213718

1210.3315303776

1248.0346555711

1205.1984887706

1212.3822120412

1245.1987853552

1204.1707940295

1208.2794001545

1256.9289069153

1201.2913221702

1210.3315303776

1258.9464165644

1204.1707940295

1207.2527918331

1250.0585388824

1202.320030903

1202.320030903

1243.1714255009

1205.1984887706

1203.3483774959

1256.9289069153

1207.2527918331

1204.1707940295

1252.0809736342

1209.305646336

1205.1984887706

1254.1019598263

1209.305646336

1208.2794001545

1253.0916478002

1218.320997261

1207.2527918331

1263.7825295993

1215.25073279

1209.305646336

1261.969964989

1213.2020791099

1206.2258213718

1269.8159375604

1213.2020791099

1202.320030903

1262.977090184

1209.305646336

1200.2622512976

1261.969964989

1210.3315303776

1205.1984887706

1274.6332772631

1212.3822120412

1200.2622512976

1280.4430972236

1210.3315303776

1198.2030231325

1275.6358394955

1210.3315303776

1196.1423464079

1281.4435590446

1215.25073279

1196.1423464079

1289.2347326071

1239.1123601135

1201.2913221702

1295.2129504482

1245.1987853552

1199.232818285

1297.9983238772

1239.1123601135

1199.232818285

1313.4648586638

1217.2979379106

1196.1423464079

1309.7054885974

1206.2258213718

1196.1423464079

1318.4034311473

1204.1707940295

1197.1728658401

1326.0895261979

1196.1423464079

1199.232818285

1329.0398499357

1198.2030231325

1198.2030231325

1312.6738469019

1200.2622512976

1194.2864988373

1317.4164409304

1205.1984887706

1192.2230698494

1316.4290885736

1212.3822120412

1184.1618558101

1311.6847562736

1214.2265870199

1182.0913288803

1304.9493360512

1212.3822120412

1175.0407020934

1302.9651432724

1208.2794001545

1180.0193533909

1299.986138055

1210.3315303776

1180.0193533909

1298.992412036

1203.3483774959

1178.1533369321

1293.2216597274

1198.2030231325

1176.0786091795

1290.232007597

1199.232818285

1169.0136995952

1291.2289204471

1197.1728658401

1166.9325981804

1293.2216597274

1201.2913221702

1162.7660496723

1287.4387250327

1193.2549654133

1155.6696194315

1287.4387250327

1194.2864988373

1154.6246144034

1294.2174861577

1199.232818285

1153.5792472355

1288.4366518745

1209.305646336

1151.6966737406

1291.2289204471

1210.3315303776

1149.6035492814

1289.2347326071

1205.1984887706

1153.5792472355

1290.232007597

1205.1984887706

1158.8024616763

1285.4417849296

1199.232818285

1149.6035492814

1279.6424670261

1201.2913221702

1148.5564438419

1288.4366518745

1194.2864988373

1143.5252967452

1297.0038735784

1200.2622512976

1145.4129546842

1291.2289204471

1194.2864988373

1142.4760908944

1291.2289204471

1194.2864988373

1143.5252967452

1281.4435590446

1198.2030231325

1144.3644006852

1285.4417849296

1208.2794001545

1144.3644006852

1282.4436587257

1214.2265870199

1143.5252967452

1276.638039588

1221.183636858

1149.6035492814

1275.6358394955

1221.183636858

1143.5252967452

1276.638039588

1223.2266411557

1140.376592773

1266.8008632094

1223.2266411557

1141.4265229036

1261.969964989

1224.2476000948

1142.4760908944

1257.9378428098

1224.2476000948

1143.5252967452

1253.0916478002

1228.327814452

1142.4760908944

1257.9378428098

1231.1805169302

1142.4760908944

1262.977090184

1233.2164232861

1141.4265229036

1256.9289069153

1239.1123601135

1139.3263005025

1251.0699373283

1242.1572023639

1137.2246295417

1260.962477654

1246.2119220725

1131.1215921512

1269.8159375604

1245.1987853552

1126.9055029054

1272.6270663787

1245.1987853552

1127.9600684267

1271.8241764282

1252.0809736342

1123.9507928615

1273.6303528909

1251.0699373283

1122.8948512086

1275.6358394955

1255.9196088808

1117.6097108458

1268.8112749166

1256.9289069153

1119.7248534106

1271.8241764282

1255.1119097126

1116.7632482232

1269.8159375604

1252.0809736342

1113.586949191

1270.8202380642

1249.0467782967

1112.5274585671

1261.969964989

1249.0467782967

1103.1883256049

1253.0916478002

1253.0916478002

1103.1883256049

1240.1276696702

1244.185286498

1094.8870128152

1238.096688417

1251.0699373283

1091.6883335375

1218.320997261

1259.9546281792

1087.6319942716

1217.2979379106

1256.9289069153

1080.3602303793

1222.2053200768

1252.0809736342

1064.4755657023

1230.1620205425

1251.0699373283

1058.2288601726

1223.2266411557

1254.1019598263

1059.3067475031

1221.183636858

1256.9289069153

1064.4755657023

1210.3315303776

1253.0916478002

1064.4755657023

1199.232818285

1254.1019598263

1059.3067475031

1191.1908121456

1251.0699373283

1054.9930253417

1191.1908121456

1254.1019598263

1054.1295856008

1202.320030903

1245.1987853552

1047.6463998903

1204.1707940295

1238.096688417

1047.6463998903

1195.3176701213

1239.1123601135

1038.1141449649

1182.0913288803

1232.1986511781

1033.9892743453

1171.9248079957

1233.2164232861

1025.5060514436

1178.9828224364

1238.096688417

1018.0924445973

1187.0581599317

1233.2164232861

1012.6305799657

1186.2309341803

1231.1805169302

1004.0919931169

1181.0555222056

1233.2164232861

997.7285047139

1194.2864988373

1230.1620205425

986.9487216457

1177.1161541257

1230.1620205425

975.0286762714

1169.8457345644

1226.2884315532

962.178615358

1161.7235071955

1222.2053200768

950.1709611003

1166.9325981804

1224.2476000948

944.820667357

1159.8460181448

1224.2476000948

937.0031992704

1145.4129546842

1226.2884315532

925.1315386156

1147.5089762626

1225.2681968939

918.393696131

1133.2274639347

1221.183636858

911.8680559686

1143.5252967452

1223.2266411557

907.5860311203

1139.3263005025

1223.2266411557

899.6844017221

1136.1732508515

1220.3660295422

891.9915415599

1137.2246295417

1221.183636858

880.8753160437

1138.2756460921

1219.3436944715

866.5319209123

1139.3263005025

1219.3436944715

856.4802125217

1139.3263005025

1214.2265870199

846.4004600177

1135.1215100214

1211.3570522793

836.2926634001

1130.0681130496

1215.25073279

819.4610491842

1125.0063723745

1214.2265870199

804.641060636

1116.7632482232

1213.2020791099

789.994684783

1108.2858746727

1214.2265870199

779.731370809

1106.37527155

1213.2020791099

768.2687657261

1099.9981204007

1212.3822120412

762.6417391607

1091.6883335375

1208.2794001545

756.7713807277

1093.8211485292

1210.3315303776

744.2962791232

1086.5636674343

1209.305646336

734.8541648927

1092.7549221033

1208.2794001545

730.3610414568

1083.3565140831

1208.2794001545

722.3076637865

1070.9248551186

1211.3570522793

714.2375407675

1067.70184004

1210.3315303776

711.8607883426

1062.5382366553

1207.2527918331

702.5776128987

1057.1506107022

1202.320030903

693.2724048636

1057.1506107022

1201.2913221702

683.9451642372

1051.9699722569

1201.2913221702

669.7928454323

1044.6164516619

1201.2913221702

660.4102408588

1040.2830290901

1196.1423464079

647.3825688876

1031.8161893973

1198.2030231325

637.9474250582

1036.1609107338

1198.2030231325

629.7039384287

1030.7291037135

1194.2864988373

620.227554108

1025.5060514436

1193.2549654133

610.7291371962

1029.6416558897

1192.2230698494

610.7291371962

1025.5060514436

1191.1908121456

610.7291371962

1022.2374067382

1189.1252103184

613.1667291234

1020.0564995685

1183.1267734151

611.9481142297

1023.3273171133

1184.1618558101

611.9481142297

1031.8161893973

1185.1965760651

614.3849818772

1029.6416558897

1188.091866195

616.5769242415

1031.8161893973

1181.0555222056

619.0110396257

1033.9892743453

1181.0555222056

620.227554108

1033.9892743453

1178.1533369321

621.4437064504

1030.7291037135

1177.1161541257

620.227554108

1030.7291037135

1176.0786091795

621.4437064504

1027.6833372144

1176.0786091795

629.7039384287

1022.2374067382

1174.0024328674

630.9172660799

1013.7236771718

1172.9638015015

626.0617826357

1012.6305799657

1170.8854523499

623.8749247155

1006.2834747716

1174.0024328674

621.4437064504

1002.9957090797

1169.8457345644

621.4437064504

1004.0919931169

1174.0024328674

619.0110396257

999.9241871914

1176.0786091795

615.3593233395

995.5313736769

1178.1533369321

611.9481142297

989.1515020651

1174.0024328674

609.5097980227

985.8467882261

1171.9248079957

605.8496076629

984.7444926667

1158.8024616763

605.8496076629

981.656138516

1152.5335179276

603.6519290027

976.1341586619

1144.3644006852

604.6288199299

970.8245404716

1140.376592773

604.6288199299

968.6097370077

1133.2274639347

607.0700332561

961.0685700048

1126.0615897476

604.6288199299

952.3977876087

1126.0615897476

603.6519290027

953.5106576531

1123.9507928615

603.6519290027

953.5106576531

1120.7818814832

599.9865238285

951.2845554245

1119.7248534106

598.7639978239

949.0570046363

1118.6674631982

598.7639978239

945.7129624047

1117.6097108458

599.9865238285

944.820667357

1120.7818814832

596.3178593952

940.3557155755

1114.6460776749

597.5411096795

934.990125043

1110.4073908997

599.9865238285

932.7519997699

1104.2510030598

597.5411096795

928.2714035449

1105.3133183749

597.5411096795

928.2714035449

1101.0618842753

597.5411096795

926.2532448734

1097.0176549676

594.1150962908

922.8870396803

1093.8211485292

595.0942469709

917.2694548939

1091.6883335375

596.3178593952

915.2449080746

1092.7549221033

596.3178593952

907.5860311203

1091.6883335375

596.3178593952

905.3302334202

1087.6319942716

595.0942469709

903.0729871607

1082.2867386862

594.1150962908

894.2558857615

1101.0618842753

594.1150962908

891.9915415599

1116.7632482232

594.1150962908

890.8588262493

1117.6097108458

597.5411096795

887.6852967954

1119.7248534106

598.7639978239

885.4167517711

1105.3133183749

597.5411096795

884.2819360491

1090.6213828318

598.7639978239

885.4167517711

1090.6213828318

598.7639978239

884.2819360491

1086.5636674343

598.7639978239

875.4179447763

1091.6883335375

597.5411096795

874.2799422233

1088.699958969

598.7639978239

875.4179447763

1086.5636674343

601.2086876931

867.6723860167

1085.4949784571

601.2086876931

864.2499042839

1079.2894409907

604.6288199299

866.5319209123

1073.9300619494

603.6519290027

866.5319209123

1068.7765405394

603.6519290027

861.966439096

1061.4614357445

604.6288199299

860.8241632921

1053.0499599988

605.8496076629

863.1083527599

1048.7278361918

604.6288199299

863.1083527599

1040.2830290901

605.8496076629

863.1083527599

1037.0291596925

607.0700332561

865.3910936681

1035.0752736095

608.2900967093

863.1083527599

1031.8161893973

610.7291371962

859.9100819083

1027.6833372144

611.9481142297

857.6238644572

1022.2374067382

613.1667291234

856.4802125217

1018.9655027738

615.3593233395

856.4802125217

1023.3273171133

617.7941630035

855.3361984464

1015.9087851643

621.4437064504

855.3361984464

1001.8990629027

620.227554108

857.6238644572

993.3327940803

621.4437064504

857.6238644572

984.7444926667

621.4437064504

855.3361984464

975.0286762714

620.227554108

853.0470838761

970.8245404716

620.227554108

855.3361984464

969.7173198096

621.4437064504

851.901983381

963.2882985712

620.227554108

853.0470838761

958.8473928787

615.3593233395

854.1918222312

953.5106576531

615.3593233395

854.1918222312

945.7129624047

616.5769242415

851.901983381

933.8712434764

613.1667291234

850.9856422443

926.2532448734

615.3593233395

850.9856422443

917.2694548939

615.3593233395

856.4802125217

912.9940354772

610.7291371962

855.3361984464

910.7417143202

611.9481142297

851.901983381

905.3302334202

610.7291371962

851.901983381

898.5541489627

608.2900967093

850.9856422443

895.3875146524

602.4304894179

848.6937754108

888.8190260977

601.2086876931

850.9856422443

882.0112181854

598.7639978239

850.9856422443

875.4179447763

598.7639978239

855.3361984464

868.8124889812

597.5411096795

855.3361984464

863.1083527599

597.5411096795

854.1918222312

853.0470838761

596.3178593952

850.9856422443

842.9577708788

596.3178593952

851.901983381

835.1422756626

595.0942469709

851.901983381

828.4628853865

599.9865238285

851.901983381

819.4610491842

601.2086876931

850.9856422443

808.1198189085

597.5411096795

847.5472987842

800.2299546435

589.2158663473

847.5472987842

793.2544035319

590.441217043

849.8398898975

785.3330186105

603.6519290027

846.4004600177

775.0569573122

620.227554108

850.9856422443

770.610897577

636.7361978183

850.9856422443

764.7528519004

654.6253792416

848.6937754108

760.2946822072

677.9545753591

846.4004600177

757.9461766941

697.8084636054

848.6937754108

751.1273191017

710.6718689203

850.9856422443

745.2392158138

723.4930342378

847.5472987842

740.758202336

730.3610414568

847.5472987842

734.8541648927

726.8101449173

848.6937754108

726.8101449173

719.9358364642

849.8398898975

717.5625605823

722.3076637865

851.901983381

705.9125698322

722.3076637865

850.9856422443

695.4217161194

724.6780425493

848.6937754108

692.0778360589

722.3076637865

848.6937754108

683.9451642372

725.6257884577

850.9856422443

681.5500151057

726.8101449173

849.8398898975

679.1534174145

723.4930342378

849.8398898975

676.7553711638

722.3076637865

848.6937754108

674.5958910197

715.1878361408

848.6937754108

669.7928454323

723.4930342378

849.8398898975

667.3891497992

722.3076637865

840.8905929511

664.0215423328

724.6780425493

842.9577708788

661.6143701567

722.3076637865

842.9577708788

661.6143701567

719.9358364642

842.9577708788

661.6143701567

719.9358364642

845.2532591113

659.205749421

717.5625605823

844.105696065

658.0008958434

707.102937814

844.105696065

656.7956801258

709.4825873581

844.105696065

656.7956801258

725.6257884577

845.2532591113

652.2125576832

729.1777714169

842.9577708788

652.2125576832

737.2168662897

840.8905929511

651.0056036941

733.9086787372

844.105696065

648.5906092963

731.5439493568

842.9577708788

643.9981291588

726.8101449173

842.9577708788

641.5789339383

719.9358364642

841.8094835527

640.3687931181

705.9125698322

845.2532591113

640.3687931181

669.7928454323



		0.49

		0.53

		0.57

		0.64

		0.7

		0.83

		0.83

		0



a

Qsum.,J/s

propane supply rate  ,l/min

Average heat supply rate,J/s

273.816254514

251.5184884202

236.9683048215

314.8522075557

309.1143831881

410.6090688327

0



		1		1		1

		2		2		2

		3		3		3

		4		4		4

		5		5		5

		6		6		6

		7		7		7

		8		8		8

		9		9		9

		10		10		10

		11		11		11

		12		12		12

		13		13		13

		14		14		14

		15		15		15

		16		16		16

		17		17		17

		18		18		18

		19		19		19

		20		20		20

		21		21		21

		22		22		22

		23		23		23

		24		24		24

		25		25		25

		26		26		26

		27		27		27

		28		28		28

		29		29		29

		30		30		30

		31		31		31

		32		32		32

		33		33		33

		34		34		34

		35		35		35

		36		36		36

		37		37		37

		38		38		38

		39		39		39

		40		40		40

		41		41		41

		42		42		42

		43		43		43

		44		44		44

		45		45		45

		46		46		46

		47		47		47

		48		48		48

		49		49		49

		50		50		50

		51		51		51

		52		52		52

		53		53		53

		54		54		54

		55		55		55

		56		56		56

		57		57		57

		58		58		58

		59		59		59

		60		60		60

		61		61		61

		62		62		62

		63		63		63

		64		64		64

		65		65		65

		66		66		66

		67		67		67

		68		68		68

		69		69		69

		70		70		70

		71		71		71

		72		72		72

		73		73		73

		74		74		74

		75		75		75

		76		76		76

		77		77		77

		78		78		78

		79		79		79

		80		80		80

		81		81		81

		82		82		82

		83		83		83

		84		84		84

		85		85		85

		86		86		86

		87		87		87

		88		88		88

		89		89		89

		90		90		90

		91		91		91

		92		92		92

		93		93		93

		94		94		94

		95		95		95

		96		96		96

		97		97		97

		98		98		98

		99		99		99

		100		100		100

		101		101		101

		102		102		102

		103		103		103

		104		104		104

		105		105		105

		106		106		106

		107		107		107

		108		108		108

		109		109		109

		110		110		110

		111		111		111

		112		112		112

		113		113		113

		114		114		114

		115		115		115

		116		116		116

		117		117		117

		118		118		118

		119		119		119

		120		120		120

		121		121		121

		122		122		122

		123		123		123

		124		124		124

		125		125		125

		126		126		126

		127		127		127

		128		128		128

		129		129		129

		130		130		130

		131		131		131

		132		132		132

		133		133		133

		134		134		134

		135		135		135

		136		136		136

		137		137		137

		138		138		138

		139		139		139

		140		140		140

		141		141		141

		142		142		142

		143		143		143

		144		144		144

		145		145		145

		146		146		146

		147		147		147

		148		148		148

		149		149		149

		150		150		150

		151		151		151

		152		152		152

		153		153		153

		154		154		154

		155		155		155

		156		156		156

		157		157		157

		158		158		158

		159		159		159

		160		160		160

		161		161		161

		162		162		162

		163		163		163

		164		164		164

		165		165		165

		166		166		166

		167		167		167

		168		168		168

		169		169		169

		170		170		170

		171		171		171

		172		172		172

		173		173		173

		174		174		174

		175		175		175

		176		176		176

		177		177		177

		178		178		178

		179		179		179

		180		180		180

		181		181		181

		182		182		182

		183		183		183

		184		184		184

		185		185		185

		186		186		186

		187		187		187

		188		188		188

		189		189		189

		190		190		190

		191		191		191

		192		192		192

		193		193		193

		194		194		194

		195		195		195

		196		196		196

		197		197		197

		198		198		198

		199		199		199

		200		200		200

		201		201		201

		202		202		202

		203		203		203

		204		204		204

		205		205		205

		206		206		206

		207		207		207

		208		208		208

		209		209		209

		210		210		210

		211		211		211

		212		212		212

		213		213		213

		214		214		214

		215		215		215

		216		216		216

		217		217		217

		218		218		218

		219		219		219

		220		220		220

		221		221		221

		222		222		222

		223		223		223

		224		224		224

		225		225		225

		226		226		226

		227		227		227

		228		228		228

		229		229		229

		230		230		230

		231		231		231

		232		232		232

		233		233		233

		234		234		234

		235		235		235

		236		236		236

		237		237		237

		238		238		238

		239		239		239

		240		240		240

		241		241		241

		242		242		242

		243		243		243

		244		244		244

		245		245		245

		246		246		246

		247		247		247

		248		248		248

		249		249		249

		250		250		250

		251		251		251

		252		252		252

		253		253		253

		254		254		254

		255		255		255

		256		256		256

		257		257		257

		258		258		258

		259		259		259

		260		260		260

		261		261		261

		262		262		262

		263		263		263

		264		264		264

		265		265		265

		266		266		266

		267		267		267

		268		268		268

		269		269		269

		270		270		270

		271		271		271

		272		272		272

		273		273		273

		274		274		274

		275		275		275

		276		276		276

		277		277		277

		278		278		278

		279		279		279

		280		280		280

		281		281		281

		282		282		282

		283		283		283

		284		284		284

		285		285		285

		286		286		286

		287		287		287

		288		288		288

		289		289		289

		290		290		290

		291		291		291

		292		292		292

		293		293		293

		294		294		294

		295		295		295

		296		296		296

		297		297		297

		298		298		298

		299		299		299

		300		300		300

		301		301		301

		302		302		302

		303		303		303

		304		304		304

		305		305		305

		306		306		306

		307		307		307

		308		308		308

		309		309		309

		310		310		310

		311		311		311

		312		312		312

		313		313		313

		314		314		314

		315		315		315

		316		316		316

		317		317		317

		318		318		318

		319		319		319

		320		320		320

		321		321		321

		322		322		322

		323		323		323

		324		324		324

		325		325		325

		326		326		326

		327		327		327

		328		328		328

		329		329		329

		330		330		330

		331		331		331

		332		332		332

		333		333		333

		334		334		334

		335		335		335

		336		336		336

		337		337		337

		338		338		338

		339		339		339

		340		340		340

		341		341		341

		342		342		342

		343		343		343

		344		344		344

		345		345		345

		346		346		346

		347		347		347

		348		348		348

		349		349		349

		350		350		350

		351		351		351

		352		352		352

		353		353		353

		354		354		354

		355		355		355

		356		356		356

		357		357		357

		358		358		358

		359		359		359

		360		360		360

		361		361		361

		362		362		362

		363		363		363

		364		364		364

		365		365		365

		366		366		366

		367		367		367

		368		368		368

		369		369		369

		370		370		370

		371		371		371

		372		372		372

		373		373		373

		374		374		374

		375		375		375

		376		376		376

		377		377		377

		378		378		378

		379		379		379

		380		380		380

		381		381		381

		382		382		382

		383		383		383

		384		384		384

		385		385		385

		386		386		386

		387		387		387

		388		388		388

		389		389		389

		390		390		390

		391		391		391

		392		392		392

		393		393		393

		394		394		394

		395		395		395

		396		396		396

		397		397		397

		398		398		398

		399		399		399

		400		400		400

		401		401		401

		402		402		402

		403		403		403

		404		404		404

		405		405		405

		406		406		406

		407		407		407

		408		408		408

		409		409		409

		410		410		410

		411		411		411

		412		412		412

		413		413		413

		414		414		414

		415		415		415

		416		416		416

		417		417		417

		418		418		418

		419		419		419

		420		420		420

		421		421		421

		422		422		422

		423		423		423

		424		424		424

		425		425		425

		426		426		426

		427		427		427

		428		428		428

		429		429		429

		430		430		430

		431		431		431

		432		432		432

		433		433		433

		434		434		434

		435		435		435

		436		436		436

		437		437		437

		438		438		438

		439		439		439

		440		440		440

		441		441		441

		442		442		442

		443		443		443

		444		444		444

		445		445		445

		446		446		446

		447		447		447

		448		448		448

		449		449		449

		450		450		450

		451		451		451

		452		452		452

		453		453		453

		454		454		454

		455		455		455

		456		456		456

		457		457		457

		458		458		458

		459		459		459

		460		460		460

		461		461		461

		462		462		462

		463		463		463

		464		464		464

		465		465		465

		466		466		466

		467		467		467

		468		468		468

		469		469		469

		470		470		470

		471		471		471

		472		472		472

		473		473		473

		474		474		474

		475		475		475

		476		476		476

		477		477		477

		478		478		478

		479		479		479

		480		480		480

		481		481		481

		482		482		482

		483		483		483

		484		484		484

		485		485		485

		486		486		486

		487		487		487

		488		488		488

		489		489		489

		490		490		490

		491		491		491

		492		492		492

		493		493		493

		494		494		494

		495		495		495

		496		496		496

		497		497		497

		498		498		498

		499		499		499

		500		500		500

		501		501		501

		502		502		502

		503		503		503

		504		504		504

		505		505		505

		506		506		506

		507		507		507

		508		508		508

		509		509		509

		510		510		510

		511		511		511

		512		512		512

		513		513		513

		514		514		514

		515		515		515

		516		516		516

		517		517		517

		518		518		518

		519		519		519

		520		520		520

		521		521		521

		522		522		522

		523		523		523

		524		524		524

		525		525		525

		526		526		526

		527		527		527

		528		528		528

		529		529		529

		530		530		530

		531		531		531

		532		532		532

		533		533		533

		534		534		534

		535		535		535

		536		536		536

		537		537		537

		538		538		538

		539		539		539

		540		540		540

		541		541		541

		542		542		542

		543		543		543

		544		544		544

		545		545		545

		546		546		546

		547		547		547

		548		548		548

		549		549		549

		550		550		550

		551		551		551

		552		552		552

		553		553		553

		554		554		554

		555		555		555

		556		556		556

		557		557		557

		558		558		558

		559		559		559

		560		560		560

		561		561		561

		562		562		562

		563		563		563

		564		564		564

		565		565		565

		566		566		566

		567		567		567

		568		568		568

		569		569		569

		570		570		570

		571		571		571

		572		572		572

		573		573		573

		574		574		574

		575		575		575

		576		576		576

		577		577		577

		578		578		578

		579		579		579

		580		580		580

		581		581		581

		582		582		582

		583		583		583

		584		584		584

		585		585		585

		586		586		586

		587		587		587

		588		588		588

		589		589		589

		590		590		590

		591		591		591

		592		592		592

		593		593		593

		594		594		594

		595		595		595

		596		596		596

		597		597		597

		598		598		598

		599		599		599

		600		600		600

		601		601		601

		602		602		602

		603		603		603

		604		604		604

		605		605		605

		606		606		606

		607		607		607

		608		608		608

		609		609		609

		610		610		610

		611		611		611

		612		612		612

		613		613		613

		614		614		614

		615		615		615

		616		616		616

		617		617		617

		618		618		618

		619		619		619

		620		620		620

		621		621		621

		622		622		622

		623		623		623

		624		624		624

		625		625		625

		626		626		626

		627		627		627

		628		628		628

		629		629		629

		630		630		630

		631		631		631

		632		632		632

		633		633		633

		634		634		634

		635		635		635

		636		636		636

		637		637		637

		638		638		638

		639		639		639

		640		640		640

		641		641		641

		642		642		642

		643		643		643

		644		644		644

		645		645		645

		646		646		646

		647		647		647

		648		648		648

		649		649		649

		650		650		650

		651		651		651

		652		652		652

		653		653		653

		654		654		654

		655		655		655

		656		656		656

		657		657		657

		658		658		658

		659		659		659

		660		660		660

		661		661		661

		662		662		662

		663		663		663

		664		664		664

		665		665		665

		666		666		666

		667		667		667

		668		668		668

		669		669		669

		670		670		670

		671		671		671

		672		672		672

		673		673		673

		674		674		674

		675		675		675

		676		676		676

		677		677		677

		678		678		678

		679		679		679

		680		680		680

		681		681		681

		682		682		682

		683		683		683

		684		684		684

		685		685		685

		686		686		686

		687		687		687

		688		688		688

		689		689		689

		690		690		690

		691		691		691

		692		692		692

		693		693		693

		694		694		694

		695		695		695

		696		696		696

		697		697		697

		698		698		698

		699		699		699

		700		700		700

		701		701		701

		702		702		702

		703		703		703

		704		704		704

		705		705		705

		706		706		706

		707		707		707

		708		708		708

		709		709		709

		710		710		710

		711		711		711

		712		712		712

		713		713		713

		714		714		714

		715		715		715

		716		716		716

		717		717		717

		718		718		718

		719		719		719

		720		720		720

		721		721		721

		722		722		722

		723		723		723

		724		724		724

		725		725		725

		726		726		726

		727		727		727

		728		728		728

		729		729		729

		730		730		730

		731		731		731

		732		732		732

		733		733		733

		734		734		734

		735		735		735

		736		736		736

		737		737		737

		738		738		738

		739		739		739

		740		740		740

		741		741		741

		742		742		742

		743		743		743

		744		744		744

		745		745		745

		746		746		746

		747		747		747

		748		748		748

		749		749		749

		750		750		750

		751		751		751

		752		752		752

		753		753		753

		754		754		754

		755		755		755

		756		756		756

		757		757		757

		758		758		758

		759		759		759

		760		760		760

		761		761		761

		762		762		762

		763		763		763

		764		764		764

		765		765		765

		766		766		766

		767		767		767

		768		768		768

		769		769		769

		770		770		770

		771		771		771

		772		772		772

		773		773		773

		774		774		774

		775		775		775

		776		776		776

		777		777		777

		778		778		778

		779		779		779

		780		780		780

		781		781		781

		782		782		782

		783		783		783

		784		784		784

		785		785		785

		786		786		786

		787		787		787

		788		788		788

		789		789		789

		790		790		790

		791		791		791

		792		792		792

		793		793		793

		794		794		794

		795		795		795

		796		796		796

		797		797		797

		798		798		798

		799		799		799

		800		800		800

		801		801		801

		802		802		802

		803		803		803

		804		804		804

		805		805		805

		806		806		806

		807		807		807

		808		808		808

		809		809		809

		810		810		810

		811		811		811

		812		812		812

		813		813		813

		814		814		814

		815		815		815

		816		816		816

		817		817		817

		818		818		818

		819		819		819

		820		820		820

		821		821		821

		822		822		822

		823		823		823

		824		824		824

		825		825		825

		826		826		826

		827		827		827

		828		828		828

		829		829		829

		830		830		830

		831		831		831

		832		832		832

		833		833		833

		834		834		834

		835		835		835

		836		836		836

		837		837		837

		838		838		838

		839		839		839

		840		840		840

		841		841		841

		842		842		842

		843		843		843

		844		844		844

		845		845		845

		846		846		846

		847		847		847

		848		848		848

		849		849		849

		850		850		850

		851		851		851

		852		852		852

		853		853		853

		854		854		854

		855		855		855

		856		856		856

		857		857		857

		858		858		858

		859		859		859

		860		860		860

		861		861		861

		862		862		862

		863		863		863

		864		864		864

		865		865		865

		866		866		866

		867		867		867

		868		868		868

		869		869		869

		870		870		870

		871		871		871

		872		872		872

		873		873		873

		874		874		874

		875		875		875

		876		876		876

		877		877		877

		878		878		878

		879		879		879

		880		880		880

		881		881		881

		882		882		882

		883		883		883

		884		884		884

		885		885		885

		886		886		886

		887		887		887

		888		888		888

		889		889		889

		890		890		890

		891		891		891

		892		892		892

		893		893		893

		894		894		894

		895		895		895

		896		896		896

		897		897		897

		898		898		898

		899		899		899

		900		900		900

		901		901		901

		902		902		902

		903		903		903

		904		904		904

		905		905		905

		906		906		906

		907		907		907

		908		908		908

		909		909		909

		910		910		910

		911		911		911

		912		912		912

		913		913		913

		914		914		914

		915		915		915

		916		916		916

		917		917		917

		918		918		918

		919		919		919

		920		920		920

		921		921		921

		922		922		922

		923		923		923

		924		924		924

		925		925		925

		926		926		926

		927		927		927

		928		928		928

		929		929		929

		930		930		930

		931		931		931

		932		932		932

		933		933		933

		934		934		934

		935		935		935

		936		936		936

		937		937		937

		938		938		938

		939		939		939

		940		940		940

		941		941		941

		942		942		942

		943		943		943

		944		944		944

		945		945		945

		946		946		946

		947		947		947

		948		948		948

		949		949		949

		950		950		950

		951		951		951

		952		952		952

		953		953		953

		954		954		954

		955		955		955

		956		956		956

		957		957		957

		958		958		958

		959		959		959

		960		960		960

		961		961		961

		962		962		962

		963		963		963

		964		964		964

		965		965		965

		966		966		966

		967		967		967

		968		968		968

		969		969		969

		970		970		970

		971		971		971

		972		972		972

		973		973		973

		974		974		974

		975		975		975

		976		976		976

		977		977		977

		978		978		978

		979		979		979

		980		980		980

		981		981		981

		982		982		982

		983		983		983

		984		984		984

		985		985		985

		986		986		986

		987		987		987

		988		988		988

		989		989		989

		990		990		990

		991		991		991

		992		992		992

		993		993		993

		994		994		994

		995		995		995

		996		996		996

		997		997		997

		998		998		998

		999		999		999

		1000		1000		1000

		1001		1001		1001

		1002		1002		1002

		1003		1003		1003

		1004		1004		1004

		1005		1005		1005

		1006		1006		1006

		1007		1007		1007

		1008		1008		1008

		1009		1009		1009

		1010		1010		1010

		1011		1011		1011

		1012		1012		1012

		1013		1013		1013

		1014		1014		1014

		1015		1015		1015

		1016		1016		1016

		1017		1017		1017

		1018		1018		1018

		1019		1019		1019

		1020		1020		1020

		1021		1021		1021

		1022		1022		1022

		1023		1023		1023

		1024		1024		1024

		1025		1025		1025

		1026		1026		1026

		1027		1027		1027

		1028		1028		1028

		1029		1029		1029

		1030		1030		1030

		1031		1031		1031

		1032		1032		1032

		1033		1033		1033

		1034		1034		1034

		1035		1035		1035

		1036		1036		1036

		1037		1037		1037

		1038		1038		1038

		1039		1039		1039

		1040		1040		1040

		1041		1041		1041

		1042		1042		1042

		1043		1043		1043

		1044		1044		1044

		1045		1045		1045

		1046		1046		1046

		1047		1047		1047

		1048		1048		1048

		1049		1049		1049

		1050		1050		1050

		1051		1051		1051

		1052		1052		1052

		1053		1053		1053

		1054		1054		1054

		1055		1055		1055

		1056		1056		1056

		1057		1057		1057

		1058		1058		1058

		1059		1059		1059

		1060		1060		1060

		1061		1061		1061

		1062		1062		1062

		1063		1063		1063

		1064		1064		1064

		1065		1065		1065

		1066		1066		1066

		1067		1067		1067

		1068		1068		1068

		1069		1069		1069

		1070		1070		1070

		1071		1071		1071

		1072		1072		1072

		1073		1073		1073

		1074		1074		1074

		1075		1075		1075

		1076		1076		1076

		1077		1077		1077

		1078		1078		1078

		1079		1079		1079

		1080		1080		1080

		1081		1081		1081

		1082		1082		1082

		1083		1083		1083

		1084		1084		1084

		1085		1085		1085

		1086		1086		1086

		1087		1087		1087

		1088		1088		1088

		1089		1089		1089

		1090		1090		1090

		1091		1091		1091

		1092		1092		1092

		1093		1093		1093

		1094		1094		1094

		1095		1095		1095

		1096		1096		1096

		1097		1097		1097

		1098		1098		1098

		1099		1099		1099

		1100		1100		1100

		1101		1101		1101

		1102		1102		1102

		1103		1103		1103

		1104		1104		1104

		1105		1105		1105

		1106		1106		1106

		1107		1107		1107

		1108		1108		1108

		1109		1109		1109

		1110		1110		1110

		1111		1111		1111

		1112		1112		1112

		1113		1113		1113

		1114		1114		1114

		1115		1115		1115

		1116		1116		1116

		1117		1117		1117

		1118		1118		1118

		1119		1119		1119

		1120		1120		1120

		1121		1121		1121

		1122		1122		1122

		1123		1123		1123

		1124		1124		1124

		1125		1125		1125

		1126		1126		1126

		1127		1127		1127

		1128		1128		1128

		1129		1129		1129

		1130		1130		1130

		1131		1131		1131

		1132		1132		1132

		1133		1133		1133

		1134		1134		1134

		1135		1135		1135

		1136		1136		1136

		1137		1137		1137

		1138		1138		1138

		1139		1139		1139

		1140		1140		1140

		1141		1141		1141

		1142		1142		1142

		1143		1143		1143

		1144		1144		1144

		1145		1145		1145

		1146		1146		1146

		1147		1147		1147

		1148		1148		1148

		1149		1149		1149

		1150		1150		1150

		1151		1151		1151

		1152		1152		1152

		1153		1153		1153

		1154		1154		1154

		1155		1155		1155

		1156		1156		1156

		1157		1157		1157

		1158		1158		1158

		1159		1159		1159

		1160		1160		1160

		1161		1161		1161

		1162		1162		1162

		1163		1163		1163

		1164		1164		1164

		1165		1165		1165

		1166		1166		1166

		1167		1167		1167

		1168		1168		1168

		1169		1169		1169

		1170		1170		1170

		1171		1171		1171

		1172		1172		1172

		1173		1173		1173

		1174		1174		1174

		1175		1175		1175

		1176		1176		1176

		1177		1177		1177

		1178		1178		1178

		1179		1179		1179

		1180		1180		1180

		1181		1181		1181

		1182		1182		1182

		1183		1183		1183

		1184		1184		1184

		1185		1185		1185

		1186		1186		1186

		1187		1187		1187

		1188		1188		1188

		1189		1189		1189

		1190		1190		1190

		1191		1191		1191

		1192		1192		1192

		1193		1193		1193

		1194		1194		1194

		1195		1195		1195

		1196		1196		1196

		1197		1197		1197

		1198		1198		1198

		1199		1199		1199

		1200		1200		1200

		1201		1201		1201

		1202		1202		1202

		1203		1203		1203

		1204		1204		1204

		1205		1205		1205

		1206		1206		1206

		1207		1207		1207

		1208		1208		1208

		1209		1209		1209

		1210		1210		1210

		1211		1211		1211

		1212		1212		1212

		1213		1213		1213

		1214		1214		1214

		1215		1215		1215

		1216		1216		1216

		1217		1217		1217

		1218		1218		1218

		1219		1219		1219

		1220		1220		1220

		1221		1221		1221

		1222		1222		1222

		1223		1223		1223

		1224		1224		1224

		1225		1225		1225

		1226		1226		1226

		1227		1227		1227

		1228		1228		1228

		1229		1229		1229

		1230		1230		1230

		1231		1231		1231

		1232		1232		1232

		1233		1233		1233

		1234		1234		1234

		1235		1235		1235

		1236		1236		1236

		1237		1237		1237

		1238		1238		1238

		1239		1239		1239

		1240		1240		1240

		1241		1241		1241

		1242		1242		1242

		1243		1243		1243

		1244		1244		1244

		1245		1245		1245

		1246		1246		1246

		1247		1247		1247

		1248		1248		1248

		1249		1249		1249

		1250		1250		1250

		1251		1251		1251

		1252		1252		1252

		1253		1253		1253

		1254		1254		1254

		1255		1255		1255

		1256		1256		1256

		1257		1257		1257

		1258		1258		1258

		1259		1259		1259

		1260		1260		1260

		1261		1261		1261

		1262		1262		1262

		1263		1263		1263

		1264		1264		1264

		1265		1265		1265

		1266		1266		1266

		1267		1267		1267

		1268		1268		1268

		1269		1269		1269

		1270		1270		1270

		1271		1271		1271

		1272		1272		1272

		1273		1273		1273

		1274		1274		1274

		1275		1275		1275

		1276		1276		1276

		1277		1277		1277

		1278		1278		1278

		1279		1279		1279

		1280		1280		1280

		1281		1281		1281

		1282		1282		1282

		1283		1283		1283

		1284		1284		1284

		1285		1285		1285

		1286		1286		1286

		1287		1287		1287

		1288		1288		1288

		1289		1289		1289

		1290		1290		1290

		1291		1291		1291

		1292		1292		1292

		1293		1293		1293

		1294		1294		1294

		1295		1295		1295

		1296		1296		1296

		1297		1297		1297

		1298		1298		1298

		1299		1299		1299

		1300		1300		1300

		1301		1301		1301

		1302		1302		1302

		1303		1303		1303

		1304		1304		1304

		1305		1305		1305

		1306		1306		1306

		1307		1307		1307

		1308		1308		1308

		1309		1309		1309

		1310		1310		1310

		1311		1311		1311

		1312		1312		1312

		1313		1313		1313

		1314		1314		1314

		1315		1315		1315

		1316		1316		1316

		1317		1317		1317

		1318		1318		1318

		1319		1319		1319

		1320		1320		1320

		1321		1321		1321

		1322		1322		1322

		1323		1323		1323

		1324		1324		1324

		1325		1325		1325

		1326		1326		1326

		1327		1327		1327

		1328		1328		1328

		1329		1329		1329

		1330		1330		1330

		1331		1331		1331

		1332		1332		1332

		1333		1333		1333

		1334		1334		1334

		1335		1335		1335

		1336		1336		1336

		1337		1337		1337

		1338		1338		1338

		1339		1339		1339

		1340		1340		1340

		1341		1341		1341

		1342		1342		1342

		1343		1343		1343

		1344		1344		1344

		1345		1345		1345

		1346		1346		1346

		1347		1347		1347

		1348		1348		1348

		1349		1349		1349

		1350		1350		1350

		1351		1351		1351

		1352		1352		1352

		1353		1353		1353

		1354		1354		1354

		1355		1355		1355

		1356		1356		1356

		1357		1357		1357

		1358		1358		1358

		1359		1359		1359

		1360		1360		1360

		1361		1361		1361

		1362		1362		1362

		1363		1363		1363

		1364		1364		1364

		1365		1365		1365

		1366		1366		1366

		1367		1367		1367

		1368		1368		1368

		1369		1369		1369

		1370		1370		1370

		1371		1371		1371

		1372		1372		1372

		1373		1373		1373

		1374		1374		1374

		1375		1375		1375

		1376		1376		1376

		1377		1377		1377

		1378		1378		1378

		1379		1379		1379

		1380		1380		1380

		1381		1381		1381

		1382		1382		1382

		1383		1383		1383

		1384		1384		1384

		1385		1385		1385

		1386		1386		1386

		1387		1387		1387

		1388		1388		1388

		1389		1389		1389

		1390		1390		1390

		1391		1391		1391

		1392		1392		1392

		1393		1393		1393

		1394		1394		1394

		1395		1395		1395

		1396		1396		1396

		1397		1397		1397

		1398		1398		1398

		1399		1399		1399

		1400		1400		1400

		1401		1401		1401

		1402		1402		1402

		1403		1403		1403

		1404		1404		1404

		1405		1405		1405

		1406		1406		1406

		1407		1407		1407

		1408		1408		1408

		1409		1409		1409

		1410		1410		1410

		1411		1411		1411

		1412		1412		1412

		1413		1413		1413

		1414		1414		1414

		1415		1415		1415

		1416		1416		1416

		1417		1417		1417

		1418		1418		1418

		1419		1419		1419

		1420		1420		1420

		1421		1421		1421

		1422		1422		1422

		1423		1423		1423

		1424		1424		1424

		1425		1425		1425

		1426		1426		1426

		1427		1427		1427

		1428		1428		1428

		1429		1429		1429

		1430		1430		1430

		1431		1431		1431

		1432		1432		1432

		1433		1433		1433

		1434		1434		1434

		1435		1435		1435

		1436		1436		1436

		1437		1437		1437

		1438		1438		1438

		1439		1439		1439

		1440		1440		1440

		1441		1441		1441

		1442		1442		1442

		1443		1443		1443

		1444		1444		1444

		1445		1445		1445

		1446		1446		1446

		1447		1447		1447

		1448		1448		1448

		1449		1449		1449

		1450		1450		1450

		1451		1451		1451

		1452		1452		1452

		1453		1453		1453

		1454		1454		1454

		1455		1455		1455

		1456		1456		1456

		1457		1457		1457

		1458		1458		1458

		1459		1459		1459

		1460		1460		1460

		1461		1461		1461

		1462		1462		1462

		1463		1463		1463

		1464		1464		1464

		1465		1465		1465

		1466		1466		1466

		1467		1467		1467

		1468		1468		1468

		1469		1469		1469

		1470		1470		1470

		1471		1471		1471

		1472		1472		1472

		1473		1473		1473

		1474		1474		1474

		1475		1475		1475

		1476		1476		1476

		1477		1477		1477

		1478		1478		1478

		1479		1479		1479

		1480		1480		1480

		1481		1481		1481

		1482		1482		1482

		1483		1483		1483

		1484		1484		1484

		1485		1485		1485

		1486		1486		1486

		1487		1487		1487

		1488		1488		1488

		1489		1489		1489

		1490		1490		1490

		1491		1491		1491

		1492		1492		1492

		1493		1493		1493

		1494		1494		1494

		1495		1495		1495

		1496		1496		1496

		1497		1497		1497

		1498		1498		1498

		1499		1499		1499

		1500		1500		1500

		1501		1501		1501

		1502		1502		1502

		1503		1503		1503

		1504		1504		1504

		1505		1505		1505

		1506		1506		1506

		1507		1507		1507

		1508		1508		1508

		1509		1509		1509

		1510		1510		1510

		1511		1511		1511

		1512		1512		1512

		1513		1513		1513

		1514		1514		1514

		1515		1515		1515

		1516		1516		1516

		1517		1517		1517

		1518		1518		1518

		1519		1519		1519

		1520		1520		1520

		1521		1521		1521

		1522		1522		1522

		1523		1523		1523

		1524		1524		1524

		1525		1525		1525

		1526		1526		1526

		1527		1527		1527

		1528		1528		1528

		1529		1529		1529

		1530		1530		1530

		1531		1531		1531

		1532		1532		1532

		1533		1533		1533

		1534		1534		1534

		1535		1535		1535

		1536		1536		1536

		1537		1537		1537

		1538		1538		1538

		1539		1539		1539

		1540		1540		1540

		1541		1541		1541

		1542		1542		1542

		1543		1543		1543

		1544		1544		1544

		1545		1545		1545

		1546		1546		1546

		1547		1547		1547

		1548		1548		1548

		1549		1549		1549

		1550		1550		1550

		1551		1551		1551

		1552		1552		1552

		1553		1553		1553

		1554		1554		1554

		1555		1555		1555

		1556		1556		1556

		1557		1557		1557

		1558		1558		1558

		1559		1559		1559

		1560		1560		1560

		1561		1561		1561

		1562		1562		1562

		1563		1563		1563

		1564		1564		1564

		1565		1565		1565

		1566		1566		1566

		1567		1567		1567

		1568		1568		1568

		1569		1569		1569

		1570		1570		1570

		1571		1571		1571

		1572		1572		1572

		1573		1573		1573

		1574		1574		1574

		1575		1575		1575

		1576		1576		1576

		1577		1577		1577

		1578		1578		1578

		1579		1579		1579

		1580		1580		1580

		1581		1581		1581

		1582		1582		1582

		1583		1583		1583

		1584		1584		1584

		1585		1585		1585

		1586		1586		1586

		1587		1587		1587

		1588		1588		1588

		1589		1589		1589

		1590		1590		1590

		1591		1591		1591

		1592		1592		1592

		1593		1593		1593

		1594		1594		1594

		1595		1595		1595

		1596		1596		1596

		1597		1597		1597

		1598		1598		1598

		1599		1599		1599

		1600		1600		1600

		1601		1601		1601

		1602		1602		1602

		1603		1603		1603

		1604		1604		1604

		1605		1605		1605

		1606		1606		1606

		1607		1607		1607

		1608		1608		1608

		1609		1609		1609

		1610		1610		1610

		1611		1611		1611

		1612		1612		1612

		1613		1613		1613

		1614		1614		1614

		1615		1615		1615

		1616		1616		1616

		1617		1617		1617

		1618		1618		1618

		1619		1619		1619

		1620		1620		1620

		1621		1621		1621

		1622		1622		1622

		1623		1623		1623

		1624		1624		1624

		1625		1625		1625

		1626		1626		1626

		1627		1627		1627

		1628		1628		1628

		1629		1629		1629

		1630		1630		1630

		1631		1631		1631

		1632		1632		1632

		1633		1633		1633

		1634		1634		1634

		1635		1635		1635

		1636		1636		1636

		1637		1637		1637

		1638		1638		1638

		1639		1639		1639

		1640		1640		1640

		1641		1641		1641

		1642		1642		1642

		1643		1643		1643

		1644		1644		1644

		1645		1645		1645

		1646		1646		1646

		1647		1647		1647

		1648		1648		1648

		1649		1649		1649

		1650		1650		1650

		1651		1651		1651

		1652		1652		1652

		1653		1653		1653

		1654		1654		1654

		1655		1655		1655

		1656		1656		1656

		1657		1657		1657

		1658		1658		1658

		1659		1659		1659

		1660		1660		1660

		1661		1661		1661

		1662		1662		1662

		1663		1663		1663

		1664		1664		1664

		1665		1665		1665

		1666		1666		1666

		1667		1667		1667

		1668		1668		1668

		1669		1669		1669

		1670		1670		1670

		1671		1671		1671

		1672		1672		1672

		1673		1673		1673

		1674		1674		1674

		1675		1675		1675

		1676		1676		1676

		1677		1677		1677

		1678		1678		1678

		1679		1679		1679

		1680		1680		1680

		1681		1681		1681

		1682		1682		1682

		1683		1683		1683

		1684		1684		1684

		1685		1685		1685

		1686		1686		1686

		1687		1687		1687

		1688		1688		1688

		1689		1689		1689

		1690		1690		1690

		1691		1691		1691

		1692		1692		1692

		1693		1693		1693

		1694		1694		1694

		1695		1695		1695

		1696		1696		1696

		1697		1697		1697

		1698		1698		1698

		1699		1699		1699

		1700		1700		1700

		1701		1701		1701

		1702		1702		1702

		1703		1703		1703

		1704		1704		1704

		1705		1705		1705

		1706		1706		1706

		1707		1707		1707

		1708		1708		1708

		1709		1709		1709

		1710		1710		1710

		1711		1711		1711

		1712		1712		1712

		1713		1713		1713

		1714		1714		1714

		1715		1715		1715

		1716		1716		1716

		1717		1717		1717

		1718		1718		1718

		1719		1719		1719

		1720		1720		1720

		1721		1721		1721

		1722		1722		1722

		1723		1723		1723

		1724		1724		1724

		1725		1725		1725

		1726		1726		1726

		1727		1727		1727

		1728		1728		1728

		1729		1729		1729

		1730		1730		1730

		1731		1731		1731

		1732		1732		1732

		1733		1733		1733

		1734		1734		1734

		1735		1735		1735

		1736		1736		1736

		1737		1737		1737

		1738		1738		1738

		1739		1739		1739

		1740		1740		1740

		1741		1741		1741

		1742		1742		1742

		1743		1743		1743

		1744		1744		1744

		1745		1745		1745

		1746		1746		1746

		1747		1747		1747

		1748		1748		1748

		1749		1749		1749

		1750		1750		1750

		1751		1751		1751

		1752		1752		1752

		1753		1753		1753

		1754		1754		1754

		1755		1755		1755

		1756		1756		1756

		1757		1757		1757

		1758		1758		1758

		1759		1759		1759

		1760		1760		1760

		1761		1761		1761

		1762		1762		1762

		1763		1763		1763

		1764		1764		1764

		1765		1765		1765

		1766		1766		1766

		1767		1767		1767

		1768		1768		1768

		1769		1769		1769

		1770		1770		1770

		1771		1771		1771

		1772		1772		1772

		1773		1773		1773

		1774		1774		1774

		1775		1775		1775

		1776		1776		1776

		1777		1777		1777

		1778		1778		1778

		1779		1779		1779

		1780		1780		1780

		1781		1781		1781

		1782		1782		1782

		1783		1783		1783

		1784		1784		1784

		1785		1785		1785

		1786		1786		1786

		1787		1787		1787

		1788		1788		1788

		1789		1789		1789

		1790		1790		1790

		1791		1791		1791

		1792		1792		1792

		1793		1793		1793

		1794		1794		1794

		1795		1795		1795

		1796		1796		1796

		1797		1797		1797

		1798		1798		1798

		1799		1799		1799

		1800		1800		1800

		1801		1801		1801

		1802		1802		1802

		1803		1803		1803

		1804		1804		1804

		1805		1805		1805

		1806		1806		1806

		1807		1807		1807

		1808		1808		1808

		1809		1809		1809

		1810		1810		1810

		1811		1811		1811

		1812		1812		1812

		1813		1813		1813

		1814		1814		1814

		1815		1815		1815

		1816		1816		1816

		1817		1817		1817

		1818		1818		1818

		1819		1819		1819

		1820		1820		1820

		1821		1821		1821

		1822		1822		1822

		1823		1823		1823

		1824		1824		1824

		1825		1825		1825

		1826		1826		1826

		1827		1827		1827

		1828		1828		1828

		1829		1829		1829

		1830		1830		1830

		1831		1831		1831

		1832		1832		1832

		1833		1833		1833

		1834		1834		1834

		1835		1835		1835

		1836		1836		1836

		1837		1837		1837

		1838		1838		1838

		1839		1839		1839

		1840		1840		1840

		1841		1841		1841

		1842		1842		1842

		1843		1843		1843

		1844		1844		1844

		1845		1845		1845

		1846		1846		1846

		1847		1847		1847

		1848		1848		1848

		1849		1849		1849

		1850		1850		1850

		1851		1851		1851

		1852		1852		1852

		1853		1853		1853

		1854		1854		1854

		1855		1855		1855

		1856		1856		1856

		1857		1857		1857

		1858		1858		1858

		1859		1859		1859

		1860		1860		1860

		1861		1861		1861

		1862		1862		1862

		1863		1863		1863

		1864		1864		1864

		1865		1865		1865

		1866		1866		1866

		1867		1867		1867

		1868		1868		1868

		1869		1869		1869

		1870		1870		1870

		1871		1871		1871

		1872		1872		1872

		1873		1873		1873

		1874		1874		1874

		1875		1875		1875

		1876		1876		1876

		1877		1877		1877

		1878		1878		1878

		1879		1879		1879

		1880		1880		1880

		1881		1881		1881

		1882		1882		1882

		1883		1883		1883

		1884		1884		1884

		1885		1885		1885

		1886		1886		1886

		1887		1887		1887

		1888		1888		1888

		1889		1889		1889

		1890		1890		1890

		1891		1891		1891

		1892		1892		1892

		1893		1893		1893

		1894		1894		1894

		1895		1895		1895

		1896		1896		1896

		1897		1897		1897

		1898		1898		1898

		1899		1899		1899

		1900		1900		1900

		1901		1901		1901

		1902		1902		1902

		1903		1903		1903

		1904		1904		1904

		1905		1905		1905

		1906		1906		1906

		1907		1907		1907

		1908		1908		1908

		1909		1909		1909

		1910		1910		1910

		1911		1911		1911

		1912		1912		1912

		1913		1913		1913

		1914		1914		1914

		1915		1915		1915

		1916		1916		1916

		1917		1917		1917

		1918		1918		1918

		1919		1919		1919

		1920		1920		1920

		1921		1921		1921

		1922		1922		1922

		1923		1923		1923

		1924		1924		1924

		1925		1925		1925

		1926		1926		1926

		1927		1927		1927

		1928		1928		1928

		1929		1929		1929

		1930		1930		1930

		1931		1931		1931

		1932		1932		1932

		1933		1933		1933

		1934		1934		1934

		1935		1935		1935

		1936		1936		1936

		1937		1937		1937

		1938		1938		1938

		1939		1939		1939

		1940		1940		1940

		1941		1941		1941

		1942		1942		1942

		1943		1943		1943

		1944		1944		1944

		1945		1945		1945

		1946		1946		1946

		1947		1947		1947

		1948		1948		1948

		1949		1949		1949

		1950		1950		1950

		1951		1951		1951

		1952		1952		1952

		1953		1953		1953

		1954		1954		1954

		1955		1955		1955

		1956		1956		1956

		1957		1957		1957

		1958		1958		1958

		1959		1959		1959

		1960		1960		1960

		1961		1961		1961

		1962		1962		1962

		1963		1963		1963

		1964		1964		1964

		1965		1965		1965

		1966		1966		1966

		1967		1967		1967

		1968		1968		1968

		1969		1969		1969

		1970		1970		1970

		1971		1971		1971

		1972		1972		1972

		1973		1973		1973

		1974		1974		1974

		1975		1975		1975

		1976		1976		1976

		1977		1977		1977

		1978		1978		1978

		1979		1979		1979

		1980		1980		1980

		1981		1981		1981

		1982		1982		1982

		1983		1983		1983

		1984		1984		1984

		1985		1985		1985

		1986		1986		1986

		1987		1987		1987

		1988		1988		1988

		1989		1989		1989

		1990		1990		1990

		1991		1991		1991

		1992		1992		1992

		1993		1993		1993

		1994		1994		1994

		1995		1995		1995

		1996		1996		1996

		1997		1997		1997

		1998		1998		1998

		1999		1999		1999

		2000		2000		2000

		2001		2001		2001

		2002		2002		2002

		2003		2003		2003

		2004		2004		2004

		2005		2005		2005

		2006		2006		2006

		2007		2007		2007

		2008		2008		2008

		2009		2009		2009

		2010		2010		2010

		2011		2011		2011

		2012		2012		2012

		2013		2013		2013

		2014		2014		2014

		2015		2015		2015

		2016		2016		2016

		2017		2017		2017

		2018		2018		2018

		2019		2019		2019

		2020		2020		2020

		2021		2021		2021

		2022		2022		2022

		2023		2023		2023

		2024		2024		2024

		2025		2025		2025

		2026		2026		2026

		2027		2027		2027

		2028		2028		2028

		2029		2029		2029

		2030		2030		2030

		2031		2031		2031

		2032		2032		2032

		2033		2033		2033

		2034		2034		2034

		2035		2035		2035

		2036		2036		2036

		2037		2037		2037

		2038		2038		2038

		2039		2039		2039

		2040		2040		2040

		2041		2041		2041

		2042		2042		2042

		2043		2043		2043

		2044		2044		2044

		2045		2045		2045

		2046		2046		2046

		2047		2047		2047

		2048		2048		2048

		2049		2049		2049

		2050		2050		2050

		2051		2051		2051

		2052		2052		2052

		2053		2053		2053

		2054		2054		2054

		2055		2055		2055

		2056		2056		2056

		2057		2057		2057

		2058		2058		2058

		2059		2059		2059

		2060		2060		2060

		2061		2061		2061

		2062		2062		2062

		2063		2063		2063

		2064		2064		2064

		2065		2065		2065

		2066		2066		2066

		2067		2067		2067

		2068		2068		2068

		2069		2069		2069

		2070		2070		2070

		2071		2071		2071

		2072		2072		2072

		2073		2073		2073

		2074		2074		2074

		2075		2075		2075

		2076		2076		2076

		2077		2077		2077

		2078		2078		2078

		2079		2079		2079

		2080		2080		2080

		2081		2081		2081

		2082		2082		2082

		2083		2083		2083

		2084		2084		2084

		2085		2085		2085

		2086		2086		2086

		2087		2087		2087

		2088		2088		2088

		2089		2089		2089

		2090		2090		2090

		2091		2091		2091

		2092		2092		2092

		2093		2093		2093

		2094		2094		2094

		2095		2095		2095

		2096		2096		2096

		2097		2097		2097

		2098		2098		2098

		2099		2099		2099

		2100		2100		2100

		2101		2101		2101

		2102		2102		2102

		2103		2103		2103

		2104		2104		2104

		2105		2105		2105

		2106		2106		2106

		2107		2107		2107

		2108		2108		2108

		2109		2109		2109

		2110		2110		2110

		2111		2111		2111

		2112		2112		2112

		2113		2113		2113

		2114		2114		2114

		2115		2115		2115

		2116		2116		2116

		2117		2117		2117

		2118		2118		2118

		2119		2119		2119

		2120		2120		2120

		2121		2121		2121

		2122		2122		2122

		2123		2123		2123

		2124		2124		2124

		2125		2125		2125

		2126		2126		2126

		2127		2127		2127

		2128		2128		2128

		2129		2129		2129

		2130		2130		2130

		2131		2131		2131

		2132		2132		2132

		2133		2133		2133

		2134		2134		2134

		2135		2135		2135

		2136		2136		2136

		2137		2137		2137

		2138		2138		2138

		2139		2139		2139

		2140		2140		2140

		2141		2141		2141

		2142		2142		2142

		2143		2143		2143

		2144		2144		2144

		2145		2145		2145

		2146		2146		2146

		2147		2147		2147

		2148		2148		2148

		2149		2149		2149

		2150		2150		2150

		2151		2151		2151

		2152		2152		2152

		2153		2153		2153

		2154		2154		2154

		2155		2155		2155

		2156		2156		2156

		2157		2157		2157

		2158		2158		2158

		2159		2159		2159

		2160		2160		2160

		2161		2161		2161

		2162		2162		2162

		2163		2163		2163

		2164		2164		2164

		2165		2165		2165

		2166		2166		2166

		2167		2167		2167

		2168		2168		2168

		2169		2169		2169

		2170		2170		2170

		2171		2171		2171

		2172		2172		2172

		2173		2173		2173

		2174		2174		2174

		2175		2175		2175

		2176		2176		2176

		2177		2177		2177

		2178		2178		2178

		2179		2179		2179

		2180		2180		2180

		2181		2181		2181

		2182		2182		2182

		2183		2183		2183

		2184		2184		2184

		2185		2185		2185

		2186		2186		2186

		2187		2187		2187

		2188		2188		2188

		2189		2189		2189

		2190		2190		2190

		2191		2191		2191

		2192		2192		2192

		2193		2193		2193

		2194		2194		2194

		2195		2195		2195

		2196		2196		2196

		2197		2197		2197

		2198		2198		2198

		2199		2199		2199

		2200		2200		2200

		2201		2201		2201

		2202		2202		2202

		2203		2203		2203

		2204		2204		2204

		2205		2205		2205

		2206		2206		2206

		2207		2207		2207

		2208		2208		2208

		2209		2209		2209

		2210		2210		2210

		2211		2211		2211

		2212		2212		2212

		2213		2213		2213

		2214		2214		2214

		2215		2215		2215

		2216		2216		2216

		2217		2217		2217

		2218		2218		2218

		2219		2219		2219

		2220		2220		2220

		2221		2221		2221

		2222		2222		2222

		2223		2223		2223

		2224		2224		2224

		2225		2225		2225

		2226		2226		2226

		2227		2227		2227

		2228		2228		2228

		2229		2229		2229

		2230		2230		2230

		2231		2231		2231

		2232		2232		2232

		2233		2233		2233

		2234		2234		2234

		2235		2235		2235

		2236		2236		2236

		2237		2237		2237

		2238		2238		2238

		2239		2239		2239

		2240		2240		2240

		2241		2241		2241

		2242		2242		2242

		2243		2243		2243

		2244		2244		2244

		2245		2245		2245

		2246		2246		2246

		2247		2247		2247

		2248		2248		2248

		2249		2249		2249

		2250		2250		2250

		2251		2251		2251

		2252		2252		2252

		2253		2253		2253

		2254		2254		2254

		2255		2255		2255

		2256		2256		2256

		2257		2257		2257

		2258		2258		2258

		2259		2259		2259

		2260		2260		2260

		2261		2261		2261

		2262		2262		2262

		2263		2263		2263

		2264		2264		2264

		2265		2265		2265

		2266		2266		2266

		2267		2267		2267

		2268		2268		2268

		2269		2269		2269

		2270		2270		2270

		2271		2271		2271

		2272		2272		2272

		2273		2273		2273

		2274		2274		2274

		2275		2275		2275

		2276		2276		2276

		2277		2277		2277

		2278		2278		2278

		2279		2279		2279

		2280		2280		2280

		2281		2281		2281

		2282		2282		2282

		2283		2283		2283

		2284		2284		2284

		2285		2285		2285

		2286		2286		2286

		2287		2287		2287

		2288		2288		2288

		2289		2289		2289

		2290		2290		2290

		2291		2291		2291

		2292		2292		2292

		2293		2293		2293

		2294		2294		2294

		2295		2295		2295

		2296		2296		2296

		2297		2297		2297

		2298		2298		2298

		2299		2299		2299

		2300		2300		2300

		2301		2301		2301

		2302		2302		2302

		2303		2303		2303

		2304		2304		2304

		2305		2305		2305

		2306		2306		2306

		2307		2307		2307

		2308		2308		2308

		2309		2309		2309

		2310		2310		2310

		2311		2311		2311

		2312		2312		2312

		2313		2313		2313

		2314		2314		2314

		2315		2315		2315

		2316		2316		2316

		2317		2317		2317

		2318		2318		2318

		2319		2319		2319

		2320		2320		2320

		2321		2321		2321

		2322		2322		2322

		2323		2323		2323

		2324		2324		2324

		2325		2325		2325

		2326		2326		2326

		2327		2327		2327

		2328		2328		2328

		2329		2329		2329

		2330		2330		2330

		2331		2331		2331

		2332		2332		2332

		2333		2333		2333

		2334		2334		2334

		2335		2335		2335

		2336		2336		2336

		2337		2337		2337

		2338		2338		2338

		2339		2339		2339

		2340		2340		2340

		2341		2341		2341

		2342		2342		2342

		2343		2343		2343

		2344		2344		2344

		2345		2345		2345

		2346		2346		2346

		2347		2347		2347

		2348		2348		2348

		2349		2349		2349

		2350		2350		2350

		2351		2351		2351

		2352		2352		2352

		2353		2353		2353

		2354		2354		2354

		2355		2355		2355

		2356		2356		2356

		2357		2357		2357

		2358		2358		2358

		2359		2359		2359

		2360		2360		2360

		2361		2361		2361

		2362		2362		2362

		2363		2363		2363

		2364		2364		2364

		2365		2365		2365

		2366		2366		2366

		2367		2367		2367

		2368		2368		2368

		2369		2369		2369

		2370		2370		2370

		2371		2371		2371

		2372		2372		2372

		2373		2373		2373

		2374		2374		2374

		2375		2375		2375

		2376		2376		2376

		2377		2377		2377

		2378		2378		2378

		2379		2379		2379

		2380		2380		2380

		2381		2381		2381

		2382		2382		2382

		2383		2383		2383

		2384		2384		2384

		2385		2385		2385

		2386		2386		2386

		2387		2387		2387

		2388		2388		2388

		2389		2389		2389

		2390		2390		2390

		2391		2391		2391

		2392		2392		2392

		2393		2393		2393

		2394		2394		2394

		2395		2395		2395

		2396		2396		2396

		2397		2397		2397

		2398		2398		2398

		2399		2399		2399

		2400		2400		2400



v

b

v

b

T1-3,K-L=30mm,prop.0,7l/min

T1-4,K-L=30mm,prop.0,78l/min

T1-1,K-L=30mm,prop.0,83l/min

time,s

Temperature,K

803.4807502654

767.0971565908

530.2217320896

806.9605949575

765.9251853156

538.6646853732

796.7438087172

765.9251853156

541.1447200961

792.3233450298

763.8147244276

536.1832020907

797.9062194992

761.4683917539

539.9048838046

789.994684783

761.4683917539

528.978708967

794.4179007336

762.6417391607

519.2706999695

806.9605949575

763.8147244276

518.0244900159

805.8010088667

764.7528519004

519.2706999695

799.0682681413

768.2687657261

521.7620334572

795.5810357954

767.0971565908

524.0029950776

788.8298114497

767.0971565908

526.4915763021

786.4989783635

765.9251853156

525.2474667598

796.7438087172

765.9251853156

527.7353237045

791.1591959764

765.9251853156

522.7581612556

793.2544035319

765.9251853156

526.4915763021

791.1591959764

762.6417391607

527.7353237045

788.8298114497

765.9251853156

537.4241248019

785.3330186105

770.610897577

541.1447200961

795.5810357954

765.9251853156

539.9048838046

794.4179007336

764.7528519004

539.9048838046

800.2299546435

763.8147244276

536.1832020907

796.7438087172

765.9251853156

530.2217320896

800.2299546435

765.9251853156

511.7880081491

800.2299546435

763.8147244276

504.5423469622

795.5810357954

765.9251853156

516.7779179223

786.4989783635

767.0971565908

520.5165477833

799.0682681413

759.1206105206

514.2836873155

794.4179007336

760.2946822072

514.2836873155

788.8298114497

756.7713807277

507.0422269513

786.4989783635

753.4800254375

514.2836873155

788.8298114497

755.5962226214

519.2706999695

794.4179007336

757.9461766941

524.0029950776

797.9062194992

767.0971565908

531.4643930723

801.3912790058

762.6417391607

526.4915763021

795.5810357954

763.8147244276

524.0029950776

796.7438087172

756.7713807277

522.7581612556

792.3233450298

763.8147244276

518.0244900159

795.5810357954

760.2946822072

521.7620334572

794.4179007336

765.9251853156

525.2474667598

786.4989783635

757.9461766941

530.2217320896

786.4989783635

760.2946822072

524.0029950776

787.6645759765

762.6417391607

515.5309836889

786.4989783635

754.4207023752

519.2706999695

786.4989783635

759.1206105206

527.7353237045

793.2544035319

764.7528519004

515.5309836889

794.4179007336

762.6417391607

513.0360288023

794.4179007336

761.4683917539

513.0360288023

792.3233450298

760.2946822072

505.7924680267

795.5810357954

761.4683917539

515.5309836889

792.3233450298

762.6417391607

507.0422269513

792.3233450298

765.9251853156

513.0360288023

795.5810357954

768.2687657261

518.0244900159

792.3233450298

767.0971565908

516.7779179223

785.3330186105

763.8147244276

522.7581612556

785.3330186105

765.9251853156

531.4643930723

786.4989783635

763.8147244276

526.4915763021

785.3330186105

764.7528519004

527.7353237045

788.8298114497

761.4683917539

528.978708967

780.8990688334

763.8147244276

532.4582611177

789.994684783

759.1206105206

527.7353237045

788.8298114497

754.4207023752

526.4915763021

775.0569573122

737.2168662897

554.2647204255

764.7528519004

732.726495117

544.6143351281

733.9086787372

767.0971565908

519.2706999695

702.5776128987

773.8874485883

570.0535056204

797.9062194992

747.5955435486

672.1950925058

788.8298114497

726.8101449173

703.7689948723

769.4400127215

697.8084636054

696.6152709323

753.4800254375

664.9840056065

688.4919568056

760.2946822072

687.2959394413

660.4102408588

740.758202336

696.6152709323

632.1302315912

715.1878361408

701.3858687852

610.7291371962

690.8829051143

704.9600147059

604.6288199299

662.8181373147

707.102937814

595.0942469709

664.9840056065

715.1878361408

597.5411096795

668.5911786857

714.2375407675

601.2086876931

672.1950925058

711.8607883426

610.7291371962

664.9840056065

714.2375407675

616.5769242415

666.1867587728

722.3076637865

628.4902486375

666.1867587728

736.0356966612

636.7361978183

664.9840056065

749.9504227239

659.205749421

662.8181373147

752.3038533395

666.1867587728

666.1867587728

770.610897577

676.7553711638

664.0215423328

787.6645759765

680.35189733

656.7956801258

825.0032481006

684.9028182932

656.7956801258

842.9577708788

687.2959394413

651.0056036941

851.901983381

688.4919568056

647.3825688876

856.4802125217

699.0012941386

643.9981291588

853.0470838761

708.292943656

644.9654016504

849.8398898975

713.049345625

642.7887126185

841.8094835527

732.726495117

640.3687931181

837.4426889977

747.5955435486

656.7956801258

829.6153735354

754.4207023752

673.3956728327

819.4610491842

763.8147244276

689.6876120299

803.4807502654

772.9515808684

695.4217161194

791.1591959764

783.2333784627

702.5776128987

788.8298114497

789.994684783

702.5776128987

792.3233450298

784.1666967177

703.7689948723

788.8298114497

794.4179007336

707.102937814

785.3330186105

802.5522412282

703.7689948723

785.3330186105

799.0682681413

707.102937814

784.1666967177

799.0682681413

708.292943656

784.1666967177

804.641060636

709.4825873581

782.066404718

809.2786807195

713.049345625

784.1666967177

796.7438087172

716.3753794315

783.2333784627

803.4807502654

715.1878361408

788.8298114497

814.836176425

715.1878361408

785.3330186105

817.1493370844

714.2375407675

788.8298114497

831.6889396108

718.7493795932

793.2544035319

829.6153735354

718.7493795932

792.3233450298

832.840413768

717.5625605823

787.6645759765

841.8094835527

726.8101449173

787.6645759765

853.0470838761

734.8541648927

793.2544035319

865.3910936681

736.0356966612

787.6645759765

866.5319209123

741.9379234049

793.2544035319

863.1083527599

743.117282334

801.3912790058

876.5555851895

744.2962791232

802.5522412282

885.4167517711

745.2392158138

801.3912790058

876.5555851895

745.2392158138

804.641060636

877.6928634628

751.1273191017

794.4179007336

883.1467581872

752.3038533395

796.7438087172

891.9915415599

755.5962226214

791.1591959764

891.9915415599

755.5962226214

789.994684783

891.9915415599

754.4207023752

791.1591959764

893.1238947307

754.4207023752

787.6645759765

903.0729871607

756.7713807277

785.3330186105

891.9915415599

761.4683917539

783.2333784627

905.3302334202

762.6417391607

791.1591959764

906.4583133402

765.9251853156

789.994684783

904.2017913604

767.0971565908

795.5810357954

926.2532448734

768.2687657261

803.4807502654

917.2694548939

769.4400127215

803.4807502654

929.392095811

775.0569573122

804.641060636

933.8712434764

783.2333784627

808.1198189085

930.5124259372

778.5633106446

818.3053742042

963.2882985712

779.731370809

823.8493113921

977.2392789125

773.8874485883

828.4628853865

996.6301202654

777.3948883404

832.840413768

1012.6305799657

778.5633106446

840.8905929511

1012.6305799657

788.8298114497

829.6153735354

1023.3273171133

783.2333784627

838.5923524554

1035.0752736095

786.4989783635

836.2926634001

1053.0499599988

787.6645759765

844.105696065

1066.6267774006

789.994684783

849.8398898975

1080.3602303793

800.2299546435

854.1918222312

1092.7549221033

792.3233450298

863.1083527599

1112.5274585671

797.9062194992

869.9522298057

1114.6460776749

800.2299546435

875.4179447763

1131.1215921512

800.2299546435

883.1467581872

1141.4265229036

801.3912790058

882.0112181854

1151.6966737406

805.8010088667

893.1238947307

1164.8500482061

808.1198189085

890.8588262493

1184.1618558101

806.9605949575

898.5541489627

1190.158192302

811.5953179218

899.6844017221

1196.1423464079

817.1493370844

893.1238947307

1201.2913221702

823.8493113921

893.1238947307

1209.305646336

827.3100350978

897.6496860146

1215.25073279

831.6889396108

896.5187814034

1225.2681968939

838.5923524554

894.2558857615

1240.1276696702

841.8094835527

888.8190260977

1249.0467782967

839.7416537732

888.8190260977

1261.969964989

838.5923524554

893.1238947307

1263.7825295993

842.9577708788

895.3875146524

1270.8202380642

839.7416537732

897.6496860146

1269.8159375604

841.8094835527

900.8142923415

1252.0809736342

847.5472987842

899.6844017221

1243.1714255009

842.9577708788

897.6496860146

1273.6303528909

845.2532591113

901.943820821

1310.6953035055

840.8905929511

903.0729871607

1306.7338710338

846.4004600177

910.7417143202

1324.1208330066

846.4004600177

915.2449080746

1329.0398499357

845.2532591113

922.8870396803

1335.7151839067

848.6937754108

928.2714035449

1342.373772529

847.5472987842

930.5124259372

1351.9405173197

848.6937754108

933.8712434764

1348.0399243503

850.9856422443

942.588915746

1363.2194705131

857.6238644572

956.6247671931

1344.3289941162

857.6238644572

971.9313989937

1370.7761947076

863.1083527599

984.7444926667

1381.2029779537

865.3910936681

992.2329610721

1382.1662842215

866.5319209123

1007.3786723891

1388.7071628923

874.2799422233

1017.0007959508

1397.1469721251

873.1415775303

1046.5646014489

1412.9911750271

875.4179447763

1054.1295856008

1414.8933793338

874.2799422233

1059.3067475031

1411.0875221609

879.7390517622

1062.5382366553

1400.9739782678

886.5512053532

1068.7765405394

1397.1469721251

886.5512053532

1076.0748999856

1395.2312962144

888.8190260977

1084.4259273401

1395.2312962144

887.6852967954

1092.7549221033

1395.2312962144

888.8190260977

1097.0176549676

1394.4646202534

886.5512053532

1099.1468485603

1398.1042668707

891.9915415599

1105.3133183749

1408.4199745681

895.3875146524

1106.37527155

1409.3729960629

898.5541489627

1109.3468138562

1419.4527595466

895.3875146524

1107.4368625853

1421.3500387506

891.9915415599

1120.7818814832

1421.3500387506

899.6844017221

1144.3644006852

1418.5035767347

912.9940354772

1165.8915042632

1426.843956838

919.5175752281

1190.158192302

1428.7355866597

924.0094702179

1219.3436944715

1433.4583237658

931.6323939235

1223.2266411557

1434.2131215382

927.1503491389

1231.1805169302

1430.6257679218

930.5124259372

1230.1620205425

1436.0991019775

934.990125043

1231.1805169302

1444.3802070228

933.8712434764

1246.2119220725

1447.1969011394

954.4006929479

1257.9378428098

1453.5693413023

963.2882985712

1259.9546281792

1453.5693413023

958.8473928787

1258.9464165644

1462.7236956663

967.5017920659

1262.977090184

1472.7718833806

978.3440370232

1246.2119220725

1472.7718833806

976.1341586619

1237.283890319

1476.297311075

975.0286762714

1233.2164232861

1480.743008332

979.4484329941

1243.1714255009

1473.5145132525

985.8467882261

1252.0809736342

1486.2883965707

991.3528339249

1259.9546281792

1481.6681450548

994.4322649485

1271.8241764282

1487.2113604541

998.8265270226

1274.6332772631

1489.7937327436

1010.4432991338

1286.4404360511

1497.891276319

1045.6989019551

1289.2347326071

1501.5627071628

1054.1295856008

1299.986138055

1500.6453926617

1044.6164516619

1302.9651432724

1493.4779109118

1026.594875399

1298.992412036

1497.891276319

1018.9655027738

1300.979501934

1497.891276319

1015.9087851643

1299.986138055

1497.891276319

1015.9087851643

1300.979501934

1509.6194593004

1020.0564995685

1309.7054885974

1503.3962497454

1032.9029129413

1321.3622289586

1505.9607757809

1033.9892743453

1327.0733295837

1510.5332248306

1021.1471342233

1328.0567708297

1500.6453926617

1038.1141449649

1332.7722478228

1504.1292611817

1056.0719990919

1338.4589836758

1506.8759898706

1070.9248551186

1346.0874550263

1505.0451995513

1075.0026620375

1348.0399243503

1503.3962497454

1078.2182894623

1354.6674848264

1504.1292611817

1087.6319942716

1353.888640965

1500.6453926617

1091.6883335375

1353.888640965

1498.8096772398

1095.9525149613

1346.0874550263

1491.6365461075

1099.9981204007

1378.5037938197

1493.4779109118

1115.704844019

1385.0540301854

1498.8096772398

1121.8385474159

1372.710267325

1488.8717828519

1135.1215100214

1375.6086602019

1488.8717828519

1125.0063723745

1377.5391114203

1479.0768496383

1119.7248534106

1372.710267325

1469.9849571634

1117.6097108458

1374.6428913828

1474.4424746666

1120.7818814832

1374.6428913828

1472.7718833806

1117.6097108458

1376.574066881

1474.4424746666

1117.6097108458

1373.6767604239

1471.8432701148

1121.8385474159

1376.574066881

1467.1947716871

1145.4129546842

1373.6767604239

1467.1947716871

1154.6246144034

1373.6767604239

1463.6558579031

1153.5792472355

1375.6086602019

1463.6558579031

1155.6696194315

1374.6428913828

1471.8432701148

1160.8892124734

1380.239309546

1470.914294709

1166.9325981804

1393.5059493763

1465.3328373368

1177.1161541257

1393.5059493763

1467.1947716871

1185.1965760651

1392.5469163593

1463.6558579031

1185.1965760651

1394.4646202534

1475.3700739407

1183.1267734151

1406.5128451589

1469.9849571634

1184.1618558101

1401.9298244538

1477.2241860693

1182.0913288803

1403.6494349959

1469.9849571634

1184.1618558101

1397.1469721251

1472.7718833806

1186.2309341803

1400.017769942

1469.0552574779

1192.2230698494

1400.9739782678

1458.9914253201

1196.1423464079

1402.6942406618

1463.6558579031

1206.2258213718

1400.9739782678

1468.1251956524

1214.2265870199

1405.5587372445

1463.6558579031

1213.2020791099

1417.7439697445

1466.2639855819

1207.2527918331

1414.8933793338

1467.1947716871

1196.1423464079

1412.039529664

1467.1947716871

1202.320030903

1402.6942406618

1463.6558579031

1199.232818285

1409.3729960629

1458.9914253201

1197.1728658401

1413.9424582504

1455.440401578

1198.2030231325

1410.3256554178

1456.375388506

1196.1423464079

1410.3256554178

1458.0574523838

1196.1423464079

1410.3256554178

1454.5050525101

1188.091866195

1402.6942406618

1455.440401578

1182.0913288803

1405.5587372445

1457.310013294

1181.0555222056

1407.4665909335

1460.858284773

1181.0555222056

1417.7439697445

1470.914294709

1187.0581599317

1416.7941350808

1476.297311075

1199.232818285

1409.3729960629

1473.5145132525

1207.2527918331

1385.0540301854

1479.0768496383

1216.2745164202

1385.0540301854

1480.002638213

1221.183636858

1358.5582275906

1480.743008332

1222.2053200768

1358.5582275906

1485.3650705473

1223.2266411557

1345.3060617

1480.743008332

1223.2266411557

1336.6954383216

1479.0768496383

1226.2884315532

1341.3956185255

1478.1506989238

1228.327814452

1351.9405173197

1469.9849571634

1235.2508810823

1360.5014261334

1476.297311075

1241.142617087

1352.9147602123

1479.0768496383

1239.1123601135

1350.9659122872

1485.3650705473

1235.2508810823

1348.0399243503

1483.5173320808

1240.1276696702

1339.4382240989

1482.5929196378

1240.1276696702

1331.7905448483

1487.2113604541

1233.2164232861

1333.7535886573

1488.8717828519

1236.2675667706

1326.0895261979

1490.7153204955

1245.1987853552

1331.7905448483

1500.6453926617

1250.0585388824

1338.4589836758

1504.1292611817

1253.0916478002

1339.4382240989

1505.9607757809

1253.0916478002

1349.9909451148

1508.7053316304

1259.9546281792

1376.574066881

1507.7908418204

1273.6303528909

1381.2029779537

1512.1770901923

1273.6303528909

1385.0540301854

1512.1770901923

1273.6303528909

1365.1591925128

1510.5332248306

1266.8008632094

1353.888640965

1512.1770901923

1257.9378428098

1340.4171023822

1518.5587460236

1254.1019598263

1330.808479734

1513.0898417308

1259.9546281792

1328.0567708297

1510.5332248306

1280.4430972236

1322.1506912556

1514.0022311293

1285.4417849296

1329.0398499357

1520.1968750894

1289.2347326071

1324.1208330066

1516.7372264856

1310.6953035055

1317.4164409304

1522.0156423643

1318.4034311473

1314.4532974403

1518.5587460236

1317.4164409304

1316.4290885736

1515.8259235067

1326.0895261979

1303.9574207318

1520.1968750894

1324.1208330066

1301.9725036732

1516.7372264856

1330.808479734

1316.4290885736

1517.6481673246

1335.7151839067

1313.4648586638

1514.914258388

1334.734567352

1306.7338710338

1511.4466282208

1327.0733295837

1304.9493360512

1516.7372264856

1341.3956185255

1305.7426075661

1509.6194593004

1334.734567352

1301.9725036732

1506.8759898706

1324.1208330066

1303.9574207318

1507.7908418204

1332.7722478228

1309.7054885974

1504.1292611817

1332.7722478228

1306.7338710338

1503.3962497454

1319.3900592243

1314.4532974403

1500.6453926617

1323.135943201

1315.4413740769

1501.5627071628

1324.1208330066

1325.1053606722

1503.3962497454

1322.1506912556

1335.7151839067

1505.9607757809

1314.4532974403

1326.0895261979

1502.4796595241

1307.7247723615

1327.0733295837

1505.0451995513

1314.4532974403

1343.3515643926

1505.0451995513

1315.4413740769

1336.6954383216

1503.3962497454

1320.3763251614

1335.7151839067

1498.8096772398

1308.7153115494

1360.5014261334

1505.9607757809

1311.6847562736

1365.1591925128

1505.9607757809

1323.135943201

1351.9405173197

1507.7908418204

1321.3622289586

1342.373772529

1505.0451995513

1320.3763251614

1333.7535886573

1510.5332248306

1327.0733295837

1338.4589836758

1514.0022311293

1328.0567708297

1345.3060617

1509.6194593004

1327.0733295837

1342.373772529

1510.5332248306

1329.8260524798

1332.7722478228

1511.4466282208

1330.808479734

1355.6407137273

1507.7908418204

1331.7905448483

1346.0874550263

1505.0451995513

1341.3956185255

1349.0156158025

1497.891276319

1339.4382240989

1360.5014261334

1488.8717828519

1333.7535886573

1363.2194705131

1488.1339621977

1338.4589836758

1353.888640965

1490.7153204955

1338.4589836758

1356.6135804883

1490.7153204955

1336.6954383216

1370.002160064

1501.5627071628

1339.4382240989

1369.0342908336

1496.237242069

1338.4589836758

1377.5391114203

1496.237242069

1339.4382240989

1367.097465953

1494.3980501041

1342.373772529

1375.6086602019

1493.4779109118

1359.5300079319

1377.5391114203

1503.3962497454

1359.5300079319

1373.6767604239

1498.8096772398

1367.097465953

1374.6428913828

1496.237242069

1364.1895125829

1365.1591925128

1495.3178271565

1363.2194705131

1365.1591925128

1495.3178271565

1370.002160064

1365.1591925128

1498.8096772398

1393.5059493763

1367.097465953

1500.6453926617

1405.5587372445

1367.097465953

1505.9607757809

1410.3256554178

1365.1591925128

1506.8759898706

1414.8933793338

1368.0660594632

1499.7277160207

1422.2981351428

1372.710267325

1505.0451995513

1415.8439382772

1374.6428913828

1501.5627071628

1408.4199745681

1382.1662842215

1505.9607757809

1412.9911750271

1388.7071628923

1505.0451995513

1411.0875221609

1383.1292283493

1500.6453926617

1412.039529664

1392.5469163593

1498.8096772398

1410.3256554178

1404.6042671902

1501.5627071628

1421.3500387506

1410.3256554178

1501.5627071628

1423.2458693951

1413.9424582504

1498.8096772398

1437.0415489874

1420.4015802186

1494.3980501041

1441.7483519381

1415.8439382772

1478.1506989238

1442.5006002456

1421.3500387506

1469.0552574779

1458.0574523838

1424.1932415075

1467.1947716871

1456.375388506

1421.3500387506

1465.3328373368

1464.587658

1425.14025148

1464.587658

1451.696832467

1416.7941350808

1472.7718833806

1445.3194672015

1412.039529664

1464.587658

1442.5006002456

1415.8439382772

1465.3328373368

1444.3802070228

1410.3256554178

1467.1947716871

1449.8228750722

1408.4199745681

1462.7236956663

1444.3802070228

1402.6942406618

1464.587658

1441.7483519381

1400.017769942

1464.587658

1442.5006002456

1398.1042668707

1458.0574523838

1448.1350748984

1400.017769942

1457.310013294

1435.1562928278

1402.6942406618

1462.7236956663

1425.14025148

1400.017769942

1461.7911712896

1425.14025148

1404.6042671902

1460.858284773

1433.4583237658

1406.5128451589

1456.375388506

1427.7899528188

1402.6942406618

1453.5693413023

1446.2583652404

1402.6942406618

1452.6332679546

1458.0574523838

1401.9298244538

1446.2583652404

1464.587658

1409.3729960629

1449.0728865176

1468.1251956524

1409.3729960629

1447.1969011394

1469.9849571634

1415.8439382772

1451.696832467

1468.1251956524

1415.8439382772

1449.8228750722

1471.8432701148

1415.8439382772

1450.7600348396

1471.8432701148

1406.5128451589

1447.1969011394

1475.3700739407

1414.8933793338

1455.440401578

1465.3328373368

1415.8439382772

1462.7236956663

1474.4424746666

1413.9424582504

1461.7911712896

1470.914294709

1415.8439382772

1452.6332679546

1476.297311075

1421.3500387506

1457.310013294

1480.743008332

1422.2981351428

1454.5050525101

1483.5173320808

1419.4527595466

1458.0574523838

1474.4424746666

1424.1932415075

1448.1350748984

1481.6681450548

1426.0868993126

1448.1350748984

1479.0768496383

1426.0868993126

1448.1350748984

1488.1339621977

1428.7355866597

1436.0991019775

1489.7937327436

1429.6808583607

1440.8077156277

1485.3650705473

1425.14025148

1442.5006002456

1488.8717828519

1421.3500387506

1439.8667171775

1488.8717828519

1424.1932415075

1437.0415489874

1491.6365461075

1414.8933793338

1436.0991019775

1488.1339621977

1412.039529664

1442.5006002456

1485.3650705473

1411.0875221609

1437.0415489874

1488.1339621977

1410.3256554178

1443.4405847042

1490.7153204955

1420.4015802186

1445.3194672015

1491.6365461075

1417.7439697445

1439.8667171775

1492.5574095796

1413.9424582504

1442.5006002456

1490.7153204955

1418.5035767347

1448.1350748984

1488.1339621977

1419.4527595466

1443.4405847042

1487.2113604541

1421.3500387506

1446.2583652404

1488.8717828519

1423.2458693951

1449.0728865176

1481.6681450548

1422.2981351428

1449.0728865176

1483.5173320808

1420.4015802186

1441.7483519381

1483.5173320808

1425.14025148

1438.9253565873

1481.6681450548

1419.4527595466

1437.0415489874

1476.297311075

1416.7941350808

1438.9253565873

1471.8432701148

1422.2981351428

1439.8667171775

1469.9849571634

1425.14025148

1441.7483519381

1478.1506989238

1422.2981351428

1441.7483519381

1476.297311075

1425.14025148

1434.2131215382

1474.4424746666

1422.2981351428

1437.0415489874

1476.297311075

1420.4015802186

1437.0415489874

1469.9849571634

1413.9424582504

1441.7483519381

1470.914294709

1412.039529664

1447.1969011394

1468.1251956524

1408.4199745681

1451.696832467

1469.9849571634

1406.5128451589

1450.7600348396

1471.8432701148

1400.9739782678

1451.696832467

1467.1947716871

1397.1469721251

1447.1969011394

1467.1947716871

1400.017769942

1457.310013294

1463.6558579031

1400.017769942

1460.858284773

1457.310013294

1403.6494349959

1470.914294709

1449.0728865176

1399.0611994763

1468.1251956524

1446.2583652404

1402.6942406618

1472.7718833806

1443.4405847042

1436.0991019775

1471.8432701148

1436.0991019775

1448.1350748984

1468.1251956524

1435.1562928278

1449.0728865176

1470.914294709

1434.2131215382

1457.310013294

1468.1251956524

1438.9253565873

1459.9250361165

1467.1947716871

1437.9836338573

1457.310013294

1465.3328373368

1439.8667171775

1455.440401578

1464.587658

1447.1969011394

1457.310013294

1462.7236956663

1451.696832467

1457.310013294

1465.3328373368

1477.2241860693

1455.440401578

1464.587658

1476.297311075

1457.310013294

1468.1251956524

1474.4424746666

1452.6332679546

1467.1947716871

1473.5145132525

1449.8228750722

1470.914294709

1469.0552574779

1446.2583652404

1471.8432701148

1469.9849571634

1449.0728865176

1472.7718833806

1469.9849571634

1448.1350748984

1474.4424746666

1469.0552574779

1453.5693413023

1472.7718833806

1469.0552574779

1455.440401578

1470.914294709

1468.1251956524

1453.5693413023

1469.9849571634

1469.0552574779

1457.310013294

1470.914294709

1469.9849571634

1458.9914253201

1472.7718833806

1464.587658

1456.375388506

1468.1251956524

1467.1947716871

1458.9914253201

1467.1947716871

1467.1947716871

1456.375388506

1464.587658

1468.1251956524

1457.310013294

1467.1947716871

1467.1947716871

1459.9250361165

1465.3328373368

1463.6558579031

1454.5050525101

1466.2639855819

1468.1251956524

1457.310013294

1464.587658

1464.587658

1457.310013294

1464.587658

1465.3328373368

1458.0574523838

1464.587658

1467.1947716871

1457.310013294

1467.1947716871

1467.1947716871

1458.9914253201

1467.1947716871

1465.3328373368

1460.858284773

1460.858284773

1463.6558579031

1462.7236956663

1458.0574523838

1461.7911712896

1464.587658

1453.5693413023

1457.310013294

1464.587658

1452.6332679546

1457.310013294

1460.858284773

1454.5050525101

1455.440401578

1454.5050525101

1457.310013294

1449.8228750722

1450.7600348396

1463.6558579031

1441.7483519381

1451.696832467

1462.7236956663

1439.8667171775

1448.1350748984

1461.7911712896

1435.1562928278

1447.1969011394

1460.858284773

1433.4583237658

1447.1969011394

1462.7236956663

1437.9836338573

1445.3194672015

1458.9914253201

1438.9253565873

1446.2583652404

1456.375388506

1448.1350748984

1447.1969011394

1453.5693413023

1442.5006002456

1449.0728865176

1445.3194672015

1443.4405847042

1445.3194672015

1437.0415489874

1450.7600348396

1448.1350748984

1437.9836338573

1451.696832467

1449.0728865176

1429.6808583607

1450.7600348396

1445.3194672015

1420.4015802186

1441.7483519381

1447.1969011394

1424.1932415075

1439.8667171775

1445.3194672015

1426.0868993126

1438.9253565873

1445.3194672015

1422.2981351428

1432.5145006243

1439.8667171775

1423.2458693951

1426.0868993126

1442.5006002456

1422.2981351428

1426.0868993126

1438.9253565873

1428.7355866597

1434.2131215382

1437.0415489874

1431.570315343

1437.9836338573

1432.5145006243

1436.0991019775

1424.1932415075

1437.0415489874

1431.570315343

1435.1562928278

1437.0415489874

1435.1562928278

1435.1562928278

1437.0415489874

1432.5145006243

1437.9836338573

1431.570315343

1430.6257679218

1439.8667171775

1434.2131215382

1426.0868993126

1445.3194672015

1434.2131215382

1427.7899528188

1446.2583652404

1439.8667171775

1427.7899528188

1451.696832467

1441.7483519381

1426.843956838

1449.8228750722

1443.4405847042

1428.7355866597

1449.0728865176

1443.4405847042

1429.6808583607

1446.2583652404

1439.8667171775

1434.2131215382

1449.8228750722

1443.4405847042

1428.7355866597

1448.1350748984

1444.3802070228

1426.843956838

1445.3194672015

1444.3802070228

1421.3500387506

1445.3194672015

1444.3802070228

1418.5035767347

1454.5050525101

1447.1969011394

1420.4015802186

1460.858284773

1450.7600348396

1426.0868993126

1458.9914253201

1453.5693413023

1422.2981351428

1460.858284773

1452.6332679546

1412.9911750271

1461.7911712896

1452.6332679546

1415.8439382772

1462.7236956663

1449.0728865176

1420.4015802186

1460.858284773

1454.5050525101

1419.4527595466

1461.7911712896

1453.5693413023

1418.5035767347

1459.9250361165

1454.5050525101

1416.7941350808

1458.9914253201

1453.5693413023

1421.3500387506

1459.9250361165

1454.5050525101

1421.3500387506

1460.858284773

1452.6332679546

1420.4015802186

1461.7911712896

1454.5050525101

1419.4527595466

1466.2639855819

1452.6332679546

1421.3500387506

1467.1947716871

1454.5050525101

1422.2981351428

1467.1947716871

1451.696832467

1421.3500387506

1457.310013294

1450.7600348396

1419.4527595466

1454.5050525101

1451.696832467

1416.7941350808

1452.6332679546

1454.5050525101

1408.4199745681

1450.7600348396

1452.6332679546

1408.4199745681

1450.7600348396

1454.5050525101

1408.4199745681

1451.696832467

1455.440401578

1408.4199745681

1452.6332679546

1457.310013294

1411.0875221609

1456.375388506

1452.6332679546

1412.039529664

1460.858284773

1458.0574523838

1416.7941350808

1461.7911712896

1453.5693413023

1414.8933793338

1463.6558579031

1457.310013294

1414.8933793338

1466.2639855819

1452.6332679546

1413.9424582504

1469.9849571634

1451.696832467

1415.8439382772

1468.1251956524

1449.8228750722

1419.4527595466

1471.8432701148

1445.3194672015

1418.5035767347

1475.3700739407

1447.1969011394

1419.4527595466

1471.8432701148

1444.3802070228

1419.4527595466

1469.0552574779

1446.2583652404

1418.5035767347

1464.587658

1442.5006002456

1422.2981351428

1465.3328373368

1448.1350748984

1424.1932415075

1461.7911712896

1446.2583652404

1426.0868993126

1461.7911712896

1442.5006002456

1423.2458693951

1461.7911712896

1443.4405847042

1421.3500387506

1460.858284773

1440.8077156277

1414.8933793338

1453.5693413023

1442.5006002456

1413.9424582504

1444.3802070228

1443.4405847042

1412.9911750271

1447.1969011394

1435.1562928278

1412.9911750271

1448.1350748984

1437.0415489874

1412.039529664

1450.7600348396

1433.4583237658

1406.5128451589

1449.0728865176

1437.0415489874

1407.4665909335

1450.7600348396

1440.8077156277

1409.3729960629

1449.0728865176

1431.570315343

1409.3729960629

1455.440401578

1435.1562928278

1410.3256554178

1450.7600348396

1433.4583237658

1412.9911750271

1450.7600348396

1431.570315343

1412.9911750271

1449.0728865176

1433.4583237658

1413.9424582504

1445.3194672015

1427.7899528188

1418.5035767347

1443.4405847042

1432.5145006243

1415.8439382772

1442.5006002456

1436.0991019775

1410.3256554178

1429.6808583607

1437.9836338573

1411.0875221609

1433.4583237658

1434.2131215382

1410.3256554178

1433.4583237658

1439.8667171775

1411.0875221609

1424.1932415075

1439.8667171775

1411.0875221609

1425.14025148

1435.1562928278

1415.8439382772

1426.0868993126

1438.9253565873

1410.3256554178

1426.843956838

1442.5006002456

1410.3256554178

1426.0868993126

1437.9836338573

1409.3729960629

1426.843956838

1427.7899528188

1410.3256554178

1429.6808583607

1426.843956838

1406.5128451589

1435.1562928278

1433.4583237658

1407.4665909335

1438.9253565873

1431.570315343

1412.9911750271

1450.7600348396

1430.6257679218

1412.039529664

1452.6332679546

1430.6257679218

1412.039529664

1458.0574523838

1425.14025148

1418.5035767347

1459.9250361165

1429.6808583607

1417.7439697445

1461.7911712896

1432.5145006243

1416.7941350808

1459.9250361165

1431.570315343

1412.9911750271

1461.7911712896

1434.2131215382

1415.8439382772

1458.9914253201

1432.5145006243

1417.7439697445

1458.9914253201

1437.0415489874

1415.8439382772

1458.0574523838

1441.7483519381

1412.039529664

1455.440401578

1438.9253565873

1415.8439382772

1456.375388506

1435.1562928278

1411.0875221609

1449.8228750722

1427.7899528188

1416.7941350808

1449.8228750722

1429.6808583607

1413.9424582504

1452.6332679546

1426.0868993126

1415.8439382772

1453.5693413023

1425.14025148

1417.7439697445

1455.440401578

1427.7899528188

1419.4527595466

1449.8228750722

1424.1932415075

1420.4015802186

1449.8228750722

1425.14025148

1418.5035767347

1445.3194672015

1428.7355866597

1417.7439697445

1452.6332679546

1428.7355866597

1420.4015802186

1440.8077156277

1431.570315343

1416.7941350808

1437.9836338573

1429.6808583607

1418.5035767347

1439.8667171775

1429.6808583607

1419.4527595466

1441.7483519381

1426.0868993126

1417.7439697445

1445.3194672015

1432.5145006243

1423.2458693951

1446.2583652404

1433.4583237658

1421.3500387506

1445.3194672015

1437.0415489874

1424.1932415075

1450.7600348396

1446.2583652404

1425.14025148

1446.2583652404

1441.7483519381

1421.3500387506

1444.3802070228

1441.7483519381

1413.9424582504

1448.1350748984

1440.8077156277

1418.5035767347

1444.3802070228

1437.0415489874

1417.7439697445

1444.3802070228

1438.9253565873

1412.039529664

1440.8077156277

1438.9253565873

1410.3256554178

1440.8077156277

1439.8667171775

1416.7941350808

1442.5006002456

1439.8667171775

1414.8933793338

1437.9836338573

1432.5145006243

1408.4199745681

1444.3802070228

1435.1562928278

1406.5128451589

1446.2583652404

1436.0991019775

1409.3729960629

1442.5006002456

1437.0415489874

1402.6942406618

1441.7483519381

1438.9253565873

1404.6042671902

1440.8077156277

1437.9836338573

1406.5128451589

1442.5006002456

1438.9253565873

1405.5587372445

1442.5006002456

1434.2131215382

1410.3256554178

1438.9253565873

1435.1562928278

1421.3500387506

1441.7483519381

1432.5145006243

1421.3500387506

1444.3802070228

1434.2131215382

1421.3500387506

1443.4405847042

1436.0991019775

1418.5035767347

1444.3802070228

1428.7355866597

1419.4527595466

1439.8667171775

1433.4583237658

1412.9911750271

1441.7483519381

1423.2458693951

1412.039529664

1445.3194672015

1427.7899528188

1412.9911750271

1446.2583652404

1426.843956838

1410.3256554178

1448.1350748984

1423.2458693951

1405.5587372445

1448.1350748984

1426.843956838

1415.8439382772

1446.2583652404

1424.1932415075

1416.7941350808

1447.1969011394

1429.6808583607

1411.0875221609

1451.696832467

1430.6257679218

1407.4665909335

1451.696832467

1427.7899528188

1413.9424582504

1455.440401578

1427.7899528188

1409.3729960629

1457.310013294

1427.7899528188

1412.9911750271

1456.375388506

1423.2458693951

1405.5587372445

1452.6332679546

1425.14025148

1408.4199745681

1455.440401578

1418.5035767347

1407.4665909335

1457.310013294

1420.4015802186

1403.6494349959

1458.0574523838

1425.14025148

1400.9739782678

1458.0574523838

1424.1932415075

1408.4199745681

1456.375388506

1419.4527595466

1405.5587372445

1456.375388506

1412.9911750271

1403.6494349959

1458.0574523838

1411.0875221609

1405.5587372445

1461.7911712896

1410.3256554178

1405.5587372445

1458.9914253201

1420.4015802186

1405.5587372445

1453.5693413023

1417.7439697445

1401.9298244538

1456.375388506

1425.14025148

1404.6042671902

1458.9914253201

1423.2458693951

1401.9298244538

1458.0574523838

1418.5035767347

1401.9298244538

1458.9914253201

1419.4527595466

1397.1469721251

1454.5050525101

1418.5035767347

1397.1469721251

1458.9914253201

1422.2981351428

1400.9739782678

1461.7911712896

1419.4527595466

1394.4646202534

1463.6558579031

1420.4015802186

1391.5875212024

1457.310013294

1421.3500387506

1389.6676444689

1461.7911712896

1414.8933793338

1396.1893152397

1458.9914253201

1414.8933793338

1397.1469721251

1458.9914253201

1413.9424582504

1399.0611994763

1460.858284773

1412.039529664

1395.2312962144

1459.9250361165

1415.8439382772

1401.9298244538

1461.7911712896

1412.9911750271

1400.017769942

1465.3328373368

1417.7439697445

1397.1469721251

1462.7236956663

1414.8933793338

1400.017769942

1462.7236956663

1418.5035767347

1394.4646202534

1463.6558579031

1416.7941350808

1398.1042668707

1460.858284773

1415.8439382772

1396.1893152397

1458.0574523838

1417.7439697445

1389.6676444689

1458.9914253201

1420.4015802186

1388.7071628923

1458.9914253201

1418.5035767347

1394.4646202534

1457.310013294

1426.843956838

1391.5875212024

1458.9914253201

1424.1932415075

1381.2029779537

1454.5050525101

1420.4015802186

1386.7851133194

1453.5693413023

1424.1932415075

1386.0158878936

1453.5693413023

1419.4527595466

1383.1292283493

1456.375388506

1420.4015802186

1378.5037938197

1453.5693413023

1418.5035767347

1375.6086602019

1452.6332679546

1423.2458693951

1383.1292283493

1446.2583652404

1421.3500387506

1385.0540301854

1443.4405847042

1424.1932415075

1378.5037938197

1442.5006002456

1426.0868993126

1384.0918103373

1441.7483519381

1424.1932415075

1383.1292283493

1448.1350748984

1419.4527595466

1384.0918103373

1447.1969011394

1423.2458693951

1379.2752789985

1447.1969011394

1421.3500387506

1385.0540301854

1453.5693413023

1417.7439697445

1383.1292283493

1449.0728865176

1421.3500387506

1384.0918103373

1449.0728865176

1417.7439697445

1386.0158878936

1451.696832467

1419.4527595466

1386.0158878936

1449.8228750722

1416.7941350808

1373.6767604239

1451.696832467

1417.7439697445

1384.0918103373

1452.6332679546

1418.5035767347

1379.2752789985

1448.1350748984

1421.3500387506

1383.1292283493

1449.0728865176

1426.0868993126

1382.1662842215

1448.1350748984

1427.7899528188

1375.6086602019

1452.6332679546

1424.1932415075

1387.7463191758

1454.5050525101

1426.843956838

1386.0158878936

1450.7600348396

1435.1562928278

1389.6676444689

1452.6332679546

1432.5145006243

1398.1042668707

1451.696832467

1429.6808583607

1388.7071628923

1449.8228750722

1429.6808583607

1386.0158878936

1448.1350748984

1429.6808583607

1392.5469163593

1450.7600348396

1428.7355866597

1390.6277639056

1450.7600348396

1428.7355866597

1391.5875212024

1455.440401578

1426.0868993126

1397.1469721251

1449.8228750722

1432.5145006243

1399.0611994763

1449.0728865176

1430.6257679218

1398.1042668707

1451.696832467

1429.6808583607

1399.0611994763

1448.1350748984

1427.7899528188

1396.1893152397

1447.1969011394

1438.9253565873

1390.6277639056

1446.2583652404

1441.7483519381

1389.6676444689

1449.0728865176

1435.1562928278

1392.5469163593

1451.696832467

1435.1562928278

1388.7071628923

1450.7600348396

1437.0415489874

1385.0540301854

1453.5693413023

1433.4583237658

1386.7851133194

1449.8228750722

1436.0991019775

1392.5469163593

1447.1969011394

1426.843956838

1386.7851133194

1446.2583652404

1431.570315343

1384.0918103373

1449.8228750722

1427.7899528188

1383.1292283493

1453.5693413023

1431.570315343

1386.7851133194

1457.310013294

1429.6808583607

1386.7851133194

1454.5050525101

1427.7899528188

1390.6277639056

1459.9250361165

1433.4583237658

1393.5059493763

1453.5693413023

1434.2131215382

1385.0540301854

1458.0574523838

1432.5145006243

1386.7851133194

1457.310013294

1430.6257679218

1388.7071628923

1455.440401578

1437.0415489874

1385.0540301854

1458.0574523838

1436.0991019775

1384.0918103373

1452.6332679546

1442.5006002456

1386.0158878936

1451.696832467

1439.8667171775

1388.7071628923

1454.5050525101

1435.1562928278

1389.6676444689

1450.7600348396

1428.7355866597

1389.6676444689

1453.5693413023

1430.6257679218

1392.5469163593

1454.5050525101

1429.6808583607

1390.6277639056

1454.5050525101

1432.5145006243

1389.6676444689

1454.5050525101

1436.0991019775

1389.6676444689

1452.6332679546

1438.9253565873

1385.0540301854

1449.0728865176

1437.9836338573

1391.5875212024

1454.5050525101

1439.8667171775

1391.5875212024

1454.5050525101

1435.1562928278

1387.7463191758

1452.6332679546

1432.5145006243

1388.7071628923

1456.375388506

1432.5145006243

1386.0158878936

1455.440401578

1431.570315343

1386.0158878936

1455.440401578

1432.5145006243

1387.7463191758

1454.5050525101

1431.570315343

1390.6277639056

1452.6332679546

1430.6257679218

1390.6277639056

1448.1350748984

1429.6808583607

1390.6277639056

1449.8228750722

1429.6808583607

1384.0918103373

1453.5693413023

1429.6808583607

1386.7851133194

1448.1350748984

1433.4583237658

1386.7851133194

1445.3194672015

1428.7355866597

1381.2029779537

1442.5006002456

1427.7899528188

1382.1662842215

1445.3194672015

1429.6808583607

1386.0158878936

1445.3194672015

1427.7899528188

1378.5037938197

1437.9836338573

1426.0868993126

1376.574066881

1440.8077156277

1424.1932415075

1377.5391114203

1443.4405847042

1422.2981351428

1373.6767604239

1440.8077156277

1421.3500387506

1374.6428913828

1445.3194672015

1425.14025148

1376.574066881

1444.3802070228

1424.1932415075

1376.574066881

1440.8077156277

1421.3500387506

1378.5037938197

1443.4405847042

1421.3500387506

1376.574066881

1430.6257679218

1421.3500387506

1368.0660594632

1434.2131215382

1426.0868993126

1364.1895125829

1433.4583237658

1429.6808583607

1368.0660594632

1432.5145006243

1428.7355866597

1369.0342908336

1428.7355866597

1423.2458693951

1366.1285103029

1427.7899528188

1424.1932415075

1367.097465953

1431.570315343

1431.570315343

1369.0342908336

1435.1562928278

1428.7355866597

1365.1591925128

1436.0991019775

1435.1562928278

1370.7761947076

1438.9253565873

1438.9253565873

1370.7761947076

1433.4583237658

1438.9253565873

1375.6086602019

1434.2131215382

1437.0415489874

1381.2029779537

1434.2131215382

1439.8667171775

1384.0918103373

1433.4583237658

1439.8667171775

1386.0158878936

1433.4583237658

1436.0991019775

1384.0918103373

1433.4583237658

1437.9836338573

1382.1662842215

1434.2131215382

1434.2131215382

1380.239309546

1434.2131215382

1435.1562928278

1381.2029779537

1430.6257679218

1434.2131215382

1375.6086602019

1433.4583237658

1432.5145006243

1371.7434120863

1428.7355866597

1435.1562928278

1374.6428913828

1432.5145006243

1439.8667171775

1377.5391114203

1435.1562928278

1443.4405847042

1376.574066881

1435.1562928278

1438.9253565873

1374.6428913828

1434.2131215382

1436.0991019775

1379.2752789985

1436.0991019775

1435.1562928278

1384.0918103373

1435.1562928278

1429.6808583607

1383.1292283493

1435.1562928278

1433.4583237658

1384.0918103373

1438.9253565873

1426.0868993126

1382.1662842215

1440.8077156277

1425.14025148

1382.1662842215

1440.8077156277

1423.2458693951

1383.1292283493

1442.5006002456

1425.14025148

1385.0540301854

1437.9836338573

1420.4015802186

1385.0540301854

1437.9836338573

1427.7899528188

1382.1662842215

1442.5006002456

1423.2458693951

1386.0158878936

1445.3194672015

1423.2458693951

1393.5059493763

1449.0728865176

1424.1932415075

1390.6277639056

1448.1350748984

1420.4015802186

1387.7463191758

1451.696832467

1422.2981351428

1386.7851133194

1451.696832467

1420.4015802186

1386.0158878936

1449.8228750722

1423.2458693951

1386.0158878936

1453.5693413023

1420.4015802186

1389.6676444689

1450.7600348396

1416.7941350808

1389.6676444689

1449.0728865176

1413.9424582504

1388.7071628923

1447.1969011394

1413.9424582504

1388.7071628923

1449.0728865176

1412.039529664

1387.7463191758

1449.0728865176

1410.3256554178

1385.0540301854

1448.1350748984

1409.3729960629

1381.2029779537

1449.0728865176

1412.039529664

1377.5391114203

1448.1350748984

1407.4665909335

1379.2752789985

1448.1350748984

1412.039529664

1375.6086602019

1449.0728865176

1402.6942406618

1372.710267325

1451.696832467

1401.9298244538

1376.574066881

1450.7600348396

1408.4199745681

1374.6428913828

1452.6332679546

1408.4199745681

1379.2752789985

1452.6332679546

1412.039529664

1379.2752789985

1451.696832467

1415.8439382772

1376.574066881

1449.8228750722

1419.4527595466

1377.5391114203

1449.0728865176

1423.2458693951

1373.6767604239

1448.1350748984

1417.7439697445

1371.7434120863

1449.8228750722

1418.5035767347

1372.710267325

1448.1350748984

1417.7439697445

1372.710267325

1443.4405847042

1421.3500387506

1376.574066881

1448.1350748984

1422.2981351428

1381.2029779537

1449.0728865176

1414.8933793338

1379.2752789985

1441.7483519381

1415.8439382772

1374.6428913828

1438.9253565873

1414.8933793338

1377.5391114203

1441.7483519381

1412.9911750271

1375.6086602019

1440.8077156277

1408.4199745681

1378.5037938197

1442.5006002456

1406.5128451589

1377.5391114203

1437.0415489874

1398.1042668707

1376.574066881

1440.8077156277

1398.1042668707

1374.6428913828

1442.5006002456

1400.017769942

1376.574066881

1440.8077156277

1398.1042668707

1378.5037938197

1439.8667171775

1400.9739782678

1377.5391114203

1431.570315343

1403.6494349959

1378.5037938197

1426.0868993126

1402.6942406618

1373.6767604239

1422.2981351428

1407.4665909335

1376.574066881

1423.2458693951

1403.6494349959

1375.6086602019

1427.7899528188

1402.6942406618

1378.5037938197

1424.1932415075

1415.8439382772

1376.574066881

1428.7355866597

1416.7941350808

1373.6767604239

1426.843956838

1412.9911750271

1374.6428913828

1435.1562928278

1415.8439382772

1378.5037938197

1437.0415489874

1413.9424582504

1377.5391114203

1438.9253565873

1420.4015802186

1379.2752789985

1440.8077156277

1412.9911750271

1376.574066881

1442.5006002456

1415.8439382772

1379.2752789985

1441.7483519381

1411.0875221609

1377.5391114203

1441.7483519381

1406.5128451589

1376.574066881

1439.8667171775

1409.3729960629

1378.5037938197

1446.2583652404

1409.3729960629

1381.2029779537

1441.7483519381

1413.9424582504

1381.2029779537

1444.3802070228

1412.039529664

1386.0158878936

1445.3194672015

1404.6042671902

1381.2029779537

1443.4405847042

1403.6494349959

1376.574066881

1439.8667171775

1402.6942406618

1380.239309546

1430.6257679218

1405.5587372445

1382.1662842215

1429.6808583607

1405.5587372445

1376.574066881

1426.0868993126

1402.6942406618

1373.6767604239

1422.2981351428

1410.3256554178

1376.574066881

1417.7439697445

1410.3256554178

1374.6428913828

1409.3729960629

1413.9424582504

1370.7761947076

1412.039529664

1415.8439382772

1372.710267325

1412.9911750271

1408.4199745681

1372.710267325

1411.0875221609

1411.0875221609

1372.710267325

1409.3729960629

1412.9911750271

1370.7761947076

1409.3729960629

1417.7439697445

1373.6767604239

1419.4527595466

1415.8439382772

1365.1591925128

1417.7439697445

1417.7439697445

1370.002160064

1412.039529664

1423.2458693951

1373.6767604239

1414.8933793338

1418.5035767347

1373.6767604239

1417.7439697445

1414.8933793338

1371.7434120863

1419.4527595466

1418.5035767347

1375.6086602019

1418.5035767347

1419.4527595466

1376.574066881

1423.2458693951

1421.3500387506

1371.7434120863

1423.2458693951

1421.3500387506

1369.0342908336

1421.3500387506

1421.3500387506

1367.097465953

1422.2981351428

1418.5035767347

1370.7761947076

1425.14025148

1416.7941350808

1376.574066881

1426.0868993126

1415.8439382772

1380.239309546

1424.1932415075

1414.8933793338

1377.5391114203

1421.3500387506

1412.9911750271

1379.2752789985

1418.5035767347

1410.3256554178

1379.2752789985

1426.0868993126

1412.9911750271

1377.5391114203

1424.1932415075

1415.8439382772

1375.6086602019

1423.2458693951

1417.7439697445

1377.5391114203

1421.3500387506

1412.9911750271

1378.5037938197

1422.2981351428

1413.9424582504

1379.2752789985

1417.7439697445

1414.8933793338

1379.2752789985

1424.1932415075

1416.7941350808

1376.574066881

1427.7899528188

1420.4015802186

1375.6086602019

1424.1932415075

1421.3500387506

1370.7761947076

1430.6257679218

1420.4015802186

1370.002160064

1431.570315343

1419.4527595466

1372.710267325

1430.6257679218

1417.7439697445

1371.7434120863

1432.5145006243

1415.8439382772

1370.002160064

1431.570315343

1415.8439382772

1370.7761947076

1432.5145006243

1415.8439382772

1370.002160064

1427.7899528188

1421.3500387506

1368.0660594632

1429.6808583607

1416.7941350808

1364.1895125829

1429.6808583607

1411.0875221609

1366.1285103029

1432.5145006243

1412.9911750271

1369.0342908336

1431.570315343

1412.9911750271

1367.097465953

1435.1562928278

1411.0875221609

1368.0660594632

1438.9253565873

1415.8439382772

1370.002160064

1436.0991019775

1418.5035767347

1362.2490663034

1424.1932415075

1415.8439382772

1357.5860851094

1431.570315343

1413.9424582504

1370.7761947076

1422.2981351428

1408.4199745681

1372.710267325

1416.7941350808

1404.6042671902

1370.002160064

1422.2981351428

1400.9739782678

1366.1285103029

1426.843956838

1400.9739782678

1367.097465953

1431.570315343

1400.017769942

1369.0342908336

1424.1932415075

1405.5587372445

1370.002160064

1426.0868993126

1400.9739782678

1368.0660594632

1426.843956838

1394.4646202534

1367.097465953

1428.7355866597

1391.5875212024

1368.0660594632

1428.7355866597

1394.4646202534

1370.002160064

1426.843956838

1393.5059493763

1370.002160064

1424.1932415075

1403.6494349959

1374.6428913828

1427.7899528188

1408.4199745681

1375.6086602019

1431.570315343

1405.5587372445

1373.6767604239

1434.2131215382

1405.5587372445

1373.6767604239

1431.570315343

1405.5587372445

1370.002160064

1433.4583237658

1405.5587372445

1369.0342908336

1427.7899528188

1409.3729960629

1377.5391114203

1430.6257679218

1403.6494349959

1373.6767604239

1427.7899528188

1404.6042671902

1375.6086602019

1423.2458693951

1405.5587372445

1370.7761947076

1425.14025148

1408.4199745681

1372.710267325

1427.7899528188

1407.4665909335

1366.1285103029

1427.7899528188

1404.6042671902

1370.7761947076

1436.0991019775

1404.6042671902

1369.0342908336

1434.2131215382

1404.6042671902

1369.0342908336

1429.6808583607

1404.6042671902

1370.002160064

1430.6257679218

1404.6042671902

1369.0342908336

1432.5145006243

1408.4199745681

1370.7761947076

1432.5145006243

1406.5128451589

1370.7761947076

1429.6808583607

1409.3729960629

1370.7761947076

1413.9424582504

1407.4665909335

1375.6086602019

1411.0875221609

1408.4199745681

1372.710267325

1404.6042671902

1408.4199745681

1373.6767604239

1404.6042671902

1411.0875221609

1373.6767604239

1405.5587372445

1412.9911750271

1376.574066881

1407.4665909335

1414.8933793338

1374.6428913828

1407.4665909335

1415.8439382772

1374.6428913828

1409.3729960629

1412.9911750271

1369.0342908336

1417.7439697445

1413.9424582504

1372.710267325

1416.7941350808

1412.039529664

1370.002160064

1419.4527595466

1413.9424582504

1370.7761947076

1419.4527595466

1413.9424582504

1377.5391114203

1415.8439382772

1411.0875221609

1375.6086602019

1415.8439382772

1414.8933793338

1377.5391114203

1416.7941350808

1415.8439382772

1371.7434120863

1419.4527595466

1415.8439382772

1376.574066881

1417.7439697445

1415.8439382772

1375.6086602019

1418.5035767347

1412.9911750271

1375.6086602019

1409.3729960629

1416.7941350808

1368.0660594632

1408.4199745681

1410.3256554178

1367.097465953

1406.5128451589

1410.3256554178

1368.0660594632

1412.9911750271

1417.7439697445

1366.1285103029

1417.7439697445

1412.9911750271

1366.1285103029

1408.4199745681

1408.4199745681

1370.7761947076

1410.3256554178

1412.039529664

1368.0660594632

1412.9911750271

1405.5587372445

1370.002160064

1416.7941350808

1400.9739782678

1374.6428913828

1414.8933793338

1403.6494349959

1371.7434120863

1417.7439697445

1407.4665909335

1369.0342908336

1413.9424582504

1409.3729960629

1367.097465953

1413.9424582504

1412.9911750271

1367.097465953

1421.3500387506

1402.6942406618

1367.097465953

1416.7941350808

1410.3256554178

1366.1285103029

1419.4527595466

1404.6042671902

1365.1591925128

1418.5035767347

1417.7439697445

1359.5300079319

1419.4527595466

1412.9911750271

1362.2490663034

1418.5035767347

1420.4015802186

1361.4724821949

1426.0868993126

1416.7941350808

1369.0342908336

1425.14025148

1420.4015802186

1367.097465953

1431.570315343

1421.3500387506

1369.0342908336

1426.843956838

1415.8439382772

1365.1591925128

1434.2131215382

1417.7439697445

1362.2490663034

1440.8077156277

1416.7941350808

1361.4724821949

1434.2131215382

1414.8933793338

1365.1591925128

1434.2131215382

1411.0875221609

1358.5582275906

1437.0415489874

1410.3256554178

1361.4724821949

1433.4583237658

1411.0875221609

1365.1591925128

1437.9836338573

1410.3256554178

1367.097465953

1435.1562928278

1406.5128451589

1371.7434120863

1433.4583237658

1412.039529664

1373.6767604239

1436.0991019775

1410.3256554178

1369.0342908336

1430.6257679218

1412.9911750271

1371.7434120863

1432.5145006243

1414.8933793338

1370.002160064

1433.4583237658

1414.8933793338

1365.1591925128

1428.7355866597

1416.7941350808

1370.7761947076

1426.843956838

1413.9424582504

1365.1591925128

1428.7355866597

1418.5035767347

1370.002160064

1429.6808583607

1422.2981351428

1365.1591925128

1426.843956838

1421.3500387506

1373.6767604239

1423.2458693951

1426.843956838

1363.2194705131

1418.5035767347

1424.1932415075

1364.1895125829

1421.3500387506

1420.4015802186

1364.1895125829

1418.5035767347

1419.4527595466

1361.4724821949

1417.7439697445

1413.9424582504

1364.1895125829

1416.7941350808

1413.9424582504

1368.0660594632

1417.7439697445

1417.7439697445

1367.097465953

1419.4527595466

1412.9911750271

1366.1285103029

1429.6808583607

1412.9911750271

1367.097465953

1430.6257679218

1412.9911750271

1370.002160064

1437.9836338573

1408.4199745681

1370.7761947076

1432.5145006243

1412.9911750271

1365.1591925128

1432.5145006243

1411.0875221609

1375.6086602019

1429.6808583607

1415.8439382772

1369.0342908336

1434.2131215382

1408.4199745681

1370.7761947076

1433.4583237658

1411.0875221609

1368.0660594632

1437.0415489874

1413.9424582504

1369.0342908336

1437.0415489874

1412.039529664

1365.1591925128

1437.0415489874

1407.4665909335

1371.7434120863

1433.4583237658

1409.3729960629

1370.7761947076

1432.5145006243

1406.5128451589

1374.6428913828

1436.0991019775

1402.6942406618

1376.574066881

1431.570315343

1406.5128451589

1363.2194705131

1430.6257679218

1406.5128451589

1370.7761947076

1420.4015802186

1401.9298244538

1374.6428913828

1429.6808583607

1408.4199745681

1372.710267325

1427.7899528188

1408.4199745681

1374.6428913828

1421.3500387506

1411.0875221609

1369.0342908336

1423.2458693951

1411.0875221609

1370.7761947076

1417.7439697445

1404.6042671902

1370.7761947076

1419.4527595466

1409.3729960629

1368.0660594632

1420.4015802186

1406.5128451589

1376.574066881

1414.8933793338

1414.8933793338

1372.710267325

1412.9911750271

1411.0875221609

1368.0660594632

1412.9911750271

1401.9298244538

1370.7761947076

1409.3729960629

1400.017769942

1362.2490663034

1408.4199745681

1406.5128451589

1370.7761947076

1409.3729960629

1403.6494349959

1363.2194705131

1409.3729960629

1398.1042668707

1366.1285103029

1409.3729960629

1396.1893152397

1366.1285103029

1408.4199745681

1398.1042668707

1367.097465953

1409.3729960629

1395.2312962144

1368.0660594632

1412.9911750271

1395.2312962144

1366.1285103029

1412.9911750271

1396.1893152397

1367.097465953

1413.9424582504

1400.017769942

1369.0342908336

1408.4199745681

1402.6942406618

1370.002160064

1409.3729960629

1395.2312962144

1371.7434120863

1412.9911750271

1398.1042668707

1382.1662842215

1410.3256554178

1393.5059493763

1383.1292283493

1412.9911750271

1393.5059493763

1382.1662842215

1413.9424582504

1399.0611994763

1386.7851133194

1416.7941350808

1399.0611994763

1386.7851133194

1417.7439697445

1394.4646202534

1386.7851133194

1419.4527595466

1408.4199745681

1387.7463191758

1411.0875221609

1397.1469721251

1380.239309546

1408.4199745681

1400.017769942

1378.5037938197

1412.9911750271

1393.5059493763

1379.2752789985

1413.9424582504

1390.6277639056

1379.2752789985

1418.5035767347

1396.1893152397

1377.5391114203

1417.7439697445

1398.1042668707

1370.002160064

1417.7439697445

1390.6277639056

1371.7434120863

1422.2981351428

1390.6277639056

1376.574066881

1424.1932415075

1393.5059493763

1377.5391114203

1424.1932415075

1389.6676444689

1374.6428913828

1420.4015802186

1386.7851133194

1372.710267325

1414.8933793338

1387.7463191758

1370.002160064

1416.7941350808

1392.5469163593

1365.1591925128

1419.4527595466

1393.5059493763

1369.0342908336

1418.5035767347

1392.5469163593

1365.1591925128

1415.8439382772

1390.6277639056

1362.2490663034

1412.9911750271

1385.0540301854

1355.6407137273

1416.7941350808

1391.5875212024

1352.9147602123

1412.9911750271

1390.6277639056

1359.5300079319

1410.3256554178

1391.5875212024

1361.4724821949

1407.4665909335

1399.0611994763

1355.6407137273

1407.4665909335

1393.5059493763

1358.5582275906

1410.3256554178

1395.2312962144

1355.6407137273

1408.4199745681

1390.6277639056

1353.888640965

1407.4665909335

1385.0540301854

1360.5014261334

1408.4199745681

1377.5391114203

1350.9659122872

1402.6942406618

1385.0540301854

1353.888640965

1403.6494349959

1382.1662842215

1355.6407137273

1401.9298244538

1382.1662842215

1352.9147602123

1400.9739782678

1384.0918103373

1346.0874550263

1400.9739782678

1382.1662842215

1348.0399243503

1397.1469721251

1383.1292283493

1346.0874550263

1401.9298244538

1380.239309546

1349.0156158025

1400.017769942

1374.6428913828

1347.0638707583

1403.6494349959

1373.6767604239

1346.0874550263

1399.0611994763

1367.097465953

1351.9405173197

1398.1042668707

1364.1895125829

1344.3289941162

1405.5587372445

1369.0342908336

1346.0874550263

1402.6942406618

1368.0660594632

1349.0156158025

1400.9739782678

1372.710267325

1353.888640965

1406.5128451589

1373.6767604239

1357.5860851094

1402.6942406618

1371.7434120863

1352.9147602123

1402.6942406618

1376.574066881

1348.0399243503

1400.9739782678

1377.5391114203

1345.3060617

1404.6042671902

1370.002160064

1344.3289941162

1406.5128451589

1373.6767604239

1355.6407137273

1402.6942406618

1383.1292283493

1356.6135804883

1403.6494349959

1386.7851133194

1352.9147602123

1400.017769942

1386.7851133194

1359.5300079319

1400.017769942

1380.239309546

1366.1285103029

1400.9739782678

1386.7851133194

1355.6407137273

1399.0611994763

1386.0158878936

1360.5014261334

1394.4646202534

1384.0918103373

1370.002160064

1402.6942406618

1386.0158878936

1362.2490663034

1402.6942406618

1387.7463191758

1363.2194705131

1404.6042671902

1379.2752789985

1361.4724821949

1403.6494349959

1375.6086602019

1352.9147602123

1402.6942406618

1380.239309546

1353.888640965

1395.2312962144

1376.574066881

1353.888640965

1400.017769942

1383.1292283493

1349.0156158025

1400.017769942

1377.5391114203

1349.0156158025

1400.9739782678

1365.1591925128

1348.0399243503

1402.6942406618

1369.0342908336

1352.9147602123

1410.3256554178

1365.1591925128

1355.6407137273

1405.5587372445

1360.5014261334

1349.9909451148

1404.6042671902

1348.0399243503

1349.0156158025

1402.6942406618

1345.3060617

1349.9909451148

1401.9298244538

1352.9147602123

1345.3060617

1400.9739782678

1353.888640965

1348.0399243503

1400.017769942

1353.888640965

1347.0638707583

1400.9739782678

1347.0638707583

1346.0874550263

1402.6942406618

1347.0638707583

1347.0638707583

1406.5128451589

1342.373772529

1343.3515643926

1412.9911750271

1342.373772529

1344.3289941162

1411.0875221609

1346.0874550263

1336.6954383216

1412.039529664

1345.3060617

1332.7722478228

1406.5128451589

1344.3289941162

1335.7151839067

1403.6494349959

1339.4382240989

1335.7151839067

1401.9298244538

1341.3956185255

1337.6753305965

1402.6942406618

1340.4171023822

1332.7722478228

1402.6942406618

1349.9909451148

1344.3289941162

1407.4665909335

1336.6954383216

1338.4589836758

1402.6942406618

1329.0398499357

1332.7722478228

1405.5587372445

1338.4589836758

1333.7535886573

1406.5128451589

1332.7722478228

1336.6954383216

1410.3256554178

1322.1506912556

1340.4171023822

1406.5128451589

1325.1053606722

1340.4171023822

1403.6494349959

1346.0874550263

1335.7151839067

1404.6042671902

1336.6954383216

1345.3060617

1400.017769942

1335.7151839067

1338.4589836758

1400.9739782678

1330.808479734

1348.0399243503

1405.5587372445

1334.734567352

1344.3289941162

1409.3729960629

1332.7722478228

1334.734567352

1403.6494349959

1327.0733295837

1334.734567352

1401.9298244538

1331.7905448483

1337.6753305965

1405.5587372445

1337.6753305965

1346.0874550263

1407.4665909335

1332.7722478228

1341.3956185255

1403.6494349959

1329.8260524798

1341.3956185255

1400.017769942

1334.734567352

1341.3956185255

1400.9739782678

1334.734567352

1345.3060617

1405.5587372445

1336.6954383216

1337.6753305965

1402.6942406618

1335.7151839067

1342.373772529

1397.1469721251

1334.734567352

1338.4589836758

1400.9739782678

1326.0895261979

1331.7905448483

1403.6494349959

1328.0567708297

1333.7535886573

1403.6494349959

1316.4290885736

1337.6753305965

1404.6042671902

1320.3763251614

1334.734567352

1403.6494349959

1315.4413740769

1339.4382240989

1404.6042671902

1316.4290885736

1338.4589836758

1407.4665909335

1315.4413740769

1342.373772529

1410.3256554178

1307.7247723615

1339.4382240989

1418.5035767347

1311.6847562736

1340.4171023822

1415.8439382772

1303.9574207318

1339.4382240989

1413.9424582504

1312.6738469019

1335.7151839067

1412.039529664

1306.7338710338

1345.3060617

1408.4199745681

1304.9493360512

1349.9909451148

1408.4199745681

1307.7247723615

1350.9659122872

1417.7439697445

1307.7247723615

1351.9405173197

1407.4665909335

1322.1506912556

1336.6954383216

1412.039529664

1320.3763251614

1339.4382240989

1408.4199745681

1315.4413740769

1344.3289941162

1415.8439382772

1314.4532974403

1339.4382240989

1409.3729960629

1309.7054885974

1345.3060617

1412.039529664

1318.4034311473

1339.4382240989

1413.9424582504

1316.4290885736

1339.4382240989

1412.9911750271

1308.7153115494

1347.0638707583

1411.0875221609

1309.7054885974

1351.9405173197

1408.4199745681

1306.7338710338

1339.4382240989

1408.4199745681

1308.7153115494

1343.3515643926

1404.6042671902

1306.7338710338

1342.373772529

1408.4199745681

1305.7426075661

1342.373772529

1409.3729960629

1301.9725036732

1339.4382240989

1407.4665909335

1301.9725036732

1351.9405173197

1406.5128451589

1296.2080525987

1341.3956185255

1404.6042671902

1296.2080525987

1344.3289941162

1403.6494349959

1294.2174861577

1339.4382240989

1403.6494349959

1290.232007597

1348.0399243503

1403.6494349959

1293.2216597274

1346.0874550263

1406.5128451589

1295.2129504482

1349.9909451148

1404.6042671902

1290.232007597

1349.0156158025

1400.9739782678

1286.4404360511

1344.3289941162

1397.1469721251

1288.4366518745

1349.9909451148

1393.5059493763

1290.232007597

1350.9659122872

1396.1893152397

1286.4404360511

1352.9147602123

1398.1042668707

1276.638039588

1360.5014261334

1392.5469163593

1273.6303528909

1361.4724821949

1387.7463191758

1273.6303528909

1355.6407137273

1382.1662842215

1270.8202380642

1356.6135804883

1386.7851133194

1275.6358394955

1349.9909451148

1378.5037938197

1276.638039588

1345.3060617

1374.6428913828

1277.6398775406

1336.6954383216

1378.5037938197

1279.6424670261

1328.0567708297

1384.0918103373

1277.6398775406

1325.1053606722

1381.2029779537

1276.638039588

1318.4034311473

1374.6428913828

1280.4430972236

1326.0895261979

1377.5391114203

1275.6358394955

1321.3622289586

1370.7761947076

1278.6413533533

1322.1506912556

1375.6086602019

1276.638039588

1326.0895261979

1374.6428913828

1278.6413533533

1323.135943201

1380.239309546

1276.638039588

1322.1506912556

1377.5391114203

1277.6398775406

1320.3763251614

1390.6277639056

1276.638039588

1320.3763251614

1389.6676444689

1275.6358394955

1320.3763251614

1391.5875212024

1283.4433962669

1332.7722478228

1394.4646202534

1289.2347326071

1333.7535886573

1388.7071628923

1287.4387250327

1331.7905448483

1381.2029779537

1288.4366518745

1338.4589836758

1370.7761947076

1284.4427716682

1339.4382240989

1377.5391114203

1320.3763251614

1336.6954383216

1376.574066881

1353.888640965

1335.7151839067

1380.239309546

1362.2490663034

1331.7905448483

1392.5469163593

1361.4724821949

1334.734567352

1397.1469721251

1364.1895125829

1338.4589836758

1397.1469721251

1363.2194705131

1340.4171023822

1397.1469721251

1359.5300079319

1325.1053606722

1397.1469721251

1358.5582275906

1325.1053606722

1396.1893152397

1365.1591925128

1325.1053606722

1391.5875212024

1369.0342908336

1313.4648586638

1396.1893152397

1371.7434120863

1310.6953035055

1395.2312962144

1370.002160064

1322.1506912556

1396.1893152397

1374.6428913828

1317.4164409304

1386.0158878936

1371.7434120863

1316.4290885736

1388.7071628923

1368.0660594632

1320.3763251614

1387.7463191758

1358.5582275906

1323.135943201

1391.5875212024

1361.4724821949

1318.4034311473

1381.2029779537

1362.2490663034

1317.4164409304

1382.1662842215

1362.2490663034

1316.4290885736

1383.1292283493

1366.1285103029

1309.7054885974

1387.7463191758

1381.2029779537

1303.9574207318

1385.0540301854

1377.5391114203

1309.7054885974

1389.6676444689

1370.7761947076

1306.7338710338

1386.0158878936

1378.5037938197

1306.7338710338

1383.1292283493

1375.6086602019

1311.6847562736

1385.0540301854

1370.7761947076

1311.6847562736

1388.7071628923

1377.5391114203

1309.7054885974

1394.4646202534

1378.5037938197

1303.9574207318

1386.7851133194

1375.6086602019

1307.7247723615

1392.5469163593

1373.6767604239

1313.4648586638

1386.7851133194

1366.1285103029

1307.7247723615

1389.6676444689

1349.9909451148

1312.6738469019

1395.2312962144

1348.0399243503

1323.135943201

1397.1469721251

1335.7151839067

1323.135943201

1392.5469163593

1335.7151839067

1327.0733295837

1385.0540301854

1341.3956185255

1312.6738469019

1385.0540301854

1341.3956185255

1304.9493360512

1378.5037938197

1360.5014261334

1304.9493360512

1377.5391114203

1368.0660594632

1306.7338710338

1373.6767604239

1366.1285103029

1300.979501934

1364.1895125829

1366.1285103029

1301.9725036732

1368.0660594632

1367.097465953

1294.2174861577

1370.002160064

1371.7434120863

1295.2129504482

1364.1895125829

1376.574066881

1301.9725036732

1357.5860851094

1378.5037938197

1289.2347326071

1346.0874550263

1371.7434120863

1296.2080525987

1357.5860851094

1359.5300079319

1292.2254711572

1354.6674848264

1356.6135804883

1288.4366518745

1349.0156158025

1360.5014261334

1290.232007597

1346.0874550263

1366.1285103029

1286.4404360511

1345.3060617

1373.6767604239

1290.232007597

1349.9909451148

1370.7761947076

1289.2347326071

1343.3515643926

1371.7434120863

1294.2174861577

1340.4171023822

1364.1895125829

1287.4387250327

1342.373772529

1367.097465953

1286.4404360511

1344.3289941162

1378.5037938197

1286.4404360511

1349.9909451148

1377.5391114203

1281.4435590446

1354.6674848264

1377.5391114203

1277.6398775406

1363.2194705131

1384.0918103373

1273.6303528909

1360.5014261334

1374.6428913828

1276.638039588

1358.5582275906

1376.574066881

1281.4435590446

1357.5860851094

1385.0540301854

1284.4427716682

1357.5860851094

1372.710267325

1296.2080525987

1362.2490663034

1372.710267325

1301.9725036732

1356.6135804883

1371.7434120863

1305.7426075661

1355.6407137273

1367.097465953

1312.6738469019

1352.9147602123

1363.2194705131

1305.7426075661

1350.9659122872

1358.5582275906

1301.9725036732

1349.9909451148

1361.4724821949

1295.2129504482

1352.9147602123

1365.1591925128

1299.986138055

1352.9147602123

1354.6674848264

1297.0038735784

1352.9147602123

1360.5014261334

1297.9983238772

1349.0156158025

1362.2490663034

1300.979501934

1343.3515643926

1360.5014261334

1302.9651432724

1343.3515643926

1370.002160064

1307.7247723615

1342.373772529

1370.002160064

1305.7426075661

1343.3515643926

1369.0342908336

1311.6847562736

1343.3515643926

1362.2490663034

1311.6847562736

1340.4171023822

1370.002160064

1310.6953035055

1348.0399243503

1376.574066881

1315.4413740769

1347.0638707583

1373.6767604239

1311.6847562736

1346.0874550263

1381.2029779537

1315.4413740769

1338.4589836758

1374.6428913828

1308.7153115494

1350.9659122872

1381.2029779537

1313.4648586638

1349.0156158025

1371.7434120863

1307.7247723615

1358.5582275906

1377.5391114203

1301.9725036732

1355.6407137273

1375.6086602019

1302.9651432724

1356.6135804883

1376.574066881

1302.9651432724

1362.2490663034

1377.5391114203

1307.7247723615

1356.6135804883

1370.7761947076

1304.9493360512

1358.5582275906

1370.002160064

1305.7426075661

1356.6135804883

1373.6767604239

1311.6847562736

1351.9405173197

1371.7434120863

1312.6738469019

1346.0874550263

1374.6428913828

1311.6847562736

1347.0638707583

1377.5391114203

1311.6847562736

1355.6407137273

1383.1292283493

1310.6953035055

1356.6135804883

1372.710267325

1310.6953035055

1356.6135804883

1381.2029779537

1311.6847562736

1359.5300079319

1383.1292283493

1311.6847562736

1360.5014261334

1382.1662842215

1319.3900592243

1361.4724821949

1378.5037938197

1312.6738469019

1357.5860851094

1374.6428913828

1314.4532974403

1363.2194705131

1375.6086602019

1321.3622289586

1361.4724821949

1377.5391114203

1322.1506912556

1357.5860851094

1381.2029779537

1326.0895261979

1360.5014261334

1381.2029779537

1315.4413740769

1360.5014261334

1380.239309546

1316.4290885736

1359.5300079319

1384.0918103373

1324.1208330066

1356.6135804883

1380.239309546

1329.8260524798

1358.5582275906

1381.2029779537

1337.6753305965

1361.4724821949

1381.2029779537

1330.808479734

1361.4724821949

1386.0158878936

1328.0567708297

1362.2490663034

1382.1662842215

1332.7722478228

1358.5582275906

1382.1662842215

1331.7905448483

1361.4724821949

1378.5037938197

1322.1506912556

1359.5300079319

1383.1292283493

1324.1208330066

1363.2194705131

1383.1292283493

1325.1053606722

1366.1285103029

1386.7851133194

1327.0733295837

1371.7434120863

1383.1292283493

1337.6753305965

1372.710267325

1383.1292283493

1330.808479734

1371.7434120863

1381.2029779537

1331.7905448483

1370.002160064

1380.239309546

1322.1506912556

1365.1591925128

1382.1662842215

1315.4413740769

1369.0342908336

1384.0918103373

1318.4034311473

1362.2490663034

1383.1292283493

1319.3900592243

1369.0342908336

1375.6086602019

1322.1506912556

1372.710267325

1376.574066881

1325.1053606722

1373.6767604239

1379.2752789985

1323.135943201

1371.7434120863

1372.710267325

1319.3900592243

1374.6428913828

1376.574066881

1313.4648586638

1368.0660594632

1371.7434120863

1314.4532974403

1368.0660594632

1373.6767604239

1309.7054885974

1368.0660594632

1375.6086602019

1321.3622289586

1364.1895125829

1374.6428913828

1316.4290885736

1363.2194705131

1365.1591925128

1316.4290885736

1358.5582275906

1369.0342908336

1312.6738469019

1361.4724821949

1368.0660594632

1313.4648586638

1365.1591925128

1366.1285103029

1315.4413740769

1369.0342908336

1370.002160064

1309.7054885974

1368.0660594632

1367.097465953

1319.3900592243

1365.1591925128

1368.0660594632

1320.3763251614

1370.002160064

1368.0660594632

1320.3763251614

1370.002160064

1366.1285103029

1317.4164409304

1362.2490663034

1367.097465953

1316.4290885736

1370.002160064

1367.097465953

1313.4648586638

1369.0342908336

1365.1591925128

1313.4648586638

1370.7761947076

1362.2490663034

1315.4413740769

1364.1895125829

1361.4724821949

1311.6847562736

1370.002160064

1364.1895125829

1318.4034311473

1366.1285103029

1364.1895125829

1316.4290885736

1363.2194705131

1366.1285103029

1326.0895261979

1370.002160064

1367.097465953

1329.0398499357

1368.0660594632

1370.7761947076

1325.1053606722

1363.2194705131

1365.1591925128

1314.4532974403

1364.1895125829

1366.1285103029

1313.4648586638

1360.5014261334

1363.2194705131

1314.4532974403

1357.5860851094

1370.002160064

1311.6847562736

1359.5300079319

1370.002160064

1309.7054885974

1360.5014261334

1366.1285103029

1307.7247723615

1359.5300079319

1362.2490663034

1306.7338710338

1364.1895125829

1363.2194705131

1306.7338710338

1367.097465953

1365.1591925128

1307.7247723615

1370.002160064

1367.097465953

1306.7338710338

1379.2752789985

1372.710267325

1303.9574207318

1370.002160064

1370.002160064

1310.6953035055

1371.7434120863

1358.5582275906

1307.7247723615

1372.710267325

1367.097465953

1311.6847562736

1377.5391114203

1370.002160064

1313.4648586638

1375.6086602019

1374.6428913828

1311.6847562736

1373.6767604239

1370.7761947076

1307.7247723615

1370.002160064

1369.0342908336

1308.7153115494

1362.2490663034

1360.5014261334

1310.6953035055

1360.5014261334

1366.1285103029

1308.7153115494

1365.1591925128

1365.1591925128

1310.6953035055

1360.5014261334

1370.002160064

1316.4290885736

1354.6674848264

1360.5014261334

1318.4034311473

1361.4724821949

1364.1895125829

1318.4034311473

1354.6674848264

1362.2490663034

1313.4648586638

1353.888640965

1366.1285103029

1310.6953035055

1351.9405173197

1372.710267325

1311.6847562736

1354.6674848264

1365.1591925128

1314.4532974403

1355.6407137273

1367.097465953

1312.6738469019

1357.5860851094

1364.1895125829

1309.7054885974

1357.5860851094

1368.0660594632

1308.7153115494

1352.9147602123

1376.574066881

1306.7338710338

1359.5300079319

1372.710267325

1305.7426075661

1359.5300079319

1369.0342908336

1309.7054885974

1365.1591925128

1371.7434120863

1307.7247723615

1367.097465953

1371.7434120863

1306.7338710338

1363.2194705131

1367.097465953

1310.6953035055

1360.5014261334

1358.5582275906

1316.4290885736

1352.9147602123

1367.097465953

1315.4413740769

1350.9659122872

1359.5300079319

1318.4034311473

1348.0399243503

1356.6135804883

1317.4164409304

1350.9659122872

1363.2194705131

1322.1506912556

1355.6407137273

1368.0660594632

1321.3622289586

1349.9909451148

1370.002160064

1322.1506912556

1356.6135804883

1366.1285103029

1317.4164409304

1354.6674848264

1370.7761947076

1321.3622289586

1350.9659122872

1373.6767604239

1322.1506912556

1366.1285103029

1372.710267325

1319.3900592243

1364.1895125829

1370.002160064

1320.3763251614

1361.4724821949

1370.7761947076

1325.1053606722

1359.5300079319

1355.6407137273

1315.4413740769

1358.5582275906

1351.9405173197

1325.1053606722

1356.6135804883

1357.5860851094

1316.4290885736

1355.6407137273

1351.9405173197

1311.6847562736

1350.9659122872

1361.4724821949

1313.4648586638

1362.2490663034

1354.6674848264

1317.4164409304

1362.2490663034

1356.6135804883

1310.6953035055

1360.5014261334

1358.5582275906

1308.7153115494

1357.5860851094

1361.4724821949

1308.7153115494

1356.6135804883

1358.5582275906

1304.9493360512

1358.5582275906

1352.9147602123

1311.6847562736

1352.9147602123

1366.1285103029

1303.9574207318

1352.9147602123

1356.6135804883

1298.992412036

1352.9147602123

1360.5014261334

1299.986138055

1355.6407137273

1359.5300079319

1299.986138055

1358.5582275906

1359.5300079319

1301.9725036732

1360.5014261334

1361.4724821949

1306.7338710338

1370.002160064

1366.1285103029

1304.9493360512

1366.1285103029

1368.0660594632

1309.7054885974

1366.1285103029

1366.1285103029

1309.7054885974

1368.0660594632

1360.5014261334

1301.9725036732

1371.7434120863

1365.1591925128

1297.0038735784

1367.097465953

1369.0342908336

1297.9983238772

1370.002160064

1366.1285103029

1305.7426075661

1366.1285103029

1362.2490663034

1308.7153115494

1370.002160064

1364.1895125829

1304.9493360512

1365.1591925128

1370.7761947076

1296.2080525987

1372.710267325

1371.7434120863

1295.2129504482

1374.6428913828

1370.002160064

1296.2080525987

1372.710267325

1367.097465953

1290.232007597

1362.2490663034

1366.1285103029

1294.2174861577

1350.9659122872

1359.5300079319

1297.9983238772

1351.9405173197

1356.6135804883

1296.2080525987

1365.1591925128

1354.6674848264

1300.979501934

1360.5014261334

1359.5300079319

1298.992412036

1355.6407137273

1351.9405173197

1302.9651432724

1348.0399243503

1348.0399243503

1304.9493360512

1350.9659122872

1349.9909451148

1308.7153115494

1355.6407137273

1351.9405173197

1309.7054885974

1351.9405173197

1356.6135804883

1307.7247723615

1359.5300079319

1349.0156158025

1306.7338710338

1341.3956185255

1349.0156158025

1301.9725036732

1351.9405173197

1357.5860851094

1297.9983238772

1354.6674848264

1351.9405173197

1300.979501934

1357.5860851094

1354.6674848264

1298.992412036

1355.6407137273

1351.9405173197

1301.9725036732

1354.6674848264

1353.888640965

1302.9651432724

1363.2194705131

1351.9405173197

1296.2080525987

1370.7761947076

1353.888640965

1295.2129504482

1371.7434120863

1354.6674848264

1294.2174861577

1383.1292283493

1348.0399243503

1294.2174861577

1383.1292283493

1349.0156158025

1299.986138055

1378.5037938197

1352.9147602123

1300.979501934

1378.5037938197

1357.5860851094

1295.2129504482

1386.0158878936

1356.6135804883

1293.2216597274

1387.7463191758

1358.5582275906

1296.2080525987

1383.1292283493

1359.5300079319

1297.0038735784

1383.1292283493

1356.6135804883

1298.992412036

1385.0540301854

1361.4724821949

1291.2289204471

1380.239309546

1360.5014261334

1289.2347326071

1377.5391114203

1351.9405173197

1283.4433962669

1377.5391114203

1358.5582275906

1283.4433962669

1380.239309546

1347.0638707583

1283.4433962669

1378.5037938197

1337.6753305965

1282.4436587257

1381.2029779537

1341.3956185255

1282.4436587257

1387.7463191758

1336.6954383216

1281.4435590446

1382.1662842215

1338.4589836758

1276.638039588

1384.0918103373

1344.3289941162

1283.4433962669

1383.1292283493

1351.9405173197

1279.6424670261

1380.239309546

1358.5582275906

1277.6398775406

1387.7463191758

1359.5300079319

1279.6424670261

1374.6428913828

1359.5300079319

1283.4433962669

1374.6428913828

1359.5300079319

1279.6424670261

1371.7434120863

1367.097465953

1282.4436587257

1361.4724821949

1362.2490663034

1286.4404360511

1357.5860851094

1367.097465953

1286.4404360511

1363.2194705131

1368.0660594632

1289.2347326071

1356.6135804883

1365.1591925128

1284.4427716682

1360.5014261334

1357.5860851094

1282.4436587257

1363.2194705131

1345.3060617

1281.4435590446

1358.5582275906

1345.3060617

1283.4433962669

1359.5300079319

1349.0156158025

1289.2347326071

1362.2490663034

1339.4382240989

1286.4404360511

1355.6407137273

1345.3060617

1284.4427716682

1367.097465953

1345.3060617

1286.4404360511

1366.1285103029

1346.0874550263

1284.4427716682

1360.5014261334

1333.7535886573

1284.4427716682

1355.6407137273

1338.4589836758

1285.4417849296

1360.5014261334

1339.4382240989

1287.4387250327

1354.6674848264

1330.808479734

1289.2347326071

1357.5860851094

1333.7535886573

1287.4387250327

1352.9147602123

1342.373772529

1286.4404360511

1355.6407137273

1346.0874550263

1291.2289204471

1347.0638707583

1344.3289941162

1303.9574207318

1344.3289941162

1336.6954383216

1300.979501934

1349.9909451148

1340.4171023822

1305.7426075661

1347.0638707583

1337.6753305965

1300.979501934

1352.9147602123

1329.8260524798

1293.2216597274

1349.9909451148

1337.6753305965

1289.2347326071

1345.3060617

1344.3289941162

1288.4366518745

1345.3060617

1342.373772529

1285.4417849296

1355.6407137273

1344.3289941162

1282.4436587257

1356.6135804883

1346.0874550263

1291.2289204471

1352.9147602123

1340.4171023822

1296.2080525987

1349.0156158025

1341.3956185255

1288.4366518745

1351.9405173197

1337.6753305965

1299.986138055

1355.6407137273

1332.7722478228

1305.7426075661

1362.2490663034

1335.7151839067

1305.7426075661

1354.6674848264

1327.0733295837

1296.2080525987

1354.6674848264

1319.3900592243

1296.2080525987

1348.0399243503

1318.4034311473

1302.9651432724

1352.9147602123

1326.0895261979

1304.9493360512

1339.4382240989

1325.1053606722

1303.9574207318

1349.0156158025

1329.8260524798

1297.9983238772

1349.0156158025

1348.0399243503

1299.986138055

1349.0156158025

1352.9147602123

1303.9574207318

1353.888640965

1350.9659122872

1312.6738469019

1356.6135804883

1357.5860851094

1306.7338710338

1361.4724821949

1357.5860851094

1312.6738469019

1364.1895125829

1348.0399243503

1313.4648586638

1356.6135804883

1335.7151839067

1312.6738469019

1366.1285103029

1342.373772529

1309.7054885974

1361.4724821949

1335.7151839067

1307.7247723615

1361.4724821949

1330.808479734

1310.6953035055

1367.097465953

1322.1506912556

1310.6953035055

1358.5582275906

1334.734567352

1303.9574207318

1360.5014261334

1329.0398499357

1306.7338710338

1367.097465953

1324.1208330066

1301.9725036732

1356.6135804883

1323.135943201

1299.986138055

1350.9659122872

1320.3763251614

1301.9725036732

1354.6674848264

1329.0398499357

1305.7426075661

1354.6674848264

1334.734567352

1319.3900592243

1344.3289941162

1330.808479734

1325.1053606722

1341.3956185255

1317.4164409304

1330.808479734

1343.3515643926

1321.3622289586

1329.8260524798

1354.6674848264

1321.3622289586

1329.0398499357

1340.4171023822

1329.8260524798

1330.808479734

1348.0399243503

1329.0398499357

1327.0733295837

1353.888640965

1332.7722478228

1328.0567708297

1357.5860851094

1343.3515643926

1329.8260524798

1343.3515643926

1348.0399243503

1329.8260524798

1346.0874550263

1350.9659122872

1330.808479734

1348.0399243503

1349.9909451148

1325.1053606722

1346.0874550263

1342.373772529

1325.1053606722

1346.0874550263

1338.4589836758

1326.0895261979

1343.3515643926

1335.7151839067

1322.1506912556

1345.3060617

1335.7151839067

1311.6847562736

1341.3956185255

1327.0733295837

1314.4532974403

1335.7151839067

1319.3900592243

1309.7054885974

1332.7722478228

1318.4034311473

1306.7338710338

1339.4382240989

1325.1053606722

1307.7247723615

1342.373772529

1318.4034311473

1316.4290885736

1341.3956185255

1318.4034311473

1318.4034311473

1344.3289941162

1317.4164409304

1316.4290885736

1343.3515643926

1324.1208330066

1311.6847562736

1339.4382240989

1328.0567708297

1315.4413740769

1332.7722478228

1344.3289941162

1316.4290885736

1337.6753305965

1350.9659122872

1319.3900592243

1349.0156158025

1358.5582275906

1308.7153115494

1365.1591925128

1362.2490663034

1303.9574207318

1366.1285103029

1354.6674848264

1305.7426075661

1370.7761947076

1342.373772529

1299.986138055

1376.574066881

1353.888640965

1293.2216597274

1377.5391114203

1343.3515643926

1300.979501934

1376.574066881

1339.4382240989

1300.979501934

1363.2194705131

1338.4589836758

1303.9574207318

1367.097465953

1336.6954383216

1301.9725036732

1362.2490663034

1344.3289941162

1295.2129504482

1358.5582275906

1343.3515643926

1291.2289204471

1364.1895125829

1346.0874550263

1301.9725036732

1355.6407137273

1344.3289941162

1302.9651432724

1354.6674848264

1339.4382240989

1306.7338710338

1348.0399243503

1337.6753305965

1315.4413740769

1346.0874550263

1335.7151839067

1307.7247723615

1348.0399243503

1330.808479734

1304.9493360512

1348.0399243503

1324.1208330066

1309.7054885974

1359.5300079319

1326.0895261979

1314.4532974403

1360.5014261334

1317.4164409304

1307.7247723615

1358.5582275906

1306.7338710338

1310.6953035055

1353.888640965

1299.986138055

1306.7338710338

1354.6674848264

1290.232007597

1295.2129504482

1353.888640965

1288.4366518745

1298.992412036

1355.6407137273

1289.2347326071

1297.9983238772

1353.888640965

1280.4430972236

1293.2216597274

1350.9659122872

1266.8008632094

1291.2289204471

1350.9659122872

1286.4404360511

1296.2080525987

1348.0399243503

1276.638039588

1296.2080525987

1343.3515643926

1258.9464165644

1294.2174861577

1342.373772529

1262.977090184

1288.4366518745

1330.808479734

1294.2174861577

1291.2289204471

1342.373772529

1307.7247723615

1298.992412036

1345.3060617

1312.6738469019

1295.2129504482

1341.3956185255

1313.4648586638

1300.979501934

1344.3289941162

1318.4034311473

1302.9651432724

1346.0874550263

1309.7054885974

1302.9651432724

1339.4382240989

1308.7153115494

1303.9574207318

1345.3060617

1292.2254711572

1303.9574207318

1345.3060617

1295.2129504482

1303.9574207318

1346.0874550263

1285.4417849296

1304.9493360512

1344.3289941162

1285.4417849296

1297.9983238772

1338.4589836758

1290.232007597

1293.2216597274

1341.3956185255

1292.2254711572

1295.2129504482

1338.4589836758

1303.9574207318

1293.2216597274

1331.7905448483

1303.9574207318

1298.992412036

1337.6753305965

1311.6847562736

1288.4366518745

1345.3060617

1307.7247723615

1277.6398775406

1342.373772529

1309.7054885974

1280.4430972236

1331.7905448483

1312.6738469019

1269.8159375604

1330.808479734

1316.4290885736

1262.977090184

1329.8260524798

1328.0567708297

1271.8241764282

1336.6954383216

1331.7905448483

1268.8112749166

1343.3515643926

1334.734567352

1263.7825295993

1336.6954383216

1339.4382240989

1274.6332772631

1339.4382240989

1328.0567708297

1301.9725036732

1342.373772529

1327.0733295837

1299.986138055

1337.6753305965

1317.4164409304

1294.2174861577

1334.734567352

1319.3900592243

1291.2289204471

1332.7722478228

1322.1506912556

1297.0038735784

1336.6954383216

1333.7535886573

1305.7426075661

1337.6753305965

1331.7905448483

1298.992412036

1329.8260524798

1328.0567708297

1298.992412036

1328.0567708297

1330.808479734

1300.979501934

1331.7905448483

1338.4589836758

1307.7247723615

1327.0733295837

1342.373772529

1297.9983238772

1327.0733295837

1338.4589836758

1297.0038735784

1329.8260524798

1339.4382240989

1291.2289204471

1327.0733295837

1332.7722478228

1279.6424670261

1328.0567708297

1333.7535886573

1278.6413533533

1333.7535886573

1336.6954383216

1279.6424670261

1339.4382240989

1338.4589836758

1274.6332772631

1343.3515643926

1337.6753305965

1276.638039588

1344.3289941162

1335.7151839067

1274.6332772631

1346.0874550263

1332.7722478228

1277.6398775406

1351.9405173197

1328.0567708297

1270.8202380642

1351.9405173197

1337.6753305965

1276.638039588

1348.0399243503

1341.3956185255

1255.9196088808

1342.373772529

1333.7535886573

1249.0467782967

1339.4382240989

1337.6753305965

1248.0346555711

1342.373772529

1341.3956185255

1248.0346555711

1335.7151839067

1347.0638707583

1234.2338332541

1330.808479734

1349.9909451148

1232.1986511781

1328.0567708297

1340.4171023822

1226.2884315532

1330.808479734

1325.1053606722

1232.1986511781

1332.7722478228

1316.4290885736

1215.25073279

1330.808479734

1321.3622289586

1223.2266411557

1325.1053606722

1323.135943201

1216.2745164202

1317.4164409304

1328.0567708297

1220.3660295422

1301.9725036732

1322.1506912556

1226.2884315532

1301.9725036732

1320.3763251614

1233.2164232861

1308.7153115494

1322.1506912556

1234.2338332541

1313.4648586638

1324.1208330066

1240.1276696702

1321.3622289586

1315.4413740769

1238.096688417

1318.4034311473

1301.9725036732

1257.9378428098

1311.6847562736

1294.2174861577

1260.962477654

1300.979501934

1293.2216597274

1249.0467782967

1292.2254711572

1310.6953035055

1251.0699373283

1276.638039588

1310.6953035055

1265.7951141459

1263.7825295993

1323.135943201

1224.2476000948

1253.0916478002

1311.6847562736

1185.1965760651

1245.1987853552

1294.2174861577

1165.8915042632

1242.1572023639

1283.4433962669

1160.8892124734

1233.2164232861

1282.4436587257

1153.5792472355

1237.283890319

1297.0038735784

1156.7142623196

1234.2338332541

1269.8159375604

1153.5792472355

1246.2119220725

1249.0467782967

1150.6502925809

1246.2119220725

1255.1119097126

1158.8024616763

1251.0699373283

1256.9289069153

1155.6696194315

1283.4433962669

1259.9546281792

1154.6246144034

1305.7426075661

1255.1119097126

1166.9325981804

1301.9725036732

1243.1714255009

1172.9638015015

1291.2289204471

1246.2119220725

1192.2230698494

1299.986138055

1247.0221707056

1156.7142623196

1306.7338710338

1254.1019598263

1120.7818814832

1306.7338710338

1257.9378428098

1123.9507928615

1313.4648586638

1272.6270663787

1126.9055029054

1308.7153115494

1272.6270663787

1117.6097108458

1301.9725036732

1286.4404360511

1121.8385474159

1306.7338710338

1262.977090184

1126.0615897476

1313.4648586638

1256.9289069153

1129.0142718081

1288.4366518745

1251.0699373283

1122.8948512086

1284.4427716682

1241.142617087

1115.704844019

1268.8112749166

1248.0346555711

1129.0142718081

1259.9546281792

1257.9378428098

1134.2798566166

1263.7825295993

1255.1119097126

1134.2798566166

1274.6332772631

1246.2119220725

1143.5252967452

1262.977090184

1258.9464165644

1148.5564438419

1186.2309341803

1269.8159375604

1147.5089762626

1117.6097108458

1267.8062501329

1135.1215100214

1101.0618842753

1262.977090184

1122.8948512086

1121.8385474159

1251.0699373283

1126.0615897476

1129.0142718081

1255.9196088808

1098.0824328339

1191.1908121456

1244.185286498

1075.0026620375

1216.2745164202

1205.1984887706

1058.2288601726

1207.2527918331

1178.9828224364

1063.6146754262

1169.8457345644

1169.8457345644

1072.8570997215

1171.9248079957

1162.7660496723

1082.2867386862

1197.1728658401

1159.8460181448

1091.6883335375

1211.3570522793

1192.2230698494

1089.7675615265

1240.1276696702

1183.1267734151

1085.4949784571

1162.7660496723

1192.2230698494

1080.3602303793

1131.1215921512

1191.1908121456

1086.5636674343

1132.1747091129

1182.0913288803

1087.6319942716

1147.5089762626

1169.8457345644

1103.1883256049

1169.8457345644

1158.8024616763

1111.4676058034

1184.1618558101

1148.5564438419

1114.6460776749

1169.0136995952

1144.3644006852

1108.2858746727

1190.158192302

1137.2246295417

1079.2894409907

1178.1533369321

1136.1732508515

1094.8870128152

1171.9248079957

1132.1747091129

1127.9600684267

1161.7235071955

1146.4611465433

1120.7818814832

1150.6502925809

1153.5792472355

1103.1883256049

1183.1267734151

1156.7142623196

1109.3468138562

1203.3483774959

1158.8024616763

1142.4760908944

1207.2527918331

1158.8024616763

1150.6502925809

1210.3315303776

1162.7660496723

1143.5252967452

1213.2020791099

1172.9638015015

1115.704844019

1208.2794001545

1145.4129546842

1094.8870128152

1214.2265870199

1104.2510030598

1078.2182894623

1214.2265870199

1115.704844019

1073.9300619494

1214.2265870199

1120.7818814832

1070.9248551186

1217.2979379106

1102.1252860101

1075.0026620375

1225.2681968939

1067.70184004

1080.3602303793

1228.327814452

1056.0719990919

1082.2867386862

1249.0467782967

1050.8896223751

1082.2867386862

1249.0467782967

1051.9699722569

1094.8870128152

1247.0221707056

1067.70184004

1101.0618842753

1246.2119220725

1067.70184004

1110.4073908997

1235.2508810823

1072.8570997215

1114.6460776749

1215.25073279

1078.2182894623

1116.7632482232

1207.2527918331

1103.1883256049

1119.7248534106

1197.1728658401

1113.586949191

1118.6674631982

1167.9733299577

1125.0063723745

1118.6674631982

1142.4760908944

1123.9507928615

1102.1252860101

1127.9600684267

1120.7818814832

1105.3133183749

1121.8385474159

1126.0615897476

1107.4368625853

1126.0615897476

1139.3263005025

1104.2510030598

1132.1747091129

1129.0142718081

1098.0824328339

1123.9507928615

1105.3133183749

1093.8211485292

1129.0142718081

1086.5636674343

1075.0026620375

1155.6696194315

1082.2867386862

1069.850878899

1185.1965760651

1081.430657628

1067.70184004

1160.8892124734

1085.4949784571

1083.3565140831

1154.6246144034

1085.4949784571

1131.1215921512

1155.6696194315

1088.699958969

1174.0024328674

1146.4611465433

1093.8211485292

1158.8024616763

1131.1215921512

1099.9981204007

1138.2756460921

1090.6213828318

1107.4368625853

1111.4676058034

1085.4949784571

1104.2510030598

1098.0824328339

1094.8870128152

1109.3468138562

1097.0176549676

1089.7675615265

1156.7142623196

1094.8870128152

1107.4368625853

1164.8500482061

1093.8211485292

1151.6966737406

1148.5564438419

1125.0063723745

1158.8024616763

1145.4129546842

1130.0681130496

1165.8915042632

1150.6502925809

1119.7248534106

1163.8082300092

1157.7585430679

1120.7818814832

1151.6966737406

1169.8457345644

1117.6097108458

1144.3644006852

1183.1267734151

1132.1747091129

1138.2756460921

1205.1984887706

1139.3263005025

1137.2246295417

1223.2266411557

1146.4611465433

1142.4760908944

1257.9378428098

1175.0407020934

1162.7660496723

1250.0585388824

1133.2274639347

1170.8854523499

1250.0585388824

1107.4368625853

1178.9828224364

1242.1572023639

1087.6319942716

1165.8915042632

1228.327814452

1069.850878899

1160.8892124734

1219.3436944715

1090.6213828318

1163.8082300092

1213.2020791099

1126.0615897476

1169.8457345644

1200.2622512976

1146.4611465433

1178.9828224364

1189.1252103184

1107.4368625853

1188.091866195

1178.1533369321

1090.6213828318

1190.158192302

1181.0555222056

1082.2867386862

1185.1965760651

1170.8854523499

1059.3067475031

1171.9248079957

1158.8024616763

1057.1506107022

1162.7660496723

1162.7660496723

1059.3067475031

1158.8024616763

1157.7585430679

1076.0748999856

1155.6696194315

1159.8460181448

1122.8948512086

1161.7235071955

1174.0024328674

1143.5252967452

1160.8892124734

1197.1728658401

1184.1618558101

1151.6966737406

1202.320030903

1226.2884315532

1138.2756460921

1202.320030903

1256.9289069153

1131.1215921512

1199.232818285

1279.6424670261

1127.9600684267

1181.0555222056

1297.0038735784

1125.0063723745

1160.8892124734

1300.979501934

1117.6097108458

1154.6246144034

1300.979501934

1115.704844019

1151.6966737406

1304.9493360512

1113.586949191

1144.3644006852

1308.7153115494

1117.6097108458

1130.0681130496

1309.7054885974

1113.586949191

1118.6674631982

1301.9725036732

1118.6674631982

1119.7248534106

1310.6953035055

1112.5274585671

1118.6674631982

1318.4034311473

1108.2858746727

1114.6460776749

1293.2216597274

1112.5274585671

1110.4073908997

1280.4430972236

1103.1883256049

1104.2510030598

1249.0467782967

1107.4368625853

1108.2858746727

1225.2681968939

1103.1883256049

1106.37527155

1213.2020791099

1108.2858746727

1107.4368625853

1209.305646336

1107.4368625853

1097.0176549676

1209.305646336

1109.3468138562

1086.5636674343

1192.2230698494

1104.2510030598

1081.430657628

1177.1161541257

1101.0618842753

1087.6319942716

1147.5089762626

1095.9525149613

1092.7549221033

1138.2756460921

1090.6213828318

1092.7549221033

1133.2274639347

1082.2867386862

1088.699958969

1122.8948512086

1083.3565140831

1083.3565140831

1125.0063723745

1089.7675615265

1085.4949784571

1118.6674631982

1099.9981204007

1091.6883335375

1107.4368625853

1104.2510030598

1103.1883256049

1101.0618842753

1099.1468485603

1114.6460776749

1101.0618842753

1093.8211485292

1115.704844019

1094.8870128152

1092.7549221033

1127.9600684267

1101.0618842753

1090.6213828318

1144.3644006852

1102.1252860101

1090.6213828318

1159.8460181448

1109.3468138562

1086.5636674343

1176.0786091795

1112.5274585671

1081.430657628

1178.9828224364

1109.3468138562

1072.8570997215

1190.158192302

1117.6097108458

1066.6267774006

1195.3176701213

1121.8385474159

1063.6146754262

1204.1707940295

1126.9055029054

1070.9248551186

1212.3822120412

1133.2274639347

1075.0026620375

1223.2266411557

1137.2246295417

1093.8211485292

1232.1986511781

1144.3644006852

1092.7549221033

1236.2675667706

1140.376592773

1117.6097108458

1242.1572023639

1154.6246144034

1143.5252967452

1249.0467782967

1156.7142623196

1148.5564438419

1245.1987853552

1161.7235071955

1156.7142623196

1241.142617087

1163.8082300092

1162.7660496723

1236.2675667706

1160.8892124734

1163.8082300092

1232.1986511781

1171.9248079957

1167.9733299577

1234.2338332541

1172.9638015015

1171.9248079957

1236.2675667706

1175.0407020934

1175.0407020934

1229.3469626916

1171.9248079957

1174.0024328674

1236.2675667706

1175.0407020934

1176.0786091795

1231.1805169302

1178.1533369321

1178.9828224364

1234.2338332541

1176.0786091795

1183.1267734151

1228.327814452

1175.0407020934

1182.0913288803

1220.3660295422

1175.0407020934

1185.1965760651

1212.3822120412

1174.0024328674

1189.1252103184

1207.2527918331

1174.0024328674

1191.1908121456

1200.2622512976

1172.9638015015

1225.2681968939

1207.2527918331

1181.0555222056

1248.0346555711

1203.3483774959

1184.1618558101

1255.1119097126

1208.2794001545

1185.1965760651

1213.2020791099

1209.305646336

1187.0581599317

1202.320030903

1208.2794001545

1183.1267734151

1201.2913221702

1204.1707940295

1185.1965760651

1193.2549654133

1205.1984887706

1192.2230698494

1187.0581599317

1199.232818285

1195.3176701213

1181.0555222056

1202.320030903

1192.2230698494

1185.1965760651

1203.3483774959

1200.2622512976

1183.1267734151

1204.1707940295

1194.2864988373

1175.0407020934

1211.3570522793

1188.091866195

1172.9638015015

1210.3315303776

1187.0581599317

1166.9325981804

1221.183636858

1186.2309341803

1160.8892124734

1220.3660295422

1188.091866195

1154.6246144034

1222.2053200768

1192.2230698494

1153.5792472355

1221.183636858

1182.0913288803

1149.6035492814

1224.2476000948

1188.091866195

1141.4265229036

1232.1986511781

1194.2864988373

1143.5252967452

1233.2164232861

1206.2258213718

1163.8082300092

1236.2675667706

1217.2979379106

1177.1161541257

1250.0585388824

1206.2258213718

1190.158192302

1255.9196088808

1205.1984887706

1201.2913221702

1255.9196088808

1209.305646336

1206.2258213718

1250.0585388824

1218.320997261

1203.3483774959

1245.1987853552

1211.3570522793

1200.2622512976

1245.1987853552

1221.183636858

1199.232818285

1245.1987853552

1218.320997261

1190.158192302

1244.185286498

1219.3436944715

1185.1965760651

1244.185286498

1221.183636858

1190.158192302

1238.096688417

1216.2745164202

1184.1618558101

1233.2164232861

1227.3083040725

1172.9638015015

1229.3469626916

1222.2053200768

1159.8460181448

1231.1805169302

1208.2794001545

1157.7585430679

1234.2338332541

1209.305646336

1149.6035492814

1233.2164232861

1206.2258213718

1132.1747091129

1243.1714255009

1204.1707940295

1119.7248534106

1237.283890319

1201.2913221702

1111.4676058034

1229.3469626916

1200.2622512976

1119.7248534106

1231.1805169302

1191.1908121456

1127.9600684267

1233.2164232861

1190.158192302

1140.376592773

1231.1805169302

1189.1252103184

1155.6696194315

1223.2266411557

1201.2913221702

1166.9325981804

1211.3570522793

1199.232818285

1164.8500482061

1197.1728658401

1197.1728658401

1161.7235071955

1192.2230698494

1205.1984887706

1166.9325981804

1191.1908121456

1213.2020791099

1169.0136995952

1209.305646336

1219.3436944715

1164.8500482061

1228.327814452

1230.1620205425

1161.7235071955

1235.2508810823

1217.2979379106

1156.7142623196

1238.096688417

1205.1984887706

1149.6035492814

1243.1714255009

1208.2794001545

1143.5252967452

1245.1987853552

1202.320030903

1140.376592773

1244.185286498

1195.3176701213

1137.2246295417

1245.1987853552

1194.2864988373

1133.2274639347

1243.1714255009

1184.1618558101

1133.2274639347

1245.1987853552

1192.2230698494

1123.9507928615

1242.1572023639

1198.2030231325

1119.7248534106

1244.185286498

1196.1423464079

1121.8385474159

1250.0585388824

1204.1707940295

1125.0063723745

1252.0809736342

1213.2020791099

1135.1215100214

1254.1019598263

1218.320997261

1139.3263005025

1255.1119097126

1224.2476000948

1145.4129546842

1257.9378428098

1234.2338332541

1152.5335179276

1257.9378428098

1240.1276696702

1153.5792472355

1257.9378428098

1236.2675667706

1156.7142623196

1255.1119097126

1233.2164232861

1159.8460181448

1257.9378428098

1241.142617087

1159.8460181448

1257.9378428098

1243.1714255009

1159.8460181448

1257.9378428098

1245.1987853552

1163.8082300092

1259.9546281792

1248.0346555711

1166.9325981804

1259.9546281792

1251.0699373283

1166.9325981804

1262.977090184

1248.0346555711

1169.0136995952

1263.7825295993

1243.1714255009

1174.0024328674

1265.7951141459

1241.142617087

1176.0786091795

1270.8202380642

1247.0221707056

1178.9828224364

1272.6270663787

1250.0585388824

1181.0555222056

1272.6270663787

1241.142617087

1184.1618558101

1269.8159375604

1241.142617087

1187.0581599317

1267.8062501329

1236.2675667706

1187.0581599317

1261.969964989

1228.327814452

1189.1252103184

1258.9464165644

1224.2476000948

1192.2230698494

1258.9464165644

1219.3436944715

1199.232818285

1257.9378428098

1223.2266411557

1204.1707940295

1256.9289069153

1223.2266411557

1210.3315303776

1254.1019598263

1221.183636858

1213.2020791099

1252.0809736342

1223.2266411557

1215.25073279

1254.1019598263

1229.3469626916

1217.2979379106

1255.9196088808

1236.2675667706

1222.2053200768

1255.1119097126

1235.2508810823

1225.2681968939

1256.9289069153

1231.1805169302

1227.3083040725

1254.1019598263

1238.096688417

1227.3083040725

1256.9289069153

1239.1123601135

1234.2338332541

1255.1119097126

1233.2164232861

1235.2508810823

1254.1019598263

1232.1986511781

1235.2508810823

1259.9546281792

1223.2266411557

1231.1805169302

1260.962477654

1217.2979379106

1229.3469626916

1264.7890029426

1219.3436944715

1227.3083040725

1263.7825295993

1218.320997261

1230.1620205425

1262.977090184

1213.2020791099

1230.1620205425

1261.969964989

1220.3660295422

1226.2884315532

1259.9546281792

1215.25073279

1225.2681968939

1258.9464165644

1223.2266411557

1231.1805169302

1257.9378428098

1220.3660295422

1223.2266411557

1255.1119097126

1218.320997261

1216.2745164202

1254.1019598263

1224.2476000948

1209.305646336

1255.9196088808

1234.2338332541

1201.2913221702

1255.1119097126

1233.2164232861

1201.2913221702

1258.9464165644

1228.327814452

1209.305646336

1256.9289069153

1228.327814452

1207.2527918331

1258.9464165644

1237.283890319

1214.2265870199

1255.9196088808

1244.185286498

1223.2266411557

1253.0916478002

1236.2675667706

1227.3083040725

1256.9289069153

1231.1805169302

1228.327814452

1259.9546281792

1244.185286498

1222.2053200768

1261.969964989

1251.0699373283

1217.2979379106

1256.9289069153

1252.0809736342

1215.25073279

1256.9289069153

1249.0467782967

1224.2476000948

1252.0809736342

1252.0809736342

1228.327814452

1245.1987853552

1243.1714255009

1224.2476000948

1253.0916478002

1249.0467782967

1218.320997261

1257.9378428098

1251.0699373283

1217.2979379106

1257.9378428098

1253.0916478002

1212.3822120412

1257.9378428098

1249.0467782967

1209.305646336

1248.0346555711

1243.1714255009

1204.1707940295

1242.1572023639

1231.1805169302

1201.2913221702

1243.1714255009

1216.2745164202

1201.2913221702

1239.1123601135

1216.2745164202

1200.2622512976

1236.2675667706

1221.183636858

1204.1707940295

1236.2675667706

1214.2265870199

1203.3483774959

1235.2508810823

1216.2745164202

1203.3483774959

1239.1123601135

1217.2979379106

1202.320030903

1239.1123601135

1227.3083040725

1201.2913221702

1238.096688417

1220.3660295422

1203.3483774959

1218.320997261

1207.2527918331

1202.320030903

1209.305646336

1205.1984887706

1202.320030903

1211.3570522793

1204.1707940295

1203.3483774959

1216.2745164202

1204.1707940295

1199.232818285

1215.25073279

1210.3315303776

1198.2030231325

1216.2745164202

1207.2527918331

1198.2030231325

1219.3436944715

1207.2527918331

1198.2030231325

1223.2266411557

1205.1984887706

1202.320030903

1231.1805169302

1217.2979379106

1200.2622512976

1233.2164232861

1217.2979379106

1201.2913221702

1225.2681968939

1224.2476000948

1203.3483774959

1220.3660295422

1229.3469626916

1205.1984887706

1213.2020791099

1237.283890319

1208.2794001545

1206.2258213718

1231.1805169302

1208.2794001545

1203.3483774959

1226.2884315532

1212.3822120412

1200.2622512976

1230.1620205425

1211.3570522793

1201.2913221702

1232.1986511781

1217.2979379106

1213.2020791099

1243.1714255009

1219.3436944715

1209.305646336

1239.1123601135

1225.2681968939

1210.3315303776

1240.1276696702

1231.1805169302

1217.2979379106

1246.2119220725

1234.2338332541

1218.320997261

1239.1123601135

1231.1805169302

1222.2053200768

1235.2508810823

1237.283890319

1223.2266411557

1223.2266411557

1238.096688417

1222.2053200768

1231.1805169302

1238.096688417

1223.2266411557

1235.2508810823

1239.1123601135

1222.2053200768

1232.1986511781

1239.1123601135

1224.2476000948

1230.1620205425

1243.1714255009

1220.3660295422

1237.283890319

1244.185286498

1220.3660295422

1236.2675667706

1245.1987853552

1221.183636858

1223.2266411557

1245.1987853552

1220.3660295422

1223.2266411557

1244.185286498

1220.3660295422

1219.3436944715

1245.1987853552

1223.2266411557

1218.320997261

1244.185286498

1222.2053200768

1216.2745164202

1241.142617087

1222.2053200768

1215.25073279

1245.1987853552

1220.3660295422

1212.3822120412

1244.185286498

1223.2266411557

1232.1986511781

1245.1987853552

1224.2476000948

1229.3469626916

1240.1276696702

1227.3083040725

1218.320997261

1241.142617087

1225.2681968939

1221.183636858

1241.142617087

1225.2681968939

1228.327814452

1239.1123601135

1225.2681968939

1216.2745164202

1240.1276696702

1225.2681968939

1209.305646336

1239.1123601135

1229.3469626916

1212.3822120412

1240.1276696702

1232.1986511781

1210.3315303776

1243.1714255009

1231.1805169302

1205.1984887706

1248.0346555711

1231.1805169302

1205.1984887706

1250.0585388824

1234.2338332541

1203.3483774959

1251.0699373283

1232.1986511781

1208.2794001545

1251.0699373283

1233.2164232861

1216.2745164202

1255.1119097126

1233.2164232861

1212.3822120412

1257.9378428098

1229.3469626916

1213.2020791099

1257.9378428098

1227.3083040725

1217.2979379106

1255.9196088808

1228.327814452

1213.2020791099

1256.9289069153

1229.3469626916

1235.2508810823

1254.1019598263

1231.1805169302

1232.1986511781

1254.1019598263

1230.1620205425

1258.9464165644

1250.0585388824

1231.1805169302

1261.969964989

1239.1123601135

1229.3469626916

1257.9378428098

1237.283890319

1231.1805169302

1260.962477654

1235.2508810823

1231.1805169302

1259.9546281792

1232.1986511781

1228.327814452

1259.9546281792

1232.1986511781

1231.1805169302

1263.7825295993

1232.1986511781

1227.3083040725

1267.8062501329

1231.1805169302

1227.3083040725

1263.7825295993

1235.2508810823

1224.2476000948

1258.9464165644

1233.2164232861

1227.3083040725

1254.1019598263

1237.283890319

1225.2681968939

1262.977090184

1236.2675667706

1224.2476000948

1255.1119097126

1237.283890319

1221.183636858

1253.0916478002

1239.1123601135

1223.2266411557

1258.9464165644

1241.142617087

1225.2681968939

1264.7890029426

1243.1714255009

1224.2476000948

1255.1119097126

1255.1119097126

1223.2266411557

1255.9196088808

1258.9464165644

1223.2266411557

1255.1119097126

1258.9464165644

1223.2266411557

1248.0346555711

1261.969964989

1222.2053200768

1249.0467782967

1258.9464165644

1224.2476000948

1255.9196088808

1257.9378428098

1219.3436944715

1255.9196088808

1256.9289069153

1219.3436944715

1252.0809736342

1252.0809736342

1219.3436944715

1243.1714255009

1253.0916478002

1218.320997261

1246.2119220725

1247.0221707056

1216.2745164202

1245.1987853552

1243.1714255009

1215.25073279

1241.142617087

1245.1987853552

1217.2979379106

1241.142617087

1242.1572023639

1217.2979379106

1242.1572023639

1239.1123601135

1219.3436944715

1245.1987853552

1232.1986511781

1215.25073279

1250.0585388824

1228.327814452

1217.2979379106

1255.1119097126

1221.183636858

1219.3436944715

1259.9546281792

1212.3822120412

1216.2745164202

1262.977090184

1215.25073279

1214.2265870199

1257.9378428098

1211.3570522793

1214.2265870199

1254.1019598263

1208.2794001545

1212.3822120412

1252.0809736342

1209.305646336

1209.305646336

1259.9546281792

1208.2794001545

1208.2794001545

1259.9546281792

1206.2258213718

1210.3315303776

1252.0809736342

1205.1984887706

1212.3822120412

1248.0346555711

1204.1707940295

1208.2794001545

1245.1987853552

1201.2913221702

1210.3315303776

1256.9289069153

1204.1707940295

1207.2527918331

1258.9464165644

1202.320030903

1202.320030903

1250.0585388824

1205.1984887706

1203.3483774959

1243.1714255009

1207.2527918331

1204.1707940295

1256.9289069153

1209.305646336

1205.1984887706

1252.0809736342

1209.305646336

1208.2794001545

1254.1019598263

1218.320997261

1207.2527918331

1253.0916478002

1215.25073279

1209.305646336

1263.7825295993

1213.2020791099

1206.2258213718

1261.969964989

1213.2020791099

1202.320030903

1269.8159375604

1209.305646336

1200.2622512976

1262.977090184

1210.3315303776

1205.1984887706

1261.969964989

1212.3822120412

1200.2622512976

1274.6332772631

1210.3315303776

1198.2030231325

1280.4430972236

1210.3315303776

1196.1423464079

1275.6358394955

1215.25073279

1196.1423464079

1281.4435590446

1239.1123601135

1201.2913221702

1289.2347326071

1245.1987853552

1199.232818285

1295.2129504482

1239.1123601135

1199.232818285

1297.9983238772

1217.2979379106

1196.1423464079

1313.4648586638

1206.2258213718

1196.1423464079

1309.7054885974

1204.1707940295

1197.1728658401

1318.4034311473

1196.1423464079

1199.232818285

1326.0895261979

1198.2030231325

1198.2030231325

1329.0398499357

1200.2622512976

1194.2864988373

1312.6738469019

1205.1984887706

1192.2230698494

1317.4164409304

1212.3822120412

1184.1618558101

1316.4290885736

1214.2265870199

1182.0913288803

1311.6847562736

1212.3822120412

1175.0407020934

1304.9493360512

1208.2794001545

1180.0193533909

1302.9651432724

1210.3315303776

1180.0193533909

1299.986138055

1203.3483774959

1178.1533369321

1298.992412036

1198.2030231325

1176.0786091795

1293.2216597274

1199.232818285

1169.0136995952

1290.232007597

1197.1728658401

1166.9325981804

1291.2289204471

1201.2913221702

1162.7660496723

1293.2216597274

1193.2549654133

1155.6696194315

1287.4387250327

1194.2864988373

1154.6246144034

1287.4387250327

1199.232818285

1153.5792472355

1294.2174861577

1209.305646336

1151.6966737406

1288.4366518745

1210.3315303776

1149.6035492814

1291.2289204471

1205.1984887706

1153.5792472355

1289.2347326071

1205.1984887706

1158.8024616763

1290.232007597

1199.232818285

1149.6035492814

1285.4417849296

1201.2913221702

1148.5564438419

1279.6424670261

1194.2864988373

1143.5252967452

1288.4366518745

1200.2622512976

1145.4129546842

1297.0038735784

1194.2864988373

1142.4760908944

1291.2289204471

1194.2864988373

1143.5252967452

1291.2289204471

1198.2030231325

1144.3644006852

1281.4435590446

1208.2794001545

1144.3644006852

1285.4417849296

1214.2265870199

1143.5252967452

1282.4436587257

1221.183636858

1149.6035492814

1276.638039588

1221.183636858

1143.5252967452

1275.6358394955

1223.2266411557

1140.376592773

1276.638039588

1223.2266411557

1141.4265229036

1266.8008632094

1224.2476000948

1142.4760908944

1261.969964989

1224.2476000948

1143.5252967452

1257.9378428098

1228.327814452

1142.4760908944

1253.0916478002

1231.1805169302

1142.4760908944

1257.9378428098

1233.2164232861

1141.4265229036

1262.977090184

1239.1123601135

1139.3263005025

1256.9289069153

1242.1572023639

1137.2246295417

1251.0699373283

1246.2119220725

1131.1215921512

1260.962477654

1245.1987853552

1126.9055029054

1269.8159375604

1245.1987853552

1127.9600684267

1272.6270663787

1252.0809736342

1123.9507928615

1271.8241764282

1251.0699373283

1122.8948512086

1273.6303528909

1255.9196088808

1117.6097108458

1275.6358394955

1256.9289069153

1119.7248534106

1268.8112749166

1255.1119097126

1116.7632482232

1271.8241764282

1252.0809736342

1113.586949191

1269.8159375604

1249.0467782967

1112.5274585671

1270.8202380642

1249.0467782967

1103.1883256049

1261.969964989

1253.0916478002

1103.1883256049

1253.0916478002

1244.185286498

1094.8870128152

1240.1276696702

1251.0699373283

1091.6883335375

1238.096688417

1259.9546281792

1087.6319942716

1218.320997261

1256.9289069153

1080.3602303793

1217.2979379106

1252.0809736342

1064.4755657023

1222.2053200768

1251.0699373283

1058.2288601726

1230.1620205425

1254.1019598263

1059.3067475031

1223.2266411557

1256.9289069153

1064.4755657023

1221.183636858

1253.0916478002

1064.4755657023

1210.3315303776

1254.1019598263

1059.3067475031

1199.232818285

1251.0699373283

1054.9930253417

1191.1908121456

1254.1019598263

1054.1295856008

1191.1908121456

1245.1987853552

1047.6463998903

1202.320030903

1238.096688417

1047.6463998903

1204.1707940295

1239.1123601135

1038.1141449649

1195.3176701213

1232.1986511781

1033.9892743453

1182.0913288803

1233.2164232861

1025.5060514436

1171.9248079957

1238.096688417

1018.0924445973

1178.9828224364

1233.2164232861

1012.6305799657

1187.0581599317

1231.1805169302

1004.0919931169

1186.2309341803

1233.2164232861

997.7285047139

1181.0555222056

1230.1620205425

986.9487216457

1194.2864988373

1230.1620205425

975.0286762714

1177.1161541257

1226.2884315532

962.178615358

1169.8457345644

1222.2053200768

950.1709611003

1161.7235071955

1224.2476000948

944.820667357

1166.9325981804

1224.2476000948

937.0031992704

1159.8460181448

1226.2884315532

925.1315386156

1145.4129546842

1225.2681968939

918.393696131

1147.5089762626

1221.183636858

911.8680559686

1133.2274639347

1223.2266411557

907.5860311203

1143.5252967452

1223.2266411557

899.6844017221

1139.3263005025

1220.3660295422

891.9915415599

1136.1732508515

1221.183636858

880.8753160437

1137.2246295417

1219.3436944715

866.5319209123

1138.2756460921

1219.3436944715

856.4802125217

1139.3263005025

1214.2265870199

846.4004600177

1139.3263005025

1211.3570522793

836.2926634001

1135.1215100214

1215.25073279

819.4610491842

1130.0681130496

1214.2265870199

804.641060636

1125.0063723745

1213.2020791099

789.994684783

1116.7632482232

1214.2265870199

779.731370809

1108.2858746727

1213.2020791099

768.2687657261

1106.37527155

1212.3822120412

762.6417391607

1099.9981204007

1208.2794001545

756.7713807277

1091.6883335375

1210.3315303776

744.2962791232

1093.8211485292

1209.305646336

734.8541648927

1086.5636674343

1208.2794001545

730.3610414568

1092.7549221033

1208.2794001545

722.3076637865

1083.3565140831

1211.3570522793

714.2375407675

1070.9248551186

1210.3315303776

711.8607883426

1067.70184004

1207.2527918331

702.5776128987

1062.5382366553

1202.320030903

693.2724048636

1057.1506107022

1201.2913221702

683.9451642372

1057.1506107022

1201.2913221702

669.7928454323

1051.9699722569

1201.2913221702

660.4102408588

1044.6164516619

1196.1423464079

647.3825688876

1040.2830290901

1198.2030231325

637.9474250582

1031.8161893973

1198.2030231325

629.7039384287

1036.1609107338

1194.2864988373

620.227554108

1030.7291037135

1193.2549654133

610.7291371962

1025.5060514436

1192.2230698494

610.7291371962

1029.6416558897

1191.1908121456

610.7291371962

1025.5060514436

1189.1252103184

613.1667291234

1022.2374067382

1183.1267734151

611.9481142297

1020.0564995685

1184.1618558101

611.9481142297

1023.3273171133

1185.1965760651

614.3849818772

1031.8161893973

1188.091866195

616.5769242415

1029.6416558897

1181.0555222056

619.0110396257

1031.8161893973

1181.0555222056

620.227554108

1033.9892743453

1178.1533369321

621.4437064504

1033.9892743453

1177.1161541257

620.227554108

1030.7291037135

1176.0786091795

621.4437064504

1030.7291037135

1176.0786091795

629.7039384287

1027.6833372144

1174.0024328674

630.9172660799

1022.2374067382

1172.9638015015

626.0617826357

1013.7236771718

1170.8854523499

623.8749247155

1012.6305799657

1174.0024328674

621.4437064504

1006.2834747716

1169.8457345644

621.4437064504

1002.9957090797

1174.0024328674

619.0110396257

1004.0919931169

1176.0786091795

615.3593233395

999.9241871914

1178.1533369321

611.9481142297

995.5313736769

1174.0024328674

609.5097980227

989.1515020651

1171.9248079957

605.8496076629

985.8467882261

1158.8024616763

605.8496076629

984.7444926667

1152.5335179276

603.6519290027

981.656138516

1144.3644006852

604.6288199299

976.1341586619

1140.376592773

604.6288199299

970.8245404716

1133.2274639347

607.0700332561

968.6097370077

1126.0615897476

604.6288199299

961.0685700048

1126.0615897476

603.6519290027

952.3977876087

1123.9507928615

603.6519290027

953.5106576531

1120.7818814832

599.9865238285

953.5106576531

1119.7248534106

598.7639978239

951.2845554245

1118.6674631982

598.7639978239

949.0570046363

1117.6097108458

599.9865238285

945.7129624047

1120.7818814832

596.3178593952

944.820667357

1114.6460776749

597.5411096795

940.3557155755

1110.4073908997

599.9865238285

934.990125043

1104.2510030598

597.5411096795

932.7519997699

1105.3133183749

597.5411096795

928.2714035449

1101.0618842753

597.5411096795

928.2714035449

1097.0176549676

594.1150962908

926.2532448734

1093.8211485292

595.0942469709

922.8870396803

1091.6883335375

596.3178593952

917.2694548939

1092.7549221033

596.3178593952

915.2449080746

1091.6883335375

596.3178593952

907.5860311203

1087.6319942716

595.0942469709

905.3302334202

1082.2867386862

594.1150962908

903.0729871607

1101.0618842753

594.1150962908

894.2558857615

1116.7632482232

594.1150962908

891.9915415599

1117.6097108458

597.5411096795

890.8588262493

1119.7248534106

598.7639978239

887.6852967954

1105.3133183749

597.5411096795

885.4167517711

1090.6213828318

598.7639978239

884.2819360491

1090.6213828318

598.7639978239

885.4167517711

1086.5636674343

598.7639978239

884.2819360491

1091.6883335375

597.5411096795

875.4179447763

1088.699958969

598.7639978239

874.2799422233

1086.5636674343

601.2086876931

875.4179447763

1085.4949784571

601.2086876931

867.6723860167

1079.2894409907

604.6288199299

864.2499042839

1073.9300619494

603.6519290027

866.5319209123

1068.7765405394

603.6519290027

866.5319209123

1061.4614357445

604.6288199299

861.966439096

1053.0499599988

605.8496076629

860.8241632921

1048.7278361918

604.6288199299

863.1083527599

1040.2830290901

605.8496076629

863.1083527599

1037.0291596925

607.0700332561

863.1083527599

1035.0752736095

608.2900967093

865.3910936681

1031.8161893973

610.7291371962

863.1083527599

1027.6833372144

611.9481142297

859.9100819083

1022.2374067382

613.1667291234

857.6238644572

1018.9655027738

615.3593233395

856.4802125217

1023.3273171133

617.7941630035

856.4802125217

1015.9087851643

621.4437064504

855.3361984464

1001.8990629027

620.227554108

855.3361984464

993.3327940803

621.4437064504

857.6238644572

984.7444926667

621.4437064504

857.6238644572

975.0286762714

620.227554108

855.3361984464

970.8245404716

620.227554108

853.0470838761

969.7173198096

621.4437064504

855.3361984464

963.2882985712

620.227554108

851.901983381

958.8473928787

615.3593233395

853.0470838761

953.5106576531

615.3593233395

854.1918222312

945.7129624047

616.5769242415

854.1918222312

933.8712434764

613.1667291234

851.901983381

926.2532448734

615.3593233395

850.9856422443

917.2694548939

615.3593233395

850.9856422443

912.9940354772

610.7291371962

856.4802125217

910.7417143202

611.9481142297

855.3361984464

905.3302334202

610.7291371962

851.901983381

898.5541489627

608.2900967093

851.901983381

895.3875146524

602.4304894179

850.9856422443

888.8190260977

601.2086876931

848.6937754108

882.0112181854

598.7639978239

850.9856422443

875.4179447763

598.7639978239

850.9856422443

868.8124889812

597.5411096795

855.3361984464

863.1083527599

597.5411096795

855.3361984464

853.0470838761

596.3178593952

854.1918222312

842.9577708788

596.3178593952

850.9856422443

835.1422756626

595.0942469709

851.901983381

828.4628853865

599.9865238285

851.901983381

819.4610491842

601.2086876931

851.901983381

808.1198189085

597.5411096795

850.9856422443

800.2299546435

589.2158663473

847.5472987842

793.2544035319

590.441217043

847.5472987842

785.3330186105

603.6519290027

849.8398898975

775.0569573122

620.227554108

846.4004600177

770.610897577

636.7361978183

850.9856422443

764.7528519004

654.6253792416

850.9856422443

760.2946822072

677.9545753591

848.6937754108

757.9461766941

697.8084636054

846.4004600177

751.1273191017

710.6718689203

848.6937754108

745.2392158138

723.4930342378

850.9856422443

740.758202336

730.3610414568

847.5472987842

734.8541648927

726.8101449173

847.5472987842

726.8101449173

719.9358364642

848.6937754108

717.5625605823

722.3076637865

849.8398898975

705.9125698322

722.3076637865

851.901983381

695.4217161194

724.6780425493

850.9856422443

692.0778360589

722.3076637865

848.6937754108

683.9451642372

725.6257884577

848.6937754108

681.5500151057

726.8101449173

850.9856422443

679.1534174145

723.4930342378

849.8398898975

676.7553711638

722.3076637865

849.8398898975

674.5958910197

715.1878361408

848.6937754108

669.7928454323

723.4930342378

848.6937754108

667.3891497992

722.3076637865

849.8398898975

664.0215423328

724.6780425493

840.8905929511

661.6143701567

722.3076637865

842.9577708788

661.6143701567

719.9358364642

842.9577708788

661.6143701567

719.9358364642

842.9577708788

659.205749421

717.5625605823

845.2532591113

658.0008958434

707.102937814

844.105696065

656.7956801258

709.4825873581

844.105696065

656.7956801258

725.6257884577

844.105696065

652.2125576832

729.1777714169

845.2532591113

652.2125576832

737.2168662897

842.9577708788

651.0056036941

733.9086787372

840.8905929511

648.5906092963

731.5439493568

844.105696065

643.9981291588

726.8101449173

842.9577708788

641.5789339383

719.9358364642

842.9577708788

640.3687931181

705.9125698322

841.8094835527

640.3687931181

669.7928454323

845.2532591113



		





		





-0,5


0


0,5


1


1,5


2


0 10 20 30


Radial distance,mm


Velocity,m/s


7-vtg,B=0,co-firing


7-vtg,B=0,prop.=0





_1301231304.xls
Chart5

		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



d

NOx, prop=0

NOx,B=0,co-fire

time,s

NOx,ppm

7

2

7

2

5

2

5

3

5

3

5

6

5

6

7

6

7

17

15

17

15

29

15

29

27

29

27

35

37

35

37

37

37

37

42

37

42

38

45

38

45

38

45

38

46

37

46

37

47

37

47

38

47

38

47

38

47

38

48

38

48

39

47

39

47

39

47

39

48

39

48

40

48

40

48

40

48

40

49

39

49

40

49

40

49

40

49

40

50

40

50

40

50

40

50

40

50

40

50

41

50

41

50

41

50

41

50

41

51

41

51

41

51

41

51

41

51

41

51

41

51

41

52

41

52

41

52

41

52

41

52

41

52

35

52

35

52

35

52

23

52

23

45

15

45

15

31

15

31

12

20

12

20

11

20

11

14

11

14

11

12

11

12

11

12

11

12

11

12

12

12

12

12

13

12

13

13

13

13

13

13

13

13

14

13

14

13

15

13

15

14

15

14

15

14

15

14

15

14

15

14

15

14

16

14

16

14

16

14

16

14

16

14

17

15

17

15

19

15

19

15

22

15

22

14

22

14

28

14

28

15

34

15

34

15

34

15

40

15

40

14

45

14

45

15

45

15

47

15

47

16

50

16

50

16

50

16

55

16

55

16

62

16

62

16

62

16

66

17

66

17

68

17

68

17

70

17

70

18

70

18

72

18

72

19

73

19

73

19

73

19

74

20

74

20

75

20

75

20

75

20

75

22

75

22

76

22

76

25

76

25

77

27

77

27

77

27

77

30

77

30

77

34

77

34

77

34

77

38

78

38

78

41

78

41

78

45

78

45

78

45

78

50

78

50

78

55

78

55

77

55

77

59

77

59

76

63

76

63

76

63

76

69

76

69

76

75

76

75

77

75

77

81

77

81

78

86

78

86

78

86

78

88

79

88

79

88

79

88

78

88

78

88

77

88

77

88

77

88

77

87

77

87

76

87

76

87

76

87

76

86

76

86

76

86

76

87

77

87

77

87

77

87

77

87

77

87

78

87

78

88

78

88

79

89

79

89

79

89

79

91

79

91

80

92

80

92

79

92

79

93

79

93

78

94

78

94

77

94

77

93

77

93

77

93

77

93

78

93

78

93

79

93

79

92

79

92

79

88

79

88

79

88

79

82

79

82

79

77

79

77

79

77

79

74

79

74

78

72

78

72

79

72

79

71

78

71

78

69

78

69

78

69

78

68

77

68

77

69

77

69

77

69

77

73

77

73

77

76

77

76

76

76

76

76

77

76

77

75

77

75

77

75

77

75

77

75

77

77

77

77

76

78

76

78

74

78

74

79

74

79

74

84

74

84

74

84

74

88

75

88

75

90

75

90

75

90

75

90

76

90

76

90

76

90

76

90

76

90

76

90

76

91

76

91

77

91

77

91

76

91

76

90

74

90

74

88

74

88

73

88

73

86

72

86

72

84

72

84

71

84

71

84

71

84

71

84

71

84

71

85

71

85

71

85

71

85

71

85

71

85

71

85

71

85

71

86

71

86

70

85

70

85

70

85

70

84

71

84

70

83

70

83

71

83

71

83

70

83

70

83

70

83

70

82

70

82

71

82

71

82

71

82

71

82

71

82

71

82

71

83

71

83

72

84

72

84

72

84

72

85

73

85

73

86

73

86

74

86

74

85

75

85

75

84

75

84

76

85

76

85

76

85

76

84

76

84

77

83

77

83

77

83

77

81

77

81

77

80

77

80

78

80

78

78

79

78

79

76

79

76

80

76

80

76

80

76

80

76

80

76

80

76

80

76

80

76

80

75

80

75

79

75

79

73

78

73

78

73

78

73

78

74

78

74

78

74

78

75

78

75

77

74

77

74

77

74

77

74

77

74

77

74

77

74

78

74

78

74

78

74

78

74

78

74

79

74

79

74

79

74

79

75

79

75

79

75

79

75

79

75

79

75

79

75

80

75

80

75

80

75

80

76

80

76

80

78

80

78

80

78

80

77

80

77

80

76

80

76

79

76

79

75

79

75

79

75

79

75

79

75

79

76

80

76

80

77

80

77

80

78

80

78

80

78

80

78

80

78

80

78

80

78

80

78

80

79

80

79

80

79

80

79

80

79

80

79

80

79

80

80

80

80

79

80

79

80

80

80

80

80

80

80

79

80

79

80

79

80

79

79

79

79

79

78

79

78

78

78

78

78

78

78

79

77

79

77

80

77

80

78

80

78

80

78

80

78

80

78

80

78

81

78

81

78

81

78

80

78

80

78

81

78

81

77

81

77

81

76

81

76

80

76

80

76

80

76

81

76

81

76

80

76

80

75

80

75

80

74

80

74

80

74

80

74

80

74

80

73

80

73

80

73

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

81

71

81

72

81

72

81

73

81

73

81

73

81

74

81

74

81

74

81

74

82

74

82

75

81

75

81

76

81

76

81

76

81

76

81

76

81

76

81

76

81

76

81

76

80

76

80

75

80

75

80

75

80

75

80

75

80

74

80

74

80

74

80

74

80

74

80

72

80

72

80

72

80

72

80

72

80

71

80

71

80

71

80

71

79

72

79

72

80

72

80

74

80

74

80

74

80

74

79

74

79

74

79

74

79

76

79

76

79

76

79

77

79

77

79

79

79

79

79

79

79

81

79

81

79

81

79

81

79

82

79

81

78

81

78

84

78

84

79

85

79

85

79

85

79

84

79

84

80

84

80

84

79

84

79

85

78

85

78

85

78

85

78

85

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

77

84

77

83

77

83

77

83

77

81

77

81

77

81

77

81

76

82

76

82

77

82

77

83

77

83

77

82

77

82

77

82

77

82

77

82

77

82

77

82

77

82

77

81

77

81

77

81

77

81

78

81

78

82

78

82

78

82

78

82

79

82

79

82

79

82

79

82

79

82

79

83

79

83

79

83

79

85

79

85

80

86

80

86

80

86

80

87

80

87

80

86

80

86

80

86

80

85

80

85

80

84

80

84

80

84

80

84

81

84

81

83

81

83

81

83

81

83

81

83

81

82

81

82

81

81

81

81

81

81

81

80

81

80

81

79

81

79

81

79

81

78

80

78

80

77

80

77

79

77

79

77

80

77

80

76

80

76

79

75

79

75

79

75

79

76

79

76

79

76

79

76

79

76

79

75

79

75

79

74

79

74

79

74

79

73

79

73

79

74

79

74

78

74

78

74

78

74

78

74

78

74

79

74

79

74

79

74

79

76

79

76

79

76

79

76

80

76

80

77

80

77

80

77

80

77

80

77

80

78

81

78

81

78

81

78

82

78

82

80

82

80

82

81

82

81

81

81

81

82

82

82

82

84

82

84

82

85

82

85

82

85

82

86

82

86

81

87

81

87

81

87

81

86

81

86

80

85

80

85

81

85

81

84

81

84

81

83

81

83

81

83

81

83

81

83

81

83

81

83

81

84

81

84

81

84

81

84

81

84

81

85

81

84

80

84

80

85

80

85

79

87

79

87

79

87

79

87

80

87

80

88

80

88

79

88

79

88

79

88

79

89

79

89

78

89

78

89

77

89

77

89

77

89

77

90

77

90

77

90

77

90

77

90

76

90

76

90

76

90

76

89

76

89

75

86

75

86

75

86

75

86

75

86

75

86

75

86

75

86

75

85

75

85

75

84

75

84

75

84

75

84

75

84

75

84

75

84

75

82

75

82

75

82

75

80

75

80

74

78

74

78

74

78

74

77

74

77

74

77

74

77

74

77

74

77

73

77

73

79

73

79

74

79

74

79

74

79

74

79

74

79

74

79

74

79

74

79

74

78

74

78

74

78

74

78

73

78

73

79

73

79

73

80

73

80

73

80

73

79

73

79

74

77

74

77

74

77

74

77

74

77

74

78

74

78

74

78

74

79

75

79

75

81

75

81

75

83

75

82

75

82

75

82

75

82

75

84

75

84

75

84

75

85

75

85

74

85

74

85

74

85

74

85

74

85

74

86

74

86

73

86

73

86

73

86

73

85

73

85

72

85

72

85

71

85

71

85

71

85

71

86

71

85

71

85

71

84

71

84

70

84

70

84

71

84

71

84

70

84

70

84

70

84

70

84

70

84

70

84

70

84

70

84

69

84

69

85

69

85

69

86

69

86

70

87

70

87

71

87

71

86

71

86

70

86

70

86

71

86

71

85

71

85

71

84

71

84

71

84

71

83

70

83

70

83

70

83

69

83

69

83

70

83

70

82

70

82

69

81

69

81

68

81

68

81

68

81

68

81

68

81

69

81

69

81

69

81

69

81

69

81

70

81

70

80

70

80

70

79

70

79

69

79

69

80

69

80

69

81

69

81

69

82

69

82

69

82

69

83

69

83

70

83

70

83

71

83

71

83

71

83

71

83

71

83

71

83

71

82

71

82

71

81

71

81

71

81

71

80

70

80

70

80

70

80

71

80

71

81

69

81

69

81

69

81

68

81

68

80

68

80

68

79

68

79

68

79

68

79

68

79

68

78

68

78

68

78

68

78

67

78

67

77

67

77

67

76

67

76

67

76

67

76

67

76

67

75

67

75

67

74

67

74

66

74

66

74

66

74

66

75

66

75

66

75

66

74

66

74

67

73

67

73

67

73

67

74

67

74

67

74

67

74

67

74

67

74

66

74

66

76

66

76

66

76

66

78

67

78

67

78

67

78

67

78

67

79

67

79

67

79

67

79

68

79

68

79

68

79

68

79

68

79

68

80

68

80

68

80

68

81

69

81

69

81

69

81

69

81

69

81

69

81

69

82

69

82

69

83

69

83

70

83

70

83

70

83

70

81

70

81

69

81

69

80

69

80

69

80

69

80

69

80

69

80

70

80

70

81

70

81

69

81

69

83

70

83

70

85

70

85

71

87

71

87

71

87

71

88

71

88

71

87

71

87

71

87

71

86

71

86

71

86

71

86

72

86

72

87

72

87

73

86

73

86

72

86

72

86

73

86

73

86

73

86

74

86

74

86

74

86

74

86

74

86

74

87

74

87

73

87

73

88

73

88

73

89

73

89

74

89

74

88

74

88

74

87

74

87

75

87

75

87

76

87

75

88

75

88

76

88

76

88

77

88

77

87

77

87

78

87

78

87

77

87

77

86

77

86

76

85

76

85

76

85

76

86

76

86

77

86

77

86

78

86

78

86

77

86

77

86

77

86

76

86

76

86

75

86

75

87

75

87

75

87

75

88

76

88

76

89

76

89

77

89

77

89

78

89

78

88

78

88

78

88

78

88

78

88

78

88

78

88

78

88

78

88

79

88

79

89

78

89

78

91

78

91

78

91

78

93

78

93

78

93

78

93

77

91

77

91

76

91

76

89

76

89

77

89

77

89

77

89

77

90

77

90

77

91

77

91

78

91

78

90

78

90

78

90

78

90

77

90

77

90

78

90

78

86

78

86

78

83

78

83

79

83

79

81

79

81

79

81

79

81

79

81

79

82

79

82

79

82

79

82

78

82

78

82

78

82

78

82

78

82

77

82

77

81

77

81

77

82

77

82

78

82

78

83

77

83

77

84

77

84

78

85

78

85

78

85

78

85

78

85

78

84

78

84

78

84

78

84

78

84

79

84

79

84

80

84

80

84

80

84

80

84

80

84

80

84

80

85

79

85

79

85

79

85

79

85

79

85

78

85

78

84

78

84

77

83

77

83

77

83

77

82

77

82

76

80

76

80

75

80

75

78

75

78

75

77

75

77

74

77

74

76

75

76

75

76

75

76

75

76

75

75

75

75

75

74

75

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

75

74

75

74

75

74

75

73

75

73

75

73

75

73

75

73

75

75

74

75

74

76

74

76

74

76

74

77

74

77

74

78

74

78

74

79

74

79

74

79

74

79

74

79

74

81

74

82

73

82

73

85

73

85

73

84

73

84

72

84

72

82

71

82

71

79

71

79

71

79

71

76

71

76

71

74

71

74

73

72

73

72

73

72

73

71

73

71

71

71

71

71

71

71

71

70

71

70

71

67

71

67

70

67

70

63

70

63

69

60

69

60

70

60

70

59

69

59

69

58

69

58

69

58

69

56

70

56

70

55

70

55

71

54

71

54

71

54

71

53

71

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

51

70

51

70

51

70

50

70

50

70

49

70

49

69

48

69

48

69

48

69

47

69

47

69

47

69

47

69

47

69

46

69

46

69

46

69

46

69

46

69

46

69

46

69

47

69

47

67

47

67

48

65

48

65

48

65

48

65

48

65

48

64

48

64

48

64

48

64

48

64

48

63

48

63

49

63

49

64

50

64

50

64

50

64

51

64

51

65

50

65

50

64

50

64

50

63

50

63

49

63

49

63

49

63

49

63

49

63

50

63

50

63

51

63

51

61

51

61

50

61

50

60

47

60

47

60

47

60

43

60

43

59

41

59

41

59

41

59

41

59

41

60

39

60

39

59

39

59

39

57

39

57

39

57

39

55

38

55

38

53

38

53

38

53

38

52

38

52

38

52

38

52

38

52

38

51

39

51

39

51

39

51

39

50

39

50

40

50

40

51

40

51

40

51

40

51

40

51

40

50

40

50

39

50

39

50

38

50

38

50

38

50

38

50

38

50

40

50

40

51

40

51

40

49

40

49

39

49

39

48

40

48

40

48

40

48

39

49

39

48

39

48

39

48

39

48

39

48

39

48

39

48

39

47

38

47

38

46

38

46

37

46

37

46

37

46

37

46

37

46

37

46

37

46

36

46

36

45

36

45

37

44

37

44

38

44

38

44

38

44

38

45

38

45

37

45

37

45

37

45

37

44

37

44

36

44

36

43

37

43

37

42

37

42

37

42

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

44

37

44

37

46

37

46

37

46

37

48

37

48

39

49

39

49

39

49

39

49

37

49

37

47

37

47

36

47

36

46

33

46

33

44

33

44

31

44

31

43

31

43

31

43

31

43

31

42

31

42

33

42

33

40

33

40

35

40

35

40

35

40

35

39

34

39

34

39

34

39

33

39

33

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

33

38

33

37

33

37

33

38

33

38

33

38

33

39

33

39

33

41

33

41

34

41

34

42

36

42

36

42

36

42

38

42

38

41

41

41

41

43

41

43

41

43

41

45

40

45

40

44

40

44

38

43

38

43

37

43

37

42

37

42

37

42

37

42

37

42

37

42

39

42

39

41

39

41

42

41

42

41

44

41

44

41

44

41

44

41

44

41

43

41

43

42

43

42

41

44

41

44

39

44

39

45

39

45

38

46

38

46

38

46

38

44

38

44

38

43

38

43

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

44

37

44

37

44

37

44

36

44

36

44

36

44

35

44

35

44

35

44

35

43

35

43

34

43

34

43

35

43

35

44

35

44

35

45

35

45

35

45

35

45

34

45

34

44

34

44

34

44

34

42

34

42

34

40

34

40

35

38

35

38

35

38

35

35

35

35

35

34

35

34

34

34

34

34

34

34

34

35

34

35

35

35

35

34

35

34

35

33

35

33

35

33

35

33

36

33

36

34

36

34

35

35

35

35

37

35

37

35

37

35

38

35

38

35

39

35

39

35

39

35

39

35

39

35

40

35

40

36

40

36

40

36

40

36

40

36

40

36

40

36

40

37

40

37

40

37

40

37

39

37

39

37

39

37

39

37

39

38

40

38

40

38

40

38

40

37

40

37

40

37

40

37

40

37

40

38

40

38

41

38

41

38

40

38

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

39

39

39

39

38

39

38

40

38

40

38

40

38

40

38

40

38

39

38

39

37

40

37

40

36

40

36

41

36

41

36

41

36

41

37

41

37

41

37

41

37

42

37

42

37

42

37

42

37

42

37

42

37

42

37

41

37

40

37

40

37

40

37

40

37

40

37

40

37

40

37

40

36

40

36

41

36

41

36

41

36

41

35

41

35

40

35

40

34

40

34

41

33

41

33

41

33

41

33

41

33

41

32

41

32

42

32

42

33

43

33

43

34

43

34

44

34

44

34

43

34

43

34

43

34

44

34

44

34

44

34

44

35

44

35

45

35

45

35

45

35

45

34

45

34

45

34

45

34

46

34

46

34

47

34

47

33

47

33

47

33

47

33

48

33

48

33

48

33

49

33

49

33

49

33

49

32

49

32

50

32

50

32

50

32

50

32

50

32

51

32

51

32

50

32

50

31

50

31

50

30

50

30

51

30

51

30

51

30

51

30

51

30

52

30

52

30

52

30

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

28

52

28

52

28

52

29

51

29

51

28

51

28

51

28

51

28

52

28

52

28

52

28

52

27

52

27

53

27

53

27

53

27

53

26

53

26

54

26

54

26

54

26

54

27

54

27

53

27

53

28

54

28

53

27

53

27

54

27

54

27

54

27

54

27

54

27

53

27

53

27

53

27

53

27

53

27

53

26

53

26

53

26

53

25

53

25

52

26

52

26

53

26

53

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

53

25

53

25

52

25

52

25

52

25

52

25

52

25

52

25

52

26

51

26

51

25

51

25

51

25

51

25

52

25

52

25

52

25

52

25

52

25

52

25

52

25

52

25

52

24

52

24

52

24

52

23

52

23

52

23

52

23

52

23

52

23

52

23

52

23

52

23

51

23

51

22

51

22

52

23

52

23

51

23

51

22

51

22

51

22

51

22

51

22

51

22

51

22

51

21

51

21

51

21

51

20

51

20

51

21

51

21

51

21

51

21

51

21

51

21

51

21

51

20

51

20

51

20

51

20

51

20

51

20

51

20

51

21

51

21

50

20

50

20

50

20

50

19

50

19

50

19

50

19

50

19

49

19

49

19

49

19

49

18

50

18

50

17

50

17

49

17

49

17

49

17

49

17

49

17

48

17

48

17

48

17

48

17

48

17

46

17

46

17

46

17

46

17

46

17

45

18

45

18

45

18

45

18

45

18

43

18

43

18

43

18

43

18

43

18

43

18

43

18

42

18

42

17

40

17

40

16

40

16

38

16

38

16

34

16

34

16

34

16

37

15

37

15

44

15

44

15

44

15

47

14

47

14

47

14

47

15

47

15

47

15

47

15

47

15

47

14

46

14

46

14

46

14

46

14

46

14

46

14

46

14

46

14

45

14

45

14

42

14

42

14

42

14

36

14

36

14

34

14

34

13

34

13

39

13

39

14

42

14

42

15

43

15

43

15

43

15

43

15

43

15

43

15

43

15

43

15

43

14

43

14

43

14

43

14

43

14

43

14

43

14

42

14

42

14

42

14

41

14

41

14

40

14

40

14

40

15

40

15

40

15

40

15

40

16

39

16

39

15

39

15

38

15

38

14

34

14

34

14

34

14

31

14

31

14

33

14

33

13

33

13

37

13

37

13

38

13

38

14

38

14

39

14

39

13

39

13

39

13

39

13

39

13

39

13

37

13

37

14

36

14

35

13

35

13

34

13

34

13

33

13

33

13

33

13

29

13

29

13

26

13

26

13

26

13

26

13

26

13

24

13

24

13

24

13

22

13

22

13

22

13

22

13

24

13

24

12

24

12

27

12

27

12

28

12

28

12

28

12

28

12

28

12

28

12

28

12

28

12

27

12

27

12

26

12

26

12

26

12

25

13

25

13

24

13

24

13

23

13

23

13

23

13

22

13

22

13

22

13

22

13

22

13

22

13

22

12

21

12

21

12

21

12

21

12

21

12

20

12

20

12

20

13

20

13

20

13

20

13

20

13

20

13

20

13

20

13

19

13

19

13

20

12

20

12

20

12

20

12

20

12

20

12

20

12

20

12

20

13

20

12

20

12

20

12

20

12

20

12

20

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

13

19

13

19

13

19

12

19

12

19

12

18

12

18

12

18

12

19

12

19

13

19

13

19

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

12

18

12

18

12

18

12

18

12

19

12

19

12

18

12

18

12

18

13

18

13

18

13

18

13

18

13

18

12

18

12

18

12

19

12

19

12

18

12

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

14

17

14

17

15

18

15

18

15

18

14

18

14

18

14

18

14

18

14

18

13

18

13

18

13

17

13

17

13

18

13

18

13

18

12

18

12

18

12

18

12

18

12

18

12

17

12

17

12

17

12

17

12

17

12

18

12

18

12

18

12

18

12

18

12

17

12

17

11

17

11

17

11

17

11

17

11

17

12

18

12

18

12

18

12

18

12

18

11

18

11

18

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

10

17

10

17

11

17

11

17

11

17

12

18

12

18

11

17

11

17

11

17

11

18

11

18

11

18

11

18

11

18

11

17

11

17

12

17

12

17

12

17

12

17

12

17

11

17

11

17

11

18

11

18

11

18

11

18

11

18

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

18

11

18

11

18

11

17

11

17

11

17

11

17

11

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

11

11

11

11

11

11

11

11

11

11

12

12

11

11

10

10

10

10

10

10

10

10

11

11

11

10

10

10

10

10

11

11

10

10

9

9

9

10

10

10

10

10



Sheet1

		

																																		15.625





Sheet1

		105

		178

		278

		351

		437

		535

		581

		629

		717

		885

		952

		1025

		1062

		1115

		1208

		1245

		1325

		1380

		1429

		1462

		1496

		1527



b

L,mm

time,s

Wood layer height ,mm

148

147

145

132

127

115

112

110

90

84

80

76

60

54

45

33

25

22

20

15

12

12



Sheet2

		0		0		0		0		0

		0		0		0		0		0

		5		5		5		5		5

		5		5		5		5		5

		10		10		10		10		10

		10		10		10		10		10

		15		15		15		15		15

		15		15		15		15		15

		20		20		20		20		20

		20		20		20		20		20

		25		25		25		25		25

		25		25		25		25		25

		30		30		30		30		30



a

vax,air-40/70 l/min

vax, air-47/70l/min

vax,air-55/70l/min

vax,air-40/90 l/min

vax, air-40/100l/min

Radial distance,mm

Velocity,m/s

0.16

0

0.04

0.24

0.04

0

0.08

0.74

0.72

0.86

0.28

0

0.2

0.58

0.24

0

0.04

0.68

1.06

0.84

0

0.16

0.52

1.16

1.18

0

0.32

0.72

1.16

1.09

0.84

1.14

1.405

1.81

2.03

0.96

0.82

1.415

1.64

2.085

1.48

1.65

1.775

2.52

3.4

1.55

1.61

1.93

2.615

3.46

3.035

2.55

3.035

3.835

4.57

2.9

1.715

2.93

3.755

4.415

0.28

0.28

2.18

3.43

4.32



Sheet3

		0		0		0		0		0

		0		0		0		0		0

		5		5		5		5		5

		5		5		5		5		5

		10		10		10		10		10

		10		10		10		10		10

		15		15		15		15		15

		15		15		15		15		15

		20		20		20		20		20

		20		20		20		20		20

		25		25		25		25		25

		25		25		25		25		25

		30		30		30		30		30



b

vtg,air-40/100l/min

vtg, air-40/90l/min

vtg,air-40/70l/min

vtg,air-47/70l/min

vtg, air-55/70l/min

Radial distance,mm

Velocity,m/s

0

0

0.7238095238

1.1619047619

1.2285714286

0

0.0761904762

1.180952381

1.2666666667

1.3142857143

0.1142857143

0

0.2285714286

1.1619047619

1.2

0

0

0.9142857143

1.2

1.3047619048

1.1428571429

0.0380952381

0.0380952381

0.780952381

1.0476190476

0.9428571429

0

0.380952381

0.9904761905

1.180952381

1.8904761905

1.7047619048

0.6285714286

0

0

1.7761904762

1.2666666667

0.0380952381

0

0.0952380952

4.719047619

4.7571428571

3

2.2666666667

2.7904761905

4.5142857143

3.9047619048

2.9619047619

1.8333333333

2.2666666667

8.9571428571

7.3904761905

5.3857142857

5.0857142857

4.919047619

9.0142857143

7.4095238095

5.3714285714

5.0238095238

4.8380952381

1.8761904762

3.1666666667

1.9714285714

0.0761904762

2



		0		0		0		0		0		0

		5		5		5		5		5		0

		10		10		10		10		10		5

		15		15		15		15		15		5

		20		20		20		20		20		10

		25		25		25		25		25		10

		30		30		30		30		30		15

												15

												20

												20

												25

												25

												30



a

vax,prop.-0, t-650s

vax,prop.-0,t-850s

vax,prop.-0,t=1050s

vax,prop.-0,t=1250s

vax,prop.-0,t=1450s

vax,40/70,cold air, L=130mm

Radial distance,mm

Velocity,m/s

0

0

0

1.04

0.84

0.04

0

0

0

0.44

0.84

0.16

0

0

0.24

0.56

0

0.52

0.08

0

0.08

0.16

1.22

1.22

0.48

0

0.16

0.08

1.3

1.4

0.36

0.24

0.16

0.4

0.32

0.08

0.008

0.48

0

0

1.21

0.78

1.435

1.52

1.845



		0		0		0		0		0		0

		5		5		5		5		5		0

		10		10		10		10		10		5

		15		15		15		15		15		5

		20		20		20		20		20		10

		25		25		25		25		25		10

		30		30		30		30		30		15

												15

												20

												20

												25

												25

												30



b

vax,co-firing,t-550s

vax,co-firing,t-750s

vax,co-firing,t-950s

vax,co-firing,t-1350s

vax,co-firing,t-1550s

vax,40/70,cold air, L=130mm

Radial distance,mm

Velocity,m/s

0

0.4

0.28

1.1

1.06

0.04

0.08

0.48

0.4

0.74

0.52

0.16

0.08

0.28

0.32

0.52

0

0.48

0.24

0.58

0.16

0.32

0.64

0.82

1.32

0.74

0.36

0.08

1.68

1.49

1.41

1.09

0.86

1.68

1.65

0.08

0.36

0.36

0

0

1.21

0.78

1.435

1.52

1.845



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



a

CO2-1200s, prop=0

CO2-1400s, prop=0

CO2-1600s, prop=0

CO2-1050s, co-firing

CO2-1350s, co-firing

CO2-1550s, co-firing

Radial distance,mm

Volume fraction,%

15.2

15.9

8.725

16.35

17.45

17.65

12.3

13.125

10

14.425

14.5

16.4

8.1

9.5

5.75

9.775

10.025

12.25

4.625

5.05

3.85

7.3

7.3

7.75

3.8

3.3

2.9

6.4

6.375

6.6

4

3.3

3

6.675

6.15

6.025

3.9

3.3

3.1

5.975

6.3

6.125



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



b

CO-4,co-firing

CO-5,co-firing

CO-6, co-firing

CO-4, prop=0

CO-5, prop=0

CO-6, prop=0

Radial distance,mm

Mass fraction,ppm

268

1275.75

1254.5

33

63.75

419

100.25

460.5

390.5

19.5

31.25

135.5

28.5

116

60

16.75

18.25

301.5

38.5

42

44

43

18.5

2217

171.5

24

30.5

107.5

26

40.75

472.25

39.5

20

217.5

46.25

25

20.5

29

25.25

82.5

74.5

53



		0		0		0		0		0

		5		5		5		5		5

		10		10		10		10		10

		15		15		15		15		15

		20		20		20		20		20

		25		25		25		25		25

		30		30		30		30		30



b

NOx-1200s, prop=0

NOx-1400s,prop=0

NOx-1050s, co-firing

NOx-1350s,co-firing

NOx-1550s, co-firing

Radial distance,mm

Mass fraction,ppm

99

102.75

87.25

91.75

84.75

76

83.25

77

75

83.25

48.75

62

54.75

55.5

66.25

28

34

40

41.25

41

22

24.75

35.5

36

34.75

23.5

23

37.25

34

31.5

24.25

21.25

33.25

32.5

32



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



c

eff-1200s, prop=0

eff-1400s, prop=0

eff-1400s, prop=0

eff-1050s, co-firing

eff-1350s, co-firing

eff-1550s, co-firing

Radial distance,mm

Efficiency,%

59.375

60.75

60.75

60.1

62.45

63.8

51.75

54.2

54.2

55.725

55.525

61.55

35

40.2

40.2

39.4

40.3

49.55

2.5

3.475

3.475

36.95

37.575

34.1

21.725

13.8

13.8

47.225

51.225

51.9

51

42.75

42.75

66.425

63.45

65.825

55.7

50.775

50.775

66.35

67.4

67.925



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



d

a.e.-1200s, prop=0

a.e.-1400s, prop=0

a.e.-1600s, prop=0

a.e.-1050s, co-firing

a.e.-1350s, co-firing

a.e.-1550s, co-firing

Radial distance,mm

Air excess,%

35.65

29.65

135.65

26.2

17.95

16.7

67

56.475

105.225

42.525

41.75

25.5

153.95

116.9

256.05

110.8

104.75

68.425

345.875

310.4

434.5

182.925

182.925

166.3

441.9

516.55

606.05

222.45

223.875

213.75

411.45

525.125

584.2

209.075

233.7

241.2

425.875

522.2

563.7

244.7

228.9

236.975



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



T-1, co-firing

T-2, co-firing

T-3,co-firing

T-4, co-firing

T-5, co-firing

T-6, co-firing

T-7, co-firing

T-8,co-firing

Radial distance,mm

Relative temperature

1

1

1

1

1

1

1

1

1.0157893482

0.9918894296

1.0231464099

0.9904062326

0.9983473289

0.9990209249

0.9376398803

0.9915641668

1.0020750352

0.9543808191

0.9732977008

0.9410350584

0.9537252099

0.9894578656

0.8760100832

0.8725917057

0.7917571016

0.7849921116

0.8351039159

0.7889148581

0.7869840986

0.8673694756

0.7328433105

0.7087732666

0.6279962792

0.619136502

0.6590763522

0.6471452421

0.6199079864

0.6381065143

0.5629844276

0.6083052139

0.5421089036

0.4844565918

0.5348852618

0.5130105732

0.5211497231

0.5085725996

0.4818715104

0.5392674431

0.5198797911

0.4720574184

0.4937164565

0.4904618809

0.4962033232

0.4965504679

0.4669823545

0.5293349298



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



d

T-450s,co-firing

T-650s, co-firing

T-850s,co-firing

T-1050s, co-firing

T-1350s, co-firing

T-1550s, co-firing

T-1750s, co-firing

T-1950s,co-firing

Radial distance,mm

Temperature,K

1048.175

1125.075

1131.925

1123.125

1119.4

1097.975

1061.175

918.7

1064.725

1115.95

1158.125

1112.35

1117.55

1096.9

995

910.95

1050.35

1073.75

1101.7

1056.9

1067.6

1086.4

929.6

801.65

829.9

883.175

945.275

886.05

880.95

952.35

777.675

651.15

658.25

696.575

746.025

726.825

693.925

700.625

597.425

558.85

568.225

545.05

605.45

576.175

583.375

558.4

511.35

495.425

544.925

531.1

558.85

550.85

555.45

545.2

495.55

486.3



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



T-1, prop=0

T-2,prop=0

T-3, prop=0

T-4, prop=0

T-5, prop=0

T-6, prop=0

T-7, prop=0

T-8, prop=0

Radial distance,mm

Relative temperature

1

1

1

1

1

1

1

1

0.9917738145

0.9648602598

1.0181515179

0.9769191709

0.9785396913

1.0962289445

0.8829272662

0.9391101451

0.9512880778

0.9096501516

0.9660841366

0.900752435

0.9404745545

0.9997960016

0.8091484534

0.8658825034

0.8167196645

0.7944723507

0.8348797406

0.8109218483

0.8450826806

0.9266188728

0.6743699988

0.6873042255

0.6079773261

0.5596468323

0.6282992523

0.6261828925

0.6109660574

0.6875327855

0.5517437

0.5270408489

0.4998156597

0.4613971809

0.5127916404

0.5040391451

0.4916174248

0.5788890832

0.5023289144

0.5180591958

0.4728328494

0.4442477484

0.4771867399

0.4764806352

0.4606522835

0.5670863205

0.4907739162

0.5174199322



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



T-1, prop=0

T-2, prop=0

T-3, prop=0

T-4,prop=0

T-5,prop=0

T-6, prop=0

T-7,prop=0

T-8, prop=0

Radial distance,mm

Temperature,K

1084.95

1129.775

1110.1

1083.15

1091.55

857.85

837.3

782.15

1076.025

1090.075

1130.25

1058.15

1068.125

940.4

739.275

734.525

1032.1

1027.7

1072.45

975.65

1026.575

857.675

677.5

677.25

886.1

897.575

926.8

878.35

922.45

794.9

564.65

537.575

659.625

632.275

697.475

678.25

666.9

589.8

461.975

412.225

542.275

521.275

569.25

545.95

536.625

496.6

420.6

405.2

513

501.9

529.725

516.1

502.825

486.475

410.925

404.7



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400



a

a

a

T1,K-L=30mm,co-firing

T1,K-L=30mm;prop.=0

time,s

Temperature,K

610.7291371962

703.7689948723

607.0700332561

705.9125698322

613.1667291234

701.3858687852

622.6594966529

704.9600147059

607.0700332561

703.7689948723

602.4304894179

707.102937814

608.2900967093

705.9125698322

614.3849818772

707.102937814

617.7941630035

704.9600147059

615.3593233395

703.7689948723

609.5097980227

707.102937814

613.1667291234

709.4825873581

608.2900967093

705.9125698322

610.7291371962

710.6718689203

603.6519290027

705.9125698322

608.2900967093

703.7689948723

607.0700332561

702.5776128987

605.8496076629

704.9600147059

601.2086876931

702.5776128987

589.2158663473

702.5776128987

594.1150962908

704.9600147059

590.441217043

703.7689948723

598.7639978239

702.5776128987

613.1667291234

703.7689948723

614.3849818772

703.7689948723

603.6519290027

703.7689948723

613.1667291234

702.5776128987

615.3593233395

703.7689948723

616.5769242415

705.9125698322

609.5097980227

707.102937814

611.9481142297

705.9125698322

613.1667291234

710.6718689203

619.0110396257

601.2086876931

623.8749247155

596.3178593952

610.7291371962

628.4902486375

619.0110396257

639.1582901581

622.6594966529

653.4191495324

608.2900967093

510.7893308859

596.3178593952

693.2724048636

610.7291371962

702.5776128987

613.1667291234

703.7689948723

609.5097980227

702.5776128987

608.2900967093

704.9600147059

611.9481142297

703.7689948723

604.6288199299

704.9600147059

595.0942469709

705.9125698322

599.9865238285

707.102937814

622.6594966529

705.9125698322

621.4437064504

704.9600147059

619.0110396257

707.102937814

616.5769242415

708.292943656

623.8749247155

703.7689948723

629.7039384287

701.3858687852

619.0110396257

707.102937814

601.2086876931

709.4825873581

589.2158663473

710.6718689203

592.8908320148

707.102937814

598.7639978239

709.4825873581

598.7639978239

707.102937814

604.6288199299

703.7689948723

611.9481142297

704.9600147059

611.9481142297

702.5776128987

613.1667291234

664.9840056065

574.7293793329

616.5769242415

502.0410184134

611.9481142297

526.4915763021

644.9654016504

572.5151436367

669.7928454323

594.1150962908

687.2959394413

608.2900967093

701.3858687852

603.6519290027

703.7689948723

548.3286291882

661.6143701567

522.7581612556

643.9981291588

630.9172660799

662.8181373147

856.4802125217

684.9028182932

841.8094835527

707.102937814

801.3912790058

721.1219311953

777.3948883404

722.3076637865

769.4400127215

722.3076637865

760.2946822072

727.994139237

754.4207023752

722.3076637865

752.3038533395

724.6780425493

751.1273191017

723.4930342378

744.2962791232

723.4930342378

746.4175607512

723.4930342378

745.2392158138

719.9358364642

744.2962791232

721.1219311953

744.2962791232

718.7493795932

744.2962791232

717.5625605823

746.4175607512

722.3076637865

747.5955435486

716.3753794315

749.9504227239

719.9358364642

747.5955435486

724.6780425493

743.117282334

732.726495117

748.7731642062

733.9086787372

748.7731642062

738.3976737783

751.1273191017

748.7731642062

754.4207023752

751.1273191017

756.7713807277

757.9461766941

751.1273191017

765.9251853156

751.1273191017

768.2687657261

752.3038533395

779.731370809

753.4800254375

784.1666967177

754.4207023752

794.4179007336

755.5962226214

792.3233450298

753.4800254375

803.4807502654

754.4207023752

808.1198189085

754.4207023752

823.8493113921

755.5962226214

823.8493113921

755.5962226214

836.2926634001

763.8147244276

840.8905929511

761.4683917539

842.9577708788

761.4683917539

841.8094835527

761.4683917539

847.5472987842

757.9461766941

850.9856422443

761.4683917539

858.7671542527

768.2687657261

860.8241632921

764.7528519004

863.1083527599

764.7528519004

860.8241632921

770.610897577

864.2499042839

772.9515808684

872.0028506974

765.9251853156

877.6928634628

770.610897577

890.8588262493

768.2687657261

894.2558857615

772.9515808684

891.9915415599

779.731370809

895.3875146524

778.5633106446

896.5187814034

778.5633106446

875.4179447763

773.8874485883

880.8753160437

772.9515808684

882.0112181854

775.0569573122

888.8190260977

778.5633106446

886.5512053532

777.3948883404

896.5187814034

776.2261038962

901.943820821

778.5633106446

904.2017913604

775.0569573122

904.2017913604

772.9515808684

903.0729871607

779.731370809

903.0729871607

785.3330186105

916.3698011635

779.731370809

920.6410921854

785.3330186105

917.2694548939

785.3330186105

919.5175752281

782.066404718

916.3698011635

783.2333784627

914.1196528459

784.1666967177

906.4583133402

782.066404718

904.2017913604

788.8298114497

893.1238947307

791.1591959764

905.3302334202

792.3233450298

914.1196528459

793.2544035319

926.2532448734

794.4179007336

935.8849695556

801.3912790058

939.2385722803

799.0682681413

939.2385722803

800.2299546435

973.922831741

805.8010088667

1012.6305799657

809.2786807195

1036.1609107338

810.4371803906

1054.1295856008

821.7713127244

1075.0026620375

825.0032481006

1089.7675615265

827.3100350978

1093.8211485292

838.5923524554

1110.4073908997

842.9577708788

1138.2756460921

848.6937754108

1134.2798566166

850.9856422443

1144.3644006852

856.4802125217

1144.3644006852

860.8241632921

1162.7660496723

873.1415775303

1178.1533369321

876.5555851895

1185.1965760651

887.6852967954

1188.091866195

904.2017913604

1189.1252103184

926.2532448734

1202.320030903

945.7129624047

1209.305646336

971.9313989937

1236.2675667706

992.2329610721

1240.1276696702

994.4322649485

1257.9378428098

998.8265270226

1277.6398775406

1018.9655027738

1300.979501934

1036.1609107338

1307.7247723615

1053.0499599988

1322.1506912556

1072.8570997215

1336.6954383216

1103.1883256049

1340.4171023822

1134.2798566166

1349.9909451148

1155.6696194315

1355.6407137273

1182.0913288803

1354.6674848264

1203.3483774959

1356.6135804883

1218.320997261

1369.0342908336

1235.2508810823

1382.1662842215

1257.9378428098

1387.7463191758

1280.4430972236

1397.1469721251

1296.2080525987

1405.5587372445

1319.3900592243

1410.3256554178

1343.3515643926

1423.2458693951

1356.6135804883

1431.570315343

1358.5582275906

1434.2131215382

1366.1285103029

1439.8667171775

1383.1292283493

1470.914294709

1386.0158878936

1487.2113604541

1394.4646202534

1496.237242069

1408.4199745681

1490.7153204955

1428.7355866597

1490.7153204955

1433.4583237658

1486.2883965707

1431.570315343

1492.5574095796

1430.6257679218

1497.891276319

1418.5035767347

1503.3962497454

1426.0868993126

1498.8096772398

1424.1932415075

1497.891276319

1421.3500387506

1509.6194593004

1425.14025148

1514.0022311293

1426.843956838

1517.6481673246

1423.2458693951

1515.8259235067

1416.7941350808

1521.1064397968

1429.6808583607

1523.8329610795

1431.570315343

1528.1886158731

1430.6257679218

1519.2869482422

1426.0868993126

1519.2869482422

1428.7355866597

1518.5587460236

1426.843956838

1514.914258388

1428.7355866597

1515.8259235067

1435.1562928278

1509.6194593004

1436.0991019775

1507.7908418204

1433.4583237658

1507.7908418204

1435.1562928278

1506.8759898706

1445.3194672015

1503.3962497454

1447.1969011394

1500.6453926617

1441.7483519381

1500.6453926617

1447.1969011394

1502.4796595241

1457.310013294

1501.5627071628

1449.8228750722

1503.3962497454

1448.1350748984

1501.5627071628

1442.5006002456

1497.891276319

1447.1969011394

1497.891276319

1447.1969011394

1494.3980501041

1449.8228750722

1497.891276319

1458.9914253201

1488.8717828519

1458.9914253201

1488.1339621977

1465.3328373368

1482.5929196378

1471.8432701148

1469.0552574779

1473.5145132525

1456.375388506

1476.297311075

1452.6332679546

1470.914294709

1443.4405847042

1477.2241860693

1445.3194672015

1477.2241860693

1444.3802070228

1470.914294709

1444.3802070228

1458.9914253201

1444.3802070228

1453.5693413023

1455.440401578

1449.8228750722

1452.6332679546

1447.1969011394

1451.696832467

1443.4405847042

1458.0574523838

1433.4583237658

1446.2583652404

1434.2131215382

1447.1969011394

1436.0991019775

1448.1350748984

1437.0415489874

1445.3194672015

1428.7355866597

1448.1350748984

1429.6808583607

1449.8228750722

1425.14025148

1449.8228750722

1421.3500387506

1441.7483519381

1420.4015802186

1437.9836338573

1415.8439382772

1433.4583237658

1418.5035767347

1429.6808583607

1422.2981351428

1445.3194672015

1416.7941350808

1439.8667171775

1405.5587372445

1396.1893152397

1397.1469721251

1399.0611994763

1406.5128451589

1403.6494349959

1406.5128451589

1385.0540301854

1402.6942406618

1372.710267325

1397.1469721251

1374.6428913828

1397.1469721251

1377.5391114203

1400.9739782678

1379.2752789985

1405.5587372445

1393.5059493763

1401.9298244538

1387.7463191758

1393.5059493763

1381.2029779537

1393.5059493763

1380.239309546

1390.6277639056

1370.002160064

1386.0158878936

1371.7434120863

1390.6277639056

1376.574066881

1386.0158878936

1379.2752789985

1387.7463191758

1383.1292283493

1384.0918103373

1390.6277639056

1382.1662842215

1393.5059493763

1384.0918103373

1397.1469721251

1379.2752789985

1387.7463191758

1368.0660594632

1400.9739782678

1371.7434120863

1403.6494349959

1372.710267325

1402.6942406618

1373.6767604239

1392.5469163593

1373.6767604239

1395.2312962144

1378.5037938197

1399.0611994763

1381.2029779537

1393.5059493763

1379.2752789985

1405.5587372445

1378.5037938197

1412.039529664

1384.0918103373

1411.0875221609

1383.1292283493

1427.7899528188

1376.574066881

1433.4583237658

1368.0660594632

1429.6808583607

1368.0660594632

1432.5145006243

1368.0660594632

1440.8077156277

1362.2490663034

1441.7483519381

1357.5860851094

1455.440401578

1355.6407137273

1476.297311075

1356.6135804883

1482.5929196378

1360.5014261334

1484.441382384

1361.4724821949

1488.8717828519

1365.1591925128

1487.2113604541

1368.0660594632

1496.237242069

1364.1895125829

1496.9725132583

1363.2194705131

1505.0451995513

1361.4724821949

1495.3178271565

1368.0660594632

1500.6453926617

1362.2490663034

1502.4796595241

1369.0342908336

1510.5332248306

1370.002160064

1501.5627071628

1371.7434120863

1492.5574095796

1372.710267325

1487.2113604541

1379.2752789985

1485.3650705473

1379.2752789985

1487.2113604541

1387.7463191758

1487.2113604541

1367.097465953

1485.3650705473

1355.6407137273

1480.743008332

1345.3060617

1471.8432701148

1354.6674848264

1461.7911712896

1356.6135804883

1459.9250361165

1356.6135804883

1457.310013294

1352.9147602123

1466.2639855819

1356.6135804883

1462.7236956663

1351.9405173197

1465.3328373368

1354.6674848264

1464.587658

1351.9405173197

1457.310013294

1351.9405173197

1451.696832467

1364.1895125829

1447.1969011394

1366.1285103029

1432.5145006243

1387.7463191758

1435.1562928278

1379.2752789985

1426.0868993126

1369.0342908336

1431.570315343

1365.1591925128

1414.8933793338

1362.2490663034

1420.4015802186

1400.017769942

1417.7439697445

1404.6042671902

1425.14025148

1401.9298244538

1431.570315343

1416.7941350808

1448.1350748984

1426.843956838

1457.310013294

1432.5145006243

1453.5693413023

1432.5145006243

1455.440401578

1437.0415489874

1456.375388506

1433.4583237658

1442.5006002456

1442.5006002456

1437.9836338573

1441.7483519381

1437.9836338573

1441.7483519381

1434.2131215382

1454.5050525101

1432.5145006243

1449.8228750722

1433.4583237658

1455.440401578

1432.5145006243

1455.440401578

1430.6257679218

1450.7600348396

1438.9253565873

1446.2583652404

1431.570315343

1438.9253565873

1414.8933793338

1437.9836338573

1400.9739782678

1439.8667171775

1417.7439697445

1437.0415489874

1430.6257679218

1438.9253565873

1468.1251956524

1440.8077156277

1489.7937327436

1449.0728865176

1504.1292611817

1444.3802070228

1503.3962497454

1450.7600348396

1512.1770901923

1444.3802070228

1511.4466282208

1434.2131215382

1511.4466282208

1442.5006002456

1514.0022311293

1439.8667171775

1514.0022311293

1434.2131215382

1517.6481673246

1426.843956838

1507.7908418204

1432.5145006243

1488.8717828519

1425.14025148

1483.5173320808

1427.7899528188

1499.7277160207

1430.6257679218

1497.891276319

1442.5006002456

1487.2113604541

1444.3802070228

1482.5929196378

1448.1350748984

1486.2883965707

1443.4405847042

1495.3178271565

1455.440401578

1494.3980501041

1458.9914253201

1499.7277160207

1458.9914253201

1496.237242069

1446.2583652404

1494.3980501041

1434.2131215382

1496.237242069

1425.14025148

1508.7053316304

1419.4527595466

1500.6453926617

1422.2981351428

1504.1292611817

1425.14025148

1509.6194593004

1429.6808583607

1506.8759898706

1432.5145006243

1512.1770901923

1447.1969011394

1504.1292611817

1454.5050525101

1503.3962497454

1460.858284773

1493.4779109118

1459.9250361165

1495.3178271565

1461.7911712896

1499.7277160207

1457.310013294

1502.4796595241

1450.7600348396

1508.7053316304

1452.6332679546

1506.8759898706

1454.5050525101

1505.9607757809

1458.9914253201

1499.7277160207

1456.375388506

1496.237242069

1455.440401578

1496.237242069

1453.5693413023

1488.1339621977

1455.440401578

1487.2113604541

1449.8228750722

1493.4779109118

1449.0728865176

1488.8717828519

1446.2583652404

1488.1339621977

1438.9253565873

1493.4779109118

1432.5145006243

1496.237242069

1425.14025148

1496.237242069

1422.2981351428

1489.7937327436

1420.4015802186

1501.5627071628

1420.4015802186

1502.4796595241

1412.039529664

1492.5574095796

1409.3729960629

1482.5929196378

1415.8439382772

1481.6681450548

1417.7439697445

1480.743008332

1417.7439697445

1467.1947716871

1415.8439382772

1470.914294709

1419.4527595466

1469.0552574779

1421.3500387506

1467.1947716871

1425.14025148

1460.858284773

1431.570315343

1459.9250361165

1424.1932415075

1454.5050525101

1426.0868993126

1467.1947716871

1420.4015802186

1464.587658

1423.2458693951

1453.5693413023

1432.5145006243

1453.5693413023

1419.4527595466

1445.3194672015

1424.1932415075

1435.1562928278

1426.0868993126

1437.9836338573

1425.14025148

1440.8077156277

1436.0991019775

1441.7483519381

1446.2583652404

1447.1969011394

1451.696832467

1446.2583652404

1453.5693413023

1443.4405847042

1455.440401578

1442.5006002456

1456.375388506

1437.0415489874

1455.440401578

1436.0991019775

1458.9914253201

1432.5145006243

1460.858284773

1436.0991019775

1458.0574523838

1429.6808583607

1458.0574523838

1421.3500387506

1452.6332679546

1431.570315343

1456.375388506

1428.7355866597

1458.9914253201

1408.4199745681

1469.0552574779

1402.6942406618

1467.1947716871

1405.5587372445

1467.1947716871

1395.2312962144

1468.1251956524

1400.017769942

1448.1350748984

1396.1893152397

1459.9250361165

1399.0611994763

1458.0574523838

1400.017769942

1458.9914253201

1400.9739782678

1456.375388506

1407.4665909335

1463.6558579031

1404.6042671902

1459.9250361165

1414.8933793338

1464.587658

1412.9911750271

1456.375388506

1414.8933793338

1463.6558579031

1421.3500387506

1468.1251956524

1418.5035767347

1467.1947716871

1419.4527595466

1465.3328373368

1416.7941350808

1462.7236956663

1409.3729960629

1463.6558579031

1409.3729960629

1465.3328373368

1417.7439697445

1465.3328373368

1412.9911750271

1454.5050525101

1421.3500387506

1467.1947716871

1422.2981351428

1464.587658

1427.7899528188

1469.0552574779

1432.5145006243

1459.9250361165

1434.2131215382

1464.587658

1432.5145006243

1484.441382384

1421.3500387506

1482.5929196378

1420.4015802186

1486.2883965707

1429.6808583607

1489.7937327436

1426.843956838

1489.7937327436

1418.5035767347

1484.441382384

1418.5035767347

1485.3650705473

1419.4527595466

1488.1339621977

1422.2981351428

1488.1339621977

1426.843956838

1480.002638213

1422.2981351428

1482.5929196378

1418.5035767347

1480.743008332

1416.7941350808

1480.743008332

1415.8439382772

1474.4424746666

1411.0875221609

1474.4424746666

1413.9424582504

1472.7718833806

1412.039529664

1478.1506989238

1419.4527595466

1478.1506989238

1420.4015802186

1472.7718833806

1426.0868993126

1475.3700739407

1420.4015802186

1479.0768496383

1423.2458693951

1476.297311075

1430.6257679218

1471.8432701148

1431.570315343

1480.743008332

1431.570315343

1485.3650705473

1433.4583237658

1487.2113604541

1437.9836338573

1479.0768496383

1449.8228750722

1480.743008332

1447.1969011394

1477.2241860693

1447.1969011394

1480.002638213

1445.3194672015

1479.0768496383

1442.5006002456

1485.3650705473

1438.9253565873

1482.5929196378

1437.0415489874

1481.6681450548

1435.1562928278

1480.002638213

1433.4583237658

1479.0768496383

1436.0991019775

1477.2241860693

1437.9836338573

1476.297311075

1425.14025148

1469.9849571634

1422.2981351428

1474.4424746666

1422.2981351428

1469.0552574779

1423.2458693951

1473.5145132525

1421.3500387506

1475.3700739407

1413.9424582504

1478.1506989238

1417.7439697445

1475.3700739407

1408.4199745681

1478.1506989238

1415.8439382772

1484.441382384

1411.0875221609

1482.5929196378

1403.6494349959

1479.0768496383

1403.6494349959

1475.3700739407

1414.8933793338

1477.2241860693

1421.3500387506

1480.743008332

1421.3500387506

1482.5929196378

1411.0875221609

1483.5173320808

1408.4199745681

1488.1339621977

1418.5035767347

1482.5929196378

1412.9911750271

1481.6681450548

1418.5035767347

1483.5173320808

1426.0868993126

1481.6681450548

1422.2981351428

1484.441382384

1417.7439697445

1481.6681450548

1413.9424582504

1478.1506989238

1411.0875221609

1482.5929196378

1403.6494349959

1482.5929196378

1403.6494349959

1480.002638213

1401.9298244538

1485.3650705473

1413.9424582504

1480.002638213

1405.5587372445

1481.6681450548

1415.8439382772

1479.0768496383

1414.8933793338

1484.441382384

1415.8439382772

1483.5173320808

1418.5035767347

1482.5929196378

1413.9424582504

1483.5173320808

1415.8439382772

1482.5929196378

1417.7439697445

1485.3650705473

1415.8439382772

1488.1339621977

1427.7899528188

1482.5929196378

1433.4583237658

1484.441382384

1425.14025148

1484.441382384

1424.1932415075

1481.6681450548

1432.5145006243

1481.6681450548

1432.5145006243

1478.1506989238

1426.0868993126

1480.743008332

1438.9253565873

1480.743008332

1423.2458693951

1484.441382384

1424.1932415075

1482.5929196378

1432.5145006243

1485.3650705473

1425.14025148

1482.5929196378

1427.7899528188

1481.6681450548

1429.6808583607

1481.6681450548

1434.2131215382

1481.6681450548

1424.1932415075

1483.5173320808

1431.570315343

1485.3650705473

1422.2981351428

1480.002638213

1421.3500387506

1478.1506989238

1414.8933793338

1482.5929196378

1414.8933793338

1479.0768496383

1435.1562928278

1478.1506989238

1436.0991019775

1478.1506989238

1424.1932415075

1476.297311075

1420.4015802186

1477.2241860693

1433.4583237658

1480.002638213

1437.0415489874

1480.002638213

1431.570315343

1474.4424746666

1433.4583237658

1475.3700739407

1438.9253565873

1473.5145132525

1442.5006002456

1472.7718833806

1434.2131215382

1469.9849571634

1432.5145006243

1467.1947716871

1436.0991019775

1469.9849571634

1436.0991019775

1464.587658

1430.6257679218

1465.3328373368

1432.5145006243

1465.3328373368

1431.570315343

1467.1947716871

1438.9253565873

1465.3328373368

1437.0415489874

1462.7236956663

1426.843956838

1463.6558579031

1428.7355866597

1461.7911712896

1437.9836338573

1461.7911712896

1440.8077156277

1466.2639855819

1441.7483519381

1464.587658

1415.8439382772

1459.9250361165

1439.8667171775

1457.310013294

1451.696832467

1455.440401578

1454.5050525101

1449.0728865176

1443.4405847042

1446.2583652404

1444.3802070228

1449.0728865176

1440.8077156277

1449.8228750722

1442.5006002456

1446.2583652404

1442.5006002456

1453.5693413023

1437.0415489874

1450.7600348396

1437.0415489874

1452.6332679546

1439.8667171775

1451.696832467

1440.8077156277

1450.7600348396

1436.0991019775

1449.8228750722

1436.0991019775

1449.8228750722

1433.4583237658

1451.696832467

1438.9253565873

1448.1350748984

1437.0415489874

1450.7600348396

1433.4583237658

1449.8228750722

1421.3500387506

1448.1350748984

1423.2458693951

1448.1350748984

1425.14025148

1446.2583652404

1416.7941350808

1444.3802070228

1420.4015802186

1448.1350748984

1426.843956838

1449.8228750722

1443.4405847042

1445.3194672015

1440.8077156277

1448.1350748984

1441.7483519381

1446.2583652404

1437.0415489874

1447.1969011394

1444.3802070228

1448.1350748984

1433.4583237658

1449.0728865176

1426.843956838

1447.1969011394

1422.2981351428

1445.3194672015

1418.5035767347

1443.4405847042

1422.2981351428

1442.5006002456

1412.9911750271

1442.5006002456

1412.039529664

1437.9836338573

1414.8933793338

1439.8667171775

1416.7941350808

1440.8077156277

1416.7941350808

1441.7483519381

1422.2981351428

1446.2583652404

1415.8439382772

1440.8077156277

1418.5035767347

1443.4405847042

1400.017769942

1439.8667171775

1373.6767604239

1437.0415489874

1374.6428913828

1442.5006002456

1380.239309546

1439.8667171775

1370.7761947076

1437.9836338573

1380.239309546

1439.8667171775

1390.6277639056

1440.8077156277

1390.6277639056

1447.1969011394

1396.1893152397

1448.1350748984

1400.9739782678

1445.3194672015

1419.4527595466

1443.4405847042

1432.5145006243

1448.1350748984

1430.6257679218

1445.3194672015

1420.4015802186

1442.5006002456

1418.5035767347

1440.8077156277

1410.3256554178

1437.0415489874

1413.9424582504

1437.0415489874

1424.1932415075

1437.0415489874

1420.4015802186

1439.8667171775

1436.0991019775

1437.9836338573

1428.7355866597

1434.2131215382

1421.3500387506

1434.2131215382

1426.0868993126

1432.5145006243

1417.7439697445

1436.0991019775

1421.3500387506

1434.2131215382

1423.2458693951

1432.5145006243

1423.2458693951

1436.0991019775

1419.4527595466

1435.1562928278

1427.7899528188

1437.0415489874

1425.14025148

1437.9836338573

1429.6808583607

1436.0991019775

1439.8667171775

1435.1562928278

1450.7600348396

1437.0415489874

1450.7600348396

1441.7483519381

1456.375388506

1442.5006002456

1456.375388506

1445.3194672015

1446.2583652404

1438.9253565873

1446.2583652404

1440.8077156277

1451.696832467

1444.3802070228

1463.6558579031

1439.8667171775

1467.1947716871

1441.7483519381

1462.7236956663

1442.5006002456

1459.9250361165

1440.8077156277

1454.5050525101

1437.0415489874

1463.6558579031

1437.0415489874

1467.1947716871

1437.0415489874

1458.9914253201

1441.7483519381

1455.440401578

1434.2131215382

1453.5693413023

1435.1562928278

1456.375388506

1436.0991019775

1463.6558579031

1437.0415489874

1459.9250361165

1435.1562928278

1446.2583652404

1435.1562928278

1441.7483519381

1439.8667171775

1436.0991019775

1439.8667171775

1437.0415489874

1436.0991019775

1435.1562928278

1438.9253565873

1435.1562928278

1438.9253565873

1441.7483519381

1440.8077156277

1433.4583237658

1443.4405847042

1417.7439697445

1441.7483519381

1410.3256554178

1438.9253565873

1409.3729960629

1439.8667171775

1412.9911750271

1438.9253565873

1413.9424582504

1439.8667171775

1414.8933793338

1448.1350748984

1401.9298244538

1445.3194672015

1393.5059493763

1445.3194672015

1390.6277639056

1440.8077156277

1387.7463191758

1442.5006002456

1375.6086602019

1444.3802070228

1371.7434120863

1447.1969011394

1367.097465953

1445.3194672015

1364.1895125829

1446.2583652404

1356.6135804883

1444.3802070228

1361.4724821949

1448.1350748984

1355.6407137273

1444.3802070228

1350.9659122872

1444.3802070228

1346.0874550263

1446.2583652404

1345.3060617

1446.2583652404

1346.0874550263

1445.3194672015

1344.3289941162

1445.3194672015

1333.7535886573

1440.8077156277

1332.7722478228

1442.5006002456

1342.373772529

1444.3802070228

1339.4382240989

1449.8228750722

1349.0156158025

1449.8228750722

1349.0156158025

1447.1969011394

1334.734567352

1448.1350748984

1340.4171023822

1447.1969011394

1334.734567352

1447.1969011394

1316.4290885736

1449.8228750722

1312.6738469019

1445.3194672015

1303.9574207318

1444.3802070228

1304.9493360512

1444.3802070228

1317.4164409304

1444.3802070228

1312.6738469019

1449.8228750722

1306.7338710338

1449.8228750722

1300.979501934

1444.3802070228

1291.2289204471

1440.8077156277

1285.4417849296

1446.2583652404

1288.4366518745

1446.2583652404

1283.4433962669

1442.5006002456

1278.6413533533

1445.3194672015

1280.4430972236

1440.8077156277

1275.6358394955

1442.5006002456

1272.6270663787

1437.0415489874

1275.6358394955

1439.8667171775

1270.8202380642

1439.8667171775

1273.6303528909

1437.0415489874

1281.4435590446

1436.0991019775

1386.0158878936

1431.570315343

1310.6953035055

1433.4583237658

1264.7890029426

1435.1562928278

1252.0809736342

1431.570315343

1246.2119220725

1435.1562928278

1247.0221707056

1429.6808583607

1247.0221707056

1430.6257679218

1241.142617087

1429.6808583607

1250.0585388824

1431.570315343

1253.0916478002

1426.843956838

1251.0699373283

1426.843956838

1252.0809736342

1426.843956838

1251.0699373283

1426.843956838

1252.0809736342

1428.7355866597

1254.1019598263

1426.0868993126

1249.0467782967

1425.14025148

1252.0809736342

1422.2981351428

1255.1119097126

1421.3500387506

1248.0346555711

1422.2981351428

1250.0585388824

1423.2458693951

1251.0699373283

1426.0868993126

1244.185286498

1426.843956838

1241.142617087

1426.843956838

1239.1123601135

1425.14025148

1240.1276696702

1426.843956838

1236.2675667706

1428.7355866597

1232.1986511781

1428.7355866597

1229.3469626916

1430.6257679218

1225.2681968939

1431.570315343

1226.2884315532

1432.5145006243

1226.2884315532

1428.7355866597

1221.183636858

1433.4583237658

1222.2053200768

1431.570315343

1223.2266411557

1432.5145006243

1221.183636858

1430.6257679218

1231.1805169302

1430.6257679218

1233.2164232861

1427.7899528188

1225.2681968939

1426.0868993126

1227.3083040725

1426.0868993126

1226.2884315532

1430.6257679218

1223.2266411557

1430.6257679218

1219.3436944715

1429.6808583607

1218.320997261

1427.7899528188

1218.320997261

1426.843956838

1219.3436944715

1427.7899528188

1218.320997261

1429.6808583607

1216.2745164202

1426.843956838

1222.2053200768

1423.2458693951

1221.183636858

1423.2458693951

1221.183636858

1425.14025148

1221.183636858

1425.14025148

1222.2053200768

1422.2981351428

1219.3436944715

1426.843956838

1222.2053200768

1425.14025148

1231.1805169302

1421.3500387506

1231.1805169302

1423.2458693951

1241.142617087

1416.7941350808

1245.1987853552

1418.5035767347

1242.1572023639

1421.3500387506

1244.185286498

1419.4527595466

1246.2119220725

1417.7439697445

1250.0585388824

1419.4527595466

1248.0346555711

1419.4527595466

1252.0809736342

1419.4527595466

1256.9289069153

1419.4527595466

1260.962477654

1415.8439382772

1255.1119097126

1420.4015802186

1251.0699373283

1418.5035767347

1251.0699373283

1416.7941350808

1254.1019598263

1415.8439382772

1255.9196088808

1412.039529664

1252.0809736342

1412.039529664

1250.0585388824

1421.3500387506

1251.0699373283

1421.3500387506

1259.9546281792

1416.7941350808

1262.977090184

1420.4015802186

1264.7890029426

1417.7439697445

1268.8112749166

1420.4015802186

1268.8112749166

1426.0868993126

1277.6398775406

1418.5035767347

1291.2289204471

1420.4015802186

1311.6847562736

1422.2981351428

1324.1208330066

1422.2981351428

1332.7722478228

1418.5035767347

1336.6954383216

1409.3729960629

1341.3956185255

1412.039529664

1343.3515643926

1407.4665909335

1341.3956185255

1409.3729960629

1344.3289941162

1411.0875221609

1340.4171023822

1408.4199745681

1341.3956185255

1409.3729960629

1349.0156158025

1404.6042671902

1355.6407137273

1409.3729960629

1353.888640965

1408.4199745681

1349.0156158025

1408.4199745681

1352.9147602123

1410.3256554178

1348.0399243503

1409.3729960629

1358.5582275906

1413.9424582504

1430.6257679218

1415.8439382772

1439.8667171775

1416.7941350808

1443.4405847042

1417.7439697445

1441.7483519381

1420.4015802186

1427.7899528188

1419.4527595466

1419.4527595466

1421.3500387506

1412.039529664

1418.5035767347

1412.9911750271

1415.8439382772

1417.7439697445

1416.7941350808

1406.5128451589

1411.0875221609

1403.6494349959

1418.5035767347

1397.1469721251

1417.7439697445

1401.9298244538

1417.7439697445

1401.9298244538

1415.8439382772

1391.5875212024

1411.0875221609

1383.1292283493

1413.9424582504

1383.1292283493

1412.039529664

1386.7851133194

1412.9911750271

1378.5037938197

1412.9911750271

1365.1591925128

1410.3256554178

1353.888640965

1412.039529664

1343.3515643926

1413.9424582504

1328.0567708297

1415.8439382772

1329.0398499357

1413.9424582504

1322.1506912556

1413.9424582504

1317.4164409304

1416.7941350808

1312.6738469019

1414.8933793338

1305.7426075661

1412.9911750271

1299.986138055

1408.4199745681

1277.6398775406

1411.0875221609

1265.7951141459

1415.8439382772

1260.962477654

1412.039529664

1257.9378428098

1416.7941350808

1255.9196088808

1415.8439382772

1258.9464165644

1418.5035767347

1248.0346555711

1420.4015802186

1252.0809736342

1413.9424582504

1269.8159375604

1418.5035767347

1269.8159375604

1418.5035767347

1261.969964989

1416.7941350808

1251.0699373283

1416.7941350808

1263.7825295993

1416.7941350808

1276.638039588

1417.7439697445

1285.4417849296

1416.7941350808

1287.4387250327

1416.7941350808

1284.4427716682

1414.8933793338

1287.4387250327

1419.4527595466

1297.9983238772

1414.8933793338

1297.9983238772

1415.8439382772

1291.2289204471

1417.7439697445

1290.232007597

1412.039529664

1283.4433962669

1415.8439382772

1280.4430972236

1417.7439697445

1297.9983238772

1410.3256554178

1291.2289204471

1407.4665909335

1282.4436587257

1411.0875221609

1293.2216597274

1412.039529664

1296.2080525987

1410.3256554178

1288.4366518745

1403.6494349959

1294.2174861577

1403.6494349959

1303.9574207318

1398.1042668707

1299.986138055

1401.9298244538

1303.9574207318

1397.1469721251

1298.992412036

1393.5059493763

1300.979501934

1391.5875212024

1297.0038735784

1393.5059493763

1286.4404360511

1389.6676444689

1297.0038735784

1389.6676444689

1306.7338710338

1388.7071628923

1284.4427716682

1385.0540301854

1297.9983238772

1387.7463191758

1304.9493360512

1382.1662842215

1319.3900592243

1387.7463191758

1315.4413740769

1385.0540301854

1317.4164409304

1382.1662842215

1309.7054885974

1382.1662842215

1293.2216597274

1381.2029779537

1297.9983238772

1379.2752789985

1302.9651432724

1379.2752789985

1293.2216597274

1379.2752789985

1290.232007597

1382.1662842215

1295.2129504482

1385.0540301854

1306.7338710338

1383.1292283493

1285.4417849296

1383.1292283493

1297.0038735784

1385.0540301854

1288.4366518745

1386.0158878936

1302.9651432724

1385.0540301854

1312.6738469019

1381.2029779537

1320.3763251614

1379.2752789985

1320.3763251614

1377.5391114203

1344.3289941162

1381.2029779537

1344.3289941162

1386.0158878936

1327.0733295837

1384.0918103373

1331.7905448483

1383.1292283493

1324.1208330066

1376.574066881

1329.0398499357

1375.6086602019

1314.4532974403

1379.2752789985

1296.2080525987

1379.2752789985

1311.6847562736

1374.6428913828

1310.6953035055

1377.5391114203

1319.3900592243

1375.6086602019

1333.7535886573

1375.6086602019

1343.3515643926

1374.6428913828

1356.6135804883

1377.5391114203

1342.373772529

1374.6428913828

1345.3060617

1373.6767604239

1360.5014261334

1371.7434120863

1355.6407137273

1372.710267325

1345.3060617

1376.574066881

1342.373772529

1382.1662842215

1349.0156158025

1381.2029779537

1351.9405173197

1379.2752789985

1355.6407137273

1384.0918103373

1361.4724821949

1384.0918103373

1370.7761947076

1382.1662842215

1360.5014261334

1381.2029779537

1349.9909451148

1383.1292283493

1348.0399243503

1381.2029779537

1351.9405173197

1380.239309546

1356.6135804883

1383.1292283493

1361.4724821949

1376.574066881

1357.5860851094

1380.239309546

1346.0874550263

1377.5391114203

1336.6954383216

1377.5391114203

1353.888640965

1372.710267325

1344.3289941162

1373.6767604239

1349.0156158025

1373.6767604239

1360.5014261334

1379.2752789985

1351.9405173197

1372.710267325

1352.9147602123

1376.574066881

1365.1591925128

1377.5391114203

1351.9405173197

1380.239309546

1358.5582275906

1379.2752789985

1357.5860851094

1382.1662842215

1352.9147602123

1381.2029779537

1353.888640965

1382.1662842215

1345.3060617

1383.1292283493

1336.6954383216

1383.1292283493

1349.0156158025

1378.5037938197

1346.0874550263

1379.2752789985

1352.9147602123

1384.0918103373

1335.7151839067

1390.6277639056

1339.4382240989

1386.7851133194

1335.7151839067

1390.6277639056

1335.7151839067

1386.7851133194

1326.0895261979

1391.5875212024

1329.8260524798

1390.6277639056

1330.808479734

1393.5059493763

1329.0398499357

1394.4646202534

1327.0733295837

1386.7851133194

1332.7722478228

1389.6676444689

1326.0895261979

1389.6676444689

1315.4413740769

1394.4646202534

1310.6953035055

1390.6277639056

1313.4648586638

1387.7463191758

1312.6738469019

1388.7071628923

1312.6738469019

1389.6676444689

1304.9493360512

1385.0540301854

1301.9725036732

1390.6277639056

1297.0038735784

1391.5875212024

1297.0038735784

1389.6676444689

1294.2174861577

1384.0918103373

1299.986138055

1383.1292283493

1295.2129504482

1384.0918103373

1301.9725036732

1379.2752789985

1297.0038735784

1380.239309546

1298.992412036

1385.0540301854

1299.986138055

1384.0918103373

1302.9651432724

1383.1292283493

1310.6953035055

1381.2029779537

1307.7247723615

1378.5037938197

1302.9651432724

1377.5391114203

1312.6738469019

1375.6086602019

1319.3900592243

1373.6767604239

1318.4034311473

1376.574066881

1323.135943201

1380.239309546

1319.3900592243

1377.5391114203

1318.4034311473

1373.6767604239

1313.4648586638

1373.6767604239

1309.7054885974

1373.6767604239

1303.9574207318

1371.7434120863

1297.9983238772

1370.002160064

1308.7153115494

1372.710267325

1301.9725036732

1372.710267325

1308.7153115494

1376.574066881

1323.135943201

1378.5037938197

1334.734567352

1374.6428913828

1351.9405173197

1377.5391114203

1371.7434120863

1377.5391114203

1355.6407137273

1377.5391114203

1345.3060617

1375.6086602019

1361.4724821949

1378.5037938197

1365.1591925128

1376.574066881

1370.002160064

1375.6086602019

1370.7761947076

1375.6086602019

1384.0918103373

1377.5391114203

1398.1042668707

1379.2752789985

1409.3729960629

1378.5037938197

1409.3729960629

1376.574066881

1411.0875221609

1375.6086602019

1379.2752789985

1370.002160064

1362.2490663034

1373.6767604239

1334.734567352

1374.6428913828

1327.0733295837

1381.2029779537

1316.4290885736

1386.0158878936

1310.6953035055

1383.1292283493

1298.992412036

1388.7071628923

1298.992412036

1386.0158878936

1287.4387250327

1383.1292283493

1277.6398775406

1382.1662842215

1272.6270663787

1387.7463191758

1267.8062501329

1386.0158878936

1272.6270663787

1385.0540301854

1285.4417849296

1383.1292283493

1288.4366518745

1387.7463191758

1283.4433962669

1387.7463191758

1284.4427716682

1392.5469163593

1271.8241764282

1387.7463191758

1289.2347326071

1378.5037938197

1283.4433962669

1378.5037938197

1282.4436587257

1380.239309546

1286.4404360511

1379.2752789985

1286.4404360511

1384.0918103373

1296.2080525987

1385.0540301854

1278.6413533533

1386.0158878936

1276.638039588

1383.1292283493

1284.4427716682

1389.6676444689

1289.2347326071

1388.7071628923

1292.2254711572

1385.0540301854

1296.2080525987

1390.6277639056

1301.9725036732

1393.5059493763

1298.992412036

1387.7463191758

1302.9651432724

1392.5469163593

1309.7054885974

1393.5059493763

1300.979501934

1393.5059493763

1298.992412036

1394.4646202534

1301.9725036732

1390.6277639056

1304.9493360512

1390.6277639056

1304.9493360512

1389.6676444689

1306.7338710338

1389.6676444689

1310.6953035055

1386.7851133194

1317.4164409304

1393.5059493763

1315.4413740769

1387.7463191758

1305.7426075661

1390.6277639056

1303.9574207318

1386.7851133194

1309.7054885974

1390.6277639056

1309.7054885974

1392.5469163593

1327.0733295837

1389.6676444689

1333.7535886573

1387.7463191758

1352.9147602123

1394.4646202534

1361.4724821949

1393.5059493763

1368.0660594632

1396.1893152397

1352.9147602123

1395.2312962144

1377.5391114203

1396.1893152397

1367.097465953

1396.1893152397

1346.0874550263

1393.5059493763

1332.7722478228

1394.4646202534

1344.3289941162

1393.5059493763

1343.3515643926

1394.4646202534

1342.373772529

1387.7463191758

1319.3900592243

1389.6676444689

1300.979501934

1390.6277639056

1292.2254711572

1391.5875212024

1271.8241764282

1387.7463191758

1276.638039588

1388.7071628923

1268.8112749166

1386.7851133194

1271.8241764282

1386.7851133194

1273.6303528909

1384.0918103373

1273.6303528909

1383.1292283493

1270.8202380642

1375.6086602019

1272.6270663787

1381.2029779537

1267.8062501329

1383.1292283493

1264.7890029426

1383.1292283493

1261.969964989

1384.0918103373

1264.7890029426

1388.7071628923

1266.8008632094

1384.0918103373

1267.8062501329

1385.0540301854

1267.8062501329

1386.7851133194

1248.0346555711

1382.1662842215

1241.142617087

1381.2029779537

1243.1714255009

1379.2752789985

1246.2119220725

1381.2029779537

1245.1987853552

1384.0918103373

1240.1276696702

1382.1662842215

1244.185286498

1385.0540301854

1249.0467782967

1386.7851133194

1260.962477654

1390.6277639056

1263.7825295993

1396.1893152397

1266.8008632094

1395.2312962144

1261.969964989

1395.2312962144

1257.9378428098

1400.017769942

1253.0916478002

1400.9739782678

1249.0467782967

1394.4646202534

1248.0346555711

1390.6277639056

1250.0585388824

1396.1893152397

1250.0585388824

1394.4646202534

1260.962477654

1394.4646202534

1257.9378428098

1390.6277639056

1255.1119097126

1395.2312962144

1255.1119097126

1392.5469163593

1250.0585388824

1391.5875212024

1246.2119220725

1393.5059493763

1242.1572023639

1388.7071628923

1241.142617087

1386.7851133194

1243.1714255009

1387.7463191758

1245.1987853552

1392.5469163593

1243.1714255009

1390.6277639056

1260.962477654

1391.5875212024

1257.9378428098

1393.5059493763

1255.1119097126

1390.6277639056

1274.6332772631

1390.6277639056

1280.4430972236

1386.7851133194

1291.2289204471

1387.7463191758

1291.2289204471

1389.6676444689

1300.979501934

1389.6676444689

1300.979501934

1385.0540301854

1290.232007597

1391.5875212024

1295.2129504482

1388.7071628923

1306.7338710338

1390.6277639056

1313.4648586638

1389.6676444689

1319.3900592243

1386.7851133194

1325.1053606722

1384.0918103373

1307.7247723615

1386.0158878936

1311.6847562736

1388.7071628923

1309.7054885974

1386.0158878936

1308.7153115494

1386.7851133194

1328.0567708297

1395.2312962144

1297.9983238772

1394.4646202534

1298.992412036

1394.4646202534

1297.0038735784

1394.4646202534

1307.7247723615

1398.1042668707

1309.7054885974

1400.9739782678

1312.6738469019

1399.0611994763

1306.7338710338

1390.6277639056

1292.2254711572

1391.5875212024

1286.4404360511

1396.1893152397

1287.4387250327

1391.5875212024

1293.2216597274

1391.5875212024

1290.232007597

1385.0540301854

1289.2347326071

1386.7851133194

1282.4436587257

1385.0540301854

1280.4430972236

1385.0540301854

1270.8202380642

1381.2029779537

1265.7951141459

1381.2029779537

1267.8062501329

1383.1292283493

1272.6270663787

1380.239309546

1277.6398775406

1377.5391114203

1274.6332772631

1385.0540301854

1264.7890029426

1386.7851133194

1260.962477654

1376.574066881

1260.962477654

1381.2029779537

1278.6413533533

1378.5037938197

1274.6332772631

1380.239309546

1265.7951141459

1380.239309546

1265.7951141459

1374.6428913828

1273.6303528909

1381.2029779537

1271.8241764282

1380.239309546

1268.8112749166

1384.0918103373

1264.7890029426

1382.1662842215

1261.969964989

1380.239309546

1266.8008632094

1376.574066881

1269.8159375604

1373.6767604239

1264.7890029426

1365.1591925128

1273.6303528909

1373.6767604239

1279.6424670261

1378.5037938197

1276.638039588

1374.6428913828

1276.638039588

1372.710267325

1284.4427716682

1369.0342908336

1290.232007597

1369.0342908336

1279.6424670261

1374.6428913828

1287.4387250327

1368.0660594632

1287.4387250327

1368.0660594632

1283.4433962669

1371.7434120863

1290.232007597

1370.002160064

1290.232007597

1373.6767604239

1289.2347326071

1366.1285103029

1291.2289204471

1370.002160064

1285.4417849296

1367.097465953

1282.4436587257

1367.097465953

1285.4417849296

1373.6767604239

1283.4433962669

1371.7434120863

1278.6413533533

1373.6767604239

1284.4427716682

1370.002160064

1278.6413533533

1359.5300079319

1288.4366518745

1368.0660594632

1280.4430972236

1367.097465953

1286.4404360511

1364.1895125829

1283.4433962669

1358.5582275906

1286.4404360511

1359.5300079319

1295.2129504482

1359.5300079319

1300.979501934

1364.1895125829

1296.2080525987

1364.1895125829

1301.9725036732

1365.1591925128

1301.9725036732

1367.097465953

1306.7338710338

1368.0660594632

1308.7153115494

1365.1591925128

1307.7247723615

1363.2194705131

1305.7426075661

1361.4724821949

1303.9574207318

1356.6135804883

1309.7054885974

1357.5860851094

1307.7247723615

1357.5860851094

1301.9725036732

1359.5300079319

1307.7247723615

1362.2490663034

1323.135943201

1365.1591925128

1324.1208330066

1364.1895125829

1323.135943201

1362.2490663034

1315.4413740769

1365.1591925128

1312.6738469019

1368.0660594632

1310.6953035055

1363.2194705131

1304.9493360512

1358.5582275906

1304.9493360512

1362.2490663034

1307.7247723615

1356.6135804883

1320.3763251614

1354.6674848264

1320.3763251614

1363.2194705131

1322.1506912556

1360.5014261334

1317.4164409304

1359.5300079319

1320.3763251614

1351.9405173197

1316.4290885736

1359.5300079319

1325.1053606722

1359.5300079319

1316.4290885736

1360.5014261334

1318.4034311473

1356.6135804883

1329.8260524798

1357.5860851094

1332.7722478228

1355.6407137273

1333.7535886573

1353.888640965

1337.6753305965

1351.9405173197

1334.734567352

1351.9405173197

1344.3289941162

1355.6407137273

1348.0399243503

1349.9909451148

1352.9147602123

1350.9659122872

1348.0399243503

1347.0638707583

1351.9405173197

1346.0874550263

1345.3060617

1348.0399243503

1348.0399243503

1349.0156158025

1352.9147602123

1352.9147602123

1357.5860851094

1352.9147602123

1356.6135804883

1352.9147602123

1353.888640965

1350.9659122872

1354.6674848264

1351.9405173197

1353.888640965

1349.0156158025

1355.6407137273

1350.9659122872

1355.6407137273

1349.9909451148

1353.888640965

1357.5860851094

1355.6407137273

1350.9659122872

1354.6674848264

1353.888640965

1353.888640965

1348.0399243503

1356.6135804883

1354.6674848264

1359.5300079319

1359.5300079319

1361.4724821949

1359.5300079319

1359.5300079319

1358.5582275906

1357.5860851094

1362.2490663034

1361.4724821949

1355.6407137273

1361.4724821949

1357.5860851094

1360.5014261334

1357.5860851094

1355.6407137273

1361.4724821949

1358.5582275906

1361.4724821949

1362.2490663034

1366.1285103029

1357.5860851094

1362.2490663034

1349.0156158025

1362.2490663034

1337.6753305965

1364.1895125829

1334.734567352

1365.1591925128

1326.0895261979

1366.1285103029

1320.3763251614

1363.2194705131

1319.3900592243

1365.1591925128

1318.4034311473

1358.5582275906

1323.135943201

1361.4724821949

1328.0567708297

1360.5014261334

1331.7905448483

1363.2194705131

1332.7722478228

1363.2194705131

1339.4382240989

1366.1285103029

1322.1506912556

1365.1591925128

1317.4164409304

1368.0660594632

1310.6953035055

1364.1895125829

1319.3900592243

1370.7761947076

1306.7338710338

1363.2194705131

1304.9493360512

1370.7761947076

1306.7338710338

1374.6428913828

1304.9493360512

1370.7761947076

1306.7338710338

1364.1895125829

1305.7426075661

1367.097465953

1306.7338710338

1368.0660594632

1303.9574207318

1368.0660594632

1303.9574207318

1364.1895125829

1312.6738469019

1361.4724821949

1320.3763251614

1358.5582275906

1320.3763251614

1364.1895125829

1313.4648586638

1362.2490663034

1311.6847562736

1354.6674848264

1297.9983238772

1360.5014261334

1306.7338710338

1361.4724821949

1304.9493360512

1360.5014261334

1305.7426075661

1358.5582275906

1316.4290885736

1355.6407137273

1332.7722478228

1361.4724821949

1322.1506912556

1366.1285103029

1318.4034311473

1367.097465953

1325.1053606722

1372.710267325

1330.808479734

1369.0342908336

1328.0567708297

1370.002160064

1342.373772529

1371.7434120863

1326.0895261979

1365.1591925128

1339.4382240989

1366.1285103029

1334.734567352

1372.710267325

1330.808479734

1370.7761947076

1321.3622289586

1374.6428913828

1329.0398499357

1368.0660594632

1335.7151839067

1367.097465953

1330.808479734

1369.0342908336

1330.808479734

1370.002160064

1327.0733295837

1367.097465953

1330.808479734

1364.1895125829

1331.7905448483

1358.5582275906

1322.1506912556

1359.5300079319

1318.4034311473

1365.1591925128

1313.4648586638

1365.1591925128

1309.7054885974

1359.5300079319

1304.9493360512

1361.4724821949

1302.9651432724

1359.5300079319

1307.7247723615

1355.6407137273

1310.6953035055

1361.4724821949

1312.6738469019

1363.2194705131

1308.7153115494

1361.4724821949

1313.4648586638

1368.0660594632

1314.4532974403

1361.4724821949

1310.6953035055

1361.4724821949

1304.9493360512

1363.2194705131

1307.7247723615

1366.1285103029

1309.7054885974

1362.2490663034

1305.7426075661

1363.2194705131

1310.6953035055

1360.5014261334

1306.7338710338

1363.2194705131

1303.9574207318

1365.1591925128

1302.9651432724

1356.6135804883

1333.7535886573

1357.5860851094

1345.3060617

1363.2194705131

1342.373772529

1365.1591925128

1339.4382240989

1363.2194705131

1338.4589836758

1355.6407137273

1349.9909451148

1357.5860851094

1348.0399243503

1354.6674848264

1364.1895125829

1356.6135804883

1358.5582275906

1353.888640965

1374.6428913828

1355.6407137273

1356.6135804883

1355.6407137273

1347.0638707583

1352.9147602123

1350.9659122872

1349.9909451148

1346.0874550263

1350.9659122872

1352.9147602123

1363.2194705131

1349.0156158025

1360.5014261334

1348.0399243503

1360.5014261334

1345.3060617

1357.5860851094

1353.888640965

1355.6407137273

1351.9405173197

1358.5582275906

1349.0156158025

1354.6674848264

1345.3060617

1355.6407137273

1349.9909451148

1353.888640965

1348.0399243503

1359.5300079319

1350.9659122872

1356.6135804883

1355.6407137273

1360.5014261334

1349.9909451148

1358.5582275906

1357.5860851094

1360.5014261334

1349.0156158025

1360.5014261334

1337.6753305965

1360.5014261334

1339.4382240989

1362.2490663034

1329.8260524798

1359.5300079319

1326.0895261979

1359.5300079319

1329.8260524798

1356.6135804883

1313.4648586638

1358.5582275906

1316.4290885736

1360.5014261334

1325.1053606722

1364.1895125829

1319.3900592243

1365.1591925128

1322.1506912556

1363.2194705131

1324.1208330066

1360.5014261334

1320.3763251614

1358.5582275906

1316.4290885736

1353.888640965

1319.3900592243

1359.5300079319

1319.3900592243

1357.5860851094

1314.4532974403

1356.6135804883

1316.4290885736

1353.888640965

1315.4413740769

1350.9659122872

1319.3900592243

1351.9405173197

1310.6953035055

1350.9659122872

1320.3763251614

1349.0156158025

1311.6847562736

1349.0156158025

1298.992412036

1350.9659122872

1303.9574207318

1350.9659122872

1314.4532974403

1348.0399243503

1312.6738469019

1347.0638707583

1319.3900592243

1350.9659122872

1327.0733295837

1348.0399243503

1321.3622289586

1348.0399243503

1324.1208330066

1347.0638707583

1316.4290885736

1345.3060617

1303.9574207318

1341.3956185255

1296.2080525987

1341.3956185255

1296.2080525987

1340.4171023822

1288.4366518745

1339.4382240989

1277.6398775406

1335.7151839067

1272.6270663787

1346.0874550263

1261.969964989

1347.0638707583

1255.9196088808

1350.9659122872

1265.7951141459

1356.6135804883

1269.8159375604

1358.5582275906

1263.7825295993

1362.2490663034

1270.8202380642

1356.6135804883

1255.1119097126

1361.4724821949

1260.962477654

1358.5582275906

1247.0221707056

1361.4724821949

1251.0699373283

1369.0342908336

1258.9464165644

1363.2194705131

1253.0916478002

1357.5860851094

1256.9289069153

1360.5014261334

1256.9289069153

1358.5582275906

1251.0699373283

1356.6135804883

1256.9289069153

1355.6407137273

1253.0916478002

1357.5860851094

1260.962477654

1360.5014261334

1259.9546281792

1354.6674848264

1260.962477654

1354.6674848264

1255.9196088808

1358.5582275906

1248.0346555711

1369.0342908336

1252.0809736342

1364.1895125829

1248.0346555711

1368.0660594632

1254.1019598263

1364.1895125829

1270.8202380642

1367.097465953

1270.8202380642

1364.1895125829

1274.6332772631

1362.2490663034

1272.6270663787

1361.4724821949

1260.962477654

1365.1591925128

1251.0699373283

1361.4724821949

1248.0346555711

1363.2194705131

1249.0467782967

1363.2194705131

1248.0346555711

1361.4724821949

1249.0467782967

1358.5582275906

1252.0809736342

1357.5860851094

1242.1572023639

1354.6674848264

1243.1714255009

1352.9147602123

1234.2338332541

1349.0156158025

1238.096688417

1347.0638707583

1229.3469626916

1350.9659122872

1219.3436944715

1348.0399243503

1224.2476000948

1340.4171023822

1227.3083040725

1337.6753305965

1237.283890319

1333.7535886573

1226.2884315532

1328.0567708297

1224.2476000948

1323.135943201

1236.2675667706

1333.7535886573

1231.1805169302

1343.3515643926

1236.2675667706

1347.0638707583

1238.096688417

1343.3515643926

1248.0346555711

1347.0638707583

1251.0699373283

1342.373772529

1275.6358394955

1340.4171023822

1287.4387250327

1335.7151839067

1297.9983238772

1337.6753305965

1303.9574207318

1342.373772529

1286.4404360511

1346.0874550263

1279.6424670261

1341.3956185255

1267.8062501329

1341.3956185255

1256.9289069153

1341.3956185255

1267.8062501329

1339.4382240989

1283.4433962669

1344.3289941162

1273.6303528909

1342.373772529

1234.2338332541

1335.7151839067

1232.1986511781

1328.0567708297

1231.1805169302

1329.8260524798

1224.2476000948

1330.808479734

1253.0916478002

1332.7722478228

1258.9464165644

1332.7722478228

1216.2745164202

1331.7905448483

1182.0913288803

1324.1208330066

1189.1252103184

1326.0895261979

1199.232818285

1324.1208330066

1208.2794001545

1321.3622289586

1216.2745164202

1323.135943201

1185.1965760651

1324.1208330066

1122.8948512086

1317.4164409304

1127.9600684267

1319.3900592243

1122.8948512086

1321.3622289586

1143.5252967452

1314.4532974403

1143.5252967452

1314.4532974403

1114.6460776749

1308.7153115494

1120.7818814832

1310.6953035055

1072.8570997215

1309.7054885974

1025.5060514436

1308.7153115494

992.2329610721

1307.7247723615

975.0286762714

1311.6847562736

980.552466825

1315.4413740769

1029.6416558897

1324.1208330066

1090.6213828318

1325.1053606722

1138.2756460921

1331.7905448483

1155.6696194315

1327.0733295837

1152.5335179276

1329.8260524798

1140.376592773

1335.7151839067

1119.7248534106

1329.0398499357

1091.6883335375

1332.7722478228

1097.0176549676

1336.6954383216

1131.1215921512

1333.7535886573

1129.0142718081

1332.7722478228

1136.1732508515

1337.6753305965

1139.3263005025

1329.0398499357

1148.5564438419

1329.8260524798

1146.4611465433

1331.7905448483

1139.3263005025

1313.4648586638

1144.3644006852

1307.7247723615

1140.376592773

1315.4413740769

1116.7632482232

1316.4290885736

1114.6460776749

1325.1053606722

1145.4129546842

1317.4164409304

1186.2309341803

1311.6847562736

1197.1728658401

1315.4413740769

1195.3176701213

1313.4648586638

1190.158192302

1319.3900592243

1167.9733299577

1323.135943201

1153.5792472355

1321.3622289586

1136.1732508515

1328.0567708297

1131.1215921512

1321.3622289586

1134.2798566166

1315.4413740769

1126.9055029054

1322.1506912556

1140.376592773

1329.0398499357

1135.1215100214

1297.9983238772

1142.4760908944

1297.0038735784

1150.6502925809

1312.6738469019

1174.0024328674

1301.9725036732

1164.8500482061

1305.7426075661

1090.6213828318

1310.6953035055

1007.3786723891

1300.979501934

964.1757844012

1298.992412036

953.5106576531

1287.4387250327

935.8849695556

1280.4430972236

928.2714035449

1279.6424670261

909.6150105318

1279.6424670261

908.4879446036

1281.4435590446

910.7417143202

1279.6424670261

934.990125043

1271.8241764282

938.1210668453

1282.4436587257

925.1315386156

1304.9493360512

919.5175752281

1318.4034311473

933.8712434764

1329.8260524798

959.9581625117

1329.8260524798

963.2882985712

1331.7905448483

966.3934849842

1320.3763251614

969.7173198096

1304.9493360512

945.7129624047

1313.4648586638

930.5124259372

1300.979501934

924.0094702179

1291.2289204471

909.6150105318

1297.9983238772

903.0729871607

1293.2216597274

893.1238947307

1291.2289204471

909.6150105318

1297.9983238772

921.7642470028

1279.6424670261

932.7519997699

1270.8202380642

946.8280052885

1258.9464165644

957.7362611058

1251.0699373283

957.7362611058

1243.1714255009

950.1709611003

1228.327814452

937.0031992704

1244.185286498

922.8870396803

1236.2675667706

905.3302334202

1218.320997261

904.2017913604

1208.2794001545

905.3302334202

1219.3436944715

903.0729871607

1243.1714255009

907.5860311203

1239.1123601135

903.0729871607

1235.2508810823

898.5541489627

1219.3436944715

912.9940354772

1230.1620205425

934.990125043

1217.2979379106

933.8712434764

1249.0467782967

935.8849695556

1230.1620205425

955.5129111404

1232.1986511781

933.8712434764

1231.1805169302

927.1503491389

1233.2164232861

908.4879446036

1244.185286498

893.1238947307

1235.2508810823

883.1467581872

1228.327814452

870.8637617247

1247.0221707056

865.3910936681

1255.1119097126

865.3910936681

1240.1276696702

856.4802125217

1184.1618558101

842.9577708788

1164.8500482061

833.9915257853

1162.7660496723

830.7674995444

1180.0193533909

848.6937754108

1178.9828224364

859.9100819083

1172.9638015015

828.4628853865

1189.1252103184

776.2261038962

1195.3176701213

756.7713807277

1199.232818285

745.2392158138

1202.320030903

754.4207023752

1231.1805169302

775.0569573122

1236.2675667706

787.6645759765

1227.3083040725

791.1591959764

1185.1965760651

805.8010088667

1157.7585430679

818.3053742042

1153.5792472355

823.8493113921

1170.8854523499

836.2926634001

1164.8500482061

847.5472987842

1144.3644006852

861.966439096

1135.1215100214

867.6723860167

1130.0681130496

870.8637617247

1130.0681130496

874.2799422233

1132.1747091129

877.6928634628

1122.8948512086

884.2819360491

1126.9055029054

884.2819360491

1127.9600684267

897.6496860146

1141.4265229036

897.6496860146

1144.3644006852

900.8142923415

1132.1747091129

836.2926634001

1122.8948512086

797.9062194992

1135.1215100214

808.1198189085

1155.6696194315

818.3053742042

1139.3263005025

847.5472987842

1109.3468138562

846.4004600177

1094.8870128152

844.105696065

1094.8870128152

845.2532591113

1098.0824328339

854.1918222312

1097.0176549676

869.9522298057

1103.1883256049

878.8297795962

1112.5274585671

894.2558857615

1127.9600684267

899.6844017221

1142.4760908944

903.0729871607

1134.2798566166

903.0729871607

1127.9600684267

895.3875146524

1118.6674631982

873.1415775303

1110.4073908997

853.0470838761

1109.3468138562

850.9856422443

1102.1252860101

851.901983381

1088.699958969

840.8905929511

1080.3602303793

835.1422756626

1070.9248551186

829.6153735354

1066.6267774006

832.840413768

1062.5382366553

832.840413768

1053.0499599988

839.7416537732

1056.0719990919

835.1422756626

1058.2288601726

838.5923524554

1062.5382366553

850.9856422443

1065.5513526214

869.9522298057

1075.0026620375

886.5512053532

1062.5382366553

890.8588262493

1057.1506107022

896.5187814034

1057.1506107022

901.943820821

1056.0719990919

907.5860311203

1050.8896223751

903.0729871607

1033.9892743453

901.943820821

1017.0007959508

911.8680559686

1007.3786723891

921.7642470028

1001.8990629027

916.3698011635

1004.0919931169

922.8870396803

1002.9957090797

934.990125043

1004.0919931169

975.0286762714

1001.8990629027

997.7285047139

1017.0007959508

1001.8990629027

1001.8990629027

1009.5679812044

1014.816412238

1010.4432991338

1026.594875399

1004.0919931169

1040.2830290901

1013.7236771718

1045.6989019551

1022.2374067382

1063.6146754262

1037.0291596925

1067.70184004

1046.5646014489

1070.9248551186

1045.6989019551

1073.9300619494

1054.9930253417

1062.5382366553

1058.2288601726

1046.5646014489

1049.8089103534

1047.6463998903

1050.8896223751

1029.6416558897

1054.9930253417

1025.5060514436

1061.4614357445

1017.0007959508

1057.1506107022

1007.3786723891

1039.1987680975

1012.6305799657

1028.5538459261

1028.5538459261

1029.6416558897

1026.594875399

1013.7236771718

1014.816412238

1024.4168653484

1013.7236771718

1036.1609107338

1018.0924445973

1035.0752736095

1018.0924445973

1049.8089103534

1017.0007959508

1047.6463998903

1013.7236771718

1027.6833372144

1017.0007959508

1026.594875399

1017.0007959508

1031.8161893973

1017.0007959508

1027.6833372144

1028.5538459261

1014.816412238

1036.1609107338

1024.4168653484

1024.4168653484

1028.5538459261

1015.9087851643

1040.2830290901

1015.9087851643

1027.6833372144

1020.0564995685

1029.6416558897

1024.4168653484

1040.2830290901

1032.9029129413

1039.1987680975

1036.1609107338

1023.3273171133

1040.2830290901

1002.9957090797

1057.1506107022

996.6301202654

1059.3067475031

995.5313736769

1030.7291037135

1002.9957090797

1025.5060514436

1004.0919931169

1044.6164516619

1000.8020545857

1048.7278361918

1001.8990629027

1037.0291596925

997.7285047139

1032.9029129413

997.7285047139

1044.6164516619

1010.4432991338

1051.9699722569

1024.4168653484

1040.2830290901

1018.9655027738

1035.0752736095

1005.1879150142

1035.0752736095

988.0502929253

1035.0752736095

979.4484329941

1041.3669279429

983.6418349674

1059.3067475031

986.9487216457

1050.8896223751

991.3528339249

1054.9930253417

993.3327940803

1059.3067475031

1002.9957090797

1061.4614357445

1011.5371206197

1060.3842726938

1028.5538459261

1059.3067475031

1044.6164516619

1054.9930253417

1058.2288601726

1050.8896223751

1067.70184004

1048.7278361918

1068.7765405394

1043.5336392288

1063.6146754262

1044.6164516619

1042.4504646558

1041.3669279429

1039.1987680975

1038.1141449649

1046.5646014489

1033.9892743453

1049.8089103534

1067.70184004

1060.3842726938

1113.586949191

1069.850878899

1104.2510030598

1078.2182894623

1090.6213828318

1073.9300619494

1099.1468485603

1082.2867386862

1114.6460776749

1087.6319942716

1109.3468138562

1097.0176549676

1104.2510030598

1099.1468485603

1098.0824328339

1095.9525149613

1090.6213828318

1098.0824328339

1083.3565140831

1101.0618842753

1071.9984691984

1095.9525149613

1066.6267774006

1095.9525149613

1066.6267774006

1094.8870128152

1066.6267774006

1095.9525149613

1068.7765405394

1079.2894409907

1065.5513526214

1076.0748999856

1085.4949784571

1054.1295856008

1076.0748999856

1027.6833372144

1078.2182894623

1010.4432991338

1082.2867386862

1004.0919931169

1094.8870128152

1000.8020545857

1119.7248534106

1002.9957090797

1133.2274639347

999.9241871914

1157.7585430679

997.7285047139

1169.8457345644

988.0502929253

1171.9248079957

979.4484329941

1177.1161541257

971.9313989937

1185.1965760651

964.1757844012

1189.1252103184

954.4006929479

1184.1618558101

950.1709611003

1201.2913221702

950.1709611003

1203.3483774959

957.7362611058

1203.3483774959

978.3440370232

1186.2309341803

984.7444926667

1174.0024328674

981.656138516

1161.7235071955

990.2523490649

1160.8892124734

986.9487216457

1169.0136995952

995.5313736769

1171.9248079957

1002.9957090797

1150.6502925809

1021.1471342233

1151.6966737406

1018.9655027738

1137.2246295417

1013.7236771718

1120.7818814832

1022.2374067382

1121.8385474159

1012.6305799657

1117.6097108458

1001.8990629027

1120.7818814832

1009.5679812044

1129.0142718081

1023.3273171133

1138.2756460921

1007.3786723891

1142.4760908944

1005.1879150142

1147.5089762626

1021.1471342233

1141.4265229036

1035.0752736095

1131.1215921512

1035.0752736095

1131.1215921512

1025.5060514436

1121.8385474159

1024.4168653484

1121.8385474159

1018.9655027738

1120.7818814832

1030.7291037135

1122.8948512086

1033.9892743453

1115.704844019

1042.4504646558

1101.0618842753

1045.6989019551

1097.0176549676

1043.5336392288

1090.6213828318

1035.0752736095

1095.9525149613

1035.0752736095

1091.6883335375

1039.1987680975

1103.1883256049

1041.3669279429

1103.1883256049

1050.8896223751

1104.2510030598

1041.3669279429

1102.1252860101

1035.0752736095

1108.2858746727

1040.2830290901

1109.3468138562

1038.1141449649

1108.2858746727

1029.6416558897

1112.5274585671

1025.5060514436

1110.4073908997

1031.8161893973

1114.6460776749

1050.8896223751

1113.586949191

1065.5513526214

1109.3468138562

1087.6319942716

1103.1883256049

1102.1252860101

1105.3133183749

1120.7818814832

1109.3468138562

1127.9600684267

1110.4073908997

1116.7632482232

1108.2858746727

1072.8570997215

1109.3468138562

1051.9699722569

1111.4676058034

1038.1141449649

1114.6460776749

1025.5060514436

1112.5274585671

1025.5060514436

1115.704844019

1045.6989019551

1106.37527155

1021.1471342233

1104.2510030598

994.4322649485

1099.9981204007

1002.9957090797

1099.9981204007

1011.5371206197

1101.0618842753

1010.4432991338

1101.0618842753

1012.6305799657

1098.0824328339

1018.0924445973

1095.9525149613

1020.0564995685

1092.7549221033

1018.0924445973

1089.7675615265

1020.0564995685

1089.7675615265

1029.6416558897

1088.699958969

1041.3669279429

1089.7675615265

1029.6416558897

1088.699958969

1028.5538459261

1090.6213828318

1033.9892743453

1092.7549221033

1038.1141449649

1097.0176549676

1018.9655027738

1094.8870128152

1009.5679812044

1094.8870128152

973.922831741

1094.8870128152

953.5106576531

1094.8870128152

879.7390517622

1097.0176549676

915.2449080746

1099.1468485603

934.990125043

1106.37527155

900.8142923415

1105.3133183749

890.8588262493

1105.3133183749

885.4167517711

1106.37527155

832.840413768

1104.2510030598

821.7713127244

1107.4368625853

882.0112181854

1105.3133183749

921.7642470028

1106.37527155

857.6238644572

1102.1252860101

837.4426889977

1106.37527155

797.9062194992

1104.2510030598

863.1083527599

1108.2858746727

879.7390517622

1112.5274585671

734.8541648927

1110.4073908997

648.5906092963

1108.2858746727

604.6288199299

1116.7632482232

582.1016909134

1116.7632482232

571.2845056985

1114.6460776749

563.8930731316

1125.0063723745

705.9125698322

1133.2274639347

847.5472987842

1144.3644006852

904.2017913604

1144.3644006852

939.2385722803

1140.376592773

954.4006929479

1135.1215100214

965.2848157626

1136.1732508515

958.8473928787

1134.2798566166

958.8473928787

1127.9600684267

969.7173198096

1127.9600684267

970.8245404716

1126.0615897476

977.2392789125

1127.9600684267

971.9313989937

1127.9600684267

961.0685700048

1133.2274639347

952.3977876087

1129.0142718081

953.5106576531

1130.0681130496

950.1709611003

1136.1732508515

964.1757844012

1141.4265229036

972.8166250707

1141.4265229036

969.7173198096

1145.4129546842

976.1341586619

1146.4611465433

978.3440370232

1144.3644006852

973.922831741

1149.6035492814

977.2392789125

1148.5564438419

970.8245404716

1149.6035492814

978.3440370232

1149.6035492814

972.8166250707

1147.5089762626

1005.1879150142

1146.4611465433

1032.9029129413

1144.3644006852

1044.6164516619

1146.4611465433

1045.6989019551

1140.376592773

1049.8089103534

1142.4760908944

1037.0291596925

1148.5564438419

1012.6305799657

1148.5564438419

997.7285047139

1147.5089762626

998.8265270226

1144.3644006852

1004.0919931169

1146.4611465433

1021.1471342233

1145.4129546842

1018.9655027738

1146.4611465433

1012.6305799657

1148.5564438419

1011.5371206197

1147.5089762626

1010.4432991338

1143.5252967452

1018.0924445973

1146.4611465433

1006.2834747716

1144.3644006852

1017.0007959508

1143.5252967452

1025.5060514436

1148.5564438419

1033.9892743453

1142.4760908944

1021.1471342233

1147.5089762626

1011.5371206197

1145.4129546842

993.3327940803

1147.5089762626

997.7285047139

1152.5335179276

1004.0919931169

1154.6246144034

1013.7236771718

1148.5564438419

1005.1879150142

1149.6035492814

1006.2834747716

1154.6246144034

990.2523490649

1153.5792472355

976.1341586619

1153.5792472355

968.6097370077

1156.7142623196

964.1757844012

1152.5335179276

964.1757844012

1147.5089762626

966.3934849842

1145.4129546842

962.178615358

1146.4611465433

963.2882985712

1145.4129546842

969.7173198096

1143.5252967452

966.3934849842

1145.4129546842

972.8166250707

1147.5089762626

979.4484329941

1147.5089762626

972.8166250707

1147.5089762626

971.9313989937

1152.5335179276

972.8166250707

1150.6502925809

976.1341586619

1156.7142623196

997.7285047139

1160.8892124734

995.5313736769

1164.8500482061

989.1515020651

1166.9325981804

993.3327940803

1165.8915042632

1002.9957090797

1164.8500482061

1000.8020545857

1164.8500482061

1002.9957090797

1166.9325981804

996.6301202654

1164.8500482061

997.7285047139

1159.8460181448

1002.9957090797

1165.8915042632

1005.1879150142

1158.8024616763

996.6301202654

1159.8460181448

990.2523490649

1161.7235071955

995.5313736769

1162.7660496723

986.9487216457

1159.8460181448

991.3528339249

1161.7235071955

991.3528339249

1159.8460181448

981.656138516

1162.7660496723

993.3327940803

1158.8024616763

984.7444926667

1162.7660496723

982.5388151281

1156.7142623196

979.4484329941

1159.8460181448

977.2392789125

1160.8892124734

976.1341586619

1164.8500482061

979.4484329941

1163.8082300092

981.656138516

1169.8457345644

976.1341586619

1172.9638015015

988.0502929253

1176.0786091795

981.656138516

1188.091866195

973.922831741

1190.158192302

970.8245404716

1182.0913288803

958.8473928787

1182.0913288803

963.2882985712

1185.1965760651

956.6247671931

1182.0913288803

940.3557155755

1181.0555222056

957.7362611058

1184.1618558101

966.3934849842

1188.091866195

968.6097370077

1182.0913288803

982.5388151281

1186.2309341803

969.7173198096

1188.091866195

969.7173198096

1190.158192302

975.0286762714

1185.1965760651

979.4484329941

1182.0913288803

971.9313989937

1187.0581599317

970.8245404716

1189.1252103184

979.4484329941

1197.1728658401

972.8166250707

1197.1728658401

962.178615358

1208.2794001545

963.2882985712

1204.1707940295

962.178615358

1201.2913221702

970.8245404716

1205.1984887706

959.9581625117

1203.3483774959

966.3934849842

1201.2913221702

954.4006929479

1200.2622512976

968.6097370077

1201.2913221702

970.8245404716

1200.2622512976

971.9313989937

1207.2527918331

975.0286762714

1204.1707940295

977.2392789125

1201.2913221702

975.0286762714

1205.1984887706

978.3440370232

1209.305646336

976.1341586619

1210.3315303776

981.656138516

1207.2527918331

978.3440370232

1207.2527918331

971.9313989937

1209.305646336

972.8166250707

1214.2265870199

973.922831741

1210.3315303776

978.3440370232

1210.3315303776

982.5388151281

1202.320030903

980.552466825

1203.3483774959

981.656138516

1205.1984887706

979.4484329941

1204.1707940295

973.922831741

1202.320030903

979.4484329941

1192.2230698494

979.4484329941

1192.2230698494

982.5388151281

1198.2030231325

979.4484329941

1207.2527918331

981.656138516

1209.305646336

982.5388151281

1204.1707940295

982.5388151281

1203.3483774959

982.5388151281

1198.2030231325

975.0286762714

1197.1728658401

980.552466825

1195.3176701213

965.2848157626

1200.2622512976

972.8166250707

1195.3176701213

978.3440370232

1193.2549654133

985.8467882261

1189.1252103184

985.8467882261

1189.1252103184

990.2523490649

1185.1965760651

981.656138516

1194.2864988373

982.5388151281

1188.091866195

985.8467882261

1192.2230698494

981.656138516

1192.2230698494

971.9313989937

1190.158192302

970.8245404716

1190.158192302

964.1757844012

1192.2230698494

961.0685700048

1190.158192302

967.5017920659

1188.091866195

967.5017920659

1186.2309341803

968.6097370077

1184.1618558101

958.8473928787

1187.0581599317

958.8473928787

1184.1618558101

962.178615358

1191.1908121456

966.3934849842

1193.2549654133

959.9581625117

1196.1423464079

965.2848157626

1191.1908121456

968.6097370077

1187.0581599317

966.3934849842

1188.091866195

962.178615358

1193.2549654133

962.178615358

1191.1908121456

956.6247671931

1195.3176701213

958.8473928787

1197.1728658401

961.0685700048

1197.1728658401

959.9581625117

1200.2622512976

965.2848157626

1194.2864988373

969.7173198096

1190.158192302

964.1757844012

1187.0581599317

961.0685700048

1192.2230698494

964.1757844012

1197.1728658401

967.5017920659

1202.320030903

967.5017920659

1203.3483774959

969.7173198096

1204.1707940295

972.8166250707

1206.2258213718

965.2848157626

1206.2258213718

959.9581625117

1212.3822120412

961.0685700048

1215.25073279

963.2882985712

1212.3822120412

957.7362611058

1217.2979379106

952.3977876087

1223.2266411557

953.5106576531

1220.3660295422

957.7362611058

1227.3083040725

953.5106576531

1228.327814452

956.6247671931

1231.1805169302

955.5129111404

1236.2675667706

956.6247671931

1234.2338332541

952.3977876087

1238.096688417

949.0570046363

1238.096688417

950.1709611003

1236.2675667706

952.3977876087

1238.096688417

951.2845554245

1244.185286498

945.7129624047

1241.142617087

945.7129624047

1241.142617087

946.8280052885

1241.142617087

947.9426860323

1252.0809736342

943.7049726215

1255.9196088808

940.3557155755

1265.7951141459

939.2385722803

1262.977090184

940.3557155755

1271.8241764282

939.2385722803

1267.8062501329

938.1210668453

1278.6413533533

941.4724967307

1273.6303528909

937.0031992704

1270.8202380642

933.8712434764

1271.8241764282

932.7519997699

1263.7825295993

930.5124259372

1271.8241764282

932.7519997699

1266.8008632094

935.8849695556

1265.7951141459

935.8849695556

1272.6270663787

932.7519997699

1279.6424670261

934.990125043

1275.6358394955

932.7519997699

1269.8159375604

933.8712434764

1263.7825295993

922.8870396803

1268.8112749166

925.1315386156

1263.7825295993

928.2714035449

1266.8008632094

930.5124259372

1274.6332772631

934.990125043

1267.8062501329

933.8712434764

1267.8062501329

932.7519997699

1271.8241764282

930.5124259372

1271.8241764282

932.7519997699

1272.6270663787

928.2714035449

1270.8202380642

926.2532448734

1261.969964989

922.8870396803

1261.969964989

918.393696131

1263.7825295993

916.3698011635

1255.1119097126

915.2449080746

1259.9546281792

919.5175752281

1264.7890029426

921.7642470028

1272.6270663787

912.9940354772

1272.6270663787

919.5175752281

1281.4435590446

916.3698011635

1285.4417849296

914.1196528459

1282.4436587257

911.8680559686

1271.8241764282

907.5860311203

1261.969964989

906.4583133402

1254.1019598263

911.8680559686

1249.0467782967

911.8680559686

1238.096688417

911.8680559686

1235.2508810823

912.9940354772

1228.327814452

907.5860311203

1222.2053200768

908.4879446036

1227.3083040725

904.2017913604

1223.2266411557

901.943820821

1228.327814452

907.5860311203

1227.3083040725

899.6844017221

1230.1620205425

903.0729871607

1225.2681968939

899.6844017221

1225.2681968939

908.4879446036

1213.2020791099

906.4583133402

1208.2794001545

903.0729871607

1208.2794001545

903.0729871607

1211.3570522793

903.0729871607

1242.1572023639

904.2017913604

1256.9289069153

900.8142923415

1249.0467782967

898.5541489627

1250.0585388824

898.5541489627

1239.1123601135

894.2558857615

1242.1572023639

897.6496860146

1245.1987853552

890.8588262493

1239.1123601135

890.8588262493

1237.283890319

889.7257487988

1234.2338332541

888.8190260977

1236.2675667706

890.8588262493

1240.1276696702

889.7257487988

1230.1620205425

889.7257487988

1230.1620205425

889.7257487988

1238.096688417

888.8190260977

1233.2164232861

886.5512053532

1232.1986511781

885.4167517711

1224.2476000948

882.0112181854

1231.1805169302

878.8297795962

1230.1620205425

880.8753160437

1232.1986511781

878.8297795962

1218.320997261

883.1467581872

1217.2979379106

876.5555851895

1221.183636858

876.5555851895

1223.2266411557

875.4179447763

1213.2020791099

872.0028506974

1210.3315303776

872.0028506974

1219.3436944715

870.8637617247

1216.2745164202

869.9522298057

1212.3822120412

867.6723860167

1223.2266411557

868.8124889812

1213.2020791099

866.5319209123

1219.3436944715

863.1083527599

1210.3315303776

866.5319209123

1219.3436944715

861.966439096

1214.2265870199

860.8241632921

1214.2265870199

866.5319209123

1213.2020791099

864.2499042839

1218.320997261

864.2499042839

1223.2266411557

864.2499042839

1229.3469626916

860.8241632921

1227.3083040725

857.6238644572

1227.3083040725

861.966439096

1221.183636858

856.4802125217

1220.3660295422

859.9100819083

1217.2979379106

853.0470838761

1216.2745164202

848.6937754108

1223.2266411557

849.8398898975

1212.3822120412

849.8398898975

1207.2527918331

850.9856422443

1206.2258213718

846.4004600177

1217.2979379106

842.9577708788

1211.3570522793

846.4004600177

1212.3822120412

837.4426889977

1214.2265870199

838.5923524554

1205.1984887706

836.2926634001

1207.2527918331

835.1422756626

1193.2549654133

829.6153735354

1197.1728658401

828.4628853865

1196.1423464079

826.1568226691

1203.3483774959

821.7713127244

1192.2230698494

820.6163620242

1188.091866195

815.9929378247

1188.091866195

814.836176425

1193.2549654133

809.2786807195

1189.1252103184

805.8010088667

1188.091866195

802.5522412282

1190.158192302

800.2299546435

1181.0555222056

800.2299546435

1172.9638015015

796.7438087172

1166.9325981804

785.3330186105

1175.0407020934

783.2333784627

1160.8892124734

780.8990688334

1167.9733299577

773.8874485883

1158.8024616763

769.4400127215

1158.8024616763

764.7528519004

1154.6246144034

764.7528519004

1153.5792472355

764.7528519004

1153.5792472355

761.4683917539

1157.7585430679

759.1206105206

1161.7235071955

755.5962226214

1158.8024616763

752.3038533395

1164.8500482061

751.1273191017

1154.6246144034

741.9379234049

1146.4611465433

739.5781191271

1146.4611465433

738.3976737783

1147.5089762626

731.5439493568

1142.4760908944

730.3610414568

1144.3644006852

726.8101449173

1143.5252967452

723.4930342378

1134.2798566166

714.2375407675

1135.1215100214

709.4825873581

1138.2756460921

694.4666115283

1130.0681130496

683.9451642372

1132.1747091129

633.3428349626

1139.3263005025

602.4304894179

1135.1215100214

589.2158663473

1135.1215100214

567.5904190446

1137.2246295417

557.970540412

1137.2246295417

547.0908933081

1130.0681130496

541.1447200961

1131.1215921512

534.9419172396

1121.8385474159

533.7002702486

1117.6097108458

530.2217320896

1111.4676058034

526.4915763021

1114.6460776749

524.0029950776

1114.6460776749

521.7620334572

1107.4368625853

521.7620334572

1102.1252860101

524.0029950776

1105.3133183749

522.7581612556

1104.2510030598

522.7581612556

1109.3468138562

522.7581612556

1117.6097108458

524.0029950776

1107.4368625853

525.2474667598

1108.2858746727

525.2474667598

1103.1883256049

525.2474667598

1106.37527155

526.4915763021

1111.4676058034

524.0029950776

1111.4676058034

525.2474667598

1108.2858746727

524.0029950776

1110.4073908997

524.0029950776

1109.3468138562

521.7620334572

1104.2510030598

519.2706999695

1101.0618842753

516.7779179223

1097.0176549676

520.5165477833

1099.1468485603

521.7620334572

1088.699958969

518.0244900159

1092.7549221033

518.0244900159

1090.6213828318

518.0244900159

1088.699958969

515.5309836889

1093.8211485292

515.5309836889

1092.7549221033

515.5309836889

1093.8211485292

516.7779179223

1092.7549221033

516.7779179223

1092.7549221033

515.5309836889

1083.3565140831

516.7779179223

1083.3565140831

514.2836873155

1087.6319942716

514.2836873155

1078.2182894623

511.7880081491

1076.0748999856

511.7880081491

1076.0748999856

511.7880081491

1070.9248551186

511.7880081491

1070.9248551186

511.7880081491

1063.6146754262

510.7893308859

1059.3067475031

511.7880081491

1057.1506107022

514.2836873155

1054.9930253417

514.2836873155

1054.1295856008

516.7779179223

1049.8089103534

514.2836873155

1049.8089103534

515.5309836889

1044.6164516619

515.5309836889

1040.2830290901

515.5309836889

1038.1141449649

515.5309836889

1036.1609107338

516.7779179223

1030.7291037135

520.5165477833

1030.7291037135

519.2706999695

1025.5060514436

521.7620334572

1022.2374067382

524.0029950776

1020.0564995685

519.2706999695

1020.0564995685

520.5165477833

1018.0924445973

520.5165477833

1020.0564995685

519.2706999695

1011.5371206197

521.7620334572

1005.1879150142

522.7581612556

999.9241871914

519.2706999695

998.8265270226

521.7620334572

993.3327940803

518.0244900159

989.1515020651

521.7620334572

980.552466825

521.7620334572

976.1341586619

519.2706999695

981.656138516

527.7353237045

975.0286762714

524.0029950776

970.8245404716

525.2474667598

964.1757844012

531.4643930723

955.5129111404

530.2217320896

953.5106576531

537.4241248019

949.0570046363

538.6646853732

942.588915746

534.9419172396

938.1210668453

533.7002702486

931.6323939235

533.7002702486

925.1315386156

536.1832020907

918.393696131

536.1832020907

915.2449080746

533.7002702486

917.2694548939

537.4241248019

914.1196528459

536.1832020907

908.4879446036

537.4241248019

903.0729871607

537.4241248019

899.6844017221

537.4241248019

900.8142923415

536.1832020907

899.6844017221

536.1832020907

898.5541489627

536.1832020907

896.5187814034

532.4582611177

894.2558857615

531.4643930723

890.8588262493

530.2217320896

889.7257487988

528.978708967

888.8190260977

528.978708967

891.9915415599

530.2217320896

888.8190260977

531.4643930723

886.5512053532

526.4915763021

888.8190260977

528.978708967

888.8190260977

528.978708967

886.5512053532

526.4915763021

886.5512053532

528.978708967

885.4167517711

527.7353237045

880.8753160437

530.2217320896

877.6928634628

527.7353237045

875.4179447763

525.2474667598

874.2799422233

524.0029950776

873.1415775303

526.4915763021

870.8637617247

526.4915763021

869.9522298057

524.0029950776

864.2499042839

526.4915763021

866.5319209123

524.0029950776

865.3910936681

524.0029950776

865.3910936681

526.4915763021

864.2499042839

524.0029950776

864.2499042839

525.2474667598

864.2499042839

524.0029950776

865.3910936681

522.7581612556

866.5319209123

520.5165477833

867.6723860167

520.5165477833

868.8124889812

518.0244900159

867.6723860167

518.0244900159

864.2499042839

518.0244900159

864.2499042839

516.7779179223

861.966439096

516.7779179223

860.8241632921

516.7779179223

858.7671542527

518.0244900159

867.6723860167

518.0244900159

869.9522298057

518.0244900159

870.8637617247

518.0244900159

870.8637617247

515.5309836889

870.8637617247

515.5309836889

869.9522298057

515.5309836889

873.1415775303

516.7779179223

872.0028506974

514.2836873155

870.8637617247

513.0360288023

870.8637617247

511.7880081491

870.8637617247

513.0360288023



		38		38

		68		68

		98		98

		128		128

		158		158

		188		188

		218		218

		248		248

		278		278

		308		308

		338		338

		368		368

		398		398

		428		428

		458		458

		488		488

		518		518

		548		548

		578		578

		608		608

		638		638

		668		668

		698		698

		728		728

		758		758

		788		788

		818		818

		848		848

		878		878

		908		908

		938		938

		968		968

		998		998

		1028		1028

		1058		1058

		1088		1088

		1118		1118

		1148		1148

		1178		1178

		1208		1208

		1238		1238

		1268		1268

		1298		1298

		1328		1328

		1358		1358

		1388		1388

		1418		1418

		1448		1448

		1478		1478

		1508		1508

		1538		1538

		1568		1568

		1598		1598

		1628		1628

		1658		1658

		1688		1688

		1718		1718

		1748		1748

		1778		1778

		1808		1808

		1838		1838

		1868		1868

		1898		1898

		1928		1928

		1958		1958

		1988		1988

		2018		2018

		2048		2048

		2078		2078

		2108		2108

		2138		2138

		2168		2168

		2198		2198

		2228		2228

		2258		2258

		2288		2288

		2318		2318

		2348		2348

		2378		2378

		2408		2408



c

Qsum.av,co-firing

Qsum av,prop.=0

time,s

Average heat production rate, J/s

363.9872147429

541.8055158077

364.1368142409

517.3455732928

344.6353965588

469.555216848

510.4387408053

330.0933941591

598.2456817519

376.8405134734

506.3986086271

399.5003589911

603.399162133

529.6275593269

603.399162133

714.4693399974

858.2485693797

813.8291445301

805.7280495664

819.991028215

825.7029464633

663.9241989417

794.3211517614

647.4298030167

800.3870272578

696.974770362

843.3006920909

759.8286450703

805.6891641435

742.3827964696

792.5621213446

688.7379531136

815.7297663326

718.1484990465

786.833629454

696.7248402651

945.9822936134

631.5492231111

1008.0497111565

696.4450626905

979.7062424647

689.3283124558

1008.4778349605

751.0478450426

959.4142394545

671.793271131

959.8727203639

659.9660373552

975.8471825628

779.2551565194

901.0159575588

712.1719203156

871.8012521618

699.6809387379

1015.8085643512

750.6378880405

920.346552869

742.1438894974

954.4971748112

800.7646846715

999.0018666293

690.4066446586

1053.605212435

691.0669465266

1053.605212435

738.8960390015

1125.3740378931

820.2180348892

1114.8287100207

722.3849643639

1193.8384453526

785.0720261491

1242.1420832548

705.8591471554

1215.9925351291

772.1365606116

1214.6196629185

730.2138795808

1138.6443132963

769.547187275

1099.3117936605

721.2703356513

1053.1354284703

739.2857142471

1042.4941718058

676.0691261634

1090.9936922757

723.7878085308

995.6037559515

711.0778017952

1025.7753440544

644.2018290457

1095.7688301395

721.4719775106

1041.2914509316

695.0160725729

1143.3168061884

630.036568894

1148.9176988335

716.9928833107

1077.1485478194

724.054475509

1044.5065727629

611.575257124

1041.8581179299

670.8085164842

1009.2387840024

567.4495294621

923.0413496571

574.6995197455

887.9647572048

584.3817479654

782.4994530105

340.1818289335

825.2634610055

440.1853207512

726.1506817077

361.7580715957

692.3610852106

314.9723872365

741.8770000867

278.8016102288

768.7394433393

317.0707276765

747.4942666529

441.188606688

743.2540092795

355.8641574326

764.823130293

378.2825676722

672.232646381

329.4695476008

686.9234954065

388.5725254396

755.2068871378

375.5006172659

775.3267572023

375.193228515

736.1913102721

383.3355391805

662.7200238765

395.1962621893

626.9647823629

390.512421407

609.7611291744

301.8444190826

671.9822985078

387.1621982716

728.0580530141

396.1853311184

655.281850099

484.5130958984

659.502103582

436.2105097047

711.8017859037

394.6796835711

702.9214828273

409.8086748535

674.5134029171

418.5416869828



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



a

CO2, prop=0

CO2,B=0,co-fire

time,s

Volume fraction CO2,%

4.3

4.3

4.3

4.3

4

4.3

4

4.4

4

4.4

3.9

4.4

3.9

4.5

3.9

4.5

3.9

4.6

3.9

4.6

3.8

4.7

3.8

4.7

3.8

4.7

3.8

4.8

3.8

4.8

3.8

5

3.8

5

3.8

5

3.8

5.2

3.8

5.2

3.8

5.5

3.8

5.5

3.8

5.5

3.8

5.8

3.8

5.8

3.8

6.2

3.8

6.2

3.9

6.2

3.9

6.6

3.9

6.6

3.9

7.2

3.9

7.2

3.9

7.8

3.9

7.8

3.9

7.8

3.9

8.4

3.9

8.4

3.9

8.9

3.9

8.9

3.8

8.9

3.8

9.2

3.8

9.2

3.8

9.3

3.8

9.3

3.8

9.3

3.8

9.6

3.8

9.6

3.8

10.2

3.8

10.2

3.9

10.2

3.9

10.9

3.9

10.9

3.9

11.3

3.9

11.3

4

11.3

4

11.3

4.1

11.3

4.1

11.4

4.1

11.4

4.2

11.6

4.2

11.6

4.4

11.6

4.4

11.8

4.4

11.8

4.4

11.9

4.4

11.9

4.5

11.9

4.5

12

4.7

12

4.7

12

4.7

12

5

12

5

12

5.6

12

5.6

12

5.6

12

6.2

12

6.2

12

6.6

12

6.6

11.9

6.6

11.9

6.9

12

6.9

12

7.1

12

7.1

12

7.1

12

7.4

12.1

7.4

12.1

7.8

12.1

7.8

12.1

8.2

12.1

8.2

12

8.2

12

8.7

12

8.7

11.9

9.1

11.9

9.1

11.7

9.1

11.7

9.5

11.7

9.5

11.7

10.1

11.7

10.1

11.7

10.1

11.7

10.9

11.7

10.9

11.8

11.7

11.8

11.7

11.9

11.7

11.9

12.4

11.9

12.4

11.9

12.7

11.9

12.7

11.7

12.7

11.7

12.6

11.6

12.6

11.6

12.3

11.6

12.3

11.5

12.2

11.5

12.2

11.4

12.2

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12

11.4

12

11.6

11.9

11.6

11.9

11.6

11.9

11.6

12

11.7

12

11.7

12.1

11.7

12.1

11.7

12.1

11.7

12.2

11.8

12.2

11.8

12.4

11.8

12.4

11.8

12.7

11.8

12.7

11.8

12.7

11.8

12.9

11.8

12.9

11.8

13.1

11.8

13.1

11.7

13.1

11.7

13.2

11.7

13.2

11.6

13.2

11.6

13.2

11.6

13.2

11.6

13.1

11.6

13.1

11.6

13

11.6

13

11.7

13

11.7

12.9

11.6

12.9

11.6

12.5

11.6

12.5

11.5

12.5

11.5

11.1

11.5

11.1

11.5

9.7

11.5

9.7

11.5

9

11.5

9

11.4

9

11.4

8.7

11.4

8.7

11.4

8.6

11.4

8.6

11.4

8.6

11.4

8.3

11.4

8.3

11.4

8.1

11.4

8.1

11.3

8.1

11.3

8.4

11.3

8.4

11.3

9

11.3

9

11.4

9

11.4

9.4

11.4

9.4

11.4

9.4

11.4

9.4

11.5

9.4

11.5

9.4

11.6

9.4

11.6

9.5

11.6

9.5

11.7

9.7

11.7

9.7

11.6

9.7

11.6

9.8

11.6

9.8

11.5

9.9

11.5

9.9

11.5

9.9

11.5

10.6

11.5

10.6

11.5

11.4

11.5

11.4

11.7

11.4

11.7

11.5

11.9

11.5

11.9

11.5

11.9

11.5

12

11.5

12

11.5

12

11.5

12

11.6

12

11.6

12.1

11.8

12.1

11.8

12.1

11.8

12.1

11.8

12.1

11.8

11.9

11.5

11.9

11.5

11.8

11.5

11.8

11.2

11.6

11.2

11.6

10.9

11.6

10.9

11.5

10.9

11.5

10.6

11.4

10.6

11.4

10.5

11.4

10.5

11.4

10.5

11.4

10.6

11.4

10.6

11.4

10.8

11.4

10.8

11.3

10.8

11.3

10.8

11.2

10.8

11.2

10.8

11.2

10.8

11.2

11

11.2

11

11.2

11

11.2

10.9

11.2

10.9

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.7

11.1

10.7

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.7

11.2

10.7

11.3

10.7

11.3

10.9

11.3

10.9

11.4

11

11.4

11

11.6

11

11.6

11.1

11.8

11.1

11.8

11

11.8

11

12

11

12

10.8

12.2

10.8

12.2

10.7

12.2

10.7

12.1

10.6

12.1

10.6

12.1

10.6

12.1

10.4

12.1

10.4

12.1

10.3

12.1

10.3

12.1

10.3

12.1

10.1

12.1

10.1

12.3

9.9

12.3

9.9

12.5

9.9

12.5

9.9

12.5

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.5

9.9

12.5

9.7

12.4

9.7

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.6

12.4

9.6

12.4

9.7

12.4

9.7

12.3

9.7

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.4

9.8

12.4

9.8

12.4

9.8

12.5

9.8

12.5

9.7

12.6

9.7

12.6

9.7

12.6

9.7

12.6

9.7

12.6

9.8

12.6

9.8

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.8

9.9

12.8

9.9

12.8

9.9

13

10.2

13

10.2

12.9

10.2

12.9

10.3

12.9

10.3

12.9

10

12.9

10

12.9

10

12.9

9.8

12.9

9.8

12.9

9.6

12.9

9.6

12.9

9.6

12.9

9.7

12.9

9.7

12.9

9.8

12.9

9.8

13

9.8

13

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

10.1

13.1

10.1

13.2

10.1

13.2

10.1

13.2

10.1

13.2

10.3

13.2

10.3

13.1

10.3

13.1

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.3

13

10.3

12.9

10.3

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

13

10.3

13

10.3

13

10.3

13

10.3

13.1

10.3

13.1

10.4

13.1

10.4

13.3

10.4

13.3

10.4

13.3

10.4

13.3

10.3

13.3

10.3

13.4

10.3

13.4

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.4

10.2

13.4

10.2

13.4

10.2

13.3

10.2

13.3

10.2

13.2

10.2

13.2

10.1

13.2

10.1

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.2

9.9

13.2

9.8

13.2

9.8

13.2

9.8

13.2

9.8

13.1

9.8

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.2

9.8

13.2

9.8

13.3

9.8

13.3

9.9

13.3

9.9

13.4

10.1

13.4

10.1

13.4

10.1

13.4

10.2

13.4

10.2

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.5

10.2

13.5

10.2

13.7

10.2

13.7

10.2

13.7

10.2

13.8

10.2

13.8

10.2

13.9

10.2

13.9

10.2

13.9

10.2

13.9

10.1

13.9

10.1

13.9

10.1

13.9

10.1

13.9

10.1

14

10

14

10

14

10

14

9.9

14

9.9

14

9.9

14

9.9

13.9

9.9

13.9

9.9

13.9

9.9

13.9

10

13.9

10

13.9

10.2

13.9

10.2

13.9

10.2

13.9

10.3

13.9

10.3

13.8

10.4

13.8

10.4

13.7

10.4

13.7

10.6

13.7

10.6

13.7

10.9

13.7

10.9

13.8

10.9

13.8

11.2

13.8

11.2

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.7

11.5

13.7

11.6

13.7

11.6

13.6

11.9

13.6

11.9

13.7

11.9

13.7

12

13.7

12

13.7

11.9

13.7

11.9

13.7

11.9

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.7

13.8

11.7

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.6

11.5

13.6

11.5

13.7

11.5

13.7

11.4

13.7

11.4

13.7

11.3

13.7

11.3

13.8

11.3

13.8

11.3

13.8

11.3

13.8

11.4

13.8

11.4

13.8

11.6

13.8

11.6

13.8

11.6

13.8

11.6

13.8

11.6

13.7

11.6

13.7

11.6

13.7

11.6

13.7

11.5

13.7

11.5

13.7

11.4

13.7

11.4

13.7

11.4

13.7

11.4

13.8

11.4

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.9

11.5

13.9

11.6

13.9

11.6

13.9

11.6

13.9

11.6

14

11.6

14

11.8

14

11.8

14

12.1

14

12.1

14.1

12.1

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.2

14.3

12.2

14.3

12.1

14.3

12.1

14.3

12.1

14.3

11.9

14.4

11.9

14.4

11.8

14.4

11.8

14.4

11.8

14.4

11.7

14.4

11.7

14.4

11.7

14.4

11.7

14.4

11.6

14.4

11.6

14.5

11.6

14.5

11.5

14.5

11.5

14.5

11.4

14.5

11.4

14.5

11.4

14.5

11.3

14.5

11.3

14.4

11.3

14.4

11.3

14.4

11.3

14.4

11.3

14.3

11.3

14.3

11.2

14.3

11.2

14.3

11.2

14.3

11.2

14.2

11.2

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.1

14.2

11.1

14.2

11.1

14.2

11.1

14.2

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.2

14.3

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.3

14.4

11.3

14.4

11.3

14.4

11.4

14.4

11.4

14.5

11.4

14.5

11.4

14.6

11.4

14.6

11.6

14.6

11.6

14.6

11.8

14.6

11.8

14.6

11.8

14.6

12

14.7

12

14.7

12.3

14.7

12.3

14.7

12.3

14.7

12.7

14.7

12.7

14.7

13

14.7

13

14.7

13.1

14.7

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

12.8

14.6

12.8

14.7

12.6

14.7

12.6

14.7

12.6

14.7

12.4

14.7

12.4

14.7

12.3

14.7

12.3

14.7

12.3

14.7

12.2

14.7

12.2

14.7

12.3

14.7

12.3

14.7

12.5

14.7

12.5

14.7

12.5

14.7

12.6

14.7

12.6

14.6

12.8

14.6

12.8

14.6

12.8

14.6

13

14.6

13

14.6

13.2

14.6

13.2

14.6

13.2

14.6

13.3

14.5

13.3

14.5

13.3

14.5

13.3

14.4

13.3

14.4

13.3

14.4

13.3

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.1

14.3

13.1

14.4

13.1

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.6

14.4

12.6

14.4

12.6

14.4

12.6

14.5

12.6

14.5

12.5

14.5

12.5

14.5

12.5

14.5

12.4

14.5

12.4

14.5

12.1

14.5

12.1

14.5

11.8

14.5

11.8

14.4

11.8

14.4

11.5

14.4

11.5

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.6

14.4

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.9

14.3

11.9

14.3

11.9

14.3

12

14.3

12

14.3

11.8

14.3

11.8

14.3

11.8

14.3

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.8

14.3

11.8

14.3

12.1

14.3

12.1

14.3

12.1

14.3

12.4

14.3

12.4

14.3

12.6

14.3

12.6

14.4

12.7

14.4

12.7

14.4

12.7

14.4

12.9

14.4

12.9

14.2

13.1

14.2

13.1

14

13.1

14

13.1

14

13.1

13.9

13.2

13.9

13.2

13.9

13.2

13.9

13.3

13.8

13.3

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.7

13.4

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.4

13.7

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.7

13.3

13.7

13.3

13.5

13.3

13.5

13.3

13.4

13.3

13.4

13.4

13.4

13.4

13.3

13.4

13.3

13.5

13.4

13.5

13.4

13.4

13.4

13.4

13.3

13.3

13.3

13.3

13.3

13.3

13.3

13.1

13.3

13.1

13.3

12.9

13.3

12.9

13.3

12.9

13.3

12.6

13.3

12.6

13.2

12.4

13.2

12.4

13.1

12.4

13.1

12.4

13

12.4

13

12.3

13

12.3

13

12.3

13

12.1

12.9

12.1

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

13

12

13

12

13.1

12

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.3

13.2

12.3

13.2

12.4

13.2

12.4

13.4

12.4

13.4

12.6

13.6

12.6

13.6

12.6

13.6

12.6

13.6

12.5

13.6

12.5

13.5

12.5

13.5

12.5

13.5

12.5

13.4

12.5

13.4

12.5

13.4

12.5

13.4

12.4

13.4

12.4

13.4

12.4

13.4

12.4

13.3

12.4

13.3

12.5

13.2

12.5

13.2

12.5

13.2

12.5

13.1

12.5

13.1

12.4

13

12.4

13

12.3

13

12.3

12.9

12

12.9

12

12.9

12

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

13

11.9

13

11.9

13

11.9

13.1

12

13.1

12

13.1

12

13.1

12

13.1

12

13.1

11.9

13.1

11.9

13.1

11.9

13.1

12

13.1

12

13.1

12

13.1

12

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.8

13.1

11.8

13

11.8

13

11.9

13

11.9

13.1

12

13.1

12

13

12

13

12.1

13

12.1

13

12.1

13

12.1

12.9

12.1

12.9

12.3

13

12.3

13

12.6

13

12.6

13

12.6

13

12.8

13

12.8

13

12.9

13

12.9

13

12.8

13

12.8

13.1

12.8

13.1

12.6

13.1

12.6

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.4

13.1

12.4

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.4

13.1

12.4

13.1

12.4

13.1

12.4

13.2

12.4

13.2

12.5

13.2

12.5

13.3

12.6

13.3

12.6

13.4

12.6

13.4

12.5

13.4

12.5

13.5

12.4

13.5

12.4

13.5

12.4

13.5

12.4

13.5

12.4

13.6

12.3

13.6

12.3

13.6

12.3

13.6

12.4

13.7

12.4

13.7

12.5

13.7

12.5

13.7

12.5

13.7

12.9

13.9

12.9

13.9

13.4

13.9

13.4

13.9

13.4

13.9

13.7

14

13.7

14

13.7

14

13.7

14.1

13.6

14.1

13.6

14.2

13.6

14.2

13.5

14.2

13.5

14.3

13.6

14.3

13.6

14.3

13.6

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.6

14.4

13.6

14.4

13.6

14.4

13.6

14.4

13.6

14.4

13.7

14.2

13.7

14.2

13.9

14.2

13.9

14.2

14.1

14.2

14.1

14.2

14.1

14.2

14.2

14.2

14.2

14.3

14.2

14.3

14.2

14.4

14.2

14.4

14.1

14.4

14.1

14.5

14.2

14.5

14.2

14.7

14.2

14.7

14.3

14.9

14.3

14.9

14.2

14.9

14.2

15

14.2

15

14

14.9

14

14.9

13.8

14.9

13.8

14.8

13.6

14.8

13.6

14.7

13.6

14.7

13.6

14.7

13.6

14.8

13.4

14.8

13.4

14.9

13.4

14.9

13.3

14.9

13.3

14.9

13.1

14.9

13.1

14.8

13.1

14.8

13

14.6

13

14.6

13.2

14.6

13.2

14.6

13.2

14.6

13.3

14.7

13.3

14.7

13.5

14.7

13.5

14.8

13.5

14.8

13.7

15.1

13.7

15.1

13.7

15.1

13.7

15.2

13.6

15.2

13.6

15.1

13.6

15.1

13.5

15.1

13.5

15.2

13.5

15.2

13.5

15.3

13.5

15.3

13.5

15.3

13.5

15.1

14

15.1

14

14.8

14

14.8

14.5

14.6

14.5

14.6

14.9

14.6

14.9

14.5

14.9

14.5

15

14.4

15

14.4

14.6

14.4

14.6

14.4

14.1

14.4

14.1

14.6

14.1

14.6

14

14.6

14

14.7

14.1

14.7

14.1

14.8

14.1

14.8

14.3

14.8

14.3

14.9

14.4

14.9

14.4

14.8

14.4

14.8

14.5

15

14.5

15

14.7

15

14.7

15.2

14.7

15.2

14.2

15.2

14.2

15.2

13.3

15.2

13.3

15.2

12.9

15.2

12.9

15.3

12.9

15.3

12.9

15.3

12.9

15.3

13

15.3

13

15.1

13

15.1

13

15.1

13

15

13.1

15

13.1

14.9

13.1

14.9

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.7

12.9

14.7

13.1

14.7

13.1

14.7

13.1

14.7

13.3

14.8

13.3

14.8

13.4

14.8

13.4

14.8

13.4

14.8

13.4

14.9

13.4

14.9

13.3

14.9

13.3

14.9

13.3

14.9

13.3

15.1

13.3

15.1

13.3

15.1

13.3

15.3

13.3

15.3

13.3

15.4

13.3

15.4

13.4

15.2

13.4

15.2

13.4

15.2

13.4

15.1

13.4

15.1

13.3

14.9

13.3

14.9

13.2

14.9

13.2

14.8

13.2

14.8

13.3

14.8

13.3

14.8

13.1

14.8

13.1

14.7

13.1

14.7

12.7

14.6

12.7

14.6

12.4

14.6

12.4

14.5

12.2

14.5

12.2

14.4

12.2

14.4

12.1

14.4

12.1

14.4

12.1

14.4

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

11.9

14.5

11.9

14.5

11.8

14.5

11.8

14.5

11.8

14.5

11.9

14.5

11.9

14.5

11.9

14.5

11.9

14.5

12

14.5

12

14.5

12

14.5

11.8

14.5

11.8

14.5

11.7

14.5

11.7

14.4

11.7

14.4

11.8

14.4

11.8

14.3

12.1

14.3

12.1

14.3

12.1

14.3

12.4

14.3

12.4

14.3

12.6

14.3

12.6

14.2

12.6

14.2

12.9

14.2

12.9

14.2

13.1

14.2

13.1

14.2

13.6

14.2

13.6

14.2

13.6

14.2

14.6

14.2

14.6

14.1

15.4

14.1

15.4

14

15.4

14

15.4

14

15.4

14

14.9

14

14.9

14

14.9

14

14.2

13.9

14.2

13.9

13.5

13.9

13.5

13.9

13.5

13.9

12.8

13.9

12.8

13.9

12.2

13.9

12.2

13.9

12.2

13.9

11.9

13.8

11.9

13.8

12.1

13.8

12.1

13.8

12.1

13.8

12.1

13.7

12.1

13.7

11.6

13.7

11.6

13.6

11.1

13.6

11.1

13.6

11.1

13.6

10.8

13.6

10.8

13.7

10.5

13.7

10.5

13.7

10.5

13.7

10.3

13.7

10.3

13.7

10

13.7

10

13.7

10

13.7

9.8

13.7

9.8

13.7

9.7

13.7

9.7

13.8

9.6

13.8

9.6

13.8

9.6

13.8

9.6

13.8

9.6

13.9

9.6

13.9

9.6

14

9.6

14

9.4

14

9.4

14

9.3

14

9.3

14

9.3

14

9

14.1

9

14.1

8.6

14.1

8.6

14.1

8.6

14.1

8.4

14.1

8.4

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.2

14.1

8.2

14.1

8

14.1

8

14.1

8

14.1

8

14.1

8

14.1

8.1

14.1

8.1

14

8.1

14

8.2

13.8

8.2

13.8

8.3

13.8

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.6

8.3

13.6

8.3

13.5

8.3

13.5

8.4

13.5

8.4

13.4

8.7

13.4

8.7

13.6

8.7

13.6

9

13.6

9

13.7

9.2

13.7

9.2

13.7

9.2

13.7

9.3

13.7

9.3

13.7

9.3

13.7

9.3

13.6

9.3

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.3

13.5

9.3

13.5

9.4

13.5

9.4

13.4

9.3

13.4

9.3

13.2

9.3

13.2

8.6

13.2

8.6

13

8.1

13

8.1

12.9

8.1

12.9

8

12.9

8

13.1

7.9

13.1

7.9

13.4

7.9

13.4

7.7

13.4

7.7

13.4

7.6

13.4

7.6

13.1

7.6

13.1

7.6

12.7

7.6

12.7

7.6

12.7

7.6

12.4

7.6

12.4

7.6

12.3

7.6

12.3

7.5

12.3

7.5

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12

7.6

12

7.4

12

7.4

11.8

7.2

11.8

7.2

11.7

7.2

11.7

7.3

11.6

7.3

11.6

7.4

11.6

7.4

11.5

7.4

11.5

7.4

11.4

7.4

11.4

7.4

11.4

7.4

11.4

7.5

11.4

7.5

11.3

7.5

11.3

7.6

11.3

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.5

11.1

7.5

11.3

7.5

11.3

7.4

11.1

7.4

11.1

7.4

11.1

7.4

10.8

7.4

10.8

7.3

10.5

7.3

10.5

7.1

10.5

7.1

10.4

6.9

10.4

6.9

10.4

6.9

10.4

6.8

10.4

6.8

10.4

6.6

10.4

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.4

6.6

10.4

6.6

10.4

6.6

10.3

6.6

10.3

6.5

10.1

6.5

10.1

6.5

10.1

6.5

10.1

6.5

10.1

6.4

9.9

6.4

9.9

6.3

9.9

6.3

9.9

6.3

9.9

6.3

9.8

6.3

9.8

6.5

9.8

6.5

9.6

6.6

9.6

6.6

9.6

6.6

9.6

6.5

9.6

6.5

9.8

6.4

9.8

6.4

10

6.4

10

6.4

10.2

6.4

10.2

6.5

10.2

6.5

10.6

6.5

10.6

6.5

10.6

6.5

10.6

6.2

10.6

6.2

10.3

5.9

10.3

5.9

10.1

5.9

10.1

5.6

10.1

5.6

9.9

5.4

9.9

5.4

9.8

5.4

9.8

5.3

9.8

5.3

9.7

5.4

9.7

5.4

9.4

5.4

9.4

5.7

9

5.7

9

6.1

9

6.1

8.8

6.1

8.8

6.1

8.8

6.1

8.8

5.8

8.8

5.8

8.9

5.6

8.9

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.9

5.6

8.9

5.6

8.9

5.6

8.9

5.5

8.9

5.5

8.8

5.5

8.8

5.4

8.8

5.4

8.8

5.3

8.8

5.3

9

5.3

9

5.4

9.2

5.4

9.2

5.5

9.2

5.5

9.4

5.5

9.4

5.6

9.5

5.6

9.5

5.7

9.5

5.7

9.4

5.9

9.4

5.9

9.4

5.9

9.4

6.1

9.4

6.1

9.7

6.2

9.7

6.2

10

6.2

10

5.9

10

5.9

10

5.7

10

5.7

9.8

5.7

9.8

5.6

9.6

5.6

9.6

5.6

9.6

5.6

9.4

5.6

9.4

5.8

9.2

5.8

9.2

6.1

9.2

6.1

8.9

6.6

8.9

6.6

8.9

6.6

8.9

7

8.9

7

8.8

7.1

8.8

7.1

8.6

7.1

8.6

6.9

8.6

6.9

8.6

6.6

8.6

6.6

9

6.6

9

6.2

9.4

6.2

9.4

6.1

9.4

6.1

9.4

6.1

9.4

6

9.3

6

9.3

5.9

9.3

5.9

9.1

5.9

9.1

5.8

8.9

5.8

8.9

5.8

8.9

5.8

8.8

5.7

8.8

5.7

8.7

5.7

8.7

5.6

8.7

5.6

8.7

5.5

8.7

5.5

8.9

5.5

8.9

5.3

8.9

5.3

9.3

5.1

9.3

5.1

9.6

5.1

9.6

4.9

9.5

4.9

9.5

4.9

9.5

4.9

9.5

4.9

9.5

5

9.4

5

9.4

5

9.4

5

9.3

4.9

9.3

4.9

9.2

4.9

9.2

4.8

9.2

4.8

8.8

4.8

8.8

4.8

8.3

4.8

8.3

4.8

8.3

4.8

7.7

4.8

7.7

4.8

7.3

4.8

7.3

4.8

6.9

4.8

6.9

4.8

6.9

4.8

6.7

4.8

6.7

4.8

6.7

4.8

6.7

4.9

6.7

4.9

6.6

4.9

6.6

5

6.6

5

6.6

5.1

6.6

5.1

6.6

5.1

6.6

5.2

6.6

5.2

6.6

5.3

6.6

5.3

6.6

5.3

6.6

5.3

6.7

5.3

6.7

5.5

6.8

5.5

6.8

5.8

6.8

5.8

6.8

5.8

6.8

6

6.8

6

6.8

6.1

6.8

6.1

6.8

6.1

6.8

6.1

6.9

6.1

6.9

6.1

6.9

6.1

6.9

6.1

6.9

6.1

7

6.1

7

6.1

7

6.1

7.1

6.1

7.1

6.1

7.2

6.1

7.2

6

7.2

6

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.3

6.1

7.3

6

7.3

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.5

6

7.5

5.9

7.5

5.9

7.5

5.8

7.5

5.8

7.5

5.8

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.5

7.5

5.5

7.5

5.3

7.5

5.3

7.6

5.3

7.6

5.2

7.8

5.2

7.8

5.1

7.8

5.1

7.9

5.1

7.9

5.1

7.9

5.1

7.9

5

7.9

5

7.9

4.9

7.9

4.9

7.9

4.9

7.9

4.9

7.9

4.9

7.8

4.9

7.8

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.7

4.9

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.7

7.7

4.7

7.8

4.6

7.8

4.6

7.8

4.6

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.9

4.5

7.9

4.5

7.9

4.5

8.1

4.5

8.1

4.6

8.1

4.6

8.1

4.6

8.1

4.6

8.2

4.6

8.2

4.7

8.2

4.7

8.2

4.8

8.2

4.8

8.3

4.8

8.3

4.8

8.4

4.8

8.4

4.8

8.4

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.6

4.8

8.6

4.7

8.7

4.7

8.7

4.7

8.7

4.7

8.8

4.7

8.8

4.7

8.8

4.7

8.8

4.6

8.8

4.6

8.9

4.6

8.9

4.6

9

4.6

9

4.5

9

4.5

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.2

9.1

4.2

9.1

4.2

9.1

4.1

9.2

4.1

9.2

4.1

9.2

4.1

9.2

4.1

9.2

4

9.3

4

9.3

4

9.3

4

9.4

4

9.4

4

9.4

4

9.4

3.9

9.4

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.8

9.3

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.7

9.2

3.7

9.2

3.7

9.2

3.7

9.3

3.7

9.3

3.7

9.4

3.7

9.4

3.6

9.4

3.6

9.5

3.6

9.5

3.6

9.6

3.6

9.6

3.6

9.6

3.6

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.7

3.5

9.7

3.4

9.7

3.4

9.6

3.4

9.6

3.4

9.6

3.4

9.6

3.3

9.6

3.3

9.6

3.3

9.6

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.6

3.3

9.6

3.3

9.6

3.3

9.6

3.2

9.6

3.2

9.6

3.2

9.6

3.3

9.6

3.3

9.6

3.2

9.6

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.4

3.2

9.4

3.2

9.4

3.2

9.3

3.1

9.3

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.3

3.1

9.3

3

9.3

3

9.4

3

9.4

3

9.4

3

9.4

3

9.4

3

9.3

3

9.3

3

9.3

3

9.3

3

9.3

3

9.3

2.9

9.3

2.9

9.3

2.9

9.3

2.8

9.3

2.8

9.3

2.9

9.3

2.9

9.3

2.9

9.3

2.9

9.2

2.9

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.1

2.7

9.1

2.7

9.1

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.6

9.2

2.6

9.1

2.6

9.1

2.6

9.2

2.6

9.2

2.6

9.2

2.6

9.2

2.6

9.2

2.7

9.1

2.7

9.1

2.7

9.1

2.7

9

2.7

9

2.6

8.9

2.6

8.9

2.5

8.9

2.5

8.8

2.5

8.8

2.5

8.8

2.5

8.8

2.4

8.8

2.4

8.7

2.3

8.7

2.3

8.6

2.3

8.6

2.3

8.6

2.3

8.6

2.3

8.6

2.2

8.6

2.2

8.6

2.2

8.5

2.2

8.5

2.2

8.5

2.2

8.4

2.2

8.4

2.2

8.3

2.2

8.3

2.2

8.3

2.2

8.2

2.2

8.2

2.2

8.2

2.2

8.2

2.3

8.2

2.3

8.1

2.3

8.1

2.4

8

2.4

8

2.3

8

2.3

7.9

2.3

7.9

2.3

7.9

2.3

7.9

2.3

7.5

2.3

7.5

2.2

7.5

2.2

7.4

2.2

7.4

2.2

7.2

2.2

7.2

2.2

7.2

2.2

6.7

2.1

6.7

2.1

7.1

2.1

7.1

1.9

7.1

1.9

7.9

1.6

7.9

1.6

8.2

1.6

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.1

1.5

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8

1.4

8

1.4

8

1.4

8

1.4

8

1.4

7.5

1.5

7.5

1.5

6.7

1.5

6.7

1.5

6.7

1.5

6.7

1.5

6.7

1.5

7.4

1.5

7.4

1.5

7.4

1.6

7.6

1.7

7.6

1.7

7.7

1.7

7.7

1.8

7.6

1.8

7.6

1.8

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.5

1.7

7.5

1.7

7.5

1.7

7.4

1.7

7.4

1.7

7.4

1.7

7.4

1.7

7.4

1.6

7.3

1.6

7.3

1.6

7.2

1.6

7.2

1.6

7

1.6

7

1.6

7

1.6

6.9

1.6

6.9

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.5

1.6

6.5

1.6

6.1

1.6

6.1

1.6

6.1

1.6

6.3

1.6

6.3

1.6

6.7

1.6

6.7

1.6

6.7

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.7

1.5

6.7

1.5

6.6

1.5

6.6

1.5

6.5

1.5

6.5

1.5

6.5

1.5

6.2

1.5

6.2

1.5

5.8

1.5

5.8

1.5

5.8

1.5

5.6

1.5

5.6

1.5

5.4

1.5

5.4

1.5

5.4

1.5

5.3

1.5

5.3

1.5

5.1

1.5

5.1

1.5

5.1

1.5

5.1

1.4

5.1

1.4

5.4

1.4

5.4

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.6

1.5

5.6

1.5

5.5

1.5

5.5

1.5

5.5

1.5

5.4

1.5

5.4

1.5

5.3

1.5

5.3

1.5

5.3

1.5

5.2

1.5

5.2

1.6

5.1

1.6

5.1

1.6

5

1.6

5

1.6

5

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.8

1.6

4.8

1.6

4.8

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.5

1.4

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.6

4.5

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.5

1.6

4.5

1.6

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.4

1.5

4.4

1.5

4.4

1.5

4.4

1.5

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.3

4.4

1.3

4.4

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.2

4.5

1.2

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



b

eff, prop=0

eff,B=0,co-fire

time,s

Efficiency,%

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

74.6

0

74.2

53.1

74.2

50.9

88.2

85.6

88.1

85.1

90.5

85.1

90.3

90.8

90.3

90.6

90.9

92

90.7

91.8

90.9

91.8

90.8

92.2

90.9

92

90.8

92.2

90.8

92

90.9

92

90.8

92.1

90.9

91.9

91

92

91

91.9

91

92

91

91.8

91

91.8

90.9

91.8

90.9

91.7

91

91.7

90.9

91.6

90.9

91.6

90.9

91.7

90.9

91.6

90.9

91.6

90.9

91.6

90.9

91.6

90.8

91.6

90.8

91.6

90.9

91.6

90.9

91.5

90.9

91.5

90.9

91.6

90.9

91.5

90.8

91.5

90.8

91.4

90.9

91.4

90.9

91.4

90.9

91.3

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.3

90.9

91.3

91.5

91.3

91.6

91.3

91.6

91.3

91.6

91.9

91.7

91.9

90.3

91.7

89

91.7

88.3

91.7

83.1

90

83.4

89

83.4

88.6

74

88.6

73.6

84.1

65.2

84

64.2

74.7

64.2

73.1

61.3

64

60.2

62.8

60

62.8

58.8

57.8

58.8

57

59.4

55.1

58.2

54.4

59

54.4

57.6

53.3

57.6

52.7

58.3

52.1

57.1

51.7

57.9

51.7

56.6

51.2

57.5

51.3

56

51.1

56

51.2

57

51.2

55.6

51

57.1

50.8

55.3

50.5

55.3

50.2

57.1

50.3

55

49.7

57

49.7

54.2

49.7

54.2

49.1

56.3

49.3

53.4

48.9

56.1

48.9

52.7

49.3

52.7

49

55.5

49.3

51.6

48.8

55.1

48.8

51.3

48.8

55.2

48.5

51.9

48.3

51.9

48

55.3

48

52.8

47.7

55.5

47.4

53.6

47.2

53.6

46.9

55.3

46.9

53

46.7

53.6

46.3

50.8

46

50.8

45.5

52.3

45.6

49.4

44.8

52.5

44.8

50.3

45.2

50.3

44.2

53.5

45

52.2

44

53.5

44

52.6

45

52.6

44.3

52.7

45.5

52.2

44.7

52.7

44.7

52.7

46.3

53.5

45.6

53.6

47

53.6

46.4

54.4

46.4

54.2

47.1

54.6

46

54.3

46.6

54.3

44

54.6

45.9

54.2

41.9

54.2

41.9

54

45.6

54

42

54.1

47.5

53.8

44.3

53.9

44.3

53.8

49.4

53.8

46.9

53.7

50.3

53.6

48.2

53.5

48.2

53.5

50.5

53.6

48.3

53.6

50.3

53.6

48.1

53.8

48.1

53.7

50.4

53.8

48.1

53.7

50.8

53.7

48.5

53.8

51.2

53.7

51.4

53.6

49

53.4

51.8

53.4

49.2

52.8

51.4

52.6

49

52.1

49

52

51.4

52

48.8

52

51.8

51.8

49.4

51.8

49.4

51.7

52.8

51.7

51.1

52.1

54.6

52.1

53.8

52.5

53.8

52.5

56.5

52.4

56.3

52.5

57.2

52.5

57.3

52

57.3

52.2

56.9

51.7

56.9

51.9

56.2

51.9

56.1

51.5

55.5

51.6

55.4

51.3

55.4

51.3

55.2

51.3

55.2

51

55.2

51

55.1

51.1

55.1

51.1

54.7

51.1

54.5

51.8

54.4

51.8

54.1

52.1

54.1

52.1

54.5

52.2

54.2

52.2

54.4

52.3

54

52.5

54

52.5

54.4

52.7

54.2

52.8

55

52.8

54.8

53

55.6

53

55.4

53.2

55.4

53.5

56.1

53.5

56

53.5

56.6

53.9

56.6

53.5

56.6

53.7

57.1

53.7

57.2

53.2

57.2

53.2

57.3

53.1

57.3

53.1

57

53.3

57.1

53.5

56.6

53.5

57.4

53.6

57.4

53.7

57.1

53.3

58.6

53.3

57.2

53.3

58.4

53

58.4

53.2

53.4

53.3

54.2

53.4

47.7

53.4

48.3

53.3

44.4

53.3

45.1

53.2

45.1

53.3

43.4

53.3

44.3

53.3

43.1

53.6

43.3

53.5

43.3

53.7

41.7

53.7

40.3

53.4

38.8

53.6

36.8

53.3

36.8

53.4

38.6

53.3

37.6

53.3

41.9

53.3

41.7

53.6

41.7

53.5

44.3

53.8

44

53.7

44.1

53.7

43.4

54

43.1

54

42.4

54.4

42.4

54.4

42.9

54.4

42.6

54.7

43.7

54.7

43.4

54.5

43.4

54.5

44

54.5

43.3

54.1

44.1

54

43.5

53.9

43.5

53.7

46.9

53.8

46.6

53.6

50.2

53.6

50.1

54.3

50.1

54.2

50.8

55

50.8

55

50.5

55

50.5

55.2

50.8

55.2

50.9

55.3

50.9

55.3

51.3

55.3

51.3

55.5

51.9

55.6

51.9

55.6

51.9

55.7

51.7

55.7

51.7

55.2

50.7

55.4

50.8

54.8

50.8

55.1

49.6

54.4

49.7

54.4

48.1

54.6

48

54.1

48

54.2

46.7

54

46.6

54.2

46.4

54.2

46.4

54.3

46.4

54.5

47

54.3

47.2

54.5

47.9

54.5

47.7

54

47.6

54.1

47.4

53.9

47.4

54.1

47.7

54.1

47.8

54.1

48.8

54.4

48.9

54.1

48.9

54.3

48.4

54.3

48.7

54.1

47.9

54.1

48.2

54.2

48.2

54.2

48.1

54.2

48.4

54.3

48.5

54.3

48.8

54.3

48.8

54.3

48.7

54.2

48.9

54.1

48.7

54.1

48.8

54.2

48.6

54.1

48.4

54.3

48.4

54.1

48

54.1

48

54.2

48.6

54

48.6

54.2

48.6

54

49.6

54

49.7

54.4

50.2

54.1

50.4

54.6

50.4

54.2

50.8

55.1

50.8

54.9

50.3

54.9

50.1

55.8

50.1

55.7

49.1

56.2

49.3

56.1

49.1

56.1

49.5

56

49.1

56

49

55.8

49.4

55.9

48.6

55.9

49.1

55.8

48.2

55.8

48.8

55.9

48.8

55.8

47.7

55.8

48.2

56.4

47.5

56.3

47.9

57

47.9

56.9

47.5

56.9

48.2

57.2

48.2

57.2

49

57.4

49

57.5

49

57.4

49

57.5

49

57.5

49.2

57.1

49.2

57.1

48.2

56.7

48.2

56.7

47.1

56.7

47.1

56.7

47.1

56.7

47.3

56.8

47.3

56.7

47.9

56.7

47.9

56.4

48.5

56.3

48.4

56.1

48.4

56

48.6

56

48.5

56

48.6

55.9

48.5

55.9

48.5

55.8

48.5

56.1

48.4

56.1

48.2

56.1

48.1

56.5

48.1

56.4

47.8

56.6

47.5

56.6

47.5

56.6

47.2

56.8

47.2

56.7

47.6

56.7

47.4

56.7

47.7

56.7

47.2

56.7

47.2

56.6

47.3

57.3

46.6

57.2

46.9

57.2

47

57.7

48.3

57.7

48.9

57.6

48.9

57.5

49.2

57.5

49.7

57.5

48.4

57.5

48.8

57.5

48.8

57.5

47.4

57.5

47.4

57.4

46.8

57.4

46.5

57.3

46.5

57.2

46.8

57.4

46.6

57.3

47.2

57.3

47.3

57.6

47.3

57.5

47.7

57.8

47.8

57.8

47.7

57.8

47.5

57.8

47.4

57.8

47.1

57.7

47.1

57.6

47.5

57.6

47.2

57.8

47.8

57.8

47.4

58

47.4

58.1

47.9

58.1

47.6

58

48.1

58.1

48

57.8

48

57.9

48.6

57.7

48.5

57.7

48.8

57.7

48.8

57.7

48.8

57.7

48.9

57.7

49

57.7

48.9

57.7

49

57.5

48.6

57.6

48.7

57.5

48.7

57.5

48.1

57.5

48.1

57.5

47.8

57.5

47.8

57.6

47.8

57.6

48

57.6

48

57.7

48.3

57.6

48.4

57.7

48.4

57.5

48.8

57.8

49.1

57.8

49.4

57.6

49.6

58.1

49.6

57.9

49.4

58.1

49.6

57.9

49.2

57.9

49.3

58

49.3

58

48.9

58.3

48.8

58.3

48.6

58.3

48.5

58.5

48.6

58.6

48.7

58.4

48.7

58.6

48.8

58.6

49.1

58.1

49.1

58.2

49.5

57.9

49.5

57.9

49

57.9

49.3

57.7

48.6

57.6

48.9

57.6

48.9

57.6

48.6

57.7

48.7

57.8

48.3

57.8

48.4

57.8

48.4

57.9

48.2

57.8

48.3

57.8

48.3

57.8

48.3

57.8

48.3

57.8

48.3

57.9

48.3

57.9

48.2

57.9

48.1

58

48.2

58

48

58.3

48

58.3

48.7

58.3

48.6

58.5

49.6

58.5

49.6

58.6

49.6

58.6

50.3

58.7

50.4

58.7

50.8

58.7

51

58.7

51

58.7

51

58.7

51.1

58.5

50.8

58.5

50.7

58.7

50.6

58.4

50.6

58.9

50.5

58.7

50.5

58.7

50.4

59.1

50.4

59

50.4

59.3

50.4

59.3

50.2

59.3

50.1

59.5

49.8

59.4

49.9

59.4

49.9

59.3

49.7

59.3

49.8

59.5

49.5

59.5

49.5

59.6

49.5

59.7

49.2

59.5

48.9

59.6

48.5

59.6

47.9

59.4

47.9

59.4

47.8

59.3

47.4

59.2

48.2

59.2

47.8

59.2

48.8

59.1

48.3

59.1

48.3

59.2

48.9

59.2

48.1

59.1

48.6

59.1

47.9

58.9

47.9

58.8

48.9

58.8

48.2

58.7

49.5

58.7

49.1

58.9

49.1

58.9

50.6

59.1

50.5

59.2

51.5

59.2

51.1

59.1

51.1

59.2

51.2

58.9

50.8

59

51.3

59

51.5

58.9

52.5

58.9

52.8

58.9

52.8

59

53.2

59

53.3

59.1

53.1

59.1

53.2

59.2

53.2

59.1

52.8

59.1

53

59.1

52.7

59

52.9

59.1

52.9

59.1

52.6

59.2

52.8

59.1

52.1

59.1

52.1

59.2

52.1

59.2

51.6

59.2

51.7

59.2

51.7

59.2

51.7

59.2

51.7

59.3

51.9

59.4

52

59.5

52.2

59.5

52.4

59.4

52.5

59.5

52.6

59.2

52.6

59.3

52.6

59.3

52.6

59.2

52.5

59.3

52.6

59.3

52.6

59.4

52.7

59.4

52.8

59.3

52.8

59.3

52.8

59.4

52.8

59.3

52.5

59.4

52.3

59.4

51.8

59.4

51.6

59.5

51.6

59.5

51.6

59.6

51.4

59.6

52.1

59.6

52

59.6

52.6

59.7

52.6

59.7

52.6

59.6

52.8

59.6

52.9

59.5

52.7

59.4

52.8

59.3

52.8

59.3

52.5

59.3

52.6

59.3

52.2

59.2

52.1

59.3

52.1

59.2

52.1

59.3

52

59.3

52.2

59.3

52.1

59.4

52.1

59.3

52.2

59.4

52.1

59.2

52.2

59.2

52

59.3

52.1

59.1

51.7

59.2

51.7

59.2

52.4

59.2

52

59.4

53.2

59.4

53

59.5

53

59.5

53.9

59.5

54

59.5

54.3

59.4

54.6

59.5

54.6

59.4

54.3

59.8

54.6

59.8

54

59.7

54.3

59.9

54.3

59.9

53.6

59.9

53.9

59.9

53.5

59.9

53.7

59.9

53.7

59.8

53.5

59.9

53.7

59.8

53.4

59.8

53.6

59.9

53.3

59.9

53.5

60.1

53.5

60.2

53.2

60.2

53.4

60.2

53

60.3

53.1

60.2

53.1

60.2

52.7

60.2

52.7

60.2

52.7

60.2

52.8

60.2

52.8

60.3

52.8

60.1

52.8

60.2

52.5

60.2

52.4

59.9

52.4

60

52.3

59.8

52.3

59.9

52.5

59.9

52.8

59.9

52.9

59.9

53.2

59.9

53.2

59.8

53.1

59.8

53.1

59.8

52.7

59.8

52.6

59.9

52.6

59.9

52.3

59.9

52.2

60

52.3

60

52.1

60

52.1

60

52.3

60.1

52.2

60

52.2

60

52.3

60.2

52.3

60.1

52.4

60.2

52.4

60.1

52.3

60.1

52.1

60

52.1

59.9

52

60

51.9

59.9

52.2

59.9

52.1

59.9

52.5

59.8

52.3

59.9

52.3

59.8

52.4

59.8

52

60

52.4

59.9

52.2

60.1

52.2

59.9

52.9

59.9

52.5

60

53.1

59.9

52.5

60

52.5

60

53.3

60.2

52.5

60.2

53.7

60.2

53.2

60.2

53.2

60.1

54.6

60.1

54.4

60.2

55.3

60.2

55.2

60.2

55.5

60.3

55.6

60.2

55.6

60.2

55.8

60.2

56.1

60.2

55.9

60.2

56.3

60.2

56.3

60.2

55.5

60.2

55.8

60.3

54.9

60.4

55

60.5

55

60.5

54.5

60.5

54.6

60.6

54.2

60.6

54.1

60.5

54.1

60.4

53.9

60.4

53.7

60.3

53.9

60.3

53.6

60.4

54.2

60.3

53.6

60.4

53.6

60.4

53.9

60.4

53.5

60.3

54.2

60.3

53.9

60.2

53.9

60.3

54.8

60.3

54.6

60.3

55.1

60.4

55

60.3

55

60.5

55.3

60.3

55.3

60.4

55.3

60.4

55.4

60.2

55.4

60.2

55.4

60.1

55.5

60.1

55.4

60.1

55.5

60

55.5

60

55.3

60

55.4

60

55.3

60

55.3

59.9

55.3

59.9

55.5

59.8

55.5

59.8

55.6

59.8

56

59.8

55.7

59.8

56.1

59.9

56.1

59.9

55.1

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

54.4

59.9

54.5

60

54.5

59.9

54.6

60

54.8

60.1

54.6

60.1

55

60.1

55

60.2

54.4

60.2

55

60.4

54

60.4

54.5

60.4

53.2

60.4

53.5

60.2

53.5

60.2

52.5

60.2

52.5

60.1

52

60

51.8

60

51.8

60

52

60

51.9

60

52.4

60

52.4

59.9

52.4

59.9

52.9

59.9

53

59.8

53.1

59.8

53.4

59.8

53.4

59.8

53.3

59.8

53.5

59.7

53.3

59.7

53

59.8

53

59.8

52.8

59.8

52.4

59.9

53

59.9

53

59.8

54

59.9

54.3

59.8

54.3

59.8

54.4

59.8

54.5

59.9

53.9

60

53.7

60

53.7

60.1

53.1

60.1

52.8

60

52.9

60

52.4

59.9

52.4

59.9

53

59.9

52.4

59.8

53.4

59.8

53.1

59.8

53.1

59.7

54.4

59.8

54.2

59.7

54.8

59.7

54.4

59.9

54.7

60.1

54.5

60

54.5

60.4

55.4

60.4

55.5

59.9

56.2

60.1

56.2

59.5

56.1

59.6

56.1

59.6

55.8

59.3

55.9

59.4

55.8

59.3

55.8

59.4

56.2

59.3

56.4

59.4

56.8

59.4

56.7

59.3

56.7

59.4

56.5

59.2

56.5

59.3

56.1

59.3

56.1

59.2

56.1

59.2

56.1

59.3

56.1

59.3

56.4

59.3

56.4

59.4

56.5

59.4

56.4

59.4

56.4

59.4

56.3

59.4

56.4

59.4

56.7

59.6

56.8

59.7

56.8

60

56.8

60

56.7

59.7

56

59.9

55.9

59.3

55.9

59.3

55.9

58.8

55.9

58.9

56.4

58.9

56.3

58.9

56.3

59

56.6

59.2

56.7

59.3

56.6

59.3

56.8

59.2

56.3

59.2

56.6

59

56.6

59

56.1

59

56.5

59.1

55.7

59.2

55.9

59.1

55.9

59.3

54.9

59.3

55.1

59.1

54.6

59.4

54.9

59

54.9

59.3

54.7

59

55.2

59.1

54.8

59.1

55.1

59

55.1

59.1

54.3

58.9

54.4

58.9

54

58.9

54

58.8

54

58.7

53.9

58.7

53.9

58.5

54.1

58.5

53.9

58.7

54.1

58.6

54

58.9

54

59

54.2

59

54.1

59.2

54.1

59.3

53.8

59.3

53.8

59.3

53.8

59.2

53.3

58.9

53.6

58.9

53.1

59

53.1

58.7

53.6

59

53.4

58.8

54

58.8

54

59.3

54

59.2

54.6

59.6

54.6

59.7

54.5

59.7

54.6

59.7

54.3

59.9

54.4

59.8

54.5

59.8

54.5

59.8

54.6

59.6

54.5

59.6

54.5

59.6

54.5

59.7

54.3

59.7

54.3

59.6

54.4

59.7

54.5

59.4

54.5

59.5

54.6

59.4

54.7

59.5

54.7

59.5

54.9

59.2

54.9

59.4

54.8

59

55.1

59.1

54.6

59.1

54.8

58.9

53.8

58.9

53.8

58.9

53.8

59

53.2

59

53.2

59.1

53.2

59.1

53.1

59.4

53.1

59.4

53.3

59.4

53.4

59.7

53.7

59.8

53.8

59.8

53.8

59.9

53.7

59.8

53.7

59.8

53.4

59.8

53.5

59.8

53.5

59.9

53.8

59.8

53.9

59.9

53.9

59.9

54

59.8

53.6

59.9

53.6

59.9

53.6

60.1

53.4

60.1

53.3

60

53.1

60

52.8

60

52.8

60

53

60

52.8

60.1

53.3

60.2

53.1

60.1

53.1

60.2

53.3

60

52.9

60

53.1

59.9

52.8

59.9

52.8

59.8

53.7

59.9

53.5

59.8

54.6

59.8

54.5

59.9

54.5

60

54.9

60

55.2

59.9

55.6

59.9

55.8

59.8

55.5

59.6

55.6

59.8

55.5

59.7

54.8

59.7

54.9

59.9

54.6

59.7

54.6

59.7

54.6

59.7

54.5

59.7

54.6

59.8

54.8

59.8

54.9

59.8

54.9

59.8

54.9

59.8

54.9

59.8

54.7

59.8

54.6

59.8

54.6

59.6

54.6

59.7

54.6

59.5

54.8

59.5

55

59.8

55.3

59.7

55.3

60.1

55.3

60.1

55.1

60.1

55.1

60.3

54.7

60.2

54.8

60.2

54.8

60.1

54.8

60.1

54.5

60.4

54.4

60.4

54

60.6

54

60.5

54.1

60.5

53.4

60.3

54.1

60.3

53.4

60.4

53.4

60.3

54.7

60.7

54.5

60.6

56.2

60.6

56.2

60.8

56.2

60.6

56.9

60.7

56.8

60.5

56.8

60.5

56.6

60.7

56.3

60.6

56.2

60.9

56.2

60.8

56.1

60.8

56.2

61

56.4

61

56.4

61

56.4

60.9

56.6

60.9

56.7

60.9

56.7

60.7

56.6

60.9

56.6

61

56.4

61.2

56

61.4

56.1

61.4

55.8

61.3

55.8

61.4

56.2

61.1

56

61

56.5

61

56.4

60.9

56.9

60.6

57

60.7

57

60.5

57.4

60.5

57.5

60.8

57.5

60.7

57.4

60.9

57.4

60.7

57.1

60.7

57

61

57.2

60.8

57.4

61.3

57.4

61.1

57.8

61.6

58.1

61.6

57.9

61.6

58.2

61.9

58.2

62

57.6

61.9

57.7

61.9

57.1

61.9

57.3

61.6

56.9

61.5

57.2

61.3

57.2

61.2

57

61.2

57.3

61.4

56.9

61.3

57.2

61.7

57.2

61.8

56.9

61.8

56.8

61.8

56.1

62

55.9

61.7

55.9

61.7

55.6

61.3

55.4

61.2

55.9

61.2

55.6

61

55.6

60.8

56

61

55.9

60.8

56.6

60.8

56.6

61.2

56.6

61.1

57.2

61.7

57.2

61.7

57

61.7

57.1

61.9

56.8

61.8

56.9

61.7

56.9

61.7

56.7

61.7

56.5

61.9

56.3

62.1

55.7

62.3

55.7

62.7

55.9

62.7

55.2

62.3

56.6

62.5

56.1

61.7

56.1

62

57.8

61.6

57.7

61.9

58.8

61.9

59.2

61.6

59.2

61.5

59.4

61.2

59.8

61.1

58.6

61.1

58.6

61.2

57.2

61

57.2

61.3

57.2

61

56.8

61

56.8

61.2

57.2

61.1

57.1

61.5

57.1

61.4

57.7

61.4

57.4

61.6

57.7

61.2

57.7

61

57.7

60.8

58.1

61.2

58.8

61.2

59.2

61.2

60.1

61.7

60.1

61.6

58.7

61.6

59.2

61.5

56.6

61.5

56.8

61.4

55.6

61.4

55.6

61.7

55.8

61.8

55.7

61.8

55.9

61.9

56.1

62

56.2

61.6

56.2

61.8

56.4

61.8

56.7

61.5

56.7

61.6

56.8

61.4

56.8

61.4

56.4

61.2

56.3

61.2

56.2

61.2

56

61.1

56

61

56.2

60.9

55.7

60.8

56.2

60.8

56

60.9

56

60.9

56.7

61

56.9

60.9

57.4

60.9

57.6

61.1

57.4

61

57.4

61.1

57.4

60.9

57.1

60.9

57.1

61

57

60.9

57

61.3

57

61.4

57

61.4

57

61.8

57

61.9

57.1

62

57.1

62.3

57.3

62

57.5

62.4

57.6

62.4

57.8

62

57.8

62.3

57.5

61.9

57.6

62.1

57.3

62.1

57.7

61.9

57.7

62.1

57.8

62

58.5

62.3

58.1

62.3

58.5

62.1

58.5

62.3

57.2

62

57.5

62.2

56.4

62.2

56.6

62

55.9

62.1

55.9

61.9

55.9

61.8

55.7

61.8

55.7

61.7

55.5

61.7

55.8

61.9

55.8

61.9

55.8

61.9

56.2

61.9

56.1

61.9

56.3

61.9

56.3

61.8

55.8

61.9

55.8

61.9

55.5

61.9

55.6

61.7

55.6

61.7

55.7

61.6

55.8

61.6

56.1

61.6

56.3

61.7

56.4

61.8

56.4

61.8

56.4

61.9

56

61.9

55.8

61.8

55.4

62

54.8

61.7

54.8

61.8

55

61.8

54.4

61.6

55.5

61.7

55.2

61.7

55.2

61.8

56.2

61.7

55.7

61.7

56.3

61.7

55.9

61.6

55.9

61.7

56.8

61.7

55.9

61.9

56.8

61.9

55.5

61.9

57

62.1

56.4

62.1

56.4

62.3

59.4

62.3

59.4

62.1

61.5

62.3

61.8

62

61.8

62.2

61.6

62.2

62.2

62

60.9

62.1

61.6

62.1

61.6

62.1

59.9

62

60.9

62

58.9

62

59.9

62

59.9

62.1

57.8

62.1

58.2

62.4

56.4

62.4

56.2

62.3

56.2

62.5

55.1

62.3

55.5

62.5

56.1

62.5

57.2

62.3

57.5

62.5

58.4

62.4

58.4

62.5

56.7

62.5

57.3

62.3

55.3

62.3

55.8

62.2

55.8

62.2

54.4

62.2

55.1

62.3

54.1

62.2

54.8

62.2

54.8

62.1

53.7

62.2

54.3

62.1

52.9

62.1

53.3

62.1

53.3

62

52.4

62.1

52.5

62

52.2

62

52.2

62.2

51.9

62

52

62.2

51.9

62

51.8

62

51.9

62.1

51.8

62.1

52.1

62.2

52.1

62.2

51.4

62.2

52.2

62.2

51.3

62.1

52.2

62.2

52.2

62.2

50.6

62.4

51.3

62.3

49.2

62.3

49.4

62.3

49.4

62.3

48.2

62.3

48.3

62.3

47.9

62.3

48.2

62.4

48.1

62.4

48.5

62.4

48.5

62.4

47.8

62.4

48.1

62.4

47.1

62.5

47

62.5

47

62.7

46.8

62.7

46.4

62.5

47

62.8

46.8

62.6

46.8

62.9

47.6

62.5

47.6

62.5

48

62.7

48.3

62.4

48.3

62.6

48.6

62.6

48.6

62.9

48.4

62.9

47.8

62.7

47.8

62.8

47.7

62.4

47

62.2

48.1

62.2

47.3

62.1

49.1

61.9

48.7

62.3

48.7

62.1

50.4

62.1

50.2

62.4

51.1

62.4

51.1

62.5

51.1

62.5

51.3

62.5

51.5

62.4

51.6

62.4

51.5

62.2

51.5

62.1

51.1

62

50.9

62

50.9

62

50.4

62

50.4

62.1

50.7

61.9

51.1

62.1

52.1

62.1

53.5

61.8

52.6

62

53.5

61.5

53.5

61.5

49.8

61.5

50.4

61

47.7

60.7

48.4

60.6

48.4

60.3

47.5

60.3

48.2

60.7

47.6

60.9

48.2

61.6

48.2

62.1

47

62.2

47.5

62.8

46.3

62.8

46.8

62

46.8

62.3

46.9

61.2

47.5

61.5

47.9

61.5

48.2

60.6

48.2

60.8

47.8

60.1

48

60.1

47.7

60.1

47.9

59.6

48

59.7

48.2

59.6

48.2

59.8

48.3

59.8

48.8

59.9

48.7

60.2

48.9

59.8

48.9

60.1

47.7

60.1

47.6

59.5

46.4

59.8

46.1

59.3

46.1

59.5

46.4

59.1

46.4

59.4

47.4

59.4

47.8

59.1

47.8

59.3

48.1

58.9

48.1

59.1

48

59.1

47.8

58.9

48.2

59.3

48.3

59.1

48.3

59.2

49

59.2

49.2

58.7

49.5

58.5

49.7

58.2

49.7

58

49.5

58

49.7

58.3

49.4

58.5

49.5

58.9

49.5

59.5

48.8

59

49.3

59.6

48.9

59.6

49.9

58.3

49.9

58.9

49.6

57.9

50.3

58.1

48.9

58.1

49.5

57.7

48

57.8

48.7

57.9

48.7

58.3

47.5

58.3

48

58.3

46.9

58.6

47

58.2

47

58.3

46.3

58.3

46.2

58

46.3

58.1

46.2

58.4

46.2

58.7

46.5

59

46.6

59.4

46.3

59.4

46.5

58.8

46.5

59.1

46.1

58.6

46.3

58.8

46

58.9

45.7

58.5

45.7

58.6

44.8

58.2

44.1

58.3

43.2

58.3

42.6

58.1

43.2

58.4

42.6

58

42.6

58

43.9

58

43.7

57.3

44.3

57.1

44.5

57

44.5

56.6

44.4

56.6

44.8

57.3

44.1

56.6

44.3

57.5

44.3

56.7

43.9

57.7

44.4

57.5

45.3

57.5

46.2

58.8

46.2

59.3

46.3

59.6

47.1

60.2

44.4

60.2

45.4

59

42.2

59.5

43

58.3

43

58.6

40

58.6

40.7

57.9

38.4

58.3

38.1

58

38.1

58.7

36.9

58.7

36.1

58.3

37.2

59

36.2

57.5

36.2

58.1

39.8

56.4

39.9

56.6

43.6

56.6

44.5

55.6

44.5

55.7

44.3

55.5

44.8

55.6

41.7

55.6

41.8

55.9

39.9

55.9

39.8

55.5

39.8

55.4

39.5

55.4

39.5

55.4

39.7

55.3

39.9

55.8

39.9

55.8

40.2

55.8

40.7

55.8

40.1

55.8

40.3

55.4

40.3

55.2

38.7

55.1

38.5

55.1

38

54.6

37.6

55.6

37.6

55.1

38.5

56.3

37.9

56.1

39.2

56.1

38.3

56.9

38.3

57.1

39.5

57.4

38.5

57.3

40.1

57.3

39.3

56.8

41.4

56.6

41.4

56.6

41.4

56.5

43.2

56.5

43.7

57.9

43.8

58.1

44.2

59.4

44.2

59.6

42.1

59.6

42.6

59.5

40.7

59.6

40.8

58.9

40.8

58.9

39.4

58.3

38.7

58.6

38.6

58.6

37.6

57.7

37.6

58

39.6

56.9

38

57.1

40.8

57.1

39.2

56.1

43.8

56.3

43.2

55.8

43.2

56

47.1

56

47.3

55.6

47.9

55.6

48.6

55

48.6

54.5

46.8

54.5

47.6

54.5

45

53.9

45.9

55.5

45.9

55.4

43.2

57.4

43.8

57.4

42.1

57.4

42.7

57.5

42.7

57.7

42.1

56.8

42.7

57

41.9

57

42.1

56

42.1

56.1

40.9

55.4

41.1

55.5

40.3

55.5

40.6

55

40.2

55.1

40.6

54.6

40.6

54.4

39.9

54.4

40.5

54.3

39.2

53.9

39.5

55

39.5

54.9

36.9

54.9

37.2

56.8

34.6

56.7

34.7

57.6

34.7

57.5

33

57.4

32.8

57.2

32.7

57.2

32.6

56.9

32.6

56.8

33.9

56.5

34

56.6

34.1

56.6

34.1

56.3

32.7

56.6

32.4

55.9

32.4

56.4

30.7

56.4

30.1

54.6

30.1

55.3

30.1

52.5

30.1

53.3

30.1

53.3

29.9

50.1

30.1

50.8

30.3

47.8

30.3

48.3

31.2

45.8

30.9

46.2

30.3

46.2

30

44.7

30

44.9

30

44.3

29.5

44.5

30.7

44.5

30.2

44.4

30.2

44.5

32

44.4

31.6

44.5

33

44.5

32.7

44.4

32.7

44.3

33.4

44.2

33

44

33.9

44

33.3

44.2

34.6

44.1

33.7

44.7

33.6

44.7

35.8

45.2

35

45.2

37.9

45.2

37.5

45.2

37.5

45.2

39.7

45.2

39.3

45.2

40.1

45

39.8

45.4

39.8

45.2

40

45.6

39.7

45.3

39.8

45.3

39.7

45.7

39.7

45.3

39.6

46.1

39.7

45.9

39.5

45.9

39.6

46.8

39.2

46.6

39.1

47

39.1

47

38.9

47

38.9

47.2

39.2

47.2

39.3

47.3

39.3

47.2

39.4

47.2

39.3

47.1

39.3

47.1

39.2

47

39.2

47

39.4

47.1

39.4

46.9

39.4

46.9

39.5

47

39.5

46.8

38.9

47.3

39

47.2

38.3

47.2

38.4

48

38.6

48

38.6

48.2

38.7

48.1

38.8

48.1

38.9

48.2

38.4

48.1

38.7

48.4

38.7

48.3

38.2

48.3

38.5

48.3

37.6

48.1

37.9

48.1

37.9

48.1

36.9

48.3

37.3

48.3

36.3

48.3

36.9

48.3

36.9

48

35.2

47.9

35.7

47.5

33.4

47.5

33.8

48.4

33.8

48.2

32.1

49.6

32.4

49.5

31.5

49.5

31.8

50.2

31.1

50

31.5

50

31.4

49.9

30.5

49.9

30.8

50.1

29.9

50.2

29.9

50.1

29.9

50.4

29.1

50.4

29.2

49.5

29.5

49.6

29.8

48.6

29.8

48.6

30.7

48.3

31

48.2

30.8

48.2

31

48.5

31

48.5

30.1

48.8

30.4

48.7

29.4

48.7

29.8

49

29.2

48.9

29.6

49

29.6

48.9

28.6

48.9

29

49

27.7

49

28.1

49.2

28.1

49.1

26.9

49.1

27

49.2

25.9

49

25.9

49.1

25.9

48.8

26

49.4

26

49.2

26.8

49.2

26.7

50.1

26.7

49.8

27.4

50.4

27.2

50.2

28

50.2

27.8

50.5

27.8

50.3

28.9

50.5

28.8

50.1

29.8

50.1

29.9

50.3

30.7

50.1

30.8

50.7

30.8

50.6

30.8

50.6

30.8

51.2

30.3

51.1

30.4

51.3

30.4

51.1

30.3

51.1

30.6

51.1

30.4

50.9

30.4

51.2

30.4

50.9

30

51.5

30.1

51.2

29.4

51.2

29.6

51.8

29.6

51.5

29.1

51.9

29.3

51.7

29.1

51.7

29.4

52.1

28.9

52

29.4

52.4

29.3

52.3

27.5

52.3

28

52.5

25.7

52.4

26.1

52.4

26.1

52.3

24.4

52.3

24.8

52.4

23.9

52.2

24.5

52.4

24.5

52.2

23.4

52.6

24.1

52.4

23.2

52.4

24

52.8

24

52.6

23.1

53

23.6

53

22.6

53

23.2

53.2

22.4

53.2

23

53.2

23

53.2

22.5

53.2

23

53.1

22.6

53.1

23

53

23

53

22.2

53

22.6

52.9

22.1

52.9

22.6

52.6

22.6

52.7

22.3

52.6

22.7

52.6

21.9

52.6

22.3

52.5

22.3

52.4

21

52.5

21.3

52.4

20.6

52.4

20.8

52.8

20.8

52.7

20

53.2

20.4

53.1

20.2

53.1

20.6

53.5

20.3

53.4

20.8

53.9

20.8

53.9

20.2

53.9

20.8

54.2

19.7

54.2

20.2

54.2

20.2

54.1

19.4

54.1

19.8

54.2

20.1

54.2

20.5

54.6

20.5

54.6

20.9

54.7

21.3

54.8

20.4

54.8

20.7

54.5

20.7

54.5

19.3

54.1

19.8

54.2

19

54.2

19.3

53.8

18

53.9

18.3

53.8

18.3

53.8

16.4

53.8

16.7

53.7

16

53.7

16.2

53.5

16.2

53.4

16

53.4

16.1

53.5

16.1

53.5

16.2

53.7

16.2

53.7

16

53.8

16.3

53.8

16.1

53.8

16.3

53.8

16.3

53.8

16.5

53.7

16.7

53.8

16.3

53.8

16.8

53.7

16.8

53.8

16.6

53.6

17

53.7

16.7

53.7

16.8

53.6

16.4

53.8

16.7

53.5

16.7

53.7

16.3

53.7

16.7

53.2

15.4

53.2

15.8

52.7

15.8

52.7

15

52.6

15.5

52.6

15.3

52.5

15.7

52.6

15.7

52.5

14.6

52.9

15.1

52.9

14

52.9

14.9

53.3

14.9

53.2

14.7

53.2

15.2

53.3

14.8

53.3

15.2

53.2

14.6

53.3

15.7

53.1

15.7

53.2

14.6

53.2

15.8

53.3

14.2

53.3

14.5

53.1

14.5

53.1

13

53.1

13.3

52.9

13.5

52.9

14.5

52.9

14.5

52.9

14.7

52.8

16

52.8

14.9

52.8

16.1

52.7

16.1

52.8

14.3

52.8

15.6

52.9

13.9

52.9

14.8

52.9

13.3

52.9

13.8

52.7

13.8

52.7

12.9

52.7

13.6

52.7

13.4

52.8

13.9

52.9

13.9

53

13.5

53

14

52.8

13.4

52.8

13.4

52.7

13.4

52.8

13

53

12.7

53.1

12.8

53.1

12.5

53.1

12.5

53.2

13.8

52.9

14.2

53

14.8

53

14.8

52.5

15.8

52.7

14

52.2

15.6

52.4

13.3

52.4

14.7

52

11.9

52.2

13.5

52

13.5

52.1

10.7

52.1

12.7

51.7

9.9

51.8

11.3

51.4

11.3

51.5

8.2

51.5

9

51.4

9

51.6

7.4

51.4

7.4

51.6

7.4

51.2

8.3

51.4

9.3

51.4

10.3

51

10.3

51.2

9.4

50.6

8.8

50.9

6.4

50.9

4.8

50.4

6.9

50.7

5.9

50.3

5.9

50.6

10.4

50.6

10.5

50.2

10.5

50.4

12.5

49.8

12.5

50

11.3

50

11.5

49.7

11

50.8

12.1

50.7

12.1

51.2

11.6

48.6

12.5

49.3

10.5

49.3

11.4

48.1

11.4

49.7

10.4

48.7

12.5

47.6

11.2

47.6

17.1

43

13

41.1

13

44.5

20.1

43.3

10.7

43.3

15.6

48.9

4.1

48.6

7.2

50.3

7.2

50.2

1.6

50.2

4.2

50.5

1.2

50.4

2.4

50.4

2.4

50.5

0

50.3

0.9

50.6

0

50.6

0

50.6

0

50.7

0

50.5

0

50.7

0

50.7

0

50.5

0

51.7

0

51.3

0

53.6

0

53.6

0

50.9

1

51.1

0.6

44.7

0.6

43.2

1.6

43.2

0

42.8

0

42.2

0

47.4

0

47.1

0

47.1

1.4

48.9

6.9

48.8

6.4

49.1

6.4

49.2

7.6

49.1

7.4

49.3

7.4

49.3

6.6

49.2

6.6

49.3

6.6

49.1

6.3

49.3

5.6

49.3

5.6

49.2

4.8

49.3

5.4

49

5.4

49.3

5.4

49.3

5.4

48.9

5.4

49.2

5.4

48.7

5.4

49.1

5.4

49.1

5.4

48.5

5.3

48.9

5.3

48.1

5.8

48.4

5.9

47.5

5.9

47.8

5.5

47.8

5.9

47.1

5.9

48.7

5.2

48.1

5.4

49.6

5.4

49.6

5.2

46.6

5.2

46.1

5.2

42.5

4.1

41.3

3.7

41.3

3.7

43.1

3.9

42.7

4

46

4

45.8

4.8

45.8

5.3

46.8

5.3

46.8

5.1

46.8

5.1

46.9

5.1

46.9

3.9

46.9

3.4

46.9

3.4

46.9

3.9

47.1

3.9

47.1

3

46.4

3.5

46.7

3.5

46

3.5

47

3.1

46.5

3.5

48.1

3.5

48.1

2.9

45.8

2.9

47.2

2.9

43.6

3.7

44.8

4.1

44.8

4.1

42

3.7

43.6

4.1

42.3

4.1

43.4

4.1

43.4

2.8

41

3.1

41.1

2.5

38.6

2.5

37.4

2.5

37.4

2.2

38

1.3

36.9

1.3

40

1.5

39.5

2

41.8

2

41.6

2.2

41.6

2.2

42.4

2.2

42.5

2.7

42.1

2.6

42.8

2.6

42.8

3

42.1

2.9

42.6

3.3

41.5

3.1

42.3

3.6

42.3

3.6

41.5

2.8

42.2

2.8

41.2

1.7

42.1

3.9

42.1

3.9

40.8

3.1

41.6

7.6

40.1

7.3

40.7

7.3

39.8

8.7

39.7

7.5

40.1

7.5

39.4

7.6

39.9

7.6

39.9

7.6

40.5

8

40.5

8.1

39.7

8.1

40.3

6.9

39.1

7.4

39.4

7.4

39.4

6.2

38.5

4.9

38.9

4.9

38.5

5.3

38.9

5.2

38.9

4.8

38.6

5

38.9

5

38.6

5.1

38.7

5.1

38.7

5

38.7

5.3

38.8

4.5

38.6

4.8

38.7

4.8

38.6

5.1

38.8

4.7

38.8

4.7

38.8

5.1

39

5.1

38.8

3.9

39

3.4

39

3.5

38.8

3.5

39

3

38.9

3.1

39.1

3.1

39.1

4

38.9

5.3

39.1

5.3

39

5.3

39.1

5.3

39.1

5.2

39.1

5.5

39.2

4.2

39.1

4.5

39.3

2.3

39.2

2.7

39.4

2.7

39.3

3.2

39.2

3.2

39.3

3.2

39.1

3.7

39.2

4

39.2

4

39.2

4

39.3

4

39.4

3

39.5

3

39.5

3.1

39.3

1.9

39.2

3.6

39.1

3.5

39.2

3.5

39.2

7.7

39.4

9.4

39.5

9.4

39.7

9.1

39.7

9.1

39.7

9.1

39.7

8.6

39.7

8.6

39.8

8.7

39.8

8.8

39.8

8.8

39.8

8.2

39.8

8.3

39.7

8.3

39.6

8.3

39.6

6.8

39.7

5.7

39.7

5.7

39.7

5.8

39.8

5.4

39.8

5.6

39.8

5.6

39.8

6.4

39.9

6.4

39.9

6.9

40

7.1

40.1

7.1

40.1

7.5

40

6.7

40

6.7

40

7.1

40

7.1

39.9

6.7

40

6.2

40

6.2

40

6.4

40.1

6

40.1

5.9

40.2

5.9

40.2

6.3

40

6.2

40.1

5.7

39.9

5.5

40

5.5

40

6

40

5.4

40.1

5.8

39.8

5.1

39.8

5.1

39.8

6.4

39.7

6.1

39.8

7.7

39.9

7.7

39.9

7.7

39.8

7.8

39.8

7.8

39.8

6.5

39.6

6.8

39.6

6.8

39.6

6

39.6

6.3

39.6

6.5

39.6

6.5

39.6

5.2

39.3

6.1

39.4

6.1

39.4

4.9

39.2

4.9

39.2

2.7

39.4

2.9

39.4

2.9

39.4

1.9

39.6

2.4

39.7

1.5

39.6

2.1

39.6

2.1

39.6

0.6

39.5

1.4

39.5

0.4

39.4

0.4

39.3

0.4

39.4

0

39.5

0

39.4

0

39.9

0

39.9

0

39.9

0

39.9

0

39.9

0

39.7

0

39.7

0

39.7

0

39.8

0

39.8

0

39.8

0

39.8

0

39.7

0

39.6

0

39.6

0

39.6

0

39.5

0

40

0

39.9

0

40.5

0

40.5

0

40.4

0

40.4

0

40.5

0

40.4

0

40.4

0

40.4

0

40.5

0

40.5

0

40.6

0

40.7

0

40.7

0

40.6

0

40.5

0

40.4

0

40.4

0

40.4

1.4

40.4

1.3

40.4

0

40.4

0

40.4

0

40.4

0

40.2

0

40.2

0

40.1

0

40

0

40.1

0

40.1

0

40.1

0

40.1

0

40.1

0

40.1

0

40.2

0

40.2

0

40.2

0

40.3

0

40.2

0

40.2

0

40.2

0

40.2

0

40.3

0

40.3

0

40.3

0

40.3

0

40.2

0

40.3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



c

a.e., prop=0

a.e.,B=0,co-fire

time,s

Air excess,%

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

318.9

0

318.9

892.2

318.9

892.2

88.7

187.7

88.7

187.7

50.6

187.7

50.6

75.5

50.6

75.5

41.4

48.9

41.4

48.9

38.2

48.9

38.2

41.7

36.8

41.7

36.8

39.5

36.8

39.5

36

39.5

36

38.3

35.5

38.3

35.5

37.2

35.5

37.2

35

36.4

35

36.4

34.5

36.4

34.5

35.9

34.5

35.9

34

35.2

34

35.2

33.6

35.2

33.6

34.4

33.6

34.4

33.4

33.9

33.4

33.9

33.4

33.9

33.4

33.6

33.2

33.6

33.2

33.6

33.2

33.6

32.9

33.6

32.9

33.1

32.5

33.1

32.5

32.6

32.5

32.6

31.8

32.6

31.8

32.3

31.5

32.3

31.5

31.7

31.5

31.7

31.7

30.8

31.7

30.8

31.4

30.8

31.4

30.3

31.4

30.3

30.8

30.1

30.8

30.1

30.6

30.1

30.6

30

30.6

30

28.7

30

28.7

30

46

30

46

30.1

113.1

30.1

113.1

44.1

113.1

44.1

235.1

44.1

235.1

103

343.7

103

343.7

222.1

343.7

222.1

380

332.3

380

332.3

382.4

332.3

382.4

391.6

382.4

391.6

374.7

413.4

374.7

413.4

365.1

413.4

365.1

425

365.1

425

355.9

432.4

355.9

432.4

345.7

432.4

345.7

437.2

336

437.2

336

438.1

336

438.1

324.8

438.1

324.8

440

310.8

440

310.8

443

310.8

443

293.5

442

293.5

442

276.1

442

276.1

441

276.1

441

256.7

439

256.7

439

234.3

439

234.3

434.3

234.3

434.3

212.2

431.4

212.2

431.4

187.7

431.4

187.7

431.4

164.1

431.4

164.1

432.3

164.1

432.3

144.8

432.3

144.8

434.2

130.8

434.2

130.8

436.1

130.8

436.1

123.3

436.1

123.3

437.1

120.4

437.1

120.4

439

120.4

439

114.2

438

114.2

438

101.1

438

101.1

433.2

101.1

433.2

88.4

425.8

88.4

425.8

82.9

425.8

82.9

415

82.9

415

82.4

402.1

82.4

402.1

80.7

402.1

80.7

385.9

77.3

385.9

77.3

371.4

77.3

371.4

74.4

371.4

74.4

362.7

73

362.7

73

355

73

355

72.3

339.1

72.3

339.1

72.2

339.1

72.2

308.6

72.2

308.6

72

268.9

72

268.9

71.7

268.9

71.7

234.7

71.7

234.7

72.2

212.9

72.2

212.9

72.6

212.9

72.6

199.7

72.1

199.7

72.1

189.3

72.1

189.3

71.4

189.3

71.4

177.4

70.9

177.4

70.9

164.1

70.9

164.1

70.7

150.3

70.7

150.3

71.2

150.3

71.2

137.1

71.2

137.1

73.7

126.8

73.7

126.8

75.6

126.8

75.6

116.5

75.6

116.5

75.9

103.5

75.9

103.5

76.1

103.5

76.1

89.6

76.1

89.6

74.5

76

74.5

76

73.1

76

73.1

65.9

73.7

65.9

73.7

62.5

73.7

62.5

75.5

62.5

75.5

64

77.1

64

77.1

67

77.1

67

78.8

69.4

78.8

69.4

80

69.4

80

70.2

80

70.2

81

70.5

81

70.5

80.5

70.5

80.5

72

80.5

72

78

72.4

78

72.4

77

72.4

77

71.2

76.7

71.2

76.7

70.2

76.7

70.2

76

70.2

76

68.7

75.3

68.7

75.3

65.8

75.3

65.8

74.7

62.7

74.7

62.7

74.2

62.7

74.2

59.8

74.2

59.8

74.3

57.5

74.3

57.5

75.6

57.5

75.6

55.8

75.6

55.8

77.3

55.7

77.3

55.7

77.7

55.7

77.7

56.8

77

56.8

77

58.6

77

58.6

76.5

58.6

76.5

59.6

78.3

59.6

78.3

65.3

78.3

65.3

79.5

65.3

79.5

85.7

78.9

85.7

78.9

112.3

78.9

112.3

79.7

128.5

79.7

128.5

80.1

128.5

80.1

135.6

80.1

135.6

79.9

140.5

79.9

140.5

80.3

140.5

80.3

147.3

80.3

147.3

81.5

153.5

81.5

153.5

82.5

153.5

82.5

146.1

82.7

146.1

82.7

128.7

82.7

128.7

81.6

128.7

81.6

118.7

80.2

118.7

80.2

118.2

80.2

118.2

79

119.5

79

119.5

77.4

119.5

77.4

117.2

77.4

117.2

76.5

112.9

76.5

112.9

77.2

112.9

77.2

110.3

77.2

110.3

78.6

107

78.6

107

79.2

107

79.2

94.2

79

94.2

79

81.2

79

81.2

76.3

81.2

76.3

78.5

73.2

78.5

73.2

79.7

73.2

79.7

72.3

78.6

72.3

78.6

71.8

78.6

71.8

76.9

71.8

76.9

70.9

74.7

70.9

74.7

70.9

74.7

70.9

75.3

70.9

75.3

72.6

79.1

72.6

79.1

74.9

79.1

74.9

83.7

77.5

83.7

77.5

89.9

77.5

89.9

79.4

89.9

79.4

94.9

80

94.9

80

95.8

80

95.8

79.9

95.8

79.9

93.6

80.9

93.6

80.9

90.7

80.9

90.7

82.8

91.2

82.8

91.2

83.6

91.2

83.6

90.3

83.6

90.3

83.6

86.6

83.6

86.6

84.5

86.6

84.5

88.1

84.5

88.1

85.4

91.1

85.4

91.1

85.1

91.1

85.1

91.3

85

91.3

85

91

85

91

85

91

85

91.7

85.2

91.7

85.2

92.6

85.2

92.6

84.7

93.5

84.7

93.5

83.7

93.5

83.7

95

83.7

95

83.3

92.7

83.3

92.7

82.1

92.7

82.1

89

82.1

89

80.3

87.1

80.3

87.1

78.2

87.1

78.2

85.5

74.9

85.5

74.9

87.7

74.9

87.7

71.2

87.7

71.2

91.6

69.5

91.6

69.5

92.2

69.5

92.2

69.9

93.8

69.9

93.8

70.4

93.8

70.4

97.1

70.4

97.1

70.7

100.4

70.7

100.4

70.3

100.4

70.3

104.6

70.3

104.6

67.7

107.6

67.7

107.6

65.2

107.6

65.2

108.9

65.2

108.9

63.9

108.9

63.9

108.9

63.1

108.9

63.1

108.9

63.2

108.9

63.2

108.9

63.2

108.9

64.6

108.9

64.6

113.1

65.9

113.1

65.9

117.5

65.9

117.5

66

117.5

66

116.6

65.8

116.6

65.8

113.9

65.8

113.9

66.8

111.6

66.8

111.6

67.7

111.6

67.7

110.8

67.7

110.8

67.9

110.4

67.9

110.4

67.5

110.4

67.5

110.4

66.2

110.4

66.2

111.1

66.2

111.1

64.8

111.1

64.8

112.2

64

112.2

64

111.9

64

111.9

63.4

111.9

63.4

110.1

63.4

110.1

63.4

108.6

63.4

108.6

63.4

108.6

63.4

108.5

60.5

108.5

60.5

107

60.5

107

58.8

101.6

58.8

101.6

59.3

101.6

59.3

100.4

59.3

100.4

59.5

105.8

59.5

105.8

59.6

105.8

59.6

111.3

59.6

111.3

59.9

113.7

59.9

113.7

60.2

113.7

60.2

112.7

59.6

112.7

59.6

110.1

59.6

110.1

58.3

110.1

58.3

108.3

57.3

108.3

57.3

108.6

57.3

108.6

57.1

109.2

57.1

109.2

57.3

109.2

57.3

107.6

57.3

107.6

56.8

105

56.8

105

56

105

56

103.3

56

103.3

56.4

101.1

56.4

101.1

57.5

101.1

57.5

99

58.3

99

58.3

97.8

58.3

97.8

58.4

97.8

58.4

97.3

58.4

97.3

58.4

97.8

58.4

97.8

58.9

99.4

58.9

99.4

59.2

99.4

59.2

101.5

59.2

101.5

59.4

102.7

59.4

102.7

59

102.7

59

101.8

59

101.8

58.4

100.7

58.4

100.7

58.2

100.7

58.2

99.2

57.1

99.2

57.1

97.8

57.1

97.8

55.5

97.8

55.5

98.9

54.6

98.9

54.6

100.4

54.6

100.4

54

100.4

54

101.9

52.8

101.9

52.8

102.9

52.8

102.9

52.3

102.6

52.3

102.6

53.2

102.6

53.2

102.2

53.2

102.2

54.9

102.4

54.9

102.4

56

102.4

56

104.5

56

104.5

56.8

107.3

56.8

107.3

56.8

107.3

56.8

108.7

56.4

108.7

56.4

110.2

56.4

110.2

56.5

110.2

56.5

111.3

56.8

111.3

56.8

111.4

56.8

111.4

57

111.4

57

111.4

56.6

111.4

56.6

111.9

56.6

111.9

56

111.3

56

111.3

54.9

111.3

54.9

108.6

54.9

108.6

53.9

104.8

53.9

104.8

53.5

104.8

53.5

101.6

53.2

101.6

53.2

100

53.2

100

53.2

100

53.2

100

53.3

100

53.3

101

53.3

101

52.5

101.6

52.5

101.6

50.8

101.6

50.8

101.6

50.8

101.6

49.3

101.6

49.3

101.6

48.3

101.6

48.3

102.4

48.3

102.4

47.7

103.5

47.7

103.5

47.6

103.5

47.6

104.4

47.6

104.4

47.3

105.7

47.3

105.7

47

105.7

47

107.1

47.5

107.1

47.5

108.9

47.5

108.9

48.3

108.9

48.3

109.2

48.8

109.2

48.8

105.8

48.8

105.8

48.8

101.7

48.8

101.7

48.8

101.7

48.8

99.4

48.8

99.4

49.2

97.5

49.2

97.5

50.1

97.5

50.1

93.7

50.1

93.7

50.5

88.7

50.5

88.7

49.8

88.7

49.8

83.3

48.9

83.3

48.9

79.5

48.9

79.5

49.3

79.5

49.3

79.2

50.4

79.2

50.4

77

50.4

77

50.9

73.2

50.9

73.2

50.8

73.2

50.8

71.8

50.8

71.8

50.4

72.8

50.4

72.8

50.2

72.8

50.2

74.3

50.2

74.3

50.3

75.2

50.3

75.2

50

75.2

50

76.5

49.6

76.5

49.6

78.9

49.6

78.9

49.2

78.9

49.2

80.8

49.2

80.8

49.2

80.7

49.2

80.7

49.2

80.7

49.2

79.8

48.9

79.8

48.9

79.1

48.9

79.1

49.4

78.6

49.4

78.6

50.5

78.6

50.5

78.9

50.5

78.9

50.7

79.5

50.7

79.5

50.7

79.5

50.7

79.4

50.7

79.4

50.9

79.4

50.9

79.4

50.5

79.4

50.5

80.6

50.1

80.6

50.1

82.6

50.1

82.6

49.8

82.6

49.8

82.5

49.5

82.5

49.5

79.9

49.5

79.9

49.5

77.5

49.5

77.5

49.5

77.5

49.5

77

49.5

77

50.1

77.8

50.1

77.8

50.4

77.8

50.4

78.9

50.4

78.9

50.3

80.3

50.3

80.3

50

80.3

50

80

49.4

80

49.4

79.3

49.4

79.3

49

79.3

49

78.8

48.7

78.8

48.7

78.3

48.7

78.3

48.2

77.7

48.2

77.7

47.6

77.7

47.6

75.1

47.6

75.1

46.8

70.9

46.8

70.9

46.2

70.9

46.2

67.9

46.2

67.9

46.2

67

46.2

67

45.7

67

45.7

68.3

44.4

68.3

44.4

70.5

44.4

70.5

43.7

70.5

43.7

73

43.5

73

43.5

74.6

43.5

74.6

43.4

74.6

43.4

75.5

43.1

75.5

43.1

76.7

43.1

76.7

42.7

77.9

42.7

77.9

42.2

77.9

42.2

79.2

42.2

79.2

42.2

80.9

42.2

80.9

42.4

80.9

42.4

82.6

42.4

82.6

42.7

82.6

42.7

82.6

43

82.6

43

82.3

43.6

82.3

43.6

83.4

43.6

83.4

44.6

83.4

44.6

83.8

45.1

83.8

45.1

82.8

45.1

82.8

45

82.3

45

82.3

45.1

82.3

45.1

82.9

45.1

82.9

45.1

84.9

45.1

84.9

44.8

84.9

44.8

85.8

44.8

85.8

44.4

85.6

44.4

85.6

44.2

85.6

44.2

84.9

44

84.9

44

84.5

44

84.5

43.3

84.5

43.3

84.1

43.1

84.1

43.1

84.3

43.1

84.3

43.5

84.3

43.5

84.6

43.3

84.6

43.3

83.4

43.3

83.4

43.3

81.8

43.3

81.8

43

81.8

43

81.5

43

81.5

42.3

79.9

42.3

79.9

41.6

79.9

41.6

77

41.6

77

41.3

74.7

41.3

74.7

40.8

74.7

40.8

71.7

40.1

71.7

40.1

67.3

40.1

67.3

40.1

67.3

40.1

62.3

40.2

62.3

40.2

59

40.2

59

40.2

57.7

40.2

57.7

40.6

57.7

40.6

57.1

40.6

57.1

40.8

57.9

40.8

57.9

40.7

57.9

40.7

60.8

40.7

60.8

40.4

64.1

40.4

64.1

40

64.1

40

66

40

66

40

67.3

40

67.3

40.4

67.3

40.4

68.3

40.4

68.3

40.4

67.4

40.4

67.4

40.4

65.3

40.4

65.3

40.3

65.3

40.3

64

40.3

64

40.6

61.3

40.6

61.3

40.8

61.3

40.8

58

40.8

58

40.9

56.3

40.9

56.3

41.2

56.3

41.2

55.3

41.7

55.3

41.7

55.4

41.7

55.4

42.6

55.4

42.6

55.4

43.1

55.4

43.1

55.7

43.1

55.7

43.3

55.7

43.3

56.3

43.3

56.3

43.3

56.5

43.3

56.5

43.6

56.5

43.6

56.5

44.1

56.5

44.1

56.3

44.1

56.3

44.1

57.3

44.1

57.3

43.6

57.3

43.6

60.8

43.6

60.8

43.3

60.8

43.3

60.8

43.3

60.8

43.3

60.8

43.1

60.8

43.1

64

43.1

64

42.6

64

42.6

63.9

42.4

63.9

42.4

64.6

42.4

64.6

42.4

64.6

42.4

66.7

42.3

66.7

42.3

70.2

42.3

70.2

42.2

75.3

42.2

75.3

42.7

75.3

42.7

79

42.7

79

43.2

80.8

43.2

80.8

43.2

80.8

43.2

80.1

43.3

80.1

43.3

78.2

43.3

78.2

43.8

78.2

43.8

76.3

44.1

76.3

44.1

75.8

44.1

75.8

44.1

75.8

44.1

76.5

44.1

76.5

44.1

77.4

44.1

77.4

44

77.4

44

78.1

43.7

78.1

43.7

76.2

43.7

76.2

44.1

72.5

44.1

72.5

44.3

72.5

44.3

72.1

44.3

72.1

43.8

74.5

43.8

74.5

43.6

74.5

43.6

76.8

43.6

76.8

43.9

76.3

43.9

76.3

44.2

76.3

44.2

74.2

44.3

74.2

44.3

70.4

44.3

70.4

44.3

70.4

44.3

65.8

43.7

65.8

43.7

63.7

43.7

63.7

42.9

62.6

42.9

62.6

43.2

62.6

43.2

59.3

43.2

59.3

44.8

56.8

44.8

56.8

47

56.8

47

56.9

47

56.9

48.2

56.6

48.2

56.6

48.8

56.6

48.8

54.9

49.2

54.9

49.2

53.6

49.2

53.6

49.6

53.6

49.6

54.2

50.3

54.2

50.3

55.3

50.3

55.3

50.7

55.3

50.7

55.3

50.3

55.3

50.3

54.4

50.3

54.4

49.8

54

49.8

54

49.8

54

49.8

54.4

49.8

54.4

49.6

53.2

49.6

53.2

49.3

53.2

49.3

53.2

49.3

53.2

50.3

55.3

50.3

55.3

52.4

55.3

52.4

55.5

54.4

55.5

54.4

53.6

54.4

53.6

54.7

53.6

54.7

52.8

54

52.8

54

53.3

54

53.3

54.4

55.3

54.4

55.3

55

55.3

55

57.3

55

57.3

54.9

60.2

54.9

60.2

55.3

60.2

55.3

63.7

55.3

63.7

55.8

65.6

55.8

65.6

57

65.6

57

66.3

58.2

66.3

58.2

67.9

58.2

67.9

58.7

67.9

58.7

71

59.2

71

59.2

72.8

59.2

72.8

59.5

72.9

59.5

72.9

59.6

72.9

59.6

72.5

59.6

72.5

58.9

71.7

58.9

71.7

57.7

71.7

57.7

70.8

57.7

70.8

56.8

70.8

56.8

70.8

56.8

70.8

56.8

71

57.2

71

57.2

69.9

57.2

69.9

56.9

69.9

56.9

68

55.7

68

55.7

65.5

55.7

65.5

53.5

65.5

53.5

63.5

51.9

63.5

51.9

63.8

51.9

63.8

51.7

64.8

51.7

64.8

52.2

64.8

52.2

64.7

52.2

64.7

53.2

65.1

53.2

65.1

53.5

65.1

53.5

65.9

53.5

65.9

54

65.5

54

65.5

55.1

65.5

55.1

65.1

55.8

65.1

55.8

65.2

55.8

65.2

57.2

65.2

57.2

65.4

58.7

65.4

58.7

67.4

58.7

67.4

59.7

71.2

59.7

71.2

59.9

71.2

59.9

73.4

59.9

73.4

59.4

73.5

59.4

73.5

58.4

73.5

58.4

72.8

58.4

72.8

57.3

71.4

57.3

71.4

56.9

71.4

56.9

71.7

57.3

71.7

57.3

72.5

57.3

72.5

57.1

72.5

57.1

71.5

57.2

71.5

57.2

71.4

57.2

71.4

57.5

72.8

57.5

72.8

57.5

72.8

57.5

73.7

57.5

73.7

57.8

74.4

57.8

74.4

58

74.4

58

73.5

58

73.5

57.9

71.5

57.9

71.5

58.2

71.5

58.2

71

59

71

59

70.5

59

70.5

59.2

70.5

59.2

67

58.8

67

58.8

63

58.8

63

58.3

63

58.3

61.3

58.1

61.3

58.1

60.1

58.1

60.1

58.3

61.1

58.3

61.1

57.6

61.1

57.6

63.8

57.6

63.8

57.1

65

57.1

65

57.2

65

57.2

65.4

57.2

65.4

56.8

64.8

56.8

64.8

56.8

64.8

56.8

64.9

56.9

64.9

56.9

65.7

56.9

65.7

56.8

65.7

56.8

65.9

56.6

65.9

56.6

65.1

56.6

65.1

55.2

64

55.2

64

53.5

64

53.5

64.8

53.5

64.8

53

66.2

53

66.2

53

66.2

53

66.5

53

66.5

51.9

67.1

51.9

67.1

50.9

67.1

50.9

66.6

50.8

66.6

50.8

64.3

50.8

64.3

50.2

64.3

50.2

59.6

48.5

59.6

48.5

53.4

48.5

53.4

47.6

53.4

47.6

50.7

47.3

50.7

47.3

50.9

47.3

50.9

46.4

51.9

46.4

51.9

45.4

51.9

45.4

52.2

45.4

52.2

44.5

51.4

44.5

51.4

44.4

51.4

44.4

50.6

44.4

50.6

44.2

50.5

44.2

50.5

43.6

50.5

43.6

51.5

42.8

51.5

42.8

51.3

42.8

51.3

43.3

51.3

43.3

49.9

44.6

49.9

44.6

48.3

44.6

48.3

45

46.6

45

46.6

44.8

46.6

44.8

45.2

44.8

45.2

43.9

45.2

43.9

45.2

43.1

45.2

43.1

46.2

43.1

46.2

42

45.5

42

45.5

40.3

45.5

40.3

44.2

38.5

44.2

38.5

45

38.5

45

37.6

45

37.6

47.4

38.2

47.4

38.2

49.6

38.2

49.6

39.4

51.1

39.4

51.1

40.3

51.1

40.3

52

40.3

52

39.5

53.3

39.5

53.3

38.2

53.3

38.2

54.5

38.2

54.5

38

56.9

38

56.9

39.1

56.9

39.1

58

40.6

58

40.6

56.2

40.6

56.2

41.2

56.2

41.2

54.7

40.4

54.7

40.4

52.3

40.4

52.3

38.9

52.3

38.9

50.2

36.7

50.2

36.7

50.7

36.7

50.7

35.7

52

35.7

52

36.1

52

36.1

52.4

36.1

52.4

35.5

53

35.5

53

35

53

35

52.3

35

52.3

36.7

47.5

36.7

47.5

39.5

47.5

39.5

41.9

41

41.9

41

38.1

41

38.1

41.9

38.1

41.9

37.3

42.9

37.3

42.9

41.4

42.9

41.4

42.6

46.3

42.6

46.3

41.2

46.3

41.2

47.5

41.2

47.5

40.4

46.1

40.4

46.1

38.9

46.1

38.9

44.1

38.9

44.1

38.3

43.2

38.3

43.2

39

43.2

39

41.9

37.6

41.9

37.6

40.2

37.6

40.2

35.8

40.2

35.8

45.2

35.8

45.2

35.8

54.7

35.8

54.7

35.9

59.1

35.9

59.1

35

59.1

35

59.4

35

59.4

34.8

58.6

34.8

58.6

36.3

58.6

36.3

57.9

36.3

57.9

37.4

57.8

37.4

57.8

38.2

57.8

38.2

59.2

39.1

59.2

39.1

59.8

39.1

59.8

39.6

59.8

39.6

59

40.2

59

40.2

57.4

40.2

57.4

40.1

57.4

40.1

54.9

39.6

54.9

39.6

53.1

39.6

53.1

39.2

53.5

39.2

53.5

38.7

53.5

38.7

54.6

38.7

54.6

38.1

54.8

38.1

54.8

36.3

54.8

36.3

54.8

36.3

54.8

34.6

54.8

34.6

54.8

34.2

54.8

34.2

53.9

35.3

53.9

35.3

53.6

35.3

53.6

36.9

53.6

36.9

54.6

38.4

54.6

38.4

55.7

38.4

55.7

39.2

55.7

39.2

55.5

39.6

55.5

39.6

57.1

39.6

57.1

40.4

57.1

40.4

62.3

41.6

62.3

41.6

66.7

41.6

66.7

42.3

69.2

42.3

69.2

42.9

69.2

42.9

70.3

43

70.3

43

70.9

43

70.9

42.2

70.9

42.2

70.8

42.2

70.8

42.2

71

42.2

71

42.2

71

42.2

73

41.8

73

41.8

74.2

41.8

74.2

42.3

74.2

42.3

73.7

42.5

73.7

42.5

72.7

42.5

72.7

42.1

72.3

42.1

72.3

41.9

72.3

41.9

74

41.9

74

42.4

75.6

42.4

75.6

43.3

75.6

43.3

74.6

43.3

74.6

44.1

70.3

44.1

70.3

44.4

70.3

44.4

66.2

44.6

66.2

44.6

63.8

44.6

63.8

45

63.8

45

60.2

45.2

60.2

45.2

56.9

45.2

56.9

45.1

51.3

45.1

51.3

45.3

51.3

45.3

40.8

45.3

40.8

46

33.4

46

33.4

46.9

33.4

46.9

33.7

46.9

33.7

47.5

38.3

47.5

38.3

47.6

38.3

47.6

44.7

47.9

44.7

47.9

52.4

47.9

52.4

48

52.4

48

60.8

47.8

60.8

47.8

68.3

47.8

68.3

48

68.3

48

72.9

49

72.9

49

70.7

49

70.7

49.8

69.7

49.8

69.7

50.2

69.7

50.2

76.8

50.2

76.8

51

85.4

51

85.4

51.2

85.4

51.2

91.3

51.2

91.3

50.8

95.5

50.8

95.5

50.8

95.5

50.8

100.4

50.7

100.4

50.7

106.7

50.7

106.7

50.4

106.7

50.4

110.8

50.4

110.8

50.4

112.5

50.4

112.5

49.7

114.2

49.7

114.2

48.9

114.2

48.9

114.8

48.9

114.8

48.2

115.4

48.2

115.4

47.6

115.4

47.6

118.4

47.6

118.4

47.5

122.3

47.5

122.3

47.2

122.3

47.2

129.9

46.5

129.9

46.5

140

46.5

140

46.4

140

46.4

145.9

46.4

145.9

46.4

148

46.4

148

45.9

148.6

45.9

148.6

46

148.6

46

152

46

152

45.9

156.5

45.9

156.5

46

156.5

46

157.4

46

157.4

46.6

154.8

46.6

154.8

47.6

154.8

47.6

151.1

49.5

151.1

49.5

149

49.5

149

50.6

149

50.6

148

50.5

148

50.5

148.8

50.5

148.8

51.2

148.8

51.2

149.4

52.8

149.4

52.8

144.3

52.8

144.3

53.2

136

53.2

136

51.8

136

51.8

127.8

51.8

127.8

50.4

123.5

50.4

123.5

50

123.5

50

122.3

50

122.3

50.5

122

50.5

122

51.1

122

51.1

123.7

51.5

123.7

51.5

124

51.5

124

51.8

124

51.8

122.7

52.7

122.7

52.7

118.1

52.7

118.1

54.3

122.2

54.3

122.2

56.6

122.2

56.6

140

56.6

140

58.7

153.5

58.7

153.5

59.1

153.5

59.1

157.6

59.1

157.6

57.2

160.6

57.2

160.6

54.2

160.6

54.2

166.4

53.7

166.4

53.7

172.3

53.7

172.3

57.1

172.3

57.1

172

61.9

172

61.9

169.5

61.9

169.5

65.4

169.5

65.4

171.8

68.1

171.8

68.1

173.2

68.1

173.2

70.3

172.8

70.3

172.8

70.5

172.8

70.5

172.3

70.5

172.3

69.9

172.7

69.9

172.7

71.5

172.7

71.5

179.1

71.5

179.1

74.1

185.5

74.1

185.5

76.3

185.5

76.3

184.2

77.8

184.2

77.8

179.1

77.8

179.1

78.9

179.1

78.9

177.3

80.6

177.3

80.6

177.6

80.6

177.6

81.6

175.5

81.6

175.5

82.4

175.5

82.4

172

82.4

172

84.8

170.5

84.8

170.5

86.3

170.5

86.3

171.5

86.3

171.5

84.9

173.2

84.9

173.2

82.9

173.2

82.9

176.8

85.2

176.8

85.2

178.9

85.2

178.9

91.4

178.9

91.4

180.7

96.1

180.7

96.1

188.9

96.1

188.9

98.3

197.5

98.3

197.5

97.9

197.5

97.9

204.5

97.9

204.5

97.6

210.8

97.6

210.8

99.5

210.8

99.5

214.4

99.5

214.4

100.8

214.1

100.8

214.1

99.2

214.1

99.2

212.1

98

212.1

98

213.7

98

213.7

100.8

213.7

100.8

216.7

103.5

216.7

103.5

218.8

103.5

218.8

105

218.8

105

223.9

107.2

223.9

107.2

228.9

107.2

228.9

108.4

225.3

108.4

225.3

110.5

225.3

110.5

218.4

110.5

218.4

113.8

214.7

113.8

214.7

114.1

214.7

114.1

215.7

114.1

215.7

110.6

219.8

110.6

219.8

106.3

219.8

106.3

222.2

101.4

222.2

101.4

216.7

101.4

216.7

95

216.7

95

216.4

93.5

216.4

93.5

231.8

93.5

231.8

99.2

251.7

99.2

251.7

105

251.7

105

269.5

105

269.5

108.4

284.1

108.4

284.1

110

284.1

110

291.1

110

291.1

112.1

284.1

112.1

284.1

119.7

284.1

119.7

261.9

128.6

261.9

128.6

239.3

128.6

239.3

133.3

239.3

133.3

239.7

134

239.7

134

258.4

134

258.4

132.4

269.9

132.4

269.9

134

269.9

134

270.8

134

270.8

134

269.9

134

269.9

131.4

269.9

131.4

268.6

131.4

268.6

131.4

272.7

131.4

272.7

133.8

272.7

133.8

283.6

134.4

283.6

134.4

287.6

134.4

287.6

129.3

287.6

129.3

282.6

122.9

282.6

122.9

275.5

122.9

275.5

118.6

275.5

118.6

268.5

117

268.5

117

259.3

117

259.3

119.6

246.4

119.6

246.4

119.9

246.4

119.9

235.9

119.9

235.9

112.9

235.2

112.9

235.2

106.3

235.2

106.3

248

106.3

248

106.7

260.1

106.7

260.1

110.4

260.1

110.4

269

114

269

114

269.5

114

269.5

118.7

269.5

118.7

257.1

124.7

257.1

124.7

240.5

124.7

240.5

130.2

214.4

130.2

214.4

132.5

214.4

132.5

192.8

132.5

192.8

134.9

189.4

134.9

189.4

138.2

189.4

138.2

199.9

138.2

199.9

138.4

214.7

138.4

214.7

129.6

214.7

129.6

230.4

119.2

230.4

119.2

239.7

119.2

239.7

118.2

239.7

118.2

242.8

122.7

242.8

122.7

247.2

122.7

247.2

127.7

247.2

127.7

254.2

131.4

254.2

131.4

258.4

131.4

258.4

133.8

261

133.8

261

136.1

261

136.1

265

136.1

265

136.8

273.1

136.8

273.1

130.7

273.1

130.7

289.6

130.7

289.6

120.5

305.9

120.5

305.9

115.7

305.9

115.7

316.6

116.5

316.6

116.5

317.7

116.5

317.7

117.8

317.7

117.8

310.3

119.2

310.3

119.2

310.3

119.2

310.3

120.7

319.5

120.7

319.5

124.6

319.5

124.6

330.3

124.6

330.3

134.2

330.3

134.2

330.3

149.2

330.3

149.2

330.3

149.2

330.3

166.7

329.1

166.7

329.1

183.3

329.1

183.3

324.8

197.2

324.8

197.2

328.5

197.2

328.5

205.8

328.5

205.8

328.4

209.3

328.4

209.3

321.2

209.3

321.2

210.2

321.2

210.2

310.3

211.2

310.3

211.2

302.1

211.2

302.1

212.2

302.1

212.2

297.8

212.5

297.8

212.5

292.6

212.5

292.6

211.5

285.1

211.5

285.1

208

285.1

208

272.7

204.8

272.7

204.8

255.4

204.8

255.4

204.8

255.4

204.8

242.8

204.8

242.8

204.8

238.2

204.8

238.2

202.6

238.2

202.6

237

200.5

237

200.5

236.3

200.5

236.3

198.7

236.3

198.7

236.7

194.2

236.7

194.2

237.8

194.2

237.8

189.6

240.1

189.6

240.1

187.4

240.1

187.4

240.9

187.4

240.9

186.3

239.3

186.3

239.3

186

239.3

186

238.9

186

238.9

186.6

238.9

186.6

238.9

186.8

238.9

186.8

237.4

186.3

237.4

186.3

237

186.3

237

185.7

237

185.7

240.5

183

240.5

183

244.4

183

244.4

178.8

242.8

178.8

242.8

177.4

242.8

177.4

242

177.4

242

177.2

244.8

177.2

244.8

175.9

244.8

175.9

247.6

175.9

247.6

176.2

252.9

176.2

252.9

176.2

252.9

176.2

258.8

174.9

258.8

174.9

264.5

174.9

264.5

175.4

264.5

175.4

274

176.1

274

176.1

287.6

176.1

287.6

171.3

287.6

171.3

297.8

163.9

297.8

163.9

303.2

163.9

303.2

160.4

307.5

160.4

307.5

160.1

307.5

160.1

313.1

160.1

313.1

159.2

318.9

159.2

318.9

159.7

318.9

159.7

323.6

159.7

323.6

164.1

321.8

164.1

321.8

169.6

321.8

169.6

316.6

171.3

316.6

171.3

317.7

171.3

317.7

169.9

317.7

169.9

323.6

168.1

323.6

168.1

329.7

168.1

329.7

166.9

333.4

166.9

333.4

166.5

333.4

166.5

339.1

166.5

339.1

166

346.9

166

346.9

164.8

346.9

164.8

354.3

164.8

354.3

164.3

361.2

164.3

361.2

163.6

361.2

163.6

360.5

160.1

360.5

160.1

355.7

160.1

355.7

155.6

355.7

155.6

351.6

152.8

351.6

152.8

346.2

152.8

346.2

151.3

346.2

151.3

339

150.2

339

150.2

333.4

150.2

333.4

149.2

327.8

149.2

327.8

145.9

327.8

145.9

327.8

145.9

327.8

143

330.9

143

330.9

142.2

330.9

142.2

331.5

142

331.5

142

332.7

142

332.7

140.6

332.7

140.6

335.2

137.7

335.2

137.7

339.7

137.7

339.7

134.9

339.7

134.9

342.9

133

342.9

133

344.2

133

344.2

130.9

347.5

130.9

347.5

128.5

347.5

128.5

359.1

128.5

359.1

127.6

373.6

127.6

373.6

127.5

373.6

127.5

384.2

127.5

384.2

127.1

390.5

127.1

390.5

126.4

390.5

126.4

397.8

124.9

397.8

124.9

403.6

124.9

403.6

123

403.6

123

409.6

121.3

409.6

121.3

416.5

121.3

416.5

120.3

421.9

120.3

421.9

120.2

421.9

120.2

425.5

120.2

425.5

120.8

428.3

120.8

428.3

121.3

428.3

121.3

433.9

121.3

433.9

122

437.7

122

437.7

123.2

437.7

123.2

439.6

123.7

439.6

123.7

445.5

123.7

445.5

123.8

445.5

123.8

454.5

123.5

454.5

123.5

459.6

123.5

459.6

121.5

459.6

121.5

464.8

119.3

464.8

119.3

465.9

119.3

465.9

117.4

468

117.4

468

115

468

115

472.3

115

472.3

113.3

480

113.3

480

113.2

480

113.2

485.6

113.2

485.6

112.4

483.4

112.4

483.4

110.3

483.4

110.3

480

109.8

480

109.8

486.8

109.8

486.8

111.3

486.8

111.3

497.2

113.1

497.2

113.1

503.2

113.1

503.2

114.7

512.9

114.7

512.9

115.3

512.9

115.3

526.9

115.3

526.9

115.6

532.1

115.6

532.1

116.4

532.1

116.4

533.5

116.4

533.5

116

533.5

116

533.5

115

533.5

115

534.8

114.7

534.8

114.7

536.1

114.7

536.1

114.9

536.1

114.9

534.8

115.5

534.8

115.5

537.5

115.5

537.5

116

537.5

116

538.8

116.9

538.8

116.9

541.5

116.9

541.5

117.4

544.2

117.4

544.2

118.5

544.2

118.5

547

118.5

547

121

556.8

121

556.8

123.3

556.8

123.3

562.6

124.2

562.6

124.2

564

124.2

564

124

564

124

572.9

122

572.9

122

582

122

582

120.1

582

120.1

583.5

120.2

583.5

120.2

586.6

120.2

586.6

120.5

591.3

120.5

591.3

121

591.3

121

599.3

121

599.3

120.8

612.4

120.8

612.4

121.6

612.4

121.6

622.6

121.6

622.6

122.6

620.9

122.6

620.9

122.8

620.9

122.8

617.5

123.3

617.5

123.3

626.1

123.3

626.1

123.7

626.1

123.7

640.2

123.7

640.2

123.7

653.1

123.7

653.1

123.8

666.4

123.8

666.4

125

666.4

125

672.3

125

672.3

124.7

674.3

124.7

674.3

123.8

674.3

123.8

676.3

123.8

676.3

124.8

682.3

124.8

682.3

125

682.3

125

684.3

124.2

684.3

124.2

682.3

124.2

682.3

124.5

682.3

124.5

670.3

126.2

670.3

126.2

666.4

126.2

666.4

128.7

666.4

128.7

684.3

131.2

684.3

131.2

707.2

131.2

707.2

133

733.8

133

733.8

134.1

733.8

134.1

759.8

134.1

759.8

136.2

787.4

136.2

787.4

138.5

787.4

138.5

816.9

138.5

816.9

139.1

816.9

139.1

833.7

140.2

833.7

140.2

830.9

142.2

830.9

142.2

819.6

142.2

819.6

144.4

819.6

144.4

828.1

147.5

828.1

147.5

851.3

147.5

851.3

150.2

830.9

150.2

830.9

152.3

830.9

152.3

787.4

152.3

787.4

154.7

787.4

154.7

772.1

157.6

772.1

157.6

787.4

157.6

787.4

159.2

792.6

159.2

792.6

159.4

792.6

159.4

800.6

173.5

800.6

173.5

822.4

173.5

822.4

179.5

822.4

179.5

833.8

185.1

833.8

185.1

848.3

185.1

848.3

208.2

894.9

208.2

894.9

189.8

894.9

189.8

1011.1

189.8

1011.1

160.1

1163.1

160.1

1163.1

151.9

1163.1

151.9

1229.2

151.9

1229.2

151.4

1271

151.4

1271

152.1

1271

152.1

1309

153

1309

153

1342.4

153

1342.4

153.8

1342.4

153.8

1356.2

155.1

1356.2

155.1

1363.2

155.1

1363.2

156.7

1363.2

156.7

1356.2

158.9

1356.2

158.9

1356.2

158.9

1356.2

174.3

1322.2

174.3

1322.2

209.4

1322.2

209.4

1309.2

209.4

1309.2

208.8

1309.2

208.8

1309.2

179.7

1309.2

179.7

1309.2

179.7

1190

170.3

1089.2

170.3

1089.2

169

1089.2

169

1080

169.5

1080

169.5

1080

169.5

1098.6

170.5

1098.6

170.5

1098.6

171.5

1112.9

171.5

1127.5

171.5

1127.5

172.8

1142.5

172.8

1142.5

174.5

1142.5

174.5

1142.5

174.5

1142.5

177.1

1142.5

177.1

1142.5

180

1142.5

180

1142.5

180

1147.7

183.2

1147.7

183.2

1147.7

187.8

1147.7

187.8

1147.7

193

1147.7

193

1158

193

1158

197.1

1158

197.1

1168.5

200.7

1168.5

200.7

1168.5

200.7

1179.1

218.4

1179.1

218.4

1179.1

240.2

1195.4

240.2

1206.5

240.2

1206.5

228.2

1206.5

228.2

1206.5

208.5

1206.5

208.5

1200.9

208.5

1200.9

202.8

1200.9

202.8

1212.1

203.4

1212.1

203.4

1212.1

203.4

1229.4

203.4

1241.1

203.4

1241.1

203.4

1241.1

203.4

1241.1

203.4

1253

208.5

1253

208.5

1259

213.7

1259

213.7

1265.1

217

1265.1

217

1265.1

217

1277.4

231.1

1277.4

231.1

1277.4

253.9

1271.2

253.9

1265.1

253.9

1265.1

270.2

1277.5

270.2

1277.5

278.6

1277.5

278.6

1277.5

278.6

1296.4

292

1296.4

292

1309.3

306.4

1309.3

306.4

1309.3

306.4

1315.9

300.4

1329.1

300.4

1329.1

279.1

1329.1

279.1

1322.4

264.3

1322.4

264.3

1322.5

264.3

1322.5

260.8

1322.5

260.8

1315.8

263.4

1315.8

263.4

1315.8

263.4

1309.3

269.7

1309.3

269.7

1302.9

277.2

1302.9

277.2

1296.5

277.2

1296.5

283.5

1296.5

283.5

1296.5

290

1296.5

290

1265.2

290

1265.2

298.3

1265.2

298.3

1201.1

307.5

1201.1

307.5

1201.1

313.7

1179.2

313.7

1195.6

313.7

1195.6

317.8

1195.6

317.8

1195.6

318.4

1195.6

318.4

1195.6

318.4

1201.2

323.1

1201.2

323.1

1218

331.6

1218

331.6

1218

331.6

1241.3

337.3

1259.2

337.3

1259.2

339.2

1259.2

339.2

1259.2

339.2

1265.2

340.5

1265.3

340.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1277.6

343.8

1277.6

343.8

1277.6

344.4

1277.6

344.4

1283.8

344.4

1283.8

344.4

1283.8

344.4

1283.8

345.8

1302.9

345.8

1316

345.8

1316

347.1

1316

347.1

1322.6

347.8

1322.6

347.8

1322.6

347.8

1309.5

349.1

1290.2

349.1

1290.2

349.8

1290.2

349.8

1290.2

349.8

1290.2

349.8

1290.2

349.8

1309.5

350.4

1309.5

350.4

1343

351.1

1343

351.1

1343

351.1

1342.9

352.5

1342.9

352.5

1342.9

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.1

1343

353.1

1343

353.1

1342.9

355.2

1342.9

355.2

1303.1

355.9

1303.1

355.9

1303.1

355.9

1241.4

354.5

1206.8

354.5

1206.8

353.1

1206.8

353.1

1206.8

353.1

1206.9

353.1

1212.5

353.1

1212.5

352.4

1212.5

352.4

1212.5

352.4

1212.5

352.4

1223.9

352.4

1223.9

353.8

1223.9

353.8

1223.9

353.8

1247.4

353.8

1265.6

353.8

1265.6

353.8

1265.6

353.8

1271.6

353.8

1271.6

353.8

1271.6

353.8

1259.4

353.1

1259.4

353.1

1253.4

352.4

1253.4

352.4

1253.4

352.4

1253.4

353.1

1265.6

353.1

1265.6

353.8

1265.6

353.8

1265.6

354.5

1271.7

354.5

1284.1

354.5

1284.1

354.5

1284.1

354.5

1290.5

353.8

1290.5

353.8

1290.5

353.8

1284.2

355.2

1284.2

355.2

1290.5

356.6

1290.5

356.6

1290.5

356.6

1284.2

356.6

1284.2

356.6

1278

358.7

1278

358.7

1278

358.7

1259.5

359.4

1259.5

359.4

1235.6

358.7

1235.6

358.7

1235.6

359.3

1235.6

359.3

1235.6

359.3

1253.5

361.5

1253.5

361.5

1253.5

361.5

1265.6

361.5

1265.6

361.5

1271.8

362.2

1271.8

362.2

1290.6

365

1290.6

365

1290.6

365

1316.4

366.5

1316.4

366.5

1350.1

365

1350.1

365

1350.1

365

1364

363.6

1364

363.6

1378.2

364.3

1378.2

364.3

1378.2

364.3

1400

365

1400

365

1422.5

365.8

1422.5

365.8

1422.5

365

1437.9

365

1437.9

365

1461.5

361.4

1461.5

361.4

1461.5

361.4

1469.6

361.4

1469.6

361.4

1477.7

362.9

1477.7

362.9

1494.1

362.9

1494.1

362.9

1494.1

362.9

1494.1

363.6

1494.1

363.6

1494

364.3

1494

364.3

1511

364.3

1511

364.3

1511

364.3

1528.2

360.7

1528.2

360.7

1528.2

355.8

1537

355.8

1537

355.8

1528.2

355.8

1528.2

355.8

1528.2

356.5

1528.2

356.5

1528.2

356.5

1528.3

355.8

1528.3

355.8

1528.3

355.1

1545.9

355.1

1545.9

355.1

1573

355.8

1573

355.8

1537.1

356.5

1537.1

356.5

1537.1

356.5

1494.4

356.5

1494.4

356.5

1511.2

356.5

1511.2

356.5

1511.2

356.5

1502.8

357.9

1502.8

357.9

1494.4

358.6

1494.4

358.6

1494.4

357.9

1494.4

357.9

1494.4

357.9

1494.4

358.6

1494.4

358.6

1511.3

358.6

1511.3

358.6

1511.3

358.6

1528.6

358.6

1528.6

358.6

1555.1

360

1555.1

360

1555.1

360

1573.1

360

1573.1

360

1610.6

360

1610.6

360

1610.6

360

1680.4

360.7

1680.4

360.7

1745.1

1745.1

1745.1

1767.7

1767.7

1790.8

1790.8

1790.8

1826.6

1826.6

1863.7

1863.7

1889.3

1889.3

1889.3

1902.4

1902.4

1942.8

1942.8

1942.8

1984.6

1984.6

1998.7

1998.7

1998.7

1929

1929

1814.6

1814.6

1814.6

1779.4

1779.4

1791

1791

1814.7

1814.7

1814.7

1851.6

1851.6

1889.7

1889.7

1889.7

1902.9

1902.9

1916.1

1916.1

1916.1

1929.3

1929.3

1929.3

1929.3

1929.3

1929.3

1929.3

1943

1943

1943

1970.6

1970.6

1999

1999

1984.8



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



d

NOx, prop=0

NOx,B=0,co-fire

time,s

NOx,ppm

7

2

7

2

5

2

5

3

5

3

5

6

5

6

7

6

7

17

15

17

15

29

15

29

27

29

27

35

37

35

37

37

37

37

42

37

42

38

45

38

45

38

45

38

46

37

46

37

47

37

47

38

47

38

47

38

47

38

48

38

48

39

47

39

47

39

47

39

48

39

48

40

48

40

48

40

48

40

49

39

49

40

49

40

49

40

49

40

50

40

50

40

50

40

50

40

50

40

50

41

50

41

50

41

50

41

50

41

51

41

51

41

51

41

51

41

51

41

51

41

51

41

52

41

52

41

52

41

52

41

52

41

52

35

52

35

52

35

52

23

52

23

45

15

45

15

31

15

31

12

20

12

20

11

20

11

14

11

14

11

12

11

12

11

12

11

12

11

12

12

12

12

12

13

12

13

13

13

13

13

13

13

13

14

13

14

13

15

13

15

14

15

14

15

14

15

14

15

14

15

14

15

14

16

14

16

14

16

14

16

14

16

14

17

15

17

15

19

15

19

15

22

15

22

14

22

14

28

14

28

15

34

15

34

15

34

15

40

15

40

14

45

14

45

15

45

15

47

15

47

16

50

16

50

16

50

16

55

16

55

16

62

16

62

16

62

16

66

17

66

17

68

17

68

17

70

17

70

18

70

18

72

18

72

19

73

19

73

19

73

19

74

20

74

20

75

20

75

20

75

20

75

22

75

22

76

22

76

25

76

25

77

27

77

27

77

27

77

30

77

30

77

34

77

34

77

34

77

38

78

38

78

41

78

41

78

45

78

45

78

45

78

50

78

50

78

55

78

55

77

55

77

59

77

59

76

63

76

63

76

63

76

69

76

69

76

75

76

75

77

75

77

81

77

81

78

86

78

86

78

86

78

88

79

88

79

88

79

88

78

88

78

88

77

88

77

88

77

88

77

87

77

87

76

87

76

87

76

87

76

86

76

86

76

86

76

87

77

87

77

87

77

87

77

87

77

87

78

87

78

88

78

88

79

89

79

89

79

89

79

91

79

91

80

92

80

92

79

92

79

93

79

93

78

94

78

94

77

94

77

93

77

93

77

93

77

93

78

93

78

93

79

93

79

92

79

92

79

88

79

88

79

88

79

82

79

82

79

77

79

77

79

77

79

74

79

74

78

72

78

72

79

72

79

71

78

71

78

69

78

69

78

69

78

68

77

68

77

69

77

69

77

69

77

73

77

73

77

76

77

76

76

76

76

76

77

76

77

75

77

75

77

75

77

75

77

75

77

77

77

77

76

78

76

78

74

78

74

79

74

79

74

84

74

84

74

84

74

88

75

88

75

90

75

90

75

90

75

90

76

90

76

90

76

90

76

90

76

90

76

90

76

91

76

91

77

91

77

91

76

91

76

90

74

90

74

88

74

88

73

88

73

86

72

86

72

84

72

84

71

84

71

84

71

84

71

84

71

84

71

85

71

85

71

85

71

85

71

85

71

85

71

85

71

85

71

86

71

86

70

85

70

85

70

85

70

84

71

84

70

83

70

83

71

83

71

83

70

83

70

83

70

83

70

82

70

82

71

82

71

82

71

82

71

82

71

82

71

82

71

83

71

83

72

84

72

84

72

84

72

85

73

85

73

86

73

86

74

86

74

85

75

85

75

84

75

84

76

85

76

85

76

85

76

84

76

84

77

83

77

83

77

83

77

81

77

81

77

80

77

80

78

80

78

78

79

78

79

76

79

76

80

76

80

76

80

76

80

76

80

76

80

76

80

76

80

76

80

75

80

75

79

75

79

73

78

73

78

73

78

73

78

74

78

74

78

74

78

75

78

75

77

74

77

74

77

74

77

74

77

74

77

74

77

74

78

74

78

74

78

74

78

74

78

74

79

74

79

74

79

74

79

75

79

75

79

75

79

75

79

75

79

75

79

75

80

75

80

75

80

75

80

76

80

76

80

78

80

78

80

78

80

77

80

77

80

76

80

76

79

76

79

75

79

75

79

75

79

75

79

75

79

76

80

76

80

77

80

77

80

78

80

78

80

78

80

78

80

78

80

78

80

78

80

78

80

79

80

79

80

79

80

79

80

79

80

79

80

79

80

80

80

80

79

80

79

80

80

80

80

80

80

80

79

80

79

80

79

80

79

79

79

79

79

78

79

78

78

78

78

78

78

78

79

77

79

77

80

77

80

78

80

78

80

78

80

78

80

78

80

78

81

78

81

78

81

78

80

78

80

78

81

78

81

77

81

77

81

76

81

76

80

76

80

76

80

76

81

76

81

76

80

76

80

75

80

75

80

74

80

74

80

74

80

74

80

74

80

73

80

73

80

73

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

81

71

81

72

81

72

81

73

81

73

81

73

81

74

81

74

81

74

81

74

82

74

82

75

81

75

81

76

81

76

81

76

81

76

81

76

81

76

81

76

81

76

81

76

80

76

80

75

80

75

80

75

80

75

80

75

80

74

80

74

80

74

80

74

80

74

80

72

80

72

80

72

80

72

80

72

80

71

80

71

80

71

80

71

79

72

79

72

80

72

80

74

80

74

80

74

80

74

79

74

79

74

79

74

79

76

79

76

79

76

79

77

79

77

79

79

79

79

79

79

79

81

79

81

79

81

79

81

79

82

79

81

78

81

78

84

78

84

79

85

79

85

79

85

79

84

79

84

80

84

80

84

79

84

79

85

78

85

78

85

78

85

78

85

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

77

84

77

83

77

83

77

83

77

81

77

81

77

81

77

81

76

82

76

82

77

82

77

83

77

83

77

82

77

82

77

82

77

82

77

82

77

82

77

82

77

82

77

81

77

81

77

81

77

81

78

81

78

82

78

82

78

82

78

82

79

82

79

82

79

82

79

82

79

82

79

83

79

83

79

83

79

85

79

85

80

86

80

86

80

86

80

87

80

87

80

86

80

86

80

86

80

85

80

85

80

84

80

84

80

84

80

84

81

84

81

83

81

83

81

83

81

83

81

83

81

82

81

82

81

81

81

81

81

81

81

80

81

80

81

79

81

79

81

79

81

78

80

78

80

77

80

77

79

77

79

77

80

77

80

76

80

76

79

75

79

75

79

75

79

76

79

76

79

76

79

76

79

76

79

75

79

75

79

74

79

74

79

74

79

73

79

73

79

74

79

74

78

74

78

74

78

74

78

74

78

74

79

74

79

74

79

74

79

76

79

76

79

76

79

76

80

76

80

77

80

77

80

77

80

77

80

77

80

78

81

78

81

78

81

78

82

78

82

80

82

80

82

81

82

81

81

81

81

82

82

82

82

84

82

84

82

85

82

85

82

85

82

86

82

86

81

87

81

87

81

87

81

86

81

86

80

85

80

85

81

85

81

84

81

84

81

83

81

83

81

83

81

83

81

83

81

83

81

83

81

84

81

84

81

84

81

84

81

84

81

85

81

84

80

84

80

85

80

85

79

87

79

87

79

87

79

87

80

87

80

88

80

88

79

88

79

88

79

88

79

89

79

89

78

89

78

89

77

89

77

89

77

89

77

90

77

90

77

90

77

90

77

90

76

90

76

90

76

90

76

89

76

89

75

86

75

86

75

86

75

86

75

86

75

86

75

86

75

86

75

85

75

85

75

84

75

84

75

84

75

84

75

84

75

84

75

84

75

82

75

82

75

82

75

80

75

80

74

78

74

78

74

78

74

77

74

77

74

77

74

77

74

77

74

77

73

77

73

79

73

79

74

79

74

79

74

79

74

79

74

79

74

79

74

79

74

79

74

78

74

78

74

78

74

78

73

78

73

79

73

79

73

80

73

80

73

80

73

79

73

79

74

77

74

77

74

77

74

77

74

77

74

78

74

78

74

78

74

79

75

79

75

81

75

81

75

83

75

82

75

82

75

82

75

82

75

84

75

84

75

84

75

85

75

85

74

85

74

85

74

85

74

85

74

85

74

86

74

86

73

86

73

86

73

86

73

85

73

85

72

85

72

85

71

85

71

85

71

85

71

86

71

85

71

85

71

84

71

84

70

84

70

84

71

84

71

84

70

84

70

84

70

84

70

84

70

84

70

84

70

84

70

84

69

84

69

85

69

85

69

86

69

86

70

87

70

87

71

87

71

86

71

86

70

86

70

86

71

86

71

85

71

85

71

84

71

84

71

84

71

83

70

83

70

83

70

83

69

83

69

83

70

83

70

82

70

82

69

81

69

81

68

81

68

81

68

81

68

81

68

81

69

81

69

81

69

81

69

81

69

81

70

81

70

80

70

80

70

79

70

79

69

79

69

80

69

80

69

81

69

81

69

82

69

82

69

82

69

83

69

83

70

83

70

83

71

83

71

83

71

83

71

83

71

83

71

83

71

82

71

82

71

81

71

81

71

81

71

80

70

80

70

80

70

80

71

80

71

81

69

81

69

81

69

81

68

81

68

80

68

80

68

79

68

79

68

79

68

79

68

79

68

78

68

78

68

78

68

78

67

78

67

77

67

77

67

76

67

76

67

76

67

76

67

76

67

75

67

75

67

74

67

74

66

74

66

74

66

74

66

75

66

75

66

75

66

74

66

74

67

73

67

73

67

73

67

74

67

74

67

74

67

74

67

74

67

74

66

74

66

76

66

76

66

76

66

78

67

78

67

78

67

78

67

78

67

79

67

79

67

79

67

79

68

79

68

79

68

79

68

79

68

79

68

80

68

80

68

80

68

81

69

81

69

81

69

81

69

81

69

81

69

81

69

82

69

82

69

83

69

83

70

83

70

83

70

83

70

81

70

81

69

81

69

80

69

80

69

80

69

80

69

80

69

80

70

80

70

81

70

81

69

81

69

83

70

83

70

85

70

85

71

87

71

87

71

87

71

88

71

88

71

87

71

87

71

87

71

86

71

86

71

86

71

86

72

86

72

87

72

87

73

86

73

86

72

86

72

86

73

86

73

86

73

86

74

86

74

86

74

86

74

86

74

86

74

87

74

87

73

87

73

88

73

88

73

89

73

89

74

89

74

88

74

88

74

87

74

87

75

87

75

87

76

87

75

88

75

88

76

88

76

88

77

88

77

87

77

87

78

87

78

87

77

87

77

86

77

86

76

85

76

85

76

85

76

86

76

86

77

86

77

86

78

86

78

86

77

86

77

86

77

86

76

86

76

86

75

86

75

87

75

87

75

87

75

88

76

88

76

89

76

89

77

89

77

89

78

89

78

88

78

88

78

88

78

88

78

88

78

88

78

88

78

88

78

88

79

88

79

89

78

89

78

91

78

91

78

91

78

93

78

93

78

93

78

93

77

91

77

91

76

91

76

89

76

89

77

89

77

89

77

89

77

90

77

90

77

91

77

91

78

91

78

90

78

90

78

90

78

90

77

90

77

90

78

90

78

86

78

86

78

83

78

83

79

83

79

81

79

81

79

81

79

81

79

81

79

82

79

82

79

82

79

82

78

82

78

82

78

82

78

82

78

82

77

82

77

81

77

81

77

82

77

82

78

82

78

83

77

83

77

84

77

84

78

85

78

85

78

85

78

85

78

85

78

84

78

84

78

84

78

84

78

84

79

84

79

84

80

84

80

84

80

84

80

84

80

84

80

84

80

85

79

85

79

85

79

85

79

85

79

85

78

85

78

84

78

84

77

83

77

83

77

83

77

82

77

82

76

80

76

80

75

80

75

78

75

78

75

77

75

77

74

77

74

76

75

76

75

76

75

76

75

76

75

75

75

75

75

74

75

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

75

74

75

74

75

74

75

73

75

73

75

73

75

73

75

73

75

75

74

75

74

76

74

76

74

76

74

77

74

77

74

78

74

78

74

79

74

79

74

79

74

79

74

79

74

81

74

82

73

82

73

85

73

85

73

84

73

84

72

84

72

82

71

82

71

79

71

79

71

79

71

76

71

76

71

74

71

74

73

72

73

72

73

72

73

71

73

71

71

71

71

71

71

71

71

70

71

70

71

67

71

67

70

67

70

63

70

63

69

60

69

60

70

60

70

59

69

59

69

58

69

58

69

58

69

56

70

56

70

55

70

55

71

54

71

54

71

54

71

53

71

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

51

70

51

70

51

70

50

70

50

70

49

70

49

69

48

69

48

69

48

69

47

69

47

69

47

69

47

69

47

69

46

69

46

69

46

69

46

69

46

69

46

69

46

69

47

69

47

67

47

67

48

65

48

65

48

65

48

65

48

65

48

64

48

64

48

64

48

64

48

64

48

63

48

63

49

63

49

64

50

64

50

64

50

64

51

64

51

65

50

65

50

64

50

64

50

63

50

63

49

63

49

63

49

63

49

63

49

63

50

63

50

63

51

63

51

61

51

61

50

61

50

60

47

60

47

60

47

60

43

60

43

59

41

59

41

59

41

59

41

59

41

60

39

60

39

59

39

59

39

57

39

57

39

57

39

55

38

55

38

53

38

53

38

53

38

52

38

52

38

52

38

52

38

52

38

51

39

51

39

51

39

51

39

50

39

50

40

50

40

51

40

51

40

51

40

51

40

51

40

50

40

50

39

50

39

50

38

50

38

50

38

50

38

50

38

50

40

50

40

51

40

51

40

49

40

49

39

49

39

48

40

48

40

48

40

48

39

49

39

48

39

48

39

48

39

48

39

48

39

48

39

48

39

47

38

47

38

46

38

46

37

46

37

46

37

46

37

46

37

46

37

46

37

46

36

46

36

45

36

45

37

44

37

44

38

44

38

44

38

44

38

45

38

45

37

45

37

45

37

45

37

44

37

44

36

44

36

43

37

43

37

42

37

42

37

42

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

44

37

44

37

46

37

46

37

46

37

48

37

48

39

49

39

49

39

49

39

49

37

49

37

47

37

47

36

47

36

46

33

46

33

44

33

44

31

44

31

43

31

43

31

43

31

43

31

42

31

42

33

42

33

40

33

40

35

40

35

40

35

40

35

39

34

39

34

39

34

39

33

39

33

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

33

38

33

37

33

37

33

38

33

38

33

38

33

39

33

39

33

41

33

41

34

41

34

42

36

42

36

42

36

42

38

42

38

41

41

41

41

43

41

43

41

43

41

45

40

45

40

44

40

44

38

43

38

43

37

43

37

42

37

42

37

42

37

42

37

42

37

42

39

42

39

41

39

41

42

41

42

41

44

41

44

41

44

41

44

41

44

41

43

41

43

42

43

42

41

44

41

44

39

44

39

45

39

45

38

46

38

46

38

46

38

44

38

44

38

43

38

43

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

44

37

44

37

44

37

44

36

44

36

44

36

44

35

44

35

44

35

44

35

43

35

43

34

43

34

43

35

43

35

44

35

44

35

45

35

45

35

45

35

45

34

45

34

44

34

44

34

44

34

42

34

42

34

40

34

40

35

38

35

38

35

38

35

35

35

35

35

34

35

34

34

34

34

34

34

34

34

35

34

35

35

35

35

34

35

34

35

33

35

33

35

33

35

33

36

33

36

34

36

34

35

35

35

35

37

35

37

35

37

35

38

35

38

35

39

35

39

35

39

35

39

35

39

35

40

35

40

36

40

36

40

36

40

36

40

36

40

36

40

36

40

37

40

37

40

37

40

37

39

37

39

37

39

37

39

37

39

38

40

38

40

38

40

38

40

37

40

37

40

37

40

37

40

37

40

38

40

38

41

38

41

38

40

38

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

39

39

39

39

38

39

38

40

38

40

38

40

38

40

38

40

38

39

38

39

37

40

37

40

36

40

36

41

36

41

36

41

36

41

37

41

37

41

37

41

37

42

37

42

37

42

37

42

37

42

37

42

37

42

37

41

37

40

37

40

37

40

37

40

37

40

37

40

37

40

37

40

36

40

36

41

36

41

36

41

36

41

35

41

35

40

35

40

34

40

34

41

33

41

33

41

33

41

33

41

33

41

32

41

32

42

32

42

33

43

33

43

34

43

34

44

34

44

34

43

34

43

34

43

34

44

34

44

34

44

34

44

35

44

35

45

35

45

35

45

35

45

34

45

34

45

34

45

34

46

34

46

34

47

34

47

33

47

33

47

33

47

33

48

33

48

33

48

33

49

33

49

33

49

33

49

32

49

32

50

32

50

32

50

32

50

32

50

32

51

32

51

32

50

32

50

31

50

31

50

30

50

30

51

30

51

30

51

30

51

30

51

30

52

30

52

30

52

30

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

28

52

28

52

28

52

29

51

29

51

28

51

28

51

28

51

28

52

28

52

28

52

28

52

27

52

27

53

27

53

27

53

27

53

26

53

26

54

26

54

26

54

26

54

27

54

27

53

27

53

28

54

28

53

27

53

27

54

27

54

27

54

27

54

27

54

27

53

27

53

27

53

27

53

27

53

27

53

26

53

26

53

26

53

25

53

25

52

26

52

26

53

26

53

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

53

25

53

25

52

25

52

25

52

25

52

25

52

25

52

25

52

26

51

26

51

25

51

25

51

25

51

25

52

25

52

25

52

25

52

25

52

25

52

25

52

25

52

25

52

24

52

24

52

24

52

23

52

23

52

23

52

23

52

23

52

23

52

23

52

23

52

23

51

23

51

22

51

22

52

23

52

23

51

23

51

22

51

22

51

22

51

22

51

22

51

22

51

22

51

21

51

21

51

21

51

20

51

20

51

21

51

21

51

21

51

21

51

21

51

21

51

21

51

20

51

20

51

20

51

20

51

20

51

20

51

20

51

21

51

21

50

20

50

20

50

20

50

19

50

19

50

19

50

19

50

19

49

19

49

19

49

19

49

18

50

18

50

17

50

17

49

17

49

17

49

17

49

17

49

17

48

17

48

17

48

17

48

17

48

17

46

17

46

17

46

17

46

17

46

17

45

18

45

18

45

18

45

18

45

18

43

18

43

18

43

18

43

18

43

18

43

18

43

18

42

18

42

17

40

17

40

16

40

16

38

16

38

16

34

16

34

16

34

16

37

15

37

15

44

15

44

15

44

15

47

14

47

14

47

14

47

15

47

15

47

15

47

15

47

15

47

14

46

14

46

14

46

14

46

14

46

14

46

14

46

14

46

14

45

14

45

14

42

14

42

14

42

14

36

14

36

14

34

14

34

13

34

13

39

13

39

14

42

14

42

15

43

15

43

15

43

15

43

15

43

15

43

15

43

15

43

15

43

14

43

14

43

14

43

14

43

14

43

14

43

14

42

14

42

14

42

14

41

14

41

14

40

14

40

14

40

15

40

15

40

15

40

15

40

16

39

16

39

15

39

15

38

15

38

14

34

14

34

14

34

14

31

14

31

14

33

14

33

13

33

13

37

13

37

13

38

13

38

14

38

14

39

14

39

13

39

13

39

13

39

13

39

13

39

13

37

13

37

14

36

14

35

13

35

13

34

13

34

13

33

13

33

13

33

13

29

13

29

13

26

13

26

13

26

13

26

13

26

13

24

13

24

13

24

13

22

13

22

13

22

13

22

13

24

13

24

12

24

12

27

12

27

12

28

12

28

12

28

12

28

12

28

12

28

12

28

12

28

12

27

12

27

12

26

12

26

12

26

12

25

13

25

13

24

13

24

13

23

13

23

13

23

13

22

13

22

13

22

13

22

13

22

13

22

13

22

12

21

12

21

12

21

12

21

12

21

12

20

12

20

12

20

13

20

13

20

13

20

13

20

13

20

13

20

13

20

13

19

13

19

13

20

12

20

12

20

12

20

12

20

12

20

12

20

12

20

12

20

13

20

12

20

12

20

12

20

12

20

12

20

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

13

19

13

19

13

19

12

19

12

19

12

18

12

18

12

18

12

19

12

19

13

19

13

19

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

12

18

12

18

12

18

12

18

12

19

12

19

12

18

12

18

12

18

13

18

13

18

13

18

13

18

13

18

12

18

12

18

12

19

12

19

12

18

12

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

14

17

14

17

15

18

15

18

15

18

14

18

14

18

14

18

14

18

14

18

13

18

13

18

13

17

13

17

13

18

13

18

13

18

12

18

12

18

12

18

12

18

12

18

12

17

12

17

12

17

12

17

12

17

12

18

12

18

12

18

12

18

12

18

12

17

12

17

11

17

11

17

11

17

11

17

11

17

12

18

12

18

12

18

12

18

12

18

11

18

11

18

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

10

17

10

17

11

17

11

17

11

17

12

18

12

18

11

17

11

17

11

17

11

18

11

18

11

18

11

18

11

18

11

17

11

17

12

17

12

17

12

17

12

17

12

17

11

17

11

17

11

18

11

18

11

18

11

18

11

18

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

18

11

18

11

18

11

17

11

17

11

17

11

17

11

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

11

11

11

11

11

11

11

11

11

11

12

12

11

11

10

10

10

10

10

10

10

10

11

11

11

10

10

10

10

10

11

11

10

10

9

9

9

10

10

10

10

10



		0		0		0		0		0

		0		0		0		0		0

		5		5		5		5		5

		5		5		5		5		5

		10		10		10		10		10

		10		10		10		10		10

		15		15		15		15		15

		15		15		15		15		15

		20		20		20		20		20

		20		20		20		20		20

		25		25		25		25		25

		25		25		25		25		25

		30		30		30		30		30



vax,40/70,cold air, L=130mm

vax, 40/90,cold air

vax,40/100,cold air

vax,47/70,cold air

vax55/70,cold air

Radial distance,mm

Velocity,m/s

0.04

1.2

1.89

2.04

2.41

1.745

2.13

2.355

2.505

0

1.24

1.725

2.1

2.41

1.69

2.23

2.37

2.545

0.08

1.365

1.93

2.21

2.365

1.52

2.225

2.22

2.48

0

0.64

1.9

2.01

2.3

0

1.14

1.99

1.98

2.35

1.21

0.04

1.285

1.85

2.005

0.78

1.4

0.34

1.66

1.99

1.435

1.66

1.41

1.08

1.3

1.52

1.385

1.89

1.24

1.535

1.845

1.19

1.145

1.28

1.65



		0		0

		0		0

		5		5

		5		5

		10		10

		10		10

		15		15

		15		15

		20		20

		20		20

		25		25

		25		25

		30		30



vax,40/70,cold air, L=130mm

vtg,40/70,cold air

Radial distance,mm

Velocity,m/s

0.04

1.22

1.385

0

0.74

1.18

0.08

0.42

0.24

0

1.675

0

1.87

1.21

2.25

0.78

2.43

1.435

2.465

1.52

2.525

1.845

2.415



		1		1		1

		2		2		2

		3		3		3

		4		4		4

		5		5		5

		6		6		6

		7		7		7

		8		8		8

		9		9		9

		10		10		10

		11		11		11

		12		12		12

		13		13		13

		14		14		14

		15		15		15

		16		16		16

		17		17		17

		18		18		18

		19		19		19

		20		20		20

		21		21		21

		22		22		22

		23		23		23

		24		24		24

		25		25		25

		26		26		26

		27		27		27

		28		28		28

		29		29		29

		30		30		30

		31		31		31

		32		32		32

		33		33		33

		34		34		34

		35		35		35

		36		36		36

		37		37		37

		38		38		38

		39		39		39

		40		40		40

		41		41		41

		42		42		42

		43		43		43

		44		44		44

		45		45		45

		46		46		46

		47		47		47

		48		48		48

		49		49		49

		50		50		50

		51		51		51

		52		52		52

		53		53		53

		54		54		54

		55		55		55

		56		56		56

		57		57		57

		58		58		58

		59		59		59

		60		60		60

		61		61		61

		62		62		62

		63		63		63

		64		64		64

		65		65		65

		66		66		66

		67		67		67

		68		68		68

		69		69		69

		70		70		70

		71		71		71

		72		72		72

		73		73		73

		74		74		74

		75		75		75

		76		76		76

		77		77		77

		78		78		78

		79		79		79

		80		80		80

		81		81		81

		82		82		82

		83		83		83

		84		84		84

		85		85		85

		86		86		86

		87		87		87

		88		88		88

		89		89		89

		90		90		90

		91		91		91

		92		92		92

		93		93		93

		94		94		94

		95		95		95

		96		96		96

		97		97		97

		98		98		98

		99		99		99

		100		100		100

		101		101		101

		102		102		102

		103		103		103

		104		104		104

		105		105		105

		106		106		106

		107		107		107

		108		108		108

		109		109		109

		110		110		110

		111		111		111

		112		112		112

		113		113		113

		114		114		114

		115		115		115

		116		116		116

		117		117		117

		118		118		118

		119		119		119

		120		120		120

		121		121		121

		122		122		122

		123		123		123

		124		124		124

		125		125		125

		126		126		126

		127		127		127

		128		128		128

		129		129		129

		130		130		130

		131		131		131

		132		132		132

		133		133		133

		134		134		134

		135		135		135

		136		136		136

		137		137		137

		138		138		138

		139		139		139

		140		140		140

		141		141		141

		142		142		142

		143		143		143

		144		144		144

		145		145		145

		146		146		146

		147		147		147

		148		148		148

		149		149		149

		150		150		150

		151		151		151

		152		152		152

		153		153		153

		154		154		154

		155		155		155

		156		156		156

		157		157		157

		158		158		158

		159		159		159

		160		160		160

		161		161		161

		162		162		162

		163		163		163

		164		164		164

		165		165		165

		166		166		166

		167		167		167

		168		168		168

		169		169		169

		170		170		170

		171		171		171

		172		172		172

		173		173		173

		174		174		174

		175		175		175

		176		176		176

		177		177		177

		178		178		178

		179		179		179

		180		180		180

		181		181		181

		182		182		182

		183		183		183

		184		184		184

		185		185		185

		186		186		186

		187		187		187

		188		188		188

		189		189		189

		190		190		190

		191		191		191

		192		192		192

		193		193		193

		194		194		194

		195		195		195

		196		196		196

		197		197		197

		198		198		198

		199		199		199

		200		200		200

		201		201		201

		202		202		202

		203		203		203

		204		204		204

		205		205		205

		206		206		206

		207		207		207

		208		208		208

		209		209		209

		210		210		210

		211		211		211

		212		212		212

		213		213		213

		214		214		214

		215		215		215

		216		216		216

		217		217		217

		218		218		218

		219		219		219

		220		220		220

		221		221		221

		222		222		222

		223		223		223

		224		224		224

		225		225		225

		226		226		226

		227		227		227

		228		228		228

		229		229		229

		230		230		230

		231		231		231

		232		232		232

		233		233		233

		234		234		234

		235		235		235

		236		236		236

		237		237		237

		238		238		238

		239		239		239

		240		240		240

		241		241		241

		242		242		242

		243		243		243

		244		244		244

		245		245		245

		246		246		246

		247		247		247

		248		248		248

		249		249		249

		250		250		250

		251		251		251

		252		252		252

		253		253		253

		254		254		254

		255		255		255

		256		256		256

		257		257		257

		258		258		258

		259		259		259

		260		260		260

		261		261		261

		262		262		262

		263		263		263

		264		264		264

		265		265		265

		266		266		266

		267		267		267

		268		268		268

		269		269		269

		270		270		270

		271		271		271

		272		272		272

		273		273		273

		274		274		274

		275		275		275

		276		276		276

		277		277		277

		278		278		278

		279		279		279

		280		280		280

		281		281		281

		282		282		282

		283		283		283

		284		284		284

		285		285		285

		286		286		286

		287		287		287

		288		288		288

		289		289		289

		290		290		290

		291		291		291

		292		292		292

		293		293		293

		294		294		294

		295		295		295

		296		296		296

		297		297		297

		298		298		298

		299		299		299

		300		300		300

		301		301		301

		302		302		302

		303		303		303

		304		304		304

		305		305		305

		306		306		306

		307		307		307

		308		308		308

		309		309		309

		310		310		310

		311		311		311

		312		312		312

		313		313		313

		314		314		314

		315		315		315

		316		316		316

		317		317		317

		318		318		318

		319		319		319

		320		320		320

		321		321		321

		322		322		322

		323		323		323

		324		324		324

		325		325		325

		326		326		326

		327		327		327

		328		328		328

		329		329		329

		330		330		330

		331		331		331

		332		332		332

		333		333		333

		334		334		334

		335		335		335

		336		336		336

		337		337		337

		338		338		338

		339		339		339

		340		340		340

		341		341		341

		342		342		342

		343		343		343

		344		344		344

		345		345		345

		346		346		346

		347		347		347

		348		348		348

		349		349		349

		350		350		350

		351		351		351

		352		352		352

		353		353		353

		354		354		354

		355		355		355

		356		356		356

		357		357		357

		358		358		358

		359		359		359

		360		360		360

		361		361		361

		362		362		362

		363		363		363

		364		364		364

		365		365		365

		366		366		366

		367		367		367

		368		368		368

		369		369		369

		370		370		370

		371		371		371

		372		372		372

		373		373		373

		374		374		374

		375		375		375

		376		376		376

		377		377		377

		378		378		378

		379		379		379

		380		380		380

		381		381		381

		382		382		382

		383		383		383

		384		384		384

		385		385		385

		386		386		386

		387		387		387

		388		388		388

		389		389		389

		390		390		390

		391		391		391

		392		392		392

		393		393		393

		394		394		394

		395		395		395

		396		396		396

		397		397		397

		398		398		398

		399		399		399

		400		400		400

		401		401		401

		402		402		402

		403		403		403

		404		404		404

		405		405		405

		406		406		406

		407		407		407

		408		408		408

		409		409		409

		410		410		410

		411		411		411

		412		412		412

		413		413		413

		414		414		414

		415		415		415

		416		416		416

		417		417		417

		418		418		418

		419		419		419

		420		420		420

		421		421		421

		422		422		422

		423		423		423

		424		424		424

		425		425		425

		426		426		426

		427		427		427

		428		428		428

		429		429		429

		430		430		430

		431		431		431

		432		432		432

		433		433		433

		434		434		434

		435		435		435

		436		436		436

		437		437		437

		438		438		438

		439		439		439

		440		440		440

		441		441		441

		442		442		442

		443		443		443

		444		444		444

		445		445		445

		446		446		446

		447		447		447

		448		448		448

		449		449		449

		450		450		450

		451		451		451

		452		452		452

		453		453		453

		454		454		454

		455		455		455

		456		456		456

		457		457		457

		458		458		458

		459		459		459

		460		460		460

		461		461		461

		462		462		462

		463		463		463

		464		464		464

		465		465		465

		466		466		466

		467		467		467

		468		468		468

		469		469		469

		470		470		470

		471		471		471

		472		472		472

		473		473		473

		474		474		474

		475		475		475

		476		476		476

		477		477		477

		478		478		478

		479		479		479

		480		480		480

		481		481		481

		482		482		482

		483		483		483

		484		484		484

		485		485		485

		486		486		486

		487		487		487

		488		488		488

		489		489		489

		490		490		490

		491		491		491

		492		492		492

		493		493		493

		494		494		494

		495		495		495

		496		496		496

		497		497		497

		498		498		498

		499		499		499

		500		500		500

		501		501		501

		502		502		502

		503		503		503

		504		504		504

		505		505		505

		506		506		506

		507		507		507

		508		508		508

		509		509		509

		510		510		510

		511		511		511

		512		512		512

		513		513		513

		514		514		514

		515		515		515

		516		516		516

		517		517		517

		518		518		518

		519		519		519

		520		520		520

		521		521		521

		522		522		522

		523		523		523

		524		524		524

		525		525		525

		526		526		526

		527		527		527

		528		528		528

		529		529		529

		530		530		530

		531		531		531

		532		532		532

		533		533		533

		534		534		534

		535		535		535

		536		536		536

		537		537		537

		538		538		538

		539		539		539

		540		540		540

		541		541		541

		542		542		542

		543		543		543

		544		544		544

		545		545		545

		546		546		546

		547		547		547

		548		548		548

		549		549		549

		550		550		550

		551		551		551

		552		552		552

		553		553		553

		554		554		554

		555		555		555

		556		556		556

		557		557		557

		558		558		558

		559		559		559

		560		560		560

		561		561		561

		562		562		562

		563		563		563

		564		564		564

		565		565		565

		566		566		566

		567		567		567

		568		568		568

		569		569		569

		570		570		570

		571		571		571

		572		572		572

		573		573		573

		574		574		574

		575		575		575

		576		576		576

		577		577		577

		578		578		578

		579		579		579

		580		580		580

		581		581		581

		582		582		582

		583		583		583

		584		584		584

		585		585		585

		586		586		586

		587		587		587

		588		588		588

		589		589		589

		590		590		590

		591		591		591

		592		592		592

		593		593		593

		594		594		594

		595		595		595

		596		596		596

		597		597		597

		598		598		598

		599		599		599

		600		600		600

		601		601		601

		602		602		602

		603		603		603

		604		604		604

		605		605		605

		606		606		606

		607		607		607

		608		608		608

		609		609		609

		610		610		610

		611		611		611

		612		612		612

		613		613		613

		614		614		614

		615		615		615

		616		616		616

		617		617		617

		618		618		618

		619		619		619

		620		620		620

		621		621		621

		622		622		622

		623		623		623

		624		624		624

		625		625		625

		626		626		626

		627		627		627

		628		628		628

		629		629		629

		630		630		630

		631		631		631

		632		632		632

		633		633		633

		634		634		634

		635		635		635

		636		636		636

		637		637		637

		638		638		638

		639		639		639

		640		640		640

		641		641		641

		642		642		642

		643		643		643

		644		644		644

		645		645		645

		646		646		646

		647		647		647

		648		648		648

		649		649		649

		650		650		650

		651		651		651

		652		652		652

		653		653		653

		654		654		654

		655		655		655

		656		656		656

		657		657		657

		658		658		658

		659		659		659

		660		660		660

		661		661		661

		662		662		662

		663		663		663

		664		664		664

		665		665		665

		666		666		666

		667		667		667

		668		668		668

		669		669		669

		670		670		670

		671		671		671

		672		672		672

		673		673		673

		674		674		674

		675		675		675

		676		676		676

		677		677		677

		678		678		678

		679		679		679

		680		680		680

		681		681		681

		682		682		682

		683		683		683

		684		684		684

		685		685		685

		686		686		686

		687		687		687

		688		688		688

		689		689		689

		690		690		690

		691		691		691

		692		692		692

		693		693		693

		694		694		694

		695		695		695

		696		696		696

		697		697		697

		698		698		698

		699		699		699

		700		700		700

		701		701		701

		702		702		702

		703		703		703

		704		704		704

		705		705		705

		706		706		706

		707		707		707

		708		708		708

		709		709		709

		710		710		710

		711		711		711

		712		712		712

		713		713		713

		714		714		714

		715		715		715

		716		716		716

		717		717		717

		718		718		718

		719		719		719

		720		720		720

		721		721		721

		722		722		722

		723		723		723

		724		724		724

		725		725		725

		726		726		726

		727		727		727

		728		728		728

		729		729		729

		730		730		730

		731		731		731

		732		732		732

		733		733		733

		734		734		734

		735		735		735

		736		736		736

		737		737		737

		738		738		738

		739		739		739

		740		740		740

		741		741		741

		742		742		742

		743		743		743

		744		744		744

		745		745		745

		746		746		746

		747		747		747

		748		748		748

		749		749		749

		750		750		750

		751		751		751

		752		752		752

		753		753		753

		754		754		754

		755		755		755

		756		756		756

		757		757		757

		758		758		758

		759		759		759

		760		760		760

		761		761		761

		762		762		762

		763		763		763

		764		764		764

		765		765		765

		766		766		766

		767		767		767

		768		768		768

		769		769		769

		770		770		770

		771		771		771

		772		772		772

		773		773		773

		774		774		774

		775		775		775

		776		776		776

		777		777		777

		778		778		778

		779		779		779

		780		780		780

		781		781		781

		782		782		782

		783		783		783

		784		784		784

		785		785		785

		786		786		786

		787		787		787

		788		788		788

		789		789		789

		790		790		790

		791		791		791

		792		792		792

		793		793		793

		794		794		794

		795		795		795

		796		796		796

		797		797		797

		798		798		798

		799		799		799

		800		800		800

		801		801		801

		802		802		802

		803		803		803

		804		804		804

		805		805		805

		806		806		806

		807		807		807

		808		808		808

		809		809		809

		810		810		810

		811		811		811

		812		812		812

		813		813		813

		814		814		814

		815		815		815

		816		816		816

		817		817		817

		818		818		818

		819		819		819

		820		820		820

		821		821		821

		822		822		822

		823		823		823

		824		824		824

		825		825		825

		826		826		826

		827		827		827

		828		828		828

		829		829		829

		830		830		830

		831		831		831

		832		832		832

		833		833		833

		834		834		834

		835		835		835

		836		836		836

		837		837		837

		838		838		838

		839		839		839

		840		840		840

		841		841		841

		842		842		842

		843		843		843

		844		844		844

		845		845		845

		846		846		846

		847		847		847

		848		848		848

		849		849		849

		850		850		850

		851		851		851

		852		852		852

		853		853		853

		854		854		854

		855		855		855

		856		856		856

		857		857		857

		858		858		858

		859		859		859

		860		860		860

		861		861		861

		862		862		862

		863		863		863

		864		864		864

		865		865		865

		866		866		866

		867		867		867

		868		868		868

		869		869		869

		870		870		870

		871		871		871

		872		872		872

		873		873		873

		874		874		874

		875		875		875

		876		876		876

		877		877		877

		878		878		878

		879		879		879

		880		880		880

		881		881		881

		882		882		882

		883		883		883

		884		884		884

		885		885		885

		886		886		886

		887		887		887

		888		888		888

		889		889		889

		890		890		890

		891		891		891

		892		892		892

		893		893		893

		894		894		894

		895		895		895

		896		896		896

		897		897		897

		898		898		898

		899		899		899

		900		900		900

		901		901		901

		902		902		902

		903		903		903

		904		904		904

		905		905		905

		906		906		906

		907		907		907

		908		908		908

		909		909		909

		910		910		910

		911		911		911

		912		912		912

		913		913		913

		914		914		914

		915		915		915

		916		916		916

		917		917		917

		918		918		918

		919		919		919

		920		920		920

		921		921		921

		922		922		922

		923		923		923

		924		924		924

		925		925		925

		926		926		926

		927		927		927

		928		928		928

		929		929		929

		930		930		930

		931		931		931

		932		932		932

		933		933		933

		934		934		934

		935		935		935

		936		936		936

		937		937		937

		938		938		938

		939		939		939

		940		940		940

		941		941		941

		942		942		942

		943		943		943

		944		944		944

		945		945		945

		946		946		946

		947		947		947

		948		948		948

		949		949		949

		950		950		950

		951		951		951

		952		952		952

		953		953		953

		954		954		954

		955		955		955

		956		956		956

		957		957		957

		958		958		958

		959		959		959

		960		960		960

		961		961		961

		962		962		962

		963		963		963

		964		964		964

		965		965		965

		966		966		966

		967		967		967

		968		968		968

		969		969		969

		970		970		970

		971		971		971

		972		972		972

		973		973		973

		974		974		974

		975		975		975

		976		976		976

		977		977		977

		978		978		978

		979		979		979

		980		980		980

		981		981		981

		982		982		982

		983		983		983

		984		984		984

		985		985		985

		986		986		986

		987		987		987

		988		988		988

		989		989		989

		990		990		990

		991		991		991

		992		992		992

		993		993		993

		994		994		994

		995		995		995

		996		996		996

		997		997		997

		998		998		998

		999		999		999

		1000		1000		1000

		1001		1001		1001

		1002		1002		1002

		1003		1003		1003

		1004		1004		1004

		1005		1005		1005

		1006		1006		1006

		1007		1007		1007

		1008		1008		1008

		1009		1009		1009

		1010		1010		1010

		1011		1011		1011

		1012		1012		1012

		1013		1013		1013

		1014		1014		1014

		1015		1015		1015

		1016		1016		1016

		1017		1017		1017

		1018		1018		1018

		1019		1019		1019

		1020		1020		1020

		1021		1021		1021

		1022		1022		1022

		1023		1023		1023

		1024		1024		1024

		1025		1025		1025

		1026		1026		1026

		1027		1027		1027

		1028		1028		1028

		1029		1029		1029

		1030		1030		1030

		1031		1031		1031

		1032		1032		1032

		1033		1033		1033

		1034		1034		1034

		1035		1035		1035

		1036		1036		1036

		1037		1037		1037

		1038		1038		1038

		1039		1039		1039

		1040		1040		1040

		1041		1041		1041

		1042		1042		1042

		1043		1043		1043

		1044		1044		1044

		1045		1045		1045

		1046		1046		1046

		1047		1047		1047

		1048		1048		1048

		1049		1049		1049

		1050		1050		1050

		1051		1051		1051

		1052		1052		1052

		1053		1053		1053

		1054		1054		1054

		1055		1055		1055

		1056		1056		1056

		1057		1057		1057

		1058		1058		1058

		1059		1059		1059

		1060		1060		1060

		1061		1061		1061

		1062		1062		1062

		1063		1063		1063

		1064		1064		1064

		1065		1065		1065

		1066		1066		1066

		1067		1067		1067

		1068		1068		1068

		1069		1069		1069

		1070		1070		1070

		1071		1071		1071

		1072		1072		1072

		1073		1073		1073

		1074		1074		1074

		1075		1075		1075

		1076		1076		1076

		1077		1077		1077

		1078		1078		1078

		1079		1079		1079

		1080		1080		1080

		1081		1081		1081

		1082		1082		1082

		1083		1083		1083

		1084		1084		1084

		1085		1085		1085

		1086		1086		1086

		1087		1087		1087

		1088		1088		1088

		1089		1089		1089

		1090		1090		1090

		1091		1091		1091

		1092		1092		1092

		1093		1093		1093

		1094		1094		1094

		1095		1095		1095

		1096		1096		1096

		1097		1097		1097

		1098		1098		1098

		1099		1099		1099

		1100		1100		1100

		1101		1101		1101

		1102		1102		1102

		1103		1103		1103

		1104		1104		1104

		1105		1105		1105

		1106		1106		1106

		1107		1107		1107

		1108		1108		1108

		1109		1109		1109

		1110		1110		1110

		1111		1111		1111

		1112		1112		1112

		1113		1113		1113

		1114		1114		1114

		1115		1115		1115

		1116		1116		1116

		1117		1117		1117

		1118		1118		1118

		1119		1119		1119

		1120		1120		1120

		1121		1121		1121

		1122		1122		1122

		1123		1123		1123

		1124		1124		1124

		1125		1125		1125

		1126		1126		1126

		1127		1127		1127

		1128		1128		1128

		1129		1129		1129

		1130		1130		1130

		1131		1131		1131

		1132		1132		1132

		1133		1133		1133

		1134		1134		1134

		1135		1135		1135

		1136		1136		1136

		1137		1137		1137

		1138		1138		1138

		1139		1139		1139

		1140		1140		1140

		1141		1141		1141

		1142		1142		1142

		1143		1143		1143

		1144		1144		1144

		1145		1145		1145

		1146		1146		1146

		1147		1147		1147

		1148		1148		1148

		1149		1149		1149

		1150		1150		1150

		1151		1151		1151

		1152		1152		1152

		1153		1153		1153

		1154		1154		1154

		1155		1155		1155

		1156		1156		1156

		1157		1157		1157

		1158		1158		1158

		1159		1159		1159

		1160		1160		1160

		1161		1161		1161

		1162		1162		1162

		1163		1163		1163

		1164		1164		1164

		1165		1165		1165

		1166		1166		1166

		1167		1167		1167

		1168		1168		1168

		1169		1169		1169

		1170		1170		1170

		1171		1171		1171

		1172		1172		1172

		1173		1173		1173

		1174		1174		1174

		1175		1175		1175

		1176		1176		1176

		1177		1177		1177

		1178		1178		1178

		1179		1179		1179

		1180		1180		1180

		1181		1181		1181

		1182		1182		1182

		1183		1183		1183

		1184		1184		1184

		1185		1185		1185

		1186		1186		1186

		1187		1187		1187

		1188		1188		1188

		1189		1189		1189

		1190		1190		1190

		1191		1191		1191

		1192		1192		1192

		1193		1193		1193

		1194		1194		1194

		1195		1195		1195

		1196		1196		1196

		1197		1197		1197

		1198		1198		1198

		1199		1199		1199

		1200		1200		1200

		1201		1201		1201

		1202		1202		1202

		1203		1203		1203

		1204		1204		1204

		1205		1205		1205

		1206		1206		1206

		1207		1207		1207

		1208		1208		1208

		1209		1209		1209

		1210		1210		1210

		1211		1211		1211

		1212		1212		1212

		1213		1213		1213

		1214		1214		1214

		1215		1215		1215

		1216		1216		1216

		1217		1217		1217

		1218		1218		1218

		1219		1219		1219

		1220		1220		1220

		1221		1221		1221

		1222		1222		1222

		1223		1223		1223

		1224		1224		1224

		1225		1225		1225

		1226		1226		1226

		1227		1227		1227

		1228		1228		1228

		1229		1229		1229

		1230		1230		1230

		1231		1231		1231

		1232		1232		1232

		1233		1233		1233

		1234		1234		1234

		1235		1235		1235

		1236		1236		1236

		1237		1237		1237

		1238		1238		1238

		1239		1239		1239

		1240		1240		1240

		1241		1241		1241

		1242		1242		1242

		1243		1243		1243

		1244		1244		1244

		1245		1245		1245

		1246		1246		1246

		1247		1247		1247

		1248		1248		1248

		1249		1249		1249

		1250		1250		1250

		1251		1251		1251

		1252		1252		1252

		1253		1253		1253

		1254		1254		1254

		1255		1255		1255

		1256		1256		1256

		1257		1257		1257

		1258		1258		1258

		1259		1259		1259

		1260		1260		1260

		1261		1261		1261

		1262		1262		1262

		1263		1263		1263

		1264		1264		1264

		1265		1265		1265

		1266		1266		1266

		1267		1267		1267

		1268		1268		1268

		1269		1269		1269

		1270		1270		1270

		1271		1271		1271

		1272		1272		1272

		1273		1273		1273

		1274		1274		1274

		1275		1275		1275

		1276		1276		1276

		1277		1277		1277

		1278		1278		1278

		1279		1279		1279

		1280		1280		1280

		1281		1281		1281

		1282		1282		1282

		1283		1283		1283

		1284		1284		1284

		1285		1285		1285

		1286		1286		1286

		1287		1287		1287

		1288		1288		1288

		1289		1289		1289

		1290		1290		1290

		1291		1291		1291

		1292		1292		1292

		1293		1293		1293

		1294		1294		1294

		1295		1295		1295

		1296		1296		1296

		1297		1297		1297

		1298		1298		1298

		1299		1299		1299

		1300		1300		1300

		1301		1301		1301

		1302		1302		1302

		1303		1303		1303

		1304		1304		1304

		1305		1305		1305

		1306		1306		1306

		1307		1307		1307

		1308		1308		1308

		1309		1309		1309

		1310		1310		1310

		1311		1311		1311

		1312		1312		1312

		1313		1313		1313

		1314		1314		1314

		1315		1315		1315

		1316		1316		1316

		1317		1317		1317

		1318		1318		1318

		1319		1319		1319

		1320		1320		1320

		1321		1321		1321

		1322		1322		1322

		1323		1323		1323

		1324		1324		1324

		1325		1325		1325

		1326		1326		1326

		1327		1327		1327

		1328		1328		1328

		1329		1329		1329

		1330		1330		1330

		1331		1331		1331

		1332		1332		1332

		1333		1333		1333

		1334		1334		1334

		1335		1335		1335

		1336		1336		1336

		1337		1337		1337

		1338		1338		1338

		1339		1339		1339

		1340		1340		1340

		1341		1341		1341

		1342		1342		1342

		1343		1343		1343

		1344		1344		1344

		1345		1345		1345

		1346		1346		1346

		1347		1347		1347

		1348		1348		1348

		1349		1349		1349

		1350		1350		1350

		1351		1351		1351

		1352		1352		1352

		1353		1353		1353

		1354		1354		1354

		1355		1355		1355

		1356		1356		1356

		1357		1357		1357

		1358		1358		1358

		1359		1359		1359

		1360		1360		1360

		1361		1361		1361

		1362		1362		1362

		1363		1363		1363

		1364		1364		1364

		1365		1365		1365

		1366		1366		1366

		1367		1367		1367

		1368		1368		1368

		1369		1369		1369

		1370		1370		1370

		1371		1371		1371

		1372		1372		1372

		1373		1373		1373

		1374		1374		1374

		1375		1375		1375

		1376		1376		1376

		1377		1377		1377

		1378		1378		1378

		1379		1379		1379

		1380		1380		1380

		1381		1381		1381

		1382		1382		1382

		1383		1383		1383

		1384		1384		1384

		1385		1385		1385

		1386		1386		1386

		1387		1387		1387

		1388		1388		1388

		1389		1389		1389

		1390		1390		1390

		1391		1391		1391

		1392		1392		1392

		1393		1393		1393

		1394		1394		1394

		1395		1395		1395

		1396		1396		1396

		1397		1397		1397

		1398		1398		1398

		1399		1399		1399

		1400		1400		1400

		1401		1401		1401

		1402		1402		1402

		1403		1403		1403

		1404		1404		1404

		1405		1405		1405

		1406		1406		1406

		1407		1407		1407

		1408		1408		1408

		1409		1409		1409

		1410		1410		1410

		1411		1411		1411

		1412		1412		1412

		1413		1413		1413

		1414		1414		1414

		1415		1415		1415

		1416		1416		1416

		1417		1417		1417

		1418		1418		1418

		1419		1419		1419

		1420		1420		1420

		1421		1421		1421

		1422		1422		1422

		1423		1423		1423

		1424		1424		1424

		1425		1425		1425

		1426		1426		1426

		1427		1427		1427

		1428		1428		1428

		1429		1429		1429

		1430		1430		1430

		1431		1431		1431

		1432		1432		1432

		1433		1433		1433

		1434		1434		1434

		1435		1435		1435

		1436		1436		1436

		1437		1437		1437

		1438		1438		1438

		1439		1439		1439

		1440		1440		1440

		1441		1441		1441

		1442		1442		1442

		1443		1443		1443

		1444		1444		1444

		1445		1445		1445

		1446		1446		1446

		1447		1447		1447

		1448		1448		1448

		1449		1449		1449

		1450		1450		1450

		1451		1451		1451

		1452		1452		1452

		1453		1453		1453

		1454		1454		1454

		1455		1455		1455

		1456		1456		1456

		1457		1457		1457

		1458		1458		1458

		1459		1459		1459

		1460		1460		1460

		1461		1461		1461

		1462		1462		1462

		1463		1463		1463

		1464		1464		1464

		1465		1465		1465

		1466		1466		1466

		1467		1467		1467

		1468		1468		1468

		1469		1469		1469

		1470		1470		1470

		1471		1471		1471

		1472		1472		1472

		1473		1473		1473

		1474		1474		1474

		1475		1475		1475

		1476		1476		1476

		1477		1477		1477

		1478		1478		1478

		1479		1479		1479

		1480		1480		1480

		1481		1481		1481

		1482		1482		1482

		1483		1483		1483

		1484		1484		1484

		1485		1485		1485

		1486		1486		1486

		1487		1487		1487

		1488		1488		1488

		1489		1489		1489

		1490		1490		1490

		1491		1491		1491

		1492		1492		1492

		1493		1493		1493

		1494		1494		1494

		1495		1495		1495

		1496		1496		1496

		1497		1497		1497

		1498		1498		1498

		1499		1499		1499

		1500		1500		1500

		1501		1501		1501

		1502		1502		1502

		1503		1503		1503

		1504		1504		1504

		1505		1505		1505

		1506		1506		1506

		1507		1507		1507

		1508		1508		1508

		1509		1509		1509

		1510		1510		1510

		1511		1511		1511

		1512		1512		1512

		1513		1513		1513

		1514		1514		1514

		1515		1515		1515

		1516		1516		1516

		1517		1517		1517

		1518		1518		1518

		1519		1519		1519

		1520		1520		1520

		1521		1521		1521

		1522		1522		1522

		1523		1523		1523

		1524		1524		1524

		1525		1525		1525

		1526		1526		1526

		1527		1527		1527

		1528		1528		1528

		1529		1529		1529

		1530		1530		1530

		1531		1531		1531

		1532		1532		1532

		1533		1533		1533

		1534		1534		1534

		1535		1535		1535

		1536		1536		1536

		1537		1537		1537

		1538		1538		1538

		1539		1539		1539

		1540		1540		1540

		1541		1541		1541

		1542		1542		1542

		1543		1543		1543

		1544		1544		1544

		1545		1545		1545

		1546		1546		1546

		1547		1547		1547

		1548		1548		1548

		1549		1549		1549

		1550		1550		1550

		1551		1551		1551

		1552		1552		1552

		1553		1553		1553

		1554		1554		1554

		1555		1555		1555

		1556		1556		1556

		1557		1557		1557

		1558		1558		1558

		1559		1559		1559

		1560		1560		1560

		1561		1561		1561

		1562		1562		1562

		1563		1563		1563

		1564		1564		1564

		1565		1565		1565

		1566		1566		1566

		1567		1567		1567

		1568		1568		1568

		1569		1569		1569

		1570		1570		1570

		1571		1571		1571

		1572		1572		1572

		1573		1573		1573

		1574		1574		1574

		1575		1575		1575

		1576		1576		1576

		1577		1577		1577

		1578		1578		1578

		1579		1579		1579

		1580		1580		1580

		1581		1581		1581

		1582		1582		1582

		1583		1583		1583

		1584		1584		1584

		1585		1585		1585

		1586		1586		1586

		1587		1587		1587

		1588		1588		1588

		1589		1589		1589

		1590		1590		1590

		1591		1591		1591

		1592		1592		1592

		1593		1593		1593

		1594		1594		1594

		1595		1595		1595

		1596		1596		1596

		1597		1597		1597

		1598		1598		1598

		1599		1599		1599

		1600		1600		1600

		1601		1601		1601

		1602		1602		1602

		1603		1603		1603

		1604		1604		1604

		1605		1605		1605

		1606		1606		1606

		1607		1607		1607

		1608		1608		1608

		1609		1609		1609

		1610		1610		1610

		1611		1611		1611

		1612		1612		1612

		1613		1613		1613

		1614		1614		1614

		1615		1615		1615

		1616		1616		1616

		1617		1617		1617

		1618		1618		1618

		1619		1619		1619

		1620		1620		1620

		1621		1621		1621

		1622		1622		1622

		1623		1623		1623

		1624		1624		1624

		1625		1625		1625

		1626		1626		1626

		1627		1627		1627

		1628		1628		1628

		1629		1629		1629

		1630		1630		1630

		1631		1631		1631

		1632		1632		1632

		1633		1633		1633

		1634		1634		1634

		1635		1635		1635

		1636		1636		1636

		1637		1637		1637

		1638		1638		1638

		1639		1639		1639

		1640		1640		1640

		1641		1641		1641

		1642		1642		1642

		1643		1643		1643

		1644		1644		1644

		1645		1645		1645

		1646		1646		1646

		1647		1647		1647

		1648		1648		1648

		1649		1649		1649

		1650		1650		1650

		1651		1651		1651

		1652		1652		1652

		1653		1653		1653

		1654		1654		1654

		1655		1655		1655

		1656		1656		1656

		1657		1657		1657

		1658		1658		1658

		1659		1659		1659

		1660		1660		1660

		1661		1661		1661

		1662		1662		1662

		1663		1663		1663

		1664		1664		1664

		1665		1665		1665

		1666		1666		1666

		1667		1667		1667

		1668		1668		1668

		1669		1669		1669

		1670		1670		1670

		1671		1671		1671

		1672		1672		1672

		1673		1673		1673

		1674		1674		1674

		1675		1675		1675

		1676		1676		1676

		1677		1677		1677

		1678		1678		1678

		1679		1679		1679

		1680		1680		1680

		1681		1681		1681

		1682		1682		1682

		1683		1683		1683

		1684		1684		1684

		1685		1685		1685

		1686		1686		1686

		1687		1687		1687

		1688		1688		1688

		1689		1689		1689

		1690		1690		1690

		1691		1691		1691

		1692		1692		1692

		1693		1693		1693

		1694		1694		1694

		1695		1695		1695

		1696		1696		1696

		1697		1697		1697

		1698		1698		1698

		1699		1699		1699

		1700		1700		1700

		1701		1701		1701

		1702		1702		1702

		1703		1703		1703

		1704		1704		1704

		1705		1705		1705

		1706		1706		1706

		1707		1707		1707

		1708		1708		1708

		1709		1709		1709

		1710		1710		1710

		1711		1711		1711

		1712		1712		1712

		1713		1713		1713

		1714		1714		1714

		1715		1715		1715

		1716		1716		1716

		1717		1717		1717

		1718		1718		1718

		1719		1719		1719

		1720		1720		1720

		1721		1721		1721

		1722		1722		1722

		1723		1723		1723

		1724		1724		1724

		1725		1725		1725

		1726		1726		1726

		1727		1727		1727

		1728		1728		1728

		1729		1729		1729

		1730		1730		1730

		1731		1731		1731

		1732		1732		1732

		1733		1733		1733

		1734		1734		1734

		1735		1735		1735

		1736		1736		1736

		1737		1737		1737

		1738		1738		1738

		1739		1739		1739

		1740		1740		1740

		1741		1741		1741

		1742		1742		1742

		1743		1743		1743

		1744		1744		1744

		1745		1745		1745

		1746		1746		1746

		1747		1747		1747

		1748		1748		1748

		1749		1749		1749

		1750		1750		1750

		1751		1751		1751

		1752		1752		1752

		1753		1753		1753

		1754		1754		1754

		1755		1755		1755

		1756		1756		1756

		1757		1757		1757

		1758		1758		1758

		1759		1759		1759

		1760		1760		1760

		1761		1761		1761

		1762		1762		1762

		1763		1763		1763

		1764		1764		1764

		1765		1765		1765

		1766		1766		1766

		1767		1767		1767

		1768		1768		1768

		1769		1769		1769

		1770		1770		1770

		1771		1771		1771

		1772		1772		1772

		1773		1773		1773

		1774		1774		1774

		1775		1775		1775

		1776		1776		1776

		1777		1777		1777

		1778		1778		1778

		1779		1779		1779

		1780		1780		1780

		1781		1781		1781

		1782		1782		1782

		1783		1783		1783

		1784		1784		1784

		1785		1785		1785

		1786		1786		1786

		1787		1787		1787

		1788		1788		1788

		1789		1789		1789

		1790		1790		1790

		1791		1791		1791

		1792		1792		1792

		1793		1793		1793

		1794		1794		1794

		1795		1795		1795

		1796		1796		1796

		1797		1797		1797

		1798		1798		1798

		1799		1799		1799

		1800		1800		1800

		1801		1801		1801

		1802		1802		1802

		1803		1803		1803

		1804		1804		1804

		1805		1805		1805

		1806		1806		1806

		1807		1807		1807

		1808		1808		1808

		1809		1809		1809

		1810		1810		1810

		1811		1811		1811

		1812		1812		1812

		1813		1813		1813

		1814		1814		1814

		1815		1815		1815

		1816		1816		1816

		1817		1817		1817

		1818		1818		1818

		1819		1819		1819

		1820		1820		1820

		1821		1821		1821

		1822		1822		1822

		1823		1823		1823

		1824		1824		1824

		1825		1825		1825

		1826		1826		1826

		1827		1827		1827

		1828		1828		1828

		1829		1829		1829

		1830		1830		1830

		1831		1831		1831

		1832		1832		1832

		1833		1833		1833

		1834		1834		1834

		1835		1835		1835

		1836		1836		1836

		1837		1837		1837

		1838		1838		1838

		1839		1839		1839

		1840		1840		1840

		1841		1841		1841

		1842		1842		1842

		1843		1843		1843

		1844		1844		1844

		1845		1845		1845

		1846		1846		1846

		1847		1847		1847

		1848		1848		1848

		1849		1849		1849

		1850		1850		1850

		1851		1851		1851

		1852		1852		1852

		1853		1853		1853

		1854		1854		1854

		1855		1855		1855

		1856		1856		1856

		1857		1857		1857

		1858		1858		1858

		1859		1859		1859

		1860		1860		1860

		1861		1861		1861

		1862		1862		1862

		1863		1863		1863

		1864		1864		1864

		1865		1865		1865

		1866		1866		1866

		1867		1867		1867

		1868		1868		1868

		1869		1869		1869

		1870		1870		1870

		1871		1871		1871

		1872		1872		1872

		1873		1873		1873

		1874		1874		1874

		1875		1875		1875

		1876		1876		1876

		1877		1877		1877

		1878		1878		1878

		1879		1879		1879

		1880		1880		1880

		1881		1881		1881

		1882		1882		1882

		1883		1883		1883

		1884		1884		1884

		1885		1885		1885

		1886		1886		1886

		1887		1887		1887

		1888		1888		1888

		1889		1889		1889

		1890		1890		1890

		1891		1891		1891

		1892		1892		1892

		1893		1893		1893

		1894		1894		1894

		1895		1895		1895

		1896		1896		1896

		1897		1897		1897

		1898		1898		1898

		1899		1899		1899

		1900		1900		1900

		1901		1901		1901

		1902		1902		1902

		1903		1903		1903

		1904		1904		1904

		1905		1905		1905

		1906		1906		1906

		1907		1907		1907

		1908		1908		1908

		1909		1909		1909

		1910		1910		1910

		1911		1911		1911

		1912		1912		1912

		1913		1913		1913

		1914		1914		1914

		1915		1915		1915

		1916		1916		1916

		1917		1917		1917

		1918		1918		1918

		1919		1919		1919

		1920		1920		1920

		1921		1921		1921

		1922		1922		1922

		1923		1923		1923

		1924		1924		1924

		1925		1925		1925

		1926		1926		1926

		1927		1927		1927

		1928		1928		1928

		1929		1929		1929

		1930		1930		1930

		1931		1931		1931

		1932		1932		1932

		1933		1933		1933

		1934		1934		1934

		1935		1935		1935

		1936		1936		1936

		1937		1937		1937

		1938		1938		1938

		1939		1939		1939

		1940		1940		1940

		1941		1941		1941

		1942		1942		1942

		1943		1943		1943

		1944		1944		1944

		1945		1945		1945

		1946		1946		1946

		1947		1947		1947

		1948		1948		1948

		1949		1949		1949

		1950		1950		1950

		1951		1951		1951

		1952		1952		1952

		1953		1953		1953

		1954		1954		1954

		1955		1955		1955

		1956		1956		1956

		1957		1957		1957

		1958		1958		1958

		1959		1959		1959

		1960		1960		1960

		1961		1961		1961

		1962		1962		1962

		1963		1963		1963

		1964		1964		1964

		1965		1965		1965

		1966		1966		1966

		1967		1967		1967

		1968		1968		1968

		1969		1969		1969

		1970		1970		1970

		1971		1971		1971

		1972		1972		1972

		1973		1973		1973

		1974		1974		1974

		1975		1975		1975

		1976		1976		1976

		1977		1977		1977

		1978		1978		1978

		1979		1979		1979

		1980		1980		1980

		1981		1981		1981

		1982		1982		1982

		1983		1983		1983

		1984		1984		1984

		1985		1985		1985

		1986		1986		1986

		1987		1987		1987

		1988		1988		1988

		1989		1989		1989

		1990		1990		1990

		1991		1991		1991

		1992		1992		1992

		1993		1993		1993

		1994		1994		1994

		1995		1995		1995

		1996		1996		1996

		1997		1997		1997

		1998		1998		1998

		1999		1999		1999

		2000		2000		2000

		2001		2001		2001

		2002		2002		2002

		2003		2003		2003

		2004		2004		2004

		2005		2005		2005

		2006		2006		2006

		2007		2007		2007

		2008		2008		2008

		2009		2009		2009

		2010		2010		2010

		2011		2011		2011

		2012		2012		2012

		2013		2013		2013

		2014		2014		2014

		2015		2015		2015

		2016		2016		2016

		2017		2017		2017

		2018		2018		2018

		2019		2019		2019

		2020		2020		2020

		2021		2021		2021

		2022		2022		2022

		2023		2023		2023

		2024		2024		2024

		2025		2025		2025

		2026		2026		2026

		2027		2027		2027

		2028		2028		2028

		2029		2029		2029

		2030		2030		2030

		2031		2031		2031

		2032		2032		2032

		2033		2033		2033

		2034		2034		2034

		2035		2035		2035

		2036		2036		2036

		2037		2037		2037

		2038		2038		2038

		2039		2039		2039

		2040		2040		2040

		2041		2041		2041

		2042		2042		2042

		2043		2043		2043

		2044		2044		2044

		2045		2045		2045

		2046		2046		2046

		2047		2047		2047

		2048		2048		2048

		2049		2049		2049

		2050		2050		2050

		2051		2051		2051

		2052		2052		2052

		2053		2053		2053

		2054		2054		2054

		2055		2055		2055

		2056		2056		2056

		2057		2057		2057

		2058		2058		2058

		2059		2059		2059

		2060		2060		2060

		2061		2061		2061

		2062		2062		2062

		2063		2063		2063

		2064		2064		2064

		2065		2065		2065

		2066		2066		2066

		2067		2067		2067

		2068		2068		2068

		2069		2069		2069

		2070		2070		2070

		2071		2071		2071

		2072		2072		2072

		2073		2073		2073

		2074		2074		2074

		2075		2075		2075

		2076		2076		2076

		2077		2077		2077

		2078		2078		2078

		2079		2079		2079

		2080		2080		2080

		2081		2081		2081

		2082		2082		2082

		2083		2083		2083

		2084		2084		2084

		2085		2085		2085

		2086		2086		2086

		2087		2087		2087

		2088		2088		2088

		2089		2089		2089

		2090		2090		2090

		2091		2091		2091

		2092		2092		2092

		2093		2093		2093

		2094		2094		2094

		2095		2095		2095

		2096		2096		2096

		2097		2097		2097

		2098		2098		2098

		2099		2099		2099

		2100		2100		2100

		2101		2101		2101

		2102		2102		2102

		2103		2103		2103

		2104		2104		2104

		2105		2105		2105

		2106		2106		2106

		2107		2107		2107

		2108		2108		2108

		2109		2109		2109

		2110		2110		2110

		2111		2111		2111

		2112		2112		2112

		2113		2113		2113

		2114		2114		2114

		2115		2115		2115

		2116		2116		2116

		2117		2117		2117

		2118		2118		2118

		2119		2119		2119

		2120		2120		2120

		2121		2121		2121

		2122		2122		2122

		2123		2123		2123

		2124		2124		2124

		2125		2125		2125

		2126		2126		2126

		2127		2127		2127

		2128		2128		2128

		2129		2129		2129

		2130		2130		2130

		2131		2131		2131

		2132		2132		2132

		2133		2133		2133

		2134		2134		2134

		2135		2135		2135

		2136		2136		2136

		2137		2137		2137

		2138		2138		2138

		2139		2139		2139

		2140		2140		2140

		2141		2141		2141

		2142		2142		2142

		2143		2143		2143

		2144		2144		2144

		2145		2145		2145

		2146		2146		2146

		2147		2147		2147

		2148		2148		2148

		2149		2149		2149

		2150		2150		2150

		2151		2151		2151

		2152		2152		2152

		2153		2153		2153

		2154		2154		2154

		2155		2155		2155

		2156		2156		2156

		2157		2157		2157

		2158		2158		2158

		2159		2159		2159

		2160		2160		2160

		2161		2161		2161

		2162		2162		2162

		2163		2163		2163

		2164		2164		2164

		2165		2165		2165

		2166		2166		2166

		2167		2167		2167

		2168		2168		2168

		2169		2169		2169

		2170		2170		2170

		2171		2171		2171

		2172		2172		2172

		2173		2173		2173

		2174		2174		2174

		2175		2175		2175

		2176		2176		2176

		2177		2177		2177

		2178		2178		2178

		2179		2179		2179

		2180		2180		2180

		2181		2181		2181

		2182		2182		2182

		2183		2183		2183

		2184		2184		2184

		2185		2185		2185

		2186		2186		2186

		2187		2187		2187

		2188		2188		2188

		2189		2189		2189

		2190		2190		2190

		2191		2191		2191

		2192		2192		2192

		2193		2193		2193

		2194		2194		2194

		2195		2195		2195

		2196		2196		2196

		2197		2197		2197

		2198		2198		2198

		2199		2199		2199

		2200		2200		2200

		2201		2201		2201

		2202		2202		2202

		2203		2203		2203

		2204		2204		2204

		2205		2205		2205

		2206		2206		2206

		2207		2207		2207

		2208		2208		2208

		2209		2209		2209

		2210		2210		2210

		2211		2211		2211

		2212		2212		2212

		2213		2213		2213

		2214		2214		2214

		2215		2215		2215

		2216		2216		2216

		2217		2217		2217

		2218		2218		2218

		2219		2219		2219

		2220		2220		2220

		2221		2221		2221

		2222		2222		2222

		2223		2223		2223

		2224		2224		2224

		2225		2225		2225

		2226		2226		2226

		2227		2227		2227

		2228		2228		2228

		2229		2229		2229

		2230		2230		2230

		2231		2231		2231

		2232		2232		2232

		2233		2233		2233

		2234		2234		2234

		2235		2235		2235

		2236		2236		2236

		2237		2237		2237

		2238		2238		2238

		2239		2239		2239

		2240		2240		2240

		2241		2241		2241

		2242		2242		2242

		2243		2243		2243

		2244		2244		2244

		2245		2245		2245

		2246		2246		2246

		2247		2247		2247

		2248		2248		2248

		2249		2249		2249

		2250		2250		2250

		2251		2251		2251

		2252		2252		2252

		2253		2253		2253

		2254		2254		2254

		2255		2255		2255

		2256		2256		2256

		2257		2257		2257

		2258		2258		2258

		2259		2259		2259

		2260		2260		2260

		2261		2261		2261

		2262		2262		2262

		2263		2263		2263

		2264		2264		2264

		2265		2265		2265

		2266		2266		2266

		2267		2267		2267

		2268		2268		2268

		2269		2269		2269

		2270		2270		2270

		2271		2271		2271

		2272		2272		2272

		2273		2273		2273

		2274		2274		2274

		2275		2275		2275

		2276		2276		2276

		2277		2277		2277

		2278		2278		2278

		2279		2279		2279

		2280		2280		2280

		2281		2281		2281

		2282		2282		2282

		2283		2283		2283

		2284		2284		2284

		2285		2285		2285

		2286		2286		2286

		2287		2287		2287

		2288		2288		2288

		2289		2289		2289

		2290		2290		2290

		2291		2291		2291

		2292		2292		2292

		2293		2293		2293

		2294		2294		2294

		2295		2295		2295

		2296		2296		2296

		2297		2297		2297

		2298		2298		2298

		2299		2299		2299

		2300		2300		2300

		2301		2301		2301

		2302		2302		2302

		2303		2303		2303

		2304		2304		2304

		2305		2305		2305

		2306		2306		2306

		2307		2307		2307

		2308		2308		2308

		2309		2309		2309

		2310		2310		2310

		2311		2311		2311

		2312		2312		2312

		2313		2313		2313

		2314		2314		2314

		2315		2315		2315

		2316		2316		2316

		2317		2317		2317

		2318		2318		2318

		2319		2319		2319

		2320		2320		2320

		2321		2321		2321

		2322		2322		2322

		2323		2323		2323

		2324		2324		2324

		2325		2325		2325

		2326		2326		2326

		2327		2327		2327

		2328		2328		2328

		2329		2329		2329

		2330		2330		2330

		2331		2331		2331

		2332		2332		2332

		2333		2333		2333

		2334		2334		2334

		2335		2335		2335

		2336		2336		2336

		2337		2337		2337

		2338		2338		2338

		2339		2339		2339

		2340		2340		2340

		2341		2341		2341

		2342		2342		2342

		2343		2343		2343

		2344		2344		2344

		2345		2345		2345

		2346		2346		2346

		2347		2347		2347

		2348		2348		2348

		2349		2349		2349

		2350		2350		2350

		2351		2351		2351

		2352		2352		2352

		2353		2353		2353

		2354		2354		2354

		2355		2355		2355

		2356		2356		2356

		2357		2357		2357

		2358		2358		2358

		2359		2359		2359

		2360		2360		2360

		2361		2361		2361

		2362		2362		2362

		2363		2363		2363

		2364		2364		2364

		2365		2365		2365

		2366		2366		2366

		2367		2367		2367

		2368		2368		2368

		2369		2369		2369

		2370		2370		2370

		2371		2371		2371

		2372		2372		2372

		2373		2373		2373

		2374		2374		2374

		2375		2375		2375

		2376		2376		2376

		2377		2377		2377

		2378		2378		2378

		2379		2379		2379

		2380		2380		2380

		2381		2381		2381

		2382		2382		2382

		2383		2383		2383

		2384		2384		2384

		2385		2385		2385

		2386		2386		2386

		2387		2387		2387

		2388		2388		2388

		2389		2389		2389

		2390		2390		2390

		2391		2391		2391

		2392		2392		2392

		2393		2393		2393

		2394		2394		2394

		2395		2395		2395

		2396		2396		2396

		2397		2397		2397

		2398		2398		2398

		2399		2399		2399

		2400		2400		2400



v

b

T1-1,K-L=30mm,prop.0,83l/min

T1-3,K-L=30mm,prop.0,7l/min

T1-4,K-L=30mm,prop.0,78l/min

time,s

Temperature,K

530.2217320896

803.4807502654

767.0971565908

538.6646853732

806.9605949575

765.9251853156

541.1447200961

796.7438087172

765.9251853156

536.1832020907

792.3233450298

763.8147244276

539.9048838046

797.9062194992

761.4683917539

528.978708967

789.994684783

761.4683917539

519.2706999695

794.4179007336

762.6417391607

518.0244900159

806.9605949575

763.8147244276

519.2706999695

805.8010088667

764.7528519004

521.7620334572

799.0682681413

768.2687657261

524.0029950776

795.5810357954

767.0971565908

526.4915763021

788.8298114497

767.0971565908

525.2474667598

786.4989783635

765.9251853156

527.7353237045

796.7438087172

765.9251853156

522.7581612556

791.1591959764

765.9251853156

526.4915763021

793.2544035319

765.9251853156

527.7353237045

791.1591959764

762.6417391607

537.4241248019

788.8298114497

765.9251853156

541.1447200961

785.3330186105

770.610897577

539.9048838046

795.5810357954

765.9251853156

539.9048838046

794.4179007336

764.7528519004

536.1832020907

800.2299546435

763.8147244276

530.2217320896

796.7438087172

765.9251853156

511.7880081491

800.2299546435

765.9251853156

504.5423469622

800.2299546435

763.8147244276

516.7779179223

795.5810357954

765.9251853156

520.5165477833

786.4989783635

767.0971565908

514.2836873155

799.0682681413

759.1206105206

514.2836873155

794.4179007336

760.2946822072

507.0422269513

788.8298114497

756.7713807277

514.2836873155

786.4989783635

753.4800254375

519.2706999695

788.8298114497

755.5962226214

524.0029950776

794.4179007336

757.9461766941

531.4643930723

797.9062194992

767.0971565908

526.4915763021

801.3912790058

762.6417391607

524.0029950776

795.5810357954

763.8147244276

522.7581612556

796.7438087172

756.7713807277

518.0244900159

792.3233450298

763.8147244276

521.7620334572

795.5810357954

760.2946822072

525.2474667598

794.4179007336

765.9251853156

530.2217320896

786.4989783635

757.9461766941

524.0029950776

786.4989783635

760.2946822072

515.5309836889

787.6645759765

762.6417391607

519.2706999695

786.4989783635

754.4207023752

527.7353237045

786.4989783635

759.1206105206

515.5309836889

793.2544035319

764.7528519004

513.0360288023

794.4179007336

762.6417391607

513.0360288023

794.4179007336

761.4683917539

505.7924680267

792.3233450298

760.2946822072

515.5309836889

795.5810357954

761.4683917539

507.0422269513

792.3233450298

762.6417391607

513.0360288023

792.3233450298

765.9251853156

518.0244900159

795.5810357954

768.2687657261

516.7779179223

792.3233450298

767.0971565908

522.7581612556

785.3330186105

763.8147244276

531.4643930723

785.3330186105

765.9251853156

526.4915763021

786.4989783635

763.8147244276

527.7353237045

785.3330186105

764.7528519004

528.978708967

788.8298114497

761.4683917539

532.4582611177

780.8990688334

763.8147244276

527.7353237045

789.994684783

759.1206105206

526.4915763021

788.8298114497

754.4207023752

554.2647204255

775.0569573122

737.2168662897

544.6143351281

764.7528519004

732.726495117

519.2706999695

733.9086787372

767.0971565908

570.0535056204

702.5776128987

773.8874485883

672.1950925058

797.9062194992

747.5955435486

703.7689948723

788.8298114497

726.8101449173

696.6152709323

769.4400127215

697.8084636054

688.4919568056

753.4800254375

664.9840056065

660.4102408588

760.2946822072

687.2959394413

632.1302315912

740.758202336

696.6152709323

610.7291371962

715.1878361408

701.3858687852

604.6288199299

690.8829051143

704.9600147059

595.0942469709

662.8181373147

707.102937814

597.5411096795

664.9840056065

715.1878361408

601.2086876931

668.5911786857

714.2375407675

610.7291371962

672.1950925058

711.8607883426

616.5769242415

664.9840056065

714.2375407675

628.4902486375

666.1867587728

722.3076637865

636.7361978183

666.1867587728

736.0356966612

659.205749421

664.9840056065

749.9504227239

666.1867587728

662.8181373147

752.3038533395

676.7553711638

666.1867587728

770.610897577

680.35189733

664.0215423328

787.6645759765

684.9028182932

656.7956801258

825.0032481006

687.2959394413

656.7956801258

842.9577708788

688.4919568056

651.0056036941

851.901983381

699.0012941386

647.3825688876

856.4802125217

708.292943656

643.9981291588

853.0470838761

713.049345625

644.9654016504

849.8398898975

732.726495117

642.7887126185

841.8094835527

747.5955435486

640.3687931181

837.4426889977

754.4207023752

656.7956801258

829.6153735354

763.8147244276

673.3956728327

819.4610491842

772.9515808684

689.6876120299

803.4807502654

783.2333784627

695.4217161194

791.1591959764

789.994684783

702.5776128987

788.8298114497

784.1666967177

702.5776128987

792.3233450298

794.4179007336

703.7689948723

788.8298114497

802.5522412282

707.102937814

785.3330186105

799.0682681413

703.7689948723

785.3330186105

799.0682681413

707.102937814

784.1666967177

804.641060636

708.292943656

784.1666967177

809.2786807195

709.4825873581

782.066404718

796.7438087172

713.049345625

784.1666967177

803.4807502654

716.3753794315

783.2333784627

814.836176425

715.1878361408

788.8298114497

817.1493370844

715.1878361408

785.3330186105

831.6889396108

714.2375407675

788.8298114497

829.6153735354

718.7493795932

793.2544035319

832.840413768

718.7493795932

792.3233450298

841.8094835527

717.5625605823

787.6645759765

853.0470838761

726.8101449173

787.6645759765

865.3910936681

734.8541648927

793.2544035319

866.5319209123

736.0356966612

787.6645759765

863.1083527599

741.9379234049

793.2544035319

876.5555851895

743.117282334

801.3912790058

885.4167517711

744.2962791232

802.5522412282

876.5555851895

745.2392158138

801.3912790058

877.6928634628

745.2392158138

804.641060636

883.1467581872

751.1273191017

794.4179007336

891.9915415599

752.3038533395

796.7438087172

891.9915415599

755.5962226214

791.1591959764

891.9915415599

755.5962226214

789.994684783

893.1238947307

754.4207023752

791.1591959764

903.0729871607

754.4207023752

787.6645759765

891.9915415599

756.7713807277

785.3330186105

905.3302334202

761.4683917539

783.2333784627

906.4583133402

762.6417391607

791.1591959764

904.2017913604

765.9251853156

789.994684783

926.2532448734

767.0971565908

795.5810357954

917.2694548939

768.2687657261

803.4807502654

929.392095811

769.4400127215

803.4807502654

933.8712434764

775.0569573122

804.641060636

930.5124259372

783.2333784627

808.1198189085

963.2882985712

778.5633106446

818.3053742042

977.2392789125

779.731370809

823.8493113921

996.6301202654

773.8874485883

828.4628853865

1012.6305799657

777.3948883404

832.840413768

1012.6305799657

778.5633106446

840.8905929511

1023.3273171133

788.8298114497

829.6153735354

1035.0752736095

783.2333784627

838.5923524554

1053.0499599988

786.4989783635

836.2926634001

1066.6267774006

787.6645759765

844.105696065

1080.3602303793

789.994684783

849.8398898975

1092.7549221033

800.2299546435

854.1918222312

1112.5274585671

792.3233450298

863.1083527599

1114.6460776749

797.9062194992

869.9522298057

1131.1215921512

800.2299546435

875.4179447763

1141.4265229036

800.2299546435

883.1467581872

1151.6966737406

801.3912790058

882.0112181854

1164.8500482061

805.8010088667

893.1238947307

1184.1618558101

808.1198189085

890.8588262493

1190.158192302

806.9605949575

898.5541489627

1196.1423464079

811.5953179218

899.6844017221

1201.2913221702

817.1493370844

893.1238947307

1209.305646336

823.8493113921

893.1238947307

1215.25073279

827.3100350978

897.6496860146

1225.2681968939

831.6889396108

896.5187814034

1240.1276696702

838.5923524554

894.2558857615

1249.0467782967

841.8094835527

888.8190260977

1261.969964989

839.7416537732

888.8190260977

1263.7825295993

838.5923524554

893.1238947307

1270.8202380642

842.9577708788

895.3875146524

1269.8159375604

839.7416537732

897.6496860146

1252.0809736342

841.8094835527

900.8142923415

1243.1714255009

847.5472987842

899.6844017221

1273.6303528909

842.9577708788

897.6496860146

1310.6953035055

845.2532591113

901.943820821

1306.7338710338

840.8905929511

903.0729871607

1324.1208330066

846.4004600177

910.7417143202

1329.0398499357

846.4004600177

915.2449080746

1335.7151839067

845.2532591113

922.8870396803

1342.373772529

848.6937754108

928.2714035449

1351.9405173197

847.5472987842

930.5124259372

1348.0399243503

848.6937754108

933.8712434764

1363.2194705131

850.9856422443

942.588915746

1344.3289941162

857.6238644572

956.6247671931

1370.7761947076

857.6238644572

971.9313989937

1381.2029779537

863.1083527599

984.7444926667

1382.1662842215

865.3910936681

992.2329610721

1388.7071628923

866.5319209123

1007.3786723891

1397.1469721251

874.2799422233

1017.0007959508

1412.9911750271

873.1415775303

1046.5646014489

1414.8933793338

875.4179447763

1054.1295856008

1411.0875221609

874.2799422233

1059.3067475031

1400.9739782678

879.7390517622

1062.5382366553

1397.1469721251

886.5512053532

1068.7765405394

1395.2312962144

886.5512053532

1076.0748999856

1395.2312962144

888.8190260977

1084.4259273401

1395.2312962144

887.6852967954

1092.7549221033

1394.4646202534

888.8190260977

1097.0176549676

1398.1042668707

886.5512053532

1099.1468485603

1408.4199745681

891.9915415599

1105.3133183749

1409.3729960629

895.3875146524

1106.37527155

1419.4527595466

898.5541489627

1109.3468138562

1421.3500387506

895.3875146524

1107.4368625853

1421.3500387506

891.9915415599

1120.7818814832

1418.5035767347

899.6844017221

1144.3644006852

1426.843956838

912.9940354772

1165.8915042632

1428.7355866597

919.5175752281

1190.158192302

1433.4583237658

924.0094702179

1219.3436944715

1434.2131215382

931.6323939235

1223.2266411557

1430.6257679218

927.1503491389

1231.1805169302

1436.0991019775

930.5124259372

1230.1620205425

1444.3802070228

934.990125043

1231.1805169302

1447.1969011394

933.8712434764

1246.2119220725

1453.5693413023

954.4006929479

1257.9378428098

1453.5693413023

963.2882985712

1259.9546281792

1462.7236956663

958.8473928787

1258.9464165644

1472.7718833806

967.5017920659

1262.977090184

1472.7718833806

978.3440370232

1246.2119220725

1476.297311075

976.1341586619

1237.283890319

1480.743008332

975.0286762714

1233.2164232861

1473.5145132525

979.4484329941

1243.1714255009

1486.2883965707

985.8467882261

1252.0809736342

1481.6681450548

991.3528339249

1259.9546281792

1487.2113604541

994.4322649485

1271.8241764282

1489.7937327436

998.8265270226

1274.6332772631

1497.891276319

1010.4432991338

1286.4404360511

1501.5627071628

1045.6989019551

1289.2347326071

1500.6453926617

1054.1295856008

1299.986138055

1493.4779109118

1044.6164516619

1302.9651432724

1497.891276319

1026.594875399

1298.992412036

1497.891276319

1018.9655027738

1300.979501934

1497.891276319

1015.9087851643

1299.986138055

1509.6194593004

1015.9087851643

1300.979501934

1503.3962497454

1020.0564995685

1309.7054885974

1505.9607757809

1032.9029129413

1321.3622289586

1510.5332248306

1033.9892743453

1327.0733295837

1500.6453926617

1021.1471342233

1328.0567708297

1504.1292611817

1038.1141449649

1332.7722478228

1506.8759898706

1056.0719990919

1338.4589836758

1505.0451995513

1070.9248551186

1346.0874550263

1503.3962497454

1075.0026620375

1348.0399243503

1504.1292611817

1078.2182894623

1354.6674848264

1500.6453926617

1087.6319942716

1353.888640965

1498.8096772398

1091.6883335375

1353.888640965

1491.6365461075

1095.9525149613

1346.0874550263

1493.4779109118

1099.9981204007

1378.5037938197

1498.8096772398

1115.704844019

1385.0540301854

1488.8717828519

1121.8385474159

1372.710267325

1488.8717828519

1135.1215100214

1375.6086602019

1479.0768496383

1125.0063723745

1377.5391114203

1469.9849571634

1119.7248534106

1372.710267325

1474.4424746666

1117.6097108458

1374.6428913828

1472.7718833806

1120.7818814832

1374.6428913828

1474.4424746666

1117.6097108458

1376.574066881

1471.8432701148

1117.6097108458

1373.6767604239

1467.1947716871

1121.8385474159

1376.574066881

1467.1947716871

1145.4129546842

1373.6767604239

1463.6558579031

1154.6246144034

1373.6767604239

1463.6558579031

1153.5792472355

1375.6086602019

1471.8432701148

1155.6696194315

1374.6428913828

1470.914294709

1160.8892124734

1380.239309546

1465.3328373368

1166.9325981804

1393.5059493763

1467.1947716871

1177.1161541257

1393.5059493763

1463.6558579031

1185.1965760651

1392.5469163593

1475.3700739407

1185.1965760651

1394.4646202534

1469.9849571634

1183.1267734151

1406.5128451589

1477.2241860693

1184.1618558101

1401.9298244538

1469.9849571634

1182.0913288803

1403.6494349959

1472.7718833806

1184.1618558101

1397.1469721251

1469.0552574779

1186.2309341803

1400.017769942

1458.9914253201

1192.2230698494

1400.9739782678

1463.6558579031

1196.1423464079

1402.6942406618

1468.1251956524

1206.2258213718

1400.9739782678

1463.6558579031

1214.2265870199

1405.5587372445

1466.2639855819

1213.2020791099

1417.7439697445

1467.1947716871

1207.2527918331

1414.8933793338

1467.1947716871

1196.1423464079

1412.039529664

1463.6558579031

1202.320030903

1402.6942406618

1458.9914253201

1199.232818285

1409.3729960629

1455.440401578

1197.1728658401

1413.9424582504

1456.375388506

1198.2030231325

1410.3256554178

1458.0574523838

1196.1423464079

1410.3256554178

1454.5050525101

1196.1423464079

1410.3256554178

1455.440401578

1188.091866195

1402.6942406618

1457.310013294

1182.0913288803

1405.5587372445

1460.858284773

1181.0555222056

1407.4665909335

1470.914294709

1181.0555222056

1417.7439697445

1476.297311075

1187.0581599317

1416.7941350808

1473.5145132525

1199.232818285

1409.3729960629

1479.0768496383

1207.2527918331

1385.0540301854

1480.002638213

1216.2745164202

1385.0540301854

1480.743008332

1221.183636858

1358.5582275906

1485.3650705473

1222.2053200768

1358.5582275906

1480.743008332

1223.2266411557

1345.3060617

1479.0768496383

1223.2266411557

1336.6954383216

1478.1506989238

1226.2884315532

1341.3956185255

1469.9849571634

1228.327814452

1351.9405173197

1476.297311075

1235.2508810823

1360.5014261334

1479.0768496383

1241.142617087

1352.9147602123

1485.3650705473

1239.1123601135

1350.9659122872

1483.5173320808

1235.2508810823

1348.0399243503

1482.5929196378

1240.1276696702

1339.4382240989

1487.2113604541

1240.1276696702

1331.7905448483

1488.8717828519

1233.2164232861

1333.7535886573

1490.7153204955

1236.2675667706

1326.0895261979

1500.6453926617

1245.1987853552

1331.7905448483

1504.1292611817

1250.0585388824

1338.4589836758

1505.9607757809

1253.0916478002

1339.4382240989

1508.7053316304

1253.0916478002

1349.9909451148

1507.7908418204

1259.9546281792

1376.574066881

1512.1770901923

1273.6303528909

1381.2029779537

1512.1770901923

1273.6303528909

1385.0540301854

1510.5332248306

1273.6303528909

1365.1591925128

1512.1770901923

1266.8008632094

1353.888640965

1518.5587460236

1257.9378428098

1340.4171023822

1513.0898417308

1254.1019598263

1330.808479734

1510.5332248306

1259.9546281792

1328.0567708297

1514.0022311293

1280.4430972236

1322.1506912556

1520.1968750894

1285.4417849296

1329.0398499357

1516.7372264856

1289.2347326071

1324.1208330066

1522.0156423643

1310.6953035055

1317.4164409304

1518.5587460236

1318.4034311473

1314.4532974403

1515.8259235067

1317.4164409304

1316.4290885736

1520.1968750894

1326.0895261979

1303.9574207318

1516.7372264856

1324.1208330066

1301.9725036732

1517.6481673246

1330.808479734

1316.4290885736

1514.914258388

1335.7151839067

1313.4648586638

1511.4466282208

1334.734567352

1306.7338710338

1516.7372264856

1327.0733295837

1304.9493360512

1509.6194593004

1341.3956185255

1305.7426075661

1506.8759898706

1334.734567352

1301.9725036732

1507.7908418204

1324.1208330066

1303.9574207318

1504.1292611817

1332.7722478228

1309.7054885974

1503.3962497454

1332.7722478228

1306.7338710338

1500.6453926617

1319.3900592243

1314.4532974403

1501.5627071628

1323.135943201

1315.4413740769

1503.3962497454

1324.1208330066

1325.1053606722

1505.9607757809

1322.1506912556

1335.7151839067

1502.4796595241

1314.4532974403

1326.0895261979

1505.0451995513

1307.7247723615

1327.0733295837

1505.0451995513

1314.4532974403

1343.3515643926

1503.3962497454

1315.4413740769

1336.6954383216

1498.8096772398

1320.3763251614

1335.7151839067

1505.9607757809

1308.7153115494

1360.5014261334

1505.9607757809

1311.6847562736

1365.1591925128

1507.7908418204

1323.135943201

1351.9405173197

1505.0451995513

1321.3622289586

1342.373772529

1510.5332248306

1320.3763251614

1333.7535886573

1514.0022311293

1327.0733295837

1338.4589836758

1509.6194593004

1328.0567708297

1345.3060617

1510.5332248306

1327.0733295837

1342.373772529

1511.4466282208

1329.8260524798

1332.7722478228

1507.7908418204

1330.808479734

1355.6407137273

1505.0451995513

1331.7905448483

1346.0874550263

1497.891276319

1341.3956185255

1349.0156158025

1488.8717828519

1339.4382240989

1360.5014261334

1488.1339621977

1333.7535886573

1363.2194705131

1490.7153204955

1338.4589836758

1353.888640965

1490.7153204955

1338.4589836758

1356.6135804883

1501.5627071628

1336.6954383216

1370.002160064

1496.237242069

1339.4382240989

1369.0342908336

1496.237242069

1338.4589836758

1377.5391114203

1494.3980501041

1339.4382240989

1367.097465953

1493.4779109118

1342.373772529

1375.6086602019

1503.3962497454

1359.5300079319

1377.5391114203

1498.8096772398

1359.5300079319

1373.6767604239

1496.237242069

1367.097465953

1374.6428913828

1495.3178271565

1364.1895125829

1365.1591925128

1495.3178271565

1363.2194705131

1365.1591925128

1498.8096772398

1370.002160064

1365.1591925128

1500.6453926617

1393.5059493763

1367.097465953

1505.9607757809

1405.5587372445

1367.097465953

1506.8759898706

1410.3256554178

1365.1591925128

1499.7277160207

1414.8933793338

1368.0660594632

1505.0451995513

1422.2981351428

1372.710267325

1501.5627071628

1415.8439382772

1374.6428913828

1505.9607757809

1408.4199745681

1382.1662842215

1505.0451995513

1412.9911750271

1388.7071628923

1500.6453926617

1411.0875221609

1383.1292283493

1498.8096772398

1412.039529664

1392.5469163593

1501.5627071628

1410.3256554178

1404.6042671902

1501.5627071628

1421.3500387506

1410.3256554178

1498.8096772398

1423.2458693951

1413.9424582504

1494.3980501041

1437.0415489874

1420.4015802186

1478.1506989238

1441.7483519381

1415.8439382772

1469.0552574779

1442.5006002456

1421.3500387506

1467.1947716871

1458.0574523838

1424.1932415075

1465.3328373368

1456.375388506

1421.3500387506

1464.587658

1464.587658

1425.14025148

1472.7718833806

1451.696832467

1416.7941350808

1464.587658

1445.3194672015

1412.039529664

1465.3328373368

1442.5006002456

1415.8439382772

1467.1947716871

1444.3802070228

1410.3256554178

1462.7236956663

1449.8228750722

1408.4199745681

1464.587658

1444.3802070228

1402.6942406618

1464.587658

1441.7483519381

1400.017769942

1458.0574523838

1442.5006002456

1398.1042668707

1457.310013294

1448.1350748984

1400.017769942

1462.7236956663

1435.1562928278

1402.6942406618

1461.7911712896

1425.14025148

1400.017769942

1460.858284773

1425.14025148

1404.6042671902

1456.375388506

1433.4583237658

1406.5128451589

1453.5693413023

1427.7899528188

1402.6942406618

1452.6332679546

1446.2583652404

1402.6942406618

1446.2583652404

1458.0574523838

1401.9298244538

1449.0728865176

1464.587658

1409.3729960629

1447.1969011394

1468.1251956524

1409.3729960629

1451.696832467

1469.9849571634

1415.8439382772

1449.8228750722

1468.1251956524

1415.8439382772

1450.7600348396

1471.8432701148

1415.8439382772

1447.1969011394

1471.8432701148

1406.5128451589

1455.440401578

1475.3700739407

1414.8933793338

1462.7236956663

1465.3328373368

1415.8439382772

1461.7911712896

1474.4424746666

1413.9424582504

1452.6332679546

1470.914294709

1415.8439382772

1457.310013294

1476.297311075

1421.3500387506

1454.5050525101

1480.743008332

1422.2981351428

1458.0574523838

1483.5173320808

1419.4527595466

1448.1350748984

1474.4424746666

1424.1932415075

1448.1350748984

1481.6681450548

1426.0868993126

1448.1350748984

1479.0768496383

1426.0868993126

1436.0991019775

1488.1339621977

1428.7355866597

1440.8077156277

1489.7937327436

1429.6808583607

1442.5006002456

1485.3650705473

1425.14025148

1439.8667171775

1488.8717828519

1421.3500387506

1437.0415489874

1488.8717828519

1424.1932415075

1436.0991019775

1491.6365461075

1414.8933793338

1442.5006002456

1488.1339621977

1412.039529664

1437.0415489874

1485.3650705473

1411.0875221609

1443.4405847042

1488.1339621977

1410.3256554178

1445.3194672015

1490.7153204955

1420.4015802186

1439.8667171775

1491.6365461075

1417.7439697445

1442.5006002456

1492.5574095796

1413.9424582504

1448.1350748984

1490.7153204955

1418.5035767347

1443.4405847042

1488.1339621977

1419.4527595466

1446.2583652404

1487.2113604541

1421.3500387506

1449.0728865176

1488.8717828519

1423.2458693951

1449.0728865176

1481.6681450548

1422.2981351428

1441.7483519381

1483.5173320808

1420.4015802186

1438.9253565873

1483.5173320808

1425.14025148

1437.0415489874

1481.6681450548

1419.4527595466

1438.9253565873

1476.297311075

1416.7941350808

1439.8667171775

1471.8432701148

1422.2981351428

1441.7483519381

1469.9849571634

1425.14025148

1441.7483519381

1478.1506989238

1422.2981351428

1434.2131215382

1476.297311075

1425.14025148

1437.0415489874

1474.4424746666

1422.2981351428

1437.0415489874

1476.297311075

1420.4015802186

1441.7483519381

1469.9849571634

1413.9424582504

1447.1969011394

1470.914294709

1412.039529664

1451.696832467

1468.1251956524

1408.4199745681

1450.7600348396

1469.9849571634

1406.5128451589

1451.696832467

1471.8432701148

1400.9739782678

1447.1969011394

1467.1947716871

1397.1469721251

1457.310013294

1467.1947716871

1400.017769942

1460.858284773

1463.6558579031

1400.017769942

1470.914294709

1457.310013294

1403.6494349959

1468.1251956524

1449.0728865176

1399.0611994763

1472.7718833806

1446.2583652404

1402.6942406618

1471.8432701148

1443.4405847042

1436.0991019775

1468.1251956524

1436.0991019775

1448.1350748984

1470.914294709

1435.1562928278

1449.0728865176

1468.1251956524

1434.2131215382

1457.310013294

1467.1947716871

1438.9253565873

1459.9250361165

1465.3328373368

1437.9836338573

1457.310013294

1464.587658

1439.8667171775

1455.440401578

1462.7236956663

1447.1969011394

1457.310013294

1465.3328373368

1451.696832467

1457.310013294

1464.587658

1477.2241860693

1455.440401578

1468.1251956524

1476.297311075

1457.310013294

1467.1947716871

1474.4424746666

1452.6332679546

1470.914294709

1473.5145132525

1449.8228750722

1471.8432701148

1469.0552574779

1446.2583652404

1472.7718833806

1469.9849571634

1449.0728865176

1474.4424746666

1469.9849571634

1448.1350748984

1472.7718833806

1469.0552574779

1453.5693413023

1470.914294709

1469.0552574779

1455.440401578

1469.9849571634

1468.1251956524

1453.5693413023

1470.914294709

1469.0552574779

1457.310013294

1472.7718833806

1469.9849571634

1458.9914253201

1468.1251956524

1464.587658

1456.375388506

1467.1947716871

1467.1947716871

1458.9914253201

1464.587658

1467.1947716871

1456.375388506

1467.1947716871

1468.1251956524

1457.310013294

1465.3328373368

1467.1947716871

1459.9250361165

1466.2639855819

1463.6558579031

1454.5050525101

1464.587658

1468.1251956524

1457.310013294

1464.587658

1464.587658

1457.310013294

1464.587658

1465.3328373368

1458.0574523838

1467.1947716871

1467.1947716871

1457.310013294

1467.1947716871

1467.1947716871

1458.9914253201

1460.858284773

1465.3328373368

1460.858284773

1458.0574523838

1463.6558579031

1462.7236956663

1453.5693413023

1461.7911712896

1464.587658

1452.6332679546

1457.310013294

1464.587658

1454.5050525101

1457.310013294

1460.858284773

1457.310013294

1455.440401578

1454.5050525101

1463.6558579031

1449.8228750722

1450.7600348396

1462.7236956663

1441.7483519381

1451.696832467

1461.7911712896

1439.8667171775

1448.1350748984

1460.858284773

1435.1562928278

1447.1969011394

1462.7236956663

1433.4583237658

1447.1969011394

1458.9914253201

1437.9836338573

1445.3194672015

1456.375388506

1438.9253565873

1446.2583652404

1453.5693413023

1448.1350748984

1447.1969011394

1445.3194672015

1442.5006002456

1449.0728865176

1437.0415489874

1443.4405847042

1445.3194672015

1437.9836338573

1450.7600348396

1448.1350748984

1429.6808583607

1451.696832467

1449.0728865176

1420.4015802186

1450.7600348396

1445.3194672015

1424.1932415075

1441.7483519381

1447.1969011394

1426.0868993126

1439.8667171775

1445.3194672015

1422.2981351428

1438.9253565873

1445.3194672015

1423.2458693951

1432.5145006243

1439.8667171775

1422.2981351428

1426.0868993126

1442.5006002456

1428.7355866597

1426.0868993126

1438.9253565873

1431.570315343

1434.2131215382

1437.0415489874

1436.0991019775

1437.9836338573

1432.5145006243

1431.570315343

1424.1932415075

1437.0415489874

1435.1562928278

1435.1562928278

1437.0415489874

1432.5145006243

1435.1562928278

1437.0415489874

1430.6257679218

1437.9836338573

1431.570315343

1426.0868993126

1439.8667171775

1434.2131215382

1427.7899528188

1445.3194672015

1434.2131215382

1427.7899528188

1446.2583652404

1439.8667171775

1426.843956838

1451.696832467

1441.7483519381

1428.7355866597

1449.8228750722

1443.4405847042

1429.6808583607

1449.0728865176

1443.4405847042

1434.2131215382

1446.2583652404

1439.8667171775

1428.7355866597

1449.8228750722

1443.4405847042

1426.843956838

1448.1350748984

1444.3802070228

1421.3500387506

1445.3194672015

1444.3802070228

1418.5035767347

1445.3194672015

1444.3802070228

1420.4015802186

1454.5050525101

1447.1969011394

1426.0868993126

1460.858284773

1450.7600348396

1422.2981351428

1458.9914253201

1453.5693413023

1412.9911750271

1460.858284773

1452.6332679546

1415.8439382772

1461.7911712896

1452.6332679546

1420.4015802186

1462.7236956663

1449.0728865176

1419.4527595466

1460.858284773

1454.5050525101

1418.5035767347

1461.7911712896

1453.5693413023

1416.7941350808

1459.9250361165

1454.5050525101

1421.3500387506

1458.9914253201

1453.5693413023

1421.3500387506

1459.9250361165

1454.5050525101

1420.4015802186

1460.858284773

1452.6332679546

1419.4527595466

1461.7911712896

1454.5050525101

1421.3500387506

1466.2639855819

1452.6332679546

1422.2981351428

1467.1947716871

1454.5050525101

1421.3500387506

1467.1947716871

1451.696832467

1419.4527595466

1457.310013294

1450.7600348396

1416.7941350808

1454.5050525101

1451.696832467

1408.4199745681

1452.6332679546

1454.5050525101

1408.4199745681

1450.7600348396

1452.6332679546

1408.4199745681

1450.7600348396

1454.5050525101

1408.4199745681

1451.696832467

1455.440401578

1411.0875221609

1452.6332679546

1457.310013294

1412.039529664

1456.375388506

1452.6332679546

1416.7941350808

1460.858284773

1458.0574523838

1414.8933793338

1461.7911712896

1453.5693413023

1414.8933793338

1463.6558579031

1457.310013294

1413.9424582504

1466.2639855819

1452.6332679546

1415.8439382772

1469.9849571634

1451.696832467

1419.4527595466

1468.1251956524

1449.8228750722

1418.5035767347

1471.8432701148

1445.3194672015

1419.4527595466

1475.3700739407

1447.1969011394

1419.4527595466

1471.8432701148

1444.3802070228

1418.5035767347

1469.0552574779

1446.2583652404

1422.2981351428

1464.587658

1442.5006002456

1424.1932415075

1465.3328373368

1448.1350748984

1426.0868993126

1461.7911712896

1446.2583652404

1423.2458693951

1461.7911712896

1442.5006002456

1421.3500387506

1461.7911712896

1443.4405847042

1414.8933793338

1460.858284773

1440.8077156277

1413.9424582504

1453.5693413023

1442.5006002456

1412.9911750271

1444.3802070228

1443.4405847042

1412.9911750271

1447.1969011394

1435.1562928278

1412.039529664

1448.1350748984

1437.0415489874

1406.5128451589

1450.7600348396

1433.4583237658

1407.4665909335

1449.0728865176

1437.0415489874

1409.3729960629

1450.7600348396

1440.8077156277

1409.3729960629

1449.0728865176

1431.570315343

1410.3256554178

1455.440401578

1435.1562928278

1412.9911750271

1450.7600348396

1433.4583237658

1412.9911750271

1450.7600348396

1431.570315343

1413.9424582504

1449.0728865176

1433.4583237658

1418.5035767347

1445.3194672015

1427.7899528188

1415.8439382772

1443.4405847042

1432.5145006243

1410.3256554178

1442.5006002456

1436.0991019775

1411.0875221609

1429.6808583607

1437.9836338573

1410.3256554178

1433.4583237658

1434.2131215382

1411.0875221609

1433.4583237658

1439.8667171775

1411.0875221609

1424.1932415075

1439.8667171775

1415.8439382772

1425.14025148

1435.1562928278

1410.3256554178

1426.0868993126

1438.9253565873

1410.3256554178

1426.843956838

1442.5006002456

1409.3729960629

1426.0868993126

1437.9836338573

1410.3256554178

1426.843956838

1427.7899528188

1406.5128451589

1429.6808583607

1426.843956838

1407.4665909335

1435.1562928278

1433.4583237658

1412.9911750271

1438.9253565873

1431.570315343

1412.039529664

1450.7600348396

1430.6257679218

1412.039529664

1452.6332679546

1430.6257679218

1418.5035767347

1458.0574523838

1425.14025148

1417.7439697445

1459.9250361165

1429.6808583607

1416.7941350808

1461.7911712896

1432.5145006243

1412.9911750271

1459.9250361165

1431.570315343

1415.8439382772

1461.7911712896

1434.2131215382

1417.7439697445

1458.9914253201

1432.5145006243

1415.8439382772

1458.9914253201

1437.0415489874

1412.039529664

1458.0574523838

1441.7483519381

1415.8439382772

1455.440401578

1438.9253565873

1411.0875221609

1456.375388506

1435.1562928278

1416.7941350808

1449.8228750722

1427.7899528188

1413.9424582504

1449.8228750722

1429.6808583607

1415.8439382772

1452.6332679546

1426.0868993126

1417.7439697445

1453.5693413023

1425.14025148

1419.4527595466

1455.440401578

1427.7899528188

1420.4015802186

1449.8228750722

1424.1932415075

1418.5035767347

1449.8228750722

1425.14025148

1417.7439697445

1445.3194672015

1428.7355866597

1420.4015802186

1452.6332679546

1428.7355866597

1416.7941350808

1440.8077156277

1431.570315343

1418.5035767347

1437.9836338573

1429.6808583607

1419.4527595466

1439.8667171775

1429.6808583607

1417.7439697445

1441.7483519381

1426.0868993126

1423.2458693951

1445.3194672015

1432.5145006243

1421.3500387506

1446.2583652404

1433.4583237658

1424.1932415075

1445.3194672015

1437.0415489874

1425.14025148

1450.7600348396

1446.2583652404

1421.3500387506

1446.2583652404

1441.7483519381

1413.9424582504

1444.3802070228

1441.7483519381

1418.5035767347

1448.1350748984

1440.8077156277

1417.7439697445

1444.3802070228

1437.0415489874

1412.039529664

1444.3802070228

1438.9253565873

1410.3256554178

1440.8077156277

1438.9253565873

1416.7941350808

1440.8077156277

1439.8667171775

1414.8933793338

1442.5006002456

1439.8667171775

1408.4199745681

1437.9836338573

1432.5145006243

1406.5128451589

1444.3802070228

1435.1562928278

1409.3729960629

1446.2583652404

1436.0991019775

1402.6942406618

1442.5006002456

1437.0415489874

1404.6042671902

1441.7483519381

1438.9253565873

1406.5128451589

1440.8077156277

1437.9836338573

1405.5587372445

1442.5006002456

1438.9253565873

1410.3256554178

1442.5006002456

1434.2131215382

1421.3500387506

1438.9253565873

1435.1562928278

1421.3500387506

1441.7483519381

1432.5145006243

1421.3500387506

1444.3802070228

1434.2131215382

1418.5035767347

1443.4405847042

1436.0991019775

1419.4527595466

1444.3802070228

1428.7355866597

1412.9911750271

1439.8667171775

1433.4583237658

1412.039529664

1441.7483519381

1423.2458693951

1412.9911750271

1445.3194672015

1427.7899528188

1410.3256554178

1446.2583652404

1426.843956838

1405.5587372445

1448.1350748984

1423.2458693951

1415.8439382772

1448.1350748984

1426.843956838

1416.7941350808

1446.2583652404

1424.1932415075

1411.0875221609

1447.1969011394

1429.6808583607

1407.4665909335

1451.696832467

1430.6257679218

1413.9424582504

1451.696832467

1427.7899528188

1409.3729960629

1455.440401578

1427.7899528188

1412.9911750271

1457.310013294

1427.7899528188

1405.5587372445

1456.375388506

1423.2458693951

1408.4199745681

1452.6332679546

1425.14025148

1407.4665909335

1455.440401578

1418.5035767347

1403.6494349959

1457.310013294

1420.4015802186

1400.9739782678

1458.0574523838

1425.14025148

1408.4199745681

1458.0574523838

1424.1932415075

1405.5587372445

1456.375388506

1419.4527595466

1403.6494349959

1456.375388506

1412.9911750271

1405.5587372445

1458.0574523838

1411.0875221609

1405.5587372445

1461.7911712896

1410.3256554178

1405.5587372445

1458.9914253201

1420.4015802186

1401.9298244538

1453.5693413023

1417.7439697445

1404.6042671902

1456.375388506

1425.14025148

1401.9298244538

1458.9914253201

1423.2458693951

1401.9298244538

1458.0574523838

1418.5035767347

1397.1469721251

1458.9914253201

1419.4527595466

1397.1469721251

1454.5050525101

1418.5035767347

1400.9739782678

1458.9914253201

1422.2981351428

1394.4646202534

1461.7911712896

1419.4527595466

1391.5875212024

1463.6558579031

1420.4015802186

1389.6676444689

1457.310013294

1421.3500387506

1396.1893152397

1461.7911712896

1414.8933793338

1397.1469721251

1458.9914253201

1414.8933793338

1399.0611994763

1458.9914253201

1413.9424582504

1395.2312962144

1460.858284773

1412.039529664

1401.9298244538

1459.9250361165

1415.8439382772

1400.017769942

1461.7911712896

1412.9911750271

1397.1469721251

1465.3328373368

1417.7439697445

1400.017769942

1462.7236956663

1414.8933793338

1394.4646202534

1462.7236956663

1418.5035767347

1398.1042668707

1463.6558579031

1416.7941350808

1396.1893152397

1460.858284773

1415.8439382772

1389.6676444689

1458.0574523838

1417.7439697445

1388.7071628923

1458.9914253201

1420.4015802186

1394.4646202534

1458.9914253201

1418.5035767347

1391.5875212024

1457.310013294

1426.843956838

1381.2029779537

1458.9914253201

1424.1932415075

1386.7851133194

1454.5050525101

1420.4015802186

1386.0158878936

1453.5693413023

1424.1932415075

1383.1292283493

1453.5693413023

1419.4527595466

1378.5037938197

1456.375388506

1420.4015802186

1375.6086602019

1453.5693413023

1418.5035767347

1383.1292283493

1452.6332679546

1423.2458693951

1385.0540301854

1446.2583652404

1421.3500387506

1378.5037938197

1443.4405847042

1424.1932415075

1384.0918103373

1442.5006002456

1426.0868993126

1383.1292283493

1441.7483519381

1424.1932415075

1384.0918103373

1448.1350748984

1419.4527595466

1379.2752789985

1447.1969011394

1423.2458693951

1385.0540301854

1447.1969011394

1421.3500387506

1383.1292283493

1453.5693413023

1417.7439697445

1384.0918103373

1449.0728865176

1421.3500387506

1386.0158878936

1449.0728865176

1417.7439697445

1386.0158878936

1451.696832467

1419.4527595466

1373.6767604239

1449.8228750722

1416.7941350808

1384.0918103373

1451.696832467

1417.7439697445

1379.2752789985

1452.6332679546

1418.5035767347

1383.1292283493

1448.1350748984

1421.3500387506

1382.1662842215

1449.0728865176

1426.0868993126

1375.6086602019

1448.1350748984

1427.7899528188

1387.7463191758

1452.6332679546

1424.1932415075

1386.0158878936

1454.5050525101

1426.843956838

1389.6676444689

1450.7600348396

1435.1562928278

1398.1042668707

1452.6332679546

1432.5145006243

1388.7071628923

1451.696832467

1429.6808583607

1386.0158878936

1449.8228750722

1429.6808583607

1392.5469163593

1448.1350748984

1429.6808583607

1390.6277639056

1450.7600348396

1428.7355866597

1391.5875212024

1450.7600348396

1428.7355866597

1397.1469721251

1455.440401578

1426.0868993126

1399.0611994763

1449.8228750722

1432.5145006243

1398.1042668707

1449.0728865176

1430.6257679218

1399.0611994763

1451.696832467

1429.6808583607

1396.1893152397

1448.1350748984

1427.7899528188

1390.6277639056

1447.1969011394

1438.9253565873

1389.6676444689

1446.2583652404

1441.7483519381

1392.5469163593

1449.0728865176

1435.1562928278

1388.7071628923

1451.696832467

1435.1562928278

1385.0540301854

1450.7600348396

1437.0415489874

1386.7851133194

1453.5693413023

1433.4583237658

1392.5469163593

1449.8228750722

1436.0991019775

1386.7851133194

1447.1969011394

1426.843956838

1384.0918103373

1446.2583652404

1431.570315343

1383.1292283493

1449.8228750722

1427.7899528188

1386.7851133194

1453.5693413023

1431.570315343

1386.7851133194

1457.310013294

1429.6808583607

1390.6277639056

1454.5050525101

1427.7899528188

1393.5059493763

1459.9250361165

1433.4583237658

1385.0540301854

1453.5693413023

1434.2131215382

1386.7851133194

1458.0574523838

1432.5145006243

1388.7071628923

1457.310013294

1430.6257679218

1385.0540301854

1455.440401578

1437.0415489874

1384.0918103373

1458.0574523838

1436.0991019775

1386.0158878936

1452.6332679546

1442.5006002456

1388.7071628923

1451.696832467

1439.8667171775

1389.6676444689

1454.5050525101

1435.1562928278

1389.6676444689

1450.7600348396

1428.7355866597

1392.5469163593

1453.5693413023

1430.6257679218

1390.6277639056

1454.5050525101

1429.6808583607

1389.6676444689

1454.5050525101

1432.5145006243

1389.6676444689

1454.5050525101

1436.0991019775

1385.0540301854

1452.6332679546

1438.9253565873

1391.5875212024

1449.0728865176

1437.9836338573

1391.5875212024

1454.5050525101

1439.8667171775

1387.7463191758

1454.5050525101

1435.1562928278

1388.7071628923

1452.6332679546

1432.5145006243

1386.0158878936

1456.375388506

1432.5145006243

1386.0158878936

1455.440401578

1431.570315343

1387.7463191758

1455.440401578

1432.5145006243

1390.6277639056

1454.5050525101

1431.570315343

1390.6277639056

1452.6332679546

1430.6257679218

1390.6277639056

1448.1350748984

1429.6808583607

1384.0918103373

1449.8228750722

1429.6808583607

1386.7851133194

1453.5693413023

1429.6808583607

1386.7851133194

1448.1350748984

1433.4583237658

1381.2029779537

1445.3194672015

1428.7355866597

1382.1662842215

1442.5006002456

1427.7899528188

1386.0158878936

1445.3194672015

1429.6808583607

1378.5037938197

1445.3194672015

1427.7899528188

1376.574066881

1437.9836338573

1426.0868993126

1377.5391114203

1440.8077156277

1424.1932415075

1373.6767604239

1443.4405847042

1422.2981351428

1374.6428913828

1440.8077156277

1421.3500387506

1376.574066881

1445.3194672015

1425.14025148

1376.574066881

1444.3802070228

1424.1932415075

1378.5037938197

1440.8077156277

1421.3500387506

1376.574066881

1443.4405847042

1421.3500387506

1368.0660594632

1430.6257679218

1421.3500387506

1364.1895125829

1434.2131215382

1426.0868993126

1368.0660594632

1433.4583237658

1429.6808583607

1369.0342908336

1432.5145006243

1428.7355866597

1366.1285103029

1428.7355866597

1423.2458693951

1367.097465953

1427.7899528188

1424.1932415075

1369.0342908336

1431.570315343

1431.570315343

1365.1591925128

1435.1562928278

1428.7355866597

1370.7761947076

1436.0991019775

1435.1562928278

1370.7761947076

1438.9253565873

1438.9253565873

1375.6086602019

1433.4583237658

1438.9253565873

1381.2029779537

1434.2131215382

1437.0415489874

1384.0918103373

1434.2131215382

1439.8667171775

1386.0158878936

1433.4583237658

1439.8667171775

1384.0918103373

1433.4583237658

1436.0991019775

1382.1662842215

1433.4583237658

1437.9836338573

1380.239309546

1434.2131215382

1434.2131215382

1381.2029779537

1434.2131215382

1435.1562928278

1375.6086602019

1430.6257679218

1434.2131215382

1371.7434120863

1433.4583237658

1432.5145006243

1374.6428913828

1428.7355866597

1435.1562928278

1377.5391114203

1432.5145006243

1439.8667171775

1376.574066881

1435.1562928278

1443.4405847042

1374.6428913828

1435.1562928278

1438.9253565873

1379.2752789985

1434.2131215382

1436.0991019775

1384.0918103373

1436.0991019775

1435.1562928278

1383.1292283493

1435.1562928278

1429.6808583607

1384.0918103373

1435.1562928278

1433.4583237658

1382.1662842215

1438.9253565873

1426.0868993126

1382.1662842215

1440.8077156277

1425.14025148

1383.1292283493

1440.8077156277

1423.2458693951

1385.0540301854

1442.5006002456

1425.14025148

1385.0540301854

1437.9836338573

1420.4015802186

1382.1662842215

1437.9836338573

1427.7899528188

1386.0158878936

1442.5006002456

1423.2458693951

1393.5059493763

1445.3194672015

1423.2458693951

1390.6277639056

1449.0728865176

1424.1932415075

1387.7463191758

1448.1350748984

1420.4015802186

1386.7851133194

1451.696832467

1422.2981351428

1386.0158878936

1451.696832467

1420.4015802186

1386.0158878936

1449.8228750722

1423.2458693951

1389.6676444689

1453.5693413023

1420.4015802186

1389.6676444689

1450.7600348396

1416.7941350808

1388.7071628923

1449.0728865176

1413.9424582504

1388.7071628923

1447.1969011394

1413.9424582504

1387.7463191758

1449.0728865176

1412.039529664

1385.0540301854

1449.0728865176

1410.3256554178

1381.2029779537

1448.1350748984

1409.3729960629

1377.5391114203

1449.0728865176

1412.039529664

1379.2752789985

1448.1350748984

1407.4665909335

1375.6086602019

1448.1350748984

1412.039529664

1372.710267325

1449.0728865176

1402.6942406618

1376.574066881

1451.696832467

1401.9298244538

1374.6428913828

1450.7600348396

1408.4199745681

1379.2752789985

1452.6332679546

1408.4199745681

1379.2752789985

1452.6332679546

1412.039529664

1376.574066881

1451.696832467

1415.8439382772

1377.5391114203

1449.8228750722

1419.4527595466

1373.6767604239

1449.0728865176

1423.2458693951

1371.7434120863

1448.1350748984

1417.7439697445

1372.710267325

1449.8228750722

1418.5035767347

1372.710267325

1448.1350748984

1417.7439697445

1376.574066881

1443.4405847042

1421.3500387506

1381.2029779537

1448.1350748984

1422.2981351428

1379.2752789985

1449.0728865176

1414.8933793338

1374.6428913828

1441.7483519381

1415.8439382772

1377.5391114203

1438.9253565873

1414.8933793338

1375.6086602019

1441.7483519381

1412.9911750271

1378.5037938197

1440.8077156277

1408.4199745681

1377.5391114203

1442.5006002456

1406.5128451589

1376.574066881

1437.0415489874

1398.1042668707

1374.6428913828

1440.8077156277

1398.1042668707

1376.574066881

1442.5006002456

1400.017769942

1378.5037938197

1440.8077156277

1398.1042668707

1377.5391114203

1439.8667171775

1400.9739782678

1378.5037938197

1431.570315343

1403.6494349959

1373.6767604239

1426.0868993126

1402.6942406618

1376.574066881

1422.2981351428

1407.4665909335

1375.6086602019

1423.2458693951

1403.6494349959

1378.5037938197

1427.7899528188

1402.6942406618

1376.574066881

1424.1932415075

1415.8439382772

1373.6767604239

1428.7355866597

1416.7941350808

1374.6428913828

1426.843956838

1412.9911750271

1378.5037938197

1435.1562928278

1415.8439382772

1377.5391114203

1437.0415489874

1413.9424582504

1379.2752789985

1438.9253565873

1420.4015802186

1376.574066881

1440.8077156277

1412.9911750271

1379.2752789985

1442.5006002456

1415.8439382772

1377.5391114203

1441.7483519381

1411.0875221609

1376.574066881

1441.7483519381

1406.5128451589

1378.5037938197

1439.8667171775

1409.3729960629

1381.2029779537

1446.2583652404

1409.3729960629

1381.2029779537

1441.7483519381

1413.9424582504

1386.0158878936

1444.3802070228

1412.039529664

1381.2029779537

1445.3194672015

1404.6042671902

1376.574066881

1443.4405847042

1403.6494349959

1380.239309546

1439.8667171775

1402.6942406618

1382.1662842215

1430.6257679218

1405.5587372445

1376.574066881

1429.6808583607

1405.5587372445

1373.6767604239

1426.0868993126

1402.6942406618

1376.574066881

1422.2981351428

1410.3256554178

1374.6428913828

1417.7439697445

1410.3256554178

1370.7761947076

1409.3729960629

1413.9424582504

1372.710267325

1412.039529664

1415.8439382772

1372.710267325

1412.9911750271

1408.4199745681

1372.710267325

1411.0875221609

1411.0875221609

1370.7761947076

1409.3729960629

1412.9911750271

1373.6767604239

1409.3729960629

1417.7439697445

1365.1591925128

1419.4527595466

1415.8439382772

1370.002160064

1417.7439697445

1417.7439697445

1373.6767604239

1412.039529664

1423.2458693951

1373.6767604239

1414.8933793338

1418.5035767347

1371.7434120863

1417.7439697445

1414.8933793338

1375.6086602019

1419.4527595466

1418.5035767347

1376.574066881

1418.5035767347

1419.4527595466

1371.7434120863

1423.2458693951

1421.3500387506

1369.0342908336

1423.2458693951

1421.3500387506

1367.097465953

1421.3500387506

1421.3500387506

1370.7761947076

1422.2981351428

1418.5035767347

1376.574066881

1425.14025148

1416.7941350808

1380.239309546

1426.0868993126

1415.8439382772

1377.5391114203

1424.1932415075

1414.8933793338

1379.2752789985

1421.3500387506

1412.9911750271

1379.2752789985

1418.5035767347

1410.3256554178

1377.5391114203

1426.0868993126

1412.9911750271

1375.6086602019

1424.1932415075

1415.8439382772

1377.5391114203

1423.2458693951

1417.7439697445

1378.5037938197

1421.3500387506

1412.9911750271

1379.2752789985

1422.2981351428

1413.9424582504

1379.2752789985

1417.7439697445

1414.8933793338

1376.574066881

1424.1932415075

1416.7941350808

1375.6086602019

1427.7899528188

1420.4015802186

1370.7761947076

1424.1932415075

1421.3500387506

1370.002160064

1430.6257679218

1420.4015802186

1372.710267325

1431.570315343

1419.4527595466

1371.7434120863

1430.6257679218

1417.7439697445

1370.002160064

1432.5145006243

1415.8439382772

1370.7761947076

1431.570315343

1415.8439382772

1370.002160064

1432.5145006243

1415.8439382772

1368.0660594632

1427.7899528188

1421.3500387506

1364.1895125829

1429.6808583607

1416.7941350808

1366.1285103029

1429.6808583607

1411.0875221609

1369.0342908336

1432.5145006243

1412.9911750271

1367.097465953

1431.570315343

1412.9911750271

1368.0660594632

1435.1562928278

1411.0875221609

1370.002160064

1438.9253565873

1415.8439382772

1362.2490663034

1436.0991019775

1418.5035767347

1357.5860851094

1424.1932415075

1415.8439382772

1370.7761947076

1431.570315343

1413.9424582504

1372.710267325

1422.2981351428

1408.4199745681

1370.002160064

1416.7941350808

1404.6042671902

1366.1285103029

1422.2981351428

1400.9739782678

1367.097465953

1426.843956838

1400.9739782678

1369.0342908336

1431.570315343

1400.017769942

1370.002160064

1424.1932415075

1405.5587372445

1368.0660594632

1426.0868993126

1400.9739782678

1367.097465953

1426.843956838

1394.4646202534

1368.0660594632

1428.7355866597

1391.5875212024

1370.002160064

1428.7355866597

1394.4646202534

1370.002160064

1426.843956838

1393.5059493763

1374.6428913828

1424.1932415075

1403.6494349959

1375.6086602019

1427.7899528188

1408.4199745681

1373.6767604239

1431.570315343

1405.5587372445

1373.6767604239

1434.2131215382

1405.5587372445

1370.002160064

1431.570315343

1405.5587372445

1369.0342908336

1433.4583237658

1405.5587372445

1377.5391114203

1427.7899528188

1409.3729960629

1373.6767604239

1430.6257679218

1403.6494349959

1375.6086602019

1427.7899528188

1404.6042671902

1370.7761947076

1423.2458693951

1405.5587372445

1372.710267325

1425.14025148

1408.4199745681

1366.1285103029

1427.7899528188

1407.4665909335

1370.7761947076

1427.7899528188

1404.6042671902

1369.0342908336

1436.0991019775

1404.6042671902

1369.0342908336

1434.2131215382

1404.6042671902

1370.002160064

1429.6808583607

1404.6042671902

1369.0342908336

1430.6257679218

1404.6042671902

1370.7761947076

1432.5145006243

1408.4199745681

1370.7761947076

1432.5145006243

1406.5128451589

1370.7761947076

1429.6808583607

1409.3729960629

1375.6086602019

1413.9424582504

1407.4665909335

1372.710267325

1411.0875221609

1408.4199745681

1373.6767604239

1404.6042671902

1408.4199745681

1373.6767604239

1404.6042671902

1411.0875221609

1376.574066881

1405.5587372445

1412.9911750271

1374.6428913828

1407.4665909335

1414.8933793338

1374.6428913828

1407.4665909335

1415.8439382772

1369.0342908336

1409.3729960629

1412.9911750271

1372.710267325

1417.7439697445

1413.9424582504

1370.002160064

1416.7941350808

1412.039529664

1370.7761947076

1419.4527595466

1413.9424582504

1377.5391114203

1419.4527595466

1413.9424582504

1375.6086602019

1415.8439382772

1411.0875221609

1377.5391114203

1415.8439382772

1414.8933793338

1371.7434120863

1416.7941350808

1415.8439382772

1376.574066881

1419.4527595466

1415.8439382772

1375.6086602019

1417.7439697445

1415.8439382772

1375.6086602019

1418.5035767347

1412.9911750271

1368.0660594632

1409.3729960629

1416.7941350808

1367.097465953

1408.4199745681

1410.3256554178

1368.0660594632

1406.5128451589

1410.3256554178

1366.1285103029

1412.9911750271

1417.7439697445

1366.1285103029

1417.7439697445

1412.9911750271

1370.7761947076

1408.4199745681

1408.4199745681

1368.0660594632

1410.3256554178

1412.039529664

1370.002160064

1412.9911750271

1405.5587372445

1374.6428913828

1416.7941350808

1400.9739782678

1371.7434120863

1414.8933793338

1403.6494349959

1369.0342908336

1417.7439697445

1407.4665909335

1367.097465953

1413.9424582504

1409.3729960629

1367.097465953

1413.9424582504

1412.9911750271

1367.097465953

1421.3500387506

1402.6942406618

1366.1285103029

1416.7941350808

1410.3256554178

1365.1591925128

1419.4527595466

1404.6042671902

1359.5300079319

1418.5035767347

1417.7439697445

1362.2490663034

1419.4527595466

1412.9911750271

1361.4724821949

1418.5035767347

1420.4015802186

1369.0342908336

1426.0868993126

1416.7941350808

1367.097465953

1425.14025148

1420.4015802186

1369.0342908336

1431.570315343

1421.3500387506

1365.1591925128

1426.843956838

1415.8439382772

1362.2490663034

1434.2131215382

1417.7439697445

1361.4724821949

1440.8077156277

1416.7941350808

1365.1591925128

1434.2131215382

1414.8933793338

1358.5582275906

1434.2131215382

1411.0875221609

1361.4724821949

1437.0415489874

1410.3256554178

1365.1591925128

1433.4583237658

1411.0875221609

1367.097465953

1437.9836338573

1410.3256554178

1371.7434120863

1435.1562928278

1406.5128451589

1373.6767604239

1433.4583237658

1412.039529664

1369.0342908336

1436.0991019775

1410.3256554178

1371.7434120863

1430.6257679218

1412.9911750271

1370.002160064

1432.5145006243

1414.8933793338

1365.1591925128

1433.4583237658

1414.8933793338

1370.7761947076

1428.7355866597

1416.7941350808

1365.1591925128

1426.843956838

1413.9424582504

1370.002160064

1428.7355866597

1418.5035767347

1365.1591925128

1429.6808583607

1422.2981351428

1373.6767604239

1426.843956838

1421.3500387506

1363.2194705131

1423.2458693951

1426.843956838

1364.1895125829

1418.5035767347

1424.1932415075

1364.1895125829

1421.3500387506

1420.4015802186

1361.4724821949

1418.5035767347

1419.4527595466

1364.1895125829

1417.7439697445

1413.9424582504

1368.0660594632

1416.7941350808

1413.9424582504

1367.097465953

1417.7439697445

1417.7439697445

1366.1285103029

1419.4527595466

1412.9911750271

1367.097465953

1429.6808583607

1412.9911750271

1370.002160064

1430.6257679218

1412.9911750271

1370.7761947076

1437.9836338573

1408.4199745681

1365.1591925128

1432.5145006243

1412.9911750271

1375.6086602019

1432.5145006243

1411.0875221609

1369.0342908336

1429.6808583607

1415.8439382772

1370.7761947076

1434.2131215382

1408.4199745681

1368.0660594632

1433.4583237658

1411.0875221609

1369.0342908336

1437.0415489874

1413.9424582504

1365.1591925128

1437.0415489874

1412.039529664

1371.7434120863

1437.0415489874

1407.4665909335

1370.7761947076

1433.4583237658

1409.3729960629

1374.6428913828

1432.5145006243

1406.5128451589

1376.574066881

1436.0991019775

1402.6942406618

1363.2194705131

1431.570315343

1406.5128451589

1370.7761947076

1430.6257679218

1406.5128451589

1374.6428913828

1420.4015802186

1401.9298244538

1372.710267325

1429.6808583607

1408.4199745681

1374.6428913828

1427.7899528188

1408.4199745681

1369.0342908336

1421.3500387506

1411.0875221609

1370.7761947076

1423.2458693951

1411.0875221609

1370.7761947076

1417.7439697445

1404.6042671902

1368.0660594632

1419.4527595466

1409.3729960629

1376.574066881

1420.4015802186

1406.5128451589

1372.710267325

1414.8933793338

1414.8933793338

1368.0660594632

1412.9911750271

1411.0875221609

1370.7761947076

1412.9911750271

1401.9298244538

1362.2490663034

1409.3729960629

1400.017769942

1370.7761947076

1408.4199745681

1406.5128451589

1363.2194705131

1409.3729960629

1403.6494349959

1366.1285103029

1409.3729960629

1398.1042668707

1366.1285103029

1409.3729960629

1396.1893152397

1367.097465953

1408.4199745681

1398.1042668707

1368.0660594632

1409.3729960629

1395.2312962144

1366.1285103029

1412.9911750271

1395.2312962144

1367.097465953

1412.9911750271

1396.1893152397

1369.0342908336

1413.9424582504

1400.017769942

1370.002160064

1408.4199745681

1402.6942406618

1371.7434120863

1409.3729960629

1395.2312962144

1382.1662842215

1412.9911750271

1398.1042668707

1383.1292283493

1410.3256554178

1393.5059493763

1382.1662842215

1412.9911750271

1393.5059493763

1386.7851133194

1413.9424582504

1399.0611994763

1386.7851133194

1416.7941350808

1399.0611994763

1386.7851133194

1417.7439697445

1394.4646202534

1387.7463191758

1419.4527595466

1408.4199745681

1380.239309546

1411.0875221609

1397.1469721251

1378.5037938197

1408.4199745681

1400.017769942

1379.2752789985

1412.9911750271

1393.5059493763

1379.2752789985

1413.9424582504

1390.6277639056

1377.5391114203

1418.5035767347

1396.1893152397

1370.002160064

1417.7439697445

1398.1042668707

1371.7434120863

1417.7439697445

1390.6277639056

1376.574066881

1422.2981351428

1390.6277639056

1377.5391114203

1424.1932415075

1393.5059493763

1374.6428913828

1424.1932415075

1389.6676444689

1372.710267325

1420.4015802186

1386.7851133194

1370.002160064

1414.8933793338

1387.7463191758

1365.1591925128

1416.7941350808

1392.5469163593

1369.0342908336

1419.4527595466

1393.5059493763

1365.1591925128

1418.5035767347

1392.5469163593

1362.2490663034

1415.8439382772

1390.6277639056

1355.6407137273

1412.9911750271

1385.0540301854

1352.9147602123

1416.7941350808

1391.5875212024

1359.5300079319

1412.9911750271

1390.6277639056

1361.4724821949

1410.3256554178

1391.5875212024

1355.6407137273

1407.4665909335

1399.0611994763

1358.5582275906

1407.4665909335

1393.5059493763

1355.6407137273

1410.3256554178

1395.2312962144

1353.888640965

1408.4199745681

1390.6277639056

1360.5014261334

1407.4665909335

1385.0540301854

1350.9659122872

1408.4199745681

1377.5391114203

1353.888640965

1402.6942406618

1385.0540301854

1355.6407137273

1403.6494349959

1382.1662842215

1352.9147602123

1401.9298244538

1382.1662842215

1346.0874550263

1400.9739782678

1384.0918103373

1348.0399243503

1400.9739782678

1382.1662842215

1346.0874550263

1397.1469721251

1383.1292283493

1349.0156158025

1401.9298244538

1380.239309546

1347.0638707583

1400.017769942

1374.6428913828

1346.0874550263

1403.6494349959

1373.6767604239

1351.9405173197

1399.0611994763

1367.097465953

1344.3289941162

1398.1042668707

1364.1895125829

1346.0874550263

1405.5587372445

1369.0342908336

1349.0156158025

1402.6942406618

1368.0660594632

1353.888640965

1400.9739782678

1372.710267325

1357.5860851094

1406.5128451589

1373.6767604239

1352.9147602123

1402.6942406618

1371.7434120863

1348.0399243503

1402.6942406618

1376.574066881

1345.3060617

1400.9739782678

1377.5391114203

1344.3289941162

1404.6042671902

1370.002160064

1355.6407137273

1406.5128451589

1373.6767604239

1356.6135804883

1402.6942406618

1383.1292283493

1352.9147602123

1403.6494349959

1386.7851133194

1359.5300079319

1400.017769942

1386.7851133194

1366.1285103029

1400.017769942

1380.239309546

1355.6407137273

1400.9739782678

1386.7851133194

1360.5014261334

1399.0611994763

1386.0158878936

1370.002160064

1394.4646202534

1384.0918103373

1362.2490663034

1402.6942406618

1386.0158878936

1363.2194705131

1402.6942406618

1387.7463191758

1361.4724821949

1404.6042671902

1379.2752789985

1352.9147602123

1403.6494349959

1375.6086602019

1353.888640965

1402.6942406618

1380.239309546

1353.888640965

1395.2312962144

1376.574066881

1349.0156158025

1400.017769942

1383.1292283493

1349.0156158025

1400.017769942

1377.5391114203

1348.0399243503

1400.9739782678

1365.1591925128

1352.9147602123

1402.6942406618

1369.0342908336

1355.6407137273

1410.3256554178

1365.1591925128

1349.9909451148

1405.5587372445

1360.5014261334

1349.0156158025

1404.6042671902

1348.0399243503

1349.9909451148

1402.6942406618

1345.3060617

1345.3060617

1401.9298244538

1352.9147602123

1348.0399243503

1400.9739782678

1353.888640965

1347.0638707583

1400.017769942

1353.888640965

1346.0874550263

1400.9739782678

1347.0638707583

1347.0638707583

1402.6942406618

1347.0638707583

1343.3515643926

1406.5128451589

1342.373772529

1344.3289941162

1412.9911750271

1342.373772529

1336.6954383216

1411.0875221609

1346.0874550263

1332.7722478228

1412.039529664

1345.3060617

1335.7151839067

1406.5128451589

1344.3289941162

1335.7151839067

1403.6494349959

1339.4382240989

1337.6753305965

1401.9298244538

1341.3956185255

1332.7722478228

1402.6942406618

1340.4171023822

1344.3289941162

1402.6942406618

1349.9909451148

1338.4589836758

1407.4665909335

1336.6954383216

1332.7722478228

1402.6942406618

1329.0398499357

1333.7535886573

1405.5587372445

1338.4589836758

1336.6954383216

1406.5128451589

1332.7722478228

1340.4171023822

1410.3256554178

1322.1506912556

1340.4171023822

1406.5128451589

1325.1053606722

1335.7151839067

1403.6494349959

1346.0874550263

1345.3060617

1404.6042671902

1336.6954383216

1338.4589836758

1400.017769942

1335.7151839067

1348.0399243503

1400.9739782678

1330.808479734

1344.3289941162

1405.5587372445

1334.734567352

1334.734567352

1409.3729960629

1332.7722478228

1334.734567352

1403.6494349959

1327.0733295837

1337.6753305965

1401.9298244538

1331.7905448483

1346.0874550263

1405.5587372445

1337.6753305965

1341.3956185255

1407.4665909335

1332.7722478228

1341.3956185255

1403.6494349959

1329.8260524798

1341.3956185255

1400.017769942

1334.734567352

1345.3060617

1400.9739782678

1334.734567352

1337.6753305965

1405.5587372445

1336.6954383216

1342.373772529

1402.6942406618

1335.7151839067

1338.4589836758

1397.1469721251

1334.734567352

1331.7905448483

1400.9739782678

1326.0895261979

1333.7535886573

1403.6494349959

1328.0567708297

1337.6753305965

1403.6494349959

1316.4290885736

1334.734567352

1404.6042671902

1320.3763251614

1339.4382240989

1403.6494349959

1315.4413740769

1338.4589836758

1404.6042671902

1316.4290885736

1342.373772529

1407.4665909335

1315.4413740769

1339.4382240989

1410.3256554178

1307.7247723615

1340.4171023822

1418.5035767347

1311.6847562736

1339.4382240989

1415.8439382772

1303.9574207318

1335.7151839067

1413.9424582504

1312.6738469019

1345.3060617

1412.039529664

1306.7338710338

1349.9909451148

1408.4199745681

1304.9493360512

1350.9659122872

1408.4199745681

1307.7247723615

1351.9405173197

1417.7439697445

1307.7247723615

1336.6954383216

1407.4665909335

1322.1506912556

1339.4382240989

1412.039529664

1320.3763251614

1344.3289941162

1408.4199745681

1315.4413740769

1339.4382240989

1415.8439382772

1314.4532974403

1345.3060617

1409.3729960629

1309.7054885974

1339.4382240989

1412.039529664

1318.4034311473

1339.4382240989

1413.9424582504

1316.4290885736

1347.0638707583

1412.9911750271

1308.7153115494

1351.9405173197

1411.0875221609

1309.7054885974

1339.4382240989

1408.4199745681

1306.7338710338

1343.3515643926

1408.4199745681

1308.7153115494

1342.373772529

1404.6042671902

1306.7338710338

1342.373772529

1408.4199745681

1305.7426075661

1339.4382240989

1409.3729960629

1301.9725036732

1351.9405173197

1407.4665909335

1301.9725036732

1341.3956185255

1406.5128451589

1296.2080525987

1344.3289941162

1404.6042671902

1296.2080525987

1339.4382240989

1403.6494349959

1294.2174861577

1348.0399243503

1403.6494349959

1290.232007597

1346.0874550263

1403.6494349959

1293.2216597274

1349.9909451148

1406.5128451589

1295.2129504482

1349.0156158025

1404.6042671902

1290.232007597

1344.3289941162

1400.9739782678

1286.4404360511

1349.9909451148

1397.1469721251

1288.4366518745

1350.9659122872

1393.5059493763

1290.232007597

1352.9147602123

1396.1893152397

1286.4404360511

1360.5014261334

1398.1042668707

1276.638039588

1361.4724821949

1392.5469163593

1273.6303528909

1355.6407137273

1387.7463191758

1273.6303528909

1356.6135804883

1382.1662842215

1270.8202380642

1349.9909451148

1386.7851133194

1275.6358394955

1345.3060617

1378.5037938197

1276.638039588

1336.6954383216

1374.6428913828

1277.6398775406

1328.0567708297

1378.5037938197

1279.6424670261

1325.1053606722

1384.0918103373

1277.6398775406

1318.4034311473

1381.2029779537

1276.638039588

1326.0895261979

1374.6428913828

1280.4430972236

1321.3622289586

1377.5391114203

1275.6358394955

1322.1506912556

1370.7761947076

1278.6413533533

1326.0895261979

1375.6086602019

1276.638039588

1323.135943201

1374.6428913828

1278.6413533533

1322.1506912556

1380.239309546

1276.638039588

1320.3763251614

1377.5391114203

1277.6398775406

1320.3763251614

1390.6277639056

1276.638039588

1320.3763251614

1389.6676444689

1275.6358394955

1332.7722478228

1391.5875212024

1283.4433962669

1333.7535886573

1394.4646202534

1289.2347326071

1331.7905448483

1388.7071628923

1287.4387250327

1338.4589836758

1381.2029779537

1288.4366518745

1339.4382240989

1370.7761947076

1284.4427716682

1336.6954383216

1377.5391114203

1320.3763251614

1335.7151839067

1376.574066881

1353.888640965

1331.7905448483

1380.239309546

1362.2490663034

1334.734567352

1392.5469163593

1361.4724821949

1338.4589836758

1397.1469721251

1364.1895125829

1340.4171023822

1397.1469721251

1363.2194705131

1325.1053606722

1397.1469721251

1359.5300079319

1325.1053606722

1397.1469721251

1358.5582275906

1325.1053606722

1396.1893152397

1365.1591925128

1313.4648586638

1391.5875212024

1369.0342908336

1310.6953035055

1396.1893152397

1371.7434120863

1322.1506912556

1395.2312962144

1370.002160064

1317.4164409304

1396.1893152397

1374.6428913828

1316.4290885736

1386.0158878936

1371.7434120863

1320.3763251614

1388.7071628923

1368.0660594632

1323.135943201

1387.7463191758

1358.5582275906

1318.4034311473

1391.5875212024

1361.4724821949

1317.4164409304

1381.2029779537

1362.2490663034

1316.4290885736

1382.1662842215

1362.2490663034

1309.7054885974

1383.1292283493

1366.1285103029

1303.9574207318

1387.7463191758

1381.2029779537

1309.7054885974

1385.0540301854

1377.5391114203

1306.7338710338

1389.6676444689

1370.7761947076

1306.7338710338

1386.0158878936

1378.5037938197

1311.6847562736

1383.1292283493

1375.6086602019

1311.6847562736

1385.0540301854

1370.7761947076

1309.7054885974

1388.7071628923

1377.5391114203

1303.9574207318

1394.4646202534

1378.5037938197

1307.7247723615

1386.7851133194

1375.6086602019

1313.4648586638

1392.5469163593

1373.6767604239

1307.7247723615

1386.7851133194

1366.1285103029

1312.6738469019

1389.6676444689

1349.9909451148

1323.135943201

1395.2312962144

1348.0399243503

1323.135943201

1397.1469721251

1335.7151839067

1327.0733295837

1392.5469163593

1335.7151839067

1312.6738469019

1385.0540301854

1341.3956185255

1304.9493360512

1385.0540301854

1341.3956185255

1304.9493360512

1378.5037938197

1360.5014261334

1306.7338710338

1377.5391114203

1368.0660594632

1300.979501934

1373.6767604239

1366.1285103029

1301.9725036732

1364.1895125829

1366.1285103029

1294.2174861577

1368.0660594632

1367.097465953

1295.2129504482

1370.002160064

1371.7434120863

1301.9725036732

1364.1895125829

1376.574066881

1289.2347326071

1357.5860851094

1378.5037938197

1296.2080525987

1346.0874550263

1371.7434120863

1292.2254711572

1357.5860851094

1359.5300079319

1288.4366518745

1354.6674848264

1356.6135804883

1290.232007597

1349.0156158025

1360.5014261334

1286.4404360511

1346.0874550263

1366.1285103029

1290.232007597

1345.3060617

1373.6767604239

1289.2347326071

1349.9909451148

1370.7761947076

1294.2174861577

1343.3515643926

1371.7434120863

1287.4387250327

1340.4171023822

1364.1895125829

1286.4404360511

1342.373772529

1367.097465953

1286.4404360511

1344.3289941162

1378.5037938197

1281.4435590446

1349.9909451148

1377.5391114203

1277.6398775406

1354.6674848264

1377.5391114203

1273.6303528909

1363.2194705131

1384.0918103373

1276.638039588

1360.5014261334

1374.6428913828

1281.4435590446

1358.5582275906

1376.574066881

1284.4427716682

1357.5860851094

1385.0540301854

1296.2080525987

1357.5860851094

1372.710267325

1301.9725036732

1362.2490663034

1372.710267325

1305.7426075661

1356.6135804883

1371.7434120863

1312.6738469019

1355.6407137273

1367.097465953

1305.7426075661

1352.9147602123

1363.2194705131

1301.9725036732

1350.9659122872

1358.5582275906

1295.2129504482

1349.9909451148

1361.4724821949

1299.986138055

1352.9147602123

1365.1591925128

1297.0038735784

1352.9147602123

1354.6674848264

1297.9983238772

1352.9147602123

1360.5014261334

1300.979501934

1349.0156158025

1362.2490663034

1302.9651432724

1343.3515643926

1360.5014261334

1307.7247723615

1343.3515643926

1370.002160064

1305.7426075661

1342.373772529

1370.002160064

1311.6847562736

1343.3515643926

1369.0342908336

1311.6847562736

1343.3515643926

1362.2490663034

1310.6953035055

1340.4171023822

1370.002160064

1315.4413740769

1348.0399243503

1376.574066881

1311.6847562736

1347.0638707583

1373.6767604239

1315.4413740769

1346.0874550263

1381.2029779537

1308.7153115494

1338.4589836758

1374.6428913828

1313.4648586638

1350.9659122872

1381.2029779537

1307.7247723615

1349.0156158025

1371.7434120863

1301.9725036732

1358.5582275906

1377.5391114203

1302.9651432724

1355.6407137273

1375.6086602019

1302.9651432724

1356.6135804883

1376.574066881

1307.7247723615

1362.2490663034

1377.5391114203

1304.9493360512

1356.6135804883

1370.7761947076

1305.7426075661

1358.5582275906

1370.002160064

1311.6847562736

1356.6135804883

1373.6767604239

1312.6738469019

1351.9405173197

1371.7434120863

1311.6847562736

1346.0874550263

1374.6428913828

1311.6847562736

1347.0638707583

1377.5391114203

1310.6953035055

1355.6407137273

1383.1292283493

1310.6953035055

1356.6135804883

1372.710267325

1311.6847562736

1356.6135804883

1381.2029779537

1311.6847562736

1359.5300079319

1383.1292283493

1319.3900592243

1360.5014261334

1382.1662842215

1312.6738469019

1361.4724821949

1378.5037938197

1314.4532974403

1357.5860851094

1374.6428913828

1321.3622289586

1363.2194705131

1375.6086602019

1322.1506912556

1361.4724821949

1377.5391114203

1326.0895261979

1357.5860851094

1381.2029779537

1315.4413740769

1360.5014261334

1381.2029779537

1316.4290885736

1360.5014261334

1380.239309546

1324.1208330066

1359.5300079319

1384.0918103373

1329.8260524798

1356.6135804883

1380.239309546

1337.6753305965

1358.5582275906

1381.2029779537

1330.808479734

1361.4724821949

1381.2029779537

1328.0567708297

1361.4724821949

1386.0158878936

1332.7722478228

1362.2490663034

1382.1662842215

1331.7905448483

1358.5582275906

1382.1662842215

1322.1506912556

1361.4724821949

1378.5037938197

1324.1208330066

1359.5300079319

1383.1292283493

1325.1053606722

1363.2194705131

1383.1292283493

1327.0733295837

1366.1285103029

1386.7851133194

1337.6753305965

1371.7434120863

1383.1292283493

1330.808479734

1372.710267325

1383.1292283493

1331.7905448483

1371.7434120863

1381.2029779537

1322.1506912556

1370.002160064

1380.239309546

1315.4413740769

1365.1591925128

1382.1662842215

1318.4034311473

1369.0342908336

1384.0918103373

1319.3900592243

1362.2490663034

1383.1292283493

1322.1506912556

1369.0342908336

1375.6086602019

1325.1053606722

1372.710267325

1376.574066881

1323.135943201

1373.6767604239

1379.2752789985

1319.3900592243

1371.7434120863

1372.710267325

1313.4648586638

1374.6428913828

1376.574066881

1314.4532974403

1368.0660594632

1371.7434120863

1309.7054885974

1368.0660594632

1373.6767604239

1321.3622289586

1368.0660594632

1375.6086602019

1316.4290885736

1364.1895125829

1374.6428913828

1316.4290885736

1363.2194705131

1365.1591925128

1312.6738469019

1358.5582275906

1369.0342908336

1313.4648586638

1361.4724821949

1368.0660594632

1315.4413740769

1365.1591925128

1366.1285103029

1309.7054885974

1369.0342908336

1370.002160064

1319.3900592243

1368.0660594632

1367.097465953

1320.3763251614

1365.1591925128

1368.0660594632

1320.3763251614

1370.002160064

1368.0660594632

1317.4164409304

1370.002160064

1366.1285103029

1316.4290885736

1362.2490663034

1367.097465953

1313.4648586638

1370.002160064

1367.097465953

1313.4648586638

1369.0342908336

1365.1591925128

1315.4413740769

1370.7761947076

1362.2490663034

1311.6847562736

1364.1895125829

1361.4724821949

1318.4034311473

1370.002160064

1364.1895125829

1316.4290885736

1366.1285103029

1364.1895125829

1326.0895261979

1363.2194705131

1366.1285103029

1329.0398499357

1370.002160064

1367.097465953

1325.1053606722

1368.0660594632

1370.7761947076

1314.4532974403

1363.2194705131

1365.1591925128

1313.4648586638

1364.1895125829

1366.1285103029

1314.4532974403

1360.5014261334

1363.2194705131

1311.6847562736

1357.5860851094

1370.002160064

1309.7054885974

1359.5300079319

1370.002160064

1307.7247723615

1360.5014261334

1366.1285103029

1306.7338710338

1359.5300079319

1362.2490663034

1306.7338710338

1364.1895125829

1363.2194705131

1307.7247723615

1367.097465953

1365.1591925128

1306.7338710338

1370.002160064

1367.097465953

1303.9574207318

1379.2752789985

1372.710267325

1310.6953035055

1370.002160064

1370.002160064

1307.7247723615

1371.7434120863

1358.5582275906

1311.6847562736

1372.710267325

1367.097465953

1313.4648586638

1377.5391114203

1370.002160064

1311.6847562736

1375.6086602019

1374.6428913828

1307.7247723615

1373.6767604239

1370.7761947076

1308.7153115494

1370.002160064

1369.0342908336

1310.6953035055

1362.2490663034

1360.5014261334

1308.7153115494

1360.5014261334

1366.1285103029

1310.6953035055

1365.1591925128

1365.1591925128

1316.4290885736

1360.5014261334

1370.002160064

1318.4034311473

1354.6674848264

1360.5014261334

1318.4034311473

1361.4724821949

1364.1895125829

1313.4648586638

1354.6674848264

1362.2490663034

1310.6953035055

1353.888640965

1366.1285103029

1311.6847562736

1351.9405173197

1372.710267325

1314.4532974403

1354.6674848264

1365.1591925128

1312.6738469019

1355.6407137273

1367.097465953

1309.7054885974

1357.5860851094

1364.1895125829

1308.7153115494

1357.5860851094

1368.0660594632

1306.7338710338

1352.9147602123

1376.574066881

1305.7426075661

1359.5300079319

1372.710267325

1309.7054885974

1359.5300079319

1369.0342908336

1307.7247723615

1365.1591925128

1371.7434120863

1306.7338710338

1367.097465953

1371.7434120863

1310.6953035055

1363.2194705131

1367.097465953

1316.4290885736

1360.5014261334

1358.5582275906

1315.4413740769

1352.9147602123

1367.097465953

1318.4034311473

1350.9659122872

1359.5300079319

1317.4164409304

1348.0399243503

1356.6135804883

1322.1506912556

1350.9659122872

1363.2194705131

1321.3622289586

1355.6407137273

1368.0660594632

1322.1506912556

1349.9909451148

1370.002160064

1317.4164409304

1356.6135804883

1366.1285103029

1321.3622289586

1354.6674848264

1370.7761947076

1322.1506912556

1350.9659122872

1373.6767604239

1319.3900592243

1366.1285103029

1372.710267325

1320.3763251614

1364.1895125829

1370.002160064

1325.1053606722

1361.4724821949

1370.7761947076

1315.4413740769

1359.5300079319

1355.6407137273

1325.1053606722

1358.5582275906

1351.9405173197

1316.4290885736

1356.6135804883

1357.5860851094

1311.6847562736

1355.6407137273

1351.9405173197

1313.4648586638

1350.9659122872

1361.4724821949

1317.4164409304

1362.2490663034

1354.6674848264

1310.6953035055

1362.2490663034

1356.6135804883

1308.7153115494

1360.5014261334

1358.5582275906

1308.7153115494

1357.5860851094

1361.4724821949

1304.9493360512

1356.6135804883

1358.5582275906

1311.6847562736

1358.5582275906

1352.9147602123

1303.9574207318

1352.9147602123

1366.1285103029

1298.992412036

1352.9147602123

1356.6135804883

1299.986138055

1352.9147602123

1360.5014261334

1299.986138055

1355.6407137273

1359.5300079319

1301.9725036732

1358.5582275906

1359.5300079319

1306.7338710338

1360.5014261334

1361.4724821949

1304.9493360512

1370.002160064

1366.1285103029

1309.7054885974

1366.1285103029

1368.0660594632

1309.7054885974

1366.1285103029

1366.1285103029

1301.9725036732

1368.0660594632

1360.5014261334

1297.0038735784

1371.7434120863

1365.1591925128

1297.9983238772

1367.097465953

1369.0342908336

1305.7426075661

1370.002160064

1366.1285103029

1308.7153115494

1366.1285103029

1362.2490663034

1304.9493360512

1370.002160064

1364.1895125829

1296.2080525987

1365.1591925128

1370.7761947076

1295.2129504482

1372.710267325

1371.7434120863

1296.2080525987

1374.6428913828

1370.002160064

1290.232007597

1372.710267325

1367.097465953

1294.2174861577

1362.2490663034

1366.1285103029

1297.9983238772

1350.9659122872

1359.5300079319

1296.2080525987

1351.9405173197

1356.6135804883

1300.979501934

1365.1591925128

1354.6674848264

1298.992412036

1360.5014261334

1359.5300079319

1302.9651432724

1355.6407137273

1351.9405173197

1304.9493360512

1348.0399243503

1348.0399243503

1308.7153115494

1350.9659122872

1349.9909451148

1309.7054885974

1355.6407137273

1351.9405173197

1307.7247723615

1351.9405173197

1356.6135804883

1306.7338710338

1359.5300079319

1349.0156158025

1301.9725036732

1341.3956185255

1349.0156158025

1297.9983238772

1351.9405173197

1357.5860851094

1300.979501934

1354.6674848264

1351.9405173197

1298.992412036

1357.5860851094

1354.6674848264

1301.9725036732

1355.6407137273

1351.9405173197

1302.9651432724

1354.6674848264

1353.888640965

1296.2080525987

1363.2194705131

1351.9405173197

1295.2129504482

1370.7761947076

1353.888640965

1294.2174861577

1371.7434120863

1354.6674848264

1294.2174861577

1383.1292283493

1348.0399243503

1299.986138055

1383.1292283493

1349.0156158025

1300.979501934

1378.5037938197

1352.9147602123

1295.2129504482

1378.5037938197

1357.5860851094

1293.2216597274

1386.0158878936

1356.6135804883

1296.2080525987

1387.7463191758

1358.5582275906

1297.0038735784

1383.1292283493

1359.5300079319

1298.992412036

1383.1292283493

1356.6135804883

1291.2289204471

1385.0540301854

1361.4724821949

1289.2347326071

1380.239309546

1360.5014261334

1283.4433962669

1377.5391114203

1351.9405173197

1283.4433962669

1377.5391114203

1358.5582275906

1283.4433962669

1380.239309546

1347.0638707583

1282.4436587257

1378.5037938197

1337.6753305965

1282.4436587257

1381.2029779537

1341.3956185255

1281.4435590446

1387.7463191758

1336.6954383216

1276.638039588

1382.1662842215

1338.4589836758

1283.4433962669

1384.0918103373

1344.3289941162

1279.6424670261

1383.1292283493

1351.9405173197

1277.6398775406

1380.239309546

1358.5582275906

1279.6424670261

1387.7463191758

1359.5300079319

1283.4433962669

1374.6428913828

1359.5300079319

1279.6424670261

1374.6428913828

1359.5300079319

1282.4436587257

1371.7434120863

1367.097465953

1286.4404360511

1361.4724821949

1362.2490663034

1286.4404360511

1357.5860851094

1367.097465953

1289.2347326071

1363.2194705131

1368.0660594632

1284.4427716682

1356.6135804883

1365.1591925128

1282.4436587257

1360.5014261334

1357.5860851094

1281.4435590446

1363.2194705131

1345.3060617

1283.4433962669

1358.5582275906

1345.3060617

1289.2347326071

1359.5300079319

1349.0156158025

1286.4404360511

1362.2490663034

1339.4382240989

1284.4427716682

1355.6407137273

1345.3060617

1286.4404360511

1367.097465953

1345.3060617

1284.4427716682

1366.1285103029

1346.0874550263

1284.4427716682

1360.5014261334

1333.7535886573

1285.4417849296

1355.6407137273

1338.4589836758

1287.4387250327

1360.5014261334

1339.4382240989

1289.2347326071

1354.6674848264

1330.808479734

1287.4387250327

1357.5860851094

1333.7535886573

1286.4404360511

1352.9147602123

1342.373772529

1291.2289204471

1355.6407137273

1346.0874550263

1303.9574207318

1347.0638707583

1344.3289941162

1300.979501934

1344.3289941162

1336.6954383216

1305.7426075661

1349.9909451148

1340.4171023822

1300.979501934

1347.0638707583

1337.6753305965

1293.2216597274

1352.9147602123

1329.8260524798

1289.2347326071

1349.9909451148

1337.6753305965

1288.4366518745

1345.3060617

1344.3289941162

1285.4417849296

1345.3060617

1342.373772529

1282.4436587257

1355.6407137273

1344.3289941162

1291.2289204471

1356.6135804883

1346.0874550263

1296.2080525987

1352.9147602123

1340.4171023822

1288.4366518745

1349.0156158025

1341.3956185255

1299.986138055

1351.9405173197

1337.6753305965

1305.7426075661

1355.6407137273

1332.7722478228

1305.7426075661

1362.2490663034

1335.7151839067

1296.2080525987

1354.6674848264

1327.0733295837

1296.2080525987

1354.6674848264

1319.3900592243

1302.9651432724

1348.0399243503

1318.4034311473

1304.9493360512

1352.9147602123

1326.0895261979

1303.9574207318

1339.4382240989

1325.1053606722

1297.9983238772

1349.0156158025

1329.8260524798

1299.986138055

1349.0156158025

1348.0399243503

1303.9574207318

1349.0156158025

1352.9147602123

1312.6738469019

1353.888640965

1350.9659122872

1306.7338710338

1356.6135804883

1357.5860851094

1312.6738469019

1361.4724821949

1357.5860851094

1313.4648586638

1364.1895125829

1348.0399243503

1312.6738469019

1356.6135804883

1335.7151839067

1309.7054885974

1366.1285103029

1342.373772529

1307.7247723615

1361.4724821949

1335.7151839067

1310.6953035055

1361.4724821949

1330.808479734

1310.6953035055

1367.097465953

1322.1506912556

1303.9574207318

1358.5582275906

1334.734567352

1306.7338710338

1360.5014261334

1329.0398499357

1301.9725036732

1367.097465953

1324.1208330066

1299.986138055

1356.6135804883

1323.135943201

1301.9725036732

1350.9659122872

1320.3763251614

1305.7426075661

1354.6674848264

1329.0398499357

1319.3900592243

1354.6674848264

1334.734567352

1325.1053606722

1344.3289941162

1330.808479734

1330.808479734

1341.3956185255

1317.4164409304

1329.8260524798

1343.3515643926

1321.3622289586

1329.0398499357

1354.6674848264

1321.3622289586

1330.808479734

1340.4171023822

1329.8260524798

1327.0733295837

1348.0399243503

1329.0398499357

1328.0567708297

1353.888640965

1332.7722478228

1329.8260524798

1357.5860851094

1343.3515643926

1329.8260524798

1343.3515643926

1348.0399243503

1330.808479734

1346.0874550263

1350.9659122872

1325.1053606722

1348.0399243503

1349.9909451148

1325.1053606722

1346.0874550263

1342.373772529

1326.0895261979

1346.0874550263

1338.4589836758

1322.1506912556

1343.3515643926

1335.7151839067

1311.6847562736

1345.3060617

1335.7151839067

1314.4532974403

1341.3956185255

1327.0733295837

1309.7054885974

1335.7151839067

1319.3900592243

1306.7338710338

1332.7722478228

1318.4034311473

1307.7247723615

1339.4382240989

1325.1053606722

1316.4290885736

1342.373772529

1318.4034311473

1318.4034311473

1341.3956185255

1318.4034311473

1316.4290885736

1344.3289941162

1317.4164409304

1311.6847562736

1343.3515643926

1324.1208330066

1315.4413740769

1339.4382240989

1328.0567708297

1316.4290885736

1332.7722478228

1344.3289941162

1319.3900592243

1337.6753305965

1350.9659122872

1308.7153115494

1349.0156158025

1358.5582275906

1303.9574207318

1365.1591925128

1362.2490663034

1305.7426075661

1366.1285103029

1354.6674848264

1299.986138055

1370.7761947076

1342.373772529

1293.2216597274

1376.574066881

1353.888640965

1300.979501934

1377.5391114203

1343.3515643926

1300.979501934

1376.574066881

1339.4382240989

1303.9574207318

1363.2194705131

1338.4589836758

1301.9725036732

1367.097465953

1336.6954383216

1295.2129504482

1362.2490663034

1344.3289941162

1291.2289204471

1358.5582275906

1343.3515643926

1301.9725036732

1364.1895125829

1346.0874550263

1302.9651432724

1355.6407137273

1344.3289941162

1306.7338710338

1354.6674848264

1339.4382240989

1315.4413740769

1348.0399243503

1337.6753305965

1307.7247723615

1346.0874550263

1335.7151839067

1304.9493360512

1348.0399243503

1330.808479734

1309.7054885974

1348.0399243503

1324.1208330066

1314.4532974403

1359.5300079319

1326.0895261979

1307.7247723615

1360.5014261334

1317.4164409304

1310.6953035055

1358.5582275906

1306.7338710338

1306.7338710338

1353.888640965

1299.986138055

1295.2129504482

1354.6674848264

1290.232007597

1298.992412036

1353.888640965

1288.4366518745

1297.9983238772

1355.6407137273

1289.2347326071

1293.2216597274

1353.888640965

1280.4430972236

1291.2289204471

1350.9659122872

1266.8008632094

1296.2080525987

1350.9659122872

1286.4404360511

1296.2080525987

1348.0399243503

1276.638039588

1294.2174861577

1343.3515643926

1258.9464165644

1288.4366518745

1342.373772529

1262.977090184

1291.2289204471

1330.808479734

1294.2174861577

1298.992412036

1342.373772529

1307.7247723615

1295.2129504482

1345.3060617

1312.6738469019

1300.979501934

1341.3956185255

1313.4648586638

1302.9651432724

1344.3289941162

1318.4034311473

1302.9651432724

1346.0874550263

1309.7054885974

1303.9574207318

1339.4382240989

1308.7153115494

1303.9574207318

1345.3060617

1292.2254711572

1303.9574207318

1345.3060617

1295.2129504482

1304.9493360512

1346.0874550263

1285.4417849296

1297.9983238772

1344.3289941162

1285.4417849296

1293.2216597274

1338.4589836758

1290.232007597

1295.2129504482

1341.3956185255

1292.2254711572

1293.2216597274

1338.4589836758

1303.9574207318

1298.992412036

1331.7905448483

1303.9574207318

1288.4366518745

1337.6753305965

1311.6847562736

1277.6398775406

1345.3060617

1307.7247723615

1280.4430972236

1342.373772529

1309.7054885974

1269.8159375604

1331.7905448483

1312.6738469019

1262.977090184

1330.808479734

1316.4290885736

1271.8241764282

1329.8260524798

1328.0567708297

1268.8112749166

1336.6954383216

1331.7905448483

1263.7825295993

1343.3515643926

1334.734567352

1274.6332772631

1336.6954383216

1339.4382240989

1301.9725036732

1339.4382240989

1328.0567708297

1299.986138055

1342.373772529

1327.0733295837

1294.2174861577

1337.6753305965

1317.4164409304

1291.2289204471

1334.734567352

1319.3900592243

1297.0038735784

1332.7722478228

1322.1506912556

1305.7426075661

1336.6954383216

1333.7535886573

1298.992412036

1337.6753305965

1331.7905448483

1298.992412036

1329.8260524798

1328.0567708297

1300.979501934

1328.0567708297

1330.808479734

1307.7247723615

1331.7905448483

1338.4589836758

1297.9983238772

1327.0733295837

1342.373772529

1297.0038735784

1327.0733295837

1338.4589836758

1291.2289204471

1329.8260524798

1339.4382240989

1279.6424670261

1327.0733295837

1332.7722478228

1278.6413533533

1328.0567708297

1333.7535886573

1279.6424670261

1333.7535886573

1336.6954383216

1274.6332772631

1339.4382240989

1338.4589836758

1276.638039588

1343.3515643926

1337.6753305965

1274.6332772631

1344.3289941162

1335.7151839067

1277.6398775406

1346.0874550263

1332.7722478228

1270.8202380642

1351.9405173197

1328.0567708297

1276.638039588

1351.9405173197

1337.6753305965

1255.9196088808

1348.0399243503

1341.3956185255

1249.0467782967

1342.373772529

1333.7535886573

1248.0346555711

1339.4382240989

1337.6753305965

1248.0346555711

1342.373772529

1341.3956185255

1234.2338332541

1335.7151839067

1347.0638707583

1232.1986511781

1330.808479734

1349.9909451148

1226.2884315532

1328.0567708297

1340.4171023822

1232.1986511781

1330.808479734

1325.1053606722

1215.25073279

1332.7722478228

1316.4290885736

1223.2266411557

1330.808479734

1321.3622289586

1216.2745164202

1325.1053606722

1323.135943201

1220.3660295422

1317.4164409304

1328.0567708297

1226.2884315532

1301.9725036732

1322.1506912556

1233.2164232861

1301.9725036732

1320.3763251614

1234.2338332541

1308.7153115494

1322.1506912556

1240.1276696702

1313.4648586638

1324.1208330066

1238.096688417

1321.3622289586

1315.4413740769

1257.9378428098

1318.4034311473

1301.9725036732

1260.962477654

1311.6847562736

1294.2174861577

1249.0467782967

1300.979501934

1293.2216597274

1251.0699373283

1292.2254711572

1310.6953035055

1265.7951141459

1276.638039588

1310.6953035055

1224.2476000948

1263.7825295993

1323.135943201

1185.1965760651

1253.0916478002

1311.6847562736

1165.8915042632

1245.1987853552

1294.2174861577

1160.8892124734

1242.1572023639

1283.4433962669

1153.5792472355

1233.2164232861

1282.4436587257

1156.7142623196

1237.283890319

1297.0038735784

1153.5792472355

1234.2338332541

1269.8159375604

1150.6502925809

1246.2119220725

1249.0467782967

1158.8024616763

1246.2119220725

1255.1119097126

1155.6696194315

1251.0699373283

1256.9289069153

1154.6246144034

1283.4433962669

1259.9546281792

1166.9325981804

1305.7426075661

1255.1119097126

1172.9638015015

1301.9725036732

1243.1714255009

1192.2230698494

1291.2289204471

1246.2119220725

1156.7142623196

1299.986138055

1247.0221707056

1120.7818814832

1306.7338710338

1254.1019598263

1123.9507928615

1306.7338710338

1257.9378428098

1126.9055029054

1313.4648586638

1272.6270663787

1117.6097108458

1308.7153115494

1272.6270663787

1121.8385474159

1301.9725036732

1286.4404360511

1126.0615897476

1306.7338710338

1262.977090184

1129.0142718081

1313.4648586638

1256.9289069153

1122.8948512086

1288.4366518745

1251.0699373283

1115.704844019

1284.4427716682

1241.142617087

1129.0142718081

1268.8112749166

1248.0346555711

1134.2798566166

1259.9546281792

1257.9378428098

1134.2798566166

1263.7825295993

1255.1119097126

1143.5252967452

1274.6332772631

1246.2119220725

1148.5564438419

1262.977090184

1258.9464165644

1147.5089762626

1186.2309341803

1269.8159375604

1135.1215100214

1117.6097108458

1267.8062501329

1122.8948512086

1101.0618842753

1262.977090184

1126.0615897476

1121.8385474159

1251.0699373283

1098.0824328339

1129.0142718081

1255.9196088808

1075.0026620375

1191.1908121456

1244.185286498

1058.2288601726

1216.2745164202

1205.1984887706

1063.6146754262

1207.2527918331

1178.9828224364

1072.8570997215

1169.8457345644

1169.8457345644

1082.2867386862

1171.9248079957

1162.7660496723

1091.6883335375

1197.1728658401

1159.8460181448

1089.7675615265

1211.3570522793

1192.2230698494

1085.4949784571

1240.1276696702

1183.1267734151

1080.3602303793

1162.7660496723

1192.2230698494

1086.5636674343

1131.1215921512

1191.1908121456

1087.6319942716

1132.1747091129

1182.0913288803

1103.1883256049

1147.5089762626

1169.8457345644

1111.4676058034

1169.8457345644

1158.8024616763

1114.6460776749

1184.1618558101

1148.5564438419

1108.2858746727

1169.0136995952

1144.3644006852

1079.2894409907

1190.158192302

1137.2246295417

1094.8870128152

1178.1533369321

1136.1732508515

1127.9600684267

1171.9248079957

1132.1747091129

1120.7818814832

1161.7235071955

1146.4611465433

1103.1883256049

1150.6502925809

1153.5792472355

1109.3468138562

1183.1267734151

1156.7142623196

1142.4760908944

1203.3483774959

1158.8024616763

1150.6502925809

1207.2527918331

1158.8024616763

1143.5252967452

1210.3315303776

1162.7660496723

1115.704844019

1213.2020791099

1172.9638015015

1094.8870128152

1208.2794001545

1145.4129546842

1078.2182894623

1214.2265870199

1104.2510030598

1073.9300619494

1214.2265870199

1115.704844019

1070.9248551186

1214.2265870199

1120.7818814832

1075.0026620375

1217.2979379106

1102.1252860101

1080.3602303793

1225.2681968939

1067.70184004

1082.2867386862

1228.327814452

1056.0719990919

1082.2867386862

1249.0467782967

1050.8896223751

1094.8870128152

1249.0467782967

1051.9699722569

1101.0618842753

1247.0221707056

1067.70184004

1110.4073908997

1246.2119220725

1067.70184004

1114.6460776749

1235.2508810823

1072.8570997215

1116.7632482232

1215.25073279

1078.2182894623

1119.7248534106

1207.2527918331

1103.1883256049

1118.6674631982

1197.1728658401

1113.586949191

1118.6674631982

1167.9733299577

1125.0063723745

1102.1252860101

1142.4760908944

1123.9507928615

1105.3133183749

1127.9600684267

1120.7818814832

1107.4368625853

1121.8385474159

1126.0615897476

1104.2510030598

1126.0615897476

1139.3263005025

1098.0824328339

1132.1747091129

1129.0142718081

1093.8211485292

1123.9507928615

1105.3133183749

1075.0026620375

1129.0142718081

1086.5636674343

1069.850878899

1155.6696194315

1082.2867386862

1067.70184004

1185.1965760651

1081.430657628

1083.3565140831

1160.8892124734

1085.4949784571

1131.1215921512

1154.6246144034

1085.4949784571

1174.0024328674

1155.6696194315

1088.699958969

1158.8024616763

1146.4611465433

1093.8211485292

1138.2756460921

1131.1215921512

1099.9981204007

1111.4676058034

1090.6213828318

1107.4368625853

1098.0824328339

1085.4949784571

1104.2510030598

1097.0176549676

1094.8870128152

1109.3468138562

1094.8870128152

1089.7675615265

1156.7142623196

1093.8211485292

1107.4368625853

1164.8500482061

1125.0063723745

1151.6966737406

1148.5564438419

1130.0681130496

1158.8024616763

1145.4129546842

1119.7248534106

1165.8915042632

1150.6502925809

1120.7818814832

1163.8082300092

1157.7585430679

1117.6097108458

1151.6966737406

1169.8457345644

1132.1747091129

1144.3644006852

1183.1267734151

1139.3263005025

1138.2756460921

1205.1984887706

1146.4611465433

1137.2246295417

1223.2266411557

1175.0407020934

1142.4760908944

1257.9378428098

1133.2274639347

1162.7660496723

1250.0585388824

1107.4368625853

1170.8854523499

1250.0585388824

1087.6319942716

1178.9828224364

1242.1572023639

1069.850878899

1165.8915042632

1228.327814452

1090.6213828318

1160.8892124734

1219.3436944715

1126.0615897476

1163.8082300092

1213.2020791099

1146.4611465433

1169.8457345644

1200.2622512976

1107.4368625853

1178.9828224364

1189.1252103184

1090.6213828318

1188.091866195

1178.1533369321

1082.2867386862

1190.158192302

1181.0555222056

1059.3067475031

1185.1965760651

1170.8854523499

1057.1506107022

1171.9248079957

1158.8024616763

1059.3067475031

1162.7660496723

1162.7660496723

1076.0748999856

1158.8024616763

1157.7585430679

1122.8948512086

1155.6696194315

1159.8460181448

1143.5252967452

1161.7235071955

1174.0024328674

1184.1618558101

1160.8892124734

1197.1728658401

1226.2884315532

1151.6966737406

1202.320030903

1256.9289069153

1138.2756460921

1202.320030903

1279.6424670261

1131.1215921512

1199.232818285

1297.0038735784

1127.9600684267

1181.0555222056

1300.979501934

1125.0063723745

1160.8892124734

1300.979501934

1117.6097108458

1154.6246144034

1304.9493360512

1115.704844019

1151.6966737406

1308.7153115494

1113.586949191

1144.3644006852

1309.7054885974

1117.6097108458

1130.0681130496

1301.9725036732

1113.586949191

1118.6674631982

1310.6953035055

1118.6674631982

1119.7248534106

1318.4034311473

1112.5274585671

1118.6674631982

1293.2216597274

1108.2858746727

1114.6460776749

1280.4430972236

1112.5274585671

1110.4073908997

1249.0467782967

1103.1883256049

1104.2510030598

1225.2681968939

1107.4368625853

1108.2858746727

1213.2020791099

1103.1883256049

1106.37527155

1209.305646336

1108.2858746727

1107.4368625853

1209.305646336

1107.4368625853

1097.0176549676

1192.2230698494

1109.3468138562

1086.5636674343

1177.1161541257

1104.2510030598

1081.430657628

1147.5089762626

1101.0618842753

1087.6319942716

1138.2756460921

1095.9525149613

1092.7549221033

1133.2274639347

1090.6213828318

1092.7549221033

1122.8948512086

1082.2867386862

1088.699958969

1125.0063723745

1083.3565140831

1083.3565140831

1118.6674631982

1089.7675615265

1085.4949784571

1107.4368625853

1099.9981204007

1091.6883335375

1101.0618842753

1104.2510030598

1103.1883256049

1101.0618842753

1099.1468485603

1114.6460776749

1094.8870128152

1093.8211485292

1115.704844019

1101.0618842753

1092.7549221033

1127.9600684267

1102.1252860101

1090.6213828318

1144.3644006852

1109.3468138562

1090.6213828318

1159.8460181448

1112.5274585671

1086.5636674343

1176.0786091795

1109.3468138562

1081.430657628

1178.9828224364

1117.6097108458

1072.8570997215

1190.158192302

1121.8385474159

1066.6267774006

1195.3176701213

1126.9055029054

1063.6146754262

1204.1707940295

1133.2274639347

1070.9248551186

1212.3822120412

1137.2246295417

1075.0026620375

1223.2266411557

1144.3644006852

1093.8211485292

1232.1986511781

1140.376592773

1092.7549221033

1236.2675667706

1154.6246144034

1117.6097108458

1242.1572023639

1156.7142623196

1143.5252967452

1249.0467782967

1161.7235071955

1148.5564438419

1245.1987853552

1163.8082300092

1156.7142623196

1241.142617087

1160.8892124734

1162.7660496723

1236.2675667706

1171.9248079957

1163.8082300092

1232.1986511781

1172.9638015015

1167.9733299577

1234.2338332541

1175.0407020934

1171.9248079957

1236.2675667706

1171.9248079957

1175.0407020934

1229.3469626916

1175.0407020934

1174.0024328674

1236.2675667706

1178.1533369321

1176.0786091795

1231.1805169302

1176.0786091795

1178.9828224364

1234.2338332541

1175.0407020934

1183.1267734151

1228.327814452

1175.0407020934

1182.0913288803

1220.3660295422

1174.0024328674

1185.1965760651

1212.3822120412

1174.0024328674

1189.1252103184

1207.2527918331

1172.9638015015

1191.1908121456

1200.2622512976

1181.0555222056

1225.2681968939

1207.2527918331

1184.1618558101

1248.0346555711

1203.3483774959

1185.1965760651

1255.1119097126

1208.2794001545

1187.0581599317

1213.2020791099

1209.305646336

1183.1267734151

1202.320030903

1208.2794001545

1185.1965760651

1201.2913221702

1204.1707940295

1192.2230698494

1193.2549654133

1205.1984887706

1195.3176701213

1187.0581599317

1199.232818285

1192.2230698494

1181.0555222056

1202.320030903

1200.2622512976

1185.1965760651

1203.3483774959

1194.2864988373

1183.1267734151

1204.1707940295

1188.091866195

1175.0407020934

1211.3570522793

1187.0581599317

1172.9638015015

1210.3315303776

1186.2309341803

1166.9325981804

1221.183636858

1188.091866195

1160.8892124734

1220.3660295422

1192.2230698494

1154.6246144034

1222.2053200768

1182.0913288803

1153.5792472355

1221.183636858

1188.091866195

1149.6035492814

1224.2476000948

1194.2864988373

1141.4265229036

1232.1986511781

1206.2258213718

1143.5252967452

1233.2164232861

1217.2979379106

1163.8082300092

1236.2675667706

1206.2258213718

1177.1161541257

1250.0585388824

1205.1984887706

1190.158192302

1255.9196088808

1209.305646336

1201.2913221702

1255.9196088808

1218.320997261

1206.2258213718

1250.0585388824

1211.3570522793

1203.3483774959

1245.1987853552

1221.183636858

1200.2622512976

1245.1987853552

1218.320997261

1199.232818285

1245.1987853552

1219.3436944715

1190.158192302

1244.185286498

1221.183636858

1185.1965760651

1244.185286498

1216.2745164202

1190.158192302

1238.096688417

1227.3083040725

1184.1618558101

1233.2164232861

1222.2053200768

1172.9638015015

1229.3469626916

1208.2794001545

1159.8460181448

1231.1805169302

1209.305646336

1157.7585430679

1234.2338332541

1206.2258213718

1149.6035492814

1233.2164232861

1204.1707940295

1132.1747091129

1243.1714255009

1201.2913221702

1119.7248534106

1237.283890319

1200.2622512976

1111.4676058034

1229.3469626916

1191.1908121456

1119.7248534106

1231.1805169302

1190.158192302

1127.9600684267

1233.2164232861

1189.1252103184

1140.376592773

1231.1805169302

1201.2913221702

1155.6696194315

1223.2266411557

1199.232818285

1166.9325981804

1211.3570522793

1197.1728658401

1164.8500482061

1197.1728658401

1205.1984887706

1161.7235071955

1192.2230698494

1213.2020791099

1166.9325981804

1191.1908121456

1219.3436944715

1169.0136995952

1209.305646336

1230.1620205425

1164.8500482061

1228.327814452

1217.2979379106

1161.7235071955

1235.2508810823

1205.1984887706

1156.7142623196

1238.096688417

1208.2794001545

1149.6035492814

1243.1714255009

1202.320030903

1143.5252967452

1245.1987853552

1195.3176701213

1140.376592773

1244.185286498

1194.2864988373

1137.2246295417

1245.1987853552

1184.1618558101

1133.2274639347

1243.1714255009

1192.2230698494

1133.2274639347

1245.1987853552

1198.2030231325

1123.9507928615

1242.1572023639

1196.1423464079

1119.7248534106

1244.185286498

1204.1707940295

1121.8385474159

1250.0585388824

1213.2020791099

1125.0063723745

1252.0809736342

1218.320997261

1135.1215100214

1254.1019598263

1224.2476000948

1139.3263005025

1255.1119097126

1234.2338332541

1145.4129546842

1257.9378428098

1240.1276696702

1152.5335179276

1257.9378428098

1236.2675667706

1153.5792472355

1257.9378428098

1233.2164232861

1156.7142623196

1255.1119097126

1241.142617087

1159.8460181448

1257.9378428098

1243.1714255009

1159.8460181448

1257.9378428098

1245.1987853552

1159.8460181448

1257.9378428098

1248.0346555711

1163.8082300092

1259.9546281792

1251.0699373283

1166.9325981804

1259.9546281792

1248.0346555711

1166.9325981804

1262.977090184

1243.1714255009

1169.0136995952

1263.7825295993

1241.142617087

1174.0024328674

1265.7951141459

1247.0221707056

1176.0786091795

1270.8202380642

1250.0585388824

1178.9828224364

1272.6270663787

1241.142617087

1181.0555222056

1272.6270663787

1241.142617087

1184.1618558101

1269.8159375604

1236.2675667706

1187.0581599317

1267.8062501329

1228.327814452

1187.0581599317

1261.969964989

1224.2476000948

1189.1252103184

1258.9464165644

1219.3436944715

1192.2230698494

1258.9464165644

1223.2266411557

1199.232818285

1257.9378428098

1223.2266411557

1204.1707940295

1256.9289069153

1221.183636858

1210.3315303776

1254.1019598263

1223.2266411557

1213.2020791099

1252.0809736342

1229.3469626916

1215.25073279

1254.1019598263

1236.2675667706

1217.2979379106

1255.9196088808

1235.2508810823

1222.2053200768

1255.1119097126

1231.1805169302

1225.2681968939

1256.9289069153

1238.096688417

1227.3083040725

1254.1019598263

1239.1123601135

1227.3083040725

1256.9289069153

1233.2164232861

1234.2338332541

1255.1119097126

1232.1986511781

1235.2508810823

1254.1019598263

1223.2266411557

1235.2508810823

1259.9546281792

1217.2979379106

1231.1805169302

1260.962477654

1219.3436944715

1229.3469626916

1264.7890029426

1218.320997261

1227.3083040725

1263.7825295993

1213.2020791099

1230.1620205425

1262.977090184

1220.3660295422

1230.1620205425

1261.969964989

1215.25073279

1226.2884315532

1259.9546281792

1223.2266411557

1225.2681968939

1258.9464165644

1220.3660295422

1231.1805169302

1257.9378428098

1218.320997261

1223.2266411557

1255.1119097126

1224.2476000948

1216.2745164202

1254.1019598263

1234.2338332541

1209.305646336

1255.9196088808

1233.2164232861

1201.2913221702

1255.1119097126

1228.327814452

1201.2913221702

1258.9464165644

1228.327814452

1209.305646336

1256.9289069153

1237.283890319

1207.2527918331

1258.9464165644

1244.185286498

1214.2265870199

1255.9196088808

1236.2675667706

1223.2266411557

1253.0916478002

1231.1805169302

1227.3083040725

1256.9289069153

1244.185286498

1228.327814452

1259.9546281792

1251.0699373283

1222.2053200768

1261.969964989

1252.0809736342

1217.2979379106

1256.9289069153

1249.0467782967

1215.25073279

1256.9289069153

1252.0809736342

1224.2476000948

1252.0809736342

1243.1714255009

1228.327814452

1245.1987853552

1249.0467782967

1224.2476000948

1253.0916478002

1251.0699373283

1218.320997261

1257.9378428098

1253.0916478002

1217.2979379106

1257.9378428098

1249.0467782967

1212.3822120412

1257.9378428098

1243.1714255009

1209.305646336

1248.0346555711

1231.1805169302

1204.1707940295

1242.1572023639

1216.2745164202

1201.2913221702

1243.1714255009

1216.2745164202

1201.2913221702

1239.1123601135

1221.183636858

1200.2622512976

1236.2675667706

1214.2265870199

1204.1707940295

1236.2675667706

1216.2745164202

1203.3483774959

1235.2508810823

1217.2979379106

1203.3483774959

1239.1123601135

1227.3083040725

1202.320030903

1239.1123601135

1220.3660295422

1201.2913221702

1238.096688417

1207.2527918331

1203.3483774959

1218.320997261

1205.1984887706

1202.320030903

1209.305646336

1204.1707940295

1202.320030903

1211.3570522793

1204.1707940295

1203.3483774959

1216.2745164202

1210.3315303776

1199.232818285

1215.25073279

1207.2527918331

1198.2030231325

1216.2745164202

1207.2527918331

1198.2030231325

1219.3436944715

1205.1984887706

1198.2030231325

1223.2266411557

1217.2979379106

1202.320030903

1231.1805169302

1217.2979379106

1200.2622512976

1233.2164232861

1224.2476000948

1201.2913221702

1225.2681968939

1229.3469626916

1203.3483774959

1220.3660295422

1237.283890319

1205.1984887706

1213.2020791099

1231.1805169302

1208.2794001545

1206.2258213718

1226.2884315532

1208.2794001545

1203.3483774959

1230.1620205425

1212.3822120412

1200.2622512976

1232.1986511781

1211.3570522793

1201.2913221702

1243.1714255009

1217.2979379106

1213.2020791099

1239.1123601135

1219.3436944715

1209.305646336

1240.1276696702

1225.2681968939

1210.3315303776

1246.2119220725

1231.1805169302

1217.2979379106

1239.1123601135

1234.2338332541

1218.320997261

1235.2508810823

1231.1805169302

1222.2053200768

1223.2266411557

1237.283890319

1223.2266411557

1231.1805169302

1238.096688417

1222.2053200768

1235.2508810823

1238.096688417

1223.2266411557

1232.1986511781

1239.1123601135

1222.2053200768

1230.1620205425

1239.1123601135

1224.2476000948

1237.283890319

1243.1714255009

1220.3660295422

1236.2675667706

1244.185286498

1220.3660295422

1223.2266411557

1245.1987853552

1221.183636858

1223.2266411557

1245.1987853552

1220.3660295422

1219.3436944715

1244.185286498

1220.3660295422

1218.320997261

1245.1987853552

1223.2266411557

1216.2745164202

1244.185286498

1222.2053200768

1215.25073279

1241.142617087

1222.2053200768

1212.3822120412

1245.1987853552

1220.3660295422

1232.1986511781

1244.185286498

1223.2266411557

1229.3469626916

1245.1987853552

1224.2476000948

1218.320997261

1240.1276696702

1227.3083040725

1221.183636858

1241.142617087

1225.2681968939

1228.327814452

1241.142617087

1225.2681968939

1216.2745164202

1239.1123601135

1225.2681968939

1209.305646336

1240.1276696702

1225.2681968939

1212.3822120412

1239.1123601135

1229.3469626916

1210.3315303776

1240.1276696702

1232.1986511781

1205.1984887706

1243.1714255009

1231.1805169302

1205.1984887706

1248.0346555711

1231.1805169302

1203.3483774959

1250.0585388824

1234.2338332541

1208.2794001545

1251.0699373283

1232.1986511781

1216.2745164202

1251.0699373283

1233.2164232861

1212.3822120412

1255.1119097126

1233.2164232861

1213.2020791099

1257.9378428098

1229.3469626916

1217.2979379106

1257.9378428098

1227.3083040725

1213.2020791099

1255.9196088808

1228.327814452

1235.2508810823

1256.9289069153

1229.3469626916

1232.1986511781

1254.1019598263

1231.1805169302

1258.9464165644

1254.1019598263

1230.1620205425

1261.969964989

1250.0585388824

1231.1805169302

1257.9378428098

1239.1123601135

1229.3469626916

1260.962477654

1237.283890319

1231.1805169302

1259.9546281792

1235.2508810823

1231.1805169302

1259.9546281792

1232.1986511781

1228.327814452

1263.7825295993

1232.1986511781

1231.1805169302

1267.8062501329

1232.1986511781

1227.3083040725

1263.7825295993

1231.1805169302

1227.3083040725

1258.9464165644

1235.2508810823

1224.2476000948

1254.1019598263

1233.2164232861

1227.3083040725

1262.977090184

1237.283890319

1225.2681968939

1255.1119097126

1236.2675667706

1224.2476000948

1253.0916478002

1237.283890319

1221.183636858

1258.9464165644

1239.1123601135

1223.2266411557

1264.7890029426

1241.142617087

1225.2681968939

1255.1119097126

1243.1714255009

1224.2476000948

1255.9196088808

1255.1119097126

1223.2266411557

1255.1119097126

1258.9464165644

1223.2266411557

1248.0346555711

1258.9464165644

1223.2266411557

1249.0467782967

1261.969964989

1222.2053200768

1255.9196088808

1258.9464165644

1224.2476000948

1255.9196088808

1257.9378428098

1219.3436944715

1252.0809736342

1256.9289069153

1219.3436944715

1243.1714255009

1252.0809736342

1219.3436944715

1246.2119220725

1253.0916478002

1218.320997261

1245.1987853552

1247.0221707056

1216.2745164202

1241.142617087

1243.1714255009

1215.25073279

1241.142617087

1245.1987853552

1217.2979379106

1242.1572023639

1242.1572023639

1217.2979379106

1245.1987853552

1239.1123601135

1219.3436944715

1250.0585388824

1232.1986511781

1215.25073279

1255.1119097126

1228.327814452

1217.2979379106

1259.9546281792

1221.183636858

1219.3436944715

1262.977090184

1212.3822120412

1216.2745164202

1257.9378428098

1215.25073279

1214.2265870199

1254.1019598263

1211.3570522793

1214.2265870199

1252.0809736342

1208.2794001545

1212.3822120412

1259.9546281792

1209.305646336

1209.305646336

1259.9546281792

1208.2794001545

1208.2794001545

1252.0809736342

1206.2258213718

1210.3315303776

1248.0346555711

1205.1984887706

1212.3822120412

1245.1987853552

1204.1707940295

1208.2794001545

1256.9289069153

1201.2913221702

1210.3315303776

1258.9464165644

1204.1707940295

1207.2527918331

1250.0585388824

1202.320030903

1202.320030903

1243.1714255009

1205.1984887706

1203.3483774959

1256.9289069153

1207.2527918331

1204.1707940295

1252.0809736342

1209.305646336

1205.1984887706

1254.1019598263

1209.305646336

1208.2794001545

1253.0916478002

1218.320997261

1207.2527918331

1263.7825295993

1215.25073279

1209.305646336

1261.969964989

1213.2020791099

1206.2258213718

1269.8159375604

1213.2020791099

1202.320030903

1262.977090184

1209.305646336

1200.2622512976

1261.969964989

1210.3315303776

1205.1984887706

1274.6332772631

1212.3822120412

1200.2622512976

1280.4430972236

1210.3315303776

1198.2030231325

1275.6358394955

1210.3315303776

1196.1423464079

1281.4435590446

1215.25073279

1196.1423464079

1289.2347326071

1239.1123601135

1201.2913221702

1295.2129504482

1245.1987853552

1199.232818285

1297.9983238772

1239.1123601135

1199.232818285

1313.4648586638

1217.2979379106

1196.1423464079

1309.7054885974

1206.2258213718

1196.1423464079

1318.4034311473

1204.1707940295

1197.1728658401

1326.0895261979

1196.1423464079

1199.232818285

1329.0398499357

1198.2030231325

1198.2030231325

1312.6738469019

1200.2622512976

1194.2864988373

1317.4164409304

1205.1984887706

1192.2230698494

1316.4290885736

1212.3822120412

1184.1618558101

1311.6847562736

1214.2265870199

1182.0913288803

1304.9493360512

1212.3822120412

1175.0407020934

1302.9651432724

1208.2794001545

1180.0193533909

1299.986138055

1210.3315303776

1180.0193533909

1298.992412036

1203.3483774959

1178.1533369321

1293.2216597274

1198.2030231325

1176.0786091795

1290.232007597

1199.232818285

1169.0136995952

1291.2289204471

1197.1728658401

1166.9325981804

1293.2216597274

1201.2913221702

1162.7660496723

1287.4387250327

1193.2549654133

1155.6696194315

1287.4387250327

1194.2864988373

1154.6246144034

1294.2174861577

1199.232818285

1153.5792472355

1288.4366518745

1209.305646336

1151.6966737406

1291.2289204471

1210.3315303776

1149.6035492814

1289.2347326071

1205.1984887706

1153.5792472355

1290.232007597

1205.1984887706

1158.8024616763

1285.4417849296

1199.232818285

1149.6035492814

1279.6424670261

1201.2913221702

1148.5564438419

1288.4366518745

1194.2864988373

1143.5252967452

1297.0038735784

1200.2622512976

1145.4129546842

1291.2289204471

1194.2864988373

1142.4760908944

1291.2289204471

1194.2864988373

1143.5252967452

1281.4435590446

1198.2030231325

1144.3644006852

1285.4417849296

1208.2794001545

1144.3644006852

1282.4436587257

1214.2265870199

1143.5252967452

1276.638039588

1221.183636858

1149.6035492814

1275.6358394955

1221.183636858

1143.5252967452

1276.638039588

1223.2266411557

1140.376592773

1266.8008632094

1223.2266411557

1141.4265229036

1261.969964989

1224.2476000948

1142.4760908944

1257.9378428098

1224.2476000948

1143.5252967452

1253.0916478002

1228.327814452

1142.4760908944

1257.9378428098

1231.1805169302

1142.4760908944

1262.977090184

1233.2164232861

1141.4265229036

1256.9289069153

1239.1123601135

1139.3263005025

1251.0699373283

1242.1572023639

1137.2246295417

1260.962477654

1246.2119220725

1131.1215921512

1269.8159375604

1245.1987853552

1126.9055029054

1272.6270663787

1245.1987853552

1127.9600684267

1271.8241764282

1252.0809736342

1123.9507928615

1273.6303528909

1251.0699373283

1122.8948512086

1275.6358394955

1255.9196088808

1117.6097108458

1268.8112749166

1256.9289069153

1119.7248534106

1271.8241764282

1255.1119097126

1116.7632482232

1269.8159375604

1252.0809736342

1113.586949191

1270.8202380642

1249.0467782967

1112.5274585671

1261.969964989

1249.0467782967

1103.1883256049

1253.0916478002

1253.0916478002

1103.1883256049

1240.1276696702

1244.185286498

1094.8870128152

1238.096688417

1251.0699373283

1091.6883335375

1218.320997261

1259.9546281792

1087.6319942716

1217.2979379106

1256.9289069153

1080.3602303793

1222.2053200768

1252.0809736342

1064.4755657023

1230.1620205425

1251.0699373283

1058.2288601726

1223.2266411557

1254.1019598263

1059.3067475031

1221.183636858

1256.9289069153

1064.4755657023

1210.3315303776

1253.0916478002

1064.4755657023

1199.232818285

1254.1019598263

1059.3067475031

1191.1908121456

1251.0699373283

1054.9930253417

1191.1908121456

1254.1019598263

1054.1295856008

1202.320030903

1245.1987853552

1047.6463998903

1204.1707940295

1238.096688417

1047.6463998903

1195.3176701213

1239.1123601135

1038.1141449649

1182.0913288803

1232.1986511781

1033.9892743453

1171.9248079957

1233.2164232861

1025.5060514436

1178.9828224364

1238.096688417

1018.0924445973

1187.0581599317

1233.2164232861

1012.6305799657

1186.2309341803

1231.1805169302

1004.0919931169

1181.0555222056

1233.2164232861

997.7285047139

1194.2864988373

1230.1620205425

986.9487216457

1177.1161541257

1230.1620205425

975.0286762714

1169.8457345644

1226.2884315532

962.178615358

1161.7235071955

1222.2053200768

950.1709611003

1166.9325981804

1224.2476000948

944.820667357

1159.8460181448

1224.2476000948

937.0031992704

1145.4129546842

1226.2884315532

925.1315386156

1147.5089762626

1225.2681968939

918.393696131

1133.2274639347

1221.183636858

911.8680559686

1143.5252967452

1223.2266411557

907.5860311203

1139.3263005025

1223.2266411557

899.6844017221

1136.1732508515

1220.3660295422

891.9915415599

1137.2246295417

1221.183636858

880.8753160437

1138.2756460921

1219.3436944715

866.5319209123

1139.3263005025

1219.3436944715

856.4802125217

1139.3263005025

1214.2265870199

846.4004600177

1135.1215100214

1211.3570522793

836.2926634001

1130.0681130496

1215.25073279

819.4610491842

1125.0063723745

1214.2265870199

804.641060636

1116.7632482232

1213.2020791099

789.994684783

1108.2858746727

1214.2265870199

779.731370809

1106.37527155

1213.2020791099

768.2687657261

1099.9981204007

1212.3822120412

762.6417391607

1091.6883335375

1208.2794001545

756.7713807277

1093.8211485292

1210.3315303776

744.2962791232

1086.5636674343

1209.305646336

734.8541648927

1092.7549221033

1208.2794001545

730.3610414568

1083.3565140831

1208.2794001545

722.3076637865

1070.9248551186

1211.3570522793

714.2375407675

1067.70184004

1210.3315303776

711.8607883426

1062.5382366553

1207.2527918331

702.5776128987

1057.1506107022

1202.320030903

693.2724048636

1057.1506107022

1201.2913221702

683.9451642372

1051.9699722569

1201.2913221702

669.7928454323

1044.6164516619

1201.2913221702

660.4102408588

1040.2830290901

1196.1423464079

647.3825688876

1031.8161893973

1198.2030231325

637.9474250582

1036.1609107338

1198.2030231325

629.7039384287

1030.7291037135

1194.2864988373

620.227554108

1025.5060514436

1193.2549654133

610.7291371962

1029.6416558897

1192.2230698494

610.7291371962

1025.5060514436

1191.1908121456

610.7291371962

1022.2374067382

1189.1252103184

613.1667291234

1020.0564995685

1183.1267734151

611.9481142297

1023.3273171133

1184.1618558101

611.9481142297

1031.8161893973

1185.1965760651

614.3849818772

1029.6416558897

1188.091866195

616.5769242415

1031.8161893973

1181.0555222056

619.0110396257

1033.9892743453

1181.0555222056

620.227554108

1033.9892743453

1178.1533369321

621.4437064504

1030.7291037135

1177.1161541257

620.227554108

1030.7291037135

1176.0786091795

621.4437064504

1027.6833372144

1176.0786091795

629.7039384287

1022.2374067382

1174.0024328674

630.9172660799

1013.7236771718

1172.9638015015

626.0617826357

1012.6305799657

1170.8854523499

623.8749247155

1006.2834747716

1174.0024328674

621.4437064504

1002.9957090797

1169.8457345644

621.4437064504

1004.0919931169

1174.0024328674

619.0110396257

999.9241871914

1176.0786091795

615.3593233395

995.5313736769

1178.1533369321

611.9481142297

989.1515020651

1174.0024328674

609.5097980227

985.8467882261

1171.9248079957

605.8496076629

984.7444926667

1158.8024616763

605.8496076629

981.656138516

1152.5335179276

603.6519290027

976.1341586619

1144.3644006852

604.6288199299

970.8245404716

1140.376592773

604.6288199299

968.6097370077

1133.2274639347

607.0700332561

961.0685700048

1126.0615897476

604.6288199299

952.3977876087

1126.0615897476

603.6519290027

953.5106576531

1123.9507928615

603.6519290027

953.5106576531

1120.7818814832

599.9865238285

951.2845554245

1119.7248534106

598.7639978239

949.0570046363

1118.6674631982

598.7639978239

945.7129624047

1117.6097108458

599.9865238285

944.820667357

1120.7818814832

596.3178593952

940.3557155755

1114.6460776749

597.5411096795

934.990125043

1110.4073908997

599.9865238285

932.7519997699

1104.2510030598

597.5411096795

928.2714035449

1105.3133183749

597.5411096795

928.2714035449

1101.0618842753

597.5411096795

926.2532448734

1097.0176549676

594.1150962908

922.8870396803

1093.8211485292

595.0942469709

917.2694548939

1091.6883335375

596.3178593952

915.2449080746

1092.7549221033

596.3178593952

907.5860311203

1091.6883335375

596.3178593952

905.3302334202

1087.6319942716

595.0942469709

903.0729871607

1082.2867386862

594.1150962908

894.2558857615

1101.0618842753

594.1150962908

891.9915415599

1116.7632482232

594.1150962908

890.8588262493

1117.6097108458

597.5411096795

887.6852967954

1119.7248534106

598.7639978239

885.4167517711

1105.3133183749

597.5411096795

884.2819360491

1090.6213828318

598.7639978239

885.4167517711

1090.6213828318

598.7639978239

884.2819360491

1086.5636674343

598.7639978239

875.4179447763

1091.6883335375

597.5411096795

874.2799422233

1088.699958969

598.7639978239

875.4179447763

1086.5636674343

601.2086876931

867.6723860167

1085.4949784571

601.2086876931

864.2499042839

1079.2894409907

604.6288199299

866.5319209123

1073.9300619494

603.6519290027

866.5319209123

1068.7765405394

603.6519290027

861.966439096

1061.4614357445

604.6288199299

860.8241632921

1053.0499599988

605.8496076629

863.1083527599

1048.7278361918

604.6288199299

863.1083527599

1040.2830290901

605.8496076629

863.1083527599

1037.0291596925

607.0700332561

865.3910936681

1035.0752736095

608.2900967093

863.1083527599

1031.8161893973

610.7291371962

859.9100819083

1027.6833372144

611.9481142297

857.6238644572

1022.2374067382

613.1667291234

856.4802125217

1018.9655027738

615.3593233395

856.4802125217

1023.3273171133

617.7941630035

855.3361984464

1015.9087851643

621.4437064504

855.3361984464

1001.8990629027

620.227554108

857.6238644572

993.3327940803

621.4437064504

857.6238644572

984.7444926667

621.4437064504

855.3361984464

975.0286762714

620.227554108

853.0470838761

970.8245404716

620.227554108

855.3361984464

969.7173198096

621.4437064504

851.901983381

963.2882985712

620.227554108

853.0470838761

958.8473928787

615.3593233395

854.1918222312

953.5106576531

615.3593233395

854.1918222312

945.7129624047

616.5769242415

851.901983381

933.8712434764

613.1667291234

850.9856422443

926.2532448734

615.3593233395

850.9856422443

917.2694548939

615.3593233395

856.4802125217

912.9940354772

610.7291371962

855.3361984464

910.7417143202

611.9481142297

851.901983381

905.3302334202

610.7291371962

851.901983381

898.5541489627

608.2900967093

850.9856422443

895.3875146524

602.4304894179

848.6937754108

888.8190260977

601.2086876931

850.9856422443

882.0112181854

598.7639978239

850.9856422443

875.4179447763

598.7639978239

855.3361984464

868.8124889812

597.5411096795

855.3361984464

863.1083527599

597.5411096795

854.1918222312

853.0470838761

596.3178593952

850.9856422443

842.9577708788

596.3178593952

851.901983381

835.1422756626

595.0942469709

851.901983381

828.4628853865

599.9865238285

851.901983381

819.4610491842

601.2086876931

850.9856422443

808.1198189085

597.5411096795

847.5472987842

800.2299546435

589.2158663473

847.5472987842

793.2544035319

590.441217043

849.8398898975

785.3330186105

603.6519290027

846.4004600177

775.0569573122

620.227554108

850.9856422443

770.610897577

636.7361978183

850.9856422443

764.7528519004

654.6253792416

848.6937754108

760.2946822072

677.9545753591

846.4004600177

757.9461766941

697.8084636054

848.6937754108

751.1273191017

710.6718689203

850.9856422443

745.2392158138

723.4930342378

847.5472987842

740.758202336

730.3610414568

847.5472987842

734.8541648927

726.8101449173

848.6937754108

726.8101449173

719.9358364642

849.8398898975

717.5625605823

722.3076637865

851.901983381

705.9125698322

722.3076637865

850.9856422443

695.4217161194

724.6780425493

848.6937754108

692.0778360589

722.3076637865

848.6937754108

683.9451642372

725.6257884577

850.9856422443

681.5500151057

726.8101449173

849.8398898975

679.1534174145

723.4930342378

849.8398898975

676.7553711638

722.3076637865

848.6937754108

674.5958910197

715.1878361408

848.6937754108

669.7928454323

723.4930342378

849.8398898975

667.3891497992

722.3076637865

840.8905929511

664.0215423328

724.6780425493

842.9577708788

661.6143701567

722.3076637865

842.9577708788

661.6143701567

719.9358364642

842.9577708788

661.6143701567

719.9358364642

845.2532591113

659.205749421

717.5625605823

844.105696065

658.0008958434

707.102937814

844.105696065

656.7956801258

709.4825873581

844.105696065

656.7956801258

725.6257884577

845.2532591113

652.2125576832

729.1777714169

842.9577708788

652.2125576832

737.2168662897

840.8905929511

651.0056036941

733.9086787372

844.105696065

648.5906092963

731.5439493568

842.9577708788

643.9981291588

726.8101449173

842.9577708788

641.5789339383

719.9358364642

841.8094835527

640.3687931181

705.9125698322

845.2532591113

640.3687931181

669.7928454323



		0.49

		0.53

		0.57

		0.64

		0.7

		0.83

		0.83

		0



a

Qsum.,J/s

propane supply rate  ,l/min

Average heat supply rate,J/s

273.816254514

251.5184884202

236.9683048215

314.8522075557

309.1143831881

410.6090688327

0



		1		1		1

		2		2		2

		3		3		3

		4		4		4

		5		5		5

		6		6		6

		7		7		7

		8		8		8

		9		9		9

		10		10		10

		11		11		11

		12		12		12

		13		13		13

		14		14		14

		15		15		15

		16		16		16

		17		17		17

		18		18		18

		19		19		19

		20		20		20

		21		21		21

		22		22		22

		23		23		23

		24		24		24

		25		25		25

		26		26		26

		27		27		27

		28		28		28

		29		29		29

		30		30		30

		31		31		31

		32		32		32

		33		33		33

		34		34		34

		35		35		35

		36		36		36

		37		37		37

		38		38		38

		39		39		39

		40		40		40

		41		41		41

		42		42		42

		43		43		43

		44		44		44

		45		45		45

		46		46		46

		47		47		47

		48		48		48

		49		49		49

		50		50		50

		51		51		51

		52		52		52

		53		53		53

		54		54		54

		55		55		55

		56		56		56

		57		57		57

		58		58		58

		59		59		59

		60		60		60

		61		61		61

		62		62		62

		63		63		63

		64		64		64

		65		65		65

		66		66		66

		67		67		67

		68		68		68

		69		69		69

		70		70		70

		71		71		71

		72		72		72

		73		73		73

		74		74		74

		75		75		75

		76		76		76

		77		77		77

		78		78		78

		79		79		79

		80		80		80

		81		81		81

		82		82		82

		83		83		83

		84		84		84

		85		85		85

		86		86		86

		87		87		87

		88		88		88

		89		89		89

		90		90		90

		91		91		91

		92		92		92

		93		93		93

		94		94		94

		95		95		95

		96		96		96

		97		97		97

		98		98		98

		99		99		99

		100		100		100

		101		101		101

		102		102		102

		103		103		103

		104		104		104

		105		105		105

		106		106		106

		107		107		107

		108		108		108

		109		109		109

		110		110		110

		111		111		111

		112		112		112

		113		113		113

		114		114		114

		115		115		115

		116		116		116

		117		117		117

		118		118		118

		119		119		119

		120		120		120

		121		121		121

		122		122		122

		123		123		123

		124		124		124

		125		125		125

		126		126		126

		127		127		127

		128		128		128

		129		129		129

		130		130		130

		131		131		131

		132		132		132

		133		133		133

		134		134		134

		135		135		135

		136		136		136

		137		137		137

		138		138		138

		139		139		139

		140		140		140

		141		141		141

		142		142		142

		143		143		143

		144		144		144

		145		145		145

		146		146		146

		147		147		147

		148		148		148

		149		149		149

		150		150		150

		151		151		151

		152		152		152

		153		153		153

		154		154		154

		155		155		155

		156		156		156

		157		157		157

		158		158		158

		159		159		159

		160		160		160

		161		161		161

		162		162		162

		163		163		163

		164		164		164

		165		165		165

		166		166		166

		167		167		167

		168		168		168

		169		169		169

		170		170		170

		171		171		171

		172		172		172

		173		173		173

		174		174		174

		175		175		175

		176		176		176

		177		177		177

		178		178		178

		179		179		179

		180		180		180

		181		181		181

		182		182		182

		183		183		183

		184		184		184

		185		185		185

		186		186		186

		187		187		187

		188		188		188

		189		189		189

		190		190		190

		191		191		191

		192		192		192

		193		193		193

		194		194		194

		195		195		195

		196		196		196

		197		197		197

		198		198		198

		199		199		199

		200		200		200

		201		201		201

		202		202		202

		203		203		203

		204		204		204

		205		205		205

		206		206		206

		207		207		207

		208		208		208

		209		209		209

		210		210		210

		211		211		211

		212		212		212

		213		213		213

		214		214		214

		215		215		215

		216		216		216

		217		217		217

		218		218		218

		219		219		219

		220		220		220

		221		221		221

		222		222		222

		223		223		223

		224		224		224

		225		225		225

		226		226		226

		227		227		227

		228		228		228

		229		229		229

		230		230		230

		231		231		231

		232		232		232

		233		233		233

		234		234		234

		235		235		235

		236		236		236

		237		237		237

		238		238		238

		239		239		239

		240		240		240

		241		241		241

		242		242		242

		243		243		243

		244		244		244

		245		245		245

		246		246		246

		247		247		247

		248		248		248

		249		249		249

		250		250		250

		251		251		251

		252		252		252

		253		253		253

		254		254		254

		255		255		255

		256		256		256

		257		257		257

		258		258		258

		259		259		259

		260		260		260

		261		261		261

		262		262		262

		263		263		263

		264		264		264

		265		265		265

		266		266		266

		267		267		267

		268		268		268

		269		269		269

		270		270		270

		271		271		271

		272		272		272

		273		273		273

		274		274		274

		275		275		275

		276		276		276

		277		277		277

		278		278		278

		279		279		279

		280		280		280

		281		281		281

		282		282		282

		283		283		283

		284		284		284

		285		285		285

		286		286		286

		287		287		287

		288		288		288

		289		289		289

		290		290		290

		291		291		291

		292		292		292

		293		293		293

		294		294		294

		295		295		295

		296		296		296

		297		297		297

		298		298		298

		299		299		299

		300		300		300

		301		301		301

		302		302		302

		303		303		303

		304		304		304

		305		305		305

		306		306		306

		307		307		307

		308		308		308

		309		309		309

		310		310		310

		311		311		311

		312		312		312

		313		313		313

		314		314		314

		315		315		315

		316		316		316

		317		317		317

		318		318		318

		319		319		319

		320		320		320

		321		321		321

		322		322		322

		323		323		323

		324		324		324

		325		325		325

		326		326		326

		327		327		327

		328		328		328

		329		329		329

		330		330		330

		331		331		331

		332		332		332

		333		333		333

		334		334		334

		335		335		335

		336		336		336

		337		337		337

		338		338		338

		339		339		339

		340		340		340

		341		341		341

		342		342		342

		343		343		343

		344		344		344

		345		345		345

		346		346		346

		347		347		347

		348		348		348

		349		349		349

		350		350		350

		351		351		351

		352		352		352

		353		353		353

		354		354		354

		355		355		355

		356		356		356

		357		357		357

		358		358		358

		359		359		359

		360		360		360

		361		361		361

		362		362		362

		363		363		363

		364		364		364

		365		365		365

		366		366		366

		367		367		367

		368		368		368

		369		369		369

		370		370		370

		371		371		371

		372		372		372

		373		373		373

		374		374		374

		375		375		375

		376		376		376

		377		377		377

		378		378		378

		379		379		379

		380		380		380

		381		381		381

		382		382		382

		383		383		383

		384		384		384

		385		385		385

		386		386		386

		387		387		387

		388		388		388

		389		389		389

		390		390		390

		391		391		391

		392		392		392

		393		393		393

		394		394		394

		395		395		395

		396		396		396

		397		397		397

		398		398		398

		399		399		399

		400		400		400

		401		401		401

		402		402		402

		403		403		403

		404		404		404

		405		405		405

		406		406		406

		407		407		407

		408		408		408

		409		409		409

		410		410		410

		411		411		411

		412		412		412

		413		413		413

		414		414		414

		415		415		415

		416		416		416

		417		417		417

		418		418		418

		419		419		419

		420		420		420

		421		421		421

		422		422		422

		423		423		423

		424		424		424

		425		425		425

		426		426		426

		427		427		427

		428		428		428

		429		429		429

		430		430		430

		431		431		431

		432		432		432

		433		433		433

		434		434		434

		435		435		435

		436		436		436

		437		437		437

		438		438		438

		439		439		439

		440		440		440

		441		441		441

		442		442		442

		443		443		443

		444		444		444

		445		445		445

		446		446		446

		447		447		447

		448		448		448

		449		449		449

		450		450		450

		451		451		451

		452		452		452

		453		453		453

		454		454		454

		455		455		455

		456		456		456

		457		457		457

		458		458		458

		459		459		459

		460		460		460

		461		461		461

		462		462		462

		463		463		463

		464		464		464

		465		465		465

		466		466		466

		467		467		467

		468		468		468

		469		469		469

		470		470		470

		471		471		471

		472		472		472

		473		473		473

		474		474		474

		475		475		475

		476		476		476

		477		477		477

		478		478		478

		479		479		479

		480		480		480

		481		481		481

		482		482		482

		483		483		483

		484		484		484

		485		485		485

		486		486		486

		487		487		487

		488		488		488

		489		489		489

		490		490		490

		491		491		491

		492		492		492

		493		493		493

		494		494		494

		495		495		495

		496		496		496

		497		497		497

		498		498		498

		499		499		499

		500		500		500

		501		501		501

		502		502		502

		503		503		503

		504		504		504

		505		505		505

		506		506		506

		507		507		507

		508		508		508

		509		509		509

		510		510		510

		511		511		511

		512		512		512

		513		513		513

		514		514		514

		515		515		515

		516		516		516

		517		517		517

		518		518		518

		519		519		519

		520		520		520

		521		521		521

		522		522		522

		523		523		523

		524		524		524

		525		525		525

		526		526		526

		527		527		527

		528		528		528

		529		529		529

		530		530		530

		531		531		531

		532		532		532

		533		533		533

		534		534		534

		535		535		535

		536		536		536

		537		537		537

		538		538		538

		539		539		539

		540		540		540

		541		541		541

		542		542		542

		543		543		543

		544		544		544

		545		545		545

		546		546		546

		547		547		547

		548		548		548

		549		549		549

		550		550		550

		551		551		551

		552		552		552

		553		553		553

		554		554		554

		555		555		555

		556		556		556

		557		557		557

		558		558		558

		559		559		559

		560		560		560

		561		561		561

		562		562		562

		563		563		563

		564		564		564

		565		565		565

		566		566		566

		567		567		567

		568		568		568

		569		569		569

		570		570		570

		571		571		571

		572		572		572

		573		573		573

		574		574		574

		575		575		575

		576		576		576

		577		577		577

		578		578		578

		579		579		579

		580		580		580

		581		581		581

		582		582		582

		583		583		583

		584		584		584

		585		585		585

		586		586		586

		587		587		587

		588		588		588

		589		589		589

		590		590		590

		591		591		591

		592		592		592

		593		593		593

		594		594		594

		595		595		595

		596		596		596

		597		597		597

		598		598		598

		599		599		599

		600		600		600

		601		601		601

		602		602		602

		603		603		603

		604		604		604

		605		605		605

		606		606		606

		607		607		607

		608		608		608

		609		609		609

		610		610		610

		611		611		611

		612		612		612

		613		613		613

		614		614		614

		615		615		615

		616		616		616

		617		617		617

		618		618		618

		619		619		619

		620		620		620

		621		621		621

		622		622		622

		623		623		623

		624		624		624

		625		625		625

		626		626		626

		627		627		627

		628		628		628

		629		629		629

		630		630		630

		631		631		631

		632		632		632

		633		633		633

		634		634		634

		635		635		635

		636		636		636

		637		637		637

		638		638		638

		639		639		639

		640		640		640

		641		641		641

		642		642		642

		643		643		643

		644		644		644

		645		645		645

		646		646		646

		647		647		647

		648		648		648

		649		649		649

		650		650		650

		651		651		651

		652		652		652

		653		653		653

		654		654		654

		655		655		655

		656		656		656

		657		657		657

		658		658		658

		659		659		659

		660		660		660

		661		661		661

		662		662		662

		663		663		663

		664		664		664

		665		665		665

		666		666		666

		667		667		667

		668		668		668

		669		669		669

		670		670		670

		671		671		671

		672		672		672

		673		673		673

		674		674		674

		675		675		675

		676		676		676

		677		677		677

		678		678		678

		679		679		679

		680		680		680

		681		681		681

		682		682		682

		683		683		683

		684		684		684

		685		685		685

		686		686		686

		687		687		687

		688		688		688

		689		689		689

		690		690		690

		691		691		691

		692		692		692

		693		693		693

		694		694		694

		695		695		695

		696		696		696

		697		697		697

		698		698		698

		699		699		699

		700		700		700

		701		701		701

		702		702		702

		703		703		703

		704		704		704

		705		705		705

		706		706		706

		707		707		707

		708		708		708

		709		709		709

		710		710		710

		711		711		711

		712		712		712

		713		713		713

		714		714		714

		715		715		715

		716		716		716

		717		717		717

		718		718		718

		719		719		719

		720		720		720

		721		721		721

		722		722		722

		723		723		723

		724		724		724

		725		725		725

		726		726		726

		727		727		727

		728		728		728

		729		729		729

		730		730		730

		731		731		731

		732		732		732

		733		733		733

		734		734		734

		735		735		735

		736		736		736

		737		737		737

		738		738		738

		739		739		739

		740		740		740

		741		741		741

		742		742		742

		743		743		743

		744		744		744

		745		745		745

		746		746		746

		747		747		747

		748		748		748

		749		749		749

		750		750		750

		751		751		751

		752		752		752

		753		753		753

		754		754		754

		755		755		755

		756		756		756

		757		757		757

		758		758		758

		759		759		759

		760		760		760

		761		761		761

		762		762		762

		763		763		763

		764		764		764

		765		765		765

		766		766		766

		767		767		767

		768		768		768

		769		769		769

		770		770		770

		771		771		771

		772		772		772

		773		773		773

		774		774		774

		775		775		775

		776		776		776

		777		777		777

		778		778		778

		779		779		779

		780		780		780

		781		781		781

		782		782		782

		783		783		783

		784		784		784

		785		785		785

		786		786		786

		787		787		787

		788		788		788

		789		789		789

		790		790		790

		791		791		791

		792		792		792

		793		793		793

		794		794		794

		795		795		795

		796		796		796

		797		797		797

		798		798		798

		799		799		799

		800		800		800

		801		801		801

		802		802		802

		803		803		803

		804		804		804

		805		805		805

		806		806		806

		807		807		807

		808		808		808

		809		809		809

		810		810		810

		811		811		811

		812		812		812

		813		813		813

		814		814		814

		815		815		815

		816		816		816

		817		817		817

		818		818		818

		819		819		819

		820		820		820

		821		821		821

		822		822		822

		823		823		823

		824		824		824

		825		825		825

		826		826		826

		827		827		827

		828		828		828

		829		829		829

		830		830		830

		831		831		831

		832		832		832

		833		833		833

		834		834		834

		835		835		835

		836		836		836

		837		837		837

		838		838		838

		839		839		839

		840		840		840

		841		841		841

		842		842		842

		843		843		843

		844		844		844

		845		845		845

		846		846		846

		847		847		847

		848		848		848

		849		849		849

		850		850		850

		851		851		851

		852		852		852

		853		853		853

		854		854		854

		855		855		855

		856		856		856

		857		857		857

		858		858		858

		859		859		859

		860		860		860

		861		861		861

		862		862		862

		863		863		863

		864		864		864

		865		865		865

		866		866		866

		867		867		867

		868		868		868

		869		869		869

		870		870		870

		871		871		871

		872		872		872

		873		873		873

		874		874		874

		875		875		875

		876		876		876

		877		877		877

		878		878		878

		879		879		879

		880		880		880

		881		881		881

		882		882		882

		883		883		883

		884		884		884

		885		885		885

		886		886		886

		887		887		887

		888		888		888

		889		889		889

		890		890		890

		891		891		891

		892		892		892

		893		893		893

		894		894		894

		895		895		895

		896		896		896

		897		897		897

		898		898		898

		899		899		899

		900		900		900

		901		901		901

		902		902		902

		903		903		903

		904		904		904

		905		905		905

		906		906		906

		907		907		907

		908		908		908

		909		909		909

		910		910		910

		911		911		911

		912		912		912

		913		913		913

		914		914		914

		915		915		915

		916		916		916

		917		917		917

		918		918		918

		919		919		919

		920		920		920

		921		921		921

		922		922		922

		923		923		923

		924		924		924

		925		925		925

		926		926		926

		927		927		927

		928		928		928

		929		929		929

		930		930		930

		931		931		931

		932		932		932

		933		933		933

		934		934		934

		935		935		935

		936		936		936

		937		937		937

		938		938		938

		939		939		939

		940		940		940

		941		941		941

		942		942		942

		943		943		943

		944		944		944

		945		945		945

		946		946		946

		947		947		947

		948		948		948

		949		949		949

		950		950		950

		951		951		951

		952		952		952

		953		953		953

		954		954		954

		955		955		955

		956		956		956

		957		957		957

		958		958		958

		959		959		959

		960		960		960

		961		961		961

		962		962		962

		963		963		963

		964		964		964

		965		965		965

		966		966		966

		967		967		967

		968		968		968

		969		969		969

		970		970		970

		971		971		971

		972		972		972

		973		973		973

		974		974		974

		975		975		975

		976		976		976

		977		977		977

		978		978		978

		979		979		979

		980		980		980

		981		981		981

		982		982		982

		983		983		983

		984		984		984

		985		985		985

		986		986		986

		987		987		987

		988		988		988

		989		989		989

		990		990		990

		991		991		991

		992		992		992

		993		993		993

		994		994		994

		995		995		995

		996		996		996

		997		997		997

		998		998		998

		999		999		999

		1000		1000		1000

		1001		1001		1001

		1002		1002		1002

		1003		1003		1003

		1004		1004		1004

		1005		1005		1005

		1006		1006		1006

		1007		1007		1007

		1008		1008		1008

		1009		1009		1009

		1010		1010		1010

		1011		1011		1011

		1012		1012		1012

		1013		1013		1013

		1014		1014		1014

		1015		1015		1015

		1016		1016		1016

		1017		1017		1017

		1018		1018		1018

		1019		1019		1019

		1020		1020		1020

		1021		1021		1021

		1022		1022		1022

		1023		1023		1023

		1024		1024		1024

		1025		1025		1025

		1026		1026		1026

		1027		1027		1027

		1028		1028		1028

		1029		1029		1029

		1030		1030		1030

		1031		1031		1031

		1032		1032		1032

		1033		1033		1033

		1034		1034		1034

		1035		1035		1035

		1036		1036		1036

		1037		1037		1037

		1038		1038		1038

		1039		1039		1039

		1040		1040		1040

		1041		1041		1041

		1042		1042		1042

		1043		1043		1043

		1044		1044		1044

		1045		1045		1045

		1046		1046		1046

		1047		1047		1047

		1048		1048		1048

		1049		1049		1049

		1050		1050		1050

		1051		1051		1051

		1052		1052		1052

		1053		1053		1053

		1054		1054		1054

		1055		1055		1055

		1056		1056		1056

		1057		1057		1057

		1058		1058		1058

		1059		1059		1059

		1060		1060		1060

		1061		1061		1061

		1062		1062		1062

		1063		1063		1063

		1064		1064		1064

		1065		1065		1065

		1066		1066		1066

		1067		1067		1067

		1068		1068		1068

		1069		1069		1069

		1070		1070		1070

		1071		1071		1071

		1072		1072		1072

		1073		1073		1073

		1074		1074		1074

		1075		1075		1075

		1076		1076		1076

		1077		1077		1077

		1078		1078		1078

		1079		1079		1079

		1080		1080		1080

		1081		1081		1081

		1082		1082		1082

		1083		1083		1083

		1084		1084		1084

		1085		1085		1085

		1086		1086		1086

		1087		1087		1087

		1088		1088		1088

		1089		1089		1089

		1090		1090		1090

		1091		1091		1091

		1092		1092		1092

		1093		1093		1093

		1094		1094		1094

		1095		1095		1095

		1096		1096		1096

		1097		1097		1097

		1098		1098		1098

		1099		1099		1099

		1100		1100		1100

		1101		1101		1101

		1102		1102		1102

		1103		1103		1103

		1104		1104		1104

		1105		1105		1105

		1106		1106		1106

		1107		1107		1107

		1108		1108		1108

		1109		1109		1109

		1110		1110		1110

		1111		1111		1111

		1112		1112		1112

		1113		1113		1113

		1114		1114		1114

		1115		1115		1115

		1116		1116		1116

		1117		1117		1117

		1118		1118		1118

		1119		1119		1119

		1120		1120		1120

		1121		1121		1121

		1122		1122		1122

		1123		1123		1123

		1124		1124		1124

		1125		1125		1125

		1126		1126		1126

		1127		1127		1127

		1128		1128		1128

		1129		1129		1129

		1130		1130		1130

		1131		1131		1131

		1132		1132		1132

		1133		1133		1133

		1134		1134		1134

		1135		1135		1135

		1136		1136		1136

		1137		1137		1137

		1138		1138		1138

		1139		1139		1139

		1140		1140		1140

		1141		1141		1141

		1142		1142		1142

		1143		1143		1143

		1144		1144		1144

		1145		1145		1145

		1146		1146		1146

		1147		1147		1147

		1148		1148		1148

		1149		1149		1149

		1150		1150		1150

		1151		1151		1151

		1152		1152		1152

		1153		1153		1153

		1154		1154		1154

		1155		1155		1155

		1156		1156		1156

		1157		1157		1157

		1158		1158		1158

		1159		1159		1159

		1160		1160		1160

		1161		1161		1161

		1162		1162		1162

		1163		1163		1163

		1164		1164		1164

		1165		1165		1165

		1166		1166		1166

		1167		1167		1167

		1168		1168		1168

		1169		1169		1169

		1170		1170		1170

		1171		1171		1171

		1172		1172		1172

		1173		1173		1173

		1174		1174		1174

		1175		1175		1175

		1176		1176		1176

		1177		1177		1177

		1178		1178		1178

		1179		1179		1179

		1180		1180		1180

		1181		1181		1181

		1182		1182		1182

		1183		1183		1183

		1184		1184		1184

		1185		1185		1185

		1186		1186		1186

		1187		1187		1187

		1188		1188		1188

		1189		1189		1189

		1190		1190		1190

		1191		1191		1191

		1192		1192		1192

		1193		1193		1193

		1194		1194		1194

		1195		1195		1195

		1196		1196		1196

		1197		1197		1197

		1198		1198		1198

		1199		1199		1199

		1200		1200		1200

		1201		1201		1201

		1202		1202		1202

		1203		1203		1203

		1204		1204		1204

		1205		1205		1205

		1206		1206		1206

		1207		1207		1207

		1208		1208		1208

		1209		1209		1209

		1210		1210		1210

		1211		1211		1211

		1212		1212		1212

		1213		1213		1213

		1214		1214		1214

		1215		1215		1215

		1216		1216		1216

		1217		1217		1217

		1218		1218		1218

		1219		1219		1219

		1220		1220		1220

		1221		1221		1221

		1222		1222		1222

		1223		1223		1223

		1224		1224		1224

		1225		1225		1225

		1226		1226		1226

		1227		1227		1227

		1228		1228		1228

		1229		1229		1229

		1230		1230		1230

		1231		1231		1231

		1232		1232		1232

		1233		1233		1233

		1234		1234		1234

		1235		1235		1235

		1236		1236		1236

		1237		1237		1237

		1238		1238		1238

		1239		1239		1239

		1240		1240		1240

		1241		1241		1241

		1242		1242		1242

		1243		1243		1243

		1244		1244		1244

		1245		1245		1245

		1246		1246		1246

		1247		1247		1247

		1248		1248		1248

		1249		1249		1249

		1250		1250		1250

		1251		1251		1251

		1252		1252		1252

		1253		1253		1253

		1254		1254		1254

		1255		1255		1255

		1256		1256		1256

		1257		1257		1257

		1258		1258		1258

		1259		1259		1259

		1260		1260		1260

		1261		1261		1261

		1262		1262		1262

		1263		1263		1263

		1264		1264		1264

		1265		1265		1265

		1266		1266		1266

		1267		1267		1267

		1268		1268		1268

		1269		1269		1269

		1270		1270		1270

		1271		1271		1271

		1272		1272		1272

		1273		1273		1273

		1274		1274		1274

		1275		1275		1275

		1276		1276		1276

		1277		1277		1277

		1278		1278		1278

		1279		1279		1279

		1280		1280		1280

		1281		1281		1281

		1282		1282		1282

		1283		1283		1283

		1284		1284		1284

		1285		1285		1285

		1286		1286		1286

		1287		1287		1287

		1288		1288		1288

		1289		1289		1289

		1290		1290		1290

		1291		1291		1291

		1292		1292		1292

		1293		1293		1293

		1294		1294		1294

		1295		1295		1295

		1296		1296		1296

		1297		1297		1297

		1298		1298		1298

		1299		1299		1299

		1300		1300		1300

		1301		1301		1301

		1302		1302		1302

		1303		1303		1303

		1304		1304		1304

		1305		1305		1305

		1306		1306		1306

		1307		1307		1307

		1308		1308		1308

		1309		1309		1309

		1310		1310		1310

		1311		1311		1311

		1312		1312		1312

		1313		1313		1313

		1314		1314		1314

		1315		1315		1315

		1316		1316		1316

		1317		1317		1317

		1318		1318		1318

		1319		1319		1319

		1320		1320		1320

		1321		1321		1321

		1322		1322		1322

		1323		1323		1323

		1324		1324		1324

		1325		1325		1325

		1326		1326		1326

		1327		1327		1327

		1328		1328		1328

		1329		1329		1329

		1330		1330		1330

		1331		1331		1331

		1332		1332		1332

		1333		1333		1333

		1334		1334		1334

		1335		1335		1335

		1336		1336		1336

		1337		1337		1337

		1338		1338		1338

		1339		1339		1339

		1340		1340		1340

		1341		1341		1341

		1342		1342		1342

		1343		1343		1343

		1344		1344		1344

		1345		1345		1345

		1346		1346		1346

		1347		1347		1347

		1348		1348		1348

		1349		1349		1349

		1350		1350		1350

		1351		1351		1351

		1352		1352		1352

		1353		1353		1353

		1354		1354		1354

		1355		1355		1355

		1356		1356		1356

		1357		1357		1357

		1358		1358		1358

		1359		1359		1359

		1360		1360		1360

		1361		1361		1361

		1362		1362		1362

		1363		1363		1363

		1364		1364		1364

		1365		1365		1365

		1366		1366		1366

		1367		1367		1367

		1368		1368		1368

		1369		1369		1369

		1370		1370		1370

		1371		1371		1371

		1372		1372		1372

		1373		1373		1373

		1374		1374		1374

		1375		1375		1375

		1376		1376		1376

		1377		1377		1377

		1378		1378		1378

		1379		1379		1379

		1380		1380		1380

		1381		1381		1381

		1382		1382		1382

		1383		1383		1383

		1384		1384		1384

		1385		1385		1385

		1386		1386		1386

		1387		1387		1387

		1388		1388		1388

		1389		1389		1389

		1390		1390		1390

		1391		1391		1391

		1392		1392		1392

		1393		1393		1393

		1394		1394		1394

		1395		1395		1395

		1396		1396		1396

		1397		1397		1397

		1398		1398		1398

		1399		1399		1399

		1400		1400		1400

		1401		1401		1401

		1402		1402		1402

		1403		1403		1403

		1404		1404		1404

		1405		1405		1405

		1406		1406		1406

		1407		1407		1407

		1408		1408		1408

		1409		1409		1409

		1410		1410		1410

		1411		1411		1411

		1412		1412		1412

		1413		1413		1413

		1414		1414		1414

		1415		1415		1415

		1416		1416		1416

		1417		1417		1417

		1418		1418		1418

		1419		1419		1419

		1420		1420		1420

		1421		1421		1421

		1422		1422		1422

		1423		1423		1423

		1424		1424		1424

		1425		1425		1425

		1426		1426		1426

		1427		1427		1427

		1428		1428		1428

		1429		1429		1429

		1430		1430		1430

		1431		1431		1431

		1432		1432		1432

		1433		1433		1433

		1434		1434		1434

		1435		1435		1435

		1436		1436		1436

		1437		1437		1437

		1438		1438		1438

		1439		1439		1439

		1440		1440		1440

		1441		1441		1441

		1442		1442		1442

		1443		1443		1443

		1444		1444		1444

		1445		1445		1445

		1446		1446		1446

		1447		1447		1447

		1448		1448		1448

		1449		1449		1449

		1450		1450		1450

		1451		1451		1451

		1452		1452		1452

		1453		1453		1453

		1454		1454		1454

		1455		1455		1455

		1456		1456		1456

		1457		1457		1457

		1458		1458		1458

		1459		1459		1459

		1460		1460		1460

		1461		1461		1461

		1462		1462		1462

		1463		1463		1463

		1464		1464		1464

		1465		1465		1465

		1466		1466		1466

		1467		1467		1467

		1468		1468		1468

		1469		1469		1469

		1470		1470		1470

		1471		1471		1471

		1472		1472		1472

		1473		1473		1473

		1474		1474		1474

		1475		1475		1475

		1476		1476		1476

		1477		1477		1477

		1478		1478		1478

		1479		1479		1479

		1480		1480		1480

		1481		1481		1481

		1482		1482		1482

		1483		1483		1483

		1484		1484		1484

		1485		1485		1485

		1486		1486		1486

		1487		1487		1487

		1488		1488		1488

		1489		1489		1489

		1490		1490		1490

		1491		1491		1491

		1492		1492		1492

		1493		1493		1493

		1494		1494		1494

		1495		1495		1495

		1496		1496		1496

		1497		1497		1497

		1498		1498		1498

		1499		1499		1499

		1500		1500		1500

		1501		1501		1501

		1502		1502		1502

		1503		1503		1503

		1504		1504		1504

		1505		1505		1505

		1506		1506		1506

		1507		1507		1507

		1508		1508		1508

		1509		1509		1509

		1510		1510		1510

		1511		1511		1511

		1512		1512		1512

		1513		1513		1513

		1514		1514		1514

		1515		1515		1515

		1516		1516		1516

		1517		1517		1517

		1518		1518		1518

		1519		1519		1519

		1520		1520		1520

		1521		1521		1521

		1522		1522		1522

		1523		1523		1523

		1524		1524		1524

		1525		1525		1525

		1526		1526		1526

		1527		1527		1527

		1528		1528		1528

		1529		1529		1529

		1530		1530		1530

		1531		1531		1531

		1532		1532		1532

		1533		1533		1533

		1534		1534		1534

		1535		1535		1535

		1536		1536		1536

		1537		1537		1537

		1538		1538		1538

		1539		1539		1539

		1540		1540		1540

		1541		1541		1541

		1542		1542		1542

		1543		1543		1543

		1544		1544		1544

		1545		1545		1545

		1546		1546		1546

		1547		1547		1547

		1548		1548		1548

		1549		1549		1549

		1550		1550		1550

		1551		1551		1551

		1552		1552		1552

		1553		1553		1553

		1554		1554		1554

		1555		1555		1555

		1556		1556		1556

		1557		1557		1557

		1558		1558		1558

		1559		1559		1559

		1560		1560		1560

		1561		1561		1561

		1562		1562		1562

		1563		1563		1563

		1564		1564		1564

		1565		1565		1565

		1566		1566		1566

		1567		1567		1567

		1568		1568		1568

		1569		1569		1569

		1570		1570		1570

		1571		1571		1571

		1572		1572		1572

		1573		1573		1573

		1574		1574		1574

		1575		1575		1575

		1576		1576		1576

		1577		1577		1577

		1578		1578		1578

		1579		1579		1579

		1580		1580		1580

		1581		1581		1581

		1582		1582		1582

		1583		1583		1583

		1584		1584		1584

		1585		1585		1585

		1586		1586		1586

		1587		1587		1587

		1588		1588		1588

		1589		1589		1589

		1590		1590		1590

		1591		1591		1591

		1592		1592		1592

		1593		1593		1593

		1594		1594		1594

		1595		1595		1595

		1596		1596		1596

		1597		1597		1597

		1598		1598		1598

		1599		1599		1599

		1600		1600		1600

		1601		1601		1601

		1602		1602		1602

		1603		1603		1603

		1604		1604		1604

		1605		1605		1605

		1606		1606		1606

		1607		1607		1607

		1608		1608		1608

		1609		1609		1609

		1610		1610		1610

		1611		1611		1611

		1612		1612		1612

		1613		1613		1613

		1614		1614		1614

		1615		1615		1615

		1616		1616		1616

		1617		1617		1617

		1618		1618		1618

		1619		1619		1619

		1620		1620		1620

		1621		1621		1621

		1622		1622		1622

		1623		1623		1623

		1624		1624		1624

		1625		1625		1625

		1626		1626		1626

		1627		1627		1627

		1628		1628		1628

		1629		1629		1629

		1630		1630		1630

		1631		1631		1631

		1632		1632		1632

		1633		1633		1633

		1634		1634		1634

		1635		1635		1635

		1636		1636		1636

		1637		1637		1637

		1638		1638		1638

		1639		1639		1639

		1640		1640		1640

		1641		1641		1641

		1642		1642		1642

		1643		1643		1643

		1644		1644		1644

		1645		1645		1645

		1646		1646		1646

		1647		1647		1647

		1648		1648		1648

		1649		1649		1649

		1650		1650		1650

		1651		1651		1651

		1652		1652		1652

		1653		1653		1653

		1654		1654		1654

		1655		1655		1655

		1656		1656		1656

		1657		1657		1657

		1658		1658		1658

		1659		1659		1659

		1660		1660		1660

		1661		1661		1661

		1662		1662		1662

		1663		1663		1663

		1664		1664		1664

		1665		1665		1665

		1666		1666		1666

		1667		1667		1667

		1668		1668		1668

		1669		1669		1669

		1670		1670		1670

		1671		1671		1671

		1672		1672		1672

		1673		1673		1673

		1674		1674		1674

		1675		1675		1675

		1676		1676		1676

		1677		1677		1677

		1678		1678		1678

		1679		1679		1679

		1680		1680		1680

		1681		1681		1681

		1682		1682		1682

		1683		1683		1683

		1684		1684		1684

		1685		1685		1685

		1686		1686		1686

		1687		1687		1687

		1688		1688		1688

		1689		1689		1689

		1690		1690		1690

		1691		1691		1691

		1692		1692		1692

		1693		1693		1693

		1694		1694		1694

		1695		1695		1695

		1696		1696		1696

		1697		1697		1697

		1698		1698		1698

		1699		1699		1699

		1700		1700		1700

		1701		1701		1701

		1702		1702		1702

		1703		1703		1703

		1704		1704		1704

		1705		1705		1705

		1706		1706		1706

		1707		1707		1707

		1708		1708		1708

		1709		1709		1709

		1710		1710		1710

		1711		1711		1711

		1712		1712		1712

		1713		1713		1713

		1714		1714		1714

		1715		1715		1715

		1716		1716		1716

		1717		1717		1717

		1718		1718		1718

		1719		1719		1719

		1720		1720		1720

		1721		1721		1721

		1722		1722		1722

		1723		1723		1723

		1724		1724		1724

		1725		1725		1725

		1726		1726		1726

		1727		1727		1727

		1728		1728		1728

		1729		1729		1729

		1730		1730		1730

		1731		1731		1731

		1732		1732		1732

		1733		1733		1733

		1734		1734		1734

		1735		1735		1735

		1736		1736		1736

		1737		1737		1737

		1738		1738		1738

		1739		1739		1739

		1740		1740		1740

		1741		1741		1741

		1742		1742		1742

		1743		1743		1743

		1744		1744		1744

		1745		1745		1745

		1746		1746		1746

		1747		1747		1747

		1748		1748		1748

		1749		1749		1749

		1750		1750		1750

		1751		1751		1751

		1752		1752		1752

		1753		1753		1753

		1754		1754		1754

		1755		1755		1755

		1756		1756		1756

		1757		1757		1757

		1758		1758		1758

		1759		1759		1759

		1760		1760		1760

		1761		1761		1761

		1762		1762		1762

		1763		1763		1763

		1764		1764		1764

		1765		1765		1765

		1766		1766		1766

		1767		1767		1767

		1768		1768		1768

		1769		1769		1769

		1770		1770		1770

		1771		1771		1771

		1772		1772		1772

		1773		1773		1773

		1774		1774		1774

		1775		1775		1775

		1776		1776		1776

		1777		1777		1777

		1778		1778		1778

		1779		1779		1779

		1780		1780		1780

		1781		1781		1781

		1782		1782		1782

		1783		1783		1783

		1784		1784		1784

		1785		1785		1785

		1786		1786		1786

		1787		1787		1787

		1788		1788		1788

		1789		1789		1789

		1790		1790		1790

		1791		1791		1791

		1792		1792		1792

		1793		1793		1793

		1794		1794		1794

		1795		1795		1795

		1796		1796		1796

		1797		1797		1797

		1798		1798		1798

		1799		1799		1799

		1800		1800		1800

		1801		1801		1801

		1802		1802		1802

		1803		1803		1803

		1804		1804		1804

		1805		1805		1805

		1806		1806		1806

		1807		1807		1807

		1808		1808		1808

		1809		1809		1809

		1810		1810		1810

		1811		1811		1811

		1812		1812		1812

		1813		1813		1813

		1814		1814		1814

		1815		1815		1815

		1816		1816		1816

		1817		1817		1817

		1818		1818		1818

		1819		1819		1819

		1820		1820		1820

		1821		1821		1821

		1822		1822		1822

		1823		1823		1823

		1824		1824		1824

		1825		1825		1825

		1826		1826		1826

		1827		1827		1827

		1828		1828		1828

		1829		1829		1829

		1830		1830		1830

		1831		1831		1831

		1832		1832		1832

		1833		1833		1833

		1834		1834		1834

		1835		1835		1835

		1836		1836		1836

		1837		1837		1837

		1838		1838		1838

		1839		1839		1839

		1840		1840		1840

		1841		1841		1841

		1842		1842		1842

		1843		1843		1843

		1844		1844		1844

		1845		1845		1845

		1846		1846		1846

		1847		1847		1847

		1848		1848		1848

		1849		1849		1849

		1850		1850		1850

		1851		1851		1851

		1852		1852		1852

		1853		1853		1853

		1854		1854		1854

		1855		1855		1855

		1856		1856		1856

		1857		1857		1857

		1858		1858		1858

		1859		1859		1859

		1860		1860		1860

		1861		1861		1861

		1862		1862		1862

		1863		1863		1863

		1864		1864		1864

		1865		1865		1865

		1866		1866		1866

		1867		1867		1867

		1868		1868		1868

		1869		1869		1869

		1870		1870		1870

		1871		1871		1871

		1872		1872		1872

		1873		1873		1873

		1874		1874		1874

		1875		1875		1875

		1876		1876		1876

		1877		1877		1877

		1878		1878		1878

		1879		1879		1879

		1880		1880		1880

		1881		1881		1881

		1882		1882		1882

		1883		1883		1883

		1884		1884		1884

		1885		1885		1885

		1886		1886		1886

		1887		1887		1887

		1888		1888		1888

		1889		1889		1889

		1890		1890		1890

		1891		1891		1891

		1892		1892		1892

		1893		1893		1893

		1894		1894		1894

		1895		1895		1895

		1896		1896		1896

		1897		1897		1897

		1898		1898		1898

		1899		1899		1899

		1900		1900		1900

		1901		1901		1901

		1902		1902		1902

		1903		1903		1903

		1904		1904		1904

		1905		1905		1905

		1906		1906		1906

		1907		1907		1907

		1908		1908		1908

		1909		1909		1909

		1910		1910		1910

		1911		1911		1911

		1912		1912		1912

		1913		1913		1913

		1914		1914		1914

		1915		1915		1915

		1916		1916		1916

		1917		1917		1917

		1918		1918		1918

		1919		1919		1919

		1920		1920		1920

		1921		1921		1921

		1922		1922		1922

		1923		1923		1923

		1924		1924		1924

		1925		1925		1925

		1926		1926		1926

		1927		1927		1927

		1928		1928		1928

		1929		1929		1929

		1930		1930		1930

		1931		1931		1931

		1932		1932		1932

		1933		1933		1933

		1934		1934		1934

		1935		1935		1935

		1936		1936		1936

		1937		1937		1937

		1938		1938		1938

		1939		1939		1939

		1940		1940		1940

		1941		1941		1941

		1942		1942		1942

		1943		1943		1943

		1944		1944		1944

		1945		1945		1945

		1946		1946		1946

		1947		1947		1947

		1948		1948		1948

		1949		1949		1949

		1950		1950		1950

		1951		1951		1951

		1952		1952		1952

		1953		1953		1953

		1954		1954		1954

		1955		1955		1955

		1956		1956		1956

		1957		1957		1957

		1958		1958		1958

		1959		1959		1959

		1960		1960		1960

		1961		1961		1961

		1962		1962		1962

		1963		1963		1963

		1964		1964		1964

		1965		1965		1965

		1966		1966		1966

		1967		1967		1967

		1968		1968		1968

		1969		1969		1969

		1970		1970		1970

		1971		1971		1971

		1972		1972		1972

		1973		1973		1973

		1974		1974		1974

		1975		1975		1975

		1976		1976		1976

		1977		1977		1977

		1978		1978		1978

		1979		1979		1979

		1980		1980		1980

		1981		1981		1981

		1982		1982		1982

		1983		1983		1983

		1984		1984		1984

		1985		1985		1985

		1986		1986		1986

		1987		1987		1987

		1988		1988		1988

		1989		1989		1989

		1990		1990		1990

		1991		1991		1991

		1992		1992		1992

		1993		1993		1993

		1994		1994		1994

		1995		1995		1995

		1996		1996		1996

		1997		1997		1997

		1998		1998		1998

		1999		1999		1999

		2000		2000		2000

		2001		2001		2001

		2002		2002		2002

		2003		2003		2003

		2004		2004		2004

		2005		2005		2005

		2006		2006		2006

		2007		2007		2007

		2008		2008		2008

		2009		2009		2009

		2010		2010		2010

		2011		2011		2011

		2012		2012		2012

		2013		2013		2013

		2014		2014		2014

		2015		2015		2015

		2016		2016		2016

		2017		2017		2017

		2018		2018		2018

		2019		2019		2019

		2020		2020		2020

		2021		2021		2021

		2022		2022		2022

		2023		2023		2023

		2024		2024		2024

		2025		2025		2025

		2026		2026		2026

		2027		2027		2027

		2028		2028		2028

		2029		2029		2029

		2030		2030		2030

		2031		2031		2031

		2032		2032		2032

		2033		2033		2033

		2034		2034		2034

		2035		2035		2035

		2036		2036		2036

		2037		2037		2037

		2038		2038		2038

		2039		2039		2039

		2040		2040		2040

		2041		2041		2041

		2042		2042		2042

		2043		2043		2043

		2044		2044		2044

		2045		2045		2045

		2046		2046		2046

		2047		2047		2047

		2048		2048		2048

		2049		2049		2049

		2050		2050		2050

		2051		2051		2051

		2052		2052		2052

		2053		2053		2053

		2054		2054		2054

		2055		2055		2055

		2056		2056		2056

		2057		2057		2057

		2058		2058		2058

		2059		2059		2059

		2060		2060		2060

		2061		2061		2061

		2062		2062		2062

		2063		2063		2063

		2064		2064		2064

		2065		2065		2065

		2066		2066		2066

		2067		2067		2067

		2068		2068		2068

		2069		2069		2069

		2070		2070		2070

		2071		2071		2071

		2072		2072		2072

		2073		2073		2073

		2074		2074		2074

		2075		2075		2075

		2076		2076		2076

		2077		2077		2077

		2078		2078		2078

		2079		2079		2079

		2080		2080		2080

		2081		2081		2081

		2082		2082		2082

		2083		2083		2083

		2084		2084		2084

		2085		2085		2085

		2086		2086		2086

		2087		2087		2087

		2088		2088		2088

		2089		2089		2089

		2090		2090		2090

		2091		2091		2091

		2092		2092		2092

		2093		2093		2093

		2094		2094		2094

		2095		2095		2095

		2096		2096		2096

		2097		2097		2097

		2098		2098		2098

		2099		2099		2099

		2100		2100		2100

		2101		2101		2101

		2102		2102		2102

		2103		2103		2103

		2104		2104		2104

		2105		2105		2105

		2106		2106		2106

		2107		2107		2107

		2108		2108		2108

		2109		2109		2109

		2110		2110		2110

		2111		2111		2111

		2112		2112		2112

		2113		2113		2113

		2114		2114		2114

		2115		2115		2115

		2116		2116		2116

		2117		2117		2117

		2118		2118		2118

		2119		2119		2119

		2120		2120		2120

		2121		2121		2121

		2122		2122		2122

		2123		2123		2123

		2124		2124		2124

		2125		2125		2125

		2126		2126		2126

		2127		2127		2127

		2128		2128		2128

		2129		2129		2129

		2130		2130		2130

		2131		2131		2131

		2132		2132		2132

		2133		2133		2133

		2134		2134		2134

		2135		2135		2135

		2136		2136		2136

		2137		2137		2137

		2138		2138		2138

		2139		2139		2139

		2140		2140		2140

		2141		2141		2141

		2142		2142		2142

		2143		2143		2143

		2144		2144		2144

		2145		2145		2145

		2146		2146		2146

		2147		2147		2147

		2148		2148		2148

		2149		2149		2149

		2150		2150		2150

		2151		2151		2151

		2152		2152		2152

		2153		2153		2153

		2154		2154		2154

		2155		2155		2155

		2156		2156		2156

		2157		2157		2157

		2158		2158		2158

		2159		2159		2159

		2160		2160		2160

		2161		2161		2161

		2162		2162		2162

		2163		2163		2163

		2164		2164		2164

		2165		2165		2165

		2166		2166		2166

		2167		2167		2167

		2168		2168		2168

		2169		2169		2169

		2170		2170		2170

		2171		2171		2171

		2172		2172		2172

		2173		2173		2173

		2174		2174		2174

		2175		2175		2175

		2176		2176		2176

		2177		2177		2177

		2178		2178		2178

		2179		2179		2179

		2180		2180		2180

		2181		2181		2181

		2182		2182		2182

		2183		2183		2183

		2184		2184		2184

		2185		2185		2185

		2186		2186		2186

		2187		2187		2187

		2188		2188		2188

		2189		2189		2189

		2190		2190		2190

		2191		2191		2191

		2192		2192		2192

		2193		2193		2193

		2194		2194		2194

		2195		2195		2195

		2196		2196		2196

		2197		2197		2197

		2198		2198		2198

		2199		2199		2199

		2200		2200		2200

		2201		2201		2201

		2202		2202		2202

		2203		2203		2203

		2204		2204		2204

		2205		2205		2205

		2206		2206		2206

		2207		2207		2207

		2208		2208		2208

		2209		2209		2209

		2210		2210		2210

		2211		2211		2211

		2212		2212		2212

		2213		2213		2213

		2214		2214		2214

		2215		2215		2215

		2216		2216		2216

		2217		2217		2217

		2218		2218		2218

		2219		2219		2219

		2220		2220		2220

		2221		2221		2221

		2222		2222		2222

		2223		2223		2223

		2224		2224		2224

		2225		2225		2225

		2226		2226		2226

		2227		2227		2227

		2228		2228		2228

		2229		2229		2229

		2230		2230		2230

		2231		2231		2231

		2232		2232		2232

		2233		2233		2233

		2234		2234		2234

		2235		2235		2235

		2236		2236		2236

		2237		2237		2237

		2238		2238		2238

		2239		2239		2239

		2240		2240		2240

		2241		2241		2241

		2242		2242		2242

		2243		2243		2243

		2244		2244		2244

		2245		2245		2245

		2246		2246		2246

		2247		2247		2247

		2248		2248		2248

		2249		2249		2249

		2250		2250		2250

		2251		2251		2251

		2252		2252		2252

		2253		2253		2253

		2254		2254		2254

		2255		2255		2255

		2256		2256		2256

		2257		2257		2257

		2258		2258		2258

		2259		2259		2259

		2260		2260		2260

		2261		2261		2261

		2262		2262		2262

		2263		2263		2263

		2264		2264		2264

		2265		2265		2265

		2266		2266		2266

		2267		2267		2267

		2268		2268		2268

		2269		2269		2269

		2270		2270		2270

		2271		2271		2271

		2272		2272		2272

		2273		2273		2273

		2274		2274		2274

		2275		2275		2275

		2276		2276		2276

		2277		2277		2277

		2278		2278		2278

		2279		2279		2279

		2280		2280		2280

		2281		2281		2281

		2282		2282		2282

		2283		2283		2283

		2284		2284		2284

		2285		2285		2285

		2286		2286		2286

		2287		2287		2287

		2288		2288		2288

		2289		2289		2289

		2290		2290		2290

		2291		2291		2291

		2292		2292		2292

		2293		2293		2293

		2294		2294		2294

		2295		2295		2295

		2296		2296		2296

		2297		2297		2297

		2298		2298		2298

		2299		2299		2299

		2300		2300		2300

		2301		2301		2301

		2302		2302		2302

		2303		2303		2303

		2304		2304		2304

		2305		2305		2305

		2306		2306		2306

		2307		2307		2307

		2308		2308		2308

		2309		2309		2309

		2310		2310		2310

		2311		2311		2311

		2312		2312		2312

		2313		2313		2313

		2314		2314		2314

		2315		2315		2315

		2316		2316		2316

		2317		2317		2317

		2318		2318		2318

		2319		2319		2319

		2320		2320		2320

		2321		2321		2321

		2322		2322		2322

		2323		2323		2323

		2324		2324		2324

		2325		2325		2325

		2326		2326		2326

		2327		2327		2327

		2328		2328		2328

		2329		2329		2329

		2330		2330		2330

		2331		2331		2331

		2332		2332		2332

		2333		2333		2333

		2334		2334		2334

		2335		2335		2335

		2336		2336		2336

		2337		2337		2337

		2338		2338		2338

		2339		2339		2339

		2340		2340		2340

		2341		2341		2341

		2342		2342		2342

		2343		2343		2343

		2344		2344		2344

		2345		2345		2345

		2346		2346		2346

		2347		2347		2347

		2348		2348		2348

		2349		2349		2349

		2350		2350		2350

		2351		2351		2351

		2352		2352		2352

		2353		2353		2353

		2354		2354		2354

		2355		2355		2355

		2356		2356		2356

		2357		2357		2357

		2358		2358		2358

		2359		2359		2359

		2360		2360		2360

		2361		2361		2361

		2362		2362		2362

		2363		2363		2363

		2364		2364		2364

		2365		2365		2365

		2366		2366		2366

		2367		2367		2367

		2368		2368		2368

		2369		2369		2369

		2370		2370		2370

		2371		2371		2371

		2372		2372		2372

		2373		2373		2373

		2374		2374		2374

		2375		2375		2375

		2376		2376		2376

		2377		2377		2377

		2378		2378		2378

		2379		2379		2379

		2380		2380		2380

		2381		2381		2381

		2382		2382		2382

		2383		2383		2383

		2384		2384		2384

		2385		2385		2385

		2386		2386		2386

		2387		2387		2387

		2388		2388		2388

		2389		2389		2389

		2390		2390		2390

		2391		2391		2391

		2392		2392		2392

		2393		2393		2393

		2394		2394		2394

		2395		2395		2395

		2396		2396		2396

		2397		2397		2397

		2398		2398		2398

		2399		2399		2399

		2400		2400		2400



v

b

v

b

T1-3,K-L=30mm,prop.0,7l/min

T1-4,K-L=30mm,prop.0,78l/min

T1-1,K-L=30mm,prop.0,83l/min

time,s

Temperature,K

803.4807502654

767.0971565908

530.2217320896

806.9605949575

765.9251853156

538.6646853732

796.7438087172

765.9251853156

541.1447200961

792.3233450298

763.8147244276

536.1832020907

797.9062194992

761.4683917539

539.9048838046

789.994684783

761.4683917539

528.978708967

794.4179007336

762.6417391607

519.2706999695

806.9605949575

763.8147244276

518.0244900159

805.8010088667

764.7528519004

519.2706999695

799.0682681413

768.2687657261

521.7620334572

795.5810357954

767.0971565908

524.0029950776

788.8298114497

767.0971565908

526.4915763021

786.4989783635

765.9251853156

525.2474667598

796.7438087172

765.9251853156

527.7353237045

791.1591959764

765.9251853156

522.7581612556

793.2544035319

765.9251853156

526.4915763021

791.1591959764

762.6417391607

527.7353237045

788.8298114497

765.9251853156

537.4241248019

785.3330186105

770.610897577

541.1447200961

795.5810357954

765.9251853156

539.9048838046

794.4179007336

764.7528519004

539.9048838046

800.2299546435

763.8147244276

536.1832020907

796.7438087172

765.9251853156

530.2217320896

800.2299546435

765.9251853156

511.7880081491

800.2299546435

763.8147244276

504.5423469622

795.5810357954

765.9251853156

516.7779179223

786.4989783635

767.0971565908

520.5165477833

799.0682681413

759.1206105206

514.2836873155

794.4179007336

760.2946822072

514.2836873155

788.8298114497

756.7713807277

507.0422269513

786.4989783635

753.4800254375

514.2836873155

788.8298114497

755.5962226214

519.2706999695

794.4179007336

757.9461766941

524.0029950776

797.9062194992

767.0971565908

531.4643930723

801.3912790058

762.6417391607

526.4915763021

795.5810357954

763.8147244276

524.0029950776

796.7438087172

756.7713807277

522.7581612556

792.3233450298

763.8147244276

518.0244900159

795.5810357954

760.2946822072

521.7620334572

794.4179007336

765.9251853156

525.2474667598

786.4989783635

757.9461766941

530.2217320896

786.4989783635

760.2946822072

524.0029950776

787.6645759765

762.6417391607

515.5309836889

786.4989783635

754.4207023752

519.2706999695

786.4989783635

759.1206105206

527.7353237045

793.2544035319

764.7528519004

515.5309836889

794.4179007336

762.6417391607

513.0360288023

794.4179007336

761.4683917539

513.0360288023

792.3233450298

760.2946822072

505.7924680267

795.5810357954

761.4683917539

515.5309836889

792.3233450298

762.6417391607

507.0422269513

792.3233450298

765.9251853156

513.0360288023

795.5810357954

768.2687657261

518.0244900159

792.3233450298

767.0971565908

516.7779179223

785.3330186105

763.8147244276

522.7581612556

785.3330186105

765.9251853156

531.4643930723

786.4989783635

763.8147244276

526.4915763021

785.3330186105

764.7528519004

527.7353237045

788.8298114497

761.4683917539

528.978708967

780.8990688334

763.8147244276

532.4582611177

789.994684783

759.1206105206

527.7353237045

788.8298114497

754.4207023752

526.4915763021

775.0569573122

737.2168662897

554.2647204255

764.7528519004

732.726495117

544.6143351281

733.9086787372

767.0971565908

519.2706999695

702.5776128987

773.8874485883

570.0535056204

797.9062194992

747.5955435486

672.1950925058

788.8298114497

726.8101449173

703.7689948723

769.4400127215

697.8084636054

696.6152709323

753.4800254375

664.9840056065

688.4919568056

760.2946822072

687.2959394413

660.4102408588

740.758202336

696.6152709323

632.1302315912

715.1878361408

701.3858687852

610.7291371962

690.8829051143

704.9600147059

604.6288199299

662.8181373147

707.102937814

595.0942469709

664.9840056065

715.1878361408

597.5411096795

668.5911786857

714.2375407675

601.2086876931

672.1950925058

711.8607883426

610.7291371962

664.9840056065

714.2375407675

616.5769242415

666.1867587728

722.3076637865

628.4902486375

666.1867587728

736.0356966612

636.7361978183

664.9840056065

749.9504227239

659.205749421

662.8181373147

752.3038533395

666.1867587728

666.1867587728

770.610897577

676.7553711638

664.0215423328

787.6645759765

680.35189733

656.7956801258

825.0032481006

684.9028182932

656.7956801258

842.9577708788

687.2959394413

651.0056036941

851.901983381

688.4919568056

647.3825688876

856.4802125217

699.0012941386

643.9981291588

853.0470838761

708.292943656

644.9654016504

849.8398898975

713.049345625

642.7887126185

841.8094835527

732.726495117

640.3687931181

837.4426889977

747.5955435486

656.7956801258

829.6153735354

754.4207023752

673.3956728327

819.4610491842

763.8147244276

689.6876120299

803.4807502654

772.9515808684

695.4217161194

791.1591959764

783.2333784627

702.5776128987

788.8298114497

789.994684783

702.5776128987

792.3233450298

784.1666967177

703.7689948723

788.8298114497

794.4179007336

707.102937814

785.3330186105

802.5522412282

703.7689948723

785.3330186105

799.0682681413

707.102937814

784.1666967177

799.0682681413

708.292943656

784.1666967177

804.641060636

709.4825873581

782.066404718

809.2786807195

713.049345625

784.1666967177

796.7438087172

716.3753794315

783.2333784627

803.4807502654

715.1878361408

788.8298114497

814.836176425

715.1878361408

785.3330186105

817.1493370844

714.2375407675

788.8298114497

831.6889396108

718.7493795932

793.2544035319

829.6153735354

718.7493795932

792.3233450298

832.840413768

717.5625605823

787.6645759765

841.8094835527

726.8101449173

787.6645759765

853.0470838761

734.8541648927

793.2544035319

865.3910936681

736.0356966612

787.6645759765

866.5319209123

741.9379234049

793.2544035319

863.1083527599

743.117282334

801.3912790058

876.5555851895

744.2962791232

802.5522412282

885.4167517711

745.2392158138

801.3912790058

876.5555851895

745.2392158138

804.641060636

877.6928634628

751.1273191017

794.4179007336

883.1467581872

752.3038533395

796.7438087172

891.9915415599

755.5962226214

791.1591959764

891.9915415599

755.5962226214

789.994684783

891.9915415599

754.4207023752

791.1591959764

893.1238947307

754.4207023752

787.6645759765

903.0729871607

756.7713807277

785.3330186105

891.9915415599

761.4683917539

783.2333784627

905.3302334202

762.6417391607

791.1591959764

906.4583133402

765.9251853156

789.994684783

904.2017913604

767.0971565908

795.5810357954

926.2532448734

768.2687657261

803.4807502654

917.2694548939

769.4400127215

803.4807502654

929.392095811

775.0569573122

804.641060636

933.8712434764

783.2333784627

808.1198189085

930.5124259372

778.5633106446

818.3053742042

963.2882985712

779.731370809

823.8493113921

977.2392789125

773.8874485883

828.4628853865

996.6301202654

777.3948883404

832.840413768

1012.6305799657

778.5633106446

840.8905929511

1012.6305799657

788.8298114497

829.6153735354

1023.3273171133

783.2333784627

838.5923524554

1035.0752736095

786.4989783635

836.2926634001

1053.0499599988

787.6645759765

844.105696065

1066.6267774006

789.994684783

849.8398898975

1080.3602303793

800.2299546435

854.1918222312

1092.7549221033

792.3233450298

863.1083527599

1112.5274585671

797.9062194992

869.9522298057

1114.6460776749

800.2299546435

875.4179447763

1131.1215921512

800.2299546435

883.1467581872

1141.4265229036

801.3912790058

882.0112181854

1151.6966737406

805.8010088667

893.1238947307

1164.8500482061

808.1198189085

890.8588262493

1184.1618558101

806.9605949575

898.5541489627

1190.158192302

811.5953179218

899.6844017221

1196.1423464079

817.1493370844

893.1238947307

1201.2913221702

823.8493113921

893.1238947307

1209.305646336

827.3100350978

897.6496860146

1215.25073279

831.6889396108

896.5187814034

1225.2681968939

838.5923524554

894.2558857615

1240.1276696702

841.8094835527

888.8190260977

1249.0467782967

839.7416537732

888.8190260977

1261.969964989

838.5923524554

893.1238947307

1263.7825295993

842.9577708788

895.3875146524

1270.8202380642

839.7416537732

897.6496860146

1269.8159375604

841.8094835527

900.8142923415

1252.0809736342

847.5472987842

899.6844017221

1243.1714255009

842.9577708788

897.6496860146

1273.6303528909

845.2532591113

901.943820821

1310.6953035055

840.8905929511

903.0729871607

1306.7338710338

846.4004600177

910.7417143202

1324.1208330066

846.4004600177

915.2449080746

1329.0398499357

845.2532591113

922.8870396803

1335.7151839067

848.6937754108

928.2714035449

1342.373772529

847.5472987842

930.5124259372

1351.9405173197

848.6937754108

933.8712434764

1348.0399243503

850.9856422443

942.588915746

1363.2194705131

857.6238644572

956.6247671931

1344.3289941162

857.6238644572

971.9313989937

1370.7761947076

863.1083527599

984.7444926667

1381.2029779537

865.3910936681

992.2329610721

1382.1662842215

866.5319209123

1007.3786723891

1388.7071628923

874.2799422233

1017.0007959508

1397.1469721251

873.1415775303

1046.5646014489

1412.9911750271

875.4179447763

1054.1295856008

1414.8933793338

874.2799422233

1059.3067475031

1411.0875221609

879.7390517622

1062.5382366553

1400.9739782678

886.5512053532

1068.7765405394

1397.1469721251

886.5512053532

1076.0748999856

1395.2312962144

888.8190260977

1084.4259273401

1395.2312962144

887.6852967954

1092.7549221033

1395.2312962144

888.8190260977

1097.0176549676

1394.4646202534

886.5512053532

1099.1468485603

1398.1042668707

891.9915415599

1105.3133183749

1408.4199745681

895.3875146524

1106.37527155

1409.3729960629

898.5541489627

1109.3468138562

1419.4527595466

895.3875146524

1107.4368625853

1421.3500387506

891.9915415599

1120.7818814832

1421.3500387506

899.6844017221

1144.3644006852

1418.5035767347

912.9940354772

1165.8915042632

1426.843956838

919.5175752281

1190.158192302

1428.7355866597

924.0094702179

1219.3436944715

1433.4583237658

931.6323939235

1223.2266411557

1434.2131215382

927.1503491389

1231.1805169302

1430.6257679218

930.5124259372

1230.1620205425

1436.0991019775

934.990125043

1231.1805169302

1444.3802070228

933.8712434764

1246.2119220725

1447.1969011394

954.4006929479

1257.9378428098

1453.5693413023

963.2882985712

1259.9546281792

1453.5693413023

958.8473928787

1258.9464165644

1462.7236956663

967.5017920659

1262.977090184

1472.7718833806

978.3440370232

1246.2119220725

1472.7718833806

976.1341586619

1237.283890319

1476.297311075

975.0286762714

1233.2164232861

1480.743008332

979.4484329941

1243.1714255009

1473.5145132525

985.8467882261

1252.0809736342

1486.2883965707

991.3528339249

1259.9546281792

1481.6681450548

994.4322649485

1271.8241764282

1487.2113604541

998.8265270226

1274.6332772631

1489.7937327436

1010.4432991338

1286.4404360511

1497.891276319

1045.6989019551

1289.2347326071

1501.5627071628

1054.1295856008

1299.986138055

1500.6453926617

1044.6164516619

1302.9651432724

1493.4779109118

1026.594875399

1298.992412036

1497.891276319

1018.9655027738

1300.979501934

1497.891276319

1015.9087851643

1299.986138055

1497.891276319

1015.9087851643

1300.979501934

1509.6194593004

1020.0564995685

1309.7054885974

1503.3962497454

1032.9029129413

1321.3622289586

1505.9607757809

1033.9892743453

1327.0733295837

1510.5332248306

1021.1471342233

1328.0567708297

1500.6453926617

1038.1141449649

1332.7722478228

1504.1292611817

1056.0719990919

1338.4589836758

1506.8759898706

1070.9248551186

1346.0874550263

1505.0451995513

1075.0026620375

1348.0399243503

1503.3962497454

1078.2182894623

1354.6674848264

1504.1292611817

1087.6319942716

1353.888640965

1500.6453926617

1091.6883335375

1353.888640965

1498.8096772398

1095.9525149613

1346.0874550263

1491.6365461075

1099.9981204007

1378.5037938197

1493.4779109118

1115.704844019

1385.0540301854

1498.8096772398

1121.8385474159

1372.710267325

1488.8717828519

1135.1215100214

1375.6086602019

1488.8717828519

1125.0063723745

1377.5391114203

1479.0768496383

1119.7248534106

1372.710267325

1469.9849571634

1117.6097108458

1374.6428913828

1474.4424746666

1120.7818814832

1374.6428913828

1472.7718833806

1117.6097108458

1376.574066881

1474.4424746666

1117.6097108458

1373.6767604239

1471.8432701148

1121.8385474159

1376.574066881

1467.1947716871

1145.4129546842

1373.6767604239

1467.1947716871

1154.6246144034

1373.6767604239

1463.6558579031

1153.5792472355

1375.6086602019

1463.6558579031

1155.6696194315

1374.6428913828

1471.8432701148

1160.8892124734

1380.239309546

1470.914294709

1166.9325981804

1393.5059493763

1465.3328373368

1177.1161541257

1393.5059493763

1467.1947716871

1185.1965760651

1392.5469163593

1463.6558579031

1185.1965760651

1394.4646202534

1475.3700739407

1183.1267734151

1406.5128451589

1469.9849571634

1184.1618558101

1401.9298244538

1477.2241860693

1182.0913288803

1403.6494349959

1469.9849571634

1184.1618558101

1397.1469721251

1472.7718833806

1186.2309341803

1400.017769942

1469.0552574779

1192.2230698494

1400.9739782678

1458.9914253201

1196.1423464079

1402.6942406618

1463.6558579031

1206.2258213718

1400.9739782678

1468.1251956524

1214.2265870199

1405.5587372445

1463.6558579031

1213.2020791099

1417.7439697445

1466.2639855819

1207.2527918331

1414.8933793338

1467.1947716871

1196.1423464079

1412.039529664

1467.1947716871

1202.320030903

1402.6942406618

1463.6558579031

1199.232818285

1409.3729960629

1458.9914253201

1197.1728658401

1413.9424582504

1455.440401578

1198.2030231325

1410.3256554178

1456.375388506

1196.1423464079

1410.3256554178

1458.0574523838

1196.1423464079

1410.3256554178

1454.5050525101

1188.091866195

1402.6942406618

1455.440401578

1182.0913288803

1405.5587372445

1457.310013294

1181.0555222056

1407.4665909335

1460.858284773

1181.0555222056

1417.7439697445

1470.914294709

1187.0581599317

1416.7941350808

1476.297311075

1199.232818285

1409.3729960629

1473.5145132525

1207.2527918331

1385.0540301854

1479.0768496383

1216.2745164202

1385.0540301854

1480.002638213

1221.183636858

1358.5582275906

1480.743008332

1222.2053200768

1358.5582275906

1485.3650705473

1223.2266411557

1345.3060617

1480.743008332

1223.2266411557

1336.6954383216

1479.0768496383

1226.2884315532

1341.3956185255

1478.1506989238

1228.327814452

1351.9405173197

1469.9849571634

1235.2508810823

1360.5014261334

1476.297311075

1241.142617087

1352.9147602123

1479.0768496383

1239.1123601135

1350.9659122872

1485.3650705473

1235.2508810823

1348.0399243503

1483.5173320808

1240.1276696702

1339.4382240989

1482.5929196378

1240.1276696702

1331.7905448483

1487.2113604541

1233.2164232861

1333.7535886573

1488.8717828519

1236.2675667706

1326.0895261979

1490.7153204955

1245.1987853552

1331.7905448483

1500.6453926617

1250.0585388824

1338.4589836758

1504.1292611817

1253.0916478002

1339.4382240989

1505.9607757809

1253.0916478002

1349.9909451148

1508.7053316304

1259.9546281792

1376.574066881

1507.7908418204

1273.6303528909

1381.2029779537

1512.1770901923

1273.6303528909

1385.0540301854

1512.1770901923

1273.6303528909

1365.1591925128

1510.5332248306

1266.8008632094

1353.888640965

1512.1770901923

1257.9378428098

1340.4171023822

1518.5587460236

1254.1019598263

1330.808479734

1513.0898417308

1259.9546281792

1328.0567708297

1510.5332248306

1280.4430972236

1322.1506912556

1514.0022311293

1285.4417849296

1329.0398499357

1520.1968750894

1289.2347326071

1324.1208330066

1516.7372264856

1310.6953035055

1317.4164409304

1522.0156423643

1318.4034311473

1314.4532974403

1518.5587460236

1317.4164409304

1316.4290885736

1515.8259235067

1326.0895261979

1303.9574207318

1520.1968750894

1324.1208330066

1301.9725036732

1516.7372264856

1330.808479734

1316.4290885736

1517.6481673246

1335.7151839067

1313.4648586638

1514.914258388

1334.734567352

1306.7338710338

1511.4466282208

1327.0733295837

1304.9493360512

1516.7372264856

1341.3956185255

1305.7426075661

1509.6194593004

1334.734567352

1301.9725036732

1506.8759898706

1324.1208330066

1303.9574207318

1507.7908418204

1332.7722478228

1309.7054885974

1504.1292611817

1332.7722478228

1306.7338710338

1503.3962497454

1319.3900592243

1314.4532974403

1500.6453926617

1323.135943201

1315.4413740769

1501.5627071628

1324.1208330066

1325.1053606722

1503.3962497454

1322.1506912556

1335.7151839067

1505.9607757809

1314.4532974403

1326.0895261979

1502.4796595241

1307.7247723615

1327.0733295837

1505.0451995513

1314.4532974403

1343.3515643926

1505.0451995513

1315.4413740769

1336.6954383216

1503.3962497454

1320.3763251614

1335.7151839067

1498.8096772398

1308.7153115494

1360.5014261334

1505.9607757809

1311.6847562736

1365.1591925128

1505.9607757809

1323.135943201

1351.9405173197

1507.7908418204

1321.3622289586

1342.373772529

1505.0451995513

1320.3763251614

1333.7535886573

1510.5332248306

1327.0733295837

1338.4589836758

1514.0022311293

1328.0567708297

1345.3060617

1509.6194593004

1327.0733295837

1342.373772529

1510.5332248306

1329.8260524798

1332.7722478228

1511.4466282208

1330.808479734

1355.6407137273

1507.7908418204

1331.7905448483

1346.0874550263

1505.0451995513

1341.3956185255

1349.0156158025

1497.891276319

1339.4382240989

1360.5014261334

1488.8717828519

1333.7535886573

1363.2194705131

1488.1339621977

1338.4589836758

1353.888640965

1490.7153204955

1338.4589836758

1356.6135804883

1490.7153204955

1336.6954383216

1370.002160064

1501.5627071628

1339.4382240989

1369.0342908336

1496.237242069

1338.4589836758

1377.5391114203

1496.237242069

1339.4382240989

1367.097465953

1494.3980501041

1342.373772529

1375.6086602019

1493.4779109118

1359.5300079319

1377.5391114203

1503.3962497454

1359.5300079319

1373.6767604239

1498.8096772398

1367.097465953

1374.6428913828

1496.237242069

1364.1895125829

1365.1591925128

1495.3178271565

1363.2194705131

1365.1591925128

1495.3178271565

1370.002160064

1365.1591925128

1498.8096772398

1393.5059493763

1367.097465953

1500.6453926617

1405.5587372445

1367.097465953

1505.9607757809

1410.3256554178

1365.1591925128

1506.8759898706

1414.8933793338

1368.0660594632

1499.7277160207

1422.2981351428

1372.710267325

1505.0451995513

1415.8439382772

1374.6428913828

1501.5627071628

1408.4199745681

1382.1662842215

1505.9607757809

1412.9911750271

1388.7071628923

1505.0451995513

1411.0875221609

1383.1292283493

1500.6453926617

1412.039529664

1392.5469163593

1498.8096772398

1410.3256554178

1404.6042671902

1501.5627071628

1421.3500387506

1410.3256554178

1501.5627071628

1423.2458693951

1413.9424582504

1498.8096772398

1437.0415489874

1420.4015802186

1494.3980501041

1441.7483519381

1415.8439382772

1478.1506989238

1442.5006002456

1421.3500387506

1469.0552574779

1458.0574523838

1424.1932415075

1467.1947716871

1456.375388506

1421.3500387506

1465.3328373368

1464.587658

1425.14025148

1464.587658

1451.696832467

1416.7941350808

1472.7718833806

1445.3194672015

1412.039529664

1464.587658

1442.5006002456

1415.8439382772

1465.3328373368

1444.3802070228

1410.3256554178

1467.1947716871

1449.8228750722

1408.4199745681

1462.7236956663

1444.3802070228

1402.6942406618

1464.587658

1441.7483519381

1400.017769942

1464.587658

1442.5006002456

1398.1042668707

1458.0574523838

1448.1350748984

1400.017769942

1457.310013294

1435.1562928278

1402.6942406618

1462.7236956663

1425.14025148

1400.017769942

1461.7911712896

1425.14025148

1404.6042671902

1460.858284773

1433.4583237658

1406.5128451589

1456.375388506

1427.7899528188

1402.6942406618

1453.5693413023

1446.2583652404

1402.6942406618

1452.6332679546

1458.0574523838

1401.9298244538

1446.2583652404

1464.587658

1409.3729960629

1449.0728865176

1468.1251956524

1409.3729960629

1447.1969011394

1469.9849571634

1415.8439382772

1451.696832467

1468.1251956524

1415.8439382772

1449.8228750722

1471.8432701148

1415.8439382772

1450.7600348396

1471.8432701148

1406.5128451589

1447.1969011394

1475.3700739407

1414.8933793338

1455.440401578

1465.3328373368

1415.8439382772

1462.7236956663

1474.4424746666

1413.9424582504

1461.7911712896

1470.914294709

1415.8439382772

1452.6332679546

1476.297311075

1421.3500387506

1457.310013294

1480.743008332

1422.2981351428

1454.5050525101

1483.5173320808

1419.4527595466

1458.0574523838

1474.4424746666

1424.1932415075

1448.1350748984

1481.6681450548

1426.0868993126

1448.1350748984

1479.0768496383

1426.0868993126

1448.1350748984

1488.1339621977

1428.7355866597

1436.0991019775

1489.7937327436

1429.6808583607

1440.8077156277

1485.3650705473

1425.14025148

1442.5006002456

1488.8717828519

1421.3500387506

1439.8667171775

1488.8717828519

1424.1932415075

1437.0415489874

1491.6365461075

1414.8933793338

1436.0991019775

1488.1339621977

1412.039529664

1442.5006002456

1485.3650705473

1411.0875221609

1437.0415489874

1488.1339621977

1410.3256554178

1443.4405847042

1490.7153204955

1420.4015802186

1445.3194672015

1491.6365461075

1417.7439697445

1439.8667171775

1492.5574095796

1413.9424582504

1442.5006002456

1490.7153204955

1418.5035767347

1448.1350748984

1488.1339621977

1419.4527595466

1443.4405847042

1487.2113604541

1421.3500387506

1446.2583652404

1488.8717828519

1423.2458693951

1449.0728865176

1481.6681450548

1422.2981351428

1449.0728865176

1483.5173320808

1420.4015802186

1441.7483519381

1483.5173320808

1425.14025148

1438.9253565873

1481.6681450548

1419.4527595466

1437.0415489874

1476.297311075

1416.7941350808

1438.9253565873

1471.8432701148

1422.2981351428

1439.8667171775

1469.9849571634

1425.14025148

1441.7483519381

1478.1506989238

1422.2981351428

1441.7483519381

1476.297311075

1425.14025148

1434.2131215382

1474.4424746666

1422.2981351428

1437.0415489874

1476.297311075

1420.4015802186

1437.0415489874

1469.9849571634

1413.9424582504

1441.7483519381

1470.914294709

1412.039529664

1447.1969011394

1468.1251956524

1408.4199745681

1451.696832467

1469.9849571634

1406.5128451589

1450.7600348396

1471.8432701148

1400.9739782678

1451.696832467

1467.1947716871

1397.1469721251

1447.1969011394

1467.1947716871

1400.017769942

1457.310013294

1463.6558579031

1400.017769942

1460.858284773

1457.310013294

1403.6494349959

1470.914294709

1449.0728865176

1399.0611994763

1468.1251956524

1446.2583652404

1402.6942406618

1472.7718833806

1443.4405847042

1436.0991019775

1471.8432701148

1436.0991019775

1448.1350748984

1468.1251956524

1435.1562928278

1449.0728865176

1470.914294709

1434.2131215382

1457.310013294

1468.1251956524

1438.9253565873

1459.9250361165

1467.1947716871

1437.9836338573

1457.310013294

1465.3328373368

1439.8667171775

1455.440401578

1464.587658

1447.1969011394

1457.310013294

1462.7236956663

1451.696832467

1457.310013294

1465.3328373368

1477.2241860693

1455.440401578

1464.587658

1476.297311075

1457.310013294

1468.1251956524

1474.4424746666

1452.6332679546

1467.1947716871

1473.5145132525

1449.8228750722

1470.914294709

1469.0552574779

1446.2583652404

1471.8432701148

1469.9849571634

1449.0728865176

1472.7718833806

1469.9849571634

1448.1350748984

1474.4424746666

1469.0552574779

1453.5693413023

1472.7718833806

1469.0552574779

1455.440401578

1470.914294709

1468.1251956524

1453.5693413023

1469.9849571634

1469.0552574779

1457.310013294

1470.914294709

1469.9849571634

1458.9914253201

1472.7718833806

1464.587658

1456.375388506

1468.1251956524

1467.1947716871

1458.9914253201

1467.1947716871

1467.1947716871

1456.375388506

1464.587658

1468.1251956524

1457.310013294

1467.1947716871

1467.1947716871

1459.9250361165

1465.3328373368

1463.6558579031

1454.5050525101

1466.2639855819

1468.1251956524

1457.310013294

1464.587658

1464.587658

1457.310013294

1464.587658

1465.3328373368

1458.0574523838

1464.587658

1467.1947716871

1457.310013294

1467.1947716871

1467.1947716871

1458.9914253201

1467.1947716871

1465.3328373368

1460.858284773

1460.858284773

1463.6558579031

1462.7236956663

1458.0574523838

1461.7911712896

1464.587658

1453.5693413023

1457.310013294

1464.587658

1452.6332679546

1457.310013294

1460.858284773

1454.5050525101

1455.440401578

1454.5050525101

1457.310013294

1449.8228750722

1450.7600348396

1463.6558579031

1441.7483519381

1451.696832467

1462.7236956663

1439.8667171775

1448.1350748984

1461.7911712896

1435.1562928278

1447.1969011394

1460.858284773

1433.4583237658

1447.1969011394

1462.7236956663

1437.9836338573

1445.3194672015

1458.9914253201

1438.9253565873

1446.2583652404

1456.375388506

1448.1350748984

1447.1969011394

1453.5693413023

1442.5006002456

1449.0728865176

1445.3194672015

1443.4405847042

1445.3194672015

1437.0415489874

1450.7600348396

1448.1350748984

1437.9836338573

1451.696832467

1449.0728865176

1429.6808583607

1450.7600348396

1445.3194672015

1420.4015802186

1441.7483519381

1447.1969011394

1424.1932415075

1439.8667171775

1445.3194672015

1426.0868993126

1438.9253565873

1445.3194672015

1422.2981351428

1432.5145006243

1439.8667171775

1423.2458693951

1426.0868993126

1442.5006002456

1422.2981351428

1426.0868993126

1438.9253565873

1428.7355866597

1434.2131215382

1437.0415489874

1431.570315343

1437.9836338573

1432.5145006243

1436.0991019775

1424.1932415075

1437.0415489874

1431.570315343

1435.1562928278

1437.0415489874

1435.1562928278

1435.1562928278

1437.0415489874

1432.5145006243

1437.9836338573

1431.570315343

1430.6257679218

1439.8667171775

1434.2131215382

1426.0868993126

1445.3194672015

1434.2131215382

1427.7899528188

1446.2583652404

1439.8667171775

1427.7899528188

1451.696832467

1441.7483519381

1426.843956838

1449.8228750722

1443.4405847042

1428.7355866597

1449.0728865176

1443.4405847042

1429.6808583607

1446.2583652404

1439.8667171775

1434.2131215382

1449.8228750722

1443.4405847042

1428.7355866597

1448.1350748984

1444.3802070228

1426.843956838

1445.3194672015

1444.3802070228

1421.3500387506

1445.3194672015

1444.3802070228

1418.5035767347

1454.5050525101

1447.1969011394

1420.4015802186

1460.858284773

1450.7600348396

1426.0868993126

1458.9914253201

1453.5693413023

1422.2981351428

1460.858284773

1452.6332679546

1412.9911750271

1461.7911712896

1452.6332679546

1415.8439382772

1462.7236956663

1449.0728865176

1420.4015802186

1460.858284773

1454.5050525101

1419.4527595466

1461.7911712896

1453.5693413023

1418.5035767347

1459.9250361165

1454.5050525101

1416.7941350808

1458.9914253201

1453.5693413023

1421.3500387506

1459.9250361165

1454.5050525101

1421.3500387506

1460.858284773

1452.6332679546

1420.4015802186

1461.7911712896

1454.5050525101

1419.4527595466

1466.2639855819

1452.6332679546

1421.3500387506

1467.1947716871

1454.5050525101

1422.2981351428

1467.1947716871

1451.696832467

1421.3500387506

1457.310013294

1450.7600348396

1419.4527595466

1454.5050525101

1451.696832467

1416.7941350808

1452.6332679546

1454.5050525101

1408.4199745681

1450.7600348396

1452.6332679546

1408.4199745681

1450.7600348396

1454.5050525101

1408.4199745681

1451.696832467

1455.440401578

1408.4199745681

1452.6332679546

1457.310013294

1411.0875221609

1456.375388506

1452.6332679546

1412.039529664

1460.858284773

1458.0574523838

1416.7941350808

1461.7911712896

1453.5693413023

1414.8933793338

1463.6558579031

1457.310013294

1414.8933793338

1466.2639855819

1452.6332679546

1413.9424582504

1469.9849571634

1451.696832467

1415.8439382772

1468.1251956524

1449.8228750722

1419.4527595466

1471.8432701148

1445.3194672015

1418.5035767347

1475.3700739407

1447.1969011394

1419.4527595466

1471.8432701148

1444.3802070228

1419.4527595466

1469.0552574779

1446.2583652404

1418.5035767347

1464.587658

1442.5006002456

1422.2981351428

1465.3328373368

1448.1350748984

1424.1932415075

1461.7911712896

1446.2583652404

1426.0868993126

1461.7911712896

1442.5006002456

1423.2458693951

1461.7911712896

1443.4405847042

1421.3500387506

1460.858284773

1440.8077156277

1414.8933793338

1453.5693413023

1442.5006002456

1413.9424582504

1444.3802070228

1443.4405847042

1412.9911750271

1447.1969011394

1435.1562928278

1412.9911750271

1448.1350748984

1437.0415489874

1412.039529664

1450.7600348396

1433.4583237658

1406.5128451589

1449.0728865176

1437.0415489874

1407.4665909335

1450.7600348396

1440.8077156277

1409.3729960629

1449.0728865176

1431.570315343

1409.3729960629

1455.440401578

1435.1562928278

1410.3256554178

1450.7600348396

1433.4583237658

1412.9911750271

1450.7600348396

1431.570315343

1412.9911750271

1449.0728865176

1433.4583237658

1413.9424582504

1445.3194672015

1427.7899528188

1418.5035767347

1443.4405847042

1432.5145006243

1415.8439382772

1442.5006002456

1436.0991019775

1410.3256554178

1429.6808583607

1437.9836338573

1411.0875221609

1433.4583237658

1434.2131215382

1410.3256554178

1433.4583237658

1439.8667171775

1411.0875221609

1424.1932415075

1439.8667171775

1411.0875221609

1425.14025148

1435.1562928278

1415.8439382772

1426.0868993126

1438.9253565873

1410.3256554178

1426.843956838

1442.5006002456

1410.3256554178

1426.0868993126

1437.9836338573

1409.3729960629

1426.843956838

1427.7899528188

1410.3256554178

1429.6808583607

1426.843956838

1406.5128451589

1435.1562928278

1433.4583237658

1407.4665909335

1438.9253565873

1431.570315343

1412.9911750271

1450.7600348396

1430.6257679218

1412.039529664

1452.6332679546

1430.6257679218

1412.039529664

1458.0574523838

1425.14025148

1418.5035767347

1459.9250361165

1429.6808583607

1417.7439697445

1461.7911712896

1432.5145006243

1416.7941350808

1459.9250361165

1431.570315343

1412.9911750271

1461.7911712896

1434.2131215382

1415.8439382772

1458.9914253201

1432.5145006243

1417.7439697445

1458.9914253201

1437.0415489874

1415.8439382772

1458.0574523838

1441.7483519381

1412.039529664

1455.440401578

1438.9253565873

1415.8439382772

1456.375388506

1435.1562928278

1411.0875221609

1449.8228750722

1427.7899528188

1416.7941350808

1449.8228750722

1429.6808583607

1413.9424582504

1452.6332679546

1426.0868993126

1415.8439382772

1453.5693413023

1425.14025148

1417.7439697445

1455.440401578

1427.7899528188

1419.4527595466

1449.8228750722

1424.1932415075

1420.4015802186

1449.8228750722

1425.14025148

1418.5035767347

1445.3194672015

1428.7355866597

1417.7439697445

1452.6332679546

1428.7355866597

1420.4015802186

1440.8077156277

1431.570315343

1416.7941350808

1437.9836338573

1429.6808583607

1418.5035767347

1439.8667171775

1429.6808583607

1419.4527595466

1441.7483519381

1426.0868993126

1417.7439697445

1445.3194672015

1432.5145006243

1423.2458693951

1446.2583652404

1433.4583237658

1421.3500387506

1445.3194672015

1437.0415489874

1424.1932415075

1450.7600348396

1446.2583652404

1425.14025148

1446.2583652404

1441.7483519381

1421.3500387506

1444.3802070228

1441.7483519381

1413.9424582504

1448.1350748984

1440.8077156277

1418.5035767347

1444.3802070228

1437.0415489874

1417.7439697445

1444.3802070228

1438.9253565873

1412.039529664

1440.8077156277

1438.9253565873

1410.3256554178

1440.8077156277

1439.8667171775

1416.7941350808

1442.5006002456

1439.8667171775

1414.8933793338

1437.9836338573

1432.5145006243

1408.4199745681

1444.3802070228

1435.1562928278

1406.5128451589

1446.2583652404

1436.0991019775

1409.3729960629

1442.5006002456

1437.0415489874

1402.6942406618

1441.7483519381

1438.9253565873

1404.6042671902

1440.8077156277

1437.9836338573

1406.5128451589

1442.5006002456

1438.9253565873

1405.5587372445

1442.5006002456

1434.2131215382

1410.3256554178

1438.9253565873

1435.1562928278

1421.3500387506

1441.7483519381

1432.5145006243

1421.3500387506

1444.3802070228

1434.2131215382

1421.3500387506

1443.4405847042

1436.0991019775

1418.5035767347

1444.3802070228

1428.7355866597

1419.4527595466

1439.8667171775

1433.4583237658

1412.9911750271

1441.7483519381

1423.2458693951

1412.039529664

1445.3194672015

1427.7899528188

1412.9911750271

1446.2583652404

1426.843956838

1410.3256554178

1448.1350748984

1423.2458693951

1405.5587372445

1448.1350748984

1426.843956838

1415.8439382772

1446.2583652404

1424.1932415075

1416.7941350808

1447.1969011394

1429.6808583607

1411.0875221609

1451.696832467

1430.6257679218

1407.4665909335

1451.696832467

1427.7899528188

1413.9424582504

1455.440401578

1427.7899528188

1409.3729960629

1457.310013294

1427.7899528188

1412.9911750271

1456.375388506

1423.2458693951

1405.5587372445

1452.6332679546

1425.14025148

1408.4199745681

1455.440401578

1418.5035767347

1407.4665909335

1457.310013294

1420.4015802186

1403.6494349959

1458.0574523838

1425.14025148

1400.9739782678

1458.0574523838

1424.1932415075

1408.4199745681

1456.375388506

1419.4527595466

1405.5587372445

1456.375388506

1412.9911750271

1403.6494349959

1458.0574523838

1411.0875221609

1405.5587372445

1461.7911712896

1410.3256554178

1405.5587372445

1458.9914253201

1420.4015802186

1405.5587372445

1453.5693413023

1417.7439697445

1401.9298244538

1456.375388506

1425.14025148

1404.6042671902

1458.9914253201

1423.2458693951

1401.9298244538

1458.0574523838

1418.5035767347

1401.9298244538

1458.9914253201

1419.4527595466

1397.1469721251

1454.5050525101

1418.5035767347

1397.1469721251

1458.9914253201

1422.2981351428

1400.9739782678

1461.7911712896

1419.4527595466

1394.4646202534

1463.6558579031

1420.4015802186

1391.5875212024

1457.310013294

1421.3500387506

1389.6676444689

1461.7911712896

1414.8933793338

1396.1893152397

1458.9914253201

1414.8933793338

1397.1469721251

1458.9914253201

1413.9424582504

1399.0611994763

1460.858284773

1412.039529664

1395.2312962144

1459.9250361165

1415.8439382772

1401.9298244538

1461.7911712896

1412.9911750271

1400.017769942

1465.3328373368

1417.7439697445

1397.1469721251

1462.7236956663

1414.8933793338

1400.017769942

1462.7236956663

1418.5035767347

1394.4646202534

1463.6558579031

1416.7941350808

1398.1042668707

1460.858284773

1415.8439382772

1396.1893152397

1458.0574523838

1417.7439697445

1389.6676444689

1458.9914253201

1420.4015802186

1388.7071628923

1458.9914253201

1418.5035767347

1394.4646202534

1457.310013294

1426.843956838

1391.5875212024

1458.9914253201

1424.1932415075

1381.2029779537

1454.5050525101

1420.4015802186

1386.7851133194

1453.5693413023

1424.1932415075

1386.0158878936

1453.5693413023

1419.4527595466

1383.1292283493

1456.375388506

1420.4015802186

1378.5037938197

1453.5693413023

1418.5035767347

1375.6086602019

1452.6332679546

1423.2458693951

1383.1292283493

1446.2583652404

1421.3500387506

1385.0540301854

1443.4405847042

1424.1932415075

1378.5037938197

1442.5006002456

1426.0868993126

1384.0918103373

1441.7483519381

1424.1932415075

1383.1292283493

1448.1350748984

1419.4527595466

1384.0918103373

1447.1969011394

1423.2458693951

1379.2752789985

1447.1969011394

1421.3500387506

1385.0540301854

1453.5693413023

1417.7439697445

1383.1292283493

1449.0728865176

1421.3500387506

1384.0918103373

1449.0728865176

1417.7439697445

1386.0158878936

1451.696832467

1419.4527595466

1386.0158878936

1449.8228750722

1416.7941350808

1373.6767604239

1451.696832467

1417.7439697445

1384.0918103373

1452.6332679546

1418.5035767347

1379.2752789985

1448.1350748984

1421.3500387506

1383.1292283493

1449.0728865176

1426.0868993126

1382.1662842215

1448.1350748984

1427.7899528188

1375.6086602019

1452.6332679546

1424.1932415075

1387.7463191758

1454.5050525101

1426.843956838

1386.0158878936

1450.7600348396

1435.1562928278

1389.6676444689

1452.6332679546

1432.5145006243

1398.1042668707

1451.696832467

1429.6808583607

1388.7071628923

1449.8228750722

1429.6808583607

1386.0158878936

1448.1350748984

1429.6808583607

1392.5469163593

1450.7600348396

1428.7355866597

1390.6277639056

1450.7600348396

1428.7355866597

1391.5875212024

1455.440401578

1426.0868993126

1397.1469721251

1449.8228750722

1432.5145006243

1399.0611994763

1449.0728865176

1430.6257679218

1398.1042668707

1451.696832467

1429.6808583607

1399.0611994763

1448.1350748984

1427.7899528188

1396.1893152397

1447.1969011394

1438.9253565873

1390.6277639056

1446.2583652404

1441.7483519381

1389.6676444689

1449.0728865176

1435.1562928278

1392.5469163593

1451.696832467

1435.1562928278

1388.7071628923

1450.7600348396

1437.0415489874

1385.0540301854

1453.5693413023

1433.4583237658

1386.7851133194

1449.8228750722

1436.0991019775

1392.5469163593

1447.1969011394

1426.843956838

1386.7851133194

1446.2583652404

1431.570315343

1384.0918103373

1449.8228750722

1427.7899528188

1383.1292283493

1453.5693413023

1431.570315343

1386.7851133194

1457.310013294

1429.6808583607

1386.7851133194

1454.5050525101

1427.7899528188

1390.6277639056

1459.9250361165

1433.4583237658

1393.5059493763

1453.5693413023

1434.2131215382

1385.0540301854

1458.0574523838

1432.5145006243

1386.7851133194

1457.310013294

1430.6257679218

1388.7071628923

1455.440401578

1437.0415489874

1385.0540301854

1458.0574523838

1436.0991019775

1384.0918103373

1452.6332679546

1442.5006002456

1386.0158878936

1451.696832467

1439.8667171775

1388.7071628923

1454.5050525101

1435.1562928278

1389.6676444689

1450.7600348396

1428.7355866597

1389.6676444689

1453.5693413023

1430.6257679218

1392.5469163593

1454.5050525101

1429.6808583607

1390.6277639056

1454.5050525101

1432.5145006243

1389.6676444689

1454.5050525101

1436.0991019775

1389.6676444689

1452.6332679546

1438.9253565873

1385.0540301854

1449.0728865176

1437.9836338573

1391.5875212024

1454.5050525101

1439.8667171775

1391.5875212024

1454.5050525101

1435.1562928278

1387.7463191758

1452.6332679546

1432.5145006243

1388.7071628923

1456.375388506

1432.5145006243

1386.0158878936

1455.440401578

1431.570315343

1386.0158878936

1455.440401578

1432.5145006243

1387.7463191758

1454.5050525101

1431.570315343

1390.6277639056

1452.6332679546

1430.6257679218

1390.6277639056

1448.1350748984

1429.6808583607

1390.6277639056

1449.8228750722

1429.6808583607

1384.0918103373

1453.5693413023

1429.6808583607

1386.7851133194

1448.1350748984

1433.4583237658

1386.7851133194

1445.3194672015

1428.7355866597

1381.2029779537

1442.5006002456

1427.7899528188

1382.1662842215

1445.3194672015

1429.6808583607

1386.0158878936

1445.3194672015

1427.7899528188

1378.5037938197

1437.9836338573

1426.0868993126

1376.574066881

1440.8077156277

1424.1932415075

1377.5391114203

1443.4405847042

1422.2981351428

1373.6767604239

1440.8077156277

1421.3500387506

1374.6428913828

1445.3194672015

1425.14025148

1376.574066881

1444.3802070228

1424.1932415075

1376.574066881

1440.8077156277

1421.3500387506

1378.5037938197

1443.4405847042

1421.3500387506

1376.574066881

1430.6257679218

1421.3500387506

1368.0660594632

1434.2131215382

1426.0868993126

1364.1895125829

1433.4583237658

1429.6808583607

1368.0660594632

1432.5145006243

1428.7355866597

1369.0342908336

1428.7355866597

1423.2458693951

1366.1285103029

1427.7899528188

1424.1932415075

1367.097465953

1431.570315343

1431.570315343

1369.0342908336

1435.1562928278

1428.7355866597

1365.1591925128

1436.0991019775

1435.1562928278

1370.7761947076

1438.9253565873

1438.9253565873

1370.7761947076

1433.4583237658

1438.9253565873

1375.6086602019

1434.2131215382

1437.0415489874

1381.2029779537

1434.2131215382

1439.8667171775

1384.0918103373

1433.4583237658

1439.8667171775

1386.0158878936

1433.4583237658

1436.0991019775

1384.0918103373

1433.4583237658

1437.9836338573

1382.1662842215

1434.2131215382

1434.2131215382

1380.239309546

1434.2131215382

1435.1562928278

1381.2029779537

1430.6257679218

1434.2131215382

1375.6086602019

1433.4583237658

1432.5145006243

1371.7434120863

1428.7355866597

1435.1562928278

1374.6428913828

1432.5145006243

1439.8667171775

1377.5391114203

1435.1562928278

1443.4405847042

1376.574066881

1435.1562928278

1438.9253565873

1374.6428913828

1434.2131215382

1436.0991019775

1379.2752789985

1436.0991019775

1435.1562928278

1384.0918103373

1435.1562928278

1429.6808583607

1383.1292283493

1435.1562928278

1433.4583237658

1384.0918103373

1438.9253565873

1426.0868993126

1382.1662842215

1440.8077156277

1425.14025148

1382.1662842215

1440.8077156277

1423.2458693951

1383.1292283493

1442.5006002456

1425.14025148

1385.0540301854

1437.9836338573

1420.4015802186

1385.0540301854

1437.9836338573

1427.7899528188

1382.1662842215

1442.5006002456

1423.2458693951

1386.0158878936

1445.3194672015

1423.2458693951

1393.5059493763

1449.0728865176

1424.1932415075

1390.6277639056

1448.1350748984

1420.4015802186

1387.7463191758

1451.696832467

1422.2981351428

1386.7851133194

1451.696832467

1420.4015802186

1386.0158878936

1449.8228750722

1423.2458693951

1386.0158878936

1453.5693413023

1420.4015802186

1389.6676444689

1450.7600348396

1416.7941350808

1389.6676444689

1449.0728865176

1413.9424582504

1388.7071628923

1447.1969011394

1413.9424582504

1388.7071628923

1449.0728865176

1412.039529664

1387.7463191758

1449.0728865176

1410.3256554178

1385.0540301854

1448.1350748984

1409.3729960629

1381.2029779537

1449.0728865176

1412.039529664

1377.5391114203

1448.1350748984

1407.4665909335

1379.2752789985

1448.1350748984

1412.039529664

1375.6086602019

1449.0728865176

1402.6942406618

1372.710267325

1451.696832467

1401.9298244538

1376.574066881

1450.7600348396

1408.4199745681

1374.6428913828

1452.6332679546

1408.4199745681

1379.2752789985

1452.6332679546

1412.039529664

1379.2752789985

1451.696832467

1415.8439382772

1376.574066881

1449.8228750722

1419.4527595466

1377.5391114203

1449.0728865176

1423.2458693951

1373.6767604239

1448.1350748984

1417.7439697445

1371.7434120863

1449.8228750722

1418.5035767347

1372.710267325

1448.1350748984

1417.7439697445

1372.710267325

1443.4405847042

1421.3500387506

1376.574066881

1448.1350748984

1422.2981351428

1381.2029779537

1449.0728865176

1414.8933793338

1379.2752789985

1441.7483519381

1415.8439382772

1374.6428913828

1438.9253565873

1414.8933793338

1377.5391114203

1441.7483519381

1412.9911750271

1375.6086602019

1440.8077156277

1408.4199745681

1378.5037938197

1442.5006002456

1406.5128451589

1377.5391114203

1437.0415489874

1398.1042668707

1376.574066881

1440.8077156277

1398.1042668707

1374.6428913828

1442.5006002456

1400.017769942

1376.574066881

1440.8077156277

1398.1042668707

1378.5037938197

1439.8667171775

1400.9739782678

1377.5391114203

1431.570315343

1403.6494349959

1378.5037938197

1426.0868993126

1402.6942406618

1373.6767604239

1422.2981351428

1407.4665909335

1376.574066881

1423.2458693951

1403.6494349959

1375.6086602019

1427.7899528188

1402.6942406618

1378.5037938197

1424.1932415075

1415.8439382772

1376.574066881

1428.7355866597

1416.7941350808

1373.6767604239

1426.843956838

1412.9911750271

1374.6428913828

1435.1562928278

1415.8439382772

1378.5037938197

1437.0415489874

1413.9424582504

1377.5391114203

1438.9253565873

1420.4015802186

1379.2752789985

1440.8077156277

1412.9911750271

1376.574066881

1442.5006002456

1415.8439382772

1379.2752789985

1441.7483519381

1411.0875221609

1377.5391114203

1441.7483519381

1406.5128451589

1376.574066881

1439.8667171775

1409.3729960629

1378.5037938197

1446.2583652404

1409.3729960629

1381.2029779537

1441.7483519381

1413.9424582504

1381.2029779537

1444.3802070228

1412.039529664

1386.0158878936

1445.3194672015

1404.6042671902

1381.2029779537

1443.4405847042

1403.6494349959

1376.574066881

1439.8667171775

1402.6942406618

1380.239309546

1430.6257679218

1405.5587372445

1382.1662842215

1429.6808583607

1405.5587372445

1376.574066881

1426.0868993126

1402.6942406618

1373.6767604239

1422.2981351428

1410.3256554178

1376.574066881

1417.7439697445

1410.3256554178

1374.6428913828

1409.3729960629

1413.9424582504

1370.7761947076

1412.039529664

1415.8439382772

1372.710267325

1412.9911750271

1408.4199745681

1372.710267325

1411.0875221609

1411.0875221609

1372.710267325

1409.3729960629

1412.9911750271

1370.7761947076

1409.3729960629

1417.7439697445

1373.6767604239

1419.4527595466

1415.8439382772

1365.1591925128

1417.7439697445

1417.7439697445

1370.002160064

1412.039529664

1423.2458693951

1373.6767604239

1414.8933793338

1418.5035767347

1373.6767604239

1417.7439697445

1414.8933793338

1371.7434120863

1419.4527595466

1418.5035767347

1375.6086602019

1418.5035767347

1419.4527595466

1376.574066881

1423.2458693951

1421.3500387506

1371.7434120863

1423.2458693951

1421.3500387506

1369.0342908336

1421.3500387506

1421.3500387506

1367.097465953

1422.2981351428

1418.5035767347

1370.7761947076

1425.14025148

1416.7941350808

1376.574066881

1426.0868993126

1415.8439382772

1380.239309546

1424.1932415075

1414.8933793338

1377.5391114203

1421.3500387506

1412.9911750271

1379.2752789985

1418.5035767347

1410.3256554178

1379.2752789985

1426.0868993126

1412.9911750271

1377.5391114203

1424.1932415075

1415.8439382772

1375.6086602019

1423.2458693951

1417.7439697445

1377.5391114203

1421.3500387506

1412.9911750271

1378.5037938197

1422.2981351428

1413.9424582504

1379.2752789985

1417.7439697445

1414.8933793338

1379.2752789985

1424.1932415075

1416.7941350808

1376.574066881

1427.7899528188

1420.4015802186

1375.6086602019

1424.1932415075

1421.3500387506

1370.7761947076

1430.6257679218

1420.4015802186

1370.002160064

1431.570315343

1419.4527595466

1372.710267325

1430.6257679218

1417.7439697445

1371.7434120863

1432.5145006243

1415.8439382772

1370.002160064

1431.570315343

1415.8439382772

1370.7761947076

1432.5145006243

1415.8439382772

1370.002160064

1427.7899528188

1421.3500387506

1368.0660594632

1429.6808583607

1416.7941350808

1364.1895125829

1429.6808583607

1411.0875221609

1366.1285103029

1432.5145006243

1412.9911750271

1369.0342908336

1431.570315343

1412.9911750271

1367.097465953

1435.1562928278

1411.0875221609

1368.0660594632

1438.9253565873

1415.8439382772

1370.002160064

1436.0991019775

1418.5035767347

1362.2490663034

1424.1932415075

1415.8439382772

1357.5860851094

1431.570315343

1413.9424582504

1370.7761947076

1422.2981351428

1408.4199745681

1372.710267325

1416.7941350808

1404.6042671902

1370.002160064

1422.2981351428

1400.9739782678

1366.1285103029

1426.843956838

1400.9739782678

1367.097465953

1431.570315343

1400.017769942

1369.0342908336

1424.1932415075

1405.5587372445

1370.002160064

1426.0868993126

1400.9739782678

1368.0660594632

1426.843956838

1394.4646202534

1367.097465953

1428.7355866597

1391.5875212024

1368.0660594632

1428.7355866597

1394.4646202534

1370.002160064

1426.843956838

1393.5059493763

1370.002160064

1424.1932415075

1403.6494349959

1374.6428913828

1427.7899528188

1408.4199745681

1375.6086602019

1431.570315343

1405.5587372445

1373.6767604239

1434.2131215382

1405.5587372445

1373.6767604239

1431.570315343

1405.5587372445

1370.002160064

1433.4583237658

1405.5587372445

1369.0342908336

1427.7899528188

1409.3729960629

1377.5391114203

1430.6257679218

1403.6494349959

1373.6767604239

1427.7899528188

1404.6042671902

1375.6086602019

1423.2458693951

1405.5587372445

1370.7761947076

1425.14025148

1408.4199745681

1372.710267325

1427.7899528188

1407.4665909335

1366.1285103029

1427.7899528188

1404.6042671902

1370.7761947076

1436.0991019775

1404.6042671902

1369.0342908336

1434.2131215382

1404.6042671902

1369.0342908336

1429.6808583607

1404.6042671902

1370.002160064

1430.6257679218

1404.6042671902

1369.0342908336

1432.5145006243

1408.4199745681

1370.7761947076

1432.5145006243

1406.5128451589

1370.7761947076

1429.6808583607

1409.3729960629

1370.7761947076

1413.9424582504

1407.4665909335

1375.6086602019

1411.0875221609

1408.4199745681

1372.710267325

1404.6042671902

1408.4199745681

1373.6767604239

1404.6042671902

1411.0875221609

1373.6767604239

1405.5587372445

1412.9911750271

1376.574066881

1407.4665909335

1414.8933793338

1374.6428913828

1407.4665909335

1415.8439382772

1374.6428913828

1409.3729960629

1412.9911750271

1369.0342908336

1417.7439697445

1413.9424582504

1372.710267325

1416.7941350808

1412.039529664

1370.002160064

1419.4527595466

1413.9424582504

1370.7761947076

1419.4527595466

1413.9424582504

1377.5391114203

1415.8439382772

1411.0875221609

1375.6086602019

1415.8439382772

1414.8933793338

1377.5391114203

1416.7941350808

1415.8439382772

1371.7434120863

1419.4527595466

1415.8439382772

1376.574066881

1417.7439697445

1415.8439382772

1375.6086602019

1418.5035767347

1412.9911750271

1375.6086602019

1409.3729960629

1416.7941350808

1368.0660594632

1408.4199745681

1410.3256554178

1367.097465953

1406.5128451589

1410.3256554178

1368.0660594632

1412.9911750271

1417.7439697445

1366.1285103029

1417.7439697445

1412.9911750271

1366.1285103029

1408.4199745681

1408.4199745681

1370.7761947076

1410.3256554178

1412.039529664

1368.0660594632

1412.9911750271

1405.5587372445

1370.002160064

1416.7941350808

1400.9739782678

1374.6428913828

1414.8933793338

1403.6494349959

1371.7434120863

1417.7439697445

1407.4665909335

1369.0342908336

1413.9424582504

1409.3729960629

1367.097465953

1413.9424582504

1412.9911750271

1367.097465953

1421.3500387506

1402.6942406618

1367.097465953

1416.7941350808

1410.3256554178

1366.1285103029

1419.4527595466

1404.6042671902

1365.1591925128

1418.5035767347

1417.7439697445

1359.5300079319

1419.4527595466

1412.9911750271

1362.2490663034

1418.5035767347

1420.4015802186

1361.4724821949

1426.0868993126

1416.7941350808

1369.0342908336

1425.14025148

1420.4015802186

1367.097465953

1431.570315343

1421.3500387506

1369.0342908336

1426.843956838

1415.8439382772

1365.1591925128

1434.2131215382

1417.7439697445

1362.2490663034

1440.8077156277

1416.7941350808

1361.4724821949

1434.2131215382

1414.8933793338

1365.1591925128

1434.2131215382

1411.0875221609

1358.5582275906

1437.0415489874

1410.3256554178

1361.4724821949

1433.4583237658

1411.0875221609

1365.1591925128

1437.9836338573

1410.3256554178

1367.097465953

1435.1562928278

1406.5128451589

1371.7434120863

1433.4583237658

1412.039529664

1373.6767604239

1436.0991019775

1410.3256554178

1369.0342908336

1430.6257679218

1412.9911750271

1371.7434120863

1432.5145006243

1414.8933793338

1370.002160064

1433.4583237658

1414.8933793338

1365.1591925128

1428.7355866597

1416.7941350808

1370.7761947076

1426.843956838

1413.9424582504

1365.1591925128

1428.7355866597

1418.5035767347

1370.002160064

1429.6808583607

1422.2981351428

1365.1591925128

1426.843956838

1421.3500387506

1373.6767604239

1423.2458693951

1426.843956838

1363.2194705131

1418.5035767347

1424.1932415075

1364.1895125829

1421.3500387506

1420.4015802186

1364.1895125829

1418.5035767347

1419.4527595466

1361.4724821949

1417.7439697445

1413.9424582504

1364.1895125829

1416.7941350808

1413.9424582504

1368.0660594632

1417.7439697445

1417.7439697445

1367.097465953

1419.4527595466

1412.9911750271

1366.1285103029

1429.6808583607

1412.9911750271

1367.097465953

1430.6257679218

1412.9911750271

1370.002160064

1437.9836338573

1408.4199745681

1370.7761947076

1432.5145006243

1412.9911750271

1365.1591925128

1432.5145006243

1411.0875221609

1375.6086602019

1429.6808583607

1415.8439382772

1369.0342908336

1434.2131215382

1408.4199745681

1370.7761947076

1433.4583237658

1411.0875221609

1368.0660594632

1437.0415489874

1413.9424582504

1369.0342908336

1437.0415489874

1412.039529664

1365.1591925128

1437.0415489874

1407.4665909335

1371.7434120863

1433.4583237658

1409.3729960629

1370.7761947076

1432.5145006243

1406.5128451589

1374.6428913828

1436.0991019775

1402.6942406618

1376.574066881

1431.570315343

1406.5128451589

1363.2194705131

1430.6257679218

1406.5128451589

1370.7761947076

1420.4015802186

1401.9298244538

1374.6428913828

1429.6808583607

1408.4199745681

1372.710267325

1427.7899528188

1408.4199745681

1374.6428913828

1421.3500387506

1411.0875221609

1369.0342908336

1423.2458693951

1411.0875221609

1370.7761947076

1417.7439697445

1404.6042671902

1370.7761947076

1419.4527595466

1409.3729960629

1368.0660594632

1420.4015802186

1406.5128451589

1376.574066881

1414.8933793338

1414.8933793338

1372.710267325

1412.9911750271

1411.0875221609

1368.0660594632

1412.9911750271

1401.9298244538

1370.7761947076

1409.3729960629

1400.017769942

1362.2490663034

1408.4199745681

1406.5128451589

1370.7761947076

1409.3729960629

1403.6494349959

1363.2194705131

1409.3729960629

1398.1042668707

1366.1285103029

1409.3729960629

1396.1893152397

1366.1285103029

1408.4199745681

1398.1042668707

1367.097465953

1409.3729960629

1395.2312962144

1368.0660594632

1412.9911750271

1395.2312962144

1366.1285103029

1412.9911750271

1396.1893152397

1367.097465953

1413.9424582504

1400.017769942

1369.0342908336

1408.4199745681

1402.6942406618

1370.002160064

1409.3729960629

1395.2312962144

1371.7434120863

1412.9911750271

1398.1042668707

1382.1662842215

1410.3256554178

1393.5059493763

1383.1292283493

1412.9911750271

1393.5059493763

1382.1662842215

1413.9424582504

1399.0611994763

1386.7851133194

1416.7941350808

1399.0611994763

1386.7851133194

1417.7439697445

1394.4646202534

1386.7851133194

1419.4527595466

1408.4199745681

1387.7463191758

1411.0875221609

1397.1469721251

1380.239309546

1408.4199745681

1400.017769942

1378.5037938197

1412.9911750271

1393.5059493763

1379.2752789985

1413.9424582504

1390.6277639056

1379.2752789985

1418.5035767347

1396.1893152397

1377.5391114203

1417.7439697445

1398.1042668707

1370.002160064

1417.7439697445

1390.6277639056

1371.7434120863

1422.2981351428

1390.6277639056

1376.574066881

1424.1932415075

1393.5059493763

1377.5391114203

1424.1932415075

1389.6676444689

1374.6428913828

1420.4015802186

1386.7851133194

1372.710267325

1414.8933793338

1387.7463191758

1370.002160064

1416.7941350808

1392.5469163593

1365.1591925128

1419.4527595466

1393.5059493763

1369.0342908336

1418.5035767347

1392.5469163593

1365.1591925128

1415.8439382772

1390.6277639056

1362.2490663034

1412.9911750271

1385.0540301854

1355.6407137273

1416.7941350808

1391.5875212024

1352.9147602123

1412.9911750271

1390.6277639056

1359.5300079319

1410.3256554178

1391.5875212024

1361.4724821949

1407.4665909335

1399.0611994763

1355.6407137273

1407.4665909335

1393.5059493763

1358.5582275906

1410.3256554178

1395.2312962144

1355.6407137273

1408.4199745681

1390.6277639056

1353.888640965

1407.4665909335

1385.0540301854

1360.5014261334

1408.4199745681

1377.5391114203

1350.9659122872

1402.6942406618

1385.0540301854

1353.888640965

1403.6494349959

1382.1662842215

1355.6407137273

1401.9298244538

1382.1662842215

1352.9147602123

1400.9739782678

1384.0918103373

1346.0874550263

1400.9739782678

1382.1662842215

1348.0399243503

1397.1469721251

1383.1292283493

1346.0874550263

1401.9298244538

1380.239309546

1349.0156158025

1400.017769942

1374.6428913828

1347.0638707583

1403.6494349959

1373.6767604239

1346.0874550263

1399.0611994763

1367.097465953

1351.9405173197

1398.1042668707

1364.1895125829

1344.3289941162

1405.5587372445

1369.0342908336

1346.0874550263

1402.6942406618

1368.0660594632

1349.0156158025

1400.9739782678

1372.710267325

1353.888640965

1406.5128451589

1373.6767604239

1357.5860851094

1402.6942406618

1371.7434120863

1352.9147602123

1402.6942406618

1376.574066881

1348.0399243503

1400.9739782678

1377.5391114203

1345.3060617

1404.6042671902

1370.002160064

1344.3289941162

1406.5128451589

1373.6767604239

1355.6407137273

1402.6942406618

1383.1292283493

1356.6135804883

1403.6494349959

1386.7851133194

1352.9147602123

1400.017769942

1386.7851133194

1359.5300079319

1400.017769942

1380.239309546

1366.1285103029

1400.9739782678

1386.7851133194

1355.6407137273

1399.0611994763

1386.0158878936

1360.5014261334

1394.4646202534

1384.0918103373

1370.002160064

1402.6942406618

1386.0158878936

1362.2490663034

1402.6942406618

1387.7463191758

1363.2194705131

1404.6042671902

1379.2752789985

1361.4724821949

1403.6494349959

1375.6086602019

1352.9147602123

1402.6942406618

1380.239309546

1353.888640965

1395.2312962144

1376.574066881

1353.888640965

1400.017769942

1383.1292283493

1349.0156158025

1400.017769942

1377.5391114203

1349.0156158025

1400.9739782678

1365.1591925128

1348.0399243503

1402.6942406618

1369.0342908336

1352.9147602123

1410.3256554178

1365.1591925128

1355.6407137273

1405.5587372445

1360.5014261334

1349.9909451148

1404.6042671902

1348.0399243503

1349.0156158025

1402.6942406618

1345.3060617

1349.9909451148

1401.9298244538

1352.9147602123

1345.3060617

1400.9739782678

1353.888640965

1348.0399243503

1400.017769942

1353.888640965

1347.0638707583

1400.9739782678

1347.0638707583

1346.0874550263

1402.6942406618

1347.0638707583

1347.0638707583

1406.5128451589

1342.373772529

1343.3515643926

1412.9911750271

1342.373772529

1344.3289941162

1411.0875221609

1346.0874550263

1336.6954383216

1412.039529664

1345.3060617

1332.7722478228

1406.5128451589

1344.3289941162

1335.7151839067

1403.6494349959

1339.4382240989

1335.7151839067

1401.9298244538

1341.3956185255

1337.6753305965

1402.6942406618

1340.4171023822

1332.7722478228

1402.6942406618

1349.9909451148

1344.3289941162

1407.4665909335

1336.6954383216

1338.4589836758

1402.6942406618

1329.0398499357

1332.7722478228

1405.5587372445

1338.4589836758

1333.7535886573

1406.5128451589

1332.7722478228

1336.6954383216

1410.3256554178

1322.1506912556

1340.4171023822

1406.5128451589

1325.1053606722

1340.4171023822

1403.6494349959

1346.0874550263

1335.7151839067

1404.6042671902

1336.6954383216

1345.3060617

1400.017769942

1335.7151839067

1338.4589836758

1400.9739782678

1330.808479734

1348.0399243503

1405.5587372445

1334.734567352

1344.3289941162

1409.3729960629

1332.7722478228

1334.734567352

1403.6494349959

1327.0733295837

1334.734567352

1401.9298244538

1331.7905448483

1337.6753305965

1405.5587372445

1337.6753305965

1346.0874550263

1407.4665909335

1332.7722478228

1341.3956185255

1403.6494349959

1329.8260524798

1341.3956185255

1400.017769942

1334.734567352

1341.3956185255

1400.9739782678

1334.734567352

1345.3060617

1405.5587372445

1336.6954383216

1337.6753305965

1402.6942406618

1335.7151839067

1342.373772529

1397.1469721251

1334.734567352

1338.4589836758

1400.9739782678

1326.0895261979

1331.7905448483

1403.6494349959

1328.0567708297

1333.7535886573

1403.6494349959

1316.4290885736

1337.6753305965

1404.6042671902

1320.3763251614

1334.734567352

1403.6494349959

1315.4413740769

1339.4382240989

1404.6042671902

1316.4290885736

1338.4589836758

1407.4665909335

1315.4413740769

1342.373772529

1410.3256554178

1307.7247723615

1339.4382240989

1418.5035767347

1311.6847562736

1340.4171023822

1415.8439382772

1303.9574207318

1339.4382240989

1413.9424582504

1312.6738469019

1335.7151839067

1412.039529664

1306.7338710338

1345.3060617

1408.4199745681

1304.9493360512

1349.9909451148

1408.4199745681

1307.7247723615

1350.9659122872

1417.7439697445

1307.7247723615

1351.9405173197

1407.4665909335

1322.1506912556

1336.6954383216

1412.039529664

1320.3763251614

1339.4382240989

1408.4199745681

1315.4413740769

1344.3289941162

1415.8439382772

1314.4532974403

1339.4382240989

1409.3729960629

1309.7054885974

1345.3060617

1412.039529664

1318.4034311473

1339.4382240989

1413.9424582504

1316.4290885736

1339.4382240989

1412.9911750271

1308.7153115494

1347.0638707583

1411.0875221609

1309.7054885974

1351.9405173197

1408.4199745681

1306.7338710338

1339.4382240989

1408.4199745681

1308.7153115494

1343.3515643926

1404.6042671902

1306.7338710338

1342.373772529

1408.4199745681

1305.7426075661

1342.373772529

1409.3729960629

1301.9725036732

1339.4382240989

1407.4665909335

1301.9725036732

1351.9405173197

1406.5128451589

1296.2080525987

1341.3956185255

1404.6042671902

1296.2080525987

1344.3289941162

1403.6494349959

1294.2174861577

1339.4382240989

1403.6494349959

1290.232007597

1348.0399243503

1403.6494349959

1293.2216597274

1346.0874550263

1406.5128451589

1295.2129504482

1349.9909451148

1404.6042671902

1290.232007597

1349.0156158025

1400.9739782678

1286.4404360511

1344.3289941162

1397.1469721251

1288.4366518745

1349.9909451148

1393.5059493763

1290.232007597

1350.9659122872

1396.1893152397

1286.4404360511

1352.9147602123

1398.1042668707

1276.638039588

1360.5014261334

1392.5469163593

1273.6303528909

1361.4724821949

1387.7463191758

1273.6303528909

1355.6407137273

1382.1662842215

1270.8202380642

1356.6135804883

1386.7851133194

1275.6358394955

1349.9909451148

1378.5037938197

1276.638039588

1345.3060617

1374.6428913828

1277.6398775406

1336.6954383216

1378.5037938197

1279.6424670261

1328.0567708297

1384.0918103373

1277.6398775406

1325.1053606722

1381.2029779537

1276.638039588

1318.4034311473

1374.6428913828

1280.4430972236

1326.0895261979

1377.5391114203

1275.6358394955

1321.3622289586

1370.7761947076

1278.6413533533

1322.1506912556

1375.6086602019

1276.638039588

1326.0895261979

1374.6428913828

1278.6413533533

1323.135943201

1380.239309546

1276.638039588

1322.1506912556

1377.5391114203

1277.6398775406

1320.3763251614

1390.6277639056

1276.638039588

1320.3763251614

1389.6676444689

1275.6358394955

1320.3763251614

1391.5875212024

1283.4433962669

1332.7722478228

1394.4646202534

1289.2347326071

1333.7535886573

1388.7071628923

1287.4387250327

1331.7905448483

1381.2029779537

1288.4366518745

1338.4589836758

1370.7761947076

1284.4427716682

1339.4382240989

1377.5391114203

1320.3763251614

1336.6954383216

1376.574066881

1353.888640965

1335.7151839067

1380.239309546

1362.2490663034

1331.7905448483

1392.5469163593

1361.4724821949

1334.734567352

1397.1469721251

1364.1895125829

1338.4589836758

1397.1469721251

1363.2194705131

1340.4171023822

1397.1469721251

1359.5300079319

1325.1053606722

1397.1469721251

1358.5582275906

1325.1053606722

1396.1893152397

1365.1591925128

1325.1053606722

1391.5875212024

1369.0342908336

1313.4648586638

1396.1893152397

1371.7434120863

1310.6953035055

1395.2312962144

1370.002160064

1322.1506912556

1396.1893152397

1374.6428913828

1317.4164409304

1386.0158878936

1371.7434120863

1316.4290885736

1388.7071628923

1368.0660594632

1320.3763251614

1387.7463191758

1358.5582275906

1323.135943201

1391.5875212024

1361.4724821949

1318.4034311473

1381.2029779537

1362.2490663034

1317.4164409304

1382.1662842215

1362.2490663034

1316.4290885736

1383.1292283493

1366.1285103029

1309.7054885974

1387.7463191758

1381.2029779537

1303.9574207318

1385.0540301854

1377.5391114203

1309.7054885974

1389.6676444689

1370.7761947076

1306.7338710338

1386.0158878936

1378.5037938197

1306.7338710338

1383.1292283493

1375.6086602019

1311.6847562736

1385.0540301854

1370.7761947076

1311.6847562736

1388.7071628923

1377.5391114203

1309.7054885974

1394.4646202534

1378.5037938197

1303.9574207318

1386.7851133194

1375.6086602019

1307.7247723615

1392.5469163593

1373.6767604239

1313.4648586638

1386.7851133194

1366.1285103029

1307.7247723615

1389.6676444689

1349.9909451148

1312.6738469019

1395.2312962144

1348.0399243503

1323.135943201

1397.1469721251

1335.7151839067

1323.135943201

1392.5469163593

1335.7151839067

1327.0733295837

1385.0540301854

1341.3956185255

1312.6738469019

1385.0540301854

1341.3956185255

1304.9493360512

1378.5037938197

1360.5014261334

1304.9493360512

1377.5391114203

1368.0660594632

1306.7338710338

1373.6767604239

1366.1285103029

1300.979501934

1364.1895125829

1366.1285103029

1301.9725036732

1368.0660594632

1367.097465953

1294.2174861577

1370.002160064

1371.7434120863

1295.2129504482

1364.1895125829

1376.574066881

1301.9725036732

1357.5860851094

1378.5037938197

1289.2347326071

1346.0874550263

1371.7434120863

1296.2080525987

1357.5860851094

1359.5300079319

1292.2254711572

1354.6674848264

1356.6135804883

1288.4366518745

1349.0156158025

1360.5014261334

1290.232007597

1346.0874550263

1366.1285103029

1286.4404360511

1345.3060617

1373.6767604239

1290.232007597

1349.9909451148

1370.7761947076

1289.2347326071

1343.3515643926

1371.7434120863

1294.2174861577

1340.4171023822

1364.1895125829

1287.4387250327

1342.373772529

1367.097465953

1286.4404360511

1344.3289941162

1378.5037938197

1286.4404360511

1349.9909451148

1377.5391114203

1281.4435590446

1354.6674848264

1377.5391114203

1277.6398775406

1363.2194705131

1384.0918103373

1273.6303528909

1360.5014261334

1374.6428913828

1276.638039588

1358.5582275906

1376.574066881

1281.4435590446

1357.5860851094

1385.0540301854

1284.4427716682

1357.5860851094

1372.710267325

1296.2080525987

1362.2490663034

1372.710267325

1301.9725036732

1356.6135804883

1371.7434120863

1305.7426075661

1355.6407137273

1367.097465953

1312.6738469019

1352.9147602123

1363.2194705131

1305.7426075661

1350.9659122872

1358.5582275906

1301.9725036732

1349.9909451148

1361.4724821949

1295.2129504482

1352.9147602123

1365.1591925128

1299.986138055

1352.9147602123

1354.6674848264

1297.0038735784

1352.9147602123

1360.5014261334

1297.9983238772

1349.0156158025

1362.2490663034

1300.979501934

1343.3515643926

1360.5014261334

1302.9651432724

1343.3515643926

1370.002160064

1307.7247723615

1342.373772529

1370.002160064

1305.7426075661

1343.3515643926

1369.0342908336

1311.6847562736

1343.3515643926

1362.2490663034

1311.6847562736

1340.4171023822

1370.002160064

1310.6953035055

1348.0399243503

1376.574066881

1315.4413740769

1347.0638707583

1373.6767604239

1311.6847562736

1346.0874550263

1381.2029779537

1315.4413740769

1338.4589836758

1374.6428913828

1308.7153115494

1350.9659122872

1381.2029779537

1313.4648586638

1349.0156158025

1371.7434120863

1307.7247723615

1358.5582275906

1377.5391114203

1301.9725036732

1355.6407137273

1375.6086602019

1302.9651432724

1356.6135804883

1376.574066881

1302.9651432724

1362.2490663034

1377.5391114203

1307.7247723615

1356.6135804883

1370.7761947076

1304.9493360512

1358.5582275906

1370.002160064

1305.7426075661

1356.6135804883

1373.6767604239

1311.6847562736

1351.9405173197

1371.7434120863

1312.6738469019

1346.0874550263

1374.6428913828

1311.6847562736

1347.0638707583

1377.5391114203

1311.6847562736

1355.6407137273

1383.1292283493

1310.6953035055

1356.6135804883

1372.710267325

1310.6953035055

1356.6135804883

1381.2029779537

1311.6847562736

1359.5300079319

1383.1292283493

1311.6847562736

1360.5014261334

1382.1662842215

1319.3900592243

1361.4724821949

1378.5037938197

1312.6738469019

1357.5860851094

1374.6428913828

1314.4532974403

1363.2194705131

1375.6086602019

1321.3622289586

1361.4724821949

1377.5391114203

1322.1506912556

1357.5860851094

1381.2029779537

1326.0895261979

1360.5014261334

1381.2029779537

1315.4413740769

1360.5014261334

1380.239309546

1316.4290885736

1359.5300079319

1384.0918103373

1324.1208330066

1356.6135804883

1380.239309546

1329.8260524798

1358.5582275906

1381.2029779537

1337.6753305965

1361.4724821949

1381.2029779537

1330.808479734

1361.4724821949

1386.0158878936

1328.0567708297

1362.2490663034

1382.1662842215

1332.7722478228

1358.5582275906

1382.1662842215

1331.7905448483

1361.4724821949

1378.5037938197

1322.1506912556

1359.5300079319

1383.1292283493

1324.1208330066

1363.2194705131

1383.1292283493

1325.1053606722

1366.1285103029

1386.7851133194

1327.0733295837

1371.7434120863

1383.1292283493

1337.6753305965

1372.710267325

1383.1292283493

1330.808479734

1371.7434120863

1381.2029779537

1331.7905448483

1370.002160064

1380.239309546

1322.1506912556

1365.1591925128

1382.1662842215

1315.4413740769

1369.0342908336

1384.0918103373

1318.4034311473

1362.2490663034

1383.1292283493

1319.3900592243

1369.0342908336

1375.6086602019

1322.1506912556

1372.710267325

1376.574066881

1325.1053606722

1373.6767604239

1379.2752789985

1323.135943201

1371.7434120863

1372.710267325

1319.3900592243

1374.6428913828

1376.574066881

1313.4648586638

1368.0660594632

1371.7434120863

1314.4532974403

1368.0660594632

1373.6767604239

1309.7054885974

1368.0660594632

1375.6086602019

1321.3622289586

1364.1895125829

1374.6428913828

1316.4290885736

1363.2194705131

1365.1591925128

1316.4290885736

1358.5582275906

1369.0342908336

1312.6738469019

1361.4724821949

1368.0660594632

1313.4648586638

1365.1591925128

1366.1285103029

1315.4413740769

1369.0342908336

1370.002160064

1309.7054885974

1368.0660594632

1367.097465953

1319.3900592243

1365.1591925128

1368.0660594632

1320.3763251614

1370.002160064

1368.0660594632

1320.3763251614

1370.002160064

1366.1285103029

1317.4164409304

1362.2490663034

1367.097465953

1316.4290885736

1370.002160064

1367.097465953

1313.4648586638

1369.0342908336

1365.1591925128

1313.4648586638

1370.7761947076

1362.2490663034

1315.4413740769

1364.1895125829

1361.4724821949

1311.6847562736

1370.002160064

1364.1895125829

1318.4034311473

1366.1285103029

1364.1895125829

1316.4290885736

1363.2194705131

1366.1285103029

1326.0895261979

1370.002160064

1367.097465953

1329.0398499357

1368.0660594632

1370.7761947076

1325.1053606722

1363.2194705131

1365.1591925128

1314.4532974403

1364.1895125829

1366.1285103029

1313.4648586638

1360.5014261334

1363.2194705131

1314.4532974403

1357.5860851094

1370.002160064

1311.6847562736

1359.5300079319

1370.002160064

1309.7054885974

1360.5014261334

1366.1285103029

1307.7247723615

1359.5300079319

1362.2490663034

1306.7338710338

1364.1895125829

1363.2194705131

1306.7338710338

1367.097465953

1365.1591925128

1307.7247723615

1370.002160064

1367.097465953

1306.7338710338

1379.2752789985

1372.710267325

1303.9574207318

1370.002160064

1370.002160064

1310.6953035055

1371.7434120863

1358.5582275906

1307.7247723615

1372.710267325

1367.097465953

1311.6847562736

1377.5391114203

1370.002160064

1313.4648586638

1375.6086602019

1374.6428913828

1311.6847562736

1373.6767604239

1370.7761947076

1307.7247723615

1370.002160064

1369.0342908336

1308.7153115494

1362.2490663034

1360.5014261334

1310.6953035055

1360.5014261334

1366.1285103029

1308.7153115494

1365.1591925128

1365.1591925128

1310.6953035055

1360.5014261334

1370.002160064

1316.4290885736

1354.6674848264

1360.5014261334

1318.4034311473

1361.4724821949

1364.1895125829

1318.4034311473

1354.6674848264

1362.2490663034

1313.4648586638

1353.888640965

1366.1285103029

1310.6953035055

1351.9405173197

1372.710267325

1311.6847562736

1354.6674848264

1365.1591925128

1314.4532974403

1355.6407137273

1367.097465953

1312.6738469019

1357.5860851094

1364.1895125829

1309.7054885974

1357.5860851094

1368.0660594632

1308.7153115494

1352.9147602123

1376.574066881

1306.7338710338

1359.5300079319

1372.710267325

1305.7426075661

1359.5300079319

1369.0342908336

1309.7054885974

1365.1591925128

1371.7434120863

1307.7247723615

1367.097465953

1371.7434120863

1306.7338710338

1363.2194705131

1367.097465953

1310.6953035055

1360.5014261334

1358.5582275906

1316.4290885736

1352.9147602123

1367.097465953

1315.4413740769

1350.9659122872

1359.5300079319

1318.4034311473

1348.0399243503

1356.6135804883

1317.4164409304

1350.9659122872

1363.2194705131

1322.1506912556

1355.6407137273

1368.0660594632

1321.3622289586

1349.9909451148

1370.002160064

1322.1506912556

1356.6135804883

1366.1285103029

1317.4164409304

1354.6674848264

1370.7761947076

1321.3622289586

1350.9659122872

1373.6767604239

1322.1506912556

1366.1285103029

1372.710267325

1319.3900592243

1364.1895125829

1370.002160064

1320.3763251614

1361.4724821949

1370.7761947076

1325.1053606722

1359.5300079319

1355.6407137273

1315.4413740769

1358.5582275906

1351.9405173197

1325.1053606722

1356.6135804883

1357.5860851094

1316.4290885736

1355.6407137273

1351.9405173197

1311.6847562736

1350.9659122872

1361.4724821949

1313.4648586638

1362.2490663034

1354.6674848264

1317.4164409304

1362.2490663034

1356.6135804883

1310.6953035055

1360.5014261334

1358.5582275906

1308.7153115494

1357.5860851094

1361.4724821949

1308.7153115494

1356.6135804883

1358.5582275906

1304.9493360512

1358.5582275906

1352.9147602123

1311.6847562736

1352.9147602123

1366.1285103029

1303.9574207318

1352.9147602123

1356.6135804883

1298.992412036

1352.9147602123

1360.5014261334

1299.986138055

1355.6407137273

1359.5300079319

1299.986138055

1358.5582275906

1359.5300079319

1301.9725036732

1360.5014261334

1361.4724821949

1306.7338710338

1370.002160064

1366.1285103029

1304.9493360512

1366.1285103029

1368.0660594632

1309.7054885974

1366.1285103029

1366.1285103029

1309.7054885974

1368.0660594632

1360.5014261334

1301.9725036732

1371.7434120863

1365.1591925128

1297.0038735784

1367.097465953

1369.0342908336

1297.9983238772

1370.002160064

1366.1285103029

1305.7426075661

1366.1285103029

1362.2490663034

1308.7153115494

1370.002160064

1364.1895125829

1304.9493360512

1365.1591925128

1370.7761947076

1296.2080525987

1372.710267325

1371.7434120863

1295.2129504482

1374.6428913828

1370.002160064

1296.2080525987

1372.710267325

1367.097465953

1290.232007597

1362.2490663034

1366.1285103029

1294.2174861577

1350.9659122872

1359.5300079319

1297.9983238772

1351.9405173197

1356.6135804883

1296.2080525987

1365.1591925128

1354.6674848264

1300.979501934

1360.5014261334

1359.5300079319

1298.992412036

1355.6407137273

1351.9405173197

1302.9651432724

1348.0399243503

1348.0399243503

1304.9493360512

1350.9659122872

1349.9909451148

1308.7153115494

1355.6407137273

1351.9405173197

1309.7054885974

1351.9405173197

1356.6135804883

1307.7247723615

1359.5300079319

1349.0156158025

1306.7338710338

1341.3956185255

1349.0156158025

1301.9725036732

1351.9405173197

1357.5860851094

1297.9983238772

1354.6674848264

1351.9405173197

1300.979501934

1357.5860851094

1354.6674848264

1298.992412036

1355.6407137273

1351.9405173197

1301.9725036732

1354.6674848264

1353.888640965

1302.9651432724

1363.2194705131

1351.9405173197

1296.2080525987

1370.7761947076

1353.888640965

1295.2129504482

1371.7434120863

1354.6674848264

1294.2174861577

1383.1292283493

1348.0399243503

1294.2174861577

1383.1292283493

1349.0156158025

1299.986138055

1378.5037938197

1352.9147602123

1300.979501934

1378.5037938197

1357.5860851094

1295.2129504482

1386.0158878936

1356.6135804883

1293.2216597274

1387.7463191758

1358.5582275906

1296.2080525987

1383.1292283493

1359.5300079319

1297.0038735784

1383.1292283493

1356.6135804883

1298.992412036

1385.0540301854

1361.4724821949

1291.2289204471

1380.239309546

1360.5014261334

1289.2347326071

1377.5391114203

1351.9405173197

1283.4433962669

1377.5391114203

1358.5582275906

1283.4433962669

1380.239309546

1347.0638707583

1283.4433962669

1378.5037938197

1337.6753305965

1282.4436587257

1381.2029779537

1341.3956185255

1282.4436587257

1387.7463191758

1336.6954383216

1281.4435590446

1382.1662842215

1338.4589836758

1276.638039588

1384.0918103373

1344.3289941162

1283.4433962669

1383.1292283493

1351.9405173197

1279.6424670261

1380.239309546

1358.5582275906

1277.6398775406

1387.7463191758

1359.5300079319

1279.6424670261

1374.6428913828

1359.5300079319

1283.4433962669

1374.6428913828

1359.5300079319

1279.6424670261

1371.7434120863

1367.097465953

1282.4436587257

1361.4724821949

1362.2490663034

1286.4404360511

1357.5860851094

1367.097465953

1286.4404360511

1363.2194705131

1368.0660594632

1289.2347326071

1356.6135804883

1365.1591925128

1284.4427716682

1360.5014261334

1357.5860851094

1282.4436587257

1363.2194705131

1345.3060617

1281.4435590446

1358.5582275906

1345.3060617

1283.4433962669

1359.5300079319

1349.0156158025

1289.2347326071

1362.2490663034

1339.4382240989

1286.4404360511

1355.6407137273

1345.3060617

1284.4427716682

1367.097465953

1345.3060617

1286.4404360511

1366.1285103029

1346.0874550263

1284.4427716682

1360.5014261334

1333.7535886573

1284.4427716682

1355.6407137273

1338.4589836758

1285.4417849296

1360.5014261334

1339.4382240989

1287.4387250327

1354.6674848264

1330.808479734

1289.2347326071

1357.5860851094

1333.7535886573

1287.4387250327

1352.9147602123

1342.373772529

1286.4404360511

1355.6407137273

1346.0874550263

1291.2289204471

1347.0638707583

1344.3289941162

1303.9574207318

1344.3289941162

1336.6954383216

1300.979501934

1349.9909451148

1340.4171023822

1305.7426075661

1347.0638707583

1337.6753305965

1300.979501934

1352.9147602123

1329.8260524798

1293.2216597274

1349.9909451148

1337.6753305965

1289.2347326071

1345.3060617

1344.3289941162

1288.4366518745

1345.3060617

1342.373772529

1285.4417849296

1355.6407137273

1344.3289941162

1282.4436587257

1356.6135804883

1346.0874550263

1291.2289204471

1352.9147602123

1340.4171023822

1296.2080525987

1349.0156158025

1341.3956185255

1288.4366518745

1351.9405173197

1337.6753305965

1299.986138055

1355.6407137273

1332.7722478228

1305.7426075661

1362.2490663034

1335.7151839067

1305.7426075661

1354.6674848264

1327.0733295837

1296.2080525987

1354.6674848264

1319.3900592243

1296.2080525987

1348.0399243503

1318.4034311473

1302.9651432724

1352.9147602123

1326.0895261979

1304.9493360512

1339.4382240989

1325.1053606722

1303.9574207318

1349.0156158025

1329.8260524798

1297.9983238772

1349.0156158025

1348.0399243503

1299.986138055

1349.0156158025

1352.9147602123

1303.9574207318

1353.888640965

1350.9659122872

1312.6738469019

1356.6135804883

1357.5860851094

1306.7338710338

1361.4724821949

1357.5860851094

1312.6738469019

1364.1895125829

1348.0399243503

1313.4648586638

1356.6135804883

1335.7151839067

1312.6738469019

1366.1285103029

1342.373772529

1309.7054885974

1361.4724821949

1335.7151839067

1307.7247723615

1361.4724821949

1330.808479734

1310.6953035055

1367.097465953

1322.1506912556

1310.6953035055

1358.5582275906

1334.734567352

1303.9574207318

1360.5014261334

1329.0398499357

1306.7338710338

1367.097465953

1324.1208330066

1301.9725036732

1356.6135804883

1323.135943201

1299.986138055

1350.9659122872

1320.3763251614

1301.9725036732

1354.6674848264

1329.0398499357

1305.7426075661

1354.6674848264

1334.734567352

1319.3900592243

1344.3289941162

1330.808479734

1325.1053606722

1341.3956185255

1317.4164409304

1330.808479734

1343.3515643926

1321.3622289586

1329.8260524798

1354.6674848264

1321.3622289586

1329.0398499357

1340.4171023822

1329.8260524798

1330.808479734

1348.0399243503

1329.0398499357

1327.0733295837

1353.888640965

1332.7722478228

1328.0567708297

1357.5860851094

1343.3515643926

1329.8260524798

1343.3515643926

1348.0399243503

1329.8260524798

1346.0874550263

1350.9659122872

1330.808479734

1348.0399243503

1349.9909451148

1325.1053606722

1346.0874550263

1342.373772529

1325.1053606722

1346.0874550263

1338.4589836758

1326.0895261979

1343.3515643926

1335.7151839067

1322.1506912556

1345.3060617

1335.7151839067

1311.6847562736

1341.3956185255

1327.0733295837

1314.4532974403

1335.7151839067

1319.3900592243

1309.7054885974

1332.7722478228

1318.4034311473

1306.7338710338

1339.4382240989

1325.1053606722

1307.7247723615

1342.373772529

1318.4034311473

1316.4290885736

1341.3956185255

1318.4034311473

1318.4034311473

1344.3289941162

1317.4164409304

1316.4290885736

1343.3515643926

1324.1208330066

1311.6847562736

1339.4382240989

1328.0567708297

1315.4413740769

1332.7722478228

1344.3289941162

1316.4290885736

1337.6753305965

1350.9659122872

1319.3900592243

1349.0156158025

1358.5582275906

1308.7153115494

1365.1591925128

1362.2490663034

1303.9574207318

1366.1285103029

1354.6674848264

1305.7426075661

1370.7761947076

1342.373772529

1299.986138055

1376.574066881

1353.888640965

1293.2216597274

1377.5391114203

1343.3515643926

1300.979501934

1376.574066881

1339.4382240989

1300.979501934

1363.2194705131

1338.4589836758

1303.9574207318

1367.097465953

1336.6954383216

1301.9725036732

1362.2490663034

1344.3289941162

1295.2129504482

1358.5582275906

1343.3515643926

1291.2289204471

1364.1895125829

1346.0874550263

1301.9725036732

1355.6407137273

1344.3289941162

1302.9651432724

1354.6674848264

1339.4382240989

1306.7338710338

1348.0399243503

1337.6753305965

1315.4413740769

1346.0874550263

1335.7151839067

1307.7247723615

1348.0399243503

1330.808479734

1304.9493360512

1348.0399243503

1324.1208330066

1309.7054885974

1359.5300079319

1326.0895261979

1314.4532974403

1360.5014261334

1317.4164409304

1307.7247723615

1358.5582275906

1306.7338710338

1310.6953035055

1353.888640965

1299.986138055

1306.7338710338

1354.6674848264

1290.232007597

1295.2129504482

1353.888640965

1288.4366518745

1298.992412036

1355.6407137273

1289.2347326071

1297.9983238772

1353.888640965

1280.4430972236

1293.2216597274

1350.9659122872

1266.8008632094

1291.2289204471

1350.9659122872

1286.4404360511

1296.2080525987

1348.0399243503

1276.638039588

1296.2080525987

1343.3515643926

1258.9464165644

1294.2174861577

1342.373772529

1262.977090184

1288.4366518745

1330.808479734

1294.2174861577

1291.2289204471

1342.373772529

1307.7247723615

1298.992412036

1345.3060617

1312.6738469019

1295.2129504482

1341.3956185255

1313.4648586638

1300.979501934

1344.3289941162

1318.4034311473

1302.9651432724

1346.0874550263

1309.7054885974

1302.9651432724

1339.4382240989

1308.7153115494

1303.9574207318

1345.3060617

1292.2254711572

1303.9574207318

1345.3060617

1295.2129504482

1303.9574207318

1346.0874550263

1285.4417849296

1304.9493360512

1344.3289941162

1285.4417849296

1297.9983238772

1338.4589836758

1290.232007597

1293.2216597274

1341.3956185255

1292.2254711572

1295.2129504482

1338.4589836758

1303.9574207318

1293.2216597274

1331.7905448483

1303.9574207318

1298.992412036

1337.6753305965

1311.6847562736

1288.4366518745

1345.3060617

1307.7247723615

1277.6398775406

1342.373772529

1309.7054885974

1280.4430972236

1331.7905448483

1312.6738469019

1269.8159375604

1330.808479734

1316.4290885736

1262.977090184

1329.8260524798

1328.0567708297

1271.8241764282

1336.6954383216

1331.7905448483

1268.8112749166

1343.3515643926

1334.734567352

1263.7825295993

1336.6954383216

1339.4382240989

1274.6332772631

1339.4382240989

1328.0567708297

1301.9725036732

1342.373772529

1327.0733295837

1299.986138055

1337.6753305965

1317.4164409304

1294.2174861577

1334.734567352

1319.3900592243

1291.2289204471

1332.7722478228

1322.1506912556

1297.0038735784

1336.6954383216

1333.7535886573

1305.7426075661

1337.6753305965

1331.7905448483

1298.992412036

1329.8260524798

1328.0567708297

1298.992412036

1328.0567708297

1330.808479734

1300.979501934

1331.7905448483

1338.4589836758

1307.7247723615

1327.0733295837

1342.373772529

1297.9983238772

1327.0733295837

1338.4589836758

1297.0038735784

1329.8260524798

1339.4382240989

1291.2289204471

1327.0733295837

1332.7722478228

1279.6424670261

1328.0567708297

1333.7535886573

1278.6413533533

1333.7535886573

1336.6954383216

1279.6424670261

1339.4382240989

1338.4589836758

1274.6332772631

1343.3515643926

1337.6753305965

1276.638039588

1344.3289941162

1335.7151839067

1274.6332772631

1346.0874550263

1332.7722478228

1277.6398775406

1351.9405173197

1328.0567708297

1270.8202380642

1351.9405173197

1337.6753305965

1276.638039588

1348.0399243503

1341.3956185255

1255.9196088808

1342.373772529

1333.7535886573

1249.0467782967

1339.4382240989

1337.6753305965

1248.0346555711

1342.373772529

1341.3956185255

1248.0346555711

1335.7151839067

1347.0638707583

1234.2338332541

1330.808479734

1349.9909451148

1232.1986511781

1328.0567708297

1340.4171023822

1226.2884315532

1330.808479734

1325.1053606722

1232.1986511781

1332.7722478228

1316.4290885736

1215.25073279

1330.808479734

1321.3622289586

1223.2266411557

1325.1053606722

1323.135943201

1216.2745164202

1317.4164409304

1328.0567708297

1220.3660295422

1301.9725036732

1322.1506912556

1226.2884315532

1301.9725036732

1320.3763251614

1233.2164232861

1308.7153115494

1322.1506912556

1234.2338332541

1313.4648586638

1324.1208330066

1240.1276696702

1321.3622289586

1315.4413740769

1238.096688417

1318.4034311473

1301.9725036732

1257.9378428098

1311.6847562736

1294.2174861577

1260.962477654

1300.979501934

1293.2216597274

1249.0467782967

1292.2254711572

1310.6953035055

1251.0699373283

1276.638039588

1310.6953035055

1265.7951141459

1263.7825295993

1323.135943201

1224.2476000948

1253.0916478002

1311.6847562736

1185.1965760651

1245.1987853552

1294.2174861577

1165.8915042632

1242.1572023639

1283.4433962669

1160.8892124734

1233.2164232861

1282.4436587257

1153.5792472355

1237.283890319

1297.0038735784

1156.7142623196

1234.2338332541

1269.8159375604

1153.5792472355

1246.2119220725

1249.0467782967

1150.6502925809

1246.2119220725

1255.1119097126

1158.8024616763

1251.0699373283

1256.9289069153

1155.6696194315

1283.4433962669

1259.9546281792

1154.6246144034

1305.7426075661

1255.1119097126

1166.9325981804

1301.9725036732

1243.1714255009

1172.9638015015

1291.2289204471

1246.2119220725

1192.2230698494

1299.986138055

1247.0221707056

1156.7142623196

1306.7338710338

1254.1019598263

1120.7818814832

1306.7338710338

1257.9378428098

1123.9507928615

1313.4648586638

1272.6270663787

1126.9055029054

1308.7153115494

1272.6270663787

1117.6097108458

1301.9725036732

1286.4404360511

1121.8385474159

1306.7338710338

1262.977090184

1126.0615897476

1313.4648586638

1256.9289069153

1129.0142718081

1288.4366518745

1251.0699373283

1122.8948512086

1284.4427716682

1241.142617087

1115.704844019

1268.8112749166

1248.0346555711

1129.0142718081

1259.9546281792

1257.9378428098

1134.2798566166

1263.7825295993

1255.1119097126

1134.2798566166

1274.6332772631

1246.2119220725

1143.5252967452

1262.977090184

1258.9464165644

1148.5564438419

1186.2309341803

1269.8159375604

1147.5089762626

1117.6097108458

1267.8062501329

1135.1215100214

1101.0618842753

1262.977090184

1122.8948512086

1121.8385474159

1251.0699373283

1126.0615897476

1129.0142718081

1255.9196088808

1098.0824328339

1191.1908121456

1244.185286498

1075.0026620375

1216.2745164202

1205.1984887706

1058.2288601726

1207.2527918331

1178.9828224364

1063.6146754262

1169.8457345644

1169.8457345644

1072.8570997215

1171.9248079957

1162.7660496723

1082.2867386862

1197.1728658401

1159.8460181448

1091.6883335375

1211.3570522793

1192.2230698494

1089.7675615265

1240.1276696702

1183.1267734151

1085.4949784571

1162.7660496723

1192.2230698494

1080.3602303793

1131.1215921512

1191.1908121456

1086.5636674343

1132.1747091129

1182.0913288803

1087.6319942716

1147.5089762626

1169.8457345644

1103.1883256049

1169.8457345644

1158.8024616763

1111.4676058034

1184.1618558101

1148.5564438419

1114.6460776749

1169.0136995952

1144.3644006852

1108.2858746727

1190.158192302

1137.2246295417

1079.2894409907

1178.1533369321

1136.1732508515

1094.8870128152

1171.9248079957

1132.1747091129

1127.9600684267

1161.7235071955

1146.4611465433

1120.7818814832

1150.6502925809

1153.5792472355

1103.1883256049

1183.1267734151

1156.7142623196

1109.3468138562

1203.3483774959

1158.8024616763

1142.4760908944

1207.2527918331

1158.8024616763

1150.6502925809

1210.3315303776

1162.7660496723

1143.5252967452

1213.2020791099

1172.9638015015

1115.704844019

1208.2794001545

1145.4129546842

1094.8870128152

1214.2265870199

1104.2510030598

1078.2182894623

1214.2265870199

1115.704844019

1073.9300619494

1214.2265870199

1120.7818814832

1070.9248551186

1217.2979379106

1102.1252860101

1075.0026620375

1225.2681968939

1067.70184004

1080.3602303793

1228.327814452

1056.0719990919

1082.2867386862

1249.0467782967

1050.8896223751

1082.2867386862

1249.0467782967

1051.9699722569

1094.8870128152

1247.0221707056

1067.70184004

1101.0618842753

1246.2119220725

1067.70184004

1110.4073908997

1235.2508810823

1072.8570997215

1114.6460776749

1215.25073279

1078.2182894623

1116.7632482232

1207.2527918331

1103.1883256049

1119.7248534106

1197.1728658401

1113.586949191

1118.6674631982

1167.9733299577

1125.0063723745

1118.6674631982

1142.4760908944

1123.9507928615

1102.1252860101

1127.9600684267

1120.7818814832

1105.3133183749

1121.8385474159

1126.0615897476

1107.4368625853

1126.0615897476

1139.3263005025

1104.2510030598

1132.1747091129

1129.0142718081

1098.0824328339

1123.9507928615

1105.3133183749

1093.8211485292

1129.0142718081

1086.5636674343

1075.0026620375

1155.6696194315

1082.2867386862

1069.850878899

1185.1965760651

1081.430657628

1067.70184004

1160.8892124734

1085.4949784571

1083.3565140831

1154.6246144034

1085.4949784571

1131.1215921512

1155.6696194315

1088.699958969

1174.0024328674

1146.4611465433

1093.8211485292

1158.8024616763

1131.1215921512

1099.9981204007

1138.2756460921

1090.6213828318

1107.4368625853

1111.4676058034

1085.4949784571

1104.2510030598

1098.0824328339

1094.8870128152

1109.3468138562

1097.0176549676

1089.7675615265

1156.7142623196

1094.8870128152

1107.4368625853

1164.8500482061

1093.8211485292

1151.6966737406

1148.5564438419

1125.0063723745

1158.8024616763

1145.4129546842

1130.0681130496

1165.8915042632

1150.6502925809

1119.7248534106

1163.8082300092

1157.7585430679

1120.7818814832

1151.6966737406

1169.8457345644

1117.6097108458

1144.3644006852

1183.1267734151

1132.1747091129

1138.2756460921

1205.1984887706

1139.3263005025

1137.2246295417

1223.2266411557

1146.4611465433

1142.4760908944

1257.9378428098

1175.0407020934

1162.7660496723

1250.0585388824

1133.2274639347

1170.8854523499

1250.0585388824

1107.4368625853

1178.9828224364

1242.1572023639

1087.6319942716

1165.8915042632

1228.327814452

1069.850878899

1160.8892124734

1219.3436944715

1090.6213828318

1163.8082300092

1213.2020791099

1126.0615897476

1169.8457345644

1200.2622512976

1146.4611465433

1178.9828224364

1189.1252103184

1107.4368625853

1188.091866195

1178.1533369321

1090.6213828318

1190.158192302

1181.0555222056

1082.2867386862

1185.1965760651

1170.8854523499

1059.3067475031

1171.9248079957

1158.8024616763

1057.1506107022

1162.7660496723

1162.7660496723

1059.3067475031

1158.8024616763

1157.7585430679

1076.0748999856

1155.6696194315

1159.8460181448

1122.8948512086

1161.7235071955

1174.0024328674

1143.5252967452

1160.8892124734

1197.1728658401

1184.1618558101

1151.6966737406

1202.320030903

1226.2884315532

1138.2756460921

1202.320030903

1256.9289069153

1131.1215921512

1199.232818285

1279.6424670261

1127.9600684267

1181.0555222056

1297.0038735784

1125.0063723745

1160.8892124734

1300.979501934

1117.6097108458

1154.6246144034

1300.979501934

1115.704844019

1151.6966737406

1304.9493360512

1113.586949191

1144.3644006852

1308.7153115494

1117.6097108458

1130.0681130496

1309.7054885974

1113.586949191

1118.6674631982

1301.9725036732

1118.6674631982

1119.7248534106

1310.6953035055

1112.5274585671

1118.6674631982

1318.4034311473

1108.2858746727

1114.6460776749

1293.2216597274

1112.5274585671

1110.4073908997

1280.4430972236

1103.1883256049

1104.2510030598

1249.0467782967

1107.4368625853

1108.2858746727

1225.2681968939

1103.1883256049

1106.37527155

1213.2020791099

1108.2858746727

1107.4368625853

1209.305646336

1107.4368625853

1097.0176549676

1209.305646336

1109.3468138562

1086.5636674343

1192.2230698494

1104.2510030598

1081.430657628

1177.1161541257

1101.0618842753

1087.6319942716

1147.5089762626

1095.9525149613

1092.7549221033

1138.2756460921

1090.6213828318

1092.7549221033

1133.2274639347

1082.2867386862

1088.699958969

1122.8948512086

1083.3565140831

1083.3565140831

1125.0063723745

1089.7675615265

1085.4949784571

1118.6674631982

1099.9981204007

1091.6883335375

1107.4368625853

1104.2510030598

1103.1883256049

1101.0618842753

1099.1468485603

1114.6460776749

1101.0618842753

1093.8211485292

1115.704844019

1094.8870128152

1092.7549221033

1127.9600684267

1101.0618842753

1090.6213828318

1144.3644006852

1102.1252860101

1090.6213828318

1159.8460181448

1109.3468138562

1086.5636674343

1176.0786091795

1112.5274585671

1081.430657628

1178.9828224364

1109.3468138562

1072.8570997215

1190.158192302

1117.6097108458

1066.6267774006

1195.3176701213

1121.8385474159

1063.6146754262

1204.1707940295

1126.9055029054

1070.9248551186

1212.3822120412

1133.2274639347

1075.0026620375

1223.2266411557

1137.2246295417

1093.8211485292

1232.1986511781

1144.3644006852

1092.7549221033

1236.2675667706

1140.376592773

1117.6097108458

1242.1572023639

1154.6246144034

1143.5252967452

1249.0467782967

1156.7142623196

1148.5564438419

1245.1987853552

1161.7235071955

1156.7142623196

1241.142617087

1163.8082300092

1162.7660496723

1236.2675667706

1160.8892124734

1163.8082300092

1232.1986511781

1171.9248079957

1167.9733299577

1234.2338332541

1172.9638015015

1171.9248079957

1236.2675667706

1175.0407020934

1175.0407020934

1229.3469626916

1171.9248079957

1174.0024328674

1236.2675667706

1175.0407020934

1176.0786091795

1231.1805169302

1178.1533369321

1178.9828224364

1234.2338332541

1176.0786091795

1183.1267734151

1228.327814452

1175.0407020934

1182.0913288803

1220.3660295422

1175.0407020934

1185.1965760651

1212.3822120412

1174.0024328674

1189.1252103184

1207.2527918331

1174.0024328674

1191.1908121456

1200.2622512976

1172.9638015015

1225.2681968939

1207.2527918331

1181.0555222056

1248.0346555711

1203.3483774959

1184.1618558101

1255.1119097126

1208.2794001545

1185.1965760651

1213.2020791099

1209.305646336

1187.0581599317

1202.320030903

1208.2794001545

1183.1267734151

1201.2913221702

1204.1707940295

1185.1965760651

1193.2549654133

1205.1984887706

1192.2230698494

1187.0581599317

1199.232818285

1195.3176701213

1181.0555222056

1202.320030903

1192.2230698494

1185.1965760651

1203.3483774959

1200.2622512976

1183.1267734151

1204.1707940295

1194.2864988373

1175.0407020934

1211.3570522793

1188.091866195

1172.9638015015

1210.3315303776

1187.0581599317

1166.9325981804

1221.183636858

1186.2309341803

1160.8892124734

1220.3660295422

1188.091866195

1154.6246144034

1222.2053200768

1192.2230698494

1153.5792472355

1221.183636858

1182.0913288803

1149.6035492814

1224.2476000948

1188.091866195

1141.4265229036

1232.1986511781

1194.2864988373

1143.5252967452

1233.2164232861

1206.2258213718

1163.8082300092

1236.2675667706

1217.2979379106

1177.1161541257

1250.0585388824

1206.2258213718

1190.158192302

1255.9196088808

1205.1984887706

1201.2913221702

1255.9196088808

1209.305646336

1206.2258213718

1250.0585388824

1218.320997261

1203.3483774959

1245.1987853552

1211.3570522793

1200.2622512976

1245.1987853552

1221.183636858

1199.232818285

1245.1987853552

1218.320997261

1190.158192302

1244.185286498

1219.3436944715

1185.1965760651

1244.185286498

1221.183636858

1190.158192302

1238.096688417

1216.2745164202

1184.1618558101

1233.2164232861

1227.3083040725

1172.9638015015

1229.3469626916

1222.2053200768

1159.8460181448

1231.1805169302

1208.2794001545

1157.7585430679

1234.2338332541

1209.305646336

1149.6035492814

1233.2164232861

1206.2258213718

1132.1747091129

1243.1714255009

1204.1707940295

1119.7248534106

1237.283890319

1201.2913221702

1111.4676058034

1229.3469626916

1200.2622512976

1119.7248534106

1231.1805169302

1191.1908121456

1127.9600684267

1233.2164232861

1190.158192302

1140.376592773

1231.1805169302

1189.1252103184

1155.6696194315

1223.2266411557

1201.2913221702

1166.9325981804

1211.3570522793

1199.232818285

1164.8500482061

1197.1728658401

1197.1728658401

1161.7235071955

1192.2230698494

1205.1984887706

1166.9325981804

1191.1908121456

1213.2020791099

1169.0136995952

1209.305646336

1219.3436944715

1164.8500482061

1228.327814452

1230.1620205425

1161.7235071955

1235.2508810823

1217.2979379106

1156.7142623196

1238.096688417

1205.1984887706

1149.6035492814

1243.1714255009

1208.2794001545

1143.5252967452

1245.1987853552

1202.320030903

1140.376592773

1244.185286498

1195.3176701213

1137.2246295417

1245.1987853552

1194.2864988373

1133.2274639347

1243.1714255009

1184.1618558101

1133.2274639347

1245.1987853552

1192.2230698494

1123.9507928615

1242.1572023639

1198.2030231325

1119.7248534106

1244.185286498

1196.1423464079

1121.8385474159

1250.0585388824

1204.1707940295

1125.0063723745

1252.0809736342

1213.2020791099

1135.1215100214

1254.1019598263

1218.320997261

1139.3263005025

1255.1119097126

1224.2476000948

1145.4129546842

1257.9378428098

1234.2338332541

1152.5335179276

1257.9378428098

1240.1276696702

1153.5792472355

1257.9378428098

1236.2675667706

1156.7142623196

1255.1119097126

1233.2164232861

1159.8460181448

1257.9378428098

1241.142617087

1159.8460181448

1257.9378428098

1243.1714255009

1159.8460181448

1257.9378428098

1245.1987853552

1163.8082300092

1259.9546281792

1248.0346555711

1166.9325981804

1259.9546281792

1251.0699373283

1166.9325981804

1262.977090184

1248.0346555711

1169.0136995952

1263.7825295993

1243.1714255009

1174.0024328674

1265.7951141459

1241.142617087

1176.0786091795

1270.8202380642

1247.0221707056

1178.9828224364

1272.6270663787

1250.0585388824

1181.0555222056

1272.6270663787

1241.142617087

1184.1618558101

1269.8159375604

1241.142617087

1187.0581599317

1267.8062501329

1236.2675667706

1187.0581599317

1261.969964989

1228.327814452

1189.1252103184

1258.9464165644

1224.2476000948

1192.2230698494

1258.9464165644

1219.3436944715

1199.232818285

1257.9378428098

1223.2266411557

1204.1707940295

1256.9289069153

1223.2266411557

1210.3315303776

1254.1019598263

1221.183636858

1213.2020791099

1252.0809736342

1223.2266411557

1215.25073279

1254.1019598263

1229.3469626916

1217.2979379106

1255.9196088808

1236.2675667706

1222.2053200768

1255.1119097126

1235.2508810823

1225.2681968939

1256.9289069153

1231.1805169302

1227.3083040725

1254.1019598263

1238.096688417

1227.3083040725

1256.9289069153

1239.1123601135

1234.2338332541

1255.1119097126

1233.2164232861

1235.2508810823

1254.1019598263

1232.1986511781

1235.2508810823

1259.9546281792

1223.2266411557

1231.1805169302

1260.962477654

1217.2979379106

1229.3469626916

1264.7890029426

1219.3436944715

1227.3083040725

1263.7825295993

1218.320997261

1230.1620205425

1262.977090184

1213.2020791099

1230.1620205425

1261.969964989

1220.3660295422

1226.2884315532

1259.9546281792

1215.25073279

1225.2681968939

1258.9464165644

1223.2266411557

1231.1805169302

1257.9378428098

1220.3660295422

1223.2266411557

1255.1119097126

1218.320997261

1216.2745164202

1254.1019598263

1224.2476000948

1209.305646336

1255.9196088808

1234.2338332541

1201.2913221702

1255.1119097126

1233.2164232861

1201.2913221702

1258.9464165644

1228.327814452

1209.305646336

1256.9289069153

1228.327814452

1207.2527918331

1258.9464165644

1237.283890319

1214.2265870199

1255.9196088808

1244.185286498

1223.2266411557

1253.0916478002

1236.2675667706

1227.3083040725

1256.9289069153

1231.1805169302

1228.327814452

1259.9546281792

1244.185286498

1222.2053200768

1261.969964989

1251.0699373283

1217.2979379106

1256.9289069153

1252.0809736342

1215.25073279

1256.9289069153

1249.0467782967

1224.2476000948

1252.0809736342

1252.0809736342

1228.327814452

1245.1987853552

1243.1714255009

1224.2476000948

1253.0916478002

1249.0467782967

1218.320997261

1257.9378428098

1251.0699373283

1217.2979379106

1257.9378428098

1253.0916478002

1212.3822120412

1257.9378428098

1249.0467782967

1209.305646336

1248.0346555711

1243.1714255009

1204.1707940295

1242.1572023639

1231.1805169302

1201.2913221702

1243.1714255009

1216.2745164202

1201.2913221702

1239.1123601135

1216.2745164202

1200.2622512976

1236.2675667706

1221.183636858

1204.1707940295

1236.2675667706

1214.2265870199

1203.3483774959

1235.2508810823

1216.2745164202

1203.3483774959

1239.1123601135

1217.2979379106

1202.320030903

1239.1123601135

1227.3083040725

1201.2913221702

1238.096688417

1220.3660295422

1203.3483774959

1218.320997261

1207.2527918331

1202.320030903

1209.305646336

1205.1984887706

1202.320030903

1211.3570522793

1204.1707940295

1203.3483774959

1216.2745164202

1204.1707940295

1199.232818285

1215.25073279

1210.3315303776

1198.2030231325

1216.2745164202

1207.2527918331

1198.2030231325

1219.3436944715

1207.2527918331

1198.2030231325

1223.2266411557

1205.1984887706

1202.320030903

1231.1805169302

1217.2979379106

1200.2622512976

1233.2164232861

1217.2979379106

1201.2913221702

1225.2681968939

1224.2476000948

1203.3483774959

1220.3660295422

1229.3469626916

1205.1984887706

1213.2020791099

1237.283890319

1208.2794001545

1206.2258213718

1231.1805169302

1208.2794001545

1203.3483774959

1226.2884315532

1212.3822120412

1200.2622512976

1230.1620205425

1211.3570522793

1201.2913221702

1232.1986511781

1217.2979379106

1213.2020791099

1243.1714255009

1219.3436944715

1209.305646336

1239.1123601135

1225.2681968939

1210.3315303776

1240.1276696702

1231.1805169302

1217.2979379106

1246.2119220725

1234.2338332541

1218.320997261

1239.1123601135

1231.1805169302

1222.2053200768

1235.2508810823

1237.283890319

1223.2266411557

1223.2266411557

1238.096688417

1222.2053200768

1231.1805169302

1238.096688417

1223.2266411557

1235.2508810823

1239.1123601135

1222.2053200768

1232.1986511781

1239.1123601135

1224.2476000948

1230.1620205425

1243.1714255009

1220.3660295422

1237.283890319

1244.185286498

1220.3660295422

1236.2675667706

1245.1987853552

1221.183636858

1223.2266411557

1245.1987853552

1220.3660295422

1223.2266411557

1244.185286498

1220.3660295422

1219.3436944715

1245.1987853552

1223.2266411557

1218.320997261

1244.185286498

1222.2053200768

1216.2745164202

1241.142617087

1222.2053200768

1215.25073279

1245.1987853552

1220.3660295422

1212.3822120412

1244.185286498

1223.2266411557

1232.1986511781

1245.1987853552

1224.2476000948

1229.3469626916

1240.1276696702

1227.3083040725

1218.320997261

1241.142617087

1225.2681968939

1221.183636858

1241.142617087

1225.2681968939

1228.327814452

1239.1123601135

1225.2681968939

1216.2745164202

1240.1276696702

1225.2681968939

1209.305646336

1239.1123601135

1229.3469626916

1212.3822120412

1240.1276696702

1232.1986511781

1210.3315303776

1243.1714255009

1231.1805169302

1205.1984887706

1248.0346555711

1231.1805169302

1205.1984887706

1250.0585388824

1234.2338332541

1203.3483774959

1251.0699373283

1232.1986511781

1208.2794001545

1251.0699373283

1233.2164232861

1216.2745164202

1255.1119097126

1233.2164232861

1212.3822120412

1257.9378428098

1229.3469626916

1213.2020791099

1257.9378428098

1227.3083040725

1217.2979379106

1255.9196088808

1228.327814452

1213.2020791099

1256.9289069153

1229.3469626916

1235.2508810823

1254.1019598263

1231.1805169302

1232.1986511781

1254.1019598263

1230.1620205425

1258.9464165644

1250.0585388824

1231.1805169302

1261.969964989

1239.1123601135

1229.3469626916

1257.9378428098

1237.283890319

1231.1805169302

1260.962477654

1235.2508810823

1231.1805169302

1259.9546281792

1232.1986511781

1228.327814452

1259.9546281792

1232.1986511781

1231.1805169302

1263.7825295993

1232.1986511781

1227.3083040725

1267.8062501329

1231.1805169302

1227.3083040725

1263.7825295993

1235.2508810823

1224.2476000948

1258.9464165644

1233.2164232861

1227.3083040725

1254.1019598263

1237.283890319

1225.2681968939

1262.977090184

1236.2675667706

1224.2476000948

1255.1119097126

1237.283890319

1221.183636858

1253.0916478002

1239.1123601135

1223.2266411557

1258.9464165644

1241.142617087

1225.2681968939

1264.7890029426

1243.1714255009

1224.2476000948

1255.1119097126

1255.1119097126

1223.2266411557

1255.9196088808

1258.9464165644

1223.2266411557

1255.1119097126

1258.9464165644

1223.2266411557

1248.0346555711

1261.969964989

1222.2053200768

1249.0467782967

1258.9464165644

1224.2476000948

1255.9196088808

1257.9378428098

1219.3436944715

1255.9196088808

1256.9289069153

1219.3436944715

1252.0809736342

1252.0809736342

1219.3436944715

1243.1714255009

1253.0916478002

1218.320997261

1246.2119220725

1247.0221707056

1216.2745164202

1245.1987853552

1243.1714255009

1215.25073279

1241.142617087

1245.1987853552

1217.2979379106

1241.142617087

1242.1572023639

1217.2979379106

1242.1572023639

1239.1123601135

1219.3436944715

1245.1987853552

1232.1986511781

1215.25073279

1250.0585388824

1228.327814452

1217.2979379106

1255.1119097126

1221.183636858

1219.3436944715

1259.9546281792

1212.3822120412

1216.2745164202

1262.977090184

1215.25073279

1214.2265870199

1257.9378428098

1211.3570522793

1214.2265870199

1254.1019598263

1208.2794001545

1212.3822120412

1252.0809736342

1209.305646336

1209.305646336

1259.9546281792

1208.2794001545

1208.2794001545

1259.9546281792

1206.2258213718

1210.3315303776

1252.0809736342

1205.1984887706

1212.3822120412

1248.0346555711

1204.1707940295

1208.2794001545

1245.1987853552

1201.2913221702

1210.3315303776

1256.9289069153

1204.1707940295

1207.2527918331

1258.9464165644

1202.320030903

1202.320030903

1250.0585388824

1205.1984887706

1203.3483774959

1243.1714255009

1207.2527918331

1204.1707940295

1256.9289069153

1209.305646336

1205.1984887706

1252.0809736342

1209.305646336

1208.2794001545

1254.1019598263

1218.320997261

1207.2527918331

1253.0916478002

1215.25073279

1209.305646336

1263.7825295993

1213.2020791099

1206.2258213718

1261.969964989

1213.2020791099

1202.320030903

1269.8159375604

1209.305646336

1200.2622512976

1262.977090184

1210.3315303776

1205.1984887706

1261.969964989

1212.3822120412

1200.2622512976

1274.6332772631

1210.3315303776

1198.2030231325

1280.4430972236

1210.3315303776

1196.1423464079

1275.6358394955

1215.25073279

1196.1423464079

1281.4435590446

1239.1123601135

1201.2913221702

1289.2347326071

1245.1987853552

1199.232818285

1295.2129504482

1239.1123601135

1199.232818285

1297.9983238772

1217.2979379106

1196.1423464079

1313.4648586638

1206.2258213718

1196.1423464079

1309.7054885974

1204.1707940295

1197.1728658401

1318.4034311473

1196.1423464079

1199.232818285

1326.0895261979

1198.2030231325

1198.2030231325

1329.0398499357

1200.2622512976

1194.2864988373

1312.6738469019

1205.1984887706

1192.2230698494

1317.4164409304

1212.3822120412

1184.1618558101

1316.4290885736

1214.2265870199

1182.0913288803

1311.6847562736

1212.3822120412

1175.0407020934

1304.9493360512

1208.2794001545

1180.0193533909

1302.9651432724

1210.3315303776

1180.0193533909

1299.986138055

1203.3483774959

1178.1533369321

1298.992412036

1198.2030231325

1176.0786091795

1293.2216597274

1199.232818285

1169.0136995952

1290.232007597

1197.1728658401

1166.9325981804

1291.2289204471

1201.2913221702

1162.7660496723

1293.2216597274

1193.2549654133

1155.6696194315

1287.4387250327

1194.2864988373

1154.6246144034

1287.4387250327

1199.232818285

1153.5792472355

1294.2174861577

1209.305646336

1151.6966737406

1288.4366518745

1210.3315303776

1149.6035492814

1291.2289204471

1205.1984887706

1153.5792472355

1289.2347326071

1205.1984887706

1158.8024616763

1290.232007597

1199.232818285

1149.6035492814

1285.4417849296

1201.2913221702

1148.5564438419

1279.6424670261

1194.2864988373

1143.5252967452

1288.4366518745

1200.2622512976

1145.4129546842

1297.0038735784

1194.2864988373

1142.4760908944

1291.2289204471

1194.2864988373

1143.5252967452

1291.2289204471

1198.2030231325

1144.3644006852

1281.4435590446

1208.2794001545

1144.3644006852

1285.4417849296

1214.2265870199

1143.5252967452

1282.4436587257

1221.183636858

1149.6035492814

1276.638039588

1221.183636858

1143.5252967452

1275.6358394955

1223.2266411557

1140.376592773

1276.638039588

1223.2266411557

1141.4265229036

1266.8008632094

1224.2476000948

1142.4760908944

1261.969964989

1224.2476000948

1143.5252967452

1257.9378428098

1228.327814452

1142.4760908944

1253.0916478002

1231.1805169302

1142.4760908944

1257.9378428098

1233.2164232861

1141.4265229036

1262.977090184

1239.1123601135

1139.3263005025

1256.9289069153

1242.1572023639

1137.2246295417

1251.0699373283

1246.2119220725

1131.1215921512

1260.962477654

1245.1987853552

1126.9055029054

1269.8159375604

1245.1987853552

1127.9600684267

1272.6270663787

1252.0809736342

1123.9507928615

1271.8241764282

1251.0699373283

1122.8948512086

1273.6303528909

1255.9196088808

1117.6097108458

1275.6358394955

1256.9289069153

1119.7248534106

1268.8112749166

1255.1119097126

1116.7632482232

1271.8241764282

1252.0809736342

1113.586949191

1269.8159375604

1249.0467782967

1112.5274585671

1270.8202380642

1249.0467782967

1103.1883256049

1261.969964989

1253.0916478002

1103.1883256049

1253.0916478002

1244.185286498

1094.8870128152

1240.1276696702

1251.0699373283

1091.6883335375

1238.096688417

1259.9546281792

1087.6319942716

1218.320997261

1256.9289069153

1080.3602303793

1217.2979379106

1252.0809736342

1064.4755657023

1222.2053200768

1251.0699373283

1058.2288601726

1230.1620205425

1254.1019598263

1059.3067475031

1223.2266411557

1256.9289069153

1064.4755657023

1221.183636858

1253.0916478002

1064.4755657023

1210.3315303776

1254.1019598263

1059.3067475031

1199.232818285

1251.0699373283

1054.9930253417

1191.1908121456

1254.1019598263

1054.1295856008

1191.1908121456

1245.1987853552

1047.6463998903

1202.320030903

1238.096688417

1047.6463998903

1204.1707940295

1239.1123601135

1038.1141449649

1195.3176701213

1232.1986511781

1033.9892743453

1182.0913288803

1233.2164232861

1025.5060514436

1171.9248079957

1238.096688417

1018.0924445973

1178.9828224364

1233.2164232861

1012.6305799657

1187.0581599317

1231.1805169302

1004.0919931169

1186.2309341803

1233.2164232861

997.7285047139

1181.0555222056

1230.1620205425

986.9487216457

1194.2864988373

1230.1620205425

975.0286762714

1177.1161541257

1226.2884315532

962.178615358

1169.8457345644

1222.2053200768

950.1709611003

1161.7235071955

1224.2476000948

944.820667357

1166.9325981804

1224.2476000948

937.0031992704

1159.8460181448

1226.2884315532

925.1315386156

1145.4129546842

1225.2681968939

918.393696131

1147.5089762626

1221.183636858

911.8680559686

1133.2274639347

1223.2266411557

907.5860311203

1143.5252967452

1223.2266411557

899.6844017221

1139.3263005025

1220.3660295422

891.9915415599

1136.1732508515

1221.183636858

880.8753160437

1137.2246295417

1219.3436944715

866.5319209123

1138.2756460921

1219.3436944715

856.4802125217

1139.3263005025

1214.2265870199

846.4004600177

1139.3263005025

1211.3570522793

836.2926634001

1135.1215100214

1215.25073279

819.4610491842

1130.0681130496

1214.2265870199

804.641060636

1125.0063723745

1213.2020791099

789.994684783

1116.7632482232

1214.2265870199

779.731370809

1108.2858746727

1213.2020791099

768.2687657261

1106.37527155

1212.3822120412

762.6417391607

1099.9981204007

1208.2794001545

756.7713807277

1091.6883335375

1210.3315303776

744.2962791232

1093.8211485292

1209.305646336

734.8541648927

1086.5636674343

1208.2794001545

730.3610414568

1092.7549221033

1208.2794001545

722.3076637865

1083.3565140831

1211.3570522793

714.2375407675

1070.9248551186

1210.3315303776

711.8607883426

1067.70184004

1207.2527918331

702.5776128987

1062.5382366553

1202.320030903

693.2724048636

1057.1506107022

1201.2913221702

683.9451642372

1057.1506107022

1201.2913221702

669.7928454323

1051.9699722569

1201.2913221702

660.4102408588

1044.6164516619

1196.1423464079

647.3825688876

1040.2830290901

1198.2030231325

637.9474250582

1031.8161893973

1198.2030231325

629.7039384287

1036.1609107338

1194.2864988373

620.227554108

1030.7291037135

1193.2549654133

610.7291371962

1025.5060514436

1192.2230698494

610.7291371962

1029.6416558897

1191.1908121456

610.7291371962

1025.5060514436

1189.1252103184

613.1667291234

1022.2374067382

1183.1267734151

611.9481142297

1020.0564995685

1184.1618558101

611.9481142297

1023.3273171133

1185.1965760651

614.3849818772

1031.8161893973

1188.091866195

616.5769242415

1029.6416558897

1181.0555222056

619.0110396257

1031.8161893973

1181.0555222056

620.227554108

1033.9892743453

1178.1533369321

621.4437064504

1033.9892743453

1177.1161541257

620.227554108

1030.7291037135

1176.0786091795

621.4437064504

1030.7291037135

1176.0786091795

629.7039384287

1027.6833372144

1174.0024328674

630.9172660799

1022.2374067382

1172.9638015015

626.0617826357

1013.7236771718

1170.8854523499

623.8749247155

1012.6305799657

1174.0024328674

621.4437064504

1006.2834747716

1169.8457345644

621.4437064504

1002.9957090797

1174.0024328674

619.0110396257

1004.0919931169

1176.0786091795

615.3593233395

999.9241871914

1178.1533369321

611.9481142297

995.5313736769

1174.0024328674

609.5097980227

989.1515020651

1171.9248079957

605.8496076629

985.8467882261

1158.8024616763

605.8496076629

984.7444926667

1152.5335179276

603.6519290027

981.656138516

1144.3644006852

604.6288199299

976.1341586619

1140.376592773

604.6288199299

970.8245404716

1133.2274639347

607.0700332561

968.6097370077

1126.0615897476

604.6288199299

961.0685700048

1126.0615897476

603.6519290027

952.3977876087

1123.9507928615

603.6519290027

953.5106576531

1120.7818814832

599.9865238285

953.5106576531

1119.7248534106

598.7639978239

951.2845554245

1118.6674631982

598.7639978239

949.0570046363

1117.6097108458

599.9865238285

945.7129624047

1120.7818814832

596.3178593952

944.820667357

1114.6460776749

597.5411096795

940.3557155755

1110.4073908997

599.9865238285

934.990125043

1104.2510030598

597.5411096795

932.7519997699

1105.3133183749

597.5411096795

928.2714035449

1101.0618842753

597.5411096795

928.2714035449

1097.0176549676

594.1150962908

926.2532448734

1093.8211485292

595.0942469709

922.8870396803

1091.6883335375

596.3178593952

917.2694548939

1092.7549221033

596.3178593952

915.2449080746

1091.6883335375

596.3178593952

907.5860311203

1087.6319942716

595.0942469709

905.3302334202

1082.2867386862

594.1150962908

903.0729871607

1101.0618842753

594.1150962908

894.2558857615

1116.7632482232

594.1150962908

891.9915415599

1117.6097108458

597.5411096795

890.8588262493

1119.7248534106

598.7639978239

887.6852967954

1105.3133183749

597.5411096795

885.4167517711

1090.6213828318

598.7639978239

884.2819360491

1090.6213828318

598.7639978239

885.4167517711

1086.5636674343

598.7639978239

884.2819360491

1091.6883335375

597.5411096795

875.4179447763

1088.699958969

598.7639978239

874.2799422233

1086.5636674343

601.2086876931

875.4179447763

1085.4949784571

601.2086876931

867.6723860167

1079.2894409907

604.6288199299

864.2499042839

1073.9300619494

603.6519290027

866.5319209123

1068.7765405394

603.6519290027

866.5319209123

1061.4614357445

604.6288199299

861.966439096

1053.0499599988

605.8496076629

860.8241632921

1048.7278361918

604.6288199299

863.1083527599

1040.2830290901

605.8496076629

863.1083527599

1037.0291596925

607.0700332561

863.1083527599

1035.0752736095

608.2900967093

865.3910936681

1031.8161893973

610.7291371962

863.1083527599

1027.6833372144

611.9481142297

859.9100819083

1022.2374067382

613.1667291234

857.6238644572

1018.9655027738

615.3593233395

856.4802125217

1023.3273171133

617.7941630035

856.4802125217

1015.9087851643

621.4437064504

855.3361984464

1001.8990629027

620.227554108

855.3361984464

993.3327940803

621.4437064504

857.6238644572

984.7444926667

621.4437064504

857.6238644572

975.0286762714

620.227554108

855.3361984464

970.8245404716

620.227554108

853.0470838761

969.7173198096

621.4437064504

855.3361984464

963.2882985712

620.227554108

851.901983381

958.8473928787

615.3593233395

853.0470838761

953.5106576531

615.3593233395

854.1918222312

945.7129624047

616.5769242415

854.1918222312

933.8712434764

613.1667291234

851.901983381

926.2532448734

615.3593233395

850.9856422443

917.2694548939

615.3593233395

850.9856422443

912.9940354772

610.7291371962

856.4802125217

910.7417143202

611.9481142297

855.3361984464

905.3302334202

610.7291371962

851.901983381

898.5541489627

608.2900967093

851.901983381

895.3875146524

602.4304894179

850.9856422443

888.8190260977

601.2086876931

848.6937754108

882.0112181854

598.7639978239

850.9856422443

875.4179447763

598.7639978239

850.9856422443

868.8124889812

597.5411096795

855.3361984464

863.1083527599

597.5411096795

855.3361984464

853.0470838761

596.3178593952

854.1918222312

842.9577708788

596.3178593952

850.9856422443

835.1422756626

595.0942469709

851.901983381

828.4628853865

599.9865238285

851.901983381

819.4610491842

601.2086876931

851.901983381

808.1198189085

597.5411096795

850.9856422443

800.2299546435

589.2158663473

847.5472987842

793.2544035319

590.441217043

847.5472987842

785.3330186105

603.6519290027

849.8398898975

775.0569573122

620.227554108

846.4004600177

770.610897577

636.7361978183

850.9856422443

764.7528519004

654.6253792416

850.9856422443

760.2946822072

677.9545753591

848.6937754108

757.9461766941

697.8084636054

846.4004600177

751.1273191017

710.6718689203

848.6937754108

745.2392158138

723.4930342378

850.9856422443

740.758202336

730.3610414568

847.5472987842

734.8541648927

726.8101449173

847.5472987842

726.8101449173

719.9358364642

848.6937754108

717.5625605823

722.3076637865

849.8398898975

705.9125698322

722.3076637865

851.901983381

695.4217161194

724.6780425493

850.9856422443

692.0778360589

722.3076637865

848.6937754108

683.9451642372

725.6257884577

848.6937754108

681.5500151057

726.8101449173

850.9856422443

679.1534174145

723.4930342378

849.8398898975

676.7553711638

722.3076637865

849.8398898975

674.5958910197

715.1878361408

848.6937754108

669.7928454323

723.4930342378

848.6937754108

667.3891497992

722.3076637865

849.8398898975

664.0215423328

724.6780425493

840.8905929511

661.6143701567

722.3076637865

842.9577708788

661.6143701567

719.9358364642

842.9577708788

661.6143701567

719.9358364642

842.9577708788

659.205749421

717.5625605823

845.2532591113

658.0008958434

707.102937814

844.105696065

656.7956801258

709.4825873581

844.105696065

656.7956801258

725.6257884577

844.105696065

652.2125576832

729.1777714169

845.2532591113

652.2125576832

737.2168662897

842.9577708788

651.0056036941

733.9086787372

840.8905929511

648.5906092963

731.5439493568

844.105696065

643.9981291588

726.8101449173

842.9577708788

641.5789339383

719.9358364642

842.9577708788

640.3687931181

705.9125698322

841.8094835527

640.3687931181

669.7928454323

845.2532591113



		





		





-0,5


0


0,5


1


1,5


2


0 10 20 30


Radial distance,mm


Velocity,m/s


7-vtg,B=0,co-firing


7-vtg,B=0,prop.=0





_1301231236.xls
Chart2

		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



a

CO2, prop=0

CO2,B=0,co-fire

time,s

Volume fraction CO2,%

4.3

4.3

4.3

4.3

4

4.3

4

4.4

4

4.4

3.9

4.4

3.9

4.5

3.9

4.5

3.9

4.6

3.9

4.6

3.8

4.7

3.8

4.7

3.8

4.7

3.8

4.8

3.8

4.8

3.8

5

3.8

5

3.8

5

3.8

5.2

3.8

5.2

3.8

5.5

3.8

5.5

3.8

5.5

3.8

5.8

3.8

5.8

3.8

6.2

3.8

6.2

3.9

6.2

3.9

6.6

3.9

6.6

3.9

7.2

3.9

7.2

3.9

7.8

3.9

7.8

3.9

7.8

3.9

8.4

3.9

8.4

3.9

8.9

3.9

8.9

3.8

8.9

3.8

9.2

3.8

9.2

3.8

9.3

3.8

9.3

3.8

9.3

3.8

9.6

3.8

9.6

3.8

10.2

3.8

10.2

3.9

10.2

3.9

10.9

3.9

10.9

3.9

11.3

3.9

11.3

4

11.3

4

11.3

4.1

11.3

4.1

11.4

4.1

11.4

4.2

11.6

4.2

11.6

4.4

11.6

4.4

11.8

4.4

11.8

4.4

11.9

4.4

11.9

4.5

11.9

4.5

12

4.7

12

4.7

12

4.7

12

5

12

5

12

5.6

12

5.6

12

5.6

12

6.2

12

6.2

12

6.6

12

6.6

11.9

6.6

11.9

6.9

12

6.9

12

7.1

12

7.1

12

7.1

12

7.4

12.1

7.4

12.1

7.8

12.1

7.8

12.1

8.2

12.1

8.2

12

8.2

12

8.7

12

8.7

11.9

9.1

11.9

9.1

11.7

9.1

11.7

9.5

11.7

9.5

11.7

10.1

11.7

10.1

11.7

10.1

11.7

10.9

11.7

10.9

11.8

11.7

11.8

11.7

11.9

11.7

11.9

12.4

11.9

12.4

11.9

12.7

11.9

12.7

11.7

12.7

11.7

12.6

11.6

12.6

11.6

12.3

11.6

12.3

11.5

12.2

11.5

12.2

11.4

12.2

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12

11.4

12

11.6

11.9

11.6

11.9

11.6

11.9

11.6

12

11.7

12

11.7

12.1

11.7

12.1

11.7

12.1

11.7

12.2

11.8

12.2

11.8

12.4

11.8

12.4

11.8

12.7

11.8

12.7

11.8

12.7

11.8

12.9

11.8

12.9

11.8

13.1

11.8

13.1

11.7

13.1

11.7

13.2

11.7

13.2

11.6

13.2

11.6

13.2

11.6

13.2

11.6

13.1

11.6

13.1

11.6

13

11.6

13

11.7

13

11.7

12.9

11.6

12.9

11.6

12.5

11.6

12.5

11.5

12.5

11.5

11.1

11.5

11.1

11.5

9.7

11.5

9.7

11.5

9

11.5

9

11.4

9

11.4

8.7

11.4

8.7

11.4

8.6

11.4

8.6

11.4

8.6

11.4

8.3

11.4

8.3

11.4

8.1

11.4

8.1

11.3

8.1

11.3

8.4

11.3

8.4

11.3

9

11.3

9

11.4

9

11.4

9.4

11.4

9.4

11.4

9.4

11.4

9.4

11.5

9.4

11.5

9.4

11.6

9.4

11.6

9.5

11.6

9.5

11.7

9.7

11.7

9.7

11.6

9.7

11.6

9.8

11.6

9.8

11.5

9.9

11.5

9.9

11.5

9.9

11.5

10.6

11.5

10.6

11.5

11.4

11.5

11.4

11.7

11.4

11.7

11.5

11.9

11.5

11.9

11.5

11.9

11.5

12

11.5

12

11.5

12

11.5

12

11.6

12

11.6

12.1

11.8

12.1

11.8

12.1

11.8

12.1

11.8

12.1

11.8

11.9

11.5

11.9

11.5

11.8

11.5

11.8

11.2

11.6

11.2

11.6

10.9

11.6

10.9

11.5

10.9

11.5

10.6

11.4

10.6

11.4

10.5

11.4

10.5

11.4

10.5

11.4

10.6

11.4

10.6

11.4

10.8

11.4

10.8

11.3

10.8

11.3

10.8

11.2

10.8

11.2

10.8

11.2

10.8

11.2

11

11.2

11

11.2

11

11.2

10.9

11.2

10.9

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.7

11.1

10.7

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.7

11.2

10.7

11.3

10.7

11.3

10.9

11.3

10.9

11.4

11

11.4

11

11.6

11

11.6

11.1

11.8

11.1

11.8

11

11.8

11

12

11

12

10.8

12.2

10.8

12.2

10.7

12.2

10.7

12.1

10.6

12.1

10.6

12.1

10.6

12.1

10.4

12.1

10.4

12.1

10.3

12.1

10.3

12.1

10.3

12.1

10.1

12.1

10.1

12.3

9.9

12.3

9.9

12.5

9.9

12.5

9.9

12.5

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.5

9.9

12.5

9.7

12.4

9.7

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.6

12.4

9.6

12.4

9.7

12.4

9.7

12.3

9.7

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.4

9.8

12.4

9.8

12.4

9.8

12.5

9.8

12.5

9.7

12.6

9.7

12.6

9.7

12.6

9.7

12.6

9.7

12.6

9.8

12.6

9.8

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.8

9.9

12.8

9.9

12.8

9.9

13

10.2

13

10.2

12.9

10.2

12.9

10.3

12.9

10.3

12.9

10

12.9

10

12.9

10

12.9

9.8

12.9

9.8

12.9

9.6

12.9

9.6

12.9

9.6

12.9

9.7

12.9

9.7

12.9

9.8

12.9

9.8

13

9.8

13

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

10.1

13.1

10.1

13.2

10.1

13.2

10.1

13.2

10.1

13.2

10.3

13.2

10.3

13.1

10.3

13.1

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.3

13

10.3

12.9

10.3

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

13

10.3

13

10.3

13

10.3

13

10.3

13.1

10.3

13.1

10.4

13.1

10.4

13.3

10.4

13.3

10.4

13.3

10.4

13.3

10.3

13.3

10.3

13.4

10.3

13.4

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.4

10.2

13.4

10.2

13.4

10.2

13.3

10.2

13.3

10.2

13.2

10.2

13.2

10.1

13.2

10.1

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.2

9.9

13.2

9.8

13.2

9.8

13.2

9.8

13.2

9.8

13.1

9.8

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.2

9.8

13.2

9.8

13.3

9.8

13.3

9.9

13.3

9.9

13.4

10.1

13.4

10.1

13.4

10.1

13.4

10.2

13.4

10.2

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.5

10.2

13.5

10.2

13.7

10.2

13.7

10.2

13.7

10.2

13.8

10.2

13.8

10.2

13.9

10.2

13.9

10.2

13.9

10.2

13.9

10.1

13.9

10.1

13.9

10.1

13.9

10.1

13.9

10.1

14

10

14

10

14

10

14

9.9

14

9.9

14

9.9

14

9.9

13.9

9.9

13.9

9.9

13.9

9.9

13.9

10

13.9

10

13.9

10.2

13.9

10.2

13.9

10.2

13.9

10.3

13.9

10.3

13.8

10.4

13.8

10.4

13.7

10.4

13.7

10.6

13.7

10.6

13.7

10.9

13.7

10.9

13.8

10.9

13.8

11.2

13.8

11.2

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.7

11.5

13.7

11.6

13.7

11.6

13.6

11.9

13.6

11.9

13.7

11.9

13.7

12

13.7

12

13.7

11.9

13.7

11.9

13.7

11.9

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.7

13.8

11.7

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.6

11.5

13.6

11.5

13.7

11.5

13.7

11.4

13.7

11.4

13.7

11.3

13.7

11.3

13.8

11.3

13.8

11.3

13.8

11.3

13.8

11.4

13.8

11.4

13.8

11.6

13.8

11.6

13.8

11.6

13.8

11.6

13.8

11.6

13.7

11.6

13.7

11.6

13.7

11.6

13.7

11.5

13.7

11.5

13.7

11.4

13.7

11.4

13.7

11.4

13.7

11.4

13.8

11.4

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.9

11.5

13.9

11.6

13.9

11.6

13.9

11.6

13.9

11.6

14

11.6

14

11.8

14

11.8

14

12.1

14

12.1

14.1

12.1

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.2

14.3

12.2

14.3

12.1

14.3

12.1

14.3

12.1

14.3

11.9

14.4

11.9

14.4

11.8

14.4

11.8

14.4

11.8

14.4

11.7

14.4

11.7

14.4

11.7

14.4

11.7

14.4

11.6

14.4

11.6

14.5

11.6

14.5

11.5

14.5

11.5

14.5

11.4

14.5

11.4

14.5

11.4

14.5

11.3

14.5

11.3

14.4

11.3

14.4

11.3

14.4

11.3

14.4

11.3

14.3

11.3

14.3

11.2

14.3

11.2

14.3

11.2

14.3

11.2

14.2

11.2

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.1

14.2

11.1

14.2

11.1

14.2

11.1

14.2

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.2

14.3

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.3

14.4

11.3

14.4

11.3

14.4

11.4

14.4

11.4

14.5

11.4

14.5

11.4

14.6

11.4

14.6

11.6

14.6

11.6

14.6

11.8

14.6

11.8

14.6

11.8

14.6

12

14.7

12

14.7

12.3

14.7

12.3

14.7

12.3

14.7

12.7

14.7

12.7

14.7

13

14.7

13

14.7

13.1

14.7

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

12.8

14.6

12.8

14.7

12.6

14.7

12.6

14.7

12.6

14.7

12.4

14.7

12.4

14.7

12.3

14.7

12.3

14.7

12.3

14.7

12.2

14.7

12.2

14.7

12.3

14.7

12.3

14.7

12.5

14.7

12.5

14.7

12.5

14.7

12.6

14.7

12.6

14.6

12.8

14.6

12.8

14.6

12.8

14.6

13

14.6

13

14.6

13.2

14.6

13.2

14.6

13.2

14.6

13.3

14.5

13.3

14.5

13.3

14.5

13.3

14.4

13.3

14.4

13.3

14.4

13.3

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.1

14.3

13.1

14.4

13.1

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.6

14.4

12.6

14.4

12.6

14.4

12.6

14.5

12.6

14.5

12.5

14.5

12.5

14.5

12.5

14.5

12.4

14.5

12.4

14.5

12.1

14.5

12.1

14.5

11.8

14.5

11.8

14.4

11.8

14.4

11.5

14.4

11.5

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.6

14.4

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.9

14.3

11.9

14.3

11.9

14.3

12

14.3

12

14.3

11.8

14.3

11.8

14.3

11.8

14.3

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.8

14.3

11.8

14.3

12.1

14.3

12.1

14.3

12.1

14.3

12.4

14.3

12.4

14.3

12.6

14.3

12.6

14.4

12.7

14.4

12.7

14.4

12.7

14.4

12.9

14.4

12.9

14.2

13.1

14.2

13.1

14

13.1

14

13.1

14

13.1

13.9

13.2

13.9

13.2

13.9

13.2

13.9

13.3

13.8

13.3

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.7

13.4

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.4

13.7

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.7

13.3

13.7

13.3

13.5

13.3

13.5

13.3

13.4

13.3

13.4

13.4

13.4

13.4

13.3

13.4

13.3

13.5

13.4

13.5

13.4

13.4

13.4

13.4

13.3

13.3

13.3

13.3

13.3

13.3

13.3

13.1

13.3

13.1

13.3

12.9

13.3

12.9

13.3

12.9

13.3

12.6

13.3

12.6

13.2

12.4

13.2

12.4

13.1

12.4

13.1

12.4

13

12.4

13

12.3

13

12.3

13

12.3

13

12.1

12.9

12.1

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

13

12

13

12

13.1

12

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.3

13.2

12.3

13.2

12.4

13.2

12.4

13.4

12.4

13.4

12.6

13.6

12.6

13.6

12.6

13.6

12.6

13.6

12.5

13.6

12.5

13.5

12.5

13.5

12.5

13.5

12.5

13.4

12.5

13.4

12.5

13.4

12.5

13.4

12.4

13.4

12.4

13.4

12.4

13.4

12.4

13.3

12.4

13.3

12.5

13.2

12.5

13.2

12.5

13.2

12.5

13.1

12.5

13.1

12.4

13

12.4

13

12.3

13

12.3

12.9

12

12.9

12

12.9

12

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

13

11.9

13

11.9

13

11.9

13.1

12

13.1

12

13.1

12

13.1

12

13.1

12

13.1

11.9

13.1

11.9

13.1

11.9

13.1

12

13.1

12

13.1

12

13.1

12

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.8

13.1

11.8

13

11.8

13

11.9

13

11.9

13.1

12

13.1

12

13

12

13

12.1

13

12.1

13

12.1

13

12.1

12.9

12.1

12.9

12.3

13

12.3

13

12.6

13

12.6

13

12.6

13

12.8

13

12.8

13

12.9

13

12.9

13

12.8

13

12.8

13.1

12.8

13.1

12.6

13.1

12.6

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.4

13.1

12.4

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.4

13.1

12.4

13.1

12.4

13.1

12.4

13.2

12.4

13.2

12.5

13.2

12.5

13.3

12.6

13.3

12.6

13.4

12.6

13.4

12.5

13.4

12.5

13.5

12.4

13.5

12.4

13.5

12.4

13.5

12.4

13.5

12.4

13.6

12.3

13.6

12.3

13.6

12.3

13.6

12.4

13.7

12.4

13.7

12.5

13.7

12.5

13.7

12.5

13.7

12.9

13.9

12.9

13.9

13.4

13.9

13.4

13.9

13.4

13.9

13.7

14

13.7

14

13.7

14

13.7

14.1

13.6

14.1

13.6

14.2

13.6

14.2

13.5

14.2

13.5

14.3

13.6

14.3

13.6

14.3

13.6

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.6

14.4

13.6

14.4

13.6

14.4

13.6

14.4

13.6

14.4

13.7

14.2

13.7

14.2

13.9

14.2

13.9

14.2

14.1

14.2

14.1

14.2

14.1

14.2

14.2

14.2

14.2

14.3

14.2

14.3

14.2

14.4

14.2

14.4

14.1

14.4

14.1

14.5

14.2

14.5

14.2

14.7

14.2

14.7

14.3

14.9

14.3

14.9

14.2

14.9

14.2

15

14.2

15

14

14.9

14

14.9

13.8

14.9

13.8

14.8

13.6

14.8

13.6

14.7

13.6

14.7

13.6

14.7

13.6

14.8

13.4

14.8

13.4

14.9

13.4

14.9

13.3

14.9

13.3

14.9

13.1

14.9

13.1

14.8

13.1

14.8

13

14.6

13

14.6

13.2

14.6

13.2

14.6

13.2

14.6

13.3

14.7

13.3

14.7

13.5

14.7

13.5

14.8

13.5

14.8

13.7

15.1

13.7

15.1

13.7

15.1

13.7

15.2

13.6

15.2

13.6

15.1

13.6

15.1

13.5

15.1

13.5

15.2

13.5

15.2

13.5

15.3

13.5

15.3

13.5

15.3

13.5

15.1

14

15.1

14

14.8

14

14.8

14.5

14.6

14.5

14.6

14.9

14.6

14.9

14.5

14.9

14.5

15

14.4

15

14.4

14.6

14.4

14.6

14.4

14.1

14.4

14.1

14.6

14.1

14.6

14

14.6

14

14.7

14.1

14.7

14.1

14.8

14.1

14.8

14.3

14.8

14.3

14.9

14.4

14.9

14.4

14.8

14.4

14.8

14.5

15

14.5

15

14.7

15

14.7

15.2

14.7

15.2

14.2

15.2

14.2

15.2

13.3

15.2

13.3

15.2

12.9

15.2

12.9

15.3

12.9

15.3

12.9

15.3

12.9

15.3

13

15.3

13

15.1

13

15.1

13

15.1

13

15

13.1

15

13.1

14.9

13.1

14.9

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.7

12.9

14.7

13.1

14.7

13.1

14.7

13.1

14.7

13.3

14.8

13.3

14.8

13.4

14.8

13.4

14.8

13.4

14.8

13.4

14.9

13.4

14.9

13.3

14.9

13.3

14.9

13.3

14.9

13.3

15.1

13.3

15.1

13.3

15.1

13.3

15.3

13.3

15.3

13.3

15.4

13.3

15.4

13.4

15.2

13.4

15.2

13.4

15.2

13.4

15.1

13.4

15.1

13.3

14.9

13.3

14.9

13.2

14.9

13.2

14.8

13.2

14.8

13.3

14.8

13.3

14.8

13.1

14.8

13.1

14.7

13.1

14.7

12.7

14.6

12.7

14.6

12.4

14.6

12.4

14.5

12.2

14.5

12.2

14.4

12.2

14.4

12.1

14.4

12.1

14.4

12.1

14.4

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

11.9

14.5

11.9

14.5

11.8

14.5

11.8

14.5

11.8

14.5

11.9

14.5

11.9

14.5

11.9

14.5

11.9

14.5

12

14.5

12

14.5

12

14.5

11.8

14.5

11.8

14.5

11.7

14.5

11.7

14.4

11.7

14.4

11.8

14.4

11.8

14.3

12.1

14.3

12.1

14.3

12.1

14.3

12.4

14.3

12.4

14.3

12.6

14.3

12.6

14.2

12.6

14.2

12.9

14.2

12.9

14.2

13.1

14.2

13.1

14.2

13.6

14.2

13.6

14.2

13.6

14.2

14.6

14.2

14.6

14.1

15.4

14.1

15.4

14

15.4

14

15.4

14

15.4

14

14.9

14

14.9

14

14.9

14

14.2

13.9

14.2

13.9

13.5

13.9

13.5

13.9

13.5

13.9

12.8

13.9

12.8

13.9

12.2

13.9

12.2

13.9

12.2

13.9

11.9

13.8

11.9

13.8

12.1

13.8

12.1

13.8

12.1

13.8

12.1

13.7

12.1

13.7

11.6

13.7

11.6

13.6

11.1

13.6

11.1

13.6

11.1

13.6

10.8

13.6

10.8

13.7

10.5

13.7

10.5

13.7

10.5

13.7

10.3

13.7

10.3

13.7

10

13.7

10

13.7

10

13.7

9.8

13.7

9.8

13.7

9.7

13.7

9.7

13.8

9.6

13.8

9.6

13.8

9.6

13.8

9.6

13.8

9.6

13.9

9.6

13.9

9.6

14

9.6

14

9.4

14

9.4

14

9.3

14

9.3

14

9.3

14

9

14.1

9

14.1

8.6

14.1

8.6

14.1

8.6

14.1

8.4

14.1

8.4

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.2

14.1

8.2

14.1

8

14.1

8

14.1

8

14.1

8

14.1

8

14.1

8.1

14.1

8.1

14

8.1

14

8.2

13.8

8.2

13.8

8.3

13.8

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.6

8.3

13.6

8.3

13.5

8.3

13.5

8.4

13.5

8.4

13.4

8.7

13.4

8.7

13.6

8.7

13.6

9

13.6

9

13.7

9.2

13.7

9.2

13.7

9.2

13.7

9.3

13.7

9.3

13.7

9.3

13.7

9.3

13.6

9.3

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.3

13.5

9.3

13.5

9.4

13.5

9.4

13.4

9.3

13.4

9.3

13.2

9.3

13.2

8.6

13.2

8.6

13

8.1

13

8.1

12.9

8.1

12.9

8

12.9

8

13.1

7.9

13.1

7.9

13.4

7.9

13.4

7.7

13.4

7.7

13.4

7.6

13.4

7.6

13.1

7.6

13.1

7.6

12.7

7.6

12.7

7.6

12.7

7.6

12.4

7.6

12.4

7.6

12.3

7.6

12.3

7.5

12.3

7.5

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12

7.6

12

7.4

12

7.4

11.8

7.2

11.8

7.2

11.7

7.2

11.7

7.3

11.6

7.3

11.6

7.4

11.6

7.4

11.5

7.4

11.5

7.4

11.4

7.4

11.4

7.4

11.4

7.4

11.4

7.5

11.4

7.5

11.3

7.5

11.3

7.6

11.3

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.5

11.1

7.5

11.3

7.5

11.3

7.4

11.1

7.4

11.1

7.4

11.1

7.4

10.8

7.4

10.8

7.3

10.5

7.3

10.5

7.1

10.5

7.1

10.4

6.9

10.4

6.9

10.4

6.9

10.4

6.8

10.4

6.8

10.4

6.6

10.4

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.4

6.6

10.4

6.6

10.4

6.6

10.3

6.6

10.3

6.5

10.1

6.5

10.1

6.5

10.1

6.5

10.1

6.5

10.1

6.4

9.9

6.4

9.9

6.3

9.9

6.3

9.9

6.3

9.9

6.3

9.8

6.3

9.8

6.5

9.8

6.5

9.6

6.6

9.6

6.6

9.6

6.6

9.6

6.5

9.6

6.5

9.8

6.4

9.8

6.4

10

6.4

10

6.4

10.2

6.4

10.2

6.5

10.2

6.5

10.6

6.5

10.6

6.5

10.6

6.5

10.6

6.2

10.6

6.2

10.3

5.9

10.3

5.9

10.1

5.9

10.1

5.6

10.1

5.6

9.9

5.4

9.9

5.4

9.8

5.4

9.8

5.3

9.8

5.3

9.7

5.4

9.7

5.4

9.4

5.4

9.4

5.7

9

5.7

9

6.1

9

6.1

8.8

6.1

8.8

6.1

8.8

6.1

8.8

5.8

8.8

5.8

8.9

5.6

8.9

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.9

5.6

8.9

5.6

8.9

5.6

8.9

5.5

8.9

5.5

8.8

5.5

8.8

5.4

8.8

5.4

8.8

5.3

8.8

5.3

9

5.3

9

5.4

9.2

5.4

9.2

5.5

9.2

5.5

9.4

5.5

9.4

5.6

9.5

5.6

9.5

5.7

9.5

5.7

9.4

5.9

9.4

5.9

9.4

5.9

9.4

6.1

9.4

6.1

9.7

6.2

9.7

6.2

10

6.2

10

5.9

10

5.9

10

5.7

10

5.7

9.8

5.7

9.8

5.6

9.6

5.6

9.6

5.6

9.6

5.6

9.4

5.6

9.4

5.8

9.2

5.8

9.2

6.1

9.2

6.1

8.9

6.6

8.9

6.6

8.9

6.6

8.9

7

8.9

7

8.8

7.1

8.8

7.1

8.6

7.1

8.6

6.9

8.6

6.9

8.6

6.6

8.6

6.6

9

6.6

9

6.2

9.4

6.2

9.4

6.1

9.4

6.1

9.4

6.1

9.4

6

9.3

6

9.3

5.9

9.3

5.9

9.1

5.9

9.1

5.8

8.9

5.8

8.9

5.8

8.9

5.8

8.8

5.7

8.8

5.7

8.7

5.7

8.7

5.6

8.7

5.6

8.7

5.5

8.7

5.5

8.9

5.5

8.9

5.3

8.9

5.3

9.3

5.1

9.3

5.1

9.6

5.1

9.6

4.9

9.5

4.9

9.5

4.9

9.5

4.9

9.5

4.9

9.5

5

9.4

5

9.4

5

9.4

5

9.3

4.9

9.3

4.9

9.2

4.9

9.2

4.8

9.2

4.8

8.8

4.8

8.8

4.8

8.3

4.8

8.3

4.8

8.3

4.8

7.7

4.8

7.7

4.8

7.3

4.8

7.3

4.8

6.9

4.8

6.9

4.8

6.9

4.8

6.7

4.8

6.7

4.8

6.7

4.8

6.7

4.9

6.7

4.9

6.6

4.9

6.6

5

6.6

5

6.6

5.1

6.6

5.1

6.6

5.1

6.6

5.2

6.6

5.2

6.6

5.3

6.6

5.3

6.6

5.3

6.6

5.3

6.7

5.3

6.7

5.5

6.8

5.5

6.8

5.8

6.8

5.8

6.8

5.8

6.8

6

6.8

6

6.8

6.1

6.8

6.1

6.8

6.1

6.8

6.1

6.9

6.1

6.9

6.1

6.9

6.1

6.9

6.1

6.9

6.1

7

6.1

7

6.1

7

6.1

7.1

6.1

7.1

6.1

7.2

6.1

7.2

6

7.2

6

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.3

6.1

7.3

6

7.3

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.5

6

7.5

5.9

7.5

5.9

7.5

5.8

7.5

5.8

7.5

5.8

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.5

7.5

5.5

7.5

5.3

7.5

5.3

7.6

5.3

7.6

5.2

7.8

5.2

7.8

5.1

7.8

5.1

7.9

5.1

7.9

5.1

7.9

5.1

7.9

5

7.9

5

7.9

4.9

7.9

4.9

7.9

4.9

7.9

4.9

7.9

4.9

7.8

4.9

7.8

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.7

4.9

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.7

7.7

4.7

7.8

4.6

7.8

4.6

7.8

4.6

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.9

4.5

7.9

4.5

7.9

4.5

8.1

4.5

8.1

4.6

8.1

4.6

8.1

4.6

8.1

4.6

8.2

4.6

8.2

4.7

8.2

4.7

8.2

4.8

8.2

4.8

8.3

4.8

8.3

4.8

8.4

4.8

8.4

4.8

8.4

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.6

4.8

8.6

4.7

8.7

4.7

8.7

4.7

8.7

4.7

8.8

4.7

8.8

4.7

8.8

4.7

8.8

4.6

8.8

4.6

8.9

4.6

8.9

4.6

9

4.6

9

4.5

9

4.5

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.2

9.1

4.2

9.1

4.2

9.1

4.1

9.2

4.1

9.2

4.1

9.2

4.1

9.2

4.1

9.2

4

9.3

4

9.3

4

9.3

4

9.4

4

9.4

4

9.4

4

9.4

3.9

9.4

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.8

9.3

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.7

9.2

3.7

9.2

3.7

9.2

3.7

9.3

3.7

9.3

3.7

9.4

3.7

9.4

3.6

9.4

3.6

9.5

3.6

9.5

3.6

9.6

3.6

9.6

3.6

9.6

3.6

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.7

3.5

9.7

3.4

9.7

3.4

9.6

3.4

9.6

3.4

9.6

3.4

9.6

3.3

9.6

3.3

9.6

3.3

9.6

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.6

3.3

9.6

3.3

9.6

3.3

9.6

3.2

9.6

3.2

9.6

3.2

9.6

3.3

9.6

3.3

9.6

3.2

9.6

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.4

3.2

9.4

3.2

9.4

3.2

9.3

3.1

9.3

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.3

3.1

9.3

3

9.3

3

9.4

3

9.4

3

9.4

3

9.4

3

9.4

3

9.3

3

9.3

3

9.3

3

9.3

3

9.3

3

9.3

2.9

9.3

2.9

9.3

2.9

9.3

2.8

9.3

2.8

9.3

2.9

9.3

2.9

9.3

2.9

9.3

2.9

9.2

2.9

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.1

2.7

9.1

2.7

9.1

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.6

9.2

2.6

9.1

2.6

9.1

2.6

9.2

2.6

9.2

2.6

9.2

2.6

9.2

2.6

9.2

2.7

9.1

2.7

9.1

2.7

9.1

2.7

9

2.7

9

2.6

8.9

2.6

8.9

2.5

8.9

2.5

8.8

2.5

8.8

2.5

8.8

2.5

8.8

2.4

8.8

2.4

8.7

2.3

8.7

2.3

8.6

2.3

8.6

2.3

8.6

2.3

8.6

2.3

8.6

2.2

8.6

2.2

8.6

2.2

8.5

2.2

8.5

2.2

8.5

2.2

8.4

2.2

8.4

2.2

8.3

2.2

8.3

2.2

8.3

2.2

8.2

2.2

8.2

2.2

8.2

2.2

8.2

2.3

8.2

2.3

8.1

2.3

8.1

2.4

8

2.4

8

2.3

8

2.3

7.9

2.3

7.9

2.3

7.9

2.3

7.9

2.3

7.5

2.3

7.5

2.2

7.5

2.2

7.4

2.2

7.4

2.2

7.2

2.2

7.2

2.2

7.2

2.2

6.7

2.1

6.7

2.1

7.1

2.1

7.1

1.9

7.1

1.9

7.9

1.6

7.9

1.6

8.2

1.6

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.1

1.5

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8

1.4

8

1.4

8

1.4

8

1.4

8

1.4

7.5

1.5

7.5

1.5

6.7

1.5

6.7

1.5

6.7

1.5

6.7

1.5

6.7

1.5

7.4

1.5

7.4

1.5

7.4

1.6

7.6

1.7

7.6

1.7

7.7

1.7

7.7

1.8

7.6

1.8

7.6

1.8

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.5

1.7

7.5

1.7

7.5

1.7

7.4

1.7

7.4

1.7

7.4

1.7

7.4

1.7

7.4

1.6

7.3

1.6

7.3

1.6

7.2

1.6

7.2

1.6

7

1.6

7

1.6

7

1.6

6.9

1.6

6.9

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.5

1.6

6.5

1.6

6.1

1.6

6.1

1.6

6.1

1.6

6.3

1.6

6.3

1.6

6.7

1.6

6.7

1.6

6.7

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.7

1.5

6.7

1.5

6.6

1.5

6.6

1.5

6.5

1.5

6.5

1.5

6.5

1.5

6.2

1.5

6.2

1.5

5.8

1.5

5.8

1.5

5.8

1.5

5.6

1.5

5.6

1.5

5.4

1.5

5.4

1.5

5.4

1.5

5.3

1.5

5.3

1.5

5.1

1.5

5.1

1.5

5.1

1.5

5.1

1.4

5.1

1.4

5.4

1.4

5.4

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.6

1.5

5.6

1.5

5.5

1.5

5.5

1.5

5.5

1.5

5.4

1.5

5.4

1.5

5.3

1.5

5.3

1.5

5.3

1.5

5.2

1.5

5.2

1.6

5.1

1.6

5.1

1.6

5

1.6

5

1.6

5

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.8

1.6

4.8

1.6

4.8

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.5

1.4

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.6

4.5

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.5

1.6

4.5

1.6

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.4

1.5

4.4

1.5

4.4

1.5

4.4

1.5

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.3

4.4

1.3

4.4

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.2

4.5

1.2

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1



Sheet1

		

																																		15.625





Sheet1

		105

		178

		278

		351

		437

		535

		581

		629

		717

		885

		952

		1025

		1062

		1115

		1208

		1245

		1325

		1380

		1429

		1462

		1496

		1527



b

L,mm

time,s

Wood layer height ,mm

148

147

145

132

127

115

112

110

90

84

80

76

60

54

45

33

25

22

20

15

12

12



Sheet2

		0		0		0		0		0

		0		0		0		0		0

		5		5		5		5		5

		5		5		5		5		5

		10		10		10		10		10

		10		10		10		10		10

		15		15		15		15		15

		15		15		15		15		15

		20		20		20		20		20

		20		20		20		20		20

		25		25		25		25		25

		25		25		25		25		25

		30		30		30		30		30



a

vax,air-40/70 l/min

vax, air-47/70l/min

vax,air-55/70l/min

vax,air-40/90 l/min

vax, air-40/100l/min

Radial distance,mm

Velocity,m/s

0.16

0

0.04

0.24

0.04

0

0.08

0.74

0.72

0.86

0.28

0

0.2

0.58

0.24

0

0.04

0.68

1.06

0.84

0

0.16

0.52

1.16

1.18

0

0.32

0.72

1.16

1.09

0.84

1.14

1.405

1.81

2.03

0.96

0.82

1.415

1.64

2.085

1.48

1.65

1.775

2.52

3.4

1.55

1.61

1.93

2.615

3.46

3.035

2.55

3.035

3.835

4.57

2.9

1.715

2.93

3.755

4.415

0.28

0.28

2.18

3.43

4.32



Sheet3

		0		0		0		0		0

		0		0		0		0		0

		5		5		5		5		5

		5		5		5		5		5

		10		10		10		10		10

		10		10		10		10		10

		15		15		15		15		15

		15		15		15		15		15

		20		20		20		20		20

		20		20		20		20		20

		25		25		25		25		25

		25		25		25		25		25

		30		30		30		30		30



b

vtg,air-40/100l/min

vtg, air-40/90l/min

vtg,air-40/70l/min

vtg,air-47/70l/min

vtg, air-55/70l/min

Radial distance,mm

Velocity,m/s

0

0

0.7238095238

1.1619047619

1.2285714286

0

0.0761904762

1.180952381

1.2666666667

1.3142857143

0.1142857143

0

0.2285714286

1.1619047619

1.2

0

0

0.9142857143

1.2

1.3047619048

1.1428571429

0.0380952381

0.0380952381

0.780952381

1.0476190476

0.9428571429

0

0.380952381

0.9904761905

1.180952381

1.8904761905

1.7047619048

0.6285714286

0

0

1.7761904762

1.2666666667

0.0380952381

0

0.0952380952

4.719047619

4.7571428571

3

2.2666666667

2.7904761905

4.5142857143

3.9047619048

2.9619047619

1.8333333333

2.2666666667

8.9571428571

7.3904761905

5.3857142857

5.0857142857

4.919047619

9.0142857143

7.4095238095

5.3714285714

5.0238095238

4.8380952381

1.8761904762

3.1666666667

1.9714285714

0.0761904762

2



		0		0		0		0		0		0

		5		5		5		5		5		0

		10		10		10		10		10		5

		15		15		15		15		15		5

		20		20		20		20		20		10

		25		25		25		25		25		10

		30		30		30		30		30		15

												15

												20

												20

												25

												25

												30



a

vax,prop.-0, t-650s

vax,prop.-0,t-850s

vax,prop.-0,t=1050s

vax,prop.-0,t=1250s

vax,prop.-0,t=1450s

vax,40/70,cold air, L=130mm

Radial distance,mm

Velocity,m/s

0

0

0

1.04

0.84

0.04

0

0

0

0.44

0.84

0.16

0

0

0.24

0.56

0

0.52

0.08

0

0.08

0.16

1.22

1.22

0.48

0

0.16

0.08

1.3

1.4

0.36

0.24

0.16

0.4

0.32

0.08

0.008

0.48

0

0

1.21

0.78

1.435

1.52

1.845



		0		0		0		0		0		0

		5		5		5		5		5		0

		10		10		10		10		10		5

		15		15		15		15		15		5

		20		20		20		20		20		10

		25		25		25		25		25		10

		30		30		30		30		30		15

												15

												20

												20

												25

												25

												30



b

vax,co-firing,t-550s

vax,co-firing,t-750s

vax,co-firing,t-950s

vax,co-firing,t-1350s

vax,co-firing,t-1550s

vax,40/70,cold air, L=130mm

Radial distance,mm

Velocity,m/s

0

0.4

0.28

1.1

1.06

0.04

0.08

0.48

0.4

0.74

0.52

0.16

0.08

0.28

0.32

0.52

0

0.48

0.24

0.58

0.16

0.32

0.64

0.82

1.32

0.74

0.36

0.08

1.68

1.49

1.41

1.09

0.86

1.68

1.65

0.08

0.36

0.36

0

0

1.21

0.78

1.435

1.52

1.845



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



a

CO2-1200s, prop=0

CO2-1400s, prop=0

CO2-1600s, prop=0

CO2-1050s, co-firing

CO2-1350s, co-firing

CO2-1550s, co-firing

Radial distance,mm

Volume fraction,%

15.2

15.9

8.725

16.35

17.45

17.65

12.3

13.125

10

14.425

14.5

16.4

8.1

9.5

5.75

9.775

10.025

12.25

4.625

5.05

3.85

7.3

7.3

7.75

3.8

3.3

2.9

6.4

6.375

6.6

4

3.3

3

6.675

6.15

6.025

3.9

3.3

3.1

5.975

6.3

6.125



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



b

CO-4,co-firing

CO-5,co-firing

CO-6, co-firing

CO-4, prop=0

CO-5, prop=0

CO-6, prop=0

Radial distance,mm

Mass fraction,ppm

268

1275.75

1254.5

33

63.75

419

100.25

460.5

390.5

19.5

31.25

135.5

28.5

116

60

16.75

18.25

301.5

38.5

42

44

43

18.5

2217

171.5

24

30.5

107.5

26

40.75

472.25

39.5

20

217.5

46.25

25

20.5

29

25.25

82.5

74.5

53



		0		0		0		0		0

		5		5		5		5		5

		10		10		10		10		10

		15		15		15		15		15

		20		20		20		20		20

		25		25		25		25		25

		30		30		30		30		30



b

NOx-1200s, prop=0

NOx-1400s,prop=0

NOx-1050s, co-firing

NOx-1350s,co-firing

NOx-1550s, co-firing

Radial distance,mm

Mass fraction,ppm

99

102.75

87.25

91.75

84.75

76

83.25

77

75

83.25

48.75

62

54.75

55.5

66.25

28

34

40

41.25

41

22

24.75

35.5

36

34.75

23.5

23

37.25

34

31.5

24.25

21.25

33.25

32.5

32



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



c

eff-1200s, prop=0

eff-1400s, prop=0

eff-1400s, prop=0

eff-1050s, co-firing

eff-1350s, co-firing

eff-1550s, co-firing

Radial distance,mm

Efficiency,%

59.375

60.75

60.75

60.1

62.45

63.8

51.75

54.2

54.2

55.725

55.525

61.55

35

40.2

40.2

39.4

40.3

49.55

2.5

3.475

3.475

36.95

37.575

34.1

21.725

13.8

13.8

47.225

51.225

51.9

51

42.75

42.75

66.425

63.45

65.825

55.7

50.775

50.775

66.35

67.4

67.925



		0		0		0		0		0		0

		5		5		5		5		5		5

		10		10		10		10		10		10

		15		15		15		15		15		15

		20		20		20		20		20		20

		25		25		25		25		25		25

		30		30		30		30		30		30



d

a.e.-1200s, prop=0

a.e.-1400s, prop=0

a.e.-1600s, prop=0

a.e.-1050s, co-firing

a.e.-1350s, co-firing

a.e.-1550s, co-firing

Radial distance,mm

Air excess,%

35.65

29.65

135.65

26.2

17.95

16.7

67

56.475

105.225

42.525

41.75

25.5

153.95

116.9

256.05

110.8

104.75

68.425

345.875

310.4

434.5

182.925

182.925

166.3

441.9

516.55

606.05

222.45

223.875

213.75

411.45

525.125

584.2

209.075

233.7

241.2

425.875

522.2

563.7

244.7

228.9

236.975



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



T-1, co-firing

T-2, co-firing

T-3,co-firing

T-4, co-firing

T-5, co-firing

T-6, co-firing

T-7, co-firing

T-8,co-firing

Radial distance,mm

Relative temperature

1

1

1

1

1

1

1

1

1.0157893482

0.9918894296

1.0231464099

0.9904062326

0.9983473289

0.9990209249

0.9376398803

0.9915641668

1.0020750352

0.9543808191

0.9732977008

0.9410350584

0.9537252099

0.9894578656

0.8760100832

0.8725917057

0.7917571016

0.7849921116

0.8351039159

0.7889148581

0.7869840986

0.8673694756

0.7328433105

0.7087732666

0.6279962792

0.619136502

0.6590763522

0.6471452421

0.6199079864

0.6381065143

0.5629844276

0.6083052139

0.5421089036

0.4844565918

0.5348852618

0.5130105732

0.5211497231

0.5085725996

0.4818715104

0.5392674431

0.5198797911

0.4720574184

0.4937164565

0.4904618809

0.4962033232

0.4965504679

0.4669823545

0.5293349298



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



d

T-450s,co-firing

T-650s, co-firing

T-850s,co-firing

T-1050s, co-firing

T-1350s, co-firing

T-1550s, co-firing

T-1750s, co-firing

T-1950s,co-firing

Radial distance,mm

Temperature,K

1048.175

1125.075

1131.925

1123.125

1119.4

1097.975

1061.175

918.7

1064.725

1115.95

1158.125

1112.35

1117.55

1096.9

995

910.95

1050.35

1073.75

1101.7

1056.9

1067.6

1086.4

929.6

801.65

829.9

883.175

945.275

886.05

880.95

952.35

777.675

651.15

658.25

696.575

746.025

726.825

693.925

700.625

597.425

558.85

568.225

545.05

605.45

576.175

583.375

558.4

511.35

495.425

544.925

531.1

558.85

550.85

555.45

545.2

495.55

486.3



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



T-1, prop=0

T-2,prop=0

T-3, prop=0

T-4, prop=0

T-5, prop=0

T-6, prop=0

T-7, prop=0

T-8, prop=0

Radial distance,mm

Relative temperature

1

1

1

1

1

1

1

1

0.9917738145

0.9648602598

1.0181515179

0.9769191709

0.9785396913

1.0962289445

0.8829272662

0.9391101451

0.9512880778

0.9096501516

0.9660841366

0.900752435

0.9404745545

0.9997960016

0.8091484534

0.8658825034

0.8167196645

0.7944723507

0.8348797406

0.8109218483

0.8450826806

0.9266188728

0.6743699988

0.6873042255

0.6079773261

0.5596468323

0.6282992523

0.6261828925

0.6109660574

0.6875327855

0.5517437

0.5270408489

0.4998156597

0.4613971809

0.5127916404

0.5040391451

0.4916174248

0.5788890832

0.5023289144

0.5180591958

0.4728328494

0.4442477484

0.4771867399

0.4764806352

0.4606522835

0.5670863205

0.4907739162

0.5174199322



		0		0		0		0		0		0		0		0

		5		5		5		5		5		5		5		5

		10		10		10		10		10		10		10		10

		15		15		15		15		15		15		15		15

		20		20		20		20		20		20		20		20

		25		25		25		25		25		25		25		25

		30		30		30		30		30		30		30		30



T-1, prop=0

T-2, prop=0

T-3, prop=0

T-4,prop=0

T-5,prop=0

T-6, prop=0

T-7,prop=0

T-8, prop=0

Radial distance,mm

Temperature,K

1084.95

1129.775

1110.1

1083.15

1091.55

857.85

837.3

782.15

1076.025

1090.075

1130.25

1058.15

1068.125

940.4

739.275

734.525

1032.1

1027.7

1072.45

975.65

1026.575

857.675

677.5

677.25

886.1

897.575

926.8

878.35

922.45

794.9

564.65

537.575

659.625

632.275

697.475

678.25

666.9

589.8

461.975

412.225

542.275

521.275

569.25

545.95

536.625

496.6

420.6

405.2

513

501.9

529.725

516.1

502.825

486.475

410.925

404.7



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400



a

a

a

T1,K-L=30mm,co-firing

T1,K-L=30mm;prop.=0

time,s

Temperature,K

610.7291371962

703.7689948723

607.0700332561

705.9125698322

613.1667291234

701.3858687852

622.6594966529

704.9600147059

607.0700332561

703.7689948723

602.4304894179

707.102937814

608.2900967093

705.9125698322

614.3849818772

707.102937814

617.7941630035

704.9600147059

615.3593233395

703.7689948723

609.5097980227

707.102937814

613.1667291234

709.4825873581

608.2900967093

705.9125698322

610.7291371962

710.6718689203

603.6519290027

705.9125698322

608.2900967093

703.7689948723

607.0700332561

702.5776128987

605.8496076629

704.9600147059

601.2086876931

702.5776128987

589.2158663473

702.5776128987

594.1150962908

704.9600147059

590.441217043

703.7689948723

598.7639978239

702.5776128987

613.1667291234

703.7689948723

614.3849818772

703.7689948723

603.6519290027

703.7689948723

613.1667291234

702.5776128987

615.3593233395

703.7689948723

616.5769242415

705.9125698322

609.5097980227

707.102937814

611.9481142297

705.9125698322

613.1667291234

710.6718689203

619.0110396257

601.2086876931

623.8749247155

596.3178593952

610.7291371962

628.4902486375

619.0110396257

639.1582901581

622.6594966529

653.4191495324

608.2900967093

510.7893308859

596.3178593952

693.2724048636

610.7291371962

702.5776128987

613.1667291234

703.7689948723

609.5097980227

702.5776128987

608.2900967093

704.9600147059

611.9481142297

703.7689948723

604.6288199299

704.9600147059

595.0942469709

705.9125698322

599.9865238285

707.102937814

622.6594966529

705.9125698322

621.4437064504

704.9600147059

619.0110396257

707.102937814

616.5769242415

708.292943656

623.8749247155

703.7689948723

629.7039384287

701.3858687852

619.0110396257

707.102937814

601.2086876931

709.4825873581

589.2158663473

710.6718689203

592.8908320148

707.102937814

598.7639978239

709.4825873581

598.7639978239

707.102937814

604.6288199299

703.7689948723

611.9481142297

704.9600147059

611.9481142297

702.5776128987

613.1667291234

664.9840056065

574.7293793329

616.5769242415

502.0410184134

611.9481142297

526.4915763021

644.9654016504

572.5151436367

669.7928454323

594.1150962908

687.2959394413

608.2900967093

701.3858687852

603.6519290027

703.7689948723

548.3286291882

661.6143701567

522.7581612556

643.9981291588

630.9172660799

662.8181373147

856.4802125217

684.9028182932

841.8094835527

707.102937814

801.3912790058

721.1219311953

777.3948883404

722.3076637865

769.4400127215

722.3076637865

760.2946822072

727.994139237

754.4207023752

722.3076637865

752.3038533395

724.6780425493

751.1273191017

723.4930342378

744.2962791232

723.4930342378

746.4175607512

723.4930342378

745.2392158138

719.9358364642

744.2962791232

721.1219311953

744.2962791232

718.7493795932

744.2962791232

717.5625605823

746.4175607512

722.3076637865

747.5955435486

716.3753794315

749.9504227239

719.9358364642

747.5955435486

724.6780425493

743.117282334

732.726495117

748.7731642062

733.9086787372

748.7731642062

738.3976737783

751.1273191017

748.7731642062

754.4207023752

751.1273191017

756.7713807277

757.9461766941

751.1273191017

765.9251853156

751.1273191017

768.2687657261

752.3038533395

779.731370809

753.4800254375

784.1666967177

754.4207023752

794.4179007336

755.5962226214

792.3233450298

753.4800254375

803.4807502654

754.4207023752

808.1198189085

754.4207023752

823.8493113921

755.5962226214

823.8493113921

755.5962226214

836.2926634001

763.8147244276

840.8905929511

761.4683917539

842.9577708788

761.4683917539

841.8094835527

761.4683917539

847.5472987842

757.9461766941

850.9856422443

761.4683917539

858.7671542527

768.2687657261

860.8241632921

764.7528519004

863.1083527599

764.7528519004

860.8241632921

770.610897577

864.2499042839

772.9515808684

872.0028506974

765.9251853156

877.6928634628

770.610897577

890.8588262493

768.2687657261

894.2558857615

772.9515808684

891.9915415599

779.731370809

895.3875146524

778.5633106446

896.5187814034

778.5633106446

875.4179447763

773.8874485883

880.8753160437

772.9515808684

882.0112181854

775.0569573122

888.8190260977

778.5633106446

886.5512053532

777.3948883404

896.5187814034

776.2261038962

901.943820821

778.5633106446

904.2017913604

775.0569573122

904.2017913604

772.9515808684

903.0729871607

779.731370809

903.0729871607

785.3330186105

916.3698011635

779.731370809

920.6410921854

785.3330186105

917.2694548939

785.3330186105

919.5175752281

782.066404718

916.3698011635

783.2333784627

914.1196528459

784.1666967177

906.4583133402

782.066404718

904.2017913604

788.8298114497

893.1238947307

791.1591959764

905.3302334202

792.3233450298

914.1196528459

793.2544035319

926.2532448734

794.4179007336

935.8849695556

801.3912790058

939.2385722803

799.0682681413

939.2385722803

800.2299546435

973.922831741

805.8010088667

1012.6305799657

809.2786807195

1036.1609107338

810.4371803906

1054.1295856008

821.7713127244

1075.0026620375

825.0032481006

1089.7675615265

827.3100350978

1093.8211485292

838.5923524554

1110.4073908997

842.9577708788

1138.2756460921

848.6937754108

1134.2798566166

850.9856422443

1144.3644006852

856.4802125217

1144.3644006852

860.8241632921

1162.7660496723

873.1415775303

1178.1533369321

876.5555851895

1185.1965760651

887.6852967954

1188.091866195

904.2017913604

1189.1252103184

926.2532448734

1202.320030903

945.7129624047

1209.305646336

971.9313989937

1236.2675667706

992.2329610721

1240.1276696702

994.4322649485

1257.9378428098

998.8265270226

1277.6398775406

1018.9655027738

1300.979501934

1036.1609107338

1307.7247723615

1053.0499599988

1322.1506912556

1072.8570997215

1336.6954383216

1103.1883256049

1340.4171023822

1134.2798566166

1349.9909451148

1155.6696194315

1355.6407137273

1182.0913288803

1354.6674848264

1203.3483774959

1356.6135804883

1218.320997261

1369.0342908336

1235.2508810823

1382.1662842215

1257.9378428098

1387.7463191758

1280.4430972236

1397.1469721251

1296.2080525987

1405.5587372445

1319.3900592243

1410.3256554178

1343.3515643926

1423.2458693951

1356.6135804883

1431.570315343

1358.5582275906

1434.2131215382

1366.1285103029

1439.8667171775

1383.1292283493

1470.914294709

1386.0158878936

1487.2113604541

1394.4646202534

1496.237242069

1408.4199745681

1490.7153204955

1428.7355866597

1490.7153204955

1433.4583237658

1486.2883965707

1431.570315343

1492.5574095796

1430.6257679218

1497.891276319

1418.5035767347

1503.3962497454

1426.0868993126

1498.8096772398

1424.1932415075

1497.891276319

1421.3500387506

1509.6194593004

1425.14025148

1514.0022311293

1426.843956838

1517.6481673246

1423.2458693951

1515.8259235067

1416.7941350808

1521.1064397968

1429.6808583607

1523.8329610795

1431.570315343

1528.1886158731

1430.6257679218

1519.2869482422

1426.0868993126

1519.2869482422

1428.7355866597

1518.5587460236

1426.843956838

1514.914258388

1428.7355866597

1515.8259235067

1435.1562928278

1509.6194593004

1436.0991019775

1507.7908418204

1433.4583237658

1507.7908418204

1435.1562928278

1506.8759898706

1445.3194672015

1503.3962497454

1447.1969011394

1500.6453926617

1441.7483519381

1500.6453926617

1447.1969011394

1502.4796595241

1457.310013294

1501.5627071628

1449.8228750722

1503.3962497454

1448.1350748984

1501.5627071628

1442.5006002456

1497.891276319

1447.1969011394

1497.891276319

1447.1969011394

1494.3980501041

1449.8228750722

1497.891276319

1458.9914253201

1488.8717828519

1458.9914253201

1488.1339621977

1465.3328373368

1482.5929196378

1471.8432701148

1469.0552574779

1473.5145132525

1456.375388506

1476.297311075

1452.6332679546

1470.914294709

1443.4405847042

1477.2241860693

1445.3194672015

1477.2241860693

1444.3802070228

1470.914294709

1444.3802070228

1458.9914253201

1444.3802070228

1453.5693413023

1455.440401578

1449.8228750722

1452.6332679546

1447.1969011394

1451.696832467

1443.4405847042

1458.0574523838

1433.4583237658

1446.2583652404

1434.2131215382

1447.1969011394

1436.0991019775

1448.1350748984

1437.0415489874

1445.3194672015

1428.7355866597

1448.1350748984

1429.6808583607

1449.8228750722

1425.14025148

1449.8228750722

1421.3500387506

1441.7483519381

1420.4015802186

1437.9836338573

1415.8439382772

1433.4583237658

1418.5035767347

1429.6808583607

1422.2981351428

1445.3194672015

1416.7941350808

1439.8667171775

1405.5587372445

1396.1893152397

1397.1469721251

1399.0611994763

1406.5128451589

1403.6494349959

1406.5128451589

1385.0540301854

1402.6942406618

1372.710267325

1397.1469721251

1374.6428913828

1397.1469721251

1377.5391114203

1400.9739782678

1379.2752789985

1405.5587372445

1393.5059493763

1401.9298244538

1387.7463191758

1393.5059493763

1381.2029779537

1393.5059493763

1380.239309546

1390.6277639056

1370.002160064

1386.0158878936

1371.7434120863

1390.6277639056

1376.574066881

1386.0158878936

1379.2752789985

1387.7463191758

1383.1292283493

1384.0918103373

1390.6277639056

1382.1662842215

1393.5059493763

1384.0918103373

1397.1469721251

1379.2752789985

1387.7463191758

1368.0660594632

1400.9739782678

1371.7434120863

1403.6494349959

1372.710267325

1402.6942406618

1373.6767604239

1392.5469163593

1373.6767604239

1395.2312962144

1378.5037938197

1399.0611994763

1381.2029779537

1393.5059493763

1379.2752789985

1405.5587372445

1378.5037938197

1412.039529664

1384.0918103373

1411.0875221609

1383.1292283493

1427.7899528188

1376.574066881

1433.4583237658

1368.0660594632

1429.6808583607

1368.0660594632

1432.5145006243

1368.0660594632

1440.8077156277

1362.2490663034

1441.7483519381

1357.5860851094

1455.440401578

1355.6407137273

1476.297311075

1356.6135804883

1482.5929196378

1360.5014261334

1484.441382384

1361.4724821949

1488.8717828519

1365.1591925128

1487.2113604541

1368.0660594632

1496.237242069

1364.1895125829

1496.9725132583

1363.2194705131

1505.0451995513

1361.4724821949

1495.3178271565

1368.0660594632

1500.6453926617

1362.2490663034

1502.4796595241

1369.0342908336

1510.5332248306

1370.002160064

1501.5627071628

1371.7434120863

1492.5574095796

1372.710267325

1487.2113604541

1379.2752789985

1485.3650705473

1379.2752789985

1487.2113604541

1387.7463191758

1487.2113604541

1367.097465953

1485.3650705473

1355.6407137273

1480.743008332

1345.3060617

1471.8432701148

1354.6674848264

1461.7911712896

1356.6135804883

1459.9250361165

1356.6135804883

1457.310013294

1352.9147602123

1466.2639855819

1356.6135804883

1462.7236956663

1351.9405173197

1465.3328373368

1354.6674848264

1464.587658

1351.9405173197

1457.310013294

1351.9405173197

1451.696832467

1364.1895125829

1447.1969011394

1366.1285103029

1432.5145006243

1387.7463191758

1435.1562928278

1379.2752789985

1426.0868993126

1369.0342908336

1431.570315343

1365.1591925128

1414.8933793338

1362.2490663034

1420.4015802186

1400.017769942

1417.7439697445

1404.6042671902

1425.14025148

1401.9298244538

1431.570315343

1416.7941350808

1448.1350748984

1426.843956838

1457.310013294

1432.5145006243

1453.5693413023

1432.5145006243

1455.440401578

1437.0415489874

1456.375388506

1433.4583237658

1442.5006002456

1442.5006002456

1437.9836338573

1441.7483519381

1437.9836338573

1441.7483519381

1434.2131215382

1454.5050525101

1432.5145006243

1449.8228750722

1433.4583237658

1455.440401578

1432.5145006243

1455.440401578

1430.6257679218

1450.7600348396

1438.9253565873

1446.2583652404

1431.570315343

1438.9253565873

1414.8933793338

1437.9836338573

1400.9739782678

1439.8667171775

1417.7439697445

1437.0415489874

1430.6257679218

1438.9253565873

1468.1251956524

1440.8077156277

1489.7937327436

1449.0728865176

1504.1292611817

1444.3802070228

1503.3962497454

1450.7600348396

1512.1770901923

1444.3802070228

1511.4466282208

1434.2131215382

1511.4466282208

1442.5006002456

1514.0022311293

1439.8667171775

1514.0022311293

1434.2131215382

1517.6481673246

1426.843956838

1507.7908418204

1432.5145006243

1488.8717828519

1425.14025148

1483.5173320808

1427.7899528188

1499.7277160207

1430.6257679218

1497.891276319

1442.5006002456

1487.2113604541

1444.3802070228

1482.5929196378

1448.1350748984

1486.2883965707

1443.4405847042

1495.3178271565

1455.440401578

1494.3980501041

1458.9914253201

1499.7277160207

1458.9914253201

1496.237242069

1446.2583652404

1494.3980501041

1434.2131215382

1496.237242069

1425.14025148

1508.7053316304

1419.4527595466

1500.6453926617

1422.2981351428

1504.1292611817

1425.14025148

1509.6194593004

1429.6808583607

1506.8759898706

1432.5145006243

1512.1770901923

1447.1969011394

1504.1292611817

1454.5050525101

1503.3962497454

1460.858284773

1493.4779109118

1459.9250361165

1495.3178271565

1461.7911712896

1499.7277160207

1457.310013294

1502.4796595241

1450.7600348396

1508.7053316304

1452.6332679546

1506.8759898706

1454.5050525101

1505.9607757809

1458.9914253201

1499.7277160207

1456.375388506

1496.237242069

1455.440401578

1496.237242069

1453.5693413023

1488.1339621977

1455.440401578

1487.2113604541

1449.8228750722

1493.4779109118

1449.0728865176

1488.8717828519

1446.2583652404

1488.1339621977

1438.9253565873

1493.4779109118

1432.5145006243

1496.237242069

1425.14025148

1496.237242069

1422.2981351428

1489.7937327436

1420.4015802186

1501.5627071628

1420.4015802186

1502.4796595241

1412.039529664

1492.5574095796

1409.3729960629

1482.5929196378

1415.8439382772

1481.6681450548

1417.7439697445

1480.743008332

1417.7439697445

1467.1947716871

1415.8439382772

1470.914294709

1419.4527595466

1469.0552574779

1421.3500387506

1467.1947716871

1425.14025148

1460.858284773

1431.570315343

1459.9250361165

1424.1932415075

1454.5050525101

1426.0868993126

1467.1947716871

1420.4015802186

1464.587658

1423.2458693951

1453.5693413023

1432.5145006243

1453.5693413023

1419.4527595466

1445.3194672015

1424.1932415075

1435.1562928278

1426.0868993126

1437.9836338573

1425.14025148

1440.8077156277

1436.0991019775

1441.7483519381

1446.2583652404

1447.1969011394

1451.696832467

1446.2583652404

1453.5693413023

1443.4405847042

1455.440401578

1442.5006002456

1456.375388506

1437.0415489874

1455.440401578

1436.0991019775

1458.9914253201

1432.5145006243

1460.858284773

1436.0991019775

1458.0574523838

1429.6808583607

1458.0574523838

1421.3500387506

1452.6332679546

1431.570315343

1456.375388506

1428.7355866597

1458.9914253201

1408.4199745681

1469.0552574779

1402.6942406618

1467.1947716871

1405.5587372445

1467.1947716871

1395.2312962144

1468.1251956524

1400.017769942

1448.1350748984

1396.1893152397

1459.9250361165

1399.0611994763

1458.0574523838

1400.017769942

1458.9914253201

1400.9739782678

1456.375388506

1407.4665909335

1463.6558579031

1404.6042671902

1459.9250361165

1414.8933793338

1464.587658

1412.9911750271

1456.375388506

1414.8933793338

1463.6558579031

1421.3500387506

1468.1251956524

1418.5035767347

1467.1947716871

1419.4527595466

1465.3328373368

1416.7941350808

1462.7236956663

1409.3729960629

1463.6558579031

1409.3729960629

1465.3328373368

1417.7439697445

1465.3328373368

1412.9911750271

1454.5050525101

1421.3500387506

1467.1947716871

1422.2981351428

1464.587658

1427.7899528188

1469.0552574779

1432.5145006243

1459.9250361165

1434.2131215382

1464.587658

1432.5145006243

1484.441382384

1421.3500387506

1482.5929196378

1420.4015802186

1486.2883965707

1429.6808583607

1489.7937327436

1426.843956838

1489.7937327436

1418.5035767347

1484.441382384

1418.5035767347

1485.3650705473

1419.4527595466

1488.1339621977

1422.2981351428

1488.1339621977

1426.843956838

1480.002638213

1422.2981351428

1482.5929196378

1418.5035767347

1480.743008332

1416.7941350808

1480.743008332

1415.8439382772

1474.4424746666

1411.0875221609

1474.4424746666

1413.9424582504

1472.7718833806

1412.039529664

1478.1506989238

1419.4527595466

1478.1506989238

1420.4015802186

1472.7718833806

1426.0868993126

1475.3700739407

1420.4015802186

1479.0768496383

1423.2458693951

1476.297311075

1430.6257679218

1471.8432701148

1431.570315343

1480.743008332

1431.570315343

1485.3650705473

1433.4583237658

1487.2113604541

1437.9836338573

1479.0768496383

1449.8228750722

1480.743008332

1447.1969011394

1477.2241860693

1447.1969011394

1480.002638213

1445.3194672015

1479.0768496383

1442.5006002456

1485.3650705473

1438.9253565873

1482.5929196378

1437.0415489874

1481.6681450548

1435.1562928278

1480.002638213

1433.4583237658

1479.0768496383

1436.0991019775

1477.2241860693

1437.9836338573

1476.297311075

1425.14025148

1469.9849571634

1422.2981351428

1474.4424746666

1422.2981351428

1469.0552574779

1423.2458693951

1473.5145132525

1421.3500387506

1475.3700739407

1413.9424582504

1478.1506989238

1417.7439697445

1475.3700739407

1408.4199745681

1478.1506989238

1415.8439382772

1484.441382384

1411.0875221609

1482.5929196378

1403.6494349959

1479.0768496383

1403.6494349959

1475.3700739407

1414.8933793338

1477.2241860693

1421.3500387506

1480.743008332

1421.3500387506

1482.5929196378

1411.0875221609

1483.5173320808

1408.4199745681

1488.1339621977

1418.5035767347

1482.5929196378

1412.9911750271

1481.6681450548

1418.5035767347

1483.5173320808

1426.0868993126

1481.6681450548

1422.2981351428

1484.441382384

1417.7439697445

1481.6681450548

1413.9424582504

1478.1506989238

1411.0875221609

1482.5929196378

1403.6494349959

1482.5929196378

1403.6494349959

1480.002638213

1401.9298244538

1485.3650705473

1413.9424582504

1480.002638213

1405.5587372445

1481.6681450548

1415.8439382772

1479.0768496383

1414.8933793338

1484.441382384

1415.8439382772

1483.5173320808

1418.5035767347

1482.5929196378

1413.9424582504

1483.5173320808

1415.8439382772

1482.5929196378

1417.7439697445

1485.3650705473

1415.8439382772

1488.1339621977

1427.7899528188

1482.5929196378

1433.4583237658

1484.441382384

1425.14025148

1484.441382384

1424.1932415075

1481.6681450548

1432.5145006243

1481.6681450548

1432.5145006243

1478.1506989238

1426.0868993126

1480.743008332

1438.9253565873

1480.743008332

1423.2458693951

1484.441382384

1424.1932415075

1482.5929196378

1432.5145006243

1485.3650705473

1425.14025148

1482.5929196378

1427.7899528188

1481.6681450548

1429.6808583607

1481.6681450548

1434.2131215382

1481.6681450548

1424.1932415075

1483.5173320808

1431.570315343

1485.3650705473

1422.2981351428

1480.002638213

1421.3500387506

1478.1506989238

1414.8933793338

1482.5929196378

1414.8933793338

1479.0768496383

1435.1562928278

1478.1506989238

1436.0991019775

1478.1506989238

1424.1932415075

1476.297311075

1420.4015802186

1477.2241860693

1433.4583237658

1480.002638213

1437.0415489874

1480.002638213

1431.570315343

1474.4424746666

1433.4583237658

1475.3700739407

1438.9253565873

1473.5145132525

1442.5006002456

1472.7718833806

1434.2131215382

1469.9849571634

1432.5145006243

1467.1947716871

1436.0991019775

1469.9849571634

1436.0991019775

1464.587658

1430.6257679218

1465.3328373368

1432.5145006243

1465.3328373368

1431.570315343

1467.1947716871

1438.9253565873

1465.3328373368

1437.0415489874

1462.7236956663

1426.843956838

1463.6558579031

1428.7355866597

1461.7911712896

1437.9836338573

1461.7911712896

1440.8077156277

1466.2639855819

1441.7483519381

1464.587658

1415.8439382772

1459.9250361165

1439.8667171775

1457.310013294

1451.696832467

1455.440401578

1454.5050525101

1449.0728865176

1443.4405847042

1446.2583652404

1444.3802070228

1449.0728865176

1440.8077156277

1449.8228750722

1442.5006002456

1446.2583652404

1442.5006002456

1453.5693413023

1437.0415489874

1450.7600348396

1437.0415489874

1452.6332679546

1439.8667171775

1451.696832467

1440.8077156277

1450.7600348396

1436.0991019775

1449.8228750722

1436.0991019775

1449.8228750722

1433.4583237658

1451.696832467

1438.9253565873

1448.1350748984

1437.0415489874

1450.7600348396

1433.4583237658

1449.8228750722

1421.3500387506

1448.1350748984

1423.2458693951

1448.1350748984

1425.14025148

1446.2583652404

1416.7941350808

1444.3802070228

1420.4015802186

1448.1350748984

1426.843956838

1449.8228750722

1443.4405847042

1445.3194672015

1440.8077156277

1448.1350748984

1441.7483519381

1446.2583652404

1437.0415489874

1447.1969011394

1444.3802070228

1448.1350748984

1433.4583237658

1449.0728865176

1426.843956838

1447.1969011394

1422.2981351428

1445.3194672015

1418.5035767347

1443.4405847042

1422.2981351428

1442.5006002456

1412.9911750271

1442.5006002456

1412.039529664

1437.9836338573

1414.8933793338

1439.8667171775

1416.7941350808

1440.8077156277

1416.7941350808

1441.7483519381

1422.2981351428

1446.2583652404

1415.8439382772

1440.8077156277

1418.5035767347

1443.4405847042

1400.017769942

1439.8667171775

1373.6767604239

1437.0415489874

1374.6428913828

1442.5006002456

1380.239309546

1439.8667171775

1370.7761947076

1437.9836338573

1380.239309546

1439.8667171775

1390.6277639056

1440.8077156277

1390.6277639056

1447.1969011394

1396.1893152397

1448.1350748984

1400.9739782678

1445.3194672015

1419.4527595466

1443.4405847042

1432.5145006243

1448.1350748984

1430.6257679218

1445.3194672015

1420.4015802186

1442.5006002456

1418.5035767347

1440.8077156277

1410.3256554178

1437.0415489874

1413.9424582504

1437.0415489874

1424.1932415075

1437.0415489874

1420.4015802186

1439.8667171775

1436.0991019775

1437.9836338573

1428.7355866597

1434.2131215382

1421.3500387506

1434.2131215382

1426.0868993126

1432.5145006243

1417.7439697445

1436.0991019775

1421.3500387506

1434.2131215382

1423.2458693951

1432.5145006243

1423.2458693951

1436.0991019775

1419.4527595466

1435.1562928278

1427.7899528188

1437.0415489874

1425.14025148

1437.9836338573

1429.6808583607

1436.0991019775

1439.8667171775

1435.1562928278

1450.7600348396

1437.0415489874

1450.7600348396

1441.7483519381

1456.375388506

1442.5006002456

1456.375388506

1445.3194672015

1446.2583652404

1438.9253565873

1446.2583652404

1440.8077156277

1451.696832467

1444.3802070228

1463.6558579031

1439.8667171775

1467.1947716871

1441.7483519381

1462.7236956663

1442.5006002456

1459.9250361165

1440.8077156277

1454.5050525101

1437.0415489874

1463.6558579031

1437.0415489874

1467.1947716871

1437.0415489874

1458.9914253201

1441.7483519381

1455.440401578

1434.2131215382

1453.5693413023

1435.1562928278

1456.375388506

1436.0991019775

1463.6558579031

1437.0415489874

1459.9250361165

1435.1562928278

1446.2583652404

1435.1562928278

1441.7483519381

1439.8667171775

1436.0991019775

1439.8667171775

1437.0415489874

1436.0991019775

1435.1562928278

1438.9253565873

1435.1562928278

1438.9253565873

1441.7483519381

1440.8077156277

1433.4583237658

1443.4405847042

1417.7439697445

1441.7483519381

1410.3256554178

1438.9253565873

1409.3729960629

1439.8667171775

1412.9911750271

1438.9253565873

1413.9424582504

1439.8667171775

1414.8933793338

1448.1350748984

1401.9298244538

1445.3194672015

1393.5059493763

1445.3194672015

1390.6277639056

1440.8077156277

1387.7463191758

1442.5006002456

1375.6086602019

1444.3802070228

1371.7434120863

1447.1969011394

1367.097465953

1445.3194672015

1364.1895125829

1446.2583652404

1356.6135804883

1444.3802070228

1361.4724821949

1448.1350748984

1355.6407137273

1444.3802070228

1350.9659122872

1444.3802070228

1346.0874550263

1446.2583652404

1345.3060617

1446.2583652404

1346.0874550263

1445.3194672015

1344.3289941162

1445.3194672015

1333.7535886573

1440.8077156277

1332.7722478228

1442.5006002456

1342.373772529

1444.3802070228

1339.4382240989

1449.8228750722

1349.0156158025

1449.8228750722

1349.0156158025

1447.1969011394

1334.734567352

1448.1350748984

1340.4171023822

1447.1969011394

1334.734567352

1447.1969011394

1316.4290885736

1449.8228750722

1312.6738469019

1445.3194672015

1303.9574207318

1444.3802070228

1304.9493360512

1444.3802070228

1317.4164409304

1444.3802070228

1312.6738469019

1449.8228750722

1306.7338710338

1449.8228750722

1300.979501934

1444.3802070228

1291.2289204471

1440.8077156277

1285.4417849296

1446.2583652404

1288.4366518745

1446.2583652404

1283.4433962669

1442.5006002456

1278.6413533533

1445.3194672015

1280.4430972236

1440.8077156277

1275.6358394955

1442.5006002456

1272.6270663787

1437.0415489874

1275.6358394955

1439.8667171775

1270.8202380642

1439.8667171775

1273.6303528909

1437.0415489874

1281.4435590446

1436.0991019775

1386.0158878936

1431.570315343

1310.6953035055

1433.4583237658

1264.7890029426

1435.1562928278

1252.0809736342

1431.570315343

1246.2119220725

1435.1562928278

1247.0221707056

1429.6808583607

1247.0221707056

1430.6257679218

1241.142617087

1429.6808583607

1250.0585388824

1431.570315343

1253.0916478002

1426.843956838

1251.0699373283

1426.843956838

1252.0809736342

1426.843956838

1251.0699373283

1426.843956838

1252.0809736342

1428.7355866597

1254.1019598263

1426.0868993126

1249.0467782967

1425.14025148

1252.0809736342

1422.2981351428

1255.1119097126

1421.3500387506

1248.0346555711

1422.2981351428

1250.0585388824

1423.2458693951

1251.0699373283

1426.0868993126

1244.185286498

1426.843956838

1241.142617087

1426.843956838

1239.1123601135

1425.14025148

1240.1276696702

1426.843956838

1236.2675667706

1428.7355866597

1232.1986511781

1428.7355866597

1229.3469626916

1430.6257679218

1225.2681968939

1431.570315343

1226.2884315532

1432.5145006243

1226.2884315532

1428.7355866597

1221.183636858

1433.4583237658

1222.2053200768

1431.570315343

1223.2266411557

1432.5145006243

1221.183636858

1430.6257679218

1231.1805169302

1430.6257679218

1233.2164232861

1427.7899528188

1225.2681968939

1426.0868993126

1227.3083040725

1426.0868993126

1226.2884315532

1430.6257679218

1223.2266411557

1430.6257679218

1219.3436944715

1429.6808583607

1218.320997261

1427.7899528188

1218.320997261

1426.843956838

1219.3436944715

1427.7899528188

1218.320997261

1429.6808583607

1216.2745164202

1426.843956838

1222.2053200768

1423.2458693951

1221.183636858

1423.2458693951

1221.183636858

1425.14025148

1221.183636858

1425.14025148

1222.2053200768

1422.2981351428

1219.3436944715

1426.843956838

1222.2053200768

1425.14025148

1231.1805169302

1421.3500387506

1231.1805169302

1423.2458693951

1241.142617087

1416.7941350808

1245.1987853552

1418.5035767347

1242.1572023639

1421.3500387506

1244.185286498

1419.4527595466

1246.2119220725

1417.7439697445

1250.0585388824

1419.4527595466

1248.0346555711

1419.4527595466

1252.0809736342

1419.4527595466

1256.9289069153

1419.4527595466

1260.962477654

1415.8439382772

1255.1119097126

1420.4015802186

1251.0699373283

1418.5035767347

1251.0699373283

1416.7941350808

1254.1019598263

1415.8439382772

1255.9196088808

1412.039529664

1252.0809736342

1412.039529664

1250.0585388824

1421.3500387506

1251.0699373283

1421.3500387506

1259.9546281792

1416.7941350808

1262.977090184

1420.4015802186

1264.7890029426

1417.7439697445

1268.8112749166

1420.4015802186

1268.8112749166

1426.0868993126

1277.6398775406

1418.5035767347

1291.2289204471

1420.4015802186

1311.6847562736

1422.2981351428

1324.1208330066

1422.2981351428

1332.7722478228

1418.5035767347

1336.6954383216

1409.3729960629

1341.3956185255

1412.039529664

1343.3515643926

1407.4665909335

1341.3956185255

1409.3729960629

1344.3289941162

1411.0875221609

1340.4171023822

1408.4199745681

1341.3956185255

1409.3729960629

1349.0156158025

1404.6042671902

1355.6407137273

1409.3729960629

1353.888640965

1408.4199745681

1349.0156158025

1408.4199745681

1352.9147602123

1410.3256554178

1348.0399243503

1409.3729960629

1358.5582275906

1413.9424582504

1430.6257679218

1415.8439382772

1439.8667171775

1416.7941350808

1443.4405847042

1417.7439697445

1441.7483519381

1420.4015802186

1427.7899528188

1419.4527595466

1419.4527595466

1421.3500387506

1412.039529664

1418.5035767347

1412.9911750271

1415.8439382772

1417.7439697445

1416.7941350808

1406.5128451589

1411.0875221609

1403.6494349959

1418.5035767347

1397.1469721251

1417.7439697445

1401.9298244538

1417.7439697445

1401.9298244538

1415.8439382772

1391.5875212024

1411.0875221609

1383.1292283493

1413.9424582504

1383.1292283493

1412.039529664

1386.7851133194

1412.9911750271

1378.5037938197

1412.9911750271

1365.1591925128

1410.3256554178

1353.888640965

1412.039529664

1343.3515643926

1413.9424582504

1328.0567708297

1415.8439382772

1329.0398499357

1413.9424582504

1322.1506912556

1413.9424582504

1317.4164409304

1416.7941350808

1312.6738469019

1414.8933793338

1305.7426075661

1412.9911750271

1299.986138055

1408.4199745681

1277.6398775406

1411.0875221609

1265.7951141459

1415.8439382772

1260.962477654

1412.039529664

1257.9378428098

1416.7941350808

1255.9196088808

1415.8439382772

1258.9464165644

1418.5035767347

1248.0346555711

1420.4015802186

1252.0809736342

1413.9424582504

1269.8159375604

1418.5035767347

1269.8159375604

1418.5035767347

1261.969964989

1416.7941350808

1251.0699373283

1416.7941350808

1263.7825295993

1416.7941350808

1276.638039588

1417.7439697445

1285.4417849296

1416.7941350808

1287.4387250327

1416.7941350808

1284.4427716682

1414.8933793338

1287.4387250327

1419.4527595466

1297.9983238772

1414.8933793338

1297.9983238772

1415.8439382772

1291.2289204471

1417.7439697445

1290.232007597

1412.039529664

1283.4433962669

1415.8439382772

1280.4430972236

1417.7439697445

1297.9983238772

1410.3256554178

1291.2289204471

1407.4665909335

1282.4436587257

1411.0875221609

1293.2216597274

1412.039529664

1296.2080525987

1410.3256554178

1288.4366518745

1403.6494349959

1294.2174861577

1403.6494349959

1303.9574207318

1398.1042668707

1299.986138055

1401.9298244538

1303.9574207318

1397.1469721251

1298.992412036

1393.5059493763

1300.979501934

1391.5875212024

1297.0038735784

1393.5059493763

1286.4404360511

1389.6676444689

1297.0038735784

1389.6676444689

1306.7338710338

1388.7071628923

1284.4427716682

1385.0540301854

1297.9983238772

1387.7463191758

1304.9493360512

1382.1662842215

1319.3900592243

1387.7463191758

1315.4413740769

1385.0540301854

1317.4164409304

1382.1662842215

1309.7054885974

1382.1662842215

1293.2216597274

1381.2029779537

1297.9983238772

1379.2752789985

1302.9651432724

1379.2752789985

1293.2216597274

1379.2752789985

1290.232007597

1382.1662842215

1295.2129504482

1385.0540301854

1306.7338710338

1383.1292283493

1285.4417849296

1383.1292283493

1297.0038735784

1385.0540301854

1288.4366518745

1386.0158878936

1302.9651432724

1385.0540301854

1312.6738469019

1381.2029779537

1320.3763251614

1379.2752789985

1320.3763251614

1377.5391114203

1344.3289941162

1381.2029779537

1344.3289941162

1386.0158878936

1327.0733295837

1384.0918103373

1331.7905448483

1383.1292283493

1324.1208330066

1376.574066881

1329.0398499357

1375.6086602019

1314.4532974403

1379.2752789985

1296.2080525987

1379.2752789985

1311.6847562736

1374.6428913828

1310.6953035055

1377.5391114203

1319.3900592243

1375.6086602019

1333.7535886573

1375.6086602019

1343.3515643926

1374.6428913828

1356.6135804883

1377.5391114203

1342.373772529

1374.6428913828

1345.3060617

1373.6767604239

1360.5014261334

1371.7434120863

1355.6407137273

1372.710267325

1345.3060617

1376.574066881

1342.373772529

1382.1662842215

1349.0156158025

1381.2029779537

1351.9405173197

1379.2752789985

1355.6407137273

1384.0918103373

1361.4724821949

1384.0918103373

1370.7761947076

1382.1662842215

1360.5014261334

1381.2029779537

1349.9909451148

1383.1292283493

1348.0399243503

1381.2029779537

1351.9405173197

1380.239309546

1356.6135804883

1383.1292283493

1361.4724821949

1376.574066881

1357.5860851094

1380.239309546

1346.0874550263

1377.5391114203

1336.6954383216

1377.5391114203

1353.888640965

1372.710267325

1344.3289941162

1373.6767604239

1349.0156158025

1373.6767604239

1360.5014261334

1379.2752789985

1351.9405173197

1372.710267325

1352.9147602123

1376.574066881

1365.1591925128

1377.5391114203

1351.9405173197

1380.239309546

1358.5582275906

1379.2752789985

1357.5860851094

1382.1662842215

1352.9147602123

1381.2029779537

1353.888640965

1382.1662842215

1345.3060617

1383.1292283493

1336.6954383216

1383.1292283493

1349.0156158025

1378.5037938197

1346.0874550263

1379.2752789985

1352.9147602123

1384.0918103373

1335.7151839067

1390.6277639056

1339.4382240989

1386.7851133194

1335.7151839067

1390.6277639056

1335.7151839067

1386.7851133194

1326.0895261979

1391.5875212024

1329.8260524798

1390.6277639056

1330.808479734

1393.5059493763

1329.0398499357

1394.4646202534

1327.0733295837

1386.7851133194

1332.7722478228

1389.6676444689

1326.0895261979

1389.6676444689

1315.4413740769

1394.4646202534

1310.6953035055

1390.6277639056

1313.4648586638

1387.7463191758

1312.6738469019

1388.7071628923

1312.6738469019

1389.6676444689

1304.9493360512

1385.0540301854

1301.9725036732

1390.6277639056

1297.0038735784

1391.5875212024

1297.0038735784

1389.6676444689

1294.2174861577

1384.0918103373

1299.986138055

1383.1292283493

1295.2129504482

1384.0918103373

1301.9725036732

1379.2752789985

1297.0038735784

1380.239309546

1298.992412036

1385.0540301854

1299.986138055

1384.0918103373

1302.9651432724

1383.1292283493

1310.6953035055

1381.2029779537

1307.7247723615

1378.5037938197

1302.9651432724

1377.5391114203

1312.6738469019

1375.6086602019

1319.3900592243

1373.6767604239

1318.4034311473

1376.574066881

1323.135943201

1380.239309546

1319.3900592243

1377.5391114203

1318.4034311473

1373.6767604239

1313.4648586638

1373.6767604239

1309.7054885974

1373.6767604239

1303.9574207318

1371.7434120863

1297.9983238772

1370.002160064

1308.7153115494

1372.710267325

1301.9725036732

1372.710267325

1308.7153115494

1376.574066881

1323.135943201

1378.5037938197

1334.734567352

1374.6428913828

1351.9405173197

1377.5391114203

1371.7434120863

1377.5391114203

1355.6407137273

1377.5391114203

1345.3060617

1375.6086602019

1361.4724821949

1378.5037938197

1365.1591925128

1376.574066881

1370.002160064

1375.6086602019

1370.7761947076

1375.6086602019

1384.0918103373

1377.5391114203

1398.1042668707

1379.2752789985

1409.3729960629

1378.5037938197

1409.3729960629

1376.574066881

1411.0875221609

1375.6086602019

1379.2752789985

1370.002160064

1362.2490663034

1373.6767604239

1334.734567352

1374.6428913828

1327.0733295837

1381.2029779537

1316.4290885736

1386.0158878936

1310.6953035055

1383.1292283493

1298.992412036

1388.7071628923

1298.992412036

1386.0158878936

1287.4387250327

1383.1292283493

1277.6398775406

1382.1662842215

1272.6270663787

1387.7463191758

1267.8062501329

1386.0158878936

1272.6270663787

1385.0540301854

1285.4417849296

1383.1292283493

1288.4366518745

1387.7463191758

1283.4433962669

1387.7463191758

1284.4427716682

1392.5469163593

1271.8241764282

1387.7463191758

1289.2347326071

1378.5037938197

1283.4433962669

1378.5037938197

1282.4436587257

1380.239309546

1286.4404360511

1379.2752789985

1286.4404360511

1384.0918103373

1296.2080525987

1385.0540301854

1278.6413533533

1386.0158878936

1276.638039588

1383.1292283493

1284.4427716682

1389.6676444689

1289.2347326071

1388.7071628923

1292.2254711572

1385.0540301854

1296.2080525987

1390.6277639056

1301.9725036732

1393.5059493763

1298.992412036

1387.7463191758

1302.9651432724

1392.5469163593

1309.7054885974

1393.5059493763

1300.979501934

1393.5059493763

1298.992412036

1394.4646202534

1301.9725036732

1390.6277639056

1304.9493360512

1390.6277639056

1304.9493360512

1389.6676444689

1306.7338710338

1389.6676444689

1310.6953035055

1386.7851133194

1317.4164409304

1393.5059493763

1315.4413740769

1387.7463191758

1305.7426075661

1390.6277639056

1303.9574207318

1386.7851133194

1309.7054885974

1390.6277639056

1309.7054885974

1392.5469163593

1327.0733295837

1389.6676444689

1333.7535886573

1387.7463191758

1352.9147602123

1394.4646202534

1361.4724821949

1393.5059493763

1368.0660594632

1396.1893152397

1352.9147602123

1395.2312962144

1377.5391114203

1396.1893152397

1367.097465953

1396.1893152397

1346.0874550263

1393.5059493763

1332.7722478228

1394.4646202534

1344.3289941162

1393.5059493763

1343.3515643926

1394.4646202534

1342.373772529

1387.7463191758

1319.3900592243

1389.6676444689

1300.979501934

1390.6277639056

1292.2254711572

1391.5875212024

1271.8241764282

1387.7463191758

1276.638039588

1388.7071628923

1268.8112749166

1386.7851133194

1271.8241764282

1386.7851133194

1273.6303528909

1384.0918103373

1273.6303528909

1383.1292283493

1270.8202380642

1375.6086602019

1272.6270663787

1381.2029779537

1267.8062501329

1383.1292283493

1264.7890029426

1383.1292283493

1261.969964989

1384.0918103373

1264.7890029426

1388.7071628923

1266.8008632094

1384.0918103373

1267.8062501329

1385.0540301854

1267.8062501329

1386.7851133194

1248.0346555711

1382.1662842215

1241.142617087

1381.2029779537

1243.1714255009

1379.2752789985

1246.2119220725

1381.2029779537

1245.1987853552

1384.0918103373

1240.1276696702

1382.1662842215

1244.185286498

1385.0540301854

1249.0467782967

1386.7851133194

1260.962477654

1390.6277639056

1263.7825295993

1396.1893152397

1266.8008632094

1395.2312962144

1261.969964989

1395.2312962144

1257.9378428098

1400.017769942

1253.0916478002

1400.9739782678

1249.0467782967

1394.4646202534

1248.0346555711

1390.6277639056

1250.0585388824

1396.1893152397

1250.0585388824

1394.4646202534

1260.962477654

1394.4646202534

1257.9378428098

1390.6277639056

1255.1119097126

1395.2312962144

1255.1119097126

1392.5469163593

1250.0585388824

1391.5875212024

1246.2119220725

1393.5059493763

1242.1572023639

1388.7071628923

1241.142617087

1386.7851133194

1243.1714255009

1387.7463191758

1245.1987853552

1392.5469163593

1243.1714255009

1390.6277639056

1260.962477654

1391.5875212024

1257.9378428098

1393.5059493763

1255.1119097126

1390.6277639056

1274.6332772631

1390.6277639056

1280.4430972236

1386.7851133194

1291.2289204471

1387.7463191758

1291.2289204471

1389.6676444689

1300.979501934

1389.6676444689

1300.979501934

1385.0540301854

1290.232007597

1391.5875212024

1295.2129504482

1388.7071628923

1306.7338710338

1390.6277639056

1313.4648586638

1389.6676444689

1319.3900592243

1386.7851133194

1325.1053606722

1384.0918103373

1307.7247723615

1386.0158878936

1311.6847562736

1388.7071628923

1309.7054885974

1386.0158878936

1308.7153115494

1386.7851133194

1328.0567708297

1395.2312962144

1297.9983238772

1394.4646202534

1298.992412036

1394.4646202534

1297.0038735784

1394.4646202534

1307.7247723615

1398.1042668707

1309.7054885974

1400.9739782678

1312.6738469019

1399.0611994763

1306.7338710338

1390.6277639056

1292.2254711572

1391.5875212024

1286.4404360511

1396.1893152397

1287.4387250327

1391.5875212024

1293.2216597274

1391.5875212024

1290.232007597

1385.0540301854

1289.2347326071

1386.7851133194

1282.4436587257

1385.0540301854

1280.4430972236

1385.0540301854

1270.8202380642

1381.2029779537

1265.7951141459

1381.2029779537

1267.8062501329

1383.1292283493

1272.6270663787

1380.239309546

1277.6398775406

1377.5391114203

1274.6332772631

1385.0540301854

1264.7890029426

1386.7851133194

1260.962477654

1376.574066881

1260.962477654

1381.2029779537

1278.6413533533

1378.5037938197

1274.6332772631

1380.239309546

1265.7951141459

1380.239309546

1265.7951141459

1374.6428913828

1273.6303528909

1381.2029779537

1271.8241764282

1380.239309546

1268.8112749166

1384.0918103373

1264.7890029426

1382.1662842215

1261.969964989

1380.239309546

1266.8008632094

1376.574066881

1269.8159375604

1373.6767604239

1264.7890029426

1365.1591925128

1273.6303528909

1373.6767604239

1279.6424670261

1378.5037938197

1276.638039588

1374.6428913828

1276.638039588

1372.710267325

1284.4427716682

1369.0342908336

1290.232007597

1369.0342908336

1279.6424670261

1374.6428913828

1287.4387250327

1368.0660594632

1287.4387250327

1368.0660594632

1283.4433962669

1371.7434120863

1290.232007597

1370.002160064

1290.232007597

1373.6767604239

1289.2347326071

1366.1285103029

1291.2289204471

1370.002160064

1285.4417849296

1367.097465953

1282.4436587257

1367.097465953

1285.4417849296

1373.6767604239

1283.4433962669

1371.7434120863

1278.6413533533

1373.6767604239

1284.4427716682

1370.002160064

1278.6413533533

1359.5300079319

1288.4366518745

1368.0660594632

1280.4430972236

1367.097465953

1286.4404360511

1364.1895125829

1283.4433962669

1358.5582275906

1286.4404360511

1359.5300079319

1295.2129504482

1359.5300079319

1300.979501934

1364.1895125829

1296.2080525987

1364.1895125829

1301.9725036732

1365.1591925128

1301.9725036732

1367.097465953

1306.7338710338

1368.0660594632

1308.7153115494

1365.1591925128

1307.7247723615

1363.2194705131

1305.7426075661

1361.4724821949

1303.9574207318

1356.6135804883

1309.7054885974

1357.5860851094

1307.7247723615

1357.5860851094

1301.9725036732

1359.5300079319

1307.7247723615

1362.2490663034

1323.135943201

1365.1591925128

1324.1208330066

1364.1895125829

1323.135943201

1362.2490663034

1315.4413740769

1365.1591925128

1312.6738469019

1368.0660594632

1310.6953035055

1363.2194705131

1304.9493360512

1358.5582275906

1304.9493360512

1362.2490663034

1307.7247723615

1356.6135804883

1320.3763251614

1354.6674848264

1320.3763251614

1363.2194705131

1322.1506912556

1360.5014261334

1317.4164409304

1359.5300079319

1320.3763251614

1351.9405173197

1316.4290885736

1359.5300079319

1325.1053606722

1359.5300079319

1316.4290885736

1360.5014261334

1318.4034311473

1356.6135804883

1329.8260524798

1357.5860851094

1332.7722478228

1355.6407137273

1333.7535886573

1353.888640965

1337.6753305965

1351.9405173197

1334.734567352

1351.9405173197

1344.3289941162

1355.6407137273

1348.0399243503

1349.9909451148

1352.9147602123

1350.9659122872

1348.0399243503

1347.0638707583

1351.9405173197

1346.0874550263

1345.3060617

1348.0399243503

1348.0399243503

1349.0156158025

1352.9147602123

1352.9147602123

1357.5860851094

1352.9147602123

1356.6135804883

1352.9147602123

1353.888640965

1350.9659122872

1354.6674848264

1351.9405173197

1353.888640965

1349.0156158025

1355.6407137273

1350.9659122872

1355.6407137273

1349.9909451148

1353.888640965

1357.5860851094

1355.6407137273

1350.9659122872

1354.6674848264

1353.888640965

1353.888640965

1348.0399243503

1356.6135804883

1354.6674848264

1359.5300079319

1359.5300079319

1361.4724821949

1359.5300079319

1359.5300079319

1358.5582275906

1357.5860851094

1362.2490663034

1361.4724821949

1355.6407137273

1361.4724821949

1357.5860851094

1360.5014261334

1357.5860851094

1355.6407137273

1361.4724821949

1358.5582275906

1361.4724821949

1362.2490663034

1366.1285103029

1357.5860851094

1362.2490663034

1349.0156158025

1362.2490663034

1337.6753305965

1364.1895125829

1334.734567352

1365.1591925128

1326.0895261979

1366.1285103029

1320.3763251614

1363.2194705131

1319.3900592243

1365.1591925128

1318.4034311473

1358.5582275906

1323.135943201

1361.4724821949

1328.0567708297

1360.5014261334

1331.7905448483

1363.2194705131

1332.7722478228

1363.2194705131

1339.4382240989

1366.1285103029

1322.1506912556

1365.1591925128

1317.4164409304

1368.0660594632

1310.6953035055

1364.1895125829

1319.3900592243

1370.7761947076

1306.7338710338

1363.2194705131

1304.9493360512

1370.7761947076

1306.7338710338

1374.6428913828

1304.9493360512

1370.7761947076

1306.7338710338

1364.1895125829

1305.7426075661

1367.097465953

1306.7338710338

1368.0660594632

1303.9574207318

1368.0660594632

1303.9574207318

1364.1895125829

1312.6738469019

1361.4724821949

1320.3763251614

1358.5582275906

1320.3763251614

1364.1895125829

1313.4648586638

1362.2490663034

1311.6847562736

1354.6674848264

1297.9983238772

1360.5014261334

1306.7338710338

1361.4724821949

1304.9493360512

1360.5014261334

1305.7426075661

1358.5582275906

1316.4290885736

1355.6407137273

1332.7722478228

1361.4724821949

1322.1506912556

1366.1285103029

1318.4034311473

1367.097465953

1325.1053606722

1372.710267325

1330.808479734

1369.0342908336

1328.0567708297

1370.002160064

1342.373772529

1371.7434120863

1326.0895261979

1365.1591925128

1339.4382240989

1366.1285103029

1334.734567352

1372.710267325

1330.808479734

1370.7761947076

1321.3622289586

1374.6428913828

1329.0398499357

1368.0660594632

1335.7151839067

1367.097465953

1330.808479734

1369.0342908336

1330.808479734

1370.002160064

1327.0733295837

1367.097465953

1330.808479734

1364.1895125829

1331.7905448483

1358.5582275906

1322.1506912556

1359.5300079319

1318.4034311473

1365.1591925128

1313.4648586638

1365.1591925128

1309.7054885974

1359.5300079319

1304.9493360512

1361.4724821949

1302.9651432724

1359.5300079319

1307.7247723615

1355.6407137273

1310.6953035055

1361.4724821949

1312.6738469019

1363.2194705131

1308.7153115494

1361.4724821949

1313.4648586638

1368.0660594632

1314.4532974403

1361.4724821949

1310.6953035055

1361.4724821949

1304.9493360512

1363.2194705131

1307.7247723615

1366.1285103029

1309.7054885974

1362.2490663034

1305.7426075661

1363.2194705131

1310.6953035055

1360.5014261334

1306.7338710338

1363.2194705131

1303.9574207318

1365.1591925128

1302.9651432724

1356.6135804883

1333.7535886573

1357.5860851094

1345.3060617

1363.2194705131

1342.373772529

1365.1591925128

1339.4382240989

1363.2194705131

1338.4589836758

1355.6407137273

1349.9909451148

1357.5860851094

1348.0399243503

1354.6674848264

1364.1895125829

1356.6135804883

1358.5582275906

1353.888640965

1374.6428913828

1355.6407137273

1356.6135804883

1355.6407137273

1347.0638707583

1352.9147602123

1350.9659122872

1349.9909451148

1346.0874550263

1350.9659122872

1352.9147602123

1363.2194705131

1349.0156158025

1360.5014261334

1348.0399243503

1360.5014261334

1345.3060617

1357.5860851094

1353.888640965

1355.6407137273

1351.9405173197

1358.5582275906

1349.0156158025

1354.6674848264

1345.3060617

1355.6407137273

1349.9909451148

1353.888640965

1348.0399243503

1359.5300079319

1350.9659122872

1356.6135804883

1355.6407137273

1360.5014261334

1349.9909451148

1358.5582275906

1357.5860851094

1360.5014261334

1349.0156158025

1360.5014261334

1337.6753305965

1360.5014261334

1339.4382240989

1362.2490663034

1329.8260524798

1359.5300079319

1326.0895261979

1359.5300079319

1329.8260524798

1356.6135804883

1313.4648586638

1358.5582275906

1316.4290885736

1360.5014261334

1325.1053606722

1364.1895125829

1319.3900592243

1365.1591925128

1322.1506912556

1363.2194705131

1324.1208330066

1360.5014261334

1320.3763251614

1358.5582275906

1316.4290885736

1353.888640965

1319.3900592243

1359.5300079319

1319.3900592243

1357.5860851094

1314.4532974403

1356.6135804883

1316.4290885736

1353.888640965

1315.4413740769

1350.9659122872

1319.3900592243

1351.9405173197

1310.6953035055

1350.9659122872

1320.3763251614

1349.0156158025

1311.6847562736

1349.0156158025

1298.992412036

1350.9659122872

1303.9574207318

1350.9659122872

1314.4532974403

1348.0399243503

1312.6738469019

1347.0638707583

1319.3900592243

1350.9659122872

1327.0733295837

1348.0399243503

1321.3622289586

1348.0399243503

1324.1208330066

1347.0638707583

1316.4290885736

1345.3060617

1303.9574207318

1341.3956185255

1296.2080525987

1341.3956185255

1296.2080525987

1340.4171023822

1288.4366518745

1339.4382240989

1277.6398775406

1335.7151839067

1272.6270663787

1346.0874550263

1261.969964989

1347.0638707583

1255.9196088808

1350.9659122872

1265.7951141459

1356.6135804883

1269.8159375604

1358.5582275906

1263.7825295993

1362.2490663034

1270.8202380642

1356.6135804883

1255.1119097126

1361.4724821949

1260.962477654

1358.5582275906

1247.0221707056

1361.4724821949

1251.0699373283

1369.0342908336

1258.9464165644

1363.2194705131

1253.0916478002

1357.5860851094

1256.9289069153

1360.5014261334

1256.9289069153

1358.5582275906

1251.0699373283

1356.6135804883

1256.9289069153

1355.6407137273

1253.0916478002

1357.5860851094

1260.962477654

1360.5014261334

1259.9546281792

1354.6674848264

1260.962477654

1354.6674848264

1255.9196088808

1358.5582275906

1248.0346555711

1369.0342908336

1252.0809736342

1364.1895125829

1248.0346555711

1368.0660594632

1254.1019598263

1364.1895125829

1270.8202380642

1367.097465953

1270.8202380642

1364.1895125829

1274.6332772631

1362.2490663034

1272.6270663787

1361.4724821949

1260.962477654

1365.1591925128

1251.0699373283

1361.4724821949

1248.0346555711

1363.2194705131

1249.0467782967

1363.2194705131

1248.0346555711

1361.4724821949

1249.0467782967

1358.5582275906

1252.0809736342

1357.5860851094

1242.1572023639

1354.6674848264

1243.1714255009

1352.9147602123

1234.2338332541

1349.0156158025

1238.096688417

1347.0638707583

1229.3469626916

1350.9659122872

1219.3436944715

1348.0399243503

1224.2476000948

1340.4171023822

1227.3083040725

1337.6753305965

1237.283890319

1333.7535886573

1226.2884315532

1328.0567708297

1224.2476000948

1323.135943201

1236.2675667706

1333.7535886573

1231.1805169302

1343.3515643926

1236.2675667706

1347.0638707583

1238.096688417

1343.3515643926

1248.0346555711

1347.0638707583

1251.0699373283

1342.373772529

1275.6358394955

1340.4171023822

1287.4387250327

1335.7151839067

1297.9983238772

1337.6753305965

1303.9574207318

1342.373772529

1286.4404360511

1346.0874550263

1279.6424670261

1341.3956185255

1267.8062501329

1341.3956185255

1256.9289069153

1341.3956185255

1267.8062501329

1339.4382240989

1283.4433962669

1344.3289941162

1273.6303528909

1342.373772529

1234.2338332541

1335.7151839067

1232.1986511781

1328.0567708297

1231.1805169302

1329.8260524798

1224.2476000948

1330.808479734

1253.0916478002

1332.7722478228

1258.9464165644

1332.7722478228

1216.2745164202

1331.7905448483

1182.0913288803

1324.1208330066

1189.1252103184

1326.0895261979

1199.232818285

1324.1208330066

1208.2794001545

1321.3622289586

1216.2745164202

1323.135943201

1185.1965760651

1324.1208330066

1122.8948512086

1317.4164409304

1127.9600684267

1319.3900592243

1122.8948512086

1321.3622289586

1143.5252967452

1314.4532974403

1143.5252967452

1314.4532974403

1114.6460776749

1308.7153115494

1120.7818814832

1310.6953035055

1072.8570997215

1309.7054885974

1025.5060514436

1308.7153115494

992.2329610721

1307.7247723615

975.0286762714

1311.6847562736

980.552466825

1315.4413740769

1029.6416558897

1324.1208330066

1090.6213828318

1325.1053606722

1138.2756460921

1331.7905448483

1155.6696194315

1327.0733295837

1152.5335179276

1329.8260524798

1140.376592773

1335.7151839067

1119.7248534106

1329.0398499357

1091.6883335375

1332.7722478228

1097.0176549676

1336.6954383216

1131.1215921512

1333.7535886573

1129.0142718081

1332.7722478228

1136.1732508515

1337.6753305965

1139.3263005025

1329.0398499357

1148.5564438419

1329.8260524798

1146.4611465433

1331.7905448483

1139.3263005025

1313.4648586638

1144.3644006852

1307.7247723615

1140.376592773

1315.4413740769

1116.7632482232

1316.4290885736

1114.6460776749

1325.1053606722

1145.4129546842

1317.4164409304

1186.2309341803

1311.6847562736

1197.1728658401

1315.4413740769

1195.3176701213

1313.4648586638

1190.158192302

1319.3900592243

1167.9733299577

1323.135943201

1153.5792472355

1321.3622289586

1136.1732508515

1328.0567708297

1131.1215921512

1321.3622289586

1134.2798566166

1315.4413740769

1126.9055029054

1322.1506912556

1140.376592773

1329.0398499357

1135.1215100214

1297.9983238772

1142.4760908944

1297.0038735784

1150.6502925809

1312.6738469019

1174.0024328674

1301.9725036732

1164.8500482061

1305.7426075661

1090.6213828318

1310.6953035055

1007.3786723891

1300.979501934

964.1757844012

1298.992412036

953.5106576531

1287.4387250327

935.8849695556

1280.4430972236

928.2714035449

1279.6424670261

909.6150105318

1279.6424670261

908.4879446036

1281.4435590446

910.7417143202

1279.6424670261

934.990125043

1271.8241764282

938.1210668453

1282.4436587257

925.1315386156

1304.9493360512

919.5175752281

1318.4034311473

933.8712434764

1329.8260524798

959.9581625117

1329.8260524798

963.2882985712

1331.7905448483

966.3934849842

1320.3763251614

969.7173198096

1304.9493360512

945.7129624047

1313.4648586638

930.5124259372

1300.979501934

924.0094702179

1291.2289204471

909.6150105318

1297.9983238772

903.0729871607

1293.2216597274

893.1238947307

1291.2289204471

909.6150105318

1297.9983238772

921.7642470028

1279.6424670261

932.7519997699

1270.8202380642

946.8280052885

1258.9464165644

957.7362611058

1251.0699373283

957.7362611058

1243.1714255009

950.1709611003

1228.327814452

937.0031992704

1244.185286498

922.8870396803

1236.2675667706

905.3302334202

1218.320997261

904.2017913604

1208.2794001545

905.3302334202

1219.3436944715

903.0729871607

1243.1714255009

907.5860311203

1239.1123601135

903.0729871607

1235.2508810823

898.5541489627

1219.3436944715

912.9940354772

1230.1620205425

934.990125043

1217.2979379106

933.8712434764

1249.0467782967

935.8849695556

1230.1620205425

955.5129111404

1232.1986511781

933.8712434764

1231.1805169302

927.1503491389

1233.2164232861

908.4879446036

1244.185286498

893.1238947307

1235.2508810823

883.1467581872

1228.327814452

870.8637617247

1247.0221707056

865.3910936681

1255.1119097126

865.3910936681

1240.1276696702

856.4802125217

1184.1618558101

842.9577708788

1164.8500482061

833.9915257853

1162.7660496723

830.7674995444

1180.0193533909

848.6937754108

1178.9828224364

859.9100819083

1172.9638015015

828.4628853865

1189.1252103184

776.2261038962

1195.3176701213

756.7713807277

1199.232818285

745.2392158138

1202.320030903

754.4207023752

1231.1805169302

775.0569573122

1236.2675667706

787.6645759765

1227.3083040725

791.1591959764

1185.1965760651

805.8010088667

1157.7585430679

818.3053742042

1153.5792472355

823.8493113921

1170.8854523499

836.2926634001

1164.8500482061

847.5472987842

1144.3644006852

861.966439096

1135.1215100214

867.6723860167

1130.0681130496

870.8637617247

1130.0681130496

874.2799422233

1132.1747091129

877.6928634628

1122.8948512086

884.2819360491

1126.9055029054

884.2819360491

1127.9600684267

897.6496860146

1141.4265229036

897.6496860146

1144.3644006852

900.8142923415

1132.1747091129

836.2926634001

1122.8948512086

797.9062194992

1135.1215100214

808.1198189085

1155.6696194315

818.3053742042

1139.3263005025

847.5472987842

1109.3468138562

846.4004600177

1094.8870128152

844.105696065

1094.8870128152

845.2532591113

1098.0824328339

854.1918222312

1097.0176549676

869.9522298057

1103.1883256049

878.8297795962

1112.5274585671

894.2558857615

1127.9600684267

899.6844017221

1142.4760908944

903.0729871607

1134.2798566166

903.0729871607

1127.9600684267

895.3875146524

1118.6674631982

873.1415775303

1110.4073908997

853.0470838761

1109.3468138562

850.9856422443

1102.1252860101

851.901983381

1088.699958969

840.8905929511

1080.3602303793

835.1422756626

1070.9248551186

829.6153735354

1066.6267774006

832.840413768

1062.5382366553

832.840413768

1053.0499599988

839.7416537732

1056.0719990919

835.1422756626

1058.2288601726

838.5923524554

1062.5382366553

850.9856422443

1065.5513526214

869.9522298057

1075.0026620375

886.5512053532

1062.5382366553

890.8588262493

1057.1506107022

896.5187814034

1057.1506107022

901.943820821

1056.0719990919

907.5860311203

1050.8896223751

903.0729871607

1033.9892743453

901.943820821

1017.0007959508

911.8680559686

1007.3786723891

921.7642470028

1001.8990629027

916.3698011635

1004.0919931169

922.8870396803

1002.9957090797

934.990125043

1004.0919931169

975.0286762714

1001.8990629027

997.7285047139

1017.0007959508

1001.8990629027

1001.8990629027

1009.5679812044

1014.816412238

1010.4432991338

1026.594875399

1004.0919931169

1040.2830290901

1013.7236771718

1045.6989019551

1022.2374067382

1063.6146754262

1037.0291596925

1067.70184004

1046.5646014489

1070.9248551186

1045.6989019551

1073.9300619494

1054.9930253417

1062.5382366553

1058.2288601726

1046.5646014489

1049.8089103534

1047.6463998903

1050.8896223751

1029.6416558897

1054.9930253417

1025.5060514436

1061.4614357445

1017.0007959508

1057.1506107022

1007.3786723891

1039.1987680975

1012.6305799657

1028.5538459261

1028.5538459261

1029.6416558897

1026.594875399

1013.7236771718

1014.816412238

1024.4168653484

1013.7236771718

1036.1609107338

1018.0924445973

1035.0752736095

1018.0924445973

1049.8089103534

1017.0007959508

1047.6463998903

1013.7236771718

1027.6833372144

1017.0007959508

1026.594875399

1017.0007959508

1031.8161893973

1017.0007959508

1027.6833372144

1028.5538459261

1014.816412238

1036.1609107338

1024.4168653484

1024.4168653484

1028.5538459261

1015.9087851643

1040.2830290901

1015.9087851643

1027.6833372144

1020.0564995685

1029.6416558897

1024.4168653484

1040.2830290901

1032.9029129413

1039.1987680975

1036.1609107338

1023.3273171133

1040.2830290901

1002.9957090797

1057.1506107022

996.6301202654

1059.3067475031

995.5313736769

1030.7291037135

1002.9957090797

1025.5060514436

1004.0919931169

1044.6164516619

1000.8020545857

1048.7278361918

1001.8990629027

1037.0291596925

997.7285047139

1032.9029129413

997.7285047139

1044.6164516619

1010.4432991338

1051.9699722569

1024.4168653484

1040.2830290901

1018.9655027738

1035.0752736095

1005.1879150142

1035.0752736095

988.0502929253

1035.0752736095

979.4484329941

1041.3669279429

983.6418349674

1059.3067475031

986.9487216457

1050.8896223751

991.3528339249

1054.9930253417

993.3327940803

1059.3067475031

1002.9957090797

1061.4614357445

1011.5371206197

1060.3842726938

1028.5538459261

1059.3067475031

1044.6164516619

1054.9930253417

1058.2288601726

1050.8896223751

1067.70184004

1048.7278361918

1068.7765405394

1043.5336392288

1063.6146754262

1044.6164516619

1042.4504646558

1041.3669279429

1039.1987680975

1038.1141449649

1046.5646014489

1033.9892743453

1049.8089103534

1067.70184004

1060.3842726938

1113.586949191

1069.850878899

1104.2510030598

1078.2182894623

1090.6213828318

1073.9300619494

1099.1468485603

1082.2867386862

1114.6460776749

1087.6319942716

1109.3468138562

1097.0176549676

1104.2510030598

1099.1468485603

1098.0824328339

1095.9525149613

1090.6213828318

1098.0824328339

1083.3565140831

1101.0618842753

1071.9984691984

1095.9525149613

1066.6267774006

1095.9525149613

1066.6267774006

1094.8870128152

1066.6267774006

1095.9525149613

1068.7765405394

1079.2894409907

1065.5513526214

1076.0748999856

1085.4949784571

1054.1295856008

1076.0748999856

1027.6833372144

1078.2182894623

1010.4432991338

1082.2867386862

1004.0919931169

1094.8870128152

1000.8020545857

1119.7248534106

1002.9957090797

1133.2274639347

999.9241871914

1157.7585430679

997.7285047139

1169.8457345644

988.0502929253

1171.9248079957

979.4484329941

1177.1161541257

971.9313989937

1185.1965760651

964.1757844012

1189.1252103184

954.4006929479

1184.1618558101

950.1709611003

1201.2913221702

950.1709611003

1203.3483774959

957.7362611058

1203.3483774959

978.3440370232

1186.2309341803

984.7444926667

1174.0024328674

981.656138516

1161.7235071955

990.2523490649

1160.8892124734

986.9487216457

1169.0136995952

995.5313736769

1171.9248079957

1002.9957090797

1150.6502925809

1021.1471342233

1151.6966737406

1018.9655027738

1137.2246295417

1013.7236771718

1120.7818814832

1022.2374067382

1121.8385474159

1012.6305799657

1117.6097108458

1001.8990629027

1120.7818814832

1009.5679812044

1129.0142718081

1023.3273171133

1138.2756460921

1007.3786723891

1142.4760908944

1005.1879150142

1147.5089762626

1021.1471342233

1141.4265229036

1035.0752736095

1131.1215921512

1035.0752736095

1131.1215921512

1025.5060514436

1121.8385474159

1024.4168653484

1121.8385474159

1018.9655027738

1120.7818814832

1030.7291037135

1122.8948512086

1033.9892743453

1115.704844019

1042.4504646558

1101.0618842753

1045.6989019551

1097.0176549676

1043.5336392288

1090.6213828318

1035.0752736095

1095.9525149613

1035.0752736095

1091.6883335375

1039.1987680975

1103.1883256049

1041.3669279429

1103.1883256049

1050.8896223751

1104.2510030598

1041.3669279429

1102.1252860101

1035.0752736095

1108.2858746727

1040.2830290901

1109.3468138562

1038.1141449649

1108.2858746727

1029.6416558897

1112.5274585671

1025.5060514436

1110.4073908997

1031.8161893973

1114.6460776749

1050.8896223751

1113.586949191

1065.5513526214

1109.3468138562

1087.6319942716

1103.1883256049

1102.1252860101

1105.3133183749

1120.7818814832

1109.3468138562

1127.9600684267

1110.4073908997

1116.7632482232

1108.2858746727

1072.8570997215

1109.3468138562

1051.9699722569

1111.4676058034

1038.1141449649

1114.6460776749

1025.5060514436

1112.5274585671

1025.5060514436

1115.704844019

1045.6989019551

1106.37527155

1021.1471342233

1104.2510030598

994.4322649485

1099.9981204007

1002.9957090797

1099.9981204007

1011.5371206197

1101.0618842753

1010.4432991338

1101.0618842753

1012.6305799657

1098.0824328339

1018.0924445973

1095.9525149613

1020.0564995685

1092.7549221033

1018.0924445973

1089.7675615265

1020.0564995685

1089.7675615265

1029.6416558897

1088.699958969

1041.3669279429

1089.7675615265

1029.6416558897

1088.699958969

1028.5538459261

1090.6213828318

1033.9892743453

1092.7549221033

1038.1141449649

1097.0176549676

1018.9655027738

1094.8870128152

1009.5679812044

1094.8870128152

973.922831741

1094.8870128152

953.5106576531

1094.8870128152

879.7390517622

1097.0176549676

915.2449080746

1099.1468485603

934.990125043

1106.37527155

900.8142923415

1105.3133183749

890.8588262493

1105.3133183749

885.4167517711

1106.37527155

832.840413768

1104.2510030598

821.7713127244

1107.4368625853

882.0112181854

1105.3133183749

921.7642470028

1106.37527155

857.6238644572

1102.1252860101

837.4426889977

1106.37527155

797.9062194992

1104.2510030598

863.1083527599

1108.2858746727

879.7390517622

1112.5274585671

734.8541648927

1110.4073908997

648.5906092963

1108.2858746727

604.6288199299

1116.7632482232

582.1016909134

1116.7632482232

571.2845056985

1114.6460776749

563.8930731316

1125.0063723745

705.9125698322

1133.2274639347

847.5472987842

1144.3644006852

904.2017913604

1144.3644006852

939.2385722803

1140.376592773

954.4006929479

1135.1215100214

965.2848157626

1136.1732508515

958.8473928787

1134.2798566166

958.8473928787

1127.9600684267

969.7173198096

1127.9600684267

970.8245404716

1126.0615897476

977.2392789125

1127.9600684267

971.9313989937

1127.9600684267

961.0685700048

1133.2274639347

952.3977876087

1129.0142718081

953.5106576531

1130.0681130496

950.1709611003

1136.1732508515

964.1757844012

1141.4265229036

972.8166250707

1141.4265229036

969.7173198096

1145.4129546842

976.1341586619

1146.4611465433

978.3440370232

1144.3644006852

973.922831741

1149.6035492814

977.2392789125

1148.5564438419

970.8245404716

1149.6035492814

978.3440370232

1149.6035492814

972.8166250707

1147.5089762626

1005.1879150142

1146.4611465433

1032.9029129413

1144.3644006852

1044.6164516619

1146.4611465433

1045.6989019551

1140.376592773

1049.8089103534

1142.4760908944

1037.0291596925

1148.5564438419

1012.6305799657

1148.5564438419

997.7285047139

1147.5089762626

998.8265270226

1144.3644006852

1004.0919931169

1146.4611465433

1021.1471342233

1145.4129546842

1018.9655027738

1146.4611465433

1012.6305799657

1148.5564438419

1011.5371206197

1147.5089762626

1010.4432991338

1143.5252967452

1018.0924445973

1146.4611465433

1006.2834747716

1144.3644006852

1017.0007959508

1143.5252967452

1025.5060514436

1148.5564438419

1033.9892743453

1142.4760908944

1021.1471342233

1147.5089762626

1011.5371206197

1145.4129546842

993.3327940803

1147.5089762626

997.7285047139

1152.5335179276

1004.0919931169

1154.6246144034

1013.7236771718

1148.5564438419

1005.1879150142

1149.6035492814

1006.2834747716

1154.6246144034

990.2523490649

1153.5792472355

976.1341586619

1153.5792472355

968.6097370077

1156.7142623196

964.1757844012

1152.5335179276

964.1757844012

1147.5089762626

966.3934849842

1145.4129546842

962.178615358

1146.4611465433

963.2882985712

1145.4129546842

969.7173198096

1143.5252967452

966.3934849842

1145.4129546842

972.8166250707

1147.5089762626

979.4484329941

1147.5089762626

972.8166250707

1147.5089762626

971.9313989937

1152.5335179276

972.8166250707

1150.6502925809

976.1341586619

1156.7142623196

997.7285047139

1160.8892124734

995.5313736769

1164.8500482061

989.1515020651

1166.9325981804

993.3327940803

1165.8915042632

1002.9957090797

1164.8500482061

1000.8020545857

1164.8500482061

1002.9957090797

1166.9325981804

996.6301202654

1164.8500482061

997.7285047139

1159.8460181448

1002.9957090797

1165.8915042632

1005.1879150142

1158.8024616763

996.6301202654

1159.8460181448

990.2523490649

1161.7235071955

995.5313736769

1162.7660496723

986.9487216457

1159.8460181448

991.3528339249

1161.7235071955

991.3528339249

1159.8460181448

981.656138516

1162.7660496723

993.3327940803

1158.8024616763

984.7444926667

1162.7660496723

982.5388151281

1156.7142623196

979.4484329941

1159.8460181448

977.2392789125

1160.8892124734

976.1341586619

1164.8500482061

979.4484329941

1163.8082300092

981.656138516

1169.8457345644

976.1341586619

1172.9638015015

988.0502929253

1176.0786091795

981.656138516

1188.091866195

973.922831741

1190.158192302

970.8245404716

1182.0913288803

958.8473928787

1182.0913288803

963.2882985712

1185.1965760651

956.6247671931

1182.0913288803

940.3557155755

1181.0555222056

957.7362611058

1184.1618558101

966.3934849842

1188.091866195

968.6097370077

1182.0913288803

982.5388151281

1186.2309341803

969.7173198096

1188.091866195

969.7173198096

1190.158192302

975.0286762714

1185.1965760651

979.4484329941

1182.0913288803

971.9313989937

1187.0581599317

970.8245404716

1189.1252103184

979.4484329941

1197.1728658401

972.8166250707

1197.1728658401

962.178615358

1208.2794001545

963.2882985712

1204.1707940295

962.178615358

1201.2913221702

970.8245404716

1205.1984887706

959.9581625117

1203.3483774959

966.3934849842

1201.2913221702

954.4006929479

1200.2622512976

968.6097370077

1201.2913221702

970.8245404716

1200.2622512976

971.9313989937

1207.2527918331

975.0286762714

1204.1707940295

977.2392789125

1201.2913221702

975.0286762714

1205.1984887706

978.3440370232

1209.305646336

976.1341586619

1210.3315303776

981.656138516

1207.2527918331

978.3440370232

1207.2527918331

971.9313989937

1209.305646336

972.8166250707

1214.2265870199

973.922831741

1210.3315303776

978.3440370232

1210.3315303776

982.5388151281

1202.320030903

980.552466825

1203.3483774959

981.656138516

1205.1984887706

979.4484329941

1204.1707940295

973.922831741

1202.320030903

979.4484329941

1192.2230698494

979.4484329941

1192.2230698494

982.5388151281

1198.2030231325

979.4484329941

1207.2527918331

981.656138516

1209.305646336

982.5388151281

1204.1707940295

982.5388151281

1203.3483774959

982.5388151281

1198.2030231325

975.0286762714

1197.1728658401

980.552466825

1195.3176701213

965.2848157626

1200.2622512976

972.8166250707

1195.3176701213

978.3440370232

1193.2549654133

985.8467882261

1189.1252103184

985.8467882261

1189.1252103184

990.2523490649

1185.1965760651

981.656138516

1194.2864988373

982.5388151281

1188.091866195

985.8467882261

1192.2230698494

981.656138516

1192.2230698494

971.9313989937

1190.158192302

970.8245404716

1190.158192302

964.1757844012

1192.2230698494

961.0685700048

1190.158192302

967.5017920659

1188.091866195

967.5017920659

1186.2309341803

968.6097370077

1184.1618558101

958.8473928787

1187.0581599317

958.8473928787

1184.1618558101

962.178615358

1191.1908121456

966.3934849842

1193.2549654133

959.9581625117

1196.1423464079

965.2848157626

1191.1908121456

968.6097370077

1187.0581599317

966.3934849842

1188.091866195

962.178615358

1193.2549654133

962.178615358

1191.1908121456

956.6247671931

1195.3176701213

958.8473928787

1197.1728658401

961.0685700048

1197.1728658401

959.9581625117

1200.2622512976

965.2848157626

1194.2864988373

969.7173198096

1190.158192302

964.1757844012

1187.0581599317

961.0685700048

1192.2230698494

964.1757844012

1197.1728658401

967.5017920659

1202.320030903

967.5017920659

1203.3483774959

969.7173198096

1204.1707940295

972.8166250707

1206.2258213718

965.2848157626

1206.2258213718

959.9581625117

1212.3822120412

961.0685700048

1215.25073279

963.2882985712

1212.3822120412

957.7362611058

1217.2979379106

952.3977876087

1223.2266411557

953.5106576531

1220.3660295422

957.7362611058

1227.3083040725

953.5106576531

1228.327814452

956.6247671931

1231.1805169302

955.5129111404

1236.2675667706

956.6247671931

1234.2338332541

952.3977876087

1238.096688417

949.0570046363

1238.096688417

950.1709611003

1236.2675667706

952.3977876087

1238.096688417

951.2845554245

1244.185286498

945.7129624047

1241.142617087

945.7129624047

1241.142617087

946.8280052885

1241.142617087

947.9426860323

1252.0809736342

943.7049726215

1255.9196088808

940.3557155755

1265.7951141459

939.2385722803

1262.977090184

940.3557155755

1271.8241764282

939.2385722803

1267.8062501329

938.1210668453

1278.6413533533

941.4724967307

1273.6303528909

937.0031992704

1270.8202380642

933.8712434764

1271.8241764282

932.7519997699

1263.7825295993

930.5124259372

1271.8241764282

932.7519997699

1266.8008632094

935.8849695556

1265.7951141459

935.8849695556

1272.6270663787

932.7519997699

1279.6424670261

934.990125043

1275.6358394955

932.7519997699

1269.8159375604

933.8712434764

1263.7825295993

922.8870396803

1268.8112749166

925.1315386156

1263.7825295993

928.2714035449

1266.8008632094

930.5124259372

1274.6332772631

934.990125043

1267.8062501329

933.8712434764

1267.8062501329

932.7519997699

1271.8241764282

930.5124259372

1271.8241764282

932.7519997699

1272.6270663787

928.2714035449

1270.8202380642

926.2532448734

1261.969964989

922.8870396803

1261.969964989

918.393696131

1263.7825295993

916.3698011635

1255.1119097126

915.2449080746

1259.9546281792

919.5175752281

1264.7890029426

921.7642470028

1272.6270663787

912.9940354772

1272.6270663787

919.5175752281

1281.4435590446

916.3698011635

1285.4417849296

914.1196528459

1282.4436587257

911.8680559686

1271.8241764282

907.5860311203

1261.969964989

906.4583133402

1254.1019598263

911.8680559686

1249.0467782967

911.8680559686

1238.096688417

911.8680559686

1235.2508810823

912.9940354772

1228.327814452

907.5860311203

1222.2053200768

908.4879446036

1227.3083040725

904.2017913604

1223.2266411557

901.943820821

1228.327814452

907.5860311203

1227.3083040725

899.6844017221

1230.1620205425

903.0729871607

1225.2681968939

899.6844017221

1225.2681968939

908.4879446036

1213.2020791099

906.4583133402

1208.2794001545

903.0729871607

1208.2794001545

903.0729871607

1211.3570522793

903.0729871607

1242.1572023639

904.2017913604

1256.9289069153

900.8142923415

1249.0467782967

898.5541489627

1250.0585388824

898.5541489627

1239.1123601135

894.2558857615

1242.1572023639

897.6496860146

1245.1987853552

890.8588262493

1239.1123601135

890.8588262493

1237.283890319

889.7257487988

1234.2338332541

888.8190260977

1236.2675667706

890.8588262493

1240.1276696702

889.7257487988

1230.1620205425

889.7257487988

1230.1620205425

889.7257487988

1238.096688417

888.8190260977

1233.2164232861

886.5512053532

1232.1986511781

885.4167517711

1224.2476000948

882.0112181854

1231.1805169302

878.8297795962

1230.1620205425

880.8753160437

1232.1986511781

878.8297795962

1218.320997261

883.1467581872

1217.2979379106

876.5555851895

1221.183636858

876.5555851895

1223.2266411557

875.4179447763

1213.2020791099

872.0028506974

1210.3315303776

872.0028506974

1219.3436944715

870.8637617247

1216.2745164202

869.9522298057

1212.3822120412

867.6723860167

1223.2266411557

868.8124889812

1213.2020791099

866.5319209123

1219.3436944715

863.1083527599

1210.3315303776

866.5319209123

1219.3436944715

861.966439096

1214.2265870199

860.8241632921

1214.2265870199

866.5319209123

1213.2020791099

864.2499042839

1218.320997261

864.2499042839

1223.2266411557

864.2499042839

1229.3469626916

860.8241632921

1227.3083040725

857.6238644572

1227.3083040725

861.966439096

1221.183636858

856.4802125217

1220.3660295422

859.9100819083

1217.2979379106

853.0470838761

1216.2745164202

848.6937754108

1223.2266411557

849.8398898975

1212.3822120412

849.8398898975

1207.2527918331

850.9856422443

1206.2258213718

846.4004600177

1217.2979379106

842.9577708788

1211.3570522793

846.4004600177

1212.3822120412

837.4426889977

1214.2265870199

838.5923524554

1205.1984887706

836.2926634001

1207.2527918331

835.1422756626

1193.2549654133

829.6153735354

1197.1728658401

828.4628853865

1196.1423464079

826.1568226691

1203.3483774959

821.7713127244

1192.2230698494

820.6163620242

1188.091866195

815.9929378247

1188.091866195

814.836176425

1193.2549654133

809.2786807195

1189.1252103184

805.8010088667

1188.091866195

802.5522412282

1190.158192302

800.2299546435

1181.0555222056

800.2299546435

1172.9638015015

796.7438087172

1166.9325981804

785.3330186105

1175.0407020934

783.2333784627

1160.8892124734

780.8990688334

1167.9733299577

773.8874485883

1158.8024616763

769.4400127215

1158.8024616763

764.7528519004

1154.6246144034

764.7528519004

1153.5792472355

764.7528519004

1153.5792472355

761.4683917539

1157.7585430679

759.1206105206

1161.7235071955

755.5962226214

1158.8024616763

752.3038533395

1164.8500482061

751.1273191017

1154.6246144034

741.9379234049

1146.4611465433

739.5781191271

1146.4611465433

738.3976737783

1147.5089762626

731.5439493568

1142.4760908944

730.3610414568

1144.3644006852

726.8101449173

1143.5252967452

723.4930342378

1134.2798566166

714.2375407675

1135.1215100214

709.4825873581

1138.2756460921

694.4666115283

1130.0681130496

683.9451642372

1132.1747091129

633.3428349626

1139.3263005025

602.4304894179

1135.1215100214

589.2158663473

1135.1215100214

567.5904190446

1137.2246295417

557.970540412

1137.2246295417

547.0908933081

1130.0681130496

541.1447200961

1131.1215921512

534.9419172396

1121.8385474159

533.7002702486

1117.6097108458

530.2217320896

1111.4676058034

526.4915763021

1114.6460776749

524.0029950776

1114.6460776749

521.7620334572

1107.4368625853

521.7620334572

1102.1252860101

524.0029950776

1105.3133183749

522.7581612556

1104.2510030598

522.7581612556

1109.3468138562

522.7581612556

1117.6097108458

524.0029950776

1107.4368625853

525.2474667598

1108.2858746727

525.2474667598

1103.1883256049

525.2474667598

1106.37527155

526.4915763021

1111.4676058034

524.0029950776

1111.4676058034

525.2474667598

1108.2858746727

524.0029950776

1110.4073908997

524.0029950776

1109.3468138562

521.7620334572

1104.2510030598

519.2706999695

1101.0618842753

516.7779179223

1097.0176549676

520.5165477833

1099.1468485603

521.7620334572

1088.699958969

518.0244900159

1092.7549221033

518.0244900159

1090.6213828318

518.0244900159

1088.699958969

515.5309836889

1093.8211485292

515.5309836889

1092.7549221033

515.5309836889

1093.8211485292

516.7779179223

1092.7549221033

516.7779179223

1092.7549221033

515.5309836889

1083.3565140831

516.7779179223

1083.3565140831

514.2836873155

1087.6319942716

514.2836873155

1078.2182894623

511.7880081491

1076.0748999856

511.7880081491

1076.0748999856

511.7880081491

1070.9248551186

511.7880081491

1070.9248551186

511.7880081491

1063.6146754262

510.7893308859

1059.3067475031

511.7880081491

1057.1506107022

514.2836873155

1054.9930253417

514.2836873155

1054.1295856008

516.7779179223

1049.8089103534

514.2836873155

1049.8089103534

515.5309836889

1044.6164516619

515.5309836889

1040.2830290901

515.5309836889

1038.1141449649

515.5309836889

1036.1609107338

516.7779179223

1030.7291037135

520.5165477833

1030.7291037135

519.2706999695

1025.5060514436

521.7620334572

1022.2374067382

524.0029950776

1020.0564995685

519.2706999695

1020.0564995685

520.5165477833

1018.0924445973

520.5165477833

1020.0564995685

519.2706999695

1011.5371206197

521.7620334572

1005.1879150142

522.7581612556

999.9241871914

519.2706999695

998.8265270226

521.7620334572

993.3327940803

518.0244900159

989.1515020651

521.7620334572

980.552466825

521.7620334572

976.1341586619

519.2706999695

981.656138516

527.7353237045

975.0286762714

524.0029950776

970.8245404716

525.2474667598

964.1757844012

531.4643930723

955.5129111404

530.2217320896

953.5106576531

537.4241248019

949.0570046363

538.6646853732

942.588915746

534.9419172396

938.1210668453

533.7002702486

931.6323939235

533.7002702486

925.1315386156

536.1832020907

918.393696131

536.1832020907

915.2449080746

533.7002702486

917.2694548939

537.4241248019

914.1196528459

536.1832020907

908.4879446036

537.4241248019

903.0729871607

537.4241248019

899.6844017221

537.4241248019

900.8142923415

536.1832020907

899.6844017221

536.1832020907

898.5541489627

536.1832020907

896.5187814034

532.4582611177

894.2558857615

531.4643930723

890.8588262493

530.2217320896

889.7257487988

528.978708967

888.8190260977

528.978708967

891.9915415599

530.2217320896

888.8190260977

531.4643930723

886.5512053532

526.4915763021

888.8190260977

528.978708967

888.8190260977

528.978708967

886.5512053532

526.4915763021

886.5512053532

528.978708967

885.4167517711

527.7353237045

880.8753160437

530.2217320896

877.6928634628

527.7353237045

875.4179447763

525.2474667598

874.2799422233

524.0029950776

873.1415775303

526.4915763021

870.8637617247

526.4915763021

869.9522298057

524.0029950776

864.2499042839

526.4915763021

866.5319209123

524.0029950776

865.3910936681

524.0029950776

865.3910936681

526.4915763021

864.2499042839

524.0029950776

864.2499042839

525.2474667598

864.2499042839

524.0029950776

865.3910936681

522.7581612556

866.5319209123

520.5165477833

867.6723860167

520.5165477833

868.8124889812

518.0244900159

867.6723860167

518.0244900159

864.2499042839

518.0244900159

864.2499042839

516.7779179223

861.966439096

516.7779179223

860.8241632921

516.7779179223

858.7671542527

518.0244900159

867.6723860167

518.0244900159

869.9522298057

518.0244900159

870.8637617247

518.0244900159

870.8637617247

515.5309836889

870.8637617247

515.5309836889

869.9522298057

515.5309836889

873.1415775303

516.7779179223

872.0028506974

514.2836873155

870.8637617247

513.0360288023

870.8637617247

511.7880081491

870.8637617247

513.0360288023



		38		38

		68		68

		98		98

		128		128

		158		158

		188		188

		218		218

		248		248

		278		278

		308		308

		338		338

		368		368

		398		398

		428		428

		458		458

		488		488

		518		518

		548		548

		578		578

		608		608

		638		638

		668		668

		698		698

		728		728

		758		758

		788		788

		818		818

		848		848

		878		878

		908		908

		938		938

		968		968

		998		998

		1028		1028

		1058		1058

		1088		1088

		1118		1118

		1148		1148

		1178		1178

		1208		1208

		1238		1238

		1268		1268

		1298		1298

		1328		1328

		1358		1358

		1388		1388

		1418		1418

		1448		1448

		1478		1478

		1508		1508

		1538		1538

		1568		1568

		1598		1598

		1628		1628

		1658		1658

		1688		1688

		1718		1718

		1748		1748

		1778		1778

		1808		1808

		1838		1838

		1868		1868

		1898		1898

		1928		1928

		1958		1958

		1988		1988

		2018		2018

		2048		2048

		2078		2078

		2108		2108

		2138		2138

		2168		2168

		2198		2198

		2228		2228

		2258		2258

		2288		2288

		2318		2318

		2348		2348

		2378		2378

		2408		2408



c

Qsum.av,co-firing

Qsum av,prop.=0

time,s

Average heat production rate, J/s

363.9872147429

541.8055158077

364.1368142409

517.3455732928

344.6353965588

469.555216848

510.4387408053

330.0933941591

598.2456817519

376.8405134734

506.3986086271

399.5003589911

603.399162133

529.6275593269

603.399162133

714.4693399974

858.2485693797

813.8291445301

805.7280495664

819.991028215

825.7029464633

663.9241989417

794.3211517614

647.4298030167

800.3870272578

696.974770362

843.3006920909

759.8286450703

805.6891641435

742.3827964696

792.5621213446

688.7379531136

815.7297663326

718.1484990465

786.833629454

696.7248402651

945.9822936134

631.5492231111

1008.0497111565

696.4450626905

979.7062424647

689.3283124558

1008.4778349605

751.0478450426

959.4142394545

671.793271131

959.8727203639

659.9660373552

975.8471825628

779.2551565194

901.0159575588

712.1719203156

871.8012521618

699.6809387379

1015.8085643512

750.6378880405

920.346552869

742.1438894974

954.4971748112

800.7646846715

999.0018666293

690.4066446586

1053.605212435

691.0669465266

1053.605212435

738.8960390015

1125.3740378931

820.2180348892

1114.8287100207

722.3849643639

1193.8384453526

785.0720261491

1242.1420832548

705.8591471554

1215.9925351291

772.1365606116

1214.6196629185

730.2138795808

1138.6443132963

769.547187275

1099.3117936605

721.2703356513

1053.1354284703

739.2857142471

1042.4941718058

676.0691261634

1090.9936922757

723.7878085308

995.6037559515

711.0778017952

1025.7753440544

644.2018290457

1095.7688301395

721.4719775106

1041.2914509316

695.0160725729

1143.3168061884

630.036568894

1148.9176988335

716.9928833107

1077.1485478194

724.054475509

1044.5065727629

611.575257124

1041.8581179299

670.8085164842

1009.2387840024

567.4495294621

923.0413496571

574.6995197455

887.9647572048

584.3817479654

782.4994530105

340.1818289335

825.2634610055

440.1853207512

726.1506817077

361.7580715957

692.3610852106

314.9723872365

741.8770000867

278.8016102288

768.7394433393

317.0707276765

747.4942666529

441.188606688

743.2540092795

355.8641574326

764.823130293

378.2825676722

672.232646381

329.4695476008

686.9234954065

388.5725254396

755.2068871378

375.5006172659

775.3267572023

375.193228515

736.1913102721

383.3355391805

662.7200238765

395.1962621893

626.9647823629

390.512421407

609.7611291744

301.8444190826

671.9822985078

387.1621982716

728.0580530141

396.1853311184

655.281850099

484.5130958984

659.502103582

436.2105097047

711.8017859037

394.6796835711

702.9214828273

409.8086748535

674.5134029171

418.5416869828



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



a

CO2, prop=0

CO2,B=0,co-fire

time,s

Volume fraction CO2,%

4.3

4.3

4.3

4.3

4

4.3

4

4.4

4

4.4

3.9

4.4

3.9

4.5

3.9

4.5

3.9

4.6

3.9

4.6

3.8

4.7

3.8

4.7

3.8

4.7

3.8

4.8

3.8

4.8

3.8

5

3.8

5

3.8

5

3.8

5.2

3.8

5.2

3.8

5.5

3.8

5.5

3.8

5.5

3.8

5.8

3.8

5.8

3.8

6.2

3.8

6.2

3.9

6.2

3.9

6.6

3.9

6.6

3.9

7.2

3.9

7.2

3.9

7.8

3.9

7.8

3.9

7.8

3.9

8.4

3.9

8.4

3.9

8.9

3.9

8.9

3.8

8.9

3.8

9.2

3.8

9.2

3.8

9.3

3.8

9.3

3.8

9.3

3.8

9.6

3.8

9.6

3.8

10.2

3.8

10.2

3.9

10.2

3.9

10.9

3.9

10.9

3.9

11.3

3.9

11.3

4

11.3

4

11.3

4.1

11.3

4.1

11.4

4.1

11.4

4.2

11.6

4.2

11.6

4.4

11.6

4.4

11.8

4.4

11.8

4.4

11.9

4.4

11.9

4.5

11.9

4.5

12

4.7

12

4.7

12

4.7

12

5

12

5

12

5.6

12

5.6

12

5.6

12

6.2

12

6.2

12

6.6

12

6.6

11.9

6.6

11.9

6.9

12

6.9

12

7.1

12

7.1

12

7.1

12

7.4

12.1

7.4

12.1

7.8

12.1

7.8

12.1

8.2

12.1

8.2

12

8.2

12

8.7

12

8.7

11.9

9.1

11.9

9.1

11.7

9.1

11.7

9.5

11.7

9.5

11.7

10.1

11.7

10.1

11.7

10.1

11.7

10.9

11.7

10.9

11.8

11.7

11.8

11.7

11.9

11.7

11.9

12.4

11.9

12.4

11.9

12.7

11.9

12.7

11.7

12.7

11.7

12.6

11.6

12.6

11.6

12.3

11.6

12.3

11.5

12.2

11.5

12.2

11.4

12.2

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12.1

11.4

12

11.4

12

11.6

11.9

11.6

11.9

11.6

11.9

11.6

12

11.7

12

11.7

12.1

11.7

12.1

11.7

12.1

11.7

12.2

11.8

12.2

11.8

12.4

11.8

12.4

11.8

12.7

11.8

12.7

11.8

12.7

11.8

12.9

11.8

12.9

11.8

13.1

11.8

13.1

11.7

13.1

11.7

13.2

11.7

13.2

11.6

13.2

11.6

13.2

11.6

13.2

11.6

13.1

11.6

13.1

11.6

13

11.6

13

11.7

13

11.7

12.9

11.6

12.9

11.6

12.5

11.6

12.5

11.5

12.5

11.5

11.1

11.5

11.1

11.5

9.7

11.5

9.7

11.5

9

11.5

9

11.4

9

11.4

8.7

11.4

8.7

11.4

8.6

11.4

8.6

11.4

8.6

11.4

8.3

11.4

8.3

11.4

8.1

11.4

8.1

11.3

8.1

11.3

8.4

11.3

8.4

11.3

9

11.3

9

11.4

9

11.4

9.4

11.4

9.4

11.4

9.4

11.4

9.4

11.5

9.4

11.5

9.4

11.6

9.4

11.6

9.5

11.6

9.5

11.7

9.7

11.7

9.7

11.6

9.7

11.6

9.8

11.6

9.8

11.5

9.9

11.5

9.9

11.5

9.9

11.5

10.6

11.5

10.6

11.5

11.4

11.5

11.4

11.7

11.4

11.7

11.5

11.9

11.5

11.9

11.5

11.9

11.5

12

11.5

12

11.5

12

11.5

12

11.6

12

11.6

12.1

11.8

12.1

11.8

12.1

11.8

12.1

11.8

12.1

11.8

11.9

11.5

11.9

11.5

11.8

11.5

11.8

11.2

11.6

11.2

11.6

10.9

11.6

10.9

11.5

10.9

11.5

10.6

11.4

10.6

11.4

10.5

11.4

10.5

11.4

10.5

11.4

10.6

11.4

10.6

11.4

10.8

11.4

10.8

11.3

10.8

11.3

10.8

11.2

10.8

11.2

10.8

11.2

10.8

11.2

11

11.2

11

11.2

11

11.2

10.9

11.2

10.9

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.8

11.1

10.7

11.1

10.7

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.6

11.2

10.7

11.2

10.7

11.3

10.7

11.3

10.9

11.3

10.9

11.4

11

11.4

11

11.6

11

11.6

11.1

11.8

11.1

11.8

11

11.8

11

12

11

12

10.8

12.2

10.8

12.2

10.7

12.2

10.7

12.1

10.6

12.1

10.6

12.1

10.6

12.1

10.4

12.1

10.4

12.1

10.3

12.1

10.3

12.1

10.3

12.1

10.1

12.1

10.1

12.3

9.9

12.3

9.9

12.5

9.9

12.5

9.9

12.5

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.5

9.9

12.5

9.7

12.4

9.7

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.5

12.4

9.6

12.4

9.6

12.4

9.7

12.4

9.7

12.3

9.7

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.3

9.8

12.4

9.8

12.4

9.8

12.4

9.8

12.5

9.8

12.5

9.7

12.6

9.7

12.6

9.7

12.6

9.7

12.6

9.7

12.6

9.8

12.6

9.8

12.6

9.9

12.6

9.9

12.6

9.9

12.6

9.9

12.8

9.9

12.8

9.9

12.8

9.9

13

10.2

13

10.2

12.9

10.2

12.9

10.3

12.9

10.3

12.9

10

12.9

10

12.9

10

12.9

9.8

12.9

9.8

12.9

9.6

12.9

9.6

12.9

9.6

12.9

9.7

12.9

9.7

12.9

9.8

12.9

9.8

13

9.8

13

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.1

10.1

13.1

10.1

13.2

10.1

13.2

10.1

13.2

10.1

13.2

10.3

13.2

10.3

13.1

10.3

13.1

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.4

13

10.3

13

10.3

12.9

10.3

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

12.9

10.2

13

10.3

13

10.3

13

10.3

13

10.3

13.1

10.3

13.1

10.4

13.1

10.4

13.3

10.4

13.3

10.4

13.3

10.4

13.3

10.3

13.3

10.3

13.4

10.3

13.4

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.5

10.2

13.4

10.2

13.4

10.2

13.4

10.2

13.3

10.2

13.3

10.2

13.2

10.2

13.2

10.1

13.2

10.1

13.1

9.9

13.1

9.9

13.1

9.9

13.1

9.9

13.2

9.9

13.2

9.8

13.2

9.8

13.2

9.8

13.2

9.8

13.1

9.8

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.1

9.7

13.2

9.8

13.2

9.8

13.3

9.8

13.3

9.9

13.3

9.9

13.4

10.1

13.4

10.1

13.4

10.1

13.4

10.2

13.4

10.2

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.4

10.3

13.5

10.2

13.5

10.2

13.7

10.2

13.7

10.2

13.7

10.2

13.8

10.2

13.8

10.2

13.9

10.2

13.9

10.2

13.9

10.2

13.9

10.1

13.9

10.1

13.9

10.1

13.9

10.1

13.9

10.1

14

10

14

10

14

10

14

9.9

14

9.9

14

9.9

14

9.9

13.9

9.9

13.9

9.9

13.9

9.9

13.9

10

13.9

10

13.9

10.2

13.9

10.2

13.9

10.2

13.9

10.3

13.9

10.3

13.8

10.4

13.8

10.4

13.7

10.4

13.7

10.6

13.7

10.6

13.7

10.9

13.7

10.9

13.8

10.9

13.8

11.2

13.8

11.2

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.7

11.5

13.7

11.6

13.7

11.6

13.6

11.9

13.6

11.9

13.7

11.9

13.7

12

13.7

12

13.7

11.9

13.7

11.9

13.7

11.9

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.8

13.7

11.7

13.8

11.7

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.4

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.7

11.5

13.6

11.5

13.6

11.5

13.7

11.5

13.7

11.4

13.7

11.4

13.7

11.3

13.7

11.3

13.8

11.3

13.8

11.3

13.8

11.3

13.8

11.4

13.8

11.4

13.8

11.6

13.8

11.6

13.8

11.6

13.8

11.6

13.8

11.6

13.7

11.6

13.7

11.6

13.7

11.6

13.7

11.5

13.7

11.5

13.7

11.4

13.7

11.4

13.7

11.4

13.7

11.4

13.8

11.4

13.8

11.5

13.8

11.5

13.8

11.5

13.8

11.5

13.9

11.5

13.9

11.6

13.9

11.6

13.9

11.6

13.9

11.6

14

11.6

14

11.8

14

11.8

14

12.1

14

12.1

14.1

12.1

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.3

14.1

12.2

14.3

12.2

14.3

12.1

14.3

12.1

14.3

12.1

14.3

11.9

14.4

11.9

14.4

11.8

14.4

11.8

14.4

11.8

14.4

11.7

14.4

11.7

14.4

11.7

14.4

11.7

14.4

11.6

14.4

11.6

14.5

11.6

14.5

11.5

14.5

11.5

14.5

11.4

14.5

11.4

14.5

11.4

14.5

11.3

14.5

11.3

14.4

11.3

14.4

11.3

14.4

11.3

14.4

11.3

14.3

11.3

14.3

11.2

14.3

11.2

14.3

11.2

14.3

11.2

14.2

11.2

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.3

14.2

11.1

14.2

11.1

14.2

11.1

14.2

11.1

14.2

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.1

14.3

11.2

14.3

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.2

14.4

11.3

14.4

11.3

14.4

11.3

14.4

11.4

14.4

11.4

14.5

11.4

14.5

11.4

14.6

11.4

14.6

11.6

14.6

11.6

14.6

11.8

14.6

11.8

14.6

11.8

14.6

12

14.7

12

14.7

12.3

14.7

12.3

14.7

12.3

14.7

12.7

14.7

12.7

14.7

13

14.7

13

14.7

13.1

14.7

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

13.1

14.6

12.8

14.6

12.8

14.7

12.6

14.7

12.6

14.7

12.6

14.7

12.4

14.7

12.4

14.7

12.3

14.7

12.3

14.7

12.3

14.7

12.2

14.7

12.2

14.7

12.3

14.7

12.3

14.7

12.5

14.7

12.5

14.7

12.5

14.7

12.6

14.7

12.6

14.6

12.8

14.6

12.8

14.6

12.8

14.6

13

14.6

13

14.6

13.2

14.6

13.2

14.6

13.2

14.6

13.3

14.5

13.3

14.5

13.3

14.5

13.3

14.4

13.3

14.4

13.3

14.4

13.3

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.4

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.2

14.3

13.1

14.3

13.1

14.4

13.1

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.8

14.4

12.6

14.4

12.6

14.4

12.6

14.4

12.6

14.5

12.6

14.5

12.5

14.5

12.5

14.5

12.5

14.5

12.4

14.5

12.4

14.5

12.1

14.5

12.1

14.5

11.8

14.5

11.8

14.4

11.8

14.4

11.5

14.4

11.5

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.4

14.4

11.6

14.4

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.9

14.3

11.9

14.3

11.9

14.3

12

14.3

12

14.3

11.8

14.3

11.8

14.3

11.8

14.3

11.6

14.3

11.6

14.3

11.7

14.3

11.7

14.3

11.7

14.3

11.8

14.3

11.8

14.3

12.1

14.3

12.1

14.3

12.1

14.3

12.4

14.3

12.4

14.3

12.6

14.3

12.6

14.4

12.7

14.4

12.7

14.4

12.7

14.4

12.9

14.4

12.9

14.2

13.1

14.2

13.1

14

13.1

14

13.1

14

13.1

13.9

13.2

13.9

13.2

13.9

13.2

13.9

13.3

13.8

13.3

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.7

13.4

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.3

13.7

13.4

13.7

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.8

13.4

13.7

13.3

13.7

13.3

13.5

13.3

13.5

13.3

13.4

13.3

13.4

13.4

13.4

13.4

13.3

13.4

13.3

13.5

13.4

13.5

13.4

13.4

13.4

13.4

13.3

13.3

13.3

13.3

13.3

13.3

13.3

13.1

13.3

13.1

13.3

12.9

13.3

12.9

13.3

12.9

13.3

12.6

13.3

12.6

13.2

12.4

13.2

12.4

13.1

12.4

13.1

12.4

13

12.4

13

12.3

13

12.3

13

12.3

13

12.1

12.9

12.1

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

13

12

13

12

13.1

12

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.1

13.1

12.3

13.2

12.3

13.2

12.4

13.2

12.4

13.4

12.4

13.4

12.6

13.6

12.6

13.6

12.6

13.6

12.6

13.6

12.5

13.6

12.5

13.5

12.5

13.5

12.5

13.5

12.5

13.4

12.5

13.4

12.5

13.4

12.5

13.4

12.4

13.4

12.4

13.4

12.4

13.4

12.4

13.3

12.4

13.3

12.5

13.2

12.5

13.2

12.5

13.2

12.5

13.1

12.5

13.1

12.4

13

12.4

13

12.3

13

12.3

12.9

12

12.9

12

12.9

12

12.9

11.9

12.9

11.9

12.9

11.9

12.9

11.9

13

11.9

13

11.9

13

11.9

13.1

12

13.1

12

13.1

12

13.1

12

13.1

12

13.1

11.9

13.1

11.9

13.1

11.9

13.1

12

13.1

12

13.1

12

13.1

12

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.9

13.1

11.8

13.1

11.8

13

11.8

13

11.9

13

11.9

13.1

12

13.1

12

13

12

13

12.1

13

12.1

13

12.1

13

12.1

12.9

12.1

12.9

12.3

13

12.3

13

12.6

13

12.6

13

12.6

13

12.8

13

12.8

13

12.9

13

12.9

13

12.8

13

12.8

13.1

12.8

13.1

12.6

13.1

12.6

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.4

13.1

12.4

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.5

13.1

12.4

13.1

12.4

13.1

12.4

13.1

12.4

13.2

12.4

13.2

12.5

13.2

12.5

13.3

12.6

13.3

12.6

13.4

12.6

13.4

12.5

13.4

12.5

13.5

12.4

13.5

12.4

13.5

12.4

13.5

12.4

13.5

12.4

13.6

12.3

13.6

12.3

13.6

12.3

13.6

12.4

13.7

12.4

13.7

12.5

13.7

12.5

13.7

12.5

13.7

12.9

13.9

12.9

13.9

13.4

13.9

13.4

13.9

13.4

13.9

13.7

14

13.7

14

13.7

14

13.7

14.1

13.6

14.1

13.6

14.2

13.6

14.2

13.5

14.2

13.5

14.3

13.6

14.3

13.6

14.3

13.6

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.7

14.3

13.6

14.4

13.6

14.4

13.6

14.4

13.6

14.4

13.6

14.4

13.7

14.2

13.7

14.2

13.9

14.2

13.9

14.2

14.1

14.2

14.1

14.2

14.1

14.2

14.2

14.2

14.2

14.3

14.2

14.3

14.2

14.4

14.2

14.4

14.1

14.4

14.1

14.5

14.2

14.5

14.2

14.7

14.2

14.7

14.3

14.9

14.3

14.9

14.2

14.9

14.2

15

14.2

15

14

14.9

14

14.9

13.8

14.9

13.8

14.8

13.6

14.8

13.6

14.7

13.6

14.7

13.6

14.7

13.6

14.8

13.4

14.8

13.4

14.9

13.4

14.9

13.3

14.9

13.3

14.9

13.1

14.9

13.1

14.8

13.1

14.8

13

14.6

13

14.6

13.2

14.6

13.2

14.6

13.2

14.6

13.3

14.7

13.3

14.7

13.5

14.7

13.5

14.8

13.5

14.8

13.7

15.1

13.7

15.1

13.7

15.1

13.7

15.2

13.6

15.2

13.6

15.1

13.6

15.1

13.5

15.1

13.5

15.2

13.5

15.2

13.5

15.3

13.5

15.3

13.5

15.3

13.5

15.1

14

15.1

14

14.8

14

14.8

14.5

14.6

14.5

14.6

14.9

14.6

14.9

14.5

14.9

14.5

15

14.4

15

14.4

14.6

14.4

14.6

14.4

14.1

14.4

14.1

14.6

14.1

14.6

14

14.6

14

14.7

14.1

14.7

14.1

14.8

14.1

14.8

14.3

14.8

14.3

14.9

14.4

14.9

14.4

14.8

14.4

14.8

14.5

15

14.5

15

14.7

15

14.7

15.2

14.7

15.2

14.2

15.2

14.2

15.2

13.3

15.2

13.3

15.2

12.9

15.2

12.9

15.3

12.9

15.3

12.9

15.3

12.9

15.3

13

15.3

13

15.1

13

15.1

13

15.1

13

15

13.1

15

13.1

14.9

13.1

14.9

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.8

12.9

14.7

12.9

14.7

13.1

14.7

13.1

14.7

13.1

14.7

13.3

14.8

13.3

14.8

13.4

14.8

13.4

14.8

13.4

14.8

13.4

14.9

13.4

14.9

13.3

14.9

13.3

14.9

13.3

14.9

13.3

15.1

13.3

15.1

13.3

15.1

13.3

15.3

13.3

15.3

13.3

15.4

13.3

15.4

13.4

15.2

13.4

15.2

13.4

15.2

13.4

15.1

13.4

15.1

13.3

14.9

13.3

14.9

13.2

14.9

13.2

14.8

13.2

14.8

13.3

14.8

13.3

14.8

13.1

14.8

13.1

14.7

13.1

14.7

12.7

14.6

12.7

14.6

12.4

14.6

12.4

14.5

12.2

14.5

12.2

14.4

12.2

14.4

12.1

14.4

12.1

14.4

12.1

14.4

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

12.1

14.5

11.9

14.5

11.9

14.5

11.8

14.5

11.8

14.5

11.8

14.5

11.9

14.5

11.9

14.5

11.9

14.5

11.9

14.5

12

14.5

12

14.5

12

14.5

11.8

14.5

11.8

14.5

11.7

14.5

11.7

14.4

11.7

14.4

11.8

14.4

11.8

14.3

12.1

14.3

12.1

14.3

12.1

14.3

12.4

14.3

12.4

14.3

12.6

14.3

12.6

14.2

12.6

14.2

12.9

14.2

12.9

14.2

13.1

14.2

13.1

14.2

13.6

14.2

13.6

14.2

13.6

14.2

14.6

14.2

14.6

14.1

15.4

14.1

15.4

14

15.4

14

15.4

14

15.4

14

14.9

14

14.9

14

14.9

14

14.2

13.9

14.2

13.9

13.5

13.9

13.5

13.9

13.5

13.9

12.8

13.9

12.8

13.9

12.2

13.9

12.2

13.9

12.2

13.9

11.9

13.8

11.9

13.8

12.1

13.8

12.1

13.8

12.1

13.8

12.1

13.7

12.1

13.7

11.6

13.7

11.6

13.6

11.1

13.6

11.1

13.6

11.1

13.6

10.8

13.6

10.8

13.7

10.5

13.7

10.5

13.7

10.5

13.7

10.3

13.7

10.3

13.7

10

13.7

10

13.7

10

13.7

9.8

13.7

9.8

13.7

9.7

13.7

9.7

13.8

9.6

13.8

9.6

13.8

9.6

13.8

9.6

13.8

9.6

13.9

9.6

13.9

9.6

14

9.6

14

9.4

14

9.4

14

9.3

14

9.3

14

9.3

14

9

14.1

9

14.1

8.6

14.1

8.6

14.1

8.6

14.1

8.4

14.1

8.4

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.3

14.1

8.2

14.1

8.2

14.1

8

14.1

8

14.1

8

14.1

8

14.1

8

14.1

8.1

14.1

8.1

14

8.1

14

8.2

13.8

8.2

13.8

8.3

13.8

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.7

8.3

13.6

8.3

13.6

8.3

13.5

8.3

13.5

8.4

13.5

8.4

13.4

8.7

13.4

8.7

13.6

8.7

13.6

9

13.6

9

13.7

9.2

13.7

9.2

13.7

9.2

13.7

9.3

13.7

9.3

13.7

9.3

13.7

9.3

13.6

9.3

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.2

13.6

9.3

13.5

9.3

13.5

9.4

13.5

9.4

13.4

9.3

13.4

9.3

13.2

9.3

13.2

8.6

13.2

8.6

13

8.1

13

8.1

12.9

8.1

12.9

8

12.9

8

13.1

7.9

13.1

7.9

13.4

7.9

13.4

7.7

13.4

7.7

13.4

7.6

13.4

7.6

13.1

7.6

13.1

7.6

12.7

7.6

12.7

7.6

12.7

7.6

12.4

7.6

12.4

7.6

12.3

7.6

12.3

7.5

12.3

7.5

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12.1

7.6

12

7.6

12

7.4

12

7.4

11.8

7.2

11.8

7.2

11.7

7.2

11.7

7.3

11.6

7.3

11.6

7.4

11.6

7.4

11.5

7.4

11.5

7.4

11.4

7.4

11.4

7.4

11.4

7.4

11.4

7.5

11.4

7.5

11.3

7.5

11.3

7.6

11.3

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.6

11.1

7.5

11.1

7.5

11.3

7.5

11.3

7.4

11.1

7.4

11.1

7.4

11.1

7.4

10.8

7.4

10.8

7.3

10.5

7.3

10.5

7.1

10.5

7.1

10.4

6.9

10.4

6.9

10.4

6.9

10.4

6.8

10.4

6.8

10.4

6.6

10.4

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.3

6.6

10.4

6.6

10.4

6.6

10.4

6.6

10.3

6.6

10.3

6.5

10.1

6.5

10.1

6.5

10.1

6.5

10.1

6.5

10.1

6.4

9.9

6.4

9.9

6.3

9.9

6.3

9.9

6.3

9.9

6.3

9.8

6.3

9.8

6.5

9.8

6.5

9.6

6.6

9.6

6.6

9.6

6.6

9.6

6.5

9.6

6.5

9.8

6.4

9.8

6.4

10

6.4

10

6.4

10.2

6.4

10.2

6.5

10.2

6.5

10.6

6.5

10.6

6.5

10.6

6.5

10.6

6.2

10.6

6.2

10.3

5.9

10.3

5.9

10.1

5.9

10.1

5.6

10.1

5.6

9.9

5.4

9.9

5.4

9.8

5.4

9.8

5.3

9.8

5.3

9.7

5.4

9.7

5.4

9.4

5.4

9.4

5.7

9

5.7

9

6.1

9

6.1

8.8

6.1

8.8

6.1

8.8

6.1

8.8

5.8

8.8

5.8

8.9

5.6

8.9

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.8

5.6

8.9

5.6

8.9

5.6

8.9

5.6

8.9

5.5

8.9

5.5

8.8

5.5

8.8

5.4

8.8

5.4

8.8

5.3

8.8

5.3

9

5.3

9

5.4

9.2

5.4

9.2

5.5

9.2

5.5

9.4

5.5

9.4

5.6

9.5

5.6

9.5

5.7

9.5

5.7

9.4

5.9

9.4

5.9

9.4

5.9

9.4

6.1

9.4

6.1

9.7

6.2

9.7

6.2

10

6.2

10

5.9

10

5.9

10

5.7

10

5.7

9.8

5.7

9.8

5.6

9.6

5.6

9.6

5.6

9.6

5.6

9.4

5.6

9.4

5.8

9.2

5.8

9.2

6.1

9.2

6.1

8.9

6.6

8.9

6.6

8.9

6.6

8.9

7

8.9

7

8.8

7.1

8.8

7.1

8.6

7.1

8.6

6.9

8.6

6.9

8.6

6.6

8.6

6.6

9

6.6

9

6.2

9.4

6.2

9.4

6.1

9.4

6.1

9.4

6.1

9.4

6

9.3

6

9.3

5.9

9.3

5.9

9.1

5.9

9.1

5.8

8.9

5.8

8.9

5.8

8.9

5.8

8.8

5.7

8.8

5.7

8.7

5.7

8.7

5.6

8.7

5.6

8.7

5.5

8.7

5.5

8.9

5.5

8.9

5.3

8.9

5.3

9.3

5.1

9.3

5.1

9.6

5.1

9.6

4.9

9.5

4.9

9.5

4.9

9.5

4.9

9.5

4.9

9.5

5

9.4

5

9.4

5

9.4

5

9.3

4.9

9.3

4.9

9.2

4.9

9.2

4.8

9.2

4.8

8.8

4.8

8.8

4.8

8.3

4.8

8.3

4.8

8.3

4.8

7.7

4.8

7.7

4.8

7.3

4.8

7.3

4.8

6.9

4.8

6.9

4.8

6.9

4.8

6.7

4.8

6.7

4.8

6.7

4.8

6.7

4.9

6.7

4.9

6.6

4.9

6.6

5

6.6

5

6.6

5.1

6.6

5.1

6.6

5.1

6.6

5.2

6.6

5.2

6.6

5.3

6.6

5.3

6.6

5.3

6.6

5.3

6.7

5.3

6.7

5.5

6.8

5.5

6.8

5.8

6.8

5.8

6.8

5.8

6.8

6

6.8

6

6.8

6.1

6.8

6.1

6.8

6.1

6.8

6.1

6.9

6.1

6.9

6.1

6.9

6.1

6.9

6.1

6.9

6.1

7

6.1

7

6.1

7

6.1

7.1

6.1

7.1

6.1

7.2

6.1

7.2

6

7.2

6

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.2

6.1

7.3

6.1

7.3

6

7.3

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.4

6

7.5

6

7.5

5.9

7.5

5.9

7.5

5.8

7.5

5.8

7.5

5.8

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.7

7.5

5.5

7.5

5.5

7.5

5.3

7.5

5.3

7.6

5.3

7.6

5.2

7.8

5.2

7.8

5.1

7.8

5.1

7.9

5.1

7.9

5.1

7.9

5.1

7.9

5

7.9

5

7.9

4.9

7.9

4.9

7.9

4.9

7.9

4.9

7.9

4.9

7.8

4.9

7.8

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.6

4.9

7.7

4.9

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.8

7.7

4.7

7.7

4.7

7.8

4.6

7.8

4.6

7.8

4.6

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.8

4.5

7.9

4.5

7.9

4.5

7.9

4.5

8.1

4.5

8.1

4.6

8.1

4.6

8.1

4.6

8.1

4.6

8.2

4.6

8.2

4.7

8.2

4.7

8.2

4.8

8.2

4.8

8.3

4.8

8.3

4.8

8.4

4.8

8.4

4.8

8.4

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.5

4.8

8.6

4.8

8.6

4.7

8.7

4.7

8.7

4.7

8.7

4.7

8.8

4.7

8.8

4.7

8.8

4.7

8.8

4.6

8.8

4.6

8.9

4.6

8.9

4.6

9

4.6

9

4.5

9

4.5

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.3

9.1

4.2

9.1

4.2

9.1

4.2

9.1

4.1

9.2

4.1

9.2

4.1

9.2

4.1

9.2

4.1

9.2

4

9.3

4

9.3

4

9.3

4

9.4

4

9.4

4

9.4

4

9.4

3.9

9.4

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.9

9.3

3.8

9.3

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.8

9.2

3.7

9.2

3.7

9.2

3.7

9.2

3.7

9.3

3.7

9.3

3.7

9.4

3.7

9.4

3.6

9.4

3.6

9.5

3.6

9.5

3.6

9.6

3.6

9.6

3.6

9.6

3.6

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.7

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.8

3.5

9.7

3.5

9.7

3.4

9.7

3.4

9.6

3.4

9.6

3.4

9.6

3.4

9.6

3.3

9.6

3.3

9.6

3.3

9.6

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.5

3.3

9.6

3.3

9.6

3.3

9.6

3.3

9.6

3.2

9.6

3.2

9.6

3.2

9.6

3.3

9.6

3.3

9.6

3.2

9.6

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.5

3.2

9.4

3.2

9.4

3.2

9.4

3.2

9.3

3.1

9.3

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.2

3.1

9.3

3.1

9.3

3

9.3

3

9.4

3

9.4

3

9.4

3

9.4

3

9.4

3

9.3

3

9.3

3

9.3

3

9.3

3

9.3

3

9.3

2.9

9.3

2.9

9.3

2.9

9.3

2.8

9.3

2.8

9.3

2.9

9.3

2.9

9.3

2.9

9.3

2.9

9.2

2.9

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.8

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.1

2.7

9.1

2.7

9.1

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.7

9.2

2.6

9.2

2.6

9.1

2.6

9.1

2.6

9.2

2.6

9.2

2.6

9.2

2.6

9.2

2.6

9.2

2.7

9.1

2.7

9.1

2.7

9.1

2.7

9

2.7

9

2.6

8.9

2.6

8.9

2.5

8.9

2.5

8.8

2.5

8.8

2.5

8.8

2.5

8.8

2.4

8.8

2.4

8.7

2.3

8.7

2.3

8.6

2.3

8.6

2.3

8.6

2.3

8.6

2.3

8.6

2.2

8.6

2.2

8.6

2.2

8.5

2.2

8.5

2.2

8.5

2.2

8.4

2.2

8.4

2.2

8.3

2.2

8.3

2.2

8.3

2.2

8.2

2.2

8.2

2.2

8.2

2.2

8.2

2.3

8.2

2.3

8.1

2.3

8.1

2.4

8

2.4

8

2.3

8

2.3

7.9

2.3

7.9

2.3

7.9

2.3

7.9

2.3

7.5

2.3

7.5

2.2

7.5

2.2

7.4

2.2

7.4

2.2

7.2

2.2

7.2

2.2

7.2

2.2

6.7

2.1

6.7

2.1

7.1

2.1

7.1

1.9

7.1

1.9

7.9

1.6

7.9

1.6

8.2

1.6

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.2

1.5

8.1

1.5

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8.1

1.4

8

1.4

8

1.4

8

1.4

8

1.4

8

1.4

7.5

1.5

7.5

1.5

6.7

1.5

6.7

1.5

6.7

1.5

6.7

1.5

6.7

1.5

7.4

1.5

7.4

1.5

7.4

1.6

7.6

1.7

7.6

1.7

7.7

1.7

7.7

1.8

7.6

1.8

7.6

1.8

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.6

1.7

7.5

1.7

7.5

1.7

7.5

1.7

7.4

1.7

7.4

1.7

7.4

1.7

7.4

1.7

7.4

1.6

7.3

1.6

7.3

1.6

7.2

1.6

7.2

1.6

7

1.6

7

1.6

7

1.6

6.9

1.6

6.9

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.5

1.6

6.5

1.6

6.1

1.6

6.1

1.6

6.1

1.6

6.3

1.6

6.3

1.6

6.7

1.6

6.7

1.6

6.7

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.8

1.6

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.8

1.5

6.7

1.5

6.7

1.5

6.6

1.5

6.6

1.5

6.5

1.5

6.5

1.5

6.5

1.5

6.2

1.5

6.2

1.5

5.8

1.5

5.8

1.5

5.8

1.5

5.6

1.5

5.6

1.5

5.4

1.5

5.4

1.5

5.4

1.5

5.3

1.5

5.3

1.5

5.1

1.5

5.1

1.5

5.1

1.5

5.1

1.4

5.1

1.4

5.4

1.4

5.4

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.7

1.5

5.6

1.5

5.6

1.5

5.5

1.5

5.5

1.5

5.5

1.5

5.4

1.5

5.4

1.5

5.3

1.5

5.3

1.5

5.3

1.5

5.2

1.5

5.2

1.6

5.1

1.6

5.1

1.6

5

1.6

5

1.6

5

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.9

1.6

4.8

1.6

4.8

1.6

4.8

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.7

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.5

1.4

4.6

1.4

4.6

1.4

4.6

1.4

4.5

1.4

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.6

4.5

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.6

1.6

4.5

1.6

4.5

1.6

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.6

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.5

1.5

4.4

1.5

4.4

1.5

4.4

1.5

4.4

1.5

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.4

4.4

1.3

4.4

1.3

4.4

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.4

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.2

4.5

1.2

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.3

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.2

4.5

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1.1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1

1



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



b

eff, prop=0

eff,B=0,co-fire

time,s

Efficiency,%

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

74.6

0

74.2

53.1

74.2

50.9

88.2

85.6

88.1

85.1

90.5

85.1

90.3

90.8

90.3

90.6

90.9

92

90.7

91.8

90.9

91.8

90.8

92.2

90.9

92

90.8

92.2

90.8

92

90.9

92

90.8

92.1

90.9

91.9

91

92

91

91.9

91

92

91

91.8

91

91.8

90.9

91.8

90.9

91.7

91

91.7

90.9

91.6

90.9

91.6

90.9

91.7

90.9

91.6

90.9

91.6

90.9

91.6

90.9

91.6

90.8

91.6

90.8

91.6

90.9

91.6

90.9

91.5

90.9

91.5

90.9

91.6

90.9

91.5

90.8

91.5

90.8

91.4

90.9

91.4

90.9

91.4

90.9

91.3

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.4

90.8

91.3

90.9

91.3

91.5

91.3

91.6

91.3

91.6

91.3

91.6

91.9

91.7

91.9

90.3

91.7

89

91.7

88.3

91.7

83.1

90

83.4

89

83.4

88.6

74

88.6

73.6

84.1

65.2

84

64.2

74.7

64.2

73.1

61.3

64

60.2

62.8

60

62.8

58.8

57.8

58.8

57

59.4

55.1

58.2

54.4

59

54.4

57.6

53.3

57.6

52.7

58.3

52.1

57.1

51.7

57.9

51.7

56.6

51.2

57.5

51.3

56

51.1

56

51.2

57

51.2

55.6

51

57.1

50.8

55.3

50.5

55.3

50.2

57.1

50.3

55

49.7

57

49.7

54.2

49.7

54.2

49.1

56.3

49.3

53.4

48.9

56.1

48.9

52.7

49.3

52.7

49

55.5

49.3

51.6

48.8

55.1

48.8

51.3

48.8

55.2

48.5

51.9

48.3

51.9

48

55.3

48

52.8

47.7

55.5

47.4

53.6

47.2

53.6

46.9

55.3

46.9

53

46.7

53.6

46.3

50.8

46

50.8

45.5

52.3

45.6

49.4

44.8

52.5

44.8

50.3

45.2

50.3

44.2

53.5

45

52.2

44

53.5

44

52.6

45

52.6

44.3

52.7

45.5

52.2

44.7

52.7

44.7

52.7

46.3

53.5

45.6

53.6

47

53.6

46.4

54.4

46.4

54.2

47.1

54.6

46

54.3

46.6

54.3

44

54.6

45.9

54.2

41.9

54.2

41.9

54

45.6

54

42

54.1

47.5

53.8

44.3

53.9

44.3

53.8

49.4

53.8

46.9

53.7

50.3

53.6

48.2

53.5

48.2

53.5

50.5

53.6

48.3

53.6

50.3

53.6

48.1

53.8

48.1

53.7

50.4

53.8

48.1

53.7

50.8

53.7

48.5

53.8

51.2

53.7

51.4

53.6

49

53.4

51.8

53.4

49.2

52.8

51.4

52.6

49

52.1

49

52

51.4

52

48.8

52

51.8

51.8

49.4

51.8

49.4

51.7

52.8

51.7

51.1

52.1

54.6

52.1

53.8

52.5

53.8

52.5

56.5

52.4

56.3

52.5

57.2

52.5

57.3

52

57.3

52.2

56.9

51.7

56.9

51.9

56.2

51.9

56.1

51.5

55.5

51.6

55.4

51.3

55.4

51.3

55.2

51.3

55.2

51

55.2

51

55.1

51.1

55.1

51.1

54.7

51.1

54.5

51.8

54.4

51.8

54.1

52.1

54.1

52.1

54.5

52.2

54.2

52.2

54.4

52.3

54

52.5

54

52.5

54.4

52.7

54.2

52.8

55

52.8

54.8

53

55.6

53

55.4

53.2

55.4

53.5

56.1

53.5

56

53.5

56.6

53.9

56.6

53.5

56.6

53.7

57.1

53.7

57.2

53.2

57.2

53.2

57.3

53.1

57.3

53.1

57

53.3

57.1

53.5

56.6

53.5

57.4

53.6

57.4

53.7

57.1

53.3

58.6

53.3

57.2

53.3

58.4

53

58.4

53.2

53.4

53.3

54.2

53.4

47.7

53.4

48.3

53.3

44.4

53.3

45.1

53.2

45.1

53.3

43.4

53.3

44.3

53.3

43.1

53.6

43.3

53.5

43.3

53.7

41.7

53.7

40.3

53.4

38.8

53.6

36.8

53.3

36.8

53.4

38.6

53.3

37.6

53.3

41.9

53.3

41.7

53.6

41.7

53.5

44.3

53.8

44

53.7

44.1

53.7

43.4

54

43.1

54

42.4

54.4

42.4

54.4

42.9

54.4

42.6

54.7

43.7

54.7

43.4

54.5

43.4

54.5

44

54.5

43.3

54.1

44.1

54

43.5

53.9

43.5

53.7

46.9

53.8

46.6

53.6

50.2

53.6

50.1

54.3

50.1

54.2

50.8

55

50.8

55

50.5

55

50.5

55.2

50.8

55.2

50.9

55.3

50.9

55.3

51.3

55.3

51.3

55.5

51.9

55.6

51.9

55.6

51.9

55.7

51.7

55.7

51.7

55.2

50.7

55.4

50.8

54.8

50.8

55.1

49.6

54.4

49.7

54.4

48.1

54.6

48

54.1

48

54.2

46.7

54

46.6

54.2

46.4

54.2

46.4

54.3

46.4

54.5

47

54.3

47.2

54.5

47.9

54.5

47.7

54

47.6

54.1

47.4

53.9

47.4

54.1

47.7

54.1

47.8

54.1

48.8

54.4

48.9

54.1

48.9

54.3

48.4

54.3

48.7

54.1

47.9

54.1

48.2

54.2

48.2

54.2

48.1

54.2

48.4

54.3

48.5

54.3

48.8

54.3

48.8

54.3

48.7

54.2

48.9

54.1

48.7

54.1

48.8

54.2

48.6

54.1

48.4

54.3

48.4

54.1

48

54.1

48

54.2

48.6

54

48.6

54.2

48.6

54

49.6

54

49.7

54.4

50.2

54.1

50.4

54.6

50.4

54.2

50.8

55.1

50.8

54.9

50.3

54.9

50.1

55.8

50.1

55.7

49.1

56.2

49.3

56.1

49.1

56.1

49.5

56

49.1

56

49

55.8

49.4

55.9

48.6

55.9

49.1

55.8

48.2

55.8

48.8

55.9

48.8

55.8

47.7

55.8

48.2

56.4

47.5

56.3

47.9

57

47.9

56.9

47.5

56.9

48.2

57.2

48.2

57.2

49

57.4

49

57.5

49

57.4

49

57.5

49

57.5

49.2

57.1

49.2

57.1

48.2

56.7

48.2

56.7

47.1

56.7

47.1

56.7

47.1

56.7

47.3

56.8

47.3

56.7

47.9

56.7

47.9

56.4

48.5

56.3

48.4

56.1

48.4

56

48.6

56

48.5

56

48.6

55.9

48.5

55.9

48.5

55.8

48.5

56.1

48.4

56.1

48.2

56.1

48.1

56.5

48.1

56.4

47.8

56.6

47.5

56.6

47.5

56.6

47.2

56.8

47.2

56.7

47.6

56.7

47.4

56.7

47.7

56.7

47.2

56.7

47.2

56.6

47.3

57.3

46.6

57.2

46.9

57.2

47

57.7

48.3

57.7

48.9

57.6

48.9

57.5

49.2

57.5

49.7

57.5

48.4

57.5

48.8

57.5

48.8

57.5

47.4

57.5

47.4

57.4

46.8

57.4

46.5

57.3

46.5

57.2

46.8

57.4

46.6

57.3

47.2

57.3

47.3

57.6

47.3

57.5

47.7

57.8

47.8

57.8

47.7

57.8

47.5

57.8

47.4

57.8

47.1

57.7

47.1

57.6

47.5

57.6

47.2

57.8

47.8

57.8

47.4

58

47.4

58.1

47.9

58.1

47.6

58

48.1

58.1

48

57.8

48

57.9

48.6

57.7

48.5

57.7

48.8

57.7

48.8

57.7

48.8

57.7

48.9

57.7

49

57.7

48.9

57.7

49

57.5

48.6

57.6

48.7

57.5

48.7

57.5

48.1

57.5

48.1

57.5

47.8

57.5

47.8

57.6

47.8

57.6

48

57.6

48

57.7

48.3

57.6

48.4

57.7

48.4

57.5

48.8

57.8

49.1

57.8

49.4

57.6

49.6

58.1

49.6

57.9

49.4

58.1

49.6

57.9

49.2

57.9

49.3

58

49.3

58

48.9

58.3

48.8

58.3

48.6

58.3

48.5

58.5

48.6

58.6

48.7

58.4

48.7

58.6

48.8

58.6

49.1

58.1

49.1

58.2

49.5

57.9

49.5

57.9

49

57.9

49.3

57.7

48.6

57.6

48.9

57.6

48.9

57.6

48.6

57.7

48.7

57.8

48.3

57.8

48.4

57.8

48.4

57.9

48.2

57.8

48.3

57.8

48.3

57.8

48.3

57.8

48.3

57.8

48.3

57.9

48.3

57.9

48.2

57.9

48.1

58

48.2

58

48

58.3

48

58.3

48.7

58.3

48.6

58.5

49.6

58.5

49.6

58.6

49.6

58.6

50.3

58.7

50.4

58.7

50.8

58.7

51

58.7

51

58.7

51

58.7

51.1

58.5

50.8

58.5

50.7

58.7

50.6

58.4

50.6

58.9

50.5

58.7

50.5

58.7

50.4

59.1

50.4

59

50.4

59.3

50.4

59.3

50.2

59.3

50.1

59.5

49.8

59.4

49.9

59.4

49.9

59.3

49.7

59.3

49.8

59.5

49.5

59.5

49.5

59.6

49.5

59.7

49.2

59.5

48.9

59.6

48.5

59.6

47.9

59.4

47.9

59.4

47.8

59.3

47.4

59.2

48.2

59.2

47.8

59.2

48.8

59.1

48.3

59.1

48.3

59.2

48.9

59.2

48.1

59.1

48.6

59.1

47.9

58.9

47.9

58.8

48.9

58.8

48.2

58.7

49.5

58.7

49.1

58.9

49.1

58.9

50.6

59.1

50.5

59.2

51.5

59.2

51.1

59.1

51.1

59.2

51.2

58.9

50.8

59

51.3

59

51.5

58.9

52.5

58.9

52.8

58.9

52.8

59

53.2

59

53.3

59.1

53.1

59.1

53.2

59.2

53.2

59.1

52.8

59.1

53

59.1

52.7

59

52.9

59.1

52.9

59.1

52.6

59.2

52.8

59.1

52.1

59.1

52.1

59.2

52.1

59.2

51.6

59.2

51.7

59.2

51.7

59.2

51.7

59.2

51.7

59.3

51.9

59.4

52

59.5

52.2

59.5

52.4

59.4

52.5

59.5

52.6

59.2

52.6

59.3

52.6

59.3

52.6

59.2

52.5

59.3

52.6

59.3

52.6

59.4

52.7

59.4

52.8

59.3

52.8

59.3

52.8

59.4

52.8

59.3

52.5

59.4

52.3

59.4

51.8

59.4

51.6

59.5

51.6

59.5

51.6

59.6

51.4

59.6

52.1

59.6

52

59.6

52.6

59.7

52.6

59.7

52.6

59.6

52.8

59.6

52.9

59.5

52.7

59.4

52.8

59.3

52.8

59.3

52.5

59.3

52.6

59.3

52.2

59.2

52.1

59.3

52.1

59.2

52.1

59.3

52

59.3

52.2

59.3

52.1

59.4

52.1

59.3

52.2

59.4

52.1

59.2

52.2

59.2

52

59.3

52.1

59.1

51.7

59.2

51.7

59.2

52.4

59.2

52

59.4

53.2

59.4

53

59.5

53

59.5

53.9

59.5

54

59.5

54.3

59.4

54.6

59.5

54.6

59.4

54.3

59.8

54.6

59.8

54

59.7

54.3

59.9

54.3

59.9

53.6

59.9

53.9

59.9

53.5

59.9

53.7

59.9

53.7

59.8

53.5

59.9

53.7

59.8

53.4

59.8

53.6

59.9

53.3

59.9

53.5

60.1

53.5

60.2

53.2

60.2

53.4

60.2

53

60.3

53.1

60.2

53.1

60.2

52.7

60.2

52.7

60.2

52.7

60.2

52.8

60.2

52.8

60.3

52.8

60.1

52.8

60.2

52.5

60.2

52.4

59.9

52.4

60

52.3

59.8

52.3

59.9

52.5

59.9

52.8

59.9

52.9

59.9

53.2

59.9

53.2

59.8

53.1

59.8

53.1

59.8

52.7

59.8

52.6

59.9

52.6

59.9

52.3

59.9

52.2

60

52.3

60

52.1

60

52.1

60

52.3

60.1

52.2

60

52.2

60

52.3

60.2

52.3

60.1

52.4

60.2

52.4

60.1

52.3

60.1

52.1

60

52.1

59.9

52

60

51.9

59.9

52.2

59.9

52.1

59.9

52.5

59.8

52.3

59.9

52.3

59.8

52.4

59.8

52

60

52.4

59.9

52.2

60.1

52.2

59.9

52.9

59.9

52.5

60

53.1

59.9

52.5

60

52.5

60

53.3

60.2

52.5

60.2

53.7

60.2

53.2

60.2

53.2

60.1

54.6

60.1

54.4

60.2

55.3

60.2

55.2

60.2

55.5

60.3

55.6

60.2

55.6

60.2

55.8

60.2

56.1

60.2

55.9

60.2

56.3

60.2

56.3

60.2

55.5

60.2

55.8

60.3

54.9

60.4

55

60.5

55

60.5

54.5

60.5

54.6

60.6

54.2

60.6

54.1

60.5

54.1

60.4

53.9

60.4

53.7

60.3

53.9

60.3

53.6

60.4

54.2

60.3

53.6

60.4

53.6

60.4

53.9

60.4

53.5

60.3

54.2

60.3

53.9

60.2

53.9

60.3

54.8

60.3

54.6

60.3

55.1

60.4

55

60.3

55

60.5

55.3

60.3

55.3

60.4

55.3

60.4

55.4

60.2

55.4

60.2

55.4

60.1

55.5

60.1

55.4

60.1

55.5

60

55.5

60

55.3

60

55.4

60

55.3

60

55.3

59.9

55.3

59.9

55.5

59.8

55.5

59.8

55.6

59.8

56

59.8

55.7

59.8

56.1

59.9

56.1

59.9

55.1

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

55.3

59.9

54.4

59.9

54.5

60

54.5

59.9

54.6

60

54.8

60.1

54.6

60.1

55

60.1

55

60.2

54.4

60.2

55

60.4

54

60.4

54.5

60.4

53.2

60.4

53.5

60.2

53.5

60.2

52.5

60.2

52.5

60.1

52

60

51.8

60

51.8

60

52

60

51.9

60

52.4

60

52.4

59.9

52.4

59.9

52.9

59.9

53

59.8

53.1

59.8

53.4

59.8

53.4

59.8

53.3

59.8

53.5

59.7

53.3

59.7

53

59.8

53

59.8

52.8

59.8

52.4

59.9

53

59.9

53

59.8

54

59.9

54.3

59.8

54.3

59.8

54.4

59.8

54.5

59.9

53.9

60

53.7

60

53.7

60.1

53.1

60.1

52.8

60

52.9

60

52.4

59.9

52.4

59.9

53

59.9

52.4

59.8

53.4

59.8

53.1

59.8

53.1

59.7

54.4

59.8

54.2

59.7

54.8

59.7

54.4

59.9

54.7

60.1

54.5

60

54.5

60.4

55.4

60.4

55.5

59.9

56.2

60.1

56.2

59.5

56.1

59.6

56.1

59.6

55.8

59.3

55.9

59.4

55.8

59.3

55.8

59.4

56.2

59.3

56.4

59.4

56.8

59.4

56.7

59.3

56.7

59.4

56.5

59.2

56.5

59.3

56.1

59.3

56.1

59.2

56.1

59.2

56.1

59.3

56.1

59.3

56.4

59.3

56.4

59.4

56.5

59.4

56.4

59.4

56.4

59.4

56.3

59.4

56.4

59.4

56.7

59.6

56.8

59.7

56.8

60

56.8

60

56.7

59.7

56

59.9

55.9

59.3

55.9

59.3

55.9

58.8

55.9

58.9

56.4

58.9

56.3

58.9

56.3

59

56.6

59.2

56.7

59.3

56.6

59.3

56.8

59.2

56.3

59.2

56.6

59

56.6

59

56.1

59

56.5

59.1

55.7

59.2

55.9

59.1

55.9

59.3

54.9

59.3

55.1

59.1

54.6

59.4

54.9

59

54.9

59.3

54.7

59

55.2

59.1

54.8

59.1

55.1

59

55.1

59.1

54.3

58.9

54.4

58.9

54

58.9

54

58.8

54

58.7

53.9

58.7

53.9

58.5

54.1

58.5

53.9

58.7

54.1

58.6

54

58.9

54

59

54.2

59

54.1

59.2

54.1

59.3

53.8

59.3

53.8

59.3

53.8

59.2

53.3

58.9

53.6

58.9

53.1

59

53.1

58.7

53.6

59

53.4

58.8

54

58.8

54

59.3

54

59.2

54.6

59.6

54.6

59.7

54.5

59.7

54.6

59.7

54.3

59.9

54.4

59.8

54.5

59.8

54.5

59.8

54.6

59.6

54.5

59.6

54.5

59.6

54.5

59.7

54.3

59.7

54.3

59.6

54.4

59.7

54.5

59.4

54.5

59.5

54.6

59.4

54.7

59.5

54.7

59.5

54.9

59.2

54.9

59.4

54.8

59

55.1

59.1

54.6

59.1

54.8

58.9

53.8

58.9

53.8

58.9

53.8

59

53.2

59

53.2

59.1

53.2

59.1

53.1

59.4

53.1

59.4

53.3

59.4

53.4

59.7

53.7

59.8

53.8

59.8

53.8

59.9

53.7

59.8

53.7

59.8

53.4

59.8

53.5

59.8

53.5

59.9

53.8

59.8

53.9

59.9

53.9

59.9

54

59.8

53.6

59.9

53.6

59.9

53.6

60.1

53.4

60.1

53.3

60

53.1

60

52.8

60

52.8

60

53

60

52.8

60.1

53.3

60.2

53.1

60.1

53.1

60.2

53.3

60

52.9

60

53.1

59.9

52.8

59.9

52.8

59.8

53.7

59.9

53.5

59.8

54.6

59.8

54.5

59.9

54.5

60

54.9

60

55.2

59.9

55.6

59.9

55.8

59.8

55.5

59.6

55.6

59.8

55.5

59.7

54.8

59.7

54.9

59.9

54.6

59.7

54.6

59.7

54.6

59.7

54.5

59.7

54.6

59.8

54.8

59.8

54.9

59.8

54.9

59.8

54.9

59.8

54.9

59.8

54.7

59.8

54.6

59.8

54.6

59.6

54.6

59.7

54.6

59.5

54.8

59.5

55

59.8

55.3

59.7

55.3

60.1

55.3

60.1

55.1

60.1

55.1

60.3

54.7

60.2

54.8

60.2

54.8

60.1

54.8

60.1

54.5

60.4

54.4

60.4

54

60.6

54

60.5

54.1

60.5

53.4

60.3

54.1

60.3

53.4

60.4

53.4

60.3

54.7

60.7

54.5

60.6

56.2

60.6

56.2

60.8

56.2

60.6

56.9

60.7

56.8

60.5

56.8

60.5

56.6

60.7

56.3

60.6

56.2

60.9

56.2

60.8

56.1

60.8

56.2

61

56.4

61

56.4

61

56.4

60.9

56.6

60.9

56.7

60.9

56.7

60.7

56.6

60.9

56.6

61

56.4

61.2

56

61.4

56.1

61.4

55.8

61.3

55.8

61.4

56.2

61.1

56

61

56.5

61

56.4

60.9

56.9

60.6

57

60.7

57

60.5

57.4

60.5

57.5

60.8

57.5

60.7

57.4

60.9

57.4

60.7

57.1

60.7

57

61

57.2

60.8

57.4

61.3

57.4

61.1

57.8

61.6

58.1

61.6

57.9

61.6

58.2

61.9

58.2

62

57.6

61.9

57.7

61.9

57.1

61.9

57.3

61.6

56.9

61.5

57.2

61.3

57.2

61.2

57

61.2

57.3

61.4

56.9

61.3

57.2

61.7

57.2

61.8

56.9

61.8

56.8

61.8

56.1

62

55.9

61.7

55.9

61.7

55.6

61.3

55.4

61.2

55.9

61.2

55.6

61

55.6

60.8

56

61

55.9

60.8

56.6

60.8

56.6

61.2

56.6

61.1

57.2

61.7

57.2

61.7

57

61.7

57.1

61.9

56.8

61.8

56.9

61.7

56.9

61.7

56.7

61.7

56.5

61.9

56.3

62.1

55.7

62.3

55.7

62.7

55.9

62.7

55.2

62.3

56.6

62.5

56.1

61.7

56.1

62

57.8

61.6

57.7

61.9

58.8

61.9

59.2

61.6

59.2

61.5

59.4

61.2

59.8

61.1

58.6

61.1

58.6

61.2

57.2

61

57.2

61.3

57.2

61

56.8

61

56.8

61.2

57.2

61.1

57.1

61.5

57.1

61.4

57.7

61.4

57.4

61.6

57.7

61.2

57.7

61

57.7

60.8

58.1

61.2

58.8

61.2

59.2

61.2

60.1

61.7

60.1

61.6

58.7

61.6

59.2

61.5

56.6

61.5

56.8

61.4

55.6

61.4

55.6

61.7

55.8

61.8

55.7

61.8

55.9

61.9

56.1

62

56.2

61.6

56.2

61.8

56.4

61.8

56.7

61.5

56.7

61.6

56.8

61.4

56.8

61.4

56.4

61.2

56.3

61.2

56.2

61.2

56

61.1

56

61

56.2

60.9

55.7

60.8

56.2

60.8

56

60.9

56

60.9

56.7

61

56.9

60.9

57.4

60.9

57.6

61.1

57.4

61

57.4

61.1

57.4

60.9

57.1

60.9

57.1

61

57

60.9

57

61.3

57

61.4

57

61.4

57

61.8

57

61.9

57.1

62

57.1

62.3

57.3

62

57.5

62.4

57.6

62.4

57.8

62

57.8

62.3

57.5

61.9

57.6

62.1

57.3

62.1

57.7

61.9

57.7

62.1

57.8

62

58.5

62.3

58.1

62.3

58.5

62.1

58.5

62.3

57.2

62

57.5

62.2

56.4

62.2

56.6

62

55.9

62.1

55.9

61.9

55.9

61.8

55.7

61.8

55.7

61.7

55.5

61.7

55.8

61.9

55.8

61.9

55.8

61.9

56.2

61.9

56.1

61.9

56.3

61.9

56.3

61.8

55.8

61.9

55.8

61.9

55.5

61.9

55.6

61.7

55.6

61.7

55.7

61.6

55.8

61.6

56.1

61.6

56.3

61.7

56.4

61.8

56.4

61.8

56.4

61.9

56

61.9

55.8

61.8

55.4

62

54.8

61.7

54.8

61.8

55

61.8

54.4

61.6

55.5

61.7

55.2

61.7

55.2

61.8

56.2

61.7

55.7

61.7

56.3

61.7

55.9

61.6

55.9

61.7

56.8

61.7

55.9

61.9

56.8

61.9

55.5

61.9

57

62.1

56.4

62.1

56.4

62.3

59.4

62.3

59.4

62.1

61.5

62.3

61.8

62

61.8

62.2

61.6

62.2

62.2

62

60.9

62.1

61.6

62.1

61.6

62.1

59.9

62

60.9

62

58.9

62

59.9

62

59.9

62.1

57.8

62.1

58.2

62.4

56.4

62.4

56.2

62.3

56.2

62.5

55.1

62.3

55.5

62.5

56.1

62.5

57.2

62.3

57.5

62.5

58.4

62.4

58.4

62.5

56.7

62.5

57.3

62.3

55.3

62.3

55.8

62.2

55.8

62.2

54.4

62.2

55.1

62.3

54.1

62.2

54.8

62.2

54.8

62.1

53.7

62.2

54.3

62.1

52.9

62.1

53.3

62.1

53.3

62

52.4

62.1

52.5

62

52.2

62

52.2

62.2

51.9

62

52

62.2

51.9

62

51.8

62

51.9

62.1

51.8

62.1

52.1

62.2

52.1

62.2

51.4

62.2

52.2

62.2

51.3

62.1

52.2

62.2

52.2

62.2

50.6

62.4

51.3

62.3

49.2

62.3

49.4

62.3

49.4

62.3

48.2

62.3

48.3

62.3

47.9

62.3

48.2

62.4

48.1

62.4

48.5

62.4

48.5

62.4

47.8

62.4

48.1

62.4

47.1

62.5

47

62.5

47

62.7

46.8

62.7

46.4

62.5

47

62.8

46.8

62.6

46.8

62.9

47.6

62.5

47.6

62.5

48

62.7

48.3

62.4

48.3

62.6

48.6

62.6

48.6

62.9

48.4

62.9

47.8

62.7

47.8

62.8

47.7

62.4

47

62.2

48.1

62.2

47.3

62.1

49.1

61.9

48.7

62.3

48.7

62.1

50.4

62.1

50.2

62.4

51.1

62.4

51.1

62.5

51.1

62.5

51.3

62.5

51.5

62.4

51.6

62.4

51.5

62.2

51.5

62.1

51.1

62

50.9

62

50.9

62

50.4

62

50.4

62.1

50.7

61.9

51.1

62.1

52.1

62.1

53.5

61.8

52.6

62

53.5

61.5

53.5

61.5

49.8

61.5

50.4

61

47.7

60.7

48.4

60.6

48.4

60.3

47.5

60.3

48.2

60.7

47.6

60.9

48.2

61.6

48.2

62.1

47

62.2

47.5

62.8

46.3

62.8

46.8

62

46.8

62.3

46.9

61.2

47.5

61.5

47.9

61.5

48.2

60.6

48.2

60.8

47.8

60.1

48

60.1

47.7

60.1

47.9

59.6

48

59.7

48.2

59.6

48.2

59.8

48.3

59.8

48.8

59.9

48.7

60.2

48.9

59.8

48.9

60.1

47.7

60.1

47.6

59.5

46.4

59.8

46.1

59.3

46.1

59.5

46.4

59.1

46.4

59.4

47.4

59.4

47.8

59.1

47.8

59.3

48.1

58.9

48.1

59.1

48

59.1

47.8

58.9

48.2

59.3

48.3

59.1

48.3

59.2

49

59.2

49.2

58.7

49.5

58.5

49.7

58.2

49.7

58

49.5

58

49.7

58.3

49.4

58.5

49.5

58.9

49.5

59.5

48.8

59

49.3

59.6

48.9

59.6

49.9

58.3

49.9

58.9

49.6

57.9

50.3

58.1

48.9

58.1

49.5

57.7

48

57.8

48.7

57.9

48.7

58.3

47.5

58.3

48

58.3

46.9

58.6

47

58.2

47

58.3

46.3

58.3

46.2

58

46.3

58.1

46.2

58.4

46.2

58.7

46.5

59

46.6

59.4

46.3

59.4

46.5

58.8

46.5

59.1

46.1

58.6

46.3

58.8

46

58.9

45.7

58.5

45.7

58.6

44.8

58.2

44.1

58.3

43.2

58.3

42.6

58.1

43.2

58.4

42.6

58

42.6

58

43.9

58

43.7

57.3

44.3

57.1

44.5

57

44.5

56.6

44.4

56.6

44.8

57.3

44.1

56.6

44.3

57.5

44.3

56.7

43.9

57.7

44.4

57.5

45.3

57.5

46.2

58.8

46.2

59.3

46.3

59.6

47.1

60.2

44.4

60.2

45.4

59

42.2

59.5

43

58.3

43

58.6

40

58.6

40.7

57.9

38.4

58.3

38.1

58

38.1

58.7

36.9

58.7

36.1

58.3

37.2

59

36.2

57.5

36.2

58.1

39.8

56.4

39.9

56.6

43.6

56.6

44.5

55.6

44.5

55.7

44.3

55.5

44.8

55.6

41.7

55.6

41.8

55.9

39.9

55.9

39.8

55.5

39.8

55.4

39.5

55.4

39.5

55.4

39.7

55.3

39.9

55.8

39.9

55.8

40.2

55.8

40.7

55.8

40.1

55.8

40.3

55.4

40.3

55.2

38.7

55.1

38.5

55.1

38

54.6

37.6

55.6

37.6

55.1

38.5

56.3

37.9

56.1

39.2

56.1

38.3

56.9

38.3

57.1

39.5

57.4

38.5

57.3

40.1

57.3

39.3

56.8

41.4

56.6

41.4

56.6

41.4

56.5

43.2

56.5

43.7

57.9

43.8

58.1

44.2

59.4

44.2

59.6

42.1

59.6

42.6

59.5

40.7

59.6

40.8

58.9

40.8

58.9

39.4

58.3

38.7

58.6

38.6

58.6

37.6

57.7

37.6

58

39.6

56.9

38

57.1

40.8

57.1

39.2

56.1

43.8

56.3

43.2

55.8

43.2

56

47.1

56

47.3

55.6

47.9

55.6

48.6

55

48.6

54.5

46.8

54.5

47.6

54.5

45

53.9

45.9

55.5

45.9

55.4

43.2

57.4

43.8

57.4

42.1

57.4

42.7

57.5

42.7

57.7

42.1

56.8

42.7

57

41.9

57

42.1

56

42.1

56.1

40.9

55.4

41.1

55.5

40.3

55.5

40.6

55

40.2

55.1

40.6

54.6

40.6

54.4

39.9

54.4

40.5

54.3

39.2

53.9

39.5

55

39.5

54.9

36.9

54.9

37.2

56.8

34.6

56.7

34.7

57.6

34.7

57.5

33

57.4

32.8

57.2

32.7

57.2

32.6

56.9

32.6

56.8

33.9

56.5

34

56.6

34.1

56.6

34.1

56.3

32.7

56.6

32.4

55.9

32.4

56.4

30.7

56.4

30.1

54.6

30.1

55.3

30.1

52.5

30.1

53.3

30.1

53.3

29.9

50.1

30.1

50.8

30.3

47.8

30.3

48.3

31.2

45.8

30.9

46.2

30.3

46.2

30

44.7

30

44.9

30

44.3

29.5

44.5

30.7

44.5

30.2

44.4

30.2

44.5

32

44.4

31.6

44.5

33

44.5

32.7

44.4

32.7

44.3

33.4

44.2

33

44

33.9

44

33.3

44.2

34.6

44.1

33.7

44.7

33.6

44.7

35.8

45.2

35

45.2

37.9

45.2

37.5

45.2

37.5

45.2

39.7

45.2

39.3

45.2

40.1

45

39.8

45.4

39.8

45.2

40

45.6

39.7

45.3

39.8

45.3

39.7

45.7

39.7

45.3

39.6

46.1

39.7

45.9

39.5

45.9

39.6

46.8

39.2

46.6

39.1

47

39.1

47

38.9

47

38.9

47.2

39.2

47.2

39.3

47.3

39.3

47.2

39.4

47.2

39.3

47.1

39.3

47.1

39.2

47

39.2

47

39.4

47.1

39.4

46.9

39.4

46.9

39.5

47

39.5

46.8

38.9

47.3

39

47.2

38.3

47.2

38.4

48

38.6

48

38.6

48.2

38.7

48.1

38.8

48.1

38.9

48.2

38.4

48.1

38.7

48.4

38.7

48.3

38.2

48.3

38.5

48.3

37.6

48.1

37.9

48.1

37.9

48.1

36.9

48.3

37.3

48.3

36.3

48.3

36.9

48.3

36.9

48

35.2

47.9

35.7

47.5

33.4

47.5

33.8

48.4

33.8

48.2

32.1

49.6

32.4

49.5

31.5

49.5

31.8

50.2

31.1

50

31.5

50

31.4

49.9

30.5

49.9

30.8

50.1

29.9

50.2

29.9

50.1

29.9

50.4

29.1

50.4

29.2

49.5

29.5

49.6

29.8

48.6

29.8

48.6

30.7

48.3

31

48.2

30.8

48.2

31

48.5

31

48.5

30.1

48.8

30.4

48.7

29.4

48.7

29.8

49

29.2

48.9

29.6

49

29.6

48.9

28.6

48.9

29

49

27.7

49

28.1

49.2

28.1

49.1

26.9

49.1

27

49.2

25.9

49

25.9

49.1

25.9

48.8

26

49.4

26

49.2

26.8

49.2

26.7

50.1

26.7

49.8

27.4

50.4

27.2

50.2

28

50.2

27.8

50.5

27.8

50.3

28.9

50.5

28.8

50.1

29.8

50.1

29.9

50.3

30.7

50.1

30.8

50.7

30.8

50.6

30.8

50.6

30.8

51.2

30.3

51.1

30.4

51.3

30.4

51.1

30.3

51.1

30.6

51.1

30.4

50.9

30.4

51.2

30.4

50.9

30

51.5

30.1

51.2

29.4

51.2

29.6

51.8

29.6

51.5

29.1

51.9

29.3

51.7

29.1

51.7

29.4

52.1

28.9

52

29.4

52.4

29.3

52.3

27.5

52.3

28

52.5

25.7

52.4

26.1

52.4

26.1

52.3

24.4

52.3

24.8

52.4

23.9

52.2

24.5

52.4

24.5

52.2

23.4

52.6

24.1

52.4

23.2

52.4

24

52.8

24

52.6

23.1

53

23.6

53

22.6

53

23.2

53.2

22.4

53.2

23

53.2

23

53.2

22.5

53.2

23

53.1

22.6

53.1

23

53

23

53

22.2

53

22.6

52.9

22.1

52.9

22.6

52.6

22.6

52.7

22.3

52.6

22.7

52.6

21.9

52.6

22.3

52.5

22.3

52.4

21

52.5

21.3

52.4

20.6

52.4

20.8

52.8

20.8

52.7

20

53.2

20.4

53.1

20.2

53.1

20.6

53.5

20.3

53.4

20.8

53.9

20.8

53.9

20.2

53.9

20.8

54.2

19.7

54.2

20.2

54.2

20.2

54.1

19.4

54.1

19.8

54.2

20.1

54.2

20.5

54.6

20.5

54.6

20.9

54.7

21.3

54.8

20.4

54.8

20.7

54.5

20.7

54.5

19.3

54.1

19.8

54.2

19

54.2

19.3

53.8

18

53.9

18.3

53.8

18.3

53.8

16.4

53.8

16.7

53.7

16

53.7

16.2

53.5

16.2

53.4

16

53.4

16.1

53.5

16.1

53.5

16.2

53.7

16.2

53.7

16

53.8

16.3

53.8

16.1

53.8

16.3

53.8

16.3

53.8

16.5

53.7

16.7

53.8

16.3

53.8

16.8

53.7

16.8

53.8

16.6

53.6

17

53.7

16.7

53.7

16.8

53.6

16.4

53.8

16.7

53.5

16.7

53.7

16.3

53.7

16.7

53.2

15.4

53.2

15.8

52.7

15.8

52.7

15

52.6

15.5

52.6

15.3

52.5

15.7

52.6

15.7

52.5

14.6

52.9

15.1

52.9

14

52.9

14.9

53.3

14.9

53.2

14.7

53.2

15.2

53.3

14.8

53.3

15.2

53.2

14.6

53.3

15.7

53.1

15.7

53.2

14.6

53.2

15.8

53.3

14.2

53.3

14.5

53.1

14.5

53.1

13

53.1

13.3

52.9

13.5

52.9

14.5

52.9

14.5

52.9

14.7

52.8

16

52.8

14.9

52.8

16.1

52.7

16.1

52.8

14.3

52.8

15.6

52.9

13.9

52.9

14.8

52.9

13.3

52.9

13.8

52.7

13.8

52.7

12.9

52.7

13.6

52.7

13.4

52.8

13.9

52.9

13.9

53

13.5

53

14

52.8

13.4

52.8

13.4

52.7

13.4

52.8

13

53

12.7

53.1

12.8

53.1

12.5

53.1

12.5

53.2

13.8

52.9

14.2

53

14.8

53

14.8

52.5

15.8

52.7

14

52.2

15.6

52.4

13.3

52.4

14.7

52

11.9

52.2

13.5

52

13.5

52.1

10.7

52.1

12.7

51.7

9.9

51.8

11.3

51.4

11.3

51.5

8.2

51.5

9

51.4

9

51.6

7.4

51.4

7.4

51.6

7.4

51.2

8.3

51.4

9.3

51.4

10.3

51

10.3

51.2

9.4

50.6

8.8

50.9

6.4

50.9

4.8

50.4

6.9

50.7

5.9

50.3

5.9

50.6

10.4

50.6

10.5

50.2

10.5

50.4

12.5

49.8

12.5

50

11.3

50

11.5

49.7

11

50.8

12.1

50.7

12.1

51.2

11.6

48.6

12.5

49.3

10.5

49.3

11.4

48.1

11.4

49.7

10.4

48.7

12.5

47.6

11.2

47.6

17.1

43

13

41.1

13

44.5

20.1

43.3

10.7

43.3

15.6

48.9

4.1

48.6

7.2

50.3

7.2

50.2

1.6

50.2

4.2

50.5

1.2

50.4

2.4

50.4

2.4

50.5

0

50.3

0.9

50.6

0

50.6

0

50.6

0

50.7

0

50.5

0

50.7

0

50.7

0

50.5

0

51.7

0

51.3

0

53.6

0

53.6

0

50.9

1

51.1

0.6

44.7

0.6

43.2

1.6

43.2

0

42.8

0

42.2

0

47.4

0

47.1

0

47.1

1.4

48.9

6.9

48.8

6.4

49.1

6.4

49.2

7.6

49.1

7.4

49.3

7.4

49.3

6.6

49.2

6.6

49.3

6.6

49.1

6.3

49.3

5.6

49.3

5.6

49.2

4.8

49.3

5.4

49

5.4

49.3

5.4

49.3

5.4

48.9

5.4

49.2

5.4

48.7

5.4

49.1

5.4

49.1

5.4

48.5

5.3

48.9

5.3

48.1

5.8

48.4

5.9

47.5

5.9

47.8

5.5

47.8

5.9

47.1

5.9

48.7

5.2

48.1

5.4

49.6

5.4

49.6

5.2

46.6

5.2

46.1

5.2

42.5

4.1

41.3

3.7

41.3

3.7

43.1

3.9

42.7

4

46

4

45.8

4.8

45.8

5.3

46.8

5.3

46.8

5.1

46.8

5.1

46.9

5.1

46.9

3.9

46.9

3.4

46.9

3.4

46.9

3.9

47.1

3.9

47.1

3

46.4

3.5

46.7

3.5

46

3.5

47

3.1

46.5

3.5

48.1

3.5

48.1

2.9

45.8

2.9

47.2

2.9

43.6

3.7

44.8

4.1

44.8

4.1

42

3.7

43.6

4.1

42.3

4.1

43.4

4.1

43.4

2.8

41

3.1

41.1

2.5

38.6

2.5

37.4

2.5

37.4

2.2

38

1.3

36.9

1.3

40

1.5

39.5

2

41.8

2

41.6

2.2

41.6

2.2

42.4

2.2

42.5

2.7

42.1

2.6

42.8

2.6

42.8

3

42.1

2.9

42.6

3.3

41.5

3.1

42.3

3.6

42.3

3.6

41.5

2.8

42.2

2.8

41.2

1.7

42.1

3.9

42.1

3.9

40.8

3.1

41.6

7.6

40.1

7.3

40.7

7.3

39.8

8.7

39.7

7.5

40.1

7.5

39.4

7.6

39.9

7.6

39.9

7.6

40.5

8

40.5

8.1

39.7

8.1

40.3

6.9

39.1

7.4

39.4

7.4

39.4

6.2

38.5

4.9

38.9

4.9

38.5

5.3

38.9

5.2

38.9

4.8

38.6

5

38.9

5

38.6

5.1

38.7

5.1

38.7

5

38.7

5.3

38.8

4.5

38.6

4.8

38.7

4.8

38.6

5.1

38.8

4.7

38.8

4.7

38.8

5.1

39

5.1

38.8

3.9

39

3.4

39

3.5

38.8

3.5

39

3

38.9

3.1

39.1

3.1

39.1

4

38.9

5.3

39.1

5.3

39

5.3

39.1

5.3

39.1

5.2

39.1

5.5

39.2

4.2

39.1

4.5

39.3

2.3

39.2

2.7

39.4

2.7

39.3

3.2

39.2

3.2

39.3

3.2

39.1

3.7

39.2

4

39.2

4

39.2

4

39.3

4

39.4

3

39.5

3

39.5

3.1

39.3

1.9

39.2

3.6

39.1

3.5

39.2

3.5

39.2

7.7

39.4

9.4

39.5

9.4

39.7

9.1

39.7

9.1

39.7

9.1

39.7

8.6

39.7

8.6

39.8

8.7

39.8

8.8

39.8

8.8

39.8

8.2

39.8

8.3

39.7

8.3

39.6

8.3

39.6

6.8

39.7

5.7

39.7

5.7

39.7

5.8

39.8

5.4

39.8

5.6

39.8

5.6

39.8

6.4

39.9

6.4

39.9

6.9

40

7.1

40.1

7.1

40.1

7.5

40

6.7

40

6.7

40

7.1

40

7.1

39.9

6.7

40

6.2

40

6.2

40

6.4

40.1

6

40.1

5.9

40.2

5.9

40.2

6.3

40

6.2

40.1

5.7

39.9

5.5

40

5.5

40

6

40

5.4

40.1

5.8

39.8

5.1

39.8

5.1

39.8

6.4

39.7

6.1

39.8

7.7

39.9

7.7

39.9

7.7

39.8

7.8

39.8

7.8

39.8

6.5

39.6

6.8

39.6

6.8

39.6

6

39.6

6.3

39.6

6.5

39.6

6.5

39.6

5.2

39.3

6.1

39.4

6.1

39.4

4.9

39.2

4.9

39.2

2.7

39.4

2.9

39.4

2.9

39.4

1.9

39.6

2.4

39.7

1.5

39.6

2.1

39.6

2.1

39.6

0.6

39.5

1.4

39.5

0.4

39.4

0.4

39.3

0.4

39.4

0

39.5

0

39.4

0

39.9

0

39.9

0

39.9

0

39.9

0

39.9

0

39.7

0

39.7

0

39.7

0

39.8

0

39.8

0

39.8

0

39.8

0

39.7

0

39.6

0

39.6

0

39.6

0

39.5

0

40

0

39.9

0

40.5

0

40.5

0

40.4

0

40.4

0

40.5

0

40.4

0

40.4

0

40.4

0

40.5

0

40.5

0

40.6

0

40.7

0

40.7

0

40.6

0

40.5

0

40.4

0

40.4

0

40.4

1.4

40.4

1.3

40.4

0

40.4

0

40.4

0

40.4

0

40.2

0

40.2

0

40.1

0

40

0

40.1

0

40.1

0

40.1

0

40.1

0

40.1

0

40.1

0

40.2

0

40.2

0

40.2

0

40.3

0

40.2

0

40.2

0

40.2

0

40.2

0

40.3

0

40.3

0

40.3

0

40.3

0

40.2

0

40.3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



c

a.e., prop=0

a.e.,B=0,co-fire

time,s

Air excess,%

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

318.9

0

318.9

892.2

318.9

892.2

88.7

187.7

88.7

187.7

50.6

187.7

50.6

75.5

50.6

75.5

41.4

48.9

41.4

48.9

38.2

48.9

38.2

41.7

36.8

41.7

36.8

39.5

36.8

39.5

36

39.5

36

38.3

35.5

38.3

35.5

37.2

35.5

37.2

35

36.4

35

36.4

34.5

36.4

34.5

35.9

34.5

35.9

34

35.2

34

35.2

33.6

35.2

33.6

34.4

33.6

34.4

33.4

33.9

33.4

33.9

33.4

33.9

33.4

33.6

33.2

33.6

33.2

33.6

33.2

33.6

32.9

33.6

32.9

33.1

32.5

33.1

32.5

32.6

32.5

32.6

31.8

32.6

31.8

32.3

31.5

32.3

31.5

31.7

31.5

31.7

31.7

30.8

31.7

30.8

31.4

30.8

31.4

30.3

31.4

30.3

30.8

30.1

30.8

30.1

30.6

30.1

30.6

30

30.6

30

28.7

30

28.7

30

46

30

46

30.1

113.1

30.1

113.1

44.1

113.1

44.1

235.1

44.1

235.1

103

343.7

103

343.7

222.1

343.7

222.1

380

332.3

380

332.3

382.4

332.3

382.4

391.6

382.4

391.6

374.7

413.4

374.7

413.4

365.1

413.4

365.1

425

365.1

425

355.9

432.4

355.9

432.4

345.7

432.4

345.7

437.2

336

437.2

336

438.1

336

438.1

324.8

438.1

324.8

440

310.8

440

310.8

443

310.8

443

293.5

442

293.5

442

276.1

442

276.1

441

276.1

441

256.7

439

256.7

439

234.3

439

234.3

434.3

234.3

434.3

212.2

431.4

212.2

431.4

187.7

431.4

187.7

431.4

164.1

431.4

164.1

432.3

164.1

432.3

144.8

432.3

144.8

434.2

130.8

434.2

130.8

436.1

130.8

436.1

123.3

436.1

123.3

437.1

120.4

437.1

120.4

439

120.4

439

114.2

438

114.2

438

101.1

438

101.1

433.2

101.1

433.2

88.4

425.8

88.4

425.8

82.9

425.8

82.9

415

82.9

415

82.4

402.1

82.4

402.1

80.7

402.1

80.7

385.9

77.3

385.9

77.3

371.4

77.3

371.4

74.4

371.4

74.4

362.7

73

362.7

73

355

73

355

72.3

339.1

72.3

339.1

72.2

339.1

72.2

308.6

72.2

308.6

72

268.9

72

268.9

71.7

268.9

71.7

234.7

71.7

234.7

72.2

212.9

72.2

212.9

72.6

212.9

72.6

199.7

72.1

199.7

72.1

189.3

72.1

189.3

71.4

189.3

71.4

177.4

70.9

177.4

70.9

164.1

70.9

164.1

70.7

150.3

70.7

150.3

71.2

150.3

71.2

137.1

71.2

137.1

73.7

126.8

73.7

126.8

75.6

126.8

75.6

116.5

75.6

116.5

75.9

103.5

75.9

103.5

76.1

103.5

76.1

89.6

76.1

89.6

74.5

76

74.5

76

73.1

76

73.1

65.9

73.7

65.9

73.7

62.5

73.7

62.5

75.5

62.5

75.5

64

77.1

64

77.1

67

77.1

67

78.8

69.4

78.8

69.4

80

69.4

80

70.2

80

70.2

81

70.5

81

70.5

80.5

70.5

80.5

72

80.5

72

78

72.4

78

72.4

77

72.4

77

71.2

76.7

71.2

76.7

70.2

76.7

70.2

76

70.2

76

68.7

75.3

68.7

75.3

65.8

75.3

65.8

74.7

62.7

74.7

62.7

74.2

62.7

74.2

59.8

74.2

59.8

74.3

57.5

74.3

57.5

75.6

57.5

75.6

55.8

75.6

55.8

77.3

55.7

77.3

55.7

77.7

55.7

77.7

56.8

77

56.8

77

58.6

77

58.6

76.5

58.6

76.5

59.6

78.3

59.6

78.3

65.3

78.3

65.3

79.5

65.3

79.5

85.7

78.9

85.7

78.9

112.3

78.9

112.3

79.7

128.5

79.7

128.5

80.1

128.5

80.1

135.6

80.1

135.6

79.9

140.5

79.9

140.5

80.3

140.5

80.3

147.3

80.3

147.3

81.5

153.5

81.5

153.5

82.5

153.5

82.5

146.1

82.7

146.1

82.7

128.7

82.7

128.7

81.6

128.7

81.6

118.7

80.2

118.7

80.2

118.2

80.2

118.2

79

119.5

79

119.5

77.4

119.5

77.4

117.2

77.4

117.2

76.5

112.9

76.5

112.9

77.2

112.9

77.2

110.3

77.2

110.3

78.6

107

78.6

107

79.2

107

79.2

94.2

79

94.2

79

81.2

79

81.2

76.3

81.2

76.3

78.5

73.2

78.5

73.2

79.7

73.2

79.7

72.3

78.6

72.3

78.6

71.8

78.6

71.8

76.9

71.8

76.9

70.9

74.7

70.9

74.7

70.9

74.7

70.9

75.3

70.9

75.3

72.6

79.1

72.6

79.1

74.9

79.1

74.9

83.7

77.5

83.7

77.5

89.9

77.5

89.9

79.4

89.9

79.4

94.9

80

94.9

80

95.8

80

95.8

79.9

95.8

79.9

93.6

80.9

93.6

80.9

90.7

80.9

90.7

82.8

91.2

82.8

91.2

83.6

91.2

83.6

90.3

83.6

90.3

83.6

86.6

83.6

86.6

84.5

86.6

84.5

88.1

84.5

88.1

85.4

91.1

85.4

91.1

85.1

91.1

85.1

91.3

85

91.3

85

91

85

91

85

91

85

91.7

85.2

91.7

85.2

92.6

85.2

92.6

84.7

93.5

84.7

93.5

83.7

93.5

83.7

95

83.7

95

83.3

92.7

83.3

92.7

82.1

92.7

82.1

89

82.1

89

80.3

87.1

80.3

87.1

78.2

87.1

78.2

85.5

74.9

85.5

74.9

87.7

74.9

87.7

71.2

87.7

71.2

91.6

69.5

91.6

69.5

92.2

69.5

92.2

69.9

93.8

69.9

93.8

70.4

93.8

70.4

97.1

70.4

97.1

70.7

100.4

70.7

100.4

70.3

100.4

70.3

104.6

70.3

104.6

67.7

107.6

67.7

107.6

65.2

107.6

65.2

108.9

65.2

108.9

63.9

108.9

63.9

108.9

63.1

108.9

63.1

108.9

63.2

108.9

63.2

108.9

63.2

108.9

64.6

108.9

64.6

113.1

65.9

113.1

65.9

117.5

65.9

117.5

66

117.5

66

116.6

65.8

116.6

65.8

113.9

65.8

113.9

66.8

111.6

66.8

111.6

67.7

111.6

67.7

110.8

67.7

110.8

67.9

110.4

67.9

110.4

67.5

110.4

67.5

110.4

66.2

110.4

66.2

111.1

66.2

111.1

64.8

111.1

64.8

112.2

64

112.2

64

111.9

64

111.9

63.4

111.9

63.4

110.1

63.4

110.1

63.4

108.6

63.4

108.6

63.4

108.6

63.4

108.5

60.5

108.5

60.5

107

60.5

107

58.8

101.6

58.8

101.6

59.3

101.6

59.3

100.4

59.3

100.4

59.5

105.8

59.5

105.8

59.6

105.8

59.6

111.3

59.6

111.3

59.9

113.7

59.9

113.7

60.2

113.7

60.2

112.7

59.6

112.7

59.6

110.1

59.6

110.1

58.3

110.1

58.3

108.3

57.3

108.3

57.3

108.6

57.3

108.6

57.1

109.2

57.1

109.2

57.3

109.2

57.3

107.6

57.3

107.6

56.8

105

56.8

105

56

105

56

103.3

56

103.3

56.4

101.1

56.4

101.1

57.5

101.1

57.5

99

58.3

99

58.3

97.8

58.3

97.8

58.4

97.8

58.4

97.3

58.4

97.3

58.4

97.8

58.4

97.8

58.9

99.4

58.9

99.4

59.2

99.4

59.2

101.5

59.2

101.5

59.4

102.7

59.4

102.7

59

102.7

59

101.8

59

101.8

58.4

100.7

58.4

100.7

58.2

100.7

58.2

99.2

57.1

99.2

57.1

97.8

57.1

97.8

55.5

97.8

55.5

98.9

54.6

98.9

54.6

100.4

54.6

100.4

54

100.4

54

101.9

52.8

101.9

52.8

102.9

52.8

102.9

52.3

102.6

52.3

102.6

53.2

102.6

53.2

102.2

53.2

102.2

54.9

102.4

54.9

102.4

56

102.4

56

104.5

56

104.5

56.8

107.3

56.8

107.3

56.8

107.3

56.8

108.7

56.4

108.7

56.4

110.2

56.4

110.2

56.5

110.2

56.5

111.3

56.8

111.3

56.8

111.4

56.8

111.4

57

111.4

57

111.4

56.6

111.4

56.6

111.9

56.6

111.9

56

111.3

56

111.3

54.9

111.3

54.9

108.6

54.9

108.6

53.9

104.8

53.9

104.8

53.5

104.8

53.5

101.6

53.2

101.6

53.2

100

53.2

100

53.2

100

53.2

100

53.3

100

53.3

101

53.3

101

52.5

101.6

52.5

101.6

50.8

101.6

50.8

101.6

50.8

101.6

49.3

101.6

49.3

101.6

48.3

101.6

48.3

102.4

48.3

102.4

47.7

103.5

47.7

103.5

47.6

103.5

47.6

104.4

47.6

104.4

47.3

105.7

47.3

105.7

47

105.7

47

107.1

47.5

107.1

47.5

108.9

47.5

108.9

48.3

108.9

48.3

109.2

48.8

109.2

48.8

105.8

48.8

105.8

48.8

101.7

48.8

101.7

48.8

101.7

48.8

99.4

48.8

99.4

49.2

97.5

49.2

97.5

50.1

97.5

50.1

93.7

50.1

93.7

50.5

88.7

50.5

88.7

49.8

88.7

49.8

83.3

48.9

83.3

48.9

79.5

48.9

79.5

49.3

79.5

49.3

79.2

50.4

79.2

50.4

77

50.4

77

50.9

73.2

50.9

73.2

50.8

73.2

50.8

71.8

50.8

71.8

50.4

72.8

50.4

72.8

50.2

72.8

50.2

74.3

50.2

74.3

50.3

75.2

50.3

75.2

50

75.2

50

76.5

49.6

76.5

49.6

78.9

49.6

78.9

49.2

78.9

49.2

80.8

49.2

80.8

49.2

80.7

49.2

80.7

49.2

80.7

49.2

79.8

48.9

79.8

48.9

79.1

48.9

79.1

49.4

78.6

49.4

78.6

50.5

78.6

50.5

78.9

50.5

78.9

50.7

79.5

50.7

79.5

50.7

79.5

50.7

79.4

50.7

79.4

50.9

79.4

50.9

79.4

50.5

79.4

50.5

80.6

50.1

80.6

50.1

82.6

50.1

82.6

49.8

82.6

49.8

82.5

49.5

82.5

49.5

79.9

49.5

79.9

49.5

77.5

49.5

77.5

49.5

77.5

49.5

77

49.5

77

50.1

77.8

50.1

77.8

50.4

77.8

50.4

78.9

50.4

78.9

50.3

80.3

50.3

80.3

50

80.3

50

80

49.4

80

49.4

79.3

49.4

79.3

49

79.3

49

78.8

48.7

78.8

48.7

78.3

48.7

78.3

48.2

77.7

48.2

77.7

47.6

77.7

47.6

75.1

47.6

75.1

46.8

70.9

46.8

70.9

46.2

70.9

46.2

67.9

46.2

67.9

46.2

67

46.2

67

45.7

67

45.7

68.3

44.4

68.3

44.4

70.5

44.4

70.5

43.7

70.5

43.7

73

43.5

73

43.5

74.6

43.5

74.6

43.4

74.6

43.4

75.5

43.1

75.5

43.1

76.7

43.1

76.7

42.7

77.9

42.7

77.9

42.2

77.9

42.2

79.2

42.2

79.2

42.2

80.9

42.2

80.9

42.4

80.9

42.4

82.6

42.4

82.6

42.7

82.6

42.7

82.6

43

82.6

43

82.3

43.6

82.3

43.6

83.4

43.6

83.4

44.6

83.4

44.6

83.8

45.1

83.8

45.1

82.8

45.1

82.8

45

82.3

45

82.3

45.1

82.3

45.1

82.9

45.1

82.9

45.1

84.9

45.1

84.9

44.8

84.9

44.8

85.8

44.8

85.8

44.4

85.6

44.4

85.6

44.2

85.6

44.2

84.9

44

84.9

44

84.5

44

84.5

43.3

84.5

43.3

84.1

43.1

84.1

43.1

84.3

43.1

84.3

43.5

84.3

43.5

84.6

43.3

84.6

43.3

83.4

43.3

83.4

43.3

81.8

43.3

81.8

43

81.8

43

81.5

43

81.5

42.3

79.9

42.3

79.9

41.6

79.9

41.6

77

41.6

77

41.3

74.7

41.3

74.7

40.8

74.7

40.8

71.7

40.1

71.7

40.1

67.3

40.1

67.3

40.1

67.3

40.1

62.3

40.2

62.3

40.2

59

40.2

59

40.2

57.7

40.2

57.7

40.6

57.7

40.6

57.1

40.6

57.1

40.8

57.9

40.8

57.9

40.7

57.9

40.7

60.8

40.7

60.8

40.4

64.1

40.4

64.1

40

64.1

40

66

40

66

40

67.3

40

67.3

40.4

67.3

40.4

68.3

40.4

68.3

40.4

67.4

40.4

67.4

40.4

65.3

40.4

65.3

40.3

65.3

40.3

64

40.3

64

40.6

61.3

40.6

61.3

40.8

61.3

40.8

58

40.8

58

40.9

56.3

40.9

56.3

41.2

56.3

41.2

55.3

41.7

55.3

41.7

55.4

41.7

55.4

42.6

55.4

42.6

55.4

43.1

55.4

43.1

55.7

43.1

55.7

43.3

55.7

43.3

56.3

43.3

56.3

43.3

56.5

43.3

56.5

43.6

56.5

43.6

56.5

44.1

56.5

44.1

56.3

44.1

56.3

44.1

57.3

44.1

57.3

43.6

57.3

43.6

60.8

43.6

60.8

43.3

60.8

43.3

60.8

43.3

60.8

43.3

60.8

43.1

60.8

43.1

64

43.1

64

42.6

64

42.6

63.9

42.4

63.9

42.4

64.6

42.4

64.6

42.4

64.6

42.4

66.7

42.3

66.7

42.3

70.2

42.3

70.2

42.2

75.3

42.2

75.3

42.7

75.3

42.7

79

42.7

79

43.2

80.8

43.2

80.8

43.2

80.8

43.2

80.1

43.3

80.1

43.3

78.2

43.3

78.2

43.8

78.2

43.8

76.3

44.1

76.3

44.1

75.8

44.1

75.8

44.1

75.8

44.1

76.5

44.1

76.5

44.1

77.4

44.1

77.4

44

77.4

44

78.1

43.7

78.1

43.7

76.2

43.7

76.2

44.1

72.5

44.1

72.5

44.3

72.5

44.3

72.1

44.3

72.1

43.8

74.5

43.8

74.5

43.6

74.5

43.6

76.8

43.6

76.8

43.9

76.3

43.9

76.3

44.2

76.3

44.2

74.2

44.3

74.2

44.3

70.4

44.3

70.4

44.3

70.4

44.3

65.8

43.7

65.8

43.7

63.7

43.7

63.7

42.9

62.6

42.9

62.6

43.2

62.6

43.2

59.3

43.2

59.3

44.8

56.8

44.8

56.8

47

56.8

47

56.9

47

56.9

48.2

56.6

48.2

56.6

48.8

56.6

48.8

54.9

49.2

54.9

49.2

53.6

49.2

53.6

49.6

53.6

49.6

54.2

50.3

54.2

50.3

55.3

50.3

55.3

50.7

55.3

50.7

55.3

50.3

55.3

50.3

54.4

50.3

54.4

49.8

54

49.8

54

49.8

54

49.8

54.4

49.8

54.4

49.6

53.2

49.6

53.2

49.3

53.2

49.3

53.2

49.3

53.2

50.3

55.3

50.3

55.3

52.4

55.3

52.4

55.5

54.4

55.5

54.4

53.6

54.4

53.6

54.7

53.6

54.7

52.8

54

52.8

54

53.3

54

53.3

54.4

55.3

54.4

55.3

55

55.3

55

57.3

55

57.3

54.9

60.2

54.9

60.2

55.3

60.2

55.3

63.7

55.3

63.7

55.8

65.6

55.8

65.6

57

65.6

57

66.3

58.2

66.3

58.2

67.9

58.2

67.9

58.7

67.9

58.7

71

59.2

71

59.2

72.8

59.2

72.8

59.5

72.9

59.5

72.9

59.6

72.9

59.6

72.5

59.6

72.5

58.9

71.7

58.9

71.7

57.7

71.7

57.7

70.8

57.7

70.8

56.8

70.8

56.8

70.8

56.8

70.8

56.8

71

57.2

71

57.2

69.9

57.2

69.9

56.9

69.9

56.9

68

55.7

68

55.7

65.5

55.7

65.5

53.5

65.5

53.5

63.5

51.9

63.5

51.9

63.8

51.9

63.8

51.7

64.8

51.7

64.8

52.2

64.8

52.2

64.7

52.2

64.7

53.2

65.1

53.2

65.1

53.5

65.1

53.5

65.9

53.5

65.9

54

65.5

54

65.5

55.1

65.5

55.1

65.1

55.8

65.1

55.8

65.2

55.8

65.2

57.2

65.2

57.2

65.4

58.7

65.4

58.7

67.4

58.7

67.4

59.7

71.2

59.7

71.2

59.9

71.2

59.9

73.4

59.9

73.4

59.4

73.5

59.4

73.5

58.4

73.5

58.4

72.8

58.4

72.8

57.3

71.4

57.3

71.4

56.9

71.4

56.9

71.7

57.3

71.7

57.3

72.5

57.3

72.5

57.1

72.5

57.1

71.5

57.2

71.5

57.2

71.4

57.2

71.4

57.5

72.8

57.5

72.8

57.5

72.8

57.5

73.7

57.5

73.7

57.8

74.4

57.8

74.4

58

74.4

58

73.5

58

73.5

57.9

71.5

57.9

71.5

58.2

71.5

58.2

71

59

71

59

70.5

59

70.5

59.2

70.5

59.2

67

58.8

67

58.8

63

58.8

63

58.3

63

58.3

61.3

58.1

61.3

58.1

60.1

58.1

60.1

58.3

61.1

58.3

61.1

57.6

61.1

57.6

63.8

57.6

63.8

57.1

65

57.1

65

57.2

65

57.2

65.4

57.2

65.4

56.8

64.8

56.8

64.8

56.8

64.8

56.8

64.9

56.9

64.9

56.9

65.7

56.9

65.7

56.8

65.7

56.8

65.9

56.6

65.9

56.6

65.1

56.6

65.1

55.2

64

55.2

64

53.5

64

53.5

64.8

53.5

64.8

53

66.2

53

66.2

53

66.2

53

66.5

53

66.5

51.9

67.1

51.9

67.1

50.9

67.1

50.9

66.6

50.8

66.6

50.8

64.3

50.8

64.3

50.2

64.3

50.2

59.6

48.5

59.6

48.5

53.4

48.5

53.4

47.6

53.4

47.6

50.7

47.3

50.7

47.3

50.9

47.3

50.9

46.4

51.9

46.4

51.9

45.4

51.9

45.4

52.2

45.4

52.2

44.5

51.4

44.5

51.4

44.4

51.4

44.4

50.6

44.4

50.6

44.2

50.5

44.2

50.5

43.6

50.5

43.6

51.5

42.8

51.5

42.8

51.3

42.8

51.3

43.3

51.3

43.3

49.9

44.6

49.9

44.6

48.3

44.6

48.3

45

46.6

45

46.6

44.8

46.6

44.8

45.2

44.8

45.2

43.9

45.2

43.9

45.2

43.1

45.2

43.1

46.2

43.1

46.2

42

45.5

42

45.5

40.3

45.5

40.3

44.2

38.5

44.2

38.5

45

38.5

45

37.6

45

37.6

47.4

38.2

47.4

38.2

49.6

38.2

49.6

39.4

51.1

39.4

51.1

40.3

51.1

40.3

52

40.3

52

39.5

53.3

39.5

53.3

38.2

53.3

38.2

54.5

38.2

54.5

38

56.9

38

56.9

39.1

56.9

39.1

58

40.6

58

40.6

56.2

40.6

56.2

41.2

56.2

41.2

54.7

40.4

54.7

40.4

52.3

40.4

52.3

38.9

52.3

38.9

50.2

36.7

50.2

36.7

50.7

36.7

50.7

35.7

52

35.7

52

36.1

52

36.1

52.4

36.1

52.4

35.5

53

35.5

53

35

53

35

52.3

35

52.3

36.7

47.5

36.7

47.5

39.5

47.5

39.5

41.9

41

41.9

41

38.1

41

38.1

41.9

38.1

41.9

37.3

42.9

37.3

42.9

41.4

42.9

41.4

42.6

46.3

42.6

46.3

41.2

46.3

41.2

47.5

41.2

47.5

40.4

46.1

40.4

46.1

38.9

46.1

38.9

44.1

38.9

44.1

38.3

43.2

38.3

43.2

39

43.2

39

41.9

37.6

41.9

37.6

40.2

37.6

40.2

35.8

40.2

35.8

45.2

35.8

45.2

35.8

54.7

35.8

54.7

35.9

59.1

35.9

59.1

35

59.1

35

59.4

35

59.4

34.8

58.6

34.8

58.6

36.3

58.6

36.3

57.9

36.3

57.9

37.4

57.8

37.4

57.8

38.2

57.8

38.2

59.2

39.1

59.2

39.1

59.8

39.1

59.8

39.6

59.8

39.6

59

40.2

59

40.2

57.4

40.2

57.4

40.1

57.4

40.1

54.9

39.6

54.9

39.6

53.1

39.6

53.1

39.2

53.5

39.2

53.5

38.7

53.5

38.7

54.6

38.7

54.6

38.1

54.8

38.1

54.8

36.3

54.8

36.3

54.8

36.3

54.8

34.6

54.8

34.6

54.8

34.2

54.8

34.2

53.9

35.3

53.9

35.3

53.6

35.3

53.6

36.9

53.6

36.9

54.6

38.4

54.6

38.4

55.7

38.4

55.7

39.2

55.7

39.2

55.5

39.6

55.5

39.6

57.1

39.6

57.1

40.4

57.1

40.4

62.3

41.6

62.3

41.6

66.7

41.6

66.7

42.3

69.2

42.3

69.2

42.9

69.2

42.9

70.3

43

70.3

43

70.9

43

70.9

42.2

70.9

42.2

70.8

42.2

70.8

42.2

71

42.2

71

42.2

71

42.2

73

41.8

73

41.8

74.2

41.8

74.2

42.3

74.2

42.3

73.7

42.5

73.7

42.5

72.7

42.5

72.7

42.1

72.3

42.1

72.3

41.9

72.3

41.9

74

41.9

74

42.4

75.6

42.4

75.6

43.3

75.6

43.3

74.6

43.3

74.6

44.1

70.3

44.1

70.3

44.4

70.3

44.4

66.2

44.6

66.2

44.6

63.8

44.6

63.8

45

63.8

45

60.2

45.2

60.2

45.2

56.9

45.2

56.9

45.1

51.3

45.1

51.3

45.3

51.3

45.3

40.8

45.3

40.8

46

33.4

46

33.4

46.9

33.4

46.9

33.7

46.9

33.7

47.5

38.3

47.5

38.3

47.6

38.3

47.6

44.7

47.9

44.7

47.9

52.4

47.9

52.4

48

52.4

48

60.8

47.8

60.8

47.8

68.3

47.8

68.3

48

68.3

48

72.9

49

72.9

49

70.7

49

70.7

49.8

69.7

49.8

69.7

50.2

69.7

50.2

76.8

50.2

76.8

51

85.4

51

85.4

51.2

85.4

51.2

91.3

51.2

91.3

50.8

95.5

50.8

95.5

50.8

95.5

50.8

100.4

50.7

100.4

50.7

106.7

50.7

106.7

50.4

106.7

50.4

110.8

50.4

110.8

50.4

112.5

50.4

112.5

49.7

114.2

49.7

114.2

48.9

114.2

48.9

114.8

48.9

114.8

48.2

115.4

48.2

115.4

47.6

115.4

47.6

118.4

47.6

118.4

47.5

122.3

47.5

122.3

47.2

122.3

47.2

129.9

46.5

129.9

46.5

140

46.5

140

46.4

140

46.4

145.9

46.4

145.9

46.4

148

46.4

148

45.9

148.6

45.9

148.6

46

148.6

46

152

46

152

45.9

156.5

45.9

156.5

46

156.5

46

157.4

46

157.4

46.6

154.8

46.6

154.8

47.6

154.8

47.6

151.1

49.5

151.1

49.5

149

49.5

149

50.6

149

50.6

148

50.5

148

50.5

148.8

50.5

148.8

51.2

148.8

51.2

149.4

52.8

149.4

52.8

144.3

52.8

144.3

53.2

136

53.2

136

51.8

136

51.8

127.8

51.8

127.8

50.4

123.5

50.4

123.5

50

123.5

50

122.3

50

122.3

50.5

122

50.5

122

51.1

122

51.1

123.7

51.5

123.7

51.5

124

51.5

124

51.8

124

51.8

122.7

52.7

122.7

52.7

118.1

52.7

118.1

54.3

122.2

54.3

122.2

56.6

122.2

56.6

140

56.6

140

58.7

153.5

58.7

153.5

59.1

153.5

59.1

157.6

59.1

157.6

57.2

160.6

57.2

160.6

54.2

160.6

54.2

166.4

53.7

166.4

53.7

172.3

53.7

172.3

57.1

172.3

57.1

172

61.9

172

61.9

169.5

61.9

169.5

65.4

169.5

65.4

171.8

68.1

171.8

68.1

173.2

68.1

173.2

70.3

172.8

70.3

172.8

70.5

172.8

70.5

172.3

70.5

172.3

69.9

172.7

69.9

172.7

71.5

172.7

71.5

179.1

71.5

179.1

74.1

185.5

74.1

185.5

76.3

185.5

76.3

184.2

77.8

184.2

77.8

179.1

77.8

179.1

78.9

179.1

78.9

177.3

80.6

177.3

80.6

177.6

80.6

177.6

81.6

175.5

81.6

175.5

82.4

175.5

82.4

172

82.4

172

84.8

170.5

84.8

170.5

86.3

170.5

86.3

171.5

86.3

171.5

84.9

173.2

84.9

173.2

82.9

173.2

82.9

176.8

85.2

176.8

85.2

178.9

85.2

178.9

91.4

178.9

91.4

180.7

96.1

180.7

96.1

188.9

96.1

188.9

98.3

197.5

98.3

197.5

97.9

197.5

97.9

204.5

97.9

204.5

97.6

210.8

97.6

210.8

99.5

210.8

99.5

214.4

99.5

214.4

100.8

214.1

100.8

214.1

99.2

214.1

99.2

212.1

98

212.1

98

213.7

98

213.7

100.8

213.7

100.8

216.7

103.5

216.7

103.5

218.8

103.5

218.8

105

218.8

105

223.9

107.2

223.9

107.2

228.9

107.2

228.9

108.4

225.3

108.4

225.3

110.5

225.3

110.5

218.4

110.5

218.4

113.8

214.7

113.8

214.7

114.1

214.7

114.1

215.7

114.1

215.7

110.6

219.8

110.6

219.8

106.3

219.8

106.3

222.2

101.4

222.2

101.4

216.7

101.4

216.7

95

216.7

95

216.4

93.5

216.4

93.5

231.8

93.5

231.8

99.2

251.7

99.2

251.7

105

251.7

105

269.5

105

269.5

108.4

284.1

108.4

284.1

110

284.1

110

291.1

110

291.1

112.1

284.1

112.1

284.1

119.7

284.1

119.7

261.9

128.6

261.9

128.6

239.3

128.6

239.3

133.3

239.3

133.3

239.7

134

239.7

134

258.4

134

258.4

132.4

269.9

132.4

269.9

134

269.9

134

270.8

134

270.8

134

269.9

134

269.9

131.4

269.9

131.4

268.6

131.4

268.6

131.4

272.7

131.4

272.7

133.8

272.7

133.8

283.6

134.4

283.6

134.4

287.6

134.4

287.6

129.3

287.6

129.3

282.6

122.9

282.6

122.9

275.5

122.9

275.5

118.6

275.5

118.6

268.5

117

268.5

117

259.3

117

259.3

119.6

246.4

119.6

246.4

119.9

246.4

119.9

235.9

119.9

235.9

112.9

235.2

112.9

235.2

106.3

235.2

106.3

248

106.3

248

106.7

260.1

106.7

260.1

110.4

260.1

110.4

269

114

269

114

269.5

114

269.5

118.7

269.5

118.7

257.1

124.7

257.1

124.7

240.5

124.7

240.5

130.2

214.4

130.2

214.4

132.5

214.4

132.5

192.8

132.5

192.8

134.9

189.4

134.9

189.4

138.2

189.4

138.2

199.9

138.2

199.9

138.4

214.7

138.4

214.7

129.6

214.7

129.6

230.4

119.2

230.4

119.2

239.7

119.2

239.7

118.2

239.7

118.2

242.8

122.7

242.8

122.7

247.2

122.7

247.2

127.7

247.2

127.7

254.2

131.4

254.2

131.4

258.4

131.4

258.4

133.8

261

133.8

261

136.1

261

136.1

265

136.1

265

136.8

273.1

136.8

273.1

130.7

273.1

130.7

289.6

130.7

289.6

120.5

305.9

120.5

305.9

115.7

305.9

115.7

316.6

116.5

316.6

116.5

317.7

116.5

317.7

117.8

317.7

117.8

310.3

119.2

310.3

119.2

310.3

119.2

310.3

120.7

319.5

120.7

319.5

124.6

319.5

124.6

330.3

124.6

330.3

134.2

330.3

134.2

330.3

149.2

330.3

149.2

330.3

149.2

330.3

166.7

329.1

166.7

329.1

183.3

329.1

183.3

324.8

197.2

324.8

197.2

328.5

197.2

328.5

205.8

328.5

205.8

328.4

209.3

328.4

209.3

321.2

209.3

321.2

210.2

321.2

210.2

310.3

211.2

310.3

211.2

302.1

211.2

302.1

212.2

302.1

212.2

297.8

212.5

297.8

212.5

292.6

212.5

292.6

211.5

285.1

211.5

285.1

208

285.1

208

272.7

204.8

272.7

204.8

255.4

204.8

255.4

204.8

255.4

204.8

242.8

204.8

242.8

204.8

238.2

204.8

238.2

202.6

238.2

202.6

237

200.5

237

200.5

236.3

200.5

236.3

198.7

236.3

198.7

236.7

194.2

236.7

194.2

237.8

194.2

237.8

189.6

240.1

189.6

240.1

187.4

240.1

187.4

240.9

187.4

240.9

186.3

239.3

186.3

239.3

186

239.3

186

238.9

186

238.9

186.6

238.9

186.6

238.9

186.8

238.9

186.8

237.4

186.3

237.4

186.3

237

186.3

237

185.7

237

185.7

240.5

183

240.5

183

244.4

183

244.4

178.8

242.8

178.8

242.8

177.4

242.8

177.4

242

177.4

242

177.2

244.8

177.2

244.8

175.9

244.8

175.9

247.6

175.9

247.6

176.2

252.9

176.2

252.9

176.2

252.9

176.2

258.8

174.9

258.8

174.9

264.5

174.9

264.5

175.4

264.5

175.4

274

176.1

274

176.1

287.6

176.1

287.6

171.3

287.6

171.3

297.8

163.9

297.8

163.9

303.2

163.9

303.2

160.4

307.5

160.4

307.5

160.1

307.5

160.1

313.1

160.1

313.1

159.2

318.9

159.2

318.9

159.7

318.9

159.7

323.6

159.7

323.6

164.1

321.8

164.1

321.8

169.6

321.8

169.6

316.6

171.3

316.6

171.3

317.7

171.3

317.7

169.9

317.7

169.9

323.6

168.1

323.6

168.1

329.7

168.1

329.7

166.9

333.4

166.9

333.4

166.5

333.4

166.5

339.1

166.5

339.1

166

346.9

166

346.9

164.8

346.9

164.8

354.3

164.8

354.3

164.3

361.2

164.3

361.2

163.6

361.2

163.6

360.5

160.1

360.5

160.1

355.7

160.1

355.7

155.6

355.7

155.6

351.6

152.8

351.6

152.8

346.2

152.8

346.2

151.3

346.2

151.3

339

150.2

339

150.2

333.4

150.2

333.4

149.2

327.8

149.2

327.8

145.9

327.8

145.9

327.8

145.9

327.8

143

330.9

143

330.9

142.2

330.9

142.2

331.5

142

331.5

142

332.7

142

332.7

140.6

332.7

140.6

335.2

137.7

335.2

137.7

339.7

137.7

339.7

134.9

339.7

134.9

342.9

133

342.9

133

344.2

133

344.2

130.9

347.5

130.9

347.5

128.5

347.5

128.5

359.1

128.5

359.1

127.6

373.6

127.6

373.6

127.5

373.6

127.5

384.2

127.5

384.2

127.1

390.5

127.1

390.5

126.4

390.5

126.4

397.8

124.9

397.8

124.9

403.6

124.9

403.6

123

403.6

123

409.6

121.3

409.6

121.3

416.5

121.3

416.5

120.3

421.9

120.3

421.9

120.2

421.9

120.2

425.5

120.2

425.5

120.8

428.3

120.8

428.3

121.3

428.3

121.3

433.9

121.3

433.9

122

437.7

122

437.7

123.2

437.7

123.2

439.6

123.7

439.6

123.7

445.5

123.7

445.5

123.8

445.5

123.8

454.5

123.5

454.5

123.5

459.6

123.5

459.6

121.5

459.6

121.5

464.8

119.3

464.8

119.3

465.9

119.3

465.9

117.4

468

117.4

468

115

468

115

472.3

115

472.3

113.3

480

113.3

480

113.2

480

113.2

485.6

113.2

485.6

112.4

483.4

112.4

483.4

110.3

483.4

110.3

480

109.8

480

109.8

486.8

109.8

486.8

111.3

486.8

111.3

497.2

113.1

497.2

113.1

503.2

113.1

503.2

114.7

512.9

114.7

512.9

115.3

512.9

115.3

526.9

115.3

526.9

115.6

532.1

115.6

532.1

116.4

532.1

116.4

533.5

116.4

533.5

116

533.5

116

533.5

115

533.5

115

534.8

114.7

534.8

114.7

536.1

114.7

536.1

114.9

536.1

114.9

534.8

115.5

534.8

115.5

537.5

115.5

537.5

116

537.5

116

538.8

116.9

538.8

116.9

541.5

116.9

541.5

117.4

544.2

117.4

544.2

118.5

544.2

118.5

547

118.5

547

121

556.8

121

556.8

123.3

556.8

123.3

562.6

124.2

562.6

124.2

564

124.2

564

124

564

124

572.9

122

572.9

122

582

122

582

120.1

582

120.1

583.5

120.2

583.5

120.2

586.6

120.2

586.6

120.5

591.3

120.5

591.3

121

591.3

121

599.3

121

599.3

120.8

612.4

120.8

612.4

121.6

612.4

121.6

622.6

121.6

622.6

122.6

620.9

122.6

620.9

122.8

620.9

122.8

617.5

123.3

617.5

123.3

626.1

123.3

626.1

123.7

626.1

123.7

640.2

123.7

640.2

123.7

653.1

123.7

653.1

123.8

666.4

123.8

666.4

125

666.4

125

672.3

125

672.3

124.7

674.3

124.7

674.3

123.8

674.3

123.8

676.3

123.8

676.3

124.8

682.3

124.8

682.3

125

682.3

125

684.3

124.2

684.3

124.2

682.3

124.2

682.3

124.5

682.3

124.5

670.3

126.2

670.3

126.2

666.4

126.2

666.4

128.7

666.4

128.7

684.3

131.2

684.3

131.2

707.2

131.2

707.2

133

733.8

133

733.8

134.1

733.8

134.1

759.8

134.1

759.8

136.2

787.4

136.2

787.4

138.5

787.4

138.5

816.9

138.5

816.9

139.1

816.9

139.1

833.7

140.2

833.7

140.2

830.9

142.2

830.9

142.2

819.6

142.2

819.6

144.4

819.6

144.4

828.1

147.5

828.1

147.5

851.3

147.5

851.3

150.2

830.9

150.2

830.9

152.3

830.9

152.3

787.4

152.3

787.4

154.7

787.4

154.7

772.1

157.6

772.1

157.6

787.4

157.6

787.4

159.2

792.6

159.2

792.6

159.4

792.6

159.4

800.6

173.5

800.6

173.5

822.4

173.5

822.4

179.5

822.4

179.5

833.8

185.1

833.8

185.1

848.3

185.1

848.3

208.2

894.9

208.2

894.9

189.8

894.9

189.8

1011.1

189.8

1011.1

160.1

1163.1

160.1

1163.1

151.9

1163.1

151.9

1229.2

151.9

1229.2

151.4

1271

151.4

1271

152.1

1271

152.1

1309

153

1309

153

1342.4

153

1342.4

153.8

1342.4

153.8

1356.2

155.1

1356.2

155.1

1363.2

155.1

1363.2

156.7

1363.2

156.7

1356.2

158.9

1356.2

158.9

1356.2

158.9

1356.2

174.3

1322.2

174.3

1322.2

209.4

1322.2

209.4

1309.2

209.4

1309.2

208.8

1309.2

208.8

1309.2

179.7

1309.2

179.7

1309.2

179.7

1190

170.3

1089.2

170.3

1089.2

169

1089.2

169

1080

169.5

1080

169.5

1080

169.5

1098.6

170.5

1098.6

170.5

1098.6

171.5

1112.9

171.5

1127.5

171.5

1127.5

172.8

1142.5

172.8

1142.5

174.5

1142.5

174.5

1142.5

174.5

1142.5

177.1

1142.5

177.1

1142.5

180

1142.5

180

1142.5

180

1147.7

183.2

1147.7

183.2

1147.7

187.8

1147.7

187.8

1147.7

193

1147.7

193

1158

193

1158

197.1

1158

197.1

1168.5

200.7

1168.5

200.7

1168.5

200.7

1179.1

218.4

1179.1

218.4

1179.1

240.2

1195.4

240.2

1206.5

240.2

1206.5

228.2

1206.5

228.2

1206.5

208.5

1206.5

208.5

1200.9

208.5

1200.9

202.8

1200.9

202.8

1212.1

203.4

1212.1

203.4

1212.1

203.4

1229.4

203.4

1241.1

203.4

1241.1

203.4

1241.1

203.4

1241.1

203.4

1253

208.5

1253

208.5

1259

213.7

1259

213.7

1265.1

217

1265.1

217

1265.1

217

1277.4

231.1

1277.4

231.1

1277.4

253.9

1271.2

253.9

1265.1

253.9

1265.1

270.2

1277.5

270.2

1277.5

278.6

1277.5

278.6

1277.5

278.6

1296.4

292

1296.4

292

1309.3

306.4

1309.3

306.4

1309.3

306.4

1315.9

300.4

1329.1

300.4

1329.1

279.1

1329.1

279.1

1322.4

264.3

1322.4

264.3

1322.5

264.3

1322.5

260.8

1322.5

260.8

1315.8

263.4

1315.8

263.4

1315.8

263.4

1309.3

269.7

1309.3

269.7

1302.9

277.2

1302.9

277.2

1296.5

277.2

1296.5

283.5

1296.5

283.5

1296.5

290

1296.5

290

1265.2

290

1265.2

298.3

1265.2

298.3

1201.1

307.5

1201.1

307.5

1201.1

313.7

1179.2

313.7

1195.6

313.7

1195.6

317.8

1195.6

317.8

1195.6

318.4

1195.6

318.4

1195.6

318.4

1201.2

323.1

1201.2

323.1

1218

331.6

1218

331.6

1218

331.6

1241.3

337.3

1259.2

337.3

1259.2

339.2

1259.2

339.2

1259.2

339.2

1265.2

340.5

1265.3

340.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1265.3

342.5

1277.6

343.8

1277.6

343.8

1277.6

344.4

1277.6

344.4

1283.8

344.4

1283.8

344.4

1283.8

344.4

1283.8

345.8

1302.9

345.8

1316

345.8

1316

347.1

1316

347.1

1322.6

347.8

1322.6

347.8

1322.6

347.8

1309.5

349.1

1290.2

349.1

1290.2

349.8

1290.2

349.8

1290.2

349.8

1290.2

349.8

1290.2

349.8

1309.5

350.4

1309.5

350.4

1343

351.1

1343

351.1

1343

351.1

1342.9

352.5

1342.9

352.5

1342.9

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.8

1336.2

353.1

1343

353.1

1343

353.1

1342.9

355.2

1342.9

355.2

1303.1

355.9

1303.1

355.9

1303.1

355.9

1241.4

354.5

1206.8

354.5

1206.8

353.1

1206.8

353.1

1206.8

353.1

1206.9

353.1

1212.5

353.1

1212.5

352.4

1212.5

352.4

1212.5

352.4

1212.5

352.4

1223.9

352.4

1223.9

353.8

1223.9

353.8

1223.9

353.8

1247.4

353.8

1265.6

353.8

1265.6

353.8

1265.6

353.8

1271.6

353.8

1271.6

353.8

1271.6

353.8

1259.4

353.1

1259.4

353.1

1253.4

352.4

1253.4

352.4

1253.4

352.4

1253.4

353.1

1265.6

353.1

1265.6

353.8

1265.6

353.8

1265.6

354.5

1271.7

354.5

1284.1

354.5

1284.1

354.5

1284.1

354.5

1290.5

353.8

1290.5

353.8

1290.5

353.8

1284.2

355.2

1284.2

355.2

1290.5

356.6

1290.5

356.6

1290.5

356.6

1284.2

356.6

1284.2

356.6

1278

358.7

1278

358.7

1278

358.7

1259.5

359.4

1259.5

359.4

1235.6

358.7

1235.6

358.7

1235.6

359.3

1235.6

359.3

1235.6

359.3

1253.5

361.5

1253.5

361.5

1253.5

361.5

1265.6

361.5

1265.6

361.5

1271.8

362.2

1271.8

362.2

1290.6

365

1290.6

365

1290.6

365

1316.4

366.5

1316.4

366.5

1350.1

365

1350.1

365

1350.1

365

1364

363.6

1364

363.6

1378.2

364.3

1378.2

364.3

1378.2

364.3

1400

365

1400

365

1422.5

365.8

1422.5

365.8

1422.5

365

1437.9

365

1437.9

365

1461.5

361.4

1461.5

361.4

1461.5

361.4

1469.6

361.4

1469.6

361.4

1477.7

362.9

1477.7

362.9

1494.1

362.9

1494.1

362.9

1494.1

362.9

1494.1

363.6

1494.1

363.6

1494

364.3

1494

364.3

1511

364.3

1511

364.3

1511

364.3

1528.2

360.7

1528.2

360.7

1528.2

355.8

1537

355.8

1537

355.8

1528.2

355.8

1528.2

355.8

1528.2

356.5

1528.2

356.5

1528.2

356.5

1528.3

355.8

1528.3

355.8

1528.3

355.1

1545.9

355.1

1545.9

355.1

1573

355.8

1573

355.8

1537.1

356.5

1537.1

356.5

1537.1

356.5

1494.4

356.5

1494.4

356.5

1511.2

356.5

1511.2

356.5

1511.2

356.5

1502.8

357.9

1502.8

357.9

1494.4

358.6

1494.4

358.6

1494.4

357.9

1494.4

357.9

1494.4

357.9

1494.4

358.6

1494.4

358.6

1511.3

358.6

1511.3

358.6

1511.3

358.6

1528.6

358.6

1528.6

358.6

1555.1

360

1555.1

360

1555.1

360

1573.1

360

1573.1

360

1610.6

360

1610.6

360

1610.6

360

1680.4

360.7

1680.4

360.7

1745.1

1745.1

1745.1

1767.7

1767.7

1790.8

1790.8

1790.8

1826.6

1826.6

1863.7

1863.7

1889.3

1889.3

1889.3

1902.4

1902.4

1942.8

1942.8

1942.8

1984.6

1984.6

1998.7

1998.7

1998.7

1929

1929

1814.6

1814.6

1814.6

1779.4

1779.4

1791

1791

1814.7

1814.7

1814.7

1851.6

1851.6

1889.7

1889.7

1889.7

1902.9

1902.9

1916.1

1916.1

1916.1

1929.3

1929.3

1929.3

1929.3

1929.3

1929.3

1929.3

1943

1943

1943

1970.6

1970.6

1999

1999

1984.8



		1		1

		2		2

		3		3

		4		4

		5		5

		6		6

		7		7

		8		8

		9		9

		10		10

		11		11

		12		12

		13		13

		14		14

		15		15

		16		16

		17		17

		18		18

		19		19

		20		20

		21		21

		22		22

		23		23

		24		24

		25		25

		26		26

		27		27

		28		28

		29		29

		30		30

		31		31

		32		32

		33		33

		34		34

		35		35

		36		36

		37		37

		38		38

		39		39

		40		40

		41		41

		42		42

		43		43

		44		44

		45		45

		46		46

		47		47

		48		48

		49		49

		50		50

		51		51

		52		52

		53		53

		54		54

		55		55

		56		56

		57		57

		58		58

		59		59

		60		60

		61		61

		62		62

		63		63

		64		64

		65		65

		66		66

		67		67

		68		68

		69		69

		70		70

		71		71

		72		72

		73		73

		74		74

		75		75

		76		76

		77		77

		78		78

		79		79

		80		80

		81		81

		82		82

		83		83

		84		84

		85		85

		86		86

		87		87

		88		88

		89		89

		90		90

		91		91

		92		92

		93		93

		94		94

		95		95

		96		96

		97		97

		98		98

		99		99

		100		100

		101		101

		102		102

		103		103

		104		104

		105		105

		106		106

		107		107

		108		108

		109		109

		110		110

		111		111

		112		112

		113		113

		114		114

		115		115

		116		116

		117		117

		118		118

		119		119

		120		120

		121		121

		122		122

		123		123

		124		124

		125		125

		126		126

		127		127

		128		128

		129		129

		130		130

		131		131

		132		132

		133		133

		134		134

		135		135

		136		136

		137		137

		138		138

		139		139

		140		140

		141		141

		142		142

		143		143

		144		144

		145		145

		146		146

		147		147

		148		148

		149		149

		150		150

		151		151

		152		152

		153		153

		154		154

		155		155

		156		156

		157		157

		158		158

		159		159

		160		160

		161		161

		162		162

		163		163

		164		164

		165		165

		166		166

		167		167

		168		168

		169		169

		170		170

		171		171

		172		172

		173		173

		174		174

		175		175

		176		176

		177		177

		178		178

		179		179

		180		180

		181		181

		182		182

		183		183

		184		184

		185		185

		186		186

		187		187

		188		188

		189		189

		190		190

		191		191

		192		192

		193		193

		194		194

		195		195

		196		196

		197		197

		198		198

		199		199

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		701		701

		702		702

		703		703

		704		704

		705		705

		706		706

		707		707

		708		708

		709		709

		710		710

		711		711

		712		712

		713		713

		714		714

		715		715

		716		716

		717		717

		718		718

		719		719

		720		720

		721		721

		722		722

		723		723

		724		724

		725		725

		726		726

		727		727

		728		728

		729		729

		730		730

		731		731

		732		732

		733		733

		734		734

		735		735

		736		736

		737		737

		738		738

		739		739

		740		740

		741		741

		742		742

		743		743

		744		744

		745		745

		746		746

		747		747

		748		748

		749		749

		750		750

		751		751

		752		752

		753		753

		754		754

		755		755

		756		756

		757		757

		758		758

		759		759

		760		760

		761		761

		762		762

		763		763

		764		764

		765		765

		766		766

		767		767

		768		768

		769		769

		770		770

		771		771

		772		772

		773		773

		774		774

		775		775

		776		776

		777		777

		778		778

		779		779

		780		780

		781		781

		782		782

		783		783

		784		784

		785		785

		786		786

		787		787

		788		788

		789		789

		790		790

		791		791

		792		792

		793		793

		794		794

		795		795

		796		796

		797		797

		798		798

		799		799

		800		800

		801		801

		802		802

		803		803

		804		804

		805		805

		806		806

		807		807

		808		808

		809		809

		810		810

		811		811

		812		812

		813		813

		814		814

		815		815

		816		816

		817		817

		818		818

		819		819

		820		820

		821		821

		822		822

		823		823

		824		824

		825		825

		826		826

		827		827

		828		828

		829		829

		830		830

		831		831

		832		832

		833		833

		834		834

		835		835

		836		836

		837		837

		838		838

		839		839

		840		840

		841		841

		842		842

		843		843

		844		844

		845		845

		846		846

		847		847

		848		848

		849		849

		850		850

		851		851

		852		852

		853		853

		854		854

		855		855

		856		856

		857		857

		858		858

		859		859

		860		860

		861		861

		862		862

		863		863

		864		864

		865		865

		866		866

		867		867

		868		868

		869		869

		870		870

		871		871

		872		872

		873		873

		874		874

		875		875

		876		876

		877		877

		878		878

		879		879

		880		880

		881		881

		882		882

		883		883

		884		884

		885		885

		886		886

		887		887

		888		888

		889		889

		890		890

		891		891

		892		892

		893		893

		894		894

		895		895

		896		896

		897		897

		898		898

		899		899

		900		900

		901		901

		902		902

		903		903

		904		904

		905		905

		906		906

		907		907

		908		908

		909		909

		910		910

		911		911

		912		912

		913		913

		914		914

		915		915

		916		916

		917		917

		918		918

		919		919

		920		920

		921		921

		922		922

		923		923

		924		924

		925		925

		926		926

		927		927

		928		928

		929		929

		930		930

		931		931

		932		932

		933		933

		934		934

		935		935

		936		936

		937		937

		938		938

		939		939

		940		940

		941		941

		942		942

		943		943

		944		944

		945		945

		946		946

		947		947

		948		948

		949		949

		950		950

		951		951

		952		952

		953		953

		954		954

		955		955

		956		956

		957		957

		958		958

		959		959

		960		960

		961		961

		962		962

		963		963

		964		964

		965		965

		966		966

		967		967

		968		968

		969		969

		970		970

		971		971

		972		972

		973		973

		974		974

		975		975

		976		976

		977		977

		978		978

		979		979

		980		980

		981		981

		982		982

		983		983

		984		984

		985		985

		986		986

		987		987

		988		988

		989		989

		990		990

		991		991

		992		992

		993		993

		994		994

		995		995

		996		996

		997		997

		998		998

		999		999

		1000		1000

		1001		1001

		1002		1002

		1003		1003

		1004		1004

		1005		1005

		1006		1006

		1007		1007

		1008		1008

		1009		1009

		1010		1010

		1011		1011

		1012		1012

		1013		1013

		1014		1014

		1015		1015

		1016		1016

		1017		1017

		1018		1018

		1019		1019

		1020		1020

		1021		1021

		1022		1022

		1023		1023

		1024		1024

		1025		1025

		1026		1026

		1027		1027

		1028		1028

		1029		1029

		1030		1030

		1031		1031

		1032		1032

		1033		1033

		1034		1034

		1035		1035

		1036		1036

		1037		1037

		1038		1038

		1039		1039

		1040		1040

		1041		1041

		1042		1042

		1043		1043

		1044		1044

		1045		1045

		1046		1046

		1047		1047

		1048		1048

		1049		1049

		1050		1050

		1051		1051

		1052		1052

		1053		1053

		1054		1054

		1055		1055

		1056		1056

		1057		1057

		1058		1058

		1059		1059

		1060		1060

		1061		1061

		1062		1062

		1063		1063

		1064		1064

		1065		1065

		1066		1066

		1067		1067

		1068		1068

		1069		1069

		1070		1070

		1071		1071

		1072		1072

		1073		1073

		1074		1074

		1075		1075

		1076		1076

		1077		1077

		1078		1078

		1079		1079

		1080		1080

		1081		1081

		1082		1082

		1083		1083

		1084		1084

		1085		1085

		1086		1086

		1087		1087

		1088		1088

		1089		1089

		1090		1090

		1091		1091

		1092		1092

		1093		1093

		1094		1094

		1095		1095

		1096		1096

		1097		1097

		1098		1098

		1099		1099

		1100		1100

		1101		1101

		1102		1102

		1103		1103

		1104		1104

		1105		1105

		1106		1106

		1107		1107

		1108		1108

		1109		1109

		1110		1110

		1111		1111

		1112		1112

		1113		1113

		1114		1114

		1115		1115

		1116		1116

		1117		1117

		1118		1118

		1119		1119

		1120		1120

		1121		1121

		1122		1122

		1123		1123

		1124		1124

		1125		1125

		1126		1126

		1127		1127

		1128		1128

		1129		1129

		1130		1130

		1131		1131

		1132		1132

		1133		1133

		1134		1134

		1135		1135

		1136		1136

		1137		1137

		1138		1138

		1139		1139

		1140		1140

		1141		1141

		1142		1142

		1143		1143

		1144		1144

		1145		1145

		1146		1146

		1147		1147

		1148		1148

		1149		1149

		1150		1150

		1151		1151

		1152		1152

		1153		1153

		1154		1154

		1155		1155

		1156		1156

		1157		1157

		1158		1158

		1159		1159

		1160		1160

		1161		1161

		1162		1162

		1163		1163

		1164		1164

		1165		1165

		1166		1166

		1167		1167

		1168		1168

		1169		1169

		1170		1170

		1171		1171

		1172		1172

		1173		1173

		1174		1174

		1175		1175

		1176		1176

		1177		1177

		1178		1178

		1179		1179

		1180		1180

		1181		1181

		1182		1182

		1183		1183

		1184		1184

		1185		1185

		1186		1186

		1187		1187

		1188		1188

		1189		1189

		1190		1190

		1191		1191

		1192		1192

		1193		1193

		1194		1194

		1195		1195

		1196		1196

		1197		1197

		1198		1198

		1199		1199

		1200		1200

		1201		1201

		1202		1202

		1203		1203

		1204		1204

		1205		1205

		1206		1206

		1207		1207

		1208		1208

		1209		1209

		1210		1210

		1211		1211

		1212		1212

		1213		1213

		1214		1214

		1215		1215

		1216		1216

		1217		1217

		1218		1218

		1219		1219

		1220		1220

		1221		1221

		1222		1222

		1223		1223

		1224		1224

		1225		1225

		1226		1226

		1227		1227

		1228		1228

		1229		1229

		1230		1230

		1231		1231

		1232		1232

		1233		1233

		1234		1234

		1235		1235

		1236		1236

		1237		1237

		1238		1238

		1239		1239

		1240		1240

		1241		1241

		1242		1242

		1243		1243

		1244		1244

		1245		1245

		1246		1246

		1247		1247

		1248		1248

		1249		1249

		1250		1250

		1251		1251

		1252		1252

		1253		1253

		1254		1254

		1255		1255

		1256		1256

		1257		1257

		1258		1258

		1259		1259

		1260		1260

		1261		1261

		1262		1262

		1263		1263

		1264		1264

		1265		1265

		1266		1266

		1267		1267

		1268		1268

		1269		1269

		1270		1270

		1271		1271

		1272		1272

		1273		1273

		1274		1274

		1275		1275

		1276		1276

		1277		1277

		1278		1278

		1279		1279

		1280		1280

		1281		1281

		1282		1282

		1283		1283

		1284		1284

		1285		1285

		1286		1286

		1287		1287

		1288		1288

		1289		1289

		1290		1290

		1291		1291

		1292		1292

		1293		1293

		1294		1294

		1295		1295

		1296		1296

		1297		1297

		1298		1298

		1299		1299

		1300		1300

		1301		1301

		1302		1302

		1303		1303

		1304		1304

		1305		1305

		1306		1306

		1307		1307

		1308		1308

		1309		1309

		1310		1310

		1311		1311

		1312		1312

		1313		1313

		1314		1314

		1315		1315

		1316		1316

		1317		1317

		1318		1318

		1319		1319

		1320		1320

		1321		1321

		1322		1322

		1323		1323

		1324		1324

		1325		1325

		1326		1326

		1327		1327

		1328		1328

		1329		1329

		1330		1330

		1331		1331

		1332		1332

		1333		1333

		1334		1334

		1335		1335

		1336		1336

		1337		1337

		1338		1338

		1339		1339

		1340		1340

		1341		1341

		1342		1342

		1343		1343

		1344		1344

		1345		1345

		1346		1346

		1347		1347

		1348		1348

		1349		1349

		1350		1350

		1351		1351

		1352		1352

		1353		1353

		1354		1354

		1355		1355

		1356		1356

		1357		1357

		1358		1358

		1359		1359

		1360		1360

		1361		1361

		1362		1362

		1363		1363

		1364		1364

		1365		1365

		1366		1366

		1367		1367

		1368		1368

		1369		1369

		1370		1370

		1371		1371

		1372		1372

		1373		1373

		1374		1374

		1375		1375

		1376		1376

		1377		1377

		1378		1378

		1379		1379

		1380		1380

		1381		1381

		1382		1382

		1383		1383

		1384		1384

		1385		1385

		1386		1386

		1387		1387

		1388		1388

		1389		1389

		1390		1390

		1391		1391

		1392		1392

		1393		1393

		1394		1394

		1395		1395

		1396		1396

		1397		1397

		1398		1398

		1399		1399

		1400		1400

		1401		1401

		1402		1402

		1403		1403

		1404		1404

		1405		1405

		1406		1406

		1407		1407

		1408		1408

		1409		1409

		1410		1410

		1411		1411

		1412		1412

		1413		1413

		1414		1414

		1415		1415

		1416		1416

		1417		1417

		1418		1418

		1419		1419

		1420		1420

		1421		1421

		1422		1422

		1423		1423

		1424		1424

		1425		1425

		1426		1426

		1427		1427

		1428		1428

		1429		1429

		1430		1430

		1431		1431

		1432		1432

		1433		1433

		1434		1434

		1435		1435

		1436		1436

		1437		1437

		1438		1438

		1439		1439

		1440		1440

		1441		1441

		1442		1442

		1443		1443

		1444		1444

		1445		1445

		1446		1446

		1447		1447

		1448		1448

		1449		1449

		1450		1450

		1451		1451

		1452		1452

		1453		1453

		1454		1454

		1455		1455

		1456		1456

		1457		1457

		1458		1458

		1459		1459

		1460		1460

		1461		1461

		1462		1462

		1463		1463

		1464		1464

		1465		1465

		1466		1466

		1467		1467

		1468		1468

		1469		1469

		1470		1470

		1471		1471

		1472		1472

		1473		1473

		1474		1474

		1475		1475

		1476		1476

		1477		1477

		1478		1478

		1479		1479

		1480		1480

		1481		1481

		1482		1482

		1483		1483

		1484		1484

		1485		1485

		1486		1486

		1487		1487

		1488		1488

		1489		1489

		1490		1490

		1491		1491

		1492		1492

		1493		1493

		1494		1494

		1495		1495

		1496		1496

		1497		1497

		1498		1498

		1499		1499

		1500		1500

		1501		1501

		1502		1502

		1503		1503

		1504		1504

		1505		1505

		1506		1506

		1507		1507

		1508		1508

		1509		1509

		1510		1510

		1511		1511

		1512		1512

		1513		1513

		1514		1514

		1515		1515

		1516		1516

		1517		1517

		1518		1518

		1519		1519

		1520		1520

		1521		1521

		1522		1522

		1523		1523

		1524		1524

		1525		1525

		1526		1526

		1527		1527

		1528		1528

		1529		1529

		1530		1530

		1531		1531

		1532		1532

		1533		1533

		1534		1534

		1535		1535

		1536		1536

		1537		1537

		1538		1538

		1539		1539

		1540		1540

		1541		1541

		1542		1542

		1543		1543

		1544		1544

		1545		1545

		1546		1546

		1547		1547

		1548		1548

		1549		1549

		1550		1550

		1551		1551

		1552		1552

		1553		1553

		1554		1554

		1555		1555

		1556		1556

		1557		1557

		1558		1558

		1559		1559

		1560		1560

		1561		1561

		1562		1562

		1563		1563

		1564		1564

		1565		1565

		1566		1566

		1567		1567

		1568		1568

		1569		1569

		1570		1570

		1571		1571

		1572		1572

		1573		1573

		1574		1574

		1575		1575

		1576		1576

		1577		1577

		1578		1578

		1579		1579

		1580		1580

		1581		1581

		1582		1582

		1583		1583

		1584		1584

		1585		1585

		1586		1586

		1587		1587

		1588		1588

		1589		1589

		1590		1590

		1591		1591

		1592		1592

		1593		1593

		1594		1594

		1595		1595

		1596		1596

		1597		1597

		1598		1598

		1599		1599

		1600		1600

		1601		1601

		1602		1602

		1603		1603

		1604		1604

		1605		1605

		1606		1606

		1607		1607

		1608		1608

		1609		1609

		1610		1610

		1611		1611

		1612		1612

		1613		1613

		1614		1614

		1615		1615

		1616		1616

		1617		1617

		1618		1618

		1619		1619

		1620		1620

		1621		1621

		1622		1622

		1623		1623

		1624		1624

		1625		1625

		1626		1626

		1627		1627

		1628		1628

		1629		1629

		1630		1630

		1631		1631

		1632		1632

		1633		1633

		1634		1634

		1635		1635

		1636		1636

		1637		1637

		1638		1638

		1639		1639

		1640		1640

		1641		1641

		1642		1642

		1643		1643

		1644		1644

		1645		1645

		1646		1646

		1647		1647

		1648		1648

		1649		1649

		1650		1650

		1651		1651

		1652		1652

		1653		1653

		1654		1654

		1655		1655

		1656		1656

		1657		1657

		1658		1658

		1659		1659

		1660		1660

		1661		1661

		1662		1662

		1663		1663

		1664		1664

		1665		1665

		1666		1666

		1667		1667

		1668		1668

		1669		1669

		1670		1670

		1671		1671

		1672		1672

		1673		1673

		1674		1674

		1675		1675

		1676		1676

		1677		1677

		1678		1678

		1679		1679

		1680		1680

		1681		1681

		1682		1682

		1683		1683

		1684		1684

		1685		1685

		1686		1686

		1687		1687

		1688		1688

		1689		1689

		1690		1690

		1691		1691

		1692		1692

		1693		1693

		1694		1694

		1695		1695

		1696		1696

		1697		1697

		1698		1698

		1699		1699

		1700		1700

		1701		1701

		1702		1702

		1703		1703

		1704		1704

		1705		1705

		1706		1706

		1707		1707

		1708		1708

		1709		1709

		1710		1710

		1711		1711

		1712		1712

		1713		1713

		1714		1714

		1715		1715

		1716		1716

		1717		1717

		1718		1718

		1719		1719

		1720		1720

		1721		1721

		1722		1722

		1723		1723

		1724		1724

		1725		1725

		1726		1726

		1727		1727

		1728		1728

		1729		1729

		1730		1730

		1731		1731

		1732		1732

		1733		1733

		1734		1734

		1735		1735

		1736		1736

		1737		1737

		1738		1738

		1739		1739

		1740		1740

		1741		1741

		1742		1742

		1743		1743

		1744		1744

		1745		1745

		1746		1746

		1747		1747

		1748		1748

		1749		1749

		1750		1750

		1751		1751

		1752		1752

		1753		1753

		1754		1754

		1755		1755

		1756		1756

		1757		1757

		1758		1758

		1759		1759

		1760		1760

		1761		1761

		1762		1762

		1763		1763

		1764		1764

		1765		1765

		1766		1766

		1767		1767

		1768		1768

		1769		1769

		1770		1770

		1771		1771

		1772		1772

		1773		1773

		1774		1774

		1775		1775

		1776		1776

		1777		1777

		1778		1778

		1779		1779

		1780		1780

		1781		1781

		1782		1782

		1783		1783

		1784		1784

		1785		1785

		1786		1786

		1787		1787

		1788		1788

		1789		1789

		1790		1790

		1791		1791

		1792		1792

		1793		1793

		1794		1794

		1795		1795

		1796		1796

		1797		1797

		1798		1798

		1799		1799

		1800		1800

		1801		1801

		1802		1802

		1803		1803

		1804		1804

		1805		1805

		1806		1806

		1807		1807

		1808		1808

		1809		1809

		1810		1810

		1811		1811

		1812		1812

		1813		1813

		1814		1814

		1815		1815

		1816		1816

		1817		1817

		1818		1818

		1819		1819

		1820		1820

		1821		1821

		1822		1822

		1823		1823

		1824		1824

		1825		1825

		1826		1826

		1827		1827

		1828		1828

		1829		1829

		1830		1830

		1831		1831

		1832		1832

		1833		1833

		1834		1834

		1835		1835

		1836		1836

		1837		1837

		1838		1838

		1839		1839

		1840		1840

		1841		1841

		1842		1842

		1843		1843

		1844		1844

		1845		1845

		1846		1846

		1847		1847

		1848		1848

		1849		1849

		1850		1850

		1851		1851

		1852		1852

		1853		1853

		1854		1854

		1855		1855

		1856		1856

		1857		1857

		1858		1858

		1859		1859

		1860		1860

		1861		1861

		1862		1862

		1863		1863

		1864		1864

		1865		1865

		1866		1866

		1867		1867

		1868		1868

		1869		1869

		1870		1870

		1871		1871

		1872		1872

		1873		1873

		1874		1874

		1875		1875

		1876		1876

		1877		1877

		1878		1878

		1879		1879

		1880		1880

		1881		1881

		1882		1882

		1883		1883

		1884		1884

		1885		1885

		1886		1886

		1887		1887

		1888		1888

		1889		1889

		1890		1890

		1891		1891

		1892		1892

		1893		1893

		1894		1894

		1895		1895

		1896		1896

		1897		1897

		1898		1898

		1899		1899

		1900		1900

		1901		1901

		1902		1902

		1903		1903

		1904		1904

		1905		1905

		1906		1906

		1907		1907

		1908		1908

		1909		1909

		1910		1910

		1911		1911

		1912		1912

		1913		1913

		1914		1914

		1915		1915

		1916		1916

		1917		1917

		1918		1918

		1919		1919

		1920		1920

		1921		1921

		1922		1922

		1923		1923

		1924		1924

		1925		1925

		1926		1926

		1927		1927

		1928		1928

		1929		1929

		1930		1930

		1931		1931

		1932		1932

		1933		1933

		1934		1934

		1935		1935

		1936		1936

		1937		1937

		1938		1938

		1939		1939

		1940		1940

		1941		1941

		1942		1942

		1943		1943

		1944		1944

		1945		1945

		1946		1946

		1947		1947

		1948		1948

		1949		1949

		1950		1950

		1951		1951

		1952		1952

		1953		1953

		1954		1954

		1955		1955

		1956		1956

		1957		1957

		1958		1958

		1959		1959

		1960		1960

		1961		1961

		1962		1962

		1963		1963

		1964		1964

		1965		1965

		1966		1966

		1967		1967

		1968		1968

		1969		1969

		1970		1970

		1971		1971

		1972		1972

		1973		1973

		1974		1974

		1975		1975

		1976		1976

		1977		1977

		1978		1978

		1979		1979

		1980		1980

		1981		1981

		1982		1982

		1983		1983

		1984		1984

		1985		1985

		1986		1986

		1987		1987

		1988		1988

		1989		1989

		1990		1990

		1991		1991

		1992		1992

		1993		1993

		1994		1994

		1995		1995

		1996		1996

		1997		1997

		1998		1998

		1999		1999

		2000		2000

		2001		2001

		2002		2002

		2003		2003

		2004		2004

		2005		2005

		2006		2006

		2007		2007

		2008		2008

		2009		2009

		2010		2010

		2011		2011

		2012		2012

		2013		2013

		2014		2014

		2015		2015

		2016		2016

		2017		2017

		2018		2018

		2019		2019

		2020		2020

		2021		2021

		2022		2022

		2023		2023

		2024		2024

		2025		2025

		2026		2026

		2027		2027

		2028		2028

		2029		2029

		2030		2030

		2031		2031

		2032		2032

		2033		2033

		2034		2034

		2035		2035

		2036		2036

		2037		2037

		2038		2038

		2039		2039

		2040		2040

		2041		2041

		2042		2042

		2043		2043

		2044		2044

		2045		2045

		2046		2046

		2047		2047

		2048		2048

		2049		2049

		2050		2050

		2051		2051

		2052		2052

		2053		2053

		2054		2054

		2055		2055

		2056		2056

		2057		2057

		2058		2058

		2059		2059

		2060		2060

		2061		2061

		2062		2062

		2063		2063

		2064		2064

		2065		2065

		2066		2066

		2067		2067

		2068		2068

		2069		2069

		2070		2070

		2071		2071

		2072		2072

		2073		2073

		2074		2074

		2075		2075

		2076		2076

		2077		2077

		2078		2078

		2079		2079

		2080		2080

		2081		2081

		2082		2082

		2083		2083

		2084		2084

		2085		2085

		2086		2086

		2087		2087

		2088		2088

		2089		2089

		2090		2090

		2091		2091

		2092		2092

		2093		2093

		2094		2094

		2095		2095

		2096		2096

		2097		2097

		2098		2098

		2099		2099

		2100		2100

		2101		2101

		2102		2102

		2103		2103

		2104		2104

		2105		2105

		2106		2106

		2107		2107

		2108		2108

		2109		2109

		2110		2110

		2111		2111

		2112		2112

		2113		2113

		2114		2114

		2115		2115

		2116		2116

		2117		2117

		2118		2118

		2119		2119

		2120		2120

		2121		2121

		2122		2122

		2123		2123

		2124		2124

		2125		2125

		2126		2126

		2127		2127

		2128		2128

		2129		2129

		2130		2130

		2131		2131

		2132		2132

		2133		2133

		2134		2134

		2135		2135

		2136		2136

		2137		2137

		2138		2138

		2139		2139

		2140		2140

		2141		2141

		2142		2142

		2143		2143

		2144		2144

		2145		2145

		2146		2146

		2147		2147

		2148		2148

		2149		2149

		2150		2150

		2151		2151

		2152		2152

		2153		2153

		2154		2154

		2155		2155

		2156		2156

		2157		2157

		2158		2158

		2159		2159

		2160		2160

		2161		2161

		2162		2162

		2163		2163

		2164		2164

		2165		2165

		2166		2166

		2167		2167

		2168		2168

		2169		2169

		2170		2170

		2171		2171

		2172		2172

		2173		2173

		2174		2174

		2175		2175

		2176		2176

		2177		2177

		2178		2178

		2179		2179

		2180		2180

		2181		2181

		2182		2182

		2183		2183

		2184		2184

		2185		2185

		2186		2186

		2187		2187

		2188		2188

		2189		2189

		2190		2190

		2191		2191

		2192		2192

		2193		2193

		2194		2194

		2195		2195

		2196		2196

		2197		2197

		2198		2198

		2199		2199

		2200		2200

		2201		2201

		2202		2202

		2203		2203

		2204		2204

		2205		2205

		2206		2206

		2207		2207

		2208		2208

		2209		2209

		2210		2210

		2211		2211

		2212		2212

		2213		2213

		2214		2214

		2215		2215

		2216		2216

		2217		2217

		2218		2218

		2219		2219

		2220		2220

		2221		2221

		2222		2222

		2223		2223

		2224		2224

		2225		2225

		2226		2226

		2227		2227

		2228		2228

		2229		2229

		2230		2230

		2231		2231

		2232		2232

		2233		2233

		2234		2234

		2235		2235

		2236		2236

		2237		2237

		2238		2238

		2239		2239

		2240		2240

		2241		2241

		2242		2242

		2243		2243

		2244		2244

		2245		2245

		2246		2246

		2247		2247

		2248		2248

		2249		2249

		2250		2250

		2251		2251

		2252		2252

		2253		2253

		2254		2254

		2255		2255

		2256		2256

		2257		2257

		2258		2258

		2259		2259

		2260		2260

		2261		2261

		2262		2262

		2263		2263

		2264		2264

		2265		2265

		2266		2266

		2267		2267

		2268		2268

		2269		2269

		2270		2270

		2271		2271

		2272		2272

		2273		2273

		2274		2274

		2275		2275

		2276		2276

		2277		2277

		2278		2278

		2279		2279

		2280		2280

		2281		2281

		2282		2282

		2283		2283

		2284		2284

		2285		2285

		2286		2286

		2287		2287

		2288		2288

		2289		2289

		2290		2290

		2291		2291

		2292		2292

		2293		2293

		2294		2294

		2295		2295

		2296		2296

		2297		2297

		2298		2298

		2299		2299

		2300		2300

		2301		2301

		2302		2302

		2303		2303

		2304		2304

		2305		2305

		2306		2306

		2307		2307

		2308		2308

		2309		2309

		2310		2310

		2311		2311

		2312		2312

		2313		2313

		2314		2314

		2315		2315

		2316		2316

		2317		2317

		2318		2318

		2319		2319

		2320		2320

		2321		2321

		2322		2322

		2323		2323

		2324		2324

		2325		2325

		2326		2326

		2327		2327

		2328		2328

		2329		2329

		2330		2330

		2331		2331

		2332		2332

		2333		2333

		2334		2334

		2335		2335

		2336		2336

		2337		2337

		2338		2338

		2339		2339

		2340		2340

		2341		2341

		2342		2342

		2343		2343

		2344		2344

		2345		2345

		2346		2346

		2347		2347

		2348		2348

		2349		2349

		2350		2350

		2351		2351

		2352		2352

		2353		2353

		2354		2354

		2355		2355

		2356		2356

		2357		2357

		2358		2358

		2359		2359

		2360		2360

		2361		2361

		2362		2362

		2363		2363

		2364		2364

		2365		2365

		2366		2366

		2367		2367

		2368		2368

		2369		2369

		2370		2370

		2371		2371

		2372		2372

		2373		2373

		2374		2374

		2375		2375

		2376		2376

		2377		2377

		2378		2378

		2379		2379

		2380		2380

		2381		2381

		2382		2382

		2383		2383

		2384		2384

		2385		2385

		2386		2386

		2387		2387

		2388		2388

		2389		2389

		2390		2390

		2391		2391

		2392		2392

		2393		2393

		2394		2394

		2395		2395

		2396		2396

		2397		2397

		2398		2398

		2399		2399

		2400		2400

		2401		2401

		2402		2402

		2403		2403

		2404		2404

		2405		2405

		2406		2406

		2407		2407

		2408		2408

		2409		2409

		2410		2410

		2411		2411

		2412		2412

		2413		2413

		2414		2414

		2415		2415

		2416

		2417

		2418

		2419

		2420

		2421

		2422

		2423

		2424

		2425

		2426

		2427

		2428

		2429

		2430

		2431

		2432

		2433

		2434

		2435

		2436

		2437

		2438

		2439

		2440

		2441

		2442

		2443

		2444

		2445

		2446

		2447

		2448

		2449

		2450

		2451

		2452

		2453

		2454

		2455

		2456

		2457

		2458

		2459

		2460

		2461

		2462

		2463

		2464

		2465

		2466

		2467

		2468

		2469

		2470

		2471

		2472

		2473

		2474

		2475

		2476

		2477



d

NOx, prop=0

NOx,B=0,co-fire

time,s

NOx,ppm

7

2

7

2

5

2

5

3

5

3

5

6

5

6

7

6

7

17

15

17

15

29

15

29

27

29

27

35

37

35

37

37

37

37

42

37

42

38

45

38

45

38

45

38

46

37

46

37

47

37

47

38

47

38

47

38

47

38

48

38

48

39

47

39

47

39

47

39

48

39

48

40

48

40

48

40

48

40

49

39

49

40

49

40

49

40

49

40

50

40

50

40

50

40

50

40

50

40

50

41

50

41

50

41

50

41

50

41

51

41

51

41

51

41

51

41

51

41

51

41

51

41

52

41

52

41

52

41

52

41

52

41

52

35

52

35

52

35

52

23

52

23

45

15

45

15

31

15

31

12

20

12

20

11

20

11

14

11

14

11

12

11

12

11

12

11

12

11

12

12

12

12

12

13

12

13

13

13

13

13

13

13

13

14

13

14

13

15

13

15

14

15

14

15

14

15

14

15

14

15

14

15

14

16

14

16

14

16

14

16

14

16

14

17

15

17

15

19

15

19

15

22

15

22

14

22

14

28

14

28

15

34

15

34

15

34

15

40

15

40

14

45

14

45

15

45

15

47

15

47

16

50

16

50

16

50

16

55

16

55

16

62

16

62

16

62

16

66

17

66

17

68

17

68

17

70

17

70

18

70

18

72

18

72

19

73

19

73

19

73

19

74

20

74

20

75

20

75

20

75

20

75

22

75

22

76

22

76

25

76

25

77

27

77

27

77

27

77

30

77

30

77

34

77

34

77

34

77

38

78

38

78

41

78

41

78

45

78

45

78

45

78

50

78

50

78

55

78

55

77

55

77

59

77

59

76

63

76

63

76

63

76

69

76

69

76

75

76

75

77

75

77

81

77

81

78

86

78

86

78

86

78

88

79

88

79

88

79

88

78

88

78

88

77

88

77

88

77

88

77

87

77

87

76

87

76

87

76

87

76

86

76

86

76

86

76

87

77

87

77

87

77

87

77

87

77

87

78

87

78

88

78

88

79

89

79

89

79

89

79

91

79

91

80

92

80

92

79

92

79

93

79

93

78

94

78

94

77

94

77

93

77

93

77

93

77

93

78

93

78

93

79

93

79

92

79

92

79

88

79

88

79

88

79

82

79

82

79

77

79

77

79

77

79

74

79

74

78

72

78

72

79

72

79

71

78

71

78

69

78

69

78

69

78

68

77

68

77

69

77

69

77

69

77

73

77

73

77

76

77

76

76

76

76

76

77

76

77

75

77

75

77

75

77

75

77

75

77

77

77

77

76

78

76

78

74

78

74

79

74

79

74

84

74

84

74

84

74

88

75

88

75

90

75

90

75

90

75

90

76

90

76

90

76

90

76

90

76

90

76

90

76

91

76

91

77

91

77

91

76

91

76

90

74

90

74

88

74

88

73

88

73

86

72

86

72

84

72

84

71

84

71

84

71

84

71

84

71

84

71

85

71

85

71

85

71

85

71

85

71

85

71

85

71

85

71

86

71

86

70

85

70

85

70

85

70

84

71

84

70

83

70

83

71

83

71

83

70

83

70

83

70

83

70

82

70

82

71

82

71

82

71

82

71

82

71

82

71

82

71

83

71

83

72

84

72

84

72

84

72

85

73

85

73

86

73

86

74

86

74

85

75

85

75

84

75

84

76

85

76

85

76

85

76

84

76

84

77

83

77

83

77

83

77

81

77

81

77

80

77

80

78

80

78

78

79

78

79

76

79

76

80

76

80

76

80

76

80

76

80

76

80

76

80

76

80

76

80

75

80

75

79

75

79

73

78

73

78

73

78

73

78

74

78

74

78

74

78

75

78

75

77

74

77

74

77

74

77

74

77

74

77

74

77

74

78

74

78

74

78

74

78

74

78

74

79

74

79

74

79

74

79

75

79

75

79

75

79

75

79

75

79

75

79

75

80

75

80

75

80

75

80

76

80

76

80

78

80

78

80

78

80

77

80

77

80

76

80

76

79

76

79

75

79

75

79

75

79

75

79

75

79

76

80

76

80

77

80

77

80

78

80

78

80

78

80

78

80

78

80

78

80

78

80

78

80

79

80

79

80

79

80

79

80

79

80

79

80

79

80

80

80

80

79

80

79

80

80

80

80

80

80

80

79

80

79

80

79

80

79

79

79

79

79

78

79

78

78

78

78

78

78

78

79

77

79

77

80

77

80

78

80

78

80

78

80

78

80

78

80

78

81

78

81

78

81

78

80

78

80

78

81

78

81

77

81

77

81

76

81

76

80

76

80

76

80

76

81

76

81

76

80

76

80

75

80

75

80

74

80

74

80

74

80

74

80

74

80

73

80

73

80

73

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

80

71

81

71

81

72

81

72

81

73

81

73

81

73

81

74

81

74

81

74

81

74

82

74

82

75

81

75

81

76

81

76

81

76

81

76

81

76

81

76

81

76

81

76

81

76

80

76

80

75

80

75

80

75

80

75

80

75

80

74

80

74

80

74

80

74

80

74

80

72

80

72

80

72

80

72

80

72

80

71

80

71

80

71

80

71

79

72

79

72

80

72

80

74

80

74

80

74

80

74

79

74

79

74

79

74

79

76

79

76

79

76

79

77

79

77

79

79

79

79

79

79

79

81

79

81

79

81

79

81

79

82

79

81

78

81

78

84

78

84

79

85

79

85

79

85

79

84

79

84

80

84

80

84

79

84

79

85

78

85

78

85

78

85

78

85

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

78

84

77

84

77

83

77

83

77

83

77

81

77

81

77

81

77

81

76

82

76

82

77

82

77

83

77

83

77

82

77

82

77

82

77

82

77

82

77

82

77

82

77

82

77

81

77

81

77

81

77

81

78

81

78

82

78

82

78

82

78

82

79

82

79

82

79

82

79

82

79

82

79

83

79

83

79

83

79

85

79

85

80

86

80

86

80

86

80

87

80

87

80

86

80

86

80

86

80

85

80

85

80

84

80

84

80

84

80

84

81

84

81

83

81

83

81

83

81

83

81

83

81

82

81

82

81

81

81

81

81

81

81

80

81

80

81

79

81

79

81

79

81

78

80

78

80

77

80

77

79

77

79

77

80

77

80

76

80

76

79

75

79

75

79

75

79

76

79

76

79

76

79

76

79

76

79

75

79

75

79

74

79

74

79

74

79

73

79

73

79

74

79

74

78

74

78

74

78

74

78

74

78

74

79

74

79

74

79

74

79

76

79

76

79

76

79

76

80

76

80

77

80

77

80

77

80

77

80

77

80

78

81

78

81

78

81

78

82

78

82

80

82

80

82

81

82

81

81

81

81

82

82

82

82

84

82

84

82

85

82

85

82

85

82

86

82

86

81

87

81

87

81

87

81

86

81

86

80

85

80

85

81

85

81

84

81

84

81

83

81

83

81

83

81

83

81

83

81

83

81

83

81

84

81

84

81

84

81

84

81

84

81

85

81

84

80

84

80

85

80

85

79

87

79

87

79

87

79

87

80

87

80

88

80

88

79

88

79

88

79

88

79

89

79

89

78

89

78

89

77

89

77

89

77

89

77

90

77

90

77

90

77

90

77

90

76

90

76

90

76

90

76

89

76

89

75

86

75

86

75

86

75

86

75

86

75

86

75

86

75

86

75

85

75

85

75

84

75

84

75

84

75

84

75

84

75

84

75

84

75

82

75

82

75

82

75

80

75

80

74

78

74

78

74

78

74

77

74

77

74

77

74

77

74

77

74

77

73

77

73

79

73

79

74

79

74

79

74

79

74

79

74

79

74

79

74

79

74

79

74

78

74

78

74

78

74

78

73

78

73

79

73

79

73

80

73

80

73

80

73

79

73

79

74

77

74

77

74

77

74

77

74

77

74

78

74

78

74

78

74

79

75

79

75

81

75

81

75

83

75

82

75

82

75

82

75

82

75

84

75

84

75

84

75

85

75

85

74

85

74

85

74

85

74

85

74

85

74

86

74

86

73

86

73

86

73

86

73

85

73

85

72

85

72

85

71

85

71

85

71

85

71

86

71

85

71

85

71

84

71

84

70

84

70

84

71

84

71

84

70

84

70

84

70

84

70

84

70

84

70

84

70

84

70

84

69

84

69

85

69

85

69

86

69

86

70

87

70

87

71

87

71

86

71

86

70

86

70

86

71

86

71

85

71

85

71

84

71

84

71

84

71

83

70

83

70

83

70

83

69

83

69

83

70

83

70

82

70

82

69

81

69

81

68

81

68

81

68

81

68

81

68

81

69

81

69

81

69

81

69

81

69

81

70

81

70

80

70

80

70

79

70

79

69

79

69

80

69

80

69

81

69

81

69

82

69

82

69

82

69

83

69

83

70

83

70

83

71

83

71

83

71

83

71

83

71

83

71

83

71

82

71

82

71

81

71

81

71

81

71

80

70

80

70

80

70

80

71

80

71

81

69

81

69

81

69

81

68

81

68

80

68

80

68

79

68

79

68

79

68

79

68

79

68

78

68

78

68

78

68

78

67

78

67

77

67

77

67

76

67

76

67

76

67

76

67

76

67

75

67

75

67

74

67

74

66

74

66

74

66

74

66

75

66

75

66

75

66

74

66

74

67

73

67

73

67

73

67

74

67

74

67

74

67

74

67

74

67

74

66

74

66

76

66

76

66

76

66

78

67

78

67

78

67

78

67

78

67

79

67

79

67

79

67

79

68

79

68

79

68

79

68

79

68

79

68

80

68

80

68

80

68

81

69

81

69

81

69

81

69

81

69

81

69

81

69

82

69

82

69

83

69

83

70

83

70

83

70

83

70

81

70

81

69

81

69

80

69

80

69

80

69

80

69

80

69

80

70

80

70

81

70

81

69

81

69

83

70

83

70

85

70

85

71

87

71

87

71

87

71

88

71

88

71

87

71

87

71

87

71

86

71

86

71

86

71

86

72

86

72

87

72

87

73

86

73

86

72

86

72

86

73

86

73

86

73

86

74

86

74

86

74

86

74

86

74

86

74

87

74

87

73

87

73

88

73

88

73

89

73

89

74

89

74

88

74

88

74

87

74

87

75

87

75

87

76

87

75

88

75

88

76

88

76

88

77

88

77

87

77

87

78

87

78

87

77

87

77

86

77

86

76

85

76

85

76

85

76

86

76

86

77

86

77

86

78

86

78

86

77

86

77

86

77

86

76

86

76

86

75

86

75

87

75

87

75

87

75

88

76

88

76

89

76

89

77

89

77

89

78

89

78

88

78

88

78

88

78

88

78

88

78

88

78

88

78

88

78

88

79

88

79

89

78

89

78

91

78

91

78

91

78

93

78

93

78

93

78

93

77

91

77

91

76

91

76

89

76

89

77

89

77

89

77

89

77

90

77

90

77

91

77

91

78

91

78

90

78

90

78

90

78

90

77

90

77

90

78

90

78

86

78

86

78

83

78

83

79

83

79

81

79

81

79

81

79

81

79

81

79

82

79

82

79

82

79

82

78

82

78

82

78

82

78

82

78

82

77

82

77

81

77

81

77

82

77

82

78

82

78

83

77

83

77

84

77

84

78

85

78

85

78

85

78

85

78

85

78

84

78

84

78

84

78

84

78

84

79

84

79

84

80

84

80

84

80

84

80

84

80

84

80

84

80

85

79

85

79

85

79

85

79

85

79

85

78

85

78

84

78

84

77

83

77

83

77

83

77

82

77

82

76

80

76

80

75

80

75

78

75

78

75

77

75

77

74

77

74

76

75

76

75

76

75

76

75

76

75

75

75

75

75

74

75

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

76

74

75

74

75

74

75

74

75

73

75

73

75

73

75

73

75

73

75

75

74

75

74

76

74

76

74

76

74

77

74

77

74

78

74

78

74

79

74

79

74

79

74

79

74

79

74

81

74

82

73

82

73

85

73

85

73

84

73

84

72

84

72

82

71

82

71

79

71

79

71

79

71

76

71

76

71

74

71

74

73

72

73

72

73

72

73

71

73

71

71

71

71

71

71

71

71

70

71

70

71

67

71

67

70

67

70

63

70

63

69

60

69

60

70

60

70

59

69

59

69

58

69

58

69

58

69

56

70

56

70

55

70

55

71

54

71

54

71

54

71

53

71

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

53

70

51

70

51

70

51

70

50

70

50

70

49

70

49

69

48

69

48

69

48

69

47

69

47

69

47

69

47

69

47

69

46

69

46

69

46

69

46

69

46

69

46

69

46

69

47

69

47

67

47

67

48

65

48

65

48

65

48

65

48

65

48

64

48

64

48

64

48

64

48

64

48

63

48

63

49

63

49

64

50

64

50

64

50

64

51

64

51

65

50

65

50

64

50

64

50

63

50

63

49

63

49

63

49

63

49

63

49

63

50

63

50

63

51

63

51

61

51

61

50

61

50

60

47

60

47

60

47

60

43

60

43

59

41

59

41

59

41

59

41

59

41

60

39

60

39

59

39

59

39

57

39

57

39

57

39

55

38

55

38

53

38

53

38

53

38

52

38

52

38

52

38

52

38

52

38

51

39

51

39

51

39

51

39

50

39

50

40

50

40

51

40

51

40

51

40

51

40

51

40

50

40

50

39

50

39

50

38

50

38

50

38

50

38

50

38

50

40

50

40

51

40

51

40

49

40

49

39

49

39

48

40

48

40

48

40

48

39

49

39

48

39

48

39

48

39

48

39

48

39

48

39

48

39

47

38

47

38

46

38

46

37

46

37

46

37

46

37

46

37

46

37

46

37

46

36

46

36

45

36

45

37

44

37

44

38

44

38

44

38

44

38

45

38

45

37

45

37

45

37

45

37

44

37

44

36

44

36

43

37

43

37

42

37

42

37

42

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

44

37

44

37

46

37

46

37

46

37

48

37

48

39

49

39

49

39

49

39

49

37

49

37

47

37

47

36

47

36

46

33

46

33

44

33

44

31

44

31

43

31

43

31

43

31

43

31

42

31

42

33

42

33

40

33

40

35

40

35

40

35

40

35

39

34

39

34

39

34

39

33

39

33

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

34

38

33

38

33

37

33

37

33

38

33

38

33

38

33

39

33

39

33

41

33

41

34

41

34

42

36

42

36

42

36

42

38

42

38

41

41

41

41

43

41

43

41

43

41

45

40

45

40

44

40

44

38

43

38

43

37

43

37

42

37

42

37

42

37

42

37

42

37

42

39

42

39

41

39

41

42

41

42

41

44

41

44

41

44

41

44

41

44

41

43

41

43

42

43

42

41

44

41

44

39

44

39

45

39

45

38

46

38

46

38

46

38

44

38

44

38

43

38

43

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

43

37

44

37

44

37

44

37

44

36

44

36

44

36

44

35

44

35

44

35

44

35

43

35

43

34

43

34

43

35

43

35

44

35

44

35

45

35

45

35

45

35

45

34

45

34

44

34

44

34

44

34

42

34

42

34

40

34

40

35

38

35

38

35

38

35

35

35

35

35

34

35

34

34

34

34

34

34

34

34

35

34

35

35

35

35

34

35

34

35

33

35

33

35

33

35

33

36

33

36

34

36

34

35

35

35

35

37

35

37

35

37

35

38

35

38

35

39

35

39

35

39

35

39

35

39

35

40

35

40

36

40

36

40

36

40

36

40

36

40

36

40

36

40

37

40

37

40

37

40

37

39

37

39

37

39

37

39

37

39

38

40

38

40

38

40

38

40

37

40

37

40

37

40

37

40

37

40

38

40

38

41

38

41

38

40

38

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

40

39

39

39

39

39

38

39

38

40

38

40

38

40

38

40

38

40

38

39

38

39

37

40

37

40

36

40

36

41

36

41

36

41

36

41

37

41

37

41

37

41

37

42

37

42

37

42

37

42

37

42

37

42

37

42

37

41

37

40

37

40

37

40

37

40

37

40

37

40

37

40

37

40

36

40

36

41

36

41

36

41

36

41

35

41

35

40

35

40

34

40

34

41

33

41

33

41

33

41

33

41

33

41

32

41

32

42

32

42

33

43

33

43

34

43

34

44

34

44

34

43

34

43

34

43

34

44

34

44

34

44

34

44

35

44

35

45

35

45

35

45

35

45

34

45

34

45

34

45

34

46

34

46

34

47

34

47

33

47

33

47

33

47

33

48

33

48

33

48

33

49

33

49

33

49

33

49

32

49

32

50

32

50

32

50

32

50

32

50

32

51

32

51

32

50

32

50

31

50

31

50

30

50

30

51

30

51

30

51

30

51

30

51

30

52

30

52

30

52

30

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

29

52

28

52

28

52

28

52

29

51

29

51

28

51

28

51

28

51

28

52

28

52

28

52

28

52

27

52

27

53

27

53

27

53

27

53

26

53

26

54

26

54

26

54

26

54

27

54

27

53

27

53

28

54

28

53

27

53

27

54

27

54

27

54

27

54

27

54

27

53

27

53

27

53

27

53

27

53

27

53

26

53

26

53

26

53

25

53

25

52

26

52

26

53

26

53

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

54

26

53

25

53

25

52

25

52

25

52

25

52

25

52

25

52

25

52

26

51

26

51

25

51

25

51

25

51

25

52

25

52

25

52

25

52

25

52

25

52

25

52

25

52

25

52

24

52

24

52

24

52

23

52

23

52

23

52

23

52

23

52

23

52

23

52

23

52

23

51

23

51

22

51

22

52

23

52

23

51

23

51

22

51

22

51

22

51

22

51

22

51

22

51

22

51

21

51

21

51

21

51

20

51

20

51

21

51

21

51

21

51

21

51

21

51

21

51

21

51

20

51

20

51

20

51

20

51

20

51

20

51

20

51

21

51

21

50

20

50

20

50

20

50

19

50

19

50

19

50

19

50

19

49

19

49

19

49

19

49

18

50

18

50

17

50

17

49

17

49

17

49

17

49

17

49

17

48

17

48

17

48

17

48

17

48

17

46

17

46

17

46

17

46

17

46

17

45

18

45

18

45

18

45

18

45

18

43

18

43

18

43

18

43

18

43

18

43

18

43

18

42

18

42

17

40

17

40

16

40

16

38

16

38

16

34

16

34

16

34

16

37

15

37

15

44

15

44

15

44

15

47

14

47

14

47

14

47

15

47

15

47

15

47

15

47

15

47

14

46

14

46

14

46

14

46

14

46

14

46

14

46

14

46

14

45

14

45

14

42

14

42

14

42

14

36

14

36

14

34

14

34

13

34

13

39

13

39

14

42

14

42

15

43

15

43

15

43

15

43

15

43

15

43

15

43

15

43

15

43

14

43

14

43

14

43

14

43

14

43

14

43

14

42

14

42

14

42

14

41

14

41

14

40

14

40

14

40

15

40

15

40

15

40

15

40

16

39

16

39

15

39

15

38

15

38

14

34

14

34

14

34

14

31

14

31

14

33

14

33

13

33

13

37

13

37

13

38

13

38

14

38

14

39

14

39

13

39

13

39

13

39

13

39

13

39

13

37

13

37

14

36

14

35

13

35

13

34

13

34

13

33

13

33

13

33

13

29

13

29

13

26

13

26

13

26

13

26

13

26

13

24

13

24

13

24

13

22

13

22

13

22

13

22

13

24

13

24

12

24

12

27

12

27

12

28

12

28

12

28

12

28

12

28

12

28

12

28

12

28

12

27

12

27

12

26

12

26

12

26

12

25

13

25

13

24

13

24

13

23

13

23

13

23

13

22

13

22

13

22

13

22

13

22

13

22

13

22

12

21

12

21

12

21

12

21

12

21

12

20

12

20

12

20

13

20

13

20

13

20

13

20

13

20

13

20

13

20

13

19

13

19

13

20

12

20

12

20

12

20

12

20

12

20

12

20

12

20

12

20

13

20

12

20

12

20

12

20

12

20

12

20

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

12

19

13

19

13

19

13

19

12

19

12

19

12

18

12

18

12

18

12

19

12

19

13

19

13

19

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

12

18

12

18

12

18

12

18

12

19

12

19

12

18

12

18

12

18

13

18

13

18

13

18

13

18

13

18

12

18

12

18

12

19

12

19

12

18

12

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

13

18

14

17

14

17

15

18

15

18

15

18

14

18

14

18

14

18

14

18

14

18

13

18

13

18

13

17

13

17

13

18

13

18

13

18

12

18

12

18

12

18

12

18

12

18

12

17

12

17

12

17

12

17

12

17

12

18

12

18

12

18

12

18

12

18

12

17

12

17

11

17

11

17

11

17

11

17

11

17

12

18

12

18

12

18

12

18

12

18

11

18

11

18

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

10

17

10

17

11

17

11

17

11

17

12

18

12

18

11

17

11

17

11

17

11

18

11

18

11

18

11

18

11

18

11

17

11

17

12

17

12

17

12

17

12

17

12

17

11

17

11

17

11

18

11

18

11

18

11

18

11

18

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

17

11

18

11

18

11

18

11

17

11

17

11

17

11

17

11

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

10

11

11

11

11

11

11

11

11

11

11

12

12

11

11

10

10

10

10

10

10

10

10

11

11

11

10

10

10

10

10

11

11

10

10

9

9

9

10

10

10

10

10



		0		0		0		0		0

		0		0		0		0		0

		5		5		5		5		5

		5		5		5		5		5

		10		10		10		10		10

		10		10		10		10		10

		15		15		15		15		15

		15		15		15		15		15

		20		20		20		20		20

		20		20		20		20		20

		25		25		25		25		25

		25		25		25		25		25

		30		30		30		30		30



vax,40/70,cold air, L=130mm

vax, 40/90,cold air

vax,40/100,cold air

vax,47/70,cold air

vax55/70,cold air

Radial distance,mm

Velocity,m/s

0.04

1.2

1.89

2.04

2.41

1.745

2.13

2.355

2.505

0

1.24

1.725

2.1

2.41

1.69

2.23

2.37

2.545

0.08

1.365

1.93

2.21

2.365

1.52

2.225

2.22

2.48

0

0.64

1.9

2.01

2.3

0

1.14

1.99

1.98

2.35

1.21

0.04

1.285

1.85

2.005

0.78

1.4

0.34

1.66

1.99

1.435

1.66

1.41

1.08

1.3

1.52

1.385

1.89

1.24

1.535

1.845

1.19

1.145

1.28

1.65



		0		0

		0		0

		5		5

		5		5

		10		10

		10		10

		15		15

		15		15

		20		20

		20		20

		25		25

		25		25

		30		30



vax,40/70,cold air, L=130mm

vtg,40/70,cold air

Radial distance,mm

Velocity,m/s

0.04

1.22

1.385

0

0.74

1.18

0.08

0.42

0.24

0

1.675

0

1.87

1.21

2.25

0.78

2.43

1.435

2.465

1.52

2.525

1.845

2.415



		1		1		1

		2		2		2

		3		3		3

		4		4		4

		5		5		5

		6		6		6

		7		7		7

		8		8		8

		9		9		9

		10		10		10

		11		11		11

		12		12		12

		13		13		13

		14		14		14

		15		15		15

		16		16		16

		17		17		17

		18		18		18

		19		19		19

		20		20		20

		21		21		21

		22		22		22

		23		23		23

		24		24		24

		25		25		25

		26		26		26

		27		27		27

		28		28		28

		29		29		29

		30		30		30

		31		31		31

		32		32		32

		33		33		33

		34		34		34

		35		35		35

		36		36		36

		37		37		37

		38		38		38

		39		39		39

		40		40		40

		41		41		41

		42		42		42

		43		43		43

		44		44		44

		45		45		45

		46		46		46

		47		47		47

		48		48		48

		49		49		49

		50		50		50

		51		51		51

		52		52		52

		53		53		53

		54		54		54

		55		55		55

		56		56		56

		57		57		57

		58		58		58

		59		59		59

		60		60		60

		61		61		61

		62		62		62

		63		63		63

		64		64		64

		65		65		65

		66		66		66

		67		67		67

		68		68		68

		69		69		69

		70		70		70

		71		71		71

		72		72		72

		73		73		73

		74		74		74

		75		75		75

		76		76		76

		77		77		77

		78		78		78

		79		79		79

		80		80		80

		81		81		81

		82		82		82

		83		83		83

		84		84		84

		85		85		85

		86		86		86

		87		87		87

		88		88		88

		89		89		89

		90		90		90

		91		91		91

		92		92		92

		93		93		93

		94		94		94

		95		95		95

		96		96		96

		97		97		97

		98		98		98

		99		99		99

		100		100		100

		101		101		101

		102		102		102

		103		103		103

		104		104		104

		105		105		105

		106		106		106

		107		107		107

		108		108		108

		109		109		109

		110		110		110

		111		111		111

		112		112		112

		113		113		113

		114		114		114

		115		115		115

		116		116		116

		117		117		117

		118		118		118

		119		119		119

		120		120		120

		121		121		121

		122		122		122

		123		123		123

		124		124		124

		125		125		125

		126		126		126

		127		127		127

		128		128		128

		129		129		129

		130		130		130

		131		131		131

		132		132		132

		133		133		133

		134		134		134

		135		135		135

		136		136		136

		137		137		137

		138		138		138

		139		139		139

		140		140		140

		141		141		141

		142		142		142

		143		143		143

		144		144		144

		145		145		145

		146		146		146

		147		147		147

		148		148		148

		149		149		149

		150		150		150

		151		151		151

		152		152		152

		153		153		153

		154		154		154

		155		155		155

		156		156		156

		157		157		157

		158		158		158

		159		159		159

		160		160		160

		161		161		161

		162		162		162

		163		163		163

		164		164		164

		165		165		165

		166		166		166

		167		167		167

		168		168		168

		169		169		169

		170		170		170

		171		171		171

		172		172		172

		173		173		173

		174		174		174

		175		175		175

		176		176		176

		177		177		177

		178		178		178

		179		179		179

		180		180		180

		181		181		181

		182		182		182

		183		183		183

		184		184		184

		185		185		185

		186		186		186

		187		187		187

		188		188		188

		189		189		189

		190		190		190

		191		191		191

		192		192		192

		193		193		193

		194		194		194

		195		195		195

		196		196		196

		197		197		197

		198		198		198

		199		199		199

		200		200		200

		201		201		201

		202		202		202

		203		203		203

		204		204		204

		205		205		205

		206		206		206

		207		207		207

		208		208		208

		209		209		209

		210		210		210

		211		211		211

		212		212		212

		213		213		213

		214		214		214

		215		215		215

		216		216		216

		217		217		217

		218		218		218

		219		219		219

		220		220		220

		221		221		221

		222		222		222

		223		223		223

		224		224		224

		225		225		225

		226		226		226

		227		227		227

		228		228		228

		229		229		229

		230		230		230

		231		231		231

		232		232		232

		233		233		233

		234		234		234

		235		235		235

		236		236		236

		237		237		237

		238		238		238

		239		239		239

		240		240		240

		241		241		241

		242		242		242

		243		243		243

		244		244		244

		245		245		245

		246		246		246

		247		247		247

		248		248		248

		249		249		249

		250		250		250

		251		251		251

		252		252		252

		253		253		253

		254		254		254

		255		255		255

		256		256		256

		257		257		257

		258		258		258

		259		259		259

		260		260		260

		261		261		261

		262		262		262

		263		263		263

		264		264		264

		265		265		265

		266		266		266

		267		267		267

		268		268		268

		269		269		269

		270		270		270

		271		271		271

		272		272		272

		273		273		273

		274		274		274

		275		275		275

		276		276		276

		277		277		277

		278		278		278

		279		279		279

		280		280		280

		281		281		281

		282		282		282

		283		283		283

		284		284		284

		285		285		285

		286		286		286

		287		287		287

		288		288		288

		289		289		289

		290		290		290

		291		291		291

		292		292		292

		293		293		293

		294		294		294

		295		295		295

		296		296		296

		297		297		297

		298		298		298

		299		299		299

		300		300		300

		301		301		301

		302		302		302

		303		303		303

		304		304		304

		305		305		305

		306		306		306

		307		307		307

		308		308		308

		309		309		309

		310		310		310

		311		311		311

		312		312		312

		313		313		313

		314		314		314

		315		315		315

		316		316		316

		317		317		317

		318		318		318

		319		319		319

		320		320		320

		321		321		321

		322		322		322

		323		323		323

		324		324		324

		325		325		325

		326		326		326

		327		327		327

		328		328		328

		329		329		329

		330		330		330

		331		331		331

		332		332		332

		333		333		333

		334		334		334

		335		335		335

		336		336		336

		337		337		337

		338		338		338

		339		339		339

		340		340		340

		341		341		341

		342		342		342

		343		343		343

		344		344		344

		345		345		345

		346		346		346

		347		347		347

		348		348		348

		349		349		349

		350		350		350

		351		351		351

		352		352		352

		353		353		353

		354		354		354

		355		355		355

		356		356		356

		357		357		357

		358		358		358

		359		359		359

		360		360		360

		361		361		361

		362		362		362

		363		363		363

		364		364		364

		365		365		365

		366		366		366

		367		367		367

		368		368		368

		369		369		369

		370		370		370

		371		371		371

		372		372		372

		373		373		373

		374		374		374

		375		375		375

		376		376		376

		377		377		377

		378		378		378

		379		379		379

		380		380		380

		381		381		381

		382		382		382

		383		383		383

		384		384		384

		385		385		385

		386		386		386

		387		387		387

		388		388		388

		389		389		389

		390		390		390

		391		391		391

		392		392		392

		393		393		393

		394		394		394

		395		395		395

		396		396		396

		397		397		397

		398		398		398

		399		399		399

		400		400		400

		401		401		401

		402		402		402

		403		403		403

		404		404		404

		405		405		405

		406		406		406

		407		407		407

		408		408		408

		409		409		409

		410		410		410

		411		411		411

		412		412		412

		413		413		413

		414		414		414

		415		415		415

		416		416		416

		417		417		417

		418		418		418

		419		419		419

		420		420		420

		421		421		421

		422		422		422

		423		423		423

		424		424		424

		425		425		425

		426		426		426

		427		427		427

		428		428		428

		429		429		429

		430		430		430

		431		431		431

		432		432		432

		433		433		433

		434		434		434

		435		435		435

		436		436		436

		437		437		437

		438		438		438

		439		439		439

		440		440		440

		441		441		441

		442		442		442

		443		443		443

		444		444		444

		445		445		445

		446		446		446

		447		447		447

		448		448		448

		449		449		449

		450		450		450

		451		451		451

		452		452		452

		453		453		453

		454		454		454

		455		455		455

		456		456		456

		457		457		457

		458		458		458

		459		459		459

		460		460		460

		461		461		461

		462		462		462

		463		463		463

		464		464		464

		465		465		465

		466		466		466

		467		467		467

		468		468		468

		469		469		469

		470		470		470

		471		471		471

		472		472		472

		473		473		473

		474		474		474

		475		475		475

		476		476		476

		477		477		477

		478		478		478

		479		479		479

		480		480		480

		481		481		481

		482		482		482

		483		483		483

		484		484		484

		485		485		485

		486		486		486

		487		487		487

		488		488		488

		489		489		489

		490		490		490

		491		491		491

		492		492		492

		493		493		493

		494		494		494

		495		495		495

		496		496		496

		497		497		497

		498		498		498

		499		499		499

		500		500		500

		501		501		501

		502		502		502

		503		503		503

		504		504		504

		505		505		505

		506		506		506

		507		507		507

		508		508		508

		509		509		509

		510		510		510

		511		511		511

		512		512		512

		513		513		513

		514		514		514

		515		515		515

		516		516		516

		517		517		517

		518		518		518

		519		519		519

		520		520		520

		521		521		521

		522		522		522

		523		523		523

		524		524		524

		525		525		525

		526		526		526

		527		527		527

		528		528		528

		529		529		529

		530		530		530

		531		531		531

		532		532		532

		533		533		533

		534		534		534

		535		535		535

		536		536		536

		537		537		537

		538		538		538

		539		539		539

		540		540		540

		541		541		541

		542		542		542

		543		543		543

		544		544		544

		545		545		545

		546		546		546

		547		547		547

		548		548		548

		549		549		549

		550		550		550

		551		551		551

		552		552		552

		553		553		553

		554		554		554

		555		555		555

		556		556		556

		557		557		557

		558		558		558

		559		559		559

		560		560		560

		561		561		561

		562		562		562

		563		563		563

		564		564		564

		565		565		565

		566		566		566

		567		567		567

		568		568		568

		569		569		569

		570		570		570

		571		571		571

		572		572		572

		573		573		573

		574		574		574

		575		575		575

		576		576		576

		577		577		577

		578		578		578

		579		579		579

		580		580		580

		581		581		581

		582		582		582

		583		583		583

		584		584		584

		585		585		585

		586		586		586

		587		587		587

		588		588		588

		589		589		589

		590		590		590

		591		591		591

		592		592		592

		593		593		593

		594		594		594

		595		595		595

		596		596		596

		597		597		597

		598		598		598

		599		599		599

		600		600		600

		601		601		601

		602		602		602

		603		603		603

		604		604		604

		605		605		605

		606		606		606

		607		607		607

		608		608		608

		609		609		609

		610		610		610

		611		611		611

		612		612		612

		613		613		613

		614		614		614

		615		615		615

		616		616		616

		617		617		617

		618		618		618

		619		619		619

		620		620		620

		621		621		621

		622		622		622

		623		623		623

		624		624		624

		625		625		625

		626		626		626

		627		627		627

		628		628		628

		629		629		629

		630		630		630

		631		631		631

		632		632		632

		633		633		633

		634		634		634

		635		635		635

		636		636		636

		637		637		637

		638		638		638

		639		639		639

		640		640		640

		641		641		641

		642		642		642

		643		643		643

		644		644		644

		645		645		645

		646		646		646

		647		647		647

		648		648		648

		649		649		649

		650		650		650

		651		651		651

		652		652		652

		653		653		653

		654		654		654

		655		655		655

		656		656		656

		657		657		657

		658		658		658

		659		659		659

		660		660		660

		661		661		661

		662		662		662

		663		663		663

		664		664		664

		665		665		665

		666		666		666

		667		667		667

		668		668		668

		669		669		669

		670		670		670

		671		671		671

		672		672		672

		673		673		673

		674		674		674

		675		675		675

		676		676		676

		677		677		677

		678		678		678

		679		679		679

		680		680		680

		681		681		681

		682		682		682

		683		683		683

		684		684		684

		685		685		685

		686		686		686

		687		687		687

		688		688		688

		689		689		689

		690		690		690

		691		691		691

		692		692		692

		693		693		693

		694		694		694

		695		695		695

		696		696		696

		697		697		697

		698		698		698

		699		699		699

		700		700		700

		701		701		701

		702		702		702

		703		703		703

		704		704		704

		705		705		705

		706		706		706

		707		707		707

		708		708		708

		709		709		709

		710		710		710

		711		711		711

		712		712		712

		713		713		713

		714		714		714

		715		715		715

		716		716		716

		717		717		717

		718		718		718

		719		719		719

		720		720		720

		721		721		721

		722		722		722

		723		723		723

		724		724		724

		725		725		725

		726		726		726

		727		727		727

		728		728		728

		729		729		729

		730		730		730

		731		731		731

		732		732		732

		733		733		733

		734		734		734

		735		735		735

		736		736		736

		737		737		737

		738		738		738

		739		739		739

		740		740		740

		741		741		741

		742		742		742

		743		743		743

		744		744		744

		745		745		745

		746		746		746

		747		747		747

		748		748		748

		749		749		749

		750		750		750

		751		751		751

		752		752		752

		753		753		753

		754		754		754

		755		755		755

		756		756		756

		757		757		757

		758		758		758

		759		759		759

		760		760		760

		761		761		761

		762		762		762

		763		763		763

		764		764		764

		765		765		765

		766		766		766

		767		767		767

		768		768		768

		769		769		769

		770		770		770

		771		771		771

		772		772		772

		773		773		773

		774		774		774

		775		775		775

		776		776		776

		777		777		777

		778		778		778

		779		779		779

		780		780		780

		781		781		781

		782		782		782

		783		783		783

		784		784		784

		785		785		785

		786		786		786

		787		787		787

		788		788		788

		789		789		789

		790		790		790

		791		791		791

		792		792		792

		793		793		793

		794		794		794

		795		795		795

		796		796		796

		797		797		797

		798		798		798

		799		799		799

		800		800		800

		801		801		801

		802		802		802

		803		803		803

		804		804		804

		805		805		805

		806		806		806

		807		807		807

		808		808		808

		809		809		809

		810		810		810

		811		811		811

		812		812		812

		813		813		813

		814		814		814

		815		815		815

		816		816		816

		817		817		817

		818		818		818

		819		819		819

		820		820		820

		821		821		821

		822		822		822

		823		823		823

		824		824		824

		825		825		825

		826		826		826

		827		827		827

		828		828		828

		829		829		829

		830		830		830

		831		831		831

		832		832		832

		833		833		833

		834		834		834

		835		835		835

		836		836		836

		837		837		837

		838		838		838

		839		839		839

		840		840		840

		841		841		841

		842		842		842

		843		843		843

		844		844		844

		845		845		845

		846		846		846

		847		847		847

		848		848		848

		849		849		849

		850		850		850

		851		851		851

		852		852		852

		853		853		853

		854		854		854

		855		855		855

		856		856		856

		857		857		857

		858		858		858

		859		859		859

		860		860		860

		861		861		861

		862		862		862

		863		863		863

		864		864		864

		865		865		865

		866		866		866

		867		867		867

		868		868		868

		869		869		869

		870		870		870

		871		871		871

		872		872		872

		873		873		873

		874		874		874

		875		875		875

		876		876		876

		877		877		877

		878		878		878

		879		879		879

		880		880		880

		881		881		881

		882		882		882

		883		883		883

		884		884		884

		885		885		885

		886		886		886

		887		887		887

		888		888		888

		889		889		889

		890		890		890

		891		891		891

		892		892		892

		893		893		893

		894		894		894

		895		895		895

		896		896		896

		897		897		897

		898		898		898

		899		899		899

		900		900		900

		901		901		901

		902		902		902

		903		903		903

		904		904		904

		905		905		905

		906		906		906

		907		907		907

		908		908		908

		909		909		909

		910		910		910

		911		911		911

		912		912		912

		913		913		913

		914		914		914

		915		915		915

		916		916		916

		917		917		917

		918		918		918

		919		919		919

		920		920		920

		921		921		921

		922		922		922

		923		923		923

		924		924		924

		925		925		925

		926		926		926

		927		927		927

		928		928		928

		929		929		929

		930		930		930

		931		931		931

		932		932		932

		933		933		933

		934		934		934

		935		935		935

		936		936		936

		937		937		937

		938		938		938

		939		939		939

		940		940		940

		941		941		941

		942		942		942

		943		943		943

		944		944		944

		945		945		945

		946		946		946

		947		947		947

		948		948		948

		949		949		949

		950		950		950

		951		951		951

		952		952		952

		953		953		953

		954		954		954

		955		955		955

		956		956		956

		957		957		957

		958		958		958

		959		959		959

		960		960		960

		961		961		961

		962		962		962

		963		963		963

		964		964		964

		965		965		965

		966		966		966

		967		967		967

		968		968		968

		969		969		969

		970		970		970

		971		971		971

		972		972		972

		973		973		973

		974		974		974

		975		975		975

		976		976		976

		977		977		977

		978		978		978

		979		979		979

		980		980		980

		981		981		981

		982		982		982

		983		983		983

		984		984		984

		985		985		985

		986		986		986

		987		987		987

		988		988		988

		989		989		989

		990		990		990

		991		991		991

		992		992		992

		993		993		993

		994		994		994

		995		995		995

		996		996		996

		997		997		997

		998		998		998

		999		999		999

		1000		1000		1000

		1001		1001		1001

		1002		1002		1002

		1003		1003		1003

		1004		1004		1004

		1005		1005		1005

		1006		1006		1006

		1007		1007		1007

		1008		1008		1008

		1009		1009		1009

		1010		1010		1010

		1011		1011		1011

		1012		1012		1012

		1013		1013		1013

		1014		1014		1014

		1015		1015		1015

		1016		1016		1016

		1017		1017		1017

		1018		1018		1018

		1019		1019		1019

		1020		1020		1020

		1021		1021		1021

		1022		1022		1022

		1023		1023		1023

		1024		1024		1024

		1025		1025		1025

		1026		1026		1026

		1027		1027		1027

		1028		1028		1028

		1029		1029		1029

		1030		1030		1030

		1031		1031		1031

		1032		1032		1032

		1033		1033		1033

		1034		1034		1034

		1035		1035		1035

		1036		1036		1036

		1037		1037		1037

		1038		1038		1038

		1039		1039		1039

		1040		1040		1040

		1041		1041		1041

		1042		1042		1042

		1043		1043		1043

		1044		1044		1044

		1045		1045		1045

		1046		1046		1046

		1047		1047		1047

		1048		1048		1048

		1049		1049		1049

		1050		1050		1050

		1051		1051		1051

		1052		1052		1052

		1053		1053		1053

		1054		1054		1054

		1055		1055		1055

		1056		1056		1056

		1057		1057		1057

		1058		1058		1058

		1059		1059		1059

		1060		1060		1060

		1061		1061		1061

		1062		1062		1062

		1063		1063		1063

		1064		1064		1064

		1065		1065		1065

		1066		1066		1066

		1067		1067		1067

		1068		1068		1068

		1069		1069		1069

		1070		1070		1070

		1071		1071		1071

		1072		1072		1072

		1073		1073		1073

		1074		1074		1074

		1075		1075		1075

		1076		1076		1076

		1077		1077		1077

		1078		1078		1078

		1079		1079		1079

		1080		1080		1080

		1081		1081		1081

		1082		1082		1082

		1083		1083		1083

		1084		1084		1084

		1085		1085		1085

		1086		1086		1086

		1087		1087		1087

		1088		1088		1088

		1089		1089		1089

		1090		1090		1090

		1091		1091		1091

		1092		1092		1092

		1093		1093		1093

		1094		1094		1094

		1095		1095		1095

		1096		1096		1096

		1097		1097		1097

		1098		1098		1098

		1099		1099		1099

		1100		1100		1100

		1101		1101		1101

		1102		1102		1102

		1103		1103		1103

		1104		1104		1104

		1105		1105		1105

		1106		1106		1106

		1107		1107		1107

		1108		1108		1108

		1109		1109		1109

		1110		1110		1110

		1111		1111		1111

		1112		1112		1112

		1113		1113		1113

		1114		1114		1114

		1115		1115		1115

		1116		1116		1116

		1117		1117		1117

		1118		1118		1118

		1119		1119		1119

		1120		1120		1120

		1121		1121		1121

		1122		1122		1122

		1123		1123		1123

		1124		1124		1124

		1125		1125		1125

		1126		1126		1126

		1127		1127		1127

		1128		1128		1128

		1129		1129		1129

		1130		1130		1130

		1131		1131		1131

		1132		1132		1132

		1133		1133		1133

		1134		1134		1134

		1135		1135		1135

		1136		1136		1136

		1137		1137		1137

		1138		1138		1138

		1139		1139		1139

		1140		1140		1140

		1141		1141		1141

		1142		1142		1142

		1143		1143		1143

		1144		1144		1144

		1145		1145		1145

		1146		1146		1146

		1147		1147		1147

		1148		1148		1148

		1149		1149		1149

		1150		1150		1150

		1151		1151		1151

		1152		1152		1152

		1153		1153		1153

		1154		1154		1154

		1155		1155		1155

		1156		1156		1156

		1157		1157		1157

		1158		1158		1158

		1159		1159		1159

		1160		1160		1160

		1161		1161		1161

		1162		1162		1162

		1163		1163		1163

		1164		1164		1164

		1165		1165		1165

		1166		1166		1166

		1167		1167		1167

		1168		1168		1168

		1169		1169		1169

		1170		1170		1170

		1171		1171		1171

		1172		1172		1172

		1173		1173		1173

		1174		1174		1174

		1175		1175		1175

		1176		1176		1176

		1177		1177		1177

		1178		1178		1178

		1179		1179		1179

		1180		1180		1180

		1181		1181		1181

		1182		1182		1182

		1183		1183		1183

		1184		1184		1184

		1185		1185		1185

		1186		1186		1186

		1187		1187		1187

		1188		1188		1188

		1189		1189		1189

		1190		1190		1190

		1191		1191		1191

		1192		1192		1192

		1193		1193		1193

		1194		1194		1194

		1195		1195		1195

		1196		1196		1196

		1197		1197		1197

		1198		1198		1198

		1199		1199		1199

		1200		1200		1200

		1201		1201		1201

		1202		1202		1202

		1203		1203		1203

		1204		1204		1204

		1205		1205		1205

		1206		1206		1206

		1207		1207		1207

		1208		1208		1208

		1209		1209		1209

		1210		1210		1210

		1211		1211		1211

		1212		1212		1212

		1213		1213		1213

		1214		1214		1214

		1215		1215		1215

		1216		1216		1216

		1217		1217		1217

		1218		1218		1218

		1219		1219		1219

		1220		1220		1220

		1221		1221		1221

		1222		1222		1222

		1223		1223		1223

		1224		1224		1224

		1225		1225		1225

		1226		1226		1226

		1227		1227		1227

		1228		1228		1228

		1229		1229		1229

		1230		1230		1230

		1231		1231		1231

		1232		1232		1232

		1233		1233		1233

		1234		1234		1234

		1235		1235		1235

		1236		1236		1236

		1237		1237		1237

		1238		1238		1238

		1239		1239		1239

		1240		1240		1240

		1241		1241		1241

		1242		1242		1242

		1243		1243		1243

		1244		1244		1244

		1245		1245		1245

		1246		1246		1246

		1247		1247		1247

		1248		1248		1248

		1249		1249		1249

		1250		1250		1250

		1251		1251		1251

		1252		1252		1252

		1253		1253		1253

		1254		1254		1254

		1255		1255		1255

		1256		1256		1256

		1257		1257		1257

		1258		1258		1258

		1259		1259		1259

		1260		1260		1260

		1261		1261		1261

		1262		1262		1262

		1263		1263		1263

		1264		1264		1264

		1265		1265		1265

		1266		1266		1266

		1267		1267		1267

		1268		1268		1268

		1269		1269		1269

		1270		1270		1270

		1271		1271		1271

		1272		1272		1272

		1273		1273		1273

		1274		1274		1274

		1275		1275		1275

		1276		1276		1276

		1277		1277		1277

		1278		1278		1278

		1279		1279		1279

		1280		1280		1280

		1281		1281		1281

		1282		1282		1282

		1283		1283		1283

		1284		1284		1284

		1285		1285		1285

		1286		1286		1286

		1287		1287		1287

		1288		1288		1288

		1289		1289		1289

		1290		1290		1290

		1291		1291		1291

		1292		1292		1292

		1293		1293		1293

		1294		1294		1294

		1295		1295		1295

		1296		1296		1296

		1297		1297		1297

		1298		1298		1298

		1299		1299		1299

		1300		1300		1300

		1301		1301		1301

		1302		1302		1302

		1303		1303		1303

		1304		1304		1304

		1305		1305		1305

		1306		1306		1306

		1307		1307		1307

		1308		1308		1308

		1309		1309		1309

		1310		1310		1310

		1311		1311		1311

		1312		1312		1312

		1313		1313		1313

		1314		1314		1314

		1315		1315		1315

		1316		1316		1316

		1317		1317		1317

		1318		1318		1318

		1319		1319		1319

		1320		1320		1320

		1321		1321		1321

		1322		1322		1322

		1323		1323		1323

		1324		1324		1324

		1325		1325		1325

		1326		1326		1326

		1327		1327		1327

		1328		1328		1328

		1329		1329		1329

		1330		1330		1330

		1331		1331		1331

		1332		1332		1332

		1333		1333		1333

		1334		1334		1334

		1335		1335		1335

		1336		1336		1336

		1337		1337		1337

		1338		1338		1338

		1339		1339		1339

		1340		1340		1340

		1341		1341		1341

		1342		1342		1342

		1343		1343		1343

		1344		1344		1344

		1345		1345		1345

		1346		1346		1346

		1347		1347		1347

		1348		1348		1348

		1349		1349		1349

		1350		1350		1350

		1351		1351		1351

		1352		1352		1352

		1353		1353		1353

		1354		1354		1354

		1355		1355		1355

		1356		1356		1356

		1357		1357		1357

		1358		1358		1358

		1359		1359		1359

		1360		1360		1360

		1361		1361		1361

		1362		1362		1362

		1363		1363		1363

		1364		1364		1364

		1365		1365		1365

		1366		1366		1366

		1367		1367		1367

		1368		1368		1368

		1369		1369		1369

		1370		1370		1370

		1371		1371		1371

		1372		1372		1372

		1373		1373		1373

		1374		1374		1374

		1375		1375		1375

		1376		1376		1376

		1377		1377		1377

		1378		1378		1378

		1379		1379		1379

		1380		1380		1380

		1381		1381		1381

		1382		1382		1382

		1383		1383		1383

		1384		1384		1384

		1385		1385		1385

		1386		1386		1386

		1387		1387		1387

		1388		1388		1388

		1389		1389		1389

		1390		1390		1390

		1391		1391		1391

		1392		1392		1392

		1393		1393		1393

		1394		1394		1394

		1395		1395		1395

		1396		1396		1396

		1397		1397		1397

		1398		1398		1398

		1399		1399		1399

		1400		1400		1400

		1401		1401		1401

		1402		1402		1402

		1403		1403		1403

		1404		1404		1404

		1405		1405		1405

		1406		1406		1406

		1407		1407		1407

		1408		1408		1408

		1409		1409		1409

		1410		1410		1410

		1411		1411		1411

		1412		1412		1412

		1413		1413		1413

		1414		1414		1414

		1415		1415		1415

		1416		1416		1416

		1417		1417		1417

		1418		1418		1418

		1419		1419		1419

		1420		1420		1420

		1421		1421		1421

		1422		1422		1422

		1423		1423		1423

		1424		1424		1424

		1425		1425		1425

		1426		1426		1426

		1427		1427		1427

		1428		1428		1428

		1429		1429		1429

		1430		1430		1430

		1431		1431		1431

		1432		1432		1432

		1433		1433		1433

		1434		1434		1434

		1435		1435		1435

		1436		1436		1436

		1437		1437		1437

		1438		1438		1438

		1439		1439		1439

		1440		1440		1440

		1441		1441		1441

		1442		1442		1442

		1443		1443		1443

		1444		1444		1444

		1445		1445		1445

		1446		1446		1446

		1447		1447		1447

		1448		1448		1448

		1449		1449		1449

		1450		1450		1450

		1451		1451		1451

		1452		1452		1452

		1453		1453		1453

		1454		1454		1454

		1455		1455		1455

		1456		1456		1456

		1457		1457		1457

		1458		1458		1458

		1459		1459		1459

		1460		1460		1460

		1461		1461		1461

		1462		1462		1462

		1463		1463		1463

		1464		1464		1464

		1465		1465		1465

		1466		1466		1466

		1467		1467		1467

		1468		1468		1468

		1469		1469		1469

		1470		1470		1470

		1471		1471		1471

		1472		1472		1472

		1473		1473		1473

		1474		1474		1474

		1475		1475		1475

		1476		1476		1476

		1477		1477		1477

		1478		1478		1478

		1479		1479		1479

		1480		1480		1480

		1481		1481		1481

		1482		1482		1482

		1483		1483		1483

		1484		1484		1484

		1485		1485		1485

		1486		1486		1486

		1487		1487		1487

		1488		1488		1488

		1489		1489		1489

		1490		1490		1490

		1491		1491		1491

		1492		1492		1492

		1493		1493		1493

		1494		1494		1494

		1495		1495		1495

		1496		1496		1496

		1497		1497		1497

		1498		1498		1498

		1499		1499		1499

		1500		1500		1500

		1501		1501		1501

		1502		1502		1502

		1503		1503		1503

		1504		1504		1504

		1505		1505		1505

		1506		1506		1506

		1507		1507		1507

		1508		1508		1508

		1509		1509		1509

		1510		1510		1510

		1511		1511		1511

		1512		1512		1512

		1513		1513		1513

		1514		1514		1514

		1515		1515		1515

		1516		1516		1516

		1517		1517		1517

		1518		1518		1518

		1519		1519		1519

		1520		1520		1520

		1521		1521		1521

		1522		1522		1522

		1523		1523		1523

		1524		1524		1524

		1525		1525		1525

		1526		1526		1526

		1527		1527		1527

		1528		1528		1528

		1529		1529		1529

		1530		1530		1530

		1531		1531		1531

		1532		1532		1532

		1533		1533		1533

		1534		1534		1534

		1535		1535		1535

		1536		1536		1536

		1537		1537		1537

		1538		1538		1538

		1539		1539		1539

		1540		1540		1540

		1541		1541		1541

		1542		1542		1542

		1543		1543		1543

		1544		1544		1544

		1545		1545		1545

		1546		1546		1546

		1547		1547		1547

		1548		1548		1548

		1549		1549		1549

		1550		1550		1550

		1551		1551		1551

		1552		1552		1552

		1553		1553		1553

		1554		1554		1554

		1555		1555		1555

		1556		1556		1556

		1557		1557		1557

		1558		1558		1558

		1559		1559		1559

		1560		1560		1560

		1561		1561		1561

		1562		1562		1562

		1563		1563		1563

		1564		1564		1564

		1565		1565		1565

		1566		1566		1566

		1567		1567		1567

		1568		1568		1568

		1569		1569		1569

		1570		1570		1570

		1571		1571		1571

		1572		1572		1572

		1573		1573		1573

		1574		1574		1574

		1575		1575		1575

		1576		1576		1576

		1577		1577		1577

		1578		1578		1578

		1579		1579		1579

		1580		1580		1580

		1581		1581		1581

		1582		1582		1582

		1583		1583		1583

		1584		1584		1584

		1585		1585		1585

		1586		1586		1586

		1587		1587		1587

		1588		1588		1588

		1589		1589		1589

		1590		1590		1590

		1591		1591		1591

		1592		1592		1592

		1593		1593		1593

		1594		1594		1594

		1595		1595		1595

		1596		1596		1596

		1597		1597		1597

		1598		1598		1598

		1599		1599		1599

		1600		1600		1600

		1601		1601		1601

		1602		1602		1602

		1603		1603		1603

		1604		1604		1604

		1605		1605		1605

		1606		1606		1606

		1607		1607		1607

		1608		1608		1608

		1609		1609		1609

		1610		1610		1610

		1611		1611		1611

		1612		1612		1612

		1613		1613		1613

		1614		1614		1614

		1615		1615		1615

		1616		1616		1616

		1617		1617		1617

		1618		1618		1618

		1619		1619		1619

		1620		1620		1620

		1621		1621		1621

		1622		1622		1622

		1623		1623		1623

		1624		1624		1624

		1625		1625		1625

		1626		1626		1626

		1627		1627		1627

		1628		1628		1628

		1629		1629		1629

		1630		1630		1630

		1631		1631		1631

		1632		1632		1632

		1633		1633		1633

		1634		1634		1634

		1635		1635		1635

		1636		1636		1636

		1637		1637		1637

		1638		1638		1638

		1639		1639		1639

		1640		1640		1640

		1641		1641		1641

		1642		1642		1642

		1643		1643		1643

		1644		1644		1644

		1645		1645		1645

		1646		1646		1646

		1647		1647		1647

		1648		1648		1648

		1649		1649		1649

		1650		1650		1650

		1651		1651		1651

		1652		1652		1652

		1653		1653		1653

		1654		1654		1654

		1655		1655		1655

		1656		1656		1656

		1657		1657		1657

		1658		1658		1658

		1659		1659		1659

		1660		1660		1660

		1661		1661		1661

		1662		1662		1662

		1663		1663		1663

		1664		1664		1664

		1665		1665		1665

		1666		1666		1666

		1667		1667		1667

		1668		1668		1668

		1669		1669		1669

		1670		1670		1670

		1671		1671		1671

		1672		1672		1672

		1673		1673		1673

		1674		1674		1674

		1675		1675		1675

		1676		1676		1676

		1677		1677		1677

		1678		1678		1678

		1679		1679		1679

		1680		1680		1680

		1681		1681		1681

		1682		1682		1682

		1683		1683		1683

		1684		1684		1684

		1685		1685		1685

		1686		1686		1686

		1687		1687		1687

		1688		1688		1688

		1689		1689		1689

		1690		1690		1690

		1691		1691		1691

		1692		1692		1692

		1693		1693		1693

		1694		1694		1694

		1695		1695		1695

		1696		1696		1696

		1697		1697		1697

		1698		1698		1698

		1699		1699		1699

		1700		1700		1700

		1701		1701		1701

		1702		1702		1702

		1703		1703		1703

		1704		1704		1704

		1705		1705		1705

		1706		1706		1706

		1707		1707		1707

		1708		1708		1708

		1709		1709		1709

		1710		1710		1710

		1711		1711		1711

		1712		1712		1712

		1713		1713		1713

		1714		1714		1714

		1715		1715		1715

		1716		1716		1716

		1717		1717		1717

		1718		1718		1718

		1719		1719		1719

		1720		1720		1720

		1721		1721		1721

		1722		1722		1722

		1723		1723		1723

		1724		1724		1724

		1725		1725		1725

		1726		1726		1726

		1727		1727		1727

		1728		1728		1728

		1729		1729		1729

		1730		1730		1730

		1731		1731		1731

		1732		1732		1732

		1733		1733		1733

		1734		1734		1734

		1735		1735		1735

		1736		1736		1736

		1737		1737		1737

		1738		1738		1738

		1739		1739		1739

		1740		1740		1740

		1741		1741		1741

		1742		1742		1742

		1743		1743		1743

		1744		1744		1744

		1745		1745		1745

		1746		1746		1746

		1747		1747		1747

		1748		1748		1748

		1749		1749		1749

		1750		1750		1750

		1751		1751		1751

		1752		1752		1752

		1753		1753		1753

		1754		1754		1754

		1755		1755		1755

		1756		1756		1756

		1757		1757		1757

		1758		1758		1758

		1759		1759		1759

		1760		1760		1760

		1761		1761		1761

		1762		1762		1762

		1763		1763		1763

		1764		1764		1764

		1765		1765		1765

		1766		1766		1766

		1767		1767		1767

		1768		1768		1768

		1769		1769		1769

		1770		1770		1770

		1771		1771		1771

		1772		1772		1772

		1773		1773		1773

		1774		1774		1774

		1775		1775		1775

		1776		1776		1776

		1777		1777		1777

		1778		1778		1778

		1779		1779		1779

		1780		1780		1780

		1781		1781		1781

		1782		1782		1782

		1783		1783		1783

		1784		1784		1784

		1785		1785		1785

		1786		1786		1786

		1787		1787		1787

		1788		1788		1788

		1789		1789		1789

		1790		1790		1790

		1791		1791		1791

		1792		1792		1792

		1793		1793		1793

		1794		1794		1794

		1795		1795		1795

		1796		1796		1796

		1797		1797		1797

		1798		1798		1798

		1799		1799		1799

		1800		1800		1800

		1801		1801		1801

		1802		1802		1802

		1803		1803		1803

		1804		1804		1804

		1805		1805		1805

		1806		1806		1806

		1807		1807		1807

		1808		1808		1808

		1809		1809		1809

		1810		1810		1810

		1811		1811		1811

		1812		1812		1812

		1813		1813		1813

		1814		1814		1814

		1815		1815		1815

		1816		1816		1816

		1817		1817		1817

		1818		1818		1818

		1819		1819		1819

		1820		1820		1820

		1821		1821		1821

		1822		1822		1822

		1823		1823		1823

		1824		1824		1824

		1825		1825		1825

		1826		1826		1826

		1827		1827		1827

		1828		1828		1828

		1829		1829		1829

		1830		1830		1830

		1831		1831		1831

		1832		1832		1832

		1833		1833		1833

		1834		1834		1834

		1835		1835		1835

		1836		1836		1836

		1837		1837		1837

		1838		1838		1838

		1839		1839		1839

		1840		1840		1840

		1841		1841		1841

		1842		1842		1842

		1843		1843		1843

		1844		1844		1844

		1845		1845		1845

		1846		1846		1846

		1847		1847		1847

		1848		1848		1848

		1849		1849		1849

		1850		1850		1850

		1851		1851		1851

		1852		1852		1852

		1853		1853		1853

		1854		1854		1854

		1855		1855		1855

		1856		1856		1856

		1857		1857		1857

		1858		1858		1858

		1859		1859		1859

		1860		1860		1860

		1861		1861		1861

		1862		1862		1862

		1863		1863		1863

		1864		1864		1864

		1865		1865		1865

		1866		1866		1866

		1867		1867		1867

		1868		1868		1868

		1869		1869		1869

		1870		1870		1870

		1871		1871		1871

		1872		1872		1872

		1873		1873		1873

		1874		1874		1874

		1875		1875		1875

		1876		1876		1876

		1877		1877		1877

		1878		1878		1878

		1879		1879		1879

		1880		1880		1880

		1881		1881		1881

		1882		1882		1882

		1883		1883		1883

		1884		1884		1884

		1885		1885		1885

		1886		1886		1886

		1887		1887		1887

		1888		1888		1888

		1889		1889		1889

		1890		1890		1890

		1891		1891		1891

		1892		1892		1892

		1893		1893		1893

		1894		1894		1894

		1895		1895		1895

		1896		1896		1896

		1897		1897		1897

		1898		1898		1898

		1899		1899		1899

		1900		1900		1900

		1901		1901		1901

		1902		1902		1902

		1903		1903		1903

		1904		1904		1904

		1905		1905		1905

		1906		1906		1906

		1907		1907		1907

		1908		1908		1908

		1909		1909		1909

		1910		1910		1910

		1911		1911		1911

		1912		1912		1912

		1913		1913		1913

		1914		1914		1914

		1915		1915		1915

		1916		1916		1916

		1917		1917		1917

		1918		1918		1918

		1919		1919		1919

		1920		1920		1920

		1921		1921		1921

		1922		1922		1922

		1923		1923		1923

		1924		1924		1924

		1925		1925		1925

		1926		1926		1926

		1927		1927		1927

		1928		1928		1928

		1929		1929		1929

		1930		1930		1930

		1931		1931		1931

		1932		1932		1932

		1933		1933		1933

		1934		1934		1934

		1935		1935		1935

		1936		1936		1936

		1937		1937		1937

		1938		1938		1938

		1939		1939		1939

		1940		1940		1940

		1941		1941		1941

		1942		1942		1942

		1943		1943		1943

		1944		1944		1944

		1945		1945		1945

		1946		1946		1946

		1947		1947		1947

		1948		1948		1948

		1949		1949		1949

		1950		1950		1950

		1951		1951		1951

		1952		1952		1952

		1953		1953		1953

		1954		1954		1954

		1955		1955		1955

		1956		1956		1956

		1957		1957		1957

		1958		1958		1958

		1959		1959		1959

		1960		1960		1960

		1961		1961		1961

		1962		1962		1962

		1963		1963		1963

		1964		1964		1964

		1965		1965		1965

		1966		1966		1966

		1967		1967		1967

		1968		1968		1968

		1969		1969		1969

		1970		1970		1970

		1971		1971		1971

		1972		1972		1972

		1973		1973		1973

		1974		1974		1974

		1975		1975		1975

		1976		1976		1976

		1977		1977		1977

		1978		1978		1978

		1979		1979		1979

		1980		1980		1980

		1981		1981		1981

		1982		1982		1982

		1983		1983		1983

		1984		1984		1984

		1985		1985		1985

		1986		1986		1986

		1987		1987		1987

		1988		1988		1988

		1989		1989		1989

		1990		1990		1990

		1991		1991		1991

		1992		1992		1992

		1993		1993		1993

		1994		1994		1994

		1995		1995		1995

		1996		1996		1996

		1997		1997		1997

		1998		1998		1998

		1999		1999		1999

		2000		2000		2000

		2001		2001		2001

		2002		2002		2002

		2003		2003		2003

		2004		2004		2004

		2005		2005		2005

		2006		2006		2006

		2007		2007		2007

		2008		2008		2008

		2009		2009		2009

		2010		2010		2010

		2011		2011		2011

		2012		2012		2012

		2013		2013		2013

		2014		2014		2014

		2015		2015		2015

		2016		2016		2016

		2017		2017		2017

		2018		2018		2018

		2019		2019		2019

		2020		2020		2020

		2021		2021		2021

		2022		2022		2022

		2023		2023		2023

		2024		2024		2024

		2025		2025		2025

		2026		2026		2026

		2027		2027		2027

		2028		2028		2028

		2029		2029		2029

		2030		2030		2030

		2031		2031		2031

		2032		2032		2032

		2033		2033		2033

		2034		2034		2034

		2035		2035		2035

		2036		2036		2036

		2037		2037		2037

		2038		2038		2038

		2039		2039		2039

		2040		2040		2040

		2041		2041		2041

		2042		2042		2042

		2043		2043		2043

		2044		2044		2044

		2045		2045		2045

		2046		2046		2046

		2047		2047		2047

		2048		2048		2048

		2049		2049		2049

		2050		2050		2050

		2051		2051		2051

		2052		2052		2052

		2053		2053		2053

		2054		2054		2054

		2055		2055		2055

		2056		2056		2056

		2057		2057		2057

		2058		2058		2058

		2059		2059		2059

		2060		2060		2060

		2061		2061		2061

		2062		2062		2062

		2063		2063		2063

		2064		2064		2064

		2065		2065		2065

		2066		2066		2066

		2067		2067		2067

		2068		2068		2068

		2069		2069		2069

		2070		2070		2070

		2071		2071		2071

		2072		2072		2072

		2073		2073		2073

		2074		2074		2074

		2075		2075		2075

		2076		2076		2076

		2077		2077		2077

		2078		2078		2078

		2079		2079		2079

		2080		2080		2080

		2081		2081		2081

		2082		2082		2082

		2083		2083		2083

		2084		2084		2084

		2085		2085		2085

		2086		2086		2086

		2087		2087		2087

		2088		2088		2088

		2089		2089		2089

		2090		2090		2090

		2091		2091		2091

		2092		2092		2092

		2093		2093		2093

		2094		2094		2094

		2095		2095		2095

		2096		2096		2096

		2097		2097		2097

		2098		2098		2098

		2099		2099		2099

		2100		2100		2100

		2101		2101		2101

		2102		2102		2102

		2103		2103		2103

		2104		2104		2104

		2105		2105		2105

		2106		2106		2106

		2107		2107		2107

		2108		2108		2108

		2109		2109		2109

		2110		2110		2110

		2111		2111		2111

		2112		2112		2112

		2113		2113		2113

		2114		2114		2114

		2115		2115		2115

		2116		2116		2116

		2117		2117		2117

		2118		2118		2118

		2119		2119		2119

		2120		2120		2120

		2121		2121		2121

		2122		2122		2122

		2123		2123		2123

		2124		2124		2124

		2125		2125		2125

		2126		2126		2126

		2127		2127		2127

		2128		2128		2128

		2129		2129		2129

		2130		2130		2130

		2131		2131		2131

		2132		2132		2132

		2133		2133		2133

		2134		2134		2134

		2135		2135		2135

		2136		2136		2136

		2137		2137		2137

		2138		2138		2138

		2139		2139		2139

		2140		2140		2140

		2141		2141		2141

		2142		2142		2142

		2143		2143		2143

		2144		2144		2144

		2145		2145		2145

		2146		2146		2146

		2147		2147		2147

		2148		2148		2148

		2149		2149		2149

		2150		2150		2150

		2151		2151		2151

		2152		2152		2152

		2153		2153		2153

		2154		2154		2154

		2155		2155		2155

		2156		2156		2156

		2157		2157		2157

		2158		2158		2158

		2159		2159		2159

		2160		2160		2160

		2161		2161		2161

		2162		2162		2162

		2163		2163		2163

		2164		2164		2164

		2165		2165		2165

		2166		2166		2166

		2167		2167		2167

		2168		2168		2168

		2169		2169		2169

		2170		2170		2170

		2171		2171		2171

		2172		2172		2172

		2173		2173		2173

		2174		2174		2174

		2175		2175		2175

		2176		2176		2176

		2177		2177		2177

		2178		2178		2178

		2179		2179		2179

		2180		2180		2180

		2181		2181		2181

		2182		2182		2182

		2183		2183		2183

		2184		2184		2184

		2185		2185		2185

		2186		2186		2186

		2187		2187		2187

		2188		2188		2188

		2189		2189		2189

		2190		2190		2190

		2191		2191		2191

		2192		2192		2192

		2193		2193		2193

		2194		2194		2194

		2195		2195		2195

		2196		2196		2196

		2197		2197		2197

		2198		2198		2198

		2199		2199		2199

		2200		2200		2200

		2201		2201		2201

		2202		2202		2202

		2203		2203		2203

		2204		2204		2204

		2205		2205		2205

		2206		2206		2206

		2207		2207		2207

		2208		2208		2208

		2209		2209		2209

		2210		2210		2210

		2211		2211		2211

		2212		2212		2212

		2213		2213		2213

		2214		2214		2214

		2215		2215		2215

		2216		2216		2216

		2217		2217		2217

		2218		2218		2218

		2219		2219		2219

		2220		2220		2220

		2221		2221		2221

		2222		2222		2222

		2223		2223		2223

		2224		2224		2224

		2225		2225		2225

		2226		2226		2226

		2227		2227		2227

		2228		2228		2228

		2229		2229		2229

		2230		2230		2230

		2231		2231		2231

		2232		2232		2232

		2233		2233		2233

		2234		2234		2234

		2235		2235		2235

		2236		2236		2236

		2237		2237		2237

		2238		2238		2238

		2239		2239		2239

		2240		2240		2240

		2241		2241		2241

		2242		2242		2242

		2243		2243		2243

		2244		2244		2244

		2245		2245		2245

		2246		2246		2246

		2247		2247		2247

		2248		2248		2248

		2249		2249		2249

		2250		2250		2250

		2251		2251		2251

		2252		2252		2252

		2253		2253		2253

		2254		2254		2254

		2255		2255		2255

		2256		2256		2256

		2257		2257		2257

		2258		2258		2258

		2259		2259		2259

		2260		2260		2260

		2261		2261		2261

		2262		2262		2262

		2263		2263		2263

		2264		2264		2264

		2265		2265		2265

		2266		2266		2266

		2267		2267		2267

		2268		2268		2268

		2269		2269		2269

		2270		2270		2270

		2271		2271		2271

		2272		2272		2272

		2273		2273		2273

		2274		2274		2274

		2275		2275		2275

		2276		2276		2276

		2277		2277		2277

		2278		2278		2278

		2279		2279		2279

		2280		2280		2280

		2281		2281		2281

		2282		2282		2282

		2283		2283		2283

		2284		2284		2284

		2285		2285		2285

		2286		2286		2286

		2287		2287		2287

		2288		2288		2288

		2289		2289		2289

		2290		2290		2290

		2291		2291		2291

		2292		2292		2292

		2293		2293		2293

		2294		2294		2294

		2295		2295		2295

		2296		2296		2296

		2297		2297		2297

		2298		2298		2298

		2299		2299		2299

		2300		2300		2300

		2301		2301		2301

		2302		2302		2302

		2303		2303		2303

		2304		2304		2304

		2305		2305		2305

		2306		2306		2306

		2307		2307		2307

		2308		2308		2308

		2309		2309		2309

		2310		2310		2310

		2311		2311		2311

		2312		2312		2312

		2313		2313		2313

		2314		2314		2314

		2315		2315		2315

		2316		2316		2316

		2317		2317		2317

		2318		2318		2318

		2319		2319		2319

		2320		2320		2320

		2321		2321		2321

		2322		2322		2322

		2323		2323		2323

		2324		2324		2324

		2325		2325		2325

		2326		2326		2326

		2327		2327		2327

		2328		2328		2328

		2329		2329		2329

		2330		2330		2330

		2331		2331		2331

		2332		2332		2332

		2333		2333		2333

		2334		2334		2334

		2335		2335		2335

		2336		2336		2336

		2337		2337		2337

		2338		2338		2338

		2339		2339		2339

		2340		2340		2340

		2341		2341		2341

		2342		2342		2342

		2343		2343		2343

		2344		2344		2344

		2345		2345		2345

		2346		2346		2346

		2347		2347		2347

		2348		2348		2348

		2349		2349		2349

		2350		2350		2350

		2351		2351		2351

		2352		2352		2352

		2353		2353		2353

		2354		2354		2354

		2355		2355		2355

		2356		2356		2356

		2357		2357		2357

		2358		2358		2358

		2359		2359		2359

		2360		2360		2360

		2361		2361		2361

		2362		2362		2362

		2363		2363		2363

		2364		2364		2364

		2365		2365		2365

		2366		2366		2366

		2367		2367		2367

		2368		2368		2368

		2369		2369		2369

		2370		2370		2370

		2371		2371		2371

		2372		2372		2372

		2373		2373		2373

		2374		2374		2374

		2375		2375		2375

		2376		2376		2376

		2377		2377		2377

		2378		2378		2378

		2379		2379		2379

		2380		2380		2380

		2381		2381		2381

		2382		2382		2382

		2383		2383		2383

		2384		2384		2384

		2385		2385		2385

		2386		2386		2386

		2387		2387		2387

		2388		2388		2388

		2389		2389		2389

		2390		2390		2390

		2391		2391		2391

		2392		2392		2392

		2393		2393		2393

		2394		2394		2394

		2395		2395		2395

		2396		2396		2396

		2397		2397		2397

		2398		2398		2398

		2399		2399		2399

		2400		2400		2400



v

b

T1-1,K-L=30mm,prop.0,83l/min

T1-3,K-L=30mm,prop.0,7l/min

T1-4,K-L=30mm,prop.0,78l/min

time,s

Temperature,K

530.2217320896

803.4807502654

767.0971565908

538.6646853732

806.9605949575

765.9251853156

541.1447200961

796.7438087172

765.9251853156

536.1832020907

792.3233450298

763.8147244276

539.9048838046

797.9062194992

761.4683917539

528.978708967

789.994684783

761.4683917539

519.2706999695

794.4179007336

762.6417391607

518.0244900159

806.9605949575

763.8147244276

519.2706999695

805.8010088667

764.7528519004

521.7620334572

799.0682681413

768.2687657261

524.0029950776

795.5810357954

767.0971565908

526.4915763021

788.8298114497

767.0971565908

525.2474667598

786.4989783635

765.9251853156

527.7353237045

796.7438087172

765.9251853156

522.7581612556

791.1591959764

765.9251853156

526.4915763021

793.2544035319

765.9251853156

527.7353237045

791.1591959764

762.6417391607

537.4241248019

788.8298114497

765.9251853156

541.1447200961

785.3330186105

770.610897577

539.9048838046

795.5810357954

765.9251853156

539.9048838046

794.4179007336

764.7528519004

536.1832020907

800.2299546435

763.8147244276

530.2217320896

796.7438087172

765.9251853156

511.7880081491

800.2299546435

765.9251853156

504.5423469622

800.2299546435

763.8147244276

516.7779179223

795.5810357954

765.9251853156

520.5165477833

786.4989783635

767.0971565908

514.2836873155

799.0682681413

759.1206105206

514.2836873155

794.4179007336

760.2946822072

507.0422269513

788.8298114497

756.7713807277

514.2836873155

786.4989783635

753.4800254375

519.2706999695

788.8298114497

755.5962226214

524.0029950776

794.4179007336

757.9461766941

531.4643930723

797.9062194992

767.0971565908

526.4915763021

801.3912790058

762.6417391607

524.0029950776

795.5810357954

763.8147244276

522.7581612556

796.7438087172

756.7713807277

518.0244900159

792.3233450298

763.8147244276

521.7620334572

795.5810357954

760.2946822072

525.2474667598

794.4179007336

765.9251853156

530.2217320896

786.4989783635

757.9461766941

524.0029950776

786.4989783635

760.2946822072

515.5309836889

787.6645759765

762.6417391607

519.2706999695

786.4989783635

754.4207023752

527.7353237045

786.4989783635

759.1206105206

515.5309836889

793.2544035319

764.7528519004

513.0360288023

794.4179007336

762.6417391607

513.0360288023

794.4179007336

761.4683917539

505.7924680267

792.3233450298

760.2946822072

515.5309836889

795.5810357954

761.4683917539

507.0422269513

792.3233450298

762.6417391607

513.0360288023

792.3233450298

765.9251853156

518.0244900159

795.5810357954

768.2687657261

516.7779179223

792.3233450298

767.0971565908

522.7581612556

785.3330186105

763.8147244276

531.4643930723

785.3330186105

765.9251853156

526.4915763021

786.4989783635

763.8147244276

527.7353237045

785.3330186105

764.7528519004

528.978708967

788.8298114497

761.4683917539

532.4582611177

780.8990688334

763.8147244276

527.7353237045

789.994684783

759.1206105206

526.4915763021

788.8298114497

754.4207023752

554.2647204255

775.0569573122

737.2168662897

544.6143351281

764.7528519004

732.726495117

519.2706999695

733.9086787372

767.0971565908

570.0535056204

702.5776128987

773.8874485883

672.1950925058

797.9062194992

747.5955435486

703.7689948723

788.8298114497

726.8101449173

696.6152709323

769.4400127215

697.8084636054

688.4919568056

753.4800254375

664.9840056065

660.4102408588

760.2946822072

687.2959394413

632.1302315912

740.758202336

696.6152709323

610.7291371962

715.1878361408

701.3858687852

604.6288199299

690.8829051143

704.9600147059

595.0942469709

662.8181373147

707.102937814

597.5411096795

664.9840056065

715.1878361408

601.2086876931

668.5911786857

714.2375407675

610.7291371962

672.1950925058

711.8607883426

616.5769242415

664.9840056065

714.2375407675

628.4902486375

666.1867587728

722.3076637865

636.7361978183

666.1867587728

736.0356966612

659.205749421

664.9840056065

749.9504227239

666.1867587728

662.8181373147

752.3038533395

676.7553711638

666.1867587728

770.610897577

680.35189733

664.0215423328

787.6645759765

684.9028182932

656.7956801258

825.0032481006

687.2959394413

656.7956801258

842.9577708788

688.4919568056

651.0056036941

851.901983381

699.0012941386

647.3825688876

856.4802125217

708.292943656

643.9981291588

853.0470838761

713.049345625

644.9654016504

849.8398898975

732.726495117

642.7887126185

841.8094835527

747.5955435486

640.3687931181

837.4426889977

754.4207023752

656.7956801258

829.6153735354

763.8147244276

673.3956728327

819.4610491842

772.9515808684

689.6876120299

803.4807502654

783.2333784627

695.4217161194

791.1591959764

789.994684783

702.5776128987

788.8298114497

784.1666967177

702.5776128987

792.3233450298

794.4179007336

703.7689948723

788.8298114497

802.5522412282

707.102937814

785.3330186105

799.0682681413

703.7689948723

785.3330186105

799.0682681413

707.102937814

784.1666967177

804.641060636

708.292943656

784.1666967177

809.2786807195

709.4825873581

782.066404718

796.7438087172

713.049345625

784.1666967177

803.4807502654

716.3753794315

783.2333784627

814.836176425

715.1878361408

788.8298114497

817.1493370844

715.1878361408

785.3330186105

831.6889396108

714.2375407675

788.8298114497

829.6153735354

718.7493795932

793.2544035319

832.840413768

718.7493795932

792.3233450298

841.8094835527

717.5625605823

787.6645759765

853.0470838761

726.8101449173

787.6645759765

865.3910936681

734.8541648927

793.2544035319

866.5319209123

736.0356966612

787.6645759765

863.1083527599

741.9379234049

793.2544035319

876.5555851895

743.117282334

801.3912790058

885.4167517711

744.2962791232

802.5522412282

876.5555851895

745.2392158138

801.3912790058

877.6928634628

745.2392158138

804.641060636

883.1467581872

751.1273191017

794.4179007336

891.9915415599

752.3038533395

796.7438087172

891.9915415599

755.5962226214

791.1591959764

891.9915415599

755.5962226214

789.994684783

893.1238947307

754.4207023752

791.1591959764

903.0729871607

754.4207023752

787.6645759765

891.9915415599

756.7713807277

785.3330186105

905.3302334202

761.4683917539

783.2333784627

906.4583133402

762.6417391607

791.1591959764

904.2017913604

765.9251853156

789.994684783

926.2532448734

767.0971565908

795.5810357954

917.2694548939

768.2687657261

803.4807502654

929.392095811

769.4400127215

803.4807502654

933.8712434764

775.0569573122

804.641060636

930.5124259372

783.2333784627

808.1198189085

963.2882985712

778.5633106446

818.3053742042

977.2392789125

779.731370809

823.8493113921

996.6301202654

773.8874485883

828.4628853865

1012.6305799657

777.3948883404

832.840413768

1012.6305799657

778.5633106446

840.8905929511

1023.3273171133

788.8298114497

829.6153735354

1035.0752736095

783.2333784627

838.5923524554

1053.0499599988

786.4989783635

836.2926634001

1066.6267774006

787.6645759765

844.105696065

1080.3602303793

789.994684783

849.8398898975

1092.7549221033

800.2299546435

854.1918222312

1112.5274585671

792.3233450298

863.1083527599

1114.6460776749

797.9062194992

869.9522298057

1131.1215921512

800.2299546435

875.4179447763

1141.4265229036

800.2299546435

883.1467581872

1151.6966737406

801.3912790058

882.0112181854

1164.8500482061

805.8010088667

893.1238947307

1184.1618558101

808.1198189085

890.8588262493

1190.158192302

806.9605949575

898.5541489627

1196.1423464079

811.5953179218

899.6844017221

1201.2913221702

817.1493370844

893.1238947307

1209.305646336

823.8493113921

893.1238947307

1215.25073279

827.3100350978

897.6496860146

1225.2681968939

831.6889396108

896.5187814034

1240.1276696702

838.5923524554

894.2558857615

1249.0467782967

841.8094835527

888.8190260977

1261.969964989

839.7416537732

888.8190260977

1263.7825295993

838.5923524554

893.1238947307

1270.8202380642

842.9577708788

895.3875146524

1269.8159375604

839.7416537732

897.6496860146

1252.0809736342

841.8094835527

900.8142923415

1243.1714255009

847.5472987842

899.6844017221

1273.6303528909

842.9577708788

897.6496860146

1310.6953035055

845.2532591113

901.943820821

1306.7338710338

840.8905929511

903.0729871607

1324.1208330066

846.4004600177

910.7417143202

1329.0398499357

846.4004600177

915.2449080746

1335.7151839067

845.2532591113

922.8870396803

1342.373772529

848.6937754108

928.2714035449

1351.9405173197

847.5472987842

930.5124259372

1348.0399243503

848.6937754108

933.8712434764

1363.2194705131

850.9856422443

942.588915746

1344.3289941162

857.6238644572

956.6247671931

1370.7761947076

857.6238644572

971.9313989937

1381.2029779537

863.1083527599

984.7444926667

1382.1662842215

865.3910936681

992.2329610721

1388.7071628923

866.5319209123

1007.3786723891

1397.1469721251

874.2799422233

1017.0007959508

1412.9911750271

873.1415775303

1046.5646014489

1414.8933793338

875.4179447763

1054.1295856008

1411.0875221609

874.2799422233

1059.3067475031

1400.9739782678

879.7390517622

1062.5382366553

1397.1469721251

886.5512053532

1068.7765405394

1395.2312962144

886.5512053532

1076.0748999856

1395.2312962144

888.8190260977

1084.4259273401

1395.2312962144

887.6852967954

1092.7549221033

1394.4646202534

888.8190260977

1097.0176549676

1398.1042668707

886.5512053532

1099.1468485603

1408.4199745681

891.9915415599

1105.3133183749

1409.3729960629

895.3875146524

1106.37527155

1419.4527595466

898.5541489627

1109.3468138562

1421.3500387506

895.3875146524

1107.4368625853

1421.3500387506

891.9915415599

1120.7818814832

1418.5035767347

899.6844017221

1144.3644006852

1426.843956838

912.9940354772

1165.8915042632

1428.7355866597

919.5175752281

1190.158192302

1433.4583237658

924.0094702179

1219.3436944715

1434.2131215382

931.6323939235

1223.2266411557

1430.6257679218

927.1503491389

1231.1805169302

1436.0991019775

930.5124259372

1230.1620205425

1444.3802070228

934.990125043

1231.1805169302

1447.1969011394

933.8712434764

1246.2119220725

1453.5693413023

954.4006929479

1257.9378428098

1453.5693413023

963.2882985712

1259.9546281792

1462.7236956663

958.8473928787

1258.9464165644

1472.7718833806

967.5017920659

1262.977090184

1472.7718833806

978.3440370232

1246.2119220725

1476.297311075

976.1341586619

1237.283890319

1480.743008332

975.0286762714

1233.2164232861

1473.5145132525

979.4484329941

1243.1714255009

1486.2883965707

985.8467882261

1252.0809736342

1481.6681450548

991.3528339249

1259.9546281792

1487.2113604541

994.4322649485

1271.8241764282

1489.7937327436

998.8265270226

1274.6332772631

1497.891276319

1010.4432991338

1286.4404360511

1501.5627071628

1045.6989019551

1289.2347326071

1500.6453926617

1054.1295856008

1299.986138055

1493.4779109118

1044.6164516619

1302.9651432724

1497.891276319

1026.594875399

1298.992412036

1497.891276319

1018.9655027738

1300.979501934

1497.891276319

1015.9087851643

1299.986138055

1509.6194593004

1015.9087851643

1300.979501934

1503.3962497454

1020.0564995685

1309.7054885974

1505.9607757809

1032.9029129413

1321.3622289586

1510.5332248306

1033.9892743453

1327.0733295837

1500.6453926617

1021.1471342233

1328.0567708297

1504.1292611817

1038.1141449649

1332.7722478228

1506.8759898706

1056.0719990919

1338.4589836758

1505.0451995513

1070.9248551186

1346.0874550263

1503.3962497454

1075.0026620375

1348.0399243503

1504.1292611817

1078.2182894623

1354.6674848264

1500.6453926617

1087.6319942716

1353.888640965

1498.8096772398

1091.6883335375

1353.888640965

1491.6365461075

1095.9525149613

1346.0874550263

1493.4779109118

1099.9981204007

1378.5037938197

1498.8096772398

1115.704844019

1385.0540301854

1488.8717828519

1121.8385474159

1372.710267325

1488.8717828519

1135.1215100214

1375.6086602019

1479.0768496383

1125.0063723745

1377.5391114203

1469.9849571634

1119.7248534106

1372.710267325

1474.4424746666

1117.6097108458

1374.6428913828

1472.7718833806

1120.7818814832

1374.6428913828

1474.4424746666

1117.6097108458

1376.574066881

1471.8432701148

1117.6097108458

1373.6767604239

1467.1947716871

1121.8385474159

1376.574066881

1467.1947716871

1145.4129546842

1373.6767604239

1463.6558579031

1154.6246144034

1373.6767604239

1463.6558579031

1153.5792472355

1375.6086602019

1471.8432701148

1155.6696194315

1374.6428913828

1470.914294709

1160.8892124734

1380.239309546

1465.3328373368

1166.9325981804

1393.5059493763

1467.1947716871

1177.1161541257

1393.5059493763

1463.6558579031

1185.1965760651

1392.5469163593

1475.3700739407

1185.1965760651

1394.4646202534

1469.9849571634

1183.1267734151

1406.5128451589

1477.2241860693

1184.1618558101

1401.9298244538

1469.9849571634

1182.0913288803

1403.6494349959

1472.7718833806

1184.1618558101

1397.1469721251

1469.0552574779

1186.2309341803

1400.017769942

1458.9914253201

1192.2230698494

1400.9739782678

1463.6558579031

1196.1423464079

1402.6942406618

1468.1251956524

1206.2258213718

1400.9739782678

1463.6558579031

1214.2265870199

1405.5587372445

1466.2639855819

1213.2020791099

1417.7439697445

1467.1947716871

1207.2527918331

1414.8933793338

1467.1947716871

1196.1423464079

1412.039529664

1463.6558579031

1202.320030903

1402.6942406618

1458.9914253201

1199.232818285

1409.3729960629

1455.440401578

1197.1728658401

1413.9424582504

1456.375388506

1198.2030231325

1410.3256554178

1458.0574523838

1196.1423464079

1410.3256554178

1454.5050525101

1196.1423464079

1410.3256554178

1455.440401578

1188.091866195

1402.6942406618

1457.310013294

1182.0913288803

1405.5587372445

1460.858284773

1181.0555222056

1407.4665909335

1470.914294709

1181.0555222056

1417.7439697445

1476.297311075

1187.0581599317

1416.7941350808

1473.5145132525

1199.232818285

1409.3729960629

1479.0768496383

1207.2527918331

1385.0540301854

1480.002638213

1216.2745164202

1385.0540301854

1480.743008332

1221.183636858

1358.5582275906

1485.3650705473

1222.2053200768

1358.5582275906

1480.743008332

1223.2266411557

1345.3060617

1479.0768496383

1223.2266411557

1336.6954383216

1478.1506989238

1226.2884315532

1341.3956185255

1469.9849571634

1228.327814452

1351.9405173197

1476.297311075

1235.2508810823

1360.5014261334

1479.0768496383

1241.142617087

1352.9147602123

1485.3650705473

1239.1123601135

1350.9659122872

1483.5173320808

1235.2508810823

1348.0399243503

1482.5929196378

1240.1276696702

1339.4382240989

1487.2113604541

1240.1276696702

1331.7905448483

1488.8717828519

1233.2164232861

1333.7535886573

1490.7153204955

1236.2675667706

1326.0895261979

1500.6453926617

1245.1987853552

1331.7905448483

1504.1292611817

1250.0585388824

1338.4589836758

1505.9607757809

1253.0916478002

1339.4382240989

1508.7053316304

1253.0916478002

1349.9909451148

1507.7908418204

1259.9546281792

1376.574066881

1512.1770901923

1273.6303528909

1381.2029779537

1512.1770901923

1273.6303528909

1385.0540301854

1510.5332248306

1273.6303528909

1365.1591925128

1512.1770901923

1266.8008632094

1353.888640965

1518.5587460236

1257.9378428098

1340.4171023822

1513.0898417308

1254.1019598263

1330.808479734

1510.5332248306

1259.9546281792

1328.0567708297

1514.0022311293

1280.4430972236

1322.1506912556

1520.1968750894

1285.4417849296

1329.0398499357

1516.7372264856

1289.2347326071

1324.1208330066

1522.0156423643

1310.6953035055

1317.4164409304

1518.5587460236

1318.4034311473

1314.4532974403

1515.8259235067

1317.4164409304

1316.4290885736

1520.1968750894

1326.0895261979

1303.9574207318

1516.7372264856

1324.1208330066

1301.9725036732

1517.6481673246

1330.808479734

1316.4290885736

1514.914258388

1335.7151839067

1313.4648586638

1511.4466282208

1334.734567352

1306.7338710338

1516.7372264856

1327.0733295837

1304.9493360512

1509.6194593004

1341.3956185255

1305.7426075661

1506.8759898706

1334.734567352

1301.9725036732

1507.7908418204

1324.1208330066

1303.9574207318

1504.1292611817

1332.7722478228

1309.7054885974

1503.3962497454

1332.7722478228

1306.7338710338

1500.6453926617

1319.3900592243

1314.4532974403

1501.5627071628

1323.135943201

1315.4413740769

1503.3962497454

1324.1208330066

1325.1053606722

1505.9607757809

1322.1506912556

1335.7151839067

1502.4796595241

1314.4532974403

1326.0895261979

1505.0451995513

1307.7247723615

1327.0733295837

1505.0451995513

1314.4532974403

1343.3515643926

1503.3962497454

1315.4413740769

1336.6954383216

1498.8096772398

1320.3763251614

1335.7151839067

1505.9607757809

1308.7153115494

1360.5014261334

1505.9607757809

1311.6847562736

1365.1591925128

1507.7908418204

1323.135943201

1351.9405173197

1505.0451995513

1321.3622289586

1342.373772529

1510.5332248306

1320.3763251614

1333.7535886573

1514.0022311293

1327.0733295837

1338.4589836758

1509.6194593004

1328.0567708297

1345.3060617

1510.5332248306

1327.0733295837

1342.373772529

1511.4466282208

1329.8260524798

1332.7722478228

1507.7908418204

1330.808479734

1355.6407137273

1505.0451995513

1331.7905448483

1346.0874550263

1497.891276319

1341.3956185255

1349.0156158025

1488.8717828519

1339.4382240989

1360.5014261334

1488.1339621977

1333.7535886573

1363.2194705131

1490.7153204955

1338.4589836758

1353.888640965

1490.7153204955

1338.4589836758

1356.6135804883

1501.5627071628

1336.6954383216

1370.002160064

1496.237242069

1339.4382240989

1369.0342908336

1496.237242069

1338.4589836758

1377.5391114203

1494.3980501041

1339.4382240989

1367.097465953

1493.4779109118

1342.373772529

1375.6086602019

1503.3962497454

1359.5300079319

1377.5391114203

1498.8096772398

1359.5300079319

1373.6767604239

1496.237242069

1367.097465953

1374.6428913828

1495.3178271565

1364.1895125829

1365.1591925128

1495.3178271565

1363.2194705131

1365.1591925128

1498.8096772398

1370.002160064

1365.1591925128

1500.6453926617

1393.5059493763

1367.097465953

1505.9607757809

1405.5587372445

1367.097465953

1506.8759898706

1410.3256554178

1365.1591925128

1499.7277160207

1414.8933793338

1368.0660594632

1505.0451995513

1422.2981351428

1372.710267325

1501.5627071628

1415.8439382772

1374.6428913828

1505.9607757809

1408.4199745681

1382.1662842215

1505.0451995513

1412.9911750271

1388.7071628923

1500.6453926617

1411.0875221609

1383.1292283493

1498.8096772398

1412.039529664

1392.5469163593

1501.5627071628

1410.3256554178

1404.6042671902

1501.5627071628

1421.3500387506

1410.3256554178

1498.8096772398

1423.2458693951

1413.9424582504

1494.3980501041

1437.0415489874

1420.4015802186

1478.1506989238

1441.7483519381

1415.8439382772

1469.0552574779

1442.5006002456

1421.3500387506

1467.1947716871

1458.0574523838

1424.1932415075

1465.3328373368

1456.375388506

1421.3500387506

1464.587658

1464.587658

1425.14025148

1472.7718833806

1451.696832467

1416.7941350808

1464.587658

1445.3194672015

1412.039529664

1465.3328373368

1442.5006002456

1415.8439382772

1467.1947716871

1444.3802070228

1410.3256554178

1462.7236956663

1449.8228750722

1408.4199745681

1464.587658

1444.3802070228

1402.6942406618

1464.587658

1441.7483519381

1400.017769942

1458.0574523838

1442.5006002456

1398.1042668707

1457.310013294

1448.1350748984

1400.017769942

1462.7236956663

1435.1562928278

1402.6942406618

1461.7911712896

1425.14025148

1400.017769942

1460.858284773

1425.14025148

1404.6042671902

1456.375388506

1433.4583237658

1406.5128451589

1453.5693413023

1427.7899528188

1402.6942406618

1452.6332679546

1446.2583652404

1402.6942406618

1446.2583652404

1458.0574523838

1401.9298244538

1449.0728865176

1464.587658

1409.3729960629

1447.1969011394

1468.1251956524

1409.3729960629

1451.696832467

1469.9849571634

1415.8439382772

1449.8228750722

1468.1251956524

1415.8439382772

1450.7600348396

1471.8432701148

1415.8439382772

1447.1969011394

1471.8432701148

1406.5128451589

1455.440401578

1475.3700739407

1414.8933793338

1462.7236956663

1465.3328373368

1415.8439382772

1461.7911712896

1474.4424746666

1413.9424582504

1452.6332679546

1470.914294709

1415.8439382772

1457.310013294

1476.297311075

1421.3500387506

1454.5050525101

1480.743008332

1422.2981351428

1458.0574523838

1483.5173320808

1419.4527595466

1448.1350748984

1474.4424746666

1424.1932415075

1448.1350748984

1481.6681450548

1426.0868993126

1448.1350748984

1479.0768496383

1426.0868993126

1436.0991019775

1488.1339621977

1428.7355866597

1440.8077156277

1489.7937327436

1429.6808583607

1442.5006002456

1485.3650705473

1425.14025148

1439.8667171775

1488.8717828519

1421.3500387506

1437.0415489874

1488.8717828519

1424.1932415075

1436.0991019775

1491.6365461075

1414.8933793338

1442.5006002456

1488.1339621977

1412.039529664

1437.0415489874

1485.3650705473

1411.0875221609

1443.4405847042

1488.1339621977

1410.3256554178

1445.3194672015

1490.7153204955

1420.4015802186

1439.8667171775

1491.6365461075

1417.7439697445

1442.5006002456

1492.5574095796

1413.9424582504

1448.1350748984

1490.7153204955

1418.5035767347

1443.4405847042

1488.1339621977

1419.4527595466

1446.2583652404

1487.2113604541

1421.3500387506

1449.0728865176

1488.8717828519

1423.2458693951

1449.0728865176

1481.6681450548

1422.2981351428

1441.7483519381

1483.5173320808

1420.4015802186

1438.9253565873

1483.5173320808

1425.14025148

1437.0415489874

1481.6681450548

1419.4527595466

1438.9253565873

1476.297311075

1416.7941350808

1439.8667171775

1471.8432701148

1422.2981351428

1441.7483519381

1469.9849571634

1425.14025148

1441.7483519381

1478.1506989238

1422.2981351428

1434.2131215382

1476.297311075

1425.14025148

1437.0415489874

1474.4424746666

1422.2981351428

1437.0415489874

1476.297311075

1420.4015802186

1441.7483519381

1469.9849571634

1413.9424582504

1447.1969011394

1470.914294709

1412.039529664

1451.696832467

1468.1251956524

1408.4199745681

1450.7600348396

1469.9849571634

1406.5128451589

1451.696832467

1471.8432701148

1400.9739782678

1447.1969011394

1467.1947716871

1397.1469721251

1457.310013294

1467.1947716871

1400.017769942

1460.858284773

1463.6558579031

1400.017769942

1470.914294709

1457.310013294

1403.6494349959

1468.1251956524

1449.0728865176

1399.0611994763

1472.7718833806

1446.2583652404

1402.6942406618

1471.8432701148

1443.4405847042

1436.0991019775

1468.1251956524

1436.0991019775

1448.1350748984

1470.914294709

1435.1562928278

1449.0728865176

1468.1251956524

1434.2131215382

1457.310013294

1467.1947716871

1438.9253565873

1459.9250361165

1465.3328373368

1437.9836338573

1457.310013294

1464.587658

1439.8667171775

1455.440401578

1462.7236956663

1447.1969011394

1457.310013294

1465.3328373368

1451.696832467

1457.310013294

1464.587658

1477.2241860693

1455.440401578

1468.1251956524

1476.297311075

1457.310013294

1467.1947716871

1474.4424746666

1452.6332679546

1470.914294709

1473.5145132525

1449.8228750722

1471.8432701148

1469.0552574779

1446.2583652404

1472.7718833806

1469.9849571634

1449.0728865176

1474.4424746666

1469.9849571634

1448.1350748984

1472.7718833806

1469.0552574779

1453.5693413023

1470.914294709

1469.0552574779

1455.440401578

1469.9849571634

1468.1251956524

1453.5693413023

1470.914294709

1469.0552574779

1457.310013294

1472.7718833806

1469.9849571634

1458.9914253201

1468.1251956524

1464.587658

1456.375388506

1467.1947716871

1467.1947716871

1458.9914253201

1464.587658

1467.1947716871

1456.375388506

1467.1947716871

1468.1251956524

1457.310013294

1465.3328373368

1467.1947716871

1459.9250361165

1466.2639855819

1463.6558579031

1454.5050525101

1464.587658

1468.1251956524

1457.310013294

1464.587658

1464.587658

1457.310013294

1464.587658

1465.3328373368

1458.0574523838

1467.1947716871

1467.1947716871

1457.310013294

1467.1947716871

1467.1947716871

1458.9914253201

1460.858284773

1465.3328373368

1460.858284773

1458.0574523838

1463.6558579031

1462.7236956663

1453.5693413023

1461.7911712896

1464.587658

1452.6332679546

1457.310013294

1464.587658

1454.5050525101

1457.310013294

1460.858284773

1457.310013294

1455.440401578

1454.5050525101

1463.6558579031

1449.8228750722

1450.7600348396

1462.7236956663

1441.7483519381

1451.696832467

1461.7911712896

1439.8667171775

1448.1350748984

1460.858284773

1435.1562928278

1447.1969011394

1462.7236956663

1433.4583237658

1447.1969011394

1458.9914253201

1437.9836338573

1445.3194672015

1456.375388506

1438.9253565873

1446.2583652404

1453.5693413023

1448.1350748984

1447.1969011394

1445.3194672015

1442.5006002456

1449.0728865176

1437.0415489874

1443.4405847042

1445.3194672015

1437.9836338573

1450.7600348396

1448.1350748984

1429.6808583607

1451.696832467

1449.0728865176

1420.4015802186

1450.7600348396

1445.3194672015

1424.1932415075

1441.7483519381

1447.1969011394

1426.0868993126

1439.8667171775

1445.3194672015

1422.2981351428

1438.9253565873

1445.3194672015

1423.2458693951

1432.5145006243

1439.8667171775

1422.2981351428

1426.0868993126

1442.5006002456

1428.7355866597

1426.0868993126

1438.9253565873

1431.570315343

1434.2131215382

1437.0415489874

1436.0991019775

1437.9836338573

1432.5145006243

1431.570315343

1424.1932415075

1437.0415489874

1435.1562928278

1435.1562928278

1437.0415489874

1432.5145006243

1435.1562928278

1437.0415489874

1430.6257679218

1437.9836338573

1431.570315343

1426.0868993126

1439.8667171775

1434.2131215382

1427.7899528188

1445.3194672015

1434.2131215382

1427.7899528188

1446.2583652404

1439.8667171775

1426.843956838

1451.696832467

1441.7483519381

1428.7355866597

1449.8228750722

1443.4405847042

1429.6808583607

1449.0728865176

1443.4405847042

1434.2131215382

1446.2583652404

1439.8667171775

1428.7355866597

1449.8228750722

1443.4405847042

1426.843956838

1448.1350748984

1444.3802070228

1421.3500387506

1445.3194672015

1444.3802070228

1418.5035767347

1445.3194672015

1444.3802070228

1420.4015802186

1454.5050525101

1447.1969011394

1426.0868993126

1460.858284773

1450.7600348396

1422.2981351428

1458.9914253201

1453.5693413023

1412.9911750271

1460.858284773

1452.6332679546

1415.8439382772

1461.7911712896

1452.6332679546

1420.4015802186

1462.7236956663

1449.0728865176

1419.4527595466

1460.858284773

1454.5050525101

1418.5035767347

1461.7911712896

1453.5693413023

1416.7941350808

1459.9250361165

1454.5050525101

1421.3500387506

1458.9914253201

1453.5693413023

1421.3500387506

1459.9250361165

1454.5050525101

1420.4015802186

1460.858284773

1452.6332679546

1419.4527595466

1461.7911712896

1454.5050525101

1421.3500387506

1466.2639855819

1452.6332679546

1422.2981351428

1467.1947716871

1454.5050525101

1421.3500387506

1467.1947716871

1451.696832467

1419.4527595466

1457.310013294

1450.7600348396

1416.7941350808

1454.5050525101

1451.696832467

1408.4199745681

1452.6332679546

1454.5050525101

1408.4199745681

1450.7600348396

1452.6332679546

1408.4199745681

1450.7600348396

1454.5050525101

1408.4199745681

1451.696832467

1455.440401578

1411.0875221609

1452.6332679546

1457.310013294

1412.039529664

1456.375388506

1452.6332679546

1416.7941350808

1460.858284773

1458.0574523838

1414.8933793338

1461.7911712896

1453.5693413023

1414.8933793338

1463.6558579031

1457.310013294

1413.9424582504

1466.2639855819

1452.6332679546

1415.8439382772

1469.9849571634

1451.696832467

1419.4527595466

1468.1251956524

1449.8228750722

1418.5035767347

1471.8432701148

1445.3194672015

1419.4527595466

1475.3700739407

1447.1969011394

1419.4527595466

1471.8432701148

1444.3802070228

1418.5035767347

1469.0552574779

1446.2583652404

1422.2981351428

1464.587658

1442.5006002456

1424.1932415075

1465.3328373368

1448.1350748984

1426.0868993126

1461.7911712896

1446.2583652404

1423.2458693951

1461.7911712896

1442.5006002456

1421.3500387506

1461.7911712896

1443.4405847042

1414.8933793338

1460.858284773

1440.8077156277

1413.9424582504

1453.5693413023

1442.5006002456

1412.9911750271

1444.3802070228

1443.4405847042

1412.9911750271

1447.1969011394

1435.1562928278

1412.039529664

1448.1350748984

1437.0415489874

1406.5128451589

1450.7600348396

1433.4583237658

1407.4665909335

1449.0728865176

1437.0415489874

1409.3729960629

1450.7600348396

1440.8077156277

1409.3729960629

1449.0728865176

1431.570315343

1410.3256554178

1455.440401578

1435.1562928278

1412.9911750271

1450.7600348396

1433.4583237658

1412.9911750271

1450.7600348396

1431.570315343

1413.9424582504

1449.0728865176

1433.4583237658

1418.5035767347

1445.3194672015

1427.7899528188

1415.8439382772

1443.4405847042

1432.5145006243

1410.3256554178

1442.5006002456

1436.0991019775

1411.0875221609

1429.6808583607

1437.9836338573

1410.3256554178

1433.4583237658

1434.2131215382

1411.0875221609

1433.4583237658

1439.8667171775

1411.0875221609

1424.1932415075

1439.8667171775

1415.8439382772

1425.14025148

1435.1562928278

1410.3256554178

1426.0868993126

1438.9253565873

1410.3256554178

1426.843956838

1442.5006002456

1409.3729960629

1426.0868993126

1437.9836338573

1410.3256554178

1426.843956838

1427.7899528188

1406.5128451589

1429.6808583607

1426.843956838

1407.4665909335

1435.1562928278

1433.4583237658

1412.9911750271

1438.9253565873

1431.570315343

1412.039529664

1450.7600348396

1430.6257679218

1412.039529664

1452.6332679546

1430.6257679218

1418.5035767347

1458.0574523838

1425.14025148

1417.7439697445

1459.9250361165

1429.6808583607

1416.7941350808

1461.7911712896

1432.5145006243

1412.9911750271

1459.9250361165

1431.570315343

1415.8439382772

1461.7911712896

1434.2131215382

1417.7439697445

1458.9914253201

1432.5145006243

1415.8439382772

1458.9914253201

1437.0415489874

1412.039529664

1458.0574523838

1441.7483519381

1415.8439382772

1455.440401578

1438.9253565873

1411.0875221609

1456.375388506

1435.1562928278

1416.7941350808

1449.8228750722

1427.7899528188

1413.9424582504

1449.8228750722

1429.6808583607

1415.8439382772

1452.6332679546

1426.0868993126

1417.7439697445

1453.5693413023

1425.14025148

1419.4527595466

1455.440401578

1427.7899528188

1420.4015802186

1449.8228750722

1424.1932415075

1418.5035767347

1449.8228750722

1425.14025148

1417.7439697445

1445.3194672015

1428.7355866597

1420.4015802186

1452.6332679546

1428.7355866597

1416.7941350808

1440.8077156277

1431.570315343

1418.5035767347

1437.9836338573

1429.6808583607

1419.4527595466

1439.8667171775

1429.6808583607

1417.7439697445

1441.7483519381

1426.0868993126

1423.2458693951

1445.3194672015

1432.5145006243

1421.3500387506

1446.2583652404

1433.4583237658

1424.1932415075

1445.3194672015

1437.0415489874

1425.14025148

1450.7600348396

1446.2583652404

1421.3500387506

1446.2583652404

1441.7483519381

1413.9424582504

1444.3802070228

1441.7483519381

1418.5035767347

1448.1350748984

1440.8077156277

1417.7439697445

1444.3802070228

1437.0415489874

1412.039529664

1444.3802070228

1438.9253565873

1410.3256554178

1440.8077156277

1438.9253565873

1416.7941350808

1440.8077156277

1439.8667171775

1414.8933793338

1442.5006002456

1439.8667171775

1408.4199745681

1437.9836338573

1432.5145006243

1406.5128451589

1444.3802070228

1435.1562928278

1409.3729960629

1446.2583652404

1436.0991019775

1402.6942406618

1442.5006002456

1437.0415489874

1404.6042671902

1441.7483519381

1438.9253565873

1406.5128451589

1440.8077156277

1437.9836338573

1405.5587372445

1442.5006002456

1438.9253565873

1410.3256554178

1442.5006002456

1434.2131215382

1421.3500387506

1438.9253565873

1435.1562928278

1421.3500387506

1441.7483519381

1432.5145006243

1421.3500387506

1444.3802070228

1434.2131215382

1418.5035767347

1443.4405847042

1436.0991019775

1419.4527595466

1444.3802070228

1428.7355866597

1412.9911750271

1439.8667171775

1433.4583237658

1412.039529664

1441.7483519381

1423.2458693951

1412.9911750271

1445.3194672015

1427.7899528188

1410.3256554178

1446.2583652404

1426.843956838

1405.5587372445

1448.1350748984

1423.2458693951

1415.8439382772

1448.1350748984

1426.843956838

1416.7941350808

1446.2583652404

1424.1932415075

1411.0875221609

1447.1969011394

1429.6808583607

1407.4665909335

1451.696832467

1430.6257679218

1413.9424582504

1451.696832467

1427.7899528188

1409.3729960629

1455.440401578

1427.7899528188

1412.9911750271

1457.310013294

1427.7899528188

1405.5587372445

1456.375388506

1423.2458693951

1408.4199745681

1452.6332679546

1425.14025148

1407.4665909335

1455.440401578

1418.5035767347

1403.6494349959

1457.310013294

1420.4015802186

1400.9739782678

1458.0574523838

1425.14025148

1408.4199745681

1458.0574523838

1424.1932415075

1405.5587372445

1456.375388506

1419.4527595466

1403.6494349959

1456.375388506

1412.9911750271

1405.5587372445

1458.0574523838

1411.0875221609

1405.5587372445

1461.7911712896

1410.3256554178

1405.5587372445

1458.9914253201

1420.4015802186

1401.9298244538

1453.5693413023

1417.7439697445

1404.6042671902

1456.375388506

1425.14025148

1401.9298244538

1458.9914253201

1423.2458693951

1401.9298244538

1458.0574523838

1418.5035767347

1397.1469721251

1458.9914253201

1419.4527595466

1397.1469721251

1454.5050525101

1418.5035767347

1400.9739782678

1458.9914253201

1422.2981351428

1394.4646202534

1461.7911712896

1419.4527595466

1391.5875212024

1463.6558579031

1420.4015802186

1389.6676444689

1457.310013294

1421.3500387506

1396.1893152397

1461.7911712896

1414.8933793338

1397.1469721251

1458.9914253201

1414.8933793338

1399.0611994763

1458.9914253201

1413.9424582504

1395.2312962144

1460.858284773

1412.039529664

1401.9298244538

1459.9250361165

1415.8439382772

1400.017769942

1461.7911712896

1412.9911750271

1397.1469721251

1465.3328373368

1417.7439697445

1400.017769942

1462.7236956663

1414.8933793338

1394.4646202534

1462.7236956663

1418.5035767347

1398.1042668707

1463.6558579031

1416.7941350808

1396.1893152397

1460.858284773

1415.8439382772

1389.6676444689

1458.0574523838

1417.7439697445

1388.7071628923

1458.9914253201

1420.4015802186

1394.4646202534

1458.9914253201

1418.5035767347

1391.5875212024

1457.310013294

1426.843956838

1381.2029779537

1458.9914253201

1424.1932415075

1386.7851133194

1454.5050525101

1420.4015802186

1386.0158878936

1453.5693413023

1424.1932415075

1383.1292283493

1453.5693413023

1419.4527595466

1378.5037938197

1456.375388506

1420.4015802186

1375.6086602019

1453.5693413023

1418.5035767347

1383.1292283493

1452.6332679546

1423.2458693951

1385.0540301854

1446.2583652404

1421.3500387506

1378.5037938197

1443.4405847042

1424.1932415075

1384.0918103373

1442.5006002456

1426.0868993126

1383.1292283493

1441.7483519381

1424.1932415075

1384.0918103373

1448.1350748984

1419.4527595466

1379.2752789985

1447.1969011394

1423.2458693951

1385.0540301854

1447.1969011394

1421.3500387506

1383.1292283493

1453.5693413023

1417.7439697445

1384.0918103373

1449.0728865176

1421.3500387506

1386.0158878936

1449.0728865176

1417.7439697445

1386.0158878936

1451.696832467

1419.4527595466

1373.6767604239

1449.8228750722

1416.7941350808

1384.0918103373

1451.696832467

1417.7439697445

1379.2752789985

1452.6332679546

1418.5035767347

1383.1292283493

1448.1350748984

1421.3500387506

1382.1662842215

1449.0728865176

1426.0868993126

1375.6086602019

1448.1350748984

1427.7899528188

1387.7463191758

1452.6332679546

1424.1932415075

1386.0158878936

1454.5050525101

1426.843956838

1389.6676444689

1450.7600348396

1435.1562928278

1398.1042668707

1452.6332679546

1432.5145006243

1388.7071628923

1451.696832467

1429.6808583607

1386.0158878936

1449.8228750722

1429.6808583607

1392.5469163593

1448.1350748984

1429.6808583607

1390.6277639056

1450.7600348396

1428.7355866597

1391.5875212024

1450.7600348396

1428.7355866597

1397.1469721251

1455.440401578

1426.0868993126

1399.0611994763

1449.8228750722

1432.5145006243

1398.1042668707

1449.0728865176

1430.6257679218

1399.0611994763

1451.696832467

1429.6808583607

1396.1893152397

1448.1350748984

1427.7899528188

1390.6277639056

1447.1969011394

1438.9253565873

1389.6676444689

1446.2583652404

1441.7483519381

1392.5469163593

1449.0728865176

1435.1562928278

1388.7071628923

1451.696832467

1435.1562928278

1385.0540301854

1450.7600348396

1437.0415489874

1386.7851133194

1453.5693413023

1433.4583237658

1392.5469163593

1449.8228750722

1436.0991019775

1386.7851133194

1447.1969011394

1426.843956838

1384.0918103373

1446.2583652404

1431.570315343

1383.1292283493

1449.8228750722

1427.7899528188

1386.7851133194

1453.5693413023

1431.570315343

1386.7851133194

1457.310013294

1429.6808583607

1390.6277639056

1454.5050525101

1427.7899528188

1393.5059493763

1459.9250361165

1433.4583237658

1385.0540301854

1453.5693413023

1434.2131215382

1386.7851133194

1458.0574523838

1432.5145006243

1388.7071628923

1457.310013294

1430.6257679218

1385.0540301854

1455.440401578

1437.0415489874

1384.0918103373

1458.0574523838

1436.0991019775

1386.0158878936

1452.6332679546

1442.5006002456

1388.7071628923

1451.696832467

1439.8667171775

1389.6676444689

1454.5050525101

1435.1562928278

1389.6676444689

1450.7600348396

1428.7355866597

1392.5469163593

1453.5693413023

1430.6257679218

1390.6277639056

1454.5050525101

1429.6808583607

1389.6676444689

1454.5050525101

1432.5145006243

1389.6676444689

1454.5050525101

1436.0991019775

1385.0540301854

1452.6332679546

1438.9253565873

1391.5875212024

1449.0728865176

1437.9836338573

1391.5875212024

1454.5050525101

1439.8667171775

1387.7463191758

1454.5050525101

1435.1562928278

1388.7071628923

1452.6332679546

1432.5145006243

1386.0158878936

1456.375388506

1432.5145006243

1386.0158878936

1455.440401578

1431.570315343

1387.7463191758

1455.440401578

1432.5145006243

1390.6277639056

1454.5050525101

1431.570315343

1390.6277639056

1452.6332679546

1430.6257679218

1390.6277639056

1448.1350748984

1429.6808583607

1384.0918103373

1449.8228750722

1429.6808583607

1386.7851133194

1453.5693413023

1429.6808583607

1386.7851133194

1448.1350748984

1433.4583237658

1381.2029779537

1445.3194672015

1428.7355866597

1382.1662842215

1442.5006002456

1427.7899528188

1386.0158878936

1445.3194672015

1429.6808583607

1378.5037938197

1445.3194672015

1427.7899528188

1376.574066881

1437.9836338573

1426.0868993126

1377.5391114203

1440.8077156277

1424.1932415075

1373.6767604239

1443.4405847042

1422.2981351428

1374.6428913828

1440.8077156277

1421.3500387506

1376.574066881

1445.3194672015

1425.14025148

1376.574066881

1444.3802070228

1424.1932415075

1378.5037938197

1440.8077156277

1421.3500387506

1376.574066881

1443.4405847042

1421.3500387506

1368.0660594632

1430.6257679218

1421.3500387506

1364.1895125829

1434.2131215382

1426.0868993126

1368.0660594632

1433.4583237658

1429.6808583607

1369.0342908336

1432.5145006243

1428.7355866597

1366.1285103029

1428.7355866597

1423.2458693951

1367.097465953

1427.7899528188

1424.1932415075

1369.0342908336

1431.570315343

1431.570315343

1365.1591925128

1435.1562928278

1428.7355866597

1370.7761947076

1436.0991019775

1435.1562928278

1370.7761947076

1438.9253565873

1438.9253565873

1375.6086602019

1433.4583237658

1438.9253565873

1381.2029779537

1434.2131215382

1437.0415489874

1384.0918103373

1434.2131215382

1439.8667171775

1386.0158878936

1433.4583237658

1439.8667171775

1384.0918103373

1433.4583237658

1436.0991019775

1382.1662842215

1433.4583237658

1437.9836338573

1380.239309546

1434.2131215382

1434.2131215382

1381.2029779537

1434.2131215382

1435.1562928278

1375.6086602019

1430.6257679218

1434.2131215382

1371.7434120863

1433.4583237658

1432.5145006243

1374.6428913828

1428.7355866597

1435.1562928278

1377.5391114203

1432.5145006243

1439.8667171775

1376.574066881

1435.1562928278

1443.4405847042

1374.6428913828

1435.1562928278

1438.9253565873

1379.2752789985

1434.2131215382

1436.0991019775

1384.0918103373

1436.0991019775

1435.1562928278

1383.1292283493

1435.1562928278

1429.6808583607

1384.0918103373

1435.1562928278

1433.4583237658

1382.1662842215

1438.9253565873

1426.0868993126

1382.1662842215

1440.8077156277

1425.14025148

1383.1292283493

1440.8077156277

1423.2458693951

1385.0540301854

1442.5006002456

1425.14025148

1385.0540301854

1437.9836338573

1420.4015802186

1382.1662842215

1437.9836338573

1427.7899528188

1386.0158878936

1442.5006002456

1423.2458693951

1393.5059493763

1445.3194672015

1423.2458693951

1390.6277639056

1449.0728865176

1424.1932415075

1387.7463191758

1448.1350748984

1420.4015802186

1386.7851133194

1451.696832467

1422.2981351428

1386.0158878936

1451.696832467

1420.4015802186

1386.0158878936

1449.8228750722

1423.2458693951

1389.6676444689

1453.5693413023

1420.4015802186

1389.6676444689

1450.7600348396

1416.7941350808

1388.7071628923

1449.0728865176

1413.9424582504

1388.7071628923

1447.1969011394

1413.9424582504

1387.7463191758

1449.0728865176

1412.039529664

1385.0540301854

1449.0728865176

1410.3256554178

1381.2029779537

1448.1350748984

1409.3729960629

1377.5391114203

1449.0728865176

1412.039529664

1379.2752789985

1448.1350748984

1407.4665909335

1375.6086602019

1448.1350748984

1412.039529664

1372.710267325

1449.0728865176

1402.6942406618

1376.574066881

1451.696832467

1401.9298244538

1374.6428913828

1450.7600348396

1408.4199745681

1379.2752789985

1452.6332679546

1408.4199745681

1379.2752789985

1452.6332679546

1412.039529664

1376.574066881

1451.696832467

1415.8439382772

1377.5391114203

1449.8228750722

1419.4527595466

1373.6767604239

1449.0728865176

1423.2458693951

1371.7434120863

1448.1350748984

1417.7439697445

1372.710267325

1449.8228750722

1418.5035767347

1372.710267325

1448.1350748984

1417.7439697445

1376.574066881

1443.4405847042

1421.3500387506

1381.2029779537

1448.1350748984

1422.2981351428

1379.2752789985

1449.0728865176

1414.8933793338

1374.6428913828

1441.7483519381

1415.8439382772

1377.5391114203

1438.9253565873

1414.8933793338

1375.6086602019

1441.7483519381

1412.9911750271

1378.5037938197

1440.8077156277

1408.4199745681

1377.5391114203

1442.5006002456

1406.5128451589

1376.574066881

1437.0415489874

1398.1042668707

1374.6428913828

1440.8077156277

1398.1042668707

1376.574066881

1442.5006002456

1400.017769942

1378.5037938197

1440.8077156277

1398.1042668707

1377.5391114203

1439.8667171775

1400.9739782678

1378.5037938197

1431.570315343

1403.6494349959

1373.6767604239

1426.0868993126

1402.6942406618

1376.574066881

1422.2981351428

1407.4665909335

1375.6086602019

1423.2458693951

1403.6494349959

1378.5037938197

1427.7899528188

1402.6942406618

1376.574066881

1424.1932415075

1415.8439382772

1373.6767604239

1428.7355866597

1416.7941350808

1374.6428913828

1426.843956838

1412.9911750271

1378.5037938197

1435.1562928278

1415.8439382772

1377.5391114203

1437.0415489874

1413.9424582504

1379.2752789985

1438.9253565873

1420.4015802186

1376.574066881

1440.8077156277

1412.9911750271

1379.2752789985

1442.5006002456

1415.8439382772

1377.5391114203

1441.7483519381

1411.0875221609

1376.574066881

1441.7483519381

1406.5128451589

1378.5037938197

1439.8667171775

1409.3729960629

1381.2029779537

1446.2583652404

1409.3729960629

1381.2029779537

1441.7483519381

1413.9424582504

1386.0158878936

1444.3802070228

1412.039529664

1381.2029779537

1445.3194672015

1404.6042671902

1376.574066881

1443.4405847042

1403.6494349959

1380.239309546

1439.8667171775

1402.6942406618

1382.1662842215

1430.6257679218

1405.5587372445

1376.574066881

1429.6808583607

1405.5587372445

1373.6767604239

1426.0868993126

1402.6942406618

1376.574066881

1422.2981351428

1410.3256554178

1374.6428913828

1417.7439697445

1410.3256554178

1370.7761947076

1409.3729960629

1413.9424582504

1372.710267325

1412.039529664

1415.8439382772

1372.710267325

1412.9911750271

1408.4199745681

1372.710267325

1411.0875221609

1411.0875221609

1370.7761947076

1409.3729960629

1412.9911750271

1373.6767604239

1409.3729960629

1417.7439697445

1365.1591925128

1419.4527595466

1415.8439382772

1370.002160064

1417.7439697445

1417.7439697445

1373.6767604239

1412.039529664

1423.2458693951

1373.6767604239

1414.8933793338

1418.5035767347

1371.7434120863

1417.7439697445

1414.8933793338

1375.6086602019

1419.4527595466

1418.5035767347

1376.574066881

1418.5035767347

1419.4527595466

1371.7434120863

1423.2458693951

1421.3500387506

1369.0342908336

1423.2458693951

1421.3500387506

1367.097465953

1421.3500387506

1421.3500387506

1370.7761947076

1422.2981351428

1418.5035767347

1376.574066881

1425.14025148

1416.7941350808

1380.239309546

1426.0868993126

1415.8439382772

1377.5391114203

1424.1932415075

1414.8933793338

1379.2752789985

1421.3500387506

1412.9911750271

1379.2752789985

1418.5035767347

1410.3256554178

1377.5391114203

1426.0868993126

1412.9911750271

1375.6086602019

1424.1932415075

1415.8439382772

1377.5391114203

1423.2458693951

1417.7439697445

1378.5037938197

1421.3500387506

1412.9911750271

1379.2752789985

1422.2981351428

1413.9424582504

1379.2752789985

1417.7439697445

1414.8933793338

1376.574066881

1424.1932415075

1416.7941350808

1375.6086602019

1427.7899528188

1420.4015802186

1370.7761947076

1424.1932415075

1421.3500387506

1370.002160064

1430.6257679218

1420.4015802186

1372.710267325

1431.570315343

1419.4527595466

1371.7434120863

1430.6257679218

1417.7439697445

1370.002160064

1432.5145006243

1415.8439382772

1370.7761947076

1431.570315343

1415.8439382772

1370.002160064

1432.5145006243

1415.8439382772

1368.0660594632

1427.7899528188

1421.3500387506

1364.1895125829

1429.6808583607

1416.7941350808

1366.1285103029

1429.6808583607

1411.0875221609

1369.0342908336

1432.5145006243

1412.9911750271

1367.097465953

1431.570315343

1412.9911750271

1368.0660594632

1435.1562928278

1411.0875221609

1370.002160064

1438.9253565873

1415.8439382772

1362.2490663034

1436.0991019775

1418.5035767347

1357.5860851094

1424.1932415075

1415.8439382772

1370.7761947076

1431.570315343

1413.9424582504

1372.710267325

1422.2981351428

1408.4199745681

1370.002160064

1416.7941350808

1404.6042671902

1366.1285103029

1422.2981351428

1400.9739782678

1367.097465953

1426.843956838

1400.9739782678

1369.0342908336

1431.570315343

1400.017769942

1370.002160064

1424.1932415075

1405.5587372445

1368.0660594632

1426.0868993126

1400.9739782678

1367.097465953

1426.843956838

1394.4646202534

1368.0660594632

1428.7355866597

1391.5875212024

1370.002160064

1428.7355866597

1394.4646202534

1370.002160064

1426.843956838

1393.5059493763

1374.6428913828

1424.1932415075

1403.6494349959

1375.6086602019

1427.7899528188

1408.4199745681

1373.6767604239

1431.570315343

1405.5587372445

1373.6767604239

1434.2131215382

1405.5587372445

1370.002160064

1431.570315343

1405.5587372445

1369.0342908336

1433.4583237658

1405.5587372445

1377.5391114203

1427.7899528188

1409.3729960629

1373.6767604239

1430.6257679218

1403.6494349959

1375.6086602019

1427.7899528188

1404.6042671902

1370.7761947076

1423.2458693951

1405.5587372445

1372.710267325

1425.14025148

1408.4199745681

1366.1285103029

1427.7899528188

1407.4665909335

1370.7761947076

1427.7899528188

1404.6042671902

1369.0342908336

1436.0991019775

1404.6042671902

1369.0342908336

1434.2131215382

1404.6042671902

1370.002160064

1429.6808583607

1404.6042671902

1369.0342908336

1430.6257679218

1404.6042671902

1370.7761947076

1432.5145006243

1408.4199745681

1370.7761947076

1432.5145006243

1406.5128451589

1370.7761947076

1429.6808583607

1409.3729960629

1375.6086602019

1413.9424582504

1407.4665909335

1372.710267325

1411.0875221609

1408.4199745681

1373.6767604239

1404.6042671902

1408.4199745681

1373.6767604239

1404.6042671902

1411.0875221609

1376.574066881

1405.5587372445

1412.9911750271

1374.6428913828

1407.4665909335

1414.8933793338

1374.6428913828

1407.4665909335

1415.8439382772

1369.0342908336

1409.3729960629

1412.9911750271

1372.710267325

1417.7439697445

1413.9424582504

1370.002160064

1416.7941350808

1412.039529664

1370.7761947076

1419.4527595466

1413.9424582504

1377.5391114203

1419.4527595466

1413.9424582504

1375.6086602019

1415.8439382772

1411.0875221609

1377.5391114203

1415.8439382772

1414.8933793338

1371.7434120863

1416.7941350808

1415.8439382772

1376.574066881

1419.4527595466

1415.8439382772

1375.6086602019

1417.7439697445

1415.8439382772

1375.6086602019

1418.5035767347

1412.9911750271

1368.0660594632

1409.3729960629

1416.7941350808

1367.097465953

1408.4199745681

1410.3256554178

1368.0660594632

1406.5128451589

1410.3256554178

1366.1285103029

1412.9911750271

1417.7439697445

1366.1285103029

1417.7439697445

1412.9911750271

1370.7761947076

1408.4199745681

1408.4199745681

1368.0660594632

1410.3256554178

1412.039529664

1370.002160064

1412.9911750271

1405.5587372445

1374.6428913828

1416.7941350808

1400.9739782678

1371.7434120863

1414.8933793338

1403.6494349959

1369.0342908336

1417.7439697445

1407.4665909335

1367.097465953

1413.9424582504

1409.3729960629

1367.097465953

1413.9424582504

1412.9911750271

1367.097465953

1421.3500387506

1402.6942406618

1366.1285103029

1416.7941350808

1410.3256554178

1365.1591925128

1419.4527595466

1404.6042671902

1359.5300079319

1418.5035767347

1417.7439697445

1362.2490663034

1419.4527595466

1412.9911750271

1361.4724821949

1418.5035767347

1420.4015802186

1369.0342908336

1426.0868993126

1416.7941350808

1367.097465953

1425.14025148

1420.4015802186

1369.0342908336

1431.570315343

1421.3500387506

1365.1591925128

1426.843956838

1415.8439382772

1362.2490663034

1434.2131215382

1417.7439697445

1361.4724821949

1440.8077156277

1416.7941350808

1365.1591925128

1434.2131215382

1414.8933793338

1358.5582275906

1434.2131215382

1411.0875221609

1361.4724821949

1437.0415489874

1410.3256554178

1365.1591925128

1433.4583237658

1411.0875221609

1367.097465953

1437.9836338573

1410.3256554178

1371.7434120863

1435.1562928278

1406.5128451589

1373.6767604239

1433.4583237658

1412.039529664

1369.0342908336

1436.0991019775

1410.3256554178

1371.7434120863

1430.6257679218

1412.9911750271

1370.002160064

1432.5145006243

1414.8933793338

1365.1591925128

1433.4583237658

1414.8933793338

1370.7761947076

1428.7355866597

1416.7941350808

1365.1591925128

1426.843956838

1413.9424582504

1370.002160064

1428.7355866597

1418.5035767347

1365.1591925128

1429.6808583607

1422.2981351428

1373.6767604239

1426.843956838

1421.3500387506

1363.2194705131

1423.2458693951

1426.843956838

1364.1895125829

1418.5035767347

1424.1932415075

1364.1895125829

1421.3500387506

1420.4015802186

1361.4724821949

1418.5035767347

1419.4527595466

1364.1895125829

1417.7439697445

1413.9424582504

1368.0660594632

1416.7941350808

1413.9424582504

1367.097465953

1417.7439697445

1417.7439697445

1366.1285103029

1419.4527595466

1412.9911750271

1367.097465953

1429.6808583607

1412.9911750271

1370.002160064

1430.6257679218

1412.9911750271

1370.7761947076

1437.9836338573

1408.4199745681

1365.1591925128

1432.5145006243

1412.9911750271

1375.6086602019

1432.5145006243

1411.0875221609

1369.0342908336

1429.6808583607

1415.8439382772

1370.7761947076

1434.2131215382

1408.4199745681

1368.0660594632

1433.4583237658

1411.0875221609

1369.0342908336

1437.0415489874

1413.9424582504

1365.1591925128

1437.0415489874

1412.039529664

1371.7434120863

1437.0415489874

1407.4665909335

1370.7761947076

1433.4583237658

1409.3729960629

1374.6428913828

1432.5145006243

1406.5128451589

1376.574066881

1436.0991019775

1402.6942406618

1363.2194705131

1431.570315343

1406.5128451589

1370.7761947076

1430.6257679218

1406.5128451589

1374.6428913828

1420.4015802186

1401.9298244538

1372.710267325

1429.6808583607

1408.4199745681

1374.6428913828

1427.7899528188

1408.4199745681

1369.0342908336

1421.3500387506

1411.0875221609

1370.7761947076

1423.2458693951

1411.0875221609

1370.7761947076

1417.7439697445

1404.6042671902

1368.0660594632

1419.4527595466

1409.3729960629

1376.574066881

1420.4015802186

1406.5128451589

1372.710267325

1414.8933793338

1414.8933793338

1368.0660594632

1412.9911750271

1411.0875221609

1370.7761947076

1412.9911750271

1401.9298244538

1362.2490663034

1409.3729960629

1400.017769942

1370.7761947076

1408.4199745681

1406.5128451589

1363.2194705131

1409.3729960629

1403.6494349959

1366.1285103029

1409.3729960629

1398.1042668707

1366.1285103029

1409.3729960629

1396.1893152397

1367.097465953

1408.4199745681

1398.1042668707

1368.0660594632

1409.3729960629

1395.2312962144

1366.1285103029

1412.9911750271

1395.2312962144

1367.097465953

1412.9911750271

1396.1893152397

1369.0342908336

1413.9424582504

1400.017769942

1370.002160064

1408.4199745681

1402.6942406618

1371.7434120863

1409.3729960629

1395.2312962144

1382.1662842215

1412.9911750271

1398.1042668707

1383.1292283493

1410.3256554178

1393.5059493763

1382.1662842215

1412.9911750271

1393.5059493763

1386.7851133194

1413.9424582504

1399.0611994763

1386.7851133194

1416.7941350808

1399.0611994763

1386.7851133194

1417.7439697445

1394.4646202534

1387.7463191758

1419.4527595466

1408.4199745681

1380.239309546

1411.0875221609

1397.1469721251

1378.5037938197

1408.4199745681

1400.017769942

1379.2752789985

1412.9911750271

1393.5059493763

1379.2752789985

1413.9424582504

1390.6277639056

1377.5391114203

1418.5035767347

1396.1893152397

1370.002160064

1417.7439697445

1398.1042668707

1371.7434120863

1417.7439697445

1390.6277639056

1376.574066881

1422.2981351428

1390.6277639056

1377.5391114203

1424.1932415075

1393.5059493763

1374.6428913828

1424.1932415075

1389.6676444689

1372.710267325

1420.4015802186

1386.7851133194

1370.002160064

1414.8933793338

1387.7463191758

1365.1591925128

1416.7941350808

1392.5469163593

1369.0342908336

1419.4527595466

1393.5059493763

1365.1591925128

1418.5035767347

1392.5469163593

1362.2490663034

1415.8439382772

1390.6277639056

1355.6407137273

1412.9911750271

1385.0540301854

1352.9147602123

1416.7941350808

1391.5875212024

1359.5300079319

1412.9911750271

1390.6277639056

1361.4724821949

1410.3256554178

1391.5875212024

1355.6407137273

1407.4665909335

1399.0611994763

1358.5582275906

1407.4665909335

1393.5059493763

1355.6407137273

1410.3256554178

1395.2312962144

1353.888640965

1408.4199745681

1390.6277639056

1360.5014261334

1407.4665909335

1385.0540301854

1350.9659122872

1408.4199745681

1377.5391114203

1353.888640965

1402.6942406618

1385.0540301854

1355.6407137273

1403.6494349959

1382.1662842215

1352.9147602123

1401.9298244538

1382.1662842215

1346.0874550263

1400.9739782678

1384.0918103373

1348.0399243503

1400.9739782678

1382.1662842215

1346.0874550263

1397.1469721251

1383.1292283493

1349.0156158025

1401.9298244538

1380.239309546

1347.0638707583

1400.017769942

1374.6428913828

1346.0874550263

1403.6494349959

1373.6767604239

1351.9405173197

1399.0611994763

1367.097465953

1344.3289941162

1398.1042668707

1364.1895125829

1346.0874550263

1405.5587372445

1369.0342908336

1349.0156158025

1402.6942406618

1368.0660594632

1353.888640965

1400.9739782678

1372.710267325

1357.5860851094

1406.5128451589

1373.6767604239

1352.9147602123

1402.6942406618

1371.7434120863

1348.0399243503

1402.6942406618

1376.574066881

1345.3060617

1400.9739782678

1377.5391114203

1344.3289941162

1404.6042671902

1370.002160064

1355.6407137273

1406.5128451589

1373.6767604239

1356.6135804883

1402.6942406618

1383.1292283493

1352.9147602123

1403.6494349959

1386.7851133194

1359.5300079319

1400.017769942

1386.7851133194

1366.1285103029

1400.017769942

1380.239309546

1355.6407137273

1400.9739782678

1386.7851133194

1360.5014261334

1399.0611994763

1386.0158878936

1370.002160064

1394.4646202534

1384.0918103373

1362.2490663034

1402.6942406618

1386.0158878936

1363.2194705131

1402.6942406618

1387.7463191758

1361.4724821949

1404.6042671902

1379.2752789985

1352.9147602123

1403.6494349959

1375.6086602019

1353.888640965

1402.6942406618

1380.239309546

1353.888640965

1395.2312962144

1376.574066881

1349.0156158025

1400.017769942

1383.1292283493

1349.0156158025

1400.017769942

1377.5391114203

1348.0399243503

1400.9739782678

1365.1591925128

1352.9147602123

1402.6942406618

1369.0342908336

1355.6407137273

1410.3256554178

1365.1591925128

1349.9909451148

1405.5587372445

1360.5014261334

1349.0156158025

1404.6042671902

1348.0399243503

1349.9909451148

1402.6942406618

1345.3060617

1345.3060617

1401.9298244538

1352.9147602123

1348.0399243503

1400.9739782678

1353.888640965

1347.0638707583

1400.017769942

1353.888640965

1346.0874550263

1400.9739782678

1347.0638707583

1347.0638707583

1402.6942406618

1347.0638707583

1343.3515643926

1406.5128451589

1342.373772529

1344.3289941162

1412.9911750271

1342.373772529

1336.6954383216

1411.0875221609

1346.0874550263

1332.7722478228

1412.039529664

1345.3060617

1335.7151839067

1406.5128451589

1344.3289941162

1335.7151839067

1403.6494349959

1339.4382240989

1337.6753305965

1401.9298244538

1341.3956185255

1332.7722478228

1402.6942406618

1340.4171023822

1344.3289941162

1402.6942406618

1349.9909451148

1338.4589836758

1407.4665909335

1336.6954383216

1332.7722478228

1402.6942406618

1329.0398499357

1333.7535886573

1405.5587372445

1338.4589836758

1336.6954383216

1406.5128451589

1332.7722478228

1340.4171023822

1410.3256554178

1322.1506912556

1340.4171023822

1406.5128451589

1325.1053606722

1335.7151839067

1403.6494349959

1346.0874550263

1345.3060617

1404.6042671902

1336.6954383216

1338.4589836758

1400.017769942

1335.7151839067

1348.0399243503

1400.9739782678

1330.808479734

1344.3289941162

1405.5587372445

1334.734567352

1334.734567352

1409.3729960629

1332.7722478228

1334.734567352

1403.6494349959

1327.0733295837

1337.6753305965

1401.9298244538

1331.7905448483

1346.0874550263

1405.5587372445

1337.6753305965

1341.3956185255

1407.4665909335

1332.7722478228

1341.3956185255

1403.6494349959

1329.8260524798

1341.3956185255

1400.017769942

1334.734567352

1345.3060617

1400.9739782678

1334.734567352

1337.6753305965

1405.5587372445

1336.6954383216

1342.373772529

1402.6942406618

1335.7151839067

1338.4589836758

1397.1469721251

1334.734567352

1331.7905448483

1400.9739782678

1326.0895261979

1333.7535886573

1403.6494349959

1328.0567708297

1337.6753305965

1403.6494349959

1316.4290885736

1334.734567352

1404.6042671902

1320.3763251614

1339.4382240989

1403.6494349959

1315.4413740769

1338.4589836758

1404.6042671902

1316.4290885736

1342.373772529

1407.4665909335

1315.4413740769

1339.4382240989

1410.3256554178

1307.7247723615

1340.4171023822

1418.5035767347

1311.6847562736

1339.4382240989

1415.8439382772

1303.9574207318

1335.7151839067

1413.9424582504

1312.6738469019

1345.3060617

1412.039529664

1306.7338710338

1349.9909451148

1408.4199745681

1304.9493360512

1350.9659122872

1408.4199745681

1307.7247723615

1351.9405173197

1417.7439697445

1307.7247723615

1336.6954383216

1407.4665909335

1322.1506912556

1339.4382240989

1412.039529664

1320.3763251614

1344.3289941162

1408.4199745681

1315.4413740769

1339.4382240989

1415.8439382772

1314.4532974403

1345.3060617

1409.3729960629

1309.7054885974

1339.4382240989

1412.039529664

1318.4034311473

1339.4382240989

1413.9424582504

1316.4290885736

1347.0638707583

1412.9911750271

1308.7153115494

1351.9405173197

1411.0875221609

1309.7054885974

1339.4382240989

1408.4199745681

1306.7338710338

1343.3515643926

1408.4199745681

1308.7153115494

1342.373772529

1404.6042671902

1306.7338710338

1342.373772529

1408.4199745681

1305.7426075661

1339.4382240989

1409.3729960629

1301.9725036732

1351.9405173197

1407.4665909335

1301.9725036732

1341.3956185255

1406.5128451589

1296.2080525987

1344.3289941162

1404.6042671902

1296.2080525987

1339.4382240989

1403.6494349959

1294.2174861577

1348.0399243503

1403.6494349959

1290.232007597

1346.0874550263

1403.6494349959

1293.2216597274

1349.9909451148

1406.5128451589

1295.2129504482

1349.0156158025

1404.6042671902

1290.232007597

1344.3289941162

1400.9739782678

1286.4404360511

1349.9909451148

1397.1469721251

1288.4366518745

1350.9659122872

1393.5059493763

1290.232007597

1352.9147602123

1396.1893152397

1286.4404360511

1360.5014261334

1398.1042668707

1276.638039588

1361.4724821949

1392.5469163593

1273.6303528909

1355.6407137273

1387.7463191758

1273.6303528909

1356.6135804883

1382.1662842215

1270.8202380642

1349.9909451148

1386.7851133194

1275.6358394955

1345.3060617

1378.5037938197

1276.638039588

1336.6954383216

1374.6428913828

1277.6398775406

1328.0567708297

1378.5037938197

1279.6424670261

1325.1053606722

1384.0918103373

1277.6398775406

1318.4034311473

1381.2029779537

1276.638039588

1326.0895261979

1374.6428913828

1280.4430972236

1321.3622289586

1377.5391114203

1275.6358394955

1322.1506912556

1370.7761947076

1278.6413533533

1326.0895261979

1375.6086602019

1276.638039588

1323.135943201

1374.6428913828

1278.6413533533

1322.1506912556

1380.239309546

1276.638039588

1320.3763251614

1377.5391114203

1277.6398775406

1320.3763251614

1390.6277639056

1276.638039588

1320.3763251614

1389.6676444689

1275.6358394955

1332.7722478228

1391.5875212024

1283.4433962669

1333.7535886573

1394.4646202534

1289.2347326071

1331.7905448483

1388.7071628923

1287.4387250327

1338.4589836758

1381.2029779537

1288.4366518745

1339.4382240989

1370.7761947076

1284.4427716682

1336.6954383216

1377.5391114203

1320.3763251614

1335.7151839067

1376.574066881

1353.888640965

1331.7905448483

1380.239309546

1362.2490663034

1334.734567352

1392.5469163593

1361.4724821949

1338.4589836758

1397.1469721251

1364.1895125829

1340.4171023822

1397.1469721251

1363.2194705131

1325.1053606722

1397.1469721251

1359.5300079319

1325.1053606722

1397.1469721251

1358.5582275906

1325.1053606722

1396.1893152397

1365.1591925128

1313.4648586638

1391.5875212024

1369.0342908336

1310.6953035055

1396.1893152397

1371.7434120863

1322.1506912556

1395.2312962144

1370.002160064

1317.4164409304

1396.1893152397

1374.6428913828

1316.4290885736

1386.0158878936

1371.7434120863

1320.3763251614

1388.7071628923

1368.0660594632

1323.135943201

1387.7463191758

1358.5582275906

1318.4034311473

1391.5875212024

1361.4724821949

1317.4164409304

1381.2029779537

1362.2490663034

1316.4290885736

1382.1662842215

1362.2490663034

1309.7054885974

1383.1292283493

1366.1285103029

1303.9574207318

1387.7463191758

1381.2029779537

1309.7054885974

1385.0540301854

1377.5391114203

1306.7338710338

1389.6676444689

1370.7761947076

1306.7338710338

1386.0158878936

1378.5037938197

1311.6847562736

1383.1292283493

1375.6086602019

1311.6847562736

1385.0540301854

1370.7761947076

1309.7054885974

1388.7071628923

1377.5391114203

1303.9574207318

1394.4646202534

1378.5037938197

1307.7247723615

1386.7851133194

1375.6086602019

1313.4648586638

1392.5469163593

1373.6767604239

1307.7247723615

1386.7851133194

1366.1285103029

1312.6738469019

1389.6676444689

1349.9909451148

1323.135943201

1395.2312962144

1348.0399243503

1323.135943201

1397.1469721251

1335.7151839067

1327.0733295837

1392.5469163593

1335.7151839067

1312.6738469019

1385.0540301854

1341.3956185255

1304.9493360512

1385.0540301854

1341.3956185255

1304.9493360512

1378.5037938197

1360.5014261334

1306.7338710338

1377.5391114203

1368.0660594632

1300.979501934

1373.6767604239

1366.1285103029

1301.9725036732

1364.1895125829

1366.1285103029

1294.2174861577

1368.0660594632

1367.097465953

1295.2129504482

1370.002160064

1371.7434120863

1301.9725036732

1364.1895125829

1376.574066881

1289.2347326071

1357.5860851094

1378.5037938197

1296.2080525987

1346.0874550263

1371.7434120863

1292.2254711572

1357.5860851094

1359.5300079319

1288.4366518745

1354.6674848264

1356.6135804883

1290.232007597

1349.0156158025

1360.5014261334

1286.4404360511

1346.0874550263

1366.1285103029

1290.232007597

1345.3060617

1373.6767604239

1289.2347326071

1349.9909451148

1370.7761947076

1294.2174861577

1343.3515643926

1371.7434120863

1287.4387250327

1340.4171023822

1364.1895125829

1286.4404360511

1342.373772529

1367.097465953

1286.4404360511

1344.3289941162

1378.5037938197

1281.4435590446

1349.9909451148

1377.5391114203

1277.6398775406

1354.6674848264

1377.5391114203

1273.6303528909

1363.2194705131

1384.0918103373

1276.638039588

1360.5014261334

1374.6428913828

1281.4435590446

1358.5582275906

1376.574066881

1284.4427716682

1357.5860851094

1385.0540301854

1296.2080525987

1357.5860851094

1372.710267325

1301.9725036732

1362.2490663034

1372.710267325

1305.7426075661

1356.6135804883

1371.7434120863

1312.6738469019

1355.6407137273

1367.097465953

1305.7426075661

1352.9147602123

1363.2194705131

1301.9725036732

1350.9659122872

1358.5582275906

1295.2129504482

1349.9909451148

1361.4724821949

1299.986138055

1352.9147602123

1365.1591925128

1297.0038735784

1352.9147602123

1354.6674848264

1297.9983238772

1352.9147602123

1360.5014261334

1300.979501934

1349.0156158025

1362.2490663034

1302.9651432724

1343.3515643926

1360.5014261334

1307.7247723615

1343.3515643926

1370.002160064

1305.7426075661

1342.373772529

1370.002160064

1311.6847562736

1343.3515643926

1369.0342908336

1311.6847562736

1343.3515643926

1362.2490663034

1310.6953035055

1340.4171023822

1370.002160064

1315.4413740769

1348.0399243503

1376.574066881

1311.6847562736

1347.0638707583

1373.6767604239

1315.4413740769

1346.0874550263

1381.2029779537

1308.7153115494

1338.4589836758

1374.6428913828

1313.4648586638

1350.9659122872

1381.2029779537

1307.7247723615

1349.0156158025

1371.7434120863

1301.9725036732

1358.5582275906

1377.5391114203

1302.9651432724

1355.6407137273

1375.6086602019

1302.9651432724

1356.6135804883

1376.574066881

1307.7247723615

1362.2490663034

1377.5391114203

1304.9493360512

1356.6135804883

1370.7761947076

1305.7426075661

1358.5582275906

1370.002160064

1311.6847562736

1356.6135804883

1373.6767604239

1312.6738469019

1351.9405173197

1371.7434120863

1311.6847562736

1346.0874550263

1374.6428913828

1311.6847562736

1347.0638707583

1377.5391114203

1310.6953035055

1355.6407137273

1383.1292283493

1310.6953035055

1356.6135804883

1372.710267325

1311.6847562736

1356.6135804883

1381.2029779537

1311.6847562736

1359.5300079319

1383.1292283493

1319.3900592243

1360.5014261334

1382.1662842215

1312.6738469019

1361.4724821949

1378.5037938197

1314.4532974403

1357.5860851094

1374.6428913828

1321.3622289586

1363.2194705131

1375.6086602019

1322.1506912556

1361.4724821949

1377.5391114203

1326.0895261979

1357.5860851094

1381.2029779537

1315.4413740769

1360.5014261334

1381.2029779537

1316.4290885736

1360.5014261334

1380.239309546

1324.1208330066

1359.5300079319

1384.0918103373

1329.8260524798

1356.6135804883

1380.239309546

1337.6753305965

1358.5582275906

1381.2029779537

1330.808479734

1361.4724821949

1381.2029779537

1328.0567708297

1361.4724821949

1386.0158878936

1332.7722478228

1362.2490663034

1382.1662842215

1331.7905448483

1358.5582275906

1382.1662842215

1322.1506912556

1361.4724821949

1378.5037938197

1324.1208330066

1359.5300079319

1383.1292283493

1325.1053606722

1363.2194705131

1383.1292283493

1327.0733295837

1366.1285103029

1386.7851133194

1337.6753305965

1371.7434120863

1383.1292283493

1330.808479734

1372.710267325

1383.1292283493

1331.7905448483

1371.7434120863

1381.2029779537

1322.1506912556

1370.002160064

1380.239309546

1315.4413740769

1365.1591925128

1382.1662842215

1318.4034311473

1369.0342908336

1384.0918103373

1319.3900592243

1362.2490663034

1383.1292283493

1322.1506912556

1369.0342908336

1375.6086602019

1325.1053606722

1372.710267325

1376.574066881

1323.135943201

1373.6767604239

1379.2752789985

1319.3900592243

1371.7434120863

1372.710267325

1313.4648586638

1374.6428913828

1376.574066881

1314.4532974403

1368.0660594632

1371.7434120863

1309.7054885974

1368.0660594632

1373.6767604239

1321.3622289586

1368.0660594632

1375.6086602019

1316.4290885736

1364.1895125829

1374.6428913828

1316.4290885736

1363.2194705131

1365.1591925128

1312.6738469019

1358.5582275906

1369.0342908336

1313.4648586638

1361.4724821949

1368.0660594632

1315.4413740769

1365.1591925128

1366.1285103029

1309.7054885974

1369.0342908336

1370.002160064

1319.3900592243

1368.0660594632

1367.097465953

1320.3763251614

1365.1591925128

1368.0660594632

1320.3763251614

1370.002160064

1368.0660594632

1317.4164409304

1370.002160064

1366.1285103029

1316.4290885736

1362.2490663034

1367.097465953

1313.4648586638

1370.002160064

1367.097465953

1313.4648586638

1369.0342908336

1365.1591925128

1315.4413740769

1370.7761947076

1362.2490663034

1311.6847562736

1364.1895125829

1361.4724821949

1318.4034311473

1370.002160064

1364.1895125829

1316.4290885736

1366.1285103029

1364.1895125829

1326.0895261979

1363.2194705131

1366.1285103029

1329.0398499357

1370.002160064

1367.097465953

1325.1053606722

1368.0660594632

1370.7761947076

1314.4532974403

1363.2194705131

1365.1591925128

1313.4648586638

1364.1895125829

1366.1285103029

1314.4532974403

1360.5014261334

1363.2194705131

1311.6847562736

1357.5860851094

1370.002160064

1309.7054885974

1359.5300079319

1370.002160064

1307.7247723615

1360.5014261334

1366.1285103029

1306.7338710338

1359.5300079319

1362.2490663034

1306.7338710338

1364.1895125829

1363.2194705131

1307.7247723615

1367.097465953

1365.1591925128

1306.7338710338

1370.002160064

1367.097465953

1303.9574207318

1379.2752789985

1372.710267325

1310.6953035055

1370.002160064

1370.002160064

1307.7247723615

1371.7434120863

1358.5582275906

1311.6847562736

1372.710267325

1367.097465953

1313.4648586638

1377.5391114203

1370.002160064

1311.6847562736

1375.6086602019

1374.6428913828

1307.7247723615

1373.6767604239

1370.7761947076

1308.7153115494

1370.002160064

1369.0342908336

1310.6953035055

1362.2490663034

1360.5014261334

1308.7153115494

1360.5014261334

1366.1285103029

1310.6953035055

1365.1591925128

1365.1591925128

1316.4290885736

1360.5014261334

1370.002160064

1318.4034311473

1354.6674848264

1360.5014261334

1318.4034311473

1361.4724821949

1364.1895125829

1313.4648586638

1354.6674848264

1362.2490663034

1310.6953035055

1353.888640965

1366.1285103029

1311.6847562736

1351.9405173197

1372.710267325

1314.4532974403

1354.6674848264

1365.1591925128

1312.6738469019

1355.6407137273

1367.097465953

1309.7054885974

1357.5860851094

1364.1895125829

1308.7153115494

1357.5860851094

1368.0660594632

1306.7338710338

1352.9147602123

1376.574066881

1305.7426075661

1359.5300079319

1372.710267325

1309.7054885974

1359.5300079319

1369.0342908336

1307.7247723615

1365.1591925128

1371.7434120863

1306.7338710338

1367.097465953

1371.7434120863

1310.6953035055

1363.2194705131

1367.097465953

1316.4290885736

1360.5014261334

1358.5582275906

1315.4413740769

1352.9147602123

1367.097465953

1318.4034311473

1350.9659122872

1359.5300079319

1317.4164409304

1348.0399243503

1356.6135804883

1322.1506912556

1350.9659122872

1363.2194705131

1321.3622289586

1355.6407137273

1368.0660594632

1322.1506912556

1349.9909451148

1370.002160064

1317.4164409304

1356.6135804883

1366.1285103029

1321.3622289586

1354.6674848264

1370.7761947076

1322.1506912556

1350.9659122872

1373.6767604239

1319.3900592243

1366.1285103029

1372.710267325

1320.3763251614

1364.1895125829

1370.002160064

1325.1053606722

1361.4724821949

1370.7761947076

1315.4413740769

1359.5300079319

1355.6407137273

1325.1053606722

1358.5582275906

1351.9405173197

1316.4290885736

1356.6135804883

1357.5860851094

1311.6847562736

1355.6407137273

1351.9405173197

1313.4648586638

1350.9659122872

1361.4724821949

1317.4164409304

1362.2490663034

1354.6674848264

1310.6953035055

1362.2490663034

1356.6135804883

1308.7153115494

1360.5014261334

1358.5582275906

1308.7153115494

1357.5860851094

1361.4724821949

1304.9493360512

1356.6135804883

1358.5582275906

1311.6847562736

1358.5582275906

1352.9147602123

1303.9574207318

1352.9147602123

1366.1285103029

1298.992412036

1352.9147602123

1356.6135804883

1299.986138055

1352.9147602123

1360.5014261334

1299.986138055

1355.6407137273

1359.5300079319

1301.9725036732

1358.5582275906

1359.5300079319

1306.7338710338

1360.5014261334

1361.4724821949

1304.9493360512

1370.002160064

1366.1285103029

1309.7054885974

1366.1285103029

1368.0660594632

1309.7054885974

1366.1285103029

1366.1285103029

1301.9725036732

1368.0660594632

1360.5014261334

1297.0038735784

1371.7434120863

1365.1591925128

1297.9983238772

1367.097465953

1369.0342908336

1305.7426075661

1370.002160064

1366.1285103029

1308.7153115494

1366.1285103029

1362.2490663034

1304.9493360512

1370.002160064

1364.1895125829

1296.2080525987

1365.1591925128

1370.7761947076

1295.2129504482

1372.710267325

1371.7434120863

1296.2080525987

1374.6428913828

1370.002160064

1290.232007597

1372.710267325

1367.097465953

1294.2174861577

1362.2490663034

1366.1285103029

1297.9983238772

1350.9659122872

1359.5300079319

1296.2080525987

1351.9405173197

1356.6135804883

1300.979501934

1365.1591925128

1354.6674848264

1298.992412036

1360.5014261334

1359.5300079319

1302.9651432724

1355.6407137273

1351.9405173197

1304.9493360512

1348.0399243503

1348.0399243503

1308.7153115494

1350.9659122872

1349.9909451148

1309.7054885974

1355.6407137273

1351.9405173197

1307.7247723615

1351.9405173197

1356.6135804883

1306.7338710338

1359.5300079319

1349.0156158025

1301.9725036732

1341.3956185255

1349.0156158025

1297.9983238772

1351.9405173197

1357.5860851094

1300.979501934

1354.6674848264

1351.9405173197

1298.992412036

1357.5860851094

1354.6674848264

1301.9725036732

1355.6407137273

1351.9405173197

1302.9651432724

1354.6674848264

1353.888640965

1296.2080525987

1363.2194705131

1351.9405173197

1295.2129504482

1370.7761947076

1353.888640965

1294.2174861577

1371.7434120863

1354.6674848264

1294.2174861577

1383.1292283493

1348.0399243503

1299.986138055

1383.1292283493

1349.0156158025

1300.979501934

1378.5037938197

1352.9147602123

1295.2129504482

1378.5037938197

1357.5860851094

1293.2216597274

1386.0158878936

1356.6135804883

1296.2080525987

1387.7463191758

1358.5582275906

1297.0038735784

1383.1292283493

1359.5300079319

1298.992412036

1383.1292283493

1356.6135804883

1291.2289204471

1385.0540301854

1361.4724821949

1289.2347326071

1380.239309546

1360.5014261334

1283.4433962669

1377.5391114203

1351.9405173197

1283.4433962669

1377.5391114203

1358.5582275906

1283.4433962669

1380.239309546

1347.0638707583

1282.4436587257

1378.5037938197

1337.6753305965

1282.4436587257

1381.2029779537

1341.3956185255

1281.4435590446

1387.7463191758

1336.6954383216

1276.638039588

1382.1662842215

1338.4589836758

1283.4433962669

1384.0918103373

1344.3289941162

1279.6424670261

1383.1292283493

1351.9405173197

1277.6398775406

1380.239309546

1358.5582275906

1279.6424670261

1387.7463191758

1359.5300079319

1283.4433962669

1374.6428913828

1359.5300079319

1279.6424670261

1374.6428913828

1359.5300079319

1282.4436587257

1371.7434120863

1367.097465953

1286.4404360511

1361.4724821949

1362.2490663034

1286.4404360511

1357.5860851094

1367.097465953

1289.2347326071

1363.2194705131

1368.0660594632

1284.4427716682

1356.6135804883

1365.1591925128

1282.4436587257

1360.5014261334

1357.5860851094

1281.4435590446

1363.2194705131

1345.3060617

1283.4433962669

1358.5582275906

1345.3060617

1289.2347326071

1359.5300079319

1349.0156158025

1286.4404360511

1362.2490663034

1339.4382240989

1284.4427716682

1355.6407137273

1345.3060617

1286.4404360511

1367.097465953

1345.3060617

1284.4427716682

1366.1285103029

1346.0874550263

1284.4427716682

1360.5014261334

1333.7535886573

1285.4417849296

1355.6407137273

1338.4589836758

1287.4387250327

1360.5014261334

1339.4382240989

1289.2347326071

1354.6674848264

1330.808479734

1287.4387250327

1357.5860851094

1333.7535886573

1286.4404360511

1352.9147602123

1342.373772529

1291.2289204471

1355.6407137273

1346.0874550263

1303.9574207318

1347.0638707583

1344.3289941162

1300.979501934

1344.3289941162

1336.6954383216

1305.7426075661

1349.9909451148

1340.4171023822

1300.979501934

1347.0638707583

1337.6753305965

1293.2216597274

1352.9147602123

1329.8260524798

1289.2347326071

1349.9909451148

1337.6753305965

1288.4366518745

1345.3060617

1344.3289941162

1285.4417849296

1345.3060617

1342.373772529

1282.4436587257

1355.6407137273

1344.3289941162

1291.2289204471

1356.6135804883

1346.0874550263

1296.2080525987

1352.9147602123

1340.4171023822

1288.4366518745

1349.0156158025

1341.3956185255

1299.986138055

1351.9405173197

1337.6753305965

1305.7426075661

1355.6407137273

1332.7722478228

1305.7426075661

1362.2490663034

1335.7151839067

1296.2080525987

1354.6674848264

1327.0733295837

1296.2080525987

1354.6674848264

1319.3900592243

1302.9651432724

1348.0399243503

1318.4034311473

1304.9493360512

1352.9147602123

1326.0895261979

1303.9574207318

1339.4382240989

1325.1053606722

1297.9983238772

1349.0156158025

1329.8260524798

1299.986138055

1349.0156158025

1348.0399243503

1303.9574207318

1349.0156158025

1352.9147602123

1312.6738469019

1353.888640965

1350.9659122872

1306.7338710338

1356.6135804883

1357.5860851094

1312.6738469019

1361.4724821949

1357.5860851094

1313.4648586638

1364.1895125829

1348.0399243503

1312.6738469019

1356.6135804883

1335.7151839067

1309.7054885974

1366.1285103029

1342.373772529

1307.7247723615

1361.4724821949

1335.7151839067

1310.6953035055

1361.4724821949

1330.808479734

1310.6953035055

1367.097465953

1322.1506912556

1303.9574207318

1358.5582275906

1334.734567352

1306.7338710338

1360.5014261334

1329.0398499357

1301.9725036732

1367.097465953

1324.1208330066

1299.986138055

1356.6135804883

1323.135943201

1301.9725036732

1350.9659122872

1320.3763251614

1305.7426075661

1354.6674848264

1329.0398499357

1319.3900592243

1354.6674848264

1334.734567352

1325.1053606722

1344.3289941162

1330.808479734

1330.808479734

1341.3956185255

1317.4164409304

1329.8260524798

1343.3515643926

1321.3622289586

1329.0398499357

1354.6674848264

1321.3622289586

1330.808479734

1340.4171023822

1329.8260524798

1327.0733295837

1348.0399243503

1329.0398499357

1328.0567708297

1353.888640965

1332.7722478228

1329.8260524798

1357.5860851094

1343.3515643926

1329.8260524798

1343.3515643926

1348.0399243503

1330.808479734

1346.0874550263

1350.9659122872

1325.1053606722

1348.0399243503

1349.9909451148

1325.1053606722

1346.0874550263

1342.373772529

1326.0895261979

1346.0874550263

1338.4589836758

1322.1506912556

1343.3515643926

1335.7151839067

1311.6847562736

1345.3060617

1335.7151839067

1314.4532974403

1341.3956185255

1327.0733295837

1309.7054885974

1335.7151839067

1319.3900592243

1306.7338710338

1332.7722478228

1318.4034311473

1307.7247723615

1339.4382240989

1325.1053606722

1316.4290885736

1342.373772529

1318.4034311473

1318.4034311473

1341.3956185255

1318.4034311473

1316.4290885736

1344.3289941162

1317.4164409304

1311.6847562736

1343.3515643926

1324.1208330066

1315.4413740769

1339.4382240989

1328.0567708297

1316.4290885736

1332.7722478228

1344.3289941162

1319.3900592243

1337.6753305965

1350.9659122872

1308.7153115494

1349.0156158025

1358.5582275906

1303.9574207318

1365.1591925128

1362.2490663034

1305.7426075661

1366.1285103029

1354.6674848264

1299.986138055

1370.7761947076

1342.373772529

1293.2216597274

1376.574066881

1353.888640965

1300.979501934

1377.5391114203

1343.3515643926

1300.979501934

1376.574066881

1339.4382240989

1303.9574207318

1363.2194705131

1338.4589836758

1301.9725036732

1367.097465953

1336.6954383216

1295.2129504482

1362.2490663034

1344.3289941162

1291.2289204471

1358.5582275906

1343.3515643926

1301.9725036732

1364.1895125829

1346.0874550263

1302.9651432724

1355.6407137273

1344.3289941162

1306.7338710338

1354.6674848264

1339.4382240989

1315.4413740769

1348.0399243503

1337.6753305965

1307.7247723615

1346.0874550263

1335.7151839067

1304.9493360512

1348.0399243503

1330.808479734

1309.7054885974

1348.0399243503

1324.1208330066

1314.4532974403

1359.5300079319

1326.0895261979

1307.7247723615

1360.5014261334

1317.4164409304

1310.6953035055

1358.5582275906

1306.7338710338

1306.7338710338

1353.888640965

1299.986138055

1295.2129504482

1354.6674848264

1290.232007597

1298.992412036

1353.888640965

1288.4366518745

1297.9983238772

1355.6407137273

1289.2347326071

1293.2216597274

1353.888640965

1280.4430972236

1291.2289204471

1350.9659122872

1266.8008632094

1296.2080525987

1350.9659122872

1286.4404360511

1296.2080525987

1348.0399243503

1276.638039588

1294.2174861577

1343.3515643926

1258.9464165644

1288.4366518745

1342.373772529

1262.977090184

1291.2289204471

1330.808479734

1294.2174861577

1298.992412036

1342.373772529

1307.7247723615

1295.2129504482

1345.3060617

1312.6738469019

1300.979501934

1341.3956185255

1313.4648586638

1302.9651432724

1344.3289941162

1318.4034311473

1302.9651432724

1346.0874550263

1309.7054885974

1303.9574207318

1339.4382240989

1308.7153115494

1303.9574207318

1345.3060617

1292.2254711572

1303.9574207318

1345.3060617

1295.2129504482

1304.9493360512

1346.0874550263

1285.4417849296

1297.9983238772

1344.3289941162

1285.4417849296

1293.2216597274

1338.4589836758

1290.232007597

1295.2129504482

1341.3956185255

1292.2254711572

1293.2216597274

1338.4589836758

1303.9574207318

1298.992412036

1331.7905448483

1303.9574207318

1288.4366518745

1337.6753305965

1311.6847562736

1277.6398775406

1345.3060617

1307.7247723615

1280.4430972236

1342.373772529

1309.7054885974

1269.8159375604

1331.7905448483

1312.6738469019

1262.977090184

1330.808479734

1316.4290885736

1271.8241764282

1329.8260524798

1328.0567708297

1268.8112749166

1336.6954383216

1331.7905448483

1263.7825295993

1343.3515643926

1334.734567352

1274.6332772631

1336.6954383216

1339.4382240989

1301.9725036732

1339.4382240989

1328.0567708297

1299.986138055

1342.373772529

1327.0733295837

1294.2174861577

1337.6753305965

1317.4164409304

1291.2289204471

1334.734567352

1319.3900592243

1297.0038735784

1332.7722478228

1322.1506912556

1305.7426075661

1336.6954383216

1333.7535886573

1298.992412036

1337.6753305965

1331.7905448483

1298.992412036

1329.8260524798

1328.0567708297

1300.979501934

1328.0567708297

1330.808479734

1307.7247723615

1331.7905448483

1338.4589836758

1297.9983238772

1327.0733295837

1342.373772529

1297.0038735784

1327.0733295837

1338.4589836758

1291.2289204471

1329.8260524798

1339.4382240989

1279.6424670261

1327.0733295837

1332.7722478228

1278.6413533533

1328.0567708297

1333.7535886573

1279.6424670261

1333.7535886573

1336.6954383216

1274.6332772631

1339.4382240989

1338.4589836758

1276.638039588

1343.3515643926

1337.6753305965

1274.6332772631

1344.3289941162

1335.7151839067

1277.6398775406

1346.0874550263

1332.7722478228

1270.8202380642

1351.9405173197

1328.0567708297

1276.638039588

1351.9405173197

1337.6753305965

1255.9196088808

1348.0399243503

1341.3956185255

1249.0467782967

1342.373772529

1333.7535886573

1248.0346555711

1339.4382240989

1337.6753305965

1248.0346555711

1342.373772529

1341.3956185255

1234.2338332541

1335.7151839067

1347.0638707583

1232.1986511781

1330.808479734

1349.9909451148

1226.2884315532

1328.0567708297

1340.4171023822

1232.1986511781

1330.808479734

1325.1053606722

1215.25073279

1332.7722478228

1316.4290885736

1223.2266411557

1330.808479734

1321.3622289586

1216.2745164202

1325.1053606722

1323.135943201

1220.3660295422

1317.4164409304

1328.0567708297

1226.2884315532

1301.9725036732

1322.1506912556

1233.2164232861

1301.9725036732

1320.3763251614

1234.2338332541

1308.7153115494

1322.1506912556

1240.1276696702

1313.4648586638

1324.1208330066

1238.096688417

1321.3622289586

1315.4413740769

1257.9378428098

1318.4034311473

1301.9725036732

1260.962477654

1311.6847562736

1294.2174861577

1249.0467782967

1300.979501934

1293.2216597274

1251.0699373283

1292.2254711572

1310.6953035055

1265.7951141459

1276.638039588

1310.6953035055

1224.2476000948

1263.7825295993

1323.135943201

1185.1965760651

1253.0916478002

1311.6847562736

1165.8915042632

1245.1987853552

1294.2174861577

1160.8892124734

1242.1572023639

1283.4433962669

1153.5792472355

1233.2164232861

1282.4436587257

1156.7142623196

1237.283890319

1297.0038735784

1153.5792472355

1234.2338332541

1269.8159375604

1150.6502925809

1246.2119220725

1249.0467782967

1158.8024616763

1246.2119220725

1255.1119097126

1155.6696194315

1251.0699373283

1256.9289069153

1154.6246144034

1283.4433962669

1259.9546281792

1166.9325981804

1305.7426075661

1255.1119097126

1172.9638015015

1301.9725036732

1243.1714255009

1192.2230698494

1291.2289204471

1246.2119220725

1156.7142623196

1299.986138055

1247.0221707056

1120.7818814832

1306.7338710338

1254.1019598263

1123.9507928615

1306.7338710338

1257.9378428098

1126.9055029054

1313.4648586638

1272.6270663787

1117.6097108458

1308.7153115494

1272.6270663787

1121.8385474159

1301.9725036732

1286.4404360511

1126.0615897476

1306.7338710338

1262.977090184

1129.0142718081

1313.4648586638

1256.9289069153

1122.8948512086

1288.4366518745

1251.0699373283

1115.704844019

1284.4427716682

1241.142617087

1129.0142718081

1268.8112749166

1248.0346555711

1134.2798566166

1259.9546281792

1257.9378428098

1134.2798566166

1263.7825295993

1255.1119097126

1143.5252967452

1274.6332772631

1246.2119220725

1148.5564438419

1262.977090184

1258.9464165644

1147.5089762626

1186.2309341803

1269.8159375604

1135.1215100214

1117.6097108458

1267.8062501329

1122.8948512086

1101.0618842753

1262.977090184

1126.0615897476

1121.8385474159

1251.0699373283

1098.0824328339

1129.0142718081

1255.9196088808

1075.0026620375

1191.1908121456

1244.185286498

1058.2288601726

1216.2745164202

1205.1984887706

1063.6146754262

1207.2527918331

1178.9828224364

1072.8570997215

1169.8457345644

1169.8457345644

1082.2867386862

1171.9248079957

1162.7660496723

1091.6883335375

1197.1728658401

1159.8460181448

1089.7675615265

1211.3570522793

1192.2230698494

1085.4949784571

1240.1276696702

1183.1267734151

1080.3602303793

1162.7660496723

1192.2230698494

1086.5636674343

1131.1215921512

1191.1908121456

1087.6319942716

1132.1747091129

1182.0913288803

1103.1883256049

1147.5089762626

1169.8457345644

1111.4676058034

1169.8457345644

1158.8024616763

1114.6460776749

1184.1618558101

1148.5564438419

1108.2858746727

1169.0136995952

1144.3644006852

1079.2894409907

1190.158192302

1137.2246295417

1094.8870128152

1178.1533369321

1136.1732508515

1127.9600684267

1171.9248079957

1132.1747091129

1120.7818814832

1161.7235071955

1146.4611465433

1103.1883256049

1150.6502925809

1153.5792472355

1109.3468138562

1183.1267734151

1156.7142623196

1142.4760908944

1203.3483774959

1158.8024616763

1150.6502925809

1207.2527918331

1158.8024616763

1143.5252967452

1210.3315303776

1162.7660496723

1115.704844019

1213.2020791099

1172.9638015015

1094.8870128152

1208.2794001545

1145.4129546842

1078.2182894623

1214.2265870199

1104.2510030598

1073.9300619494

1214.2265870199

1115.704844019

1070.9248551186

1214.2265870199

1120.7818814832

1075.0026620375

1217.2979379106

1102.1252860101

1080.3602303793

1225.2681968939

1067.70184004

1082.2867386862

1228.327814452

1056.0719990919

1082.2867386862

1249.0467782967

1050.8896223751

1094.8870128152

1249.0467782967

1051.9699722569

1101.0618842753

1247.0221707056

1067.70184004

1110.4073908997

1246.2119220725

1067.70184004

1114.6460776749

1235.2508810823

1072.8570997215

1116.7632482232

1215.25073279

1078.2182894623

1119.7248534106

1207.2527918331

1103.1883256049

1118.6674631982

1197.1728658401

1113.586949191

1118.6674631982

1167.9733299577

1125.0063723745

1102.1252860101

1142.4760908944

1123.9507928615

1105.3133183749

1127.9600684267

1120.7818814832

1107.4368625853

1121.8385474159

1126.0615897476

1104.2510030598

1126.0615897476

1139.3263005025

1098.0824328339

1132.1747091129

1129.0142718081

1093.8211485292

1123.9507928615

1105.3133183749

1075.0026620375

1129.0142718081

1086.5636674343

1069.850878899

1155.6696194315

1082.2867386862

1067.70184004

1185.1965760651

1081.430657628

1083.3565140831

1160.8892124734

1085.4949784571

1131.1215921512

1154.6246144034

1085.4949784571

1174.0024328674

1155.6696194315

1088.699958969

1158.8024616763

1146.4611465433

1093.8211485292

1138.2756460921

1131.1215921512

1099.9981204007

1111.4676058034

1090.6213828318

1107.4368625853

1098.0824328339

1085.4949784571

1104.2510030598

1097.0176549676

1094.8870128152

1109.3468138562

1094.8870128152

1089.7675615265

1156.7142623196

1093.8211485292

1107.4368625853

1164.8500482061

1125.0063723745

1151.6966737406

1148.5564438419

1130.0681130496

1158.8024616763

1145.4129546842

1119.7248534106

1165.8915042632

1150.6502925809

1120.7818814832

1163.8082300092

1157.7585430679

1117.6097108458

1151.6966737406

1169.8457345644

1132.1747091129

1144.3644006852

1183.1267734151

1139.3263005025

1138.2756460921

1205.1984887706

1146.4611465433

1137.2246295417

1223.2266411557

1175.0407020934

1142.4760908944

1257.9378428098

1133.2274639347

1162.7660496723

1250.0585388824

1107.4368625853

1170.8854523499

1250.0585388824

1087.6319942716

1178.9828224364

1242.1572023639

1069.850878899

1165.8915042632

1228.327814452

1090.6213828318

1160.8892124734

1219.3436944715

1126.0615897476

1163.8082300092

1213.2020791099

1146.4611465433

1169.8457345644

1200.2622512976

1107.4368625853

1178.9828224364

1189.1252103184

1090.6213828318

1188.091866195

1178.1533369321

1082.2867386862

1190.158192302

1181.0555222056

1059.3067475031

1185.1965760651

1170.8854523499

1057.1506107022

1171.9248079957

1158.8024616763

1059.3067475031

1162.7660496723

1162.7660496723

1076.0748999856

1158.8024616763

1157.7585430679

1122.8948512086

1155.6696194315

1159.8460181448

1143.5252967452

1161.7235071955

1174.0024328674

1184.1618558101

1160.8892124734

1197.1728658401

1226.2884315532

1151.6966737406

1202.320030903

1256.9289069153

1138.2756460921

1202.320030903

1279.6424670261

1131.1215921512

1199.232818285

1297.0038735784

1127.9600684267

1181.0555222056

1300.979501934

1125.0063723745

1160.8892124734

1300.979501934

1117.6097108458

1154.6246144034

1304.9493360512

1115.704844019

1151.6966737406

1308.7153115494

1113.586949191

1144.3644006852

1309.7054885974

1117.6097108458

1130.0681130496

1301.9725036732

1113.586949191

1118.6674631982

1310.6953035055

1118.6674631982

1119.7248534106

1318.4034311473

1112.5274585671

1118.6674631982

1293.2216597274

1108.2858746727

1114.6460776749

1280.4430972236

1112.5274585671

1110.4073908997

1249.0467782967

1103.1883256049

1104.2510030598

1225.2681968939

1107.4368625853

1108.2858746727

1213.2020791099

1103.1883256049

1106.37527155

1209.305646336

1108.2858746727

1107.4368625853

1209.305646336

1107.4368625853

1097.0176549676

1192.2230698494

1109.3468138562

1086.5636674343

1177.1161541257

1104.2510030598

1081.430657628

1147.5089762626

1101.0618842753

1087.6319942716

1138.2756460921

1095.9525149613

1092.7549221033

1133.2274639347

1090.6213828318

1092.7549221033

1122.8948512086

1082.2867386862

1088.699958969

1125.0063723745

1083.3565140831

1083.3565140831

1118.6674631982

1089.7675615265

1085.4949784571

1107.4368625853

1099.9981204007

1091.6883335375

1101.0618842753

1104.2510030598

1103.1883256049

1101.0618842753

1099.1468485603

1114.6460776749

1094.8870128152

1093.8211485292

1115.704844019

1101.0618842753

1092.7549221033

1127.9600684267

1102.1252860101

1090.6213828318

1144.3644006852

1109.3468138562

1090.6213828318

1159.8460181448

1112.5274585671

1086.5636674343

1176.0786091795

1109.3468138562

1081.430657628

1178.9828224364

1117.6097108458

1072.8570997215

1190.158192302

1121.8385474159

1066.6267774006

1195.3176701213

1126.9055029054

1063.6146754262

1204.1707940295

1133.2274639347

1070.9248551186

1212.3822120412

1137.2246295417

1075.0026620375

1223.2266411557

1144.3644006852

1093.8211485292

1232.1986511781

1140.376592773

1092.7549221033

1236.2675667706

1154.6246144034

1117.6097108458

1242.1572023639

1156.7142623196

1143.5252967452

1249.0467782967

1161.7235071955

1148.5564438419

1245.1987853552

1163.8082300092

1156.7142623196

1241.142617087

1160.8892124734

1162.7660496723

1236.2675667706

1171.9248079957

1163.8082300092

1232.1986511781

1172.9638015015

1167.9733299577

1234.2338332541

1175.0407020934

1171.9248079957

1236.2675667706

1171.9248079957

1175.0407020934

1229.3469626916

1175.0407020934

1174.0024328674

1236.2675667706

1178.1533369321

1176.0786091795

1231.1805169302

1176.0786091795

1178.9828224364

1234.2338332541

1175.0407020934

1183.1267734151

1228.327814452

1175.0407020934

1182.0913288803

1220.3660295422

1174.0024328674

1185.1965760651

1212.3822120412

1174.0024328674

1189.1252103184

1207.2527918331

1172.9638015015

1191.1908121456

1200.2622512976

1181.0555222056

1225.2681968939

1207.2527918331

1184.1618558101

1248.0346555711

1203.3483774959

1185.1965760651

1255.1119097126

1208.2794001545

1187.0581599317

1213.2020791099

1209.305646336

1183.1267734151

1202.320030903

1208.2794001545

1185.1965760651

1201.2913221702

1204.1707940295

1192.2230698494

1193.2549654133

1205.1984887706

1195.3176701213

1187.0581599317

1199.232818285

1192.2230698494

1181.0555222056

1202.320030903

1200.2622512976

1185.1965760651

1203.3483774959

1194.2864988373

1183.1267734151

1204.1707940295

1188.091866195

1175.0407020934

1211.3570522793

1187.0581599317

1172.9638015015

1210.3315303776

1186.2309341803

1166.9325981804

1221.183636858

1188.091866195

1160.8892124734

1220.3660295422

1192.2230698494

1154.6246144034

1222.2053200768

1182.0913288803

1153.5792472355

1221.183636858

1188.091866195

1149.6035492814

1224.2476000948

1194.2864988373

1141.4265229036

1232.1986511781

1206.2258213718

1143.5252967452

1233.2164232861

1217.2979379106

1163.8082300092

1236.2675667706

1206.2258213718

1177.1161541257

1250.0585388824

1205.1984887706

1190.158192302

1255.9196088808

1209.305646336

1201.2913221702

1255.9196088808

1218.320997261

1206.2258213718

1250.0585388824

1211.3570522793

1203.3483774959

1245.1987853552

1221.183636858

1200.2622512976

1245.1987853552

1218.320997261

1199.232818285

1245.1987853552

1219.3436944715

1190.158192302

1244.185286498

1221.183636858

1185.1965760651

1244.185286498

1216.2745164202

1190.158192302

1238.096688417

1227.3083040725

1184.1618558101

1233.2164232861

1222.2053200768

1172.9638015015

1229.3469626916

1208.2794001545

1159.8460181448

1231.1805169302

1209.305646336

1157.7585430679

1234.2338332541

1206.2258213718

1149.6035492814

1233.2164232861

1204.1707940295

1132.1747091129

1243.1714255009

1201.2913221702

1119.7248534106

1237.283890319

1200.2622512976

1111.4676058034

1229.3469626916

1191.1908121456

1119.7248534106

1231.1805169302

1190.158192302

1127.9600684267

1233.2164232861

1189.1252103184

1140.376592773

1231.1805169302

1201.2913221702

1155.6696194315

1223.2266411557

1199.232818285

1166.9325981804

1211.3570522793

1197.1728658401

1164.8500482061

1197.1728658401

1205.1984887706

1161.7235071955

1192.2230698494

1213.2020791099

1166.9325981804

1191.1908121456

1219.3436944715

1169.0136995952

1209.305646336

1230.1620205425

1164.8500482061

1228.327814452

1217.2979379106

1161.7235071955

1235.2508810823

1205.1984887706

1156.7142623196

1238.096688417

1208.2794001545

1149.6035492814

1243.1714255009

1202.320030903

1143.5252967452

1245.1987853552

1195.3176701213

1140.376592773

1244.185286498

1194.2864988373

1137.2246295417

1245.1987853552

1184.1618558101

1133.2274639347

1243.1714255009

1192.2230698494

1133.2274639347

1245.1987853552

1198.2030231325

1123.9507928615

1242.1572023639

1196.1423464079

1119.7248534106

1244.185286498

1204.1707940295

1121.8385474159

1250.0585388824

1213.2020791099

1125.0063723745

1252.0809736342

1218.320997261

1135.1215100214

1254.1019598263

1224.2476000948

1139.3263005025

1255.1119097126

1234.2338332541

1145.4129546842

1257.9378428098

1240.1276696702

1152.5335179276

1257.9378428098

1236.2675667706

1153.5792472355

1257.9378428098

1233.2164232861

1156.7142623196

1255.1119097126

1241.142617087

1159.8460181448

1257.9378428098

1243.1714255009

1159.8460181448

1257.9378428098

1245.1987853552

1159.8460181448

1257.9378428098

1248.0346555711

1163.8082300092

1259.9546281792

1251.0699373283

1166.9325981804

1259.9546281792

1248.0346555711

1166.9325981804

1262.977090184

1243.1714255009

1169.0136995952

1263.7825295993

1241.142617087

1174.0024328674

1265.7951141459

1247.0221707056

1176.0786091795

1270.8202380642

1250.0585388824

1178.9828224364

1272.6270663787

1241.142617087

1181.0555222056

1272.6270663787

1241.142617087

1184.1618558101

1269.8159375604

1236.2675667706

1187.0581599317

1267.8062501329

1228.327814452

1187.0581599317

1261.969964989

1224.2476000948

1189.1252103184

1258.9464165644

1219.3436944715

1192.2230698494

1258.9464165644

1223.2266411557

1199.232818285

1257.9378428098

1223.2266411557

1204.1707940295

1256.9289069153

1221.183636858

1210.3315303776

1254.1019598263

1223.2266411557

1213.2020791099

1252.0809736342

1229.3469626916

1215.25073279

1254.1019598263

1236.2675667706

1217.2979379106

1255.9196088808

1235.2508810823

1222.2053200768

1255.1119097126

1231.1805169302

1225.2681968939

1256.9289069153

1238.096688417

1227.3083040725

1254.1019598263

1239.1123601135

1227.3083040725

1256.9289069153

1233.2164232861

1234.2338332541

1255.1119097126

1232.1986511781

1235.2508810823

1254.1019598263

1223.2266411557

1235.2508810823

1259.9546281792

1217.2979379106

1231.1805169302

1260.962477654

1219.3436944715

1229.3469626916

1264.7890029426

1218.320997261

1227.3083040725

1263.7825295993

1213.2020791099

1230.1620205425

1262.977090184

1220.3660295422

1230.1620205425

1261.969964989

1215.25073279

1226.2884315532

1259.9546281792

1223.2266411557

1225.2681968939

1258.9464165644

1220.3660295422

1231.1805169302

1257.9378428098

1218.320997261

1223.2266411557

1255.1119097126

1224.2476000948

1216.2745164202

1254.1019598263

1234.2338332541

1209.305646336

1255.9196088808

1233.2164232861

1201.2913221702

1255.1119097126

1228.327814452

1201.2913221702

1258.9464165644

1228.327814452

1209.305646336

1256.9289069153

1237.283890319

1207.2527918331

1258.9464165644

1244.185286498

1214.2265870199

1255.9196088808

1236.2675667706

1223.2266411557

1253.0916478002

1231.1805169302

1227.3083040725

1256.9289069153

1244.185286498

1228.327814452

1259.9546281792

1251.0699373283

1222.2053200768

1261.969964989

1252.0809736342

1217.2979379106

1256.9289069153

1249.0467782967

1215.25073279

1256.9289069153

1252.0809736342

1224.2476000948

1252.0809736342

1243.1714255009

1228.327814452

1245.1987853552

1249.0467782967

1224.2476000948

1253.0916478002

1251.0699373283

1218.320997261

1257.9378428098

1253.0916478002

1217.2979379106

1257.9378428098

1249.0467782967

1212.3822120412

1257.9378428098

1243.1714255009

1209.305646336

1248.0346555711

1231.1805169302

1204.1707940295

1242.1572023639

1216.2745164202

1201.2913221702

1243.1714255009

1216.2745164202

1201.2913221702

1239.1123601135

1221.183636858

1200.2622512976

1236.2675667706

1214.2265870199

1204.1707940295

1236.2675667706

1216.2745164202

1203.3483774959

1235.2508810823

1217.2979379106

1203.3483774959

1239.1123601135

1227.3083040725

1202.320030903

1239.1123601135

1220.3660295422

1201.2913221702

1238.096688417

1207.2527918331

1203.3483774959

1218.320997261

1205.1984887706

1202.320030903

1209.305646336

1204.1707940295

1202.320030903

1211.3570522793

1204.1707940295

1203.3483774959

1216.2745164202

1210.3315303776

1199.232818285

1215.25073279

1207.2527918331

1198.2030231325

1216.2745164202

1207.2527918331

1198.2030231325

1219.3436944715

1205.1984887706

1198.2030231325

1223.2266411557

1217.2979379106

1202.320030903

1231.1805169302

1217.2979379106

1200.2622512976

1233.2164232861

1224.2476000948

1201.2913221702

1225.2681968939

1229.3469626916

1203.3483774959

1220.3660295422

1237.283890319

1205.1984887706

1213.2020791099

1231.1805169302

1208.2794001545

1206.2258213718

1226.2884315532

1208.2794001545

1203.3483774959

1230.1620205425

1212.3822120412

1200.2622512976

1232.1986511781

1211.3570522793

1201.2913221702

1243.1714255009

1217.2979379106

1213.2020791099

1239.1123601135

1219.3436944715

1209.305646336

1240.1276696702

1225.2681968939

1210.3315303776

1246.2119220725

1231.1805169302

1217.2979379106

1239.1123601135

1234.2338332541

1218.320997261

1235.2508810823

1231.1805169302

1222.2053200768

1223.2266411557

1237.283890319

1223.2266411557

1231.1805169302

1238.096688417

1222.2053200768

1235.2508810823

1238.096688417

1223.2266411557

1232.1986511781

1239.1123601135

1222.2053200768

1230.1620205425

1239.1123601135

1224.2476000948

1237.283890319

1243.1714255009

1220.3660295422

1236.2675667706

1244.185286498

1220.3660295422

1223.2266411557

1245.1987853552

1221.183636858

1223.2266411557

1245.1987853552

1220.3660295422

1219.3436944715

1244.185286498

1220.3660295422

1218.320997261

1245.1987853552

1223.2266411557

1216.2745164202

1244.185286498

1222.2053200768

1215.25073279

1241.142617087

1222.2053200768

1212.3822120412

1245.1987853552

1220.3660295422

1232.1986511781

1244.185286498

1223.2266411557

1229.3469626916

1245.1987853552

1224.2476000948

1218.320997261

1240.1276696702

1227.3083040725

1221.183636858

1241.142617087

1225.2681968939

1228.327814452

1241.142617087

1225.2681968939

1216.2745164202

1239.1123601135

1225.2681968939

1209.305646336

1240.1276696702

1225.2681968939

1212.3822120412

1239.1123601135

1229.3469626916

1210.3315303776

1240.1276696702

1232.1986511781

1205.1984887706

1243.1714255009

1231.1805169302

1205.1984887706

1248.0346555711

1231.1805169302

1203.3483774959

1250.0585388824

1234.2338332541

1208.2794001545

1251.0699373283

1232.1986511781

1216.2745164202

1251.0699373283

1233.2164232861

1212.3822120412

1255.1119097126

1233.2164232861

1213.2020791099

1257.9378428098

1229.3469626916

1217.2979379106

1257.9378428098

1227.3083040725

1213.2020791099

1255.9196088808

1228.327814452

1235.2508810823

1256.9289069153

1229.3469626916

1232.1986511781

1254.1019598263

1231.1805169302

1258.9464165644

1254.1019598263

1230.1620205425

1261.969964989

1250.0585388824

1231.1805169302

1257.9378428098

1239.1123601135

1229.3469626916

1260.962477654

1237.283890319

1231.1805169302

1259.9546281792

1235.2508810823

1231.1805169302

1259.9546281792

1232.1986511781

1228.327814452

1263.7825295993

1232.1986511781

1231.1805169302

1267.8062501329

1232.1986511781

1227.3083040725

1263.7825295993

1231.1805169302

1227.3083040725

1258.9464165644

1235.2508810823

1224.2476000948

1254.1019598263

1233.2164232861

1227.3083040725

1262.977090184

1237.283890319

1225.2681968939

1255.1119097126

1236.2675667706

1224.2476000948

1253.0916478002

1237.283890319

1221.183636858

1258.9464165644

1239.1123601135

1223.2266411557

1264.7890029426

1241.142617087

1225.2681968939

1255.1119097126

1243.1714255009

1224.2476000948

1255.9196088808

1255.1119097126

1223.2266411557

1255.1119097126

1258.9464165644

1223.2266411557

1248.0346555711

1258.9464165644

1223.2266411557

1249.0467782967

1261.969964989

1222.2053200768

1255.9196088808

1258.9464165644

1224.2476000948

1255.9196088808

1257.9378428098

1219.3436944715

1252.0809736342

1256.9289069153

1219.3436944715

1243.1714255009

1252.0809736342

1219.3436944715

1246.2119220725

1253.0916478002

1218.320997261

1245.1987853552

1247.0221707056

1216.2745164202

1241.142617087

1243.1714255009

1215.25073279

1241.142617087

1245.1987853552

1217.2979379106

1242.1572023639

1242.1572023639

1217.2979379106

1245.1987853552

1239.1123601135

1219.3436944715

1250.0585388824

1232.1986511781

1215.25073279

1255.1119097126

1228.327814452

1217.2979379106

1259.9546281792

1221.183636858

1219.3436944715

1262.977090184

1212.3822120412

1216.2745164202

1257.9378428098

1215.25073279

1214.2265870199

1254.1019598263

1211.3570522793

1214.2265870199

1252.0809736342

1208.2794001545

1212.3822120412

1259.9546281792

1209.305646336

1209.305646336

1259.9546281792

1208.2794001545

1208.2794001545

1252.0809736342

1206.2258213718

1210.3315303776

1248.0346555711

1205.1984887706

1212.3822120412

1245.1987853552

1204.1707940295

1208.2794001545

1256.9289069153

1201.2913221702

1210.3315303776

1258.9464165644

1204.1707940295

1207.2527918331

1250.0585388824

1202.320030903

1202.320030903

1243.1714255009

1205.1984887706

1203.3483774959

1256.9289069153

1207.2527918331

1204.1707940295

1252.0809736342

1209.305646336

1205.1984887706

1254.1019598263

1209.305646336

1208.2794001545

1253.0916478002

1218.320997261

1207.2527918331

1263.7825295993

1215.25073279

1209.305646336

1261.969964989

1213.2020791099

1206.2258213718

1269.8159375604

1213.2020791099

1202.320030903

1262.977090184

1209.305646336

1200.2622512976

1261.969964989

1210.3315303776

1205.1984887706

1274.6332772631

1212.3822120412

1200.2622512976

1280.4430972236

1210.3315303776

1198.2030231325

1275.6358394955

1210.3315303776

1196.1423464079

1281.4435590446

1215.25073279

1196.1423464079

1289.2347326071

1239.1123601135

1201.2913221702

1295.2129504482

1245.1987853552

1199.232818285

1297.9983238772

1239.1123601135

1199.232818285

1313.4648586638

1217.2979379106

1196.1423464079

1309.7054885974

1206.2258213718

1196.1423464079

1318.4034311473

1204.1707940295

1197.1728658401

1326.0895261979

1196.1423464079

1199.232818285

1329.0398499357

1198.2030231325

1198.2030231325

1312.6738469019

1200.2622512976

1194.2864988373

1317.4164409304

1205.1984887706

1192.2230698494

1316.4290885736

1212.3822120412

1184.1618558101

1311.6847562736

1214.2265870199

1182.0913288803

1304.9493360512

1212.3822120412

1175.0407020934

1302.9651432724

1208.2794001545

1180.0193533909

1299.986138055

1210.3315303776

1180.0193533909

1298.992412036

1203.3483774959

1178.1533369321

1293.2216597274

1198.2030231325

1176.0786091795

1290.232007597

1199.232818285

1169.0136995952

1291.2289204471

1197.1728658401

1166.9325981804

1293.2216597274

1201.2913221702

1162.7660496723

1287.4387250327

1193.2549654133

1155.6696194315

1287.4387250327

1194.2864988373

1154.6246144034

1294.2174861577

1199.232818285

1153.5792472355

1288.4366518745

1209.305646336

1151.6966737406

1291.2289204471

1210.3315303776

1149.6035492814

1289.2347326071

1205.1984887706

1153.5792472355

1290.232007597

1205.1984887706

1158.8024616763

1285.4417849296

1199.232818285

1149.6035492814

1279.6424670261

1201.2913221702

1148.5564438419

1288.4366518745

1194.2864988373

1143.5252967452

1297.0038735784

1200.2622512976

1145.4129546842

1291.2289204471

1194.2864988373

1142.4760908944

1291.2289204471

1194.2864988373

1143.5252967452

1281.4435590446

1198.2030231325

1144.3644006852

1285.4417849296

1208.2794001545

1144.3644006852

1282.4436587257

1214.2265870199

1143.5252967452

1276.638039588

1221.183636858

1149.6035492814

1275.6358394955

1221.183636858

1143.5252967452

1276.638039588

1223.2266411557

1140.376592773

1266.8008632094

1223.2266411557

1141.4265229036

1261.969964989

1224.2476000948

1142.4760908944

1257.9378428098

1224.2476000948

1143.5252967452

1253.0916478002

1228.327814452

1142.4760908944

1257.9378428098

1231.1805169302

1142.4760908944

1262.977090184

1233.2164232861

1141.4265229036

1256.9289069153

1239.1123601135

1139.3263005025

1251.0699373283

1242.1572023639

1137.2246295417

1260.962477654

1246.2119220725

1131.1215921512

1269.8159375604

1245.1987853552

1126.9055029054

1272.6270663787

1245.1987853552

1127.9600684267

1271.8241764282

1252.0809736342

1123.9507928615

1273.6303528909

1251.0699373283

1122.8948512086

1275.6358394955

1255.9196088808

1117.6097108458

1268.8112749166

1256.9289069153

1119.7248534106

1271.8241764282

1255.1119097126

1116.7632482232

1269.8159375604

1252.0809736342

1113.586949191

1270.8202380642

1249.0467782967

1112.5274585671

1261.969964989

1249.0467782967

1103.1883256049

1253.0916478002

1253.0916478002

1103.1883256049

1240.1276696702

1244.185286498

1094.8870128152

1238.096688417

1251.0699373283

1091.6883335375

1218.320997261

1259.9546281792

1087.6319942716

1217.2979379106

1256.9289069153

1080.3602303793

1222.2053200768

1252.0809736342

1064.4755657023

1230.1620205425

1251.0699373283

1058.2288601726

1223.2266411557

1254.1019598263

1059.3067475031

1221.183636858

1256.9289069153

1064.4755657023

1210.3315303776

1253.0916478002

1064.4755657023

1199.232818285

1254.1019598263

1059.3067475031

1191.1908121456

1251.0699373283

1054.9930253417

1191.1908121456

1254.1019598263

1054.1295856008

1202.320030903

1245.1987853552

1047.6463998903

1204.1707940295

1238.096688417

1047.6463998903

1195.3176701213

1239.1123601135

1038.1141449649

1182.0913288803

1232.1986511781

1033.9892743453

1171.9248079957

1233.2164232861

1025.5060514436

1178.9828224364

1238.096688417

1018.0924445973

1187.0581599317

1233.2164232861

1012.6305799657

1186.2309341803

1231.1805169302

1004.0919931169

1181.0555222056

1233.2164232861

997.7285047139

1194.2864988373

1230.1620205425

986.9487216457

1177.1161541257

1230.1620205425

975.0286762714

1169.8457345644

1226.2884315532

962.178615358

1161.7235071955

1222.2053200768

950.1709611003

1166.9325981804

1224.2476000948

944.820667357

1159.8460181448

1224.2476000948

937.0031992704

1145.4129546842

1226.2884315532

925.1315386156

1147.5089762626

1225.2681968939

918.393696131

1133.2274639347

1221.183636858

911.8680559686

1143.5252967452

1223.2266411557

907.5860311203

1139.3263005025

1223.2266411557

899.6844017221

1136.1732508515

1220.3660295422

891.9915415599

1137.2246295417

1221.183636858

880.8753160437

1138.2756460921

1219.3436944715

866.5319209123

1139.3263005025

1219.3436944715

856.4802125217

1139.3263005025

1214.2265870199

846.4004600177

1135.1215100214

1211.3570522793

836.2926634001

1130.0681130496

1215.25073279

819.4610491842

1125.0063723745

1214.2265870199

804.641060636

1116.7632482232

1213.2020791099

789.994684783

1108.2858746727

1214.2265870199

779.731370809

1106.37527155

1213.2020791099

768.2687657261

1099.9981204007

1212.3822120412

762.6417391607

1091.6883335375

1208.2794001545

756.7713807277

1093.8211485292

1210.3315303776

744.2962791232

1086.5636674343

1209.305646336

734.8541648927

1092.7549221033

1208.2794001545

730.3610414568

1083.3565140831

1208.2794001545

722.3076637865

1070.9248551186

1211.3570522793

714.2375407675

1067.70184004

1210.3315303776

711.8607883426

1062.5382366553

1207.2527918331

702.5776128987

1057.1506107022

1202.320030903

693.2724048636

1057.1506107022

1201.2913221702

683.9451642372

1051.9699722569

1201.2913221702

669.7928454323

1044.6164516619

1201.2913221702

660.4102408588

1040.2830290901

1196.1423464079

647.3825688876

1031.8161893973

1198.2030231325

637.9474250582

1036.1609107338

1198.2030231325

629.7039384287

1030.7291037135

1194.2864988373

620.227554108

1025.5060514436

1193.2549654133

610.7291371962

1029.6416558897

1192.2230698494

610.7291371962

1025.5060514436

1191.1908121456

610.7291371962

1022.2374067382

1189.1252103184

613.1667291234

1020.0564995685

1183.1267734151

611.9481142297

1023.3273171133

1184.1618558101

611.9481142297

1031.8161893973

1185.1965760651

614.3849818772

1029.6416558897

1188.091866195

616.5769242415

1031.8161893973

1181.0555222056

619.0110396257

1033.9892743453

1181.0555222056

620.227554108

1033.9892743453

1178.1533369321

621.4437064504

1030.7291037135

1177.1161541257

620.227554108

1030.7291037135

1176.0786091795

621.4437064504

1027.6833372144

1176.0786091795

629.7039384287

1022.2374067382

1174.0024328674

630.9172660799

1013.7236771718

1172.9638015015

626.0617826357

1012.6305799657

1170.8854523499

623.8749247155

1006.2834747716

1174.0024328674

621.4437064504

1002.9957090797

1169.8457345644

621.4437064504

1004.0919931169

1174.0024328674

619.0110396257

999.9241871914

1176.0786091795

615.3593233395

995.5313736769

1178.1533369321

611.9481142297

989.1515020651

1174.0024328674

609.5097980227

985.8467882261

1171.9248079957

605.8496076629

984.7444926667

1158.8024616763

605.8496076629

981.656138516

1152.5335179276

603.6519290027

976.1341586619

1144.3644006852

604.6288199299

970.8245404716

1140.376592773

604.6288199299

968.6097370077

1133.2274639347

607.0700332561

961.0685700048

1126.0615897476

604.6288199299

952.3977876087

1126.0615897476

603.6519290027

953.5106576531

1123.9507928615

603.6519290027

953.5106576531

1120.7818814832

599.9865238285

951.2845554245

1119.7248534106

598.7639978239

949.0570046363

1118.6674631982

598.7639978239

945.7129624047

1117.6097108458

599.9865238285

944.820667357

1120.7818814832

596.3178593952

940.3557155755

1114.6460776749

597.5411096795

934.990125043

1110.4073908997

599.9865238285

932.7519997699

1104.2510030598

597.5411096795

928.2714035449

1105.3133183749

597.5411096795

928.2714035449

1101.0618842753

597.5411096795

926.2532448734

1097.0176549676

594.1150962908

922.8870396803

1093.8211485292

595.0942469709

917.2694548939

1091.6883335375

596.3178593952

915.2449080746

1092.7549221033

596.3178593952

907.5860311203

1091.6883335375

596.3178593952

905.3302334202

1087.6319942716

595.0942469709

903.0729871607

1082.2867386862

594.1150962908

894.2558857615

1101.0618842753

594.1150962908

891.9915415599

1116.7632482232

594.1150962908

890.8588262493

1117.6097108458

597.5411096795

887.6852967954

1119.7248534106

598.7639978239

885.4167517711

1105.3133183749

597.5411096795

884.2819360491

1090.6213828318

598.7639978239

885.4167517711

1090.6213828318

598.7639978239

884.2819360491

1086.5636674343

598.7639978239

875.4179447763

1091.6883335375

597.5411096795

874.2799422233

1088.699958969

598.7639978239

875.4179447763

1086.5636674343

601.2086876931

867.6723860167

1085.4949784571

601.2086876931

864.2499042839

1079.2894409907

604.6288199299

866.5319209123

1073.9300619494

603.6519290027

866.5319209123

1068.7765405394

603.6519290027

861.966439096

1061.4614357445

604.6288199299

860.8241632921

1053.0499599988

605.8496076629

863.1083527599

1048.7278361918

604.6288199299

863.1083527599

1040.2830290901

605.8496076629

863.1083527599

1037.0291596925

607.0700332561

865.3910936681

1035.0752736095

608.2900967093

863.1083527599

1031.8161893973

610.7291371962

859.9100819083

1027.6833372144

611.9481142297

857.6238644572

1022.2374067382

613.1667291234

856.4802125217

1018.9655027738

615.3593233395

856.4802125217

1023.3273171133

617.7941630035

855.3361984464

1015.9087851643

621.4437064504

855.3361984464

1001.8990629027

620.227554108

857.6238644572

993.3327940803

621.4437064504

857.6238644572

984.7444926667

621.4437064504

855.3361984464

975.0286762714

620.227554108

853.0470838761

970.8245404716

620.227554108

855.3361984464

969.7173198096

621.4437064504

851.901983381

963.2882985712

620.227554108

853.0470838761

958.8473928787

615.3593233395

854.1918222312

953.5106576531

615.3593233395

854.1918222312

945.7129624047

616.5769242415

851.901983381

933.8712434764

613.1667291234

850.9856422443

926.2532448734

615.3593233395

850.9856422443

917.2694548939

615.3593233395

856.4802125217

912.9940354772

610.7291371962

855.3361984464

910.7417143202

611.9481142297

851.901983381

905.3302334202

610.7291371962

851.901983381

898.5541489627

608.2900967093

850.9856422443

895.3875146524

602.4304894179

848.6937754108

888.8190260977

601.2086876931

850.9856422443

882.0112181854

598.7639978239

850.9856422443

875.4179447763

598.7639978239

855.3361984464

868.8124889812

597.5411096795

855.3361984464

863.1083527599

597.5411096795

854.1918222312

853.0470838761

596.3178593952

850.9856422443

842.9577708788

596.3178593952

851.901983381

835.1422756626

595.0942469709

851.901983381

828.4628853865

599.9865238285

851.901983381

819.4610491842

601.2086876931

850.9856422443

808.1198189085

597.5411096795

847.5472987842

800.2299546435

589.2158663473

847.5472987842

793.2544035319

590.441217043

849.8398898975

785.3330186105

603.6519290027

846.4004600177

775.0569573122

620.227554108

850.9856422443

770.610897577

636.7361978183

850.9856422443

764.7528519004

654.6253792416

848.6937754108

760.2946822072

677.9545753591

846.4004600177

757.9461766941

697.8084636054

848.6937754108

751.1273191017

710.6718689203

850.9856422443

745.2392158138

723.4930342378

847.5472987842

740.758202336

730.3610414568

847.5472987842

734.8541648927

726.8101449173

848.6937754108

726.8101449173

719.9358364642

849.8398898975

717.5625605823

722.3076637865

851.901983381

705.9125698322

722.3076637865

850.9856422443

695.4217161194

724.6780425493

848.6937754108

692.0778360589

722.3076637865

848.6937754108

683.9451642372

725.6257884577

850.9856422443

681.5500151057

726.8101449173

849.8398898975

679.1534174145

723.4930342378

849.8398898975

676.7553711638

722.3076637865

848.6937754108

674.5958910197

715.1878361408

848.6937754108

669.7928454323

723.4930342378

849.8398898975

667.3891497992

722.3076637865

840.8905929511

664.0215423328

724.6780425493

842.9577708788

661.6143701567

722.3076637865

842.9577708788

661.6143701567

719.9358364642

842.9577708788

661.6143701567

719.9358364642

845.2532591113

659.205749421

717.5625605823

844.105696065

658.0008958434

707.102937814

844.105696065

656.7956801258

709.4825873581

844.105696065

656.7956801258

725.6257884577

845.2532591113

652.2125576832

729.1777714169

842.9577708788

652.2125576832

737.2168662897

840.8905929511

651.0056036941

733.9086787372

844.105696065

648.5906092963

731.5439493568

842.9577708788

643.9981291588

726.8101449173

842.9577708788

641.5789339383

719.9358364642

841.8094835527

640.3687931181

705.9125698322

845.2532591113

640.3687931181

669.7928454323



		0.49

		0.53

		0.57

		0.64

		0.7

		0.83

		0.83

		0



a

Qsum.,J/s

propane supply rate  ,l/min

Average heat supply rate,J/s

273.816254514

251.5184884202

236.9683048215

314.8522075557

309.1143831881

410.6090688327

0



		1		1		1

		2		2		2

		3		3		3

		4		4		4

		5		5		5

		6		6		6

		7		7		7

		8		8		8

		9		9		9

		10		10		10

		11		11		11

		12		12		12

		13		13		13

		14		14		14

		15		15		15

		16		16		16

		17		17		17

		18		18		18

		19		19		19

		20		20		20

		21		21		21

		22		22		22

		23		23		23

		24		24		24

		25		25		25

		26		26		26

		27		27		27

		28		28		28

		29		29		29

		30		30		30

		31		31		31

		32		32		32

		33		33		33

		34		34		34

		35		35		35

		36		36		36

		37		37		37

		38		38		38

		39		39		39

		40		40		40

		41		41		41

		42		42		42

		43		43		43

		44		44		44

		45		45		45

		46		46		46

		47		47		47

		48		48		48

		49		49		49

		50		50		50

		51		51		51

		52		52		52

		53		53		53

		54		54		54

		55		55		55

		56		56		56

		57		57		57

		58		58		58

		59		59		59

		60		60		60

		61		61		61

		62		62		62

		63		63		63

		64		64		64

		65		65		65

		66		66		66

		67		67		67

		68		68		68

		69		69		69

		70		70		70

		71		71		71

		72		72		72

		73		73		73

		74		74		74

		75		75		75

		76		76		76

		77		77		77

		78		78		78

		79		79		79

		80		80		80

		81		81		81

		82		82		82

		83		83		83

		84		84		84

		85		85		85

		86		86		86

		87		87		87

		88		88		88

		89		89		89

		90		90		90

		91		91		91

		92		92		92

		93		93		93

		94		94		94

		95		95		95

		96		96		96

		97		97		97

		98		98		98

		99		99		99

		100		100		100

		101		101		101

		102		102		102

		103		103		103

		104		104		104

		105		105		105

		106		106		106

		107		107		107

		108		108		108

		109		109		109

		110		110		110

		111		111		111

		112		112		112

		113		113		113

		114		114		114

		115		115		115

		116		116		116

		117		117		117

		118		118		118

		119		119		119

		120		120		120

		121		121		121

		122		122		122

		123		123		123

		124		124		124

		125		125		125

		126		126		126

		127		127		127

		128		128		128

		129		129		129

		130		130		130

		131		131		131

		132		132		132

		133		133		133

		134		134		134

		135		135		135

		136		136		136

		137		137		137

		138		138		138

		139		139		139

		140		140		140

		141		141		141

		142		142		142

		143		143		143

		144		144		144

		145		145		145

		146		146		146

		147		147		147

		148		148		148

		149		149		149

		150		150		150

		151		151		151

		152		152		152

		153		153		153

		154		154		154

		155		155		155

		156		156		156

		157		157		157

		158		158		158

		159		159		159

		160		160		160

		161		161		161

		162		162		162

		163		163		163

		164		164		164

		165		165		165

		166		166		166

		167		167		167

		168		168		168

		169		169		169

		170		170		170

		171		171		171

		172		172		172

		173		173		173

		174		174		174

		175		175		175

		176		176		176

		177		177		177

		178		178		178

		179		179		179

		180		180		180

		181		181		181

		182		182		182

		183		183		183

		184		184		184

		185		185		185

		186		186		186

		187		187		187

		188		188		188

		189		189		189

		190		190		190

		191		191		191

		192		192		192

		193		193		193

		194		194		194

		195		195		195

		196		196		196

		197		197		197

		198		198		198

		199		199		199

		200		200		200

		201		201		201

		202		202		202

		203		203		203

		204		204		204

		205		205		205

		206		206		206

		207		207		207

		208		208		208

		209		209		209

		210		210		210

		211		211		211

		212		212		212

		213		213		213

		214		214		214

		215		215		215

		216		216		216

		217		217		217

		218		218		218

		219		219		219

		220		220		220

		221		221		221

		222		222		222

		223		223		223

		224		224		224

		225		225		225

		226		226		226

		227		227		227

		228		228		228

		229		229		229

		230		230		230

		231		231		231

		232		232		232

		233		233		233

		234		234		234

		235		235		235

		236		236		236

		237		237		237

		238		238		238

		239		239		239

		240		240		240

		241		241		241

		242		242		242

		243		243		243

		244		244		244

		245		245		245

		246		246		246

		247		247		247

		248		248		248

		249		249		249

		250		250		250

		251		251		251

		252		252		252

		253		253		253

		254		254		254

		255		255		255

		256		256		256

		257		257		257

		258		258		258

		259		259		259

		260		260		260

		261		261		261

		262		262		262

		263		263		263

		264		264		264

		265		265		265

		266		266		266

		267		267		267

		268		268		268

		269		269		269

		270		270		270

		271		271		271

		272		272		272

		273		273		273

		274		274		274

		275		275		275

		276		276		276

		277		277		277

		278		278		278

		279		279		279

		280		280		280

		281		281		281

		282		282		282

		283		283		283

		284		284		284

		285		285		285

		286		286		286

		287		287		287

		288		288		288

		289		289		289

		290		290		290

		291		291		291

		292		292		292

		293		293		293

		294		294		294

		295		295		295

		296		296		296

		297		297		297

		298		298		298

		299		299		299

		300		300		300

		301		301		301

		302		302		302

		303		303		303

		304		304		304

		305		305		305

		306		306		306

		307		307		307

		308		308		308

		309		309		309

		310		310		310

		311		311		311

		312		312		312

		313		313		313

		314		314		314

		315		315		315

		316		316		316

		317		317		317

		318		318		318

		319		319		319

		320		320		320

		321		321		321

		322		322		322

		323		323		323

		324		324		324

		325		325		325

		326		326		326

		327		327		327

		328		328		328

		329		329		329

		330		330		330

		331		331		331

		332		332		332

		333		333		333

		334		334		334

		335		335		335

		336		336		336

		337		337		337

		338		338		338

		339		339		339

		340		340		340

		341		341		341

		342		342		342

		343		343		343

		344		344		344

		345		345		345

		346		346		346

		347		347		347

		348		348		348

		349		349		349

		350		350		350

		351		351		351

		352		352		352

		353		353		353

		354		354		354

		355		355		355

		356		356		356

		357		357		357

		358		358		358

		359		359		359

		360		360		360

		361		361		361

		362		362		362

		363		363		363

		364		364		364

		365		365		365

		366		366		366

		367		367		367

		368		368		368

		369		369		369

		370		370		370

		371		371		371

		372		372		372

		373		373		373

		374		374		374

		375		375		375

		376		376		376

		377		377		377

		378		378		378

		379		379		379

		380		380		380

		381		381		381

		382		382		382

		383		383		383

		384		384		384

		385		385		385

		386		386		386

		387		387		387

		388		388		388

		389		389		389

		390		390		390

		391		391		391

		392		392		392

		393		393		393

		394		394		394

		395		395		395

		396		396		396

		397		397		397

		398		398		398

		399		399		399

		400		400		400

		401		401		401

		402		402		402

		403		403		403

		404		404		404

		405		405		405

		406		406		406

		407		407		407

		408		408		408

		409		409		409

		410		410		410

		411		411		411

		412		412		412

		413		413		413

		414		414		414

		415		415		415

		416		416		416

		417		417		417

		418		418		418

		419		419		419

		420		420		420

		421		421		421

		422		422		422

		423		423		423

		424		424		424

		425		425		425

		426		426		426

		427		427		427

		428		428		428

		429		429		429

		430		430		430

		431		431		431

		432		432		432

		433		433		433

		434		434		434

		435		435		435

		436		436		436

		437		437		437

		438		438		438

		439		439		439

		440		440		440

		441		441		441

		442		442		442

		443		443		443

		444		444		444

		445		445		445

		446		446		446

		447		447		447

		448		448		448

		449		449		449

		450		450		450

		451		451		451

		452		452		452

		453		453		453

		454		454		454

		455		455		455

		456		456		456

		457		457		457

		458		458		458

		459		459		459

		460		460		460

		461		461		461

		462		462		462

		463		463		463

		464		464		464

		465		465		465

		466		466		466

		467		467		467

		468		468		468

		469		469		469

		470		470		470

		471		471		471

		472		472		472

		473		473		473

		474		474		474

		475		475		475

		476		476		476

		477		477		477

		478		478		478

		479		479		479

		480		480		480

		481		481		481

		482		482		482

		483		483		483

		484		484		484

		485		485		485

		486		486		486

		487		487		487

		488		488		488

		489		489		489

		490		490		490

		491		491		491

		492		492		492

		493		493		493

		494		494		494

		495		495		495

		496		496		496

		497		497		497

		498		498		498

		499		499		499

		500		500		500

		501		501		501

		502		502		502

		503		503		503

		504		504		504

		505		505		505

		506		506		506

		507		507		507

		508		508		508

		509		509		509

		510		510		510

		511		511		511

		512		512		512

		513		513		513

		514		514		514

		515		515		515

		516		516		516

		517		517		517

		518		518		518

		519		519		519

		520		520		520

		521		521		521

		522		522		522

		523		523		523

		524		524		524

		525		525		525

		526		526		526

		527		527		527

		528		528		528

		529		529		529

		530		530		530

		531		531		531

		532		532		532

		533		533		533

		534		534		534

		535		535		535

		536		536		536

		537		537		537

		538		538		538

		539		539		539

		540		540		540

		541		541		541

		542		542		542

		543		543		543

		544		544		544

		545		545		545

		546		546		546

		547		547		547

		548		548		548

		549		549		549

		550		550		550

		551		551		551

		552		552		552

		553		553		553

		554		554		554

		555		555		555

		556		556		556

		557		557		557

		558		558		558

		559		559		559

		560		560		560

		561		561		561

		562		562		562

		563		563		563

		564		564		564

		565		565		565

		566		566		566

		567		567		567

		568		568		568

		569		569		569

		570		570		570

		571		571		571

		572		572		572

		573		573		573

		574		574		574

		575		575		575

		576		576		576

		577		577		577

		578		578		578

		579		579		579

		580		580		580

		581		581		581

		582		582		582

		583		583		583

		584		584		584

		585		585		585

		586		586		586

		587		587		587

		588		588		588

		589		589		589

		590		590		590

		591		591		591

		592		592		592

		593		593		593

		594		594		594

		595		595		595

		596		596		596

		597		597		597

		598		598		598

		599		599		599

		600		600		600

		601		601		601

		602		602		602

		603		603		603

		604		604		604

		605		605		605

		606		606		606

		607		607		607

		608		608		608

		609		609		609

		610		610		610

		611		611		611

		612		612		612

		613		613		613

		614		614		614

		615		615		615

		616		616		616

		617		617		617

		618		618		618

		619		619		619

		620		620		620

		621		621		621

		622		622		622

		623		623		623

		624		624		624

		625		625		625

		626		626		626

		627		627		627

		628		628		628

		629		629		629

		630		630		630

		631		631		631

		632		632		632

		633		633		633

		634		634		634

		635		635		635

		636		636		636

		637		637		637

		638		638		638

		639		639		639

		640		640		640

		641		641		641

		642		642		642

		643		643		643

		644		644		644

		645		645		645

		646		646		646

		647		647		647

		648		648		648

		649		649		649

		650		650		650

		651		651		651

		652		652		652

		653		653		653

		654		654		654

		655		655		655

		656		656		656

		657		657		657

		658		658		658

		659		659		659

		660		660		660

		661		661		661

		662		662		662

		663		663		663

		664		664		664

		665		665		665

		666		666		666

		667		667		667

		668		668		668

		669		669		669

		670		670		670

		671		671		671

		672		672		672

		673		673		673

		674		674		674

		675		675		675

		676		676		676

		677		677		677

		678		678		678

		679		679		679

		680		680		680

		681		681		681

		682		682		682

		683		683		683

		684		684		684

		685		685		685

		686		686		686

		687		687		687

		688		688		688

		689		689		689

		690		690		690

		691		691		691

		692		692		692

		693		693		693

		694		694		694

		695		695		695

		696		696		696

		697		697		697

		698		698		698

		699		699		699

		700		700		700

		701		701		701

		702		702		702

		703		703		703

		704		704		704

		705		705		705

		706		706		706

		707		707		707

		708		708		708

		709		709		709

		710		710		710

		711		711		711

		712		712		712

		713		713		713

		714		714		714

		715		715		715

		716		716		716

		717		717		717

		718		718		718

		719		719		719

		720		720		720

		721		721		721

		722		722		722

		723		723		723

		724		724		724

		725		725		725

		726		726		726

		727		727		727

		728		728		728

		729		729		729

		730		730		730

		731		731		731

		732		732		732

		733		733		733

		734		734		734

		735		735		735

		736		736		736

		737		737		737

		738		738		738

		739		739		739

		740		740		740

		741		741		741

		742		742		742

		743		743		743

		744		744		744

		745		745		745

		746		746		746

		747		747		747

		748		748		748

		749		749		749

		750		750		750

		751		751		751

		752		752		752

		753		753		753

		754		754		754

		755		755		755

		756		756		756

		757		757		757

		758		758		758

		759		759		759

		760		760		760

		761		761		761

		762		762		762

		763		763		763

		764		764		764

		765		765		765

		766		766		766

		767		767		767

		768		768		768

		769		769		769

		770		770		770

		771		771		771

		772		772		772

		773		773		773

		774		774		774

		775		775		775

		776		776		776

		777		777		777

		778		778		778

		779		779		779

		780		780		780

		781		781		781

		782		782		782

		783		783		783

		784		784		784

		785		785		785

		786		786		786

		787		787		787

		788		788		788

		789		789		789

		790		790		790

		791		791		791

		792		792		792

		793		793		793

		794		794		794

		795		795		795

		796		796		796

		797		797		797

		798		798		798

		799		799		799

		800		800		800

		801		801		801

		802		802		802

		803		803		803

		804		804		804

		805		805		805

		806		806		806

		807		807		807

		808		808		808

		809		809		809

		810		810		810

		811		811		811

		812		812		812

		813		813		813

		814		814		814

		815		815		815

		816		816		816

		817		817		817

		818		818		818

		819		819		819

		820		820		820

		821		821		821

		822		822		822

		823		823		823

		824		824		824

		825		825		825

		826		826		826

		827		827		827

		828		828		828

		829		829		829

		830		830		830

		831		831		831

		832		832		832

		833		833		833

		834		834		834

		835		835		835

		836		836		836

		837		837		837

		838		838		838

		839		839		839

		840		840		840

		841		841		841

		842		842		842

		843		843		843

		844		844		844

		845		845		845

		846		846		846

		847		847		847

		848		848		848

		849		849		849

		850		850		850

		851		851		851

		852		852		852

		853		853		853

		854		854		854

		855		855		855

		856		856		856

		857		857		857

		858		858		858

		859		859		859

		860		860		860

		861		861		861

		862		862		862

		863		863		863

		864		864		864

		865		865		865

		866		866		866

		867		867		867

		868		868		868

		869		869		869

		870		870		870

		871		871		871

		872		872		872

		873		873		873

		874		874		874

		875		875		875

		876		876		876

		877		877		877

		878		878		878

		879		879		879

		880		880		880

		881		881		881

		882		882		882

		883		883		883

		884		884		884

		885		885		885

		886		886		886

		887		887		887

		888		888		888

		889		889		889

		890		890		890

		891		891		891

		892		892		892

		893		893		893

		894		894		894

		895		895		895

		896		896		896

		897		897		897

		898		898		898

		899		899		899

		900		900		900

		901		901		901

		902		902		902

		903		903		903

		904		904		904

		905		905		905

		906		906		906

		907		907		907

		908		908		908

		909		909		909

		910		910		910

		911		911		911

		912		912		912

		913		913		913

		914		914		914

		915		915		915

		916		916		916

		917		917		917

		918		918		918

		919		919		919

		920		920		920

		921		921		921

		922		922		922

		923		923		923

		924		924		924

		925		925		925

		926		926		926

		927		927		927

		928		928		928

		929		929		929

		930		930		930

		931		931		931

		932		932		932

		933		933		933

		934		934		934

		935		935		935

		936		936		936

		937		937		937

		938		938		938

		939		939		939

		940		940		940

		941		941		941

		942		942		942

		943		943		943

		944		944		944

		945		945		945

		946		946		946

		947		947		947

		948		948		948

		949		949		949

		950		950		950

		951		951		951

		952		952		952

		953		953		953

		954		954		954

		955		955		955

		956		956		956

		957		957		957

		958		958		958

		959		959		959

		960		960		960

		961		961		961

		962		962		962

		963		963		963

		964		964		964

		965		965		965

		966		966		966

		967		967		967

		968		968		968

		969		969		969

		970		970		970

		971		971		971

		972		972		972

		973		973		973

		974		974		974

		975		975		975

		976		976		976

		977		977		977

		978		978		978

		979		979		979

		980		980		980

		981		981		981

		982		982		982

		983		983		983

		984		984		984

		985		985		985

		986		986		986

		987		987		987

		988		988		988

		989		989		989

		990		990		990

		991		991		991

		992		992		992

		993		993		993

		994		994		994

		995		995		995

		996		996		996

		997		997		997

		998		998		998

		999		999		999

		1000		1000		1000

		1001		1001		1001

		1002		1002		1002

		1003		1003		1003

		1004		1004		1004

		1005		1005		1005

		1006		1006		1006

		1007		1007		1007

		1008		1008		1008

		1009		1009		1009

		1010		1010		1010

		1011		1011		1011

		1012		1012		1012

		1013		1013		1013

		1014		1014		1014

		1015		1015		1015

		1016		1016		1016

		1017		1017		1017

		1018		1018		1018

		1019		1019		1019

		1020		1020		1020

		1021		1021		1021

		1022		1022		1022

		1023		1023		1023

		1024		1024		1024

		1025		1025		1025

		1026		1026		1026

		1027		1027		1027

		1028		1028		1028

		1029		1029		1029

		1030		1030		1030

		1031		1031		1031

		1032		1032		1032

		1033		1033		1033

		1034		1034		1034

		1035		1035		1035

		1036		1036		1036

		1037		1037		1037

		1038		1038		1038

		1039		1039		1039

		1040		1040		1040

		1041		1041		1041

		1042		1042		1042

		1043		1043		1043

		1044		1044		1044

		1045		1045		1045

		1046		1046		1046

		1047		1047		1047

		1048		1048		1048

		1049		1049		1049

		1050		1050		1050

		1051		1051		1051

		1052		1052		1052

		1053		1053		1053

		1054		1054		1054

		1055		1055		1055

		1056		1056		1056

		1057		1057		1057

		1058		1058		1058

		1059		1059		1059

		1060		1060		1060

		1061		1061		1061

		1062		1062		1062

		1063		1063		1063

		1064		1064		1064

		1065		1065		1065

		1066		1066		1066

		1067		1067		1067

		1068		1068		1068

		1069		1069		1069

		1070		1070		1070

		1071		1071		1071

		1072		1072		1072

		1073		1073		1073

		1074		1074		1074

		1075		1075		1075

		1076		1076		1076

		1077		1077		1077

		1078		1078		1078

		1079		1079		1079

		1080		1080		1080

		1081		1081		1081

		1082		1082		1082

		1083		1083		1083

		1084		1084		1084

		1085		1085		1085

		1086		1086		1086

		1087		1087		1087

		1088		1088		1088

		1089		1089		1089

		1090		1090		1090

		1091		1091		1091

		1092		1092		1092

		1093		1093		1093

		1094		1094		1094

		1095		1095		1095

		1096		1096		1096

		1097		1097		1097

		1098		1098		1098

		1099		1099		1099

		1100		1100		1100

		1101		1101		1101

		1102		1102		1102

		1103		1103		1103

		1104		1104		1104

		1105		1105		1105

		1106		1106		1106

		1107		1107		1107

		1108		1108		1108

		1109		1109		1109

		1110		1110		1110

		1111		1111		1111

		1112		1112		1112

		1113		1113		1113

		1114		1114		1114

		1115		1115		1115

		1116		1116		1116

		1117		1117		1117

		1118		1118		1118

		1119		1119		1119

		1120		1120		1120

		1121		1121		1121

		1122		1122		1122

		1123		1123		1123

		1124		1124		1124

		1125		1125		1125

		1126		1126		1126

		1127		1127		1127

		1128		1128		1128

		1129		1129		1129

		1130		1130		1130

		1131		1131		1131

		1132		1132		1132

		1133		1133		1133

		1134		1134		1134

		1135		1135		1135

		1136		1136		1136

		1137		1137		1137

		1138		1138		1138

		1139		1139		1139

		1140		1140		1140

		1141		1141		1141

		1142		1142		1142

		1143		1143		1143

		1144		1144		1144

		1145		1145		1145

		1146		1146		1146

		1147		1147		1147

		1148		1148		1148

		1149		1149		1149

		1150		1150		1150

		1151		1151		1151

		1152		1152		1152

		1153		1153		1153

		1154		1154		1154

		1155		1155		1155

		1156		1156		1156

		1157		1157		1157

		1158		1158		1158

		1159		1159		1159

		1160		1160		1160

		1161		1161		1161

		1162		1162		1162

		1163		1163		1163

		1164		1164		1164

		1165		1165		1165

		1166		1166		1166

		1167		1167		1167

		1168		1168		1168

		1169		1169		1169

		1170		1170		1170

		1171		1171		1171

		1172		1172		1172

		1173		1173		1173

		1174		1174		1174

		1175		1175		1175

		1176		1176		1176

		1177		1177		1177

		1178		1178		1178

		1179		1179		1179

		1180		1180		1180

		1181		1181		1181

		1182		1182		1182

		1183		1183		1183

		1184		1184		1184

		1185		1185		1185

		1186		1186		1186

		1187		1187		1187

		1188		1188		1188

		1189		1189		1189

		1190		1190		1190

		1191		1191		1191

		1192		1192		1192

		1193		1193		1193

		1194		1194		1194

		1195		1195		1195

		1196		1196		1196

		1197		1197		1197

		1198		1198		1198

		1199		1199		1199

		1200		1200		1200

		1201		1201		1201

		1202		1202		1202

		1203		1203		1203

		1204		1204		1204

		1205		1205		1205

		1206		1206		1206

		1207		1207		1207

		1208		1208		1208

		1209		1209		1209

		1210		1210		1210

		1211		1211		1211

		1212		1212		1212

		1213		1213		1213

		1214		1214		1214

		1215		1215		1215

		1216		1216		1216

		1217		1217		1217

		1218		1218		1218

		1219		1219		1219

		1220		1220		1220

		1221		1221		1221

		1222		1222		1222

		1223		1223		1223

		1224		1224		1224

		1225		1225		1225

		1226		1226		1226

		1227		1227		1227

		1228		1228		1228

		1229		1229		1229

		1230		1230		1230

		1231		1231		1231

		1232		1232		1232

		1233		1233		1233

		1234		1234		1234

		1235		1235		1235

		1236		1236		1236

		1237		1237		1237

		1238		1238		1238

		1239		1239		1239

		1240		1240		1240

		1241		1241		1241

		1242		1242		1242

		1243		1243		1243

		1244		1244		1244

		1245		1245		1245

		1246		1246		1246

		1247		1247		1247

		1248		1248		1248

		1249		1249		1249

		1250		1250		1250

		1251		1251		1251

		1252		1252		1252

		1253		1253		1253

		1254		1254		1254

		1255		1255		1255

		1256		1256		1256

		1257		1257		1257

		1258		1258		1258

		1259		1259		1259

		1260		1260		1260

		1261		1261		1261

		1262		1262		1262

		1263		1263		1263

		1264		1264		1264

		1265		1265		1265

		1266		1266		1266

		1267		1267		1267

		1268		1268		1268

		1269		1269		1269

		1270		1270		1270

		1271		1271		1271

		1272		1272		1272

		1273		1273		1273

		1274		1274		1274

		1275		1275		1275

		1276		1276		1276

		1277		1277		1277

		1278		1278		1278

		1279		1279		1279

		1280		1280		1280

		1281		1281		1281

		1282		1282		1282

		1283		1283		1283

		1284		1284		1284

		1285		1285		1285

		1286		1286		1286

		1287		1287		1287

		1288		1288		1288

		1289		1289		1289

		1290		1290		1290

		1291		1291		1291

		1292		1292		1292

		1293		1293		1293

		1294		1294		1294

		1295		1295		1295

		1296		1296		1296

		1297		1297		1297

		1298		1298		1298

		1299		1299		1299

		1300		1300		1300

		1301		1301		1301

		1302		1302		1302

		1303		1303		1303

		1304		1304		1304

		1305		1305		1305

		1306		1306		1306

		1307		1307		1307

		1308		1308		1308

		1309		1309		1309

		1310		1310		1310

		1311		1311		1311

		1312		1312		1312

		1313		1313		1313

		1314		1314		1314

		1315		1315		1315

		1316		1316		1316

		1317		1317		1317

		1318		1318		1318

		1319		1319		1319

		1320		1320		1320

		1321		1321		1321

		1322		1322		1322

		1323		1323		1323

		1324		1324		1324

		1325		1325		1325

		1326		1326		1326

		1327		1327		1327

		1328		1328		1328

		1329		1329		1329

		1330		1330		1330

		1331		1331		1331

		1332		1332		1332

		1333		1333		1333

		1334		1334		1334

		1335		1335		1335

		1336		1336		1336

		1337		1337		1337

		1338		1338		1338

		1339		1339		1339

		1340		1340		1340

		1341		1341		1341

		1342		1342		1342

		1343		1343		1343

		1344		1344		1344

		1345		1345		1345

		1346		1346		1346

		1347		1347		1347

		1348		1348		1348

		1349		1349		1349

		1350		1350		1350

		1351		1351		1351

		1352		1352		1352

		1353		1353		1353

		1354		1354		1354

		1355		1355		1355

		1356		1356		1356

		1357		1357		1357

		1358		1358		1358

		1359		1359		1359

		1360		1360		1360

		1361		1361		1361

		1362		1362		1362

		1363		1363		1363

		1364		1364		1364

		1365		1365		1365

		1366		1366		1366

		1367		1367		1367

		1368		1368		1368

		1369		1369		1369

		1370		1370		1370

		1371		1371		1371

		1372		1372		1372

		1373		1373		1373

		1374		1374		1374

		1375		1375		1375

		1376		1376		1376

		1377		1377		1377

		1378		1378		1378

		1379		1379		1379

		1380		1380		1380

		1381		1381		1381

		1382		1382		1382

		1383		1383		1383

		1384		1384		1384

		1385		1385		1385

		1386		1386		1386

		1387		1387		1387

		1388		1388		1388

		1389		1389		1389

		1390		1390		1390

		1391		1391		1391

		1392		1392		1392

		1393		1393		1393

		1394		1394		1394

		1395		1395		1395

		1396		1396		1396

		1397		1397		1397

		1398		1398		1398

		1399		1399		1399

		1400		1400		1400

		1401		1401		1401

		1402		1402		1402

		1403		1403		1403

		1404		1404		1404

		1405		1405		1405

		1406		1406		1406

		1407		1407		1407

		1408		1408		1408

		1409		1409		1409

		1410		1410		1410

		1411		1411		1411

		1412		1412		1412

		1413		1413		1413

		1414		1414		1414

		1415		1415		1415

		1416		1416		1416

		1417		1417		1417

		1418		1418		1418

		1419		1419		1419

		1420		1420		1420

		1421		1421		1421

		1422		1422		1422

		1423		1423		1423

		1424		1424		1424

		1425		1425		1425

		1426		1426		1426

		1427		1427		1427

		1428		1428		1428

		1429		1429		1429

		1430		1430		1430

		1431		1431		1431

		1432		1432		1432

		1433		1433		1433

		1434		1434		1434

		1435		1435		1435

		1436		1436		1436

		1437		1437		1437

		1438		1438		1438

		1439		1439		1439

		1440		1440		1440

		1441		1441		1441

		1442		1442		1442

		1443		1443		1443

		1444		1444		1444

		1445		1445		1445

		1446		1446		1446

		1447		1447		1447

		1448		1448		1448

		1449		1449		1449

		1450		1450		1450

		1451		1451		1451

		1452		1452		1452

		1453		1453		1453

		1454		1454		1454

		1455		1455		1455

		1456		1456		1456

		1457		1457		1457

		1458		1458		1458

		1459		1459		1459

		1460		1460		1460

		1461		1461		1461

		1462		1462		1462

		1463		1463		1463

		1464		1464		1464

		1465		1465		1465

		1466		1466		1466

		1467		1467		1467

		1468		1468		1468

		1469		1469		1469

		1470		1470		1470

		1471		1471		1471

		1472		1472		1472

		1473		1473		1473

		1474		1474		1474

		1475		1475		1475

		1476		1476		1476

		1477		1477		1477

		1478		1478		1478

		1479		1479		1479

		1480		1480		1480

		1481		1481		1481

		1482		1482		1482

		1483		1483		1483

		1484		1484		1484

		1485		1485		1485

		1486		1486		1486

		1487		1487		1487

		1488		1488		1488

		1489		1489		1489

		1490		1490		1490

		1491		1491		1491

		1492		1492		1492

		1493		1493		1493

		1494		1494		1494

		1495		1495		1495

		1496		1496		1496

		1497		1497		1497

		1498		1498		1498

		1499		1499		1499

		1500		1500		1500

		1501		1501		1501

		1502		1502		1502

		1503		1503		1503

		1504		1504		1504

		1505		1505		1505

		1506		1506		1506

		1507		1507		1507

		1508		1508		1508

		1509		1509		1509

		1510		1510		1510

		1511		1511		1511

		1512		1512		1512

		1513		1513		1513

		1514		1514		1514

		1515		1515		1515

		1516		1516		1516

		1517		1517		1517

		1518		1518		1518

		1519		1519		1519

		1520		1520		1520

		1521		1521		1521

		1522		1522		1522

		1523		1523		1523

		1524		1524		1524

		1525		1525		1525

		1526		1526		1526

		1527		1527		1527

		1528		1528		1528

		1529		1529		1529

		1530		1530		1530

		1531		1531		1531

		1532		1532		1532

		1533		1533		1533

		1534		1534		1534

		1535		1535		1535

		1536		1536		1536

		1537		1537		1537

		1538		1538		1538

		1539		1539		1539

		1540		1540		1540

		1541		1541		1541

		1542		1542		1542

		1543		1543		1543

		1544		1544		1544

		1545		1545		1545

		1546		1546		1546

		1547		1547		1547

		1548		1548		1548

		1549		1549		1549

		1550		1550		1550

		1551		1551		1551

		1552		1552		1552

		1553		1553		1553

		1554		1554		1554

		1555		1555		1555

		1556		1556		1556

		1557		1557		1557

		1558		1558		1558

		1559		1559		1559

		1560		1560		1560

		1561		1561		1561

		1562		1562		1562

		1563		1563		1563

		1564		1564		1564

		1565		1565		1565

		1566		1566		1566

		1567		1567		1567

		1568		1568		1568

		1569		1569		1569

		1570		1570		1570

		1571		1571		1571

		1572		1572		1572

		1573		1573		1573

		1574		1574		1574

		1575		1575		1575

		1576		1576		1576

		1577		1577		1577

		1578		1578		1578

		1579		1579		1579

		1580		1580		1580

		1581		1581		1581

		1582		1582		1582

		1583		1583		1583

		1584		1584		1584

		1585		1585		1585

		1586		1586		1586

		1587		1587		1587

		1588		1588		1588

		1589		1589		1589

		1590		1590		1590

		1591		1591		1591

		1592		1592		1592

		1593		1593		1593

		1594		1594		1594

		1595		1595		1595

		1596		1596		1596

		1597		1597		1597

		1598		1598		1598

		1599		1599		1599

		1600		1600		1600

		1601		1601		1601

		1602		1602		1602

		1603		1603		1603

		1604		1604		1604

		1605		1605		1605

		1606		1606		1606

		1607		1607		1607

		1608		1608		1608

		1609		1609		1609

		1610		1610		1610

		1611		1611		1611

		1612		1612		1612

		1613		1613		1613

		1614		1614		1614

		1615		1615		1615

		1616		1616		1616

		1617		1617		1617

		1618		1618		1618

		1619		1619		1619

		1620		1620		1620

		1621		1621		1621

		1622		1622		1622

		1623		1623		1623

		1624		1624		1624

		1625		1625		1625

		1626		1626		1626

		1627		1627		1627

		1628		1628		1628

		1629		1629		1629

		1630		1630		1630

		1631		1631		1631

		1632		1632		1632

		1633		1633		1633

		1634		1634		1634

		1635		1635		1635

		1636		1636		1636

		1637		1637		1637

		1638		1638		1638

		1639		1639		1639

		1640		1640		1640

		1641		1641		1641

		1642		1642		1642

		1643		1643		1643

		1644		1644		1644

		1645		1645		1645

		1646		1646		1646

		1647		1647		1647

		1648		1648		1648

		1649		1649		1649

		1650		1650		1650

		1651		1651		1651

		1652		1652		1652

		1653		1653		1653

		1654		1654		1654

		1655		1655		1655

		1656		1656		1656

		1657		1657		1657

		1658		1658		1658

		1659		1659		1659

		1660		1660		1660

		1661		1661		1661

		1662		1662		1662

		1663		1663		1663

		1664		1664		1664

		1665		1665		1665

		1666		1666		1666

		1667		1667		1667

		1668		1668		1668

		1669		1669		1669

		1670		1670		1670

		1671		1671		1671

		1672		1672		1672

		1673		1673		1673

		1674		1674		1674

		1675		1675		1675

		1676		1676		1676

		1677		1677		1677

		1678		1678		1678

		1679		1679		1679

		1680		1680		1680

		1681		1681		1681

		1682		1682		1682

		1683		1683		1683

		1684		1684		1684

		1685		1685		1685

		1686		1686		1686

		1687		1687		1687

		1688		1688		1688

		1689		1689		1689

		1690		1690		1690

		1691		1691		1691

		1692		1692		1692

		1693		1693		1693

		1694		1694		1694

		1695		1695		1695

		1696		1696		1696

		1697		1697		1697

		1698		1698		1698

		1699		1699		1699

		1700		1700		1700

		1701		1701		1701

		1702		1702		1702

		1703		1703		1703

		1704		1704		1704

		1705		1705		1705

		1706		1706		1706

		1707		1707		1707

		1708		1708		1708

		1709		1709		1709

		1710		1710		1710

		1711		1711		1711

		1712		1712		1712

		1713		1713		1713

		1714		1714		1714

		1715		1715		1715

		1716		1716		1716

		1717		1717		1717

		1718		1718		1718

		1719		1719		1719

		1720		1720		1720

		1721		1721		1721

		1722		1722		1722

		1723		1723		1723

		1724		1724		1724

		1725		1725		1725

		1726		1726		1726

		1727		1727		1727

		1728		1728		1728

		1729		1729		1729

		1730		1730		1730

		1731		1731		1731

		1732		1732		1732

		1733		1733		1733

		1734		1734		1734

		1735		1735		1735

		1736		1736		1736

		1737		1737		1737

		1738		1738		1738

		1739		1739		1739

		1740		1740		1740

		1741		1741		1741

		1742		1742		1742

		1743		1743		1743

		1744		1744		1744

		1745		1745		1745

		1746		1746		1746

		1747		1747		1747

		1748		1748		1748

		1749		1749		1749

		1750		1750		1750

		1751		1751		1751

		1752		1752		1752

		1753		1753		1753

		1754		1754		1754

		1755		1755		1755

		1756		1756		1756

		1757		1757		1757

		1758		1758		1758

		1759		1759		1759

		1760		1760		1760

		1761		1761		1761

		1762		1762		1762

		1763		1763		1763

		1764		1764		1764

		1765		1765		1765

		1766		1766		1766

		1767		1767		1767

		1768		1768		1768

		1769		1769		1769

		1770		1770		1770

		1771		1771		1771

		1772		1772		1772

		1773		1773		1773

		1774		1774		1774

		1775		1775		1775

		1776		1776		1776

		1777		1777		1777

		1778		1778		1778

		1779		1779		1779

		1780		1780		1780

		1781		1781		1781

		1782		1782		1782

		1783		1783		1783

		1784		1784		1784

		1785		1785		1785

		1786		1786		1786

		1787		1787		1787

		1788		1788		1788

		1789		1789		1789

		1790		1790		1790

		1791		1791		1791

		1792		1792		1792

		1793		1793		1793

		1794		1794		1794

		1795		1795		1795

		1796		1796		1796

		1797		1797		1797

		1798		1798		1798

		1799		1799		1799

		1800		1800		1800

		1801		1801		1801

		1802		1802		1802

		1803		1803		1803

		1804		1804		1804

		1805		1805		1805

		1806		1806		1806

		1807		1807		1807

		1808		1808		1808

		1809		1809		1809

		1810		1810		1810

		1811		1811		1811

		1812		1812		1812

		1813		1813		1813

		1814		1814		1814

		1815		1815		1815

		1816		1816		1816

		1817		1817		1817

		1818		1818		1818

		1819		1819		1819

		1820		1820		1820

		1821		1821		1821

		1822		1822		1822

		1823		1823		1823

		1824		1824		1824

		1825		1825		1825

		1826		1826		1826

		1827		1827		1827

		1828		1828		1828

		1829		1829		1829

		1830		1830		1830

		1831		1831		1831

		1832		1832		1832

		1833		1833		1833

		1834		1834		1834

		1835		1835		1835

		1836		1836		1836

		1837		1837		1837

		1838		1838		1838

		1839		1839		1839

		1840		1840		1840

		1841		1841		1841

		1842		1842		1842

		1843		1843		1843

		1844		1844		1844

		1845		1845		1845

		1846		1846		1846

		1847		1847		1847

		1848		1848		1848

		1849		1849		1849

		1850		1850		1850

		1851		1851		1851

		1852		1852		1852

		1853		1853		1853

		1854		1854		1854

		1855		1855		1855

		1856		1856		1856

		1857		1857		1857

		1858		1858		1858

		1859		1859		1859

		1860		1860		1860

		1861		1861		1861

		1862		1862		1862

		1863		1863		1863

		1864		1864		1864

		1865		1865		1865

		1866		1866		1866

		1867		1867		1867

		1868		1868		1868

		1869		1869		1869

		1870		1870		1870

		1871		1871		1871

		1872		1872		1872

		1873		1873		1873

		1874		1874		1874

		1875		1875		1875

		1876		1876		1876

		1877		1877		1877

		1878		1878		1878

		1879		1879		1879

		1880		1880		1880

		1881		1881		1881

		1882		1882		1882

		1883		1883		1883

		1884		1884		1884

		1885		1885		1885

		1886		1886		1886

		1887		1887		1887

		1888		1888		1888

		1889		1889		1889

		1890		1890		1890

		1891		1891		1891

		1892		1892		1892

		1893		1893		1893

		1894		1894		1894

		1895		1895		1895

		1896		1896		1896

		1897		1897		1897

		1898		1898		1898

		1899		1899		1899

		1900		1900		1900

		1901		1901		1901

		1902		1902		1902

		1903		1903		1903

		1904		1904		1904

		1905		1905		1905

		1906		1906		1906

		1907		1907		1907

		1908		1908		1908

		1909		1909		1909

		1910		1910		1910

		1911		1911		1911

		1912		1912		1912

		1913		1913		1913

		1914		1914		1914

		1915		1915		1915

		1916		1916		1916

		1917		1917		1917

		1918		1918		1918

		1919		1919		1919

		1920		1920		1920

		1921		1921		1921

		1922		1922		1922

		1923		1923		1923

		1924		1924		1924

		1925		1925		1925

		1926		1926		1926

		1927		1927		1927

		1928		1928		1928

		1929		1929		1929

		1930		1930		1930

		1931		1931		1931

		1932		1932		1932

		1933		1933		1933

		1934		1934		1934

		1935		1935		1935

		1936		1936		1936

		1937		1937		1937

		1938		1938		1938

		1939		1939		1939

		1940		1940		1940

		1941		1941		1941

		1942		1942		1942

		1943		1943		1943

		1944		1944		1944

		1945		1945		1945

		1946		1946		1946

		1947		1947		1947

		1948		1948		1948

		1949		1949		1949

		1950		1950		1950

		1951		1951		1951

		1952		1952		1952

		1953		1953		1953

		1954		1954		1954

		1955		1955		1955

		1956		1956		1956

		1957		1957		1957

		1958		1958		1958

		1959		1959		1959

		1960		1960		1960

		1961		1961		1961

		1962		1962		1962

		1963		1963		1963

		1964		1964		1964

		1965		1965		1965

		1966		1966		1966

		1967		1967		1967

		1968		1968		1968

		1969		1969		1969

		1970		1970		1970

		1971		1971		1971

		1972		1972		1972

		1973		1973		1973

		1974		1974		1974

		1975		1975		1975

		1976		1976		1976

		1977		1977		1977

		1978		1978		1978

		1979		1979		1979

		1980		1980		1980

		1981		1981		1981

		1982		1982		1982

		1983		1983		1983

		1984		1984		1984

		1985		1985		1985

		1986		1986		1986

		1987		1987		1987

		1988		1988		1988

		1989		1989		1989

		1990		1990		1990

		1991		1991		1991

		1992		1992		1992

		1993		1993		1993

		1994		1994		1994

		1995		1995		1995

		1996		1996		1996

		1997		1997		1997

		1998		1998		1998

		1999		1999		1999

		2000		2000		2000

		2001		2001		2001

		2002		2002		2002

		2003		2003		2003

		2004		2004		2004

		2005		2005		2005

		2006		2006		2006

		2007		2007		2007

		2008		2008		2008

		2009		2009		2009

		2010		2010		2010

		2011		2011		2011

		2012		2012		2012

		2013		2013		2013

		2014		2014		2014

		2015		2015		2015

		2016		2016		2016

		2017		2017		2017

		2018		2018		2018

		2019		2019		2019

		2020		2020		2020

		2021		2021		2021

		2022		2022		2022

		2023		2023		2023

		2024		2024		2024

		2025		2025		2025

		2026		2026		2026

		2027		2027		2027

		2028		2028		2028

		2029		2029		2029

		2030		2030		2030

		2031		2031		2031

		2032		2032		2032

		2033		2033		2033

		2034		2034		2034

		2035		2035		2035

		2036		2036		2036

		2037		2037		2037

		2038		2038		2038

		2039		2039		2039

		2040		2040		2040

		2041		2041		2041

		2042		2042		2042

		2043		2043		2043

		2044		2044		2044

		2045		2045		2045

		2046		2046		2046

		2047		2047		2047

		2048		2048		2048

		2049		2049		2049

		2050		2050		2050

		2051		2051		2051

		2052		2052		2052

		2053		2053		2053

		2054		2054		2054

		2055		2055		2055

		2056		2056		2056

		2057		2057		2057

		2058		2058		2058

		2059		2059		2059

		2060		2060		2060

		2061		2061		2061

		2062		2062		2062

		2063		2063		2063

		2064		2064		2064

		2065		2065		2065

		2066		2066		2066

		2067		2067		2067

		2068		2068		2068

		2069		2069		2069

		2070		2070		2070

		2071		2071		2071

		2072		2072		2072

		2073		2073		2073

		2074		2074		2074

		2075		2075		2075

		2076		2076		2076

		2077		2077		2077

		2078		2078		2078

		2079		2079		2079

		2080		2080		2080

		2081		2081		2081

		2082		2082		2082

		2083		2083		2083

		2084		2084		2084

		2085		2085		2085

		2086		2086		2086

		2087		2087		2087

		2088		2088		2088

		2089		2089		2089

		2090		2090		2090

		2091		2091		2091

		2092		2092		2092

		2093		2093		2093

		2094		2094		2094

		2095		2095		2095

		2096		2096		2096

		2097		2097		2097

		2098		2098		2098

		2099		2099		2099

		2100		2100		2100

		2101		2101		2101

		2102		2102		2102

		2103		2103		2103

		2104		2104		2104

		2105		2105		2105

		2106		2106		2106

		2107		2107		2107

		2108		2108		2108

		2109		2109		2109

		2110		2110		2110

		2111		2111		2111

		2112		2112		2112

		2113		2113		2113

		2114		2114		2114

		2115		2115		2115

		2116		2116		2116

		2117		2117		2117

		2118		2118		2118

		2119		2119		2119

		2120		2120		2120

		2121		2121		2121

		2122		2122		2122

		2123		2123		2123

		2124		2124		2124

		2125		2125		2125

		2126		2126		2126

		2127		2127		2127

		2128		2128		2128

		2129		2129		2129

		2130		2130		2130

		2131		2131		2131

		2132		2132		2132

		2133		2133		2133

		2134		2134		2134

		2135		2135		2135

		2136		2136		2136

		2137		2137		2137

		2138		2138		2138

		2139		2139		2139

		2140		2140		2140

		2141		2141		2141

		2142		2142		2142

		2143		2143		2143

		2144		2144		2144

		2145		2145		2145

		2146		2146		2146

		2147		2147		2147

		2148		2148		2148

		2149		2149		2149

		2150		2150		2150

		2151		2151		2151

		2152		2152		2152

		2153		2153		2153

		2154		2154		2154

		2155		2155		2155

		2156		2156		2156

		2157		2157		2157

		2158		2158		2158

		2159		2159		2159

		2160		2160		2160

		2161		2161		2161

		2162		2162		2162

		2163		2163		2163

		2164		2164		2164

		2165		2165		2165

		2166		2166		2166

		2167		2167		2167

		2168		2168		2168

		2169		2169		2169

		2170		2170		2170

		2171		2171		2171

		2172		2172		2172

		2173		2173		2173

		2174		2174		2174

		2175		2175		2175

		2176		2176		2176

		2177		2177		2177

		2178		2178		2178

		2179		2179		2179

		2180		2180		2180

		2181		2181		2181

		2182		2182		2182

		2183		2183		2183

		2184		2184		2184

		2185		2185		2185

		2186		2186		2186

		2187		2187		2187

		2188		2188		2188

		2189		2189		2189

		2190		2190		2190

		2191		2191		2191

		2192		2192		2192

		2193		2193		2193

		2194		2194		2194

		2195		2195		2195

		2196		2196		2196

		2197		2197		2197

		2198		2198		2198

		2199		2199		2199

		2200		2200		2200

		2201		2201		2201

		2202		2202		2202

		2203		2203		2203

		2204		2204		2204

		2205		2205		2205

		2206		2206		2206

		2207		2207		2207

		2208		2208		2208

		2209		2209		2209

		2210		2210		2210

		2211		2211		2211

		2212		2212		2212

		2213		2213		2213

		2214		2214		2214

		2215		2215		2215

		2216		2216		2216

		2217		2217		2217

		2218		2218		2218

		2219		2219		2219

		2220		2220		2220

		2221		2221		2221

		2222		2222		2222

		2223		2223		2223

		2224		2224		2224

		2225		2225		2225

		2226		2226		2226

		2227		2227		2227

		2228		2228		2228

		2229		2229		2229

		2230		2230		2230

		2231		2231		2231

		2232		2232		2232

		2233		2233		2233

		2234		2234		2234

		2235		2235		2235

		2236		2236		2236

		2237		2237		2237

		2238		2238		2238

		2239		2239		2239

		2240		2240		2240

		2241		2241		2241

		2242		2242		2242

		2243		2243		2243

		2244		2244		2244

		2245		2245		2245

		2246		2246		2246

		2247		2247		2247

		2248		2248		2248

		2249		2249		2249

		2250		2250		2250

		2251		2251		2251

		2252		2252		2252

		2253		2253		2253

		2254		2254		2254

		2255		2255		2255

		2256		2256		2256

		2257		2257		2257

		2258		2258		2258

		2259		2259		2259

		2260		2260		2260

		2261		2261		2261

		2262		2262		2262

		2263		2263		2263

		2264		2264		2264

		2265		2265		2265

		2266		2266		2266

		2267		2267		2267

		2268		2268		2268

		2269		2269		2269

		2270		2270		2270

		2271		2271		2271

		2272		2272		2272

		2273		2273		2273

		2274		2274		2274

		2275		2275		2275

		2276		2276		2276

		2277		2277		2277

		2278		2278		2278

		2279		2279		2279

		2280		2280		2280

		2281		2281		2281

		2282		2282		2282

		2283		2283		2283

		2284		2284		2284

		2285		2285		2285

		2286		2286		2286

		2287		2287		2287

		2288		2288		2288

		2289		2289		2289

		2290		2290		2290

		2291		2291		2291

		2292		2292		2292

		2293		2293		2293

		2294		2294		2294

		2295		2295		2295

		2296		2296		2296

		2297		2297		2297

		2298		2298		2298

		2299		2299		2299

		2300		2300		2300

		2301		2301		2301

		2302		2302		2302

		2303		2303		2303

		2304		2304		2304

		2305		2305		2305

		2306		2306		2306

		2307		2307		2307

		2308		2308		2308

		2309		2309		2309

		2310		2310		2310

		2311		2311		2311

		2312		2312		2312

		2313		2313		2313

		2314		2314		2314

		2315		2315		2315

		2316		2316		2316

		2317		2317		2317

		2318		2318		2318

		2319		2319		2319

		2320		2320		2320

		2321		2321		2321

		2322		2322		2322

		2323		2323		2323

		2324		2324		2324

		2325		2325		2325

		2326		2326		2326

		2327		2327		2327

		2328		2328		2328

		2329		2329		2329

		2330		2330		2330

		2331		2331		2331

		2332		2332		2332

		2333		2333		2333

		2334		2334		2334

		2335		2335		2335

		2336		2336		2336

		2337		2337		2337

		2338		2338		2338

		2339		2339		2339

		2340		2340		2340

		2341		2341		2341

		2342		2342		2342

		2343		2343		2343

		2344		2344		2344

		2345		2345		2345

		2346		2346		2346

		2347		2347		2347

		2348		2348		2348

		2349		2349		2349

		2350		2350		2350

		2351		2351		2351

		2352		2352		2352

		2353		2353		2353

		2354		2354		2354

		2355		2355		2355

		2356		2356		2356

		2357		2357		2357

		2358		2358		2358

		2359		2359		2359

		2360		2360		2360

		2361		2361		2361

		2362		2362		2362

		2363		2363		2363

		2364		2364		2364

		2365		2365		2365

		2366		2366		2366

		2367		2367		2367

		2368		2368		2368

		2369		2369		2369

		2370		2370		2370

		2371		2371		2371

		2372		2372		2372

		2373		2373		2373

		2374		2374		2374

		2375		2375		2375

		2376		2376		2376

		2377		2377		2377

		2378		2378		2378

		2379		2379		2379

		2380		2380		2380

		2381		2381		2381

		2382		2382		2382

		2383		2383		2383

		2384		2384		2384

		2385		2385		2385

		2386		2386		2386

		2387		2387		2387

		2388		2388		2388

		2389		2389		2389

		2390		2390		2390

		2391		2391		2391

		2392		2392		2392

		2393		2393		2393

		2394		2394		2394

		2395		2395		2395

		2396		2396		2396

		2397		2397		2397

		2398		2398		2398

		2399		2399		2399

		2400		2400		2400



v

b

v

b

T1-3,K-L=30mm,prop.0,7l/min

T1-4,K-L=30mm,prop.0,78l/min

T1-1,K-L=30mm,prop.0,83l/min

time,s

Temperature,K

803.4807502654

767.0971565908

530.2217320896

806.9605949575

765.9251853156

538.6646853732

796.7438087172

765.9251853156

541.1447200961

792.3233450298

763.8147244276

536.1832020907

797.9062194992

761.4683917539

539.9048838046

789.994684783

761.4683917539

528.978708967

794.4179007336

762.6417391607

519.2706999695

806.9605949575

763.8147244276

518.0244900159

805.8010088667

764.7528519004

519.2706999695

799.0682681413

768.2687657261

521.7620334572

795.5810357954

767.0971565908

524.0029950776

788.8298114497

767.0971565908

526.4915763021

786.4989783635

765.9251853156

525.2474667598

796.7438087172

765.9251853156

527.7353237045

791.1591959764

765.9251853156

522.7581612556

793.2544035319

765.9251853156

526.4915763021

791.1591959764

762.6417391607

527.7353237045

788.8298114497

765.9251853156

537.4241248019

785.3330186105

770.610897577

541.1447200961

795.5810357954

765.9251853156

539.9048838046

794.4179007336

764.7528519004

539.9048838046

800.2299546435

763.8147244276

536.1832020907

796.7438087172

765.9251853156

530.2217320896

800.2299546435

765.9251853156

511.7880081491

800.2299546435

763.8147244276

504.5423469622

795.5810357954

765.9251853156

516.7779179223

786.4989783635

767.0971565908

520.5165477833

799.0682681413

759.1206105206

514.2836873155

794.4179007336

760.2946822072

514.2836873155

788.8298114497

756.7713807277

507.0422269513

786.4989783635

753.4800254375

514.2836873155

788.8298114497

755.5962226214

519.2706999695

794.4179007336

757.9461766941

524.0029950776

797.9062194992

767.0971565908

531.4643930723

801.3912790058

762.6417391607

526.4915763021

795.5810357954

763.8147244276

524.0029950776

796.7438087172

756.7713807277

522.7581612556

792.3233450298

763.8147244276

518.0244900159

795.5810357954

760.2946822072

521.7620334572

794.4179007336

765.9251853156

525.2474667598

786.4989783635

757.9461766941

530.2217320896

786.4989783635

760.2946822072

524.0029950776

787.6645759765

762.6417391607

515.5309836889

786.4989783635

754.4207023752

519.2706999695

786.4989783635

759.1206105206

527.7353237045

793.2544035319

764.7528519004

515.5309836889

794.4179007336

762.6417391607

513.0360288023

794.4179007336

761.4683917539

513.0360288023

792.3233450298

760.2946822072

505.7924680267

795.5810357954

761.4683917539

515.5309836889

792.3233450298

762.6417391607

507.0422269513

792.3233450298

765.9251853156

513.0360288023

795.5810357954

768.2687657261

518.0244900159

792.3233450298

767.0971565908

516.7779179223

785.3330186105

763.8147244276

522.7581612556

785.3330186105

765.9251853156

531.4643930723

786.4989783635

763.8147244276

526.4915763021

785.3330186105

764.7528519004

527.7353237045

788.8298114497

761.4683917539

528.978708967

780.8990688334

763.8147244276

532.4582611177

789.994684783

759.1206105206

527.7353237045

788.8298114497

754.4207023752

526.4915763021

775.0569573122

737.2168662897

554.2647204255

764.7528519004

732.726495117

544.6143351281

733.9086787372

767.0971565908

519.2706999695

702.5776128987

773.8874485883

570.0535056204

797.9062194992

747.5955435486

672.1950925058

788.8298114497

726.8101449173

703.7689948723

769.4400127215

697.8084636054

696.6152709323

753.4800254375

664.9840056065

688.4919568056

760.2946822072

687.2959394413

660.4102408588

740.758202336

696.6152709323

632.1302315912

715.1878361408

701.3858687852

610.7291371962

690.8829051143

704.9600147059

604.6288199299

662.8181373147

707.102937814

595.0942469709

664.9840056065

715.1878361408

597.5411096795

668.5911786857

714.2375407675

601.2086876931

672.1950925058

711.8607883426

610.7291371962

664.9840056065

714.2375407675

616.5769242415

666.1867587728

722.3076637865

628.4902486375

666.1867587728

736.0356966612

636.7361978183

664.9840056065

749.9504227239

659.205749421

662.8181373147

752.3038533395

666.1867587728

666.1867587728

770.610897577

676.7553711638

664.0215423328

787.6645759765

680.35189733

656.7956801258

825.0032481006

684.9028182932

656.7956801258

842.9577708788

687.2959394413

651.0056036941

851.901983381

688.4919568056

647.3825688876

856.4802125217

699.0012941386

643.9981291588

853.0470838761

708.292943656

644.9654016504

849.8398898975

713.049345625

642.7887126185

841.8094835527

732.726495117

640.3687931181

837.4426889977

747.5955435486

656.7956801258

829.6153735354

754.4207023752

673.3956728327

819.4610491842

763.8147244276

689.6876120299

803.4807502654

772.9515808684

695.4217161194

791.1591959764

783.2333784627

702.5776128987

788.8298114497

789.994684783

702.5776128987

792.3233450298

784.1666967177

703.7689948723

788.8298114497

794.4179007336

707.102937814

785.3330186105

802.5522412282

703.7689948723

785.3330186105

799.0682681413

707.102937814

784.1666967177

799.0682681413

708.292943656

784.1666967177

804.641060636

709.4825873581

782.066404718

809.2786807195

713.049345625

784.1666967177

796.7438087172

716.3753794315

783.2333784627

803.4807502654

715.1878361408

788.8298114497

814.836176425

715.1878361408

785.3330186105

817.1493370844

714.2375407675

788.8298114497

831.6889396108

718.7493795932

793.2544035319

829.6153735354

718.7493795932

792.3233450298

832.840413768

717.5625605823

787.6645759765

841.8094835527

726.8101449173

787.6645759765

853.0470838761

734.8541648927

793.2544035319

865.3910936681

736.0356966612

787.6645759765

866.5319209123

741.9379234049

793.2544035319

863.1083527599

743.117282334

801.3912790058

876.5555851895

744.2962791232

802.5522412282

885.4167517711

745.2392158138

801.3912790058

876.5555851895

745.2392158138

804.641060636

877.6928634628

751.1273191017

794.4179007336

883.1467581872

752.3038533395

796.7438087172

891.9915415599

755.5962226214

791.1591959764

891.9915415599

755.5962226214

789.994684783

891.9915415599

754.4207023752

791.1591959764

893.1238947307

754.4207023752

787.6645759765

903.0729871607

756.7713807277

785.3330186105

891.9915415599

761.4683917539

783.2333784627

905.3302334202

762.6417391607

791.1591959764

906.4583133402

765.9251853156

789.994684783

904.2017913604

767.0971565908

795.5810357954

926.2532448734

768.2687657261

803.4807502654

917.2694548939

769.4400127215

803.4807502654

929.392095811

775.0569573122

804.641060636

933.8712434764

783.2333784627

808.1198189085

930.5124259372

778.5633106446

818.3053742042

963.2882985712

779.731370809

823.8493113921

977.2392789125

773.8874485883

828.4628853865

996.6301202654

777.3948883404

832.840413768

1012.6305799657

778.5633106446

840.8905929511

1012.6305799657

788.8298114497

829.6153735354

1023.3273171133

783.2333784627

838.5923524554

1035.0752736095

786.4989783635

836.2926634001

1053.0499599988

787.6645759765

844.105696065

1066.6267774006

789.994684783

849.8398898975

1080.3602303793

800.2299546435

854.1918222312

1092.7549221033

792.3233450298

863.1083527599

1112.5274585671

797.9062194992

869.9522298057

1114.6460776749

800.2299546435

875.4179447763

1131.1215921512

800.2299546435

883.1467581872

1141.4265229036

801.3912790058

882.0112181854

1151.6966737406

805.8010088667

893.1238947307

1164.8500482061

808.1198189085

890.8588262493

1184.1618558101

806.9605949575

898.5541489627

1190.158192302

811.5953179218

899.6844017221

1196.1423464079

817.1493370844

893.1238947307

1201.2913221702

823.8493113921

893.1238947307

1209.305646336

827.3100350978

897.6496860146

1215.25073279

831.6889396108

896.5187814034

1225.2681968939

838.5923524554

894.2558857615

1240.1276696702

841.8094835527

888.8190260977

1249.0467782967

839.7416537732

888.8190260977

1261.969964989

838.5923524554

893.1238947307

1263.7825295993

842.9577708788

895.3875146524

1270.8202380642

839.7416537732

897.6496860146

1269.8159375604

841.8094835527

900.8142923415

1252.0809736342

847.5472987842

899.6844017221

1243.1714255009

842.9577708788

897.6496860146

1273.6303528909

845.2532591113

901.943820821

1310.6953035055

840.8905929511

903.0729871607

1306.7338710338

846.4004600177

910.7417143202

1324.1208330066

846.4004600177

915.2449080746

1329.0398499357

845.2532591113

922.8870396803

1335.7151839067

848.6937754108

928.2714035449

1342.373772529

847.5472987842

930.5124259372

1351.9405173197

848.6937754108

933.8712434764

1348.0399243503

850.9856422443

942.588915746

1363.2194705131

857.6238644572

956.6247671931

1344.3289941162

857.6238644572

971.9313989937

1370.7761947076

863.1083527599

984.7444926667

1381.2029779537

865.3910936681

992.2329610721

1382.1662842215

866.5319209123

1007.3786723891

1388.7071628923

874.2799422233

1017.0007959508

1397.1469721251

873.1415775303

1046.5646014489

1412.9911750271

875.4179447763

1054.1295856008

1414.8933793338

874.2799422233

1059.3067475031

1411.0875221609

879.7390517622

1062.5382366553

1400.9739782678

886.5512053532

1068.7765405394

1397.1469721251

886.5512053532

1076.0748999856

1395.2312962144

888.8190260977

1084.4259273401

1395.2312962144

887.6852967954

1092.7549221033

1395.2312962144

888.8190260977

1097.0176549676

1394.4646202534

886.5512053532

1099.1468485603

1398.1042668707

891.9915415599

1105.3133183749

1408.4199745681

895.3875146524

1106.37527155

1409.3729960629

898.5541489627

1109.3468138562

1419.4527595466

895.3875146524

1107.4368625853

1421.3500387506

891.9915415599

1120.7818814832

1421.3500387506

899.6844017221

1144.3644006852

1418.5035767347

912.9940354772

1165.8915042632

1426.843956838

919.5175752281

1190.158192302

1428.7355866597

924.0094702179

1219.3436944715

1433.4583237658

931.6323939235

1223.2266411557

1434.2131215382

927.1503491389

1231.1805169302

1430.6257679218

930.5124259372

1230.1620205425

1436.0991019775

934.990125043

1231.1805169302

1444.3802070228

933.8712434764

1246.2119220725

1447.1969011394

954.4006929479

1257.9378428098

1453.5693413023

963.2882985712

1259.9546281792

1453.5693413023

958.8473928787

1258.9464165644

1462.7236956663

967.5017920659

1262.977090184

1472.7718833806

978.3440370232

1246.2119220725

1472.7718833806

976.1341586619

1237.283890319

1476.297311075

975.0286762714

1233.2164232861

1480.743008332

979.4484329941

1243.1714255009

1473.5145132525

985.8467882261

1252.0809736342

1486.2883965707

991.3528339249

1259.9546281792

1481.6681450548

994.4322649485

1271.8241764282

1487.2113604541

998.8265270226

1274.6332772631

1489.7937327436

1010.4432991338

1286.4404360511

1497.891276319

1045.6989019551

1289.2347326071

1501.5627071628

1054.1295856008

1299.986138055

1500.6453926617

1044.6164516619

1302.9651432724

1493.4779109118

1026.594875399

1298.992412036

1497.891276319

1018.9655027738

1300.979501934

1497.891276319

1015.9087851643

1299.986138055

1497.891276319

1015.9087851643

1300.979501934

1509.6194593004

1020.0564995685

1309.7054885974

1503.3962497454

1032.9029129413

1321.3622289586

1505.9607757809

1033.9892743453

1327.0733295837

1510.5332248306

1021.1471342233

1328.0567708297

1500.6453926617

1038.1141449649

1332.7722478228

1504.1292611817

1056.0719990919

1338.4589836758

1506.8759898706

1070.9248551186

1346.0874550263

1505.0451995513

1075.0026620375

1348.0399243503

1503.3962497454

1078.2182894623

1354.6674848264

1504.1292611817

1087.6319942716

1353.888640965

1500.6453926617

1091.6883335375

1353.888640965

1498.8096772398

1095.9525149613

1346.0874550263

1491.6365461075

1099.9981204007

1378.5037938197

1493.4779109118

1115.704844019

1385.0540301854

1498.8096772398

1121.8385474159

1372.710267325

1488.8717828519

1135.1215100214

1375.6086602019

1488.8717828519

1125.0063723745

1377.5391114203

1479.0768496383

1119.7248534106

1372.710267325

1469.9849571634

1117.6097108458

1374.6428913828

1474.4424746666

1120.7818814832

1374.6428913828

1472.7718833806

1117.6097108458

1376.574066881

1474.4424746666

1117.6097108458

1373.6767604239

1471.8432701148

1121.8385474159

1376.574066881

1467.1947716871

1145.4129546842

1373.6767604239

1467.1947716871

1154.6246144034

1373.6767604239

1463.6558579031

1153.5792472355

1375.6086602019

1463.6558579031

1155.6696194315

1374.6428913828

1471.8432701148

1160.8892124734

1380.239309546

1470.914294709

1166.9325981804

1393.5059493763

1465.3328373368

1177.1161541257

1393.5059493763

1467.1947716871

1185.1965760651

1392.5469163593

1463.6558579031

1185.1965760651

1394.4646202534

1475.3700739407

1183.1267734151

1406.5128451589

1469.9849571634

1184.1618558101

1401.9298244538

1477.2241860693

1182.0913288803

1403.6494349959

1469.9849571634

1184.1618558101

1397.1469721251

1472.7718833806

1186.2309341803

1400.017769942

1469.0552574779

1192.2230698494

1400.9739782678

1458.9914253201

1196.1423464079

1402.6942406618

1463.6558579031

1206.2258213718

1400.9739782678

1468.1251956524

1214.2265870199

1405.5587372445

1463.6558579031

1213.2020791099

1417.7439697445

1466.2639855819

1207.2527918331

1414.8933793338

1467.1947716871

1196.1423464079

1412.039529664

1467.1947716871

1202.320030903

1402.6942406618

1463.6558579031

1199.232818285

1409.3729960629

1458.9914253201

1197.1728658401

1413.9424582504

1455.440401578

1198.2030231325

1410.3256554178

1456.375388506

1196.1423464079

1410.3256554178

1458.0574523838

1196.1423464079

1410.3256554178

1454.5050525101

1188.091866195

1402.6942406618

1455.440401578

1182.0913288803

1405.5587372445

1457.310013294

1181.0555222056

1407.4665909335

1460.858284773

1181.0555222056

1417.7439697445

1470.914294709

1187.0581599317

1416.7941350808

1476.297311075

1199.232818285

1409.3729960629

1473.5145132525

1207.2527918331

1385.0540301854

1479.0768496383

1216.2745164202

1385.0540301854

1480.002638213

1221.183636858

1358.5582275906

1480.743008332

1222.2053200768

1358.5582275906

1485.3650705473

1223.2266411557

1345.3060617

1480.743008332

1223.2266411557

1336.6954383216

1479.0768496383

1226.2884315532

1341.3956185255

1478.1506989238

1228.327814452

1351.9405173197

1469.9849571634

1235.2508810823

1360.5014261334

1476.297311075

1241.142617087

1352.9147602123

1479.0768496383

1239.1123601135

1350.9659122872

1485.3650705473

1235.2508810823

1348.0399243503

1483.5173320808

1240.1276696702

1339.4382240989

1482.5929196378

1240.1276696702

1331.7905448483

1487.2113604541

1233.2164232861

1333.7535886573

1488.8717828519

1236.2675667706

1326.0895261979

1490.7153204955

1245.1987853552

1331.7905448483

1500.6453926617

1250.0585388824

1338.4589836758

1504.1292611817

1253.0916478002

1339.4382240989

1505.9607757809

1253.0916478002

1349.9909451148

1508.7053316304

1259.9546281792

1376.574066881

1507.7908418204

1273.6303528909

1381.2029779537

1512.1770901923

1273.6303528909

1385.0540301854

1512.1770901923

1273.6303528909

1365.1591925128

1510.5332248306

1266.8008632094

1353.888640965

1512.1770901923

1257.9378428098

1340.4171023822

1518.5587460236

1254.1019598263

1330.808479734

1513.0898417308

1259.9546281792

1328.0567708297

1510.5332248306

1280.4430972236

1322.1506912556

1514.0022311293

1285.4417849296

1329.0398499357

1520.1968750894

1289.2347326071

1324.1208330066

1516.7372264856

1310.6953035055

1317.4164409304

1522.0156423643

1318.4034311473

1314.4532974403

1518.5587460236

1317.4164409304

1316.4290885736

1515.8259235067

1326.0895261979

1303.9574207318

1520.1968750894

1324.1208330066

1301.9725036732

1516.7372264856

1330.808479734

1316.4290885736

1517.6481673246

1335.7151839067

1313.4648586638

1514.914258388

1334.734567352

1306.7338710338

1511.4466282208

1327.0733295837

1304.9493360512

1516.7372264856

1341.3956185255

1305.7426075661

1509.6194593004

1334.734567352

1301.9725036732

1506.8759898706

1324.1208330066

1303.9574207318

1507.7908418204

1332.7722478228

1309.7054885974

1504.1292611817

1332.7722478228

1306.7338710338

1503.3962497454

1319.3900592243

1314.4532974403

1500.6453926617

1323.135943201

1315.4413740769

1501.5627071628

1324.1208330066

1325.1053606722

1503.3962497454

1322.1506912556

1335.7151839067

1505.9607757809

1314.4532974403

1326.0895261979

1502.4796595241

1307.7247723615

1327.0733295837

1505.0451995513

1314.4532974403

1343.3515643926

1505.0451995513

1315.4413740769

1336.6954383216

1503.3962497454

1320.3763251614

1335.7151839067

1498.8096772398

1308.7153115494

1360.5014261334

1505.9607757809

1311.6847562736

1365.1591925128

1505.9607757809

1323.135943201

1351.9405173197

1507.7908418204

1321.3622289586

1342.373772529

1505.0451995513

1320.3763251614

1333.7535886573

1510.5332248306

1327.0733295837

1338.4589836758

1514.0022311293

1328.0567708297

1345.3060617

1509.6194593004

1327.0733295837

1342.373772529

1510.5332248306

1329.8260524798

1332.7722478228

1511.4466282208

1330.808479734

1355.6407137273

1507.7908418204

1331.7905448483

1346.0874550263

1505.0451995513

1341.3956185255

1349.0156158025

1497.891276319

1339.4382240989

1360.5014261334

1488.8717828519

1333.7535886573

1363.2194705131

1488.1339621977

1338.4589836758

1353.888640965

1490.7153204955

1338.4589836758

1356.6135804883

1490.7153204955

1336.6954383216

1370.002160064

1501.5627071628

1339.4382240989

1369.0342908336

1496.237242069

1338.4589836758

1377.5391114203

1496.237242069

1339.4382240989

1367.097465953

1494.3980501041

1342.373772529

1375.6086602019

1493.4779109118

1359.5300079319

1377.5391114203

1503.3962497454

1359.5300079319

1373.6767604239

1498.8096772398

1367.097465953

1374.6428913828

1496.237242069

1364.1895125829

1365.1591925128

1495.3178271565

1363.2194705131

1365.1591925128

1495.3178271565

1370.002160064

1365.1591925128

1498.8096772398

1393.5059493763

1367.097465953

1500.6453926617

1405.5587372445

1367.097465953

1505.9607757809

1410.3256554178

1365.1591925128

1506.8759898706

1414.8933793338

1368.0660594632

1499.7277160207

1422.2981351428

1372.710267325

1505.0451995513

1415.8439382772

1374.6428913828

1501.5627071628

1408.4199745681

1382.1662842215

1505.9607757809

1412.9911750271

1388.7071628923

1505.0451995513

1411.0875221609

1383.1292283493

1500.6453926617

1412.039529664

1392.5469163593

1498.8096772398

1410.3256554178

1404.6042671902

1501.5627071628

1421.3500387506

1410.3256554178

1501.5627071628

1423.2458693951

1413.9424582504

1498.8096772398

1437.0415489874

1420.4015802186

1494.3980501041

1441.7483519381

1415.8439382772

1478.1506989238

1442.5006002456

1421.3500387506

1469.0552574779

1458.0574523838

1424.1932415075

1467.1947716871

1456.375388506

1421.3500387506

1465.3328373368

1464.587658

1425.14025148

1464.587658

1451.696832467

1416.7941350808

1472.7718833806

1445.3194672015

1412.039529664

1464.587658

1442.5006002456

1415.8439382772

1465.3328373368

1444.3802070228

1410.3256554178

1467.1947716871

1449.8228750722

1408.4199745681

1462.7236956663

1444.3802070228

1402.6942406618

1464.587658

1441.7483519381

1400.017769942

1464.587658

1442.5006002456

1398.1042668707

1458.0574523838

1448.1350748984

1400.017769942

1457.310013294

1435.1562928278

1402.6942406618

1462.7236956663

1425.14025148

1400.017769942

1461.7911712896

1425.14025148

1404.6042671902

1460.858284773

1433.4583237658

1406.5128451589

1456.375388506

1427.7899528188

1402.6942406618

1453.5693413023

1446.2583652404

1402.6942406618

1452.6332679546

1458.0574523838

1401.9298244538

1446.2583652404

1464.587658

1409.3729960629

1449.0728865176

1468.1251956524

1409.3729960629

1447.1969011394

1469.9849571634

1415.8439382772

1451.696832467

1468.1251956524

1415.8439382772

1449.8228750722

1471.8432701148

1415.8439382772

1450.7600348396

1471.8432701148

1406.5128451589

1447.1969011394

1475.3700739407

1414.8933793338

1455.440401578

1465.3328373368

1415.8439382772

1462.7236956663

1474.4424746666

1413.9424582504

1461.7911712896

1470.914294709

1415.8439382772

1452.6332679546

1476.297311075

1421.3500387506

1457.310013294

1480.743008332

1422.2981351428

1454.5050525101

1483.5173320808

1419.4527595466

1458.0574523838

1474.4424746666

1424.1932415075

1448.1350748984

1481.6681450548

1426.0868993126

1448.1350748984

1479.0768496383

1426.0868993126

1448.1350748984

1488.1339621977

1428.7355866597

1436.0991019775

1489.7937327436

1429.6808583607

1440.8077156277

1485.3650705473

1425.14025148

1442.5006002456

1488.8717828519

1421.3500387506

1439.8667171775

1488.8717828519

1424.1932415075

1437.0415489874

1491.6365461075

1414.8933793338

1436.0991019775

1488.1339621977

1412.039529664

1442.5006002456

1485.3650705473

1411.0875221609

1437.0415489874

1488.1339621977

1410.3256554178

1443.4405847042

1490.7153204955

1420.4015802186

1445.3194672015

1491.6365461075

1417.7439697445

1439.8667171775

1492.5574095796

1413.9424582504

1442.5006002456

1490.7153204955

1418.5035767347

1448.1350748984

1488.1339621977

1419.4527595466

1443.4405847042

1487.2113604541

1421.3500387506

1446.2583652404

1488.8717828519

1423.2458693951

1449.0728865176

1481.6681450548

1422.2981351428

1449.0728865176

1483.5173320808

1420.4015802186

1441.7483519381

1483.5173320808

1425.14025148

1438.9253565873

1481.6681450548

1419.4527595466

1437.0415489874

1476.297311075

1416.7941350808

1438.9253565873

1471.8432701148

1422.2981351428

1439.8667171775

1469.9849571634

1425.14025148

1441.7483519381

1478.1506989238

1422.2981351428

1441.7483519381

1476.297311075

1425.14025148

1434.2131215382

1474.4424746666

1422.2981351428

1437.0415489874

1476.297311075

1420.4015802186

1437.0415489874

1469.9849571634

1413.9424582504

1441.7483519381

1470.914294709

1412.039529664

1447.1969011394

1468.1251956524

1408.4199745681

1451.696832467

1469.9849571634

1406.5128451589

1450.7600348396

1471.8432701148

1400.9739782678

1451.696832467

1467.1947716871

1397.1469721251

1447.1969011394

1467.1947716871

1400.017769942

1457.310013294

1463.6558579031

1400.017769942

1460.858284773

1457.310013294

1403.6494349959

1470.914294709

1449.0728865176

1399.0611994763

1468.1251956524

1446.2583652404

1402.6942406618

1472.7718833806

1443.4405847042

1436.0991019775

1471.8432701148

1436.0991019775

1448.1350748984

1468.1251956524

1435.1562928278

1449.0728865176

1470.914294709

1434.2131215382

1457.310013294

1468.1251956524

1438.9253565873

1459.9250361165

1467.1947716871

1437.9836338573

1457.310013294

1465.3328373368

1439.8667171775

1455.440401578

1464.587658

1447.1969011394

1457.310013294

1462.7236956663

1451.696832467

1457.310013294

1465.3328373368

1477.2241860693

1455.440401578

1464.587658

1476.297311075

1457.310013294

1468.1251956524

1474.4424746666

1452.6332679546

1467.1947716871

1473.5145132525

1449.8228750722

1470.914294709

1469.0552574779

1446.2583652404

1471.8432701148

1469.9849571634

1449.0728865176

1472.7718833806

1469.9849571634

1448.1350748984

1474.4424746666

1469.0552574779

1453.5693413023

1472.7718833806

1469.0552574779

1455.440401578

1470.914294709

1468.1251956524

1453.5693413023

1469.9849571634

1469.0552574779

1457.310013294

1470.914294709

1469.9849571634

1458.9914253201

1472.7718833806

1464.587658

1456.375388506

1468.1251956524

1467.1947716871

1458.9914253201

1467.1947716871

1467.1947716871

1456.375388506

1464.587658

1468.1251956524

1457.310013294

1467.1947716871

1467.1947716871

1459.9250361165

1465.3328373368

1463.6558579031

1454.5050525101

1466.2639855819

1468.1251956524

1457.310013294

1464.587658

1464.587658

1457.310013294

1464.587658

1465.3328373368

1458.0574523838

1464.587658

1467.1947716871

1457.310013294

1467.1947716871

1467.1947716871

1458.9914253201

1467.1947716871

1465.3328373368

1460.858284773

1460.858284773

1463.6558579031

1462.7236956663

1458.0574523838

1461.7911712896

1464.587658

1453.5693413023

1457.310013294

1464.587658

1452.6332679546

1457.310013294

1460.858284773

1454.5050525101

1455.440401578

1454.5050525101

1457.310013294

1449.8228750722

1450.7600348396

1463.6558579031

1441.7483519381

1451.696832467

1462.7236956663

1439.8667171775

1448.1350748984

1461.7911712896

1435.1562928278

1447.1969011394

1460.858284773

1433.4583237658

1447.1969011394

1462.7236956663

1437.9836338573

1445.3194672015

1458.9914253201

1438.9253565873

1446.2583652404

1456.375388506

1448.1350748984

1447.1969011394

1453.5693413023

1442.5006002456

1449.0728865176

1445.3194672015

1443.4405847042

1445.3194672015

1437.0415489874

1450.7600348396

1448.1350748984

1437.9836338573

1451.696832467

1449.0728865176

1429.6808583607

1450.7600348396

1445.3194672015

1420.4015802186

1441.7483519381

1447.1969011394

1424.1932415075

1439.8667171775

1445.3194672015

1426.0868993126

1438.9253565873

1445.3194672015

1422.2981351428

1432.5145006243

1439.8667171775

1423.2458693951

1426.0868993126

1442.5006002456

1422.2981351428

1426.0868993126

1438.9253565873

1428.7355866597

1434.2131215382

1437.0415489874

1431.570315343

1437.9836338573

1432.5145006243

1436.0991019775

1424.1932415075

1437.0415489874

1431.570315343

1435.1562928278

1437.0415489874

1435.1562928278

1435.1562928278

1437.0415489874

1432.5145006243

1437.9836338573

1431.570315343

1430.6257679218

1439.8667171775

1434.2131215382

1426.0868993126

1445.3194672015

1434.2131215382

1427.7899528188

1446.2583652404

1439.8667171775

1427.7899528188

1451.696832467

1441.7483519381

1426.843956838

1449.8228750722

1443.4405847042

1428.7355866597

1449.0728865176

1443.4405847042

1429.6808583607

1446.2583652404

1439.8667171775

1434.2131215382

1449.8228750722

1443.4405847042

1428.7355866597

1448.1350748984

1444.3802070228

1426.843956838

1445.3194672015

1444.3802070228

1421.3500387506

1445.3194672015

1444.3802070228

1418.5035767347

1454.5050525101

1447.1969011394

1420.4015802186

1460.858284773

1450.7600348396

1426.0868993126

1458.9914253201

1453.5693413023

1422.2981351428

1460.858284773

1452.6332679546

1412.9911750271

1461.7911712896

1452.6332679546

1415.8439382772

1462.7236956663

1449.0728865176

1420.4015802186

1460.858284773

1454.5050525101

1419.4527595466

1461.7911712896

1453.5693413023

1418.5035767347

1459.9250361165

1454.5050525101

1416.7941350808

1458.9914253201

1453.5693413023

1421.3500387506

1459.9250361165

1454.5050525101

1421.3500387506

1460.858284773

1452.6332679546

1420.4015802186

1461.7911712896

1454.5050525101

1419.4527595466

1466.2639855819

1452.6332679546

1421.3500387506

1467.1947716871

1454.5050525101

1422.2981351428

1467.1947716871

1451.696832467

1421.3500387506

1457.310013294

1450.7600348396

1419.4527595466

1454.5050525101

1451.696832467

1416.7941350808

1452.6332679546

1454.5050525101

1408.4199745681

1450.7600348396

1452.6332679546

1408.4199745681

1450.7600348396

1454.5050525101

1408.4199745681

1451.696832467

1455.440401578

1408.4199745681

1452.6332679546

1457.310013294

1411.0875221609

1456.375388506

1452.6332679546

1412.039529664

1460.858284773

1458.0574523838

1416.7941350808

1461.7911712896

1453.5693413023

1414.8933793338

1463.6558579031

1457.310013294

1414.8933793338

1466.2639855819

1452.6332679546

1413.9424582504

1469.9849571634

1451.696832467

1415.8439382772

1468.1251956524

1449.8228750722

1419.4527595466

1471.8432701148

1445.3194672015

1418.5035767347

1475.3700739407

1447.1969011394

1419.4527595466

1471.8432701148

1444.3802070228

1419.4527595466

1469.0552574779

1446.2583652404

1418.5035767347

1464.587658

1442.5006002456

1422.2981351428

1465.3328373368

1448.1350748984

1424.1932415075

1461.7911712896

1446.2583652404

1426.0868993126

1461.7911712896

1442.5006002456

1423.2458693951

1461.7911712896

1443.4405847042

1421.3500387506

1460.858284773

1440.8077156277

1414.8933793338

1453.5693413023

1442.5006002456

1413.9424582504

1444.3802070228

1443.4405847042

1412.9911750271

1447.1969011394

1435.1562928278

1412.9911750271

1448.1350748984

1437.0415489874

1412.039529664

1450.7600348396

1433.4583237658

1406.5128451589

1449.0728865176

1437.0415489874

1407.4665909335

1450.7600348396

1440.8077156277

1409.3729960629

1449.0728865176

1431.570315343

1409.3729960629

1455.440401578

1435.1562928278

1410.3256554178

1450.7600348396

1433.4583237658

1412.9911750271

1450.7600348396

1431.570315343

1412.9911750271

1449.0728865176

1433.4583237658

1413.9424582504

1445.3194672015

1427.7899528188

1418.5035767347

1443.4405847042

1432.5145006243

1415.8439382772

1442.5006002456

1436.0991019775

1410.3256554178

1429.6808583607

1437.9836338573

1411.0875221609

1433.4583237658

1434.2131215382

1410.3256554178

1433.4583237658

1439.8667171775

1411.0875221609

1424.1932415075

1439.8667171775

1411.0875221609

1425.14025148

1435.1562928278

1415.8439382772

1426.0868993126

1438.9253565873

1410.3256554178

1426.843956838

1442.5006002456

1410.3256554178

1426.0868993126

1437.9836338573

1409.3729960629

1426.843956838

1427.7899528188

1410.3256554178

1429.6808583607

1426.843956838

1406.5128451589

1435.1562928278

1433.4583237658

1407.4665909335

1438.9253565873

1431.570315343

1412.9911750271

1450.7600348396

1430.6257679218

1412.039529664

1452.6332679546

1430.6257679218

1412.039529664

1458.0574523838

1425.14025148

1418.5035767347

1459.9250361165

1429.6808583607

1417.7439697445

1461.7911712896

1432.5145006243

1416.7941350808

1459.9250361165

1431.570315343

1412.9911750271

1461.7911712896

1434.2131215382

1415.8439382772

1458.9914253201

1432.5145006243

1417.7439697445

1458.9914253201

1437.0415489874

1415.8439382772

1458.0574523838

1441.7483519381

1412.039529664

1455.440401578

1438.9253565873

1415.8439382772

1456.375388506

1435.1562928278

1411.0875221609

1449.8228750722

1427.7899528188

1416.7941350808

1449.8228750722

1429.6808583607

1413.9424582504

1452.6332679546

1426.0868993126

1415.8439382772

1453.5693413023

1425.14025148

1417.7439697445

1455.440401578

1427.7899528188

1419.4527595466

1449.8228750722

1424.1932415075

1420.4015802186

1449.8228750722

1425.14025148

1418.5035767347

1445.3194672015

1428.7355866597

1417.7439697445

1452.6332679546

1428.7355866597

1420.4015802186

1440.8077156277

1431.570315343

1416.7941350808

1437.9836338573

1429.6808583607

1418.5035767347

1439.8667171775

1429.6808583607

1419.4527595466

1441.7483519381

1426.0868993126

1417.7439697445

1445.3194672015

1432.5145006243

1423.2458693951

1446.2583652404

1433.4583237658

1421.3500387506

1445.3194672015

1437.0415489874

1424.1932415075

1450.7600348396

1446.2583652404

1425.14025148

1446.2583652404

1441.7483519381

1421.3500387506

1444.3802070228

1441.7483519381

1413.9424582504

1448.1350748984

1440.8077156277

1418.5035767347

1444.3802070228

1437.0415489874

1417.7439697445

1444.3802070228

1438.9253565873

1412.039529664

1440.8077156277

1438.9253565873

1410.3256554178

1440.8077156277

1439.8667171775

1416.7941350808

1442.5006002456

1439.8667171775

1414.8933793338

1437.9836338573

1432.5145006243

1408.4199745681

1444.3802070228

1435.1562928278

1406.5128451589

1446.2583652404

1436.0991019775

1409.3729960629

1442.5006002456

1437.0415489874

1402.6942406618

1441.7483519381

1438.9253565873

1404.6042671902

1440.8077156277

1437.9836338573

1406.5128451589

1442.5006002456

1438.9253565873

1405.5587372445

1442.5006002456

1434.2131215382

1410.3256554178

1438.9253565873

1435.1562928278

1421.3500387506

1441.7483519381

1432.5145006243

1421.3500387506

1444.3802070228

1434.2131215382

1421.3500387506

1443.4405847042

1436.0991019775

1418.5035767347

1444.3802070228

1428.7355866597

1419.4527595466

1439.8667171775

1433.4583237658

1412.9911750271

1441.7483519381

1423.2458693951

1412.039529664

1445.3194672015

1427.7899528188

1412.9911750271

1446.2583652404

1426.843956838

1410.3256554178

1448.1350748984

1423.2458693951

1405.5587372445

1448.1350748984

1426.843956838

1415.8439382772

1446.2583652404

1424.1932415075

1416.7941350808

1447.1969011394

1429.6808583607

1411.0875221609

1451.696832467

1430.6257679218

1407.4665909335

1451.696832467

1427.7899528188

1413.9424582504

1455.440401578

1427.7899528188

1409.3729960629

1457.310013294

1427.7899528188

1412.9911750271

1456.375388506

1423.2458693951

1405.5587372445

1452.6332679546

1425.14025148

1408.4199745681

1455.440401578

1418.5035767347

1407.4665909335

1457.310013294

1420.4015802186

1403.6494349959

1458.0574523838

1425.14025148

1400.9739782678

1458.0574523838

1424.1932415075

1408.4199745681

1456.375388506

1419.4527595466

1405.5587372445

1456.375388506

1412.9911750271

1403.6494349959

1458.0574523838

1411.0875221609

1405.5587372445

1461.7911712896

1410.3256554178

1405.5587372445

1458.9914253201

1420.4015802186

1405.5587372445

1453.5693413023

1417.7439697445

1401.9298244538

1456.375388506

1425.14025148

1404.6042671902

1458.9914253201

1423.2458693951

1401.9298244538

1458.0574523838

1418.5035767347

1401.9298244538

1458.9914253201

1419.4527595466

1397.1469721251

1454.5050525101

1418.5035767347

1397.1469721251

1458.9914253201

1422.2981351428

1400.9739782678

1461.7911712896

1419.4527595466

1394.4646202534

1463.6558579031

1420.4015802186

1391.5875212024

1457.310013294

1421.3500387506

1389.6676444689

1461.7911712896

1414.8933793338

1396.1893152397

1458.9914253201

1414.8933793338

1397.1469721251

1458.9914253201

1413.9424582504

1399.0611994763

1460.858284773

1412.039529664

1395.2312962144

1459.9250361165

1415.8439382772

1401.9298244538

1461.7911712896

1412.9911750271

1400.017769942

1465.3328373368

1417.7439697445

1397.1469721251

1462.7236956663

1414.8933793338

1400.017769942

1462.7236956663

1418.5035767347

1394.4646202534

1463.6558579031

1416.7941350808

1398.1042668707

1460.858284773

1415.8439382772

1396.1893152397

1458.0574523838

1417.7439697445

1389.6676444689

1458.9914253201

1420.4015802186

1388.7071628923

1458.9914253201

1418.5035767347

1394.4646202534

1457.310013294

1426.843956838

1391.5875212024

1458.9914253201

1424.1932415075

1381.2029779537

1454.5050525101

1420.4015802186

1386.7851133194

1453.5693413023

1424.1932415075

1386.0158878936

1453.5693413023

1419.4527595466

1383.1292283493

1456.375388506

1420.4015802186

1378.5037938197

1453.5693413023

1418.5035767347

1375.6086602019

1452.6332679546

1423.2458693951

1383.1292283493

1446.2583652404

1421.3500387506

1385.0540301854

1443.4405847042

1424.1932415075

1378.5037938197

1442.5006002456

1426.0868993126

1384.0918103373

1441.7483519381

1424.1932415075

1383.1292283493

1448.1350748984

1419.4527595466

1384.0918103373

1447.1969011394

1423.2458693951

1379.2752789985

1447.1969011394

1421.3500387506

1385.0540301854

1453.5693413023

1417.7439697445

1383.1292283493

1449.0728865176

1421.3500387506

1384.0918103373

1449.0728865176

1417.7439697445

1386.0158878936

1451.696832467

1419.4527595466

1386.0158878936

1449.8228750722

1416.7941350808

1373.6767604239

1451.696832467

1417.7439697445

1384.0918103373

1452.6332679546

1418.5035767347

1379.2752789985

1448.1350748984

1421.3500387506

1383.1292283493

1449.0728865176

1426.0868993126

1382.1662842215

1448.1350748984

1427.7899528188

1375.6086602019

1452.6332679546

1424.1932415075

1387.7463191758

1454.5050525101

1426.843956838

1386.0158878936

1450.7600348396

1435.1562928278

1389.6676444689

1452.6332679546

1432.5145006243

1398.1042668707

1451.696832467

1429.6808583607

1388.7071628923

1449.8228750722

1429.6808583607

1386.0158878936

1448.1350748984

1429.6808583607

1392.5469163593

1450.7600348396

1428.7355866597

1390.6277639056

1450.7600348396

1428.7355866597

1391.5875212024

1455.440401578

1426.0868993126

1397.1469721251

1449.8228750722

1432.5145006243

1399.0611994763

1449.0728865176

1430.6257679218

1398.1042668707

1451.696832467

1429.6808583607

1399.0611994763

1448.1350748984

1427.7899528188

1396.1893152397

1447.1969011394

1438.9253565873

1390.6277639056

1446.2583652404

1441.7483519381

1389.6676444689

1449.0728865176

1435.1562928278

1392.5469163593

1451.696832467

1435.1562928278

1388.7071628923

1450.7600348396

1437.0415489874

1385.0540301854

1453.5693413023

1433.4583237658

1386.7851133194

1449.8228750722

1436.0991019775

1392.5469163593

1447.1969011394

1426.843956838

1386.7851133194

1446.2583652404

1431.570315343

1384.0918103373

1449.8228750722

1427.7899528188

1383.1292283493

1453.5693413023

1431.570315343

1386.7851133194

1457.310013294

1429.6808583607

1386.7851133194

1454.5050525101

1427.7899528188

1390.6277639056

1459.9250361165

1433.4583237658

1393.5059493763

1453.5693413023

1434.2131215382

1385.0540301854

1458.0574523838

1432.5145006243

1386.7851133194

1457.310013294

1430.6257679218

1388.7071628923

1455.440401578

1437.0415489874

1385.0540301854

1458.0574523838

1436.0991019775

1384.0918103373

1452.6332679546

1442.5006002456

1386.0158878936

1451.696832467

1439.8667171775

1388.7071628923

1454.5050525101

1435.1562928278

1389.6676444689

1450.7600348396

1428.7355866597

1389.6676444689

1453.5693413023

1430.6257679218

1392.5469163593

1454.5050525101

1429.6808583607

1390.6277639056

1454.5050525101

1432.5145006243

1389.6676444689

1454.5050525101

1436.0991019775

1389.6676444689

1452.6332679546

1438.9253565873

1385.0540301854

1449.0728865176

1437.9836338573

1391.5875212024

1454.5050525101

1439.8667171775

1391.5875212024

1454.5050525101

1435.1562928278

1387.7463191758

1452.6332679546

1432.5145006243

1388.7071628923

1456.375388506

1432.5145006243

1386.0158878936

1455.440401578

1431.570315343

1386.0158878936

1455.440401578

1432.5145006243

1387.7463191758

1454.5050525101

1431.570315343

1390.6277639056

1452.6332679546

1430.6257679218

1390.6277639056

1448.1350748984

1429.6808583607

1390.6277639056

1449.8228750722

1429.6808583607

1384.0918103373

1453.5693413023

1429.6808583607

1386.7851133194

1448.1350748984

1433.4583237658

1386.7851133194

1445.3194672015

1428.7355866597

1381.2029779537

1442.5006002456

1427.7899528188

1382.1662842215

1445.3194672015

1429.6808583607

1386.0158878936

1445.3194672015

1427.7899528188

1378.5037938197

1437.9836338573

1426.0868993126

1376.574066881

1440.8077156277

1424.1932415075

1377.5391114203

1443.4405847042

1422.2981351428

1373.6767604239

1440.8077156277

1421.3500387506

1374.6428913828

1445.3194672015

1425.14025148

1376.574066881

1444.3802070228

1424.1932415075

1376.574066881

1440.8077156277

1421.3500387506

1378.5037938197

1443.4405847042

1421.3500387506

1376.574066881

1430.6257679218

1421.3500387506

1368.0660594632

1434.2131215382

1426.0868993126

1364.1895125829

1433.4583237658

1429.6808583607

1368.0660594632

1432.5145006243

1428.7355866597

1369.0342908336

1428.7355866597

1423.2458693951

1366.1285103029

1427.7899528188

1424.1932415075

1367.097465953

1431.570315343

1431.570315343

1369.0342908336

1435.1562928278

1428.7355866597

1365.1591925128

1436.0991019775

1435.1562928278

1370.7761947076

1438.9253565873

1438.9253565873

1370.7761947076

1433.4583237658

1438.9253565873

1375.6086602019

1434.2131215382

1437.0415489874

1381.2029779537

1434.2131215382

1439.8667171775

1384.0918103373

1433.4583237658

1439.8667171775

1386.0158878936

1433.4583237658

1436.0991019775

1384.0918103373

1433.4583237658

1437.9836338573

1382.1662842215

1434.2131215382

1434.2131215382

1380.239309546

1434.2131215382

1435.1562928278

1381.2029779537

1430.6257679218

1434.2131215382

1375.6086602019

1433.4583237658

1432.5145006243

1371.7434120863

1428.7355866597

1435.1562928278

1374.6428913828

1432.5145006243

1439.8667171775

1377.5391114203

1435.1562928278

1443.4405847042

1376.574066881

1435.1562928278

1438.9253565873

1374.6428913828

1434.2131215382

1436.0991019775

1379.2752789985

1436.0991019775

1435.1562928278

1384.0918103373

1435.1562928278

1429.6808583607

1383.1292283493

1435.1562928278

1433.4583237658

1384.0918103373

1438.9253565873

1426.0868993126

1382.1662842215

1440.8077156277

1425.14025148

1382.1662842215

1440.8077156277

1423.2458693951

1383.1292283493

1442.5006002456

1425.14025148

1385.0540301854

1437.9836338573

1420.4015802186

1385.0540301854

1437.9836338573

1427.7899528188

1382.1662842215

1442.5006002456

1423.2458693951

1386.0158878936

1445.3194672015

1423.2458693951

1393.5059493763

1449.0728865176

1424.1932415075

1390.6277639056

1448.1350748984

1420.4015802186

1387.7463191758

1451.696832467

1422.2981351428

1386.7851133194

1451.696832467

1420.4015802186

1386.0158878936

1449.8228750722

1423.2458693951

1386.0158878936

1453.5693413023

1420.4015802186

1389.6676444689

1450.7600348396

1416.7941350808

1389.6676444689

1449.0728865176

1413.9424582504

1388.7071628923

1447.1969011394

1413.9424582504

1388.7071628923

1449.0728865176

1412.039529664

1387.7463191758

1449.0728865176

1410.3256554178

1385.0540301854

1448.1350748984

1409.3729960629

1381.2029779537

1449.0728865176

1412.039529664

1377.5391114203

1448.1350748984

1407.4665909335

1379.2752789985

1448.1350748984

1412.039529664

1375.6086602019

1449.0728865176

1402.6942406618

1372.710267325

1451.696832467

1401.9298244538

1376.574066881

1450.7600348396

1408.4199745681

1374.6428913828

1452.6332679546

1408.4199745681

1379.2752789985

1452.6332679546

1412.039529664

1379.2752789985

1451.696832467

1415.8439382772

1376.574066881

1449.8228750722

1419.4527595466

1377.5391114203

1449.0728865176

1423.2458693951

1373.6767604239

1448.1350748984

1417.7439697445

1371.7434120863

1449.8228750722

1418.5035767347

1372.710267325

1448.1350748984

1417.7439697445

1372.710267325

1443.4405847042

1421.3500387506

1376.574066881

1448.1350748984

1422.2981351428

1381.2029779537

1449.0728865176

1414.8933793338

1379.2752789985

1441.7483519381

1415.8439382772

1374.6428913828

1438.9253565873

1414.8933793338

1377.5391114203

1441.7483519381

1412.9911750271

1375.6086602019

1440.8077156277

1408.4199745681

1378.5037938197

1442.5006002456

1406.5128451589

1377.5391114203

1437.0415489874

1398.1042668707

1376.574066881

1440.8077156277

1398.1042668707

1374.6428913828

1442.5006002456

1400.017769942

1376.574066881

1440.8077156277

1398.1042668707

1378.5037938197

1439.8667171775

1400.9739782678

1377.5391114203

1431.570315343

1403.6494349959

1378.5037938197

1426.0868993126

1402.6942406618

1373.6767604239

1422.2981351428

1407.4665909335

1376.574066881

1423.2458693951

1403.6494349959

1375.6086602019

1427.7899528188

1402.6942406618

1378.5037938197

1424.1932415075

1415.8439382772

1376.574066881

1428.7355866597

1416.7941350808

1373.6767604239

1426.843956838

1412.9911750271

1374.6428913828

1435.1562928278

1415.8439382772

1378.5037938197

1437.0415489874

1413.9424582504

1377.5391114203

1438.9253565873

1420.4015802186

1379.2752789985

1440.8077156277

1412.9911750271

1376.574066881

1442.5006002456

1415.8439382772

1379.2752789985

1441.7483519381

1411.0875221609

1377.5391114203

1441.7483519381

1406.5128451589

1376.574066881

1439.8667171775

1409.3729960629

1378.5037938197

1446.2583652404

1409.3729960629

1381.2029779537

1441.7483519381

1413.9424582504

1381.2029779537

1444.3802070228

1412.039529664

1386.0158878936

1445.3194672015

1404.6042671902

1381.2029779537

1443.4405847042

1403.6494349959

1376.574066881

1439.8667171775

1402.6942406618

1380.239309546

1430.6257679218

1405.5587372445

1382.1662842215

1429.6808583607

1405.5587372445

1376.574066881

1426.0868993126

1402.6942406618

1373.6767604239

1422.2981351428

1410.3256554178

1376.574066881

1417.7439697445

1410.3256554178

1374.6428913828

1409.3729960629

1413.9424582504

1370.7761947076

1412.039529664

1415.8439382772

1372.710267325

1412.9911750271

1408.4199745681

1372.710267325

1411.0875221609

1411.0875221609

1372.710267325

1409.3729960629

1412.9911750271

1370.7761947076

1409.3729960629

1417.7439697445

1373.6767604239

1419.4527595466

1415.8439382772

1365.1591925128

1417.7439697445

1417.7439697445

1370.002160064

1412.039529664

1423.2458693951

1373.6767604239

1414.8933793338

1418.5035767347

1373.6767604239

1417.7439697445

1414.8933793338

1371.7434120863

1419.4527595466

1418.5035767347

1375.6086602019

1418.5035767347

1419.4527595466

1376.574066881

1423.2458693951

1421.3500387506

1371.7434120863

1423.2458693951

1421.3500387506

1369.0342908336

1421.3500387506

1421.3500387506

1367.097465953

1422.2981351428

1418.5035767347

1370.7761947076

1425.14025148

1416.7941350808

1376.574066881

1426.0868993126

1415.8439382772

1380.239309546

1424.1932415075

1414.8933793338

1377.5391114203

1421.3500387506

1412.9911750271

1379.2752789985

1418.5035767347

1410.3256554178

1379.2752789985

1426.0868993126

1412.9911750271

1377.5391114203

1424.1932415075

1415.8439382772

1375.6086602019

1423.2458693951

1417.7439697445

1377.5391114203

1421.3500387506

1412.9911750271

1378.5037938197

1422.2981351428

1413.9424582504

1379.2752789985

1417.7439697445

1414.8933793338

1379.2752789985

1424.1932415075

1416.7941350808

1376.574066881

1427.7899528188

1420.4015802186

1375.6086602019

1424.1932415075

1421.3500387506

1370.7761947076

1430.6257679218

1420.4015802186

1370.002160064

1431.570315343

1419.4527595466

1372.710267325

1430.6257679218

1417.7439697445

1371.7434120863

1432.5145006243

1415.8439382772

1370.002160064

1431.570315343

1415.8439382772

1370.7761947076

1432.5145006243

1415.8439382772

1370.002160064

1427.7899528188

1421.3500387506

1368.0660594632

1429.6808583607

1416.7941350808

1364.1895125829

1429.6808583607

1411.0875221609

1366.1285103029

1432.5145006243

1412.9911750271

1369.0342908336

1431.570315343

1412.9911750271

1367.097465953

1435.1562928278

1411.0875221609

1368.0660594632

1438.9253565873

1415.8439382772

1370.002160064

1436.0991019775

1418.5035767347

1362.2490663034

1424.1932415075

1415.8439382772

1357.5860851094

1431.570315343

1413.9424582504

1370.7761947076

1422.2981351428

1408.4199745681

1372.710267325

1416.7941350808

1404.6042671902

1370.002160064

1422.2981351428

1400.9739782678

1366.1285103029

1426.843956838

1400.9739782678

1367.097465953

1431.570315343

1400.017769942

1369.0342908336

1424.1932415075

1405.5587372445

1370.002160064

1426.0868993126

1400.9739782678

1368.0660594632

1426.843956838

1394.4646202534

1367.097465953

1428.7355866597

1391.5875212024

1368.0660594632

1428.7355866597

1394.4646202534

1370.002160064

1426.843956838

1393.5059493763

1370.002160064

1424.1932415075

1403.6494349959

1374.6428913828

1427.7899528188

1408.4199745681

1375.6086602019

1431.570315343

1405.5587372445

1373.6767604239

1434.2131215382

1405.5587372445

1373.6767604239

1431.570315343

1405.5587372445

1370.002160064

1433.4583237658

1405.5587372445

1369.0342908336

1427.7899528188

1409.3729960629

1377.5391114203

1430.6257679218

1403.6494349959

1373.6767604239

1427.7899528188

1404.6042671902

1375.6086602019

1423.2458693951

1405.5587372445

1370.7761947076

1425.14025148

1408.4199745681

1372.710267325

1427.7899528188

1407.4665909335

1366.1285103029

1427.7899528188

1404.6042671902

1370.7761947076

1436.0991019775

1404.6042671902

1369.0342908336

1434.2131215382

1404.6042671902

1369.0342908336

1429.6808583607

1404.6042671902

1370.002160064

1430.6257679218

1404.6042671902

1369.0342908336

1432.5145006243

1408.4199745681

1370.7761947076

1432.5145006243

1406.5128451589

1370.7761947076

1429.6808583607

1409.3729960629

1370.7761947076

1413.9424582504

1407.4665909335

1375.6086602019

1411.0875221609

1408.4199745681

1372.710267325

1404.6042671902

1408.4199745681

1373.6767604239

1404.6042671902

1411.0875221609

1373.6767604239

1405.5587372445

1412.9911750271

1376.574066881

1407.4665909335

1414.8933793338

1374.6428913828

1407.4665909335

1415.8439382772

1374.6428913828

1409.3729960629

1412.9911750271

1369.0342908336

1417.7439697445

1413.9424582504

1372.710267325

1416.7941350808

1412.039529664

1370.002160064

1419.4527595466

1413.9424582504

1370.7761947076

1419.4527595466

1413.9424582504

1377.5391114203

1415.8439382772

1411.0875221609

1375.6086602019

1415.8439382772

1414.8933793338

1377.5391114203

1416.7941350808

1415.8439382772

1371.7434120863

1419.4527595466

1415.8439382772

1376.574066881

1417.7439697445

1415.8439382772

1375.6086602019

1418.5035767347

1412.9911750271

1375.6086602019

1409.3729960629

1416.7941350808

1368.0660594632

1408.4199745681

1410.3256554178

1367.097465953

1406.5128451589

1410.3256554178

1368.0660594632

1412.9911750271

1417.7439697445

1366.1285103029

1417.7439697445

1412.9911750271

1366.1285103029

1408.4199745681

1408.4199745681

1370.7761947076

1410.3256554178

1412.039529664

1368.0660594632

1412.9911750271

1405.5587372445

1370.002160064

1416.7941350808

1400.9739782678

1374.6428913828

1414.8933793338

1403.6494349959

1371.7434120863

1417.7439697445

1407.4665909335

1369.0342908336

1413.9424582504

1409.3729960629

1367.097465953

1413.9424582504

1412.9911750271

1367.097465953

1421.3500387506

1402.6942406618

1367.097465953

1416.7941350808

1410.3256554178

1366.1285103029

1419.4527595466

1404.6042671902

1365.1591925128

1418.5035767347

1417.7439697445

1359.5300079319

1419.4527595466

1412.9911750271

1362.2490663034

1418.5035767347

1420.4015802186

1361.4724821949

1426.0868993126

1416.7941350808

1369.0342908336

1425.14025148

1420.4015802186

1367.097465953

1431.570315343

1421.3500387506

1369.0342908336

1426.843956838

1415.8439382772

1365.1591925128

1434.2131215382

1417.7439697445

1362.2490663034

1440.8077156277

1416.7941350808

1361.4724821949

1434.2131215382

1414.8933793338

1365.1591925128

1434.2131215382

1411.0875221609

1358.5582275906

1437.0415489874

1410.3256554178

1361.4724821949

1433.4583237658

1411.0875221609

1365.1591925128

1437.9836338573

1410.3256554178

1367.097465953

1435.1562928278

1406.5128451589

1371.7434120863

1433.4583237658

1412.039529664

1373.6767604239

1436.0991019775

1410.3256554178

1369.0342908336

1430.6257679218

1412.9911750271

1371.7434120863

1432.5145006243

1414.8933793338

1370.002160064

1433.4583237658

1414.8933793338

1365.1591925128

1428.7355866597

1416.7941350808

1370.7761947076

1426.843956838

1413.9424582504

1365.1591925128

1428.7355866597

1418.5035767347

1370.002160064

1429.6808583607

1422.2981351428

1365.1591925128

1426.843956838

1421.3500387506

1373.6767604239

1423.2458693951

1426.843956838

1363.2194705131

1418.5035767347

1424.1932415075

1364.1895125829

1421.3500387506

1420.4015802186

1364.1895125829

1418.5035767347

1419.4527595466

1361.4724821949

1417.7439697445

1413.9424582504

1364.1895125829

1416.7941350808

1413.9424582504

1368.0660594632

1417.7439697445

1417.7439697445

1367.097465953

1419.4527595466

1412.9911750271

1366.1285103029

1429.6808583607

1412.9911750271

1367.097465953

1430.6257679218

1412.9911750271

1370.002160064

1437.9836338573

1408.4199745681

1370.7761947076

1432.5145006243

1412.9911750271

1365.1591925128

1432.5145006243

1411.0875221609

1375.6086602019

1429.6808583607

1415.8439382772

1369.0342908336

1434.2131215382

1408.4199745681

1370.7761947076

1433.4583237658

1411.0875221609

1368.0660594632

1437.0415489874

1413.9424582504

1369.0342908336

1437.0415489874

1412.039529664

1365.1591925128

1437.0415489874

1407.4665909335

1371.7434120863

1433.4583237658

1409.3729960629

1370.7761947076

1432.5145006243

1406.5128451589

1374.6428913828

1436.0991019775

1402.6942406618

1376.574066881

1431.570315343

1406.5128451589

1363.2194705131

1430.6257679218

1406.5128451589

1370.7761947076

1420.4015802186

1401.9298244538

1374.6428913828

1429.6808583607

1408.4199745681

1372.710267325

1427.7899528188

1408.4199745681

1374.6428913828

1421.3500387506

1411.0875221609

1369.0342908336

1423.2458693951

1411.0875221609

1370.7761947076

1417.7439697445

1404.6042671902

1370.7761947076

1419.4527595466

1409.3729960629

1368.0660594632

1420.4015802186

1406.5128451589

1376.574066881

1414.8933793338

1414.8933793338

1372.710267325

1412.9911750271

1411.0875221609

1368.0660594632

1412.9911750271

1401.9298244538

1370.7761947076

1409.3729960629

1400.017769942

1362.2490663034

1408.4199745681

1406.5128451589

1370.7761947076

1409.3729960629

1403.6494349959

1363.2194705131

1409.3729960629

1398.1042668707

1366.1285103029

1409.3729960629

1396.1893152397

1366.1285103029

1408.4199745681

1398.1042668707

1367.097465953

1409.3729960629

1395.2312962144

1368.0660594632

1412.9911750271

1395.2312962144

1366.1285103029

1412.9911750271

1396.1893152397

1367.097465953

1413.9424582504

1400.017769942

1369.0342908336

1408.4199745681

1402.6942406618

1370.002160064

1409.3729960629

1395.2312962144

1371.7434120863

1412.9911750271

1398.1042668707

1382.1662842215

1410.3256554178

1393.5059493763

1383.1292283493

1412.9911750271

1393.5059493763

1382.1662842215

1413.9424582504

1399.0611994763

1386.7851133194

1416.7941350808

1399.0611994763

1386.7851133194

1417.7439697445

1394.4646202534

1386.7851133194

1419.4527595466

1408.4199745681

1387.7463191758

1411.0875221609

1397.1469721251

1380.239309546

1408.4199745681

1400.017769942

1378.5037938197

1412.9911750271

1393.5059493763

1379.2752789985

1413.9424582504

1390.6277639056

1379.2752789985

1418.5035767347

1396.1893152397

1377.5391114203

1417.7439697445

1398.1042668707

1370.002160064

1417.7439697445

1390.6277639056

1371.7434120863

1422.2981351428

1390.6277639056

1376.574066881

1424.1932415075

1393.5059493763

1377.5391114203

1424.1932415075

1389.6676444689

1374.6428913828

1420.4015802186

1386.7851133194

1372.710267325

1414.8933793338

1387.7463191758

1370.002160064

1416.7941350808

1392.5469163593

1365.1591925128

1419.4527595466

1393.5059493763

1369.0342908336

1418.5035767347

1392.5469163593

1365.1591925128

1415.8439382772

1390.6277639056

1362.2490663034

1412.9911750271

1385.0540301854

1355.6407137273

1416.7941350808

1391.5875212024

1352.9147602123

1412.9911750271

1390.6277639056

1359.5300079319

1410.3256554178

1391.5875212024

1361.4724821949

1407.4665909335

1399.0611994763

1355.6407137273

1407.4665909335

1393.5059493763

1358.5582275906

1410.3256554178

1395.2312962144

1355.6407137273

1408.4199745681

1390.6277639056

1353.888640965

1407.4665909335

1385.0540301854

1360.5014261334

1408.4199745681

1377.5391114203

1350.9659122872

1402.6942406618

1385.0540301854

1353.888640965

1403.6494349959

1382.1662842215

1355.6407137273

1401.9298244538

1382.1662842215

1352.9147602123

1400.9739782678

1384.0918103373

1346.0874550263

1400.9739782678

1382.1662842215

1348.0399243503

1397.1469721251

1383.1292283493

1346.0874550263

1401.9298244538

1380.239309546

1349.0156158025

1400.017769942

1374.6428913828

1347.0638707583

1403.6494349959

1373.6767604239

1346.0874550263

1399.0611994763

1367.097465953

1351.9405173197

1398.1042668707

1364.1895125829

1344.3289941162

1405.5587372445

1369.0342908336

1346.0874550263

1402.6942406618

1368.0660594632

1349.0156158025

1400.9739782678

1372.710267325

1353.888640965

1406.5128451589

1373.6767604239

1357.5860851094

1402.6942406618

1371.7434120863

1352.9147602123

1402.6942406618

1376.574066881

1348.0399243503

1400.9739782678

1377.5391114203

1345.3060617

1404.6042671902

1370.002160064

1344.3289941162

1406.5128451589

1373.6767604239

1355.6407137273

1402.6942406618

1383.1292283493

1356.6135804883

1403.6494349959

1386.7851133194

1352.9147602123

1400.017769942

1386.7851133194

1359.5300079319

1400.017769942

1380.239309546

1366.1285103029

1400.9739782678

1386.7851133194

1355.6407137273

1399.0611994763

1386.0158878936

1360.5014261334

1394.4646202534

1384.0918103373

1370.002160064

1402.6942406618

1386.0158878936

1362.2490663034

1402.6942406618

1387.7463191758

1363.2194705131

1404.6042671902

1379.2752789985

1361.4724821949

1403.6494349959

1375.6086602019

1352.9147602123

1402.6942406618

1380.239309546

1353.888640965

1395.2312962144

1376.574066881

1353.888640965

1400.017769942

1383.1292283493

1349.0156158025

1400.017769942

1377.5391114203

1349.0156158025

1400.9739782678

1365.1591925128

1348.0399243503

1402.6942406618

1369.0342908336

1352.9147602123

1410.3256554178

1365.1591925128

1355.6407137273

1405.5587372445

1360.5014261334

1349.9909451148

1404.6042671902

1348.0399243503

1349.0156158025

1402.6942406618

1345.3060617

1349.9909451148

1401.9298244538

1352.9147602123

1345.3060617

1400.9739782678

1353.888640965

1348.0399243503

1400.017769942

1353.888640965

1347.0638707583

1400.9739782678

1347.0638707583

1346.0874550263

1402.6942406618

1347.0638707583

1347.0638707583

1406.5128451589

1342.373772529

1343.3515643926

1412.9911750271

1342.373772529

1344.3289941162

1411.0875221609

1346.0874550263

1336.6954383216

1412.039529664

1345.3060617

1332.7722478228

1406.5128451589

1344.3289941162

1335.7151839067

1403.6494349959

1339.4382240989

1335.7151839067

1401.9298244538

1341.3956185255

1337.6753305965

1402.6942406618

1340.4171023822

1332.7722478228

1402.6942406618

1349.9909451148

1344.3289941162

1407.4665909335

1336.6954383216

1338.4589836758

1402.6942406618

1329.0398499357

1332.7722478228

1405.5587372445

1338.4589836758

1333.7535886573

1406.5128451589

1332.7722478228

1336.6954383216

1410.3256554178

1322.1506912556

1340.4171023822

1406.5128451589

1325.1053606722

1340.4171023822

1403.6494349959

1346.0874550263

1335.7151839067

1404.6042671902

1336.6954383216

1345.3060617

1400.017769942

1335.7151839067

1338.4589836758

1400.9739782678

1330.808479734

1348.0399243503

1405.5587372445

1334.734567352

1344.3289941162

1409.3729960629

1332.7722478228

1334.734567352

1403.6494349959

1327.0733295837

1334.734567352

1401.9298244538

1331.7905448483

1337.6753305965

1405.5587372445

1337.6753305965

1346.0874550263

1407.4665909335

1332.7722478228

1341.3956185255

1403.6494349959

1329.8260524798

1341.3956185255

1400.017769942

1334.734567352

1341.3956185255

1400.9739782678

1334.734567352

1345.3060617

1405.5587372445

1336.6954383216

1337.6753305965

1402.6942406618

1335.7151839067

1342.373772529

1397.1469721251

1334.734567352

1338.4589836758

1400.9739782678

1326.0895261979

1331.7905448483

1403.6494349959

1328.0567708297

1333.7535886573

1403.6494349959

1316.4290885736

1337.6753305965

1404.6042671902

1320.3763251614

1334.734567352

1403.6494349959

1315.4413740769

1339.4382240989

1404.6042671902

1316.4290885736

1338.4589836758

1407.4665909335

1315.4413740769

1342.373772529

1410.3256554178

1307.7247723615

1339.4382240989

1418.5035767347

1311.6847562736

1340.4171023822

1415.8439382772

1303.9574207318

1339.4382240989

1413.9424582504

1312.6738469019

1335.7151839067

1412.039529664

1306.7338710338

1345.3060617

1408.4199745681

1304.9493360512

1349.9909451148

1408.4199745681

1307.7247723615

1350.9659122872

1417.7439697445

1307.7247723615

1351.9405173197

1407.4665909335

1322.1506912556

1336.6954383216

1412.039529664

1320.3763251614

1339.4382240989

1408.4199745681

1315.4413740769

1344.3289941162

1415.8439382772

1314.4532974403

1339.4382240989

1409.3729960629

1309.7054885974

1345.3060617

1412.039529664

1318.4034311473

1339.4382240989

1413.9424582504

1316.4290885736

1339.4382240989

1412.9911750271

1308.7153115494

1347.0638707583

1411.0875221609

1309.7054885974

1351.9405173197

1408.4199745681

1306.7338710338

1339.4382240989

1408.4199745681

1308.7153115494

1343.3515643926

1404.6042671902

1306.7338710338

1342.373772529

1408.4199745681

1305.7426075661

1342.373772529

1409.3729960629

1301.9725036732

1339.4382240989

1407.4665909335

1301.9725036732

1351.9405173197

1406.5128451589

1296.2080525987

1341.3956185255

1404.6042671902

1296.2080525987

1344.3289941162

1403.6494349959

1294.2174861577

1339.4382240989

1403.6494349959

1290.232007597

1348.0399243503

1403.6494349959

1293.2216597274

1346.0874550263

1406.5128451589

1295.2129504482

1349.9909451148

1404.6042671902

1290.232007597

1349.0156158025

1400.9739782678

1286.4404360511

1344.3289941162

1397.1469721251

1288.4366518745

1349.9909451148

1393.5059493763

1290.232007597

1350.9659122872

1396.1893152397

1286.4404360511

1352.9147602123

1398.1042668707

1276.638039588

1360.5014261334

1392.5469163593

1273.6303528909

1361.4724821949

1387.7463191758

1273.6303528909

1355.6407137273

1382.1662842215

1270.8202380642

1356.6135804883

1386.7851133194

1275.6358394955

1349.9909451148

1378.5037938197

1276.638039588

1345.3060617

1374.6428913828

1277.6398775406

1336.6954383216

1378.5037938197

1279.6424670261

1328.0567708297

1384.0918103373

1277.6398775406

1325.1053606722

1381.2029779537

1276.638039588

1318.4034311473

1374.6428913828

1280.4430972236

1326.0895261979

1377.5391114203

1275.6358394955

1321.3622289586

1370.7761947076

1278.6413533533

1322.1506912556

1375.6086602019

1276.638039588

1326.0895261979

1374.6428913828

1278.6413533533

1323.135943201

1380.239309546

1276.638039588

1322.1506912556

1377.5391114203

1277.6398775406

1320.3763251614

1390.6277639056

1276.638039588

1320.3763251614

1389.6676444689

1275.6358394955

1320.3763251614

1391.5875212024

1283.4433962669

1332.7722478228

1394.4646202534

1289.2347326071

1333.7535886573

1388.7071628923

1287.4387250327

1331.7905448483

1381.2029779537

1288.4366518745

1338.4589836758

1370.7761947076

1284.4427716682

1339.4382240989

1377.5391114203

1320.3763251614

1336.6954383216

1376.574066881

1353.888640965

1335.7151839067

1380.239309546

1362.2490663034

1331.7905448483

1392.5469163593

1361.4724821949

1334.734567352

1397.1469721251

1364.1895125829

1338.4589836758

1397.1469721251

1363.2194705131

1340.4171023822

1397.1469721251

1359.5300079319

1325.1053606722

1397.1469721251

1358.5582275906

1325.1053606722

1396.1893152397

1365.1591925128

1325.1053606722

1391.5875212024

1369.0342908336

1313.4648586638

1396.1893152397

1371.7434120863

1310.6953035055

1395.2312962144

1370.002160064

1322.1506912556

1396.1893152397

1374.6428913828

1317.4164409304

1386.0158878936

1371.7434120863

1316.4290885736

1388.7071628923

1368.0660594632

1320.3763251614

1387.7463191758

1358.5582275906

1323.135943201

1391.5875212024

1361.4724821949

1318.4034311473

1381.2029779537

1362.2490663034

1317.4164409304

1382.1662842215

1362.2490663034

1316.4290885736

1383.1292283493

1366.1285103029

1309.7054885974

1387.7463191758

1381.2029779537

1303.9574207318

1385.0540301854

1377.5391114203

1309.7054885974

1389.6676444689

1370.7761947076

1306.7338710338

1386.0158878936

1378.5037938197

1306.7338710338

1383.1292283493

1375.6086602019

1311.6847562736

1385.0540301854

1370.7761947076

1311.6847562736

1388.7071628923

1377.5391114203

1309.7054885974

1394.4646202534

1378.5037938197

1303.9574207318

1386.7851133194

1375.6086602019

1307.7247723615

1392.5469163593

1373.6767604239

1313.4648586638

1386.7851133194

1366.1285103029

1307.7247723615

1389.6676444689

1349.9909451148

1312.6738469019

1395.2312962144

1348.0399243503

1323.135943201

1397.1469721251

1335.7151839067

1323.135943201

1392.5469163593

1335.7151839067

1327.0733295837

1385.0540301854

1341.3956185255

1312.6738469019

1385.0540301854

1341.3956185255

1304.9493360512

1378.5037938197

1360.5014261334

1304.9493360512

1377.5391114203

1368.0660594632

1306.7338710338

1373.6767604239

1366.1285103029

1300.979501934

1364.1895125829

1366.1285103029

1301.9725036732

1368.0660594632

1367.097465953

1294.2174861577

1370.002160064

1371.7434120863

1295.2129504482

1364.1895125829

1376.574066881

1301.9725036732

1357.5860851094

1378.5037938197

1289.2347326071

1346.0874550263

1371.7434120863

1296.2080525987

1357.5860851094

1359.5300079319

1292.2254711572

1354.6674848264

1356.6135804883

1288.4366518745

1349.0156158025

1360.5014261334

1290.232007597

1346.0874550263

1366.1285103029

1286.4404360511

1345.3060617

1373.6767604239

1290.232007597

1349.9909451148

1370.7761947076

1289.2347326071

1343.3515643926

1371.7434120863

1294.2174861577

1340.4171023822

1364.1895125829

1287.4387250327

1342.373772529

1367.097465953

1286.4404360511

1344.3289941162

1378.5037938197

1286.4404360511

1349.9909451148

1377.5391114203

1281.4435590446

1354.6674848264

1377.5391114203

1277.6398775406

1363.2194705131

1384.0918103373

1273.6303528909

1360.5014261334

1374.6428913828

1276.638039588

1358.5582275906

1376.574066881

1281.4435590446

1357.5860851094

1385.0540301854

1284.4427716682

1357.5860851094

1372.710267325

1296.2080525987

1362.2490663034

1372.710267325

1301.9725036732

1356.6135804883

1371.7434120863

1305.7426075661

1355.6407137273

1367.097465953

1312.6738469019

1352.9147602123

1363.2194705131

1305.7426075661

1350.9659122872

1358.5582275906

1301.9725036732

1349.9909451148

1361.4724821949

1295.2129504482

1352.9147602123

1365.1591925128

1299.986138055

1352.9147602123

1354.6674848264

1297.0038735784

1352.9147602123

1360.5014261334

1297.9983238772

1349.0156158025

1362.2490663034

1300.979501934

1343.3515643926

1360.5014261334

1302.9651432724

1343.3515643926

1370.002160064

1307.7247723615

1342.373772529

1370.002160064

1305.7426075661

1343.3515643926

1369.0342908336

1311.6847562736

1343.3515643926

1362.2490663034

1311.6847562736

1340.4171023822

1370.002160064

1310.6953035055

1348.0399243503

1376.574066881

1315.4413740769

1347.0638707583

1373.6767604239

1311.6847562736

1346.0874550263

1381.2029779537

1315.4413740769

1338.4589836758

1374.6428913828

1308.7153115494

1350.9659122872

1381.2029779537

1313.4648586638

1349.0156158025

1371.7434120863

1307.7247723615

1358.5582275906

1377.5391114203

1301.9725036732

1355.6407137273

1375.6086602019

1302.9651432724

1356.6135804883

1376.574066881

1302.9651432724

1362.2490663034

1377.5391114203

1307.7247723615

1356.6135804883

1370.7761947076

1304.9493360512

1358.5582275906

1370.002160064

1305.7426075661

1356.6135804883

1373.6767604239

1311.6847562736

1351.9405173197

1371.7434120863

1312.6738469019

1346.0874550263

1374.6428913828

1311.6847562736

1347.0638707583

1377.5391114203

1311.6847562736

1355.6407137273

1383.1292283493

1310.6953035055

1356.6135804883

1372.710267325

1310.6953035055

1356.6135804883

1381.2029779537

1311.6847562736

1359.5300079319

1383.1292283493

1311.6847562736

1360.5014261334

1382.1662842215

1319.3900592243

1361.4724821949

1378.5037938197

1312.6738469019

1357.5860851094

1374.6428913828

1314.4532974403

1363.2194705131

1375.6086602019

1321.3622289586

1361.4724821949

1377.5391114203

1322.1506912556

1357.5860851094

1381.2029779537

1326.0895261979

1360.5014261334

1381.2029779537

1315.4413740769

1360.5014261334

1380.239309546

1316.4290885736

1359.5300079319

1384.0918103373

1324.1208330066

1356.6135804883

1380.239309546

1329.8260524798

1358.5582275906

1381.2029779537

1337.6753305965

1361.4724821949

1381.2029779537

1330.808479734

1361.4724821949

1386.0158878936

1328.0567708297

1362.2490663034

1382.1662842215

1332.7722478228

1358.5582275906

1382.1662842215

1331.7905448483

1361.4724821949

1378.5037938197

1322.1506912556

1359.5300079319

1383.1292283493

1324.1208330066

1363.2194705131

1383.1292283493

1325.1053606722

1366.1285103029

1386.7851133194

1327.0733295837

1371.7434120863

1383.1292283493

1337.6753305965

1372.710267325

1383.1292283493

1330.808479734

1371.7434120863

1381.2029779537

1331.7905448483

1370.002160064

1380.239309546

1322.1506912556

1365.1591925128

1382.1662842215

1315.4413740769

1369.0342908336

1384.0918103373

1318.4034311473

1362.2490663034

1383.1292283493

1319.3900592243

1369.0342908336

1375.6086602019

1322.1506912556

1372.710267325

1376.574066881

1325.1053606722

1373.6767604239

1379.2752789985

1323.135943201

1371.7434120863

1372.710267325

1319.3900592243

1374.6428913828

1376.574066881

1313.4648586638

1368.0660594632

1371.7434120863

1314.4532974403

1368.0660594632

1373.6767604239

1309.7054885974

1368.0660594632

1375.6086602019

1321.3622289586

1364.1895125829

1374.6428913828

1316.4290885736

1363.2194705131

1365.1591925128

1316.4290885736

1358.5582275906

1369.0342908336

1312.6738469019

1361.4724821949

1368.0660594632

1313.4648586638

1365.1591925128

1366.1285103029

1315.4413740769

1369.0342908336

1370.002160064

1309.7054885974

1368.0660594632

1367.097465953

1319.3900592243

1365.1591925128

1368.0660594632

1320.3763251614

1370.002160064

1368.0660594632

1320.3763251614

1370.002160064

1366.1285103029

1317.4164409304

1362.2490663034

1367.097465953

1316.4290885736

1370.002160064

1367.097465953

1313.4648586638

1369.0342908336

1365.1591925128

1313.4648586638

1370.7761947076

1362.2490663034

1315.4413740769

1364.1895125829

1361.4724821949

1311.6847562736

1370.002160064

1364.1895125829

1318.4034311473

1366.1285103029

1364.1895125829

1316.4290885736

1363.2194705131

1366.1285103029

1326.0895261979

1370.002160064

1367.097465953

1329.0398499357

1368.0660594632

1370.7761947076

1325.1053606722

1363.2194705131

1365.1591925128

1314.4532974403

1364.1895125829

1366.1285103029

1313.4648586638

1360.5014261334

1363.2194705131

1314.4532974403

1357.5860851094

1370.002160064

1311.6847562736

1359.5300079319

1370.002160064

1309.7054885974

1360.5014261334

1366.1285103029

1307.7247723615

1359.5300079319

1362.2490663034

1306.7338710338

1364.1895125829

1363.2194705131

1306.7338710338

1367.097465953

1365.1591925128

1307.7247723615

1370.002160064

1367.097465953

1306.7338710338

1379.2752789985

1372.710267325

1303.9574207318

1370.002160064

1370.002160064

1310.6953035055

1371.7434120863

1358.5582275906

1307.7247723615

1372.710267325

1367.097465953

1311.6847562736

1377.5391114203

1370.002160064

1313.4648586638

1375.6086602019

1374.6428913828

1311.6847562736

1373.6767604239

1370.7761947076

1307.7247723615

1370.002160064

1369.0342908336

1308.7153115494

1362.2490663034

1360.5014261334

1310.6953035055

1360.5014261334

1366.1285103029

1308.7153115494

1365.1591925128

1365.1591925128

1310.6953035055

1360.5014261334

1370.002160064

1316.4290885736

1354.6674848264

1360.5014261334

1318.4034311473

1361.4724821949

1364.1895125829

1318.4034311473

1354.6674848264

1362.2490663034

1313.4648586638

1353.888640965

1366.1285103029

1310.6953035055

1351.9405173197

1372.710267325

1311.6847562736

1354.6674848264

1365.1591925128

1314.4532974403

1355.6407137273

1367.097465953

1312.6738469019

1357.5860851094

1364.1895125829

1309.7054885974

1357.5860851094

1368.0660594632

1308.7153115494

1352.9147602123

1376.574066881

1306.7338710338

1359.5300079319

1372.710267325

1305.7426075661

1359.5300079319

1369.0342908336

1309.7054885974

1365.1591925128

1371.7434120863

1307.7247723615

1367.097465953

1371.7434120863

1306.7338710338

1363.2194705131

1367.097465953

1310.6953035055

1360.5014261334

1358.5582275906

1316.4290885736

1352.9147602123

1367.097465953

1315.4413740769

1350.9659122872

1359.5300079319

1318.4034311473

1348.0399243503

1356.6135804883

1317.4164409304

1350.9659122872

1363.2194705131

1322.1506912556

1355.6407137273

1368.0660594632

1321.3622289586

1349.9909451148

1370.002160064

1322.1506912556

1356.6135804883

1366.1285103029

1317.4164409304

1354.6674848264

1370.7761947076

1321.3622289586

1350.9659122872

1373.6767604239

1322.1506912556

1366.1285103029

1372.710267325

1319.3900592243

1364.1895125829

1370.002160064

1320.3763251614

1361.4724821949

1370.7761947076

1325.1053606722

1359.5300079319

1355.6407137273

1315.4413740769

1358.5582275906

1351.9405173197

1325.1053606722

1356.6135804883

1357.5860851094

1316.4290885736

1355.6407137273

1351.9405173197

1311.6847562736

1350.9659122872

1361.4724821949

1313.4648586638

1362.2490663034

1354.6674848264

1317.4164409304

1362.2490663034

1356.6135804883

1310.6953035055

1360.5014261334

1358.5582275906

1308.7153115494

1357.5860851094

1361.4724821949

1308.7153115494

1356.6135804883

1358.5582275906

1304.9493360512

1358.5582275906

1352.9147602123

1311.6847562736

1352.9147602123

1366.1285103029

1303.9574207318

1352.9147602123

1356.6135804883

1298.992412036

1352.9147602123

1360.5014261334

1299.986138055

1355.6407137273

1359.5300079319

1299.986138055

1358.5582275906

1359.5300079319

1301.9725036732

1360.5014261334

1361.4724821949

1306.7338710338

1370.002160064

1366.1285103029

1304.9493360512

1366.1285103029

1368.0660594632

1309.7054885974

1366.1285103029

1366.1285103029

1309.7054885974

1368.0660594632

1360.5014261334

1301.9725036732

1371.7434120863

1365.1591925128

1297.0038735784

1367.097465953

1369.0342908336

1297.9983238772

1370.002160064

1366.1285103029

1305.7426075661

1366.1285103029

1362.2490663034

1308.7153115494

1370.002160064

1364.1895125829

1304.9493360512

1365.1591925128

1370.7761947076

1296.2080525987

1372.710267325

1371.7434120863

1295.2129504482

1374.6428913828

1370.002160064

1296.2080525987

1372.710267325

1367.097465953

1290.232007597

1362.2490663034

1366.1285103029

1294.2174861577

1350.9659122872

1359.5300079319

1297.9983238772

1351.9405173197

1356.6135804883

1296.2080525987

1365.1591925128

1354.6674848264

1300.979501934

1360.5014261334

1359.5300079319

1298.992412036

1355.6407137273

1351.9405173197

1302.9651432724

1348.0399243503

1348.0399243503

1304.9493360512

1350.9659122872

1349.9909451148

1308.7153115494

1355.6407137273

1351.9405173197

1309.7054885974

1351.9405173197

1356.6135804883

1307.7247723615

1359.5300079319

1349.0156158025

1306.7338710338

1341.3956185255

1349.0156158025

1301.9725036732

1351.9405173197

1357.5860851094

1297.9983238772

1354.6674848264

1351.9405173197

1300.979501934

1357.5860851094

1354.6674848264

1298.992412036

1355.6407137273

1351.9405173197

1301.9725036732

1354.6674848264

1353.888640965

1302.9651432724

1363.2194705131

1351.9405173197

1296.2080525987

1370.7761947076

1353.888640965

1295.2129504482

1371.7434120863

1354.6674848264

1294.2174861577

1383.1292283493

1348.0399243503

1294.2174861577

1383.1292283493

1349.0156158025

1299.986138055

1378.5037938197

1352.9147602123

1300.979501934

1378.5037938197

1357.5860851094

1295.2129504482

1386.0158878936

1356.6135804883

1293.2216597274

1387.7463191758

1358.5582275906

1296.2080525987

1383.1292283493

1359.5300079319

1297.0038735784

1383.1292283493

1356.6135804883

1298.992412036

1385.0540301854

1361.4724821949

1291.2289204471

1380.239309546

1360.5014261334

1289.2347326071

1377.5391114203

1351.9405173197

1283.4433962669

1377.5391114203

1358.5582275906

1283.4433962669

1380.239309546

1347.0638707583

1283.4433962669

1378.5037938197

1337.6753305965

1282.4436587257

1381.2029779537

1341.3956185255

1282.4436587257

1387.7463191758

1336.6954383216

1281.4435590446

1382.1662842215

1338.4589836758

1276.638039588

1384.0918103373

1344.3289941162

1283.4433962669

1383.1292283493

1351.9405173197

1279.6424670261

1380.239309546

1358.5582275906

1277.6398775406

1387.7463191758

1359.5300079319

1279.6424670261

1374.6428913828

1359.5300079319

1283.4433962669

1374.6428913828

1359.5300079319

1279.6424670261

1371.7434120863

1367.097465953

1282.4436587257

1361.4724821949

1362.2490663034

1286.4404360511

1357.5860851094

1367.097465953

1286.4404360511

1363.2194705131

1368.0660594632

1289.2347326071

1356.6135804883

1365.1591925128

1284.4427716682

1360.5014261334

1357.5860851094

1282.4436587257

1363.2194705131

1345.3060617

1281.4435590446

1358.5582275906

1345.3060617

1283.4433962669

1359.5300079319

1349.0156158025

1289.2347326071

1362.2490663034

1339.4382240989

1286.4404360511

1355.6407137273

1345.3060617

1284.4427716682

1367.097465953

1345.3060617

1286.4404360511

1366.1285103029

1346.0874550263

1284.4427716682

1360.5014261334

1333.7535886573

1284.4427716682

1355.6407137273

1338.4589836758

1285.4417849296

1360.5014261334

1339.4382240989

1287.4387250327

1354.6674848264

1330.808479734

1289.2347326071

1357.5860851094

1333.7535886573

1287.4387250327

1352.9147602123

1342.373772529

1286.4404360511

1355.6407137273

1346.0874550263

1291.2289204471

1347.0638707583

1344.3289941162

1303.9574207318

1344.3289941162

1336.6954383216

1300.979501934

1349.9909451148

1340.4171023822

1305.7426075661

1347.0638707583

1337.6753305965

1300.979501934

1352.9147602123

1329.8260524798

1293.2216597274

1349.9909451148

1337.6753305965

1289.2347326071

1345.3060617

1344.3289941162

1288.4366518745

1345.3060617

1342.373772529

1285.4417849296

1355.6407137273

1344.3289941162

1282.4436587257

1356.6135804883

1346.0874550263

1291.2289204471

1352.9147602123

1340.4171023822

1296.2080525987

1349.0156158025

1341.3956185255

1288.4366518745

1351.9405173197

1337.6753305965

1299.986138055

1355.6407137273

1332.7722478228

1305.7426075661

1362.2490663034

1335.7151839067

1305.7426075661

1354.6674848264

1327.0733295837

1296.2080525987

1354.6674848264

1319.3900592243

1296.2080525987

1348.0399243503

1318.4034311473

1302.9651432724

1352.9147602123

1326.0895261979

1304.9493360512

1339.4382240989

1325.1053606722

1303.9574207318

1349.0156158025

1329.8260524798

1297.9983238772

1349.0156158025

1348.0399243503

1299.986138055

1349.0156158025

1352.9147602123

1303.9574207318

1353.888640965

1350.9659122872

1312.6738469019

1356.6135804883

1357.5860851094

1306.7338710338

1361.4724821949

1357.5860851094

1312.6738469019

1364.1895125829

1348.0399243503

1313.4648586638

1356.6135804883

1335.7151839067

1312.6738469019

1366.1285103029

1342.373772529

1309.7054885974

1361.4724821949

1335.7151839067

1307.7247723615

1361.4724821949

1330.808479734

1310.6953035055

1367.097465953

1322.1506912556

1310.6953035055

1358.5582275906

1334.734567352

1303.9574207318

1360.5014261334

1329.0398499357

1306.7338710338

1367.097465953

1324.1208330066

1301.9725036732

1356.6135804883

1323.135943201

1299.986138055

1350.9659122872

1320.3763251614

1301.9725036732

1354.6674848264

1329.0398499357

1305.7426075661

1354.6674848264

1334.734567352

1319.3900592243

1344.3289941162

1330.808479734

1325.1053606722

1341.3956185255

1317.4164409304

1330.808479734

1343.3515643926

1321.3622289586

1329.8260524798

1354.6674848264

1321.3622289586

1329.0398499357

1340.4171023822

1329.8260524798

1330.808479734

1348.0399243503

1329.0398499357

1327.0733295837

1353.888640965

1332.7722478228

1328.0567708297

1357.5860851094

1343.3515643926

1329.8260524798

1343.3515643926

1348.0399243503

1329.8260524798

1346.0874550263

1350.9659122872

1330.808479734

1348.0399243503

1349.9909451148

1325.1053606722

1346.0874550263

1342.373772529

1325.1053606722

1346.0874550263

1338.4589836758

1326.0895261979

1343.3515643926

1335.7151839067

1322.1506912556

1345.3060617

1335.7151839067

1311.6847562736

1341.3956185255

1327.0733295837

1314.4532974403

1335.7151839067

1319.3900592243

1309.7054885974

1332.7722478228

1318.4034311473

1306.7338710338

1339.4382240989

1325.1053606722

1307.7247723615

1342.373772529

1318.4034311473

1316.4290885736

1341.3956185255

1318.4034311473

1318.4034311473

1344.3289941162

1317.4164409304

1316.4290885736

1343.3515643926

1324.1208330066

1311.6847562736

1339.4382240989

1328.0567708297

1315.4413740769

1332.7722478228

1344.3289941162

1316.4290885736

1337.6753305965

1350.9659122872

1319.3900592243

1349.0156158025

1358.5582275906

1308.7153115494

1365.1591925128

1362.2490663034

1303.9574207318

1366.1285103029

1354.6674848264

1305.7426075661

1370.7761947076

1342.373772529

1299.986138055

1376.574066881

1353.888640965

1293.2216597274

1377.5391114203

1343.3515643926

1300.979501934

1376.574066881

1339.4382240989

1300.979501934

1363.2194705131

1338.4589836758

1303.9574207318

1367.097465953

1336.6954383216

1301.9725036732

1362.2490663034

1344.3289941162

1295.2129504482

1358.5582275906

1343.3515643926

1291.2289204471

1364.1895125829

1346.0874550263

1301.9725036732

1355.6407137273

1344.3289941162

1302.9651432724

1354.6674848264

1339.4382240989

1306.7338710338

1348.0399243503

1337.6753305965

1315.4413740769

1346.0874550263

1335.7151839067

1307.7247723615

1348.0399243503

1330.808479734

1304.9493360512

1348.0399243503

1324.1208330066

1309.7054885974

1359.5300079319

1326.0895261979

1314.4532974403

1360.5014261334

1317.4164409304

1307.7247723615

1358.5582275906

1306.7338710338

1310.6953035055

1353.888640965

1299.986138055

1306.7338710338

1354.6674848264

1290.232007597

1295.2129504482

1353.888640965

1288.4366518745

1298.992412036

1355.6407137273

1289.2347326071

1297.9983238772

1353.888640965

1280.4430972236

1293.2216597274

1350.9659122872

1266.8008632094

1291.2289204471

1350.9659122872

1286.4404360511

1296.2080525987

1348.0399243503

1276.638039588

1296.2080525987

1343.3515643926

1258.9464165644

1294.2174861577

1342.373772529

1262.977090184

1288.4366518745

1330.808479734

1294.2174861577

1291.2289204471

1342.373772529

1307.7247723615

1298.992412036

1345.3060617

1312.6738469019

1295.2129504482

1341.3956185255

1313.4648586638

1300.979501934

1344.3289941162

1318.4034311473

1302.9651432724

1346.0874550263

1309.7054885974

1302.9651432724

1339.4382240989

1308.7153115494

1303.9574207318

1345.3060617

1292.2254711572

1303.9574207318

1345.3060617

1295.2129504482

1303.9574207318

1346.0874550263

1285.4417849296

1304.9493360512

1344.3289941162

1285.4417849296

1297.9983238772

1338.4589836758

1290.232007597

1293.2216597274

1341.3956185255

1292.2254711572

1295.2129504482

1338.4589836758

1303.9574207318

1293.2216597274

1331.7905448483

1303.9574207318

1298.992412036

1337.6753305965

1311.6847562736

1288.4366518745

1345.3060617

1307.7247723615

1277.6398775406

1342.373772529

1309.7054885974

1280.4430972236

1331.7905448483

1312.6738469019

1269.8159375604

1330.808479734

1316.4290885736

1262.977090184

1329.8260524798

1328.0567708297

1271.8241764282

1336.6954383216

1331.7905448483

1268.8112749166

1343.3515643926

1334.734567352

1263.7825295993

1336.6954383216

1339.4382240989

1274.6332772631

1339.4382240989

1328.0567708297

1301.9725036732

1342.373772529

1327.0733295837

1299.986138055

1337.6753305965

1317.4164409304

1294.2174861577

1334.734567352

1319.3900592243

1291.2289204471

1332.7722478228

1322.1506912556

1297.0038735784

1336.6954383216

1333.7535886573

1305.7426075661

1337.6753305965

1331.7905448483

1298.992412036

1329.8260524798

1328.0567708297

1298.992412036

1328.0567708297

1330.808479734

1300.979501934

1331.7905448483

1338.4589836758

1307.7247723615

1327.0733295837

1342.373772529

1297.9983238772

1327.0733295837

1338.4589836758

1297.0038735784

1329.8260524798

1339.4382240989

1291.2289204471

1327.0733295837

1332.7722478228

1279.6424670261

1328.0567708297

1333.7535886573

1278.6413533533

1333.7535886573

1336.6954383216

1279.6424670261

1339.4382240989

1338.4589836758

1274.6332772631

1343.3515643926

1337.6753305965

1276.638039588

1344.3289941162

1335.7151839067

1274.6332772631

1346.0874550263

1332.7722478228

1277.6398775406

1351.9405173197

1328.0567708297

1270.8202380642

1351.9405173197

1337.6753305965

1276.638039588

1348.0399243503

1341.3956185255

1255.9196088808

1342.373772529

1333.7535886573

1249.0467782967

1339.4382240989

1337.6753305965

1248.0346555711

1342.373772529

1341.3956185255

1248.0346555711

1335.7151839067

1347.0638707583

1234.2338332541

1330.808479734

1349.9909451148

1232.1986511781

1328.0567708297

1340.4171023822

1226.2884315532

1330.808479734

1325.1053606722

1232.1986511781

1332.7722478228

1316.4290885736

1215.25073279

1330.808479734

1321.3622289586

1223.2266411557

1325.1053606722

1323.135943201

1216.2745164202

1317.4164409304

1328.0567708297

1220.3660295422

1301.9725036732

1322.1506912556

1226.2884315532

1301.9725036732

1320.3763251614

1233.2164232861

1308.7153115494

1322.1506912556

1234.2338332541

1313.4648586638

1324.1208330066

1240.1276696702

1321.3622289586

1315.4413740769

1238.096688417

1318.4034311473

1301.9725036732

1257.9378428098

1311.6847562736

1294.2174861577

1260.962477654

1300.979501934

1293.2216597274

1249.0467782967

1292.2254711572

1310.6953035055

1251.0699373283

1276.638039588

1310.6953035055

1265.7951141459

1263.7825295993

1323.135943201

1224.2476000948

1253.0916478002

1311.6847562736

1185.1965760651

1245.1987853552

1294.2174861577

1165.8915042632

1242.1572023639

1283.4433962669

1160.8892124734

1233.2164232861

1282.4436587257

1153.5792472355

1237.283890319

1297.0038735784

1156.7142623196

1234.2338332541

1269.8159375604

1153.5792472355

1246.2119220725

1249.0467782967

1150.6502925809

1246.2119220725

1255.1119097126

1158.8024616763

1251.0699373283

1256.9289069153

1155.6696194315

1283.4433962669

1259.9546281792

1154.6246144034

1305.7426075661

1255.1119097126

1166.9325981804

1301.9725036732

1243.1714255009

1172.9638015015

1291.2289204471

1246.2119220725

1192.2230698494

1299.986138055

1247.0221707056

1156.7142623196

1306.7338710338

1254.1019598263

1120.7818814832

1306.7338710338

1257.9378428098

1123.9507928615

1313.4648586638

1272.6270663787

1126.9055029054

1308.7153115494

1272.6270663787

1117.6097108458

1301.9725036732

1286.4404360511

1121.8385474159

1306.7338710338

1262.977090184

1126.0615897476

1313.4648586638

1256.9289069153

1129.0142718081

1288.4366518745

1251.0699373283

1122.8948512086

1284.4427716682

1241.142617087

1115.704844019

1268.8112749166

1248.0346555711

1129.0142718081

1259.9546281792

1257.9378428098

1134.2798566166

1263.7825295993

1255.1119097126

1134.2798566166

1274.6332772631

1246.2119220725

1143.5252967452

1262.977090184

1258.9464165644

1148.5564438419

1186.2309341803

1269.8159375604

1147.5089762626

1117.6097108458

1267.8062501329

1135.1215100214

1101.0618842753

1262.977090184

1122.8948512086

1121.8385474159

1251.0699373283

1126.0615897476

1129.0142718081

1255.9196088808

1098.0824328339

1191.1908121456

1244.185286498

1075.0026620375

1216.2745164202

1205.1984887706

1058.2288601726

1207.2527918331

1178.9828224364

1063.6146754262

1169.8457345644

1169.8457345644

1072.8570997215

1171.9248079957

1162.7660496723

1082.2867386862

1197.1728658401

1159.8460181448

1091.6883335375

1211.3570522793

1192.2230698494

1089.7675615265

1240.1276696702

1183.1267734151

1085.4949784571

1162.7660496723

1192.2230698494

1080.3602303793

1131.1215921512

1191.1908121456

1086.5636674343

1132.1747091129

1182.0913288803

1087.6319942716

1147.5089762626

1169.8457345644

1103.1883256049

1169.8457345644

1158.8024616763

1111.4676058034

1184.1618558101

1148.5564438419

1114.6460776749

1169.0136995952

1144.3644006852

1108.2858746727

1190.158192302

1137.2246295417

1079.2894409907

1178.1533369321

1136.1732508515

1094.8870128152

1171.9248079957

1132.1747091129

1127.9600684267

1161.7235071955

1146.4611465433

1120.7818814832

1150.6502925809

1153.5792472355

1103.1883256049

1183.1267734151

1156.7142623196

1109.3468138562

1203.3483774959

1158.8024616763

1142.4760908944

1207.2527918331

1158.8024616763

1150.6502925809

1210.3315303776

1162.7660496723

1143.5252967452

1213.2020791099

1172.9638015015

1115.704844019

1208.2794001545

1145.4129546842

1094.8870128152

1214.2265870199

1104.2510030598

1078.2182894623

1214.2265870199

1115.704844019

1073.9300619494

1214.2265870199

1120.7818814832

1070.9248551186

1217.2979379106

1102.1252860101

1075.0026620375

1225.2681968939

1067.70184004

1080.3602303793

1228.327814452

1056.0719990919

1082.2867386862

1249.0467782967

1050.8896223751

1082.2867386862

1249.0467782967

1051.9699722569

1094.8870128152

1247.0221707056

1067.70184004

1101.0618842753

1246.2119220725

1067.70184004

1110.4073908997

1235.2508810823

1072.8570997215

1114.6460776749

1215.25073279

1078.2182894623

1116.7632482232

1207.2527918331

1103.1883256049

1119.7248534106

1197.1728658401

1113.586949191

1118.6674631982

1167.9733299577

1125.0063723745

1118.6674631982

1142.4760908944

1123.9507928615

1102.1252860101

1127.9600684267

1120.7818814832

1105.3133183749

1121.8385474159

1126.0615897476

1107.4368625853

1126.0615897476

1139.3263005025

1104.2510030598

1132.1747091129

1129.0142718081

1098.0824328339

1123.9507928615

1105.3133183749

1093.8211485292

1129.0142718081

1086.5636674343

1075.0026620375

1155.6696194315

1082.2867386862

1069.850878899

1185.1965760651

1081.430657628

1067.70184004

1160.8892124734

1085.4949784571

1083.3565140831

1154.6246144034

1085.4949784571

1131.1215921512

1155.6696194315

1088.699958969

1174.0024328674

1146.4611465433

1093.8211485292

1158.8024616763

1131.1215921512

1099.9981204007

1138.2756460921

1090.6213828318

1107.4368625853

1111.4676058034

1085.4949784571

1104.2510030598

1098.0824328339

1094.8870128152

1109.3468138562

1097.0176549676

1089.7675615265

1156.7142623196

1094.8870128152

1107.4368625853

1164.8500482061

1093.8211485292

1151.6966737406

1148.5564438419

1125.0063723745

1158.8024616763

1145.4129546842

1130.0681130496

1165.8915042632

1150.6502925809

1119.7248534106

1163.8082300092

1157.7585430679

1120.7818814832

1151.6966737406

1169.8457345644

1117.6097108458

1144.3644006852

1183.1267734151

1132.1747091129

1138.2756460921

1205.1984887706

1139.3263005025

1137.2246295417

1223.2266411557

1146.4611465433

1142.4760908944

1257.9378428098

1175.0407020934

1162.7660496723

1250.0585388824

1133.2274639347

1170.8854523499

1250.0585388824

1107.4368625853

1178.9828224364

1242.1572023639

1087.6319942716

1165.8915042632

1228.327814452

1069.850878899

1160.8892124734

1219.3436944715

1090.6213828318

1163.8082300092

1213.2020791099

1126.0615897476

1169.8457345644

1200.2622512976

1146.4611465433

1178.9828224364

1189.1252103184

1107.4368625853

1188.091866195

1178.1533369321

1090.6213828318

1190.158192302

1181.0555222056

1082.2867386862

1185.1965760651

1170.8854523499

1059.3067475031

1171.9248079957

1158.8024616763

1057.1506107022

1162.7660496723

1162.7660496723

1059.3067475031

1158.8024616763

1157.7585430679

1076.0748999856

1155.6696194315

1159.8460181448

1122.8948512086

1161.7235071955

1174.0024328674

1143.5252967452

1160.8892124734

1197.1728658401

1184.1618558101

1151.6966737406

1202.320030903

1226.2884315532

1138.2756460921

1202.320030903

1256.9289069153

1131.1215921512

1199.232818285

1279.6424670261

1127.9600684267

1181.0555222056

1297.0038735784

1125.0063723745

1160.8892124734

1300.979501934

1117.6097108458

1154.6246144034

1300.979501934

1115.704844019

1151.6966737406

1304.9493360512

1113.586949191

1144.3644006852

1308.7153115494

1117.6097108458

1130.0681130496

1309.7054885974

1113.586949191

1118.6674631982

1301.9725036732

1118.6674631982

1119.7248534106

1310.6953035055

1112.5274585671

1118.6674631982

1318.4034311473

1108.2858746727

1114.6460776749

1293.2216597274

1112.5274585671

1110.4073908997

1280.4430972236

1103.1883256049

1104.2510030598

1249.0467782967

1107.4368625853

1108.2858746727

1225.2681968939

1103.1883256049

1106.37527155

1213.2020791099

1108.2858746727

1107.4368625853

1209.305646336

1107.4368625853

1097.0176549676

1209.305646336

1109.3468138562

1086.5636674343

1192.2230698494

1104.2510030598

1081.430657628

1177.1161541257

1101.0618842753

1087.6319942716

1147.5089762626

1095.9525149613

1092.7549221033

1138.2756460921

1090.6213828318

1092.7549221033

1133.2274639347

1082.2867386862

1088.699958969

1122.8948512086

1083.3565140831

1083.3565140831

1125.0063723745

1089.7675615265

1085.4949784571

1118.6674631982

1099.9981204007

1091.6883335375

1107.4368625853

1104.2510030598

1103.1883256049

1101.0618842753

1099.1468485603

1114.6460776749

1101.0618842753

1093.8211485292

1115.704844019

1094.8870128152

1092.7549221033

1127.9600684267

1101.0618842753

1090.6213828318

1144.3644006852

1102.1252860101

1090.6213828318

1159.8460181448

1109.3468138562

1086.5636674343

1176.0786091795

1112.5274585671

1081.430657628

1178.9828224364

1109.3468138562

1072.8570997215

1190.158192302

1117.6097108458

1066.6267774006

1195.3176701213

1121.8385474159

1063.6146754262

1204.1707940295

1126.9055029054

1070.9248551186

1212.3822120412

1133.2274639347

1075.0026620375

1223.2266411557

1137.2246295417

1093.8211485292

1232.1986511781

1144.3644006852

1092.7549221033

1236.2675667706

1140.376592773

1117.6097108458

1242.1572023639

1154.6246144034

1143.5252967452

1249.0467782967

1156.7142623196

1148.5564438419

1245.1987853552

1161.7235071955

1156.7142623196

1241.142617087

1163.8082300092

1162.7660496723

1236.2675667706

1160.8892124734

1163.8082300092

1232.1986511781

1171.9248079957

1167.9733299577

1234.2338332541

1172.9638015015

1171.9248079957

1236.2675667706

1175.0407020934

1175.0407020934

1229.3469626916

1171.9248079957

1174.0024328674

1236.2675667706

1175.0407020934

1176.0786091795

1231.1805169302

1178.1533369321

1178.9828224364

1234.2338332541

1176.0786091795

1183.1267734151

1228.327814452

1175.0407020934

1182.0913288803

1220.3660295422

1175.0407020934

1185.1965760651

1212.3822120412

1174.0024328674

1189.1252103184

1207.2527918331

1174.0024328674

1191.1908121456

1200.2622512976

1172.9638015015

1225.2681968939

1207.2527918331

1181.0555222056

1248.0346555711

1203.3483774959

1184.1618558101

1255.1119097126

1208.2794001545

1185.1965760651

1213.2020791099

1209.305646336

1187.0581599317

1202.320030903

1208.2794001545

1183.1267734151

1201.2913221702

1204.1707940295

1185.1965760651

1193.2549654133

1205.1984887706

1192.2230698494

1187.0581599317

1199.232818285

1195.3176701213

1181.0555222056

1202.320030903

1192.2230698494

1185.1965760651

1203.3483774959

1200.2622512976

1183.1267734151

1204.1707940295

1194.2864988373

1175.0407020934

1211.3570522793

1188.091866195

1172.9638015015

1210.3315303776

1187.0581599317

1166.9325981804

1221.183636858

1186.2309341803

1160.8892124734

1220.3660295422

1188.091866195

1154.6246144034

1222.2053200768

1192.2230698494

1153.5792472355

1221.183636858

1182.0913288803

1149.6035492814

1224.2476000948

1188.091866195

1141.4265229036

1232.1986511781

1194.2864988373

1143.5252967452

1233.2164232861

1206.2258213718

1163.8082300092

1236.2675667706

1217.2979379106

1177.1161541257

1250.0585388824

1206.2258213718

1190.158192302

1255.9196088808

1205.1984887706

1201.2913221702

1255.9196088808

1209.305646336

1206.2258213718

1250.0585388824

1218.320997261

1203.3483774959

1245.1987853552

1211.3570522793

1200.2622512976

1245.1987853552

1221.183636858

1199.232818285

1245.1987853552

1218.320997261

1190.158192302

1244.185286498

1219.3436944715

1185.1965760651

1244.185286498

1221.183636858

1190.158192302

1238.096688417

1216.2745164202

1184.1618558101

1233.2164232861

1227.3083040725

1172.9638015015

1229.3469626916

1222.2053200768

1159.8460181448

1231.1805169302

1208.2794001545

1157.7585430679

1234.2338332541

1209.305646336

1149.6035492814

1233.2164232861

1206.2258213718

1132.1747091129

1243.1714255009

1204.1707940295

1119.7248534106

1237.283890319

1201.2913221702

1111.4676058034

1229.3469626916

1200.2622512976

1119.7248534106

1231.1805169302

1191.1908121456

1127.9600684267

1233.2164232861

1190.158192302

1140.376592773

1231.1805169302

1189.1252103184

1155.6696194315

1223.2266411557

1201.2913221702

1166.9325981804

1211.3570522793

1199.232818285

1164.8500482061

1197.1728658401

1197.1728658401

1161.7235071955

1192.2230698494

1205.1984887706

1166.9325981804

1191.1908121456

1213.2020791099

1169.0136995952

1209.305646336

1219.3436944715

1164.8500482061

1228.327814452

1230.1620205425

1161.7235071955

1235.2508810823

1217.2979379106

1156.7142623196

1238.096688417

1205.1984887706

1149.6035492814

1243.1714255009

1208.2794001545

1143.5252967452

1245.1987853552

1202.320030903

1140.376592773

1244.185286498

1195.3176701213

1137.2246295417

1245.1987853552

1194.2864988373

1133.2274639347

1243.1714255009

1184.1618558101

1133.2274639347

1245.1987853552

1192.2230698494

1123.9507928615

1242.1572023639

1198.2030231325

1119.7248534106

1244.185286498

1196.1423464079

1121.8385474159

1250.0585388824

1204.1707940295

1125.0063723745

1252.0809736342

1213.2020791099

1135.1215100214

1254.1019598263

1218.320997261

1139.3263005025

1255.1119097126

1224.2476000948

1145.4129546842

1257.9378428098

1234.2338332541

1152.5335179276

1257.9378428098

1240.1276696702

1153.5792472355

1257.9378428098

1236.2675667706

1156.7142623196

1255.1119097126

1233.2164232861

1159.8460181448

1257.9378428098

1241.142617087

1159.8460181448

1257.9378428098

1243.1714255009

1159.8460181448

1257.9378428098

1245.1987853552

1163.8082300092

1259.9546281792

1248.0346555711

1166.9325981804

1259.9546281792

1251.0699373283

1166.9325981804

1262.977090184

1248.0346555711

1169.0136995952

1263.7825295993

1243.1714255009

1174.0024328674

1265.7951141459

1241.142617087

1176.0786091795

1270.8202380642

1247.0221707056

1178.9828224364

1272.6270663787

1250.0585388824

1181.0555222056

1272.6270663787

1241.142617087

1184.1618558101

1269.8159375604

1241.142617087

1187.0581599317

1267.8062501329

1236.2675667706

1187.0581599317

1261.969964989

1228.327814452

1189.1252103184

1258.9464165644

1224.2476000948

1192.2230698494

1258.9464165644

1219.3436944715

1199.232818285

1257.9378428098

1223.2266411557

1204.1707940295

1256.9289069153

1223.2266411557

1210.3315303776

1254.1019598263

1221.183636858

1213.2020791099

1252.0809736342

1223.2266411557

1215.25073279

1254.1019598263

1229.3469626916

1217.2979379106

1255.9196088808

1236.2675667706

1222.2053200768

1255.1119097126

1235.2508810823

1225.2681968939

1256.9289069153

1231.1805169302

1227.3083040725

1254.1019598263

1238.096688417

1227.3083040725

1256.9289069153

1239.1123601135

1234.2338332541

1255.1119097126

1233.2164232861

1235.2508810823

1254.1019598263

1232.1986511781

1235.2508810823

1259.9546281792

1223.2266411557

1231.1805169302

1260.962477654

1217.2979379106

1229.3469626916

1264.7890029426

1219.3436944715

1227.3083040725

1263.7825295993

1218.320997261

1230.1620205425

1262.977090184

1213.2020791099

1230.1620205425

1261.969964989

1220.3660295422

1226.2884315532

1259.9546281792

1215.25073279

1225.2681968939

1258.9464165644

1223.2266411557

1231.1805169302

1257.9378428098

1220.3660295422

1223.2266411557

1255.1119097126

1218.320997261

1216.2745164202

1254.1019598263

1224.2476000948

1209.305646336

1255.9196088808

1234.2338332541

1201.2913221702

1255.1119097126

1233.2164232861

1201.2913221702

1258.9464165644

1228.327814452

1209.305646336

1256.9289069153

1228.327814452

1207.2527918331

1258.9464165644

1237.283890319

1214.2265870199

1255.9196088808

1244.185286498

1223.2266411557

1253.0916478002

1236.2675667706

1227.3083040725

1256.9289069153

1231.1805169302

1228.327814452

1259.9546281792

1244.185286498

1222.2053200768

1261.969964989

1251.0699373283

1217.2979379106

1256.9289069153

1252.0809736342

1215.25073279

1256.9289069153

1249.0467782967

1224.2476000948

1252.0809736342

1252.0809736342

1228.327814452

1245.1987853552

1243.1714255009

1224.2476000948

1253.0916478002

1249.0467782967

1218.320997261

1257.9378428098

1251.0699373283

1217.2979379106

1257.9378428098

1253.0916478002

1212.3822120412

1257.9378428098

1249.0467782967

1209.305646336

1248.0346555711

1243.1714255009

1204.1707940295

1242.1572023639

1231.1805169302

1201.2913221702

1243.1714255009

1216.2745164202

1201.2913221702

1239.1123601135

1216.2745164202

1200.2622512976

1236.2675667706

1221.183636858

1204.1707940295

1236.2675667706

1214.2265870199

1203.3483774959

1235.2508810823

1216.2745164202

1203.3483774959

1239.1123601135

1217.2979379106

1202.320030903

1239.1123601135

1227.3083040725

1201.2913221702

1238.096688417

1220.3660295422

1203.3483774959

1218.320997261

1207.2527918331

1202.320030903

1209.305646336

1205.1984887706

1202.320030903

1211.3570522793

1204.1707940295

1203.3483774959

1216.2745164202

1204.1707940295

1199.232818285

1215.25073279

1210.3315303776

1198.2030231325

1216.2745164202

1207.2527918331

1198.2030231325

1219.3436944715

1207.2527918331

1198.2030231325

1223.2266411557

1205.1984887706

1202.320030903

1231.1805169302

1217.2979379106

1200.2622512976

1233.2164232861

1217.2979379106

1201.2913221702

1225.2681968939

1224.2476000948

1203.3483774959

1220.3660295422

1229.3469626916

1205.1984887706

1213.2020791099

1237.283890319

1208.2794001545

1206.2258213718

1231.1805169302

1208.2794001545

1203.3483774959

1226.2884315532

1212.3822120412

1200.2622512976

1230.1620205425

1211.3570522793

1201.2913221702

1232.1986511781

1217.2979379106

1213.2020791099

1243.1714255009

1219.3436944715

1209.305646336

1239.1123601135

1225.2681968939

1210.3315303776

1240.1276696702

1231.1805169302

1217.2979379106

1246.2119220725

1234.2338332541

1218.320997261

1239.1123601135

1231.1805169302

1222.2053200768

1235.2508810823

1237.283890319

1223.2266411557

1223.2266411557

1238.096688417

1222.2053200768

1231.1805169302

1238.096688417

1223.2266411557

1235.2508810823

1239.1123601135

1222.2053200768

1232.1986511781

1239.1123601135

1224.2476000948

1230.1620205425

1243.1714255009

1220.3660295422

1237.283890319

1244.185286498

1220.3660295422

1236.2675667706

1245.1987853552

1221.183636858

1223.2266411557

1245.1987853552

1220.3660295422

1223.2266411557

1244.185286498

1220.3660295422

1219.3436944715

1245.1987853552

1223.2266411557

1218.320997261

1244.185286498

1222.2053200768

1216.2745164202

1241.142617087

1222.2053200768

1215.25073279

1245.1987853552

1220.3660295422

1212.3822120412

1244.185286498

1223.2266411557

1232.1986511781

1245.1987853552

1224.2476000948

1229.3469626916

1240.1276696702

1227.3083040725

1218.320997261

1241.142617087

1225.2681968939

1221.183636858

1241.142617087

1225.2681968939

1228.327814452

1239.1123601135

1225.2681968939

1216.2745164202

1240.1276696702

1225.2681968939

1209.305646336

1239.1123601135

1229.3469626916

1212.3822120412

1240.1276696702

1232.1986511781

1210.3315303776

1243.1714255009

1231.1805169302

1205.1984887706

1248.0346555711

1231.1805169302

1205.1984887706

1250.0585388824

1234.2338332541

1203.3483774959

1251.0699373283

1232.1986511781

1208.2794001545

1251.0699373283

1233.2164232861

1216.2745164202

1255.1119097126

1233.2164232861

1212.3822120412

1257.9378428098

1229.3469626916

1213.2020791099

1257.9378428098

1227.3083040725

1217.2979379106

1255.9196088808

1228.327814452

1213.2020791099

1256.9289069153

1229.3469626916

1235.2508810823

1254.1019598263

1231.1805169302

1232.1986511781

1254.1019598263

1230.1620205425

1258.9464165644

1250.0585388824

1231.1805169302

1261.969964989

1239.1123601135

1229.3469626916

1257.9378428098

1237.283890319

1231.1805169302

1260.962477654

1235.2508810823

1231.1805169302

1259.9546281792

1232.1986511781

1228.327814452

1259.9546281792

1232.1986511781

1231.1805169302

1263.7825295993

1232.1986511781

1227.3083040725

1267.8062501329

1231.1805169302

1227.3083040725

1263.7825295993

1235.2508810823

1224.2476000948

1258.9464165644

1233.2164232861

1227.3083040725

1254.1019598263

1237.283890319

1225.2681968939

1262.977090184

1236.2675667706

1224.2476000948

1255.1119097126

1237.283890319

1221.183636858

1253.0916478002

1239.1123601135

1223.2266411557

1258.9464165644

1241.142617087

1225.2681968939

1264.7890029426

1243.1714255009

1224.2476000948

1255.1119097126

1255.1119097126

1223.2266411557

1255.9196088808

1258.9464165644

1223.2266411557

1255.1119097126

1258.9464165644

1223.2266411557

1248.0346555711

1261.969964989

1222.2053200768

1249.0467782967

1258.9464165644

1224.2476000948

1255.9196088808

1257.9378428098

1219.3436944715

1255.9196088808

1256.9289069153

1219.3436944715

1252.0809736342

1252.0809736342

1219.3436944715

1243.1714255009

1253.0916478002

1218.320997261

1246.2119220725

1247.0221707056

1216.2745164202

1245.1987853552

1243.1714255009

1215.25073279

1241.142617087

1245.1987853552

1217.2979379106

1241.142617087

1242.1572023639

1217.2979379106

1242.1572023639

1239.1123601135

1219.3436944715

1245.1987853552

1232.1986511781

1215.25073279

1250.0585388824

1228.327814452

1217.2979379106

1255.1119097126

1221.183636858

1219.3436944715

1259.9546281792

1212.3822120412

1216.2745164202

1262.977090184

1215.25073279

1214.2265870199

1257.9378428098

1211.3570522793

1214.2265870199

1254.1019598263

1208.2794001545

1212.3822120412

1252.0809736342

1209.305646336

1209.305646336

1259.9546281792

1208.2794001545

1208.2794001545

1259.9546281792

1206.2258213718

1210.3315303776

1252.0809736342

1205.1984887706

1212.3822120412

1248.0346555711

1204.1707940295

1208.2794001545

1245.1987853552

1201.2913221702

1210.3315303776

1256.9289069153

1204.1707940295

1207.2527918331

1258.9464165644

1202.320030903

1202.320030903

1250.0585388824

1205.1984887706

1203.3483774959

1243.1714255009

1207.2527918331

1204.1707940295

1256.9289069153

1209.305646336

1205.1984887706

1252.0809736342

1209.305646336

1208.2794001545

1254.1019598263

1218.320997261

1207.2527918331

1253.0916478002

1215.25073279

1209.305646336

1263.7825295993

1213.2020791099

1206.2258213718

1261.969964989

1213.2020791099

1202.320030903

1269.8159375604

1209.305646336

1200.2622512976

1262.977090184

1210.3315303776

1205.1984887706

1261.969964989

1212.3822120412

1200.2622512976

1274.6332772631

1210.3315303776

1198.2030231325

1280.4430972236

1210.3315303776

1196.1423464079

1275.6358394955

1215.25073279

1196.1423464079

1281.4435590446

1239.1123601135

1201.2913221702

1289.2347326071

1245.1987853552

1199.232818285

1295.2129504482

1239.1123601135

1199.232818285

1297.9983238772

1217.2979379106

1196.1423464079

1313.4648586638

1206.2258213718

1196.1423464079

1309.7054885974

1204.1707940295

1197.1728658401

1318.4034311473

1196.1423464079

1199.232818285

1326.0895261979

1198.2030231325

1198.2030231325

1329.0398499357

1200.2622512976

1194.2864988373

1312.6738469019

1205.1984887706

1192.2230698494

1317.4164409304

1212.3822120412

1184.1618558101

1316.4290885736

1214.2265870199

1182.0913288803

1311.6847562736

1212.3822120412

1175.0407020934

1304.9493360512

1208.2794001545

1180.0193533909

1302.9651432724

1210.3315303776

1180.0193533909

1299.986138055

1203.3483774959

1178.1533369321

1298.992412036

1198.2030231325

1176.0786091795

1293.2216597274

1199.232818285

1169.0136995952

1290.232007597

1197.1728658401

1166.9325981804

1291.2289204471

1201.2913221702

1162.7660496723

1293.2216597274

1193.2549654133

1155.6696194315

1287.4387250327

1194.2864988373

1154.6246144034

1287.4387250327

1199.232818285

1153.5792472355

1294.2174861577

1209.305646336

1151.6966737406

1288.4366518745

1210.3315303776

1149.6035492814

1291.2289204471

1205.1984887706

1153.5792472355

1289.2347326071

1205.1984887706

1158.8024616763

1290.232007597

1199.232818285

1149.6035492814

1285.4417849296

1201.2913221702

1148.5564438419

1279.6424670261

1194.2864988373

1143.5252967452

1288.4366518745

1200.2622512976

1145.4129546842

1297.0038735784

1194.2864988373

1142.4760908944

1291.2289204471

1194.2864988373

1143.5252967452

1291.2289204471

1198.2030231325

1144.3644006852

1281.4435590446

1208.2794001545

1144.3644006852

1285.4417849296

1214.2265870199

1143.5252967452

1282.4436587257

1221.183636858

1149.6035492814

1276.638039588

1221.183636858

1143.5252967452

1275.6358394955

1223.2266411557

1140.376592773

1276.638039588

1223.2266411557

1141.4265229036

1266.8008632094

1224.2476000948

1142.4760908944

1261.969964989

1224.2476000948

1143.5252967452

1257.9378428098

1228.327814452

1142.4760908944

1253.0916478002

1231.1805169302

1142.4760908944

1257.9378428098

1233.2164232861

1141.4265229036

1262.977090184

1239.1123601135

1139.3263005025

1256.9289069153

1242.1572023639

1137.2246295417

1251.0699373283

1246.2119220725

1131.1215921512

1260.962477654

1245.1987853552

1126.9055029054

1269.8159375604

1245.1987853552

1127.9600684267

1272.6270663787

1252.0809736342

1123.9507928615

1271.8241764282

1251.0699373283

1122.8948512086

1273.6303528909

1255.9196088808

1117.6097108458

1275.6358394955

1256.9289069153

1119.7248534106

1268.8112749166

1255.1119097126

1116.7632482232

1271.8241764282

1252.0809736342

1113.586949191

1269.8159375604

1249.0467782967

1112.5274585671

1270.8202380642

1249.0467782967

1103.1883256049

1261.969964989

1253.0916478002

1103.1883256049

1253.0916478002

1244.185286498

1094.8870128152

1240.1276696702

1251.0699373283

1091.6883335375

1238.096688417

1259.9546281792

1087.6319942716

1218.320997261

1256.9289069153

1080.3602303793

1217.2979379106

1252.0809736342

1064.4755657023

1222.2053200768

1251.0699373283

1058.2288601726

1230.1620205425

1254.1019598263

1059.3067475031

1223.2266411557

1256.9289069153

1064.4755657023

1221.183636858

1253.0916478002

1064.4755657023

1210.3315303776

1254.1019598263

1059.3067475031

1199.232818285

1251.0699373283

1054.9930253417

1191.1908121456

1254.1019598263

1054.1295856008

1191.1908121456

1245.1987853552

1047.6463998903

1202.320030903

1238.096688417

1047.6463998903

1204.1707940295

1239.1123601135

1038.1141449649

1195.3176701213

1232.1986511781

1033.9892743453

1182.0913288803

1233.2164232861

1025.5060514436

1171.9248079957

1238.096688417

1018.0924445973

1178.9828224364

1233.2164232861

1012.6305799657

1187.0581599317

1231.1805169302

1004.0919931169

1186.2309341803

1233.2164232861

997.7285047139

1181.0555222056

1230.1620205425

986.9487216457

1194.2864988373

1230.1620205425

975.0286762714

1177.1161541257

1226.2884315532

962.178615358

1169.8457345644

1222.2053200768

950.1709611003

1161.7235071955

1224.2476000948

944.820667357

1166.9325981804

1224.2476000948

937.0031992704

1159.8460181448

1226.2884315532

925.1315386156

1145.4129546842

1225.2681968939

918.393696131

1147.5089762626

1221.183636858

911.8680559686

1133.2274639347

1223.2266411557

907.5860311203

1143.5252967452

1223.2266411557

899.6844017221

1139.3263005025

1220.3660295422

891.9915415599

1136.1732508515

1221.183636858

880.8753160437

1137.2246295417

1219.3436944715

866.5319209123

1138.2756460921

1219.3436944715

856.4802125217

1139.3263005025

1214.2265870199

846.4004600177

1139.3263005025

1211.3570522793

836.2926634001

1135.1215100214

1215.25073279

819.4610491842

1130.0681130496

1214.2265870199

804.641060636

1125.0063723745

1213.2020791099

789.994684783

1116.7632482232

1214.2265870199

779.731370809

1108.2858746727

1213.2020791099

768.2687657261

1106.37527155

1212.3822120412

762.6417391607

1099.9981204007

1208.2794001545

756.7713807277

1091.6883335375

1210.3315303776

744.2962791232

1093.8211485292

1209.305646336

734.8541648927

1086.5636674343

1208.2794001545

730.3610414568

1092.7549221033

1208.2794001545

722.3076637865

1083.3565140831

1211.3570522793

714.2375407675

1070.9248551186

1210.3315303776

711.8607883426

1067.70184004

1207.2527918331

702.5776128987

1062.5382366553

1202.320030903

693.2724048636

1057.1506107022

1201.2913221702

683.9451642372

1057.1506107022

1201.2913221702

669.7928454323

1051.9699722569

1201.2913221702

660.4102408588

1044.6164516619

1196.1423464079

647.3825688876

1040.2830290901

1198.2030231325

637.9474250582

1031.8161893973

1198.2030231325

629.7039384287

1036.1609107338

1194.2864988373

620.227554108

1030.7291037135

1193.2549654133

610.7291371962

1025.5060514436

1192.2230698494

610.7291371962

1029.6416558897

1191.1908121456

610.7291371962

1025.5060514436

1189.1252103184

613.1667291234

1022.2374067382

1183.1267734151

611.9481142297

1020.0564995685

1184.1618558101

611.9481142297

1023.3273171133

1185.1965760651

614.3849818772

1031.8161893973

1188.091866195

616.5769242415

1029.6416558897

1181.0555222056

619.0110396257

1031.8161893973

1181.0555222056

620.227554108

1033.9892743453

1178.1533369321

621.4437064504

1033.9892743453

1177.1161541257

620.227554108

1030.7291037135

1176.0786091795

621.4437064504

1030.7291037135

1176.0786091795

629.7039384287

1027.6833372144

1174.0024328674

630.9172660799

1022.2374067382

1172.9638015015

626.0617826357

1013.7236771718

1170.8854523499

623.8749247155

1012.6305799657

1174.0024328674

621.4437064504

1006.2834747716

1169.8457345644

621.4437064504

1002.9957090797

1174.0024328674

619.0110396257

1004.0919931169

1176.0786091795

615.3593233395

999.9241871914

1178.1533369321

611.9481142297

995.5313736769

1174.0024328674

609.5097980227

989.1515020651

1171.9248079957

605.8496076629

985.8467882261

1158.8024616763

605.8496076629

984.7444926667

1152.5335179276

603.6519290027

981.656138516

1144.3644006852

604.6288199299

976.1341586619

1140.376592773

604.6288199299

970.8245404716

1133.2274639347

607.0700332561

968.6097370077

1126.0615897476

604.6288199299

961.0685700048

1126.0615897476

603.6519290027

952.3977876087

1123.9507928615

603.6519290027

953.5106576531

1120.7818814832

599.9865238285

953.5106576531

1119.7248534106

598.7639978239

951.2845554245

1118.6674631982

598.7639978239

949.0570046363

1117.6097108458

599.9865238285

945.7129624047

1120.7818814832

596.3178593952

944.820667357

1114.6460776749

597.5411096795

940.3557155755

1110.4073908997

599.9865238285

934.990125043

1104.2510030598

597.5411096795

932.7519997699

1105.3133183749

597.5411096795

928.2714035449

1101.0618842753

597.5411096795

928.2714035449

1097.0176549676

594.1150962908

926.2532448734

1093.8211485292

595.0942469709

922.8870396803

1091.6883335375

596.3178593952

917.2694548939

1092.7549221033

596.3178593952

915.2449080746

1091.6883335375

596.3178593952

907.5860311203

1087.6319942716

595.0942469709

905.3302334202

1082.2867386862

594.1150962908

903.0729871607

1101.0618842753

594.1150962908

894.2558857615

1116.7632482232

594.1150962908

891.9915415599

1117.6097108458

597.5411096795

890.8588262493

1119.7248534106

598.7639978239

887.6852967954

1105.3133183749

597.5411096795

885.4167517711

1090.6213828318

598.7639978239

884.2819360491

1090.6213828318

598.7639978239

885.4167517711

1086.5636674343

598.7639978239

884.2819360491

1091.6883335375

597.5411096795

875.4179447763

1088.699958969

598.7639978239

874.2799422233

1086.5636674343

601.2086876931

875.4179447763

1085.4949784571

601.2086876931

867.6723860167

1079.2894409907

604.6288199299

864.2499042839

1073.9300619494

603.6519290027

866.5319209123

1068.7765405394

603.6519290027

866.5319209123

1061.4614357445

604.6288199299

861.966439096

1053.0499599988

605.8496076629

860.8241632921

1048.7278361918

604.6288199299

863.1083527599

1040.2830290901

605.8496076629

863.1083527599

1037.0291596925

607.0700332561

863.1083527599

1035.0752736095

608.2900967093

865.3910936681

1031.8161893973

610.7291371962

863.1083527599

1027.6833372144

611.9481142297

859.9100819083

1022.2374067382

613.1667291234

857.6238644572

1018.9655027738

615.3593233395

856.4802125217

1023.3273171133

617.7941630035

856.4802125217

1015.9087851643

621.4437064504

855.3361984464

1001.8990629027

620.227554108

855.3361984464

993.3327940803

621.4437064504

857.6238644572

984.7444926667

621.4437064504

857.6238644572

975.0286762714

620.227554108

855.3361984464

970.8245404716

620.227554108

853.0470838761

969.7173198096

621.4437064504

855.3361984464

963.2882985712

620.227554108

851.901983381

958.8473928787

615.3593233395

853.0470838761

953.5106576531

615.3593233395

854.1918222312

945.7129624047

616.5769242415

854.1918222312

933.8712434764

613.1667291234

851.901983381

926.2532448734

615.3593233395

850.9856422443

917.2694548939

615.3593233395

850.9856422443

912.9940354772

610.7291371962

856.4802125217

910.7417143202

611.9481142297

855.3361984464

905.3302334202

610.7291371962

851.901983381

898.5541489627

608.2900967093

851.901983381

895.3875146524

602.4304894179

850.9856422443

888.8190260977

601.2086876931

848.6937754108

882.0112181854

598.7639978239

850.9856422443

875.4179447763

598.7639978239

850.9856422443

868.8124889812

597.5411096795

855.3361984464

863.1083527599

597.5411096795

855.3361984464

853.0470838761

596.3178593952

854.1918222312

842.9577708788

596.3178593952

850.9856422443

835.1422756626

595.0942469709

851.901983381

828.4628853865

599.9865238285

851.901983381

819.4610491842

601.2086876931

851.901983381

808.1198189085

597.5411096795

850.9856422443

800.2299546435

589.2158663473

847.5472987842

793.2544035319

590.441217043

847.5472987842

785.3330186105

603.6519290027

849.8398898975

775.0569573122

620.227554108

846.4004600177

770.610897577

636.7361978183

850.9856422443

764.7528519004

654.6253792416

850.9856422443

760.2946822072

677.9545753591

848.6937754108

757.9461766941

697.8084636054

846.4004600177

751.1273191017

710.6718689203

848.6937754108

745.2392158138

723.4930342378

850.9856422443

740.758202336

730.3610414568

847.5472987842

734.8541648927

726.8101449173

847.5472987842

726.8101449173

719.9358364642

848.6937754108

717.5625605823

722.3076637865

849.8398898975

705.9125698322

722.3076637865

851.901983381

695.4217161194

724.6780425493

850.9856422443

692.0778360589

722.3076637865

848.6937754108

683.9451642372

725.6257884577

848.6937754108

681.5500151057

726.8101449173

850.9856422443

679.1534174145

723.4930342378

849.8398898975

676.7553711638

722.3076637865

849.8398898975

674.5958910197

715.1878361408

848.6937754108

669.7928454323

723.4930342378

848.6937754108

667.3891497992

722.3076637865

849.8398898975

664.0215423328

724.6780425493

840.8905929511

661.6143701567

722.3076637865

842.9577708788

661.6143701567

719.9358364642

842.9577708788

661.6143701567

719.9358364642

842.9577708788

659.205749421

717.5625605823

845.2532591113

658.0008958434

707.102937814

844.105696065

656.7956801258

709.4825873581

844.105696065

656.7956801258

725.6257884577

844.105696065

652.2125576832

729.1777714169

845.2532591113

652.2125576832

737.2168662897

842.9577708788

651.0056036941

733.9086787372

840.8905929511

648.5906092963

731.5439493568

844.105696065

643.9981291588

726.8101449173

842.9577708788

641.5789339383

719.9358364642

842.9577708788

640.3687931181

705.9125698322

841.8094835527

640.3687931181

669.7928454323

845.2532591113



		





		





-0,5


0


0,5


1


1,5


2


0 10 20 30


Radial distance,mm


Velocity,m/s


7-vtg,B=0,co-firing


7-vtg,B=0,prop.=0





