## Sheet1
|  |  | Raw data |  |  |  |  | Fig.5 (calculated taking into account UV lamp intensity) |  |  |  |  | Integrated PE intensity (Area under PE curve)
|  |  | CaF2 | CaF2 | CaF2 | CaF2 | Bare Si/SiO2 substrate | CaF2 | CaF2 | CaF2 | CaF2 | Bare Si/SiO2 substrate | CaF2 | CaF2 | CaF2 | CaF2
|  |  | 50 nm | 115 nm | 125 nm | 277 nm |  | 50 nm | 115 nm | 125 nm | 277 nm |  | 50 nm | 115 nm | 125 nm | 277 nm | Fig.7. Normalized integrated PE intensity vs dose of electron radiation
Wavelength | Photon energy | UV lamp calibration coefficient | PE current | PE current | PE current | PE current | PE current | PE current | PE current | PE current | PE current | PE current | [5 empty] | 50 nm | 115 nm | 125 nm | 277 nm
nm | eV |  | el/s | el/s | el/s | el/s | el/s | el/s | el/s | el/s | el/s | el/s | 4401.4024 | 4490.5596 | 5533.7787 | 1072.8566 | Dose of electron radiation (mC) | 0.31 | 0.94 | 1.05 | 2.4
300 | 4.14 | 0.60332 | 7 | 9 | 58 | 6 | 3 | 11.6025 | 14.9175 | 96.1347 | 9.945 | 4.9725 | 0.22922 | 0.24072 | 1.2611 | 0.12612 | Integrated intensity | 4401.4024 | 4490.5596 | 5533.7787 | 1072.8566
299 | 4.1538 | 0.60444 | 13 | 12 | 52 | 5 | 0 | 21.5075 | 19.8531 | 86.03 | 8.2721 | 0 | 0.26486 | 0.32231 | 1.1974 | 0.10364 | Normalized integrated intensity | 0.79537 | 0.81148 | 1 | 0.19387
298 | 4.1678 | 0.60624 | 10 | 16 | 52 | 4 | 2 | 16.4951 | 26.3922 | 85.7746 | 6.598 | 3.299 | 0.17342 | 0.39282 | 1.1094 | 0.080902
297 | 4.1818 | 0.60825 | 5 | 18 | 44 | 3 | 0 | 8.2203 | 29.5931 | 72.3387 | 4.9322 | 0 | 0.18549 | 0.35963 | 1.1944 | 0.069592
296 | 4.1959 | 0.6098 | 11 | 13 | 59 | 3 | 1 | 18.0387 | 21.3185 | 96.753 | 4.9196 | 1.6399 | 0.23303 | 0.3029 | 1.3863 | 0.0699
295 | 4.2102 | 0.6111 | 9 | 13 | 60 | 3 | 4 | 14.7275 | 21.2731 | 98.1836 | 4.9092 | 6.5456 | 0.23422 | 0.26938 | 1.183 | 0.070269
294 | 4.2245 | 0.61165 | 11 | 10 | 41 | 3 | 2 | 17.9841 | 16.3492 | 67.0318 | 4.9048 | 3.2698 | 0.30649 | 0.35365 | 1.167 | 0.047148
293 | 4.2389 | 0.61148 | 15 | 20 | 58 | 1 | 0 | 24.5306 | 32.7075 | 94.8518 | 1.6354 | 0 | 0.3086 | 0.37982 | 1.27 | 0.059341
292 | 4.2534 | 0.61161 | 11 | 12 | 49 | 4 | 0 | 17.9853 | 19.6203 | 80.1164 | 6.5401 | 0 | 0.33445 | 0.33446 | 1.0154 | 0.11945
291 | 4.268 | 0.612 | 17 | 16 | 36 | 6 | 1 | 27.7778 | 26.1438 | 58.8235 | 9.8039 | 1.634 | 0.38497 | 0.45721 | 1.0227 | 0.16844
290 | 4.2828 | 0.61132 | 15 | 22 | 49 | 8 | 1 | 24.5371 | 35.9877 | 80.1544 | 13.0864 | 1.6358 | 0.32739 | 0.44863 | 1.152 | 0.12123
289 | 4.2976 | 0.61078 | 12 | 15 | 46 | 2 | 1 | 19.647 | 24.5588 | 75.3135 | 3.2745 | 1.6373 | 0.29319 | 0.39091 | 1.0506 | 0.12216
288 | 4.3125 | 0.61074 | 12 | 17 | 40 | 8 | 1 | 19.6483 | 27.8351 | 65.4943 | 13.0989 | 1.6374 | 0.27054 | 0.43039 | 1.1558 | 0.123
287 | 4.3275 | 0.6112 | 10 | 18 | 54 | 2 | 4 | 16.3613 | 29.4503 | 88.3508 | 3.2723 | 6.5445 | 0.4324 | 0.53142 | 1.0881 | 0.086479
286 | 4.3427 | 0.61287 | 25 | 25 | 34 | 5 | 3 | 40.7917 | 40.7917 | 55.4767 | 8.1583 | 4.895 | 0.49679 | 0.45959 | 1.0675 | 0.19857
285 | 4.3579 | 0.61436 | 15 | 12 | 52 | 11 | 0 | 24.4157 | 19.5325 | 84.6409 | 17.9048 | 0 | 0.38642 | 0.32407 | 1.2467 | 0.19959
284 | 4.3732 | 0.61658 | 16 | 14 | 48 | 5 | 0 | 25.9496 | 22.7059 | 77.8488 | 8.1092 | 0 | 0.38753 | 0.42481 | 1.2249 | 0.11253
283 | 4.3887 | 0.61968 | 15 | 20 | 50 | 4 | 1 | 24.206 | 32.2747 | 80.6868 | 6.4549 | 1.6137 | 0.3258 | 0.48855 | 1.3151 | 0.1127
282 | 4.4043 | 0.62275 | 11 | 19 | 55 | 5 | 3 | 17.6636 | 30.5098 | 88.3179 | 8.0289 | 4.8173 | 0.30105 | 0.43925 | 1.4927 | 0.11296
281 | 4.4199 | 0.62647 | 13 | 16 | 64 | 4 | 2 | 20.7512 | 25.5399 | 102.1597 | 6.385 | 3.1925 | 0.4017 | 0.38941 | 1.6328 | 0.15057
280 | 4.4357 | 0.6303 | 19 | 15 | 66 | 8 | 0 | 30.1444 | 23.7982 | 104.712 | 12.6924 | 0 | 0.4399 | 0.33938 | 1.646 | 0.18851
279 | 4.4516 | 0.63509 | 16 | 12 | 65 | 7 | 3 | 25.1933 | 18.895 | 102.3477 | 11.0221 | 4.7237 | 0.3518 | 0.35141 | 2.2453 | 0.12577
278 | 4.4676 | 0.64012 | 12 | 16 | 114 | 3 | 6 | 18.7465 | 24.9953 | 178.0916 | 4.6866 | 9.3732 | 0.46327 | 0.38882 | 3.1464 | 0.087729
277 | 4.4838 | 0.64599 | 25 | 15 | 137 | 4 | 0 | 38.7003 | 23.2202 | 212.0776 | 6.192 | 0 | 0.53853 | 0.51243 | 3.6656 | 0.10011
276 | 4.5 | 0.65219 | 18 | 26 | 156 | 4 | 1 | 27.5993 | 39.8657 | 239.1941 | 6.1332 | 1.5333 | 0.37486 | 0.72364 | 4.0313 | 0.087443
275 | 4.5164 | 0.65871 | 12 | 32 | 167 | 3 | 1 | 18.2174 | 48.5798 | 253.5258 | 4.5544 | 1.5181 | 0.32338 | 1.0191 | 4.7128 | 0.062283
274 | 4.5328 | 0.66603 | 14 | 50 | 212 | 2 | 1 | 21.0201 | 75.0717 | 318.304 | 3.0029 | 1.5014 | 0.37118 | 1.1395 | 5.568 | 0.13556
273 | 4.5495 | 0.6754 | 16 | 42 | 238 | 9 | 2 | 23.6897 | 62.1854 | 352.3838 | 13.3254 | 2.9612 | 0.44188 | 1.2635 | 6.2378 | 0.16019
272 | 4.5662 | 0.68614 | 20 | 61 | 270 | 4 | 6 | 29.1486 | 88.9031 | 393.5057 | 5.8297 | 8.7446 | 0.48715 | 1.2201 | 6.6973 | 0.21822
271 | 4.583 | 0.69747 | 20 | 39 | 280 | 14 | 4 | 28.6751 | 55.9164 | 401.451 | 20.0725 | 5.735 | 0.53003 | 1.2271 | 6.4171 | 0.2898
270 | 4.6 | 0.71056 | 24 | 63 | 252 | 10 | 3 | 33.7762 | 88.6625 | 354.6499 | 14.0734 | 4.222 | 0.48978 | 1.4202 | 6.1654 | 0.23856
269 | 4.6171 | 0.72318 | 17 | 56 | 265 | 10 | 5 | 23.5073 | 77.4358 | 366.4371 | 13.8278 | 6.9139 | 0.42457 | 1.3683 | 6.1253 | 0.236
268 | 4.6343 | 0.73697 | 19 | 60 | 254 | 10 | 3 | 25.7812 | 81.4144 | 344.6545 | 13.5691 | 4.0707 | 0.46634 | 1.5152 | 5.4748 | 0.26794
267 | 4.6517 | 0.75125 | 21 | 70 | 215 | 13 | 3 | 27.9534 | 93.178 | 286.1897 | 17.3045 | 3.9933 | 0.43834 | 1.4079 | 4.761 | 0.32242
266 | 4.6692 | 0.7665 | 17 | 52 | 198 | 15 | 1 | 22.1787 | 67.8408 | 258.317 | 19.5695 | 1.3046 | 0.46599 | 1.3305 | 4.3165 | 0.33025
265 | 4.6868 | 0.78135 | 24 | 65 | 181 | 14 | 1 | 30.7161 | 83.1894 | 231.6503 | 17.9177 | 1.2798 | 0.50663 | 1.407 | 3.7053 | 0.27047
264 | 4.7045 | 0.79667 | 21 | 60 | 148 | 10 | 6 | 26.3597 | 75.3135 | 185.7733 | 12.5522 | 7.5313 | 0.54411 | 1.2242 | 3.3355 | 0.24442
263 | 4.7224 | 0.81216 | 28 | 50 | 152 | 12 | 5 | 34.476 | 61.5642 | 187.1552 | 14.7754 | 6.1564 | 0.59408 | 1.1543 | 3.2126 | 0.25305
262 | 4.7405 | 0.82689 | 26 | 55 | 140 | 11 | 1 | 31.4431 | 66.5143 | 169.3091 | 13.3029 | 1.2094 | 0.56634 | 1.1656 | 3.4707 | 0.25041
261 | 4.7586 | 0.84088 | 26 | 52 | 179 | 12 | 6 | 30.92 | 61.84 | 212.8722 | 14.2708 | 7.1354 | 0.55076 | 1.1122 | 3.9727 | 0.19487
260 | 4.7769 | 0.85427 | 25 | 51 | 189 | 6 | 3 | 29.2648 | 59.7001 | 221.2415 | 7.0235 | 3.5118 | 0.51437 | 1.0502 | 4.2726 | 0.16044
259 | 4.7954 | 0.86753 | 23 | 47 | 210 | 9 | 5 | 26.5121 | 54.1768 | 242.0666 | 10.3743 | 5.7635 | 0.56311 | 1.063 | 5.1635 | 0.24422
258 | 4.814 | 0.88025 | 30 | 53 | 276 | 14 | 3 | 34.0812 | 60.2102 | 313.5473 | 15.9046 | 3.4081 | 0.75998 | 1.2881 | 6.4629 | 0.24341
257 | 4.8327 | 0.8924 | 42 | 69 | 336 | 9 | 5 | 47.0641 | 77.3196 | 376.5128 | 10.0852 | 5.6029 | 0.94587 | 1.5032 | 8.6852 | 0.2624
256 | 4.8516 | 0.90317 | 48 | 74 | 491 | 16 | 12 | 53.1461 | 81.9336 | 543.6407 | 17.7154 | 13.2865 | 1.0471 | 1.7064 | 11.2539 | 0.2935
255 | 4.8706 | 0.91339 | 52 | 89 | 584 | 12 | 5 | 56.9308 | 97.4392 | 639.3764 | 13.1379 | 5.4741 | 1.086 | 2.2743 | 13.6095 | 0.46877
254 | 4.8898 | 0.92297 | 52 | 129 | 720 | 33 | 9 | 56.3399 | 139.7662 | 780.0904 | 35.7541 | 9.7511 | 1.1775 | 3.1254 | 16.0906 | 0.58422
253 | 4.9091 | 0.93109 | 61 | 171 | 824 | 23 | 12 | 65.5146 | 183.6557 | 884.9843 | 24.7022 | 12.8881 | 1.1667 | 3.8721 | 18.3417 | 0.61372
252 | 4.9286 | 0.93979 | 51 | 201 | 938 | 36 | 11 | 54.2674 | 213.8776 | 998.0953 | 38.3064 | 11.7047 | 1.2792 | 4.9301 | 19.9904 | 0.87373
251 | 4.9482 | 0.94699 | 72 | 273 | 983 | 48 | 11 | 76.0304 | 288.2818 | 1038.0257 | 50.6869 | 11.6158 | 1.386 | 6.0621 | 21.6451 | 1.0105
250 | 4.968 | 0.95289 | 61 | 309 | 1095 | 49 | 14 | 64.0158 | 324.2767 | 1149.1358 | 51.4225 | 14.6921 | 1.3575 | 6.5691 | 21.7369 | 1.086
249 | 4.988 | 0.95746 | 69 | 320 | 986 | 55 | 10 | 72.0657 | 334.2176 | 1029.808 | 57.4437 | 10.4443 | 1.4665 | 6.746 | 19.9886 | 1.0687
248 | 5.0081 | 0.96257 | 71 | 324 | 922 | 47 | 23 | 73.7609 | 336.5989 | 957.8524 | 48.8276 | 23.8944 | 1.5338 | 6.5775 | 17.9377 | 1.061
247 | 5.0283 | 0.9673 | 75 | 302 | 785 | 54 | 18 | 77.5354 | 312.2092 | 811.5373 | 55.8255 | 18.6085 | 1.6024 | 6.4938 | 15.3417 | 1.0334
246 | 5.0488 | 0.97161 | 77 | 314 | 670 | 44 | 27 | 79.2499 | 323.1749 | 689.5771 | 45.2857 | 27.7889 | 1.8326 | 6.1347 | 13.5509 | 0.87939
245 | 5.0694 | 0.9735 | 96 | 265 | 609 | 39 | 22 | 98.6133 | 272.2137 | 625.5778 | 40.0616 | 22.5989 | 1.8647 | 5.8807 | 12.5618 | 0.92675
244 | 5.0902 | 0.97658 | 79 | 287 | 570 | 48 | 36 | 80.8946 | 293.8827 | 583.6695 | 49.1511 | 36.8633 | 1.8614 | 5.6614 | 11.9738 | 1.0699
243 | 5.1111 | 0.98111 | 95 | 242 | 549 | 52 | 21 | 96.8291 | 246.6594 | 559.5703 | 53.0012 | 21.4043 | 2.1803 | 5.3384 | 11.6444 | 0.9885
242 | 5.1322 | 0.98508 | 108 | 255 | 535 | 40 | 21 | 109.6358 | 258.8622 | 543.1031 | 40.6058 | 21.3181 | 2.6002 | 5.2018 | 12.8176 | 1.2727
241 | 5.1535 | 0.98838 | 133 | 227 | 653 | 78 | 42 | 134.5636 | 229.6688 | 660.6771 | 78.917 | 42.4938 | 3.3619 | 4.8812 | 15.6284 | 1.7138
240 | 5.175 | 0.99125 | 177 | 223 | 788 | 80 | 33 | 178.5624 | 224.9685 | 794.9559 | 80.7062 | 33.2913 | 4.3833 | 5.7133 | 18.908 | 1.7122
239 | 5.1967 | 0.9942 | 225 | 301 | 946 | 77 | 43 | 226.3126 | 302.756 | 951.5188 | 77.4492 | 43.2509 | 5.7871 | 7.0814 | 23.4784 | 2.159
238 | 5.2185 | 0.99746 | 303 | 345 | 1196 | 120 | 48 | 303.7716 | 345.8785 | 1199.0456 | 120.3056 | 48.1222 | 7.222 | 8.3575 | 30.7162 | 2.7125
237 | 5.2405 | 0.99941 | 352 | 413 | 1590 | 126 | 66 | 352.2078 | 413.2438 | 1590.9387 | 126.0744 | 66.039 | 8.2628 | 10.9278 | 38.8701 | 3.0652
236 | 5.2627 | 1 | 392 | 571 | 1910 | 150 | 69 | 392 | 571 | 1910 | 150 | 69 | 9.4874 | 14.8979 | 47.6614 | 3.4723
235 | 5.2851 | 0.99935 | 455 | 759 | 2345 | 160 | 68 | 455.2959 | 759.4937 | 2346.5252 | 160.1041 | 68.0442 | 10.8948 | 19.1206 | 55.3443 | 4.1184
234 | 5.3077 | 0.99716 | 508 | 931 | 2547 | 204 | 85 | 509.4468 | 933.6516 | 2554.2541 | 204.581 | 85.2421 | 11.4025 | 23.6472 | 61.0858 | 4.5908
233 | 5.3305 | 0.99256 | 488 | 1134 | 2788 | 197 | 97 | 491.6579 | 1142.5002 | 2808.8982 | 198.4767 | 97.7271 | 11.8158 | 27.6173 | 62.6639 | 4.3554
232 | 5.3534 | 0.98534 | 529 | 1243 | 2607 | 178 | 89 | 536.8705 | 1261.4935 | 2645.7872 | 180.6483 | 90.3242 | 12.3831 | 31.2517 | 59.6164 | 4.6697
231 | 5.3766 | 0.97596 | 519 | 1401 | 2439 | 217 | 103 | 531.7841 | 1435.5097 | 2499.0778 | 222.3452 | 105.5371 | 12.0715 | 34.0316 | 56.4687 | 5.2848
230 | 5.4 | 0.96607 | 484 | 1426 | 2253 | 222 | 105 | 500.9989 | 1476.0835 | 2332.1291 | 229.797 | 108.6878 | 11.4883 | 34.5182 | 51.2793 | 5.4877
229 | 5.4236 | 0.95483 | 452 | 1386 | 1926 | 225 | 145 | 473.3827 | 1451.5673 | 2017.113 | 235.644 | 151.8595 | 11.4871 | 33.5251 | 45.0378 | 5.7122
228 | 5.4474 | 0.94431 | 465 | 1291 | 1671 | 231 | 147 | 492.423 | 1367.1358 | 1769.546 | 244.6231 | 155.6692 | 11.7867 | 31.3502 | 40.3075 | 5.9064
227 | 5.4714 | 0.93282 | 457 | 1162 | 1483 | 231 | 162 | 489.9123 | 1245.6851 | 1589.803 | 247.6362 | 173.6669 | 13.4659 | 28.8744 | 38.1689 | 6.8509
226 | 5.4956 | 0.92043 | 573 | 1049 | 1439 | 293 | 177 | 622.5351 | 1139.6847 | 1563.3997 | 318.3295 | 192.3014 | 17.0188 | 28.3788 | 41.1133 | 8.2997
225 | 5.52 | 0.90787 | 700 | 1075 | 1637 | 328 | 178 | 771.0355 | 1184.0902 | 1803.1216 | 361.2852 | 196.0633 | 22.071 | 29.1569 | 48.6942 | 9.8626
224 | 5.5446 | 0.89489 | 913 | 1058 | 1923 | 393 | 177 | 1020.2371 | 1182.2682 | 2148.8675 | 439.1601 | 197.7897 | 30.5467 | 30.6124 | 60.7888 | 11.7294
223 | 5.5695 | 0.88038 | 1265 | 1127 | 2413 | 444 | 219 | 1436.8795 | 1280.129 | 2740.8619 | 504.3277 | 248.7562 | 42.786 | 35.13 | 78.4329 | 13.7287
222 | 5.5946 | 0.86423 | 1706 | 1314 | 3035 | 510 | 227 | 1974.0115 | 1520.4286 | 3511.7966 | 590.1207 | 262.6616 | 54.7103 | 43.6884 | 99.2467 | 15.4428
221 | 5.6199 | 0.84612 | 1987 | 1634 | 3663 | 533 | 220 | 2348.3667 | 1931.1682 | 4329.1732 | 629.9343 | 260.0104 | 67.6822 | 56.1547 | 121.441 | 16.5944
220 | 5.6455 | 0.82625 | 2438 | 2037 | 4279 | 553 | 304 | 2950.6808 | 2465.3555 | 5178.82 | 669.289 | 367.9274 | 81.5395 | 72.9258 | 140.2422 | 18.3645
219 | 5.6712 | 0.80343 | 2712 | 2565 | 4581 | 607 | 268 | 3375.5274 | 3192.5619 | 5701.8035 | 755.5107 | 333.5698 | 89.6582 | 92.4807 | 155.4307 | 18.9608
218 | 5.6972 | 0.77758 | 2735 | 3046 | 4858 | 546 | 311 | 3517.323 | 3917.2818 | 6247.5887 | 702.1786 | 399.9588 | 95.5176 | 111.1878 | 162.653 | 18.7955
217 | 5.7235 | 0.74835 | 2813 | 3407 | 4597 | 546 | 300 | 3758.9363 | 4552.6826 | 6142.8476 | 729.6051 | 400.8819 | 96.6733 | 127.4095 | 160.454 | 20.5342
216 | 5.75 | 0.71683 | 2536 | 3630 | 4278 | 588 | 305 | 3537.7984 | 5063.9622 | 5967.9422 | 820.2782 | 425.4844 | 89.8271 | 135.7035 | 151.3627 | 22.3492
215 | 5.7767 | 0.68151 | 2167 | 3465 | 3647 | 580 | 339 | 3179.7039 | 5084.2981 | 5351.3521 | 851.0513 | 497.4248 | 81.0672 | 138.0621 | 135.0563 | 23.8468
214 | 5.8037 | 0.64318 | 1818 | 3309 | 2994 | 589 | 333 | 2826.5804 | 5144.7495 | 4654.9955 | 915.7623 | 517.74 | 73.6149 | 136.8447 | 118.4402 | 27.3279
213 | 5.831 | 0.60268 | 1553 | 2953 | 2434 | 657 | 407 | 2576.8235 | 4899.781 | 4038.6275 | 1090.1307 | 675.3169 | 71.7496 | 129.7346 | 110.5361 | 33.9203
212 | 5.8585 | 0.56089 | 1481 | 2543 | 2243 | 772 | 359 | 2640.4464 | 4533.8658 | 3999.0016 | 1376.384 | 640.0542 | 80.6711 | 117.9136 | 115.6853 | 39.9767
211 | 5.8863 | 0.51822 | 1643 | 2052 | 2246 | 779 | 368 | 3170.4681 | 3959.7082 | 4334.0666 | 1503.2226 | 710.1231 | 99.876 | 113.7757 | 134.9009 | 43.4218
210 | 5.9143 | 0.47397 | 1875 | 1971 | 2508 | 756 | 390 | 3955.9466 | 4158.491 | 5291.4741 | 1595.0377 | 822.8369 | 138.7087 | 117.8887 | 172.3759 | 46.2212
209 | 5.9426 | 0.4301 | 2515 | 1795 | 2964 | 719 | 383 | 5847.4773 | 4173.448 | 6891.4206 | 1671.7043 | 890.4906 | 193.0571 | 135.9472 | 219.9308 | 49.9369
208 | 5.9712 | 0.38815 | 2976 | 2074 | 3301 | 708 | 391 | 7667.139 | 5343.2951 | 8504.4442 | 1824.0371 | 1007.3425 | 260.0305 | 168.894 | 269.4597 | 52.3259
207 | 6 | 0.34869 | 3613 | 2220 | 3549 | 629 | 400 | 10361.6393 | 6366.6867 | 10178.0952 | 1803.8946 | 1147.1508 | 333.2285 | 213.8522 | 305.4692 | 53.2719
206 | 6.0291 | 0.31174 | 3903 | 2593 | 3366 | 578 | 386 | 12520.0488 | 8317.829 | 10797.4594 | 1854.1092 | 1238.2113 | 393.3158 | 275.1519 | 329.419 | 56.6384
205 | 6.0585 | 0.27835 | 3960 | 2893 | 3230 | 556 | 344 | 14226.693 | 10393.3896 | 11604.0956 | 1997.4852 | 1235.8541 | 423.9354 | 322.5837 | 338.9539 | 61.3457
204 | 6.0882 | 0.24933 | 3571 | 2825 | 2798 | 532 | 337 | 14322.384 | 11330.3654 | 11222.0752 | 2133.7184 | 1351.6223 | 410.5995 | 357.7462 | 317.8027 | 69.4437
203 | 6.1182 | 0.22345 | 2918 | 2799 | 2228 | 558 | 293 | 13058.8499 | 12526.2922 | 9970.9107 | 2497.203 | 1311.2553 | 372.9169 | 381.0011 | 276.7993 | 80.1533
202 | 6.1485 | 0.20068 | 2321 | 2535 | 1667 | 561 | 293 | 11565.6767 | 12632.051 | 8306.757 | 2795.4953 | 1460.0359 | 323.7508 | 367.6068 | 238.5019 | 85.3431
201 | 6.1791 | 0.18101 | 1738 | 2064 | 1319 | 504 | 271 | 9601.6795 | 11402.6849 | 7286.8902 | 2784.3766 | 1497.1549 | 269.6777 | 324.425 | 209.1439 | 92.7504
200 | 6.21 | 0.16523 | 1298 | 1586 | 1033 | 532 | 255 | 7855.7163 | 9598.7411 | 6251.8913 | 3219.7543 | 1543.3033
|  |  | 1100 | 1272 | 993
|  |  | 1039 | 961 | 1011
|  |  | 1232 | 904 | 1064
|  |  | 1583 | 870 | 1104
|  |  | 1849 | 944 | 1032
|  |  | 2071 | 992 | 992