The generated power of multipole induction generator with secondary winding on the stator
Guntis Diļevs, Edgars Jakobsons

Riga Technical University (Riga, Latvia)
Guntis.dilevs@gmail.com, Edgars.jakobsons@inbox.lv
Abstract-This paper posses the construction of induction generator, which has the ability to operate at a low rotation speed. This generator can be applied for directly driven turbine without using the gearbox. The generator is multi pole with all of the windings placed on the stator. Rotor is tooth-like and has no windings on it. Primary winding is three phase, secondary winding is two phase.
Introduction
Due to the development of wind power generators, the applied technologies has drawn out the main directions of developing generator construction – directly driven permanent magnet synchronous generator (PMSG) and double fed induction generator (DFIG). Each of the mentioned construction has its advantages and disadvantages. PMSG can operate directly with the turbine, but it requires semiconductor device when operating to the grid. DFIG can operate directly to the grid, but it requires gearbox, when operating with turbine. This paper posses the solution of how induction generator can be applied as a directly driven double fed generator for wind electric stations. This generator should be designed in a way that all the windings are placed on the stator, rotor is tooth-like without windings [1-4].
Special features of the multipole  induction generator with secondary winding on the stator
The electrical circuit diagram of the double fed induction generator is shown in the Fig.1. Primary winding (A-X, B-Y, C-Z) is three phase and secondary winding (a-x, b-y) is two phase to keep the electromagnetic symmetry of the system – rotating electromagnetic field of the secondary winging is similar as to synchronous rotating field of the primary winding.  The electromagnetic symmetry of the secondary winding eliminates the appearance of harmonics in the primary winding. 

Both of the windings are placed in the slots of the stator. Rotor is tooth-like and has no windings on it. Secondary windings are switched through the capacitors and rectifier to the load. The controllable switch (semiconductor device) is used to provide stable voltage and frequency to the load. Capacitors C2 compensate the reactive resistance of the secondary winding [5]. The load current iL is controlled by pulse width modulation device. The capacitors C1 helps to increase the power factor cosφ of the generator.
For creation of the required electromagnetic link between windings it is necessary to have appropriate phase shifts between the processes going in pole extensions. For this purpose the pole extensions are divided into four groups, 12 pole extensions together. Each pole extension from the same phase has a phase shift of 900 between two groups. Two opposite groups are embraced with the one coil of one secondary phase winding. This feature gives the phase shift for the currents ia and ib of 900. The pole extensions in the same group are divided with grooves where the primary windings A-X, B-Y and C-Z are placed. The step between the mixed pole extensions belonging to one group equals t1 = 2tZ/3, and that between the mixed pole extensions belonging to mixed groups equals t2=11tZ/12. This provides a phase shift of the pole extensions of 240 degrees within the same group, and of 30 degrees for mixed group. The equations are similar to those for the conventional induction machine having two phase secondary winding on the rotor [9,10].
[image: image1.emf]Load

Controlled 

switch

Primary 

winding

Secondary 

winding

Grid

A

B

C

Rectifier bridge

a

x

b

y

C

1

C

2

C

2


Fig. 1. The electrical circuit diagram of the multipolar induction generator with two phase secondary winding
The equivalent circuit diagram of the multipole induction machine
The circuit diagram of such a machine is the same as for conventional induction machine with the number of phases in the rotor m2 > 1. There is negative reactive impedance XC’ and the active load resistance RL’ in the secondary circuit.  The circuit diagram was created for the multipole induction machine with two phase secondary winding as shown in Fig. 2.
[image: image2.emf]jX

1

R

1

jX

m

R

m

jX’

2

2

'

s

jX

C



s

R'

2

s

R

L

'

0

I



1

U



1

I



'

2

I




Fig. 2. The circuit diagram of the multipole induction machine with secondary winging on the stator
According to the construction diagram in Fig.1 and the equivalent circuit diagram in Fig.2 it is possible to write the complex equations [7].


[image: image3.wmf]1

1

1

1

ˆ

Z

I

E

U

&

&

&

+

-

=

;


[image: image4.wmf]'

2

1

'

2

'

2

'

2

ˆ

S

Z

I

E

U

&

&

&

-

-

=

;
(1)

[image: image5.wmf]'

2

1

0

I

I

I

&

&

&

+

=

,

[image: image6.wmf]w

k

f

w

j

E

E

1

1

'

2

1

2

F

-

=

=

p

&

&

.

where 
 E1 = emf generated in the windings,

w1 – number of windings in the phase coil; 
Φ – magnetic flux; 
f1 – frequency; 
kw – winding factor.
İ1 – primary current;
İ’2 – secondary current;

İ0 – magnetizing current.

[image: image7.wmf]1

1

1

ˆ

jX

R

Z

+

=

; 

[image: image8.wmf]2

'

2

'

2

'

2

'

2

ˆ

s

X

j

jX

s

R

Z

C

S

-

+

=

 
(2)
where

R1- active resistance of the primary winding, 
R2’ – active resistance of the secondary winding, which is reduced to the stator, 
X1 – reactive impedance of the primary winding, 
X2’ – reactive resistance of the secondary winding, 
s – slip, 
XC2’ – impedance of the capacitors in the secondary winding;

Voltage of the secondary load equals


[image: image9.wmf]'

2

'

I

s

R

U

L

L

&

&

=

 .
(3)
Where RL – secondary load resistance.

 To calculate the parameters of the equivalent circuit diagram it is necessary to obtain the values of magnetic flux linkage Ψ between the primary and secondary windings. This can be done with matrix equation 


[image: image10.wmf][

]

[

]

[

]

[

]

[

]

ik

T

ik

ik

ik

ik

i

w

w

´

´

´

=

Y

l

,
(4)
(4)

where


[image: image11.wmf][

]

ú

ú

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ê

ê

ë

é

Y

Y

Y

Y

Y

=

Y

b

a

C

B

A

ik

is the column matrix of magnetic flux linkages of the windings;


[image: image12.wmf][

]

ú

ú

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ê

ê

ë

é

=

b

a

C

B

A

ik

i

i

i

i

i

i

 is the column matrix of currents in the windings.

[image: image13.wmf][

]

ú

ú

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ê

ê

ë

é

-

-

-

-

-

-

=

k

k

k

k

k

k

k

k

k

k

k

k

k

k

k

k

k

k

k

k

k

k

k

k

ik

w

w

w

w

w

w

w

w

w

w

w

w

w

w

w

w

w

w

w

w

w

w

w

w

w

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0


Wik is the rectangular matrix of the winding turns per each coil, where the rows represent the phases and the columns represent the pole extensions. The sign “–” shows the secondary winding direction according to the primary winding direction.
[image: image30.wmf][

]

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

12

2

1

...

0

0

0

...

...

...

0

...

0

0

...

0

l

l

l

l

ik

 
is the diagonal matrix of magnetic conductivities. Magnetic conductivity λk represented by the Fourier series as a function of the turning angle α of the rotor equals


[image: image14.wmf](

)

(

)

1

cos

1

0

-

-

+

=

k

z

a

a

R

k

g

a

l

,
(5)

Where

α – turning angle of the rotor;

γ – tooth step in radians;
a0 – constant component,
a1 – component of the first harmonic which equals


[image: image15.wmf]2

min

max

0

l

l

+

=

a

; 
[image: image16.wmf]2

min

max

1

l

l

-

=

a


(6)

Where λmax – maximum value of the magnetic conductivity, 
λmin – minimum value of the magnetic conductivity.

[image: image17.emf]λ

max

       [image: image18.emf]λ

min


Fig. 3 The placement of the pole extension and the rotor, where magnetic conductuctivity λ reaches its maximum or minimum values

The equations, which express magnetic flux linkage for each phase, are


[image: image19.wmf](

)

(

)

(

)

(

)

(

)

(

)

0

2

1

1

2

1

1

2

0

2

1

10

2

1

4

2

1

7

2

1

1

1

90

cos

2

cos

2

4

1

-

+

+

+

=

=

÷

÷

÷

÷

÷

ø

ö

ç

ç

ç

ç

ç

è

æ

+

-

+

+

+

+

-

+

+

+

=

Y

a

a

l

l

l

l

R

b

k

k

R

a

k

k

A

b

k

A

k

b

k

A

k

a

k

A

k

a

k

A

k

k

A

Z

i

w

w

a

Z

i

w

w

a

i

w

a

i

w

i

w

i

w

i

w

i

w

i

w

i

w

i

w

w

k

;

[image: image20.wmf](

)

(

)

(

)

(

)

(

)

(

)

0

2

1

1

0

2

1

1

2

0

2

1

12

2

1

6

2

1

9

2

1

3

1

210

cos

2

120

cos

2

4

1

-

+

+

-

+

=

=

÷

÷

÷

÷

÷

ø

ö

ç

ç

ç

ç

ç

è

æ

+

-

+

+

+

+

-

+

+

+

=

Y

a

a

l

l

l

l

R

b

k

k

R

a

k

k

B

b

k

B

k

b

k

A

k

a

k

B

k

a

k

B

k

k

B

Z

i

w

w

a

Z

i

w

w

a

i

w

a

i

w

i

w

i

w

i

w

i

w

i

w

i

w

i

w

w

k

;

(2)


[image: image21.wmf](

)

(

)

(

)

(

)

(

)

(

)

0

2

1

1

2

1

1

2

0

2

1

11

2

1

5

2

1

8

2

1

2

1

330

cos

2

240

cos

2

4

1

-

+

+

-

+

=

=

÷

÷

÷

÷

÷

ø

ö

ç

ç

ç

ç

ç

è

æ

+

-

+

+

+

+

-

+

+

+

=

Y

a

a

l

l

l

l

R

b

k

k

R

a

k

k

C

b

k

C

k

b

k

C

k

a

k

C

k

a

k

C

k

k

C

Z

i

w

w

a

Z

i

w

w

a

i

w

a

i

w

i

w

i

w

i

w

i

w

i

w

i

w

i

w

w

k

;
(7)

[image: image22.wmf](

)

(

)

(

)

(

)

(

)

(

)

0

2

1

1

0

2

1

1

2

1

1

2

2

0

1

8

2

1

9

3

1

7

1

2

6

1

2

240

cos

2

120

cos

2

cos

2

6

-

+

+

-

+

+

+

=

=

÷

÷

÷

÷

÷

÷

ø

ö

ç

ç

ç

ç

ç

ç

è

æ

-

+

+

-

+

+

-

+

÷

ø

ö

ç

è

æ

=

Y

å

=

a

a

a

l

l

l

l

l

l

l

R

C

k

k

R

B

k

k

R

A

k

k

a

k

C

k

B

k

A

k

a

k

k

k

k

a

Z

i

w

w

a

Z

i

w

w

a

Z

i

w

w

a

i

w

a

i

w

i

w

i

w

i

w

w

;

[image: image23.wmf](

)

(

)

(

)

(

)

(

)

(

)

0

2

1

1

0

2

1

1

0

2

1

1

2

2

0

1

11

5

1

12

6

1

10

4

2

6

1

2

330

cos

2

210

cos

2

90

cos

2

6

-

+

+

-

+

+

-

+

=

=

÷

÷

÷

÷

÷

÷

ø

ö

ç

ç

ç

ç

ç

ç

è

æ

-

+

+

-

+

+

-

+

÷

ø

ö

ç

è

æ

=

Y

å

=

a

a

a

l

l

l

l

l

l

l

R

C

k

k

R

B

k

k

R

A

k

k

b

k

C

k

B

k

A

k

b

k

k

k

k

b

Z

i

w

w

a

Z

i

w

w

a

Z

i

w

w

a

i

w

a

i

w

i

w

i

w

i

w

w


 The component a0 refers to the self inductance, but a1 refers to the mutual inductance [9, 10]. 
The generated power of mulitpole induction generator with secondary winding on the stator

To calculate the output power of the induction machine it is necessary to obtain the currents İ1, İ’2, İ0 according to the slip s. There fore the power S1 generated to the grid and active power P2 generated to the secondary load RL equals 

[image: image24.wmf]1

1

*

1

1

1

1

jQ

P

I

U

m

S

+

=

=

&

&

&

;
(8)
(2)

[image: image25.wmf]L

R

I

m

P

2

'

2

2

2

=

,
(9)
where 

m1 – number of phases in the primary winding;

m2 – number of phases in the secondary winding.

The efficiency factor η equals

[image: image26.wmf]mech

m

P

P

P

P

P

P

P

P

D

+

D

+

D

+

D

+

+

+

=

2

1

2

1

2

1

h

,
(10)
(3)
where


[image: image27.wmf]1

2

1

1

1

R

I

m

P

=

D

 - electrical losses in the primary windings;

[image: image28.wmf]m

m

R

I

m

P

2

0

1

=

D

 - magnetizing losses;

[image: image29.wmf]2

2

2

2

2

R

I

m

P

=

D

 - electrical losses in the secondary windings;
ΔPmech – mechanical losses in the shaft and bearings [8].
Within the increase of the slip s of the generator, it is important to keep the same value of the current I2. This can be done by changing the load resistance RL. Within the increase of the slip s, increases the load resistance RL and the power P2 generated in the secondary circuit. 
Conclusions

1) The equivalent circuit diagram of the multipole induction machine with the secondary winding on the stator is the same as for conventional induction machines, the number of phases in secondary winding must be greater than 1.

2) With the flux linkage matrix equation is possible to obtain the necessary values of the equivalent circuit diagram, from where the output power can be calculated.
3) The generated power for the slip s = – (1…2) can be transferred through the primary and secondary windings. There are extended limits for raising the output power if the rotation speed of the generator is increasing.

4) The two phase secondary winding provides electromagnetic symmetry, which significantly reduces the presence of THD in the primary winding.
5) This machine is designed in a way that it can be applied in the applications where slow rotation speed is required, like wind power stations and small hydro power plants.
References

[1] Ackerman T., Wind Power in Power Systems. Royal Institute of Technology Stockholm, Sweden, John wiley & Sons, Ltd. 2005, 694 pages.

[2] Daskova J., Kamolins E., Levins N. Multipolar directly driven wind generators. Latvian journal of Physics and Technical sciences, No.4, 2004. pages 41 – 47. (in Latvian)
[3] The new generation of wind energy converters. Pitch Wind Systems AB, Sweden, 2001.

[4] Kamolins E., Levins N., Pugachev V., Ribickis L. Specific features of reluctance step motors, No.5, 2005. pages 27 – 35. (in Latvian)
[5] Pugachev V., Levin N., Ribickis L., Manonov M., A multipolar inductor generator of annular design for windmills. Riga RTU Power and electrical engineerings 4, 10. 2003.gads, 10 – 15 pages.

[6] Nordex N54/1000 kW MK3, Technical Overview Svindblek 7323 Give Denmark, 1996, 4 pages.

[7] Voldek A., Electrical machines. Energia 1974, 640 pages. (in Russian)
[8] Kopilov I., Klokov B., Morozkin V., Tokarev B. Design of electrical machines, Moskva, VSh. 2005. 768 pages. (in Russian)
[9] Postnikov I. Design of electrical machines, GITL USSR, Kiev 1952. 736 pages. (in Russian)
[10] Levin N., Serebriakov А., Electrical machines and drives, 3.ed, Electrical drives based on the motors with static windings, Riga 1976, 192 pages.
[11] Dilevs G., Levins N., Pugachevs V., Ribickis L. Double fed induction generator. Patents application P – 03 – 101, 20.09.2007, 8 pages.
� EMBED Equation.3  ���








[image: image31.wmf][

]

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

12

2

1

...

0

0

0

...

...

...

0

...

0

0

...

0

l

l

l

l

ik

_1290558497.unknown

_1290917245.unknown

_1302867819.unknown

_1306931349.unknown

_1306933725.unknown

_1306933873.unknown

_1306929945.unknown

_1290917272.unknown

_1302867747.unknown

_1290917256.unknown

_1290568061.unknown

_1290917219.unknown

_1290562665.unknown

_1290565997.unknown

_1290559844.unknown

_1290504065.unknown

_1290556398.unknown

_1290556901.unknown

_1290505780.unknown

_1290506303.unknown

_1290506461.unknown

_1290506224.unknown

_1290504861.unknown

_1290503740.unknown

_1290504003.unknown

_1290503591.unknown

